## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_295-19_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_295-19_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_295-19_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_295-19_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_295-19_0_3_node_57 | 0.4 | n |  | TRUE
5 | bus_LV_295-19_0_3_node_53 | 0.4 | n |  | TRUE
6 | bus_LV_295-19_0_3_node_63 | 0.4 | n |  | TRUE
7 | bus_LV_295-19_0_3_node_64 | 0.4 | n |  | TRUE
8 | bus_LV_295-19_0_3_node_60 | 0.4 | n |  | TRUE
9 | bus_LV_295-19_0_3_node_5 | 0.4 | n |  | TRUE
10 | bus_LV_295-19_0_3_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_295-19_0_3_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_295-19_0_3_node_45 | 0.4 | n |  | TRUE
13 | bus_LV_295-19_0_3_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_295-19_0_3_node_41 | 0.4 | n |  | TRUE
15 | bus_LV_295-19_0_3_node_88 | 0.4 | n |  | TRUE
16 | bus_LV_295-19_0_3_node_72 | 0.4 | n |  | TRUE
17 | bus_LV_295-19_0_3_node_10 | 0.4 | n |  | TRUE
18 | bus_LV_295-19_0_3_node_13 | 0.4 | n |  | TRUE
19 | bus_LV_295-19_0_3_node_90 | 0.4 | n |  | TRUE
20 | bus_LV_295-19_0_3_node_91 | 0.4 | n |  | TRUE
21 | bus_LV_295-19_0_3_node_11 | 0.4 | n |  | TRUE
22 | bus_LV_295-19_0_3_node_17 | 0.4 | n |  | TRUE
23 | bus_LV_295-19_0_3_node_15 | 0.4 | n |  | TRUE
24 | bus_LV_295-19_0_3_node_12 | 0.4 | n |  | TRUE
25 | bus_LV_295-19_0_3_node_26 | 0.4 | n |  | TRUE
26 | bus_LV_295-19_0_3_node_40 | 0.4 | n |  | TRUE
27 | bus_LV_295-19_0_3_node_105 | 0.4 | n |  | TRUE
28 | bus_LV_295-19_0_3_node_14 | 0.4 | n |  | TRUE
29 | bus_LV_295-19_0_3_node_102 | 0.4 | n |  | TRUE
30 | bus_LV_295-19_0_3_node_103 | 0.4 | n |  | TRUE
31 | bus_LV_295-19_0_3_node_87 | 0.4 | n |  | TRUE
32 | bus_LV_295-19_0_3_node_43 | 0.4 | n |  | TRUE
33 | bus_LV_295-19_0_3_node_75 | 0.4 | n |  | TRUE
34 | bus_LV_295-19_0_3_node_107 | 0.4 | n |  | TRUE
35 | bus_LV_295-19_0_3_node_71 | 0.4 | n |  | TRUE
36 | bus_LV_295-19_0_3_node_74 | 0.4 | n |  | TRUE
37 | bus_LV_295-19_0_3_node_69 | 0.4 | n |  | TRUE
38 | bus_LV_295-19_0_3_node_70 | 0.4 | n |  | TRUE
39 | bus_LV_295-19_0_3_node_89 | 0.4 | n |  | TRUE
40 | bus_LV_295-19_0_3_node_98 | 0.4 | n |  | TRUE
41 | bus_LV_295-19_0_3_node_59 | 0.4 | n |  | TRUE
42 | bus_LV_295-19_0_3_node_16 | 0.4 | n |  | TRUE
43 | bus_LV_295-19_0_3_node_28 | 0.4 | n |  | TRUE
44 | bus_LV_295-19_0_3_node_24 | 0.4 | n |  | TRUE
45 | bus_LV_295-19_0_3_node_104 | 0.4 | n |  | TRUE
46 | bus_LV_295-19_0_3_node_18 | 0.4 | n |  | TRUE
47 | bus_LV_295-19_0_3_node_22 | 0.4 | n |  | TRUE
48 | bus_LV_295-19_0_3_node_23 | 0.4 | n |  | TRUE
49 | bus_LV_295-19_0_3_node_99 | 0.4 | n |  | TRUE
50 | bus_LV_295-19_0_3_node_58 | 0.4 | n |  | TRUE
51 | bus_LV_295-19_0_3_node_21 | 0.4 | n |  | TRUE
52 | bus_LV_295-19_0_3_node_68 | 0.4 | n |  | TRUE
53 | bus_LV_295-19_0_3_node_84 | 0.4 | n |  | TRUE
54 | bus_LV_295-19_0_3_node_101 | 0.4 | n |  | TRUE
55 | bus_LV_295-19_0_3_node_66 | 0.4 | n |  | TRUE
56 | bus_LV_295-19_0_3_node_67 | 0.4 | n |  | TRUE
57 | bus_LV_295-19_0_3_node_65 | 0.4 | n |  | TRUE
58 | bus_LV_295-19_0_3_node_20 | 0.4 | n |  | TRUE
59 | bus_LV_295-19_0_3_node_25 | 0.4 | n |  | TRUE
60 | bus_LV_295-19_0_3_node_27 | 0.4 | n |  | TRUE
61 | bus_LV_295-19_0_3_node_31 | 0.4 | n |  | TRUE
62 | bus_LV_295-19_0_3_node_29 | 0.4 | n |  | TRUE
63 | bus_LV_295-19_0_3_node_50 | 0.4 | n |  | TRUE
64 | bus_LV_295-19_0_3_node_30 | 0.4 | n |  | TRUE
65 | bus_LV_295-19_0_3_node_32 | 0.4 | n |  | TRUE
66 | bus_LV_295-19_0_3_node_33 | 0.4 | n |  | TRUE
67 | bus_LV_295-19_0_3_node_37 | 0.4 | n |  | TRUE
68 | bus_LV_295-19_0_3_node_51 | 0.4 | n |  | TRUE
69 | bus_LV_295-19_0_3_node_38 | 0.4 | n |  | TRUE
70 | bus_LV_295-19_0_3_node_34 | 0.4 | n |  | TRUE
71 | bus_LV_295-19_0_3_node_35 | 0.4 | n |  | TRUE
72 | bus_LV_295-19_0_3_node_36 | 0.4 | n |  | TRUE
73 | bus_LV_295-19_0_3_node_39 | 0.4 | n |  | TRUE
74 | bus_LV_295-19_0_3_node_42 | 0.4 | n |  | TRUE
75 | bus_LV_295-19_0_3_node_46 | 0.4 | n |  | TRUE
76 | bus_LV_295-19_0_3_node_47 | 0.4 | n |  | TRUE
77 | bus_LV_295-19_0_3_node_48 | 0.4 | n |  | TRUE
78 | bus_LV_295-19_0_3_node_49 | 0.4 | n |  | TRUE
79 | bus_LV_295-19_0_3_node_54 | 0.4 | n |  | TRUE
80 | bus_LV_295-19_0_3_node_55 | 0.4 | n |  | TRUE
81 | bus_LV_295-19_0_3_node_56 | 0.4 | n |  | TRUE
82 | bus_LV_295-19_0_3_node_62 | 0.4 | n |  | TRUE
83 | bus_LV_295-19_0_3_node_78 | 0.4 | n |  | TRUE
84 | bus_LV_295-19_0_3_node_86 | 0.4 | n |  | TRUE
85 | bus_LV_295-19_0_3_node_61 | 0.4 | n |  | TRUE
86 | bus_LV_295-19_0_3_node_80 | 0.4 | n |  | TRUE
87 | bus_LV_295-19_0_3_node_76 | 0.4 | n |  | TRUE
88 | bus_LV_295-19_0_3_node_82 | 0.4 | n |  | TRUE
89 | bus_LV_295-19_0_3_node_81 | 0.4 | n |  | TRUE
90 | bus_LV_295-19_0_3_node_93 | 0.4 | n |  | TRUE
91 | bus_LV_295-19_0_3_node_83 | 0.4 | n |  | TRUE
92 | bus_LV_295-19_0_3_node_73 | 0.4 | n |  | TRUE
93 | bus_LV_295-19_0_3_node_77 | 0.4 | n |  | TRUE
94 | bus_LV_295-19_0_3_node_96 | 0.4 | n |  | TRUE
95 | bus_LV_295-19_0_3_node_95 | 0.4 | n |  | TRUE
96 | bus_LV_295-19_0_3_node_97 | 0.4 | n |  | TRUE
97 | bus_LV_295-19_0_3_node_94 | 0.4 | n |  | TRUE
98 | bus_LV_295-19_0_3_node_106 | 0.4 | n |  | TRUE
99 | bus_LV_295-19_0_3_node_85 | 0.4 | n |  | TRUE
100 | bus_MV_417_0_node_41 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_295-19_0_3_load_0 | 0 | 0.0066486 | 0.0016663 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_295-19_0_3_load_1 | 1 | 0.0049175 | 0.0012324 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_295-19_0_3_load_2 | 2 | 0.003314 | 0.00083058 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_295-19_0_3_load_53 | 5 | 0.0082487 | 0.0020673 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_295-19_0_3_load_63 | 6 | 0.0023129 | 0.00057968 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_295-19_0_3_load_64 | 7 | 0.0013136 | 0.00032921 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_295-19_0_3_load_60 | 8 | 0.0035096 | 0.00087958 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_295-19_0_3_load_5 | 9 | 0.012224 | 0.0030637 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_295-19_0_3_load_41 | 14 | 0.0075518 | 0.0018927 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_295-19_0_3_load_88 | 15 | 0.018839 | 0.0047214 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_295-19_0_3_load_72 | 16 | 0.014528 | 0.0036411 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_295-19_0_3_load_91 | 20 | 0.016679 | 0.0041802 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_295-19_0_3_load_15 | 23 | 0.0023475 | 0.00058834 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_295-19_0_3_load_40 | 26 | 0.009447 | 0.0023677 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_295-19_0_3_load_105 | 27 | 0.00078337 | 0.00019633 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_295-19_0_3_load_102 | 29 | 0.0011396 | 0.0002856 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_295-19_0_3_load_87 | 31 | 0.0047289 | 0.0011852 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_295-19_0_3_load_43 | 32 | 0.0061087 | 0.001531 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_295-19_0_3_load_107 | 34 | 0.0066129 | 0.0016574 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_295-19_0_3_load_74 | 36 | 0.0067753 | 0.0016981 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_295-19_0_3_load_69 | 37 | 0.003143 | 0.0007877 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_295-19_0_3_load_89 | 39 | 0.020246 | 0.0050742 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_295-19_0_3_load_98 | 40 | 0.018248 | 0.0045735 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_295-19_0_3_load_59 | 41 | 0.01218 | 0.0030526 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_295-19_0_3_load_28 | 43 | 0.0036222 | 0.00090782 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_295-19_0_3_load_24 | 44 | 0.00045112 | 0.00011306 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_295-19_0_3_load_104 | 45 | 0.0068307 | 0.0017119 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_295-19_0_3_load_22 | 47 | 0.011744 | 0.0029433 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_295-19_0_3_load_23 | 48 | 0.0042386 | 0.0010623 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_295-19_0_3_load_99 | 49 | 0.010995 | 0.0027557 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_295-19_0_3_load_58 | 50 | 0.0078029 | 0.0019556 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_295-19_0_3_load_21 | 51 | 0.0029693 | 0.00074418 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_295-19_0_3_load_101 | 54 | 0.020108 | 0.0050394 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_295-19_0_3_load_65 | 57 | 0.0072622 | 0.0018201 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_295-19_0_3_load_20 | 58 | 0.0082924 | 0.0020783 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_295-19_0_3_load_25 | 59 | 0.0021253 | 0.00053264 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_295-19_0_3_load_31 | 61 | 0.002125 | 0.00053258 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_295-19_0_3_load_29 | 62 | 0.0013909 | 0.0003486 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_295-19_0_3_load_32 | 65 | 0.0035637 | 0.00089315 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_295-19_0_3_load_33 | 66 | 0.0044721 | 0.0011208 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_295-19_0_3_load_37 | 67 | 0.0026313 | 0.00065946 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_295-19_0_3_load_38 | 69 | 0.0029222 | 0.00073237 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_295-19_0_3_load_34 | 70 | 0.0035832 | 0.00089804 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_295-19_0_3_load_39 | 73 | 0.0012693 | 0.00031813 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_295-19_0_3_load_42 | 74 | 0.0029657 | 0.00074328 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_295-19_0_3_load_46 | 75 | 0.002263 | 0.00056716 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_295-19_0_3_load_48 | 77 | 0.0047311 | 0.0011857 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_295-19_0_3_load_49 | 78 | 0.0011089 | 0.00027791 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_295-19_0_3_load_56 | 81 | 0.0082096 | 0.0020575 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_295-19_0_3_load_86 | 84 | 0.0035407 | 0.00088738 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_295-19_0_3_load_61 | 85 | 0.0032611 | 0.00081732 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_295-19_0_3_load_80 | 86 | 0.0058858 | 0.0014751 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_295-19_0_3_load_76 | 87 | 0.0028071 | 0.00070353 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_295-19_0_3_load_82 | 88 | 0.0057765 | 0.0014477 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_295-19_0_3_load_81 | 89 | 0.0052434 | 0.0013141 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_295-19_0_3_load_93 | 90 | 0.006407 | 0.0016058 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_295-19_0_3_load_73 | 92 | 0.020246 | 0.0050742 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_295-19_0_3_load_77 | 93 | 0.00099597 | 0.00024961 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_295-19_0_3_load_96 | 94 | 0.0020512 | 0.00051407 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_295-19_0_3_load_94 | 97 | 0.0018434 | 0.00046199 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_295-19_0_3_load_106 | 98 | 0.00041704 | 0.00010452 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_295-19_0_3_load_85 | 99 | 0.0020871 | 0.00052308 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 39 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_295-19_0_3_line_0 |  | 0 | 1 | 0.10813 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_295-19_0_3_line_1 |  | 0 | 2 | 0.05002 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_295-19_0_3_line_2 |  | 1 | 3 | 0.0080301 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_295-19_0_3_line_3 |  | 3 | 4 | 0.003044 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_295-19_0_3_line_4 |  | 3 | 5 | 0.031611 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_295-19_0_3_line_5 |  | 4 | 6 | 0.11484 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_295-19_0_3_line_6 |  | 4 | 7 | 0.047328 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_295-19_0_3_line_7 |  | 4 | 8 | 0.025896 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_295-19_0_3_line_8 |  | 8 | 85 | 0.047423 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_295-19_0_3_line_9 |  | 9 | 10 | 0.037146 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_295-19_0_3_line_10 |  | 10 | 11 | 0.047196 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_295-19_0_3_line_11 |  | 11 | 12 | 0.00361 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_295-19_0_3_line_12 |  | 11 | 13 | 0.013971 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_295-19_0_3_line_13 |  | 11 | 14 | 0.012436 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_295-19_0_3_line_14 |  | 12 | 31 | 0.024499 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_295-19_0_3_line_15 |  | 12 | 32 | 0.011325 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_295-19_0_3_line_16 |  | 13 | 15 | 0.027965 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_295-19_0_3_line_17 |  | 13 | 16 | 0.020794 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_295-19_0_3_line_18 |  | 14 | 26 | 0.039134 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_295-19_0_3_line_19 |  | 16 | 38 | 0.004632 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_295-19_0_3_line_20 |  | 17 | 18 | 0.013833 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
21 | LV_295-19_0_3_line_21 |  | 17 | 19 | 0.012161 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
22 | LV_295-19_0_3_line_22 |  | 17 | 20 | 0.013006 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_295-19_0_3_line_23 |  | 18 | 27 | 0.00775 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_295-19_0_3_line_24 |  | 18 | 24 | 0.018976 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
25 | LV_295-19_0_3_line_25 |  | 19 | 22 | 0.016077 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
26 | LV_295-19_0_3_line_26 |  | 19 | 39 | 0.03328 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
27 | LV_295-19_0_3_line_27 |  | 21 | 22 | 0.006086 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_295-19_0_3_line_28 |  | 21 | 23 | 0.018982 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_295-19_0_3_line_29 |  | 22 | 40 | 0.08143 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_295-19_0_3_line_30 |  | 22 | 41 | 0.038168 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_295-19_0_3_line_31 |  | 23 | 42 | 0.025864 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_295-19_0_3_line_32 |  | 24 | 25 | 0.014625 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_295-19_0_3_line_33 |  | 24 | 26 | 0.025526 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_295-19_0_3_line_34 |  | 25 | 43 | 0.045211 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_295-19_0_3_line_35 |  | 25 | 44 | 0.052254 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_295-19_0_3_line_36 |  | 28 | 29 | 0.021964 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_295-19_0_3_line_37 |  | 28 | 30 | 0.034121 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_295-19_0_3_line_38 |  | 30 | 45 | 0.02008 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_295-19_0_3_line_39 |  | 30 | 33 | 0.03647 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_295-19_0_3_line_40 |  | 32 | 74 | 0.012049 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_295-19_0_3_line_41 |  | 33 | 34 | 0.023049 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_295-19_0_3_line_42 |  | 33 | 35 | 0.047018 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_295-19_0_3_line_43 |  | 35 | 36 | 0.004421 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_295-19_0_3_line_44 |  | 35 | 37 | 0.036991 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_295-19_0_3_line_45 |  | 37 | 38 | 0.018801 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_295-19_0_3_line_46 |  | 38 | 92 | 0.038631 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_295-19_0_3_line_47 |  | 40 | 49 | 0.042663 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_295-19_0_3_line_48 |  | 41 | 50 | 0.058419 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_295-19_0_3_line_49 |  | 42 | 46 | 0.013866 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_295-19_0_3_line_50 |  | 44 | 59 | 0.0049955 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_295-19_0_3_line_51 |  | 46 | 47 | 0.02001 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_295-19_0_3_line_52 |  | 46 | 48 | 0.042839 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_295-19_0_3_line_53 |  | 47 | 51 | 0.012804 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_295-19_0_3_line_54 |  | 50 | 81 | 0.0010397 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_295-19_0_3_line_55 |  | 51 | 58 | 0.0027699 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_295-19_0_3_line_56 |  | 52 | 53 | 0.038336 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_295-19_0_3_line_57 |  | 52 | 54 | 0.039444 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_295-19_0_3_line_58 |  | 53 | 90 | 0.017828 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_295-19_0_3_line_59 |  | 53 | 91 | 0.03697 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_295-19_0_3_line_60 |  | 55 | 56 | 0.002451 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_295-19_0_3_line_61 |  | 55 | 57 | 0.0017203 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_295-19_0_3_line_62 |  | 56 | 88 | 0.017337 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_295-19_0_3_line_63 |  | 59 | 60 | 0.015257 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_295-19_0_3_line_64 |  | 60 | 61 | 0.057206 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_295-19_0_3_line_65 |  | 60 | 62 | 0.0082503 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_295-19_0_3_line_66 |  | 61 | 63 | 0.031442 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_295-19_0_3_line_67 |  | 62 | 64 | 0.01807 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_295-19_0_3_line_68 |  | 63 | 68 | 0.033106 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_295-19_0_3_line_69 |  | 64 | 65 | 0.047492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_295-19_0_3_line_70 |  | 64 | 66 | 0.010511 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_295-19_0_3_line_71 |  | 65 | 67 | 0.023103 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_295-19_0_3_line_72 |  | 67 | 69 | 0.01702 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_295-19_0_3_line_73 |  | 68 | 77 | 0.017105 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_295-19_0_3_line_74 |  | 69 | 73 | 0.00096176 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_295-19_0_3_line_75 |  | 70 | 71 | 0.013437 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_295-19_0_3_line_76 |  | 71 | 72 | 0.008882 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_295-19_0_3_line_77 |  | 72 | 73 | 0.023194 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_295-19_0_3_line_78 |  | 75 | 76 | 0.044241 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_295-19_0_3_line_79 |  | 76 | 77 | 0.019626 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_295-19_0_3_line_80 |  | 76 | 78 | 0.017597 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_295-19_0_3_line_81 |  | 79 | 80 | 0.005866 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_295-19_0_3_line_82 |  | 79 | 81 | 0.021927 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_295-19_0_3_line_83 |  | 80 | 82 | 0.003022 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_295-19_0_3_line_84 |  | 82 | 83 | 0.03085 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_295-19_0_3_line_85 |  | 82 | 84 | 0.019382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_295-19_0_3_line_86 |  | 82 | 85 | 0.020399 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_295-19_0_3_line_87 |  | 83 | 86 | 0.018985 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_295-19_0_3_line_88 |  | 83 | 87 | 0.024999 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_295-19_0_3_line_89 |  | 86 | 94 | 0.028974 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_295-19_0_3_line_90 |  | 87 | 93 | 0.05847 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_295-19_0_3_line_91 |  | 88 | 89 | 0.0051583 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_295-19_0_3_line_92 |  | 89 | 91 | 0.014408 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_295-19_0_3_line_93 |  | 90 | 97 | 0.04029 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_295-19_0_3_line_94 |  | 91 | 99 | 0.0061688 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_295-19_0_3_line_95 |  | 94 | 99 | 0.018449 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_295-19_0_3_line_96 |  | 95 | 96 | 0.017277 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_295-19_0_3_line_97 |  | 95 | 97 | 0.0074672 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_295-19_0_3_line_98 |  | 96 | 98 | 0.003202 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_295-19_0_3_trafo_89 | 0.63 MVA 20/0.4 kV | 100 | 39 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2687198.9805 | 1235476.4756 | 2687184.7219 | 1235505.0761 | 2687183.1965 | 1235508.445 | 2687152.1314 | 1235573.9246
1 | 2687198.9805 | 1235476.4756 | 2687199.2664 | 1235475.902 | 2687209.3345 | 1235455.7131 | 2687221.6102 | 1235431.8679
2 | 2687148.6894 | 1235581.1796 | 2687152.1314 | 1235573.9246
3 | 2687148.6894 | 1235581.1796 | 2687151.55 | 1235582.2446
4 | 2687148.6894 | 1235581.1796 | 2687137.8693 | 1235602.1026 | 2687133.2929 | 1235608.7325
5 | 2687151.55 | 1235582.2446 | 2687162.3332 | 1235560.2315 | 2687201.8812 | 1235479.0231
6 | 2687196.0159 | 1235598.8087 | 2687174.3965 | 1235590.7525 | 2687151.55 | 1235582.2446
7 | 2687151.55 | 1235582.2446 | 2687139.0873 | 1235604.9447
8 | 2687139.0873 | 1235604.9447 | 2687138.4151 | 1235606.169 | 2687112.5419 | 1235644.2343
9 | 2687072.8493 | 1235457.8353 | 2687076.9362 | 1235452.1801 | 2687079.3334 | 1235452.849 | 2687083.6778 | 1235451.3116 | 2687098.2426 | 1235438.2713 | 2687100.6182 | 1235435.6715
10 | 2687072.8493 | 1235457.8353 | 2687068.2342 | 1235462.8602 | 2687068.199 | 1235465.2614 | 2687066.8658 | 1235468.433 | 2687062.3709 | 1235473.0037 | 2687042.154 | 1235492.6327
11 | 2687039.5492 | 1235490.1261 | 2687042.154 | 1235492.6327
12 | 2687042.154 | 1235492.6327 | 2687046.2666 | 1235496.5846 | 2687044.4786 | 1235498.7711 | 2687048.9518 | 1235501.8722
13 | 2687042.154 | 1235492.6327 | 2687034.1152 | 1235502.1208
14 | 2687039.5492 | 1235490.1261 | 2687054.4218 | 1235470.6585
15 | 2687039.5492 | 1235490.1261 | 2687031.3844 | 1235482.2774
16 | 2687048.9518 | 1235501.8722 | 2687041.4489 | 1235511.3024 | 2687033.5292 | 1235525.1062
17 | 2687048.9518 | 1235501.8722 | 2687066.0548 | 1235513.6989
18 | 2687012.0785 | 1235534.3856 | 2687021.6873 | 1235518.4736 | 2687031.602 | 1235505.087 | 2687034.1152 | 1235502.1208
19 | 2687069.8646 | 1235516.3334 | 2687066.0548 | 1235513.6989
20 | 2686995.0453 | 1235568.03 | 2687001.5866 | 1235571.0057 | 2687007.6393 | 1235573.7518
21 | 2687003.024 | 1235585.0034 | 2687006.8228 | 1235575.7524 | 2687007.6393 | 1235573.7518
22 | 2687007.6393 | 1235573.7518 | 2687013.6907 | 1235562.2396
23 | 2686990.668 | 1235573.8812 | 2686990.5538 | 1235572.3785 | 2686995.0453 | 1235568.03
24 | 2686996.4232 | 1235550.9602 | 2686992.976 | 1235558.9377 | 2686995.1182 | 1235561.5042 | 2686995.9231 | 1235564.4292 | 2686996.1311 | 1235566.2446 | 2686995.0453 | 1235568.03
25 | 2686996.2707 | 1235599.5927 | 2686999.5927 | 1235592.414 | 2687003.024 | 1235585.0034
26 | 2687003.024 | 1235585.0034 | 2687026.9129 | 1235595.2161 | 2687030.4044 | 1235588.8059
27 | 2686996.2707 | 1235599.5927 | 2686990.6046 | 1235597.3304
28 | 2686990.6046 | 1235597.3304 | 2686987.3039 | 1235605.6435 | 2686984.0318 | 1235615.1332
29 | 2686996.2707 | 1235599.5927 | 2686984.1469 | 1235629.9814 | 2686971.2872 | 1235676.9651
30 | 2686996.2707 | 1235599.5927 | 2687003.6149 | 1235602.5245 | 2687024.1299 | 1235616.2347 | 2687029.1041 | 1235618.7761
31 | 2686976.283 | 1235639.7955 | 2686979.3123 | 1235628.8209 | 2686984.0318 | 1235615.1332
32 | 2686996.4232 | 1235550.9602 | 2686994.9159 | 1235550.5156 | 2686982.3685 | 1235546.7737
33 | 2686996.4232 | 1235550.9602 | 2686997.886 | 1235545.6556 | 2687000.0152 | 1235546.0093 | 2687003.5508 | 1235545.4273 | 2687007.6045 | 1235542.5512 | 2687011.6108 | 1235535.1602 | 2687012.0785 | 1235534.3856
34 | 2686982.3685 | 1235546.7737 | 2686984.2944 | 1235530.5236 | 2686985.0269 | 1235520.3048 | 2686984.5424 | 1235504.2974 | 2686984.1982 | 1235501.7325
35 | 2686982.3685 | 1235546.7737 | 2686971.1731 | 1235547.8773 | 2686953.4444 | 1235556.3127 | 2686942.8228 | 1235564.2296 | 2686937.6182 | 1235570.4671
36 | 2687149.8576 | 1235403.0807 | 2687163.6165 | 1235411.444 | 2687166.9053 | 1235406.5443
37 | 2687128.2474 | 1235429.427 | 2687130.2582 | 1235427.533 | 2687141.776 | 1235411.7017 | 2687149.2579 | 1235403.7168 | 2687149.8576 | 1235403.0807
38 | 2687128.2474 | 1235429.427 | 2687139.7299 | 1235437.1454 | 2687143.3025 | 1235431.983
39 | 2687128.2474 | 1235429.427 | 2687127.7409 | 1235429.8977 | 2687121.1863 | 1235436.0727 | 2687117.273 | 1235441.2412 | 2687111.8075 | 1235448.5108 | 2687103.857 | 1235456.4554
40 | 2687022.6983 | 1235473.9275 | 2687031.3844 | 1235482.2774
41 | 2687103.857 | 1235456.4554 | 2687117.7869 | 1235464.5098 | 2687121.702 | 1235458.7075
42 | 2687098.0107 | 1235489.1709 | 2687084.7403 | 1235481.571 | 2687095.776 | 1235464.5317 | 2687103.857 | 1235456.4554
43 | 2687100.4866 | 1235485.5046 | 2687098.0107 | 1235489.1709
44 | 2687098.0107 | 1235489.1709 | 2687093.9234 | 1235495.371 | 2687089.6826 | 1235516.6796 | 2687084.7203 | 1235522.7466
45 | 2687069.8646 | 1235516.3334 | 2687082.6999 | 1235525.2167 | 2687084.7203 | 1235522.7466
46 | 2687069.8646 | 1235516.3334 | 2687063.486 | 1235528.0705 | 2687051.3973 | 1235550.2646
47 | 2686971.2872 | 1235676.9651 | 2686970.6005 | 1235679.474 | 2686960.4057 | 1235718.217
48 | 2687082.0073 | 1235642.6898 | 2687065.5146 | 1235632.8528 | 2687056.6649 | 1235629.8766 | 2687044.5865 | 1235626.6863 | 2687029.1041 | 1235618.7761
49 | 2686976.283 | 1235639.7955 | 2686968.9757 | 1235640.5446 | 2686964.7697 | 1235645.5644
50 | 2686934.4177 | 1235574.3028 | 2686937.6182 | 1235570.4671
51 | 2686964.7697 | 1235645.5644 | 2686944.9915 | 1235642.5284 | 2686944.9915 | 1235642.5284
52 | 2686964.7697 | 1235645.5644 | 2686957.1474 | 1235667.8243 | 2686949.4233 | 1235685.5225
53 | 2686944.9915 | 1235642.5284 | 2686946.8396 | 1235629.8587
54 | 2687082.9003 | 1235643.2224 | 2687082.0073 | 1235642.6898
55 | 2686947.2394 | 1235627.1177 | 2686946.8396 | 1235629.8587
56 | 2687075.8626 | 1235767.9788 | 2687043.6935 | 1235746.9814
57 | 2687043.6935 | 1235746.9814 | 2687021.1301 | 1235779.3346
58 | 2687075.8626 | 1235767.9788 | 2687090.5457 | 1235778.0898
59 | 2687093.6726 | 1235736.4284 | 2687092.6938 | 1235742.7853 | 2687080.651 | 1235757.308 | 2687075.8626 | 1235767.9788
60 | 2687062.6362 | 1235713.535 | 2687064.9554 | 1235714.3473
61 | 2687062.6362 | 1235713.535 | 2687063.5877 | 1235712.1017
62 | 2687064.9554 | 1235714.3473 | 2687074.3453 | 1235717.6428 | 2687079.6416 | 1235722.7908
63 | 2686928.2718 | 1235588.2673 | 2686934.4177 | 1235574.3028
64 | 2686928.2718 | 1235588.2673 | 2686919.0219 | 1235586.2527 | 2686884.8795 | 1235578.4478 | 2686873.6395 | 1235575.8817 | 2686872.5276 | 1235575.4674
65 | 2686928.2718 | 1235588.2673 | 2686926.7935 | 1235596.384
66 | 2686843.022 | 1235564.6039 | 2686857.9816 | 1235570.0486 | 2686872.5276 | 1235575.4674
67 | 2686923.5558 | 1235614.1612 | 2686926.7935 | 1235596.384
68 | 2686838.936 | 1235597.1229 | 2686839.0315 | 1235590.5974 | 2686839.2368 | 1235576.5571 | 2686843.022 | 1235564.6039
69 | 2686923.5558 | 1235614.1612 | 2686915.952 | 1235661.0405
70 | 2686913.0567 | 1235613.2069 | 2686923.5558 | 1235614.1612
71 | 2686912.253 | 1235683.8456 | 2686915.952 | 1235661.0405
72 | 2686912.253 | 1235683.8456 | 2686909.528 | 1235700.6456
73 | 2686838.936 | 1235597.1229 | 2686838.7748 | 1235608.1507 | 2686837.1265 | 1235613.999
74 | 2686909.528 | 1235700.6456 | 2686909.374 | 1235701.5949
75 | 2686903.1668 | 1235733.0145 | 2686911.1109 | 1235735.2879 | 2686914.8828 | 1235737.1666 | 2686915.5687 | 1235737.8391
76 | 2686903.1668 | 1235733.0145 | 2686905.6605 | 1235724.4893
77 | 2686905.6605 | 1235724.4893 | 2686909.374 | 1235701.5949
78 | 2686833.7841 | 1235633.1845 | 2686833.6598 | 1235639.098 | 2686828.0611 | 1235664.312 | 2686839.5935 | 1235669.1284
79 | 2686833.7841 | 1235633.1845 | 2686833.953 | 1235625.2591 | 2686837.1265 | 1235613.999
80 | 2686833.7841 | 1235633.1845 | 2686817.7473 | 1235625.941
81 | 2687101.7322 | 1235654.4546 | 2687098.5716 | 1235659.4007
82 | 2687101.7322 | 1235654.4546 | 2687082.9003 | 1235643.2224
83 | 2687098.5716 | 1235659.4007 | 2687101.0746 | 1235661.1053
84 | 2687127.946 | 1235675.3872 | 2687119.4642 | 1235673.6505 | 2687101.0746 | 1235661.1053
85 | 2687101.0746 | 1235661.1053 | 2687090.1933 | 1235677.145
86 | 2687101.0746 | 1235661.1053 | 2687112.5419 | 1235644.2343
87 | 2687127.946 | 1235675.3872 | 2687124.5913 | 1235694.0736
88 | 2687127.946 | 1235675.3872 | 2687152.3919 | 1235680.6161
89 | 2687109.428 | 1235717.5125 | 2687109.428 | 1235717.5125 | 2687110.6005 | 1235709.3016 | 2687124.5913 | 1235694.0736 | 2687124.5913 | 1235694.0736
90 | 2687152.3919 | 1235680.6161 | 2687153.9751 | 1235671.2437 | 2687158.3208 | 1235666.0037 | 2687170.0479 | 1235665.2752 | 2687191.4569 | 1235661.3532 | 2687194.02 | 1235669.6069
91 | 2687083.3406 | 1235726.386 | 2687079.6416 | 1235722.7908
92 | 2687093.6726 | 1235736.4284 | 2687083.3406 | 1235726.386
93 | 2687090.5457 | 1235778.0898 | 2687123.7288 | 1235800.94
94 | 2687093.6726 | 1235736.4284 | 2687097.6206 | 1235731.6884
95 | 2687097.6206 | 1235731.6884 | 2687109.428 | 1235717.5125
96 | 2687129.8788 | 1235805.175 | 2687133.6075 | 1235809.9998 | 2687135.7244 | 1235820.9831
97 | 2687129.8788 | 1235805.175 | 2687123.7288 | 1235800.94
98 | 2687136.3292 | 1235824.1276 | 2687135.7244 | 1235820.9831

## bus_geodata
| x | y | coords
0 | 2687198.9805 | 1235476.4756
1 | 2687152.1314 | 1235573.9246
2 | 2687221.6102 | 1235431.8679
3 | 2687148.6894 | 1235581.1796
4 | 2687151.55 | 1235582.2446
5 | 2687133.2929 | 1235608.7325
6 | 2687201.8812 | 1235479.0231
7 | 2687196.0159 | 1235598.8087
8 | 2687139.0873 | 1235604.9447
9 | 2687100.6182 | 1235435.6715
10 | 2687072.8493 | 1235457.8353
11 | 2687042.154 | 1235492.6327
12 | 2687039.5492 | 1235490.1261
13 | 2687048.9518 | 1235501.8722
14 | 2687034.1152 | 1235502.1208
15 | 2687033.5292 | 1235525.1062
16 | 2687066.0548 | 1235513.6989
17 | 2687007.6393 | 1235573.7518
18 | 2686995.0453 | 1235568.03
19 | 2687003.024 | 1235585.0034
20 | 2687013.6907 | 1235562.2396
21 | 2686990.6046 | 1235597.3304
22 | 2686996.2707 | 1235599.5927
23 | 2686984.0318 | 1235615.1332
24 | 2686996.4232 | 1235550.9602
25 | 2686982.3685 | 1235546.7737
26 | 2687012.0785 | 1235534.3856
27 | 2686990.668 | 1235573.8812
28 | 2687149.8576 | 1235403.0807
29 | 2687166.9053 | 1235406.5443
30 | 2687128.2474 | 1235429.427
31 | 2687054.4218 | 1235470.6585
32 | 2687031.3844 | 1235482.2774
33 | 2687103.857 | 1235456.4554
34 | 2687121.702 | 1235458.7075
35 | 2687098.0107 | 1235489.1709
36 | 2687100.4866 | 1235485.5046
37 | 2687084.7203 | 1235522.7466
38 | 2687069.8646 | 1235516.3334
39 | 2687030.4044 | 1235588.8059
40 | 2686971.2872 | 1235676.9651
41 | 2687029.1041 | 1235618.7761
42 | 2686976.283 | 1235639.7955
43 | 2686984.1982 | 1235501.7325
44 | 2686937.6182 | 1235570.4671
45 | 2687143.3025 | 1235431.983
46 | 2686964.7697 | 1235645.5644
47 | 2686944.9915 | 1235642.5284
48 | 2686949.4233 | 1235685.5225
49 | 2686960.4057 | 1235718.217
50 | 2687082.0073 | 1235642.6898
51 | 2686946.8396 | 1235629.8587
52 | 2687043.6935 | 1235746.9814
53 | 2687075.8626 | 1235767.9788
54 | 2687021.1301 | 1235779.3346
55 | 2687062.6362 | 1235713.535
56 | 2687064.9554 | 1235714.3473
57 | 2687063.5877 | 1235712.1017
58 | 2686947.2394 | 1235627.1178
59 | 2686934.4177 | 1235574.3028
60 | 2686928.2718 | 1235588.2673
61 | 2686872.5276 | 1235575.4674
62 | 2686926.7935 | 1235596.384
63 | 2686843.022 | 1235564.6039
64 | 2686923.5558 | 1235614.1612
65 | 2686915.952 | 1235661.0405
66 | 2686913.0567 | 1235613.2069
67 | 2686912.253 | 1235683.8456
68 | 2686838.936 | 1235597.1229
69 | 2686909.528 | 1235700.6456
70 | 2686915.5687 | 1235737.8391
71 | 2686903.1668 | 1235733.0145
72 | 2686905.6605 | 1235724.4893
73 | 2686909.374 | 1235701.5949
74 | 2687022.6983 | 1235473.9275
75 | 2686839.5935 | 1235669.1284
76 | 2686833.7841 | 1235633.1845
77 | 2686837.1265 | 1235613.999
78 | 2686817.7473 | 1235625.941
79 | 2687101.7322 | 1235654.4546
80 | 2687098.5716 | 1235659.4007
81 | 2687082.9003 | 1235643.2224
82 | 2687101.0746 | 1235661.1053
83 | 2687127.946 | 1235675.3872
84 | 2687090.1933 | 1235677.145
85 | 2687112.5419 | 1235644.2343
86 | 2687124.5913 | 1235694.0736
87 | 2687152.3919 | 1235680.6161
88 | 2687079.6416 | 1235722.7908
89 | 2687083.3406 | 1235726.386
90 | 2687090.5457 | 1235778.0898
91 | 2687093.6726 | 1235736.4284
92 | 2687051.3973 | 1235550.2646
93 | 2687194.02 | 1235669.6069
94 | 2687109.428 | 1235717.5125
95 | 2687129.8788 | 1235805.175
96 | 2687135.7244 | 1235820.9831
97 | 2687123.7288 | 1235800.94
98 | 2687136.3292 | 1235824.1276
99 | 2687097.6206 | 1235731.6884
100 | 2687003.024 | 1235585.0034

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1