## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_295-23_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_295-23_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_295-23_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_295-23_0_2_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_295-23_0_2_node_6 | 0.4 | n |  | TRUE
5 | bus_LV_295-23_0_2_node_22 | 0.4 | n |  | TRUE
6 | bus_LV_295-23_0_2_node_40 | 0.4 | n |  | TRUE
7 | bus_LV_295-23_0_2_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_295-23_0_2_node_33 | 0.4 | n |  | TRUE
9 | bus_LV_295-23_0_2_node_34 | 0.4 | n |  | TRUE
10 | bus_LV_295-23_0_2_node_4 | 0.4 | n |  | TRUE
11 | bus_LV_295-23_0_2_node_5 | 0.4 | n |  | TRUE
12 | bus_LV_295-23_0_2_node_21 | 0.4 | n |  | TRUE
13 | bus_LV_295-23_0_2_node_41 | 0.4 | n |  | TRUE
14 | bus_LV_295-23_0_2_node_32 | 0.4 | n |  | TRUE
15 | bus_LV_295-23_0_2_node_20 | 0.4 | n |  | TRUE
16 | bus_LV_295-23_0_2_node_31 | 0.4 | n |  | TRUE
17 | bus_LV_295-23_0_2_node_23 | 0.4 | n |  | TRUE
18 | bus_LV_295-23_0_2_node_35 | 0.4 | n |  | TRUE
19 | bus_LV_295-23_0_2_node_8 | 0.4 | n |  | TRUE
20 | bus_LV_295-23_0_2_node_9 | 0.4 | n |  | TRUE
21 | bus_LV_295-23_0_2_node_10 | 0.4 | n |  | TRUE
22 | bus_LV_295-23_0_2_node_11 | 0.4 | n |  | TRUE
23 | bus_LV_295-23_0_2_node_17 | 0.4 | n |  | TRUE
24 | bus_LV_295-23_0_2_node_19 | 0.4 | n |  | TRUE
25 | bus_LV_295-23_0_2_node_15 | 0.4 | n |  | TRUE
26 | bus_LV_295-23_0_2_node_12 | 0.4 | n |  | TRUE
27 | bus_LV_295-23_0_2_node_13 | 0.4 | n |  | TRUE
28 | bus_LV_295-23_0_2_node_14 | 0.4 | n |  | TRUE
29 | bus_LV_295-23_0_2_node_16 | 0.4 | n |  | TRUE
30 | bus_LV_295-23_0_2_node_18 | 0.4 | n |  | TRUE
31 | bus_LV_295-23_0_2_node_37 | 0.4 | n |  | TRUE
32 | bus_LV_295-23_0_2_node_25 | 0.4 | n |  | TRUE
33 | bus_LV_295-23_0_2_node_24 | 0.4 | n |  | TRUE
34 | bus_LV_295-23_0_2_node_38 | 0.4 | n |  | TRUE
35 | bus_LV_295-23_0_2_node_26 | 0.4 | n |  | TRUE
36 | bus_LV_295-23_0_2_node_27 | 0.4 | n |  | TRUE
37 | bus_LV_295-23_0_2_node_28 | 0.4 | n |  | TRUE
38 | bus_LV_295-23_0_2_node_29 | 0.4 | n |  | TRUE
39 | bus_LV_295-23_0_2_node_30 | 0.4 | n |  | TRUE
40 | bus_MV_417_0_node_139 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_295-23_0_2_load_0 | 0 | 0.0044086 | 0.0011049 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_295-23_0_2_load_3 | 3 | 0.023015 | 0.0057681 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_295-23_0_2_load_22 | 5 | 0.0045537 | 0.0011413 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_295-23_0_2_load_40 | 6 | 0.00073564 | 0.00018437 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_295-23_0_2_load_34 | 9 | 0.0047133 | 0.0011813 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_295-23_0_2_load_4 | 10 | 0.054689 | 0.013706 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_295-23_0_2_load_41 | 13 | 0.0026526 | 0.00066481 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_295-23_0_2_load_20 | 15 | 0.039691 | 0.0099476 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_295-23_0_2_load_31 | 16 | 0.0016256 | 0.0004074 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_295-23_0_2_load_35 | 18 | 0.0043594 | 0.0010926 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_295-23_0_2_load_8 | 19 | 0.014153 | 0.0035471 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_295-23_0_2_load_10 | 21 | 0.00075103 | 0.00018823 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_295-23_0_2_load_17 | 23 | 0.0045436 | 0.0011387 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_295-23_0_2_load_19 | 24 | 0.0028552 | 0.00071558 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_295-23_0_2_load_12 | 26 | 0.0026739 | 0.00067015 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_295-23_0_2_load_13 | 27 | 0.000435 | 0.00010902 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_295-23_0_2_load_14 | 28 | 0.00029986 | 7.5153e-05 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_295-23_0_2_load_16 | 29 | 0.00031221 | 7.8248e-05 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_295-23_0_2_load_18 | 30 | 0.0011625 | 0.00029134 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_295-23_0_2_load_37 | 31 | 0.00018459 | 4.6262e-05 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_295-23_0_2_load_24 | 33 | 0.0036998 | 0.00092725 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_295-23_0_2_load_38 | 34 | 0.00018705 | 4.688e-05 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_295-23_0_2_load_26 | 35 | 0.0045708 | 0.0011456 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_295-23_0_2_load_27 | 36 | 0.0017763 | 0.00044518 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_295-23_0_2_load_29 | 38 | 0.0048983 | 0.0012276 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_295-23_0_2_load_30 | 39 | 0.0024955 | 0.00062544 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 12 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_295-23_0_2_line_0 |  | 0 | 1 | 0.027599 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_295-23_0_2_line_1 |  | 1 | 2 | 0.44721 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_295-23_0_2_line_2 |  | 2 | 3 | 0.20132 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_295-23_0_2_line_3 |  | 3 | 10 | 0.021977 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_295-23_0_2_line_4 |  | 4 | 5 | 0.090891 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_295-23_0_2_line_5 |  | 4 | 6 | 0.53039 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_295-23_0_2_line_6 |  | 5 | 17 | 0.0098057 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_295-23_0_2_line_7 |  | 7 | 8 | 0.19826 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_295-23_0_2_line_8 |  | 7 | 9 | 0.045511 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_295-23_0_2_line_9 |  | 8 | 13 | 0.052497 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_295-23_0_2_line_10 |  | 8 | 14 | 0.17006 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_295-23_0_2_line_11 |  | 8 | 11 | 0.18935 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_295-23_0_2_line_12 |  | 9 | 18 | 0.023405 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_295-23_0_2_line_13 |  | 10 | 11 | 0.02654 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_295-23_0_2_line_14 |  | 11 | 12 | 0.045862 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_295-23_0_2_line_15 |  | 12 | 15 | 0.096218 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_295-23_0_2_line_16 |  | 14 | 16 | 0.047222 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_295-23_0_2_line_17 |  | 15 | 24 | 0.081747 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_295-23_0_2_line_18 |  | 16 | 38 | 0.014099 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_295-23_0_2_line_19 |  | 17 | 33 | 0.028724 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_295-23_0_2_line_20 |  | 17 | 32 | 0.037797 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_295-23_0_2_line_21 |  | 19 | 20 | 0.18936 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_295-23_0_2_line_22 |  | 20 | 21 | 0.13203 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_295-23_0_2_line_23 |  | 20 | 22 | 0.075804 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_295-23_0_2_line_24 |  | 21 | 23 | 0.00016601 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_295-23_0_2_line_25 |  | 22 | 24 | 0.032591 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_295-23_0_2_line_26 |  | 23 | 25 | 0.019057 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_295-23_0_2_line_27 |  | 25 | 30 | 0.017945 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_295-23_0_2_line_28 |  | 25 | 27 | 0.016956 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_295-23_0_2_line_29 |  | 26 | 27 | 0.04055 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_295-23_0_2_line_30 |  | 26 | 28 | 0.0062232 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_295-23_0_2_line_31 |  | 28 | 29 | 0.0098093 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_295-23_0_2_line_32 |  | 29 | 31 | 0.016373 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_295-23_0_2_line_33 |  | 31 | 32 | 0.028722 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_295-23_0_2_line_34 |  | 32 | 34 | 0.017942 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_295-23_0_2_line_35 |  | 35 | 36 | 0.034771 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_295-23_0_2_line_36 |  | 35 | 37 | 0.21374 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_295-23_0_2_line_37 |  | 36 | 38 | 0.0068079 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_295-23_0_2_line_38 |  | 37 | 39 | 0.049718 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_295-23_0_2_trafo_21 | 0.63 MVA 20/0.4 kV | 40 | 12 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18
0 | 2688437.1671 | 1233109.9281 | 2688463.9003 | 1233116.7863
1 | 2688437.1671 | 1233109.9281 | 2688443.7548 | 1233088.5665 | 2688504.9548 | 1233041.1324 | 2688519.4098 | 1233020.3106 | 2688536.6476 | 1233004.8341 | 2688557.033 | 1232954.98 | 2688573.071 | 1232936.6949 | 2688617.7741 | 1232891.7624 | 2688633.5685 | 1232884.7596 | 2688636.6218 | 1232881.0914 | 2688640.7873 | 1232896.7758 | 2688639.357 | 1232910.9312 | 2688636.1098 | 1232924.0365 | 2688627.3004 | 1232962.7994 | 2688621.1166 | 1232990.0266 | 2688618.7535 | 1232998.6976 | 2688622.8904 | 1233000.0491 | 2688627.4795 | 1233001.5519 | 2688632.8859 | 1233002.5777
2 | 2688632.8859 | 1233002.5777 | 2688692.6373 | 1233022.9167 | 2688702.6725 | 1233026.3244 | 2688699.6605 | 1233037.3651 | 2688697.3721 | 1233047.616 | 2688696.2161 | 1233053.0248 | 2688697.0648 | 1233061.0988 | 2688700.3558 | 1233068.8979 | 2688708.9116 | 1233082.1239 | 2688720.079 | 1233083.7473 | 2688732.4537 | 1233101.8671 | 2688732.844 | 1233108.1774 | 2688748.6029 | 1233131.6102
3 | 2688748.6029 | 1233131.6102 | 2688760.8675 | 1233149.8471
4 | 2688776.8306 | 1232754.4712 | 2688781.1697 | 1232761.0518 | 2688787.0651 | 1232768.8898 | 2688795.8502 | 1232774.9031 | 2688805.1126 | 1232779.8895 | 2688827.8272 | 1232789.7025 | 2688843.3415 | 1232795.3828 | 2688852.3001 | 1232796.3729 | 2688854.0573 | 1232796.3756
5 | 2688776.8306 | 1232754.4712 | 2688339.5131 | 1232454.3548
6 | 2688863.8629 | 1232796.3902 | 2688854.0573 | 1232796.3756
7 | 2688572.2707 | 1233300.6643 | 2688548.7836 | 1233322.4632 | 2688555.9949 | 1233328.8641 | 2688576.3065 | 1233339.2519 | 2688595.2465 | 1233342.6032 | 2688613.3687 | 1233343.4184 | 2688643.3928 | 1233334.1483 | 2688648.2006 | 1233342.2813 | 2688672.1334 | 1233328.1838 | 2688676.1677 | 1233325.7422 | 2688684.6031 | 1233320.6422 | 2688695.8733 | 1233313.8277
8 | 2688572.2707 | 1233300.6643 | 2688592.3028 | 1233282.0718 | 2688579.8427 | 1233268.8328
9 | 2688695.8733 | 1233313.8277 | 2688688.9515 | 1233301.2266 | 2688688.6685 | 1233287.2124 | 2688684.0945 | 1233279.6499 | 2688678.8505 | 1233275.8801 | 2688671.5004 | 1233280.8073
10 | 2688695.8733 | 1233313.8277 | 2688702.047 | 1233310.095 | 2688729.6226 | 1233293.428 | 2688756.0768 | 1233277.834 | 2688759.8965 | 1233275.5783 | 2688783.4909 | 1233261.3539 | 2688842.384 | 1233227.4985
11 | 2688695.8733 | 1233313.8277 | 2688702.047 | 1233310.095 | 2688729.6226 | 1233293.428 | 2688756.0768 | 1233277.834 | 2688759.8965 | 1233275.5783 | 2688748.7524 | 1233259.7562 | 2688745.6135 | 1233251.4145 | 2688746.2392 | 1233238.4257 | 2688759.0506 | 1233196.8874 | 2688775.6738 | 1233171.8734
12 | 2688579.8427 | 1233268.8328 | 2688563.8017 | 1233251.7891
13 | 2688775.6738 | 1233171.8734 | 2688771.1332 | 1233165.1118 | 2688760.8675 | 1233149.8471
14 | 2688775.6738 | 1233171.8734 | 2688805.1552 | 1233136.6775
15 | 2688805.1552 | 1233136.6775 | 2688775.9587 | 1233102.6505 | 2688756.7714 | 1233054.9856
16 | 2688842.384 | 1233227.4985 | 2688872.58 | 1233263.8038
17 | 2688833.3677 | 1233060.9802 | 2688809.2907 | 1233060.6295 | 2688809.3664 | 1233055.5604 | 2688799.5318 | 1233055.4579 | 2688756.7714 | 1233054.9856 | 2688756.7714 | 1233054.9856
18 | 2688881.6514 | 1233274.5937 | 2688880.9282 | 1233273.8411 | 2688872.58 | 1233263.8038
19 | 2688863.8629 | 1232796.3902 | 2688851.2247 | 1232822.1975
20 | 2688863.8629 | 1232796.3902 | 2688874.205 | 1232796.5227 | 2688883.7663 | 1232797.7109 | 2688901.1879 | 1232801.9411
21 | 2688913.3955 | 1233002.233 | 2688927.0047 | 1233001.0913 | 2688939.7131 | 1233005.996 | 2688951.6077 | 1233028.8458 | 2688955.9091 | 1233048.035 | 2688956.3646 | 1233058.5715 | 2688956.4717 | 1233078.2205 | 2688949.9505 | 1233093.5005 | 2688940.6522 | 1233104.1022 | 2688916.224 | 1233121.3491 | 2688901.6149 | 1233100.0341
22 | 2688913.3955 | 1233002.233 | 2688920.2678 | 1232989.8047 | 2688969.9384 | 1232900.0172 | 2688974.589 | 1232892.8595 | 2688978.511 | 1232887.4558
23 | 2688865.9557 | 1233061.4547 | 2688906.3968 | 1233010.9679 | 2688913.3955 | 1233002.233
24 | 2688978.6085 | 1232887.3215 | 2688978.511 | 1232887.4558
25 | 2688865.9557 | 1233061.4547 | 2688833.3677 | 1233060.9802
26 | 2688991.2414 | 1232873.0947 | 2688981.4627 | 1232883.389 | 2688978.6085 | 1232887.3215
27 | 2688991.2414 | 1232873.0947 | 2688994.1125 | 1232870.9917 | 2689006.2255 | 1232863.2314
28 | 2688991.2414 | 1232873.0947 | 2688984.546 | 1232857.5167
29 | 2688955.6567 | 1232829.5757 | 2688962.8321 | 1232834.0083 | 2688976.6984 | 1232847.0696 | 2688984.546 | 1232857.5167 | 2688984.546 | 1232857.5167
30 | 2688950.3623 | 1232826.3051 | 2688955.6567 | 1232829.5757
31 | 2688941.7885 | 1232821.5659 | 2688945.9353 | 1232823.5703 | 2688950.3623 | 1232826.3051
32 | 2688941.7885 | 1232821.5659 | 2688927.0474 | 1232814.4406
33 | 2688901.1879 | 1232801.9411 | 2688927.0474 | 1232814.4406
34 | 2688901.1879 | 1232801.9411 | 2688902.8255 | 1232792.192 | 2688907.5539 | 1232785.6688
35 | 2688910.4581 | 1233304.5763 | 2688886.368 | 1233279.5029
36 | 2689024.7393 | 1233474.4918 | 2689003.4975 | 1233444.9082 | 2688949.1201 | 1233390.6666 | 2688949.8772 | 1233355.2749 | 2688946.457 | 1233344.505 | 2688935.6752 | 1233330.8228 | 2688910.4581 | 1233304.5763
37 | 2688881.6514 | 1233274.5937 | 2688886.368 | 1233279.5029
38 | 2689024.7393 | 1233474.4918 | 2689056.3817 | 1233436.1431

## bus_geodata
| x | y | coords
0 | 2688463.9003 | 1233116.7863
1 | 2688437.1671 | 1233109.9281
2 | 2688632.8859 | 1233002.5777
3 | 2688748.6029 | 1233131.6102
4 | 2688776.8306 | 1232754.4712
5 | 2688854.0573 | 1232796.3756
6 | 2688339.5131 | 1232454.3548
7 | 2688572.2707 | 1233300.6643
8 | 2688695.8733 | 1233313.8277
9 | 2688579.8427 | 1233268.8328
10 | 2688760.8675 | 1233149.8471
11 | 2688775.6738 | 1233171.8734
12 | 2688805.1552 | 1233136.6775
13 | 2688671.5004 | 1233280.8073
14 | 2688842.384 | 1233227.4985
15 | 2688756.7714 | 1233054.9856
16 | 2688872.58 | 1233263.8038
17 | 2688863.8629 | 1232796.3902
18 | 2688563.8017 | 1233251.7891
19 | 2688901.6149 | 1233100.0341
20 | 2688913.3955 | 1233002.233
21 | 2688978.511 | 1232887.4558
22 | 2688865.9557 | 1233061.4547
23 | 2688978.6085 | 1232887.3215
24 | 2688833.3677 | 1233060.9802
25 | 2688991.2414 | 1232873.0947
26 | 2688955.6567 | 1232829.5757
27 | 2688984.546 | 1232857.5167
28 | 2688950.3623 | 1232826.3051
29 | 2688941.7885 | 1232821.5659
30 | 2689006.2255 | 1232863.2314
31 | 2688927.0474 | 1232814.4406
32 | 2688901.1879 | 1232801.9411
33 | 2688851.2247 | 1232822.1975
34 | 2688907.5539 | 1232785.6688
35 | 2688910.4581 | 1233304.5763
36 | 2688886.368 | 1233279.5029
37 | 2689024.7393 | 1233474.4918
38 | 2688881.6514 | 1233274.5937
39 | 2689056.3817 | 1233436.1431
40 | 2688775.6738 | 1233171.8734

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1