## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_295-41_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_295-41_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_295-41_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_295-41_0_5_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_295-41_0_5_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_295-41_0_5_node_82 | 0.4 | n |  | TRUE
6 | bus_LV_295-41_0_5_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_295-41_0_5_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_295-41_0_5_node_65 | 0.4 | n |  | TRUE
9 | bus_LV_295-41_0_5_node_8 | 0.4 | n |  | TRUE
10 | bus_LV_295-41_0_5_node_11 | 0.4 | n |  | TRUE
11 | bus_LV_295-41_0_5_node_23 | 0.4 | n |  | TRUE
12 | bus_LV_295-41_0_5_node_9 | 0.4 | n |  | TRUE
13 | bus_LV_295-41_0_5_node_16 | 0.4 | n |  | TRUE
14 | bus_LV_295-41_0_5_node_14 | 0.4 | n |  | TRUE
15 | bus_LV_295-41_0_5_node_10 | 0.4 | n |  | TRUE
16 | bus_LV_295-41_0_5_node_12 | 0.4 | n |  | TRUE
17 | bus_LV_295-41_0_5_node_83 | 0.4 | n |  | TRUE
18 | bus_LV_295-41_0_5_node_63 | 0.4 | n |  | TRUE
19 | bus_LV_295-41_0_5_node_17 | 0.4 | n |  | TRUE
20 | bus_LV_295-41_0_5_node_39 | 0.4 | n |  | TRUE
21 | bus_LV_295-41_0_5_node_35 | 0.4 | n |  | TRUE
22 | bus_LV_295-41_0_5_node_22 | 0.4 | n |  | TRUE
23 | bus_LV_295-41_0_5_node_15 | 0.4 | n |  | TRUE
24 | bus_LV_295-41_0_5_node_36 | 0.4 | n |  | TRUE
25 | bus_LV_295-41_0_5_node_55 | 0.4 | n |  | TRUE
26 | bus_LV_295-41_0_5_node_53 | 0.4 | n |  | TRUE
27 | bus_LV_295-41_0_5_node_37 | 0.4 | n |  | TRUE
28 | bus_LV_295-41_0_5_node_54 | 0.4 | n |  | TRUE
29 | bus_LV_295-41_0_5_node_38 | 0.4 | n |  | TRUE
30 | bus_LV_295-41_0_5_node_64 | 0.4 | n |  | TRUE
31 | bus_LV_295-41_0_5_node_78 | 0.4 | n |  | TRUE
32 | bus_LV_295-41_0_5_node_85 | 0.4 | n |  | TRUE
33 | bus_LV_295-41_0_5_node_41 | 0.4 | n |  | TRUE
34 | bus_LV_295-41_0_5_node_49 | 0.4 | n |  | TRUE
35 | bus_LV_295-41_0_5_node_33 | 0.4 | n |  | TRUE
36 | bus_LV_295-41_0_5_node_18 | 0.4 | n |  | TRUE
37 | bus_LV_295-41_0_5_node_19 | 0.4 | n |  | TRUE
38 | bus_LV_295-41_0_5_node_20 | 0.4 | n |  | TRUE
39 | bus_LV_295-41_0_5_node_21 | 0.4 | n |  | TRUE
40 | bus_LV_295-41_0_5_node_25 | 0.4 | n |  | TRUE
41 | bus_LV_295-41_0_5_node_26 | 0.4 | n |  | TRUE
42 | bus_LV_295-41_0_5_node_27 | 0.4 | n |  | TRUE
43 | bus_LV_295-41_0_5_node_28 | 0.4 | n |  | TRUE
44 | bus_LV_295-41_0_5_node_29 | 0.4 | n |  | TRUE
45 | bus_LV_295-41_0_5_node_31 | 0.4 | n |  | TRUE
46 | bus_LV_295-41_0_5_node_42 | 0.4 | n |  | TRUE
47 | bus_LV_295-41_0_5_node_30 | 0.4 | n |  | TRUE
48 | bus_LV_295-41_0_5_node_70 | 0.4 | n |  | TRUE
49 | bus_LV_295-41_0_5_node_80 | 0.4 | n |  | TRUE
50 | bus_LV_295-41_0_5_node_32 | 0.4 | n |  | TRUE
51 | bus_LV_295-41_0_5_node_43 | 0.4 | n |  | TRUE
52 | bus_LV_295-41_0_5_node_72 | 0.4 | n |  | TRUE
53 | bus_LV_295-41_0_5_node_68 | 0.4 | n |  | TRUE
54 | bus_LV_295-41_0_5_node_81 | 0.4 | n |  | TRUE
55 | bus_LV_295-41_0_5_node_46 | 0.4 | n |  | TRUE
56 | bus_LV_295-41_0_5_node_34 | 0.4 | n |  | TRUE
57 | bus_LV_295-41_0_5_node_48 | 0.4 | n |  | TRUE
58 | bus_LV_295-41_0_5_node_47 | 0.4 | n |  | TRUE
59 | bus_LV_295-41_0_5_node_50 | 0.4 | n |  | TRUE
60 | bus_LV_295-41_0_5_node_57 | 0.4 | n |  | TRUE
61 | bus_LV_295-41_0_5_node_62 | 0.4 | n |  | TRUE
62 | bus_LV_295-41_0_5_node_79 | 0.4 | n |  | TRUE
63 | bus_LV_295-41_0_5_node_44 | 0.4 | n |  | TRUE
64 | bus_LV_295-41_0_5_node_52 | 0.4 | n |  | TRUE
65 | bus_LV_295-41_0_5_node_67 | 0.4 | n |  | TRUE
66 | bus_LV_295-41_0_5_node_73 | 0.4 | n |  | TRUE
67 | bus_LV_295-41_0_5_node_51 | 0.4 | n |  | TRUE
68 | bus_LV_295-41_0_5_node_66 | 0.4 | n |  | TRUE
69 | bus_LV_295-41_0_5_node_71 | 0.4 | n |  | TRUE
70 | bus_LV_295-41_0_5_node_59 | 0.4 | n |  | TRUE
71 | bus_LV_295-41_0_5_node_58 | 0.4 | n |  | TRUE
72 | bus_LV_295-41_0_5_node_60 | 0.4 | n |  | TRUE
73 | bus_LV_295-41_0_5_node_61 | 0.4 | n |  | TRUE
74 | bus_LV_295-41_0_5_node_75 | 0.4 | n |  | TRUE
75 | bus_LV_295-41_0_5_node_74 | 0.4 | n |  | TRUE
76 | bus_LV_295-41_0_5_node_76 | 0.4 | n |  | TRUE
77 | bus_LV_295-41_0_5_node_69 | 0.4 | n |  | TRUE
78 | bus_LV_295-41_0_5_node_84 | 0.4 | n |  | TRUE
79 | bus_LV_295-41_0_5_node_77 | 0.4 | n |  | TRUE
80 | bus_MV_417_0_node_157 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_295-41_0_5_load_0 | 0 | 0.012131 | 0.0030404 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_295-41_0_5_load_1 | 1 | 0.013866 | 0.0034751 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_295-41_0_5_load_4 | 3 | 0.0045916 | 0.0011508 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_295-41_0_5_load_5 | 4 | 0.0067042 | 0.0016802 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_295-41_0_5_load_82 | 5 | 0.011081 | 0.0027771 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_295-41_0_5_load_6 | 6 | 0.0035984 | 0.00090183 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_295-41_0_5_load_65 | 8 | 0.0071521 | 0.0017925 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_295-41_0_5_load_23 | 11 | 0.0044486 | 0.0011149 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_295-41_0_5_load_16 | 13 | 0.010419 | 0.0026113 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_295-41_0_5_load_14 | 14 | 0.0043524 | 0.0010908 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_295-41_0_5_load_12 | 16 | 0.0015016 | 0.00037633 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_295-41_0_5_load_83 | 17 | 0.023014 | 0.0057678 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_295-41_0_5_load_63 | 18 | 0.0051494 | 0.0012906 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_295-41_0_5_load_35 | 21 | 0.017383 | 0.0043566 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_295-41_0_5_load_22 | 22 | 0.0028179 | 0.00070624 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_295-41_0_5_load_15 | 23 | 0.005173 | 0.0012965 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_295-41_0_5_load_53 | 26 | 0.013228 | 0.0033152 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_295-41_0_5_load_54 | 28 | 0.015298 | 0.0038339 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_295-41_0_5_load_64 | 30 | 0.0046376 | 0.0011623 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_295-41_0_5_load_78 | 31 | 0.0068365 | 0.0017134 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_295-41_0_5_load_85 | 32 | 0.019176 | 0.004806 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_295-41_0_5_load_49 | 34 | 0.0072258 | 0.0018109 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_295-41_0_5_load_18 | 36 | 0.016485 | 0.0041316 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_295-41_0_5_load_19 | 37 | 0.0045322 | 0.0011359 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_295-41_0_5_load_20 | 38 | 0.014337 | 0.0035932 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_295-41_0_5_load_21 | 39 | 0.0046445 | 0.001164 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_295-41_0_5_load_25 | 40 | 0.0064764 | 0.0016231 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_295-41_0_5_load_26 | 41 | 0.0038792 | 0.00097222 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_295-41_0_5_load_28 | 43 | 0.0037123 | 0.00093038 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_295-41_0_5_load_31 | 45 | 0.0038434 | 0.00096326 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_295-41_0_5_load_42 | 46 | 0.0049245 | 0.0012342 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_295-41_0_5_load_80 | 49 | 0.057586 | 0.014432 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_295-41_0_5_load_43 | 51 | 0.003178 | 0.00079648 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_295-41_0_5_load_72 | 52 | 0.0035282 | 0.00088425 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_295-41_0_5_load_68 | 53 | 0.012461 | 0.0031231 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_295-41_0_5_load_81 | 54 | 0.0064323 | 0.0016121 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_295-41_0_5_load_46 | 55 | 0.0070349 | 0.0017631 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_295-41_0_5_load_47 | 58 | 0.0080045 | 0.0020061 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_295-41_0_5_load_57 | 60 | 0.033034 | 0.0082792 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_295-41_0_5_load_62 | 61 | 0.0045784 | 0.0011475 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_295-41_0_5_load_79 | 62 | 0.0068747 | 0.001723 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_295-41_0_5_load_44 | 63 | 0.0021835 | 0.00054723 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_295-41_0_5_load_67 | 65 | 0.005386 | 0.0013499 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_295-41_0_5_load_73 | 66 | 0.013565 | 0.0033997 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_295-41_0_5_load_51 | 67 | 0.0050058 | 0.0012546 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_295-41_0_5_load_66 | 68 | 0.011256 | 0.0028211 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_295-41_0_5_load_59 | 70 | 0.01035 | 0.0025939 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_295-41_0_5_load_61 | 73 | 0.0069169 | 0.0017335 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_295-41_0_5_load_75 | 74 | 0.014587 | 0.0036558 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_295-41_0_5_load_74 | 75 | 0.012653 | 0.0031713 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_295-41_0_5_load_76 | 76 | 0.0036778 | 0.00092175 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_295-41_0_5_load_69 | 77 | 0.014414 | 0.0036124 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_295-41_0_5_load_84 | 78 | 0.0038404 | 0.0009625 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 71 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_295-41_0_5_line_0 |  | 0 | 1 | 0.0098697 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_295-41_0_5_line_1 |  | 0 | 2 | 0.020883 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_295-41_0_5_line_2 |  | 2 | 3 | 0.019006 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_295-41_0_5_line_3 |  | 2 | 4 | 0.01397 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_295-41_0_5_line_4 |  | 4 | 5 | 0.020321 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_295-41_0_5_line_5 |  | 5 | 17 | 0.013099 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_295-41_0_5_line_6 |  | 6 | 7 | 0.0030614 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_295-41_0_5_line_7 |  | 7 | 8 | 0.03739 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_295-41_0_5_line_8 |  | 7 | 9 | 0.011408 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_295-41_0_5_line_9 |  | 8 | 18 | 0.0081783 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_295-41_0_5_line_10 |  | 9 | 10 | 0.009234 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_295-41_0_5_line_11 |  | 9 | 11 | 0.06192 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_295-41_0_5_line_12 |  | 10 | 13 | 0.045226 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_295-41_0_5_line_13 |  | 10 | 15 | 0.15101 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_295-41_0_5_line_14 |  | 11 | 22 | 0.013124 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_295-41_0_5_line_15 |  | 12 | 13 | 0.033444 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_295-41_0_5_line_16 |  | 12 | 14 | 0.036956 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_295-41_0_5_line_17 |  | 14 | 23 | 0.031469 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_295-41_0_5_line_18 |  | 15 | 16 | 0.0096749 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_295-41_0_5_line_19 |  | 17 | 79 | 0.018815 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_295-41_0_5_line_20 |  | 18 | 61 | 0.017774 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_295-41_0_5_line_21 |  | 19 | 20 | 0.031591 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_295-41_0_5_line_22 |  | 19 | 21 | 0.019022 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_295-41_0_5_line_23 |  | 20 | 32 | 0.001629 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_295-41_0_5_line_24 |  | 20 | 27 | 0.020681 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_295-41_0_5_line_25 |  | 22 | 39 | 0.025392 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_295-41_0_5_line_26 |  | 24 | 25 | 0.006559 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_295-41_0_5_line_27 |  | 24 | 26 | 0.025966 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_295-41_0_5_line_28 |  | 25 | 60 | 0.043539 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_295-41_0_5_line_29 |  | 26 | 28 | 0.00058562 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_295-41_0_5_line_30 |  | 27 | 28 | 0.015234 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_295-41_0_5_line_31 |  | 29 | 30 | 0.01194 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_295-41_0_5_line_32 |  | 29 | 31 | 0.020267 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_295-41_0_5_line_33 |  | 30 | 61 | 0.0096092 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_295-41_0_5_line_34 |  | 31 | 62 | 0.012575 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_295-41_0_5_line_35 |  | 33 | 34 | 0.012987 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_295-41_0_5_line_36 |  | 33 | 35 | 0.002409 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_295-41_0_5_line_37 |  | 34 | 59 | 0.0094463 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_295-41_0_5_line_38 |  | 35 | 55 | 0.0097656 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_295-41_0_5_line_39 |  | 35 | 50 | 0.022507 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_295-41_0_5_line_40 |  | 36 | 37 | 0.01845 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_295-41_0_5_line_41 |  | 37 | 38 | 0.015572 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_295-41_0_5_line_42 |  | 38 | 39 | 0.048067 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_295-41_0_5_line_43 |  | 40 | 41 | 0.00053373 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_295-41_0_5_line_44 |  | 40 | 42 | 0.02092 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_295-41_0_5_line_45 |  | 41 | 43 | 0.026488 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_295-41_0_5_line_46 |  | 42 | 44 | 0.029684 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_295-41_0_5_line_47 |  | 43 | 45 | 0.027727 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_295-41_0_5_line_48 |  | 44 | 46 | 0.020221 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_295-41_0_5_line_49 |  | 45 | 50 | 0.0090338 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_295-41_0_5_line_50 |  | 46 | 51 | 0.020163 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_295-41_0_5_line_51 |  | 47 | 48 | 0.006718 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_295-41_0_5_line_52 |  | 47 | 49 | 0.019559 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_295-41_0_5_line_53 |  | 48 | 52 | 0.028359 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
54 | LV_295-41_0_5_line_54 |  | 48 | 53 | 0.011233 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_295-41_0_5_line_55 |  | 49 | 54 | 0.030114 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_295-41_0_5_line_56 |  | 51 | 63 | 0.015454 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_295-41_0_5_line_57 |  | 52 | 78 | 0.01 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
58 | LV_295-41_0_5_line_58 |  | 53 | 77 | 9.1943e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_295-41_0_5_line_59 |  | 56 | 57 | 0.002516 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_295-41_0_5_line_60 |  | 56 | 58 | 0.010068 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_295-41_0_5_line_61 |  | 57 | 59 | 0.007041 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_295-41_0_5_line_62 |  | 59 | 67 | 0.017416 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_295-41_0_5_line_63 |  | 60 | 71 | 0.017392 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_295-41_0_5_line_64 |  | 62 | 73 | 0.027446 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_295-41_0_5_line_65 |  | 63 | 64 | 0.011107 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_295-41_0_5_line_66 |  | 64 | 65 | 0.0051205 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_295-41_0_5_line_67 |  | 64 | 66 | 0.026749 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_295-41_0_5_line_68 |  | 65 | 68 | 0.033153 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_295-41_0_5_line_69 |  | 66 | 69 | 0.045555 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_295-41_0_5_line_70 |  | 68 | 70 | 0.0023593 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_295-41_0_5_line_71 |  | 69 | 75 | 0.025795 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_295-41_0_5_line_72 |  | 69 | 77 | 0.020376 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_295-41_0_5_line_73 |  | 71 | 72 | 0.017991 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
74 | LV_295-41_0_5_line_74 |  | 71 | 73 | 0.0093609 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_295-41_0_5_line_75 |  | 72 | 74 | 0.015834 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
76 | LV_295-41_0_5_line_76 |  | 74 | 76 | 0.015654 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
77 | LV_295-41_0_5_line_77 |  | 76 | 79 | 0.0081406 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
78 | LV_295-41_0_5_line_78 |  | 78 | 79 | 0.012118 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_295-41_0_5_trafo_58 | 0.63 MVA 20/0.4 kV | 80 | 71 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25 | x26 | y26
0 | 2688122.6253 | 1234756.558 | 2688123.6349 | 1234766.3759
1 | 2688120.4889 | 1234735.7842 | 2688122.6253 | 1234756.558
2 | 2688120.4889 | 1234735.7842 | 2688101.6487 | 1234738.2913
3 | 2688120.4889 | 1234735.7842 | 2688134.3367 | 1234733.9391
4 | 2688134.3367 | 1234733.9391 | 2688154.4796 | 1234731.2553
5 | 2688167.4642 | 1234729.5252 | 2688154.4796 | 1234731.2553
6 | 2688194.1196 | 1234839.4172 | 2688191.5505 | 1234841.082
7 | 2688194.1196 | 1234839.4172 | 2688222.4286 | 1234820.7129 | 2688225.3491 | 1234818.8577
8 | 2688194.1196 | 1234839.4172 | 2688197.1914 | 1234844.1106 | 2688200.1605 | 1234849.0916
9 | 2688232.2524 | 1234814.4726 | 2688225.3491 | 1234818.8577
10 | 2688200.1605 | 1234849.0916 | 2688198.8833 | 1234854.5543 | 2688198.4363 | 1234858.1502
11 | 2688200.1605 | 1234849.0916 | 2688226.0537 | 1234830.9629 | 2688248.6112 | 1234815.7203 | 2688251.2276 | 1234814.0815
12 | 2688198.4363 | 1234858.1502 | 2688202.8256 | 1234866.3879 | 2688205.764 | 1234869.8674 | 2688208.7768 | 1234871.9024 | 2688213.6725 | 1234872.5422 | 2688219.7698 | 1234872.2992 | 2688227.3037 | 1234870.1317 | 2688235.1749 | 1234866.1458
13 | 2688198.4363 | 1234858.1502 | 2688192.1125 | 1234861.4143 | 2688200.1737 | 1234876.2334 | 2688192.235 | 1234885.2776 | 2688194.6776 | 1234887.4821 | 2688195.6455 | 1234889.0754 | 2688197.7941 | 1234888.1399 | 2688202.8769 | 1234885.8693 | 2688203.9975 | 1234885.3411 | 2688205.2293 | 1234888.028 | 2688193.8594 | 1234893.1296 | 2688193.4357 | 1234894.1351 | 2688193.9238 | 1234895.421 | 2688198.2748 | 1234905.2148 | 2688198.9925 | 1234906.8378 | 2688217.5687 | 1234898.174 | 2688219.5887 | 1234897.737 | 2688224.6196 | 1234899.9799 | 2688227.6955 | 1234905.9187 | 2688232.1549 | 1234911.9782 | 2688237.7724 | 1234908.8704 | 2688239.0927 | 1234908.1451 | 2688242.3153 | 1234907.7816 | 2688245.4998 | 1234907.4286 | 2688248.5558 | 1234905.5393 | 2688252.4114 | 1234903.3283 | 2688257.7728 | 1234901.6623
14 | 2688262.3498 | 1234807.1151 | 2688251.2276 | 1234814.0815
15 | 2688263.2315 | 1234859.8356 | 2688261.7625 | 1234856.8117 | 2688236.3571 | 1234868.098 | 2688235.1749 | 1234866.1458
16 | 2688263.2315 | 1234859.8356 | 2688296.957 | 1234844.7251
17 | 2688296.957 | 1234844.7251 | 2688304.6418 | 1234841.282 | 2688325.087 | 1234830.6413
18 | 2688257.7728 | 1234901.6623 | 2688264.889 | 1234908.2169
19 | 2688186.1141 | 1234727.0403 | 2688167.4642 | 1234729.5252
20 | 2688247.2554 | 1234804.9424 | 2688232.2524 | 1234814.4726
21 | 2688345.2467 | 1234734.9094 | 2688346.7635 | 1234737.2669 | 2688346.7014 | 1234741.9471 | 2688362.3781 | 1234732.3289 | 2688367.2373 | 1234729.3212
22 | 2688367.2373 | 1234729.3212 | 2688383.7386 | 1234719.8585
23 | 2688345.2467 | 1234734.9094 | 2688344.435 | 1234733.4963
24 | 2688326.4513 | 1234739.4332 | 2688335.4805 | 1234741.0797 | 2688345.2467 | 1234734.9094
25 | 2688283.822 | 1234793.5626 | 2688277.1886 | 1234797.8208 | 2688262.3498 | 1234807.1151
26 | 2688307.324 | 1234711.807 | 2688300.963 | 1234713.4803
27 | 2688307.324 | 1234711.807 | 2688310.799 | 1234718.9082 | 2688312.417 | 1234721.5897 | 2688316.2856 | 1234723.0927 | 2688316.2761 | 1234733.8706
28 | 2688300.963 | 1234713.4803 | 2688260.2294 | 1234728.8551
29 | 2688316.2761 | 1234733.8706 | 2688316.2756 | 1234734.4562
30 | 2688326.4513 | 1234739.4332 | 2688324.4619 | 1234736.2792 | 2688321.5338 | 1234731.599 | 2688316.2756 | 1234734.4562 | 2688316.2756 | 1234734.4562
31 | 2688265.4455 | 1234793.3877 | 2688255.3665 | 1234799.79
32 | 2688265.4455 | 1234793.3877 | 2688255.0385 | 1234777.4884 | 2688254.3131 | 1234776.4522
33 | 2688247.2554 | 1234804.9424 | 2688255.3665 | 1234799.79
34 | 2688254.3131 | 1234776.4522 | 2688247.1018 | 1234766.1502
35 | 2688351.4638 | 1234677.772 | 2688338.7549 | 1234675.1001
36 | 2688351.4638 | 1234677.772 | 2688352.5481 | 1234675.6199
37 | 2688330.3699 | 1234675.9905 | 2688333.0998 | 1234673.6405 | 2688336.5521 | 1234674.637 | 2688338.7549 | 1234675.1001
38 | 2688352.5481 | 1234675.6199 | 2688358.0873 | 1234683.6626
39 | 2688351.96 | 1234655.1076 | 2688354.9309 | 1234660.9782 | 2688356.4018 | 1234663.8799 | 2688356.5109 | 1234667.7399 | 2688352.5481 | 1234675.6199
40 | 2688353.0646 | 1234749.4745 | 2688337.4092 | 1234759.2366
41 | 2688337.4092 | 1234759.2366 | 2688333.9673 | 1234761.3829 | 2688324.275 | 1234767.6016
42 | 2688283.822 | 1234793.5626 | 2688300.6521 | 1234782.7586 | 2688324.275 | 1234767.6016
43 | 2688326.4019 | 1234596.67 | 2688326.6157 | 1234597.159
44 | 2688318.0192 | 1234577.5032 | 2688326.4019 | 1234596.67
45 | 2688326.6157 | 1234597.159 | 2688337.2296 | 1234621.4271
46 | 2688289.5418 | 1234586.0529 | 2688295.1495 | 1234584.1348 | 2688301.1173 | 1234581.933 | 2688306.5074 | 1234580.3898 | 2688318.0192 | 1234577.5032
47 | 2688348.3401 | 1234646.8308 | 2688337.2296 | 1234621.4271
48 | 2688289.5418 | 1234586.0529 | 2688289.7888 | 1234587.7689 | 2688289.4732 | 1234590.6663 | 2688287.5034 | 1234593.3167 | 2688276.8072 | 1234599.3304
49 | 2688351.96 | 1234655.1076 | 2688348.3401 | 1234646.8308
50 | 2688276.8072 | 1234599.3304 | 2688259.2313 | 1234609.2119
51 | 2688162.0625 | 1234675.1464 | 2688165.016 | 1234681.1834
52 | 2688162.0625 | 1234675.1464 | 2688148.6538 | 1234680.3957 | 2688143.7706 | 1234682.0625
53 | 2688165.016 | 1234681.1834 | 2688176.8693 | 1234706.9466
54 | 2688165.016 | 1234681.1834 | 2688175.1651 | 1234676.3698
55 | 2688143.7706 | 1234682.0625 | 2688115.2715 | 1234691.7906
56 | 2688259.2313 | 1234609.2119 | 2688253.3034 | 1234612.5447 | 2688250.1516 | 1234615.778 | 2688248.9742 | 1234619.6188 | 2688248.9851 | 1234619.7394
57 | 2688181.049 | 1234716.0313 | 2688176.8693 | 1234706.9466
58 | 2688175.1651 | 1234676.3698 | 2688175.2481 | 1234676.3304
59 | 2688327.498 | 1234669.5655 | 2688326.4648 | 1234667.2707
60 | 2688326.4648 | 1234667.2707 | 2688317.4838 | 1234671.8216
61 | 2688327.498 | 1234669.5655 | 2688327.8061 | 1234670.2261 | 2688329.4153 | 1234673.4968 | 2688330.3699 | 1234675.9905
62 | 2688330.3699 | 1234675.9905 | 2688329.2043 | 1234676.9961 | 2688318.7624 | 1234682.2781 | 2688317.1627 | 1234681.9318 | 2688315.771 | 1234679.8089
63 | 2688243.4575 | 1234733.0958 | 2688249.8199 | 1234732.3453 | 2688255.7284 | 1234730.554 | 2688260.2294 | 1234728.8551
64 | 2688247.1018 | 1234766.1502 | 2688245.5059 | 1234763.8704 | 2688237.8251 | 1234749.4238 | 2688242.2069 | 1234742.3727 | 2688242.2069 | 1234742.3727
65 | 2688251.8426 | 1234630.358 | 2688249.3906 | 1234624.1949 | 2688248.9851 | 1234619.7394
66 | 2688251.8426 | 1234630.358 | 2688253.921 | 1234635.0377
67 | 2688251.8426 | 1234630.358 | 2688227.3724 | 1234641.1606
68 | 2688253.921 | 1234635.0377 | 2688264.698 | 1234659.3029 | 2688268.2348 | 1234664.8784
69 | 2688193.6584 | 1234667.5986 | 2688200.2091 | 1234653.1522 | 2688227.3724 | 1234641.1606
70 | 2688269.4986 | 1234666.8707 | 2688268.2348 | 1234664.8784
71 | 2688193.6584 | 1234667.5986 | 2688195.2307 | 1234670.3017 | 2688205.2498 | 1234690.6357
72 | 2688193.6584 | 1234667.5986 | 2688175.2481 | 1234676.3304
73 | 2688243.4575 | 1234733.0958 | 2688225.4697 | 1234731.6722
74 | 2688243.4575 | 1234733.0958 | 2688242.2069 | 1234742.3727
75 | 2688225.4697 | 1234731.6722 | 2688209.7492 | 1234729.7826
76 | 2688209.7492 | 1234729.7826 | 2688198.8709 | 1234728.4751 | 2688194.1977 | 1234727.9942
77 | 2688186.1141 | 1234727.0403 | 2688190.2845 | 1234727.5915 | 2688194.1977 | 1234727.9942
78 | 2688186.1141 | 1234727.0403 | 2688181.049 | 1234716.0313

## bus_geodata
| x | y | coords
0 | 2688122.6253 | 1234756.558
1 | 2688123.6349 | 1234766.3759
2 | 2688120.4889 | 1234735.7842
3 | 2688101.6487 | 1234738.2913
4 | 2688134.3367 | 1234733.9391
5 | 2688154.4796 | 1234731.2553
6 | 2688191.5505 | 1234841.082
7 | 2688194.1196 | 1234839.4172
8 | 2688225.3491 | 1234818.8577
9 | 2688200.1605 | 1234849.0916
10 | 2688198.4363 | 1234858.1502
11 | 2688251.2276 | 1234814.0815
12 | 2688263.2315 | 1234859.8356
13 | 2688235.1749 | 1234866.1458
14 | 2688296.957 | 1234844.7251
15 | 2688257.7728 | 1234901.6623
16 | 2688264.889 | 1234908.2169
17 | 2688167.4642 | 1234729.5252
18 | 2688232.2524 | 1234814.4726
19 | 2688367.2373 | 1234729.3212
20 | 2688345.2467 | 1234734.9094
21 | 2688383.7386 | 1234719.8585
22 | 2688262.3498 | 1234807.1151
23 | 2688325.087 | 1234830.6413
24 | 2688307.324 | 1234711.807
25 | 2688300.963 | 1234713.4803
26 | 2688316.2761 | 1234733.8706
27 | 2688326.4513 | 1234739.4332
28 | 2688316.2756 | 1234734.4562
29 | 2688265.4455 | 1234793.3877
30 | 2688255.3665 | 1234799.79
31 | 2688254.3131 | 1234776.4522
32 | 2688344.435 | 1234733.4963
33 | 2688351.4638 | 1234677.772
34 | 2688338.7549 | 1234675.1001
35 | 2688352.5481 | 1234675.6199
36 | 2688353.0646 | 1234749.4745
37 | 2688337.4092 | 1234759.2366
38 | 2688324.275 | 1234767.6016
39 | 2688283.822 | 1234793.5626
40 | 2688326.4019 | 1234596.67
41 | 2688326.6157 | 1234597.159
42 | 2688318.0192 | 1234577.5032
43 | 2688337.2296 | 1234621.4271
44 | 2688289.5418 | 1234586.0529
45 | 2688348.3401 | 1234646.8308
46 | 2688276.8072 | 1234599.3304
47 | 2688162.0625 | 1234675.1464
48 | 2688165.016 | 1234681.1834
49 | 2688143.7706 | 1234682.0625
50 | 2688351.96 | 1234655.1076
51 | 2688259.2313 | 1234609.2119
52 | 2688176.8693 | 1234706.9466
53 | 2688175.1651 | 1234676.3698
54 | 2688115.2715 | 1234691.7906
55 | 2688358.0873 | 1234683.6626
56 | 2688326.4648 | 1234667.2707
57 | 2688327.498 | 1234669.5655
58 | 2688317.4838 | 1234671.8216
59 | 2688330.3699 | 1234675.9905
60 | 2688260.2294 | 1234728.8551
61 | 2688247.2554 | 1234804.9424
62 | 2688247.1018 | 1234766.1502
63 | 2688248.9851 | 1234619.7394
64 | 2688251.8426 | 1234630.358
65 | 2688253.921 | 1234635.0377
66 | 2688227.3724 | 1234641.1606
67 | 2688315.771 | 1234679.8089
68 | 2688268.2348 | 1234664.8784
69 | 2688193.6584 | 1234667.5986
70 | 2688269.4986 | 1234666.8707
71 | 2688243.4575 | 1234733.0958
72 | 2688225.4697 | 1234731.6722
73 | 2688242.2069 | 1234742.3727
74 | 2688209.7492 | 1234729.7826
75 | 2688205.2498 | 1234690.6357
76 | 2688194.1977 | 1234727.9942
77 | 2688175.2481 | 1234676.3304
78 | 2688181.049 | 1234716.0313
79 | 2688186.1141 | 1234727.0403
80 | 2688225.4697 | 1234731.6722

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1