## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_295-45_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_295-45_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_295-45_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_295-45_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_295-45_0_4_node_6 | 0.4 | n |  | TRUE
5 | bus_LV_295-45_0_4_node_7 | 0.4 | n |  | TRUE
6 | bus_LV_295-45_0_4_node_26 | 0.4 | n |  | TRUE
7 | bus_LV_295-45_0_4_node_4 | 0.4 | n |  | TRUE
8 | bus_LV_295-45_0_4_node_166 | 0.4 | n |  | TRUE
9 | bus_LV_295-45_0_4_node_15 | 0.4 | n |  | TRUE
10 | bus_LV_295-45_0_4_node_133 | 0.4 | n |  | TRUE
11 | bus_LV_295-45_0_4_node_27 | 0.4 | n |  | TRUE
12 | bus_LV_295-45_0_4_node_28 | 0.4 | n |  | TRUE
13 | bus_LV_295-45_0_4_node_83 | 0.4 | n |  | TRUE
14 | bus_LV_295-45_0_4_node_13 | 0.4 | n |  | TRUE
15 | bus_LV_295-45_0_4_node_8 | 0.4 | n |  | TRUE
16 | bus_LV_295-45_0_4_node_9 | 0.4 | n |  | TRUE
17 | bus_LV_295-45_0_4_node_10 | 0.4 | n |  | TRUE
18 | bus_LV_295-45_0_4_node_11 | 0.4 | n |  | TRUE
19 | bus_LV_295-45_0_4_node_84 | 0.4 | n |  | TRUE
20 | bus_LV_295-45_0_4_node_131 | 0.4 | n |  | TRUE
21 | bus_LV_295-45_0_4_node_130 | 0.4 | n |  | TRUE
22 | bus_LV_295-45_0_4_node_12 | 0.4 | n |  | TRUE
23 | bus_LV_295-45_0_4_node_14 | 0.4 | n |  | TRUE
24 | bus_LV_295-45_0_4_node_16 | 0.4 | n |  | TRUE
25 | bus_LV_295-45_0_4_node_17 | 0.4 | n |  | TRUE
26 | bus_LV_295-45_0_4_node_18 | 0.4 | n |  | TRUE
27 | bus_LV_295-45_0_4_node_152 | 0.4 | n |  | TRUE
28 | bus_LV_295-45_0_4_node_153 | 0.4 | n |  | TRUE
29 | bus_LV_295-45_0_4_node_151 | 0.4 | n |  | TRUE
30 | bus_LV_295-45_0_4_node_25 | 0.4 | n |  | TRUE
31 | bus_LV_295-45_0_4_node_149 | 0.4 | n |  | TRUE
32 | bus_LV_295-45_0_4_node_33 | 0.4 | n |  | TRUE
33 | bus_LV_295-45_0_4_node_150 | 0.4 | n |  | TRUE
34 | bus_LV_295-45_0_4_node_127 | 0.4 | n |  | TRUE
35 | bus_LV_295-45_0_4_node_19 | 0.4 | n |  | TRUE
36 | bus_LV_295-45_0_4_node_20 | 0.4 | n |  | TRUE
37 | bus_LV_295-45_0_4_node_21 | 0.4 | n |  | TRUE
38 | bus_LV_295-45_0_4_node_22 | 0.4 | n |  | TRUE
39 | bus_LV_295-45_0_4_node_23 | 0.4 | n |  | TRUE
40 | bus_LV_295-45_0_4_node_145 | 0.4 | n |  | TRUE
41 | bus_LV_295-45_0_4_node_146 | 0.4 | n |  | TRUE
42 | bus_LV_295-45_0_4_node_120 | 0.4 | n |  | TRUE
43 | bus_LV_295-45_0_4_node_118 | 0.4 | n |  | TRUE
44 | bus_LV_295-45_0_4_node_24 | 0.4 | n |  | TRUE
45 | bus_LV_295-45_0_4_node_128 | 0.4 | n |  | TRUE
46 | bus_LV_295-45_0_4_node_147 | 0.4 | n |  | TRUE
47 | bus_LV_295-45_0_4_node_144 | 0.4 | n |  | TRUE
48 | bus_LV_295-45_0_4_node_121 | 0.4 | n |  | TRUE
49 | bus_LV_295-45_0_4_node_116 | 0.4 | n |  | TRUE
50 | bus_LV_295-45_0_4_node_129 | 0.4 | n |  | TRUE
51 | bus_LV_295-45_0_4_node_32 | 0.4 | n |  | TRUE
52 | bus_LV_295-45_0_4_node_29 | 0.4 | n |  | TRUE
53 | bus_LV_295-45_0_4_node_31 | 0.4 | n |  | TRUE
54 | bus_LV_295-45_0_4_node_49 | 0.4 | n |  | TRUE
55 | bus_LV_295-45_0_4_node_50 | 0.4 | n |  | TRUE
56 | bus_LV_295-45_0_4_node_75 | 0.4 | n |  | TRUE
57 | bus_LV_295-45_0_4_node_34 | 0.4 | n |  | TRUE
58 | bus_LV_295-45_0_4_node_35 | 0.4 | n |  | TRUE
59 | bus_LV_295-45_0_4_node_36 | 0.4 | n |  | TRUE
60 | bus_LV_295-45_0_4_node_37 | 0.4 | n |  | TRUE
61 | bus_LV_295-45_0_4_node_38 | 0.4 | n |  | TRUE
62 | bus_LV_295-45_0_4_node_41 | 0.4 | n |  | TRUE
63 | bus_LV_295-45_0_4_node_42 | 0.4 | n |  | TRUE
64 | bus_LV_295-45_0_4_node_135 | 0.4 | n |  | TRUE
65 | bus_LV_295-45_0_4_node_138 | 0.4 | n |  | TRUE
66 | bus_LV_295-45_0_4_node_48 | 0.4 | n |  | TRUE
67 | bus_LV_295-45_0_4_node_39 | 0.4 | n |  | TRUE
68 | bus_LV_295-45_0_4_node_40 | 0.4 | n |  | TRUE
69 | bus_LV_295-45_0_4_node_43 | 0.4 | n |  | TRUE
70 | bus_LV_295-45_0_4_node_47 | 0.4 | n |  | TRUE
71 | bus_LV_295-45_0_4_node_137 | 0.4 | n |  | TRUE
72 | bus_LV_295-45_0_4_node_134 | 0.4 | n |  | TRUE
73 | bus_LV_295-45_0_4_node_139 | 0.4 | n |  | TRUE
74 | bus_LV_295-45_0_4_node_46 | 0.4 | n |  | TRUE
75 | bus_LV_295-45_0_4_node_45 | 0.4 | n |  | TRUE
76 | bus_LV_295-45_0_4_node_44 | 0.4 | n |  | TRUE
77 | bus_LV_295-45_0_4_node_76 | 0.4 | n |  | TRUE
78 | bus_LV_295-45_0_4_node_69 | 0.4 | n |  | TRUE
79 | bus_LV_295-45_0_4_node_77 | 0.4 | n |  | TRUE
80 | bus_LV_295-45_0_4_node_78 | 0.4 | n |  | TRUE
81 | bus_LV_295-45_0_4_node_79 | 0.4 | n |  | TRUE
82 | bus_LV_295-45_0_4_node_80 | 0.4 | n |  | TRUE
83 | bus_LV_295-45_0_4_node_81 | 0.4 | n |  | TRUE
84 | bus_LV_295-45_0_4_node_51 | 0.4 | n |  | TRUE
85 | bus_LV_295-45_0_4_node_52 | 0.4 | n |  | TRUE
86 | bus_LV_295-45_0_4_node_53 | 0.4 | n |  | TRUE
87 | bus_LV_295-45_0_4_node_58 | 0.4 | n |  | TRUE
88 | bus_LV_295-45_0_4_node_54 | 0.4 | n |  | TRUE
89 | bus_LV_295-45_0_4_node_55 | 0.4 | n |  | TRUE
90 | bus_LV_295-45_0_4_node_57 | 0.4 | n |  | TRUE
91 | bus_LV_295-45_0_4_node_74 | 0.4 | n |  | TRUE
92 | bus_LV_295-45_0_4_node_56 | 0.4 | n |  | TRUE
93 | bus_LV_295-45_0_4_node_65 | 0.4 | n |  | TRUE
94 | bus_LV_295-45_0_4_node_66 | 0.4 | n |  | TRUE
95 | bus_LV_295-45_0_4_node_67 | 0.4 | n |  | TRUE
96 | bus_LV_295-45_0_4_node_68 | 0.4 | n |  | TRUE
97 | bus_LV_295-45_0_4_node_70 | 0.4 | n |  | TRUE
98 | bus_LV_295-45_0_4_node_71 | 0.4 | n |  | TRUE
99 | bus_LV_295-45_0_4_node_72 | 0.4 | n |  | TRUE
100 | bus_LV_295-45_0_4_node_73 | 0.4 | n |  | TRUE
101 | bus_LV_295-45_0_4_node_64 | 0.4 | n |  | TRUE
102 | bus_LV_295-45_0_4_node_63 | 0.4 | n |  | TRUE
103 | bus_LV_295-45_0_4_node_59 | 0.4 | n |  | TRUE
104 | bus_LV_295-45_0_4_node_60 | 0.4 | n |  | TRUE
105 | bus_LV_295-45_0_4_node_61 | 0.4 | n |  | TRUE
106 | bus_LV_295-45_0_4_node_62 | 0.4 | n |  | TRUE
107 | bus_LV_295-45_0_4_node_164 | 0.4 | n |  | TRUE
108 | bus_LV_295-45_0_4_node_85 | 0.4 | n |  | TRUE
109 | bus_LV_295-45_0_4_node_86 | 0.4 | n |  | TRUE
110 | bus_LV_295-45_0_4_node_88 | 0.4 | n |  | TRUE
111 | bus_LV_295-45_0_4_node_90 | 0.4 | n |  | TRUE
112 | bus_LV_295-45_0_4_node_91 | 0.4 | n |  | TRUE
113 | bus_LV_295-45_0_4_node_112 | 0.4 | n |  | TRUE
114 | bus_LV_295-45_0_4_node_110 | 0.4 | n |  | TRUE
115 | bus_LV_295-45_0_4_node_92 | 0.4 | n |  | TRUE
116 | bus_LV_295-45_0_4_node_93 | 0.4 | n |  | TRUE
117 | bus_LV_295-45_0_4_node_97 | 0.4 | n |  | TRUE
118 | bus_LV_295-45_0_4_node_99 | 0.4 | n |  | TRUE
119 | bus_LV_295-45_0_4_node_96 | 0.4 | n |  | TRUE
120 | bus_LV_295-45_0_4_node_94 | 0.4 | n |  | TRUE
121 | bus_LV_295-45_0_4_node_95 | 0.4 | n |  | TRUE
122 | bus_LV_295-45_0_4_node_98 | 0.4 | n |  | TRUE
123 | bus_LV_295-45_0_4_node_115 | 0.4 | n |  | TRUE
124 | bus_LV_295-45_0_4_node_100 | 0.4 | n |  | TRUE
125 | bus_LV_295-45_0_4_node_101 | 0.4 | n |  | TRUE
126 | bus_LV_295-45_0_4_node_102 | 0.4 | n |  | TRUE
127 | bus_LV_295-45_0_4_node_103 | 0.4 | n |  | TRUE
128 | bus_LV_295-45_0_4_node_105 | 0.4 | n |  | TRUE
129 | bus_LV_295-45_0_4_node_113 | 0.4 | n |  | TRUE
130 | bus_LV_295-45_0_4_node_104 | 0.4 | n |  | TRUE
131 | bus_LV_295-45_0_4_node_158 | 0.4 | n |  | TRUE
132 | bus_LV_295-45_0_4_node_155 | 0.4 | n |  | TRUE
133 | bus_LV_295-45_0_4_node_159 | 0.4 | n |  | TRUE
134 | bus_LV_295-45_0_4_node_106 | 0.4 | n |  | TRUE
135 | bus_LV_295-45_0_4_node_114 | 0.4 | n |  | TRUE
136 | bus_LV_295-45_0_4_node_165 | 0.4 | n |  | TRUE
137 | bus_LV_295-45_0_4_node_148 | 0.4 | n |  | TRUE
138 | bus_LV_295-45_0_4_node_156 | 0.4 | n |  | TRUE
139 | bus_LV_295-45_0_4_node_154 | 0.4 | n |  | TRUE
140 | bus_LV_295-45_0_4_node_109 | 0.4 | n |  | TRUE
141 | bus_LV_295-45_0_4_node_107 | 0.4 | n |  | TRUE
142 | bus_LV_295-45_0_4_node_108 | 0.4 | n |  | TRUE
143 | bus_LV_295-45_0_4_node_163 | 0.4 | n |  | TRUE
144 | bus_LV_295-45_0_4_node_160 | 0.4 | n |  | TRUE
145 | bus_LV_295-45_0_4_node_111 | 0.4 | n |  | TRUE
146 | bus_LV_295-45_0_4_node_117 | 0.4 | n |  | TRUE
147 | bus_LV_295-45_0_4_node_119 | 0.4 | n |  | TRUE
148 | bus_LV_295-45_0_4_node_157 | 0.4 | n |  | TRUE
149 | bus_LV_295-45_0_4_node_122 | 0.4 | n |  | TRUE
150 | bus_LV_295-45_0_4_node_123 | 0.4 | n |  | TRUE
151 | bus_LV_295-45_0_4_node_124 | 0.4 | n |  | TRUE
152 | bus_LV_295-45_0_4_node_125 | 0.4 | n |  | TRUE
153 | bus_LV_295-45_0_4_node_126 | 0.4 | n |  | TRUE
154 | bus_LV_295-45_0_4_node_136 | 0.4 | n |  | TRUE
155 | bus_LV_295-45_0_4_node_141 | 0.4 | n |  | TRUE
156 | bus_LV_295-45_0_4_node_142 | 0.4 | n |  | TRUE
157 | bus_LV_295-45_0_4_node_140 | 0.4 | n |  | TRUE
158 | bus_LV_295-45_0_4_node_143 | 0.4 | n |  | TRUE
159 | bus_LV_295-45_0_4_node_161 | 0.4 | n |  | TRUE
160 | bus_MV_417_0_node_110 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_295-45_0_4_load_0 | 0 | 0.0059473 | 0.0014905 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_295-45_0_4_load_3 | 3 | 0.010659 | 0.0026713 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_295-45_0_4_load_6 | 4 | 0.0056312 | 0.0014113 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_295-45_0_4_load_166 | 8 | 0.0058177 | 0.001458 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_295-45_0_4_load_133 | 10 | 0.006174 | 0.0015474 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_295-45_0_4_load_28 | 12 | 0.0083104 | 0.0020828 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_295-45_0_4_load_83 | 13 | 0.0060011 | 0.001504 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_295-45_0_4_load_13 | 14 | 0.00059952 | 0.00015025 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_295-45_0_4_load_8 | 15 | 0.00077352 | 0.00019386 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_295-45_0_4_load_9 | 16 | 0.00049629 | 0.00012438 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_295-45_0_4_load_10 | 17 | 0.001172 | 0.00029374 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_295-45_0_4_load_11 | 18 | 0.0099745 | 0.0024999 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_295-45_0_4_load_131 | 20 | 0.007837 | 0.0019641 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_295-45_0_4_load_130 | 21 | 0.01506 | 0.0037744 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_295-45_0_4_load_12 | 22 | 0.0023475 | 0.00058833 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_295-45_0_4_load_14 | 23 | 0.0037123 | 0.00093038 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_295-45_0_4_load_16 | 24 | 0.0023384 | 0.00058605 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_295-45_0_4_load_17 | 25 | 0.0029394 | 0.00073669 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_295-45_0_4_load_152 | 27 | 0.0009213 | 0.0002309 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_295-45_0_4_load_153 | 28 | 0.0009349 | 0.00023431 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_295-45_0_4_load_151 | 29 | 0.00091228 | 0.00022864 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_295-45_0_4_load_33 | 32 | 0.00043256 | 0.00010841 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_295-45_0_4_load_150 | 33 | 0.0076822 | 0.0019254 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_295-45_0_4_load_127 | 34 | 0.0017513 | 0.00043891 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_295-45_0_4_load_19 | 35 | 0.01438 | 0.0036039 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_295-45_0_4_load_20 | 36 | 0.0034832 | 0.00087298 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_295-45_0_4_load_146 | 41 | 0.0036544 | 0.00091589 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_295-45_0_4_load_120 | 42 | 0.0021865 | 0.00054799 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_295-45_0_4_load_118 | 43 | 0.0018599 | 0.00046614 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_295-45_0_4_load_128 | 45 | 0.001856 | 0.00046516 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_295-45_0_4_load_147 | 46 | 0.0028562 | 0.00071582 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_295-45_0_4_load_144 | 47 | 0.0034007 | 0.0008523 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_295-45_0_4_load_121 | 48 | 0.0040032 | 0.0010033 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_295-45_0_4_load_116 | 49 | 0.0027747 | 0.00069541 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_295-45_0_4_load_129 | 50 | 0.0010812 | 0.00027097 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_295-45_0_4_load_32 | 51 | 0.00072694 | 0.00018219 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_295-45_0_4_load_29 | 52 | 0.0011826 | 0.00029639 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_295-45_0_4_load_49 | 54 | 0.00017599 | 4.4108e-05 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_295-45_0_4_load_50 | 55 | 0.00013553 | 3.3967e-05 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_295-45_0_4_load_75 | 56 | 8.0964e-05 | 2.0292e-05 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_295-45_0_4_load_34 | 57 | 0.0042887 | 0.0010748 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_295-45_0_4_load_35 | 58 | 0.010554 | 0.002645 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_295-45_0_4_load_38 | 61 | 6.5432e-05 | 1.6399e-05 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_295-45_0_4_load_138 | 65 | 0.0045484 | 0.0011399 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_295-45_0_4_load_48 | 66 | 0.0024377 | 0.00061095 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_295-45_0_4_load_39 | 67 | 0.00057614 | 0.00014439 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_295-45_0_4_load_40 | 68 | 7.5207e-05 | 1.8849e-05 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_295-45_0_4_load_43 | 69 | 0.00020818 | 5.2174e-05 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_295-45_0_4_load_134 | 72 | 0.00089367 | 0.00022397 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_295-45_0_4_load_139 | 73 | 0.0029379 | 0.00073632 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_295-45_0_4_load_45 | 75 | 5.3997e-05 | 1.3533e-05 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_295-45_0_4_load_44 | 76 | 0.00010722 | 2.6873e-05 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_295-45_0_4_load_76 | 77 | 0.00020438 | 5.1222e-05 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_295-45_0_4_load_69 | 78 | 0.00083063 | 0.00020818 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_295-45_0_4_load_78 | 80 | 0.00080492 | 0.00020173 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_295-45_0_4_load_79 | 81 | 0.00010196 | 2.5555e-05 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_295-45_0_4_load_80 | 82 | 5.4815e-05 | 1.3738e-05 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_295-45_0_4_load_81 | 83 | 0.00021756 | 5.4525e-05 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_295-45_0_4_load_51 | 84 | 0.00010374 | 2.6001e-05 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_295-45_0_4_load_58 | 87 | 0.00035697 | 8.9466e-05 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_295-45_0_4_load_54 | 88 | 0.00031282 | 7.8401e-05 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_295-45_0_4_load_55 | 89 | 0.00020301 | 5.088e-05 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_295-45_0_4_load_57 | 90 | 0.0015782 | 0.00039554 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_295-45_0_4_load_74 | 91 | 0.00015915 | 3.9887e-05 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_295-45_0_4_load_56 | 92 | 0.00010499 | 2.6314e-05 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_295-45_0_4_load_65 | 93 | 0.00015412 | 3.8626e-05 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_295-45_0_4_load_66 | 94 | 0.00075231 | 0.00018855 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_295-45_0_4_load_67 | 95 | 0.00025092 | 6.2887e-05 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_295-45_0_4_load_68 | 96 | 8.7164e-05 | 2.1845e-05 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_295-45_0_4_load_70 | 97 | 0.00027186 | 6.8134e-05 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_295-45_0_4_load_71 | 98 | 0.00010367 | 2.5983e-05 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_295-45_0_4_load_72 | 99 | 9.5655e-05 | 2.3973e-05 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_295-45_0_4_load_73 | 100 | 0.00031602 | 7.9202e-05 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_295-45_0_4_load_64 | 101 | 0.0002512 | 6.2957e-05 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_295-45_0_4_load_59 | 103 | 0.00053878 | 0.00013503 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_295-45_0_4_load_60 | 104 | 0.00039525 | 9.9058e-05 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_295-45_0_4_load_61 | 105 | 0.00024339 | 6.0999e-05 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_295-45_0_4_load_62 | 106 | 0.00065239 | 0.0001635 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_295-45_0_4_load_164 | 107 | 0.00039207 | 9.8261e-05 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_295-45_0_4_load_85 | 108 | 0.0032464 | 0.00081363 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_295-45_0_4_load_86 | 109 | 0.0024846 | 0.0006227 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_295-45_0_4_load_88 | 110 | 0.003328 | 0.00083407 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_295-45_0_4_load_90 | 111 | 0.0044037 | 0.0011037 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_295-45_0_4_load_91 | 112 | 0.0043206 | 0.0010828 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_295-45_0_4_load_112 | 113 | 0.0056238 | 0.0014095 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_295-45_0_4_load_92 | 115 | 0.0050481 | 0.0012652 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_295-45_0_4_load_93 | 116 | 0.0016155 | 0.00040488 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_295-45_0_4_load_99 | 118 | 0.0018023 | 0.0004517 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_295-45_0_4_load_94 | 120 | 0.010206 | 0.0025578 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_295-45_0_4_load_95 | 121 | 0.0025538 | 0.00064005 | 0 | 0 |  | 1 | TRUE | wye
90 | LV_295-45_0_4_load_98 | 122 | 0.0041562 | 0.0010416 | 0 | 0 |  | 1 | TRUE | wye
91 | LV_295-45_0_4_load_115 | 123 | 0.0018167 | 0.0004553 | 0 | 0 |  | 1 | TRUE | wye
92 | LV_295-45_0_4_load_100 | 124 | 0.0035499 | 0.00088968 | 0 | 0 |  | 1 | TRUE | wye
93 | LV_295-45_0_4_load_101 | 125 | 0.0054189 | 0.0013581 | 0 | 0 |  | 1 | TRUE | wye
94 | LV_295-45_0_4_load_103 | 127 | 0.0013465 | 0.00033747 | 0 | 0 |  | 1 | TRUE | wye
95 | LV_295-45_0_4_load_105 | 128 | 0.0038059 | 0.00095385 | 0 | 0 |  | 1 | TRUE | wye
96 | LV_295-45_0_4_load_113 | 129 | 0.0021549 | 0.00054006 | 0 | 0 |  | 1 | TRUE | wye
97 | LV_295-45_0_4_load_159 | 133 | 0.0097685 | 0.0024482 | 0 | 0 |  | 1 | TRUE | wye
98 | LV_295-45_0_4_load_114 | 135 | 0.0013625 | 0.00034147 | 0 | 0 |  | 1 | TRUE | wye
99 | LV_295-45_0_4_load_165 | 136 | 0.0014127 | 0.00035407 | 0 | 0 |  | 1 | TRUE | wye
100 | LV_295-45_0_4_load_156 | 138 | 0.00054708 | 0.00013711 | 0 | 0 |  | 1 | TRUE | wye
101 | LV_295-45_0_4_load_154 | 139 | 0.00074706 | 0.00018723 | 0 | 0 |  | 1 | TRUE | wye
102 | LV_295-45_0_4_load_107 | 141 | 0.0033259 | 0.00083355 | 0 | 0 |  | 1 | TRUE | wye
103 | LV_295-45_0_4_load_163 | 143 | 0.0066073 | 0.001656 | 0 | 0 |  | 1 | TRUE | wye
104 | LV_295-45_0_4_load_160 | 144 | 0.009908 | 0.0024832 | 0 | 0 |  | 1 | TRUE | wye
105 | LV_295-45_0_4_load_111 | 145 | 0.010095 | 0.0025301 | 0 | 0 |  | 1 | TRUE | wye
106 | LV_295-45_0_4_load_117 | 146 | 0.009303 | 0.0023315 | 0 | 0 |  | 1 | TRUE | wye
107 | LV_295-45_0_4_load_119 | 147 | 0.0059647 | 0.0014949 | 0 | 0 |  | 1 | TRUE | wye
108 | LV_295-45_0_4_load_157 | 148 | 0.0014547 | 0.00036458 | 0 | 0 |  | 1 | TRUE | wye
109 | LV_295-45_0_4_load_122 | 149 | 0.0030188 | 0.00075659 | 0 | 0 |  | 1 | TRUE | wye
110 | LV_295-45_0_4_load_123 | 150 | 0.0054307 | 0.0013611 | 0 | 0 |  | 1 | TRUE | wye
111 | LV_295-45_0_4_load_124 | 151 | 0.0047642 | 0.001194 | 0 | 0 |  | 1 | TRUE | wye
112 | LV_295-45_0_4_load_136 | 154 | 0.0024587 | 0.0006162 | 0 | 0 |  | 1 | TRUE | wye
113 | LV_295-45_0_4_load_141 | 155 | 0.003037 | 0.00076114 | 0 | 0 |  | 1 | TRUE | wye
114 | LV_295-45_0_4_load_142 | 156 | 0.0031225 | 0.00078257 | 0 | 0 |  | 1 | TRUE | wye
115 | LV_295-45_0_4_load_140 | 157 | 0.0020122 | 0.0005043 | 0 | 0 |  | 1 | TRUE | wye
116 | LV_295-45_0_4_load_143 | 158 | 0.004457 | 0.001117 | 0 | 0 |  | 1 | TRUE | wye
117 | LV_295-45_0_4_load_161 | 159 | 0.0029889 | 0.00074909 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 43 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_295-45_0_4_line_0 |  | 0 | 1 | 0.031291 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_295-45_0_4_line_1 |  | 0 | 2 | 0.025309 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_295-45_0_4_line_2 |  | 1 | 3 | 0.023189 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_295-45_0_4_line_3 |  | 2 | 4 | 0.01574 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_295-45_0_4_line_4 |  | 2 | 5 | 0.00893 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_295-45_0_4_line_5 |  | 3 | 6 | 0.03321 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_295-45_0_4_line_6 |  | 5 | 10 | 0.028346 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_295-45_0_4_line_7 |  | 6 | 11 | 0.041901 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_295-45_0_4_line_8 |  | 6 | 12 | 0.0124 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_295-45_0_4_line_9 |  | 7 | 8 | 0.026175 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_295-45_0_4_line_10 |  | 7 | 9 | 0.01498 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_295-45_0_4_line_11 |  | 9 | 13 | 0.011484 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_295-45_0_4_line_12 |  | 9 | 14 | 0.015387 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_295-45_0_4_line_13 |  | 11 | 21 | 0.018626 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_295-45_0_4_line_14 |  | 11 | 44 | 0.049429 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_295-45_0_4_line_15 |  | 12 | 13 | 0.016866 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_295-45_0_4_line_16 |  | 14 | 22 | 0.042247 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_295-45_0_4_line_17 |  | 15 | 16 | 0.0043671 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_295-45_0_4_line_18 |  | 15 | 17 | 0.025414 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_295-45_0_4_line_19 |  | 17 | 18 | 0.059958 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_295-45_0_4_line_20 |  | 18 | 19 | 0.025274 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_295-45_0_4_line_21 |  | 19 | 20 | 0.011006 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_295-45_0_4_line_22 |  | 19 | 21 | 0.021094 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_295-45_0_4_line_23 |  | 22 | 23 | 0.014119 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_295-45_0_4_line_24 |  | 24 | 25 | 0.0025429 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_295-45_0_4_line_25 |  | 25 | 26 | 0.016493 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_295-45_0_4_line_26 |  | 26 | 30 | 0.053598 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_295-45_0_4_line_27 |  | 26 | 31 | 0.15986 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_295-45_0_4_line_28 |  | 27 | 28 | 0.020266 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_295-45_0_4_line_29 |  | 27 | 29 | 0.017888 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_295-45_0_4_line_30 |  | 28 | 139 | 0.022096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_295-45_0_4_line_31 |  | 29 | 153 | 0.014149 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_295-45_0_4_line_32 |  | 30 | 32 | 0.021251 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_295-45_0_4_line_33 |  | 31 | 33 | 0.012684 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
34 | LV_295-45_0_4_line_34 |  | 31 | 34 | 0.010123 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
35 | LV_295-45_0_4_line_35 |  | 32 | 51 | 0.014739 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_295-45_0_4_line_36 |  | 33 | 153 | 0.028737 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_295-45_0_4_line_37 |  | 34 | 152 | 0.024598 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
38 | LV_295-45_0_4_line_38 |  | 35 | 36 | 0.017679 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_295-45_0_4_line_39 |  | 35 | 37 | 0.02788 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_295-45_0_4_line_40 |  | 36 | 38 | 0.019417 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_295-45_0_4_line_41 |  | 37 | 39 | 0.018179 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_295-45_0_4_line_42 |  | 38 | 40 | 0.006497 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_295-45_0_4_line_43 |  | 38 | 41 | 0.026741 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_295-45_0_4_line_44 |  | 39 | 42 | 0.011509 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
45 | LV_295-45_0_4_line_45 |  | 39 | 43 | 0.028755 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
46 | LV_295-45_0_4_line_46 |  | 40 | 46 | 0.016155 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_295-45_0_4_line_47 |  | 40 | 47 | 0.0023165 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_295-45_0_4_line_48 |  | 42 | 48 | 0.0079229 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
49 | LV_295-45_0_4_line_49 |  | 43 | 49 | 0.011487 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
50 | LV_295-45_0_4_line_50 |  | 44 | 45 | 0.017032 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_295-45_0_4_line_51 |  | 45 | 50 | 0.020736 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_295-45_0_4_line_52 |  | 47 | 71 | 0.028762 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_295-45_0_4_line_53 |  | 48 | 149 | 0.013643 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
54 | LV_295-45_0_4_line_54 |  | 49 | 123 | 0.0090099 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_295-45_0_4_line_55 |  | 50 | 122 | 0.00099242 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_295-45_0_4_line_56 |  | 51 | 53 | 0.026772 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_295-45_0_4_line_57 |  | 52 | 53 | 0.017953 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_295-45_0_4_line_58 |  | 54 | 55 | 0.019098 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_295-45_0_4_line_59 |  | 54 | 56 | 0.22317 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_295-45_0_4_line_60 |  | 55 | 70 | 0.020334 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_295-45_0_4_line_61 |  | 56 | 77 | 0.081918 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_295-45_0_4_line_62 |  | 56 | 78 | 0.31603 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_295-45_0_4_line_63 |  | 57 | 58 | 0.0071638 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_295-45_0_4_line_64 |  | 57 | 59 | 0.0049645 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_295-45_0_4_line_65 |  | 58 | 60 | 0.013392 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_295-45_0_4_line_66 |  | 59 | 61 | 0.032139 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_295-45_0_4_line_67 |  | 60 | 62 | 0.044739 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_295-45_0_4_line_68 |  | 60 | 63 | 0.024716 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_295-45_0_4_line_69 |  | 62 | 64 | 0.056028 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_295-45_0_4_line_70 |  | 62 | 65 | 0.045208 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_295-45_0_4_line_71 |  | 63 | 66 | 0.024828 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_295-45_0_4_line_72 |  | 64 | 71 | 0.020216 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_295-45_0_4_line_73 |  | 64 | 72 | 0.013384 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_295-45_0_4_line_74 |  | 65 | 73 | 0.016651 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_295-45_0_4_line_75 |  | 66 | 74 | 0.0093849 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_295-45_0_4_line_76 |  | 67 | 68 | 0.014232 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_295-45_0_4_line_77 |  | 68 | 69 | 0.0081535 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_295-45_0_4_line_78 |  | 69 | 70 | 0.0034157 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_295-45_0_4_line_79 |  | 70 | 75 | 0.02221 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_295-45_0_4_line_80 |  | 71 | 155 | 0.015122 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_295-45_0_4_line_81 |  | 72 | 154 | 0.0071796 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_295-45_0_4_line_82 |  | 73 | 157 | 0.0011055 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_295-45_0_4_line_83 |  | 74 | 76 | 0.01824 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_295-45_0_4_line_84 |  | 75 | 76 | 0.011713 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_295-45_0_4_line_85 |  | 77 | 79 | 0.0089198 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_295-45_0_4_line_86 |  | 78 | 107 | 0.42307 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_295-45_0_4_line_87 |  | 78 | 95 | 0.022009 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_295-45_0_4_line_88 |  | 79 | 80 | 0.032901 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_295-45_0_4_line_89 |  | 79 | 81 | 0.012071 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_295-45_0_4_line_90 |  | 80 | 82 | 0.017988 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_295-45_0_4_line_91 |  | 81 | 83 | 0.0063104 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_295-45_0_4_line_92 |  | 84 | 85 | 0.033005 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_295-45_0_4_line_93 |  | 84 | 86 | 0.041132 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_295-45_0_4_line_94 |  | 85 | 87 | 0.091739 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_295-45_0_4_line_95 |  | 86 | 88 | 0.0052221 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_295-45_0_4_line_96 |  | 86 | 89 | 0.014891 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_295-45_0_4_line_97 |  | 87 | 90 | 0.035785 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_295-45_0_4_line_98 |  | 88 | 91 | 0.16562 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_295-45_0_4_line_99 |  | 89 | 92 | 0.007978 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_295-45_0_4_line_100 |  | 90 | 101 | 0.1015 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_295-45_0_4_line_101 |  | 91 | 100 | 0.098587 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_295-45_0_4_line_102 |  | 93 | 94 | 0.0056435 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_295-45_0_4_line_103 |  | 93 | 95 | 0.0019606 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_295-45_0_4_line_104 |  | 94 | 96 | 0.0085053 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_295-45_0_4_line_105 |  | 96 | 97 | 0.018116 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_295-45_0_4_line_106 |  | 97 | 98 | 0.025576 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_295-45_0_4_line_107 |  | 98 | 99 | 0.0058784 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
108 | LV_295-45_0_4_line_108 |  | 99 | 100 | 0.0028751 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
109 | LV_295-45_0_4_line_109 |  | 101 | 102 | 0.039093 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
110 | LV_295-45_0_4_line_110 |  | 102 | 106 | 0.0076186 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
111 | LV_295-45_0_4_line_111 |  | 103 | 104 | 0.013399 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
112 | LV_295-45_0_4_line_112 |  | 103 | 105 | 0.0039128 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
113 | LV_295-45_0_4_line_113 |  | 104 | 106 | 0.0052405 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
114 | LV_295-45_0_4_line_114 |  | 108 | 109 | 0.0085936 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
115 | LV_295-45_0_4_line_115 |  | 109 | 110 | 0.021151 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
116 | LV_295-45_0_4_line_116 |  | 110 | 111 | 0.024087 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
117 | LV_295-45_0_4_line_117 |  | 111 | 112 | 0.023708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
118 | LV_295-45_0_4_line_118 |  | 112 | 115 | 0.003919 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
119 | LV_295-45_0_4_line_119 |  | 113 | 114 | 0.0014243 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
120 | LV_295-45_0_4_line_120 |  | 114 | 145 | 0.019454 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
121 | LV_295-45_0_4_line_121 |  | 114 | 141 | 0.034383 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
122 | LV_295-45_0_4_line_122 |  | 115 | 116 | 0.032507 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
123 | LV_295-45_0_4_line_123 |  | 116 | 117 | 0.027761 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
124 | LV_295-45_0_4_line_124 |  | 117 | 118 | 0.021775 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
125 | LV_295-45_0_4_line_125 |  | 117 | 119 | 0.018328 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
126 | LV_295-45_0_4_line_126 |  | 118 | 123 | 0.022443 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
127 | LV_295-45_0_4_line_127 |  | 119 | 122 | 0.019304 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
128 | LV_295-45_0_4_line_128 |  | 119 | 120 | 0.004498 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
129 | LV_295-45_0_4_line_129 |  | 120 | 121 | 0.0090284 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
130 | LV_295-45_0_4_line_130 |  | 124 | 125 | 0.012315 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
131 | LV_295-45_0_4_line_131 |  | 124 | 126 | 0.0073781 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
132 | LV_295-45_0_4_line_132 |  | 125 | 127 | 0.012705 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
133 | LV_295-45_0_4_line_133 |  | 126 | 128 | 0.018787 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
134 | LV_295-45_0_4_line_134 |  | 127 | 129 | 0.02488 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
135 | LV_295-45_0_4_line_135 |  | 128 | 134 | 0.013304 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
136 | LV_295-45_0_4_line_136 |  | 129 | 135 | 0.025436 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
137 | LV_295-45_0_4_line_137 |  | 130 | 131 | 0.026284 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
138 | LV_295-45_0_4_line_138 |  | 130 | 132 | 0.042836 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
139 | LV_295-45_0_4_line_139 |  | 130 | 133 | 0.021696 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
140 | LV_295-45_0_4_line_140 |  | 131 | 136 | 0.009297 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
141 | LV_295-45_0_4_line_141 |  | 131 | 137 | 0.013348 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
142 | LV_295-45_0_4_line_142 |  | 132 | 138 | 0.011308 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
143 | LV_295-45_0_4_line_143 |  | 132 | 139 | 0.015335 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
144 | LV_295-45_0_4_line_144 |  | 133 | 140 | 0.0088992 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
145 | LV_295-45_0_4_line_145 |  | 134 | 141 | 0.0052666 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
146 | LV_295-45_0_4_line_146 |  | 135 | 146 | 0.0092803 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
147 | LV_295-45_0_4_line_147 |  | 137 | 148 | 0.014117 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
148 | LV_295-45_0_4_line_148 |  | 137 | 147 | 0.0067325 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
149 | LV_295-45_0_4_line_149 |  | 138 | 159 | 0.023795 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
150 | LV_295-45_0_4_line_150 |  | 140 | 144 | 0.017749 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
151 | LV_295-45_0_4_line_151 |  | 140 | 142 | 0.015162 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
152 | LV_295-45_0_4_line_152 |  | 142 | 143 | 0.013132 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
153 | LV_295-45_0_4_line_153 |  | 146 | 147 | 0.030086 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
154 | LV_295-45_0_4_line_154 |  | 149 | 150 | 0.01615 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
155 | LV_295-45_0_4_line_155 |  | 150 | 151 | 0.009607 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
156 | LV_295-45_0_4_line_156 |  | 151 | 152 | 0.014018 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
157 | LV_295-45_0_4_line_157 |  | 155 | 156 | 0.022849 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
158 | LV_295-45_0_4_line_158 |  | 156 | 158 | 0.017384 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_295-45_0_4_trafo_118 | 0.63 MVA 20/0.4 kV | 160 | 43 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2688431.8279 | 1229962.3097 | 2688433.997 | 1229957.572 | 2688409.5979 | 1229948.3601
1 | 2688389.5853 | 1229934.1953 | 2688390.8436 | 1229934.6588 | 2688395.9875 | 1229941.807 | 2688402.6641 | 1229945.7423 | 2688409.5979 | 1229948.3601
2 | 2688431.8279 | 1229962.3097 | 2688435.3995 | 1229963.6193 | 2688442.1121 | 1229970.2238 | 2688445.5433 | 1229977.9135 | 2688445.3986 | 1229979.4544
3 | 2688389.5853 | 1229934.1953 | 2688394.6933 | 1229919.3052
4 | 2688389.5853 | 1229934.1953 | 2688381.1839 | 1229931.1017
5 | 2688438.758 | 1230011.8365 | 2688444.0308 | 1229994.0246 | 2688445.3986 | 1229979.4544
6 | 2688381.1839 | 1229931.1017 | 2688378.8481 | 1229930.2441 | 2688370.1548 | 1229932.5165 | 2688362.7626 | 1229933.3962 | 2688353.8346 | 1229930.3669
7 | 2688438.758 | 1230011.8365 | 2688467.1017 | 1230025.9569 | 2688471.2701 | 1230027.3754 | 2688477.1698 | 1230028.0192
8 | 2688438.758 | 1230011.8365 | 2688427.7736 | 1230006.0838
9 | 2688397.7331 | 1229978.7812 | 2688379.6514 | 1229970.9847 | 2688377.0816 | 1229964.9756
10 | 2688397.7331 | 1229978.7812 | 2688402.6592 | 1229992.931
11 | 2688402.6592 | 1229992.931 | 2688412.8328 | 1229998.2591
12 | 2688402.6592 | 1229992.931 | 2688388.3243 | 1229987.3398
13 | 2688477.1698 | 1230028.0192 | 2688471.9301 | 1230045.8932
14 | 2688489.526 | 1229980.2027 | 2688489.177 | 1229983.2886 | 2688487.3821 | 1229991.3898 | 2688484.762 | 1230000.9798 | 2688477.1698 | 1230028.0192
15 | 2688412.8328 | 1229998.2591 | 2688427.7736 | 1230006.0838
16 | 2688351.1242 | 1229969.1346 | 2688366.4729 | 1229974.8027 | 2688371.3624 | 1229980.724 | 2688388.3243 | 1229987.3398
17 | 2688363.943 | 1230039.4884 | 2688363.943 | 1230039.4884 | 2688361.31 | 1230042.9725
18 | 2688363.943 | 1230039.4884 | 2688373.2338 | 1230034.7231 | 2688388.1762 | 1230035.6735
19 | 2688388.1762 | 1230035.6735 | 2688393.768 | 1230036.0292 | 2688401.3245 | 1230038.3543 | 2688402.2143 | 1230038.6343 | 2688405.5579 | 1230041.0079 | 2688428.8354 | 1230057.5323 | 2688433.1691 | 1230058.5307 | 2688441.3739 | 1230060.4315
20 | 2688465.9961 | 1230066.1354 | 2688441.3739 | 1230060.4315
21 | 2688465.9961 | 1230066.1354 | 2688462.8044 | 1230076.6689
22 | 2688465.9961 | 1230066.1354 | 2688471.9301 | 1230045.8932
23 | 2688351.1242 | 1229969.1346 | 2688341.94 | 1229965.743 | 2688337.7149 | 1229964.8046
24 | 2688687.9917 | 1229709.6617 | 2688685.693 | 1229708.5746
25 | 2688670.7001 | 1229708.9766 | 2688678.8535 | 1229705.34 | 2688685.693 | 1229708.5746
26 | 2688643.261 | 1229663.0797 | 2688650.6548 | 1229678.3784 | 2688659.4556 | 1229693.309 | 2688665.7742 | 1229702.9656 | 2688670.7001 | 1229708.9766
27 | 2688564.7636 | 1229828.6936 | 2688670.7001 | 1229708.9766
28 | 2688624.0493 | 1229867.4632 | 2688642.337 | 1229876.1973
29 | 2688607.7161 | 1229860.1891 | 2688608.528 | 1229860.4345 | 2688619.1632 | 1229865.1295 | 2688624.0493 | 1229867.4632
30 | 2688642.337 | 1229876.1973 | 2688662.2752 | 1229885.7199
31 | 2688594.1275 | 1229856.2503 | 2688599.7791 | 1229857.7912 | 2688607.7161 | 1229860.1891
32 | 2688643.261 | 1229663.0797 | 2688623.3937 | 1229655.5367
33 | 2688564.7636 | 1229828.6936 | 2688566.1473 | 1229831.9276 | 2688568.6228 | 1229834.5997 | 2688572.9225 | 1229838.0674
34 | 2688564.7636 | 1229828.6936 | 2688562.7037 | 1229829.6525 | 2688559.5095 | 1229836.8238
35 | 2688609.0804 | 1229654.62 | 2688618.1735 | 1229653.5547 | 2688623.3937 | 1229655.5367
36 | 2688594.1275 | 1229856.2503 | 2688593.1402 | 1229853.3558 | 2688591.3146 | 1229850.2931 | 2688576.9101 | 1229841.2834 | 2688572.9225 | 1229838.0674
37 | 2688551.8393 | 1229858.6445 | 2688550.6276 | 1229854.0343 | 2688555.7204 | 1229847.828 | 2688557.6416 | 1229843.4646 | 2688557.6558 | 1229840.9853 | 2688559.5095 | 1229836.8238
38 | 2688469.3945 | 1229909.0753 | 2688467.2317 | 1229906.7749 | 2688465.4563 | 1229902.8791 | 2688463.0557 | 1229895.1713 | 2688462.4019 | 1229893.1055
39 | 2688493.1493 | 1229923.083 | 2688484.6997 | 1229920.1775 | 2688481.3724 | 1229918.2377 | 2688472.7901 | 1229912.0279 | 2688469.3945 | 1229909.0753
40 | 2688456.5434 | 1229874.5933 | 2688462.4019 | 1229893.1055
41 | 2688493.1493 | 1229923.083 | 2688494.5439 | 1229917.4443 | 2688496.6253 | 1229911.9825 | 2688499.2523 | 1229906.0063
42 | 2688456.5434 | 1229874.5933 | 2688454.4683 | 1229868.4359
43 | 2688456.5434 | 1229874.5933 | 2688438.1128 | 1229873.4295 | 2688430.1506 | 1229875.9462
44 | 2688499.2523 | 1229906.0063 | 2688504.3005 | 1229895.663
45 | 2688499.2523 | 1229906.0063 | 2688504.6787 | 1229908.9335 | 2688508.895 | 1229911.7204 | 2688512.5512 | 1229915.4886 | 2688519.5989 | 1229925.5512
46 | 2688439.689 | 1229862.712 | 2688446.3291 | 1229867.0694 | 2688454.4683 | 1229868.4359
47 | 2688454.4683 | 1229868.4359 | 2688453.4204 | 1229866.3699
48 | 2688504.3005 | 1229895.663 | 2688504.3005 | 1229895.663 | 2688509.0153 | 1229889.2956
49 | 2688519.5989 | 1229925.5512 | 2688526.189 | 1229934.9603
50 | 2688489.526 | 1229980.2027 | 2688495.7449 | 1229981.7963 | 2688505.8484 | 1229985.0424
51 | 2688505.8484 | 1229985.0424 | 2688525.5904 | 1229991.385
52 | 2688440.4102 | 1229840.7184 | 2688453.4204 | 1229866.3699
53 | 2688509.0153 | 1229889.2956 | 2688511.1817 | 1229886.37 | 2688517.3933 | 1229879.8133 | 2688518.1294 | 1229879.1799
54 | 2688531.3578 | 1229942.3402 | 2688526.189 | 1229934.9603
55 | 2688525.5904 | 1229991.385 | 2688526.5353 | 1229991.6886
56 | 2688585.2684 | 1229644.4359 | 2688603.7758 | 1229655.2414 | 2688609.0804 | 1229654.62
57 | 2688585.2684 | 1229644.4359 | 2688599.5912 | 1229633.611
58 | 2688415.8828 | 1229643.5477 | 2688424.5093 | 1229626.5087
59 | 2688424.5093 | 1229626.5087 | 2688373.7461 | 1229409.189
60 | 2688401.7108 | 1229657.8478 | 2688414.3181 | 1229646.6384 | 2688415.8828 | 1229643.5477
61 | 2688373.7461 | 1229409.189 | 2688419.117 | 1229356.617 | 2688430.0094 | 1229350.5356
62 | 2688373.7461 | 1229409.189 | 2688062.4815 | 1229354.4925
63 | 2688359.6626 | 1229729.9959 | 2688366.3292 | 1229730.6955 | 2688366.7208 | 1229730.9379
64 | 2688354.7252 | 1229729.4778 | 2688359.6626 | 1229729.9959
65 | 2688378.1081 | 1229737.9867 | 2688366.7208 | 1229730.9379
66 | 2688354.7252 | 1229729.4778 | 2688354.0957 | 1229718.8165 | 2688360.806 | 1229702.6715 | 2688363.941 | 1229700.2275
67 | 2688378.1081 | 1229737.9867 | 2688398.0592 | 1229778.0558
68 | 2688397.4753 | 1229722.5637 | 2688378.1081 | 1229737.9867
69 | 2688426.4532 | 1229826.0561 | 2688414.7878 | 1229811.6615 | 2688398.0592 | 1229778.0558
70 | 2688398.0592 | 1229778.0558 | 2688373.4497 | 1229793.4565 | 2688372.0293 | 1229796.2485 | 2688371.966 | 1229800.5061 | 2688376.9848 | 1229807.7173
71 | 2688397.4753 | 1229722.5637 | 2688402.6317 | 1229717.1699 | 2688417.7502 | 1229708.6247
72 | 2688426.4532 | 1229826.0561 | 2688440.4102 | 1229840.7184
73 | 2688426.4532 | 1229826.0561 | 2688415.6454 | 1229833.9499
74 | 2688376.9848 | 1229807.7173 | 2688386.4964 | 1229821.3838
75 | 2688425.9203 | 1229704.0068 | 2688417.7502 | 1229708.6247
76 | 2688392.7891 | 1229665.2132 | 2688389.2614 | 1229668.1256 | 2688387.2712 | 1229672.0432 | 2688387.5771 | 1229677.298
77 | 2688392.7891 | 1229665.2132 | 2688399.0767 | 1229660.0224
78 | 2688401.7108 | 1229657.8478 | 2688399.0767 | 1229660.0224
79 | 2688401.7108 | 1229657.8478 | 2688405.2981 | 1229666.2626 | 2688411.315 | 1229677.8569
80 | 2688440.4102 | 1229840.7184 | 2688453.4987 | 1229833.1441
81 | 2688409.8476 | 1229838.1845 | 2688415.6454 | 1229833.9499
82 | 2688387.128 | 1229822.2912 | 2688386.4964 | 1229821.3838
83 | 2688425.9203 | 1229704.0068 | 2688417.0108 | 1229688.0909
84 | 2688417.0108 | 1229688.0909 | 2688411.7354 | 1229678.667 | 2688411.315 | 1229677.8569
85 | 2688437.7976 | 1229346.1874 | 2688430.0094 | 1229350.5356
86 | 2688062.4815 | 1229354.4925 | 2688048.5476 | 1228931.6555
87 | 2688062.4815 | 1229354.4925 | 2688062.9462 | 1229376.497
88 | 2688437.7976 | 1229346.1874 | 2688448.5162 | 1229352.9848 | 2688468.3757 | 1229356.7277
89 | 2688437.7976 | 1229346.1874 | 2688432.485 | 1229335.3484
90 | 2688486.0526 | 1229360.0592 | 2688468.3757 | 1229356.7277
91 | 2688432.485 | 1229335.3484 | 2688429.7077 | 1229329.682
92 | 2688173.9637 | 1229717.5537 | 2688196.4298 | 1229701.0641 | 2688197.9026 | 1229696.1429
93 | 2688181.7425 | 1229659.9841 | 2688199.4909 | 1229690.8356 | 2688197.9026 | 1229696.1429
94 | 2688173.9637 | 1229717.5537 | 2688082.9662 | 1229729.1909
95 | 2688181.7425 | 1229659.9841 | 2688176.5204 | 1229659.9964
96 | 2688181.7425 | 1229659.9841 | 2688194.4313 | 1229658.5712 | 2688196.5255 | 1229658.2182
97 | 2688059.4313 | 1229756.143 | 2688072.1084 | 1229742.0063 | 2688082.9662 | 1229729.1909
98 | 2688176.5204 | 1229659.9964 | 2688058.7303 | 1229543.5731
99 | 2688204.3925 | 1229656.8918 | 2688196.5255 | 1229658.2182
100 | 2687978.2777 | 1229817.1037 | 2688059.4313 | 1229756.143
101 | 2688061.9829 | 1229445.0394 | 2688058.7303 | 1229543.5731
102 | 2688062.9876 | 1229378.4572 | 2688063.1067 | 1229384.0994 | 2688063.1067 | 1229384.0994
103 | 2688062.9876 | 1229378.4572 | 2688062.9462 | 1229376.497
104 | 2688062.9503 | 1229392.6033 | 2688063.1067 | 1229384.0994
105 | 2688062.9503 | 1229392.6033 | 2688062.617 | 1229410.7159
106 | 2688062.1447 | 1229436.2875 | 2688062.4842 | 1229417.9362 | 2688062.617 | 1229410.7159
107 | 2688062.036 | 1229442.1648 | 2688062.1447 | 1229436.2875
108 | 2688062.036 | 1229442.1648 | 2688061.9829 | 1229445.0394
109 | 2687989.2741 | 1229849.1222 | 2687984.4567 | 1229845.4706 | 2687983.6287 | 1229842.0337 | 2687985.0593 | 1229837.5184 | 2687986.2028 | 1229830.3859 | 2687985.6406 | 1229822.3052 | 2687984.1805 | 1229819.6039 | 2687978.2777 | 1229817.1037
110 | 2687989.2741 | 1229849.1222 | 2687985.2538 | 1229855.5937
111 | 2687982.4059 | 1229859.9847 | 2687979.8336 | 1229862.9812 | 2687970.5542 | 1229864.7704
112 | 2687966.7121 | 1229865.5111 | 2687970.5542 | 1229864.7704
113 | 2687982.4059 | 1229859.9847 | 2687982.8402 | 1229859.4788 | 2687985.2538 | 1229855.5937
114 | 2688661.828 | 1230051.2073 | 2688664.5506 | 1230052.1266 | 2688668.863 | 1230055.8845
115 | 2688661.828 | 1230051.2073 | 2688658.4524 | 1230050.0676 | 2688650.18 | 1230044.4403 | 2688643.9062 | 1230040.1803
116 | 2688643.9062 | 1230040.1803 | 2688623.9792 | 1230026.6496
117 | 2688623.9792 | 1230026.6496 | 2688613.1448 | 1230019.2929 | 2688604.6316 | 1230012.9565
118 | 2688604.6316 | 1230012.9565 | 2688604.3033 | 1230012.7121 | 2688601.6767 | 1230010.3843
119 | 2688694.9139 | 1230001.944 | 2688696.1499 | 1230002.6517
120 | 2688694.9139 | 1230001.944 | 2688703.9185 | 1229984.6991
121 | 2688694.9139 | 1230001.944 | 2688670.7311 | 1229987.2286 | 2688665.5474 | 1229984.0601
122 | 2688576.8535 | 1229989.4535 | 2688576.8535 | 1229989.4535 | 2688582.4697 | 1229993.3622 | 2688601.6767 | 1230010.3843
123 | 2688550.3331 | 1229981.6087 | 2688557.3082 | 1229982.7911 | 2688570.9077 | 1229986.8187 | 2688576.8535 | 1229989.4535
124 | 2688550.3331 | 1229981.6087 | 2688548.2928 | 1229971.5935 | 2688543.8877 | 1229960.912
125 | 2688550.3331 | 1229981.6087 | 2688544.4078 | 1229998.9549
126 | 2688543.8877 | 1229960.912 | 2688543.2037 | 1229959.2534 | 2688531.3578 | 1229942.3402
127 | 2688544.4078 | 1229998.9549 | 2688529.5315 | 1229992.6512 | 2688526.5353 | 1229991.6886
128 | 2688544.4078 | 1229998.9549 | 2688542.9967 | 1230002.6476 | 2688542.7925 | 1230003.1528
129 | 2688542.7925 | 1230003.1528 | 2688539.4088 | 1230011.5232
130 | 2688620.3149 | 1229949.4092 | 2688630.3768 | 1229956.5105
131 | 2688636.4047 | 1229960.7649 | 2688630.3768 | 1229956.5105
132 | 2688620.3149 | 1229949.4092 | 2688618.524 | 1229948.1452 | 2688611.4946 | 1229940.3284
133 | 2688636.4047 | 1229960.7649 | 2688650.8348 | 1229972.7945
134 | 2688611.4946 | 1229940.3284 | 2688605.1765 | 1229933.3025 | 2688596.242 | 1229920.7214
135 | 2688661.0538 | 1229981.3135 | 2688650.8348 | 1229972.7945
136 | 2688596.242 | 1229920.7214 | 2688593.5488 | 1229916.9289 | 2688583.0655 | 1229898.9814
137 | 2688651.4718 | 1229927.8663 | 2688641.8965 | 1229922.2196 | 2688630.932 | 1229911.671
138 | 2688651.4718 | 1229927.8663 | 2688653.8637 | 1229919.8852 | 2688675.7034 | 1229893.1253
139 | 2688651.4718 | 1229927.8663 | 2688665.9113 | 1229940.6016 | 2688668.1369 | 1229941.6096
140 | 2688630.932 | 1229911.671 | 2688636.0256 | 1229903.8859
141 | 2688630.932 | 1229911.671 | 2688620.8195 | 1229902.9253
142 | 2688675.7034 | 1229893.1253 | 2688683.7514 | 1229898.0599 | 2688685.3418 | 1229899.0383
143 | 2688675.7034 | 1229893.1253 | 2688662.2752 | 1229885.7199 | 2688662.2752 | 1229885.7199
144 | 2688676.2434 | 1229945.2812 | 2688668.1369 | 1229941.6096
145 | 2688661.0538 | 1229981.3135 | 2688665.5474 | 1229984.0601
146 | 2688583.0655 | 1229898.9814 | 2688582.4895 | 1229897.9953 | 2688586.662 | 1229891.0081
147 | 2688620.8195 | 1229902.9253 | 2688623.6614 | 1229893.2163 | 2688620.9783 | 1229890.2409
148 | 2688620.8195 | 1229902.9253 | 2688614.107 | 1229902.4074
149 | 2688685.3418 | 1229899.0383 | 2688687.993 | 1229900.6694 | 2688692.145 | 1229903.1886 | 2688699.7581 | 1229907.8165 | 2688705.3764 | 1229911.8507
150 | 2688676.2434 | 1229945.2812 | 2688682.4776 | 1229935.7007 | 2688678.3675 | 1229930.8805
151 | 2688676.2434 | 1229945.2812 | 2688686.9968 | 1229949.6557 | 2688689.6974 | 1229951.9643
152 | 2688689.6974 | 1229951.9643 | 2688697.0421 | 1229941.0661
153 | 2688614.107 | 1229902.4074 | 2688613.1385 | 1229902.3327 | 2688596.0896 | 1229892.8498 | 2688586.662 | 1229891.0081 | 2688586.662 | 1229891.0081
154 | 2688518.1294 | 1229879.1799 | 2688524.3924 | 1229873.791 | 2688530.7279 | 1229869.0931 | 2688530.7279 | 1229869.0931
155 | 2688539.0249 | 1229864.252 | 2688536.5756 | 1229865.6111 | 2688530.7279 | 1229869.0931
156 | 2688551.8393 | 1229858.6445 | 2688543.0155 | 1229862.0377 | 2688539.0249 | 1229864.252
157 | 2688453.4987 | 1229833.1441 | 2688454.0283 | 1229832.8376 | 2688476.2054 | 1229834.4675
158 | 2688476.2054 | 1229834.4675 | 2688493.5425 | 1229835.7417

## bus_geodata
| x | y | coords
0 | 2688409.5979 | 1229948.3601
1 | 2688431.8279 | 1229962.3097
2 | 2688389.5853 | 1229934.1953
3 | 2688445.3986 | 1229979.4544
4 | 2688394.6933 | 1229919.3052
5 | 2688381.1839 | 1229931.1017
6 | 2688438.758 | 1230011.8365
7 | 2688397.7331 | 1229978.7812
8 | 2688377.0816 | 1229964.9756
9 | 2688402.6592 | 1229992.931
10 | 2688353.8346 | 1229930.3669
11 | 2688477.1698 | 1230028.0192
12 | 2688427.7736 | 1230006.0838
13 | 2688412.8328 | 1229998.2591
14 | 2688388.3243 | 1229987.3398
15 | 2688363.943 | 1230039.4884
16 | 2688361.31 | 1230042.9725
17 | 2688388.1762 | 1230035.6735
18 | 2688441.3739 | 1230060.4315
19 | 2688465.9961 | 1230066.1354
20 | 2688462.8044 | 1230076.6689
21 | 2688471.9301 | 1230045.8932
22 | 2688351.1242 | 1229969.1346
23 | 2688337.7149 | 1229964.8046
24 | 2688687.9917 | 1229709.6617
25 | 2688685.693 | 1229708.5746
26 | 2688670.7001 | 1229708.9766
27 | 2688624.0493 | 1229867.4632
28 | 2688642.337 | 1229876.1973
29 | 2688607.7161 | 1229860.1891
30 | 2688643.261 | 1229663.0797
31 | 2688564.7636 | 1229828.6936
32 | 2688623.3937 | 1229655.5367
33 | 2688572.9225 | 1229838.0674
34 | 2688559.5095 | 1229836.8238
35 | 2688469.3945 | 1229909.0753
36 | 2688462.4019 | 1229893.1055
37 | 2688493.1493 | 1229923.083
38 | 2688456.5434 | 1229874.5933
39 | 2688499.2523 | 1229906.0063
40 | 2688454.4683 | 1229868.4358
41 | 2688430.1506 | 1229875.9462
42 | 2688504.3005 | 1229895.663
43 | 2688519.5989 | 1229925.5512
44 | 2688489.526 | 1229980.2027
45 | 2688505.8484 | 1229985.0424
46 | 2688439.689 | 1229862.712
47 | 2688453.4204 | 1229866.3699
48 | 2688509.0153 | 1229889.2956
49 | 2688526.189 | 1229934.9603
50 | 2688525.5904 | 1229991.385
51 | 2688609.0804 | 1229654.62
52 | 2688599.5912 | 1229633.611
53 | 2688585.2684 | 1229644.4359
54 | 2688424.5093 | 1229626.5087
55 | 2688415.8828 | 1229643.5477
56 | 2688373.7461 | 1229409.189
57 | 2688359.6626 | 1229729.9959
58 | 2688366.7208 | 1229730.9379
59 | 2688354.7252 | 1229729.4778
60 | 2688378.1081 | 1229737.9867
61 | 2688363.941 | 1229700.2275
62 | 2688398.0592 | 1229778.0558
63 | 2688397.4753 | 1229722.5637
64 | 2688426.4532 | 1229826.0561
65 | 2688376.9848 | 1229807.7173
66 | 2688417.7502 | 1229708.6247
67 | 2688387.5771 | 1229677.298
68 | 2688392.7891 | 1229665.2132
69 | 2688399.0767 | 1229660.0224
70 | 2688401.7108 | 1229657.8478
71 | 2688440.4102 | 1229840.7184
72 | 2688415.6454 | 1229833.9499
73 | 2688386.4964 | 1229821.3838
74 | 2688425.9203 | 1229704.0068
75 | 2688411.315 | 1229677.8569
76 | 2688417.0108 | 1229688.0909
77 | 2688430.0094 | 1229350.5356
78 | 2688062.4815 | 1229354.4925
79 | 2688437.7976 | 1229346.1874
80 | 2688468.3757 | 1229356.7277
81 | 2688432.485 | 1229335.3484
82 | 2688486.0526 | 1229360.0592
83 | 2688429.7077 | 1229329.682
84 | 2688197.9026 | 1229696.1429
85 | 2688173.9637 | 1229717.5537
86 | 2688181.7425 | 1229659.9841
87 | 2688082.9662 | 1229729.1909
88 | 2688176.5204 | 1229659.9964
89 | 2688196.5255 | 1229658.2182
90 | 2688059.4313 | 1229756.143
91 | 2688058.7303 | 1229543.5731
92 | 2688204.3925 | 1229656.8918
93 | 2688062.9876 | 1229378.4572
94 | 2688063.1067 | 1229384.0994
95 | 2688062.9462 | 1229376.497
96 | 2688062.9503 | 1229392.6033
97 | 2688062.617 | 1229410.7159
98 | 2688062.1447 | 1229436.2875
99 | 2688062.036 | 1229442.1648
100 | 2688061.9829 | 1229445.0394
101 | 2687978.2777 | 1229817.1037
102 | 2687989.2741 | 1229849.1222
103 | 2687970.5542 | 1229864.7704
104 | 2687982.4059 | 1229859.9847
105 | 2687966.7121 | 1229865.5111
106 | 2687985.2538 | 1229855.5937
107 | 2688048.5476 | 1228931.6555
108 | 2688668.863 | 1230055.8845
109 | 2688661.828 | 1230051.2073
110 | 2688643.9062 | 1230040.1803
111 | 2688623.9792 | 1230026.6496
112 | 2688604.6316 | 1230012.9565
113 | 2688696.1499 | 1230002.6517
114 | 2688694.9139 | 1230001.944
115 | 2688601.6767 | 1230010.3843
116 | 2688576.8535 | 1229989.4535
117 | 2688550.3331 | 1229981.6087
118 | 2688543.8877 | 1229960.912
119 | 2688544.4078 | 1229998.9549
120 | 2688542.7925 | 1230003.1528
121 | 2688539.4088 | 1230011.5232
122 | 2688526.5353 | 1229991.6886
123 | 2688531.3578 | 1229942.3402
124 | 2688630.3768 | 1229956.5105
125 | 2688620.3149 | 1229949.4092
126 | 2688636.4047 | 1229960.7649
127 | 2688611.4946 | 1229940.3284
128 | 2688650.8348 | 1229972.7945
129 | 2688596.242 | 1229920.7214
130 | 2688651.4718 | 1229927.8663
131 | 2688630.932 | 1229911.671
132 | 2688675.7033 | 1229893.1253
133 | 2688668.1369 | 1229941.6096
134 | 2688661.0538 | 1229981.3135
135 | 2688583.0655 | 1229898.9814
136 | 2688636.0256 | 1229903.8859
137 | 2688620.8195 | 1229902.9253
138 | 2688685.3418 | 1229899.0383
139 | 2688662.2752 | 1229885.7199
140 | 2688676.2434 | 1229945.2812
141 | 2688665.5474 | 1229984.0601
142 | 2688689.6974 | 1229951.9643
143 | 2688697.0421 | 1229941.0661
144 | 2688678.3675 | 1229930.8805
145 | 2688703.9185 | 1229984.6991
146 | 2688586.662 | 1229891.0081
147 | 2688614.107 | 1229902.4074
148 | 2688620.9783 | 1229890.2409
149 | 2688518.1294 | 1229879.1799
150 | 2688530.7279 | 1229869.0931
151 | 2688539.0249 | 1229864.252
152 | 2688551.8393 | 1229858.6445
153 | 2688594.1275 | 1229856.2503
154 | 2688409.8476 | 1229838.1845
155 | 2688453.4987 | 1229833.1441
156 | 2688476.2054 | 1229834.4675
157 | 2688387.128 | 1229822.2912
158 | 2688493.5425 | 1229835.7417
159 | 2688705.3764 | 1229911.8507
160 | 2688499.2523 | 1229906.0063

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1