## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_295-50_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_295-50_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_295-50_0_6_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_295-50_0_6_node_10 | 0.4 | n |  | TRUE
4 | bus_LV_295-50_0_6_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_295-50_0_6_node_6 | 0.4 | n |  | TRUE
6 | bus_LV_295-50_0_6_node_11 | 0.4 | n |  | TRUE
7 | bus_LV_295-50_0_6_node_45 | 0.4 | n |  | TRUE
8 | bus_LV_295-50_0_6_node_46 | 0.4 | n |  | TRUE
9 | bus_LV_295-50_0_6_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_295-50_0_6_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_295-50_0_6_node_17 | 0.4 | n |  | TRUE
12 | bus_LV_295-50_0_6_node_42 | 0.4 | n |  | TRUE
13 | bus_LV_295-50_0_6_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_295-50_0_6_node_28 | 0.4 | n |  | TRUE
15 | bus_LV_295-50_0_6_node_25 | 0.4 | n |  | TRUE
16 | bus_LV_295-50_0_6_node_16 | 0.4 | n |  | TRUE
17 | bus_LV_295-50_0_6_node_43 | 0.4 | n |  | TRUE
18 | bus_LV_295-50_0_6_node_40 | 0.4 | n |  | TRUE
19 | bus_LV_295-50_0_6_node_67 | 0.4 | n |  | TRUE
20 | bus_LV_295-50_0_6_node_26 | 0.4 | n |  | TRUE
21 | bus_LV_295-50_0_6_node_12 | 0.4 | n |  | TRUE
22 | bus_LV_295-50_0_6_node_19 | 0.4 | n |  | TRUE
23 | bus_LV_295-50_0_6_node_27 | 0.4 | n |  | TRUE
24 | bus_LV_295-50_0_6_node_13 | 0.4 | n |  | TRUE
25 | bus_LV_295-50_0_6_node_14 | 0.4 | n |  | TRUE
26 | bus_LV_295-50_0_6_node_18 | 0.4 | n |  | TRUE
27 | bus_LV_295-50_0_6_node_23 | 0.4 | n |  | TRUE
28 | bus_LV_295-50_0_6_node_44 | 0.4 | n |  | TRUE
29 | bus_LV_295-50_0_6_node_41 | 0.4 | n |  | TRUE
30 | bus_LV_295-50_0_6_node_21 | 0.4 | n |  | TRUE
31 | bus_LV_295-50_0_6_node_74 | 0.4 | n |  | TRUE
32 | bus_LV_295-50_0_6_node_32 | 0.4 | n |  | TRUE
33 | bus_LV_295-50_0_6_node_29 | 0.4 | n |  | TRUE
34 | bus_LV_295-50_0_6_node_20 | 0.4 | n |  | TRUE
35 | bus_LV_295-50_0_6_node_22 | 0.4 | n |  | TRUE
36 | bus_LV_295-50_0_6_node_24 | 0.4 | n |  | TRUE
37 | bus_LV_295-50_0_6_node_50 | 0.4 | n |  | TRUE
38 | bus_LV_295-50_0_6_node_51 | 0.4 | n |  | TRUE
39 | bus_LV_295-50_0_6_node_38 | 0.4 | n |  | TRUE
40 | bus_LV_295-50_0_6_node_30 | 0.4 | n |  | TRUE
41 | bus_LV_295-50_0_6_node_52 | 0.4 | n |  | TRUE
42 | bus_LV_295-50_0_6_node_31 | 0.4 | n |  | TRUE
43 | bus_LV_295-50_0_6_node_64 | 0.4 | n |  | TRUE
44 | bus_LV_295-50_0_6_node_65 | 0.4 | n |  | TRUE
45 | bus_LV_295-50_0_6_node_39 | 0.4 | n |  | TRUE
46 | bus_LV_295-50_0_6_node_33 | 0.4 | n |  | TRUE
47 | bus_LV_295-50_0_6_node_34 | 0.4 | n |  | TRUE
48 | bus_LV_295-50_0_6_node_35 | 0.4 | n |  | TRUE
49 | bus_LV_295-50_0_6_node_36 | 0.4 | n |  | TRUE
50 | bus_LV_295-50_0_6_node_37 | 0.4 | n |  | TRUE
51 | bus_LV_295-50_0_6_node_54 | 0.4 | n |  | TRUE
52 | bus_LV_295-50_0_6_node_76 | 0.4 | n |  | TRUE
53 | bus_LV_295-50_0_6_node_82 | 0.4 | n |  | TRUE
54 | bus_LV_295-50_0_6_node_71 | 0.4 | n |  | TRUE
55 | bus_LV_295-50_0_6_node_48 | 0.4 | n |  | TRUE
56 | bus_LV_295-50_0_6_node_49 | 0.4 | n |  | TRUE
57 | bus_LV_295-50_0_6_node_61 | 0.4 | n |  | TRUE
58 | bus_LV_295-50_0_6_node_62 | 0.4 | n |  | TRUE
59 | bus_LV_295-50_0_6_node_73 | 0.4 | n |  | TRUE
60 | bus_LV_295-50_0_6_node_47 | 0.4 | n |  | TRUE
61 | bus_LV_295-50_0_6_node_53 | 0.4 | n |  | TRUE
62 | bus_LV_295-50_0_6_node_63 | 0.4 | n |  | TRUE
63 | bus_LV_295-50_0_6_node_55 | 0.4 | n |  | TRUE
64 | bus_LV_295-50_0_6_node_56 | 0.4 | n |  | TRUE
65 | bus_LV_295-50_0_6_node_81 | 0.4 | n |  | TRUE
66 | bus_LV_295-50_0_6_node_57 | 0.4 | n |  | TRUE
67 | bus_LV_295-50_0_6_node_58 | 0.4 | n |  | TRUE
68 | bus_LV_295-50_0_6_node_59 | 0.4 | n |  | TRUE
69 | bus_LV_295-50_0_6_node_60 | 0.4 | n |  | TRUE
70 | bus_LV_295-50_0_6_node_66 | 0.4 | n |  | TRUE
71 | bus_LV_295-50_0_6_node_80 | 0.4 | n |  | TRUE
72 | bus_LV_295-50_0_6_node_78 | 0.4 | n |  | TRUE
73 | bus_LV_295-50_0_6_node_68 | 0.4 | n |  | TRUE
74 | bus_LV_295-50_0_6_node_69 | 0.4 | n |  | TRUE
75 | bus_LV_295-50_0_6_node_70 | 0.4 | n |  | TRUE
76 | bus_LV_295-50_0_6_node_72 | 0.4 | n |  | TRUE
77 | bus_LV_295-50_0_6_node_93 | 0.4 | n |  | TRUE
78 | bus_LV_295-50_0_6_node_75 | 0.4 | n |  | TRUE
79 | bus_LV_295-50_0_6_node_92 | 0.4 | n |  | TRUE
80 | bus_LV_295-50_0_6_node_77 | 0.4 | n |  | TRUE
81 | bus_LV_295-50_0_6_node_83 | 0.4 | n |  | TRUE
82 | bus_LV_295-50_0_6_node_84 | 0.4 | n |  | TRUE
83 | bus_LV_295-50_0_6_node_87 | 0.4 | n |  | TRUE
84 | bus_LV_295-50_0_6_node_85 | 0.4 | n |  | TRUE
85 | bus_LV_295-50_0_6_node_86 | 0.4 | n |  | TRUE
86 | bus_LV_295-50_0_6_node_89 | 0.4 | n |  | TRUE
87 | bus_LV_295-50_0_6_node_88 | 0.4 | n |  | TRUE
88 | bus_LV_295-50_0_6_node_91 | 0.4 | n |  | TRUE
89 | bus_MV_417_0_node_114 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_295-50_0_6_load_0 | 0 | 0.013056 | 0.0032721 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_295-50_0_6_load_3 | 2 | 0.0038833 | 0.00097325 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_295-50_0_6_load_10 | 3 | 0.0047484 | 0.0011901 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_295-50_0_6_load_5 | 4 | 0.029713 | 0.0074468 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_295-50_0_6_load_6 | 5 | 0.012561 | 0.0031481 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_295-50_0_6_load_11 | 6 | 0.0031741 | 0.0007955 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_295-50_0_6_load_45 | 7 | 0.0059855 | 0.0015001 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_295-50_0_6_load_17 | 11 | 0.030323 | 0.0075996 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_295-50_0_6_load_9 | 13 | 0.049207 | 0.012332 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_295-50_0_6_load_25 | 15 | 0.039179 | 0.0098191 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_295-50_0_6_load_43 | 17 | 0.0113 | 0.0028319 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_295-50_0_6_load_40 | 18 | 0.012034 | 0.003016 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_295-50_0_6_load_67 | 19 | 0.0035131 | 0.00088046 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_295-50_0_6_load_26 | 20 | 0.01181 | 0.0029598 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_295-50_0_6_load_12 | 21 | 0.0028514 | 0.00071462 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_295-50_0_6_load_19 | 22 | 0.02098 | 0.0052582 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_295-50_0_6_load_13 | 24 | 0.0036862 | 0.00092384 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_295-50_0_6_load_14 | 25 | 0.0051274 | 0.001285 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_295-50_0_6_load_23 | 27 | 0.0030589 | 0.00076664 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_295-50_0_6_load_44 | 28 | 0.0037707 | 0.00094503 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_295-50_0_6_load_41 | 29 | 0.0062476 | 0.0015658 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_295-50_0_6_load_21 | 30 | 0.0029005 | 0.00072693 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_295-50_0_6_load_74 | 31 | 0.0019137 | 0.00047962 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_295-50_0_6_load_32 | 32 | 0.00073209 | 0.00018348 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_295-50_0_6_load_29 | 33 | 0.0017419 | 0.00043656 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_295-50_0_6_load_20 | 34 | 0.0023765 | 0.00059562 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_295-50_0_6_load_22 | 35 | 0.0020604 | 0.0005164 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_295-50_0_6_load_24 | 36 | 0.0063736 | 0.0015974 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_295-50_0_6_load_50 | 37 | 0.0079246 | 0.0019861 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_295-50_0_6_load_38 | 39 | 0.005773 | 0.0014469 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_295-50_0_6_load_30 | 40 | 0.018289 | 0.0045837 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_295-50_0_6_load_31 | 42 | 0.0033104 | 0.00082968 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_295-50_0_6_load_64 | 43 | 0.0081323 | 0.0020381 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_295-50_0_6_load_65 | 44 | 0.0013304 | 0.00033343 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_295-50_0_6_load_39 | 45 | 0.00065025 | 0.00016297 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_295-50_0_6_load_33 | 46 | 0.0041141 | 0.0010311 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_295-50_0_6_load_34 | 47 | 0.0088448 | 0.0022167 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_295-50_0_6_load_35 | 48 | 0.0062655 | 0.0015703 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_295-50_0_6_load_36 | 49 | 0.0054847 | 0.0013746 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_295-50_0_6_load_37 | 50 | 0.0062646 | 0.0015701 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_295-50_0_6_load_76 | 52 | 0.0049564 | 0.0012422 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_295-50_0_6_load_82 | 53 | 0.0043981 | 0.0011023 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_295-50_0_6_load_71 | 54 | 0.0070498 | 0.0017669 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_295-50_0_6_load_48 | 55 | 0.00045499 | 0.00011403 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_295-50_0_6_load_49 | 56 | 0.00053204 | 0.00013334 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_295-50_0_6_load_61 | 57 | 0.046611 | 0.011682 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_295-50_0_6_load_62 | 58 | 0.027287 | 0.0068388 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_295-50_0_6_load_53 | 61 | 0.0025751 | 0.00064539 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_295-50_0_6_load_63 | 62 | 0.005006 | 0.0012546 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_295-50_0_6_load_55 | 63 | 0.0070522 | 0.0017675 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_295-50_0_6_load_81 | 65 | 0.024456 | 0.0061293 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_295-50_0_6_load_57 | 66 | 0.0040086 | 0.0010046 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_295-50_0_6_load_58 | 67 | 0.0067252 | 0.0016855 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_295-50_0_6_load_59 | 68 | 0.0075385 | 0.0018893 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_295-50_0_6_load_60 | 69 | 0.0070257 | 0.0017608 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_295-50_0_6_load_66 | 70 | 0.0012818 | 0.00032125 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_295-50_0_6_load_80 | 71 | 0.0019973 | 0.00050057 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_295-50_0_6_load_78 | 72 | 0.0022659 | 0.00056789 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_295-50_0_6_load_68 | 73 | 0.0045582 | 0.0011424 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_295-50_0_6_load_69 | 74 | 0.0020977 | 0.00052574 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_295-50_0_6_load_93 | 77 | 0.0062654 | 0.0015703 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_295-50_0_6_load_75 | 78 | 0.0055048 | 0.0013796 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_295-50_0_6_load_92 | 79 | 0.0062658 | 0.0015704 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_295-50_0_6_load_77 | 80 | 0.0024619 | 0.00061702 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_295-50_0_6_load_84 | 82 | 0.0037401 | 0.00093736 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_295-50_0_6_load_87 | 83 | 0.0078102 | 0.0019574 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_295-50_0_6_load_89 | 86 | 0.0025904 | 0.0006492 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_295-50_0_6_load_88 | 87 | 0.006195 | 0.0015526 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_295-50_0_6_load_91 | 88 | 0.0062684 | 0.001571 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 17 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_295-50_0_6_line_0 |  | 0 | 1 | 0.019994 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_295-50_0_6_line_1 |  | 1 | 2 | 0.010436 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_295-50_0_6_line_2 |  | 2 | 3 | 0.007407 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_295-50_0_6_line_3 |  | 3 | 6 | 0.012521 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_295-50_0_6_line_4 |  | 4 | 5 | 0.0071004 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_295-50_0_6_line_5 |  | 5 | 9 | 0.055968 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_295-50_0_6_line_6 |  | 6 | 21 | 0.021103 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_295-50_0_6_line_7 |  | 7 | 8 | 0.062727 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_295-50_0_6_line_8 |  | 8 | 60 | 0.004924 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_295-50_0_6_line_9 |  | 9 | 10 | 0.048074 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_295-50_0_6_line_10 |  | 10 | 11 | 0.0061389 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_295-50_0_6_line_11 |  | 10 | 12 | 0.057305 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_295-50_0_6_line_12 |  | 11 | 16 | 0.059516 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_295-50_0_6_line_13 |  | 12 | 17 | 0.006637 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
14 | LV_295-50_0_6_line_14 |  | 12 | 18 | 0.041554 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
15 | LV_295-50_0_6_line_15 |  | 13 | 14 | 0.03492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
16 | LV_295-50_0_6_line_16 |  | 13 | 15 | 0.045738 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
17 | LV_295-50_0_6_line_17 |  | 14 | 19 | 0.023626 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
18 | LV_295-50_0_6_line_18 |  | 15 | 20 | 0.0093943 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_295-50_0_6_line_19 |  | 16 | 25 | 0.051444 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_295-50_0_6_line_20 |  | 17 | 57 | 0.018885 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
21 | LV_295-50_0_6_line_21 |  | 18 | 29 | 0.0097634 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
22 | LV_295-50_0_6_line_22 |  | 19 | 41 | 0.0039351 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
23 | LV_295-50_0_6_line_23 |  | 20 | 23 | 0.05752 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_295-50_0_6_line_24 |  | 21 | 22 | 0.011164 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_295-50_0_6_line_25 |  | 22 | 23 | 0.026674 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_295-50_0_6_line_26 |  | 23 | 32 | 0.019539 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_295-50_0_6_line_27 |  | 23 | 33 | 0.034555 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_295-50_0_6_line_28 |  | 24 | 25 | 0.01457 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_295-50_0_6_line_29 |  | 26 | 27 | 0.032985 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_295-50_0_6_line_30 |  | 26 | 28 | 0.0042904 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
31 | LV_295-50_0_6_line_31 |  | 26 | 29 | 0.020476 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
32 | LV_295-50_0_6_line_32 |  | 27 | 30 | 0.024146 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_295-50_0_6_line_33 |  | 28 | 31 | 0.020874 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
34 | LV_295-50_0_6_line_34 |  | 30 | 34 | 0.01156 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_295-50_0_6_line_35 |  | 31 | 59 | 0.046961 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
36 | LV_295-50_0_6_line_36 |  | 32 | 39 | 0.0022171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_295-50_0_6_line_37 |  | 33 | 40 | 0.015381 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_295-50_0_6_line_38 |  | 34 | 35 | 0.016239 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_295-50_0_6_line_39 |  | 35 | 36 | 0.010652 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_295-50_0_6_line_40 |  | 36 | 37 | 0.0071473 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_295-50_0_6_line_41 |  | 37 | 38 | 0.024756 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_295-50_0_6_line_42 |  | 38 | 61 | 0.020521 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_295-50_0_6_line_43 |  | 39 | 45 | 0.020649 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_295-50_0_6_line_44 |  | 40 | 42 | 0.0076462 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_295-50_0_6_line_45 |  | 41 | 62 | 0.018014 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
46 | LV_295-50_0_6_line_46 |  | 42 | 43 | 0.0032974 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_295-50_0_6_line_47 |  | 43 | 44 | 0.017838 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_295-50_0_6_line_48 |  | 44 | 70 | 0.0061774 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_295-50_0_6_line_49 |  | 45 | 55 | 0.0087232 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_295-50_0_6_line_50 |  | 46 | 47 | 0.0095214 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_295-50_0_6_line_51 |  | 46 | 48 | 0.028307 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_295-50_0_6_line_52 |  | 47 | 49 | 0.029151 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_295-50_0_6_line_53 |  | 48 | 50 | 0.028823 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_295-50_0_6_line_54 |  | 49 | 51 | 0.035354 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_295-50_0_6_line_55 |  | 50 | 52 | 0.0030396 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_295-50_0_6_line_56 |  | 51 | 53 | 0.033587 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
57 | LV_295-50_0_6_line_57 |  | 52 | 54 | 0.025944 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_295-50_0_6_line_58 |  | 53 | 65 | 0.046905 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
59 | LV_295-50_0_6_line_59 |  | 54 | 75 | 0.0095809 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_295-50_0_6_line_60 |  | 55 | 56 | 0.0012534 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_295-50_0_6_line_61 |  | 56 | 60 | 0.077265 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_295-50_0_6_line_62 |  | 57 | 58 | 0.020228 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
63 | LV_295-50_0_6_line_63 |  | 58 | 62 | 0.0063536 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
64 | LV_295-50_0_6_line_64 |  | 59 | 78 | 0.041141 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_295-50_0_6_line_65 |  | 59 | 76 | 0.13829 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
66 | LV_295-50_0_6_line_66 |  | 61 | 63 | 0.022648 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_295-50_0_6_line_67 |  | 63 | 64 | 0.0088478 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_295-50_0_6_line_68 |  | 64 | 66 | 0.018968 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_295-50_0_6_line_69 |  | 65 | 81 | 0.031561 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
70 | LV_295-50_0_6_line_70 |  | 66 | 67 | 0.00037723 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_295-50_0_6_line_71 |  | 67 | 68 | 0.026255 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_295-50_0_6_line_72 |  | 68 | 69 | 0.05138 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_295-50_0_6_line_73 |  | 70 | 71 | 0.017193 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_295-50_0_6_line_74 |  | 71 | 72 | 0.020864 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_295-50_0_6_line_75 |  | 72 | 80 | 0.0012625 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_295-50_0_6_line_76 |  | 73 | 74 | 0.014536 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_295-50_0_6_line_77 |  | 73 | 75 | 0.024617 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_295-50_0_6_line_78 |  | 76 | 77 | 0.12446 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
79 | LV_295-50_0_6_line_79 |  | 77 | 79 | 0.017876 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
80 | LV_295-50_0_6_line_80 |  | 79 | 88 | 0.017738 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
81 | LV_295-50_0_6_line_81 |  | 81 | 82 | 0.050814 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
82 | LV_295-50_0_6_line_82 |  | 82 | 83 | 0.01358 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
83 | LV_295-50_0_6_line_83 |  | 83 | 87 | 0.014594 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
84 | LV_295-50_0_6_line_84 |  | 83 | 85 | 0.004757 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_295-50_0_6_line_85 |  | 84 | 85 | 0.005256 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_295-50_0_6_line_86 |  | 84 | 86 | 0.069854 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_295-50_0_6_line_87 |  | 87 | 88 | 0.027408 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_295-50_0_6_trafo_43 | 0.63 MVA 20/0.4 kV | 89 | 17 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15
0 | 2687995.3615 | 1234249.6165 | 2687999.3574 | 1234269.2068
1 | 2687995.3615 | 1234249.6165 | 2688003.5731 | 1234243.1764
2 | 2688009.4015 | 1234238.6054 | 2688003.5731 | 1234243.1764
3 | 2688009.4015 | 1234238.6054 | 2688009.4015 | 1234238.6054 | 2688021.4084 | 1234235.055
4 | 2688033.7747 | 1234343.3636 | 2688033.1858 | 1234343.4769 | 2688026.7616 | 1234342.4822
5 | 2688087.7089 | 1234328.6297 | 2688047.9449 | 1234340.638 | 2688033.7747 | 1234343.3636
6 | 2688041.8532 | 1234229.8673 | 2688029.3466 | 1234232.7077 | 2688021.4084 | 1234235.055
7 | 2688016.8286 | 1234104.731 | 2687967.7857 | 1234143.8393
8 | 2688019.9365 | 1234108.5576 | 2688016.8286 | 1234104.731
9 | 2688087.7089 | 1234328.6297 | 2688094.5324 | 1234349.9016 | 2688090.6272 | 1234375.3396
10 | 2688090.6272 | 1234375.3396 | 2688088.439 | 1234381.0753
11 | 2688090.6272 | 1234375.3396 | 2688109.1491 | 1234389.8245 | 2688130.4391 | 1234384.0805 | 2688142.0694 | 1234386.4881
12 | 2688067.5647 | 1234436.8084 | 2688070.4968 | 1234428.4792 | 2688076.3233 | 1234412.8322 | 2688088.439 | 1234381.0753
13 | 2688142.0694 | 1234386.4881 | 2688147.059 | 1234382.1116
14 | 2688142.0694 | 1234386.4881 | 2688139.8526 | 1234388.4343 | 2688126.7941 | 1234413.9145 | 2688126.7674 | 1234423.887
15 | 2688179.2969 | 1234322.4946 | 2688155.52 | 1234296.8569
16 | 2688155.52 | 1234296.8569 | 2688116.04 | 1234273.7633
17 | 2688179.2969 | 1234322.4946 | 2688194.7164 | 1234340.3949
18 | 2688107.9311 | 1234269.02 | 2688116.04 | 1234273.7633
19 | 2688067.5647 | 1234436.8084 | 2688042.4636 | 1234417.2559 | 2688025.7571 | 1234406.9566
20 | 2688161.2569 | 1234369.6586 | 2688147.059 | 1234382.1116
21 | 2688126.7674 | 1234423.887 | 2688126.7507 | 1234430.1031 | 2688127.7816 | 1234433.4973
22 | 2688197.2846 | 1234343.3764 | 2688194.7164 | 1234340.3949
23 | 2688078.7522 | 1234221.4872 | 2688081.7293 | 1234234.6296 | 2688090.4449 | 1234251.8599 | 2688102.8021 | 1234266.0199 | 2688107.9311 | 1234269.02
24 | 2688052.7403 | 1234227.3947 | 2688041.8532 | 1234229.8673
25 | 2688078.7522 | 1234221.4872 | 2688052.7403 | 1234227.3947
26 | 2688078.7522 | 1234221.4872 | 2688074.8972 | 1234202.3322
27 | 2688078.7522 | 1234221.4872 | 2688110.6669 | 1234208.2396
28 | 2688011.3559 | 1234404.7455 | 2688025.7571 | 1234406.9566
29 | 2688133.7301 | 1234453.0897 | 2688161.9069 | 1234446.4584 | 2688165.8186 | 1234445.4564
30 | 2688133.7301 | 1234453.0897 | 2688134.8496 | 1234457.2315
31 | 2688133.7301 | 1234453.0897 | 2688132.5249 | 1234449.1135 | 2688127.7816 | 1234433.4973
32 | 2688189.2091 | 1234439.4648 | 2688165.8186 | 1234445.4564
33 | 2688134.8496 | 1234457.2315 | 2688134.8496 | 1234457.2315 | 2688116.9815 | 1234468.0238
34 | 2688189.2091 | 1234439.4648 | 2688197.0686 | 1234437.4515 | 2688200.2787 | 1234436.1977
35 | 2688093.1679 | 1234507.2159 | 2688110.0542 | 1234472.2079 | 2688116.9815 | 1234468.0238
36 | 2688074.8972 | 1234202.3322 | 2688074.4598 | 1234200.1587
37 | 2688110.6669 | 1234208.2396 | 2688124.8727 | 1234202.3429
38 | 2688215.405 | 1234430.2898 | 2688200.2787 | 1234436.1977
39 | 2688215.405 | 1234430.2898 | 2688225.3274 | 1234426.4144
40 | 2688231.5869 | 1234423.0415 | 2688228.0597 | 1234425.3473 | 2688225.3274 | 1234426.4144
41 | 2688252.3085 | 1234409.496 | 2688231.5869 | 1234423.0415
42 | 2688252.3085 | 1234409.496 | 2688269.3233 | 1234420.9679
43 | 2688074.4598 | 1234200.1587 | 2688072.2299 | 1234189.0785 | 2688068.0418 | 1234180.723
44 | 2688131.9346 | 1234199.4115 | 2688124.8727 | 1234202.3429
45 | 2688197.2846 | 1234343.3764 | 2688182.7295 | 1234353.99
46 | 2688134.9801 | 1234198.1474 | 2688131.9346 | 1234199.4115
47 | 2688134.9801 | 1234198.1474 | 2688151.4548 | 1234191.3088
48 | 2688151.4548 | 1234191.3088 | 2688157.1602 | 1234188.9406
49 | 2688064.133 | 1234172.9247 | 2688068.0418 | 1234180.723
50 | 2688246.5271 | 1234502.2051 | 2688255.1003 | 1234498.063
51 | 2688246.5271 | 1234502.2051 | 2688221.9801 | 1234514.0648 | 2688221.0444 | 1234514.5294
52 | 2688281.3484 | 1234485.3815 | 2688255.1003 | 1234498.063
53 | 2688221.0444 | 1234514.5294 | 2688196.889 | 1234526.5235 | 2688195.2357 | 1234527.3618
54 | 2688303.9422 | 1234458.6313 | 2688298.8694 | 1234466.8285 | 2688295.1003 | 1234472.8768 | 2688289.4983 | 1234477.9639 | 2688281.3484 | 1234485.3815 | 2688281.3484 | 1234485.3815
55 | 2688192.5247 | 1234528.7363 | 2688195.2357 | 1234527.3618
56 | 2688303.9422 | 1234458.6313 | 2688307.7537 | 1234461.957 | 2688318.4687 | 1234478.5503 | 2688319.3706 | 1234482.044 | 2688317.1386 | 1234486.705
57 | 2688192.5247 | 1234528.7363 | 2688172.1525 | 1234539.0655 | 2688169.3475 | 1234540.392
58 | 2688329.013 | 1234530.2549 | 2688315.4512 | 1234498.7087 | 2688314.7923 | 1234491.605 | 2688317.1386 | 1234486.705
59 | 2688160.6864 | 1234544.4881 | 2688169.3475 | 1234540.392
60 | 2688064.133 | 1234172.9247 | 2688063.5714 | 1234171.8042
61 | 2688019.9365 | 1234108.5576 | 2688050.994 | 1234146.7115 | 2688063.5714 | 1234171.8042
62 | 2688161.2569 | 1234369.6586 | 2688161.3294 | 1234369.595 | 2688177.5958 | 1234357.7335
63 | 2688182.7295 | 1234353.99 | 2688177.5958 | 1234357.7335
64 | 2688132.2234 | 1234506.6723 | 2688111.1968 | 1234513.5766 | 2688093.1679 | 1234507.2159
65 | 2688082.1871 | 1234613.1399 | 2688082.7048 | 1234611.413 | 2688090.9538 | 1234611.0684 | 2688091.0358 | 1234609.1126 | 2688089.9088 | 1234607.0055 | 2688091.4133 | 1234564.264 | 2688083.8287 | 1234563.1952 | 2688070.4865 | 1234560.3733 | 2688071.3338 | 1234556.3274 | 2688069.8242 | 1234556.027 | 2688074.5313 | 1234544.3885 | 2688087.6542 | 1234519.1316 | 2688093.1679 | 1234507.2159
66 | 2688286.1155 | 1234435.861 | 2688278.8342 | 1234427.3804 | 2688269.3233 | 1234420.9679
67 | 2688291.8792 | 1234442.574 | 2688286.1155 | 1234435.861
68 | 2688291.8792 | 1234442.574 | 2688278.3503 | 1234455.8694
69 | 2688341.4781 | 1234559.2499 | 2688329.013 | 1234530.2549
70 | 2688278.3503 | 1234455.8694 | 2688278.0813 | 1234456.1338
71 | 2688278.0813 | 1234456.1338 | 2688268.2169 | 1234465.828 | 2688256.3649 | 1234469.5573
72 | 2688256.3649 | 1234469.5573 | 2688241.391 | 1234474.269 | 2688209.2212 | 1234489.7065
73 | 2688173.0399 | 1234182.349 | 2688157.1602 | 1234188.9406
74 | 2688173.0399 | 1234182.349 | 2688183.1585 | 1234178.1489 | 2688191.7256 | 1234173.1719
75 | 2688192.8172 | 1234172.5377 | 2688191.7256 | 1234173.1719
76 | 2688147.9274 | 1234507.4724 | 2688152.6644 | 1234521.2154
77 | 2688160.6864 | 1234544.4881 | 2688152.6644 | 1234521.2154
78 | 2688082.1871 | 1234613.1399 | 2688091.2426 | 1234613.0296 | 2688094.7983 | 1234614.2054 | 2688097.8569 | 1234614.6955 | 2688102.2497 | 1234614.5494 | 2688110.4589 | 1234614.3376 | 2688116.2588 | 1234613.7454 | 2688123.4599 | 1234612.5958 | 2688131.0062 | 1234611.14 | 2688139.2371 | 1234609.4609 | 2688150.2431 | 1234606.9779 | 2688153.8028 | 1234605.841 | 2688162.8596 | 1234603.6071 | 2688183.251 | 1234599.1842 | 2688201.6316 | 1234595.0874 | 2688204.2749 | 1234594.5184
79 | 2688221.7492 | 1234590.749 | 2688220.5266 | 1234591.0205 | 2688204.2749 | 1234594.5184
80 | 2688239.0657 | 1234586.9048 | 2688238.4588 | 1234587.0394 | 2688221.7492 | 1234590.749
81 | 2688341.4781 | 1234559.2499 | 2688331.1469 | 1234564.1999 | 2688312.1394 | 1234570.7332 | 2688293.3334 | 1234574.8879
82 | 2688280.0728 | 1234577.8175 | 2688293.3334 | 1234574.8879
83 | 2688280.0728 | 1234577.8175 | 2688272.3181 | 1234579.5368 | 2688265.8247 | 1234580.974
84 | 2688280.9116 | 1234582.4999 | 2688280.0728 | 1234577.8175
85 | 2688280.9116 | 1234582.4999 | 2688281.8416 | 1234587.673
86 | 2688281.8416 | 1234587.673 | 2688253.7951 | 1234591.6815 | 2688228.0641 | 1234597.2924 | 2688213.2545 | 1234600.6549
87 | 2688265.8247 | 1234580.974 | 2688259.9836 | 1234582.2667 | 2688239.0657 | 1234586.9048

## bus_geodata
| x | y | coords
0 | 2687999.3574 | 1234269.2068
1 | 2687995.3615 | 1234249.6165
2 | 2688003.5731 | 1234243.1764
3 | 2688009.4015 | 1234238.6054
4 | 2688026.7616 | 1234342.4822
5 | 2688033.7747 | 1234343.3636
6 | 2688021.4084 | 1234235.055
7 | 2687967.7857 | 1234143.8393
8 | 2688016.8286 | 1234104.731
9 | 2688087.7089 | 1234328.6297
10 | 2688090.6272 | 1234375.3396
11 | 2688088.439 | 1234381.0753
12 | 2688142.0694 | 1234386.4881
13 | 2688155.52 | 1234296.8569
14 | 2688179.2969 | 1234322.4946
15 | 2688116.04 | 1234273.7633
16 | 2688067.5647 | 1234436.8084
17 | 2688147.059 | 1234382.1116
18 | 2688126.7674 | 1234423.887
19 | 2688194.7164 | 1234340.3949
20 | 2688107.9311 | 1234269.02
21 | 2688041.8532 | 1234229.8673
22 | 2688052.7403 | 1234227.3947
23 | 2688078.7522 | 1234221.4872
24 | 2688011.3559 | 1234404.7455
25 | 2688025.7571 | 1234406.9566
26 | 2688133.7301 | 1234453.0897
27 | 2688165.8186 | 1234445.4564
28 | 2688134.8496 | 1234457.2315
29 | 2688127.7816 | 1234433.4973
30 | 2688189.2091 | 1234439.4648
31 | 2688116.9815 | 1234468.0238
32 | 2688074.8972 | 1234202.3322
33 | 2688110.6669 | 1234208.2396
34 | 2688200.2787 | 1234436.1977
35 | 2688215.405 | 1234430.2898
36 | 2688225.3274 | 1234426.4144
37 | 2688231.5869 | 1234423.0415
38 | 2688252.3085 | 1234409.496
39 | 2688074.4598 | 1234200.1587
40 | 2688124.8727 | 1234202.3429
41 | 2688197.2846 | 1234343.3764
42 | 2688131.9346 | 1234199.4115
43 | 2688134.9801 | 1234198.1474
44 | 2688151.4548 | 1234191.3088
45 | 2688068.0418 | 1234180.723
46 | 2688246.5271 | 1234502.2051
47 | 2688255.1003 | 1234498.063
48 | 2688221.0444 | 1234514.5294
49 | 2688281.3484 | 1234485.3815
50 | 2688195.2357 | 1234527.3618
51 | 2688303.9422 | 1234458.6313
52 | 2688192.5247 | 1234528.7363
53 | 2688317.1386 | 1234486.705
54 | 2688169.3475 | 1234540.392
55 | 2688064.133 | 1234172.9247
56 | 2688063.5714 | 1234171.8042
57 | 2688161.2569 | 1234369.6586
58 | 2688177.5958 | 1234357.7335
59 | 2688093.1679 | 1234507.2159
60 | 2688019.9365 | 1234108.5576
61 | 2688269.3233 | 1234420.9679
62 | 2688182.7295 | 1234353.99
63 | 2688286.1155 | 1234435.861
64 | 2688291.8792 | 1234442.574
65 | 2688329.013 | 1234530.2549
66 | 2688278.3503 | 1234455.8694
67 | 2688278.0813 | 1234456.1338
68 | 2688256.3649 | 1234469.5573
69 | 2688209.2212 | 1234489.7065
70 | 2688157.1602 | 1234188.9406
71 | 2688173.0399 | 1234182.349
72 | 2688191.7256 | 1234173.1719
73 | 2688152.6644 | 1234521.2154
74 | 2688147.9274 | 1234507.4724
75 | 2688160.6864 | 1234544.4881
76 | 2688082.1871 | 1234613.1399
77 | 2688204.2749 | 1234594.5184
78 | 2688132.2234 | 1234506.6723
79 | 2688221.7492 | 1234590.749
80 | 2688192.8172 | 1234172.5377
81 | 2688341.4781 | 1234559.2499
82 | 2688293.3334 | 1234574.8879
83 | 2688280.0728 | 1234577.8175
84 | 2688281.8416 | 1234587.673
85 | 2688280.9116 | 1234582.4999
86 | 2688213.2545 | 1234600.6549
87 | 2688265.8247 | 1234580.974
88 | 2688239.0657 | 1234586.9048
89 | 2688142.0694 | 1234386.4881

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1