## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_295-51_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_295-51_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_295-51_0_4_node_4 | 0.4 | n |  | TRUE
3 | bus_LV_295-51_0_4_node_5 | 0.4 | n |  | TRUE
4 | bus_LV_295-51_0_4_node_2 | 0.4 | n |  | TRUE
5 | bus_LV_295-51_0_4_node_206 | 0.4 | n |  | TRUE
6 | bus_LV_295-51_0_4_node_3 | 0.4 | n |  | TRUE
7 | bus_LV_295-51_0_4_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_295-51_0_4_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_295-51_0_4_node_190 | 0.4 | n |  | TRUE
10 | bus_LV_295-51_0_4_node_209 | 0.4 | n |  | TRUE
11 | bus_LV_295-51_0_4_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_295-51_0_4_node_10 | 0.4 | n |  | TRUE
13 | bus_LV_295-51_0_4_node_60 | 0.4 | n |  | TRUE
14 | bus_LV_295-51_0_4_node_82 | 0.4 | n |  | TRUE
15 | bus_LV_295-51_0_4_node_211 | 0.4 | n |  | TRUE
16 | bus_LV_295-51_0_4_node_64 | 0.4 | n |  | TRUE
17 | bus_LV_295-51_0_4_node_174 | 0.4 | n |  | TRUE
18 | bus_LV_295-51_0_4_node_9 | 0.4 | n |  | TRUE
19 | bus_LV_295-51_0_4_node_202 | 0.4 | n |  | TRUE
20 | bus_LV_295-51_0_4_node_200 | 0.4 | n |  | TRUE
21 | bus_LV_295-51_0_4_node_11 | 0.4 | n |  | TRUE
22 | bus_LV_295-51_0_4_node_12 | 0.4 | n |  | TRUE
23 | bus_LV_295-51_0_4_node_30 | 0.4 | n |  | TRUE
24 | bus_LV_295-51_0_4_node_13 | 0.4 | n |  | TRUE
25 | bus_LV_295-51_0_4_node_14 | 0.4 | n |  | TRUE
26 | bus_LV_295-51_0_4_node_15 | 0.4 | n |  | TRUE
27 | bus_LV_295-51_0_4_node_17 | 0.4 | n |  | TRUE
28 | bus_LV_295-51_0_4_node_18 | 0.4 | n |  | TRUE
29 | bus_LV_295-51_0_4_node_67 | 0.4 | n |  | TRUE
30 | bus_LV_295-51_0_4_node_87 | 0.4 | n |  | TRUE
31 | bus_LV_295-51_0_4_node_19 | 0.4 | n |  | TRUE
32 | bus_LV_295-51_0_4_node_20 | 0.4 | n |  | TRUE
33 | bus_LV_295-51_0_4_node_21 | 0.4 | n |  | TRUE
34 | bus_LV_295-51_0_4_node_22 | 0.4 | n |  | TRUE
35 | bus_LV_295-51_0_4_node_23 | 0.4 | n |  | TRUE
36 | bus_LV_295-51_0_4_node_24 | 0.4 | n |  | TRUE
37 | bus_LV_295-51_0_4_node_61 | 0.4 | n |  | TRUE
38 | bus_LV_295-51_0_4_node_41 | 0.4 | n |  | TRUE
39 | bus_LV_295-51_0_4_node_25 | 0.4 | n |  | TRUE
40 | bus_LV_295-51_0_4_node_47 | 0.4 | n |  | TRUE
41 | bus_LV_295-51_0_4_node_26 | 0.4 | n |  | TRUE
42 | bus_LV_295-51_0_4_node_27 | 0.4 | n |  | TRUE
43 | bus_LV_295-51_0_4_node_28 | 0.4 | n |  | TRUE
44 | bus_LV_295-51_0_4_node_29 | 0.4 | n |  | TRUE
45 | bus_LV_295-51_0_4_node_31 | 0.4 | n |  | TRUE
46 | bus_LV_295-51_0_4_node_53 | 0.4 | n |  | TRUE
47 | bus_LV_295-51_0_4_node_46 | 0.4 | n |  | TRUE
48 | bus_LV_295-51_0_4_node_34 | 0.4 | n |  | TRUE
49 | bus_LV_295-51_0_4_node_35 | 0.4 | n |  | TRUE
50 | bus_LV_295-51_0_4_node_36 | 0.4 | n |  | TRUE
51 | bus_LV_295-51_0_4_node_37 | 0.4 | n |  | TRUE
52 | bus_LV_295-51_0_4_node_38 | 0.4 | n |  | TRUE
53 | bus_LV_295-51_0_4_node_52 | 0.4 | n |  | TRUE
54 | bus_LV_295-51_0_4_node_40 | 0.4 | n |  | TRUE
55 | bus_LV_295-51_0_4_node_43 | 0.4 | n |  | TRUE
56 | bus_LV_295-51_0_4_node_115 | 0.4 | n |  | TRUE
57 | bus_LV_295-51_0_4_node_45 | 0.4 | n |  | TRUE
58 | bus_LV_295-51_0_4_node_48 | 0.4 | n |  | TRUE
59 | bus_LV_295-51_0_4_node_49 | 0.4 | n |  | TRUE
60 | bus_LV_295-51_0_4_node_50 | 0.4 | n |  | TRUE
61 | bus_LV_295-51_0_4_node_65 | 0.4 | n |  | TRUE
62 | bus_LV_295-51_0_4_node_62 | 0.4 | n |  | TRUE
63 | bus_LV_295-51_0_4_node_63 | 0.4 | n |  | TRUE
64 | bus_LV_295-51_0_4_node_66 | 0.4 | n |  | TRUE
65 | bus_LV_295-51_0_4_node_72 | 0.4 | n |  | TRUE
66 | bus_LV_295-51_0_4_node_86 | 0.4 | n |  | TRUE
67 | bus_LV_295-51_0_4_node_141 | 0.4 | n |  | TRUE
68 | bus_LV_295-51_0_4_node_143 | 0.4 | n |  | TRUE
69 | bus_LV_295-51_0_4_node_144 | 0.4 | n |  | TRUE
70 | bus_LV_295-51_0_4_node_203 | 0.4 | n |  | TRUE
71 | bus_LV_295-51_0_4_node_186 | 0.4 | n |  | TRUE
72 | bus_LV_295-51_0_4_node_171 | 0.4 | n |  | TRUE
73 | bus_LV_295-51_0_4_node_172 | 0.4 | n |  | TRUE
74 | bus_LV_295-51_0_4_node_173 | 0.4 | n |  | TRUE
75 | bus_LV_295-51_0_4_node_198 | 0.4 | n |  | TRUE
76 | bus_LV_295-51_0_4_node_175 | 0.4 | n |  | TRUE
77 | bus_LV_295-51_0_4_node_176 | 0.4 | n |  | TRUE
78 | bus_LV_295-51_0_4_node_204 | 0.4 | n |  | TRUE
79 | bus_LV_295-51_0_4_node_185 | 0.4 | n |  | TRUE
80 | bus_LV_295-51_0_4_node_199 | 0.4 | n |  | TRUE
81 | bus_LV_295-51_0_4_node_201 | 0.4 | n |  | TRUE
82 | bus_MV_417_0_node_115 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_295-51_0_4_load_0 | 0 | 0.014496 | 0.0036331 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_295-51_0_4_load_206 | 5 | 0.011406 | 0.0028585 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_295-51_0_4_load_190 | 9 | 0.0027224 | 0.00068229 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_295-51_0_4_load_209 | 10 | 0.0059572 | 0.001493 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_295-51_0_4_load_10 | 12 | 0.0037307 | 0.00093501 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_295-51_0_4_load_60 | 13 | 0.0050721 | 0.0012712 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_295-51_0_4_load_82 | 14 | 0.0043194 | 0.0010826 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_295-51_0_4_load_211 | 15 | 0.0096426 | 0.0024167 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_295-51_0_4_load_174 | 17 | 0.0046501 | 0.0011654 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_295-51_0_4_load_200 | 20 | 0.0048728 | 0.0012212 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_295-51_0_4_load_11 | 21 | 0.0034239 | 0.0008581 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_295-51_0_4_load_30 | 23 | 0.0041776 | 0.001047 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_295-51_0_4_load_13 | 24 | 0.0015877 | 0.00039791 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_295-51_0_4_load_14 | 25 | 0.0019095 | 0.00047857 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_295-51_0_4_load_17 | 27 | 0.0020209 | 0.00050649 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_295-51_0_4_load_18 | 28 | 0.0035174 | 0.00088153 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_295-51_0_4_load_67 | 29 | 0.0022361 | 0.00056042 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_295-51_0_4_load_19 | 31 | 0.045059 | 0.011293 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_295-51_0_4_load_20 | 32 | 0.0071917 | 0.0018024 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_295-51_0_4_load_23 | 35 | 0.0078005 | 0.001955 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_295-51_0_4_load_24 | 36 | 0.0086371 | 0.0021647 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_295-51_0_4_load_61 | 37 | 0.0030573 | 0.00076624 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_295-51_0_4_load_41 | 38 | 0.0029042 | 0.00072785 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_295-51_0_4_load_25 | 39 | 0.0015021 | 0.00037646 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_295-51_0_4_load_47 | 40 | 0.0015492 | 0.00038825 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_295-51_0_4_load_26 | 41 | 0.0067295 | 0.0016866 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_295-51_0_4_load_27 | 42 | 0.0048154 | 0.0012069 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_295-51_0_4_load_28 | 43 | 0.0028335 | 0.00071015 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_295-51_0_4_load_53 | 46 | 0.0046827 | 0.0011736 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_295-51_0_4_load_46 | 47 | 0.001314 | 0.00032932 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_295-51_0_4_load_34 | 48 | 0.0019339 | 0.00048469 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_295-51_0_4_load_35 | 49 | 0.0036269 | 0.00090898 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_295-51_0_4_load_37 | 51 | 0.0039039 | 0.0009784 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_295-51_0_4_load_38 | 52 | 0.0013503 | 0.00033841 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_295-51_0_4_load_52 | 53 | 0.0046459 | 0.0011644 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_295-51_0_4_load_40 | 54 | 0.0040103 | 0.0010051 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_295-51_0_4_load_43 | 55 | 0.0040991 | 0.0010273 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_295-51_0_4_load_115 | 56 | 0.0066946 | 0.0016778 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_295-51_0_4_load_45 | 57 | 0.0022933 | 0.00057475 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_295-51_0_4_load_48 | 58 | 0.0019794 | 0.00049608 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_295-51_0_4_load_49 | 59 | 0.0039965 | 0.0010016 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_295-51_0_4_load_50 | 60 | 0.0043282 | 0.0010848 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_295-51_0_4_load_65 | 61 | 0.0028011 | 0.00070203 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_295-51_0_4_load_62 | 62 | 0.0010064 | 0.00025222 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_295-51_0_4_load_63 | 63 | 0.001834 | 0.00045964 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_295-51_0_4_load_66 | 64 | 0.0062071 | 0.0015557 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_295-51_0_4_load_72 | 65 | 0.0021784 | 0.00054595 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_295-51_0_4_load_86 | 66 | 0.0039803 | 0.00099755 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_295-51_0_4_load_141 | 67 | 0.0034966 | 0.00087633 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_295-51_0_4_load_143 | 68 | 0.0035046 | 0.00087833 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_295-51_0_4_load_144 | 69 | 0.0018591 | 0.00046594 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_295-51_0_4_load_203 | 70 | 0.0056595 | 0.0014184 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_295-51_0_4_load_186 | 71 | 0.0032692 | 0.00081935 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_295-51_0_4_load_172 | 73 | 0.002332 | 0.00058446 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_295-51_0_4_load_173 | 74 | 0.0015441 | 0.00038699 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_295-51_0_4_load_198 | 75 | 0.0028244 | 0.00070787 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_295-51_0_4_load_175 | 76 | 0.0046534 | 0.0011662 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_295-51_0_4_load_176 | 77 | 0.0051647 | 0.0012944 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_295-51_0_4_load_204 | 78 | 0.001677 | 0.0004203 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_295-51_0_4_load_185 | 79 | 0.0019502 | 0.00048877 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_295-51_0_4_load_199 | 80 | 0.0028853 | 0.00072313 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_295-51_0_4_load_201 | 81 | 0.01229 | 0.0030803 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 14 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_295-51_0_4_line_0 |  | 0 | 1 | 0.022863 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_295-51_0_4_line_1 |  | 1 | 2 | 0.03705 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
2 | LV_295-51_0_4_line_2 |  | 1 | 3 | 0.015899 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
3 | LV_295-51_0_4_line_3 |  | 2 | 10 | 0.026926 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_295-51_0_4_line_4 |  | 2 | 11 | 0.039805 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_295-51_0_4_line_5 |  | 2 | 4 | 0.025848 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_295-51_0_4_line_6 |  | 2 | 6 | 0.042387 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
7 | LV_295-51_0_4_line_7 |  | 3 | 12 | 0.024892 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
8 | LV_295-51_0_4_line_8 |  | 4 | 5 | 0.011778 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_295-51_0_4_line_9 |  | 5 | 19 | 0.039417 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_295-51_0_4_line_10 |  | 6 | 7 | 0.018135 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_295-51_0_4_line_11 |  | 6 | 8 | 0.017308 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
12 | LV_295-51_0_4_line_12 |  | 6 | 9 | 0.096566 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_295-51_0_4_line_13 |  | 7 | 15 | 0.038897 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_295-51_0_4_line_14 |  | 7 | 16 | 0.014288 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_295-51_0_4_line_15 |  | 8 | 13 | 0.016386 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_295-51_0_4_line_16 |  | 8 | 14 | 0.048773 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
17 | LV_295-51_0_4_line_17 |  | 11 | 17 | 0.033505 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_295-51_0_4_line_18 |  | 12 | 21 | 0.015452 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
19 | LV_295-51_0_4_line_19 |  | 13 | 53 | 0.025096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_295-51_0_4_line_20 |  | 14 | 60 | 0.026526 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_295-51_0_4_line_21 |  | 16 | 64 | 0.007962 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_295-51_0_4_line_22 |  | 16 | 62 | 0.014668 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_295-51_0_4_line_23 |  | 17 | 76 | 0.0094902 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_295-51_0_4_line_24 |  | 18 | 19 | 0.011002 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_295-51_0_4_line_25 |  | 18 | 20 | 0.015581 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_295-51_0_4_line_26 |  | 20 | 81 | 0.015905 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_295-51_0_4_line_27 |  | 21 | 22 | 0.034603 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
28 | LV_295-51_0_4_line_28 |  | 22 | 23 | 0.036002 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
29 | LV_295-51_0_4_line_29 |  | 23 | 43 | 0.025632 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
30 | LV_295-51_0_4_line_30 |  | 24 | 25 | 0.0076119 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_295-51_0_4_line_31 |  | 24 | 26 | 0.069167 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_295-51_0_4_line_32 |  | 26 | 27 | 0.018664 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_295-51_0_4_line_33 |  | 26 | 28 | 0.007496 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_295-51_0_4_line_34 |  | 27 | 29 | 0.0034691 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_295-51_0_4_line_35 |  | 28 | 30 | 0.020311 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_295-51_0_4_line_36 |  | 29 | 41 | 0.021768 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_295-51_0_4_line_37 |  | 30 | 56 | 0.037111 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_295-51_0_4_line_38 |  | 30 | 66 | 0.015606 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_295-51_0_4_line_39 |  | 31 | 32 | 0.020978 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_295-51_0_4_line_40 |  | 31 | 33 | 0.020269 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_295-51_0_4_line_41 |  | 32 | 34 | 0.020631 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_295-51_0_4_line_42 |  | 33 | 35 | 0.015102 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
43 | LV_295-51_0_4_line_43 |  | 33 | 36 | 0.018137 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
44 | LV_295-51_0_4_line_44 |  | 34 | 37 | 0.012501 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_295-51_0_4_line_45 |  | 34 | 38 | 0.03404 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_295-51_0_4_line_46 |  | 35 | 39 | 0.0209 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_295-51_0_4_line_47 |  | 36 | 40 | 0.023203 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
48 | LV_295-51_0_4_line_48 |  | 38 | 54 | 0.027834 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_295-51_0_4_line_49 |  | 39 | 41 | 0.0077999 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_295-51_0_4_line_50 |  | 40 | 57 | 0.022393 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
51 | LV_295-51_0_4_line_51 |  | 42 | 43 | 0.0047086 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
52 | LV_295-51_0_4_line_52 |  | 42 | 44 | 0.019678 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
53 | LV_295-51_0_4_line_53 |  | 44 | 45 | 0.047536 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
54 | LV_295-51_0_4_line_54 |  | 45 | 46 | 0.020276 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_295-51_0_4_line_55 |  | 45 | 47 | 0.041698 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
56 | LV_295-51_0_4_line_56 |  | 46 | 61 | 0.01852 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_295-51_0_4_line_57 |  | 47 | 57 | 0.027934 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
58 | LV_295-51_0_4_line_58 |  | 48 | 49 | 0.025208 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_295-51_0_4_line_59 |  | 48 | 50 | 0.0029077 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_295-51_0_4_line_60 |  | 49 | 51 | 0.026189 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_295-51_0_4_line_61 |  | 50 | 52 | 0.024644 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_295-51_0_4_line_62 |  | 51 | 53 | 0.026495 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_295-51_0_4_line_63 |  | 55 | 56 | 0.020789 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_295-51_0_4_line_64 |  | 58 | 59 | 0.024359 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_295-51_0_4_line_65 |  | 59 | 60 | 0.025863 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_295-51_0_4_line_66 |  | 61 | 63 | 0.025649 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_295-51_0_4_line_67 |  | 65 | 66 | 0.00036423 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_295-51_0_4_line_68 |  | 67 | 68 | 0.014315 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_295-51_0_4_line_69 |  | 67 | 69 | 0.023854 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_295-51_0_4_line_70 |  | 67 | 70 | 0.028368 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_295-51_0_4_line_71 |  | 68 | 71 | 7.5241e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_295-51_0_4_line_72 |  | 70 | 74 | 0.011344 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_295-51_0_4_line_73 |  | 71 | 79 | 0.0082633 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_295-51_0_4_line_74 |  | 72 | 73 | 0.0086531 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_295-51_0_4_line_75 |  | 72 | 74 | 0.017506 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_295-51_0_4_line_76 |  | 73 | 75 | 0.02363 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_295-51_0_4_line_77 |  | 75 | 80 | 0.0076062 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_295-51_0_4_line_78 |  | 76 | 77 | 0.010762 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_295-51_0_4_line_79 |  | 77 | 78 | 0.00014014 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_295-51_0_4_line_80 |  | 78 | 80 | 0.016964 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_295-51_0_4_trafo_82 | 0.63 MVA 20/0.4 kV | 82 | 14 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11
0 | 2688323.4994 | 1234360.1849 | 2688323.1473 | 1234363.4932 | 2688323.0915 | 1234383.0289
1 | 2688323.4994 | 1234360.1849 | 2688323.6895 | 1234358.5977 | 2688337.8528 | 1234347.9784 | 2688338.5323 | 1234341.4839 | 2688339.1567 | 1234335.6445 | 2688344.4879 | 1234336.0463
2 | 2688314.1645 | 1234370.398 | 2688315.9322 | 1234367.6 | 2688318.8659 | 1234360.205 | 2688323.4994 | 1234360.1849
3 | 2688346.7815 | 1234315.1988 | 2688337.8997 | 1234322.4275 | 2688344.6738 | 1234333.7252 | 2688344.4879 | 1234336.0463
4 | 2688381.7521 | 1234336.4006 | 2688377.9771 | 1234333.6758 | 2688376.1622 | 1234336.0839 | 2688373.5744 | 1234337.5242 | 2688369.0719 | 1234337.902 | 2688344.4879 | 1234336.0463
5 | 2688344.4879 | 1234336.0463 | 2688344.0389 | 1234341.7993 | 2688353.8104 | 1234346.5146 | 2688362.9519 | 1234347.7736
6 | 2688323.5289 | 1234309.3268 | 2688328.6824 | 1234313.0283 | 2688326.6547 | 1234316.0003 | 2688325.5309 | 1234318.7744 | 2688325.1451 | 1234321.8042 | 2688325.7672 | 1234324.7711 | 2688327.7673 | 1234328.2366 | 2688330.1608 | 1234331.2077 | 2688333.0559 | 1234333.5413 | 2688336.0185 | 1234334.8974 | 2688339.1567 | 1234335.6445 | 2688344.4879 | 1234336.0463
7 | 2688314.1645 | 1234370.398 | 2688306.2816 | 1234371.048 | 2688298.5543 | 1234372.9456 | 2688291.9457 | 1234376.4833 | 2688290.7702 | 1234377.4623
8 | 2688362.9519 | 1234347.7736 | 2688372.037 | 1234347.742 | 2688374.6883 | 1234348.2127
9 | 2688403.1817 | 1234373.6904 | 2688394.0516 | 1234362.5133 | 2688388.3782 | 1234355.6017 | 2688384.0054 | 1234351.3336 | 2688379.5573 | 1234349.077 | 2688374.6883 | 1234348.2127
10 | 2688323.5289 | 1234309.3268 | 2688321.7912 | 1234312.1475 | 2688321.1372 | 1234313.3608 | 2688315.7889 | 1234310.0345 | 2688312.3372 | 1234309.494 | 2688309.0067 | 1234310.99
11 | 2688323.5289 | 1234309.3268 | 2688318.0757 | 1234305.4208 | 2688317.4977 | 1234306.613 | 2688315.8133 | 1234304.8312 | 2688313.6155 | 1234298.3717
12 | 2688323.5289 | 1234309.3268 | 2688325.7331 | 1234306.7021 | 2688340.9586 | 1234294.4085 | 2688402.1079 | 1234253.5039
13 | 2688309.0067 | 1234310.99 | 2688307.2208 | 1234315.0108 | 2688304.1501 | 1234323.4712 | 2688296.9347 | 1234330.6469 | 2688284.8103 | 1234340.0846
14 | 2688309.0067 | 1234310.99 | 2688294.7502 | 1234309.5438
15 | 2688313.6155 | 1234298.3717 | 2688326.8953 | 1234288.7729
16 | 2688313.6155 | 1234298.3717 | 2688304.3089 | 1234271.0361 | 2688309.033 | 1234267.4704 | 2688309.543 | 1234263.7198 | 2688317.9691 | 1234257.9842
17 | 2688381.7521 | 1234336.4006 | 2688385.1943 | 1234327.4009 | 2688387.9825 | 1234320.126 | 2688399.3956 | 1234308.801
18 | 2688290.7702 | 1234377.4623 | 2688278.8972 | 1234387.351
19 | 2688347.8282 | 1234274.9544 | 2688334.4464 | 1234283.3149 | 2688326.8953 | 1234288.7729
20 | 2688339.8975 | 1234243.0579 | 2688317.9691 | 1234257.9842
21 | 2688286.8056 | 1234308.7363 | 2688294.7502 | 1234309.5438
22 | 2688294.7502 | 1234309.5438 | 2688287.671 | 1234296.6972
23 | 2688406.1322 | 1234302.1164 | 2688406.1322 | 1234302.1164 | 2688399.3956 | 1234308.801
24 | 2688403.1817 | 1234373.6904 | 2688407.6284 | 1234370.9546 | 2688403.9091 | 1234366.5294
25 | 2688403.9091 | 1234366.5294 | 2688417.6949 | 1234359.2679
26 | 2688431.7673 | 1234351.8556 | 2688417.6949 | 1234359.2679
27 | 2688252.3085 | 1234409.496 | 2688278.8972 | 1234387.351
28 | 2688252.3085 | 1234409.496 | 2688245.4461 | 1234401.0769 | 2688229.3363 | 1234381.7763
29 | 2688212.9114 | 1234362.0982 | 2688229.3363 | 1234381.7763
30 | 2688383.7238 | 1234171.9922 | 2688389.9617 | 1234170.86 | 2688391.2337 | 1234170.8528
31 | 2688328.5676 | 1234155.3028 | 2688344.5188 | 1234179.7574 | 2688366.9756 | 1234175.0323 | 2688383.7238 | 1234171.9922
32 | 2688328.5676 | 1234155.3028 | 2688312.8008 | 1234165.2907
33 | 2688328.5676 | 1234155.3028 | 2688334.833 | 1234151.1877
34 | 2688309.8703 | 1234167.1472 | 2688312.8008 | 1234165.2907
35 | 2688351.8097 | 1234140.0374 | 2688334.833 | 1234151.1877
36 | 2688309.8703 | 1234167.1472 | 2688291.4816 | 1234178.7959
37 | 2688351.8097 | 1234140.0374 | 2688329.777 | 1234110.1746
38 | 2688351.8097 | 1234140.0374 | 2688364.5357 | 1234131.0049
39 | 2688231.3239 | 1234168.1015 | 2688243.1008 | 1234185.4618
40 | 2688254.4798 | 1234202.2358 | 2688243.1008 | 1234185.4618
41 | 2688219.7416 | 1234151.0279 | 2688231.3239 | 1234168.1015
42 | 2688254.4798 | 1234202.2358 | 2688267.2373 | 1234194.1542
43 | 2688254.4798 | 1234202.2358 | 2688256.2697 | 1234213.7372 | 2688255.8566 | 1234220.2211
44 | 2688219.7416 | 1234151.0279 | 2688210.0276 | 1234158.8971
45 | 2688219.7416 | 1234151.0279 | 2688245.0747 | 1234128.2911
46 | 2688284.8926 | 1234182.97 | 2688267.2373 | 1234194.1542
47 | 2688255.8566 | 1234220.2211 | 2688255.855 | 1234220.2468 | 2688251.3253 | 1234230.5981 | 2688241.4818 | 1234237.247
48 | 2688245.0747 | 1234128.2911 | 2688265.7891 | 1234109.6995
49 | 2688291.4816 | 1234178.7959 | 2688284.8926 | 1234182.97
50 | 2688222.4959 | 1234249.0968 | 2688232.9793 | 1234242.9901 | 2688241.4818 | 1234237.247
51 | 2688212.9114 | 1234362.0982 | 2688209.8941 | 1234358.4833
52 | 2688197.2846 | 1234343.3764 | 2688209.8941 | 1234358.4833
53 | 2688194.4569 | 1234309.488 | 2688179.2969 | 1234322.4946 | 2688197.2846 | 1234343.3764
54 | 2688194.4569 | 1234309.488 | 2688202.6638 | 1234306.908 | 2688212.846 | 1234301.1992
55 | 2688194.4569 | 1234309.488 | 2688198.6176 | 1234282.6751 | 2688205.2792 | 1234269.724
56 | 2688229 | 1234292.1423 | 2688212.846 | 1234301.1992
57 | 2688222.4959 | 1234249.0968 | 2688213.0629 | 1234254.5916 | 2688205.2792 | 1234269.724
58 | 2688390.7785 | 1234244.5144 | 2688405.4702 | 1234233.6799 | 2688410.6952 | 1234229.0928
59 | 2688412.8802 | 1234227.1744 | 2688410.6952 | 1234229.0928
60 | 2688390.7785 | 1234244.5144 | 2688380.4932 | 1234252.0994 | 2688369.7939 | 1234260.1824
61 | 2688412.8802 | 1234227.1744 | 2688422.5038 | 1234217.4217 | 2688428.8607 | 1234208.515
62 | 2688369.7939 | 1234260.1824 | 2688361.7727 | 1234266.2423 | 2688347.8282 | 1234274.9544
63 | 2688329.777 | 1234110.1746 | 2688323.4089 | 1234101.5434 | 2688317.4947 | 1234093.4025
64 | 2688381.4142 | 1234214.7981 | 2688361.2778 | 1234228.5046
65 | 2688361.2778 | 1234228.5046 | 2688339.8975 | 1234243.0579
66 | 2688251.373 | 1234279.5987 | 2688229 | 1234292.1423
67 | 2688364.8327 | 1234130.7941 | 2688364.5357 | 1234131.0049
68 | 2688492.3644 | 1234315.0646 | 2688497.2228 | 1234328.5296
69 | 2688492.3644 | 1234315.0646 | 2688513.223 | 1234326.6374
70 | 2688477.6383 | 1234290.8187 | 2688492.3644 | 1234315.0646
71 | 2688497.2228 | 1234328.5296 | 2688497.2483 | 1234328.6003
72 | 2688477.6383 | 1234290.8187 | 2688472.0065 | 1234280.9708
73 | 2688500.0529 | 1234336.3732 | 2688497.2483 | 1234328.6003
74 | 2688463.3161 | 1234265.7747 | 2688456.013 | 1234270.416
75 | 2688463.3161 | 1234265.7747 | 2688472.0065 | 1234280.9708
76 | 2688456.013 | 1234270.416 | 2688436.0701 | 1234283.0902
77 | 2688436.0701 | 1234283.0902 | 2688429.6505 | 1234287.17
78 | 2688415.215 | 1234296.3441 | 2688406.1322 | 1234302.1164
79 | 2688415.215 | 1234296.3441 | 2688415.3333 | 1234296.2689
80 | 2688415.3333 | 1234296.2689 | 2688429.6505 | 1234287.17

## bus_geodata
| x | y | coords
0 | 2688323.0915 | 1234383.0289
1 | 2688323.4994 | 1234360.1849
2 | 2688344.4879 | 1234336.0463
3 | 2688314.1645 | 1234370.398
4 | 2688362.9519 | 1234347.7736
5 | 2688374.6883 | 1234348.2127
6 | 2688323.5289 | 1234309.3268
7 | 2688309.0067 | 1234310.99
8 | 2688313.6155 | 1234298.3717
9 | 2688402.1079 | 1234253.5039
10 | 2688346.7815 | 1234315.1988
11 | 2688381.7521 | 1234336.4006
12 | 2688290.7702 | 1234377.4623
13 | 2688326.8953 | 1234288.7729
14 | 2688317.9691 | 1234257.9842
15 | 2688284.8103 | 1234340.0846
16 | 2688294.7502 | 1234309.5438
17 | 2688399.3956 | 1234308.801
18 | 2688403.9091 | 1234366.5294
19 | 2688403.1817 | 1234373.6904
20 | 2688417.6949 | 1234359.2679
21 | 2688278.8972 | 1234387.351
22 | 2688252.3085 | 1234409.496
23 | 2688229.3363 | 1234381.7763
24 | 2688383.7238 | 1234171.9922
25 | 2688391.2337 | 1234170.8528
26 | 2688328.5676 | 1234155.3028
27 | 2688312.8008 | 1234165.2907
28 | 2688334.833 | 1234151.1877
29 | 2688309.8703 | 1234167.1472
30 | 2688351.8097 | 1234140.0374
31 | 2688243.1008 | 1234185.4618
32 | 2688231.3239 | 1234168.1015
33 | 2688254.4798 | 1234202.2358
34 | 2688219.7416 | 1234151.0279
35 | 2688267.2373 | 1234194.1542
36 | 2688255.8566 | 1234220.2211
37 | 2688210.0276 | 1234158.8971
38 | 2688245.0747 | 1234128.2911
39 | 2688284.8926 | 1234182.97
40 | 2688241.4818 | 1234237.247
41 | 2688291.4816 | 1234178.7959
42 | 2688209.8941 | 1234358.4833
43 | 2688212.9114 | 1234362.0982
44 | 2688197.2846 | 1234343.3764
45 | 2688194.4569 | 1234309.488
46 | 2688212.8461 | 1234301.1992
47 | 2688205.2792 | 1234269.724
48 | 2688410.6952 | 1234229.0928
49 | 2688390.7785 | 1234244.5144
50 | 2688412.8802 | 1234227.1744
51 | 2688369.7939 | 1234260.1824
52 | 2688428.8607 | 1234208.515
53 | 2688347.8282 | 1234274.9544
54 | 2688265.7891 | 1234109.6995
55 | 2688317.4947 | 1234093.4025
56 | 2688329.777 | 1234110.1746
57 | 2688222.4959 | 1234249.0968
58 | 2688381.4142 | 1234214.7981
59 | 2688361.2778 | 1234228.5046
60 | 2688339.8975 | 1234243.0579
61 | 2688229 | 1234292.1423
62 | 2688287.671 | 1234296.6972
63 | 2688251.373 | 1234279.5987
64 | 2688286.8056 | 1234308.7363
65 | 2688364.8327 | 1234130.7941
66 | 2688364.5357 | 1234131.0049
67 | 2688492.3644 | 1234315.0646
68 | 2688497.2228 | 1234328.5296
69 | 2688513.223 | 1234326.6374
70 | 2688477.6383 | 1234290.8187
71 | 2688497.2483 | 1234328.6003
72 | 2688463.3161 | 1234265.7747
73 | 2688456.013 | 1234270.416
74 | 2688472.0065 | 1234280.9708
75 | 2688436.0701 | 1234283.0902
76 | 2688406.1322 | 1234302.1164
77 | 2688415.215 | 1234296.3441
78 | 2688415.3333 | 1234296.2689
79 | 2688500.0529 | 1234336.3732
80 | 2688429.6505 | 1234287.17
81 | 2688431.7673 | 1234351.8556
82 | 2688313.6155 | 1234298.3717

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1