## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_295-52_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_295-52_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_295-52_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_295-52_0_3_node_35 | 0.4 | n |  | TRUE
4 | bus_LV_295-52_0_3_node_3 | 0.4 | n |  | TRUE
5 | bus_LV_295-52_0_3_node_4 | 0.4 | n |  | TRUE
6 | bus_LV_295-52_0_3_node_15 | 0.4 | n |  | TRUE
7 | bus_LV_295-52_0_3_node_14 | 0.4 | n |  | TRUE
8 | bus_LV_295-52_0_3_node_58 | 0.4 | n |  | TRUE
9 | bus_LV_295-52_0_3_node_59 | 0.4 | n |  | TRUE
10 | bus_LV_295-52_0_3_node_24 | 0.4 | n |  | TRUE
11 | bus_LV_295-52_0_3_node_32 | 0.4 | n |  | TRUE
12 | bus_LV_295-52_0_3_node_12 | 0.4 | n |  | TRUE
13 | bus_LV_295-52_0_3_node_25 | 0.4 | n |  | TRUE
14 | bus_LV_295-52_0_3_node_7 | 0.4 | n |  | TRUE
15 | bus_LV_295-52_0_3_node_5 | 0.4 | n |  | TRUE
16 | bus_LV_295-52_0_3_node_6 | 0.4 | n |  | TRUE
17 | bus_LV_295-52_0_3_node_8 | 0.4 | n |  | TRUE
18 | bus_LV_295-52_0_3_node_17 | 0.4 | n |  | TRUE
19 | bus_LV_295-52_0_3_node_13 | 0.4 | n |  | TRUE
20 | bus_LV_295-52_0_3_node_18 | 0.4 | n |  | TRUE
21 | bus_LV_295-52_0_3_node_11 | 0.4 | n |  | TRUE
22 | bus_LV_295-52_0_3_node_9 | 0.4 | n |  | TRUE
23 | bus_LV_295-52_0_3_node_10 | 0.4 | n |  | TRUE
24 | bus_LV_295-52_0_3_node_16 | 0.4 | n |  | TRUE
25 | bus_LV_295-52_0_3_node_26 | 0.4 | n |  | TRUE
26 | bus_LV_295-52_0_3_node_19 | 0.4 | n |  | TRUE
27 | bus_LV_295-52_0_3_node_20 | 0.4 | n |  | TRUE
28 | bus_LV_295-52_0_3_node_21 | 0.4 | n |  | TRUE
29 | bus_LV_295-52_0_3_node_22 | 0.4 | n |  | TRUE
30 | bus_LV_295-52_0_3_node_70 | 0.4 | n |  | TRUE
31 | bus_LV_295-52_0_3_node_69 | 0.4 | n |  | TRUE
32 | bus_LV_295-52_0_3_node_113 | 0.4 | n |  | TRUE
33 | bus_LV_295-52_0_3_node_23 | 0.4 | n |  | TRUE
34 | bus_LV_295-52_0_3_node_111 | 0.4 | n |  | TRUE
35 | bus_LV_295-52_0_3_node_112 | 0.4 | n |  | TRUE
36 | bus_LV_295-52_0_3_node_27 | 0.4 | n |  | TRUE
37 | bus_LV_295-52_0_3_node_28 | 0.4 | n |  | TRUE
38 | bus_LV_295-52_0_3_node_90 | 0.4 | n |  | TRUE
39 | bus_LV_295-52_0_3_node_29 | 0.4 | n |  | TRUE
40 | bus_LV_295-52_0_3_node_81 | 0.4 | n |  | TRUE
41 | bus_LV_295-52_0_3_node_89 | 0.4 | n |  | TRUE
42 | bus_LV_295-52_0_3_node_36 | 0.4 | n |  | TRUE
43 | bus_LV_295-52_0_3_node_37 | 0.4 | n |  | TRUE
44 | bus_LV_295-52_0_3_node_33 | 0.4 | n |  | TRUE
45 | bus_LV_295-52_0_3_node_91 | 0.4 | n |  | TRUE
46 | bus_LV_295-52_0_3_node_78 | 0.4 | n |  | TRUE
47 | bus_LV_295-52_0_3_node_30 | 0.4 | n |  | TRUE
48 | bus_LV_295-52_0_3_node_31 | 0.4 | n |  | TRUE
49 | bus_LV_295-52_0_3_node_34 | 0.4 | n |  | TRUE
50 | bus_LV_295-52_0_3_node_38 | 0.4 | n |  | TRUE
51 | bus_LV_295-52_0_3_node_98 | 0.4 | n |  | TRUE
52 | bus_LV_295-52_0_3_node_39 | 0.4 | n |  | TRUE
53 | bus_LV_295-52_0_3_node_40 | 0.4 | n |  | TRUE
54 | bus_LV_295-52_0_3_node_41 | 0.4 | n |  | TRUE
55 | bus_LV_295-52_0_3_node_42 | 0.4 | n |  | TRUE
56 | bus_LV_295-52_0_3_node_43 | 0.4 | n |  | TRUE
57 | bus_LV_295-52_0_3_node_60 | 0.4 | n |  | TRUE
58 | bus_LV_295-52_0_3_node_44 | 0.4 | n |  | TRUE
59 | bus_LV_295-52_0_3_node_109 | 0.4 | n |  | TRUE
60 | bus_LV_295-52_0_3_node_61 | 0.4 | n |  | TRUE
61 | bus_LV_295-52_0_3_node_45 | 0.4 | n |  | TRUE
62 | bus_LV_295-52_0_3_node_65 | 0.4 | n |  | TRUE
63 | bus_LV_295-52_0_3_node_114 | 0.4 | n |  | TRUE
64 | bus_LV_295-52_0_3_node_62 | 0.4 | n |  | TRUE
65 | bus_LV_295-52_0_3_node_100 | 0.4 | n |  | TRUE
66 | bus_LV_295-52_0_3_node_66 | 0.4 | n |  | TRUE
67 | bus_LV_295-52_0_3_node_46 | 0.4 | n |  | TRUE
68 | bus_LV_295-52_0_3_node_47 | 0.4 | n |  | TRUE
69 | bus_LV_295-52_0_3_node_48 | 0.4 | n |  | TRUE
70 | bus_LV_295-52_0_3_node_49 | 0.4 | n |  | TRUE
71 | bus_LV_295-52_0_3_node_50 | 0.4 | n |  | TRUE
72 | bus_LV_295-52_0_3_node_51 | 0.4 | n |  | TRUE
73 | bus_LV_295-52_0_3_node_64 | 0.4 | n |  | TRUE
74 | bus_LV_295-52_0_3_node_63 | 0.4 | n |  | TRUE
75 | bus_LV_295-52_0_3_node_74 | 0.4 | n |  | TRUE
76 | bus_LV_295-52_0_3_node_56 | 0.4 | n |  | TRUE
77 | bus_LV_295-52_0_3_node_71 | 0.4 | n |  | TRUE
78 | bus_LV_295-52_0_3_node_72 | 0.4 | n |  | TRUE
79 | bus_LV_295-52_0_3_node_54 | 0.4 | n |  | TRUE
80 | bus_LV_295-52_0_3_node_52 | 0.4 | n |  | TRUE
81 | bus_LV_295-52_0_3_node_53 | 0.4 | n |  | TRUE
82 | bus_LV_295-52_0_3_node_55 | 0.4 | n |  | TRUE
83 | bus_LV_295-52_0_3_node_57 | 0.4 | n |  | TRUE
84 | bus_LV_295-52_0_3_node_67 | 0.4 | n |  | TRUE
85 | bus_LV_295-52_0_3_node_68 | 0.4 | n |  | TRUE
86 | bus_LV_295-52_0_3_node_97 | 0.4 | n |  | TRUE
87 | bus_LV_295-52_0_3_node_115 | 0.4 | n |  | TRUE
88 | bus_LV_295-52_0_3_node_101 | 0.4 | n |  | TRUE
89 | bus_LV_295-52_0_3_node_73 | 0.4 | n |  | TRUE
90 | bus_LV_295-52_0_3_node_75 | 0.4 | n |  | TRUE
91 | bus_LV_295-52_0_3_node_82 | 0.4 | n |  | TRUE
92 | bus_LV_295-52_0_3_node_77 | 0.4 | n |  | TRUE
93 | bus_LV_295-52_0_3_node_83 | 0.4 | n |  | TRUE
94 | bus_LV_295-52_0_3_node_79 | 0.4 | n |  | TRUE
95 | bus_LV_295-52_0_3_node_76 | 0.4 | n |  | TRUE
96 | bus_LV_295-52_0_3_node_80 | 0.4 | n |  | TRUE
97 | bus_LV_295-52_0_3_node_110 | 0.4 | n |  | TRUE
98 | bus_LV_295-52_0_3_node_116 | 0.4 | n |  | TRUE
99 | bus_LV_295-52_0_3_node_84 | 0.4 | n |  | TRUE
100 | bus_LV_295-52_0_3_node_85 | 0.4 | n |  | TRUE
101 | bus_LV_295-52_0_3_node_99 | 0.4 | n |  | TRUE
102 | bus_LV_295-52_0_3_node_88 | 0.4 | n |  | TRUE
103 | bus_LV_295-52_0_3_node_92 | 0.4 | n |  | TRUE
104 | bus_LV_295-52_0_3_node_94 | 0.4 | n |  | TRUE
105 | bus_LV_295-52_0_3_node_96 | 0.4 | n |  | TRUE
106 | bus_LV_295-52_0_3_node_95 | 0.4 | n |  | TRUE
107 | bus_LV_295-52_0_3_node_105 | 0.4 | n |  | TRUE
108 | bus_LV_295-52_0_3_node_106 | 0.4 | n |  | TRUE
109 | bus_LV_295-52_0_3_node_107 | 0.4 | n |  | TRUE
110 | bus_LV_295-52_0_3_node_108 | 0.4 | n |  | TRUE
111 | bus_LV_295-52_0_3_node_104 | 0.4 | n |  | TRUE
112 | bus_LV_295-52_0_3_node_102 | 0.4 | n |  | TRUE
113 | bus_LV_295-52_0_3_node_103 | 0.4 | n |  | TRUE
114 | bus_MV_417_0_node_118 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_295-52_0_3_load_0 | 0 | 0.0010108 | 0.00025334 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_295-52_0_3_load_3 | 4 | 0.001364 | 0.00034186 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_295-52_0_3_load_4 | 5 | 0.00076835 | 0.00019257 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_295-52_0_3_load_15 | 6 | 0.00092227 | 0.00023114 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_295-52_0_3_load_58 | 8 | 0.0068402 | 0.0017143 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_295-52_0_3_load_59 | 9 | 0.0043485 | 0.0010898 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_295-52_0_3_load_24 | 10 | 0.0013987 | 0.00035054 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_295-52_0_3_load_25 | 13 | 0.0016896 | 0.00042345 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_295-52_0_3_load_7 | 14 | 0.00036107 | 9.0493e-05 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_295-52_0_3_load_5 | 15 | 0.00050431 | 0.00012639 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_295-52_0_3_load_6 | 16 | 0.00020404 | 5.1137e-05 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_295-52_0_3_load_13 | 19 | 0.00029021 | 7.2734e-05 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_295-52_0_3_load_18 | 20 | 0.0013351 | 0.00033461 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_295-52_0_3_load_11 | 21 | 0.0011341 | 0.00028422 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_295-52_0_3_load_9 | 22 | 0.00042149 | 0.00010564 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_295-52_0_3_load_10 | 23 | 0.00017835 | 4.4699e-05 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_295-52_0_3_load_16 | 24 | 0.00086207 | 0.00021606 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_295-52_0_3_load_26 | 25 | 0.00015015 | 3.7632e-05 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_295-52_0_3_load_19 | 26 | 0.0013717 | 0.00034379 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_295-52_0_3_load_20 | 27 | 0.0011523 | 0.0002888 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_295-52_0_3_load_70 | 30 | 0.0068598 | 0.0017192 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_295-52_0_3_load_113 | 32 | 0.0017502 | 0.00043864 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_295-52_0_3_load_112 | 35 | 0.0018645 | 0.00046729 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_295-52_0_3_load_27 | 36 | 0.0046934 | 0.0011763 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_295-52_0_3_load_90 | 38 | 0.0072359 | 0.0018135 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_295-52_0_3_load_29 | 39 | 0.0021992 | 0.00055117 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_295-52_0_3_load_89 | 41 | 0.0072388 | 0.0018142 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_295-52_0_3_load_37 | 43 | 0.0079465 | 0.0019916 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_295-52_0_3_load_91 | 45 | 0.009302 | 0.0023313 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_295-52_0_3_load_30 | 47 | 0.00053311 | 0.00013361 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_295-52_0_3_load_31 | 48 | 0.00037149 | 9.3104e-05 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_295-52_0_3_load_38 | 50 | 0.0013687 | 0.00034302 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_295-52_0_3_load_98 | 51 | 0.0034454 | 0.0008635 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_295-52_0_3_load_39 | 52 | 0.0043499 | 0.0010902 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_295-52_0_3_load_40 | 53 | 0.0027757 | 0.00069565 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_295-52_0_3_load_42 | 55 | 0.0027756 | 0.00069563 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_295-52_0_3_load_43 | 56 | 0.0043506 | 0.0010904 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_295-52_0_3_load_109 | 59 | 0.0027757 | 0.00069567 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_295-52_0_3_load_65 | 62 | 0.0014384 | 0.00036049 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_295-52_0_3_load_114 | 63 | 0.0060612 | 0.0015191 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_295-52_0_3_load_100 | 65 | 0.0025797 | 0.00064653 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_295-52_0_3_load_46 | 67 | 0.0048217 | 0.0012084 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_295-52_0_3_load_47 | 68 | 0.0048211 | 0.0012083 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_295-52_0_3_load_50 | 71 | 0.002535 | 0.00063533 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_295-52_0_3_load_51 | 72 | 0.0020606 | 0.00051644 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_295-52_0_3_load_63 | 74 | 0.0068617 | 0.0017197 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_295-52_0_3_load_74 | 75 | 0.00092935 | 0.00023292 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_295-52_0_3_load_71 | 77 | 0.0068593 | 0.0017191 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_295-52_0_3_load_72 | 78 | 0.0025361 | 0.0006356 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_295-52_0_3_load_52 | 80 | 0.0045946 | 0.0011515 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_295-52_0_3_load_53 | 81 | 0.002312 | 0.00057944 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_295-52_0_3_load_55 | 82 | 0.0023829 | 0.00059721 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_295-52_0_3_load_57 | 83 | 0.0042633 | 0.0010685 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_295-52_0_3_load_67 | 84 | 0.0023128 | 0.00057965 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_295-52_0_3_load_68 | 85 | 0.006306 | 0.0015804 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_295-52_0_3_load_115 | 87 | 0.0061877 | 0.0015508 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_295-52_0_3_load_73 | 89 | 0.0031786 | 0.00079662 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_295-52_0_3_load_82 | 91 | 0.0049943 | 0.0012517 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_295-52_0_3_load_76 | 95 | 0.0080272 | 0.0020118 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_295-52_0_3_load_110 | 97 | 0.0073699 | 0.0018471 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_295-52_0_3_load_116 | 98 | 0.0080087 | 0.0020072 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_295-52_0_3_load_84 | 99 | 0.0049616 | 0.0012435 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_295-52_0_3_load_85 | 100 | 0.003611 | 0.00090501 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_295-52_0_3_load_99 | 101 | 0.0037319 | 0.00093531 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_295-52_0_3_load_88 | 102 | 0.0072396 | 0.0018144 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_295-52_0_3_load_92 | 103 | 0.00079692 | 0.00019973 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_295-52_0_3_load_106 | 108 | 0.0019349 | 0.00048492 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_295-52_0_3_load_107 | 109 | 0.0019365 | 0.00048534 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_295-52_0_3_load_108 | 110 | 0.0025021 | 0.00062709 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_295-52_0_3_load_104 | 111 | 0.0011705 | 0.00029336 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_295-52_0_3_load_102 | 112 | 0.0025151 | 0.00063035 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_295-52_0_3_load_103 | 113 | 0.0024655 | 0.0006179 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 77 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_295-52_0_3_line_0 |  | 0 | 1 | 0.055861 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_295-52_0_3_line_1 |  | 0 | 2 | 0.011663 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_295-52_0_3_line_2 |  | 1 | 3 | 0.15554 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_295-52_0_3_line_3 |  | 2 | 4 | 0.02475 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_295-52_0_3_line_4 |  | 2 | 5 | 0.011252 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_295-52_0_3_line_5 |  | 3 | 10 | 0.011429 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_295-52_0_3_line_6 |  | 3 | 11 | 0.0235 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_295-52_0_3_line_7 |  | 4 | 12 | 0.095455 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_295-52_0_3_line_8 |  | 5 | 13 | 0.010817 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_295-52_0_3_line_9 |  | 6 | 7 | 0.012923 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_295-52_0_3_line_10 |  | 7 | 24 | 0.025126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_295-52_0_3_line_11 |  | 7 | 19 | 0.014207 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_295-52_0_3_line_12 |  | 8 | 9 | 0.035435 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_295-52_0_3_line_13 |  | 9 | 57 | 0.01342 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_295-52_0_3_line_14 |  | 10 | 33 | 0.096084 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_295-52_0_3_line_15 |  | 11 | 49 | 0.037582 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_295-52_0_3_line_16 |  | 11 | 47 | 0.037135 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_295-52_0_3_line_17 |  | 12 | 14 | 0.15544 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_295-52_0_3_line_18 |  | 14 | 15 | 0.042732 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_295-52_0_3_line_19 |  | 15 | 16 | 0.013762 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_295-52_0_3_line_20 |  | 16 | 17 | 0.013012 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_295-52_0_3_line_21 |  | 17 | 18 | 0.01885 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_295-52_0_3_line_22 |  | 17 | 19 | 0.014886 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_295-52_0_3_line_23 |  | 18 | 20 | 0.032517 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_295-52_0_3_line_24 |  | 18 | 21 | 0.023219 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_295-52_0_3_line_25 |  | 21 | 23 | 0.025947 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_295-52_0_3_line_26 |  | 22 | 23 | 0.15379 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_295-52_0_3_line_27 |  | 24 | 25 | 0.011646 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_295-52_0_3_line_28 |  | 26 | 27 | 0.0028082 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_295-52_0_3_line_29 |  | 26 | 28 | 0.082788 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_295-52_0_3_line_30 |  | 28 | 29 | 0.1348 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_295-52_0_3_line_31 |  | 29 | 32 | 0.045454 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_295-52_0_3_line_32 |  | 29 | 33 | 0.071966 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_295-52_0_3_line_33 |  | 29 | 34 | 0.095493 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_295-52_0_3_line_34 |  | 30 | 31 | 0.032613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_295-52_0_3_line_35 |  | 31 | 85 | 0.019205 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_295-52_0_3_line_36 |  | 31 | 73 | 0.02903 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_295-52_0_3_line_37 |  | 34 | 35 | 0.012717 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_295-52_0_3_line_38 |  | 36 | 37 | 0.039753 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
39 | LV_295-52_0_3_line_39 |  | 36 | 38 | 0.3113 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
40 | LV_295-52_0_3_line_40 |  | 37 | 39 | 0.047724 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_295-52_0_3_line_41 |  | 38 | 40 | 0.054311 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
42 | LV_295-52_0_3_line_42 |  | 38 | 41 | 0.032486 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_295-52_0_3_line_43 |  | 39 | 42 | 0.10665 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_295-52_0_3_line_44 |  | 40 | 45 | 0.049679 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_295-52_0_3_line_45 |  | 40 | 46 | 0.025533 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
46 | LV_295-52_0_3_line_46 |  | 41 | 102 | 0.034141 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_295-52_0_3_line_47 |  | 42 | 43 | 0.044201 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_295-52_0_3_line_48 |  | 42 | 44 | 0.00599 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_295-52_0_3_line_49 |  | 43 | 51 | 0.027526 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_295-52_0_3_line_50 |  | 44 | 48 | 0.083454 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_295-52_0_3_line_51 |  | 46 | 96 | 0.021739 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_295-52_0_3_line_52 |  | 46 | 95 | 0.0039455 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
53 | LV_295-52_0_3_line_53 |  | 47 | 48 | 0.016405 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_295-52_0_3_line_54 |  | 49 | 50 | 0.024812 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_295-52_0_3_line_55 |  | 52 | 53 | 0.0085892 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_295-52_0_3_line_56 |  | 52 | 54 | 0.01889 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_295-52_0_3_line_57 |  | 53 | 55 | 0.00040909 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_295-52_0_3_line_58 |  | 54 | 56 | 0.0178 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_295-52_0_3_line_59 |  | 55 | 57 | 0.014814 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_295-52_0_3_line_60 |  | 57 | 58 | 0.03931 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_295-52_0_3_line_61 |  | 58 | 59 | 0.00917 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_295-52_0_3_line_62 |  | 58 | 60 | 0.026347 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_295-52_0_3_line_63 |  | 58 | 61 | 0.021901 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_295-52_0_3_line_64 |  | 60 | 63 | 0.010547 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_295-52_0_3_line_65 |  | 60 | 64 | 0.002142 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_295-52_0_3_line_66 |  | 61 | 62 | 0.0024234 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_295-52_0_3_line_67 |  | 62 | 66 | 0.011817 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_295-52_0_3_line_68 |  | 64 | 65 | 0.020049 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_295-52_0_3_line_69 |  | 65 | 88 | 0.0017217 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_295-52_0_3_line_70 |  | 66 | 84 | 0.017256 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_295-52_0_3_line_71 |  | 66 | 82 | 0.03081 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_295-52_0_3_line_72 |  | 67 | 68 | 0.00097745 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
73 | LV_295-52_0_3_line_73 |  | 67 | 69 | 0.020677 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
74 | LV_295-52_0_3_line_74 |  | 68 | 70 | 0.025074 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
75 | LV_295-52_0_3_line_75 |  | 69 | 71 | 0.012924 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
76 | LV_295-52_0_3_line_76 |  | 69 | 72 | 0.0071828 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_295-52_0_3_line_77 |  | 70 | 73 | 0.024262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
78 | LV_295-52_0_3_line_78 |  | 70 | 74 | 0.023133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_295-52_0_3_line_79 |  | 71 | 75 | 0.015698 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
80 | LV_295-52_0_3_line_80 |  | 72 | 76 | 0.027922 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_295-52_0_3_line_81 |  | 73 | 77 | 0.020864 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
82 | LV_295-52_0_3_line_82 |  | 75 | 78 | 0.0074031 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
83 | LV_295-52_0_3_line_83 |  | 76 | 79 | 0.005805 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_295-52_0_3_line_84 |  | 78 | 89 | 0.058442 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
85 | LV_295-52_0_3_line_85 |  | 79 | 83 | 0.015249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_295-52_0_3_line_86 |  | 79 | 80 | 0.0089786 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_295-52_0_3_line_87 |  | 80 | 81 | 0.011006 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_295-52_0_3_line_88 |  | 81 | 82 | 0.021519 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_295-52_0_3_line_89 |  | 86 | 87 | 0.018181 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_295-52_0_3_line_90 |  | 86 | 88 | 0.001528 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_295-52_0_3_line_91 |  | 88 | 112 | 0.0015442 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_295-52_0_3_line_92 |  | 89 | 90 | 0.006655 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
93 | LV_295-52_0_3_line_93 |  | 90 | 91 | 0.024285 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_295-52_0_3_line_94 |  | 90 | 92 | 0.038236 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
95 | LV_295-52_0_3_line_95 |  | 91 | 93 | 0.055455 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_295-52_0_3_line_96 |  | 92 | 94 | 0.043613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_295-52_0_3_line_97 |  | 92 | 95 | 0.02804 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
98 | LV_295-52_0_3_line_98 |  | 93 | 99 | 0.029645 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_295-52_0_3_line_99 |  | 93 | 100 | 0.012923 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_295-52_0_3_line_100 |  | 94 | 97 | 0.007908 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_295-52_0_3_line_101 |  | 96 | 98 | 0.004167 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_295-52_0_3_line_102 |  | 100 | 101 | 0.0072955 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_295-52_0_3_line_103 |  | 103 | 104 | 0.016035 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_295-52_0_3_line_104 |  | 104 | 105 | 0.02054 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_295-52_0_3_line_105 |  | 105 | 109 | 0.013917 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_295-52_0_3_line_106 |  | 106 | 107 | 0.007874 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_295-52_0_3_line_107 |  | 106 | 108 | 0.057059 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
108 | LV_295-52_0_3_line_108 |  | 107 | 110 | 0.023421 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
109 | LV_295-52_0_3_line_109 |  | 107 | 111 | 0.050355 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
110 | LV_295-52_0_3_line_110 |  | 108 | 109 | 0.00034308 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
111 | LV_295-52_0_3_line_111 |  | 111 | 113 | 0.024554 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
112 | LV_295-52_0_3_line_112 |  | 112 | 113 | 0.0024704 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_295-52_0_3_trafo_71 | 0.63 MVA 20/0.4 kV | 114 | 77 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9
0 | 2689883.9315 | 1233568.9005 | 2689901.5531 | 1233569.7231 | 2689910.8244 | 1233570.475 | 2689917.9784 | 1233571.0503 | 2689939.6617 | 1233572.6378
1 | 2689951.294 | 1233573.4895 | 2689939.6617 | 1233572.6378
2 | 2689730.0408 | 1233546.3259 | 2689883.9315 | 1233568.9005
3 | 2689951.294 | 1233573.4895 | 2689972.9931 | 1233575.0412 | 2689975.9873 | 1233574.9521
4 | 2689951.294 | 1233573.4895 | 2689952.8763 | 1233566.4973 | 2689956.8237 | 1233565.4541
5 | 2689730.0408 | 1233546.3259 | 2689727.0242 | 1233542.0218 | 2689722.2863 | 1233538.0646
6 | 2689722.1623 | 1233566.6438 | 2689729.5365 | 1233559.6612 | 2689730.0408 | 1233546.3259
7 | 2690069.2692 | 1233555.2851 | 2690005.3216 | 1233569.6712 | 2689983.1435 | 1233574.7391 | 2689975.9873 | 1233574.9521
8 | 2689967.282 | 1233562.6904 | 2689956.8237 | 1233565.4541
9 | 2689977.4133 | 1233373.7083 | 2689971.4739 | 1233385.186
10 | 2689977.4133 | 1233373.7083 | 2689969.8746 | 1233358.0274 | 2689962.2026 | 1233357.1086
11 | 2689977.4133 | 1233373.7083 | 2689989.2532 | 1233365.8572
12 | 2689932.1203 | 1233930.9633 | 2689897.3169 | 1233937.6246
13 | 2689884.1358 | 1233940.1475 | 2689897.3169 | 1233937.6246
14 | 2689653.3816 | 1233472.4052 | 2689664.1092 | 1233490.0574 | 2689699.5666 | 1233519.1688 | 2689705.1009 | 1233523.7111 | 2689722.2863 | 1233538.0646
15 | 2689722.1623 | 1233566.6438 | 2689729.7837 | 1233595.9242 | 2689729.7336 | 1233603.2509
16 | 2689722.1623 | 1233566.6438 | 2689712.7259 | 1233574.8183 | 2689701.3038 | 1233581.6175 | 2689690.4808 | 1233585.0609
17 | 2690042.5687 | 1233402.1598 | 2690069.2692 | 1233555.2851
18 | 2690042.5687 | 1233402.1598 | 2690037.6387 | 1233405.2095 | 2690031.9521 | 1233405.7237 | 2690027.9747 | 1233403.8733 | 2690022.1318 | 1233392.7212 | 2690015.567 | 1233385.2276 | 2690014.2235 | 1233381.158
19 | 2690014.2235 | 1233381.158 | 2690012.4975 | 1233375.93 | 2690008.2903 | 1233368.8264
20 | 2690001.6594 | 1233357.6305 | 2690008.2903 | 1233368.8264
21 | 2690014.0505 | 1233343.3969 | 2690001.6594 | 1233357.6305
22 | 2690001.6594 | 1233357.6305 | 2689989.2532 | 1233365.8572
23 | 2690014.0505 | 1233343.3969 | 2690040.454 | 1233324.4176
24 | 2690014.0505 | 1233343.3969 | 2689999.1453 | 1233325.5933
25 | 2689984.5615 | 1233304.2761 | 2689990.9505 | 1233315.8051 | 2689999.1453 | 1233325.5933
26 | 2689984.5615 | 1233304.2761 | 2689909.1886 | 1233170.2192
27 | 2689962.2026 | 1233357.1086 | 2689950.6397 | 1233355.7237
28 | 2689602.617 | 1233301.5287 | 2689604.5355 | 1233299.478
29 | 2689665.5894 | 1233290.1701 | 2689637.1779 | 1233268.2148 | 2689621.0313 | 1233287.5074 | 2689615.8079 | 1233287.4286 | 2689604.5355 | 1233299.478
30 | 2689616.0442 | 1233411.2874 | 2689657.0253 | 1233321.2965 | 2689669.7358 | 1233293.3794 | 2689665.5894 | 1233290.1701
31 | 2689616.0442 | 1233411.2874 | 2689628.2617 | 1233404.4778 | 2689649.7503 | 1233381.3965
32 | 2689616.0442 | 1233411.2874 | 2689619.0449 | 1233413.145 | 2689638.0506 | 1233445.7105 | 2689653.3816 | 1233472.4052
33 | 2689530.0506 | 1233435.52 | 2689539.0019 | 1233437.4228 | 2689548.105 | 1233434.7803 | 2689569.3307 | 1233414.5412 | 2689574.4107 | 1233412.0715 | 2689603.889 | 1233409.4584 | 2689612.5994 | 1233410.7684 | 2689616.0442 | 1233411.2874
34 | 2689783.2625 | 1233973.9916 | 2689774.5945 | 1233946.3853 | 2689771.058 | 1233947.4438
35 | 2689783.2625 | 1233973.9916 | 2689784.7047 | 1233978.2497 | 2689798.6793 | 1233973.6598
36 | 2689759.0365 | 1233974.9152 | 2689761.8693 | 1233980.84 | 2689768.762 | 1233978.6314 | 2689774.6123 | 1233976.7629 | 2689779.9377 | 1233975.0643 | 2689783.2625 | 1233973.9916
37 | 2689530.0506 | 1233435.52 | 2689531.6188 | 1233422.9012
38 | 2689451.0121 | 1233683.2406 | 2689465.3419 | 1233720.3215
39 | 2689574.901 | 1234011.7033 | 2689465.3419 | 1233720.3215
40 | 2689451.0121 | 1233683.2406 | 2689456.5977 | 1233681.3677 | 2689496.2311 | 1233667.9831
41 | 2689624.8788 | 1233990.4463 | 2689609.1206 | 1233997.1691 | 2689574.901 | 1234011.7033
42 | 2689544.9678 | 1234024.3254 | 2689571.578 | 1234013.1146 | 2689574.901 | 1234011.7033
43 | 2689593.2436 | 1233626.2864 | 2689570.6992 | 1233643.1364 | 2689544.9129 | 1233651.5428 | 2689496.2311 | 1233667.9831
44 | 2689624.8788 | 1233990.4463 | 2689638.1223 | 1233983.2965 | 2689657.1089 | 1233975.8664 | 2689663.148 | 1233974.034 | 2689665.1947 | 1233974.3651 | 2689666.3433 | 1233975.5166 | 2689667.072 | 1233976.8952 | 2689668.9412 | 1233978.9582
45 | 2689624.8788 | 1233990.4463 | 2689630.9209 | 1234002.4572 | 2689635.5752 | 1234013.6131
46 | 2689513.522 | 1234037.6215 | 2689539.5235 | 1234026.6191 | 2689544.9678 | 1234024.3254
47 | 2689593.2436 | 1233626.2864 | 2689591.8677 | 1233611.5884 | 2689589.0611 | 1233607.4098 | 2689586.9074 | 1233603.6191 | 2689583.4984 | 1233600.7323 | 2689579.2397 | 1233600.4679 | 2689573.9117 | 1233603.8234 | 2689569.2137 | 1233605.5761
48 | 2689593.2436 | 1233626.2864 | 2689598.0303 | 1233622.667
49 | 2689565.8718 | 1233584.6774 | 2689560.3394 | 1233601.5951 | 2689563.9644 | 1233603.2175 | 2689569.2137 | 1233605.5761
50 | 2689598.0303 | 1233622.667 | 2689600.5066 | 1233621.637 | 2689615.681 | 1233614.5273 | 2689641.6113 | 1233604.6223 | 2689669.8248 | 1233592.9395 | 2689675.1088 | 1233590.7492
51 | 2689635.5752 | 1234013.6131 | 2689638.0811 | 1234011.6162 | 2689639.5525 | 1234006.4235 | 2689641.5871 | 1234007.555 | 2689649.5247 | 1234008.342 | 2689652.3543 | 1234008.4736
52 | 2689635.5752 | 1234013.6131 | 2689637.0948 | 1234017.2542
53 | 2689690.4808 | 1233585.0609 | 2689683.3869 | 1233587.3179 | 2689675.1088 | 1233590.7492
54 | 2689729.7336 | 1233603.2509 | 2689705.5554 | 1233608.8244
55 | 2689860.7861 | 1233944.8164 | 2689869.2085 | 1233943.1323
56 | 2689842.2624 | 1233948.5204 | 2689860.7861 | 1233944.8164
57 | 2689869.6097 | 1233943.0521 | 2689869.2085 | 1233943.1323
58 | 2689842.2624 | 1233948.5204 | 2689824.5503 | 1233950.291
59 | 2689884.1358 | 1233940.1475 | 2689869.6097 | 1233943.0521
60 | 2689884.1358 | 1233940.1475 | 2689886.8516 | 1233953.298 | 2689887.6232 | 1233956.3452 | 2689887.9722 | 1233959.7973 | 2689888.5273 | 1233963.6418 | 2689888.8886 | 1233966.2825 | 2689889.6448 | 1233970.3413 | 2689890.4026 | 1233973.7997 | 2689890.7144 | 1233975.2054 | 2689887.1205 | 1233975.5513
61 | 2689886.0925 | 1233966.4404 | 2689887.1205 | 1233975.5513
62 | 2689913.1174 | 1233978.6801 | 2689901.6497 | 1233976.027 | 2689890.7144 | 1233975.2054 | 2689887.1205 | 1233975.5513
63 | 2689867.632 | 1233981.1051 | 2689887.3273 | 1233977.4002 | 2689887.1205 | 1233975.5513
64 | 2689913.6806 | 1233968.4813 | 2689914.5968 | 1233974.9776 | 2689913.1174 | 1233978.6801
65 | 2689912.3226 | 1233980.6695 | 2689913.1174 | 1233978.6801
66 | 2689867.632 | 1233981.1051 | 2689865.3631 | 1233981.9563
67 | 2689854.2996 | 1233986.1071 | 2689865.3631 | 1233981.9563
68 | 2689912.3226 | 1233980.6695 | 2689925.2341 | 1233985.9798 | 2689930.761 | 1233988.5338
69 | 2689932.3239 | 1233989.2561 | 2689930.761 | 1233988.5338
70 | 2689854.2996 | 1233986.1071 | 2689852.6486 | 1233982.6352 | 2689847.8046 | 1233980.5382 | 2689839.6959 | 1233981.5497
71 | 2689854.2996 | 1233986.1071 | 2689825.5182 | 1233997.1032
72 | 2689742.6205 | 1234005.9028 | 2689742.8901 | 1234006.8424
73 | 2689748.5931 | 1234026.7169 | 2689742.8901 | 1234006.8424
74 | 2689735.7046 | 1233981.8012 | 2689742.6205 | 1234005.9028
75 | 2689748.5931 | 1234026.7169 | 2689736.3858 | 1234030.9603
76 | 2689748.5931 | 1234026.7169 | 2689755.2873 | 1234024.113
77 | 2689735.7046 | 1233981.8012 | 2689759.0365 | 1233974.9152
78 | 2689735.7046 | 1233981.8012 | 2689730.2068 | 1233983.386 | 2689725.1279 | 1233966.7315
79 | 2689736.3858 | 1234030.9603 | 2689721.5584 | 1234036.1145
80 | 2689781.3102 | 1234013.9908 | 2689755.2873 | 1234024.113
81 | 2689759.0365 | 1233974.9152 | 2689749.6741 | 1233957.1834 | 2689749.4213 | 1233956.4119
82 | 2689714.6917 | 1234038.874 | 2689719.8391 | 1234036.7122 | 2689721.5584 | 1234036.1145
83 | 2689781.3102 | 1234013.9908 | 2689786.7472 | 1234011.9159
84 | 2689714.6917 | 1234038.874 | 2689705.5531 | 1234042.7119 | 2689668.3052 | 1234073.821
85 | 2689788.8124 | 1234026.0461 | 2689790.6028 | 1234022.8041 | 2689786.7472 | 1234011.9159
86 | 2689786.7472 | 1234011.9159 | 2689795.1346 | 1234008.7114
87 | 2689795.1346 | 1234008.7114 | 2689805.4161 | 1234004.7833
88 | 2689805.4161 | 1234004.7833 | 2689825.5182 | 1233997.1032
89 | 2689936.5832 | 1233971.4633 | 2689938.2924 | 1233979.5839 | 2689937.2307 | 1233982.203 | 2689933.1984 | 1233988.0017
90 | 2689932.3239 | 1233989.2561 | 2689933.1984 | 1233988.0017
91 | 2689932.3239 | 1233989.2561 | 2689933.725 | 1233989.9052
92 | 2689663.1973 | 1234078.0871 | 2689668.3052 | 1234073.821
93 | 2689663.1973 | 1234078.0871 | 2689645.2826 | 1234088.7578 | 2689642.0404 | 1234089.8873
94 | 2689663.1973 | 1234078.0871 | 2689656.2932 | 1234065.5184 | 2689647.8943 | 1234043.1312
95 | 2689589.0563 | 1234106.167 | 2689620.4712 | 1234097.401 | 2689642.0404 | 1234089.8873
96 | 2689647.8943 | 1234043.1312 | 2689654.3764 | 1234043.5404 | 2689657.9301 | 1234041.8372 | 2689659.3113 | 1234038.1109 | 2689657.3736 | 1234034.568 | 2689656.316 | 1234031.9057 | 2689659.6503 | 1234030.1992 | 2689662.9547 | 1234030.4715 | 2689667.3974 | 1234028.5594 | 2689676.8905 | 1234024.0994
97 | 2689647.8943 | 1234043.1312 | 2689637.0948 | 1234017.2542
98 | 2689589.0563 | 1234106.167 | 2689560.8547 | 1234115.3034
99 | 2689589.0563 | 1234106.167 | 2689591.3131 | 1234099.5963 | 2689595.9429 | 1234095.8189 | 2689595.9429 | 1234095.8189
100 | 2689676.8905 | 1234024.0994 | 2689680.9749 | 1234030.877
101 | 2689652.3543 | 1234008.4736 | 2689653.9009 | 1234012.3442
102 | 2689595.9429 | 1234095.8189 | 2689602.9728 | 1234093.8687
103 | 2689935.4856 | 1234056.4521 | 2689951.1631 | 1234053.0845
104 | 2689923.6071 | 1234047.4326 | 2689925.2383 | 1234053.2058 | 2689926.8523 | 1234058.6119 | 2689935.4856 | 1234056.4521
105 | 2689923.6071 | 1234047.4326 | 2689937.1933 | 1234044.414
106 | 2689993.4995 | 1234024.0959 | 2689993.2289 | 1234031.9641
107 | 2689993.2289 | 1234031.9641 | 2689937.5282 | 1234044.3396
108 | 2689993.4995 | 1234024.0959 | 2689982.9986 | 1234021.1014 | 2689970.4586 | 1234020.2665
109 | 2689993.4995 | 1234024.0959 | 2689993.7207 | 1234017.4945 | 2689989.4894 | 1234006.9451 | 2689981.4219 | 1234001.2411 | 2689968.7698 | 1233999.8041 | 2689959.0575 | 1233998.7417
110 | 2689937.1933 | 1234044.414 | 2689937.5282 | 1234044.3396
111 | 2689935.9665 | 1233990.9438 | 2689940.4361 | 1233993.0148 | 2689953.3128 | 1233998.1134 | 2689959.0575 | 1233998.7417
112 | 2689933.725 | 1233989.9052 | 2689935.9665 | 1233990.9438

## bus_geodata
| x | y | coords
0 | 2689939.6617 | 1233572.6378
1 | 2689883.9315 | 1233568.9005
2 | 2689951.294 | 1233573.4895
3 | 2689730.0408 | 1233546.3259
4 | 2689975.9873 | 1233574.9521
5 | 2689956.8237 | 1233565.4541
6 | 2689971.4739 | 1233385.186
7 | 2689977.4133 | 1233373.7083
8 | 2689932.1203 | 1233930.9633
9 | 2689897.3169 | 1233937.6246
10 | 2689722.2863 | 1233538.0646
11 | 2689722.1623 | 1233566.6438
12 | 2690069.2692 | 1233555.2851
13 | 2689967.282 | 1233562.6904
14 | 2690042.5687 | 1233402.1598
15 | 2690014.2235 | 1233381.158
16 | 2690008.2903 | 1233368.8264
17 | 2690001.6594 | 1233357.6305
18 | 2690014.0505 | 1233343.3969
19 | 2689989.2532 | 1233365.8572
20 | 2690040.454 | 1233324.4176
21 | 2689999.1453 | 1233325.5933
22 | 2689909.1886 | 1233170.2192
23 | 2689984.5615 | 1233304.2761
24 | 2689962.2026 | 1233357.1086
25 | 2689950.6397 | 1233355.7237
26 | 2689604.5355 | 1233299.478
27 | 2689602.617 | 1233301.5287
28 | 2689665.5894 | 1233290.1701
29 | 2689616.0442 | 1233411.2874
30 | 2689771.058 | 1233947.4438
31 | 2689783.2625 | 1233973.9916
32 | 2689649.7503 | 1233381.3965
33 | 2689653.3816 | 1233472.4052
34 | 2689530.0506 | 1233435.52
35 | 2689531.6188 | 1233422.9012
36 | 2689465.3419 | 1233720.3215
37 | 2689451.0121 | 1233683.2406
38 | 2689574.901 | 1234011.7033
39 | 2689496.2311 | 1233667.9831
40 | 2689624.8788 | 1233990.4463
41 | 2689544.9678 | 1234024.3254
42 | 2689593.2436 | 1233626.2864
43 | 2689569.2137 | 1233605.5761
44 | 2689598.0303 | 1233622.667
45 | 2689668.9412 | 1233978.9582
46 | 2689635.5752 | 1234013.6131
47 | 2689690.4808 | 1233585.0609
48 | 2689675.1088 | 1233590.7492
49 | 2689729.7336 | 1233603.2509
50 | 2689705.5554 | 1233608.8244
51 | 2689565.8718 | 1233584.6774
52 | 2689860.7861 | 1233944.8164
53 | 2689869.2085 | 1233943.1323
54 | 2689842.2624 | 1233948.5204
55 | 2689869.6097 | 1233943.0521
56 | 2689824.5503 | 1233950.291
57 | 2689884.1358 | 1233940.1475
58 | 2689887.1205 | 1233975.5513
59 | 2689886.0925 | 1233966.4404
60 | 2689913.1174 | 1233978.6801
61 | 2689867.632 | 1233981.1051
62 | 2689865.3631 | 1233981.9563
63 | 2689913.6806 | 1233968.4813
64 | 2689912.3226 | 1233980.6695
65 | 2689930.761 | 1233988.5338
66 | 2689854.2996 | 1233986.1071
67 | 2689742.8901 | 1234006.8424
68 | 2689742.6205 | 1234005.9028
69 | 2689748.5931 | 1234026.7169
70 | 2689735.7046 | 1233981.8012
71 | 2689736.3858 | 1234030.9603
72 | 2689755.2873 | 1234024.113
73 | 2689759.0365 | 1233974.9152
74 | 2689725.1279 | 1233966.7315
75 | 2689721.5584 | 1234036.1145
76 | 2689781.3102 | 1234013.9908
77 | 2689749.4213 | 1233956.4119
78 | 2689714.6917 | 1234038.874
79 | 2689786.7472 | 1234011.9159
80 | 2689795.1346 | 1234008.7114
81 | 2689805.4161 | 1234004.7833
82 | 2689825.5182 | 1233997.1032
83 | 2689788.8124 | 1234026.0461
84 | 2689839.6959 | 1233981.5497
85 | 2689798.6793 | 1233973.6598
86 | 2689933.1984 | 1233988.0017
87 | 2689936.5832 | 1233971.4633
88 | 2689932.3239 | 1233989.2561
89 | 2689668.3052 | 1234073.821
90 | 2689663.1973 | 1234078.0871
91 | 2689642.0404 | 1234089.8873
92 | 2689647.8943 | 1234043.1312
93 | 2689589.0563 | 1234106.167
94 | 2689676.8905 | 1234024.0994
95 | 2689637.0948 | 1234017.2542
96 | 2689652.3543 | 1234008.4736
97 | 2689680.9749 | 1234030.877
98 | 2689653.9009 | 1234012.3442
99 | 2689560.8547 | 1234115.3034
100 | 2689595.9429 | 1234095.8189
101 | 2689602.9728 | 1234093.8687
102 | 2689513.522 | 1234037.6215
103 | 2689951.1631 | 1234053.0845
104 | 2689935.4856 | 1234056.4521
105 | 2689923.6071 | 1234047.4326
106 | 2689993.2289 | 1234031.9641
107 | 2689993.4995 | 1234024.0959
108 | 2689937.5282 | 1234044.3396
109 | 2689937.1933 | 1234044.414
110 | 2689970.4586 | 1234020.2665
111 | 2689959.0575 | 1233998.7417
112 | 2689933.725 | 1233989.9052
113 | 2689935.9665 | 1233990.9438
114 | 2689759.0365 | 1233974.9152

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1