## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_295-6_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_295-6_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_295-6_0_6_node_52 | 0.4 | n |  | TRUE
3 | bus_LV_295-6_0_6_node_2 | 0.4 | n |  | TRUE
4 | bus_LV_295-6_0_6_node_51 | 0.4 | n |  | TRUE
5 | bus_LV_295-6_0_6_node_50 | 0.4 | n |  | TRUE
6 | bus_LV_295-6_0_6_node_53 | 0.4 | n |  | TRUE
7 | bus_LV_295-6_0_6_node_6 | 0.4 | n |  | TRUE
8 | bus_LV_295-6_0_6_node_4 | 0.4 | n |  | TRUE
9 | bus_LV_295-6_0_6_node_3 | 0.4 | n |  | TRUE
10 | bus_LV_295-6_0_6_node_5 | 0.4 | n |  | TRUE
11 | bus_LV_295-6_0_6_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_295-6_0_6_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_295-6_0_6_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_295-6_0_6_node_10 | 0.4 | n |  | TRUE
15 | bus_LV_295-6_0_6_node_12 | 0.4 | n |  | TRUE
16 | bus_LV_295-6_0_6_node_11 | 0.4 | n |  | TRUE
17 | bus_LV_295-6_0_6_node_13 | 0.4 | n |  | TRUE
18 | bus_LV_295-6_0_6_node_14 | 0.4 | n |  | TRUE
19 | bus_LV_295-6_0_6_node_19 | 0.4 | n |  | TRUE
20 | bus_LV_295-6_0_6_node_17 | 0.4 | n |  | TRUE
21 | bus_LV_295-6_0_6_node_71 | 0.4 | n |  | TRUE
22 | bus_LV_295-6_0_6_node_15 | 0.4 | n |  | TRUE
23 | bus_LV_295-6_0_6_node_16 | 0.4 | n |  | TRUE
24 | bus_LV_295-6_0_6_node_18 | 0.4 | n |  | TRUE
25 | bus_LV_295-6_0_6_node_20 | 0.4 | n |  | TRUE
26 | bus_LV_295-6_0_6_node_21 | 0.4 | n |  | TRUE
27 | bus_LV_295-6_0_6_node_62 | 0.4 | n |  | TRUE
28 | bus_LV_295-6_0_6_node_64 | 0.4 | n |  | TRUE
29 | bus_LV_295-6_0_6_node_65 | 0.4 | n |  | TRUE
30 | bus_LV_295-6_0_6_node_60 | 0.4 | n |  | TRUE
31 | bus_LV_295-6_0_6_node_70 | 0.4 | n |  | TRUE
32 | bus_LV_295-6_0_6_node_69 | 0.4 | n |  | TRUE
33 | bus_LV_295-6_0_6_node_66 | 0.4 | n |  | TRUE
34 | bus_LV_295-6_0_6_node_67 | 0.4 | n |  | TRUE
35 | bus_LV_295-6_0_6_node_68 | 0.4 | n |  | TRUE
36 | bus_LV_295-6_0_6_node_113 | 0.4 | n |  | TRUE
37 | bus_LV_295-6_0_6_node_61 | 0.4 | n |  | TRUE
38 | bus_LV_295-6_0_6_node_63 | 0.4 | n |  | TRUE
39 | bus_LV_295-6_0_6_node_22 | 0.4 | n |  | TRUE
40 | bus_LV_295-6_0_6_node_23 | 0.4 | n |  | TRUE
41 | bus_LV_295-6_0_6_node_24 | 0.4 | n |  | TRUE
42 | bus_LV_295-6_0_6_node_25 | 0.4 | n |  | TRUE
43 | bus_LV_295-6_0_6_node_26 | 0.4 | n |  | TRUE
44 | bus_LV_295-6_0_6_node_115 | 0.4 | n |  | TRUE
45 | bus_LV_295-6_0_6_node_37 | 0.4 | n |  | TRUE
46 | bus_LV_295-6_0_6_node_103 | 0.4 | n |  | TRUE
47 | bus_LV_295-6_0_6_node_114 | 0.4 | n |  | TRUE
48 | bus_LV_295-6_0_6_node_38 | 0.4 | n |  | TRUE
49 | bus_LV_295-6_0_6_node_102 | 0.4 | n |  | TRUE
50 | bus_LV_295-6_0_6_node_28 | 0.4 | n |  | TRUE
51 | bus_LV_295-6_0_6_node_29 | 0.4 | n |  | TRUE
52 | bus_LV_295-6_0_6_node_30 | 0.4 | n |  | TRUE
53 | bus_LV_295-6_0_6_node_87 | 0.4 | n |  | TRUE
54 | bus_LV_295-6_0_6_node_94 | 0.4 | n |  | TRUE
55 | bus_LV_295-6_0_6_node_91 | 0.4 | n |  | TRUE
56 | bus_LV_295-6_0_6_node_85 | 0.4 | n |  | TRUE
57 | bus_LV_295-6_0_6_node_31 | 0.4 | n |  | TRUE
58 | bus_LV_295-6_0_6_node_32 | 0.4 | n |  | TRUE
59 | bus_LV_295-6_0_6_node_33 | 0.4 | n |  | TRUE
60 | bus_LV_295-6_0_6_node_39 | 0.4 | n |  | TRUE
61 | bus_LV_295-6_0_6_node_34 | 0.4 | n |  | TRUE
62 | bus_LV_295-6_0_6_node_36 | 0.4 | n |  | TRUE
63 | bus_LV_295-6_0_6_node_101 | 0.4 | n |  | TRUE
64 | bus_LV_295-6_0_6_node_35 | 0.4 | n |  | TRUE
65 | bus_LV_295-6_0_6_node_108 | 0.4 | n |  | TRUE
66 | bus_LV_295-6_0_6_node_109 | 0.4 | n |  | TRUE
67 | bus_LV_295-6_0_6_node_104 | 0.4 | n |  | TRUE
68 | bus_LV_295-6_0_6_node_99 | 0.4 | n |  | TRUE
69 | bus_LV_295-6_0_6_node_48 | 0.4 | n |  | TRUE
70 | bus_LV_295-6_0_6_node_110 | 0.4 | n |  | TRUE
71 | bus_LV_295-6_0_6_node_96 | 0.4 | n |  | TRUE
72 | bus_LV_295-6_0_6_node_47 | 0.4 | n |  | TRUE
73 | bus_LV_295-6_0_6_node_95 | 0.4 | n |  | TRUE
74 | bus_LV_295-6_0_6_node_93 | 0.4 | n |  | TRUE
75 | bus_LV_295-6_0_6_node_41 | 0.4 | n |  | TRUE
76 | bus_LV_295-6_0_6_node_42 | 0.4 | n |  | TRUE
77 | bus_LV_295-6_0_6_node_43 | 0.4 | n |  | TRUE
78 | bus_LV_295-6_0_6_node_116 | 0.4 | n |  | TRUE
79 | bus_LV_295-6_0_6_node_111 | 0.4 | n |  | TRUE
80 | bus_LV_295-6_0_6_node_44 | 0.4 | n |  | TRUE
81 | bus_LV_295-6_0_6_node_45 | 0.4 | n |  | TRUE
82 | bus_LV_295-6_0_6_node_46 | 0.4 | n |  | TRUE
83 | bus_LV_295-6_0_6_node_49 | 0.4 | n |  | TRUE
84 | bus_LV_295-6_0_6_node_58 | 0.4 | n |  | TRUE
85 | bus_LV_295-6_0_6_node_98 | 0.4 | n |  | TRUE
86 | bus_LV_295-6_0_6_node_79 | 0.4 | n |  | TRUE
87 | bus_LV_295-6_0_6_node_84 | 0.4 | n |  | TRUE
88 | bus_LV_295-6_0_6_node_77 | 0.4 | n |  | TRUE
89 | bus_LV_295-6_0_6_node_57 | 0.4 | n |  | TRUE
90 | bus_LV_295-6_0_6_node_86 | 0.4 | n |  | TRUE
91 | bus_LV_295-6_0_6_node_54 | 0.4 | n |  | TRUE
92 | bus_LV_295-6_0_6_node_55 | 0.4 | n |  | TRUE
93 | bus_LV_295-6_0_6_node_56 | 0.4 | n |  | TRUE
94 | bus_LV_295-6_0_6_node_74 | 0.4 | n |  | TRUE
95 | bus_LV_295-6_0_6_node_72 | 0.4 | n |  | TRUE
96 | bus_LV_295-6_0_6_node_59 | 0.4 | n |  | TRUE
97 | bus_LV_295-6_0_6_node_75 | 0.4 | n |  | TRUE
98 | bus_LV_295-6_0_6_node_73 | 0.4 | n |  | TRUE
99 | bus_LV_295-6_0_6_node_76 | 0.4 | n |  | TRUE
100 | bus_LV_295-6_0_6_node_78 | 0.4 | n |  | TRUE
101 | bus_LV_295-6_0_6_node_80 | 0.4 | n |  | TRUE
102 | bus_LV_295-6_0_6_node_81 | 0.4 | n |  | TRUE
103 | bus_LV_295-6_0_6_node_82 | 0.4 | n |  | TRUE
104 | bus_LV_295-6_0_6_node_83 | 0.4 | n |  | TRUE
105 | bus_LV_295-6_0_6_node_89 | 0.4 | n |  | TRUE
106 | bus_LV_295-6_0_6_node_88 | 0.4 | n |  | TRUE
107 | bus_LV_295-6_0_6_node_90 | 0.4 | n |  | TRUE
108 | bus_LV_295-6_0_6_node_92 | 0.4 | n |  | TRUE
109 | bus_LV_295-6_0_6_node_112 | 0.4 | n |  | TRUE
110 | bus_LV_295-6_0_6_node_97 | 0.4 | n |  | TRUE
111 | bus_LV_295-6_0_6_node_100 | 0.4 | n |  | TRUE
112 | bus_LV_295-6_0_6_node_105 | 0.4 | n |  | TRUE
113 | bus_LV_295-6_0_6_node_106 | 0.4 | n |  | TRUE
114 | bus_LV_295-6_0_6_node_107 | 0.4 | n |  | TRUE
115 | bus_MV_417_0_node_158 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_295-6_0_6_load_0 | 0 | 0.00048997 | 0.0001228 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_295-6_0_6_load_1 | 1 | 0.0003043 | 7.6264e-05 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_295-6_0_6_load_52 | 2 | 0.00078588 | 0.00019696 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_295-6_0_6_load_2 | 3 | 0.00017506 | 4.3875e-05 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_295-6_0_6_load_51 | 4 | 0.00072174 | 0.00018089 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_295-6_0_6_load_50 | 5 | 0.0031941 | 0.00080051 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_295-6_0_6_load_53 | 6 | 0.0016083 | 0.00040309 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_295-6_0_6_load_6 | 7 | 0.00019491 | 4.8849e-05 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_295-6_0_6_load_4 | 8 | 0.00037156 | 9.3122e-05 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_295-6_0_6_load_3 | 9 | 0.0002834 | 7.1027e-05 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_295-6_0_6_load_5 | 10 | 0.00042958 | 0.00010766 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_295-6_0_6_load_7 | 11 | 0.00047655 | 0.00011943 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_295-6_0_6_load_8 | 12 | 0.0022109 | 0.0005541 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_295-6_0_6_load_9 | 13 | 0.00075994 | 0.00019046 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_295-6_0_6_load_10 | 14 | 0.00063056 | 0.00015803 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_295-6_0_6_load_12 | 15 | 0.00022267 | 5.5806e-05 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_295-6_0_6_load_11 | 16 | 0.00025682 | 6.4366e-05 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_295-6_0_6_load_13 | 17 | 0.00058147 | 0.00014573 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_295-6_0_6_load_19 | 19 | 0.00032289 | 8.0925e-05 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_295-6_0_6_load_17 | 20 | 0.00025337 | 6.35e-05 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_295-6_0_6_load_71 | 21 | 0.00053059 | 0.00013298 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_295-6_0_6_load_15 | 22 | 0.00047832 | 0.00011988 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_295-6_0_6_load_16 | 23 | 0.00021542 | 5.399e-05 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_295-6_0_6_load_18 | 24 | 0.00054972 | 0.00013777 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_295-6_0_6_load_20 | 25 | 0.00096133 | 0.00024093 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_295-6_0_6_load_21 | 26 | 0.00065176 | 0.00016335 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_295-6_0_6_load_60 | 30 | 0.0019862 | 0.0004978 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_295-6_0_6_load_70 | 31 | 0.00030051 | 7.5314e-05 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_295-6_0_6_load_69 | 32 | 0.0012628 | 0.00031649 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_295-6_0_6_load_66 | 33 | 0.0018696 | 0.00046856 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_295-6_0_6_load_113 | 36 | 0.00057491 | 0.00014409 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_295-6_0_6_load_61 | 37 | 0.00022707 | 5.6909e-05 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_295-6_0_6_load_63 | 38 | 0.00065158 | 0.0001633 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_295-6_0_6_load_22 | 39 | 0.011384 | 0.002853 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_295-6_0_6_load_24 | 41 | 0.011634 | 0.0029158 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_295-6_0_6_load_25 | 42 | 0.009582 | 0.0024015 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_295-6_0_6_load_26 | 43 | 0.0085578 | 0.0021448 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_295-6_0_6_load_115 | 44 | 0.0024883 | 0.00062364 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_295-6_0_6_load_37 | 45 | 0.005727 | 0.0014353 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_295-6_0_6_load_103 | 46 | 0.0028778 | 0.00072124 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_295-6_0_6_load_114 | 47 | 0.0013025 | 0.00032644 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_295-6_0_6_load_38 | 48 | 0.0033022 | 0.00082762 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_295-6_0_6_load_102 | 49 | 0.011393 | 0.0028555 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_295-6_0_6_load_28 | 50 | 0.0037168 | 0.00093153 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_295-6_0_6_load_29 | 51 | 0.00055863 | 0.00014001 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_295-6_0_6_load_30 | 52 | 0.00078747 | 0.00019736 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_295-6_0_6_load_94 | 54 | 0.0033884 | 0.00084922 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_295-6_0_6_load_91 | 55 | 0.00099069 | 0.00024829 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_295-6_0_6_load_31 | 57 | 0.00077976 | 0.00019543 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_295-6_0_6_load_39 | 60 | 0.0026946 | 0.00067534 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_295-6_0_6_load_34 | 61 | 0.00066927 | 0.00016774 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_295-6_0_6_load_36 | 62 | 0.00086504 | 0.0002168 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_295-6_0_6_load_35 | 64 | 0.00088931 | 0.00022288 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_295-6_0_6_load_108 | 65 | 0.0010887 | 0.00027285 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_295-6_0_6_load_109 | 66 | 0.00092857 | 0.00023272 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_295-6_0_6_load_104 | 67 | 0.0026744 | 0.00067028 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_295-6_0_6_load_110 | 70 | 0.0013332 | 0.00033414 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_295-6_0_6_load_93 | 74 | 0.012526 | 0.0031393 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_295-6_0_6_load_116 | 78 | 0.0018 | 0.00045111 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_295-6_0_6_load_111 | 79 | 0.0018452 | 0.00046244 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_295-6_0_6_load_44 | 80 | 0.0414 | 0.010376 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_295-6_0_6_load_45 | 81 | 0.097655 | 0.024475 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_295-6_0_6_load_58 | 84 | 0.011865 | 0.0029736 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_295-6_0_6_load_98 | 85 | 0.0089646 | 0.0022468 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_295-6_0_6_load_84 | 87 | 0.00075156 | 0.00018836 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_295-6_0_6_load_77 | 88 | 0.00097937 | 0.00024545 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_295-6_0_6_load_54 | 91 | 0.031968 | 0.0080119 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_295-6_0_6_load_55 | 92 | 0.0086698 | 0.0021728 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_295-6_0_6_load_56 | 93 | 0.0079486 | 0.0019921 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_295-6_0_6_load_74 | 94 | 0.012584 | 0.0031539 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_295-6_0_6_load_72 | 95 | 0.01258 | 0.0031528 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_295-6_0_6_load_75 | 97 | 0.012657 | 0.0031721 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_295-6_0_6_load_73 | 98 | 0.0065514 | 0.0016419 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_295-6_0_6_load_76 | 99 | 0.0016872 | 0.00042285 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_295-6_0_6_load_80 | 101 | 0.001322 | 0.00033133 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_295-6_0_6_load_81 | 102 | 0.0010052 | 0.00025191 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_295-6_0_6_load_82 | 103 | 0.00053092 | 0.00013306 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_295-6_0_6_load_83 | 104 | 0.0021196 | 0.00053123 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_295-6_0_6_load_89 | 105 | 0.0020104 | 0.00050384 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_295-6_0_6_load_88 | 106 | 0.0012959 | 0.00032478 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_295-6_0_6_load_92 | 108 | 0.0010861 | 0.00027219 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_295-6_0_6_load_112 | 109 | 0.0026361 | 0.00066067 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_295-6_0_6_load_97 | 110 | 0.010381 | 0.0026017 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_295-6_0_6_load_100 | 111 | 0.0058034 | 0.0014545 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_295-6_0_6_load_105 | 112 | 0.00048422 | 0.00012136 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_295-6_0_6_load_106 | 113 | 0.0022923 | 0.00057451 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_295-6_0_6_load_107 | 114 | 0.0026587 | 0.00066634 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 86 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_295-6_0_6_line_0 |  | 0 | 1 | 0.0069466 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_295-6_0_6_line_1 |  | 0 | 2 | 0.3796 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
2 | LV_295-6_0_6_line_2 |  | 1 | 3 | 0.0028868 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_295-6_0_6_line_3 |  | 2 | 6 | 0.023715 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
4 | LV_295-6_0_6_line_4 |  | 3 | 7 | 0.0023966 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_295-6_0_6_line_5 |  | 4 | 5 | 0.07493 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_295-6_0_6_line_6 |  | 5 | 14 | 0.029687 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_295-6_0_6_line_7 |  | 6 | 90 | 0.241 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
8 | LV_295-6_0_6_line_8 |  | 7 | 8 | 0.022208 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_295-6_0_6_line_9 |  | 8 | 9 | 0.027598 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_295-6_0_6_line_10 |  | 9 | 10 | 0.024303 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_295-6_0_6_line_11 |  | 10 | 11 | 0.1077 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_295-6_0_6_line_12 |  | 11 | 12 | 0.051583 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_295-6_0_6_line_13 |  | 12 | 13 | 0.014222 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_295-6_0_6_line_14 |  | 12 | 14 | 0.012868 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_295-6_0_6_line_15 |  | 13 | 15 | 0.0017035 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_295-6_0_6_line_16 |  | 15 | 16 | 0.0031603 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_295-6_0_6_line_17 |  | 16 | 17 | 0.016699 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_295-6_0_6_line_18 |  | 17 | 18 | 0.039512 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_295-6_0_6_line_19 |  | 18 | 19 | 0.021297 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_295-6_0_6_line_20 |  | 18 | 20 | 0.012712 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_295-6_0_6_line_21 |  | 19 | 21 | 0.21774 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_295-6_0_6_line_22 |  | 20 | 22 | 0.019012 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_295-6_0_6_line_23 |  | 21 | 28 | 0.038441 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_295-6_0_6_line_24 |  | 22 | 23 | 0.010039 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_295-6_0_6_line_25 |  | 23 | 24 | 0.01092 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_295-6_0_6_line_26 |  | 24 | 25 | 0.00023725 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_295-6_0_6_line_27 |  | 25 | 26 | 0.01498 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_295-6_0_6_line_28 |  | 27 | 28 | 0.011167 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_295-6_0_6_line_29 |  | 27 | 29 | 0.076166 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_295-6_0_6_line_30 |  | 27 | 30 | 0.063546 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_295-6_0_6_line_31 |  | 28 | 31 | 0.023658 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_295-6_0_6_line_32 |  | 29 | 32 | 0.024895 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_295-6_0_6_line_33 |  | 30 | 37 | 0.018348 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_295-6_0_6_line_34 |  | 32 | 34 | 0.013506 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_295-6_0_6_line_35 |  | 33 | 34 | 0.023189 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_295-6_0_6_line_36 |  | 34 | 35 | 0.004141 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_295-6_0_6_line_37 |  | 35 | 36 | 0.017329 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_295-6_0_6_line_38 |  | 37 | 38 | 0.0037312 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_295-6_0_6_line_39 |  | 39 | 40 | 0.014599 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_295-6_0_6_line_40 |  | 39 | 41 | 0.019221 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_295-6_0_6_line_41 |  | 40 | 42 | 0.017403 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_295-6_0_6_line_42 |  | 40 | 43 | 0.0049373 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_295-6_0_6_line_43 |  | 41 | 44 | 0.070279 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_295-6_0_6_line_44 |  | 42 | 45 | 0.034724 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_295-6_0_6_line_45 |  | 43 | 46 | 0.030044 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_295-6_0_6_line_46 |  | 44 | 47 | 0.01272 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_295-6_0_6_line_47 |  | 45 | 48 | 0.0058713 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_295-6_0_6_line_48 |  | 46 | 49 | 0.004478 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_295-6_0_6_line_49 |  | 49 | 111 | 0.013561 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_295-6_0_6_line_50 |  | 50 | 51 | 0.022898 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_295-6_0_6_line_51 |  | 51 | 52 | 0.023924 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_295-6_0_6_line_52 |  | 52 | 53 | 0.04224 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_295-6_0_6_line_53 |  | 53 | 54 | 0.017548 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
54 | LV_295-6_0_6_line_54 |  | 53 | 55 | 0.018965 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
55 | LV_295-6_0_6_line_55 |  | 53 | 56 | 0.0575 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
56 | LV_295-6_0_6_line_56 |  | 54 | 90 | 0.073813 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
57 | LV_295-6_0_6_line_57 |  | 55 | 105 | 0.00032914 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
58 | LV_295-6_0_6_line_58 |  | 56 | 102 | 0.012161 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
59 | LV_295-6_0_6_line_59 |  | 57 | 58 | 0.051622 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_295-6_0_6_line_60 |  | 57 | 59 | 0.0086175 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_295-6_0_6_line_61 |  | 57 | 60 | 0.055088 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_295-6_0_6_line_62 |  | 58 | 61 | 0.040818 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_295-6_0_6_line_63 |  | 59 | 62 | 0.080734 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_295-6_0_6_line_64 |  | 61 | 63 | 0.030788 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_295-6_0_6_line_65 |  | 62 | 66 | 0.023717 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_295-6_0_6_line_66 |  | 63 | 67 | 0.027626 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_295-6_0_6_line_67 |  | 63 | 68 | 0.014685 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_295-6_0_6_line_68 |  | 64 | 65 | 0.0097714 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_295-6_0_6_line_69 |  | 65 | 69 | 0.050931 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_295-6_0_6_line_70 |  | 66 | 70 | 0.014976 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_295-6_0_6_line_71 |  | 67 | 112 | 0.022809 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_295-6_0_6_line_72 |  | 68 | 111 | 0.033162 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
73 | LV_295-6_0_6_line_73 |  | 68 | 110 | 0.0042588 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
74 | LV_295-6_0_6_line_74 |  | 69 | 82 | 0.021212 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_295-6_0_6_line_75 |  | 70 | 77 | 0.013931 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_295-6_0_6_line_76 |  | 71 | 72 | 0.01663 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
77 | LV_295-6_0_6_line_77 |  | 71 | 73 | 0.006404 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
78 | LV_295-6_0_6_line_78 |  | 71 | 74 | 0.029712 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
79 | LV_295-6_0_6_line_79 |  | 72 | 81 | 0.0024448 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
80 | LV_295-6_0_6_line_80 |  | 73 | 85 | 0.023181 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
81 | LV_295-6_0_6_line_81 |  | 74 | 107 | 0.01617 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
82 | LV_295-6_0_6_line_82 |  | 75 | 76 | 0.037597 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_295-6_0_6_line_83 |  | 75 | 77 | 0.025228 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_295-6_0_6_line_84 |  | 76 | 78 | 0.011957 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_295-6_0_6_line_85 |  | 77 | 79 | 0.031008 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_295-6_0_6_line_86 |  | 80 | 81 | 0.013412 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
87 | LV_295-6_0_6_line_87 |  | 80 | 82 | 0.0059884 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
88 | LV_295-6_0_6_line_88 |  | 82 | 83 | 0.020575 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
89 | LV_295-6_0_6_line_89 |  | 83 | 84 | 0.069255 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
90 | LV_295-6_0_6_line_90 |  | 84 | 89 | 0.0039881 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
91 | LV_295-6_0_6_line_91 |  | 85 | 110 | 0.0077111 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
92 | LV_295-6_0_6_line_92 |  | 86 | 87 | 0.013778 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_295-6_0_6_line_93 |  | 86 | 88 | 0.040414 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
94 | LV_295-6_0_6_line_94 |  | 88 | 99 | 4.048e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
95 | LV_295-6_0_6_line_95 |  | 89 | 96 | 0.005554 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
96 | LV_295-6_0_6_line_96 |  | 91 | 92 | 0.0042137 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_295-6_0_6_line_97 |  | 92 | 93 | 0.038547 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
98 | LV_295-6_0_6_line_98 |  | 93 | 94 | 0.095441 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
99 | LV_295-6_0_6_line_99 |  | 94 | 95 | 0.021203 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
100 | LV_295-6_0_6_line_100 |  | 95 | 98 | 0.0087713 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
101 | LV_295-6_0_6_line_101 |  | 96 | 97 | 0.010725 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_295-6_0_6_line_102 |  | 96 | 98 | 0.032802 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
103 | LV_295-6_0_6_line_103 |  | 99 | 100 | 0.01004 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
104 | LV_295-6_0_6_line_104 |  | 100 | 101 | 0.01142 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_295-6_0_6_line_105 |  | 100 | 102 | 0.027445 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
106 | LV_295-6_0_6_line_106 |  | 101 | 103 | 2.0115e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_295-6_0_6_line_107 |  | 103 | 104 | 0.029488 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
108 | LV_295-6_0_6_line_108 |  | 105 | 106 | 0.048938 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
109 | LV_295-6_0_6_line_109 |  | 106 | 107 | 0.063622 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
110 | LV_295-6_0_6_line_110 |  | 107 | 108 | 0.018746 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
111 | LV_295-6_0_6_line_111 |  | 108 | 109 | 0.0038091 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
112 | LV_295-6_0_6_line_112 |  | 112 | 113 | 0.0013031 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
113 | LV_295-6_0_6_line_113 |  | 113 | 114 | 0.0030292 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_295-6_0_6_trafo_79 | 0.63 MVA 20/0.4 kV | 115 | 86 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2687692.4745 | 1230463.7553 | 2687692.0282 | 1230462.3188 | 2687690.7466 | 1230457.0295
1 | 2688071.6288 | 1230482.0939 | 2687692.4745 | 1230463.7553
2 | 2687690.7466 | 1230457.0295 | 2687690.0668 | 1230454.2238
3 | 2688071.6288 | 1230482.0939 | 2688092.1659 | 1230493.9517
4 | 2687689.5024 | 1230451.8946 | 2687690.0668 | 1230454.2238
5 | 2687660.4537 | 1230227.5099 | 2687671.8115 | 1230226.4661 | 2687684.8632 | 1230231.6844 | 2687695.4044 | 1230244.8046 | 2687704.9434 | 1230259.6112 | 2687702.9806 | 1230274.5071
6 | 2687660.4537 | 1230227.5099 | 2687653.9845 | 1230228.1044 | 2687641.2927 | 1230235.9785 | 2687633.0559 | 1230235.4443
7 | 2688245.7227 | 1230308.2113 | 2688092.1659 | 1230493.9517
8 | 2687689.5024 | 1230451.8946 | 2687688.0509 | 1230445.9042 | 2687685.9846 | 1230429.9939
9 | 2687679.7522 | 1230403.321 | 2687681.102 | 1230405.4955 | 2687684.3571 | 1230417.4631 | 2687685.9846 | 1230429.9939
10 | 2687679.7522 | 1230403.321 | 2687674.3313 | 1230394.5881 | 2687664.2214 | 1230384.8684
11 | 2687621.2496 | 1230286.1086 | 2687664.2214 | 1230384.8684
12 | 2687620.2146 | 1230234.6114 | 2687619.3058 | 1230258.7483 | 2687621.2496 | 1230286.1086
13 | 2687620.2146 | 1230234.6114 | 2687621.7498 | 1230220.4728
14 | 2687620.2146 | 1230234.6114 | 2687633.0559 | 1230235.4443
15 | 2687621.7498 | 1230220.4728 | 2687621.9337 | 1230218.7793
16 | 2687622.2749 | 1230215.6374 | 2687621.9337 | 1230218.7793
17 | 2687622.2749 | 1230215.6374 | 2687623.0811 | 1230208.2129 | 2687625.0308 | 1230199.1903
18 | 2687628.4208 | 1230159.991 | 2687628.8768 | 1230173.7629 | 2687626.3576 | 1230193.0505 | 2687625.0308 | 1230199.1903
19 | 2687628.4208 | 1230159.991 | 2687622.6894 | 1230146.9085 | 2687618.2583 | 1230141.4718
20 | 2687628.4208 | 1230159.991 | 2687641.133 | 1230159.9894
21 | 2687618.2583 | 1230141.4718 | 2687702.6335 | 1229940.742
22 | 2687641.133 | 1230159.9894 | 2687641.133 | 1230159.9894 | 2687651.7437 | 1230168.4073 | 2687655.0956 | 1230172.7265
23 | 2687739.6929 | 1229930.1478 | 2687702.6335 | 1229940.742
24 | 2687655.0956 | 1230172.7265 | 2687657.2601 | 1230175.5158 | 2687663.7605 | 1230175.2012
25 | 2687674.6677 | 1230174.6735 | 2687663.7605 | 1230175.2012
26 | 2687674.6677 | 1230174.6735 | 2687674.9046 | 1230174.662
27 | 2687674.9046 | 1230174.662 | 2687678.7451 | 1230174.4762 | 2687689.818 | 1230175.6556
28 | 2687739.6929 | 1229930.1478 | 2687747.9634 | 1229922.62
29 | 2687785.7164 | 1229862.5127 | 2687787.1439 | 1229866.4032 | 2687787.9574 | 1229871.3409 | 2687787.6575 | 1229875.7395 | 2687786.3459 | 1229881.4464 | 2687782.3698 | 1229889.5601 | 2687776.1537 | 1229896.9958 | 2687747.9634 | 1229922.62
30 | 2687747.9634 | 1229922.62 | 2687758.9051 | 1229928.1409 | 2687765.8685 | 1229928.5884 | 2687799.7165 | 1229918.4586 | 2687803.1814 | 1229920.3333 | 2687805.2968 | 1229924.9099
31 | 2687739.6929 | 1229930.1478 | 2687721.9651 | 1229945.8145
32 | 2687785.7164 | 1229862.5127 | 2687762.273 | 1229870.8884
33 | 2687805.2968 | 1229924.9099 | 2687812.9951 | 1229941.565
34 | 2687749.5541 | 1229875.4326 | 2687762.273 | 1229870.8884
35 | 2687749.5541 | 1229875.4326 | 2687738.0534 | 1229879.5436 | 2687727.6756 | 1229883.1168
36 | 2687749.5541 | 1229875.4326 | 2687748.4691 | 1229871.436
37 | 2687748.4691 | 1229871.436 | 2687744.1123 | 1229873.0062 | 2687732.1538 | 1229877.277
38 | 2687814.5606 | 1229944.9519 | 2687812.9951 | 1229941.565
39 | 2688454.9614 | 1230102.5525 | 2688440.6014 | 1230099.9197
40 | 2688421.6956 | 1230096.4535 | 2688440.6014 | 1230099.9197
41 | 2688454.9614 | 1230102.5525 | 2688451.1393 | 1230119.1073 | 2688451.0814 | 1230119.5154
42 | 2688454.9614 | 1230102.5525 | 2688459.6745 | 1230104.0236 | 2688459.6745 | 1230104.0236
43 | 2688421.6956 | 1230096.4535 | 2688354.5244 | 1230075.7852
44 | 2688451.0814 | 1230119.5154 | 2688449.7088 | 1230129.1931 | 2688448.8447 | 1230138.8982 | 2688448.832 | 1230150.4395 | 2688449.0376 | 1230154.0985
45 | 2688459.6745 | 1230104.0236 | 2688460.2127 | 1230109.0907 | 2688457.3914 | 1230121.0016 | 2688457.5554 | 1230124.2397 | 2688459.6845 | 1230127.2735 | 2688465.1019 | 1230129.2297
46 | 2688354.5244 | 1230075.7852 | 2688356.2581 | 1230063.1839
47 | 2688449.0376 | 1230154.0985 | 2688449.3668 | 1230159.9605
48 | 2688469.0177 | 1230131.3596 | 2688466.3005 | 1230129.6625 | 2688465.1019 | 1230129.2297
49 | 2688471.8026 | 1230144.568 | 2688470.2513 | 1230134.5024 | 2688469.0177 | 1230131.3596 | 2688469.0177 | 1230131.3596
50 | 2688300.2602 | 1230179.2208 | 2688301.2345 | 1230180.3785 | 2688311.3288 | 1230185.2541 | 2688311.789 | 1230195.0678 | 2688311.6452 | 1230195.3877
51 | 2688311.6452 | 1230195.3877 | 2688305.4977 | 1230209.062 | 2688301.1411 | 1230216.8585
52 | 2688301.9577 | 1230256.1204 | 2688294.6103 | 1230236.6754 | 2688294.8744 | 1230228.0733 | 2688301.1411 | 1230216.8585
53 | 2688301.9577 | 1230256.1204 | 2688284.41 | 1230256.0408
54 | 2688301.9577 | 1230256.1204 | 2688313.0732 | 1230249.8699 | 2688318.5231 | 1230246.8867
55 | 2688301.9577 | 1230256.1204 | 2688308.1993 | 1230263.8185 | 2688319.6173 | 1230276.4636 | 2688322.9478 | 1230295.5154 | 2688328.9655 | 1230305.0226
56 | 2688245.7227 | 1230308.2113 | 2688251.6498 | 1230299.8489 | 2688256.9507 | 1230274.4764 | 2688261.271 | 1230262.5988 | 2688266.5848 | 1230258.2969 | 2688274.7261 | 1230255.916 | 2688282.5577 | 1230256.0323 | 2688284.41 | 1230256.0408
57 | 2688318.5231 | 1230246.8867 | 2688318.8118 | 1230246.7287
58 | 2688328.9655 | 1230305.0226 | 2688334.0144 | 1230309.8788 | 2688339.021 | 1230311.1091
59 | 2688560.8304 | 1230154.1754 | 2688567.4097 | 1230159.0213 | 2688575.6963 | 1230192.1569 | 2688575.3234 | 1230201.4442
60 | 2688575.1569 | 1230210.0504 | 2688575.0337 | 1230208.6587 | 2688575.3234 | 1230201.4442
61 | 2688575.3234 | 1230201.4442 | 2688628.3472 | 1230186.5042
62 | 2688560.8304 | 1230154.1754 | 2688553.4138 | 1230155.6883 | 2688528.7786 | 1230171.3659 | 2688525.1165 | 1230173.0904
63 | 2688575.1569 | 1230210.0504 | 2688576.6934 | 1230215.7328 | 2688583.4066 | 1230223.2826 | 2688585.4407 | 1230232.1747 | 2688586.1883 | 1230247.5856 | 2688585.606 | 1230257.6841 | 2688579.4339 | 1230277.873 | 2688575.0085 | 1230285.6719
64 | 2688495.0886 | 1230166.3054 | 2688501.0523 | 1230167.7285 | 2688507.8197 | 1230169.108 | 2688521.0308 | 1230172.229 | 2688525.1165 | 1230173.0904
65 | 2688575.0085 | 1230285.6719 | 2688566.558 | 1230300.5639 | 2688563.0216 | 1230306.1304
66 | 2688495.0886 | 1230166.3054 | 2688499.607 | 1230163.037 | 2688500.457 | 1230162.427 | 2688513.2202 | 1230154.9339 | 2688518.4393 | 1230151.5814
67 | 2688495.0886 | 1230166.3054 | 2688483.514 | 1230175.3841
68 | 2688524.213 | 1230257.2935 | 2688527.3014 | 1230258.3275 | 2688533.0902 | 1230261.3157
69 | 2688476.4594 | 1230241.1366 | 2688486.421 | 1230243.7088 | 2688498.1258 | 1230245.7177 | 2688512.2536 | 1230250.8649 | 2688518.5422 | 1230255.395 | 2688524.213 | 1230257.2935
70 | 2688563.0216 | 1230306.1304 | 2688557.4118 | 1230314.9601 | 2688554.9915 | 1230318.7712 | 2688554.9915 | 1230318.7712
71 | 2688518.4393 | 1230151.5814 | 2688531.1189 | 1230143.4366 | 2688537.6452 | 1230139.2783
72 | 2688483.514 | 1230175.3841 | 2688480.8921 | 1230170.3415 | 2688473.973 | 1230154.7276 | 2688472.4205 | 1230148.5779 | 2688471.8026 | 1230144.568
73 | 2688483.514 | 1230175.3841 | 2688480.5846 | 1230178.4753
74 | 2688455.816 | 1230236.0148 | 2688466.1279 | 1230238.4699 | 2688476.4594 | 1230241.1366
75 | 2688556.2393 | 1230332.1325 | 2688553.8532 | 1230326.5264 | 2688554.9915 | 1230318.7712
76 | 2688451.5359 | 1230197.8242 | 2688451.756 | 1230201.8748 | 2688452.4707 | 1230214.4276
77 | 2688451.5359 | 1230197.8242 | 2688455.7248 | 1230197.3529 | 2688457.3773 | 1230198.8118
78 | 2688451.5359 | 1230197.8242 | 2688447.9237 | 1230198.2375 | 2688447.5345 | 1230203.0128 | 2688440.5195 | 1230201.9855 | 2688429.9048 | 1230199.0034 | 2688426.7709 | 1230198.5322
79 | 2688452.4707 | 1230214.4276 | 2688452.8451 | 1230216.8436
80 | 2688457.3773 | 1230198.8118 | 2688467.3419 | 1230189.4868 | 2688474.8042 | 1230183.5528
81 | 2688410.7809 | 1230196.1282 | 2688426.7709 | 1230198.5322
82 | 2688579.2816 | 1230339.4253 | 2688564.1004 | 1230360.7587 | 2688561.9558 | 1230371.9902
83 | 2688556.2393 | 1230332.1325 | 2688561.2352 | 1230336.977 | 2688567.3489 | 1230337.9799 | 2688574.8323 | 1230338.0692 | 2688579.2816 | 1230339.4253
84 | 2688549.9636 | 1230372.0006 | 2688561.9558 | 1230371.9902
85 | 2688556.2393 | 1230332.1325 | 2688530.629 | 1230349.6133
86 | 2688454.8989 | 1230230.097 | 2688452.8451 | 1230216.8436
87 | 2688455.816 | 1230236.0148 | 2688454.8989 | 1230230.097
88 | 2688455.816 | 1230236.0148 | 2688456.6243 | 1230241.2638 | 2688459.0515 | 1230256.3328
89 | 2688459.0515 | 1230256.3328 | 2688462.581 | 1230278.2674 | 2688470.6696 | 1230324.6047
90 | 2688471.3553 | 1230328.5334 | 2688470.6696 | 1230324.6047
91 | 2688480.5846 | 1230178.4753 | 2688478.7343 | 1230180.4276 | 2688474.8042 | 1230183.5528
92 | 2688382.2978 | 1230271.9138 | 2688394.4657 | 1230278.4437
93 | 2688394.4657 | 1230278.4437 | 2688370.9543 | 1230311.3152
94 | 2688370.9543 | 1230311.3152 | 2688370.9308 | 1230311.3481
95 | 2688465.8923 | 1230329.6195 | 2688471.3553 | 1230328.5334
96 | 2688424.8348 | 1230518.5425 | 2688426.1314 | 1230514.5332
97 | 2688426.1314 | 1230514.5332 | 2688429.938 | 1230502.7625 | 2688437.9896 | 1230477.8554
98 | 2688432.3626 | 1230382.5804 | 2688437.9896 | 1230477.8554
99 | 2688432.3626 | 1230382.5804 | 2688443.1031 | 1230364.299
100 | 2688443.1031 | 1230364.299 | 2688447.5462 | 1230356.7364
101 | 2688465.8923 | 1230329.6195 | 2688455.3249 | 1230331.6193
102 | 2688465.8923 | 1230329.6195 | 2688458.8132 | 1230338.5094 | 2688454.5684 | 1230344.784 | 2688447.5462 | 1230356.7364
103 | 2688365.0902 | 1230319.5139 | 2688370.9308 | 1230311.3481
104 | 2688365.0902 | 1230319.5139 | 2688360.6842 | 1230330.0501
105 | 2688365.0902 | 1230319.5139 | 2688350.7258 | 1230313.9854 | 2688339.021 | 1230311.1091
106 | 2688360.6842 | 1230330.0501 | 2688360.6764 | 1230330.0687
107 | 2688360.6764 | 1230330.0687 | 2688352.1376 | 1230350.4877 | 2688350.3499 | 1230357.623
108 | 2688351.8908 | 1230211.2329 | 2688336.3916 | 1230231.4922 | 2688323.7127 | 1230244.046 | 2688318.8118 | 1230246.7287
109 | 2688410.7809 | 1230196.1282 | 2688382.039 | 1230195.5784 | 2688365.8434 | 1230199.5628 | 2688352.0441 | 1230211.0325 | 2688351.8908 | 1230211.2329
110 | 2688410.7809 | 1230196.1282 | 2688404.6725 | 1230178.4051
111 | 2688403.4314 | 1230174.8039 | 2688404.6725 | 1230178.4051
112 | 2688538.7442 | 1230138.5781 | 2688537.6452 | 1230139.2783
113 | 2688541.2989 | 1230136.9503 | 2688538.7442 | 1230138.5781

## bus_geodata
| x | y | coords
0 | 2687692.4745 | 1230463.7553
1 | 2687690.7466 | 1230457.0295
2 | 2688071.6288 | 1230482.0939
3 | 2687690.0668 | 1230454.2238
4 | 2687702.9806 | 1230274.5071
5 | 2687660.4537 | 1230227.5099
6 | 2688092.1659 | 1230493.9517
7 | 2687689.5024 | 1230451.8946
8 | 2687685.9846 | 1230429.9939
9 | 2687679.7522 | 1230403.321
10 | 2687664.2214 | 1230384.8684
11 | 2687621.2496 | 1230286.1086
12 | 2687620.2146 | 1230234.6114
13 | 2687621.7498 | 1230220.4728
14 | 2687633.0559 | 1230235.4443
15 | 2687621.9337 | 1230218.7793
16 | 2687622.2749 | 1230215.6374
17 | 2687625.0308 | 1230199.1903
18 | 2687628.4208 | 1230159.991
19 | 2687618.2583 | 1230141.4718
20 | 2687641.133 | 1230159.9894
21 | 2687702.6335 | 1229940.742
22 | 2687655.0956 | 1230172.7265
23 | 2687663.7605 | 1230175.2012
24 | 2687674.6677 | 1230174.6735
25 | 2687674.9046 | 1230174.662
26 | 2687689.818 | 1230175.6556
27 | 2687747.9634 | 1229922.62
28 | 2687739.6929 | 1229930.1478
29 | 2687785.7164 | 1229862.5127
30 | 2687805.2968 | 1229924.9099
31 | 2687721.9651 | 1229945.8145
32 | 2687762.273 | 1229870.8884
33 | 2687727.6756 | 1229883.1168
34 | 2687749.5541 | 1229875.4326
35 | 2687748.4691 | 1229871.436
36 | 2687732.1538 | 1229877.277
37 | 2687812.9951 | 1229941.565
38 | 2687814.5606 | 1229944.952
39 | 2688440.6014 | 1230099.9197
40 | 2688454.9614 | 1230102.5525
41 | 2688421.6956 | 1230096.4535
42 | 2688451.0814 | 1230119.5154
43 | 2688459.6745 | 1230104.0236
44 | 2688354.5244 | 1230075.7852
45 | 2688449.0376 | 1230154.0985
46 | 2688465.1019 | 1230129.2297
47 | 2688356.2581 | 1230063.1839
48 | 2688449.3668 | 1230159.9605
49 | 2688469.0177 | 1230131.3596
50 | 2688300.2602 | 1230179.2208
51 | 2688311.6452 | 1230195.3877
52 | 2688301.1411 | 1230216.8585
53 | 2688301.9577 | 1230256.1204
54 | 2688284.41 | 1230256.0408
55 | 2688318.5231 | 1230246.8867
56 | 2688328.9655 | 1230305.0226
57 | 2688575.3234 | 1230201.4442
58 | 2688560.8304 | 1230154.1754
59 | 2688575.1569 | 1230210.0504
60 | 2688628.3472 | 1230186.5043
61 | 2688525.1165 | 1230173.0904
62 | 2688575.0085 | 1230285.6719
63 | 2688495.0886 | 1230166.3054
64 | 2688533.0902 | 1230261.3157
65 | 2688524.213 | 1230257.2935
66 | 2688563.0216 | 1230306.1304
67 | 2688518.4393 | 1230151.5814
68 | 2688483.514 | 1230175.3841
69 | 2688476.4594 | 1230241.1366
70 | 2688554.9915 | 1230318.7712
71 | 2688451.5359 | 1230197.8242
72 | 2688452.4707 | 1230214.4276
73 | 2688457.3773 | 1230198.8118
74 | 2688426.7709 | 1230198.5322
75 | 2688579.2816 | 1230339.4253
76 | 2688561.9558 | 1230371.9902
77 | 2688556.2393 | 1230332.1325
78 | 2688549.9636 | 1230372.0006
79 | 2688530.629 | 1230349.6133
80 | 2688454.8989 | 1230230.097
81 | 2688452.8451 | 1230216.8436
82 | 2688455.816 | 1230236.0148
83 | 2688459.0515 | 1230256.3328
84 | 2688470.6696 | 1230324.6047
85 | 2688474.8042 | 1230183.5528
86 | 2688394.4657 | 1230278.4437
87 | 2688382.2978 | 1230271.9138
88 | 2688370.9543 | 1230311.3152
89 | 2688471.3553 | 1230328.5334
90 | 2688245.7227 | 1230308.2113
91 | 2688424.8348 | 1230518.5425
92 | 2688426.1314 | 1230514.5332
93 | 2688437.9895 | 1230477.8554
94 | 2688432.3626 | 1230382.5804
95 | 2688443.1031 | 1230364.299
96 | 2688465.8923 | 1230329.6195
97 | 2688455.3249 | 1230331.6193
98 | 2688447.5462 | 1230356.7364
99 | 2688370.9308 | 1230311.3481
100 | 2688365.0902 | 1230319.5139
101 | 2688360.6842 | 1230330.0501
102 | 2688339.021 | 1230311.1091
103 | 2688360.6764 | 1230330.0687
104 | 2688350.3499 | 1230357.623
105 | 2688318.8118 | 1230246.7287
106 | 2688351.8908 | 1230211.2329
107 | 2688410.7809 | 1230196.1282
108 | 2688404.6725 | 1230178.4051
109 | 2688403.4314 | 1230174.8039
110 | 2688480.5846 | 1230178.4753
111 | 2688471.8026 | 1230144.568
112 | 2688537.6452 | 1230139.2783
113 | 2688538.7442 | 1230138.5781
114 | 2688541.2989 | 1230136.9503
115 | 2688382.2978 | 1230271.9138

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1