## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_295-8_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_295-8_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_295-8_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_295-8_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_295-8_0_5_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_295-8_0_5_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_295-8_0_5_node_7 | 0.4 | n |  | TRUE
7 | bus_LV_295-8_0_5_node_20 | 0.4 | n |  | TRUE
8 | bus_LV_295-8_0_5_node_48 | 0.4 | n |  | TRUE
9 | bus_LV_295-8_0_5_node_52 | 0.4 | n |  | TRUE
10 | bus_LV_295-8_0_5_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_295-8_0_5_node_50 | 0.4 | n |  | TRUE
12 | bus_LV_295-8_0_5_node_17 | 0.4 | n |  | TRUE
13 | bus_LV_295-8_0_5_node_19 | 0.4 | n |  | TRUE
14 | bus_LV_295-8_0_5_node_15 | 0.4 | n |  | TRUE
15 | bus_LV_295-8_0_5_node_51 | 0.4 | n |  | TRUE
16 | bus_LV_295-8_0_5_node_18 | 0.4 | n |  | TRUE
17 | bus_LV_295-8_0_5_node_13 | 0.4 | n |  | TRUE
18 | bus_LV_295-8_0_5_node_21 | 0.4 | n |  | TRUE
19 | bus_LV_295-8_0_5_node_38 | 0.4 | n |  | TRUE
20 | bus_LV_295-8_0_5_node_9 | 0.4 | n |  | TRUE
21 | bus_LV_295-8_0_5_node_10 | 0.4 | n |  | TRUE
22 | bus_LV_295-8_0_5_node_12 | 0.4 | n |  | TRUE
23 | bus_LV_295-8_0_5_node_11 | 0.4 | n |  | TRUE
24 | bus_LV_295-8_0_5_node_25 | 0.4 | n |  | TRUE
25 | bus_LV_295-8_0_5_node_49 | 0.4 | n |  | TRUE
26 | bus_LV_295-8_0_5_node_26 | 0.4 | n |  | TRUE
27 | bus_LV_295-8_0_5_node_24 | 0.4 | n |  | TRUE
28 | bus_LV_295-8_0_5_node_14 | 0.4 | n |  | TRUE
29 | bus_LV_295-8_0_5_node_16 | 0.4 | n |  | TRUE
30 | bus_LV_295-8_0_5_node_29 | 0.4 | n |  | TRUE
31 | bus_LV_295-8_0_5_node_28 | 0.4 | n |  | TRUE
32 | bus_LV_295-8_0_5_node_27 | 0.4 | n |  | TRUE
33 | bus_LV_295-8_0_5_node_53 | 0.4 | n |  | TRUE
34 | bus_LV_295-8_0_5_node_22 | 0.4 | n |  | TRUE
35 | bus_LV_295-8_0_5_node_23 | 0.4 | n |  | TRUE
36 | bus_LV_295-8_0_5_node_39 | 0.4 | n |  | TRUE
37 | bus_LV_295-8_0_5_node_40 | 0.4 | n |  | TRUE
38 | bus_LV_295-8_0_5_node_47 | 0.4 | n |  | TRUE
39 | bus_LV_295-8_0_5_node_30 | 0.4 | n |  | TRUE
40 | bus_LV_295-8_0_5_node_31 | 0.4 | n |  | TRUE
41 | bus_LV_295-8_0_5_node_32 | 0.4 | n |  | TRUE
42 | bus_LV_295-8_0_5_node_35 | 0.4 | n |  | TRUE
43 | bus_LV_295-8_0_5_node_33 | 0.4 | n |  | TRUE
44 | bus_LV_295-8_0_5_node_36 | 0.4 | n |  | TRUE
45 | bus_LV_295-8_0_5_node_34 | 0.4 | n |  | TRUE
46 | bus_LV_295-8_0_5_node_44 | 0.4 | n |  | TRUE
47 | bus_LV_295-8_0_5_node_45 | 0.4 | n |  | TRUE
48 | bus_LV_295-8_0_5_node_42 | 0.4 | n |  | TRUE
49 | bus_LV_295-8_0_5_node_37 | 0.4 | n |  | TRUE
50 | bus_LV_295-8_0_5_node_41 | 0.4 | n |  | TRUE
51 | bus_LV_295-8_0_5_node_43 | 0.4 | n |  | TRUE
52 | bus_MV_417_0_node_119 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_295-8_0_5_load_0 | 0 | 0.0012632 | 0.00031659 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_295-8_0_5_load_7 | 6 | 0.00012474 | 3.1263e-05 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_295-8_0_5_load_48 | 8 | 0.0043205 | 0.0010828 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_295-8_0_5_load_52 | 9 | 0.08524 | 0.021363 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_295-8_0_5_load_6 | 10 | 0.0012588 | 0.00031548 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_295-8_0_5_load_50 | 11 | 0.00038861 | 9.7394e-05 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_295-8_0_5_load_51 | 15 | 0.0061459 | 0.0015403 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_295-8_0_5_load_13 | 17 | 0.0015963 | 0.00040007 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_295-8_0_5_load_9 | 20 | 0.099606 | 0.024964 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_295-8_0_5_load_11 | 23 | 0.022481 | 0.0056342 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_295-8_0_5_load_25 | 24 | 0.028773 | 0.0072113 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_295-8_0_5_load_49 | 25 | 0.00019361 | 4.8523e-05 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_295-8_0_5_load_14 | 28 | 0.00018122 | 4.5419e-05 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_295-8_0_5_load_16 | 29 | 0.00044578 | 0.00011172 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_295-8_0_5_load_27 | 32 | 0.00156 | 0.00039096 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_295-8_0_5_load_53 | 33 | 0.00011813 | 2.9606e-05 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_295-8_0_5_load_22 | 34 | 0.0044561 | 0.0011168 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_295-8_0_5_load_47 | 38 | 0.020303 | 0.0050884 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_295-8_0_5_load_31 | 40 | 0.0001405 | 3.5212e-05 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_295-8_0_5_load_32 | 41 | 0.00099189 | 0.00024859 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_295-8_0_5_load_35 | 42 | 0.00055348 | 0.00013872 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_295-8_0_5_load_33 | 43 | 0.0032263 | 0.0008086 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_295-8_0_5_load_36 | 44 | 0.0003139 | 7.8672e-05 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_295-8_0_5_load_45 | 47 | 0.002267 | 0.00056816 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_295-8_0_5_load_42 | 48 | 0.0012725 | 0.00031891 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_295-8_0_5_load_37 | 49 | 0.0002838 | 7.1128e-05 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_295-8_0_5_load_41 | 50 | 0.00036474 | 9.1412e-05 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_295-8_0_5_load_43 | 51 | 0.0014606 | 0.00036607 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 20 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_295-8_0_5_line_0 |  | 0 | 1 | 0.026357 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
1 | LV_295-8_0_5_line_1 |  | 0 | 2 | 0.014987 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_295-8_0_5_line_2 |  | 1 | 3 | 0.021909 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_295-8_0_5_line_3 |  | 1 | 4 | 0.063977 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
4 | LV_295-8_0_5_line_4 |  | 2 | 5 | 0.060159 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_295-8_0_5_line_5 |  | 3 | 6 | 0.032714 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_295-8_0_5_line_6 |  | 4 | 7 | 0.081489 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
7 | LV_295-8_0_5_line_7 |  | 4 | 8 | 0.030977 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
8 | LV_295-8_0_5_line_8 |  | 5 | 9 | 0.005865 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_295-8_0_5_line_9 |  | 6 | 10 | 0.0071819 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_295-8_0_5_line_10 |  | 7 | 11 | 0.02399 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
11 | LV_295-8_0_5_line_11 |  | 8 | 18 | 0.080324 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
12 | LV_295-8_0_5_line_12 |  | 11 | 12 | 0.011664 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
13 | LV_295-8_0_5_line_13 |  | 12 | 13 | 0.082417 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_295-8_0_5_line_14 |  | 12 | 14 | 0.13055 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
15 | LV_295-8_0_5_line_15 |  | 13 | 15 | 0.019281 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_295-8_0_5_line_16 |  | 14 | 16 | 0.033055 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
17 | LV_295-8_0_5_line_17 |  | 14 | 17 | 0.029557 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_295-8_0_5_line_18 |  | 16 | 22 | 0.080294 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
19 | LV_295-8_0_5_line_19 |  | 17 | 28 | 0.018744 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_295-8_0_5_line_20 |  | 18 | 19 | 0.18787 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
21 | LV_295-8_0_5_line_21 |  | 19 | 33 | 0.046114 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_295-8_0_5_line_22 |  | 19 | 26 | 0.20551 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
23 | LV_295-8_0_5_line_23 |  | 20 | 21 | 0.14831 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
24 | LV_295-8_0_5_line_24 |  | 21 | 22 | 0.007802 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
25 | LV_295-8_0_5_line_25 |  | 22 | 25 | 0.12227 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_295-8_0_5_line_26 |  | 23 | 24 | 0.033557 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_295-8_0_5_line_27 |  | 24 | 26 | 0.059087 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
28 | LV_295-8_0_5_line_28 |  | 25 | 27 | 0.079709 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_295-8_0_5_line_29 |  | 26 | 36 | 0.23514 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
30 | LV_295-8_0_5_line_30 |  | 27 | 35 | 0.40474 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_295-8_0_5_line_31 |  | 28 | 29 | 0.012246 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_295-8_0_5_line_32 |  | 29 | 30 | 0.097157 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_295-8_0_5_line_33 |  | 30 | 31 | 0.005753 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_295-8_0_5_line_34 |  | 31 | 39 | 0.011006 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_295-8_0_5_line_35 |  | 31 | 40 | 0.004954 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_295-8_0_5_line_36 |  | 31 | 32 | 0.015479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_295-8_0_5_line_37 |  | 34 | 35 | 0.006975 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_295-8_0_5_line_38 |  | 36 | 37 | 0.08687 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
39 | LV_295-8_0_5_line_39 |  | 37 | 38 | 0.022711 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_295-8_0_5_line_40 |  | 39 | 41 | 0.028582 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_295-8_0_5_line_41 |  | 40 | 42 | 0.020323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_295-8_0_5_line_42 |  | 41 | 43 | 0.036931 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_295-8_0_5_line_43 |  | 42 | 44 | 0.021393 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_295-8_0_5_line_44 |  | 43 | 45 | 0.088223 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_295-8_0_5_line_45 |  | 44 | 49 | 0.0095658 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_295-8_0_5_line_46 |  | 45 | 46 | 0.003862 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_295-8_0_5_line_47 |  | 46 | 47 | 0.064425 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_295-8_0_5_line_48 |  | 46 | 48 | 0.017733 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_295-8_0_5_line_49 |  | 48 | 51 | 0.013975 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_295-8_0_5_line_50 |  | 49 | 50 | 0.0059579 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_295-8_0_5_trafo_9 | 0.63 MVA 20/0.4 kV | 52 | 20 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25 | x26 | y26 | x27 | y27 | x28 | y28 | x29 | y29 | x30 | y30 | x31 | y31 | x32 | y32 | x33 | y33 | x34 | y34 | x35 | y35 | x36 | y36
0 | 2689179.6944 | 1233983.1671 | 2689175.8988 | 1233982.8321 | 2689157.1771 | 1233970.2679
1 | 2689144.7327 | 1233961.9163 | 2689157.1771 | 1233970.2679
2 | 2689188.4063 | 1233999.4539 | 2689179.8245 | 1233994.1658 | 2689177.7432 | 1233988.575 | 2689178.4035 | 1233984.9379 | 2689179.6944 | 1233983.1671
3 | 2689179.6944 | 1233983.1671 | 2689183.9979 | 1233983.9656 | 2689225.1729 | 1234013.4269 | 2689227.6917 | 1234015.0881 | 2689231.4776 | 1234017.58 | 2689232.6388 | 1234018.398
4 | 2689144.7327 | 1233961.9163 | 2689151.3696 | 1233953.5321 | 2689158.0543 | 1233944.4814 | 2689180.3401 | 1233913.438
5 | 2689188.4063 | 1233999.4539 | 2689170.6239 | 1234026.9132
6 | 2689232.6388 | 1234018.398 | 2689238.2144 | 1234021.1949 | 2689256.6685 | 1234033.5364 | 2689261.0824 | 1234027.4872 | 2689269.8127 | 1234031.9548 | 2689274.2222 | 1234034.2561 | 2689276.5629 | 1234029.132 | 2689286.6605 | 1234006.1005
7 | 2689232.6388 | 1234018.398 | 2689228.2167 | 1234024.4916 | 2689210.5428 | 1234039.9001
8 | 2689184.9748 | 1233909.8272 | 2689180.3401 | 1233913.438
9 | 2689166.72 | 1234032.9414 | 2689170.6239 | 1234026.9132
10 | 2689286.6605 | 1234006.1005 | 2689296.2421 | 1233984.107
11 | 2689218.3509 | 1234097.1288 | 2689215.664 | 1234086.492 | 2689192.1633 | 1234071.9288 | 2689188.6667 | 1234063.2813 | 2689193.9258 | 1234054.3872 | 2689210.5428 | 1234039.9001
12 | 2689300.9008 | 1233973.4133 | 2689296.2421 | 1233984.107
13 | 2689300.9008 | 1233973.4133 | 2689309.0658 | 1233977.2053 | 2689350.034 | 1233996.2236 | 2689349.1724 | 1233999.146 | 2689342.0253 | 1234023.3115
14 | 2689300.9008 | 1233973.4133 | 2689306.6812 | 1233959.0676 | 2689309.9043 | 1233948.6308 | 2689318.398 | 1233921.0053 | 2689326.7026 | 1233897.4021 | 2689346.4151 | 1233855.802 | 2689350.2268 | 1233857.5828
15 | 2689342.0253 | 1234023.3115 | 2689339.1277 | 1234022.6674 | 2689334.5839 | 1234021.2426 | 2689323.3789 | 1234018.2276
16 | 2689350.2268 | 1233857.5828 | 2689346.4151 | 1233855.802 | 2689358.9425 | 1233829.8161
17 | 2689350.2268 | 1233857.5828 | 2689361.6178 | 1233830.3092
18 | 2689358.9425 | 1233829.8161 | 2689356.5102 | 1233828.9456 | 2689343.8508 | 1233824.441 | 2689331.8079 | 1233819.7233 | 2689326.1456 | 1233816.1356 | 2689324.0887 | 1233813.9587 | 2689311.1149 | 1233797.6298 | 2689298.977 | 1233780.5908
19 | 2689368.8416 | 1233813.013 | 2689361.6178 | 1233830.3092
20 | 2689096.3765 | 1234038.6462 | 2689105.3355 | 1234054.6252 | 2689127.5234 | 1234081.0101 | 2689135.2227 | 1234097.1705 | 2689133.281 | 1234115.0653 | 2689135.2731 | 1234121.5554 | 2689142.1229 | 1234125.2051 | 2689177.9048 | 1234123.0292 | 2689186.9738 | 1234117.5392 | 2689202.6797 | 1234102.1416 | 2689218.3509 | 1234097.1288
21 | 2689096.3765 | 1234038.6462 | 2689098.3623 | 1234022.3532 | 2689115.7135 | 1233998.2182
22 | 2689049.2158 | 1233840.2976 | 2689047.5249 | 1233864.7119 | 2689058.7257 | 1233914.4931 | 2689063.6244 | 1233934.6698 | 2689076.2531 | 1233986.6518 | 2689096.3765 | 1234038.6462
23 | 2689293.4877 | 1233786.1457 | 2689301.8427 | 1233791.4194 | 2689303.3904 | 1233799.7709 | 2689291.3042 | 1233816.5569 | 2689266.286 | 1233847.9925 | 2689250.587 | 1233840.707 | 2689225.3607 | 1233827.5522 | 2689212.4775 | 1233846.9944
24 | 2689293.4877 | 1233786.1457 | 2689297.1417 | 1233782.3089 | 2689298.977 | 1233780.5908
25 | 2689298.977 | 1233780.5908 | 2689286.4124 | 1233761.2104 | 2689284.4336 | 1233756.355 | 2689283.166 | 1233752.0329 | 2689281.1109 | 1233741.6724 | 2689277.8773 | 1233721.0646 | 2689272.0114 | 1233709.8574 | 2689260.1603 | 1233693.3676 | 2689253.5396 | 1233680.4923 | 2689253.2996 | 1233677.8202 | 2689252.5996 | 1233669.9601
26 | 2689087.4052 | 1233795.6945 | 2689105.4985 | 1233767.4336
27 | 2689049.2158 | 1233840.2976 | 2689074.8479 | 1233815.3082 | 2689087.4052 | 1233795.6945
28 | 2689250.8215 | 1233596.3358 | 2689258.7117 | 1233604.3489 | 2689261.181 | 1233608.311 | 2689263.2594 | 1233613.6016 | 2689263.0262 | 1233621.059 | 2689262.7095 | 1233621.9771 | 2689259.2904 | 1233631.8439 | 2689253.9598 | 1233645.974 | 2689252.1559 | 1233658.7004 | 2689252.1464 | 1233664.8714 | 2689252.5996 | 1233669.9601
29 | 2688957.3607 | 1233883.4085 | 2688949.4794 | 1233870.2478 | 2688952.8933 | 1233862.2043 | 2688967.7266 | 1233854.0204 | 2688972.0652 | 1233835.2942 | 2688979.9757 | 1233820.7244 | 2688995.2764 | 1233798.0262 | 2689006.8405 | 1233789.749 | 2689009.654 | 1233820.7688 | 2689014.87 | 1233833.4338 | 2689026.6976 | 1233849.5002 | 2689037.2196 | 1233862.7561 | 2689043.2599 | 1233864.37 | 2689047.5249 | 1233864.7119 | 2689049.2158 | 1233840.2976
30 | 2689024.7393 | 1233474.4918 | 2689023.1631 | 1233480.1389 | 2689016.2298 | 1233486.0504 | 2689043.0715 | 1233511.7819 | 2689066.1261 | 1233533.0425 | 2689072.5989 | 1233542.1905 | 2689074.216 | 1233546.44 | 2689070.7902 | 1233552.2261 | 2689067.3352 | 1233556.9332 | 2689066.6866 | 1233561.3044 | 2689070.8921 | 1233563.1021 | 2689077.0271 | 1233561.4484 | 2689089.0784 | 1233559.094 | 2689097.3325 | 1233556.9939 | 2689114.447 | 1233550.746 | 2689123.4232 | 1233549.9801 | 2689135.9122 | 1233553.2697 | 2689140.6349 | 1233552.8958 | 2689142.6967 | 1233552.7377 | 2689145.609 | 1233546.8661 | 2689147.4432 | 1233527.5687 | 2689154.6864 | 1233511.11 | 2689162.3306 | 1233500.7172 | 2689175.9792 | 1233494.3619 | 2689179.9511 | 1233506.6747 | 2689181.455 | 1233525.5219 | 2689183.4959 | 1233533.3136 | 2689187.7641 | 1233537.4917 | 2689204.3258 | 1233546.8914 | 2689206.8306 | 1233549.4975 | 2689217.2901 | 1233558.8612 | 2689221.5909 | 1233570.4452 | 2689224.203 | 1233581.0364 | 2689227.9866 | 1233587.7313 | 2689235.8948 | 1233591.019 | 2689243.9392 | 1233593.8085 | 2689250.8215 | 1233596.3358
31 | 2689368.8416 | 1233813.013 | 2689373.561 | 1233801.7131
32 | 2689409.8324 | 1233711.8526 | 2689404.1869 | 1233731.793 | 2689397.8352 | 1233748.8542 | 2689387.8246 | 1233767.5614 | 2689373.561 | 1233801.7131
33 | 2689409.8324 | 1233711.8526 | 2689404.086 | 1233711.3324
34 | 2689405.5449 | 1233700.4244 | 2689404.086 | 1233711.3324
35 | 2689404.086 | 1233711.3324 | 2689399.157 | 1233710.8357
36 | 2689404.086 | 1233711.3324 | 2689403.7852 | 1233713.207 | 2689400.4308 | 1233726.3664
37 | 2689024.7393 | 1233474.4918 | 2689029.1785 | 1233469.1118
38 | 2688957.3607 | 1233883.4085 | 2688966.7329 | 1233898.6263 | 2688977.0427 | 1233931.6042 | 2688983.4296 | 1233961.1209 | 2688983.8888 | 1233965.3419
39 | 2688983.8888 | 1233965.3419 | 2689005.2922 | 1233957.7459
40 | 2689405.5449 | 1233700.4244 | 2689407.4412 | 1233671.9052
41 | 2689401.7194 | 1233690.6753 | 2689399.157 | 1233710.8357
42 | 2689407.4412 | 1233671.9052 | 2689408.5103 | 1233655.8259 | 2689412.411 | 1233635.3781
43 | 2689401.7194 | 1233690.6753 | 2689402.5494 | 1233684.1454 | 2689402.9842 | 1233669.3414 | 2689402.9842 | 1233669.3414
44 | 2689452.2435 | 1233560.2489 | 2689446.6971 | 1233563.5344 | 2689435.5993 | 1233573.4523 | 2689424.4581 | 1233590.2856 | 2689419.301 | 1233606.9422 | 2689418.1867 | 1233610.5502 | 2689413.0724 | 1233631.9108 | 2689412.411 | 1233635.3781
45 | 2689402.9842 | 1233669.3414 | 2689404.4686 | 1233659.8914
46 | 2689452.2435 | 1233560.2489 | 2689450.8744 | 1233556.6368
47 | 2689450.8744 | 1233556.6368 | 2689506.7449 | 1233524.5573
48 | 2689450.8744 | 1233556.6368 | 2689448.0783 | 1233549.245 | 2689447.8844 | 1233539.4173
49 | 2689452.482 | 1233527.8182 | 2689447.7262 | 1233531.3936 | 2689447.8844 | 1233539.4173
50 | 2689404.4686 | 1233659.8914 | 2689405.3931 | 1233654.0057

## bus_geodata
| x | y | coords
0 | 2689157.1771 | 1233970.2679
1 | 2689179.6944 | 1233983.1671
2 | 2689144.7327 | 1233961.9163
3 | 2689188.4063 | 1233999.4539
4 | 2689232.6388 | 1234018.398
5 | 2689180.3401 | 1233913.438
6 | 2689170.6239 | 1234026.9132
7 | 2689286.6605 | 1234006.1005
8 | 2689210.5428 | 1234039.9001
9 | 2689184.9748 | 1233909.8272
10 | 2689166.72 | 1234032.9414
11 | 2689296.2421 | 1233984.107
12 | 2689300.9008 | 1233973.4133
13 | 2689342.0253 | 1234023.3115
14 | 2689350.2268 | 1233857.5828
15 | 2689323.3789 | 1234018.2276
16 | 2689358.9425 | 1233829.8161
17 | 2689361.6178 | 1233830.3092
18 | 2689218.3509 | 1234097.1288
19 | 2689096.3765 | 1234038.6462
20 | 2689212.4775 | 1233846.9944
21 | 2689293.4877 | 1233786.1457
22 | 2689298.977 | 1233780.5908
23 | 2689105.4985 | 1233767.4336
24 | 2689087.4052 | 1233795.6945
25 | 2689252.5996 | 1233669.9601
26 | 2689049.2159 | 1233840.2976
27 | 2689250.8215 | 1233596.3358
28 | 2689368.8416 | 1233813.013
29 | 2689373.561 | 1233801.7131
30 | 2689409.8324 | 1233711.8526
31 | 2689404.086 | 1233711.3324
32 | 2689400.4308 | 1233726.3664
33 | 2689115.7135 | 1233998.2182
34 | 2689029.1785 | 1233469.1118
35 | 2689024.7393 | 1233474.4918
36 | 2688957.3607 | 1233883.4085
37 | 2688983.8888 | 1233965.3419
38 | 2689005.2922 | 1233957.7459
39 | 2689405.5449 | 1233700.4244
40 | 2689399.157 | 1233710.8357
41 | 2689407.4412 | 1233671.9052
42 | 2689401.7194 | 1233690.6753
43 | 2689412.411 | 1233635.3781
44 | 2689402.9842 | 1233669.3414
45 | 2689452.2435 | 1233560.2489
46 | 2689450.8744 | 1233556.6368
47 | 2689506.7449 | 1233524.5573
48 | 2689447.8844 | 1233539.4173
49 | 2689404.4686 | 1233659.8914
50 | 2689405.3931 | 1233654.0057
51 | 2689452.482 | 1233527.8182
52 | 2689203.7008 | 1233860.2394

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1