## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_295-9_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_295-9_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_295-9_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_295-9_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_295-9_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_295-9_0_3_node_11 | 0.4 | n |  | TRUE
6 | bus_LV_295-9_0_3_node_10 | 0.4 | n |  | TRUE
7 | bus_LV_295-9_0_3_node_6 | 0.4 | n |  | TRUE
8 | bus_LV_295-9_0_3_node_7 | 0.4 | n |  | TRUE
9 | bus_LV_295-9_0_3_node_8 | 0.4 | n |  | TRUE
10 | bus_LV_295-9_0_3_node_9 | 0.4 | n |  | TRUE
11 | bus_LV_295-9_0_3_node_31 | 0.4 | n |  | TRUE
12 | bus_LV_295-9_0_3_node_27 | 0.4 | n |  | TRUE
13 | bus_LV_295-9_0_3_node_22 | 0.4 | n |  | TRUE
14 | bus_LV_295-9_0_3_node_32 | 0.4 | n |  | TRUE
15 | bus_LV_295-9_0_3_node_196 | 0.4 | n |  | TRUE
16 | bus_LV_295-9_0_3_node_13 | 0.4 | n |  | TRUE
17 | bus_LV_295-9_0_3_node_20 | 0.4 | n |  | TRUE
18 | bus_LV_295-9_0_3_node_193 | 0.4 | n |  | TRUE
19 | bus_LV_295-9_0_3_node_194 | 0.4 | n |  | TRUE
20 | bus_LV_295-9_0_3_node_192 | 0.4 | n |  | TRUE
21 | bus_LV_295-9_0_3_node_12 | 0.4 | n |  | TRUE
22 | bus_LV_295-9_0_3_node_14 | 0.4 | n |  | TRUE
23 | bus_LV_295-9_0_3_node_15 | 0.4 | n |  | TRUE
24 | bus_LV_295-9_0_3_node_24 | 0.4 | n |  | TRUE
25 | bus_LV_295-9_0_3_node_116 | 0.4 | n |  | TRUE
26 | bus_LV_295-9_0_3_node_114 | 0.4 | n |  | TRUE
27 | bus_LV_295-9_0_3_node_16 | 0.4 | n |  | TRUE
28 | bus_LV_295-9_0_3_node_17 | 0.4 | n |  | TRUE
29 | bus_LV_295-9_0_3_node_18 | 0.4 | n |  | TRUE
30 | bus_LV_295-9_0_3_node_19 | 0.4 | n |  | TRUE
31 | bus_LV_295-9_0_3_node_21 | 0.4 | n |  | TRUE
32 | bus_LV_295-9_0_3_node_23 | 0.4 | n |  | TRUE
33 | bus_LV_295-9_0_3_node_28 | 0.4 | n |  | TRUE
34 | bus_LV_295-9_0_3_node_30 | 0.4 | n |  | TRUE
35 | bus_LV_295-9_0_3_node_172 | 0.4 | n |  | TRUE
36 | bus_LV_295-9_0_3_node_29 | 0.4 | n |  | TRUE
37 | bus_LV_295-9_0_3_node_152 | 0.4 | n |  | TRUE
38 | bus_LV_295-9_0_3_node_154 | 0.4 | n |  | TRUE
39 | bus_LV_295-9_0_3_node_26 | 0.4 | n |  | TRUE
40 | bus_LV_295-9_0_3_node_25 | 0.4 | n |  | TRUE
41 | bus_LV_295-9_0_3_node_186 | 0.4 | n |  | TRUE
42 | bus_LV_295-9_0_3_node_185 | 0.4 | n |  | TRUE
43 | bus_LV_295-9_0_3_node_150 | 0.4 | n |  | TRUE
44 | bus_LV_295-9_0_3_node_148 | 0.4 | n |  | TRUE
45 | bus_LV_295-9_0_3_node_149 | 0.4 | n |  | TRUE
46 | bus_LV_295-9_0_3_node_151 | 0.4 | n |  | TRUE
47 | bus_LV_295-9_0_3_node_147 | 0.4 | n |  | TRUE
48 | bus_LV_295-9_0_3_node_153 | 0.4 | n |  | TRUE
49 | bus_LV_295-9_0_3_node_155 | 0.4 | n |  | TRUE
50 | bus_LV_295-9_0_3_node_157 | 0.4 | n |  | TRUE
51 | bus_LV_295-9_0_3_node_166 | 0.4 | n |  | TRUE
52 | bus_LV_295-9_0_3_node_169 | 0.4 | n |  | TRUE
53 | bus_LV_295-9_0_3_node_159 | 0.4 | n |  | TRUE
54 | bus_LV_295-9_0_3_node_167 | 0.4 | n |  | TRUE
55 | bus_LV_295-9_0_3_node_168 | 0.4 | n |  | TRUE
56 | bus_LV_295-9_0_3_node_115 | 0.4 | n |  | TRUE
57 | bus_LV_295-9_0_3_node_117 | 0.4 | n |  | TRUE
58 | bus_LV_295-9_0_3_node_191 | 0.4 | n |  | TRUE
59 | bus_LV_295-9_0_3_node_190 | 0.4 | n |  | TRUE
60 | bus_LV_295-9_0_3_node_118 | 0.4 | n |  | TRUE
61 | bus_LV_295-9_0_3_node_119 | 0.4 | n |  | TRUE
62 | bus_LV_295-9_0_3_node_120 | 0.4 | n |  | TRUE
63 | bus_LV_295-9_0_3_node_121 | 0.4 | n |  | TRUE
64 | bus_LV_295-9_0_3_node_122 | 0.4 | n |  | TRUE
65 | bus_LV_295-9_0_3_node_123 | 0.4 | n |  | TRUE
66 | bus_LV_295-9_0_3_node_124 | 0.4 | n |  | TRUE
67 | bus_LV_295-9_0_3_node_125 | 0.4 | n |  | TRUE
68 | bus_LV_295-9_0_3_node_132 | 0.4 | n |  | TRUE
69 | bus_LV_295-9_0_3_node_139 | 0.4 | n |  | TRUE
70 | bus_LV_295-9_0_3_node_131 | 0.4 | n |  | TRUE
71 | bus_LV_295-9_0_3_node_126 | 0.4 | n |  | TRUE
72 | bus_LV_295-9_0_3_node_127 | 0.4 | n |  | TRUE
73 | bus_LV_295-9_0_3_node_128 | 0.4 | n |  | TRUE
74 | bus_LV_295-9_0_3_node_129 | 0.4 | n |  | TRUE
75 | bus_LV_295-9_0_3_node_130 | 0.4 | n |  | TRUE
76 | bus_LV_295-9_0_3_node_136 | 0.4 | n |  | TRUE
77 | bus_LV_295-9_0_3_node_138 | 0.4 | n |  | TRUE
78 | bus_LV_295-9_0_3_node_133 | 0.4 | n |  | TRUE
79 | bus_LV_295-9_0_3_node_134 | 0.4 | n |  | TRUE
80 | bus_LV_295-9_0_3_node_135 | 0.4 | n |  | TRUE
81 | bus_LV_295-9_0_3_node_137 | 0.4 | n |  | TRUE
82 | bus_LV_295-9_0_3_node_140 | 0.4 | n |  | TRUE
83 | bus_LV_295-9_0_3_node_141 | 0.4 | n |  | TRUE
84 | bus_LV_295-9_0_3_node_170 | 0.4 | n |  | TRUE
85 | bus_LV_295-9_0_3_node_158 | 0.4 | n |  | TRUE
86 | bus_LV_295-9_0_3_node_160 | 0.4 | n |  | TRUE
87 | bus_LV_295-9_0_3_node_161 | 0.4 | n |  | TRUE
88 | bus_LV_295-9_0_3_node_162 | 0.4 | n |  | TRUE
89 | bus_LV_295-9_0_3_node_163 | 0.4 | n |  | TRUE
90 | bus_LV_295-9_0_3_node_164 | 0.4 | n |  | TRUE
91 | bus_LV_295-9_0_3_node_187 | 0.4 | n |  | TRUE
92 | bus_LV_295-9_0_3_node_188 | 0.4 | n |  | TRUE
93 | bus_LV_295-9_0_3_node_189 | 0.4 | n |  | TRUE
94 | bus_MV_417_0_node_120 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_295-9_0_3_load_0 | 0 | 0.0033877 | 0.00084903 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_295-9_0_3_load_2 | 2 | 0.0046544 | 0.0011665 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_295-9_0_3_load_4 | 4 | 0.0023335 | 0.00058483 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_295-9_0_3_load_11 | 5 | 0.0045724 | 0.001146 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_295-9_0_3_load_10 | 6 | 0.0055487 | 0.0013906 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_295-9_0_3_load_6 | 7 | 0.001351 | 0.0003386 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_295-9_0_3_load_8 | 9 | 0.0028619 | 0.00071726 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_295-9_0_3_load_31 | 11 | 0.0016734 | 0.00041939 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_295-9_0_3_load_22 | 13 | 0.001547 | 0.00038771 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_295-9_0_3_load_32 | 14 | 0.0098011 | 0.0024564 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_295-9_0_3_load_196 | 15 | 0.012499 | 0.0031326 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_295-9_0_3_load_20 | 17 | 0.0019446 | 0.00048737 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_295-9_0_3_load_194 | 19 | 0.0043038 | 0.0010786 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_295-9_0_3_load_192 | 20 | 0.0073354 | 0.0018384 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_295-9_0_3_load_14 | 22 | 0.0040596 | 0.0010174 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_295-9_0_3_load_15 | 23 | 0.0061508 | 0.0015415 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_295-9_0_3_load_24 | 24 | 0.008156 | 0.0020441 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_295-9_0_3_load_116 | 25 | 0.0028971 | 0.00072607 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_295-9_0_3_load_114 | 26 | 0.0027961 | 0.00070077 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_295-9_0_3_load_16 | 27 | 0.0041179 | 0.001032 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_295-9_0_3_load_17 | 28 | 0.0087104 | 0.002183 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_295-9_0_3_load_18 | 29 | 0.012939 | 0.0032428 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_295-9_0_3_load_19 | 30 | 0.0054437 | 0.0013643 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_295-9_0_3_load_21 | 31 | 0.0030003 | 0.00075194 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_295-9_0_3_load_30 | 34 | 0.0058004 | 0.0014537 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_295-9_0_3_load_172 | 35 | 0.016199 | 0.0040597 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_295-9_0_3_load_26 | 39 | 0.0022111 | 0.00055415 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_295-9_0_3_load_25 | 40 | 0.0088897 | 0.002228 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_295-9_0_3_load_186 | 41 | 0.0025779 | 0.00064607 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_295-9_0_3_load_185 | 42 | 0.0024068 | 0.00060319 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_295-9_0_3_load_147 | 47 | 0.0095893 | 0.0024033 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_295-9_0_3_load_155 | 49 | 0.0015925 | 0.00039911 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_295-9_0_3_load_157 | 50 | 0.011318 | 0.0028366 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_295-9_0_3_load_169 | 52 | 0.0031358 | 0.0007859 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_295-9_0_3_load_159 | 53 | 0.004933 | 0.0012363 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_295-9_0_3_load_115 | 56 | 0.0034716 | 0.00087006 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_295-9_0_3_load_117 | 57 | 0.0021499 | 0.0005388 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_295-9_0_3_load_191 | 58 | 0.0019623 | 0.0004918 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_295-9_0_3_load_190 | 59 | 0.0033319 | 0.00083506 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_295-9_0_3_load_118 | 60 | 0.0020135 | 0.00050463 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_295-9_0_3_load_119 | 61 | 0.0014493 | 0.00036322 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_295-9_0_3_load_120 | 62 | 0.0019599 | 0.00049121 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_295-9_0_3_load_121 | 63 | 0.0014669 | 0.00036765 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_295-9_0_3_load_122 | 64 | 0.0017085 | 0.00042818 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_295-9_0_3_load_123 | 65 | 0.0013245 | 0.00033196 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_295-9_0_3_load_124 | 66 | 0.0016951 | 0.00042482 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_295-9_0_3_load_125 | 67 | 0.0010382 | 0.00026021 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_295-9_0_3_load_139 | 69 | 0.002144 | 0.00053735 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_295-9_0_3_load_131 | 70 | 0.0011637 | 0.00029165 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_295-9_0_3_load_126 | 71 | 0.0011935 | 0.00029913 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_295-9_0_3_load_127 | 72 | 0.0022812 | 0.00057171 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_295-9_0_3_load_128 | 73 | 0.003903 | 0.00097819 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_295-9_0_3_load_130 | 75 | 0.0020502 | 0.00051384 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_295-9_0_3_load_136 | 76 | 0.0046535 | 0.0011663 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_295-9_0_3_load_138 | 77 | 0.0011597 | 0.00029065 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_295-9_0_3_load_133 | 78 | 0.0035967 | 0.00090141 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_295-9_0_3_load_134 | 79 | 0.0060423 | 0.0015143 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_295-9_0_3_load_137 | 81 | 0.0058247 | 0.0014598 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_295-9_0_3_load_141 | 83 | 0.003946 | 0.00098896 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_295-9_0_3_load_170 | 84 | 0.0022057 | 0.0005528 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_295-9_0_3_load_158 | 85 | 0.0044013 | 0.0011031 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_295-9_0_3_load_160 | 86 | 0.0091694 | 0.0022981 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_295-9_0_3_load_161 | 87 | 0.0081458 | 0.0020415 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_295-9_0_3_load_162 | 88 | 0.0038764 | 0.00097152 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_295-9_0_3_load_163 | 89 | 0.0064774 | 0.0016234 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_295-9_0_3_load_187 | 91 | 0.0055075 | 0.0013803 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_295-9_0_3_load_189 | 93 | 0.0005655 | 0.00014173 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 31 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_295-9_0_3_line_0 |  | 0 | 1 | 0.010389 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_295-9_0_3_line_1 |  | 1 | 2 | 0.0036151 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_295-9_0_3_line_2 |  | 1 | 3 | 0.025389 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_295-9_0_3_line_3 |  | 2 | 4 | 0.022636 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_295-9_0_3_line_4 |  | 3 | 5 | 0.034049 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_295-9_0_3_line_5 |  | 5 | 6 | 0.013173 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_295-9_0_3_line_6 |  | 6 | 21 | 0.062478 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_295-9_0_3_line_7 |  | 7 | 8 | 0.039263 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_295-9_0_3_line_8 |  | 8 | 9 | 0.010842 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_295-9_0_3_line_9 |  | 8 | 10 | 0.066931 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_295-9_0_3_line_10 |  | 9 | 11 | 0.040708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_295-9_0_3_line_11 |  | 10 | 12 | 0.012529 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
12 | LV_295-9_0_3_line_12 |  | 10 | 13 | 0.021516 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
13 | LV_295-9_0_3_line_13 |  | 11 | 14 | 0.004078 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_295-9_0_3_line_14 |  | 12 | 15 | 0.010073 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_295-9_0_3_line_15 |  | 12 | 16 | 0.02119 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
16 | LV_295-9_0_3_line_16 |  | 13 | 17 | 0.00039542 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
17 | LV_295-9_0_3_line_17 |  | 16 | 24 | 0.027507 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_295-9_0_3_line_18 |  | 16 | 21 | 0.004297 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
19 | LV_295-9_0_3_line_19 |  | 17 | 30 | 0.00051691 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
20 | LV_295-9_0_3_line_20 |  | 18 | 19 | 0.013667 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_295-9_0_3_line_21 |  | 18 | 20 | 0.013922 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_295-9_0_3_line_22 |  | 19 | 29 | 0.015071 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_295-9_0_3_line_23 |  | 20 | 54 | 0.020566 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_295-9_0_3_line_24 |  | 21 | 22 | 0.032338 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_295-9_0_3_line_25 |  | 21 | 23 | 0.012453 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_295-9_0_3_line_26 |  | 23 | 25 | 0.021962 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_295-9_0_3_line_27 |  | 25 | 26 | 8.8153e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_295-9_0_3_line_28 |  | 26 | 56 | 0.018704 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_295-9_0_3_line_29 |  | 27 | 28 | 0.017023 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_295-9_0_3_line_30 |  | 28 | 29 | 0.0020999 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_295-9_0_3_line_31 |  | 30 | 31 | 0.025329 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
32 | LV_295-9_0_3_line_32 |  | 31 | 32 | 0.033054 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_295-9_0_3_line_33 |  | 32 | 33 | 0.004626 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_295-9_0_3_line_34 |  | 32 | 34 | 0.028899 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_295-9_0_3_line_35 |  | 33 | 35 | 0.030363 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_295-9_0_3_line_36 |  | 35 | 51 | 0.023695 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_295-9_0_3_line_37 |  | 36 | 37 | 0.033452 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_295-9_0_3_line_38 |  | 36 | 38 | 0.036239 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_295-9_0_3_line_39 |  | 36 | 39 | 0.0083084 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_295-9_0_3_line_40 |  | 37 | 41 | 0.015582 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_295-9_0_3_line_41 |  | 37 | 42 | 0.0090154 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_295-9_0_3_line_42 |  | 38 | 50 | 0.019827 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_295-9_0_3_line_43 |  | 39 | 40 | 0.045638 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_295-9_0_3_line_44 |  | 41 | 59 | 0.017885 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_295-9_0_3_line_45 |  | 42 | 43 | 0.010231 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_295-9_0_3_line_46 |  | 43 | 44 | 0.009986 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_295-9_0_3_line_47 |  | 44 | 76 | 0.032536 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_295-9_0_3_line_48 |  | 44 | 47 | 0.010629 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_295-9_0_3_line_49 |  | 44 | 74 | 0.0089937 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_295-9_0_3_line_50 |  | 45 | 46 | 0.015237 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_295-9_0_3_line_51 |  | 45 | 47 | 0.021556 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_295-9_0_3_line_52 |  | 46 | 48 | 0.026495 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_295-9_0_3_line_53 |  | 46 | 49 | 0.013626 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_295-9_0_3_line_54 |  | 48 | 52 | 0.015356 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_295-9_0_3_line_55 |  | 48 | 53 | 0.018033 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_295-9_0_3_line_56 |  | 51 | 54 | 0.013036 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_295-9_0_3_line_57 |  | 51 | 90 | 0.012294 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_295-9_0_3_line_58 |  | 52 | 84 | 0.00085957 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_295-9_0_3_line_59 |  | 53 | 85 | 0.01036 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_295-9_0_3_line_60 |  | 54 | 55 | 0.084349 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_295-9_0_3_line_61 |  | 55 | 91 | 0.0075489 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_295-9_0_3_line_62 |  | 56 | 57 | 0.018238 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_295-9_0_3_line_63 |  | 57 | 58 | 0.010475 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_295-9_0_3_line_64 |  | 58 | 59 | 0.017528 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_295-9_0_3_line_65 |  | 60 | 61 | 0.00051892 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_295-9_0_3_line_66 |  | 60 | 62 | 0.0019667 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_295-9_0_3_line_67 |  | 61 | 63 | 0.018335 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_295-9_0_3_line_68 |  | 63 | 64 | 0.0046375 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_295-9_0_3_line_69 |  | 64 | 65 | 0.018301 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_295-9_0_3_line_70 |  | 65 | 66 | 0.0064269 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_295-9_0_3_line_71 |  | 66 | 67 | 0.024485 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_295-9_0_3_line_72 |  | 67 | 68 | 0.0066974 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_295-9_0_3_line_73 |  | 68 | 69 | 0.016211 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_295-9_0_3_line_74 |  | 68 | 70 | 0.014031 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_295-9_0_3_line_75 |  | 69 | 77 | 0.015075 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_295-9_0_3_line_76 |  | 70 | 75 | 0.004748 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_295-9_0_3_line_77 |  | 71 | 72 | 0.021596 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_295-9_0_3_line_78 |  | 71 | 73 | 0.00098034 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_295-9_0_3_line_79 |  | 72 | 74 | 0.0063134 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_295-9_0_3_line_80 |  | 73 | 75 | 0.02351 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_295-9_0_3_line_81 |  | 76 | 79 | 0.01309 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_295-9_0_3_line_82 |  | 77 | 82 | 0.023944 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_295-9_0_3_line_83 |  | 78 | 79 | 0.012672 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_295-9_0_3_line_84 |  | 78 | 80 | 0.0048026 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_295-9_0_3_line_85 |  | 80 | 81 | 0.02233 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_295-9_0_3_line_86 |  | 82 | 83 | 0.015496 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_295-9_0_3_line_87 |  | 86 | 87 | 0.013305 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_295-9_0_3_line_88 |  | 86 | 88 | 0.0074725 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_295-9_0_3_line_89 |  | 87 | 89 | 0.030265 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_295-9_0_3_line_90 |  | 88 | 90 | 0.027549 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_295-9_0_3_line_91 |  | 91 | 92 | 0.033349 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_295-9_0_3_line_92 |  | 92 | 93 | 0.027757 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_295-9_0_3_trafo_21 | 0.63 MVA 20/0.4 kV | 94 | 31 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2687149.8639 | 1234846.6394 | 2687145.6353 | 1234842.8302 | 2687144.3896 | 1234841.5666 | 2687142.3358 | 1234839.4866
1 | 2687149.8639 | 1234846.6394 | 2687147.2975 | 1234849.1855
2 | 2687167.6619 | 1234828.4875 | 2687161.0222 | 1234835.2616 | 2687158.3018 | 1234838.0348 | 2687149.8639 | 1234846.6394
3 | 2687131.2282 | 1234865.1277 | 2687147.2975 | 1234849.1855
4 | 2687167.6619 | 1234828.4875 | 2687192.1093 | 1234804.7887
5 | 2687192.1093 | 1234804.7887 | 2687201.5679 | 1234795.6197
6 | 2687249.058 | 1234755.4632 | 2687244.3278 | 1234757.9733 | 2687239.9586 | 1234760.6444 | 2687231.5014 | 1234766.9359 | 2687225.5473 | 1234772.3746 | 2687201.5679 | 1234795.6197
7 | 2687233.7859 | 1234838.1646 | 2687221.4205 | 1234826.5749 | 2687217.5128 | 1234824.6272 | 2687213.8693 | 1234824.7961 | 2687210.0674 | 1234825.9523 | 2687202.6445 | 1234833.1328
8 | 2687233.7859 | 1234838.1646 | 2687226.523 | 1234846.214
9 | 2687233.7859 | 1234838.1646 | 2687245.2901 | 1234825.4133 | 2687269.734 | 1234795.9845 | 2687273.076 | 1234784.9146
10 | 2687197.8975 | 1234875.0313 | 2687208.6462 | 1234866.0266 | 2687226.523 | 1234846.214
11 | 2687265.7235 | 1234774.755 | 2687273.076 | 1234784.9146
12 | 2687273.076 | 1234784.9146 | 2687281.1123 | 1234783.565 | 2687294.4743 | 1234783.9302
13 | 2687197.8975 | 1234875.0313 | 2687194.7715 | 1234877.6501
14 | 2687257.2036 | 1234780.1671 | 2687265.7235 | 1234774.755
15 | 2687252.0174 | 1234758.5866 | 2687253.7392 | 1234760.4132 | 2687263.0675 | 1234771.08 | 2687265.7235 | 1234774.755
16 | 2687294.8695 | 1234783.941 | 2687294.4743 | 1234783.9302
17 | 2687252.0174 | 1234758.5866 | 2687262.4015 | 1234754.0692 | 2687277.858 | 1234749.2746
18 | 2687252.0174 | 1234758.5866 | 2687249.058 | 1234755.4632
19 | 2687295.3863 | 1234783.9551 | 2687294.8695 | 1234783.941
20 | 2687293.2293 | 1234815.6547 | 2687284.328 | 1234826.0256
21 | 2687293.2293 | 1234815.6547 | 2687304.9602 | 1234823.1525
22 | 2687274.5121 | 1234837.462 | 2687284.328 | 1234826.0256
23 | 2687323.0753 | 1234830.1925 | 2687316.0594 | 1234825.9864 | 2687313.6136 | 1234826.5509 | 2687311.1603 | 1234827.1152 | 2687304.9602 | 1234823.1525
24 | 2687249.058 | 1234755.4632 | 2687246.3835 | 1234751.4989 | 2687244.0918 | 1234746.7285 | 2687241.4339 | 1234739.5733 | 2687236.708 | 1234725.727
25 | 2687249.058 | 1234755.4632 | 2687255.8663 | 1234752.1719 | 2687260.5028 | 1234750.6136
26 | 2687260.5028 | 1234750.6136 | 2687263.2836 | 1234749.679 | 2687281.4946 | 1234744.1614
27 | 2687281.579 | 1234744.1358 | 2687281.4946 | 1234744.1614
28 | 2687299.4345 | 1234738.5679 | 2687290.6191 | 1234741.3968 | 2687281.579 | 1234744.1358
29 | 2687273.1444 | 1234839.0554 | 2687262.0574 | 1234851.9727
30 | 2687274.5121 | 1234837.462 | 2687273.1444 | 1234839.0554
31 | 2687295.3863 | 1234783.9551 | 2687305.7575 | 1234784.2386 | 2687317.4726 | 1234782.8987 | 2687320.5473 | 1234782.1572
32 | 2687352.3162 | 1234777.2733 | 2687349.2736 | 1234775.6942 | 2687347.4699 | 1234775.3229 | 2687346.1172 | 1234775.6811 | 2687341.7217 | 1234777.0508 | 2687320.5473 | 1234782.1572
33 | 2687356.4409 | 1234779.391 | 2687352.3162 | 1234777.2733
34 | 2687352.3162 | 1234777.2733 | 2687338.3394 | 1234802.5682
35 | 2687356.4409 | 1234779.391 | 2687342.5023 | 1234806.3654
36 | 2687331.6246 | 1234827.4161 | 2687342.5023 | 1234806.3654
37 | 2687376.0508 | 1234719.9592 | 2687375.4313 | 1234723.4748 | 2687375.9473 | 1234726.996 | 2687377.5354 | 1234730.1883 | 2687380.0493 | 1234732.7159 | 2687383.2274 | 1234734.3416 | 2687377.4563 | 1234742.2513 | 2687372.3347 | 1234739.4629
38 | 2687372.3347 | 1234739.4629 | 2687377.4563 | 1234742.2513 | 2687383.4642 | 1234745.5197 | 2687380.0841 | 1234749.3839 | 2687377.7433 | 1234754.1306 | 2687373.7475 | 1234762.2888 | 2687371.8928 | 1234765.8975
39 | 2687372.3347 | 1234739.4629 | 2687373.7256 | 1234735.992 | 2687373.66 | 1234733.2446 | 2687373.1191 | 1234731.5058
40 | 2687376.0508 | 1234719.9592 | 2687367.2746 | 1234718.5958 | 2687363.4332 | 1234718.8284 | 2687360.701 | 1234719.6452
41 | 2687376.0508 | 1234719.9592 | 2687377.5158 | 1234717.112 | 2687379.73 | 1234714.7985 | 2687381.9912 | 1234713.4928
42 | 2687371.8928 | 1234765.8975 | 2687367.6457 | 1234774.152 | 2687376.4539 | 1234779.9477
43 | 2687332.3652 | 1234732.5552 | 2687347.0733 | 1234728.1724 | 2687353.5644 | 1234725.8662 | 2687360.9022 | 1234723.6391 | 2687364.9603 | 1234724.1102 | 2687369.9014 | 1234726.3066 | 2687372.3951 | 1234729.1787 | 2687373.1191 | 1234731.5058
44 | 2687360.701 | 1234719.6452 | 2687343.5654 | 1234724.7678
45 | 2687391.8744 | 1234713.6206 | 2687388.8391 | 1234712.5753 | 2687385.6315 | 1234712.4391 | 2687382.5091 | 1234713.1937 | 2687381.9912 | 1234713.4928
46 | 2687391.8744 | 1234713.6206 | 2687396.6448 | 1234705.8186 | 2687397.0794 | 1234705.0911
47 | 2687397.0794 | 1234705.0911 | 2687413.9181 | 1234677.2518
48 | 2687397.0794 | 1234705.0911 | 2687406.3208 | 1234710.3419
49 | 2687395.1218 | 1234699.2248 | 2687392.8603 | 1234702.694 | 2687397.0794 | 1234705.0911
50 | 2687406.2602 | 1234730.3997 | 2687415.3535 | 1234732.3348 | 2687421.2843 | 1234733.1226
51 | 2687406.2602 | 1234730.3997 | 2687408.3313 | 1234722.8915 | 2687405.9295 | 1234720.4656 | 2687405.3628 | 1234717.3105 | 2687405.6519 | 1234711.5551 | 2687406.3208 | 1234710.3419
52 | 2687421.2843 | 1234733.1226 | 2687421.8021 | 1234737.5445 | 2687423.0394 | 1234748.1147 | 2687427.4417 | 1234758.6314
53 | 2687421.2843 | 1234733.1226 | 2687434.9104 | 1234733.0543
54 | 2687427.4417 | 1234758.6314 | 2687427.4782 | 1234758.7209 | 2687431.7894 | 1234760.5078 | 2687439.7273 | 1234759.6796 | 2687442.3254 | 1234759.4108
55 | 2687427.4417 | 1234758.6314 | 2687424.2294 | 1234762.9206 | 2687414.4471 | 1234767.1686 | 2687412.4415 | 1234767.2946
56 | 2687331.6246 | 1234827.4161 | 2687328.4329 | 1234833.4068 | 2687323.0753 | 1234830.1925
57 | 2687331.6246 | 1234827.4161 | 2687343.0711 | 1234831.9876
58 | 2687442.3254 | 1234759.4108 | 2687443.1804 | 1234759.3224
59 | 2687412.4415 | 1234767.2946 | 2687402.1024 | 1234767.9446
60 | 2687284.0846 | 1234897.5677 | 2687289.7485 | 1234890.7572 | 2687313.504 | 1234858.2051 | 2687328.4329 | 1234833.4068 | 2687323.0753 | 1234830.1925
61 | 2687284.0846 | 1234897.5677 | 2687278.8615 | 1234903.0179
62 | 2687316.8 | 1234732.9953 | 2687299.4345 | 1234738.5679
63 | 2687316.8 | 1234732.9953 | 2687326.7738 | 1234729.7946
64 | 2687343.5654 | 1234724.7678 | 2687327.0966 | 1234729.691 | 2687326.7738 | 1234729.7946
65 | 2687303.1049 | 1234684.4933 | 2687303.5792 | 1234684.2827
66 | 2687301.3075 | 1234685.2916 | 2687303.1049 | 1234684.4933
67 | 2687319.6108 | 1234675.4908 | 2687310.977 | 1234680.9973 | 2687303.5792 | 1234684.2827
68 | 2687319.6108 | 1234675.4908 | 2687323.5208 | 1234672.9971
69 | 2687338.3675 | 1234662.3123 | 2687327.2002 | 1234670.6505 | 2687323.5208 | 1234672.9971
70 | 2687338.3675 | 1234662.3123 | 2687340.6943 | 1234660.5749 | 2687343.0629 | 1234657.967
71 | 2687343.0629 | 1234657.967 | 2687354.8756 | 1234644.9611 | 2687359.6865 | 1234639.9934
72 | 2687364.3457 | 1234635.1822 | 2687359.6865 | 1234639.9934
73 | 2687364.3457 | 1234635.1822 | 2687378.2497 | 1234626.847
74 | 2687364.3457 | 1234635.1822 | 2687366.6974 | 1234638.9639 | 2687371.3515 | 1234647.3343
75 | 2687391.2399 | 1234619.1977 | 2687383.8975 | 1234623.4613 | 2687378.2497 | 1234626.847
76 | 2687373.6588 | 1234651.484 | 2687371.3515 | 1234647.3343
77 | 2687392.7413 | 1234693.3774 | 2687384.5983 | 1234673.3758
78 | 2687384.5983 | 1234673.3758 | 2687384.2287 | 1234672.4678 | 2687384.2287 | 1234672.4678
79 | 2687395.1218 | 1234699.2248 | 2687392.7413 | 1234693.3774
80 | 2687384.2287 | 1234672.4678 | 2687378.4972 | 1234660.1859 | 2687373.6588 | 1234651.484
81 | 2687413.9181 | 1234677.2518 | 2687420.6925 | 1234666.0517
82 | 2687410.75 | 1234605.3655 | 2687395.7934 | 1234616.5535 | 2687391.2399 | 1234619.1977
83 | 2687420.6925 | 1234666.0517 | 2687427.2507 | 1234655.209
84 | 2687429.7363 | 1234651.0996 | 2687427.2507 | 1234655.209
85 | 2687429.7363 | 1234651.0996 | 2687440.5884 | 1234631.5842
86 | 2687410.75 | 1234605.3655 | 2687405.8689 | 1234604.7377 | 2687399.69 | 1234602.801 | 2687396.5235 | 1234600.1975
87 | 2687377.4729 | 1234838.3827 | 2687390.6183 | 1234840.4342
88 | 2687377.4729 | 1234838.3827 | 2687370.0897 | 1234837.2304
89 | 2687390.6183 | 1234840.4342 | 2687393.6273 | 1234840.9039 | 2687409.0734 | 1234842.7101 | 2687420.6813 | 1234841.526
90 | 2687343.0711 | 1234831.9876 | 2687354.2186 | 1234834.7534 | 2687370.0897 | 1234837.2304
91 | 2687255.7866 | 1234927.0955 | 2687278.8615 | 1234903.0179
92 | 2687255.7866 | 1234927.0955 | 2687236.0596 | 1234907.5693

## bus_geodata
| x | y | coords
0 | 2687142.3358 | 1234839.4866
1 | 2687149.8639 | 1234846.6394
2 | 2687147.2975 | 1234849.1855
3 | 2687167.6619 | 1234828.4875
4 | 2687131.2282 | 1234865.1277
5 | 2687192.1093 | 1234804.7887
6 | 2687201.5679 | 1234795.6197
7 | 2687202.6445 | 1234833.1328
8 | 2687233.7859 | 1234838.1646
9 | 2687226.523 | 1234846.214
10 | 2687273.076 | 1234784.9146
11 | 2687197.8975 | 1234875.0313
12 | 2687265.7235 | 1234774.755
13 | 2687294.4743 | 1234783.9302
14 | 2687194.7715 | 1234877.6501
15 | 2687257.2036 | 1234780.1671
16 | 2687252.0174 | 1234758.5867
17 | 2687294.8695 | 1234783.941
18 | 2687293.2293 | 1234815.6547
19 | 2687284.328 | 1234826.0256
20 | 2687304.9602 | 1234823.1525
21 | 2687249.058 | 1234755.4632
22 | 2687236.708 | 1234725.727
23 | 2687260.5028 | 1234750.6136
24 | 2687277.858 | 1234749.2746
25 | 2687281.4946 | 1234744.1614
26 | 2687281.579 | 1234744.1358
27 | 2687262.0574 | 1234851.9727
28 | 2687273.1444 | 1234839.0554
29 | 2687274.5121 | 1234837.462
30 | 2687295.3863 | 1234783.9551
31 | 2687320.5473 | 1234782.1572
32 | 2687352.3162 | 1234777.2733
33 | 2687356.4409 | 1234779.391
34 | 2687338.3394 | 1234802.5682
35 | 2687342.5023 | 1234806.3654
36 | 2687372.3347 | 1234739.4629
37 | 2687376.0508 | 1234719.9592
38 | 2687371.8928 | 1234765.8975
39 | 2687373.1191 | 1234731.5058
40 | 2687332.3652 | 1234732.5552
41 | 2687360.701 | 1234719.6452
42 | 2687381.9912 | 1234713.4928
43 | 2687391.8744 | 1234713.6206
44 | 2687397.0794 | 1234705.0911
45 | 2687406.2602 | 1234730.3997
46 | 2687421.2843 | 1234733.1226
47 | 2687406.3208 | 1234710.3419
48 | 2687427.4417 | 1234758.6314
49 | 2687434.9104 | 1234733.0543
50 | 2687376.4539 | 1234779.9477
51 | 2687331.6246 | 1234827.4161
52 | 2687442.3254 | 1234759.4108
53 | 2687412.4415 | 1234767.2946
54 | 2687323.0753 | 1234830.1925
55 | 2687284.0846 | 1234897.5677
56 | 2687299.4345 | 1234738.5679
57 | 2687316.8 | 1234732.9953
58 | 2687326.7739 | 1234729.7946
59 | 2687343.5654 | 1234724.7678
60 | 2687303.1049 | 1234684.4933
61 | 2687303.5792 | 1234684.2827
62 | 2687301.3075 | 1234685.2916
63 | 2687319.6108 | 1234675.4908
64 | 2687323.5208 | 1234672.9971
65 | 2687338.3675 | 1234662.3123
66 | 2687343.0629 | 1234657.967
67 | 2687359.6865 | 1234639.9934
68 | 2687364.3457 | 1234635.1822
69 | 2687378.2497 | 1234626.847
70 | 2687371.3515 | 1234647.3343
71 | 2687384.5983 | 1234673.3758
72 | 2687392.7413 | 1234693.3774
73 | 2687384.2287 | 1234672.4678
74 | 2687395.1218 | 1234699.2248
75 | 2687373.6588 | 1234651.484
76 | 2687413.9181 | 1234677.2518
77 | 2687391.2399 | 1234619.1977
78 | 2687427.2507 | 1234655.209
79 | 2687420.6925 | 1234666.0517
80 | 2687429.7363 | 1234651.0996
81 | 2687440.5884 | 1234631.5842
82 | 2687410.75 | 1234605.3655
83 | 2687396.5235 | 1234600.1975
84 | 2687443.1804 | 1234759.3223
85 | 2687402.1024 | 1234767.9446
86 | 2687377.4729 | 1234838.3827
87 | 2687390.6183 | 1234840.4342
88 | 2687370.0897 | 1234837.2304
89 | 2687420.6813 | 1234841.526
90 | 2687343.0711 | 1234831.9876
91 | 2687278.8615 | 1234903.0179
92 | 2687255.7866 | 1234927.0955
93 | 2687236.0596 | 1234907.5693
94 | 2687352.3162 | 1234777.2733

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1