## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_296-19_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_296-19_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_296-19_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_296-19_0_4_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_296-19_0_4_node_44 | 0.4 | n |  | TRUE
5 | bus_LV_296-19_0_4_node_48 | 0.4 | n |  | TRUE
6 | bus_LV_296-19_0_4_node_3 | 0.4 | n |  | TRUE
7 | bus_LV_296-19_0_4_node_6 | 0.4 | n |  | TRUE
8 | bus_LV_296-19_0_4_node_66 | 0.4 | n |  | TRUE
9 | bus_LV_296-19_0_4_node_5 | 0.4 | n |  | TRUE
10 | bus_LV_296-19_0_4_node_65 | 0.4 | n |  | TRUE
11 | bus_LV_296-19_0_4_node_85 | 0.4 | n |  | TRUE
12 | bus_LV_296-19_0_4_node_56 | 0.4 | n |  | TRUE
13 | bus_LV_296-19_0_4_node_59 | 0.4 | n |  | TRUE
14 | bus_LV_296-19_0_4_node_41 | 0.4 | n |  | TRUE
15 | bus_LV_296-19_0_4_node_43 | 0.4 | n |  | TRUE
16 | bus_LV_296-19_0_4_node_52 | 0.4 | n |  | TRUE
17 | bus_LV_296-19_0_4_node_53 | 0.4 | n |  | TRUE
18 | bus_LV_296-19_0_4_node_51 | 0.4 | n |  | TRUE
19 | bus_LV_296-19_0_4_node_58 | 0.4 | n |  | TRUE
20 | bus_LV_296-19_0_4_node_67 | 0.4 | n |  | TRUE
21 | bus_LV_296-19_0_4_node_64 | 0.4 | n |  | TRUE
22 | bus_LV_296-19_0_4_node_60 | 0.4 | n |  | TRUE
23 | bus_LV_296-19_0_4_node_19 | 0.4 | n |  | TRUE
24 | bus_LV_296-19_0_4_node_82 | 0.4 | n |  | TRUE
25 | bus_LV_296-19_0_4_node_20 | 0.4 | n |  | TRUE
26 | bus_LV_296-19_0_4_node_42 | 0.4 | n |  | TRUE
27 | bus_LV_296-19_0_4_node_47 | 0.4 | n |  | TRUE
28 | bus_LV_296-19_0_4_node_8 | 0.4 | n |  | TRUE
29 | bus_LV_296-19_0_4_node_9 | 0.4 | n |  | TRUE
30 | bus_LV_296-19_0_4_node_10 | 0.4 | n |  | TRUE
31 | bus_LV_296-19_0_4_node_11 | 0.4 | n |  | TRUE
32 | bus_LV_296-19_0_4_node_12 | 0.4 | n |  | TRUE
33 | bus_LV_296-19_0_4_node_78 | 0.4 | n |  | TRUE
34 | bus_LV_296-19_0_4_node_76 | 0.4 | n |  | TRUE
35 | bus_LV_296-19_0_4_node_49 | 0.4 | n |  | TRUE
36 | bus_LV_296-19_0_4_node_79 | 0.4 | n |  | TRUE
37 | bus_LV_296-19_0_4_node_45 | 0.4 | n |  | TRUE
38 | bus_LV_296-19_0_4_node_50 | 0.4 | n |  | TRUE
39 | bus_LV_296-19_0_4_node_13 | 0.4 | n |  | TRUE
40 | bus_LV_296-19_0_4_node_14 | 0.4 | n |  | TRUE
41 | bus_LV_296-19_0_4_node_16 | 0.4 | n |  | TRUE
42 | bus_LV_296-19_0_4_node_17 | 0.4 | n |  | TRUE
43 | bus_LV_296-19_0_4_node_18 | 0.4 | n |  | TRUE
44 | bus_LV_296-19_0_4_node_46 | 0.4 | n |  | TRUE
45 | bus_LV_296-19_0_4_node_80 | 0.4 | n |  | TRUE
46 | bus_LV_296-19_0_4_node_84 | 0.4 | n |  | TRUE
47 | bus_LV_296-19_0_4_node_22 | 0.4 | n |  | TRUE
48 | bus_LV_296-19_0_4_node_27 | 0.4 | n |  | TRUE
49 | bus_LV_296-19_0_4_node_83 | 0.4 | n |  | TRUE
50 | bus_LV_296-19_0_4_node_24 | 0.4 | n |  | TRUE
51 | bus_LV_296-19_0_4_node_21 | 0.4 | n |  | TRUE
52 | bus_LV_296-19_0_4_node_28 | 0.4 | n |  | TRUE
53 | bus_LV_296-19_0_4_node_40 | 0.4 | n |  | TRUE
54 | bus_LV_296-19_0_4_node_81 | 0.4 | n |  | TRUE
55 | bus_LV_296-19_0_4_node_75 | 0.4 | n |  | TRUE
56 | bus_LV_296-19_0_4_node_23 | 0.4 | n |  | TRUE
57 | bus_LV_296-19_0_4_node_25 | 0.4 | n |  | TRUE
58 | bus_LV_296-19_0_4_node_26 | 0.4 | n |  | TRUE
59 | bus_LV_296-19_0_4_node_71 | 0.4 | n |  | TRUE
60 | bus_LV_296-19_0_4_node_72 | 0.4 | n |  | TRUE
61 | bus_LV_296-19_0_4_node_29 | 0.4 | n |  | TRUE
62 | bus_LV_296-19_0_4_node_31 | 0.4 | n |  | TRUE
63 | bus_LV_296-19_0_4_node_32 | 0.4 | n |  | TRUE
64 | bus_LV_296-19_0_4_node_33 | 0.4 | n |  | TRUE
65 | bus_LV_296-19_0_4_node_35 | 0.4 | n |  | TRUE
66 | bus_LV_296-19_0_4_node_38 | 0.4 | n |  | TRUE
67 | bus_LV_296-19_0_4_node_36 | 0.4 | n |  | TRUE
68 | bus_LV_296-19_0_4_node_37 | 0.4 | n |  | TRUE
69 | bus_LV_296-19_0_4_node_39 | 0.4 | n |  | TRUE
70 | bus_LV_296-19_0_4_node_68 | 0.4 | n |  | TRUE
71 | bus_LV_296-19_0_4_node_69 | 0.4 | n |  | TRUE
72 | bus_LV_296-19_0_4_node_70 | 0.4 | n |  | TRUE
73 | bus_LV_296-19_0_4_node_61 | 0.4 | n |  | TRUE
74 | bus_LV_296-19_0_4_node_62 | 0.4 | n |  | TRUE
75 | bus_LV_296-19_0_4_node_63 | 0.4 | n |  | TRUE
76 | bus_LV_296-19_0_4_node_77 | 0.4 | n |  | TRUE
77 | bus_LV_296-19_0_4_node_73 | 0.4 | n |  | TRUE
78 | bus_LV_296-19_0_4_node_74 | 0.4 | n |  | TRUE
79 | bus_MV_363_0_node_37 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_296-19_0_4_load_0 | 0 | 0.011414 | 0.0028607 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_296-19_0_4_load_48 | 5 | 0.012531 | 0.0031407 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_296-19_0_4_load_66 | 8 | 0.011567 | 0.0028988 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_296-19_0_4_load_65 | 10 | 0.018623 | 0.0046674 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_296-19_0_4_load_85 | 11 | 0.0093538 | 0.0023443 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_296-19_0_4_load_59 | 13 | 0.0015319 | 0.00038393 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_296-19_0_4_load_53 | 17 | 0.0022483 | 0.00056348 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_296-19_0_4_load_51 | 18 | 0.0012208 | 0.00030597 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_296-19_0_4_load_58 | 19 | 0.0027623 | 0.0006923 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_296-19_0_4_load_67 | 20 | 0.0042882 | 0.0010747 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_296-19_0_4_load_60 | 22 | 0.0048565 | 0.0012171 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_296-19_0_4_load_82 | 24 | 0.0028846 | 0.00072295 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_296-19_0_4_load_47 | 27 | 0.012624 | 0.0031638 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_296-19_0_4_load_8 | 28 | 0.0093653 | 0.0023472 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_296-19_0_4_load_9 | 29 | 0.004621 | 0.0011581 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_296-19_0_4_load_12 | 32 | 0.0014917 | 0.00037386 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_296-19_0_4_load_78 | 33 | 0.039843 | 0.0099855 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_296-19_0_4_load_76 | 34 | 0.0093201 | 0.0023358 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_296-19_0_4_load_49 | 35 | 0.0010244 | 0.00025673 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_296-19_0_4_load_50 | 38 | 0.0068316 | 0.0017121 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_296-19_0_4_load_13 | 39 | 0.0012184 | 0.00030537 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_296-19_0_4_load_80 | 45 | 0.055683 | 0.013956 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_296-19_0_4_load_84 | 46 | 0.011148 | 0.0027939 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_296-19_0_4_load_27 | 48 | 0.0084739 | 0.0021238 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_296-19_0_4_load_83 | 49 | 0.0023156 | 0.00058034 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_296-19_0_4_load_24 | 50 | 0.0032235 | 0.00080789 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_296-19_0_4_load_21 | 51 | 0.0012774 | 0.00032014 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_296-19_0_4_load_28 | 52 | 0.0037891 | 0.00094964 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_296-19_0_4_load_40 | 53 | 0.0055182 | 0.001383 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_296-19_0_4_load_81 | 54 | 0.012064 | 0.0030234 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_296-19_0_4_load_75 | 55 | 0.0077805 | 0.00195 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_296-19_0_4_load_25 | 57 | 0.0014915 | 0.00037381 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_296-19_0_4_load_26 | 58 | 0.0014713 | 0.00036874 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_296-19_0_4_load_71 | 59 | 0.0010292 | 0.00025794 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_296-19_0_4_load_29 | 61 | 0.0049765 | 0.0012472 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_296-19_0_4_load_31 | 62 | 0.0035962 | 0.00090128 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_296-19_0_4_load_32 | 63 | 0.0069951 | 0.0017531 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_296-19_0_4_load_33 | 64 | 0.0053055 | 0.0013297 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_296-19_0_4_load_35 | 65 | 0.0040577 | 0.001017 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_296-19_0_4_load_38 | 66 | 0.0055138 | 0.0013819 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_296-19_0_4_load_36 | 67 | 0.0040581 | 0.0010171 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_296-19_0_4_load_37 | 68 | 0.0015115 | 0.00037881 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_296-19_0_4_load_39 | 69 | 0.0011657 | 0.00029216 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_296-19_0_4_load_69 | 71 | 0.0018146 | 0.00045478 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_296-19_0_4_load_70 | 72 | 0.0011101 | 0.00027822 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_296-19_0_4_load_61 | 73 | 0.0095594 | 0.0023958 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_296-19_0_4_load_63 | 75 | 0.016411 | 0.004113 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_296-19_0_4_load_77 | 76 | 0.0017965 | 0.00045023 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_296-19_0_4_load_73 | 77 | 0.00099005 | 0.00024813 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_296-19_0_4_load_74 | 78 | 0.0011609 | 0.00029095 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 34 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_296-19_0_4_line_0 |  | 0 | 1 | 0.030434 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_296-19_0_4_line_1 |  | 1 | 2 | 0.039433 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
2 | LV_296-19_0_4_line_2 |  | 1 | 3 | 0.1047 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
3 | LV_296-19_0_4_line_3 |  | 2 | 4 | 0.035773 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
4 | LV_296-19_0_4_line_4 |  | 2 | 5 | 0.029171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_296-19_0_4_line_5 |  | 3 | 9 | 0.037561 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_296-19_0_4_line_6 |  | 3 | 10 | 0.048999 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_296-19_0_4_line_7 |  | 3 | 6 | 0.041277 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_296-19_0_4_line_8 |  | 4 | 14 | 0.015118 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_296-19_0_4_line_9 |  | 4 | 15 | 0.017745 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
10 | LV_296-19_0_4_line_10 |  | 6 | 7 | 0.013869 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_296-19_0_4_line_11 |  | 6 | 8 | 0.035585 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_296-19_0_4_line_12 |  | 7 | 12 | 0.040206 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_296-19_0_4_line_13 |  | 7 | 13 | 0.017196 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_296-19_0_4_line_14 |  | 8 | 20 | 0.028343 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_296-19_0_4_line_15 |  | 9 | 11 | 0.013918 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_296-19_0_4_line_16 |  | 10 | 21 | 0.0087475 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_296-19_0_4_line_17 |  | 12 | 19 | 0.019024 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_296-19_0_4_line_18 |  | 13 | 22 | 0.0020294 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_296-19_0_4_line_19 |  | 14 | 53 | 0.019638 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_296-19_0_4_line_20 |  | 15 | 54 | 0.014887 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_296-19_0_4_line_21 |  | 15 | 23 | 0.059456 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_296-19_0_4_line_22 |  | 15 | 44 | 0.052251 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
23 | LV_296-19_0_4_line_23 |  | 16 | 17 | 0.015512 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_296-19_0_4_line_24 |  | 16 | 18 | 0.046668 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_296-19_0_4_line_25 |  | 18 | 38 | 0.0052934 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_296-19_0_4_line_26 |  | 21 | 74 | 0.044414 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_296-19_0_4_line_27 |  | 23 | 24 | 0.043735 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_296-19_0_4_line_28 |  | 25 | 26 | 0.005045 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_296-19_0_4_line_29 |  | 25 | 27 | 0.0071139 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_296-19_0_4_line_30 |  | 26 | 53 | 0.0065378 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_296-19_0_4_line_31 |  | 28 | 29 | 0.07692 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_296-19_0_4_line_32 |  | 28 | 30 | 0.026715 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_296-19_0_4_line_33 |  | 30 | 31 | 0.010613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_296-19_0_4_line_34 |  | 30 | 32 | 0.00011632 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_296-19_0_4_line_35 |  | 31 | 33 | 0.027046 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
36 | LV_296-19_0_4_line_36 |  | 31 | 34 | 0.015551 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
37 | LV_296-19_0_4_line_37 |  | 32 | 35 | 0.029795 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_296-19_0_4_line_38 |  | 33 | 36 | 0.027031 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
39 | LV_296-19_0_4_line_39 |  | 34 | 37 | 0.035112 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_296-19_0_4_line_40 |  | 35 | 38 | 0.015749 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_296-19_0_4_line_41 |  | 36 | 45 | 0.058475 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
42 | LV_296-19_0_4_line_42 |  | 37 | 55 | 0.023026 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_296-19_0_4_line_43 |  | 39 | 40 | 0.024855 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_296-19_0_4_line_44 |  | 40 | 41 | 0.04172 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_296-19_0_4_line_45 |  | 40 | 42 | 0.010311 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_296-19_0_4_line_46 |  | 40 | 43 | 0.033585 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_296-19_0_4_line_47 |  | 41 | 44 | 0.010169 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
48 | LV_296-19_0_4_line_48 |  | 41 | 45 | 0.047775 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
49 | LV_296-19_0_4_line_49 |  | 42 | 46 | 0.030425 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_296-19_0_4_line_50 |  | 42 | 47 | 0.05051 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_296-19_0_4_line_51 |  | 43 | 48 | 0.033966 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_296-19_0_4_line_52 |  | 44 | 49 | 0.014497 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_296-19_0_4_line_53 |  | 47 | 50 | 0.020633 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_296-19_0_4_line_54 |  | 47 | 51 | 0.016554 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_296-19_0_4_line_55 |  | 48 | 52 | 0.010129 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_296-19_0_4_line_56 |  | 51 | 56 | 0.014914 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_296-19_0_4_line_57 |  | 52 | 61 | 0.0059132 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_296-19_0_4_line_58 |  | 56 | 57 | 0.012269 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_296-19_0_4_line_59 |  | 56 | 58 | 0.02441 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_296-19_0_4_line_60 |  | 57 | 59 | 0.0016036 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_296-19_0_4_line_61 |  | 59 | 60 | 0.010245 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_296-19_0_4_line_62 |  | 60 | 77 | 0.0062252 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_296-19_0_4_line_63 |  | 60 | 78 | 0.026289 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_296-19_0_4_line_64 |  | 62 | 63 | 0.0031338 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_296-19_0_4_line_65 |  | 62 | 64 | 0.027174 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_296-19_0_4_line_66 |  | 64 | 65 | 0.0048285 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_296-19_0_4_line_67 |  | 65 | 66 | 0.019302 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_296-19_0_4_line_68 |  | 66 | 67 | 0.012202 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_296-19_0_4_line_69 |  | 67 | 68 | 0.012721 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_296-19_0_4_line_70 |  | 68 | 69 | 0.011501 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_296-19_0_4_line_71 |  | 69 | 70 | 0.0062944 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_296-19_0_4_line_72 |  | 70 | 71 | 0.011131 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_296-19_0_4_line_73 |  | 70 | 72 | 0.026504 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_296-19_0_4_line_74 |  | 71 | 76 | 0.01033 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_296-19_0_4_line_75 |  | 73 | 74 | 0.016557 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_296-19_0_4_line_76 |  | 74 | 75 | 0.02809 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_296-19_0_4_line_77 |  | 76 | 77 | 0.0090996 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_296-19_0_4_trafo_76 | 0.63 MVA 20/0.4 kV | 79 | 34 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15
0 | 2694433.1953 | 1253244.5625 | 2694418.2128 | 1253271.0535
1 | 2694433.1953 | 1253244.5625 | 2694434.9899 | 1253245.603 | 2694467.2762 | 1253264.3991
2 | 2694433.1953 | 1253244.5625 | 2694425.3141 | 1253239.9888 | 2694412.715 | 1253232.6601 | 2694403.9365 | 1253227.5607 | 2694410.6455 | 1253217.1483 | 2694426.6354 | 1253191.6944 | 2694440.2774 | 1253166.7702
3 | 2694498.3234 | 1253282.3304 | 2694467.2762 | 1253264.3991
4 | 2694467.2762 | 1253264.3991 | 2694452.6422 | 1253289.6333
5 | 2694424.2844 | 1253164.5024 | 2694428.0052 | 1253166.3742 | 2694425.9685 | 1253170.1002 | 2694423.9319 | 1253173.8263 | 2694430.2325 | 1253177.196 | 2694436.7509 | 1253165.0126 | 2694440.2774 | 1253166.7702
6 | 2694440.2774 | 1253166.7702 | 2694441.4153 | 1253167.3443 | 2694459.8521 | 1253164.0245 | 2694470.5784 | 1253161.9829 | 2694472.5874 | 1253170.8663 | 2694481.419 | 1253169.3281
7 | 2694440.2774 | 1253166.7702 | 2694447.5626 | 1253152.8866 | 2694457.9711 | 1253133.871 | 2694459.8523 | 1253130.4316
8 | 2694497.6766 | 1253293.54 | 2694502.7278 | 1253284.8693 | 2694498.3234 | 1253282.3304
9 | 2694498.3234 | 1253282.3304 | 2694502.7278 | 1253284.8693 | 2694513.6899 | 1253291.2047
10 | 2694459.8523 | 1253130.4316 | 2694456.2816 | 1253128.6066 | 2694460.9632 | 1253119.9301
11 | 2694459.8523 | 1253130.4316 | 2694461.019 | 1253131.0952 | 2694469.9192 | 1253129.5137 | 2694485.3114 | 1253126.8793 | 2694494.7629 | 1253125.2732
12 | 2694480.0481 | 1253084.5178 | 2694460.9632 | 1253119.9301
13 | 2694460.9632 | 1253119.9301 | 2694445.6235 | 1253112.1593
14 | 2694517.6989 | 1253127.552 | 2694495.9255 | 1253131.3965 | 2694494.7629 | 1253125.2732
15 | 2694424.7767 | 1253153.9798 | 2694428.6393 | 1253155.954 | 2694426.9565 | 1253159.2631 | 2694425.266 | 1253162.5721 | 2694424.2844 | 1253164.5024
16 | 2694483.078 | 1253177.9168 | 2694481.419 | 1253169.3281
17 | 2694480.0481 | 1253084.5178 | 2694463.3799 | 1253075.3478
18 | 2694445.6235 | 1253112.1593 | 2694443.8131 | 1253111.2423
19 | 2694497.6766 | 1253293.54 | 2694487.7922 | 1253310.5093
20 | 2694519.2309 | 1253277.3823 | 2694515.0261 | 1253287.8679 | 2694513.6899 | 1253291.2047
21 | 2694513.6899 | 1253291.2047 | 2694517.5559 | 1253293.4348 | 2694512.3976 | 1253302.1927 | 2694513.8305 | 1253303.1941 | 2694515.4652 | 1253304.7992 | 2694516.3718 | 1253306.1481 | 2694517.0518 | 1253307.5155 | 2694517.4277 | 1253308.5557 | 2694517.7328 | 1253310.2396 | 2694517.8794 | 1253311.9322 | 2694517.8984 | 1253313.5782 | 2694517.6955 | 1253315.4097 | 2694517.2515 | 1253317.2263 | 2694511.3052 | 1253335.1677 | 2694518.4571 | 1253337.6615 | 2694518.0378 | 1253338.878
22 | 2694513.6899 | 1253291.2047 | 2694517.5559 | 1253293.4348 | 2694520.9357 | 1253295.3902 | 2694531.3987 | 1253301.3174 | 2694553.4128 | 1253314.4901 | 2694558.7351 | 1253317.6775
23 | 2694581.4116 | 1253097.612 | 2694574.6478 | 1253097.7264 | 2694566.5475 | 1253094.4249
24 | 2694581.4116 | 1253097.612 | 2694581.9869 | 1253106.0056 | 2694581.715 | 1253113.5738 | 2694580.9191 | 1253119.4657 | 2694579.8087 | 1253125.1969 | 2694576.6798 | 1253137.2897 | 2694575.1615 | 1253143.5148
25 | 2694575.1615 | 1253143.5148 | 2694575.1615 | 1253143.5148 | 2694574.3078 | 1253148.7389
26 | 2694483.078 | 1253177.9168 | 2694487.4545 | 1253200.6488 | 2694466.495 | 1253204.5843
27 | 2694518.0378 | 1253338.878 | 2694526.4678 | 1253342.1484 | 2694547.7111 | 1253350.1825 | 2694543.1407 | 1253361.3516
28 | 2694480.0963 | 1253313.6753 | 2694484.5015 | 1253316.1586
29 | 2694480.0963 | 1253313.6753 | 2694483.6723 | 1253307.5256
30 | 2694484.5015 | 1253316.1586 | 2694487.7922 | 1253310.5093
31 | 2694585.0014 | 1253187.4387 | 2694585.1676 | 1253187.0307 | 2694587.2637 | 1253166.8373 | 2694602.6231 | 1253168.1391 | 2694609.8482 | 1253140.5663 | 2694602.7709 | 1253130.5566
32 | 2694567.1369 | 1253193.7481 | 2694573.7877 | 1253196.4453 | 2694580.2662 | 1253199.0619 | 2694585.0014 | 1253187.4387
33 | 2694567.1369 | 1253193.7481 | 2694566.3027 | 1253196.3591 | 2694563.4161 | 1253203.6854
34 | 2694567.1369 | 1253193.7481 | 2694567.1721 | 1253193.6373
35 | 2694563.4161 | 1253203.6854 | 2694587.9096 | 1253215.1551
36 | 2694563.4161 | 1253203.6854 | 2694557.1333 | 1253217.9105
37 | 2694572.5538 | 1253164.3871 | 2694572.2209 | 1253167.9202 | 2694570.6027 | 1253178.9808 | 2694569.4235 | 1253185.2447 | 2694568.0029 | 1253191.0265 | 2694567.1721 | 1253193.6373
38 | 2694612.3897 | 1253226.6185 | 2694587.9096 | 1253215.1551
39 | 2694545.335 | 1253250.8892 | 2694547.0199 | 1253243.6772 | 2694548.8147 | 1253238.0903 | 2694550.6406 | 1253232.9154 | 2694554.8816 | 1253223.0087 | 2694557.1333 | 1253217.9105
40 | 2694572.5538 | 1253164.3871 | 2694573.1478 | 1253158.0829 | 2694574.1411 | 1253149.7589 | 2694574.3078 | 1253148.7389
41 | 2694612.3897 | 1253226.6185 | 2694596.619 | 1253260.9824 | 2694587.8221 | 1253279.6813
42 | 2694545.335 | 1253250.8892 | 2694541.6776 | 1253249.3074 | 2694523.8764 | 1253242.5479
43 | 2694597.1172 | 1253352.1172 | 2694593.4116 | 1253360.1643 | 2694586.7207 | 1253374.6937
44 | 2694597.1172 | 1253352.1172 | 2694594.8634 | 1253349.1233 | 2694589.4846 | 1253342.8658 | 2694583.9154 | 1253337.1947 | 2694578.0777 | 1253331.3191 | 2694575.3481 | 1253328.8181 | 2694572.0646 | 1253326.0301 | 2694567.4809 | 1253322.9101
45 | 2694597.1172 | 1253352.1172 | 2694598.263 | 1253353.6144 | 2694604.6151 | 1253348.0782
46 | 2694597.1172 | 1253352.1172 | 2694598.263 | 1253353.6144 | 2694600.9557 | 1253357.4826 | 2694601.7783 | 1253358.8969 | 2694604.0654 | 1253363.1145 | 2694605.6987 | 1253366.6878 | 2694607.6438 | 1253371.0556 | 2694609.6233 | 1253376.1023 | 2694611.7451 | 1253382.1631
47 | 2694558.7351 | 1253317.6775 | 2694567.4809 | 1253322.9101
48 | 2694567.4809 | 1253322.9101 | 2694568.965 | 1253319.7646 | 2694587.8221 | 1253279.6813
49 | 2694609.2395 | 1253319.374 | 2694607.9999 | 1253321.8562 | 2694607.3965 | 1253325.6161 | 2694608.4778 | 1253329.2585 | 2694607.6783 | 1253331.592 | 2694605.8175 | 1253334.698 | 2694603.9575 | 1253338.2266 | 2694603.7487 | 1253339.958 | 2694604.404 | 1253341.9256 | 2694604.6151 | 1253348.0782
50 | 2694604.6151 | 1253348.0782 | 2694625.4516 | 1253320.178 | 2694634.4124 | 1253307.2444
51 | 2694611.7451 | 1253382.1631 | 2694614.0033 | 1253380.6313 | 2694619.1146 | 1253377.1769 | 2694621.292 | 1253375.5104 | 2694622.9841 | 1253373.9918 | 2694624.3362 | 1253372.49 | 2694625.5551 | 1253370.8304 | 2694626.7572 | 1253368.8036 | 2694632.6044 | 1253356.5072
52 | 2694558.7351 | 1253317.6775 | 2694553.8907 | 1253331.3442
53 | 2694653.1695 | 1253315.962 | 2694634.4124 | 1253307.2444
54 | 2694634.4124 | 1253307.2444 | 2694640.3605 | 1253298.1879 | 2694643.2342 | 1253293.244
55 | 2694632.6044 | 1253356.5072 | 2694636.9543 | 1253347.3596
56 | 2694650.3164 | 1253280.1217 | 2694645.1251 | 1253289.9909 | 2694643.2342 | 1253293.244
57 | 2694639.4937 | 1253342.0194 | 2694636.9543 | 1253347.3596
58 | 2694650.3164 | 1253280.1217 | 2694652.0918 | 1253276.2248 | 2694655.2023 | 1253268.8686
59 | 2694650.3164 | 1253280.1217 | 2694667.8247 | 1253288.1299 | 2694672.2908 | 1253285.5519
60 | 2694655.8269 | 1253267.3916 | 2694655.2023 | 1253268.8686
61 | 2694659.6224 | 1253257.8752 | 2694656.0056 | 1253266.969 | 2694655.8269 | 1253267.3916
62 | 2694659.6224 | 1253257.8752 | 2694661.8139 | 1253252.0485
63 | 2694684.7616 | 1253265.8054 | 2694659.6224 | 1253257.8752
64 | 2694713.9534 | 1253139.2962 | 2694715.7174 | 1253136.706
65 | 2694713.9534 | 1253139.2962 | 2694711.2871 | 1253143.2113 | 2694704.9425 | 1253153.4512 | 2694699.8589 | 1253162.5143
66 | 2694697.4967 | 1253166.7256 | 2694699.8589 | 1253162.5143
67 | 2694697.4967 | 1253166.7256 | 2694695.2865 | 1253170.6659 | 2694688.9869 | 1253183.2862 | 2694688.7025 | 1253183.9027
68 | 2694683.689 | 1253195.0244 | 2694684.3276 | 1253193.3863 | 2694688.7025 | 1253183.9027
69 | 2694683.689 | 1253195.0244 | 2694679.6924 | 1253205.277 | 2694679.0657 | 1253206.876
70 | 2694674.869 | 1253217.5838 | 2694679.0657 | 1253206.876
71 | 2694672.5721 | 1253223.4441 | 2694674.869 | 1253217.5838
72 | 2694672.5721 | 1253223.4441 | 2694668.6536 | 1253233.8627
73 | 2694697.6525 | 1253232.2296 | 2694672.5721 | 1253223.4441
74 | 2694668.6536 | 1253233.8627 | 2694665.0172 | 1253243.5314
75 | 2694466.495 | 1253204.5843 | 2694465.6179 | 1253200.4338 | 2694465.0204 | 1253200.5132 | 2694453.5016 | 1253202.631
76 | 2694466.495 | 1253204.5843 | 2694471.8583 | 1253232.1581
77 | 2694661.8139 | 1253252.0485 | 2694665.0172 | 1253243.5314

## bus_geodata
| x | y | coords
0 | 2694418.2128 | 1253271.0535
1 | 2694433.1953 | 1253244.5625
2 | 2694467.2762 | 1253264.3991
3 | 2694440.2774 | 1253166.7702
4 | 2694498.3234 | 1253282.3304
5 | 2694452.6422 | 1253289.6333
6 | 2694459.8523 | 1253130.4316
7 | 2694460.9632 | 1253119.93
8 | 2694494.7629 | 1253125.2732
9 | 2694424.2844 | 1253164.5024
10 | 2694481.419 | 1253169.3281
11 | 2694424.7767 | 1253153.9798
12 | 2694480.0481 | 1253084.5178
13 | 2694445.6235 | 1253112.1593
14 | 2694497.6766 | 1253293.54
15 | 2694513.6899 | 1253291.2047
16 | 2694581.4116 | 1253097.612
17 | 2694566.5475 | 1253094.4249
18 | 2694575.1615 | 1253143.5148
19 | 2694463.3799 | 1253075.3478
20 | 2694517.6989 | 1253127.552
21 | 2694483.078 | 1253177.9168
22 | 2694443.8131 | 1253111.2423
23 | 2694518.0378 | 1253338.878
24 | 2694543.1407 | 1253361.3516
25 | 2694480.0963 | 1253313.6753
26 | 2694484.5015 | 1253316.1586
27 | 2694483.6723 | 1253307.5256
28 | 2694585.0014 | 1253187.4387
29 | 2694602.7709 | 1253130.5566
30 | 2694567.1369 | 1253193.7481
31 | 2694563.4161 | 1253203.6854
32 | 2694567.1721 | 1253193.6373
33 | 2694587.9096 | 1253215.1551
34 | 2694557.1333 | 1253217.9105
35 | 2694572.5538 | 1253164.3871
36 | 2694612.3897 | 1253226.6185
37 | 2694545.335 | 1253250.8892
38 | 2694574.3078 | 1253148.7389
39 | 2694586.7207 | 1253374.6937
40 | 2694597.1172 | 1253352.1172
41 | 2694567.4809 | 1253322.9101
42 | 2694604.6151 | 1253348.0782
43 | 2694611.7451 | 1253382.1631
44 | 2694558.7351 | 1253317.6775
45 | 2694587.8221 | 1253279.6813
46 | 2694609.2395 | 1253319.374
47 | 2694634.4124 | 1253307.2444
48 | 2694632.6044 | 1253356.5072
49 | 2694553.8907 | 1253331.3442
50 | 2694653.1695 | 1253315.962
51 | 2694643.2342 | 1253293.244
52 | 2694636.9543 | 1253347.3596
53 | 2694487.7922 | 1253310.5093
54 | 2694519.2309 | 1253277.3823
55 | 2694523.8764 | 1253242.5479
56 | 2694650.3164 | 1253280.1217
57 | 2694655.2023 | 1253268.8686
58 | 2694672.2908 | 1253285.5519
59 | 2694655.8269 | 1253267.3916
60 | 2694659.6224 | 1253257.8752
61 | 2694639.4937 | 1253342.0194
62 | 2694713.9534 | 1253139.2962
63 | 2694715.7174 | 1253136.706
64 | 2694699.8589 | 1253162.5143
65 | 2694697.4967 | 1253166.7256
66 | 2694688.7025 | 1253183.9027
67 | 2694683.689 | 1253195.0244
68 | 2694679.0657 | 1253206.876
69 | 2694674.869 | 1253217.5838
70 | 2694672.5721 | 1253223.4441
71 | 2694668.6536 | 1253233.8627
72 | 2694697.6525 | 1253232.2296
73 | 2694453.5016 | 1253202.631
74 | 2694466.495 | 1253204.5843
75 | 2694471.8583 | 1253232.1581
76 | 2694665.0172 | 1253243.5314
77 | 2694661.8139 | 1253252.0485
78 | 2694684.7616 | 1253265.8054
79 | 2694563.4161 | 1253203.6854

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1