## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_296-22_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_296-22_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_296-22_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_296-22_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_296-22_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_296-22_0_4_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_296-22_0_4_node_31 | 0.4 | n |  | TRUE
7 | bus_LV_296-22_0_4_node_6 | 0.4 | n |  | TRUE
8 | bus_LV_296-22_0_4_node_82 | 0.4 | n |  | TRUE
9 | bus_LV_296-22_0_4_node_12 | 0.4 | n |  | TRUE
10 | bus_LV_296-22_0_4_node_57 | 0.4 | n |  | TRUE
11 | bus_LV_296-22_0_4_node_33 | 0.4 | n |  | TRUE
12 | bus_LV_296-22_0_4_node_7 | 0.4 | n |  | TRUE
13 | bus_LV_296-22_0_4_node_17 | 0.4 | n |  | TRUE
14 | bus_LV_296-22_0_4_node_68 | 0.4 | n |  | TRUE
15 | bus_LV_296-22_0_4_node_9 | 0.4 | n |  | TRUE
16 | bus_LV_296-22_0_4_node_35 | 0.4 | n |  | TRUE
17 | bus_LV_296-22_0_4_node_34 | 0.4 | n |  | TRUE
18 | bus_LV_296-22_0_4_node_10 | 0.4 | n |  | TRUE
19 | bus_LV_296-22_0_4_node_36 | 0.4 | n |  | TRUE
20 | bus_LV_296-22_0_4_node_11 | 0.4 | n |  | TRUE
21 | bus_LV_296-22_0_4_node_62 | 0.4 | n |  | TRUE
22 | bus_LV_296-22_0_4_node_69 | 0.4 | n |  | TRUE
23 | bus_LV_296-22_0_4_node_58 | 0.4 | n |  | TRUE
24 | bus_LV_296-22_0_4_node_14 | 0.4 | n |  | TRUE
25 | bus_LV_296-22_0_4_node_18 | 0.4 | n |  | TRUE
26 | bus_LV_296-22_0_4_node_32 | 0.4 | n |  | TRUE
27 | bus_LV_296-22_0_4_node_22 | 0.4 | n |  | TRUE
28 | bus_LV_296-22_0_4_node_19 | 0.4 | n |  | TRUE
29 | bus_LV_296-22_0_4_node_20 | 0.4 | n |  | TRUE
30 | bus_LV_296-22_0_4_node_48 | 0.4 | n |  | TRUE
31 | bus_LV_296-22_0_4_node_41 | 0.4 | n |  | TRUE
32 | bus_LV_296-22_0_4_node_21 | 0.4 | n |  | TRUE
33 | bus_LV_296-22_0_4_node_64 | 0.4 | n |  | TRUE
34 | bus_LV_296-22_0_4_node_77 | 0.4 | n |  | TRUE
35 | bus_LV_296-22_0_4_node_61 | 0.4 | n |  | TRUE
36 | bus_LV_296-22_0_4_node_23 | 0.4 | n |  | TRUE
37 | bus_LV_296-22_0_4_node_78 | 0.4 | n |  | TRUE
38 | bus_LV_296-22_0_4_node_79 | 0.4 | n |  | TRUE
39 | bus_LV_296-22_0_4_node_24 | 0.4 | n |  | TRUE
40 | bus_LV_296-22_0_4_node_81 | 0.4 | n |  | TRUE
41 | bus_LV_296-22_0_4_node_27 | 0.4 | n |  | TRUE
42 | bus_LV_296-22_0_4_node_72 | 0.4 | n |  | TRUE
43 | bus_LV_296-22_0_4_node_70 | 0.4 | n |  | TRUE
44 | bus_LV_296-22_0_4_node_28 | 0.4 | n |  | TRUE
45 | bus_LV_296-22_0_4_node_56 | 0.4 | n |  | TRUE
46 | bus_LV_296-22_0_4_node_60 | 0.4 | n |  | TRUE
47 | bus_LV_296-22_0_4_node_59 | 0.4 | n |  | TRUE
48 | bus_LV_296-22_0_4_node_65 | 0.4 | n |  | TRUE
49 | bus_LV_296-22_0_4_node_49 | 0.4 | n |  | TRUE
50 | bus_LV_296-22_0_4_node_39 | 0.4 | n |  | TRUE
51 | bus_LV_296-22_0_4_node_66 | 0.4 | n |  | TRUE
52 | bus_LV_296-22_0_4_node_80 | 0.4 | n |  | TRUE
53 | bus_LV_296-22_0_4_node_51 | 0.4 | n |  | TRUE
54 | bus_LV_296-22_0_4_node_50 | 0.4 | n |  | TRUE
55 | bus_LV_296-22_0_4_node_52 | 0.4 | n |  | TRUE
56 | bus_LV_296-22_0_4_node_42 | 0.4 | n |  | TRUE
57 | bus_LV_296-22_0_4_node_53 | 0.4 | n |  | TRUE
58 | bus_LV_296-22_0_4_node_45 | 0.4 | n |  | TRUE
59 | bus_LV_296-22_0_4_node_55 | 0.4 | n |  | TRUE
60 | bus_LV_296-22_0_4_node_75 | 0.4 | n |  | TRUE
61 | bus_LV_296-22_0_4_node_71 | 0.4 | n |  | TRUE
62 | bus_LV_296-22_0_4_node_73 | 0.4 | n |  | TRUE
63 | bus_LV_296-22_0_4_node_74 | 0.4 | n |  | TRUE
64 | bus_LV_296-22_0_4_node_63 | 0.4 | n |  | TRUE
65 | bus_LV_296-22_0_4_node_37 | 0.4 | n |  | TRUE
66 | bus_LV_296-22_0_4_node_38 | 0.4 | n |  | TRUE
67 | bus_LV_296-22_0_4_node_40 | 0.4 | n |  | TRUE
68 | bus_LV_296-22_0_4_node_43 | 0.4 | n |  | TRUE
69 | bus_LV_296-22_0_4_node_54 | 0.4 | n |  | TRUE
70 | bus_LV_296-22_0_4_node_44 | 0.4 | n |  | TRUE
71 | bus_LV_296-22_0_4_node_46 | 0.4 | n |  | TRUE
72 | bus_LV_296-22_0_4_node_47 | 0.4 | n |  | TRUE
73 | bus_LV_296-22_0_4_node_67 | 0.4 | n |  | TRUE
74 | bus_MV_363_0_node_90 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_296-22_0_4_load_0 | 0 | 0.05615 | 0.014073 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_296-22_0_4_load_1 | 1 | 0.0022477 | 0.00056332 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_296-22_0_4_load_31 | 6 | 0.054495 | 0.013658 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_296-22_0_4_load_82 | 8 | 0.026403 | 0.0066171 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_296-22_0_4_load_57 | 10 | 0.067732 | 0.016975 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_296-22_0_4_load_33 | 11 | 0.012304 | 0.0030838 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_296-22_0_4_load_68 | 14 | 0.0038584 | 0.00096702 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_296-22_0_4_load_35 | 16 | 0.028819 | 0.0072226 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_296-22_0_4_load_34 | 17 | 0.013245 | 0.0033195 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_296-22_0_4_load_69 | 22 | 0.0046492 | 0.0011652 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_296-22_0_4_load_58 | 23 | 0.025231 | 0.0063234 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_296-22_0_4_load_32 | 26 | 0.038291 | 0.0095965 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_296-22_0_4_load_48 | 30 | 0.0038235 | 0.00095827 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_296-22_0_4_load_41 | 31 | 0.002825 | 0.000708 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_296-22_0_4_load_77 | 34 | 0.0049019 | 0.0012285 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_296-22_0_4_load_61 | 35 | 0.0069622 | 0.0017449 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_296-22_0_4_load_78 | 37 | 0.0028639 | 0.00071777 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_296-22_0_4_load_79 | 38 | 0.0024669 | 0.00061825 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_296-22_0_4_load_70 | 43 | 0.032162 | 0.0080605 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_296-22_0_4_load_59 | 47 | 0.0071099 | 0.0017819 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_296-22_0_4_load_65 | 48 | 0.0086598 | 0.0021704 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_296-22_0_4_load_66 | 51 | 0.0036101 | 0.00090479 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_296-22_0_4_load_80 | 52 | 0.0014255 | 0.00035726 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_296-22_0_4_load_51 | 53 | 0.0050381 | 0.0012627 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_296-22_0_4_load_50 | 54 | 0.0029035 | 0.00072768 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_296-22_0_4_load_53 | 57 | 0.0076025 | 0.0019054 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_296-22_0_4_load_45 | 58 | 0.0091082 | 0.0022827 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_296-22_0_4_load_55 | 59 | 0.0075276 | 0.0018866 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_296-22_0_4_load_75 | 60 | 0.00091042 | 0.00022817 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_296-22_0_4_load_71 | 61 | 0.0022596 | 0.0005663 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_296-22_0_4_load_73 | 62 | 0.0032903 | 0.00082462 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_296-22_0_4_load_74 | 63 | 0.0013421 | 0.00033637 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_296-22_0_4_load_37 | 65 | 0.0021276 | 0.00053322 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_296-22_0_4_load_38 | 66 | 0.0021841 | 0.00054738 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_296-22_0_4_load_43 | 68 | 0.0072011 | 0.0018048 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_296-22_0_4_load_54 | 69 | 0.012341 | 0.0030929 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_296-22_0_4_load_46 | 71 | 0.0094155 | 0.0023598 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_296-22_0_4_load_47 | 72 | 0.0021726 | 0.0005445 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_296-22_0_4_load_67 | 73 | 0.032243 | 0.0080809 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 3 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_296-22_0_4_line_0 |  | 0 | 1 | 0.0035205 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
1 | LV_296-22_0_4_line_1 |  | 0 | 2 | 0.046791 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
2 | LV_296-22_0_4_line_2 |  | 1 | 3 | 0.0024216 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
3 | LV_296-22_0_4_line_3 |  | 2 | 4 | 0.026869 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_296-22_0_4_line_4 |  | 2 | 5 | 0.015168 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
5 | LV_296-22_0_4_line_5 |  | 3 | 6 | 0.04546 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
6 | LV_296-22_0_4_line_6 |  | 4 | 7 | 0.015573 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_296-22_0_4_line_7 |  | 4 | 8 | 0.001738 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_296-22_0_4_line_8 |  | 5 | 9 | 0.01706 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_296-22_0_4_line_9 |  | 5 | 10 | 0.021217 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
10 | LV_296-22_0_4_line_10 |  | 6 | 44 | 0.034558 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
11 | LV_296-22_0_4_line_11 |  | 7 | 11 | 0.0055891 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_296-22_0_4_line_12 |  | 9 | 23 | 0.030808 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_296-22_0_4_line_13 |  | 10 | 45 | 0.032595 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_296-22_0_4_line_14 |  | 12 | 13 | 0.079792 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_296-22_0_4_line_15 |  | 12 | 14 | 0.026084 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_296-22_0_4_line_16 |  | 13 | 27 | 0.0088497 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_296-22_0_4_line_17 |  | 13 | 22 | 0.023433 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_296-22_0_4_line_18 |  | 15 | 16 | 0.011513 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
19 | LV_296-22_0_4_line_19 |  | 15 | 17 | 0.021971 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
20 | LV_296-22_0_4_line_20 |  | 16 | 25 | 0.027391 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
21 | LV_296-22_0_4_line_21 |  | 17 | 18 | 0.02555 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
22 | LV_296-22_0_4_line_22 |  | 18 | 19 | 0.012705 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
23 | LV_296-22_0_4_line_23 |  | 19 | 46 | 0.022639 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
24 | LV_296-22_0_4_line_24 |  | 19 | 47 | 0.024263 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_296-22_0_4_line_25 |  | 20 | 21 | 0.003071 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_296-22_0_4_line_26 |  | 20 | 22 | 0.036004 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_296-22_0_4_line_27 |  | 21 | 48 | 0.031814 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_296-22_0_4_line_28 |  | 24 | 25 | 0.034305 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
29 | LV_296-22_0_4_line_29 |  | 24 | 26 | 0.033292 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
30 | LV_296-22_0_4_line_30 |  | 26 | 44 | 0.011479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
31 | LV_296-22_0_4_line_31 |  | 27 | 35 | 0.014951 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_296-22_0_4_line_32 |  | 28 | 29 | 0.029618 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_296-22_0_4_line_33 |  | 28 | 30 | 0.027355 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_296-22_0_4_line_34 |  | 29 | 31 | 0.014412 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_296-22_0_4_line_35 |  | 30 | 49 | 0.029158 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_296-22_0_4_line_36 |  | 31 | 50 | 0.012653 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_296-22_0_4_line_37 |  | 32 | 33 | 0.009041 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
38 | LV_296-22_0_4_line_38 |  | 32 | 34 | 0.018758 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
39 | LV_296-22_0_4_line_39 |  | 33 | 51 | 0.008169 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
40 | LV_296-22_0_4_line_40 |  | 34 | 36 | 0.029784 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
41 | LV_296-22_0_4_line_41 |  | 35 | 46 | 0.01762 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_296-22_0_4_line_42 |  | 36 | 37 | 0.04145 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_296-22_0_4_line_43 |  | 36 | 38 | 0.00348 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_296-22_0_4_line_44 |  | 38 | 42 | 0.019466 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_296-22_0_4_line_45 |  | 38 | 39 | 0.044045 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_296-22_0_4_line_46 |  | 39 | 40 | 0.017329 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_296-22_0_4_line_47 |  | 40 | 52 | 0.074487 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_296-22_0_4_line_48 |  | 41 | 42 | 0.076085 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_296-22_0_4_line_49 |  | 41 | 43 | 0.012123 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_296-22_0_4_line_50 |  | 42 | 60 | 0.01681 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_296-22_0_4_line_51 |  | 43 | 61 | 0.005512 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_296-22_0_4_line_52 |  | 45 | 59 | 0.021466 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_296-22_0_4_line_53 |  | 46 | 64 | 0.046583 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
54 | LV_296-22_0_4_line_54 |  | 49 | 72 | 0.006767 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_296-22_0_4_line_55 |  | 50 | 56 | 0.007052 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_296-22_0_4_line_56 |  | 50 | 65 | 0.020306 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_296-22_0_4_line_57 |  | 51 | 64 | 0.0098279 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
58 | LV_296-22_0_4_line_58 |  | 53 | 54 | 0.024904 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_296-22_0_4_line_59 |  | 54 | 55 | 0.0086763 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_296-22_0_4_line_60 |  | 55 | 56 | 0.02081 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_296-22_0_4_line_61 |  | 56 | 69 | 0.019271 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_296-22_0_4_line_62 |  | 57 | 58 | 0.0041999 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_296-22_0_4_line_63 |  | 58 | 67 | 0.016709 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_296-22_0_4_line_64 |  | 59 | 71 | 0.01686 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_296-22_0_4_line_65 |  | 60 | 63 | 0.013785 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_296-22_0_4_line_66 |  | 62 | 63 | 0.023944 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_296-22_0_4_line_67 |  | 64 | 73 | 0.032446 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_296-22_0_4_line_68 |  | 65 | 66 | 0.0008098 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_296-22_0_4_line_69 |  | 67 | 68 | 0.03694 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_296-22_0_4_line_70 |  | 68 | 70 | 0.019284 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_296-22_0_4_line_71 |  | 70 | 71 | 0.0084274 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_296-22_0_4_line_72 |  | 70 | 72 | 0.030753 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_296-22_0_4_trafo_3 | 0.63 MVA 20/0.4 kV | 74 | 3 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11
0 | 2694099.729 | 1253822.3121 | 2694099.7427 | 1253818.7916
1 | 2694122.7245 | 1253848.9382 | 2694118.9374 | 1253842.2395 | 2694102.2627 | 1253842.1412 | 2694099.6521 | 1253842.1219 | 2694099.729 | 1253822.3121
2 | 2694099.7521 | 1253816.37 | 2694099.7427 | 1253818.7916
3 | 2694122.7245 | 1253848.9382 | 2694124.8289 | 1253847.5706 | 2694126.3228 | 1253846.1599 | 2694127.7444 | 1253844.5479 | 2694128.7976 | 1253842.8522 | 2694129.3936 | 1253841.4383 | 2694129.9345 | 1253839.69 | 2694130.237 | 1253837.7488 | 2694130.4642 | 1253835.3283 | 2694131.1651 | 1253824.9425
4 | 2694122.7245 | 1253848.9382 | 2694126.4353 | 1253855.6914 | 2694130.0288 | 1253862.2313
5 | 2694099.7521 | 1253816.37 | 2694097.111 | 1253816.3725 | 2694094.5005 | 1253816.3533 | 2694070.9779 | 1253829.7791 | 2694065.1286 | 1253835.5574 | 2694061.671 | 1253832.0825
6 | 2694131.1651 | 1253824.9425 | 2694138.0627 | 1253823.9513 | 2694146.5789 | 1253822.719
7 | 2694131.1651 | 1253824.9425 | 2694131.1746 | 1253823.2045
8 | 2694145.376 | 1253867.0345 | 2694144.5376 | 1253865.6646 | 2694143.5791 | 1253864.7264 | 2694141.7494 | 1253863.5297 | 2694139.5137 | 1253862.7158 | 2694136.3561 | 1253861.9872 | 2694133.1885 | 1253861.8813 | 2694130.0288 | 1253862.2313
9 | 2694130.0288 | 1253862.2313 | 2694126.0436 | 1253864.6699 | 2694120.6703 | 1253868.5098 | 2694111.8991 | 1253873.1869
10 | 2694037.2988 | 1253807.5825 | 2694039.7938 | 1253810.1241 | 2694053.5941 | 1253823.9652 | 2694061.671 | 1253832.0825
11 | 2694146.5789 | 1253822.719 | 2694145.6704 | 1253817.2043
12 | 2694145.376 | 1253867.0345 | 2694145.4353 | 1253868.5255 | 2694145.2978 | 1253870.0579 | 2694144.609 | 1253873.9833 | 2694144.1442 | 1253877.5899 | 2694144.5499 | 1253881.4994 | 2694145.4279 | 1253884.6491 | 2694147.6042 | 1253887.7751 | 2694150.0298 | 1253890.8827 | 2694151.4889 | 1253893.5524 | 2694152.2698 | 1253895.5678
13 | 2694082.5562 | 1253886.5629 | 2694083.7256 | 1253886.1033 | 2694085.2905 | 1253885.9169 | 2694087.1533 | 1253885.9799 | 2694088.5548 | 1253885.6352 | 2694111.8991 | 1253873.1869
14 | 2694086.6777 | 1253614.9161 | 2694087.5931 | 1253612.3953 | 2694088.6625 | 1253610.155 | 2694089.7242 | 1253608.4038 | 2694091.1481 | 1253606.6473 | 2694093.4548 | 1253604.4266 | 2694115.1384 | 1253586.6461 | 2694125.3897 | 1253581.1936 | 2694143.0327 | 1253573.6013 | 2694144.9617 | 1253578.0466 | 2694146.6366 | 1253578.0732 | 2694148.0699 | 1253579.0523
15 | 2694148.0699 | 1253579.0523 | 2694149.5228 | 1253581.6441 | 2694154.836 | 1253604.1376
16 | 2694080.4842 | 1253616.2187 | 2694081.2192 | 1253613.1836 | 2694086.6777 | 1253614.9161
17 | 2694086.6777 | 1253614.9161 | 2694108.7026 | 1253622.9162
18 | 2694095.5198 | 1253721.373 | 2694091.5193 | 1253722.8662 | 2694086.2981 | 1253724.7292 | 2694084.599 | 1253724.7724
19 | 2694095.5198 | 1253721.373 | 2694089.3588 | 1253700.2839
20 | 2694068.5441 | 1253741.716 | 2694068.5756 | 1253734.0328 | 2694077.9564 | 1253724.9413 | 2694084.599 | 1253724.7724
21 | 2694082.1942 | 1253675.7591 | 2694089.3588 | 1253700.2839
22 | 2694082.1942 | 1253675.7591 | 2694078.1194 | 1253674.8047 | 2694076.1167 | 1253674.039 | 2694074.3378 | 1253672.9655 | 2694072.8827 | 1253671.4634 | 2694071.5148 | 1253669.6958
23 | 2694071.5148 | 1253669.6958 | 2694070.4823 | 1253667.7112 | 2694069.7241 | 1253665.5642 | 2694069.4252 | 1253663.48 | 2694069.523 | 1253661.1242 | 2694069.9579 | 1253658.4512 | 2694072.7372 | 1253647.8538
24 | 2694071.5148 | 1253669.6958 | 2694095.1409 | 1253675.2173
25 | 2694141.5914 | 1253638.1288 | 2694142.5434 | 1253635.2083
26 | 2694142.5434 | 1253635.2083 | 2694108.7026 | 1253622.9162
27 | 2694141.5914 | 1253638.1288 | 2694141.3309 | 1253639.3256 | 2694134.7597 | 1253669.2003
28 | 2694068.5441 | 1253741.716 | 2694068.5831 | 1253744.4855 | 2694068.6155 | 1253746.7211 | 2694069.0479 | 1253776.0175
29 | 2694069.0479 | 1253776.0175 | 2694062.9811 | 1253782.1816 | 2694045.4601 | 1253799.5106
30 | 2694037.2988 | 1253807.5825 | 2694045.4601 | 1253799.5106
31 | 2694080.4842 | 1253616.2187 | 2694076.9659 | 1253630.7494
32 | 2694127.6423 | 1254017.0478 | 2694112.1305 | 1254015.022 | 2694098.2939 | 1254012.5225
33 | 2694127.6423 | 1254017.0478 | 2694127.8144 | 1254012.3914 | 2694127.6532 | 1254009.2419 | 2694127.1222 | 1254006.0977 | 2694122.8852 | 1253990.3036
34 | 2694098.2939 | 1254012.5225 | 2694084.1633 | 1254009.6865
35 | 2694115.5226 | 1253962.09 | 2694121.8794 | 1253986.5546 | 2694122.8852 | 1253990.3036
36 | 2694071.7576 | 1254007.1968 | 2694084.1633 | 1254009.6865
37 | 2694034.5457 | 1253614.1767 | 2694032.3538 | 1253622.9487
38 | 2694034.5457 | 1253614.1767 | 2694022.1656 | 1253618.2611 | 2694016.6326 | 1253619.7185
39 | 2694032.3538 | 1253622.9487 | 2694030.3646 | 1253630.8718
40 | 2693987.8028 | 1253624.2983 | 2693998.7023 | 1253620.3126 | 2694010.5791 | 1253621.313 | 2694016.6326 | 1253619.7185
41 | 2694072.7372 | 1253647.8538 | 2694073.9183 | 1253643.3356 | 2694076.9659 | 1253630.7494
42 | 2693987.8028 | 1253624.2983 | 2693995.0143 | 1253641.5707 | 2693999.653 | 1253653.1089 | 2694003.1833 | 1253662.2164 | 2694003.3674 | 1253662.712
43 | 2693984.5239 | 1253625.4917 | 2693987.8028 | 1253624.2983
44 | 2693991.9578 | 1253643.4904 | 2693984.5239 | 1253625.4917
45 | 2693984.5239 | 1253625.4917 | 2693976.001 | 1253607.1644 | 2693975.0244 | 1253604.5135 | 2693974.4969 | 1253602.0921 | 2693974.3715 | 1253599.5326 | 2693974.4982 | 1253597.2551 | 2693975.055 | 1253594.5062 | 2693977.7505 | 1253583.9518
46 | 2693977.7505 | 1253583.9518 | 2693961.0118 | 1253579.2827
47 | 2693961.0118 | 1253579.2827 | 2693958.6449 | 1253590.0535 | 2693948.1712 | 1253652.6429
48 | 2694019.5411 | 1253714.1277 | 2694017.0004 | 1253710.6624 | 2694015.3688 | 1253707.9122 | 2694013.4686 | 1253704.0234 | 2694012.0363 | 1253700.131 | 2694004.5136 | 1253675.3812 | 2693991.9578 | 1253643.4904
49 | 2694019.5411 | 1253714.1277 | 2694007.6841 | 1253716.6531
50 | 2693991.9578 | 1253643.4904 | 2693990.761 | 1253644.7279 | 2693989.4146 | 1253646.3522 | 2693987.9699 | 1253648.4643 | 2693986.5763 | 1253651.1665 | 2693985.367 | 1253654.1386 | 2693984.3819 | 1253657.2476 | 2693984.1301 | 1253658.1212
51 | 2694007.6841 | 1253716.6531 | 2694002.293 | 1253717.8013 | 2694002.293 | 1253717.8013
52 | 2694082.5562 | 1253886.5629 | 2694083.5014 | 1253888.3348 | 2694092.6838 | 1253905.489
53 | 2694027.9715 | 1253640.4039 | 2694035.4658 | 1253642.2354 | 2694039.4271 | 1253643.2102 | 2694040.4945 | 1253643.4717 | 2694041.7498 | 1253643.7808 | 2694048.0199 | 1253643.3467 | 2694056.6921 | 1253642.7617 | 2694062.3881 | 1253642.374 | 2694072.7372 | 1253647.8538
54 | 2694115.5226 | 1253962.09 | 2694113.8595 | 1253955.5306
55 | 2694064.7645 | 1254006.1405 | 2694071.7576 | 1254007.1968
56 | 2694071.7576 | 1254007.1968 | 2694072.0077 | 1254001.4296 | 2694071.8382 | 1253998.3245 | 2694071.3885 | 1253995.7598 | 2694070.6087 | 1253993.0786 | 2694068.3234 | 1253987.5009
57 | 2694027.9715 | 1253640.4039 | 2694030.3646 | 1253630.8718
58 | 2694010.7184 | 1254005.1784 | 2694015.2982 | 1254004.0647 | 2694019.5792 | 1254003.421 | 2694023.8267 | 1254002.9881 | 2694028.9386 | 1254002.7691 | 2694035.4136 | 1254002.8826
59 | 2694044.0721 | 1254003.4321 | 2694035.675 | 1254002.8872 | 2694035.4136 | 1254002.8826
60 | 2694064.7645 | 1254006.1405 | 2694058.3737 | 1254005.1716 | 2694044.0721 | 1254003.4321
61 | 2694064.7645 | 1254006.1405 | 2694063.1933 | 1254015.7453 | 2694062.762 | 1254019.1411 | 2694062.4746 | 1254021.0825 | 2694059.9666 | 1254020.7869 | 2694059.794 | 1254022.4053
62 | 2694040.7199 | 1253933.5534 | 2694042.7232 | 1253937.2447
63 | 2694050.6931 | 1253951.9302 | 2694042.7232 | 1253937.2447
64 | 2694092.6838 | 1253905.489 | 2694092.9987 | 1253906.0773 | 2694100.6392 | 1253920.3544
65 | 2693980.2991 | 1253671.3635 | 2693980.5407 | 1253670.5748 | 2693984.1301 | 1253658.1212
66 | 2693973.0675 | 1253694.1867 | 2693974.4082 | 1253690.3819 | 2693978.0735 | 1253678.6309 | 2693980.2991 | 1253671.3635
67 | 2694027.9715 | 1253640.4039 | 2694023.8025 | 1253657.2509 | 2694024.1354 | 1253660.5254 | 2694024.3708 | 1253662.8087 | 2694024.6845 | 1253665.8605 | 2694024.874 | 1253667.7094 | 2694025.1868 | 1253670.8168 | 2694025.3304 | 1253672.2313 | 2694025.3338 | 1253672.2637
68 | 2694068.0164 | 1253986.7515 | 2694068.3234 | 1253987.5009
69 | 2694050.6931 | 1253951.9302 | 2694080.9094 | 1253935.575 | 2694083.1791 | 1253934.3463
70 | 2694100.8961 | 1253928.5759 | 2694099.2656 | 1253928.1386 | 2694097.5855 | 1253927.9784 | 2694095.9083 | 1253928.1074 | 2694094.2721 | 1253928.504 | 2694092.722 | 1253929.1799 | 2694083.1791 | 1253934.3463
71 | 2694100.8961 | 1253928.5759 | 2694101.3894 | 1253921.7562 | 2694100.6392 | 1253920.3544
72 | 2694100.8961 | 1253928.5759 | 2694102.4241 | 1253929.2896 | 2694103.8124 | 1253930.2458 | 2694104.8698 | 1253931.6081 | 2694106.0432 | 1253933.7395 | 2694107.7002 | 1253937.2575 | 2694109.3269 | 1253940.7749 | 2694110.851 | 1253944.5799 | 2694112.1286 | 1253948.7034 | 2694113.8595 | 1253955.5306

## bus_geodata
| x | y | coords
0 | 2694099.729 | 1253822.3121
1 | 2694099.7427 | 1253818.7916
2 | 2694122.7245 | 1253848.9382
3 | 2694099.7521 | 1253816.37
4 | 2694131.1651 | 1253824.9425
5 | 2694130.0288 | 1253862.2313
6 | 2694061.671 | 1253832.0825
7 | 2694146.5789 | 1253822.719
8 | 2694131.1746 | 1253823.2045
9 | 2694145.376 | 1253867.0345
10 | 2694111.8991 | 1253873.1869
11 | 2694145.6704 | 1253817.2043
12 | 2694148.0699 | 1253579.0523
13 | 2694086.6777 | 1253614.9161
14 | 2694154.836 | 1253604.1376
15 | 2694095.5198 | 1253721.373
16 | 2694084.599 | 1253724.7724
17 | 2694089.3588 | 1253700.2839
18 | 2694082.1942 | 1253675.7591
19 | 2694071.5148 | 1253669.6958
20 | 2694142.5434 | 1253635.2083
21 | 2694141.5914 | 1253638.1288
22 | 2694108.7026 | 1253622.9162
23 | 2694152.2698 | 1253895.5678
24 | 2694069.0479 | 1253776.0175
25 | 2694068.5441 | 1253741.716
26 | 2694045.4601 | 1253799.5106
27 | 2694080.4842 | 1253616.2187
28 | 2694127.6423 | 1254017.0478
29 | 2694098.2939 | 1254012.5225
30 | 2694122.8852 | 1253990.3036
31 | 2694084.1633 | 1254009.6865
32 | 2694034.5457 | 1253614.1767
33 | 2694032.3538 | 1253622.9487
34 | 2694016.6326 | 1253619.7185
35 | 2694076.9659 | 1253630.7494
36 | 2693987.8028 | 1253624.2983
37 | 2694003.3674 | 1253662.712
38 | 2693984.5239 | 1253625.4917
39 | 2693977.7505 | 1253583.9518
40 | 2693961.0118 | 1253579.2827
41 | 2694019.5411 | 1253714.1277
42 | 2693991.9578 | 1253643.4904
43 | 2694007.6841 | 1253716.6531
44 | 2694037.2988 | 1253807.5825
45 | 2694082.5562 | 1253886.5629
46 | 2694072.7372 | 1253647.8538
47 | 2694095.1409 | 1253675.2173
48 | 2694134.7597 | 1253669.2003
49 | 2694115.5226 | 1253962.09
50 | 2694071.7576 | 1254007.1968
51 | 2694030.3646 | 1253630.8718
52 | 2693948.1712 | 1253652.6429
53 | 2694010.7184 | 1254005.1784
54 | 2694035.4136 | 1254002.8826
55 | 2694044.0722 | 1254003.4321
56 | 2694064.7645 | 1254006.1405
57 | 2694040.7199 | 1253933.5534
58 | 2694042.7232 | 1253937.2447
59 | 2694092.6838 | 1253905.489
60 | 2693984.1301 | 1253658.1212
61 | 2694002.293 | 1253717.8013
62 | 2693973.0675 | 1253694.1867
63 | 2693980.2991 | 1253671.3635
64 | 2694027.9715 | 1253640.4039
65 | 2694068.3234 | 1253987.5009
66 | 2694068.0164 | 1253986.7515
67 | 2694050.6931 | 1253951.9302
68 | 2694083.1791 | 1253934.3463
69 | 2694059.794 | 1254022.4053
70 | 2694100.8961 | 1253928.5759
71 | 2694100.6392 | 1253920.3544
72 | 2694113.8595 | 1253955.5306
73 | 2694025.3338 | 1253672.2637
74 | 2694096.5292 | 1253776.0762

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1