## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_296-25_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_296-25_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_296-25_0_5_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_296-25_0_5_node_8 | 0.4 | n |  | TRUE
4 | bus_LV_296-25_0_5_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_296-25_0_5_node_18 | 0.4 | n |  | TRUE
6 | bus_LV_296-25_0_5_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_296-25_0_5_node_47 | 0.4 | n |  | TRUE
8 | bus_LV_296-25_0_5_node_21 | 0.4 | n |  | TRUE
9 | bus_LV_296-25_0_5_node_23 | 0.4 | n |  | TRUE
10 | bus_LV_296-25_0_5_node_9 | 0.4 | n |  | TRUE
11 | bus_LV_296-25_0_5_node_44 | 0.4 | n |  | TRUE
12 | bus_LV_296-25_0_5_node_10 | 0.4 | n |  | TRUE
13 | bus_LV_296-25_0_5_node_14 | 0.4 | n |  | TRUE
14 | bus_LV_296-25_0_5_node_12 | 0.4 | n |  | TRUE
15 | bus_LV_296-25_0_5_node_22 | 0.4 | n |  | TRUE
16 | bus_LV_296-25_0_5_node_15 | 0.4 | n |  | TRUE
17 | bus_LV_296-25_0_5_node_16 | 0.4 | n |  | TRUE
18 | bus_LV_296-25_0_5_node_48 | 0.4 | n |  | TRUE
19 | bus_LV_296-25_0_5_node_31 | 0.4 | n |  | TRUE
20 | bus_LV_296-25_0_5_node_35 | 0.4 | n |  | TRUE
21 | bus_LV_296-25_0_5_node_32 | 0.4 | n |  | TRUE
22 | bus_LV_296-25_0_5_node_29 | 0.4 | n |  | TRUE
23 | bus_LV_296-25_0_5_node_79 | 0.4 | n |  | TRUE
24 | bus_LV_296-25_0_5_node_27 | 0.4 | n |  | TRUE
25 | bus_LV_296-25_0_5_node_45 | 0.4 | n |  | TRUE
26 | bus_LV_296-25_0_5_node_46 | 0.4 | n |  | TRUE
27 | bus_LV_296-25_0_5_node_11 | 0.4 | n |  | TRUE
28 | bus_LV_296-25_0_5_node_17 | 0.4 | n |  | TRUE
29 | bus_LV_296-25_0_5_node_19 | 0.4 | n |  | TRUE
30 | bus_LV_296-25_0_5_node_20 | 0.4 | n |  | TRUE
31 | bus_LV_296-25_0_5_node_40 | 0.4 | n |  | TRUE
32 | bus_LV_296-25_0_5_node_37 | 0.4 | n |  | TRUE
33 | bus_LV_296-25_0_5_node_36 | 0.4 | n |  | TRUE
34 | bus_LV_296-25_0_5_node_26 | 0.4 | n |  | TRUE
35 | bus_LV_296-25_0_5_node_39 | 0.4 | n |  | TRUE
36 | bus_LV_296-25_0_5_node_41 | 0.4 | n |  | TRUE
37 | bus_LV_296-25_0_5_node_38 | 0.4 | n |  | TRUE
38 | bus_LV_296-25_0_5_node_25 | 0.4 | n |  | TRUE
39 | bus_LV_296-25_0_5_node_24 | 0.4 | n |  | TRUE
40 | bus_LV_296-25_0_5_node_85 | 0.4 | n |  | TRUE
41 | bus_LV_296-25_0_5_node_76 | 0.4 | n |  | TRUE
42 | bus_LV_296-25_0_5_node_77 | 0.4 | n |  | TRUE
43 | bus_LV_296-25_0_5_node_78 | 0.4 | n |  | TRUE
44 | bus_LV_296-25_0_5_node_80 | 0.4 | n |  | TRUE
45 | bus_LV_296-25_0_5_node_82 | 0.4 | n |  | TRUE
46 | bus_LV_296-25_0_5_node_81 | 0.4 | n |  | TRUE
47 | bus_LV_296-25_0_5_node_83 | 0.4 | n |  | TRUE
48 | bus_LV_296-25_0_5_node_84 | 0.4 | n |  | TRUE
49 | bus_LV_296-25_0_5_node_86 | 0.4 | n |  | TRUE
50 | bus_LV_296-25_0_5_node_87 | 0.4 | n |  | TRUE
51 | bus_LV_296-25_0_5_node_89 | 0.4 | n |  | TRUE
52 | bus_LV_296-25_0_5_node_34 | 0.4 | n |  | TRUE
53 | bus_LV_296-25_0_5_node_33 | 0.4 | n |  | TRUE
54 | bus_LV_296-25_0_5_node_91 | 0.4 | n |  | TRUE
55 | bus_LV_296-25_0_5_node_90 | 0.4 | n |  | TRUE
56 | bus_LV_296-25_0_5_node_88 | 0.4 | n |  | TRUE
57 | bus_LV_296-25_0_5_node_42 | 0.4 | n |  | TRUE
58 | bus_LV_296-25_0_5_node_58 | 0.4 | n |  | TRUE
59 | bus_LV_296-25_0_5_node_55 | 0.4 | n |  | TRUE
60 | bus_LV_296-25_0_5_node_43 | 0.4 | n |  | TRUE
61 | bus_LV_296-25_0_5_node_50 | 0.4 | n |  | TRUE
62 | bus_LV_296-25_0_5_node_56 | 0.4 | n |  | TRUE
63 | bus_LV_296-25_0_5_node_49 | 0.4 | n |  | TRUE
64 | bus_LV_296-25_0_5_node_54 | 0.4 | n |  | TRUE
65 | bus_LV_296-25_0_5_node_67 | 0.4 | n |  | TRUE
66 | bus_LV_296-25_0_5_node_53 | 0.4 | n |  | TRUE
67 | bus_LV_296-25_0_5_node_68 | 0.4 | n |  | TRUE
68 | bus_LV_296-25_0_5_node_69 | 0.4 | n |  | TRUE
69 | bus_LV_296-25_0_5_node_66 | 0.4 | n |  | TRUE
70 | bus_LV_296-25_0_5_node_57 | 0.4 | n |  | TRUE
71 | bus_LV_296-25_0_5_node_59 | 0.4 | n |  | TRUE
72 | bus_LV_296-25_0_5_node_60 | 0.4 | n |  | TRUE
73 | bus_LV_296-25_0_5_node_61 | 0.4 | n |  | TRUE
74 | bus_LV_296-25_0_5_node_62 | 0.4 | n |  | TRUE
75 | bus_LV_296-25_0_5_node_63 | 0.4 | n |  | TRUE
76 | bus_LV_296-25_0_5_node_64 | 0.4 | n |  | TRUE
77 | bus_LV_296-25_0_5_node_65 | 0.4 | n |  | TRUE
78 | bus_LV_296-25_0_5_node_70 | 0.4 | n |  | TRUE
79 | bus_LV_296-25_0_5_node_71 | 0.4 | n |  | TRUE
80 | bus_LV_296-25_0_5_node_72 | 0.4 | n |  | TRUE
81 | bus_LV_296-25_0_5_node_73 | 0.4 | n |  | TRUE
82 | bus_LV_296-25_0_5_node_74 | 0.4 | n |  | TRUE
83 | bus_LV_296-25_0_5_node_75 | 0.4 | n |  | TRUE
84 | bus_MV_363_0_node_50 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_296-25_0_5_load_0 | 0 | 0.0090063 | 0.0022572 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_296-25_0_5_load_1 | 1 | 0.037459 | 0.0093882 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_296-25_0_5_load_21 | 8 | 0.017641 | 0.0044213 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_296-25_0_5_load_23 | 9 | 0.053775 | 0.013477 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_296-25_0_5_load_44 | 11 | 0.00073974 | 0.0001854 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_296-25_0_5_load_12 | 14 | 0.018345 | 0.0045977 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_296-25_0_5_load_22 | 15 | 0.0017107 | 0.00042875 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_296-25_0_5_load_15 | 16 | 0.0048463 | 0.0012146 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_296-25_0_5_load_16 | 17 | 0.0047703 | 0.0011955 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_296-25_0_5_load_48 | 18 | 0.00063941 | 0.00016025 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_296-25_0_5_load_35 | 20 | 0.001133 | 0.00028395 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_296-25_0_5_load_27 | 24 | 0.0021768 | 0.00054556 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_296-25_0_5_load_46 | 26 | 0.091949 | 0.023045 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_296-25_0_5_load_11 | 27 | 0.038457 | 0.0096381 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_296-25_0_5_load_40 | 31 | 0.003021 | 0.00075714 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_296-25_0_5_load_37 | 32 | 0.015352 | 0.0038476 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_296-25_0_5_load_36 | 33 | 0.048117 | 0.012059 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_296-25_0_5_load_26 | 34 | 0.0018802 | 0.00047123 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_296-25_0_5_load_39 | 35 | 0.0049097 | 0.0012305 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_296-25_0_5_load_25 | 38 | 0.0052741 | 0.0013218 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_296-25_0_5_load_24 | 39 | 0.0020303 | 0.00050885 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_296-25_0_5_load_76 | 41 | 0.0024554 | 0.00061539 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_296-25_0_5_load_77 | 42 | 0.0044679 | 0.0011198 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_296-25_0_5_load_80 | 44 | 0.0012637 | 0.00031672 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_296-25_0_5_load_82 | 45 | 0.0018572 | 0.00046545 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_296-25_0_5_load_81 | 46 | 0.0029251 | 0.0007331 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_296-25_0_5_load_83 | 47 | 0.0021721 | 0.00054438 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_296-25_0_5_load_84 | 48 | 0.0012334 | 0.00030911 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_296-25_0_5_load_86 | 49 | 0.0012373 | 0.00031009 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_296-25_0_5_load_87 | 50 | 0.0012321 | 0.00030878 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_296-25_0_5_load_89 | 51 | 0.00032664 | 8.1863e-05 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_296-25_0_5_load_33 | 53 | 0.00059454 | 0.00014901 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_296-25_0_5_load_91 | 54 | 0.052592 | 0.013181 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_296-25_0_5_load_90 | 55 | 0.001284 | 0.0003218 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_296-25_0_5_load_88 | 56 | 0.0012376 | 0.00031018 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_296-25_0_5_load_58 | 58 | 0.012135 | 0.0030414 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_296-25_0_5_load_55 | 59 | 0.0016523 | 0.00041411 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_296-25_0_5_load_56 | 62 | 0.0015384 | 0.00038557 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_296-25_0_5_load_49 | 63 | 0.0034727 | 0.00087033 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_296-25_0_5_load_67 | 65 | 0.0017494 | 0.00043845 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_296-25_0_5_load_68 | 67 | 0.0067891 | 0.0017015 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_296-25_0_5_load_69 | 68 | 0.0078316 | 0.0019628 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_296-25_0_5_load_66 | 69 | 0.00073885 | 0.00018517 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_296-25_0_5_load_57 | 70 | 0.0012689 | 0.00031802 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_296-25_0_5_load_59 | 71 | 0.0010348 | 0.00025933 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_296-25_0_5_load_60 | 72 | 0.00071662 | 0.0001796 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_296-25_0_5_load_61 | 73 | 0.00087736 | 0.00021989 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_296-25_0_5_load_62 | 74 | 0.00074078 | 0.00018566 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_296-25_0_5_load_63 | 75 | 0.00094162 | 0.00023599 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_296-25_0_5_load_64 | 76 | 0.0014363 | 0.00035997 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_296-25_0_5_load_65 | 77 | 0.0011917 | 0.00029866 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_296-25_0_5_load_70 | 78 | 0.014086 | 0.0035302 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_296-25_0_5_load_73 | 81 | 0.0048148 | 0.0012067 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_296-25_0_5_load_75 | 83 | 0.0013455 | 0.0003372 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 9 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_296-25_0_5_line_0 |  | 0 | 1 | 0.079092 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_296-25_0_5_line_1 |  | 1 | 2 | 0.026755 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_296-25_0_5_line_2 |  | 2 | 3 | 0.0092231 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_296-25_0_5_line_3 |  | 3 | 9 | 0.018681 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
4 | LV_296-25_0_5_line_4 |  | 3 | 4 | 0.010462 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_296-25_0_5_line_5 |  | 4 | 5 | 0.003579 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_296-25_0_5_line_6 |  | 5 | 8 | 0.018278 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_296-25_0_5_line_7 |  | 5 | 15 | 0.039643 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_296-25_0_5_line_8 |  | 6 | 7 | 0.014231 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_296-25_0_5_line_9 |  | 6 | 8 | 0.021341 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_296-25_0_5_line_10 |  | 7 | 19 | 0.009182 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_296-25_0_5_line_11 |  | 7 | 18 | 0.014065 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_296-25_0_5_line_12 |  | 9 | 10 | 0.035055 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
13 | LV_296-25_0_5_line_13 |  | 10 | 11 | 0.029247 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
14 | LV_296-25_0_5_line_14 |  | 10 | 12 | 0.023902 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
15 | LV_296-25_0_5_line_15 |  | 11 | 25 | 0.032824 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
16 | LV_296-25_0_5_line_16 |  | 12 | 13 | 0.054841 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_296-25_0_5_line_17 |  | 12 | 14 | 0.059011 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_296-25_0_5_line_18 |  | 13 | 26 | 0.022183 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_296-25_0_5_line_19 |  | 14 | 27 | 0.0028701 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_296-25_0_5_line_20 |  | 15 | 34 | 0.031634 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_296-25_0_5_line_21 |  | 16 | 17 | 0.033102 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_296-25_0_5_line_22 |  | 17 | 28 | 0.0028656 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_296-25_0_5_line_23 |  | 19 | 51 | 0.008825 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_296-25_0_5_line_24 |  | 20 | 21 | 0.013419 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_296-25_0_5_line_25 |  | 21 | 52 | 0.021522 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_296-25_0_5_line_26 |  | 21 | 22 | 0.094583 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_296-25_0_5_line_27 |  | 22 | 23 | 0.054248 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_296-25_0_5_line_28 |  | 22 | 24 | 0.004517 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_296-25_0_5_line_29 |  | 23 | 46 | 0.032828 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_296-25_0_5_line_30 |  | 25 | 64 | 0.00538 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
31 | LV_296-25_0_5_line_31 |  | 28 | 29 | 0.030761 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_296-25_0_5_line_32 |  | 28 | 30 | 0.003715 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_296-25_0_5_line_33 |  | 29 | 31 | 0.0099146 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_296-25_0_5_line_34 |  | 30 | 32 | 0.032113 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_296-25_0_5_line_35 |  | 30 | 33 | 0.019466 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_296-25_0_5_line_36 |  | 31 | 35 | 0.0066717 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_296-25_0_5_line_37 |  | 34 | 38 | 0.0044646 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_296-25_0_5_line_38 |  | 35 | 36 | 0.01133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_296-25_0_5_line_39 |  | 36 | 37 | 0.024092 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_296-25_0_5_line_40 |  | 37 | 57 | 0.042799 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_296-25_0_5_line_41 |  | 38 | 39 | 0.017111 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_296-25_0_5_line_42 |  | 39 | 40 | 0.043955 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_296-25_0_5_line_43 |  | 40 | 45 | 0.0096757 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_296-25_0_5_line_44 |  | 40 | 46 | 0.029981 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_296-25_0_5_line_45 |  | 40 | 47 | 0.037981 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_296-25_0_5_line_46 |  | 41 | 42 | 0.0045313 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_296-25_0_5_line_47 |  | 41 | 43 | 0.014108 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_296-25_0_5_line_48 |  | 43 | 44 | 0.036321 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_296-25_0_5_line_49 |  | 44 | 45 | 0.010027 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_296-25_0_5_line_50 |  | 47 | 48 | 0.026881 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_296-25_0_5_line_51 |  | 48 | 49 | 0.0014311 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_296-25_0_5_line_52 |  | 49 | 50 | 0.024003 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_296-25_0_5_line_53 |  | 50 | 56 | 0.00078631 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_296-25_0_5_line_54 |  | 51 | 53 | 0.0041291 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_296-25_0_5_line_55 |  | 52 | 54 | 0.017187 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_296-25_0_5_line_56 |  | 52 | 55 | 0.035294 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_296-25_0_5_line_57 |  | 57 | 58 | 0.037276 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_296-25_0_5_line_58 |  | 57 | 59 | 0.033245 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_296-25_0_5_line_59 |  | 58 | 60 | 0.03999 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_296-25_0_5_line_60 |  | 59 | 62 | 0.02594 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_296-25_0_5_line_61 |  | 60 | 61 | 0.063204 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_296-25_0_5_line_62 |  | 61 | 63 | 0.049707 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_296-25_0_5_line_63 |  | 62 | 70 | 0.028613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_296-25_0_5_line_64 |  | 64 | 65 | 0.017074 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
65 | LV_296-25_0_5_line_65 |  | 64 | 66 | 0.052178 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_296-25_0_5_line_66 |  | 65 | 69 | 0.017185 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
67 | LV_296-25_0_5_line_67 |  | 66 | 67 | 0.014412 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_296-25_0_5_line_68 |  | 67 | 68 | 0.074517 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_296-25_0_5_line_69 |  | 68 | 78 | 0.014605 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_296-25_0_5_line_70 |  | 69 | 77 | 0.006864 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
71 | LV_296-25_0_5_line_71 |  | 70 | 71 | 0.0080994 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_296-25_0_5_line_72 |  | 71 | 72 | 0.0091226 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_296-25_0_5_line_73 |  | 72 | 73 | 0.0080856 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_296-25_0_5_line_74 |  | 73 | 74 | 0.018286 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
75 | LV_296-25_0_5_line_75 |  | 74 | 75 | 0.0014181 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
76 | LV_296-25_0_5_line_76 |  | 75 | 76 | 0.00065998 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
77 | LV_296-25_0_5_line_77 |  | 76 | 77 | 0.01132 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
78 | LV_296-25_0_5_line_78 |  | 78 | 79 | 0.0595 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_296-25_0_5_line_79 |  | 79 | 80 | 0.16916 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_296-25_0_5_line_80 |  | 80 | 81 | 0.066308 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_296-25_0_5_line_81 |  | 80 | 82 | 0.081462 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_296-25_0_5_line_82 |  | 82 | 83 | 0.056941 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_296-25_0_5_trafo_23 | 0.63 MVA 20/0.4 kV | 84 | 9 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25 | x26 | y26 | x27 | y27 | x28 | y28 | x29 | y29 | x30 | y30 | x31 | y31 | x32 | y32 | x33 | y33 | x34 | y34 | x35 | y35 | x36 | y36 | x37 | y37 | x38 | y38 | x39 | y39 | x40 | y40 | x41 | y41
0 | 2693887.2567 | 1252896.0538 | 2693888.1795 | 1252897.6856 | 2693904.1401 | 1252923.9368 | 2693916.1812 | 1252942.7423 | 2693929.0363 | 1252963.2044
1 | 2693946.9478 | 1252980.4594 | 2693944.515 | 1252980.6321 | 2693941.6102 | 1252980.1079 | 2693939.27 | 1252978.7252 | 2693937.8353 | 1252977.3459 | 2693935.7763 | 1252973.9328 | 2693929.0363 | 1252963.2044
2 | 2693946.9478 | 1252980.4594 | 2693948.9645 | 1252984.161 | 2693951.4007 | 1252988.5363
3 | 2693951.4007 | 1252988.5363 | 2693963.4211 | 1252978.6637 | 2693965.8975 | 1252976.7556
4 | 2693941.9113 | 1252993.0004 | 2693951.4007 | 1252988.5363
5 | 2693941.9113 | 1252993.0004 | 2693938.8331 | 1252994.842
6 | 2693938.8331 | 1252994.842 | 2693931.2007 | 1252982.1555 | 2693929.371 | 1252979.2044
7 | 2693938.8331 | 1252994.842 | 2693904.8298 | 1253015.2214
8 | 2693905.5236 | 1252967.5593 | 2693918.2005 | 1252961.0219
9 | 2693918.2005 | 1252961.0219 | 2693919.552 | 1252963.3673 | 2693929.371 | 1252979.2044
10 | 2693897.3438 | 1252971.7774 | 2693905.5236 | 1252967.5593
11 | 2693905.5236 | 1252967.5593 | 2693899.0601 | 1252955.0673
12 | 2693991.523 | 1252953.1785 | 2693988.7248 | 1252957.3485 | 2693985.0594 | 1252961.4713 | 2693977.9149 | 1252967.496 | 2693965.8975 | 1252976.7556
13 | 2693991.523 | 1252953.1785 | 2693993.2988 | 1252953.9851 | 2694014.7638 | 1252937.1228
14 | 2693991.0924 | 1252931.8106 | 2693991.4307 | 1252936.1749 | 2693991.3095 | 1252940.9545 | 2693990.4649 | 1252945.667 | 2693988.0482 | 1252950.9995 | 2693991.523 | 1252953.1785
15 | 2694040.6408 | 1252916.9297 | 2694026.6116 | 1252927.8155 | 2694014.7638 | 1252937.1228
16 | 2693990.5543 | 1252880.1396 | 2693987.1209 | 1252880.5855 | 2693991.0924 | 1252931.8106
17 | 2693991.0924 | 1252931.8106 | 2693968.6503 | 1252933.5448 | 2693948.4726 | 1252903.1265
18 | 2694012.6215 | 1252877.3097 | 2693990.5543 | 1252880.1396
19 | 2693946.8861 | 1252900.7347 | 2693948.4726 | 1252903.1265
20 | 2693877.6001 | 1253031.322 | 2693892.5609 | 1253022.5745 | 2693904.8298 | 1253015.2214
21 | 2693998.5427 | 1253077.796 | 2693997.7249 | 1253076.8621 | 2693991.4192 | 1253069.0449 | 2693985.5024 | 1253060.967 | 2693980.808 | 1253054.3318 | 2693978.8232 | 1253051.2376
22 | 2694000.4305 | 1253079.9519 | 2693998.5427 | 1253077.796
23 | 2693897.3438 | 1252971.7774 | 2693895.7038 | 1252968.1153 | 2693893.4995 | 1252963.8374
24 | 2693749.7917 | 1252952.359 | 2693744.8347 | 1252946.5539 | 2693741.5486 | 1252941.792
25 | 2693768.9666 | 1252942.477 | 2693749.7917 | 1252952.359
26 | 2693819.2338 | 1253009.3471 | 2693812.5687 | 1253012.7553 | 2693796.7799 | 1252999.9398 | 2693785.6551 | 1252989.5 | 2693772.3789 | 1252976.7132 | 2693754.7412 | 1252958.1641 | 2693749.7917 | 1252952.359
27 | 2693819.2338 | 1253009.3471 | 2693783.5836 | 1253050.2367
28 | 2693819.2338 | 1253009.3471 | 2693823.2546 | 1253007.2888
29 | 2693783.5836 | 1253050.2367 | 2693794.728 | 1253055.6173 | 2693799.9072 | 1253058.3459 | 2693805.017 | 1253061.1623 | 2693812.3759 | 1253065.9221
30 | 2694040.6408 | 1252916.9297 | 2694042.386 | 1252915.8677 | 2694045.5433 | 1252914.7502
31 | 2694000.4305 | 1253079.9519 | 2694020.6568 | 1253103.1798
32 | 2694000.4305 | 1253079.9519 | 2693997.6369 | 1253082.4095
33 | 2694020.6568 | 1253103.1798 | 2694030.0861 | 1253100.116
34 | 2693997.6369 | 1253082.4095 | 2694014.1108 | 1253101.4635 | 2694018.8133 | 1253106.5467
35 | 2693997.6369 | 1253082.4095 | 2693993.1597 | 1253086.3304 | 2693991.5014 | 1253087.1603 | 2693989.4891 | 1253087.4619 | 2693987.3327 | 1253087.3388 | 2693984.958 | 1253086.7006 | 2693982.9957 | 1253085.7576 | 2693981.3926 | 1253084.5312 | 2693980.7898 | 1253083.9882
36 | 2694032.1577 | 1253106.4579 | 2694030.0861 | 1253100.116
37 | 2693877.6001 | 1253031.322 | 2693877.6001 | 1253031.322 | 2693873.912 | 1253033.838
38 | 2694033.5302 | 1253117.5175 | 2694033.8141 | 1253111.5285 | 2694032.1577 | 1253106.4579
39 | 2694033.5302 | 1253117.5175 | 2694035.1431 | 1253119.0777 | 2694037.0574 | 1253120.6649 | 2694039.4628 | 1253122.2154 | 2694042.1143 | 1253123.4807 | 2694044.9304 | 1253124.3594 | 2694047.2428 | 1253125.5859 | 2694048.9626 | 1253126.5918 | 2694050.1005 | 1253127.644 | 2694051.6666 | 1253128.8254 | 2694054.0235 | 1253129.6301
40 | 2694054.0235 | 1253129.6301 | 2694053.1445 | 1253125.5796 | 2694055.6953 | 1253125.5757 | 2694059.0002 | 1253125.1389 | 2694064.5195 | 1253124.0257 | 2694055.9024 | 1253098.291
41 | 2693873.912 | 1253033.838 | 2693871.6263 | 1253035.3972 | 2693866.4698 | 1253039.8078 | 2693861.0065 | 1253045.0315
42 | 2693861.0065 | 1253045.0315 | 2693837.5499 | 1253082.205
43 | 2693837.5499 | 1253082.205 | 2693829.213 | 1253087.1157
44 | 2693837.5499 | 1253082.205 | 2693812.3759 | 1253065.9221
45 | 2693837.5499 | 1253082.205 | 2693839.2424 | 1253081.598 | 2693841.2557 | 1253081.2296 | 2693843.6838 | 1253081.357 | 2693846.3094 | 1253081.8768 | 2693849.8124 | 1253083.2222 | 2693853.051 | 1253085.0638 | 2693870.2056 | 1253098.1068
46 | 2693781.5806 | 1253098.4792 | 2693779.154 | 1253094.6524
47 | 2693789.1359 | 1253110.3936 | 2693781.5806 | 1253098.4792
48 | 2693789.1359 | 1253110.3936 | 2693795.2434 | 1253106.921 | 2693800.3229 | 1253104.0325 | 2693804.8463 | 1253101.4688 | 2693820.5734 | 1253092.2048
49 | 2693829.213 | 1253087.1157 | 2693820.5734 | 1253092.2048
50 | 2693870.2056 | 1253098.1068 | 2693891.6038 | 1253114.3762
51 | 2693891.6038 | 1253114.3762 | 2693891.8864 | 1253114.5911 | 2693892.7262 | 1253115.2638
52 | 2693892.7262 | 1253115.2638 | 2693911.4599 | 1253130.2703
53 | 2693911.4599 | 1253130.2703 | 2693912.0736 | 1253130.7619
54 | 2693893.4995 | 1252963.8374 | 2693891.6082 | 1252960.1669
55 | 2693768.9666 | 1252942.477 | 2693784.2762 | 1252934.5799
56 | 2693768.9666 | 1252942.477 | 2693752.9763 | 1252911.0134
57 | 2694055.9024 | 1253098.291 | 2694060.1453 | 1253096.7683 | 2694079.5378 | 1253089.8152 | 2694083.6661 | 1253101.2598
58 | 2694055.9024 | 1253098.291 | 2694053.2914 | 1253089.7318 | 2694048.0727 | 1253071.4458 | 2694046.9604 | 1253066.2836
59 | 2694096.9293 | 1253138.9631 | 2694096.7438 | 1253137.8148 | 2694096.2641 | 1253136.1837 | 2694083.6661 | 1253101.2598
60 | 2694046.9604 | 1253066.2836 | 2694043.6728 | 1253051.0267 | 2694042.0075 | 1253040.8291
61 | 2694096.9293 | 1253138.9631 | 2694113.7906 | 1253133.1486 | 2694112.1018 | 1253129.7191 | 2694107.7878 | 1253120.9993 | 2694105.8242 | 1253116.3423 | 2694104.7567 | 1253113.234 | 2694103.7081 | 1253109.4144 | 2694102.9036 | 1253105.8989 | 2694102.0265 | 1253100.7809 | 2694100.7467 | 1253090.1412
62 | 2694100.7467 | 1253090.1412 | 2694099.1648 | 1253087.5807 | 2694097.1373 | 1253083.1451 | 2694094.6148 | 1253077.5673 | 2694092.7429 | 1253072.8339 | 2694083.0281 | 1253043.8079
63 | 2694042.0075 | 1253040.8291 | 2694040.5778 | 1253032.0739 | 2694038.9359 | 1253015.2348 | 2694038.8073 | 1253012.4153
64 | 2694045.5433 | 1252914.7502 | 2694043.3489 | 1252931.6829
65 | 2694045.5433 | 1252914.7502 | 2694050.5352 | 1252914.5404 | 2694071.6198 | 1252914.1749 | 2694079.9879 | 1252912.373 | 2694086.7583 | 1252910.9016 | 2694096.9053 | 1252907.8159
66 | 2694043.3489 | 1252931.6829 | 2694041.1402 | 1252948.7257
67 | 2694096.9053 | 1252907.8159 | 2694109.8619 | 1252901.5038
68 | 2694109.8619 | 1252901.5038 | 2694111.2729 | 1252900.8164 | 2694125.3568 | 1252893.6234 | 2694138.391 | 1252886.0024 | 2694155.8597 | 1252876.6838 | 2694164.5989 | 1252872.9086 | 2694176.2704 | 1252867.8609
69 | 2694189.9236 | 1252862.68 | 2694185.1644 | 1252864.3844 | 2694176.6515 | 1252867.6961 | 2694176.2704 | 1252867.8609
70 | 2694040.258 | 1252955.5328 | 2694041.1402 | 1252948.7257
71 | 2694038.8073 | 1253012.4153 | 2694038.4382 | 1253004.3243
72 | 2694038.4382 | 1253004.3243 | 2694038.113 | 1252997.1965 | 2694038.1289 | 1252995.2092
73 | 2694038.1289 | 1252995.2092 | 2694038.1935 | 1252987.1239
74 | 2694038.1935 | 1252987.1239 | 2694038.2735 | 1252977.1168 | 2694039.017 | 1252968.8721
75 | 2694039.017 | 1252968.8721 | 2694039.1444 | 1252967.4598
76 | 2694039.2037 | 1252966.8025 | 2694039.1444 | 1252967.4598
77 | 2694039.2037 | 1252966.8025 | 2694040.1331 | 1252956.4969 | 2694040.258 | 1252955.5328
78 | 2694247.7341 | 1252848.9452 | 2694228.9469 | 1252852.4157 | 2694212.1276 | 1252856.0066 | 2694205.1623 | 1252857.864 | 2694199.4541 | 1252859.4522 | 2694193.3696 | 1252861.4459 | 2694189.9236 | 1252862.68
79 | 2694247.7341 | 1252848.9452 | 2694249.8952 | 1252853.5164 | 2694250.3976 | 1252854.6698 | 2694250.7112 | 1252855.8312 | 2694250.9105 | 1252857.0576 | 2694250.9824 | 1252858.7044 | 2694250.8393 | 1252863.4281 | 2694250.5661 | 1252864.9471 | 2694250.1081 | 1252866.2186 | 2694249.4694 | 1252867.465 | 2694248.435 | 1252868.9163 | 2694246.3867 | 1252871.4746 | 2694244.8812 | 1252873.1297 | 2694243.7854 | 1252874.1687 | 2694241.9729 | 1252875.6632 | 2694240.1867 | 1252876.9358 | 2694237.9842 | 1252878.2796 | 2694235.2361 | 1252879.7593 | 2694232.6368 | 1252880.9077 | 2694225.9114 | 1252883.336 | 2694225.0428 | 1252883.8559 | 2694224.4756 | 1252884.4029 | 2694224.237 | 1252885.1663 | 2694224.2546 | 1252885.9561 | 2694224.5137 | 1252886.7497 | 2694225.2795 | 1252887.4736 | 2694226.344 | 1252887.9242 | 2694227.6298 | 1252888.2227 | 2694235.6767 | 1252890.4857 | 2694240.0121 | 1252891.2219 | 2694243.7283 | 1252891.5035 | 2694246.6574 | 1252891.45 | 2694250.2314 | 1252891.1845 | 2694259.1397 | 1252890.5368 | 2694262.4413 | 1252890.3114 | 2694265.6433 | 1252890.1844 | 2694290.6549 | 1252889.6709 | 2694299.5515 | 1252889.757 | 2694325.8 | 1252891.6652 | 2694329.1426 | 1252892.1855 | 2694332.2347 | 1252893.2689 | 2694339.3148 | 1252896.9957
80 | 2694339.3148 | 1252896.9957 | 2694300.9883 | 1252903.7908 | 2694294.2676 | 1252905.4518 | 2694282.137 | 1252908.9282 | 2694275.8777 | 1252910.5298 | 2694274.5065 | 1252910.6954
81 | 2694320.4031 | 1252932.9226 | 2694322.1663 | 1252919.3623 | 2694322.4139 | 1252918.0319 | 2694322.9324 | 1252916.7502 | 2694323.7276 | 1252915.6287 | 2694325.0231 | 1252914.3706 | 2694327.06 | 1252913.0019 | 2694329.4296 | 1252912.0611 | 2694331.9237 | 1252911.367 | 2694335.1631 | 1252910.7848 | 2694339.3004 | 1252910.2169 | 2694349.532 | 1252909.4014 | 2694354.1377 | 1252909.2746 | 2694358.2574 | 1252897.0307 | 2694352.8793 | 1252896.3667 | 2694347.9671 | 1252896.3107 | 2694343.4289 | 1252896.4608 | 2694339.3148 | 1252896.9957
82 | 2694320.4031 | 1252932.9226 | 2694317.592 | 1252932.1995 | 2694314.2151 | 1252931.4674 | 2694311.0983 | 1252930.9841 | 2694308.5051 | 1252930.7982 | 2694306.4534 | 1252930.7321 | 2694302.5187 | 1252930.903 | 2694298.0516 | 1252931.3322 | 2694294.1794 | 1252931.8377 | 2694280.191 | 1252933.9723 | 2694268.0291 | 1252936.1026 | 2694264.1888 | 1252937.0179

## bus_geodata
| x | y | coords
0 | 2693887.2567 | 1252896.0538
1 | 2693929.0363 | 1252963.2044
2 | 2693946.9478 | 1252980.4594
3 | 2693951.4007 | 1252988.5363
4 | 2693941.9113 | 1252993.0004
5 | 2693938.8331 | 1252994.842
6 | 2693918.2005 | 1252961.0219
7 | 2693905.5236 | 1252967.5593
8 | 2693929.371 | 1252979.2044
9 | 2693965.8975 | 1252976.7556
10 | 2693991.523 | 1252953.1785
11 | 2694014.7638 | 1252937.1228
12 | 2693991.0924 | 1252931.8106
13 | 2693990.5543 | 1252880.1396
14 | 2693948.4726 | 1252903.1265
15 | 2693904.8298 | 1253015.2214
16 | 2693978.8232 | 1253051.2376
17 | 2693998.5427 | 1253077.796
18 | 2693899.0601 | 1252955.0673
19 | 2693897.3437 | 1252971.7774
20 | 2693741.5486 | 1252941.792
21 | 2693749.7917 | 1252952.359
22 | 2693819.2338 | 1253009.3471
23 | 2693783.5836 | 1253050.2367
24 | 2693823.2546 | 1253007.2888
25 | 2694040.6408 | 1252916.9297
26 | 2694012.6215 | 1252877.3097
27 | 2693946.8861 | 1252900.7347
28 | 2694000.4305 | 1253079.9519
29 | 2694020.6568 | 1253103.1798
30 | 2693997.6369 | 1253082.4095
31 | 2694030.0861 | 1253100.116
32 | 2694018.8133 | 1253106.5467
33 | 2693980.7898 | 1253083.9882
34 | 2693877.6001 | 1253031.322
35 | 2694032.1577 | 1253106.4579
36 | 2694033.5302 | 1253117.5175
37 | 2694054.0235 | 1253129.6301
38 | 2693873.912 | 1253033.838
39 | 2693861.0065 | 1253045.0315
40 | 2693837.5499 | 1253082.205
41 | 2693781.5806 | 1253098.4792
42 | 2693779.154 | 1253094.6524
43 | 2693789.1359 | 1253110.3936
44 | 2693820.5734 | 1253092.2048
45 | 2693829.213 | 1253087.1157
46 | 2693812.3759 | 1253065.9221
47 | 2693870.2056 | 1253098.1068
48 | 2693891.6038 | 1253114.3762
49 | 2693892.7262 | 1253115.2638
50 | 2693911.4599 | 1253130.2703
51 | 2693893.4995 | 1252963.8374
52 | 2693768.9666 | 1252942.477
53 | 2693891.6082 | 1252960.1669
54 | 2693784.2762 | 1252934.5799
55 | 2693752.9763 | 1252911.0134
56 | 2693912.0736 | 1253130.7619
57 | 2694055.9024 | 1253098.291
58 | 2694083.6661 | 1253101.2598
59 | 2694046.9604 | 1253066.2836
60 | 2694096.9293 | 1253138.9631
61 | 2694100.7467 | 1253090.1412
62 | 2694042.0075 | 1253040.8291
63 | 2694083.0281 | 1253043.8079
64 | 2694045.5433 | 1252914.7502
65 | 2694043.3489 | 1252931.6829
66 | 2694096.9053 | 1252907.8159
67 | 2694109.8619 | 1252901.5038
68 | 2694176.2704 | 1252867.8609
69 | 2694041.1402 | 1252948.7257
70 | 2694038.8073 | 1253012.4153
71 | 2694038.4382 | 1253004.3243
72 | 2694038.1289 | 1252995.2092
73 | 2694038.1935 | 1252987.1239
74 | 2694039.017 | 1252968.8721
75 | 2694039.1444 | 1252967.4598
76 | 2694039.2037 | 1252966.8025
77 | 2694040.258 | 1252955.5328
78 | 2694189.9236 | 1252862.68
79 | 2694247.7341 | 1252848.9452
80 | 2694339.3148 | 1252896.9957
81 | 2694274.5065 | 1252910.6954
82 | 2694320.4031 | 1252932.9226
83 | 2694264.1888 | 1252937.0179
84 | 2693951.4007 | 1252988.5363

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1