## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_296-26_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_296-26_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_296-26_0_4_node_14 | 0.4 | n |  | TRUE
3 | bus_LV_296-26_0_4_node_2 | 0.4 | n |  | TRUE
4 | bus_LV_296-26_0_4_node_9 | 0.4 | n |  | TRUE
5 | bus_LV_296-26_0_4_node_6 | 0.4 | n |  | TRUE
6 | bus_LV_296-26_0_4_node_29 | 0.4 | n |  | TRUE
7 | bus_LV_296-26_0_4_node_3 | 0.4 | n |  | TRUE
8 | bus_LV_296-26_0_4_node_24 | 0.4 | n |  | TRUE
9 | bus_LV_296-26_0_4_node_4 | 0.4 | n |  | TRUE
10 | bus_LV_296-26_0_4_node_78 | 0.4 | n |  | TRUE
11 | bus_LV_296-26_0_4_node_5 | 0.4 | n |  | TRUE
12 | bus_LV_296-26_0_4_node_28 | 0.4 | n |  | TRUE
13 | bus_LV_296-26_0_4_node_11 | 0.4 | n |  | TRUE
14 | bus_LV_296-26_0_4_node_26 | 0.4 | n |  | TRUE
15 | bus_LV_296-26_0_4_node_7 | 0.4 | n |  | TRUE
16 | bus_LV_296-26_0_4_node_40 | 0.4 | n |  | TRUE
17 | bus_LV_296-26_0_4_node_77 | 0.4 | n |  | TRUE
18 | bus_LV_296-26_0_4_node_30 | 0.4 | n |  | TRUE
19 | bus_LV_296-26_0_4_node_22 | 0.4 | n |  | TRUE
20 | bus_LV_296-26_0_4_node_46 | 0.4 | n |  | TRUE
21 | bus_LV_296-26_0_4_node_34 | 0.4 | n |  | TRUE
22 | bus_LV_296-26_0_4_node_39 | 0.4 | n |  | TRUE
23 | bus_LV_296-26_0_4_node_15 | 0.4 | n |  | TRUE
24 | bus_LV_296-26_0_4_node_67 | 0.4 | n |  | TRUE
25 | bus_LV_296-26_0_4_node_65 | 0.4 | n |  | TRUE
26 | bus_LV_296-26_0_4_node_16 | 0.4 | n |  | TRUE
27 | bus_LV_296-26_0_4_node_53 | 0.4 | n |  | TRUE
28 | bus_LV_296-26_0_4_node_17 | 0.4 | n |  | TRUE
29 | bus_LV_296-26_0_4_node_49 | 0.4 | n |  | TRUE
30 | bus_LV_296-26_0_4_node_57 | 0.4 | n |  | TRUE
31 | bus_LV_296-26_0_4_node_54 | 0.4 | n |  | TRUE
32 | bus_LV_296-26_0_4_node_31 | 0.4 | n |  | TRUE
33 | bus_LV_296-26_0_4_node_41 | 0.4 | n |  | TRUE
34 | bus_LV_296-26_0_4_node_45 | 0.4 | n |  | TRUE
35 | bus_LV_296-26_0_4_node_27 | 0.4 | n |  | TRUE
36 | bus_LV_296-26_0_4_node_33 | 0.4 | n |  | TRUE
37 | bus_LV_296-26_0_4_node_32 | 0.4 | n |  | TRUE
38 | bus_LV_296-26_0_4_node_48 | 0.4 | n |  | TRUE
39 | bus_LV_296-26_0_4_node_20 | 0.4 | n |  | TRUE
40 | bus_LV_296-26_0_4_node_44 | 0.4 | n |  | TRUE
41 | bus_LV_296-26_0_4_node_37 | 0.4 | n |  | TRUE
42 | bus_LV_296-26_0_4_node_76 | 0.4 | n |  | TRUE
43 | bus_LV_296-26_0_4_node_73 | 0.4 | n |  | TRUE
44 | bus_LV_296-26_0_4_node_52 | 0.4 | n |  | TRUE
45 | bus_LV_296-26_0_4_node_69 | 0.4 | n |  | TRUE
46 | bus_LV_296-26_0_4_node_68 | 0.4 | n |  | TRUE
47 | bus_LV_296-26_0_4_node_50 | 0.4 | n |  | TRUE
48 | bus_LV_296-26_0_4_node_66 | 0.4 | n |  | TRUE
49 | bus_LV_296-26_0_4_node_55 | 0.4 | n |  | TRUE
50 | bus_LV_296-26_0_4_node_18 | 0.4 | n |  | TRUE
51 | bus_LV_296-26_0_4_node_19 | 0.4 | n |  | TRUE
52 | bus_LV_296-26_0_4_node_21 | 0.4 | n |  | TRUE
53 | bus_LV_296-26_0_4_node_42 | 0.4 | n |  | TRUE
54 | bus_LV_296-26_0_4_node_35 | 0.4 | n |  | TRUE
55 | bus_LV_296-26_0_4_node_36 | 0.4 | n |  | TRUE
56 | bus_LV_296-26_0_4_node_38 | 0.4 | n |  | TRUE
57 | bus_LV_296-26_0_4_node_43 | 0.4 | n |  | TRUE
58 | bus_LV_296-26_0_4_node_75 | 0.4 | n |  | TRUE
59 | bus_LV_296-26_0_4_node_70 | 0.4 | n |  | TRUE
60 | bus_LV_296-26_0_4_node_74 | 0.4 | n |  | TRUE
61 | bus_LV_296-26_0_4_node_51 | 0.4 | n |  | TRUE
62 | bus_LV_296-26_0_4_node_62 | 0.4 | n |  | TRUE
63 | bus_LV_296-26_0_4_node_63 | 0.4 | n |  | TRUE
64 | bus_LV_296-26_0_4_node_64 | 0.4 | n |  | TRUE
65 | bus_LV_296-26_0_4_node_61 | 0.4 | n |  | TRUE
66 | bus_LV_296-26_0_4_node_72 | 0.4 | n |  | TRUE
67 | bus_LV_296-26_0_4_node_56 | 0.4 | n |  | TRUE
68 | bus_LV_296-26_0_4_node_71 | 0.4 | n |  | TRUE
69 | bus_LV_296-26_0_4_node_58 | 0.4 | n |  | TRUE
70 | bus_LV_296-26_0_4_node_59 | 0.4 | n |  | TRUE
71 | bus_MV_363_0_node_59 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_296-26_0_4_load_0 | 0 | 0.026848 | 0.0067286 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_296-26_0_4_load_29 | 6 | 0.00437 | 0.0010952 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_296-26_0_4_load_24 | 8 | 0.0068102 | 0.0017068 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_296-26_0_4_load_78 | 10 | 0.010768 | 0.0026987 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_296-26_0_4_load_28 | 12 | 0.0021461 | 0.00053786 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_296-26_0_4_load_26 | 14 | 0.0034559 | 0.00086614 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_296-26_0_4_load_77 | 17 | 0.017178 | 0.0043052 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_296-26_0_4_load_46 | 20 | 0.00081202 | 0.00020351 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_296-26_0_4_load_34 | 21 | 0.025045 | 0.0062768 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_296-26_0_4_load_65 | 25 | 0.00096425 | 0.00024167 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_296-26_0_4_load_53 | 27 | 0.0019318 | 0.00048416 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_296-26_0_4_load_49 | 29 | 0.0011199 | 0.00028067 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_296-26_0_4_load_54 | 31 | 0.0002892 | 7.248e-05 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_296-26_0_4_load_41 | 33 | 0.063575 | 0.015933 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_296-26_0_4_load_45 | 34 | 0.048288 | 0.012102 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_296-26_0_4_load_27 | 35 | 0.056799 | 0.014235 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_296-26_0_4_load_33 | 36 | 0.031468 | 0.0078866 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_296-26_0_4_load_32 | 37 | 0.0040565 | 0.0010167 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_296-26_0_4_load_48 | 38 | 0.003456 | 0.00086616 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_296-26_0_4_load_44 | 40 | 0.023644 | 0.0059257 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_296-26_0_4_load_37 | 41 | 0.0028898 | 0.00072424 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_296-26_0_4_load_76 | 42 | 0.00023853 | 5.978e-05 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_296-26_0_4_load_73 | 43 | 0.00065431 | 0.00016399 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_296-26_0_4_load_69 | 45 | 0.00074581 | 0.00018692 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_296-26_0_4_load_68 | 46 | 0.0019576 | 0.00049061 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_296-26_0_4_load_50 | 47 | 0.0038381 | 0.00096192 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_296-26_0_4_load_66 | 48 | 0.0011138 | 0.00027915 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_296-26_0_4_load_55 | 49 | 0.00059032 | 0.00014795 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_296-26_0_4_load_18 | 50 | 0.0049454 | 0.0012394 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_296-26_0_4_load_19 | 51 | 0.0011423 | 0.00028629 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_296-26_0_4_load_21 | 52 | 0.00064064 | 0.00016056 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_296-26_0_4_load_42 | 53 | 0.078276 | 0.019618 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_296-26_0_4_load_35 | 54 | 0.0064816 | 0.0016244 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_296-26_0_4_load_36 | 55 | 0.006199 | 0.0015536 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_296-26_0_4_load_75 | 58 | 0.00026193 | 6.5647e-05 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_296-26_0_4_load_70 | 59 | 0.00015783 | 3.9556e-05 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_296-26_0_4_load_74 | 60 | 0.00016034 | 4.0185e-05 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_296-26_0_4_load_62 | 62 | 0.0025862 | 0.00064815 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_296-26_0_4_load_63 | 63 | 0.0011816 | 0.00029613 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_296-26_0_4_load_64 | 64 | 0.00056021 | 0.0001404 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_296-26_0_4_load_61 | 65 | 0.002508 | 0.00062856 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_296-26_0_4_load_72 | 66 | 0.00035725 | 8.9535e-05 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_296-26_0_4_load_56 | 67 | 0.00061634 | 0.00015447 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_296-26_0_4_load_71 | 68 | 0.00025355 | 6.3547e-05 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_296-26_0_4_load_58 | 69 | 0.0006367 | 0.00015957 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_296-26_0_4_load_59 | 70 | 0.0003726 | 9.3381e-05 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 53 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_296-26_0_4_line_0 |  | 0 | 1 | 0.061713 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_296-26_0_4_line_1 |  | 1 | 2 | 0.11825 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_296-26_0_4_line_2 |  | 2 | 21 | 0.027444 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_296-26_0_4_line_3 |  | 2 | 22 | 0.012324 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
4 | LV_296-26_0_4_line_4 |  | 2 | 9 | 0.13309 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
5 | LV_296-26_0_4_line_5 |  | 3 | 4 | 0.021528 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
6 | LV_296-26_0_4_line_6 |  | 3 | 5 | 0.035787 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_296-26_0_4_line_7 |  | 3 | 6 | 0.036158 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_296-26_0_4_line_8 |  | 4 | 18 | 0.037601 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
9 | LV_296-26_0_4_line_9 |  | 4 | 7 | 0.1039 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
10 | LV_296-26_0_4_line_10 |  | 5 | 12 | 0.11354 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_296-26_0_4_line_11 |  | 5 | 13 | 0.029324 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_296-26_0_4_line_12 |  | 5 | 14 | 0.033787 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_296-26_0_4_line_13 |  | 7 | 8 | 0.077777 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
14 | LV_296-26_0_4_line_14 |  | 8 | 11 | 0.040622 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
15 | LV_296-26_0_4_line_15 |  | 9 | 10 | 0.004497 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_296-26_0_4_line_16 |  | 9 | 11 | 0.022642 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
17 | LV_296-26_0_4_line_17 |  | 12 | 34 | 0.031164 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_296-26_0_4_line_18 |  | 13 | 19 | 0.007499 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_296-26_0_4_line_19 |  | 13 | 20 | 0.029353 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_296-26_0_4_line_20 |  | 14 | 35 | 0.056559 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_296-26_0_4_line_21 |  | 15 | 16 | 0.024746 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_296-26_0_4_line_22 |  | 15 | 17 | 0.031373 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_296-26_0_4_line_23 |  | 16 | 34 | 0.046207 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_296-26_0_4_line_24 |  | 18 | 32 | 0.014773 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
25 | LV_296-26_0_4_line_25 |  | 19 | 38 | 0.031024 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_296-26_0_4_line_26 |  | 19 | 39 | 0.31971 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_296-26_0_4_line_27 |  | 21 | 37 | 0.053983 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_296-26_0_4_line_28 |  | 22 | 40 | 0.048846 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_296-26_0_4_line_29 |  | 22 | 41 | 0.0038427 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
30 | LV_296-26_0_4_line_30 |  | 23 | 24 | 0.008239 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
31 | LV_296-26_0_4_line_31 |  | 23 | 25 | 0.014559 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
32 | LV_296-26_0_4_line_32 |  | 24 | 42 | 0.047328 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_296-26_0_4_line_33 |  | 24 | 43 | 0.023944 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
34 | LV_296-26_0_4_line_34 |  | 25 | 30 | 0.021406 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
35 | LV_296-26_0_4_line_35 |  | 26 | 27 | 0.046009 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_296-26_0_4_line_36 |  | 26 | 28 | 0.017815 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
37 | LV_296-26_0_4_line_37 |  | 26 | 29 | 0.029976 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_296-26_0_4_line_38 |  | 28 | 30 | 0.024558 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
39 | LV_296-26_0_4_line_39 |  | 28 | 31 | 0.025138 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_296-26_0_4_line_40 |  | 29 | 47 | 0.0074219 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_296-26_0_4_line_41 |  | 30 | 48 | 0.0091644 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_296-26_0_4_line_42 |  | 31 | 49 | 0.01891 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_296-26_0_4_line_43 |  | 32 | 33 | 0.0023156 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
44 | LV_296-26_0_4_line_44 |  | 33 | 53 | 0.021939 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
45 | LV_296-26_0_4_line_45 |  | 36 | 37 | 0.05001 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_296-26_0_4_line_46 |  | 39 | 50 | 0.069188 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_296-26_0_4_line_47 |  | 41 | 54 | 0.020737 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
48 | LV_296-26_0_4_line_48 |  | 43 | 60 | 0.0056599 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
49 | LV_296-26_0_4_line_49 |  | 44 | 45 | 0.0171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_296-26_0_4_line_50 |  | 44 | 46 | 0.033867 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_296-26_0_4_line_51 |  | 45 | 66 | 0.032616 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_296-26_0_4_line_52 |  | 47 | 61 | 0.033147 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_296-26_0_4_line_53 |  | 48 | 59 | 0.025497 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_296-26_0_4_line_54 |  | 49 | 67 | 0.00062608 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_296-26_0_4_line_55 |  | 50 | 51 | 0.0058159 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_296-26_0_4_line_56 |  | 51 | 52 | 0.0077246 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_296-26_0_4_line_57 |  | 54 | 55 | 0.064541 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
58 | LV_296-26_0_4_line_58 |  | 55 | 56 | 0.1141 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
59 | LV_296-26_0_4_line_59 |  | 56 | 57 | 0.35433 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
60 | LV_296-26_0_4_line_60 |  | 57 | 58 | 0.027286 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
61 | LV_296-26_0_4_line_61 |  | 58 | 60 | 0.018736 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
62 | LV_296-26_0_4_line_62 |  | 61 | 62 | 0.022513 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_296-26_0_4_line_63 |  | 61 | 63 | 0.039928 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_296-26_0_4_line_64 |  | 61 | 64 | 0.014381 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_296-26_0_4_line_65 |  | 62 | 65 | 0.011839 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_296-26_0_4_line_66 |  | 64 | 66 | 0.0059102 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_296-26_0_4_line_67 |  | 65 | 70 | 0.028914 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_296-26_0_4_line_68 |  | 67 | 68 | 0.010141 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_296-26_0_4_line_69 |  | 69 | 70 | 0.01961 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_296-26_0_4_trafo_42 | 0.63 MVA 20/0.4 kV | 71 | 53 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25
0 | 2693691.538 | 1252741.0177 | 2693720.6129 | 1252795.4527
1 | 2693691.538 | 1252741.0177 | 2693688.0199 | 1252734.4124 | 2693686.0701 | 1252730.7565 | 2693711.0999 | 1252728.1726 | 2693763.9135 | 1252722.5816 | 2693777.1257 | 1252721.3453 | 2693780.0014 | 1252721.3352 | 2693782.8419 | 1252721.636 | 2693785.5464 | 1252722.4238 | 2693784.5771 | 1252715.959
2 | 2693784.5771 | 1252715.959 | 2693787.6765 | 1252716.5975 | 2693790.2447 | 1252717.8947 | 2693792.8191 | 1252720.2261 | 2693794.924 | 1252723.6065 | 2693798.5323 | 1252730.2355 | 2693801.4956 | 1252735.9076
3 | 2693780.4947 | 1252704.4855 | 2693781.8094 | 1252706.2966 | 2693782.7207 | 1252708.3237 | 2693783.4877 | 1252710.8823 | 2693784.3721 | 1252714.6103 | 2693784.5771 | 1252715.959
4 | 2693784.5771 | 1252715.959 | 2693785.5464 | 1252722.4238 | 2693787.816 | 1252723.5162 | 2693789.7552 | 1252724.9702 | 2693791.5381 | 1252726.7665 | 2693793.1192 | 1252728.9154 | 2693794.6363 | 1252731.2857 | 2693832.4086 | 1252802.8172 | 2693828.9307 | 1252804.6413 | 2693833.9782 | 1252814.2621 | 2693838.0372 | 1252821.4875 | 2693842.5134 | 1252830.0095
5 | 2694007.0522 | 1252739.9255 | 2694005.9608 | 1252735.4603 | 2694005.6419 | 1252734.1542 | 2694020.7448 | 1252730.302
6 | 2694020.7448 | 1252730.302 | 2694022.2046 | 1252736.2742 | 2694023.4377 | 1252741.3199 | 2694036.6053 | 1252738.6157 | 2694039.2812 | 1252737.8798 | 2694041.3131 | 1252745.8516
7 | 2694020.7448 | 1252730.302 | 2694031.5358 | 1252727.5488 | 2694033.7964 | 1252723.9708 | 2694028.7933 | 1252703.7933
8 | 2693998.1226 | 1252703.3999 | 2694005.6419 | 1252734.1542 | 2694005.9608 | 1252735.4603 | 2694007.0522 | 1252739.9255
9 | 2693924.2884 | 1252778.0315 | 2693923.039 | 1252774.9649 | 2693921.2376 | 1252770.5329 | 2693937.0602 | 1252765.0683 | 2693961.0376 | 1252757.4648 | 2693966.7873 | 1252755.6435 | 2693976.3632 | 1252752.8821 | 2693989.6618 | 1252749.0567 | 2694008.2428 | 1252744.7926 | 2694007.0522 | 1252739.9255
10 | 2694041.3131 | 1252745.8516 | 2694038.6737 | 1252745.2426 | 2694034.437 | 1252745.4088 | 2694027.5419 | 1252746.1666 | 2694014.7634 | 1252748.132 | 2693988.8024 | 1252754.2249 | 2693978.8516 | 1252757.3028 | 2693975.8247 | 1252758.7559 | 2693974.2379 | 1252761.2549 | 2693973.1468 | 1252765.3297 | 2693974.0706 | 1252769.4142 | 2693977.0343 | 1252779.5468 | 2693982.556 | 1252803.0193 | 2693982.6104 | 1252803.2584
11 | 2694041.3131 | 1252745.8516 | 2694039.2812 | 1252737.8798 | 2694050.7122 | 1252734.7477 | 2694059.6267 | 1252732.2984
12 | 2694041.3131 | 1252745.8516 | 2694043.5562 | 1252746.699 | 2694044.9756 | 1252748.5674 | 2694048.9659 | 1252774.3619 | 2694049.1688 | 1252777.2958
13 | 2693924.2884 | 1252778.0315 | 2693936.412 | 1252807.8247 | 2693894.1258 | 1252824.9223
14 | 2693856.4658 | 1252840.1495 | 2693894.1258 | 1252824.9223
15 | 2693838.5401 | 1252832.1371 | 2693841.6152 | 1252830.4957 | 2693842.5134 | 1252830.0095
16 | 2693842.5134 | 1252830.0095 | 2693846.0756 | 1252828.1089 | 2693851.0241 | 1252837.3055 | 2693853.2604 | 1252841.4442 | 2693856.4658 | 1252840.1495
17 | 2693986.8893 | 1252834.0789 | 2693985.8197 | 1252821.8302 | 2693984.5172 | 1252811.6461 | 2693982.6104 | 1252803.2584
18 | 2694059.6267 | 1252732.2984 | 2694062.5096 | 1252731.8327 | 2694067.0497 | 1252731.0931
19 | 2694059.6267 | 1252732.2984 | 2694062.8229 | 1252749.1623 | 2694064.8659 | 1252761.1789
20 | 2694049.1688 | 1252777.2958 | 2694050.5677 | 1252797.5276 | 2694050.0157 | 1252817.5455 | 2694049.2659 | 1252826.7408 | 2694048.3944 | 1252833.7145
21 | 2693985.4804 | 1252859.3652 | 2693987.1209 | 1252880.5855 | 2693990.5543 | 1252880.1396
22 | 2693985.4804 | 1252859.3652 | 2693954.2081 | 1252861.8782
23 | 2693990.5543 | 1252880.1396 | 2693990.0552 | 1252873.5488 | 2693987.7547 | 1252843.9893 | 2693986.8893 | 1252834.0789
24 | 2693983.7272 | 1252706.8965 | 2693998.1226 | 1252703.3999
25 | 2694067.0497 | 1252731.0931 | 2694097.7565 | 1252726.6709
26 | 2694158.5542 | 1252427.2657 | 2694138.4244 | 1252503.7053 | 2694125.3357 | 1252555.0595 | 2694118.274 | 1252587.1724 | 2694111.5173 | 1252617.6665 | 2694104.428 | 1252644.8751 | 2694098.2129 | 1252665.0477 | 2694089.8314 | 1252688.5662 | 2694077.1818 | 1252719.9342 | 2694074.8419 | 1252724.2226 | 2694072.8863 | 1252727.1271 | 2694071.0077 | 1252728.9876 | 2694069.3443 | 1252730.1288 | 2694067.0497 | 1252731.0931
27 | 2693801.4956 | 1252735.9076 | 2693806.8096 | 1252746.0788 | 2693820.0173 | 1252770.8405 | 2693826.7074 | 1252783.6414
28 | 2693780.4947 | 1252704.4855 | 2693785.023 | 1252694.9608 | 2693786.3338 | 1252692.2573 | 2693787.7617 | 1252690.2561 | 2693791.7846 | 1252685.0046 | 2693793.0223 | 1252683.1005 | 2693793.8371 | 1252681.6901 | 2693794.398 | 1252680.1088 | 2693794.74 | 1252678.5352 | 2693795.0772 | 1252675.3492 | 2693795.4141 | 1252672.1854 | 2693795.9291 | 1252669.6916 | 2693798.4994 | 1252659.9025
29 | 2693780.4947 | 1252704.4855 | 2693777.594 | 1252701.9651
30 | 2693976.1868 | 1252288.496 | 2693975.1844 | 1252280.3182
31 | 2693975.1844 | 1252280.3182 | 2693967.1333 | 1252271.606 | 2693965.056 | 1252269.8876
32 | 2693982.7573 | 1252332.9459 | 2693985.9266 | 1252328.7151 | 2693987.1072 | 1252324.2414 | 2693985.9402 | 1252317.8735 | 2693976.1868 | 1252288.496
33 | 2693976.1868 | 1252288.496 | 2693967.7185 | 1252292.7539 | 2693955.7472 | 1252300.8742
34 | 2693947.9257 | 1252257.2347 | 2693952.345 | 1252259.3731 | 2693965.056 | 1252269.8876
35 | 2693967.0536 | 1252222.411 | 2693971.1095 | 1252232.2274 | 2693982.1077 | 1252265.8625
36 | 2693967.0536 | 1252222.411 | 2693963.0756 | 1252228.6083 | 2693954.1728 | 1252234.0824
37 | 2693967.0536 | 1252222.411 | 2693974.2433 | 1252211.2163 | 2693982.3426 | 1252196.6444
38 | 2693947.9257 | 1252257.2347 | 2693949.8677 | 1252250.438 | 2693950.5729 | 1252248.3253 | 2693953.9364 | 1252241.3733 | 2693954.5636 | 1252239.4261 | 2693954.9252 | 1252237.5637 | 2693954.7962 | 1252235.7047 | 2693954.1728 | 1252234.0824
39 | 2693954.1728 | 1252234.0824 | 2693952.9447 | 1252232.5173 | 2693951.363 | 1252230.8799 | 2693936.027 | 1252216.7214
40 | 2693982.3426 | 1252196.6444 | 2693985.9483 | 1252190.1572
41 | 2693947.9257 | 1252257.2347 | 2693946.7314 | 1252260.1959 | 2693945.1332 | 1252262.9282 | 2693943.46 | 1252265.1808
42 | 2693936.027 | 1252216.7214 | 2693933.9485 | 1252214.8024 | 2693928.3604 | 1252210.2102 | 2693923.8349 | 1252207.6254 | 2693920.5032 | 1252206.1686
43 | 2693983.7272 | 1252706.8965 | 2693981.4769 | 1252707.4425
44 | 2693981.4769 | 1252707.4425 | 2693960.1569 | 1252712.616
45 | 2693826.7074 | 1252783.6414 | 2693831.5323 | 1252792.8734 | 2693832.9256 | 1252794.9637 | 2693834.9932 | 1252796.8868 | 2693837.35 | 1252798.1807 | 2693840.1112 | 1252798.7249 | 2693842.5203 | 1252798.1515 | 2693844.4114 | 1252797.4031 | 2693866.4465 | 1252787.2928
46 | 2694158.5542 | 1252427.2657 | 2694150.4871 | 1252423.8571 | 2694138.2141 | 1252418.6692 | 2694134.6656 | 1252416.3666 | 2694132.1044 | 1252413.6793 | 2694130.6099 | 1252410.8312 | 2694130.2526 | 1252409.5689 | 2694129.6738 | 1252407.5248 | 2694129.4185 | 1252404.1181 | 2694130.0268 | 1252400.0357 | 2694131.2601 | 1252395.5741 | 2694138.0308 | 1252376.3965
47 | 2693777.594 | 1252701.9651 | 2693776.7797 | 1252701.2575 | 2693774.6027 | 1252699.5662 | 2693772.4841 | 1252697.5199 | 2693770.7237 | 1252695.257 | 2693769.5017 | 1252693.3139 | 2693768.6795 | 1252691.3772 | 2693768.3107 | 1252689.4031 | 2693768.3121 | 1252686.4564 | 2693768.5035 | 1252684.7325
48 | 2693955.7472 | 1252300.8742 | 2693951.0632 | 1252304.0514
49 | 2693952.5283 | 1252181.7046 | 2693959.4086 | 1252179.0672 | 2693965.1677 | 1252176.2119 | 2693967.1869 | 1252173.5976
50 | 2693952.5283 | 1252181.7046 | 2693942.3625 | 1252149.399
51 | 2693967.1869 | 1252173.5976 | 2693967.6876 | 1252172.9493 | 2693971.219 | 1252166.8339 | 2693976.3392 | 1252159.0535 | 2693980.4085 | 1252152.8132 | 2693983.5926 | 1252149.5611 | 2693986.8545 | 1252148.5343
52 | 2694002.0516 | 1252161.1852 | 2693985.9483 | 1252190.1572
53 | 2693943.46 | 1252265.1808 | 2693929.3456 | 1252284.1833 | 2693928.1106 | 1252285.5286
54 | 2693919.9295 | 1252205.9177 | 2693919.9295 | 1252205.9177 | 2693920.5032 | 1252206.1686
55 | 2694138.0308 | 1252376.3965 | 2694139.967 | 1252370.9124
56 | 2694142.5386 | 1252363.6284 | 2694139.967 | 1252370.9124
57 | 2693790.9407 | 1252626.9481 | 2693791.8986 | 1252633.0215 | 2693792.2602 | 1252637.831 | 2693792.2035 | 1252641.4107 | 2693791.7148 | 1252644.6276 | 2693790.5228 | 1252647.9336 | 2693788.0802 | 1252652.5207 | 2693782.3336 | 1252661.7703 | 2693776.6899 | 1252669.2868 | 2693772.1325 | 1252675.4083 | 2693770.317 | 1252678.5264 | 2693769.3349 | 1252680.9683 | 2693768.6202 | 1252683.6814 | 2693768.5035 | 1252684.7325
58 | 2693787.6299 | 1252514.195 | 2693789.5173 | 1252517.9722 | 2693790.1796 | 1252519.9954 | 2693790.4929 | 1252522.6135 | 2693790.5308 | 1252525.9389 | 2693790.0877 | 1252531.514 | 2693788.3591 | 1252546.7763 | 2693786.5138 | 1252563.6824 | 2693785.317 | 1252578.2526 | 2693785.2818 | 1252586.1915 | 2693785.4808 | 1252595.5464 | 2693786.3084 | 1252604.2885 | 2693786.8781 | 1252607.3888 | 2693787.7609 | 1252612.1732 | 2693790.863 | 1252626.4556 | 2693790.9407 | 1252626.9481
59 | 2693787.6299 | 1252514.195 | 2693785.423 | 1252514.3824 | 2693783.9886 | 1252514.4041 | 2693782.5222 | 1252514.0696 | 2693781.5301 | 1252513.3311 | 2693780.8651 | 1252511.9528 | 2693780.6811 | 1252510.7045 | 2693790.9522 | 1252286.3595 | 2693798.7199 | 1252286.2935 | 2693804.4834 | 1252286.4849 | 2693809.0383 | 1252286.735 | 2693813.4772 | 1252287.1611 | 2693818.2736 | 1252287.8932 | 2693821.9826 | 1252288.6525 | 2693825.3807 | 1252289.507 | 2693848.0319 | 1252295.6816 | 2693880.0297 | 1252305.0291 | 2693884.974 | 1252306.4307 | 2693888.8993 | 1252307.3492 | 2693892.5264 | 1252308.0405 | 2693895.9319 | 1252308.4281 | 2693898.9332 | 1252308.598 | 2693901.593 | 1252308.4067 | 2693903.8891 | 1252307.8315 | 2693906.2214 | 1252306.8789 | 2693908.1113 | 1252305.7413
60 | 2693908.1113 | 1252305.7413 | 2693911.5553 | 1252307.5083 | 2693915.1256 | 1252308.9216 | 2693922.0313 | 1252310.8547 | 2693930.5704 | 1252311.6463 | 2693934.396 | 1252311.5033
61 | 2693951.0632 | 1252304.0514 | 2693941.6242 | 1252310.4539 | 2693937.2542 | 1252311.3965 | 2693934.396 | 1252311.5033
62 | 2694002.0516 | 1252161.1852 | 2694012.9891 | 1252141.5072
63 | 2694002.0516 | 1252161.1852 | 2694031.4872 | 1252175.063 | 2694038.1674 | 1252178.2113
64 | 2694002.0516 | 1252161.1852 | 2693999.0784 | 1252159.7147 | 2693996.5368 | 1252156.7276 | 2693993.1709 | 1252152.8934 | 2693991.76 | 1252151.4197
65 | 2694018.7407 | 1252131.1594 | 2694012.9891 | 1252141.5072
66 | 2693986.8545 | 1252148.5343 | 2693986.8545 | 1252148.5343 | 2693989.7332 | 1252149.3028 | 2693991.76 | 1252151.4197
67 | 2694018.7407 | 1252131.1594 | 2694032.7877 | 1252105.8871
68 | 2693919.9295 | 1252205.9177 | 2693915.5656 | 1252205.0479 | 2693909.8931 | 1252204.5896
69 | 2694042.3145 | 1252088.7473 | 2694032.7877 | 1252105.8871

## bus_geodata
| x | y | coords
0 | 2693720.6129 | 1252795.4528
1 | 2693691.538 | 1252741.0177
2 | 2693784.5771 | 1252715.959
3 | 2694020.7448 | 1252730.302
4 | 2694007.0522 | 1252739.9255
5 | 2694041.3131 | 1252745.8516
6 | 2694028.7933 | 1252703.7933
7 | 2693924.2884 | 1252778.0315
8 | 2693894.1258 | 1252824.9223
9 | 2693842.5134 | 1252830.0095
10 | 2693838.5401 | 1252832.1371
11 | 2693856.4658 | 1252840.1495
12 | 2693982.6104 | 1252803.2584
13 | 2694059.6267 | 1252732.2984
14 | 2694049.1688 | 1252777.2958
15 | 2693985.4804 | 1252859.3652
16 | 2693990.5543 | 1252880.1396
17 | 2693954.2081 | 1252861.8782
18 | 2693998.1226 | 1252703.3999
19 | 2694067.0497 | 1252731.0931
20 | 2694064.8659 | 1252761.1789
21 | 2693801.4956 | 1252735.9076
22 | 2693780.4947 | 1252704.4855
23 | 2693975.1844 | 1252280.3182
24 | 2693976.1868 | 1252288.496
25 | 2693965.056 | 1252269.8876
26 | 2693967.0536 | 1252222.411
27 | 2693982.1077 | 1252265.8625
28 | 2693954.1728 | 1252234.0824
29 | 2693982.3426 | 1252196.6444
30 | 2693947.9257 | 1252257.2347
31 | 2693936.027 | 1252216.7214
32 | 2693983.7272 | 1252706.8965
33 | 2693981.4769 | 1252707.4425
34 | 2693986.8893 | 1252834.0789
35 | 2694048.3944 | 1252833.7145
36 | 2693866.4465 | 1252787.2928
37 | 2693826.7074 | 1252783.6414
38 | 2694097.7565 | 1252726.6709
39 | 2694158.5542 | 1252427.2657
40 | 2693798.4994 | 1252659.9025
41 | 2693777.594 | 1252701.9651
42 | 2693982.7573 | 1252332.9459
43 | 2693955.7472 | 1252300.8742
44 | 2693952.5283 | 1252181.7046
45 | 2693967.1869 | 1252173.5976
46 | 2693942.3625 | 1252149.399
47 | 2693985.9483 | 1252190.1572
48 | 2693943.46 | 1252265.1808
49 | 2693920.5032 | 1252206.1685
50 | 2694138.0308 | 1252376.3965
51 | 2694139.967 | 1252370.9124
52 | 2694142.5386 | 1252363.6284
53 | 2693960.1569 | 1252712.616
54 | 2693768.5035 | 1252684.7325
55 | 2693790.9407 | 1252626.9481
56 | 2693787.6299 | 1252514.195
57 | 2693908.1113 | 1252305.7413
58 | 2693934.396 | 1252311.5033
59 | 2693928.1106 | 1252285.5286
60 | 2693951.0632 | 1252304.0514
61 | 2694002.0516 | 1252161.1852
62 | 2694012.9891 | 1252141.5072
63 | 2694038.1674 | 1252178.2113
64 | 2693991.76 | 1252151.4197
65 | 2694018.7407 | 1252131.1594
66 | 2693986.8545 | 1252148.5343
67 | 2693919.9295 | 1252205.9177
68 | 2693909.8931 | 1252204.5896
69 | 2694042.3145 | 1252088.7473
70 | 2694032.7877 | 1252105.8871
71 | 2693954.7214 | 1252690.3569

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1