## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_296-28_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_296-28_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_296-28_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_296-28_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_296-28_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_296-28_0_4_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_296-28_0_4_node_9 | 0.4 | n |  | TRUE
7 | bus_LV_296-28_0_4_node_11 | 0.4 | n |  | TRUE
8 | bus_LV_296-28_0_4_node_155 | 0.4 | n |  | TRUE
9 | bus_LV_296-28_0_4_node_13 | 0.4 | n |  | TRUE
10 | bus_LV_296-28_0_4_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_296-28_0_4_node_6 | 0.4 | n |  | TRUE
12 | bus_LV_296-28_0_4_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_296-28_0_4_node_10 | 0.4 | n |  | TRUE
14 | bus_LV_296-28_0_4_node_71 | 0.4 | n |  | TRUE
15 | bus_LV_296-28_0_4_node_69 | 0.4 | n |  | TRUE
16 | bus_LV_296-28_0_4_node_12 | 0.4 | n |  | TRUE
17 | bus_LV_296-28_0_4_node_109 | 0.4 | n |  | TRUE
18 | bus_LV_296-28_0_4_node_15 | 0.4 | n |  | TRUE
19 | bus_LV_296-28_0_4_node_84 | 0.4 | n |  | TRUE
20 | bus_LV_296-28_0_4_node_108 | 0.4 | n |  | TRUE
21 | bus_LV_296-28_0_4_node_97 | 0.4 | n |  | TRUE
22 | bus_LV_296-28_0_4_node_14 | 0.4 | n |  | TRUE
23 | bus_LV_296-28_0_4_node_54 | 0.4 | n |  | TRUE
24 | bus_LV_296-28_0_4_node_72 | 0.4 | n |  | TRUE
25 | bus_LV_296-28_0_4_node_111 | 0.4 | n |  | TRUE
26 | bus_LV_296-28_0_4_node_59 | 0.4 | n |  | TRUE
27 | bus_LV_296-28_0_4_node_119 | 0.4 | n |  | TRUE
28 | bus_LV_296-28_0_4_node_121 | 0.4 | n |  | TRUE
29 | bus_LV_296-28_0_4_node_58 | 0.4 | n |  | TRUE
30 | bus_LV_296-28_0_4_node_122 | 0.4 | n |  | TRUE
31 | bus_LV_296-28_0_4_node_63 | 0.4 | n |  | TRUE
32 | bus_LV_296-28_0_4_node_130 | 0.4 | n |  | TRUE
33 | bus_LV_296-28_0_4_node_60 | 0.4 | n |  | TRUE
34 | bus_LV_296-28_0_4_node_61 | 0.4 | n |  | TRUE
35 | bus_LV_296-28_0_4_node_133 | 0.4 | n |  | TRUE
36 | bus_LV_296-28_0_4_node_132 | 0.4 | n |  | TRUE
37 | bus_LV_296-28_0_4_node_70 | 0.4 | n |  | TRUE
38 | bus_LV_296-28_0_4_node_150 | 0.4 | n |  | TRUE
39 | bus_LV_296-28_0_4_node_96 | 0.4 | n |  | TRUE
40 | bus_LV_296-28_0_4_node_57 | 0.4 | n |  | TRUE
41 | bus_LV_296-28_0_4_node_51 | 0.4 | n |  | TRUE
42 | bus_LV_296-28_0_4_node_55 | 0.4 | n |  | TRUE
43 | bus_LV_296-28_0_4_node_118 | 0.4 | n |  | TRUE
44 | bus_LV_296-28_0_4_node_114 | 0.4 | n |  | TRUE
45 | bus_LV_296-28_0_4_node_152 | 0.4 | n |  | TRUE
46 | bus_LV_296-28_0_4_node_151 | 0.4 | n |  | TRUE
47 | bus_LV_296-28_0_4_node_17 | 0.4 | n |  | TRUE
48 | bus_LV_296-28_0_4_node_18 | 0.4 | n |  | TRUE
49 | bus_LV_296-28_0_4_node_19 | 0.4 | n |  | TRUE
50 | bus_LV_296-28_0_4_node_20 | 0.4 | n |  | TRUE
51 | bus_LV_296-28_0_4_node_21 | 0.4 | n |  | TRUE
52 | bus_LV_296-28_0_4_node_112 | 0.4 | n |  | TRUE
53 | bus_LV_296-28_0_4_node_47 | 0.4 | n |  | TRUE
54 | bus_LV_296-28_0_4_node_42 | 0.4 | n |  | TRUE
55 | bus_LV_296-28_0_4_node_95 | 0.4 | n |  | TRUE
56 | bus_LV_296-28_0_4_node_81 | 0.4 | n |  | TRUE
57 | bus_LV_296-28_0_4_node_91 | 0.4 | n |  | TRUE
58 | bus_LV_296-28_0_4_node_50 | 0.4 | n |  | TRUE
59 | bus_LV_296-28_0_4_node_67 | 0.4 | n |  | TRUE
60 | bus_LV_296-28_0_4_node_41 | 0.4 | n |  | TRUE
61 | bus_LV_296-28_0_4_node_22 | 0.4 | n |  | TRUE
62 | bus_LV_296-28_0_4_node_23 | 0.4 | n |  | TRUE
63 | bus_LV_296-28_0_4_node_24 | 0.4 | n |  | TRUE
64 | bus_LV_296-28_0_4_node_25 | 0.4 | n |  | TRUE
65 | bus_LV_296-28_0_4_node_26 | 0.4 | n |  | TRUE
66 | bus_LV_296-28_0_4_node_43 | 0.4 | n |  | TRUE
67 | bus_LV_296-28_0_4_node_53 | 0.4 | n |  | TRUE
68 | bus_LV_296-28_0_4_node_46 | 0.4 | n |  | TRUE
69 | bus_LV_296-28_0_4_node_44 | 0.4 | n |  | TRUE
70 | bus_LV_296-28_0_4_node_125 | 0.4 | n |  | TRUE
71 | bus_LV_296-28_0_4_node_52 | 0.4 | n |  | TRUE
72 | bus_LV_296-28_0_4_node_45 | 0.4 | n |  | TRUE
73 | bus_LV_296-28_0_4_node_48 | 0.4 | n |  | TRUE
74 | bus_LV_296-28_0_4_node_110 | 0.4 | n |  | TRUE
75 | bus_LV_296-28_0_4_node_40 | 0.4 | n |  | TRUE
76 | bus_LV_296-28_0_4_node_27 | 0.4 | n |  | TRUE
77 | bus_LV_296-28_0_4_node_29 | 0.4 | n |  | TRUE
78 | bus_LV_296-28_0_4_node_28 | 0.4 | n |  | TRUE
79 | bus_LV_296-28_0_4_node_30 | 0.4 | n |  | TRUE
80 | bus_LV_296-28_0_4_node_31 | 0.4 | n |  | TRUE
81 | bus_LV_296-28_0_4_node_33 | 0.4 | n |  | TRUE
82 | bus_LV_296-28_0_4_node_34 | 0.4 | n |  | TRUE
83 | bus_LV_296-28_0_4_node_35 | 0.4 | n |  | TRUE
84 | bus_LV_296-28_0_4_node_115 | 0.4 | n |  | TRUE
85 | bus_LV_296-28_0_4_node_116 | 0.4 | n |  | TRUE
86 | bus_LV_296-28_0_4_node_36 | 0.4 | n |  | TRUE
87 | bus_LV_296-28_0_4_node_117 | 0.4 | n |  | TRUE
88 | bus_LV_296-28_0_4_node_146 | 0.4 | n |  | TRUE
89 | bus_LV_296-28_0_4_node_149 | 0.4 | n |  | TRUE
90 | bus_LV_296-28_0_4_node_143 | 0.4 | n |  | TRUE
91 | bus_LV_296-28_0_4_node_39 | 0.4 | n |  | TRUE
92 | bus_LV_296-28_0_4_node_124 | 0.4 | n |  | TRUE
93 | bus_LV_296-28_0_4_node_126 | 0.4 | n |  | TRUE
94 | bus_LV_296-28_0_4_node_113 | 0.4 | n |  | TRUE
95 | bus_LV_296-28_0_4_node_49 | 0.4 | n |  | TRUE
96 | bus_LV_296-28_0_4_node_68 | 0.4 | n |  | TRUE
97 | bus_LV_296-28_0_4_node_65 | 0.4 | n |  | TRUE
98 | bus_LV_296-28_0_4_node_66 | 0.4 | n |  | TRUE
99 | bus_LV_296-28_0_4_node_56 | 0.4 | n |  | TRUE
100 | bus_LV_296-28_0_4_node_73 | 0.4 | n |  | TRUE
101 | bus_LV_296-28_0_4_node_75 | 0.4 | n |  | TRUE
102 | bus_LV_296-28_0_4_node_82 | 0.4 | n |  | TRUE
103 | bus_LV_296-28_0_4_node_79 | 0.4 | n |  | TRUE
104 | bus_LV_296-28_0_4_node_83 | 0.4 | n |  | TRUE
105 | bus_LV_296-28_0_4_node_123 | 0.4 | n |  | TRUE
106 | bus_LV_296-28_0_4_node_131 | 0.4 | n |  | TRUE
107 | bus_LV_296-28_0_4_node_120 | 0.4 | n |  | TRUE
108 | bus_LV_296-28_0_4_node_134 | 0.4 | n |  | TRUE
109 | bus_LV_296-28_0_4_node_147 | 0.4 | n |  | TRUE
110 | bus_LV_296-28_0_4_node_148 | 0.4 | n |  | TRUE
111 | bus_LV_296-28_0_4_node_74 | 0.4 | n |  | TRUE
112 | bus_LV_296-28_0_4_node_86 | 0.4 | n |  | TRUE
113 | bus_LV_296-28_0_4_node_87 | 0.4 | n |  | TRUE
114 | bus_LV_296-28_0_4_node_85 | 0.4 | n |  | TRUE
115 | bus_LV_296-28_0_4_node_80 | 0.4 | n |  | TRUE
116 | bus_LV_296-28_0_4_node_101 | 0.4 | n |  | TRUE
117 | bus_LV_296-28_0_4_node_154 | 0.4 | n |  | TRUE
118 | bus_LV_296-28_0_4_node_77 | 0.4 | n |  | TRUE
119 | bus_LV_296-28_0_4_node_76 | 0.4 | n |  | TRUE
120 | bus_LV_296-28_0_4_node_153 | 0.4 | n |  | TRUE
121 | bus_LV_296-28_0_4_node_90 | 0.4 | n |  | TRUE
122 | bus_LV_296-28_0_4_node_92 | 0.4 | n |  | TRUE
123 | bus_LV_296-28_0_4_node_93 | 0.4 | n |  | TRUE
124 | bus_LV_296-28_0_4_node_94 | 0.4 | n |  | TRUE
125 | bus_LV_296-28_0_4_node_104 | 0.4 | n |  | TRUE
126 | bus_LV_296-28_0_4_node_99 | 0.4 | n |  | TRUE
127 | bus_LV_296-28_0_4_node_98 | 0.4 | n |  | TRUE
128 | bus_LV_296-28_0_4_node_100 | 0.4 | n |  | TRUE
129 | bus_LV_296-28_0_4_node_88 | 0.4 | n |  | TRUE
130 | bus_LV_296-28_0_4_node_89 | 0.4 | n |  | TRUE
131 | bus_LV_296-28_0_4_node_105 | 0.4 | n |  | TRUE
132 | bus_LV_296-28_0_4_node_106 | 0.4 | n |  | TRUE
133 | bus_LV_296-28_0_4_node_103 | 0.4 | n |  | TRUE
134 | bus_LV_296-28_0_4_node_102 | 0.4 | n |  | TRUE
135 | bus_LV_296-28_0_4_node_107 | 0.4 | n |  | TRUE
136 | bus_LV_296-28_0_4_node_141 | 0.4 | n |  | TRUE
137 | bus_LV_296-28_0_4_node_135 | 0.4 | n |  | TRUE
138 | bus_LV_296-28_0_4_node_127 | 0.4 | n |  | TRUE
139 | bus_LV_296-28_0_4_node_128 | 0.4 | n |  | TRUE
140 | bus_LV_296-28_0_4_node_129 | 0.4 | n |  | TRUE
141 | bus_LV_296-28_0_4_node_145 | 0.4 | n |  | TRUE
142 | bus_LV_296-28_0_4_node_144 | 0.4 | n |  | TRUE
143 | bus_LV_296-28_0_4_node_136 | 0.4 | n |  | TRUE
144 | bus_LV_296-28_0_4_node_137 | 0.4 | n |  | TRUE
145 | bus_LV_296-28_0_4_node_138 | 0.4 | n |  | TRUE
146 | bus_LV_296-28_0_4_node_139 | 0.4 | n |  | TRUE
147 | bus_LV_296-28_0_4_node_140 | 0.4 | n |  | TRUE
148 | bus_MV_363_0_node_61 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_296-28_0_4_load_0 | 0 | 0.0032462 | 0.00081357 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_296-28_0_4_load_1 | 1 | 0.0025126 | 0.00062973 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_296-28_0_4_load_2 | 2 | 0.0011788 | 0.00029543 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_296-28_0_4_load_3 | 3 | 0.0013762 | 0.00034492 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_296-28_0_4_load_9 | 6 | 0.00185 | 0.00046367 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_296-28_0_4_load_155 | 8 | 0.0066395 | 0.001664 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_296-28_0_4_load_6 | 11 | 0.013652 | 0.0034214 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_296-28_0_4_load_71 | 14 | 0.0039748 | 0.00099617 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_296-28_0_4_load_69 | 15 | 0.0018204 | 0.00045624 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_296-28_0_4_load_109 | 17 | 0.0022542 | 0.00056495 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_296-28_0_4_load_84 | 19 | 0.0023347 | 0.00058514 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_296-28_0_4_load_108 | 20 | 0.0009367 | 0.00023476 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_296-28_0_4_load_97 | 21 | 0.004142 | 0.0010381 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_296-28_0_4_load_54 | 23 | 0.0027079 | 0.00067866 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_296-28_0_4_load_72 | 24 | 0.0022444 | 0.0005625 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_296-28_0_4_load_111 | 25 | 0.0022391 | 0.00056118 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_296-28_0_4_load_119 | 27 | 0.0036944 | 0.00092591 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_296-28_0_4_load_121 | 28 | 0.0032253 | 0.00080833 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_296-28_0_4_load_122 | 30 | 0.004664 | 0.0011689 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_296-28_0_4_load_130 | 32 | 0.0047817 | 0.0011984 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_296-28_0_4_load_132 | 36 | 0.0039633 | 0.00099331 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_296-28_0_4_load_150 | 38 | 0.0010731 | 0.00026894 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_296-28_0_4_load_96 | 39 | 0.0028513 | 0.0007146 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_296-28_0_4_load_57 | 40 | 0.0006365 | 0.00015952 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_296-28_0_4_load_55 | 42 | 0.0051435 | 0.0012891 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_296-28_0_4_load_118 | 43 | 0.0037875 | 0.00094924 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_296-28_0_4_load_152 | 45 | 0.00073485 | 0.00018417 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_296-28_0_4_load_17 | 47 | 0.0080189 | 0.0020097 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_296-28_0_4_load_18 | 48 | 0.0064819 | 0.0016245 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_296-28_0_4_load_19 | 49 | 0.0051448 | 0.0012894 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_296-28_0_4_load_112 | 52 | 0.0019817 | 0.00049665 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_296-28_0_4_load_42 | 54 | 0.0038078 | 0.00095433 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_296-28_0_4_load_91 | 57 | 0.0023563 | 0.00059054 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_296-28_0_4_load_67 | 59 | 0.0025521 | 0.00063961 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_296-28_0_4_load_22 | 61 | 0.0020101 | 0.00050377 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_296-28_0_4_load_23 | 62 | 0.0015553 | 0.00038978 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_296-28_0_4_load_24 | 63 | 0.0050238 | 0.0012591 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_296-28_0_4_load_53 | 67 | 0.0026943 | 0.00067526 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_296-28_0_4_load_48 | 73 | 0.0046493 | 0.0011652 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_296-28_0_4_load_110 | 74 | 0.0026923 | 0.00067476 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_296-28_0_4_load_40 | 75 | 0.0017883 | 0.00044819 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_296-28_0_4_load_27 | 76 | 0.0022899 | 0.0005739 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_296-28_0_4_load_33 | 81 | 0.0027883 | 0.00069882 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_296-28_0_4_load_35 | 83 | 0.0018498 | 0.00046361 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_296-28_0_4_load_115 | 84 | 0.0063361 | 0.001588 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_296-28_0_4_load_116 | 85 | 0.0060544 | 0.0015174 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_296-28_0_4_load_36 | 86 | 0.0027706 | 0.00069437 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_296-28_0_4_load_117 | 87 | 0.001987 | 0.00049799 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_296-28_0_4_load_146 | 88 | 0.0020151 | 0.00050502 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_296-28_0_4_load_149 | 89 | 0.0027044 | 0.00067778 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_296-28_0_4_load_143 | 90 | 0.0070396 | 0.0017643 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_296-28_0_4_load_39 | 91 | 0.0016376 | 0.00041042 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_296-28_0_4_load_124 | 92 | 0.0072826 | 0.0018252 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_296-28_0_4_load_126 | 93 | 0.004336 | 0.0010867 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_296-28_0_4_load_113 | 94 | 0.0061503 | 0.0015414 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_296-28_0_4_load_68 | 96 | 0.0037675 | 0.00094421 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_296-28_0_4_load_66 | 98 | 0.0043158 | 0.0010816 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_296-28_0_4_load_79 | 103 | 0.013261 | 0.0033235 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_296-28_0_4_load_83 | 104 | 0.0034786 | 0.00087182 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_296-28_0_4_load_120 | 107 | 0.0026916 | 0.00067457 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_296-28_0_4_load_134 | 108 | 0.0039641 | 0.0009935 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_296-28_0_4_load_147 | 109 | 0.0025254 | 0.00063292 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_296-28_0_4_load_148 | 110 | 0.0028585 | 0.00071641 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_296-28_0_4_load_74 | 111 | 0.0084443 | 0.0021163 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_296-28_0_4_load_86 | 112 | 0.0052209 | 0.0013085 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_296-28_0_4_load_87 | 113 | 0.0056589 | 0.0014183 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_296-28_0_4_load_85 | 114 | 0.0058286 | 0.0014608 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_296-28_0_4_load_154 | 117 | 0.007521 | 0.0018849 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_296-28_0_4_load_76 | 119 | 0.013222 | 0.0033137 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_296-28_0_4_load_153 | 120 | 0.0076677 | 0.0019217 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_296-28_0_4_load_92 | 122 | 0.0058754 | 0.0014725 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_296-28_0_4_load_104 | 125 | 0.0062926 | 0.0015771 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_296-28_0_4_load_99 | 126 | 0.0056325 | 0.0014116 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_296-28_0_4_load_98 | 127 | 0.0039817 | 0.00099791 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_296-28_0_4_load_100 | 128 | 0.0046839 | 0.0011739 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_296-28_0_4_load_88 | 129 | 0.019685 | 0.0049335 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_296-28_0_4_load_89 | 130 | 0.0080221 | 0.0020105 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_296-28_0_4_load_105 | 131 | 0.0012086 | 0.0003029 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_296-28_0_4_load_106 | 132 | 0.0014014 | 0.00035123 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_296-28_0_4_load_103 | 133 | 0.0026857 | 0.00067311 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_296-28_0_4_load_102 | 134 | 0.0055683 | 0.0013956 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_296-28_0_4_load_135 | 137 | 0.0069163 | 0.0017334 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_296-28_0_4_load_128 | 139 | 0.0040307 | 0.0010102 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_296-28_0_4_load_129 | 140 | 0.0063472 | 0.0015907 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_296-28_0_4_load_144 | 142 | 0.0064806 | 0.0016242 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_296-28_0_4_load_136 | 143 | 0.010355 | 0.0025953 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_296-28_0_4_load_137 | 144 | 0.010486 | 0.0026281 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_296-28_0_4_load_138 | 145 | 0.0027951 | 0.00070052 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_296-28_0_4_load_139 | 146 | 0.0028582 | 0.00071633 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 52 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_296-28_0_4_line_0 |  | 0 | 1 | 0.0084584 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_296-28_0_4_line_1 |  | 1 | 2 | 0.010828 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_296-28_0_4_line_2 |  | 2 | 3 | 0.050509 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_296-28_0_4_line_3 |  | 3 | 4 | 0.1328 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_296-28_0_4_line_4 |  | 4 | 5 | 0.28966 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_296-28_0_4_line_5 |  | 5 | 6 | 0.0019865 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_296-28_0_4_line_6 |  | 6 | 10 | 0.01493 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_296-28_0_4_line_7 |  | 7 | 8 | 0.038935 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_296-28_0_4_line_8 |  | 7 | 9 | 0.19477 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_296-28_0_4_line_9 |  | 9 | 20 | 0.015252 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_296-28_0_4_line_10 |  | 9 | 21 | 0.0396 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_296-28_0_4_line_11 |  | 9 | 12 | 0.088366 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_296-28_0_4_line_12 |  | 10 | 11 | 0.0013933 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_296-28_0_4_line_13 |  | 11 | 12 | 0.013017 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_296-28_0_4_line_14 |  | 13 | 14 | 0.023185 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_296-28_0_4_line_15 |  | 13 | 15 | 0.02536 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_296-28_0_4_line_16 |  | 15 | 37 | 0.034537 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_296-28_0_4_line_17 |  | 16 | 17 | 0.047734 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_296-28_0_4_line_18 |  | 16 | 18 | 0.013353 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_296-28_0_4_line_19 |  | 16 | 19 | 0.03506 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_296-28_0_4_line_20 |  | 17 | 25 | 0.0084786 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_296-28_0_4_line_21 |  | 18 | 22 | 0.018806 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_296-28_0_4_line_22 |  | 20 | 38 | 0.014237 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_296-28_0_4_line_23 |  | 21 | 39 | 0.041208 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_296-28_0_4_line_24 |  | 22 | 23 | 0.022839 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_296-28_0_4_line_25 |  | 23 | 42 | 0.032192 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_296-28_0_4_line_26 |  | 24 | 25 | 0.0064636 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_296-28_0_4_line_27 |  | 26 | 27 | 0.012872 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_296-28_0_4_line_28 |  | 26 | 28 | 0.010177 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_296-28_0_4_line_29 |  | 26 | 29 | 0.031076 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_296-28_0_4_line_30 |  | 27 | 44 | 0.012775 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_296-28_0_4_line_31 |  | 28 | 107 | 0.028208 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_296-28_0_4_line_32 |  | 29 | 30 | 0.014508 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_296-28_0_4_line_33 |  | 30 | 33 | 0.022962 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_296-28_0_4_line_34 |  | 31 | 32 | 0.013668 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_296-28_0_4_line_35 |  | 31 | 33 | 0.009579 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_296-28_0_4_line_36 |  | 32 | 105 | 0.018283 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_296-28_0_4_line_37 |  | 34 | 35 | 0.018742 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_296-28_0_4_line_38 |  | 34 | 36 | 0.005919 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_296-28_0_4_line_39 |  | 35 | 108 | 0.014166 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_296-28_0_4_line_40 |  | 37 | 111 | 0.034838 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
41 | LV_296-28_0_4_line_41 |  | 37 | 100 | 0.016544 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
42 | LV_296-28_0_4_line_42 |  | 38 | 46 | 0.011684 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_296-28_0_4_line_43 |  | 39 | 113 | 0.064561 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_296-28_0_4_line_44 |  | 40 | 41 | 0.043854 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_296-28_0_4_line_45 |  | 41 | 97 | 0.006609 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_296-28_0_4_line_46 |  | 41 | 98 | 0.0059761 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_296-28_0_4_line_47 |  | 41 | 95 | 0.010658 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_296-28_0_4_line_48 |  | 42 | 99 | 0.036304 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_296-28_0_4_line_49 |  | 43 | 44 | 0.046548 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_296-28_0_4_line_50 |  | 44 | 97 | 0.00989 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_296-28_0_4_line_51 |  | 45 | 46 | 0.015647 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_296-28_0_4_line_52 |  | 46 | 135 | 0.016495 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_296-28_0_4_line_53 |  | 47 | 48 | 0.0051679 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
54 | LV_296-28_0_4_line_54 |  | 47 | 49 | 0.006557 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
55 | LV_296-28_0_4_line_55 |  | 48 | 50 | 0.0083427 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
56 | LV_296-28_0_4_line_56 |  | 49 | 51 | 0.028588 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
57 | LV_296-28_0_4_line_57 |  | 50 | 52 | 0.045041 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
58 | LV_296-28_0_4_line_58 |  | 51 | 53 | 0.010786 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
59 | LV_296-28_0_4_line_59 |  | 51 | 54 | 0.022793 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_296-28_0_4_line_60 |  | 53 | 58 | 0.020886 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_296-28_0_4_line_61 |  | 53 | 59 | 0.0234 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
62 | LV_296-28_0_4_line_62 |  | 54 | 60 | 0.034587 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_296-28_0_4_line_63 |  | 55 | 56 | 0.005324 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_296-28_0_4_line_64 |  | 55 | 57 | 0.0045877 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_296-28_0_4_line_65 |  | 56 | 120 | 0.0092867 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_296-28_0_4_line_66 |  | 57 | 130 | 0.043647 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_296-28_0_4_line_67 |  | 58 | 95 | 0.007557 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_296-28_0_4_line_68 |  | 59 | 96 | 0.035117 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
69 | LV_296-28_0_4_line_69 |  | 60 | 75 | 0.037273 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_296-28_0_4_line_70 |  | 60 | 65 | 0.014187 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_296-28_0_4_line_71 |  | 61 | 62 | 0.0059401 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_296-28_0_4_line_72 |  | 61 | 63 | 0.032242 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_296-28_0_4_line_73 |  | 62 | 64 | 0.01455 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_296-28_0_4_line_74 |  | 63 | 65 | 0.026397 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_296-28_0_4_line_75 |  | 64 | 66 | 0.004477 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_296-28_0_4_line_76 |  | 65 | 67 | 0.0058687 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_296-28_0_4_line_77 |  | 66 | 68 | 0.007292 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_296-28_0_4_line_78 |  | 67 | 74 | 0.015397 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_296-28_0_4_line_79 |  | 68 | 92 | 0.015485 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_296-28_0_4_line_80 |  | 68 | 85 | 0.016427 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_296-28_0_4_line_81 |  | 69 | 70 | 0.003844 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_296-28_0_4_line_82 |  | 69 | 71 | 0.014961 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_296-28_0_4_line_83 |  | 70 | 93 | 0.034478 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_296-28_0_4_line_84 |  | 71 | 94 | 0.0097875 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_296-28_0_4_line_85 |  | 71 | 72 | 0.006709 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_296-28_0_4_line_86 |  | 72 | 73 | 0.010439 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_296-28_0_4_line_87 |  | 73 | 95 | 0.025395 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_296-28_0_4_line_88 |  | 75 | 91 | 0.010846 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_296-28_0_4_line_89 |  | 76 | 77 | 0.012857 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_296-28_0_4_line_90 |  | 77 | 81 | 0.0077488 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_296-28_0_4_line_91 |  | 77 | 82 | 0.007443 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_296-28_0_4_line_92 |  | 78 | 79 | 0.012874 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_296-28_0_4_line_93 |  | 78 | 80 | 0.033949 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_296-28_0_4_line_94 |  | 79 | 83 | 0.020879 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_296-28_0_4_line_95 |  | 80 | 84 | 0.018321 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_296-28_0_4_line_96 |  | 82 | 85 | 0.017339 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_296-28_0_4_line_97 |  | 82 | 84 | 0.014873 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_296-28_0_4_line_98 |  | 83 | 86 | 0.012809 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_296-28_0_4_line_99 |  | 87 | 88 | 0.0099259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_296-28_0_4_line_100 |  | 88 | 136 | 0.020147 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_296-28_0_4_line_101 |  | 89 | 90 | 0.01877 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_296-28_0_4_line_102 |  | 90 | 147 | 0.014252 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_296-28_0_4_line_103 |  | 93 | 138 | 0.012168 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_296-28_0_4_line_104 |  | 96 | 99 | 0.018146 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
105 | LV_296-28_0_4_line_105 |  | 99 | 100 | 0.003826 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
106 | LV_296-28_0_4_line_106 |  | 100 | 104 | 0.0010622 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_296-28_0_4_line_107 |  | 101 | 102 | 0.003494 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
108 | LV_296-28_0_4_line_108 |  | 101 | 103 | 0.013324 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
109 | LV_296-28_0_4_line_109 |  | 102 | 114 | 0.035848 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
110 | LV_296-28_0_4_line_110 |  | 102 | 111 | 0.0044164 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
111 | LV_296-28_0_4_line_111 |  | 103 | 118 | 0.0037218 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
112 | LV_296-28_0_4_line_112 |  | 105 | 106 | 0.013431 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
113 | LV_296-28_0_4_line_113 |  | 106 | 137 | 0.023153 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
114 | LV_296-28_0_4_line_114 |  | 106 | 108 | 0.0029339 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
115 | LV_296-28_0_4_line_115 |  | 109 | 110 | 0.0093742 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
116 | LV_296-28_0_4_line_116 |  | 110 | 144 | 0.021462 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
117 | LV_296-28_0_4_line_117 |  | 112 | 113 | 0.061748 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
118 | LV_296-28_0_4_line_118 |  | 114 | 128 | 0.015419 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
119 | LV_296-28_0_4_line_119 |  | 115 | 116 | 0.004505 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
120 | LV_296-28_0_4_line_120 |  | 115 | 117 | 0.028229 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
121 | LV_296-28_0_4_line_121 |  | 116 | 128 | 0.02815 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
122 | LV_296-28_0_4_line_122 |  | 116 | 126 | 0.018847 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
123 | LV_296-28_0_4_line_123 |  | 117 | 120 | 0.02255 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
124 | LV_296-28_0_4_line_124 |  | 118 | 119 | 0.021306 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
125 | LV_296-28_0_4_line_125 |  | 121 | 122 | 0.01149 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
126 | LV_296-28_0_4_line_126 |  | 121 | 123 | 0.055476 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
127 | LV_296-28_0_4_line_127 |  | 122 | 131 | 0.048673 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
128 | LV_296-28_0_4_line_128 |  | 123 | 124 | 0.049507 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
129 | LV_296-28_0_4_line_129 |  | 123 | 125 | 0.014305 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
130 | LV_296-28_0_4_line_130 |  | 124 | 126 | 0.0080128 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
131 | LV_296-28_0_4_line_131 |  | 124 | 127 | 0.02057 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
132 | LV_296-28_0_4_line_132 |  | 125 | 133 | 0.018315 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
133 | LV_296-28_0_4_line_133 |  | 129 | 130 | 0.0045204 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
134 | LV_296-28_0_4_line_134 |  | 131 | 132 | 0.012244 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
135 | LV_296-28_0_4_line_135 |  | 132 | 135 | 0.0047735 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
136 | LV_296-28_0_4_line_136 |  | 133 | 134 | 0.0026725 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
137 | LV_296-28_0_4_line_137 |  | 136 | 142 | 0.016461 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
138 | LV_296-28_0_4_line_138 |  | 136 | 146 | 0.020295 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
139 | LV_296-28_0_4_line_139 |  | 137 | 143 | 0.029292 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
140 | LV_296-28_0_4_line_140 |  | 138 | 139 | 0.016102 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
141 | LV_296-28_0_4_line_141 |  | 138 | 140 | 0.021917 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
142 | LV_296-28_0_4_line_142 |  | 140 | 141 | 0.013723 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
143 | LV_296-28_0_4_line_143 |  | 141 | 142 | 0.017631 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
144 | LV_296-28_0_4_line_144 |  | 143 | 144 | 0.0030216 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
145 | LV_296-28_0_4_line_145 |  | 145 | 146 | 0.0027323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
146 | LV_296-28_0_4_line_146 |  | 145 | 147 | 0.022338 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_296-28_0_4_trafo_112 | 0.63 MVA 20/0.4 kV | 148 | 52 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25 | x26 | y26 | x27 | y27 | x28 | y28 | x29 | y29 | x30 | y30 | x31 | y31 | x32 | y32 | x33 | y33 | x34 | y34 | x35 | y35 | x36 | y36 | x37 | y37 | x38 | y38 | x39 | y39 | x40 | y40 | x41 | y41 | x42 | y42 | x43 | y43 | x44 | y44 | x45 | y45 | x46 | y46 | x47 | y47
0 | 2694512.3181 | 1254384.3796 | 2694512.7469 | 1254384.7568 | 2694514.6176 | 1254386.21 | 2694518.3173 | 1254388.8822 | 2694519.115 | 1254389.4067
1 | 2694519.115 | 1254389.4067 | 2694522.6853 | 1254391.7542 | 2694528.158 | 1254395.3621
2 | 2694553.961 | 1254437.5546 | 2694552.1231 | 1254432.1112 | 2694549.373 | 1254425.2619 | 2694545.567 | 1254416.0162 | 2694543.254 | 1254411.5535 | 2694541.0621 | 1254408.0158 | 2694538.52 | 1254404.6726 | 2694535.6535 | 1254401.3242 | 2694532.6997 | 1254398.7194 | 2694529.3231 | 1254396.1302 | 2694528.158 | 1254395.3621
3 | 2694647.1278 | 1254521.4876 | 2694645.7221 | 1254521.1649 | 2694644.4234 | 1254520.7549 | 2694642.7751 | 1254520.028 | 2694616.3492 | 1254506.5508 | 2694576.9876 | 1254483.8377 | 2694572.5363 | 1254480.5195 | 2694568.8295 | 1254476.8797 | 2694565.7768 | 1254472.4386 | 2694563.4387 | 1254468.1312 | 2694561.0201 | 1254462.2547 | 2694556.0561 | 1254444.7395 | 2694554.3276 | 1254438.6404 | 2694553.961 | 1254437.5546
4 | 2694647.1278 | 1254521.4876 | 2694682.1897 | 1254554.4849 | 2694713.7381 | 1254581.644 | 2694720.0642 | 1254587.5609 | 2694724.5857 | 1254592.615 | 2694729.0188 | 1254598.0012 | 2694732.3593 | 1254601.891 | 2694736.1618 | 1254605.1989 | 2694740.3125 | 1254608.4345 | 2694752.0688 | 1254616.3621 | 2694774.3544 | 1254630.1517 | 2694771.4897 | 1254636.5998 | 2694770.3964 | 1254639.8516 | 2694769.6429 | 1254642.6195 | 2694769.4982 | 1254645.5305 | 2694769.9597 | 1254647.8064 | 2694770.7324 | 1254649.9649 | 2694766.5692 | 1254650.343 | 2694765.8607 | 1254650.2983 | 2694765.1766 | 1254650.1428 | 2694764.6065 | 1254649.9335 | 2694764.0009 | 1254649.5902 | 2694763.0458 | 1254648.4518 | 2694762.2785 | 1254647.372 | 2694755.7059 | 1254636.1247 | 2694753.6041 | 1254635.9243 | 2694750.3323 | 1254645.6573 | 2694750.4094 | 1254647.4378 | 2694750.8783 | 1254658.2093 | 2694751.4015 | 1254667.4694 | 2694752.7908 | 1254668.8149 | 2694754.5735 | 1254670.567 | 2694756.1561 | 1254672.0935 | 2694759.2849 | 1254675.5352 | 2694759.6947 | 1254676.3312 | 2694759.9163 | 1254677.102 | 2694759.9666 | 1254677.7256 | 2694759.9161 | 1254678.5254 | 2694759.7677 | 1254679.3125 | 2694759.5209 | 1254680.1203 | 2694759.3475 | 1254680.5846 | 2694759.0833 | 1254681.0585 | 2694758.6836 | 1254681.5191 | 2694758.3412 | 1254681.7027 | 2694757.7886 | 1254681.8162 | 2694756.9582 | 1254681.8473 | 2694744.3788 | 1254682.4577 | 2694732.6605 | 1254683.004
5 | 2694732.6605 | 1254683.004 | 2694730.6946 | 1254683.2887
6 | 2694717.1922 | 1254689.2282 | 2694724.7406 | 1254684.7565 | 2694726.1223 | 1254684.2226 | 2694727.6459 | 1254683.78 | 2694729.2726 | 1254683.4947 | 2694730.6946 | 1254683.2887
7 | 2694844.4922 | 1254839.6057 | 2694844.4395 | 1254835.3571 | 2694844.2503 | 1254834.4534 | 2694843.8402 | 1254833.6795 | 2694843.3452 | 1254833.0266 | 2694842.6381 | 1254832.426 | 2694841.8694 | 1254831.9021 | 2694828.5951 | 1254825.5179 | 2694827.5295 | 1254824.6891 | 2694826.8275 | 1254823.766 | 2694826.4079 | 1254822.6473 | 2694826.342 | 1254821.5787 | 2694826.5419 | 1254820.4032 | 2694827.0062 | 1254819.2097 | 2694830.9481 | 1254811.9227
8 | 2694681.5072 | 1254695.7183 | 2694685.2911 | 1254693.1101 | 2694690.3291 | 1254699.8292 | 2694695.0073 | 1254705.464 | 2694700.5082 | 1254712.0127 | 2694711.6824 | 1254725.1906 | 2694725.9056 | 1254741.1306 | 2694731.9628 | 1254747.3323 | 2694738.4907 | 1254753.3526 | 2694746.8107 | 1254760.5357 | 2694754.7693 | 1254766.7235 | 2694764.6707 | 1254773.6206 | 2694776.1636 | 1254781.0103 | 2694800.7954 | 1254795.238 | 2694825.1516 | 1254808.7607 | 2694830.9481 | 1254811.9227
9 | 2694681.5072 | 1254695.7183 | 2694676.6207 | 1254699.3319 | 2694674.1588 | 1254701.3608 | 2694672.1278 | 1254703.341 | 2694670.264 | 1254705.7131 | 2694670.1913 | 1254705.8223
10 | 2694681.5072 | 1254695.7183 | 2694678.3169 | 1254690.9302 | 2694665.0742 | 1254670.7471 | 2694659.7431 | 1254662.6351
11 | 2694681.5072 | 1254695.7183 | 2694685.2911 | 1254693.1101 | 2694686.4797 | 1254684.3667 | 2694684.9575 | 1254682.363 | 2694682.7958 | 1254679.3038 | 2694679.407 | 1254674.1901 | 2694676.4215 | 1254669.3385 | 2694673.1259 | 1254663.5813 | 2694677.8093 | 1254660.8763 | 2694686.4126 | 1254673.0011 | 2694696.5369 | 1254687.1963 | 2694702.1539 | 1254694.036 | 2694704.7918 | 1254696.569
12 | 2694717.1922 | 1254689.2282 | 2694715.9932 | 1254689.938
13 | 2694704.7918 | 1254696.569 | 2694715.9932 | 1254689.938
14 | 2694490.789 | 1254458.1084 | 2694498.7107 | 1254469.4882 | 2694504.5779 | 1254476.729
15 | 2694490.789 | 1254458.1084 | 2694488.4146 | 1254459.3827 | 2694470.8734 | 1254473.736
16 | 2694442.5395 | 1254493.0219 | 2694454.4037 | 1254484.7712 | 2694460.1499 | 1254480.2371 | 2694464.5548 | 1254478.9063 | 2694470.8734 | 1254473.736
17 | 2694401.8177 | 1254395.1849 | 2694404.2446 | 1254393.4555 | 2694408.239 | 1254392.3183 | 2694412.1515 | 1254392.5364 | 2694415.9921 | 1254394.4213 | 2694440.6192 | 1254415.4821
18 | 2694391.8719 | 1254386.2749 | 2694396.1418 | 1254390.1015 | 2694401.8177 | 1254395.1849
19 | 2694401.8177 | 1254395.1849 | 2694399.9173 | 1254397.4897 | 2694398.2325 | 1254402.3556 | 2694398.2078 | 1254406.2694 | 2694399.7845 | 1254410.5423 | 2694407.6638 | 1254425.5463 | 2694408.3582 | 1254426.885
20 | 2694440.6192 | 1254415.4821 | 2694442.4391 | 1254417.0384 | 2694447.6091 | 1254420.2456 | 2694447.6091 | 1254420.2456
21 | 2694387.4823 | 1254399.8935 | 2694393.3075 | 1254393.2477 | 2694396.1418 | 1254390.1015 | 2694391.8719 | 1254386.2749
22 | 2694670.1913 | 1254705.8223 | 2694668.7025 | 1254708.0567 | 2694667.3477 | 1254710.6815 | 2694666.0836 | 1254713.2967 | 2694665.1536 | 1254715.7838 | 2694664.1912 | 1254718.6652
23 | 2694636.7091 | 1254628.4711 | 2694645.9163 | 1254641.5959 | 2694659.7431 | 1254662.6351
24 | 2694387.4823 | 1254399.8935 | 2694391.2117 | 1254404.4898 | 2694393.0393 | 1254406.7541 | 2694397.4719 | 1254414.5641 | 2694399.7921 | 1254419.0269
25 | 2694399.7921 | 1254419.0269 | 2694414.6416 | 1254447.5897
26 | 2694447.6091 | 1254420.2456 | 2694453.5283 | 1254422.842
27 | 2694318.4381 | 1254465.1448 | 2694322.0396 | 1254462.6224 | 2694325.6395 | 1254460.2 | 2694327.084 | 1254459.5114 | 2694328.4616 | 1254459.2331 | 2694329.5752 | 1254459.4288
28 | 2694318.4381 | 1254465.1448 | 2694316.0116 | 1254466.8519 | 2694313.1036 | 1254473.4494
29 | 2694298.4057 | 1254451.9044 | 2694299.4628 | 1254447.1174 | 2694318.4381 | 1254465.1448
30 | 2694339.9968 | 1254466.4113 | 2694336.3075 | 1254464.9737 | 2694335.1023 | 1254464.3762 | 2694334.1918 | 1254463.7501 | 2694332.9196 | 1254462.6179 | 2694331.8652 | 1254461.5558 | 2694330.9915 | 1254460.5077 | 2694330.3084 | 1254459.8185 | 2694329.5752 | 1254459.4288
31 | 2694301.9102 | 1254497.8715 | 2694309.5494 | 1254488.3882 | 2694308.4967 | 1254483.9012 | 2694313.1036 | 1254473.4494
32 | 2694298.4057 | 1254451.9044 | 2694284.1006 | 1254449.4894
33 | 2694261.4588 | 1254445.6669 | 2694284.1006 | 1254449.4894
34 | 2694259.8898 | 1254455.1161 | 2694267.4039 | 1254466.5335
35 | 2694261.4588 | 1254445.6669 | 2694259.8898 | 1254455.1161
36 | 2694263.6783 | 1254484.4327 | 2694267.4039 | 1254466.5335
37 | 2694233.592 | 1254479.0164 | 2694237.1445 | 1254460.614
38 | 2694237.1445 | 1254460.614 | 2694231.338 | 1254459.4652
39 | 2694233.592 | 1254479.0164 | 2694247.5344 | 1254481.5229
40 | 2694442.5395 | 1254493.0219 | 2694448.5933 | 1254503.7268 | 2694457.9149 | 1254516.7412 | 2694461.8696 | 1254521.939
41 | 2694442.5395 | 1254493.0219 | 2694434.9272 | 1254478.3223
42 | 2694659.4929 | 1254729.126 | 2694660.5417 | 1254728.1754 | 2694661.3736 | 1254727.1101 | 2694661.8885 | 1254726.0508 | 2694662.6625 | 1254723.8837 | 2694664.171 | 1254718.726 | 2694664.1912 | 1254718.6652
43 | 2694594.8388 | 1254579.3972 | 2694605.4444 | 1254590.7093 | 2694623.332 | 1254611.0888 | 2694634.3349 | 1254625.0867 | 2694636.7091 | 1254628.4711
44 | 2694342.628 | 1254477.8956 | 2694346.1023 | 1254467.7318 | 2694348.4835 | 1254461.2981 | 2694352.4451 | 1254451.3311 | 2694357.6137 | 1254440.9053 | 2694359.5773 | 1254437.5469
45 | 2694336.4018 | 1254475.628 | 2694342.628 | 1254477.8956
46 | 2694342.628 | 1254477.8956 | 2694348.2468 | 1254479.9311
47 | 2694342.628 | 1254477.8956 | 2694339.2827 | 1254488.0169
48 | 2694431.3876 | 1254479.8004 | 2694414.6416 | 1254447.5897
49 | 2694339.9968 | 1254466.4113 | 2694342.2973 | 1254465.0358 | 2694346.7669 | 1254453.965 | 2694351.55 | 1254444.0556 | 2694356.2447 | 1254435.4347 | 2694361.9947 | 1254425.93
50 | 2694336.4018 | 1254475.628 | 2694339.9968 | 1254466.4113
51 | 2694659.4929 | 1254729.126 | 2694668.4859 | 1254732.9172 | 2694673.8917 | 1254735.2493
52 | 2694659.4929 | 1254729.126 | 2694657.9245 | 1254730.0128 | 2694656.2542 | 1254730.6644 | 2694653.9442 | 1254731.2168 | 2694650.5445 | 1254731.5071 | 2694647.0811 | 1254731.5296 | 2694643.386 | 1254731.4149
53 | 2694398.1954 | 1254532.2862 | 2694399.4308 | 1254533.9557 | 2694401.1096 | 1254536.5511 | 2694401.1096 | 1254536.5511
54 | 2694393.7531 | 1254527.476 | 2694395.5974 | 1254529.2576 | 2694397.732 | 1254531.6601 | 2694398.1954 | 1254532.2862
55 | 2694403.8063 | 1254544.4003 | 2694403.2459 | 1254541.6892 | 2694402.3515 | 1254539.1063 | 2694401.1096 | 1254536.5511
56 | 2694369.0914 | 1254513.2004 | 2694372.9498 | 1254515.3858 | 2694377.1943 | 1254517.4884 | 2694386.6162 | 1254522.3312 | 2694390.2995 | 1254524.6139 | 2694392.9522 | 1254526.7023 | 2694393.7531 | 1254527.476
57 | 2694403.8063 | 1254544.4003 | 2694404.0131 | 1254546.5719 | 2694404.1546 | 1254549.521 | 2694404.2326 | 1254552.2021 | 2694404.3591 | 1254557.0412 | 2694404.5589 | 1254572.4231 | 2694404.4674 | 1254578.1595 | 2694403.7484 | 1254583.9748 | 2694402.6633 | 1254589.2688
58 | 2694369.0914 | 1254513.2004 | 2694365.4722 | 1254510.6852 | 2694360.6271 | 1254506.5047
59 | 2694369.0914 | 1254513.2004 | 2694367.4371 | 1254527.5186 | 2694367.117 | 1254531.5055 | 2694366.8943 | 1254535.8793
60 | 2694345.8858 | 1254491.725 | 2694347.1691 | 1254492.635 | 2694349.0458 | 1254494.1772 | 2694360.6271 | 1254506.5047
61 | 2694360.6271 | 1254506.5047 | 2694381.5562 | 1254496.0391
62 | 2694362.8788 | 1254570.1794 | 2694364.7241 | 1254561.3908 | 2694366.6667 | 1254540.3497 | 2694366.8943 | 1254535.8793
63 | 2694464.8974 | 1254610.1258 | 2694460.5402 | 1254613.2032
64 | 2694460.5402 | 1254613.2032 | 2694463.2761 | 1254616.8859
65 | 2694464.8974 | 1254610.1258 | 2694472.8949 | 1254605.4052
66 | 2694493.7703 | 1254647.6617 | 2694489.425 | 1254644.6775 | 2694481.7951 | 1254638.6622 | 2694475.6487 | 1254632.8262 | 2694469.9871 | 1254625.9194 | 2694463.2761 | 1254616.8859
67 | 2694345.8858 | 1254491.725 | 2694342.6265 | 1254489.8271 | 2694339.2827 | 1254488.0169
68 | 2694381.5562 | 1254496.0391 | 2694393.1032 | 1254490.265 | 2694406.5958 | 1254490.1355 | 2694414.6386 | 1254486.7826
69 | 2694362.8788 | 1254570.1794 | 2694359.5333 | 1254582.6804 | 2694349.9281 | 1254605.0365
70 | 2694362.8788 | 1254570.1794 | 2694353.1727 | 1254577.9643 | 2694351.9481 | 1254576.6882
71 | 2694299.3821 | 1254614.136 | 2694299.3821 | 1254614.136 | 2694301.5184 | 1254613.1248 | 2694304.4176 | 1254611.0303
72 | 2694330.5524 | 1254592.1491 | 2694304.4176 | 1254611.0303
73 | 2694286.1179 | 1254609.8993 | 2694292.4244 | 1254613.7472 | 2694294.0964 | 1254614.4076 | 2694295.6162 | 1254614.6765 | 2694297.2771 | 1254614.614 | 2694299.3821 | 1254614.136
74 | 2694351.9481 | 1254576.6882 | 2694345.6128 | 1254581.2687 | 2694330.5524 | 1254592.1491
75 | 2694283.7784 | 1254613.7206 | 2694286.1179 | 1254609.8993
76 | 2694351.9481 | 1254576.6882 | 2694353.8526 | 1254575.0728 | 2694355.2942 | 1254573.6169 | 2694356.1431 | 1254572.6028
77 | 2694283.7784 | 1254613.7206 | 2694277.4461 | 1254610.0725
78 | 2694360.2192 | 1254558.1165 | 2694359.8025 | 1254563.9033 | 2694359.484 | 1254565.8998 | 2694358.8851 | 1254567.9696 | 2694358.2484 | 1254569.5719 | 2694357.482 | 1254570.794 | 2694356.571 | 1254572.0916 | 2694356.1431 | 1254572.6028
79 | 2694277.4461 | 1254610.0725 | 2694285.2402 | 1254596.6916
80 | 2694277.4461 | 1254610.0725 | 2694268.5599 | 1254623.8881
81 | 2694314.0373 | 1254532.5053 | 2694310.4062 | 1254531.2132
82 | 2694321.3326 | 1254519.7671 | 2694318.6263 | 1254527.1965 | 2694318.228 | 1254528.0463 | 2694317.6268 | 1254528.8374 | 2694316.8984 | 1254529.5708 | 2694314.0373 | 1254532.5053
83 | 2694310.4062 | 1254531.2132 | 2694309.2395 | 1254531.0389 | 2694308.1213 | 1254531.1323 | 2694307.0147 | 1254531.4482 | 2694305.8358 | 1254532.041 | 2694304.8188 | 1254532.8922 | 2694303.9176 | 1254534.0454 | 2694303.3743 | 1254535.4712 | 2694303.1625 | 1254536.9245 | 2694302.9733 | 1254542.6482 | 2694302.8389 | 1254543.5023 | 2694302.5169 | 1254544.2978 | 2694302.0153 | 1254545.0015 | 2694301.3723 | 1254545.5806 | 2694300.6188 | 1254545.9911 | 2694299.785 | 1254546.2336 | 2694298.9168 | 1254546.2643 | 2694286.7691 | 1254546.2096
84 | 2694321.3326 | 1254519.7671 | 2694324.4723 | 1254510.4968
85 | 2694327.7039 | 1254521.9258 | 2694321.3326 | 1254519.7671
86 | 2694327.7039 | 1254521.9258 | 2694330.5156 | 1254514.0421 | 2694331.1945 | 1254512.0877
87 | 2694339.2827 | 1254488.0169 | 2694335.2444 | 1254500.429 | 2694331.1945 | 1254512.0877
88 | 2694349.9281 | 1254605.0365 | 2694346.6124 | 1254612.7537 | 2694346.118 | 1254615.1496
89 | 2694265.5157 | 1254642.408 | 2694258.1948 | 1254652.9776
90 | 2694265.5157 | 1254642.408 | 2694269.856 | 1254635.9889
91 | 2694265.5157 | 1254642.408 | 2694259.1804 | 1254638.4708
92 | 2694229.013 | 1254688.897 | 2694234.1096 | 1254690.079 | 2694238.9198 | 1254691.2342 | 2694241.5971 | 1254691.7772
93 | 2694229.013 | 1254688.897 | 2694223.4267 | 1254688.152 | 2694227.5904 | 1254683.0031 | 2694240.4708 | 1254667.2734 | 2694241.3326 | 1254666.2196
94 | 2694241.5971 | 1254691.7772 | 2694257.1647 | 1254693.9711 | 2694258.8337 | 1254694.3424 | 2694262.1889 | 1254695.1353
95 | 2694241.3326 | 1254666.2196 | 2694243.9857 | 1254663.0705 | 2694244.7116 | 1254660.1242 | 2694250.917 | 1254650.8374
96 | 2694259.1804 | 1254638.4708 | 2694268.5599 | 1254623.8881
97 | 2694259.1804 | 1254638.4708 | 2694250.917 | 1254650.8374
98 | 2694262.1889 | 1254695.1353 | 2694262.5168 | 1254695.2128 | 2694266.7243 | 1254696.314 | 2694273.0298 | 1254697.86 | 2694274.6208 | 1254698.2162
99 | 2694226.9761 | 1254619.3985 | 2694221.585 | 1254627.7328
100 | 2694237.9187 | 1254602.482 | 2694226.9761 | 1254619.3985
101 | 2694201.5545 | 1254571.7864 | 2694206.7638 | 1254571.3286 | 2694206.7774 | 1254569.0493 | 2694218.0386 | 1254569.164
102 | 2694232.2902 | 1254569.3109 | 2694230.0573 | 1254569.2865 | 2694218.0386 | 1254569.164
103 | 2694274.6012 | 1254546.1549 | 2694286.7691 | 1254546.2096
104 | 2694431.3876 | 1254479.8004 | 2694414.6386 | 1254486.7826
105 | 2694431.3876 | 1254479.8004 | 2694434.9272 | 1254478.3223
106 | 2694434.9272 | 1254478.3223 | 2694434.4583 | 1254477.3692
107 | 2694464.5437 | 1254525.4538 | 2694461.7708 | 1254527.589
108 | 2694461.7708 | 1254527.589 | 2694459.1542 | 1254529.8601 | 2694455.3043 | 1254533.2903 | 2694451.6728 | 1254536.2792
109 | 2694464.5437 | 1254525.4538 | 2694483.425 | 1254546.9607 | 2694488.2996 | 1254552.2982
110 | 2694464.5437 | 1254525.4538 | 2694461.8696 | 1254521.939
111 | 2694453.7131 | 1254539.392 | 2694451.6728 | 1254536.2792
112 | 2694263.6783 | 1254484.4327 | 2694250.4221 | 1254482.0421
113 | 2694250.4221 | 1254482.0421 | 2694250.241 | 1254505.1942
114 | 2694250.4221 | 1254482.0421 | 2694247.5344 | 1254481.5229
115 | 2694200.7929 | 1254521.301 | 2694210.0303 | 1254519.7056
116 | 2694228.9352 | 1254516.2328 | 2694215.7822 | 1254516.2066 | 2694215.7422 | 1254518.7191 | 2694210.0303 | 1254519.7056
117 | 2694594.8388 | 1254579.3972 | 2694582.1282 | 1254565.8397 | 2694554.5241 | 1254537.7992 | 2694551.9763 | 1254534.9581
118 | 2694488.2996 | 1254552.2982 | 2694498.6977 | 1254563.6838
119 | 2694517.5 | 1254584.6339 | 2694513.6668 | 1254587.019
120 | 2694513.6668 | 1254587.019 | 2694509.0776 | 1254589.9703 | 2694504.4682 | 1254592.7768 | 2694491.6621 | 1254600.9567 | 2694490.53 | 1254599.0927
121 | 2694517.5 | 1254584.6339 | 2694500.1614 | 1254565.2865 | 2694498.6977 | 1254563.6838
122 | 2694517.5 | 1254584.6339 | 2694530.0877 | 1254598.6611
123 | 2694472.8949 | 1254605.4052 | 2694475.1612 | 1254609.0109 | 2694480.0412 | 1254605.7973 | 2694490.53 | 1254599.0927
124 | 2694453.7131 | 1254539.392 | 2694451.412 | 1254545.5268 | 2694449.7174 | 1254546.7563 | 2694456.5948 | 1254557.3854
125 | 2694574.3144 | 1254697.8741 | 2694584.6746 | 1254702.8419
126 | 2694574.3144 | 1254697.8741 | 2694574.1604 | 1254694.7581 | 2694573.2005 | 1254675.0384 | 2694572.9004 | 1254668.7954 | 2694571.5984 | 1254658.1996 | 2694569.8121 | 1254653.3673 | 2694565.6891 | 1254643.6716
127 | 2694627.356 | 1254726.1736 | 2694625.3798 | 1254725.0889 | 2694614.2164 | 1254718.3052 | 2694601.3249 | 1254711.0714 | 2694589.7159 | 1254705.2592 | 2694584.6746 | 1254702.8419
128 | 2694535.4393 | 1254604.6248 | 2694546.9791 | 1254617.6192 | 2694558.3732 | 1254631.234 | 2694565.6891 | 1254643.6716
129 | 2694565.6891 | 1254643.6716 | 2694579.2584 | 1254648.2013
130 | 2694535.4393 | 1254604.6248 | 2694530.0877 | 1254598.6611
131 | 2694535.4393 | 1254604.6248 | 2694554.8921 | 1254611.3111
132 | 2694596.6313 | 1254654.0007 | 2694579.2584 | 1254648.2013
133 | 2694497.4966 | 1254650.2208 | 2694493.7703 | 1254647.6617
134 | 2694627.356 | 1254726.1736 | 2694629.5531 | 1254727.3796 | 2694632.9381 | 1254728.9571 | 2694636.7871 | 1254730.2975 | 2694638.669 | 1254730.715
135 | 2694643.386 | 1254731.4149 | 2694640.0274 | 1254731.0165 | 2694638.669 | 1254730.715
136 | 2694599.1663 | 1254654.8469 | 2694596.6313 | 1254654.0007
137 | 2694237.9187 | 1254602.482 | 2694247.1557 | 1254588.8573
138 | 2694237.9187 | 1254602.482 | 2694221.5915 | 1254592.0585 | 2694221.595 | 1254591.1343
139 | 2694250.241 | 1254505.1942 | 2694250.1599 | 1254515.5642 | 2694250.1559 | 1254516.2869 | 2694249.4544 | 1254516.2757 | 2694246.9043 | 1254516.2685 | 2694231.9568 | 1254516.2388
140 | 2694274.6012 | 1254546.1549 | 2694265.2862 | 1254540.2798 | 2694264.6088 | 1254539.7019 | 2694264.0929 | 1254538.9375 | 2694263.6471 | 1254538.0297 | 2694262.6838 | 1254535.9795
141 | 2694274.6012 | 1254546.1549 | 2694274.5298 | 1254548.7447 | 2694271.4894 | 1254548.7296 | 2694271.3034 | 1254553.775 | 2694264.8862 | 1254562.9992
142 | 2694257.0492 | 1254574.2643 | 2694264.8862 | 1254562.9992
143 | 2694257.0492 | 1254574.2643 | 2694247.1557 | 1254588.8573
144 | 2694228.9352 | 1254516.2328 | 2694231.9568 | 1254516.2388
145 | 2694221.6053 | 1254588.402 | 2694221.595 | 1254591.1343
146 | 2694232.2902 | 1254569.3109 | 2694221.6172 | 1254585.2314 | 2694221.6053 | 1254588.402

## bus_geodata
| x | y | coords
0 | 2694512.3181 | 1254384.3796
1 | 2694519.115 | 1254389.4067
2 | 2694528.158 | 1254395.3621
3 | 2694553.961 | 1254437.5546
4 | 2694647.1278 | 1254521.4876
5 | 2694732.6605 | 1254683.004
6 | 2694730.6946 | 1254683.2887
7 | 2694830.9481 | 1254811.9227
8 | 2694844.4922 | 1254839.6057
9 | 2694681.5072 | 1254695.7183
10 | 2694717.1922 | 1254689.2282
11 | 2694715.9932 | 1254689.938
12 | 2694704.7918 | 1254696.569
13 | 2694490.789 | 1254458.1084
14 | 2694504.5779 | 1254476.729
15 | 2694470.8734 | 1254473.736
16 | 2694401.8177 | 1254395.1849
17 | 2694440.6192 | 1254415.4821
18 | 2694391.8719 | 1254386.2749
19 | 2694408.3582 | 1254426.885
20 | 2694670.1913 | 1254705.8223
21 | 2694659.7431 | 1254662.6351
22 | 2694387.4823 | 1254399.8935
23 | 2694399.7921 | 1254419.0269
24 | 2694453.5283 | 1254422.842
25 | 2694447.6091 | 1254420.2456
26 | 2694318.4381 | 1254465.1448
27 | 2694329.5752 | 1254459.4288
28 | 2694313.1036 | 1254473.4494
29 | 2694298.4057 | 1254451.9044
30 | 2694284.1006 | 1254449.4894
31 | 2694259.8898 | 1254455.1161
32 | 2694267.4039 | 1254466.5335
33 | 2694261.4588 | 1254445.6669
34 | 2694237.1445 | 1254460.614
35 | 2694233.592 | 1254479.0164
36 | 2694231.338 | 1254459.4652
37 | 2694442.5395 | 1254493.0219
38 | 2694664.1912 | 1254718.6652
39 | 2694636.7091 | 1254628.4711
40 | 2694359.5773 | 1254437.5469
41 | 2694342.628 | 1254477.8956
42 | 2694414.6416 | 1254447.5897
43 | 2694361.9947 | 1254425.93
44 | 2694339.9968 | 1254466.4113
45 | 2694673.8917 | 1254735.2493
46 | 2694659.4929 | 1254729.126
47 | 2694398.1954 | 1254532.2862
48 | 2694401.1096 | 1254536.5511
49 | 2694393.7531 | 1254527.476
50 | 2694403.8063 | 1254544.4003
51 | 2694369.0914 | 1254513.2004
52 | 2694402.6633 | 1254589.2687
53 | 2694360.6271 | 1254506.5047
54 | 2694366.8943 | 1254535.8793
55 | 2694460.5402 | 1254613.2032
56 | 2694464.8974 | 1254610.1258
57 | 2694463.2761 | 1254616.8859
58 | 2694345.8858 | 1254491.725
59 | 2694381.5562 | 1254496.0391
60 | 2694362.8788 | 1254570.1794
61 | 2694304.4176 | 1254611.0303
62 | 2694299.3821 | 1254614.136
63 | 2694330.5524 | 1254592.1491
64 | 2694286.1179 | 1254609.8993
65 | 2694351.9481 | 1254576.6882
66 | 2694283.7784 | 1254613.7206
67 | 2694356.1431 | 1254572.6028
68 | 2694277.4461 | 1254610.0725
69 | 2694314.0373 | 1254532.5053
70 | 2694310.4062 | 1254531.2132
71 | 2694321.3326 | 1254519.7671
72 | 2694327.7039 | 1254521.9258
73 | 2694331.1945 | 1254512.0877
74 | 2694360.2192 | 1254558.1165
75 | 2694349.9281 | 1254605.0365
76 | 2694258.1948 | 1254652.9776
77 | 2694265.5157 | 1254642.408
78 | 2694229.013 | 1254688.897
79 | 2694241.5971 | 1254691.7772
80 | 2694241.3326 | 1254666.2196
81 | 2694269.856 | 1254635.9889
82 | 2694259.1804 | 1254638.4708
83 | 2694262.1889 | 1254695.1353
84 | 2694250.917 | 1254650.8374
85 | 2694268.5599 | 1254623.8881
86 | 2694274.6208 | 1254698.2162
87 | 2694221.585 | 1254627.7328
88 | 2694226.9761 | 1254619.3985
89 | 2694201.5545 | 1254571.7864
90 | 2694218.0386 | 1254569.164
91 | 2694346.118 | 1254615.1496
92 | 2694285.2402 | 1254596.6916
93 | 2694286.7691 | 1254546.2096
94 | 2694324.4723 | 1254510.4968
95 | 2694339.2827 | 1254488.0169
96 | 2694414.6386 | 1254486.7826
97 | 2694336.4018 | 1254475.628
98 | 2694348.2468 | 1254479.9311
99 | 2694431.3876 | 1254479.8004
100 | 2694434.9272 | 1254478.3223
101 | 2694461.7708 | 1254527.589
102 | 2694464.5437 | 1254525.4537
103 | 2694451.6728 | 1254536.2792
104 | 2694434.4583 | 1254477.3692
105 | 2694263.6783 | 1254484.4327
106 | 2694250.4221 | 1254482.0421
107 | 2694301.9102 | 1254497.8715
108 | 2694247.5344 | 1254481.5229
109 | 2694200.7929 | 1254521.301
110 | 2694210.0303 | 1254519.7056
111 | 2694461.8696 | 1254521.939
112 | 2694551.9763 | 1254534.9581
113 | 2694594.8388 | 1254579.3972
114 | 2694488.2996 | 1254552.2982
115 | 2694513.6668 | 1254587.019
116 | 2694517.5 | 1254584.6339
117 | 2694490.53 | 1254599.0927
118 | 2694453.7131 | 1254539.392
119 | 2694456.5948 | 1254557.3854
120 | 2694472.8949 | 1254605.4052
121 | 2694574.3144 | 1254697.8741
122 | 2694584.6746 | 1254702.8419
123 | 2694565.6891 | 1254643.6716
124 | 2694535.4393 | 1254604.6248
125 | 2694579.2584 | 1254648.2013
126 | 2694530.0877 | 1254598.6611
127 | 2694554.8921 | 1254611.3111
128 | 2694498.6977 | 1254563.6838
129 | 2694497.4966 | 1254650.2208
130 | 2694493.7703 | 1254647.6617
131 | 2694627.356 | 1254726.1736
132 | 2694638.669 | 1254730.715
133 | 2694596.6313 | 1254654.0007
134 | 2694599.1663 | 1254654.8469
135 | 2694643.386 | 1254731.4149
136 | 2694237.9187 | 1254602.482
137 | 2694250.241 | 1254505.1942
138 | 2694274.6012 | 1254546.1549
139 | 2694262.6838 | 1254535.9795
140 | 2694264.8862 | 1254562.9992
141 | 2694257.0492 | 1254574.2643
142 | 2694247.1557 | 1254588.8573
143 | 2694231.9568 | 1254516.2388
144 | 2694228.9352 | 1254516.2328
145 | 2694221.6053 | 1254588.402
146 | 2694221.595 | 1254591.1343
147 | 2694232.2902 | 1254569.3109
148 | 2694403.8063 | 1254544.4003

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1