## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_296-2_1_4_node_146 | 0.4 | n |  | TRUE
1 | bus_LV_296-2_1_4_node_121 | 0.4 | n |  | TRUE
2 | bus_LV_296-2_1_4_node_147 | 0.4 | n |  | TRUE
3 | bus_LV_296-2_1_4_node_123 | 0.4 | n |  | TRUE
4 | bus_LV_296-2_1_4_node_148 | 0.4 | n |  | TRUE
5 | bus_LV_296-2_1_4_node_61 | 0.4 | n |  | TRUE
6 | bus_LV_296-2_1_4_node_149 | 0.4 | n |  | TRUE
7 | bus_LV_296-2_1_4_node_167 | 0.4 | n |  | TRUE
8 | bus_LV_296-2_1_4_node_152 | 0.4 | n |  | TRUE
9 | bus_LV_296-2_1_4_node_150 | 0.4 | n |  | TRUE
10 | bus_LV_296-2_1_4_node_151 | 0.4 | n |  | TRUE
11 | bus_LV_296-2_1_4_node_153 | 0.4 | n |  | TRUE
12 | bus_LV_296-2_1_4_node_154 | 0.4 | n |  | TRUE
13 | bus_LV_296-2_1_4_node_78 | 0.4 | n |  | TRUE
14 | bus_LV_296-2_1_4_node_155 | 0.4 | n |  | TRUE
15 | bus_LV_296-2_1_4_node_120 | 0.4 | n |  | TRUE
16 | bus_LV_296-2_1_4_node_28 | 0.4 | n |  | TRUE
17 | bus_LV_296-2_1_4_node_30 | 0.4 | n |  | TRUE
18 | bus_LV_296-2_1_4_node_31 | 0.4 | n |  | TRUE
19 | bus_LV_296-2_1_4_node_34 | 0.4 | n |  | TRUE
20 | bus_LV_296-2_1_4_node_33 | 0.4 | n |  | TRUE
21 | bus_LV_296-2_1_4_node_156 | 0.4 | n |  | TRUE
22 | bus_LV_296-2_1_4_node_119 | 0.4 | n |  | TRUE
23 | bus_LV_296-2_1_4_node_50 | 0.4 | n |  | TRUE
24 | bus_LV_296-2_1_4_node_35 | 0.4 | n |  | TRUE
25 | bus_LV_296-2_1_4_node_52 | 0.4 | n |  | TRUE
26 | bus_LV_296-2_1_4_node_36 | 0.4 | n |  | TRUE
27 | bus_LV_296-2_1_4_node_81 | 0.4 | n |  | TRUE
28 | bus_LV_296-2_1_4_node_164 | 0.4 | n |  | TRUE
29 | bus_LV_296-2_1_4_node_165 | 0.4 | n |  | TRUE
30 | bus_LV_296-2_1_4_node_51 | 0.4 | n |  | TRUE
31 | bus_LV_296-2_1_4_node_68 | 0.4 | n |  | TRUE
32 | bus_LV_296-2_1_4_node_84 | 0.4 | n |  | TRUE
33 | bus_LV_296-2_1_4_node_55 | 0.4 | n |  | TRUE
34 | bus_LV_296-2_1_4_node_77 | 0.4 | n |  | TRUE
35 | bus_LV_296-2_1_4_node_82 | 0.4 | n |  | TRUE
36 | bus_LV_296-2_1_4_node_80 | 0.4 | n |  | TRUE
37 | bus_LV_296-2_1_4_node_79 | 0.4 | n |  | TRUE
38 | bus_LV_296-2_1_4_node_83 | 0.4 | n |  | TRUE
39 | bus_LV_296-2_1_4_node_116 | 0.4 | n |  | TRUE
40 | bus_LV_296-2_1_4_node_117 | 0.4 | n |  | TRUE
41 | bus_LV_296-2_1_4_node_118 | 0.4 | n |  | TRUE
42 | bus_LV_296-2_1_4_node_122 | 0.4 | n |  | TRUE
43 | bus_LV_296-2_1_4_node_126 | 0.4 | n |  | TRUE
44 | bus_MV_363_0_node_121 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_296-2_1_4_load_146 | 0 | 0.026038 | 0.0065257 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_296-2_1_4_load_147 | 2 | 0.025985 | 0.0065126 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_296-2_1_4_load_148 | 4 | 0.033459 | 0.0083856 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_296-2_1_4_load_167 | 7 | 0.007566 | 0.0018962 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_296-2_1_4_load_150 | 9 | 0.01322 | 0.0033132 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_296-2_1_4_load_155 | 14 | 0.014289 | 0.0035812 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_296-2_1_4_load_28 | 16 | 0.00189 | 0.00047368 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_296-2_1_4_load_30 | 17 | 0.0020734 | 0.00051964 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_296-2_1_4_load_34 | 19 | 0.0024942 | 0.00062512 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_296-2_1_4_load_33 | 20 | 0.0027266 | 0.00068335 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_296-2_1_4_load_156 | 21 | 0.031876 | 0.0079889 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_296-2_1_4_load_81 | 27 | 0.036812 | 0.0092259 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_296-2_1_4_load_164 | 28 | 0.0034112 | 0.00085493 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_296-2_1_4_load_165 | 29 | 0.018948 | 0.0047489 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_296-2_1_4_load_84 | 32 | 0.0017656 | 0.0004425 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_296-2_1_4_load_77 | 34 | 0.013922 | 0.0034891 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_296-2_1_4_load_82 | 35 | 0.0036174 | 0.00090662 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_296-2_1_4_load_80 | 36 | 0.0034112 | 0.00085493 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_296-2_1_4_load_79 | 37 | 0.038424 | 0.00963 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_296-2_1_4_load_83 | 38 | 0.017956 | 0.0045002 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_296-2_1_4_load_116 | 39 | 0.026747 | 0.0067033 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_296-2_1_4_load_126 | 43 | 0.017043 | 0.0042713 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 10 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_296-2_1_4_line_0 |  | 0 | 1 | 0.026531 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_296-2_1_4_line_1 |  | 1 | 3 | 0.051511 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_296-2_1_4_line_2 |  | 1 | 41 | 0.072661 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_296-2_1_4_line_3 |  | 2 | 3 | 0.0090173 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_296-2_1_4_line_4 |  | 4 | 5 | 0.010756 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_296-2_1_4_line_5 |  | 5 | 6 | 0.011198 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_296-2_1_4_line_6 |  | 6 | 7 | 0.002107 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_296-2_1_4_line_7 |  | 6 | 8 | 0.022663 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_296-2_1_4_line_8 |  | 8 | 12 | 0.011824 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_296-2_1_4_line_9 |  | 9 | 10 | 0.020207 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_296-2_1_4_line_10 |  | 10 | 11 | 0.015437 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
11 | LV_296-2_1_4_line_11 |  | 11 | 13 | 0.01409 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
12 | LV_296-2_1_4_line_12 |  | 11 | 14 | 0.041462 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_296-2_1_4_line_13 |  | 11 | 15 | 0.019347 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_296-2_1_4_line_14 |  | 12 | 14 | 0.027073 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_296-2_1_4_line_15 |  | 13 | 36 | 0.010805 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_296-2_1_4_line_16 |  | 13 | 31 | 0.069444 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_296-2_1_4_line_17 |  | 15 | 22 | 0.053457 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_296-2_1_4_line_18 |  | 15 | 28 | 0.037064 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_296-2_1_4_line_19 |  | 16 | 17 | 0.0015912 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_296-2_1_4_line_20 |  | 17 | 18 | 0.044065 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_296-2_1_4_line_21 |  | 18 | 19 | 0.009445 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_296-2_1_4_line_22 |  | 18 | 20 | 0.036912 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_296-2_1_4_line_23 |  | 19 | 23 | 0.025979 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_296-2_1_4_line_24 |  | 21 | 22 | 0.04465 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_296-2_1_4_line_25 |  | 22 | 40 | 0.091381 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_296-2_1_4_line_26 |  | 23 | 30 | 0.10457 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_296-2_1_4_line_27 |  | 24 | 25 | 0.10084 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_296-2_1_4_line_28 |  | 24 | 26 | 0.079273 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_296-2_1_4_line_29 |  | 25 | 29 | 0.004213 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_296-2_1_4_line_30 |  | 26 | 27 | 0.074486 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_296-2_1_4_line_31 |  | 27 | 35 | 0.037966 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_296-2_1_4_line_32 |  | 30 | 31 | 0.068113 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_296-2_1_4_line_33 |  | 30 | 32 | 0.014486 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_296-2_1_4_line_34 |  | 31 | 35 | 0.011599 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_296-2_1_4_line_35 |  | 31 | 33 | 0.053387 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_296-2_1_4_line_36 |  | 32 | 38 | 0.010455 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_296-2_1_4_line_37 |  | 33 | 34 | 0.012638 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_296-2_1_4_line_38 |  | 36 | 37 | 0.041054 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_296-2_1_4_line_39 |  | 39 | 40 | 0.030299 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_296-2_1_4_line_40 |  | 39 | 41 | 0.026869 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_296-2_1_4_line_41 |  | 41 | 42 | 0.017563 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_296-2_1_4_line_42 |  | 42 | 43 | 0.046299 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_296-2_1_4_trafo_151 | 0.63 MVA 20/0.4 kV | 44 | 10 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9
0 | 2694884.0805 | 1253552.6409 | 2694876.0551 | 1253549.1096 | 2694862.5965 | 1253537.5164
1 | 2694884.0805 | 1253552.6409 | 2694911.6695 | 1253579.0035 | 2694914.2066 | 1253578.4326 | 2694920.4465 | 1253572.8393 | 2694922.1998 | 1253574.5576
2 | 2694831.4813 | 1253580.0868 | 2694840.5441 | 1253568.7897 | 2694843.4298 | 1253564.8328 | 2694846.0591 | 1253559.9267 | 2694847.2974 | 1253554.6979 | 2694847.4542 | 1253549.1517 | 2694850.8001 | 1253549.4388 | 2694852.9779 | 1253549.6294 | 2694884.0805 | 1253552.6409
3 | 2694922.1998 | 1253574.5576 | 2694928.4913 | 1253568.0978
4 | 2694943.6224 | 1253499.8202 | 2694950.5089 | 1253491.5574
5 | 2694943.6224 | 1253499.8202 | 2694941.7083 | 1253498.2438 | 2694936.1816 | 1253505.005
6 | 2694934.8498 | 1253506.6405 | 2694936.1816 | 1253505.005
7 | 2694918.7874 | 1253490.4148 | 2694936.1816 | 1253505.005
8 | 2694918.7874 | 1253490.4148 | 2694915.7936 | 1253494.0475 | 2694910.1973 | 1253489.621
9 | 2694868.9036 | 1253449.1391 | 2694884.472 | 1253462.0209
10 | 2694857.9247 | 1253445.3047 | 2694859.9636 | 1253441.9236 | 2694861.9751 | 1253443.546 | 2694868.9036 | 1253449.1391
11 | 2694857.9247 | 1253445.3047 | 2694859.9636 | 1253441.9236 | 2694862.2121 | 1253438.1789 | 2694865.1742 | 1253433.2224
12 | 2694857.9247 | 1253445.3047 | 2694882.1004 | 1253465.263 | 2694889.7406 | 1253471.8877
13 | 2694847.9392 | 1253461.8911 | 2694857.9247 | 1253445.3047
14 | 2694910.1973 | 1253489.621 | 2694895.7283 | 1253477.0794 | 2694889.7406 | 1253471.8877
15 | 2694865.1742 | 1253433.2224 | 2694860.9615 | 1253430.0414 | 2694856.7512 | 1253426.4623
16 | 2694865.1742 | 1253433.2224 | 2694867.6569 | 1253428.9922 | 2694887.1 | 1253395.811 | 2694896.1519 | 1253381.4558 | 2694896.9823 | 1253380.0236 | 2694897.9681 | 1253378.3158 | 2694900.7081 | 1253373.5671
17 | 2694825.1785 | 1253503.4037 | 2694835.3321 | 1253501.7538 | 2694834.782 | 1253497.4639 | 2694834.6082 | 1253492.7685 | 2694834.8595 | 1253488.8584 | 2694835.3368 | 1253486.3863 | 2694835.5923 | 1253485.0449 | 2694836.8103 | 1253481.0835 | 2694838.4191 | 1253477.6955 | 2694847.9392 | 1253461.8911
18 | 2694847.9392 | 1253461.8911 | 2694839.0097 | 1253456.3772 | 2694834.6364 | 1253461.3333 | 2694821.7436 | 1253476.6389
19 | 2694952.3344 | 1253159.9897 | 2694951.6434 | 1253161.4231
20 | 2694942.861 | 1253200.9852 | 2694940.0932 | 1253198.5167 | 2694938.5717 | 1253195.5122 | 2694938.2856 | 1253192.6498 | 2694938.8887 | 1253188.9233 | 2694940.1628 | 1253185.2408 | 2694951.6434 | 1253161.4231
21 | 2694942.861 | 1253200.9852 | 2694951.8192 | 1253203.9782
22 | 2694942.861 | 1253200.9852 | 2694937.6257 | 1253199.9116 | 2694933.4108 | 1253198.7432 | 2694929.0138 | 1253197.1604 | 2694925.3679 | 1253195.3338 | 2694922.1399 | 1253193.325 | 2694917.9512 | 1253190.0442 | 2694914.3572 | 1253186.8619 | 2694911.1382 | 1253183.6893
23 | 2694972.4425 | 1253217.072 | 2694972.0387 | 1253214.9638 | 2694970.7425 | 1253212.4967 | 2694968.7001 | 1253210.4401 | 2694965.7257 | 1253208.6243 | 2694951.8192 | 1253203.9782
24 | 2694825.1785 | 1253503.4037 | 2694809.3776 | 1253490.6186 | 2694799.4364 | 1253494.0844 | 2694788.8472 | 1253485.2414
25 | 2694786.1737 | 1253545.2233 | 2694791.9573 | 1253538.8998 | 2694796.8067 | 1253535.3079 | 2694802.6928 | 1253532.4777 | 2694840.5446 | 1253521.664 | 2694836.1548 | 1253505.9814 | 2694835.3321 | 1253501.7538 | 2694825.1785 | 1253503.4037
26 | 2694934.1844 | 1253314.2681 | 2694935.3765 | 1253311.9299 | 2694936.5609 | 1253309.6026 | 2694940.4424 | 1253300.9691 | 2694952.9636 | 1253268.8892 | 2694955.2459 | 1253263.0434 | 2694971.6075 | 1253221.1395 | 2694972.2547 | 1253218.9037 | 2694972.4425 | 1253217.072
27 | 2694856.9675 | 1253279.9267 | 2694862.6282 | 1253273.7569 | 2694855.7241 | 1253268.0419 | 2694867.0343 | 1253254.9906 | 2694885.4028 | 1253233.8015 | 2694898.4315 | 1253244.4296 | 2694907.521 | 1253233.8669 | 2694909.5676 | 1253235.6567 | 2694912.7852 | 1253232.1944
28 | 2694807.2817 | 1253324.1659 | 2694822.9779 | 1253298.7639 | 2694833.2875 | 1253307.18 | 2694856.9675 | 1253279.9267
29 | 2694912.7852 | 1253232.1944 | 2694915.62 | 1253229.0707
30 | 2694807.2817 | 1253324.1659 | 2694821.8483 | 1253336.7756 | 2694827.3193 | 1253341.5002 | 2694840.8587 | 1253353.215 | 2694844.022 | 1253355.9566 | 2694847.1175 | 1253352.5702 | 2694859.7017 | 1253362.6685 | 2694863.0105 | 1253358.685
31 | 2694892.3841 | 1253365.518 | 2694885.039 | 1253359.1382 | 2694879.9115 | 1253365.0051 | 2694872.5037 | 1253362.9404 | 2694870.5983 | 1253365.056 | 2694867.0315 | 1253362.0632 | 2694863.0105 | 1253358.685 | 2694863.0105 | 1253358.685
32 | 2694900.7081 | 1253373.5671 | 2694903.8285 | 1253368.1573 | 2694919.1509 | 1253341.6153 | 2694921.6512 | 1253337.2297 | 2694927.7469 | 1253326.519 | 2694931.4432 | 1253320.0287 | 2694934.1844 | 1253314.2681
33 | 2694934.1844 | 1253314.2681 | 2694931.2805 | 1253311.8197 | 2694923.2606 | 1253304.7547
34 | 2694900.7081 | 1253373.5671 | 2694897.2081 | 1253369.708 | 2694892.3841 | 1253365.518
35 | 2694900.7081 | 1253373.5671 | 2694897.9681 | 1253378.3158 | 2694896.9823 | 1253380.0236 | 2694896.1519 | 1253381.4558 | 2694920.0575 | 1253401.321 | 2694915.0525 | 1253407.5457 | 2694919.0899 | 1253410.8352
36 | 2694923.2606 | 1253304.7547 | 2694915.4153 | 1253297.8435 | 2694915.4153 | 1253297.8435
37 | 2694919.0899 | 1253410.8352 | 2694910.7496 | 1253420.3308
38 | 2694856.7512 | 1253426.4623 | 2694850.2556 | 1253420.9406 | 2694844.7801 | 1253427.3357 | 2694841.7871 | 1253424.7969 | 2694836.819 | 1253430.6109 | 2694833.7202 | 1253428.0815 | 2694827.0978 | 1253422.6935
39 | 2694786.1737 | 1253545.2233 | 2694810.1857 | 1253563.702
40 | 2694831.4813 | 1253580.0868 | 2694827.8361 | 1253577.2818 | 2694823.0802 | 1253573.6251 | 2694810.1857 | 1253563.702
41 | 2694831.4813 | 1253580.0868 | 2694820.4781 | 1253593.7992
42 | 2694820.4781 | 1253593.7992 | 2694822.699 | 1253595.5361 | 2694827.9089 | 1253599.5894 | 2694842.3697 | 1253610.2737 | 2694854.6211 | 1253596.37 | 2694854.8633 | 1253596.0929

## bus_geodata
| x | y | coords
0 | 2694862.5965 | 1253537.5164
1 | 2694884.0805 | 1253552.6409
2 | 2694928.4913 | 1253568.0978
3 | 2694922.1998 | 1253574.5576
4 | 2694950.5089 | 1253491.5574
5 | 2694943.6224 | 1253499.8202
6 | 2694936.1816 | 1253505.005
7 | 2694934.8498 | 1253506.6405
8 | 2694918.7874 | 1253490.4148
9 | 2694884.472 | 1253462.0209
10 | 2694868.9036 | 1253449.1391
11 | 2694857.9247 | 1253445.3047
12 | 2694910.1973 | 1253489.621
13 | 2694865.1742 | 1253433.2224
14 | 2694889.7406 | 1253471.8877
15 | 2694847.9393 | 1253461.8911
16 | 2694952.3344 | 1253159.9897
17 | 2694951.6434 | 1253161.4231
18 | 2694942.861 | 1253200.9852
19 | 2694951.8192 | 1253203.9782
20 | 2694911.1382 | 1253183.6893
21 | 2694788.8472 | 1253485.2414
22 | 2694825.1785 | 1253503.4037
23 | 2694972.4425 | 1253217.072
24 | 2694856.9675 | 1253279.9267
25 | 2694912.7852 | 1253232.1944
26 | 2694807.2817 | 1253324.1659
27 | 2694863.0105 | 1253358.685
28 | 2694821.7436 | 1253476.6389
29 | 2694915.62 | 1253229.0707
30 | 2694934.1844 | 1253314.2681
31 | 2694900.7081 | 1253373.5671
32 | 2694923.2606 | 1253304.7547
33 | 2694919.0899 | 1253410.8352
34 | 2694910.7496 | 1253420.3308
35 | 2694892.3841 | 1253365.518
36 | 2694856.7512 | 1253426.4623
37 | 2694827.0978 | 1253422.6935
38 | 2694915.4153 | 1253297.8435
39 | 2694810.1857 | 1253563.702
40 | 2694786.1737 | 1253545.2233
41 | 2694831.4813 | 1253580.0868
42 | 2694820.4781 | 1253593.7992
43 | 2694854.8633 | 1253596.0929
44 | 2694859.9636 | 1253441.9236

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1