## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_296-31_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_296-31_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_296-31_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_296-31_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_296-31_0_4_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_296-31_0_4_node_4 | 0.4 | n |  | TRUE
6 | bus_LV_296-31_0_4_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_296-31_0_4_node_45 | 0.4 | n |  | TRUE
8 | bus_LV_296-31_0_4_node_20 | 0.4 | n |  | TRUE
9 | bus_LV_296-31_0_4_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_296-31_0_4_node_36 | 0.4 | n |  | TRUE
11 | bus_LV_296-31_0_4_node_34 | 0.4 | n |  | TRUE
12 | bus_LV_296-31_0_4_node_46 | 0.4 | n |  | TRUE
13 | bus_LV_296-31_0_4_node_44 | 0.4 | n |  | TRUE
14 | bus_LV_296-31_0_4_node_38 | 0.4 | n |  | TRUE
15 | bus_LV_296-31_0_4_node_19 | 0.4 | n |  | TRUE
16 | bus_LV_296-31_0_4_node_24 | 0.4 | n |  | TRUE
17 | bus_LV_296-31_0_4_node_31 | 0.4 | n |  | TRUE
18 | bus_LV_296-31_0_4_node_30 | 0.4 | n |  | TRUE
19 | bus_LV_296-31_0_4_node_60 | 0.4 | n |  | TRUE
20 | bus_LV_296-31_0_4_node_26 | 0.4 | n |  | TRUE
21 | bus_LV_296-31_0_4_node_22 | 0.4 | n |  | TRUE
22 | bus_LV_296-31_0_4_node_25 | 0.4 | n |  | TRUE
23 | bus_LV_296-31_0_4_node_59 | 0.4 | n |  | TRUE
24 | bus_LV_296-31_0_4_node_28 | 0.4 | n |  | TRUE
25 | bus_LV_296-31_0_4_node_61 | 0.4 | n |  | TRUE
26 | bus_LV_296-31_0_4_node_62 | 0.4 | n |  | TRUE
27 | bus_LV_296-31_0_4_node_21 | 0.4 | n |  | TRUE
28 | bus_LV_296-31_0_4_node_32 | 0.4 | n |  | TRUE
29 | bus_LV_296-31_0_4_node_55 | 0.4 | n |  | TRUE
30 | bus_LV_296-31_0_4_node_23 | 0.4 | n |  | TRUE
31 | bus_LV_296-31_0_4_node_29 | 0.4 | n |  | TRUE
32 | bus_LV_296-31_0_4_node_39 | 0.4 | n |  | TRUE
33 | bus_LV_296-31_0_4_node_43 | 0.4 | n |  | TRUE
34 | bus_LV_296-31_0_4_node_50 | 0.4 | n |  | TRUE
35 | bus_LV_296-31_0_4_node_33 | 0.4 | n |  | TRUE
36 | bus_LV_296-31_0_4_node_37 | 0.4 | n |  | TRUE
37 | bus_LV_296-31_0_4_node_58 | 0.4 | n |  | TRUE
38 | bus_LV_296-31_0_4_node_35 | 0.4 | n |  | TRUE
39 | bus_LV_296-31_0_4_node_8 | 0.4 | n |  | TRUE
40 | bus_LV_296-31_0_4_node_9 | 0.4 | n |  | TRUE
41 | bus_LV_296-31_0_4_node_10 | 0.4 | n |  | TRUE
42 | bus_LV_296-31_0_4_node_11 | 0.4 | n |  | TRUE
43 | bus_LV_296-31_0_4_node_12 | 0.4 | n |  | TRUE
44 | bus_LV_296-31_0_4_node_13 | 0.4 | n |  | TRUE
45 | bus_LV_296-31_0_4_node_14 | 0.4 | n |  | TRUE
46 | bus_LV_296-31_0_4_node_18 | 0.4 | n |  | TRUE
47 | bus_LV_296-31_0_4_node_16 | 0.4 | n |  | TRUE
48 | bus_LV_296-31_0_4_node_15 | 0.4 | n |  | TRUE
49 | bus_LV_296-31_0_4_node_40 | 0.4 | n |  | TRUE
50 | bus_LV_296-31_0_4_node_51 | 0.4 | n |  | TRUE
51 | bus_LV_296-31_0_4_node_41 | 0.4 | n |  | TRUE
52 | bus_LV_296-31_0_4_node_42 | 0.4 | n |  | TRUE
53 | bus_LV_296-31_0_4_node_57 | 0.4 | n |  | TRUE
54 | bus_LV_296-31_0_4_node_56 | 0.4 | n |  | TRUE
55 | bus_LV_296-31_0_4_node_47 | 0.4 | n |  | TRUE
56 | bus_LV_296-31_0_4_node_52 | 0.4 | n |  | TRUE
57 | bus_LV_296-31_0_4_node_54 | 0.4 | n |  | TRUE
58 | bus_LV_296-31_0_4_node_53 | 0.4 | n |  | TRUE
59 | bus_MV_363_0_node_119 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_296-31_0_4_load_0 | 0 | 0.013637 | 0.0034178 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_296-31_0_4_load_3 | 3 | 0.0037999 | 0.00095234 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_296-31_0_4_load_5 | 4 | 0.0016926 | 0.0004242 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_296-31_0_4_load_34 | 11 | 0.067115 | 0.016821 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_296-31_0_4_load_46 | 12 | 0.0044498 | 0.0011152 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_296-31_0_4_load_44 | 13 | 0.003934 | 0.00098596 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_296-31_0_4_load_38 | 14 | 0.02137 | 0.0053557 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_296-31_0_4_load_60 | 19 | 0.0071227 | 0.0017851 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_296-31_0_4_load_59 | 23 | 0.0078807 | 0.0019751 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_296-31_0_4_load_61 | 25 | 0.023926 | 0.0059965 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_296-31_0_4_load_62 | 26 | 0.0051798 | 0.0012982 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_296-31_0_4_load_55 | 29 | 0.012804 | 0.0032091 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_296-31_0_4_load_39 | 32 | 0.0049538 | 0.0012415 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_296-31_0_4_load_43 | 33 | 0.024851 | 0.0062283 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_296-31_0_4_load_50 | 34 | 0.0073663 | 0.0018462 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_296-31_0_4_load_33 | 35 | 0.00044279 | 0.00011097 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_296-31_0_4_load_37 | 36 | 0.052122 | 0.013063 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_296-31_0_4_load_58 | 37 | 0.0082845 | 0.0020763 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_296-31_0_4_load_8 | 39 | 0.0015558 | 0.00038992 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_296-31_0_4_load_9 | 40 | 0.0024177 | 0.00060594 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_296-31_0_4_load_10 | 41 | 0.0013709 | 0.00034359 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_296-31_0_4_load_11 | 42 | 0.0011557 | 0.00028964 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_296-31_0_4_load_12 | 43 | 0.0023901 | 0.00059902 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_296-31_0_4_load_13 | 44 | 0.0023288 | 0.00058366 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_296-31_0_4_load_14 | 45 | 0.0013255 | 0.0003322 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_296-31_0_4_load_18 | 46 | 0.0013264 | 0.00033242 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_296-31_0_4_load_16 | 47 | 0.00093766 | 0.000235 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_296-31_0_4_load_15 | 48 | 0.0020932 | 0.0005246 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_296-31_0_4_load_51 | 50 | 0.012867 | 0.0032247 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_296-31_0_4_load_57 | 53 | 0.013354 | 0.0033469 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_296-31_0_4_load_56 | 54 | 0.0025396 | 0.0006365 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_296-31_0_4_load_47 | 55 | 0.009395 | 0.0023546 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_296-31_0_4_load_52 | 56 | 0.018904 | 0.0047378 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_296-31_0_4_load_54 | 57 | 0.0057773 | 0.0014479 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_296-31_0_4_load_53 | 58 | 0.011446 | 0.0028685 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 5 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_296-31_0_4_line_0 |  | 0 | 1 | 0.042149 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
1 | LV_296-31_0_4_line_1 |  | 0 | 2 | 0.020523 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
2 | LV_296-31_0_4_line_2 |  | 1 | 3 | 0.013602 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
3 | LV_296-31_0_4_line_3 |  | 2 | 4 | 0.0021045 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
4 | LV_296-31_0_4_line_4 |  | 3 | 5 | 0.024028 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
5 | LV_296-31_0_4_line_5 |  | 4 | 7 | 0.035486 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
6 | LV_296-31_0_4_line_6 |  | 5 | 6 | 0.020709 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
7 | LV_296-31_0_4_line_7 |  | 6 | 8 | 0.014001 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
8 | LV_296-31_0_4_line_8 |  | 7 | 12 | 0.018985 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
9 | LV_296-31_0_4_line_9 |  | 7 | 13 | 0.0052096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_296-31_0_4_line_10 |  | 8 | 14 | 0.0065876 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
11 | LV_296-31_0_4_line_11 |  | 9 | 10 | 0.030025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_296-31_0_4_line_12 |  | 9 | 11 | 0.0073153 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_296-31_0_4_line_13 |  | 10 | 37 | 0.008106 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_296-31_0_4_line_14 |  | 11 | 38 | 0.0096632 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_296-31_0_4_line_15 |  | 12 | 58 | 6.2675e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
16 | LV_296-31_0_4_line_16 |  | 13 | 43 | 0.012164 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_296-31_0_4_line_17 |  | 14 | 38 | 0.027292 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
18 | LV_296-31_0_4_line_18 |  | 15 | 16 | 0.025225 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_296-31_0_4_line_19 |  | 15 | 17 | 0.014435 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_296-31_0_4_line_20 |  | 16 | 33 | 0.006203 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_296-31_0_4_line_21 |  | 17 | 36 | 0.014362 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_296-31_0_4_line_22 |  | 18 | 19 | 0.019904 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_296-31_0_4_line_23 |  | 18 | 20 | 0.069607 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_296-31_0_4_line_24 |  | 19 | 24 | 0.036609 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_296-31_0_4_line_25 |  | 20 | 34 | 0.025339 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_296-31_0_4_line_26 |  | 20 | 28 | 0.015362 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_296-31_0_4_line_27 |  | 21 | 22 | 0.026389 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_296-31_0_4_line_28 |  | 21 | 23 | 0.016451 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_296-31_0_4_line_29 |  | 22 | 26 | 0.0040376 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_296-31_0_4_line_30 |  | 23 | 27 | 0.010176 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_296-31_0_4_line_31 |  | 24 | 25 | 0.021953 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_296-31_0_4_line_32 |  | 27 | 28 | 0.011606 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_296-31_0_4_line_33 |  | 28 | 29 | 0.014416 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_296-31_0_4_line_34 |  | 30 | 31 | 0.020957 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_296-31_0_4_line_35 |  | 30 | 32 | 0.018878 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_296-31_0_4_line_36 |  | 31 | 35 | 0.022073 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_296-31_0_4_line_37 |  | 32 | 49 | 0.024954 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_296-31_0_4_line_38 |  | 34 | 50 | 0.021148 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_296-31_0_4_line_39 |  | 36 | 38 | 0.012664 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_296-31_0_4_line_40 |  | 39 | 40 | 0.0086527 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_296-31_0_4_line_41 |  | 39 | 41 | 0.00054915 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_296-31_0_4_line_42 |  | 40 | 42 | 0.0076846 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_296-31_0_4_line_43 |  | 41 | 43 | 0.018882 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_296-31_0_4_line_44 |  | 42 | 44 | 0.012274 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_296-31_0_4_line_45 |  | 44 | 45 | 0.002734 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_296-31_0_4_line_46 |  | 45 | 46 | 6.2386e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_296-31_0_4_line_47 |  | 46 | 47 | 0.0048861 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_296-31_0_4_line_48 |  | 47 | 48 | 0.013716 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_296-31_0_4_line_49 |  | 49 | 51 | 0.004091 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_296-31_0_4_line_50 |  | 49 | 52 | 0.16709 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_296-31_0_4_line_51 |  | 50 | 56 | 0.017833 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_296-31_0_4_line_52 |  | 51 | 53 | 0.028597 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_296-31_0_4_line_53 |  | 51 | 54 | 0.012037 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_296-31_0_4_line_54 |  | 52 | 55 | 0.062054 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_296-31_0_4_line_55 |  | 53 | 56 | 0.0042363 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_296-31_0_4_line_56 |  | 54 | 57 | 0.02535 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_296-31_0_4_line_57 |  | 57 | 58 | 0.017985 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_296-31_0_4_trafo_4 | 0.63 MVA 20/0.4 kV | 59 | 5 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25 | x26 | y26 | x27 | y27 | x28 | y28 | x29 | y29 | x30 | y30 | x31 | y31 | x32 | y32 | x33 | y33 | x34 | y34
0 | 2694204.6257 | 1253947.1614 | 2694230.092 | 1253943.3968 | 2694227.6752 | 1253927.1696
1 | 2694224.652 | 1253906.8706 | 2694227.6752 | 1253927.1696
2 | 2694204.6257 | 1253947.1614 | 2694202.6216 | 1253933.7079
3 | 2694224.652 | 1253906.8706 | 2694226.2326 | 1253906.6511 | 2694226.734 | 1253906.5652
4 | 2694191.3183 | 1253920.4066 | 2694200.4398 | 1253919.0617 | 2694202.6216 | 1253933.7079
5 | 2694261.7114 | 1253900.5775 | 2694226.734 | 1253906.5652
6 | 2694178.1167 | 1253913.5469 | 2694190.0361 | 1253911.8351 | 2694191.3183 | 1253920.4066
7 | 2694178.1167 | 1253913.5469 | 2694174.8169 | 1253899.9393
8 | 2694261.7114 | 1253900.5775 | 2694267.6445 | 1253918.6118
9 | 2694261.7114 | 1253900.5775 | 2694260.0592 | 1253895.6367
10 | 2694174.8169 | 1253899.9393 | 2694175.8885 | 1253899.9342 | 2694181.4045 | 1253899.9251
11 | 2694198.6955 | 1253856.5517 | 2694204.7366 | 1253855.8028 | 2694205.398 | 1253876.8297 | 2694205.4874 | 1253879.7446
12 | 2694205.4874 | 1253879.7446 | 2694198.1721 | 1253879.7575
13 | 2694198.6955 | 1253856.5517 | 2694193.1529 | 1253850.6368
14 | 2694188.5089 | 1253879.7746 | 2694198.1721 | 1253879.7575
15 | 2694267.6445 | 1253918.6118 | 2694267.6641 | 1253918.6713
16 | 2694256.2017 | 1253884.1008 | 2694260.0592 | 1253895.6367
17 | 2694188.5089 | 1253879.7746 | 2694188.5582 | 1253899.9133 | 2694181.4045 | 1253899.9251
18 | 2694166.6912 | 1253840.1078 | 2694163.1555 | 1253844.6441 | 2694161.6845 | 1253846.9892 | 2694160.5671 | 1253849.8737 | 2694159.8689 | 1253852.498 | 2694159.5653 | 1253855.451 | 2694159.5142 | 1253858.6638 | 2694159.7108 | 1253863.3817
19 | 2694159.7108 | 1253863.3817 | 2694163.3697 | 1253865.8085 | 2694165.7118 | 1253875.5867
20 | 2694166.6912 | 1253840.1078 | 2694171.8142 | 1253836.6104
21 | 2694165.7118 | 1253875.5867 | 2694170.3374 | 1253875.5824 | 2694180.0734 | 1253875.5585
22 | 2694127.6423 | 1254017.0478 | 2694127.8144 | 1254012.3914 | 2694127.6532 | 1254009.2419 | 2694127.1222 | 1254006.0977 | 2694124.8156 | 1253997.4997
23 | 2694127.6423 | 1254017.0478 | 2694135.7824 | 1254017.6221 | 2694143.9256 | 1254017.5292 | 2694152.178 | 1254017.2157 | 2694157.5615 | 1254016.5229 | 2694160.4659 | 1254016.091 | 2694163.423 | 1254015.6598 | 2694170.2056 | 1254014.2999 | 2694175.072 | 1254012.9095 | 2694179.6863 | 1254011.2372 | 2694184.9455 | 1254008.8745 | 2694189.3759 | 1254006.4319 | 2694194.5252 | 1254003.3892
24 | 2694115.5226 | 1253962.09 | 2694121.8794 | 1253986.5546 | 2694124.8156 | 1253997.4997
25 | 2694194.5252 | 1254003.3892 | 2694213.9039 | 1253991.4436 | 2694216.1274 | 1253990.1468
26 | 2694190.9676 | 1253988.4431 | 2694194.5252 | 1254003.3892
27 | 2694172.2137 | 1253965.8606 | 2694150.516 | 1253971.7982 | 2694146.6392 | 1253972.6372
28 | 2694172.2137 | 1253965.8606 | 2694176.867 | 1253981.6398
29 | 2694146.6392 | 1253972.6372 | 2694145.2588 | 1253968.8429
30 | 2694179.7454 | 1253991.4003 | 2694176.867 | 1253981.6398
31 | 2694134.1503 | 1253950.388 | 2694115.5226 | 1253962.09
32 | 2694179.7454 | 1253991.4003 | 2694185.1718 | 1253989.9077 | 2694190.9676 | 1253988.4431
33 | 2694190.9676 | 1253988.4431 | 2694187.5049 | 1253974.4494
34 | 2694290.0317 | 1254021.3004 | 2694269.9535 | 1254015.0982
35 | 2694269.9535 | 1254015.0982 | 2694278.9482 | 1253998.5004
36 | 2694290.0317 | 1254021.3004 | 2694311.1769 | 1254027.6335
37 | 2694286.1028 | 1253975.2018 | 2694286.4384 | 1253977.8203 | 2694286.3751 | 1253980.8439 | 2694285.8472 | 1253983.671 | 2694284.8811 | 1253987.0027 | 2694283.4261 | 1253990.2376 | 2694278.9482 | 1253998.5004
38 | 2694216.1274 | 1253990.1468 | 2694220.233 | 1253987.7524 | 2694227.3476 | 1253984.4964 | 2694235.368 | 1253981.4744
39 | 2694188.5089 | 1253879.7746 | 2694188.5008 | 1253875.5378 | 2694180.0734 | 1253875.5585
40 | 2694250.0395 | 1253865.6726 | 2694247.2954 | 1253857.4666
41 | 2694250.0395 | 1253865.6726 | 2694250.2136 | 1253866.1934
42 | 2694244.8584 | 1253850.1787 | 2694247.2954 | 1253857.4666
43 | 2694250.2136 | 1253866.1934 | 2694256.2017 | 1253884.1008
44 | 2694240.9658 | 1253838.538 | 2694244.8584 | 1253850.1787
45 | 2694240.9658 | 1253838.538 | 2694240.0988 | 1253835.9452
46 | 2694240.079 | 1253835.886 | 2694240.0988 | 1253835.9452
47 | 2694240.079 | 1253835.886 | 2694238.5295 | 1253831.2521
48 | 2694238.5295 | 1253831.2521 | 2694234.1798 | 1253818.2444
49 | 2694284.9732 | 1253971.2696 | 2694286.1028 | 1253975.2018
50 | 2694286.1028 | 1253975.2018 | 2694315.6664 | 1253970.0128 | 2694363.2709 | 1253962.0425 | 2694364.8439 | 1253962.3011 | 2694365.959 | 1253962.8748 | 2694366.969 | 1253963.8917 | 2694367.5901 | 1253965.1693 | 2694374.5552 | 1253985.9632 | 2694375.5502 | 1253988.3921 | 2694376.7377 | 1253990.5794 | 2694377.794 | 1253992.0084 | 2694379.1328 | 1253990.8622 | 2694379.7433 | 1253990.4271 | 2694380.4576 | 1253990.116 | 2694381.0778 | 1253990.0258 | 2694381.7485 | 1253990.081 | 2694382.4474 | 1253990.259 | 2694383.5126 | 1253990.654 | 2694384.6693 | 1253990.9838 | 2694385.7916 | 1253991.1129 | 2694387.2863 | 1253991.07 | 2694388.8981 | 1253990.7844 | 2694390.2425 | 1253990.2276 | 2694391.2323 | 1253989.6763 | 2694392.2176 | 1253988.9247 | 2694394.6586 | 1253986.3282 | 2694401.5811 | 1253979.0328 | 2694403.2804 | 1253977.0472 | 2694404.6438 | 1253975.3009 | 2694405.6322 | 1253973.4152 | 2694406.5226 | 1253971.0498 | 2694407.0126 | 1253968.7113 | 2694407.1314 | 1253966.467 | 2694406.8632 | 1253963.8829 | 2694405.415 | 1253955.8091
51 | 2694235.368 | 1253981.4744 | 2694235.5309 | 1253981.413 | 2694243.6475 | 1253979.2071 | 2694252.7295 | 1253977.4627
52 | 2694284.9732 | 1253971.2696 | 2694256.8898 | 1253976.6636
53 | 2694284.9732 | 1253971.2696 | 2694281.21 | 1253959.8356
54 | 2694405.415 | 1253955.8091 | 2694381.5107 | 1253955.3056 | 2694367.9408 | 1253937.9647 | 2694364.9319 | 1253933.113 | 2694363.0468 | 1253929.2466 | 2694362.4342 | 1253927.4354 | 2694362.124 | 1253925.5957 | 2694361.9672 | 1253923.2635
55 | 2694256.8898 | 1253976.6636 | 2694252.7295 | 1253977.4627
56 | 2694273.2847 | 1253935.7558 | 2694281.21 | 1253959.8356
57 | 2694273.2847 | 1253935.7558 | 2694267.6641 | 1253918.6713

## bus_geodata
| x | y | coords
0 | 2694227.6752 | 1253927.1696
1 | 2694204.6257 | 1253947.1614
2 | 2694224.652 | 1253906.8706
3 | 2694202.6216 | 1253933.7079
4 | 2694226.734 | 1253906.5652
5 | 2694191.3183 | 1253920.4066
6 | 2694178.1167 | 1253913.5469
7 | 2694261.7114 | 1253900.5775
8 | 2694174.8169 | 1253899.9393
9 | 2694205.4874 | 1253879.7446
10 | 2694198.6955 | 1253856.5517
11 | 2694198.1721 | 1253879.7575
12 | 2694267.6445 | 1253918.6118
13 | 2694260.0592 | 1253895.6367
14 | 2694181.4045 | 1253899.9251
15 | 2694159.7108 | 1253863.3817
16 | 2694166.6912 | 1253840.1078
17 | 2694165.7118 | 1253875.5867
18 | 2694127.6423 | 1254017.0478
19 | 2694124.8156 | 1253997.4997
20 | 2694194.5252 | 1254003.3892
21 | 2694172.2137 | 1253965.8606
22 | 2694146.6392 | 1253972.6372
23 | 2694176.867 | 1253981.6398
24 | 2694115.5226 | 1253962.09
25 | 2694134.1503 | 1253950.388
26 | 2694145.2588 | 1253968.8429
27 | 2694179.7454 | 1253991.4003
28 | 2694190.9676 | 1253988.4431
29 | 2694187.5049 | 1253974.4494
30 | 2694269.9535 | 1254015.0982
31 | 2694290.0317 | 1254021.3004
32 | 2694278.9482 | 1253998.5004
33 | 2694171.8142 | 1253836.6104
34 | 2694216.1274 | 1253990.1468
35 | 2694311.1769 | 1254027.6335
36 | 2694180.0734 | 1253875.5585
37 | 2694193.1529 | 1253850.6368
38 | 2694188.5089 | 1253879.7746
39 | 2694250.0395 | 1253865.6726
40 | 2694247.2954 | 1253857.4666
41 | 2694250.2136 | 1253866.1934
42 | 2694244.8584 | 1253850.1787
43 | 2694256.2017 | 1253884.1008
44 | 2694240.9658 | 1253838.538
45 | 2694240.0988 | 1253835.9452
46 | 2694240.079 | 1253835.886
47 | 2694238.5295 | 1253831.2521
48 | 2694234.1798 | 1253818.2444
49 | 2694286.1028 | 1253975.2018
50 | 2694235.368 | 1253981.4744
51 | 2694284.9732 | 1253971.2696
52 | 2694405.415 | 1253955.8091
53 | 2694256.8898 | 1253976.6636
54 | 2694281.21 | 1253959.8356
55 | 2694361.9672 | 1253923.2635
56 | 2694252.7295 | 1253977.4627
57 | 2694273.2847 | 1253935.7558
58 | 2694267.6641 | 1253918.6713
59 | 2694190.0361 | 1253911.8351

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1