## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_296-32_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_296-32_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_296-32_0_4_node_4 | 0.4 | n |  | TRUE
3 | bus_LV_296-32_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_296-32_0_4_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_296-32_0_4_node_6 | 0.4 | n |  | TRUE
6 | bus_LV_296-32_0_4_node_9 | 0.4 | n |  | TRUE
7 | bus_LV_296-32_0_4_node_73 | 0.4 | n |  | TRUE
8 | bus_LV_296-32_0_4_node_16 | 0.4 | n |  | TRUE
9 | bus_LV_296-32_0_4_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_296-32_0_4_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_296-32_0_4_node_13 | 0.4 | n |  | TRUE
12 | bus_LV_296-32_0_4_node_34 | 0.4 | n |  | TRUE
13 | bus_LV_296-32_0_4_node_11 | 0.4 | n |  | TRUE
14 | bus_LV_296-32_0_4_node_92 | 0.4 | n |  | TRUE
15 | bus_LV_296-32_0_4_node_91 | 0.4 | n |  | TRUE
16 | bus_LV_296-32_0_4_node_77 | 0.4 | n |  | TRUE
17 | bus_LV_296-32_0_4_node_75 | 0.4 | n |  | TRUE
18 | bus_LV_296-32_0_4_node_14 | 0.4 | n |  | TRUE
19 | bus_LV_296-32_0_4_node_74 | 0.4 | n |  | TRUE
20 | bus_LV_296-32_0_4_node_17 | 0.4 | n |  | TRUE
21 | bus_LV_296-32_0_4_node_33 | 0.4 | n |  | TRUE
22 | bus_LV_296-32_0_4_node_72 | 0.4 | n |  | TRUE
23 | bus_LV_296-32_0_4_node_18 | 0.4 | n |  | TRUE
24 | bus_LV_296-32_0_4_node_64 | 0.4 | n |  | TRUE
25 | bus_LV_296-32_0_4_node_94 | 0.4 | n |  | TRUE
26 | bus_LV_296-32_0_4_node_26 | 0.4 | n |  | TRUE
27 | bus_LV_296-32_0_4_node_76 | 0.4 | n |  | TRUE
28 | bus_LV_296-32_0_4_node_21 | 0.4 | n |  | TRUE
29 | bus_LV_296-32_0_4_node_22 | 0.4 | n |  | TRUE
30 | bus_LV_296-32_0_4_node_23 | 0.4 | n |  | TRUE
31 | bus_LV_296-32_0_4_node_20 | 0.4 | n |  | TRUE
32 | bus_LV_296-32_0_4_node_62 | 0.4 | n |  | TRUE
33 | bus_LV_296-32_0_4_node_57 | 0.4 | n |  | TRUE
34 | bus_LV_296-32_0_4_node_93 | 0.4 | n |  | TRUE
35 | bus_LV_296-32_0_4_node_78 | 0.4 | n |  | TRUE
36 | bus_LV_296-32_0_4_node_31 | 0.4 | n |  | TRUE
37 | bus_LV_296-32_0_4_node_67 | 0.4 | n |  | TRUE
38 | bus_LV_296-32_0_4_node_66 | 0.4 | n |  | TRUE
39 | bus_LV_296-32_0_4_node_71 | 0.4 | n |  | TRUE
40 | bus_LV_296-32_0_4_node_54 | 0.4 | n |  | TRUE
41 | bus_LV_296-32_0_4_node_69 | 0.4 | n |  | TRUE
42 | bus_LV_296-32_0_4_node_36 | 0.4 | n |  | TRUE
43 | bus_LV_296-32_0_4_node_70 | 0.4 | n |  | TRUE
44 | bus_LV_296-32_0_4_node_30 | 0.4 | n |  | TRUE
45 | bus_LV_296-32_0_4_node_61 | 0.4 | n |  | TRUE
46 | bus_LV_296-32_0_4_node_60 | 0.4 | n |  | TRUE
47 | bus_LV_296-32_0_4_node_84 | 0.4 | n |  | TRUE
48 | bus_LV_296-32_0_4_node_86 | 0.4 | n |  | TRUE
49 | bus_LV_296-32_0_4_node_82 | 0.4 | n |  | TRUE
50 | bus_LV_296-32_0_4_node_27 | 0.4 | n |  | TRUE
51 | bus_LV_296-32_0_4_node_28 | 0.4 | n |  | TRUE
52 | bus_LV_296-32_0_4_node_29 | 0.4 | n |  | TRUE
53 | bus_LV_296-32_0_4_node_32 | 0.4 | n |  | TRUE
54 | bus_LV_296-32_0_4_node_35 | 0.4 | n |  | TRUE
55 | bus_LV_296-32_0_4_node_63 | 0.4 | n |  | TRUE
56 | bus_LV_296-32_0_4_node_65 | 0.4 | n |  | TRUE
57 | bus_LV_296-32_0_4_node_37 | 0.4 | n |  | TRUE
58 | bus_LV_296-32_0_4_node_38 | 0.4 | n |  | TRUE
59 | bus_LV_296-32_0_4_node_39 | 0.4 | n |  | TRUE
60 | bus_LV_296-32_0_4_node_40 | 0.4 | n |  | TRUE
61 | bus_LV_296-32_0_4_node_43 | 0.4 | n |  | TRUE
62 | bus_LV_296-32_0_4_node_51 | 0.4 | n |  | TRUE
63 | bus_LV_296-32_0_4_node_58 | 0.4 | n |  | TRUE
64 | bus_LV_296-32_0_4_node_55 | 0.4 | n |  | TRUE
65 | bus_LV_296-32_0_4_node_41 | 0.4 | n |  | TRUE
66 | bus_LV_296-32_0_4_node_52 | 0.4 | n |  | TRUE
67 | bus_LV_296-32_0_4_node_59 | 0.4 | n |  | TRUE
68 | bus_LV_296-32_0_4_node_56 | 0.4 | n |  | TRUE
69 | bus_LV_296-32_0_4_node_42 | 0.4 | n |  | TRUE
70 | bus_LV_296-32_0_4_node_44 | 0.4 | n |  | TRUE
71 | bus_LV_296-32_0_4_node_53 | 0.4 | n |  | TRUE
72 | bus_LV_296-32_0_4_node_49 | 0.4 | n |  | TRUE
73 | bus_LV_296-32_0_4_node_47 | 0.4 | n |  | TRUE
74 | bus_LV_296-32_0_4_node_48 | 0.4 | n |  | TRUE
75 | bus_LV_296-32_0_4_node_50 | 0.4 | n |  | TRUE
76 | bus_LV_296-32_0_4_node_68 | 0.4 | n |  | TRUE
77 | bus_LV_296-32_0_4_node_79 | 0.4 | n |  | TRUE
78 | bus_LV_296-32_0_4_node_80 | 0.4 | n |  | TRUE
79 | bus_LV_296-32_0_4_node_81 | 0.4 | n |  | TRUE
80 | bus_LV_296-32_0_4_node_87 | 0.4 | n |  | TRUE
81 | bus_LV_296-32_0_4_node_90 | 0.4 | n |  | TRUE
82 | bus_LV_296-32_0_4_node_88 | 0.4 | n |  | TRUE
83 | bus_LV_296-32_0_4_node_89 | 0.4 | n |  | TRUE
84 | bus_LV_296-32_0_4_node_83 | 0.4 | n |  | TRUE
85 | bus_LV_296-32_0_4_node_85 | 0.4 | n |  | TRUE
86 | bus_MV_363_0_node_71 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_296-32_0_4_load_0 | 0 | 0.013583 | 0.0034043 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_296-32_0_4_load_73 | 7 | 0.040519 | 0.010155 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_296-32_0_4_load_16 | 8 | 0.020786 | 0.0052094 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_296-32_0_4_load_7 | 9 | 0.016866 | 0.0042271 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_296-32_0_4_load_34 | 12 | 0.0052581 | 0.0013178 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_296-32_0_4_load_92 | 14 | 0.00269 | 0.00067418 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_296-32_0_4_load_91 | 15 | 0.006461 | 0.0016193 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_296-32_0_4_load_77 | 16 | 0.0023319 | 0.00058442 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_296-32_0_4_load_75 | 17 | 0.001286 | 0.00032231 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_296-32_0_4_load_74 | 19 | 0.0020647 | 0.00051746 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_296-32_0_4_load_72 | 22 | 0.019812 | 0.0049654 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_296-32_0_4_load_94 | 25 | 0.0020618 | 0.00051673 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_296-32_0_4_load_76 | 27 | 0.0043858 | 0.0010992 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_296-32_0_4_load_22 | 29 | 0.0020284 | 0.00050837 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_296-32_0_4_load_23 | 30 | 0.0021137 | 0.00052974 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_296-32_0_4_load_20 | 31 | 0.011938 | 0.0029919 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_296-32_0_4_load_62 | 32 | 0.01044 | 0.0026165 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_296-32_0_4_load_57 | 33 | 0.0031513 | 0.0007898 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_296-32_0_4_load_93 | 34 | 0.0027934 | 0.0007001 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_296-32_0_4_load_78 | 35 | 0.00090071 | 0.00022574 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_296-32_0_4_load_31 | 36 | 0.0076045 | 0.0019059 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_296-32_0_4_load_67 | 37 | 0.0062364 | 0.001563 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_296-32_0_4_load_66 | 38 | 0.002581 | 0.00064686 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_296-32_0_4_load_69 | 41 | 0.003679 | 0.00092205 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_296-32_0_4_load_36 | 42 | 0.0013211 | 0.0003311 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_296-32_0_4_load_70 | 43 | 0.0054807 | 0.0013736 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_296-32_0_4_load_61 | 45 | 0.0011988 | 0.00030044 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_296-32_0_4_load_84 | 47 | 0.0007835 | 0.00019636 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_296-32_0_4_load_86 | 48 | 0.00094181 | 0.00023604 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_296-32_0_4_load_82 | 49 | 0.0017641 | 0.00044213 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_296-32_0_4_load_27 | 50 | 0.001831 | 0.0004589 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_296-32_0_4_load_28 | 51 | 0.0010691 | 0.00026795 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_296-32_0_4_load_32 | 53 | 0.011356 | 0.002846 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_296-32_0_4_load_35 | 54 | 0.0011851 | 0.00029703 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_296-32_0_4_load_63 | 55 | 0.0084536 | 0.0021187 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_296-32_0_4_load_65 | 56 | 0.0068745 | 0.0017229 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_296-32_0_4_load_37 | 57 | 0.020571 | 0.0051555 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_296-32_0_4_load_51 | 62 | 0.007816 | 0.0019589 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_296-32_0_4_load_55 | 64 | 0.0026875 | 0.00067354 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_296-32_0_4_load_41 | 65 | 0.005842 | 0.0014642 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_296-32_0_4_load_52 | 66 | 0.011927 | 0.0029892 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_296-32_0_4_load_59 | 67 | 0.0013522 | 0.00033888 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_296-32_0_4_load_56 | 68 | 0.010328 | 0.0025883 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_296-32_0_4_load_42 | 69 | 0.0047839 | 0.0011989 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_296-32_0_4_load_53 | 71 | 0.010306 | 0.002583 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_296-32_0_4_load_49 | 72 | 0.0063064 | 0.0015805 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_296-32_0_4_load_47 | 73 | 0.032139 | 0.0080548 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_296-32_0_4_load_50 | 75 | 0.025477 | 0.006385 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_296-32_0_4_load_68 | 76 | 0.0025923 | 0.00064969 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_296-32_0_4_load_80 | 78 | 0.00091213 | 0.0002286 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_296-32_0_4_load_81 | 79 | 0.00085161 | 0.00021343 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_296-32_0_4_load_87 | 80 | 0.00073957 | 0.00018535 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_296-32_0_4_load_90 | 81 | 0.00095563 | 0.0002395 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_296-32_0_4_load_88 | 82 | 0.00093763 | 0.00023499 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_296-32_0_4_load_89 | 83 | 0.00095312 | 0.00023888 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_296-32_0_4_load_85 | 85 | 0.0030431 | 0.00076268 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 38 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_296-32_0_4_line_0 |  | 0 | 1 | 0.018063 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_296-32_0_4_line_1 |  | 1 | 2 | 0.042799 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_296-32_0_4_line_2 |  | 2 | 8 | 0.056316 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_296-32_0_4_line_3 |  | 3 | 4 | 0.054113 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_296-32_0_4_line_4 |  | 3 | 5 | 0.024301 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_296-32_0_4_line_5 |  | 3 | 6 | 0.03037 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_296-32_0_4_line_6 |  | 3 | 7 | 0.018614 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_296-32_0_4_line_7 |  | 4 | 8 | 0.020949 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_296-32_0_4_line_8 |  | 5 | 9 | 0.00081346 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_296-32_0_4_line_9 |  | 6 | 12 | 0.025579 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_296-32_0_4_line_10 |  | 9 | 10 | 0.016746 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_296-32_0_4_line_11 |  | 10 | 11 | 0.085839 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_296-32_0_4_line_12 |  | 11 | 16 | 0.040234 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_296-32_0_4_line_13 |  | 11 | 17 | 0.020416 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_296-32_0_4_line_14 |  | 12 | 21 | 0.02323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_296-32_0_4_line_15 |  | 13 | 14 | 0.016304 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_296-32_0_4_line_16 |  | 13 | 15 | 0.025005 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_296-32_0_4_line_17 |  | 14 | 34 | 0.0096318 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_296-32_0_4_line_18 |  | 15 | 27 | 0.014515 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_296-32_0_4_line_19 |  | 16 | 35 | 0.028908 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_296-32_0_4_line_20 |  | 17 | 18 | 0.020269 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_296-32_0_4_line_21 |  | 18 | 19 | 0.0091944 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_296-32_0_4_line_22 |  | 19 | 26 | 0.022551 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_296-32_0_4_line_23 |  | 20 | 21 | 0.00769 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_296-32_0_4_line_24 |  | 20 | 22 | 0.017381 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_296-32_0_4_line_25 |  | 21 | 36 | 0.013751 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
26 | LV_296-32_0_4_line_26 |  | 23 | 24 | 0.012054 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_296-32_0_4_line_27 |  | 23 | 25 | 0.0090849 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_296-32_0_4_line_28 |  | 24 | 37 | 0.014734 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
29 | LV_296-32_0_4_line_29 |  | 24 | 38 | 0.039273 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
30 | LV_296-32_0_4_line_30 |  | 26 | 27 | 0.023519 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_296-32_0_4_line_31 |  | 28 | 29 | 0.022264 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_296-32_0_4_line_32 |  | 28 | 30 | 0.018991 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_296-32_0_4_line_33 |  | 28 | 31 | 0.015892 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_296-32_0_4_line_34 |  | 29 | 42 | 0.034357 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_296-32_0_4_line_35 |  | 30 | 43 | 0.013445 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_296-32_0_4_line_36 |  | 32 | 33 | 0.0095977 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_296-32_0_4_line_37 |  | 33 | 68 | 0.024574 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_296-32_0_4_line_38 |  | 35 | 77 | 0.024906 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_296-32_0_4_line_39 |  | 36 | 52 | 0.02725 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
40 | LV_296-32_0_4_line_40 |  | 37 | 76 | 0.026469 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
41 | LV_296-32_0_4_line_41 |  | 38 | 56 | 0.016619 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
42 | LV_296-32_0_4_line_42 |  | 39 | 40 | 0.01614 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
43 | LV_296-32_0_4_line_43 |  | 39 | 41 | 0.011933 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
44 | LV_296-32_0_4_line_44 |  | 40 | 70 | 0.005301 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
45 | LV_296-32_0_4_line_45 |  | 41 | 76 | 0.033827 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
46 | LV_296-32_0_4_line_46 |  | 42 | 44 | 0.0046635 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_296-32_0_4_line_47 |  | 44 | 54 | 0.018572 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
48 | LV_296-32_0_4_line_48 |  | 44 | 51 | 0.0055841 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
49 | LV_296-32_0_4_line_49 |  | 45 | 46 | 0.0058999 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_296-32_0_4_line_50 |  | 46 | 67 | 0.017108 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_296-32_0_4_line_51 |  | 47 | 48 | 0.016024 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_296-32_0_4_line_52 |  | 47 | 49 | 0.013802 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_296-32_0_4_line_53 |  | 48 | 82 | 0.0073761 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_296-32_0_4_line_54 |  | 49 | 84 | 0.0096398 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_296-32_0_4_line_55 |  | 50 | 51 | 0.013146 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
56 | LV_296-32_0_4_line_56 |  | 50 | 52 | 0.011185 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
57 | LV_296-32_0_4_line_57 |  | 52 | 53 | 0.029163 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_296-32_0_4_line_58 |  | 53 | 55 | 0.025176 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_296-32_0_4_line_59 |  | 54 | 56 | 0.005671 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
60 | LV_296-32_0_4_line_60 |  | 57 | 58 | 0.037016 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_296-32_0_4_line_61 |  | 58 | 59 | 0.048503 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_296-32_0_4_line_62 |  | 58 | 60 | 0.001622 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_296-32_0_4_line_63 |  | 59 | 61 | 0.02227 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_296-32_0_4_line_64 |  | 59 | 62 | 0.021267 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_296-32_0_4_line_65 |  | 60 | 63 | 0.015777 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_296-32_0_4_line_66 |  | 60 | 64 | 0.017494 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_296-32_0_4_line_67 |  | 61 | 65 | 0.026396 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_296-32_0_4_line_68 |  | 62 | 66 | 0.021266 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_296-32_0_4_line_69 |  | 63 | 67 | 0.020755 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_296-32_0_4_line_70 |  | 64 | 68 | 0.0057995 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_296-32_0_4_line_71 |  | 65 | 69 | 0.023276 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_296-32_0_4_line_72 |  | 69 | 70 | 0.014838 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_296-32_0_4_line_73 |  | 70 | 71 | 0.0097234 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_296-32_0_4_line_74 |  | 71 | 72 | 0.029352 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_296-32_0_4_line_75 |  | 72 | 74 | 0.00079198 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_296-32_0_4_line_76 |  | 73 | 74 | 0.022477 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_296-32_0_4_line_77 |  | 74 | 75 | 0.032624 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_296-32_0_4_line_78 |  | 77 | 78 | 0.014584 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_296-32_0_4_line_79 |  | 77 | 79 | 0.020316 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_296-32_0_4_line_80 |  | 78 | 80 | 0.014474 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_296-32_0_4_line_81 |  | 79 | 81 | 0.023113 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_296-32_0_4_line_82 |  | 80 | 82 | 0.013044 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_296-32_0_4_line_83 |  | 81 | 83 | 0.0015405 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_296-32_0_4_line_84 |  | 84 | 85 | 0.008192 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_296-32_0_4_trafo_66 | 0.63 MVA 20/0.4 kV | 86 | 38 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14
0 | 2694054.0235 | 1253129.6301 | 2694051.4003 | 1253129.4327 | 2694049.3589 | 1253129.2001 | 2694045.8523 | 1253128.5551 | 2694042.4636 | 1253127.6228 | 2694039.4543 | 1253126.5519 | 2694036.9784 | 1253125.1671 | 2694036.7637 | 1253125.0091
1 | 2694054.0235 | 1253129.6301 | 2694053.1445 | 1253125.5796 | 2694055.6953 | 1253125.5757 | 2694059.0002 | 1253125.1389 | 2694064.5195 | 1253124.0257 | 2694055.9024 | 1253098.291
2 | 2694055.9024 | 1253098.291 | 2694060.1453 | 1253096.7683 | 2694079.5378 | 1253089.8152 | 2694090.1271 | 1253119.1708
3 | 2694080.4019 | 1253177.9087 | 2694080.2012 | 1253174.3917 | 2694079.5052 | 1253170.2218 | 2694078.9584 | 1253167.5889 | 2694078.157 | 1253164.8296 | 2694074.5434 | 1253153.8303 | 2694078.4279 | 1253152.5354 | 2694091.545 | 1253147.7288 | 2694093.3109 | 1253146.7784 | 2694094.8929 | 1253145.5359 | 2694095.9323 | 1253144.2402 | 2694096.6273 | 1253142.7724 | 2694097.0024 | 1253141.0103 | 2694097.0117 | 1253139.4759 | 2694096.9293 | 1253138.9631
4 | 2694064.6642 | 1253192.3368 | 2694065.9318 | 1253189.9773 | 2694067.4785 | 1253188.1004 | 2694071.2466 | 1253183.679 | 2694072.1674 | 1253182.248 | 2694072.8131 | 1253180.557 | 2694073.1639 | 1253177.9494 | 2694080.4019 | 1253177.9087
5 | 2694080.4019 | 1253177.9087 | 2694080.2101 | 1253182.3758 | 2694079.7562 | 1253187.1946 | 2694083.1209 | 1253188.2155 | 2694085.9328 | 1253190.3062 | 2694087.8634 | 1253193.2392 | 2694088.6694 | 1253196.6547 | 2694088.2669 | 1253200.1399 | 2694086.6851 | 1253203.2727
6 | 2694080.4019 | 1253177.9087 | 2694087.0402 | 1253178.081 | 2694090.2573 | 1253177.4649 | 2694093.2479 | 1253185.6324
7 | 2694096.9293 | 1253138.9631 | 2694096.7438 | 1253137.8148 | 2694096.2641 | 1253136.1837 | 2694090.1271 | 1253119.1708
8 | 2694064.6642 | 1253192.3368 | 2694064.3938 | 1253193.104
9 | 2694086.6851 | 1253203.2727 | 2694090.7274 | 1253207.24 | 2694092.9958 | 1253209.8114 | 2694094.5589 | 1253212.1269 | 2694095.8272 | 1253214.4711 | 2694096.869 | 1253216.8228 | 2694099.0138 | 1253222.895 | 2694099.6843 | 1253224.7957
10 | 2694060.8409 | 1253209.2559 | 2694061.7785 | 1253207.7141 | 2694062.6011 | 1253205.8145 | 2694063.0584 | 1253203.6312 | 2694063.6896 | 1253196.2021 | 2694064.1031 | 1253193.9291 | 2694064.3938 | 1253193.104
11 | 2694017.9243 | 1253251.4743 | 2694026.8337 | 1253267.3503 | 2694028.7816 | 1253262.066 | 2694030.3769 | 1253258.0771 | 2694035.0047 | 1253248.9434 | 2694039.6094 | 1253240.3098 | 2694044.6193 | 1253231.8271 | 2694051.4218 | 1253221.1824 | 2694060.8409 | 1253209.2559
12 | 2694017.9243 | 1253251.4743 | 2694018.2543 | 1253249.7004 | 2694018.2455 | 1253248.3547 | 2694018.0102 | 1253247.0166 | 2694017.5623 | 1253245.753 | 2694016.3435 | 1253243.6209 | 2693996.8068 | 1253218.3673
13 | 2694017.9243 | 1253251.4743 | 2694012.3881 | 1253271.1257
14 | 2694107.4121 | 1253246.7025 | 2694099.6843 | 1253224.7957
15 | 2694059.8795 | 1253313.9334 | 2694062.0517 | 1253317.8042 | 2694066.4743 | 1253327.2819 | 2694066.967 | 1253328.5999
16 | 2694059.8795 | 1253313.9334 | 2694054.1609 | 1253316.6781 | 2694035.8074 | 1253320.0585
17 | 2694066.967 | 1253328.5999 | 2694070.3394 | 1253337.6219
18 | 2694021.5327 | 1253322.6876 | 2694035.8074 | 1253320.0585
19 | 2693996.8068 | 1253218.3673 | 2693988.9086 | 1253208.1579 | 2693978.605 | 1253195.917
20 | 2694010.7842 | 1253290.5025 | 2694009.3871 | 1253288.1897 | 2694009.0849 | 1253287.2619 | 2694008.8953 | 1253286.3693 | 2694008.8817 | 1253285.3239 | 2694009.0203 | 1253284.203 | 2694012.2701 | 1253271.5447 | 2694012.3881 | 1253271.1257
21 | 2694010.7842 | 1253290.5025 | 2694007.8684 | 1253294.4816 | 2694005.7196 | 1253298.1615
22 | 2693998.7539 | 1253319.5676 | 2694002.4337 | 1253306.438 | 2694003.9368 | 1253302.0807 | 2694005.7196 | 1253298.1615
23 | 2694114.5957 | 1253243.9033 | 2694111.505 | 1253245.1107 | 2694107.4121 | 1253246.7025
24 | 2694114.5957 | 1253243.9033 | 2694108.6156 | 1253227.5836
25 | 2694107.4121 | 1253246.7025 | 2694112.159 | 1253259.6084
26 | 2694206.2189 | 1253251.0206 | 2694199.5196 | 1253256.107 | 2694196.0662 | 1253257.3419
27 | 2694206.2189 | 1253251.0206 | 2694213.605 | 1253245.731
28 | 2694196.0662 | 1253257.3419 | 2694205.8359 | 1253268.3706
29 | 2694196.0662 | 1253257.3419 | 2694166.5202 | 1253283.2147
30 | 2693998.7539 | 1253319.5676 | 2694014.365 | 1253324.0077 | 2694021.5327 | 1253322.6876
31 | 2694188.0569 | 1253342.8702 | 2694186.2159 | 1253340.9505 | 2694184.166 | 1253338.883 | 2694180.6309 | 1253335.7688 | 2694176.6305 | 1253332.9697 | 2694171.7049 | 1253330.4561 | 2694170.2576 | 1253329.8491
32 | 2694188.0569 | 1253342.8702 | 2694194.0799 | 1253339.0185 | 2694198.0993 | 1253336.8251 | 2694201.3902 | 1253335.3652 | 2694204.8649 | 1253334.2084
33 | 2694188.0569 | 1253342.8702 | 2694185.5013 | 1253344.5976 | 2694182.7029 | 1253346.8882 | 2694181.4769 | 1253348.5255 | 2694180.8025 | 1253350.1272 | 2694180.2274 | 1253352.5977 | 2694180.0535 | 1253355.4639
34 | 2694170.2576 | 1253329.8491 | 2694152.0567 | 1253322.2152 | 2694143.3026 | 1253317.0053 | 2694139.9956 | 1253314.0537
35 | 2694218.2276 | 1253333.5203 | 2694215.2115 | 1253333.2389 | 2694211.4893 | 1253333.3464 | 2694207.9307 | 1253333.6123 | 2694204.8649 | 1253334.2084
36 | 2694251.4701 | 1253472.6368 | 2694256.0725 | 1253471.8304 | 2694260.9262 | 1253470.994
37 | 2694285.1454 | 1253466.8357 | 2694263.6926 | 1253470.5173 | 2694260.9262 | 1253470.994
38 | 2693959.3296 | 1253181.29 | 2693962.0187 | 1253182.0888 | 2693964.3531 | 1253182.882 | 2693966.7675 | 1253183.8655 | 2693968.8168 | 1253185.0323 | 2693970.4411 | 1253186.348 | 2693972.1171 | 1253188.2093 | 2693978.605 | 1253195.917
39 | 2694121.7133 | 1253285.1263 | 2694119.7748 | 1253280.314 | 2694112.159 | 1253259.6084
40 | 2694205.8359 | 1253268.3706 | 2694212.2719 | 1253275.6361 | 2694219.0755 | 1253283.4393 | 2694223.3621 | 1253288.2052
41 | 2694166.5202 | 1253283.2147 | 2694159.7978 | 1253289.1012 | 2694154.1953 | 1253294.3591
42 | 2694254.2554 | 1253321.9622 | 2694256.2076 | 1253325.4293 | 2694257.0481 | 1253327.144 | 2694257.5464 | 1253328.5531 | 2694257.8421 | 1253329.8922 | 2694258.0369 | 1253331.3964 | 2694258.3284 | 1253337.2612
43 | 2694254.2554 | 1253321.9622 | 2694246.1897 | 1253313.1676
44 | 2694258.3284 | 1253337.2612 | 2694263.6266 | 1253337.7014
45 | 2694223.3621 | 1253288.2052 | 2694226.7059 | 1253291.9228 | 2694246.1897 | 1253313.1676
46 | 2694136.5165 | 1253310.9483 | 2694139.9956 | 1253314.0537
47 | 2694136.5165 | 1253310.9483 | 2694140.0021 | 1253307.6789 | 2694150.0601 | 1253298.2399
48 | 2694136.5165 | 1253310.9483 | 2694133.0544 | 1253306.5669
49 | 2694315.0589 | 1253516.0815 | 2694315.8376 | 1253521.9297
50 | 2694315.0589 | 1253516.0815 | 2694312.7991 | 1253499.1237
51 | 2693923.6166 | 1253235.1768 | 2693930.2575 | 1253220.594
52 | 2693923.6166 | 1253235.1768 | 2693936.3813 | 1253240.4251
53 | 2693930.2575 | 1253220.594 | 2693933.3144 | 1253213.8812
54 | 2693943.6841 | 1253246.0479 | 2693940.4589 | 1253244.7958 | 2693937.9072 | 1253241.0524 | 2693936.3813 | 1253240.4251
55 | 2694126.2489 | 1253295.3426 | 2694128.8101 | 1253300.1174 | 2694132.1297 | 1253305.3965 | 2694133.0544 | 1253306.5669
56 | 2694121.7133 | 1253285.1263 | 2694125.2847 | 1253293.5452 | 2694126.2489 | 1253295.3426
57 | 2694121.7133 | 1253285.1263 | 2694128.7119 | 1253279.244 | 2694140.7302 | 1253269.0159 | 2694143.9019 | 1253266.2039
58 | 2694143.9019 | 1253266.2039 | 2694152.189 | 1253258.8567 | 2694150.7728 | 1253254.8978 | 2694159.7781 | 1253250.7944
59 | 2694150.0601 | 1253298.2399 | 2694154.1953 | 1253294.3591
60 | 2694307.8723 | 1253461.291 | 2694319.5082 | 1253459.9085 | 2694327.9992 | 1253463.1351 | 2694344.1097 | 1253461.3013
61 | 2694307.8723 | 1253461.291 | 2694303.3466 | 1253430.3726 | 2694302.1592 | 1253423.9042 | 2694300.8473 | 1253419.0906 | 2694298.9557 | 1253413.723
62 | 2694307.8723 | 1253461.291 | 2694308.1033 | 1253462.8959
63 | 2694286.6849 | 1253395.2688 | 2694290.7298 | 1253400.0036 | 2694293.2943 | 1253403.4026 | 2694295.4208 | 1253406.8169 | 2694297.2182 | 1253410.048 | 2694298.9557 | 1253413.723
64 | 2694298.9557 | 1253413.723 | 2694278.4374 | 1253419.3173
65 | 2694310.0575 | 1253478.5503 | 2694308.1033 | 1253462.8959
66 | 2694308.1033 | 1253462.8959 | 2694290.8613 | 1253465.8548
67 | 2694286.6849 | 1253395.2688 | 2694275.8393 | 1253382.5641 | 2694272.3898 | 1253377.8722 | 2694270.2923 | 1253374.6216
68 | 2694261.2769 | 1253417.493 | 2694264.0833 | 1253423.231 | 2694278.4374 | 1253419.3173
69 | 2694310.0575 | 1253478.5503 | 2694312.7991 | 1253499.1237
70 | 2694290.8613 | 1253465.8548 | 2694285.1454 | 1253466.8357
71 | 2694263.5008 | 1253352.5274 | 2694263.5089 | 1253352.6779 | 2694264.2262 | 1253356.9148 | 2694265.348 | 1253362.2924 | 2694266.4605 | 1253366.3578 | 2694268.2843 | 1253370.7791 | 2694270.0699 | 1253374.2769 | 2694270.2923 | 1253374.6216
72 | 2694263.6266 | 1253337.7014 | 2694263.4667 | 1253341.5797 | 2694263.2835 | 1253345.9802 | 2694263.3286 | 1253349.3057 | 2694263.5008 | 1253352.5274
73 | 2694263.6266 | 1253337.7014 | 2694273.3074 | 1253338.6103
74 | 2694302.5009 | 1253338.0176 | 2694300.1835 | 1253338.5394 | 2694294.8973 | 1253339.2447 | 2694289.4955 | 1253339.6257 | 2694284.8177 | 1253339.5623 | 2694277.6044 | 1253339.0137 | 2694273.3074 | 1253338.6103
75 | 2694303.2736 | 1253337.8436 | 2694302.5009 | 1253338.0176
76 | 2694303.2736 | 1253337.8436 | 2694304.0686 | 1253341.4702 | 2694310.4885 | 1253359.102
77 | 2694303.2736 | 1253337.8436 | 2694305.6518 | 1253337.3032 | 2694310.8464 | 1253335.718 | 2694315.8591 | 1253333.7074 | 2694320.8029 | 1253331.2842 | 2694325.4412 | 1253328.6226 | 2694329.5823 | 1253325.8975 | 2694332.3363 | 1253323.6693
78 | 2693959.3296 | 1253181.29 | 2693949.984 | 1253190.0264 | 2693948.7498 | 1253191.3243
79 | 2693959.3296 | 1253181.29 | 2693959.076 | 1253178.7284 | 2693958.5889 | 1253176.1298 | 2693957.707 | 1253173.6917 | 2693956.6505 | 1253171.7846 | 2693955.1152 | 1253169.6141 | 2693951.9871 | 1253166.0506 | 2693949.8466 | 1253164.0574
80 | 2693948.7498 | 1253191.3243 | 2693946.0776 | 1253194.1343 | 2693942.3652 | 1253198.3788 | 2693939.4838 | 1253202.4129
81 | 2693932.9319 | 1253148.3067 | 2693949.8466 | 1253164.0574
82 | 2693939.4838 | 1253202.4129 | 2693938.784 | 1253203.3925 | 2693935.2201 | 1253209.6965 | 2693933.3144 | 1253213.8812
83 | 2693931.8045 | 1253147.2569 | 2693932.9319 | 1253148.3067
84 | 2693948.0939 | 1253241.1251 | 2693945.544 | 1253246.778 | 2693943.6841 | 1253246.0479

## bus_geodata
| x | y | coords
0 | 2694036.7637 | 1253125.0091
1 | 2694054.0235 | 1253129.6301
2 | 2694055.9024 | 1253098.291
3 | 2694080.4019 | 1253177.9087
4 | 2694096.9293 | 1253138.9631
5 | 2694064.6642 | 1253192.3368
6 | 2694086.6851 | 1253203.2727
7 | 2694093.2479 | 1253185.6324
8 | 2694090.1271 | 1253119.1708
9 | 2694064.3938 | 1253193.104
10 | 2694060.8409 | 1253209.2559
11 | 2694017.9243 | 1253251.4743
12 | 2694099.6843 | 1253224.7957
13 | 2694059.8795 | 1253313.9334
14 | 2694066.967 | 1253328.5999
15 | 2694035.8074 | 1253320.0585
16 | 2693996.8068 | 1253218.3673
17 | 2694012.3881 | 1253271.1257
18 | 2694010.7842 | 1253290.5025
19 | 2694005.7196 | 1253298.1615
20 | 2694114.5957 | 1253243.9033
21 | 2694107.4121 | 1253246.7025
22 | 2694108.6156 | 1253227.5836
23 | 2694206.2189 | 1253251.0206
24 | 2694196.0662 | 1253257.3419
25 | 2694213.605 | 1253245.731
26 | 2693998.7539 | 1253319.5676
27 | 2694021.5327 | 1253322.6876
28 | 2694188.0569 | 1253342.8702
29 | 2694170.2576 | 1253329.8491
30 | 2694204.8649 | 1253334.2084
31 | 2694180.0535 | 1253355.4639
32 | 2694251.4701 | 1253472.6368
33 | 2694260.9262 | 1253470.994
34 | 2694070.3394 | 1253337.6219
35 | 2693978.605 | 1253195.917
36 | 2694112.159 | 1253259.6084
37 | 2694205.8359 | 1253268.3706
38 | 2694166.5202 | 1253283.2147
39 | 2694254.2554 | 1253321.9622
40 | 2694258.3284 | 1253337.2612
41 | 2694246.1897 | 1253313.1676
42 | 2694139.9956 | 1253314.0537
43 | 2694218.2276 | 1253333.5203
44 | 2694136.5165 | 1253310.9483
45 | 2694315.8376 | 1253521.9297
46 | 2694315.0589 | 1253516.0815
47 | 2693923.6166 | 1253235.1768
48 | 2693930.2575 | 1253220.594
49 | 2693936.3813 | 1253240.4251
50 | 2694126.2489 | 1253295.3426
51 | 2694133.0544 | 1253306.5669
52 | 2694121.7133 | 1253285.1263
53 | 2694143.9019 | 1253266.2039
54 | 2694150.0601 | 1253298.2399
55 | 2694159.7781 | 1253250.7944
56 | 2694154.1953 | 1253294.3591
57 | 2694344.1097 | 1253461.3013
58 | 2694307.8723 | 1253461.291
59 | 2694298.9557 | 1253413.723
60 | 2694308.1033 | 1253462.8959
61 | 2694286.6849 | 1253395.2688
62 | 2694278.4374 | 1253419.3173
63 | 2694310.0575 | 1253478.5503
64 | 2694290.8613 | 1253465.8548
65 | 2694270.2923 | 1253374.6216
66 | 2694261.2769 | 1253417.493
67 | 2694312.7991 | 1253499.1237
68 | 2694285.1454 | 1253466.8357
69 | 2694263.5008 | 1253352.5274
70 | 2694263.6266 | 1253337.7014
71 | 2694273.3074 | 1253338.6103
72 | 2694302.5009 | 1253338.0176
73 | 2694310.4885 | 1253359.102
74 | 2694303.2736 | 1253337.8436
75 | 2694332.3363 | 1253323.6693
76 | 2694223.3621 | 1253288.2052
77 | 2693959.3296 | 1253181.29
78 | 2693948.7498 | 1253191.3243
79 | 2693949.8466 | 1253164.0574
80 | 2693939.4838 | 1253202.4129
81 | 2693932.9319 | 1253148.3067
82 | 2693933.3144 | 1253213.8812
83 | 2693931.8045 | 1253147.2569
84 | 2693943.6841 | 1253246.0479
85 | 2693948.0939 | 1253241.1251
86 | 2694166.5202 | 1253283.2147

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1