## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_296-36_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_296-36_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_296-36_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_296-36_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_296-36_0_5_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_296-36_0_5_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_296-36_0_5_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_296-36_0_5_node_8 | 0.4 | n |  | TRUE
8 | bus_LV_296-36_0_5_node_83 | 0.4 | n |  | TRUE
9 | bus_LV_296-36_0_5_node_28 | 0.4 | n |  | TRUE
10 | bus_LV_296-36_0_5_node_94 | 0.4 | n |  | TRUE
11 | bus_LV_296-36_0_5_node_27 | 0.4 | n |  | TRUE
12 | bus_LV_296-36_0_5_node_7 | 0.4 | n |  | TRUE
13 | bus_LV_296-36_0_5_node_31 | 0.4 | n |  | TRUE
14 | bus_LV_296-36_0_5_node_20 | 0.4 | n |  | TRUE
15 | bus_LV_296-36_0_5_node_84 | 0.4 | n |  | TRUE
16 | bus_LV_296-36_0_5_node_9 | 0.4 | n |  | TRUE
17 | bus_LV_296-36_0_5_node_10 | 0.4 | n |  | TRUE
18 | bus_LV_296-36_0_5_node_24 | 0.4 | n |  | TRUE
19 | bus_LV_296-36_0_5_node_23 | 0.4 | n |  | TRUE
20 | bus_LV_296-36_0_5_node_11 | 0.4 | n |  | TRUE
21 | bus_LV_296-36_0_5_node_12 | 0.4 | n |  | TRUE
22 | bus_LV_296-36_0_5_node_13 | 0.4 | n |  | TRUE
23 | bus_LV_296-36_0_5_node_14 | 0.4 | n |  | TRUE
24 | bus_LV_296-36_0_5_node_15 | 0.4 | n |  | TRUE
25 | bus_LV_296-36_0_5_node_16 | 0.4 | n |  | TRUE
26 | bus_LV_296-36_0_5_node_57 | 0.4 | n |  | TRUE
27 | bus_LV_296-36_0_5_node_69 | 0.4 | n |  | TRUE
28 | bus_LV_296-36_0_5_node_66 | 0.4 | n |  | TRUE
29 | bus_LV_296-36_0_5_node_95 | 0.4 | n |  | TRUE
30 | bus_LV_296-36_0_5_node_17 | 0.4 | n |  | TRUE
31 | bus_LV_296-36_0_5_node_18 | 0.4 | n |  | TRUE
32 | bus_LV_296-36_0_5_node_88 | 0.4 | n |  | TRUE
33 | bus_LV_296-36_0_5_node_38 | 0.4 | n |  | TRUE
34 | bus_LV_296-36_0_5_node_67 | 0.4 | n |  | TRUE
35 | bus_LV_296-36_0_5_node_26 | 0.4 | n |  | TRUE
36 | bus_LV_296-36_0_5_node_21 | 0.4 | n |  | TRUE
37 | bus_LV_296-36_0_5_node_25 | 0.4 | n |  | TRUE
38 | bus_LV_296-36_0_5_node_22 | 0.4 | n |  | TRUE
39 | bus_LV_296-36_0_5_node_89 | 0.4 | n |  | TRUE
40 | bus_LV_296-36_0_5_node_32 | 0.4 | n |  | TRUE
41 | bus_LV_296-36_0_5_node_33 | 0.4 | n |  | TRUE
42 | bus_LV_296-36_0_5_node_34 | 0.4 | n |  | TRUE
43 | bus_LV_296-36_0_5_node_35 | 0.4 | n |  | TRUE
44 | bus_LV_296-36_0_5_node_36 | 0.4 | n |  | TRUE
45 | bus_LV_296-36_0_5_node_37 | 0.4 | n |  | TRUE
46 | bus_LV_296-36_0_5_node_76 | 0.4 | n |  | TRUE
47 | bus_LV_296-36_0_5_node_47 | 0.4 | n |  | TRUE
48 | bus_LV_296-36_0_5_node_55 | 0.4 | n |  | TRUE
49 | bus_LV_296-36_0_5_node_75 | 0.4 | n |  | TRUE
50 | bus_LV_296-36_0_5_node_49 | 0.4 | n |  | TRUE
51 | bus_LV_296-36_0_5_node_45 | 0.4 | n |  | TRUE
52 | bus_LV_296-36_0_5_node_56 | 0.4 | n |  | TRUE
53 | bus_LV_296-36_0_5_node_39 | 0.4 | n |  | TRUE
54 | bus_LV_296-36_0_5_node_40 | 0.4 | n |  | TRUE
55 | bus_LV_296-36_0_5_node_41 | 0.4 | n |  | TRUE
56 | bus_LV_296-36_0_5_node_42 | 0.4 | n |  | TRUE
57 | bus_LV_296-36_0_5_node_44 | 0.4 | n |  | TRUE
58 | bus_LV_296-36_0_5_node_59 | 0.4 | n |  | TRUE
59 | bus_LV_296-36_0_5_node_85 | 0.4 | n |  | TRUE
60 | bus_LV_296-36_0_5_node_58 | 0.4 | n |  | TRUE
61 | bus_LV_296-36_0_5_node_62 | 0.4 | n |  | TRUE
62 | bus_LV_296-36_0_5_node_54 | 0.4 | n |  | TRUE
63 | bus_LV_296-36_0_5_node_46 | 0.4 | n |  | TRUE
64 | bus_LV_296-36_0_5_node_48 | 0.4 | n |  | TRUE
65 | bus_LV_296-36_0_5_node_72 | 0.4 | n |  | TRUE
66 | bus_LV_296-36_0_5_node_81 | 0.4 | n |  | TRUE
67 | bus_LV_296-36_0_5_node_71 | 0.4 | n |  | TRUE
68 | bus_LV_296-36_0_5_node_73 | 0.4 | n |  | TRUE
69 | bus_LV_296-36_0_5_node_50 | 0.4 | n |  | TRUE
70 | bus_LV_296-36_0_5_node_51 | 0.4 | n |  | TRUE
71 | bus_LV_296-36_0_5_node_52 | 0.4 | n |  | TRUE
72 | bus_LV_296-36_0_5_node_53 | 0.4 | n |  | TRUE
73 | bus_LV_296-36_0_5_node_74 | 0.4 | n |  | TRUE
74 | bus_LV_296-36_0_5_node_60 | 0.4 | n |  | TRUE
75 | bus_LV_296-36_0_5_node_61 | 0.4 | n |  | TRUE
76 | bus_LV_296-36_0_5_node_64 | 0.4 | n |  | TRUE
77 | bus_LV_296-36_0_5_node_65 | 0.4 | n |  | TRUE
78 | bus_LV_296-36_0_5_node_79 | 0.4 | n |  | TRUE
79 | bus_LV_296-36_0_5_node_70 | 0.4 | n |  | TRUE
80 | bus_LV_296-36_0_5_node_68 | 0.4 | n |  | TRUE
81 | bus_LV_296-36_0_5_node_77 | 0.4 | n |  | TRUE
82 | bus_LV_296-36_0_5_node_78 | 0.4 | n |  | TRUE
83 | bus_LV_296-36_0_5_node_80 | 0.4 | n |  | TRUE
84 | bus_LV_296-36_0_5_node_93 | 0.4 | n |  | TRUE
85 | bus_LV_296-36_0_5_node_92 | 0.4 | n |  | TRUE
86 | bus_LV_296-36_0_5_node_90 | 0.4 | n |  | TRUE
87 | bus_LV_296-36_0_5_node_91 | 0.4 | n |  | TRUE
88 | bus_LV_296-36_0_5_node_86 | 0.4 | n |  | TRUE
89 | bus_LV_296-36_0_5_node_87 | 0.4 | n |  | TRUE
90 | bus_MV_363_0_node_115 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_296-36_0_5_load_0 | 0 | 0.0053612 | 0.0013436 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_296-36_0_5_load_4 | 4 | 0.0051354 | 0.0012871 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_296-36_0_5_load_5 | 5 | 0.042456 | 0.01064 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_296-36_0_5_load_6 | 6 | 0.0068688 | 0.0017215 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_296-36_0_5_load_8 | 7 | 0.002285 | 0.00057268 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_296-36_0_5_load_83 | 8 | 0.0016982 | 0.00042561 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_296-36_0_5_load_94 | 10 | 0.0033108 | 0.00082976 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_296-36_0_5_load_7 | 12 | 0.005351 | 0.0013411 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_296-36_0_5_load_31 | 13 | 0.030595 | 0.0076678 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_296-36_0_5_load_84 | 15 | 0.002032 | 0.00050926 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_296-36_0_5_load_9 | 16 | 0.010682 | 0.0026771 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_296-36_0_5_load_10 | 17 | 0.0047635 | 0.0011938 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_296-36_0_5_load_24 | 18 | 0.018898 | 0.0047364 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_296-36_0_5_load_23 | 19 | 0.0076167 | 0.0019089 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_296-36_0_5_load_11 | 20 | 0.0026432 | 0.00066245 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_296-36_0_5_load_12 | 21 | 0.0027061 | 0.0006782 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_296-36_0_5_load_14 | 23 | 0.0037054 | 0.00092867 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_296-36_0_5_load_57 | 26 | 0.00268 | 0.00067166 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_296-36_0_5_load_69 | 27 | 0.0050078 | 0.0012551 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_296-36_0_5_load_66 | 28 | 0.0026305 | 0.00065925 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_296-36_0_5_load_95 | 29 | 0.060403 | 0.015138 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_296-36_0_5_load_88 | 32 | 0.004335 | 0.0010865 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_296-36_0_5_load_38 | 33 | 0.0022678 | 0.00056837 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_296-36_0_5_load_67 | 34 | 0.0029331 | 0.0007351 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_296-36_0_5_load_26 | 35 | 0.0086962 | 0.0021795 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_296-36_0_5_load_25 | 37 | 0.010809 | 0.0027091 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_296-36_0_5_load_22 | 38 | 0.014226 | 0.0035653 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_296-36_0_5_load_89 | 39 | 0.006842 | 0.0017148 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_296-36_0_5_load_32 | 40 | 0.012643 | 0.0031685 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_296-36_0_5_load_33 | 41 | 0.0036529 | 0.00091549 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_296-36_0_5_load_34 | 42 | 0.0014802 | 0.00037098 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_296-36_0_5_load_36 | 44 | 0.0014365 | 0.00036002 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_296-36_0_5_load_76 | 46 | 0.0013394 | 0.00033568 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_296-36_0_5_load_55 | 48 | 0.0072265 | 0.0018111 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_296-36_0_5_load_75 | 49 | 0.0013155 | 0.00032969 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_296-36_0_5_load_49 | 50 | 0.00087722 | 0.00021985 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_296-36_0_5_load_45 | 51 | 0.0072982 | 0.0018291 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_296-36_0_5_load_56 | 52 | 0.0012435 | 0.00031164 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_296-36_0_5_load_39 | 53 | 0.0012431 | 0.00031156 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_296-36_0_5_load_40 | 54 | 0.0041953 | 0.0010514 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_296-36_0_5_load_42 | 56 | 0.0060794 | 0.0015236 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_296-36_0_5_load_59 | 58 | 0.003931 | 0.00098519 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_296-36_0_5_load_85 | 59 | 0.0058732 | 0.001472 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_296-36_0_5_load_58 | 60 | 0.0022365 | 0.00056052 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_296-36_0_5_load_62 | 61 | 0.0020846 | 0.00052244 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_296-36_0_5_load_54 | 62 | 0.0011792 | 0.00029553 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_296-36_0_5_load_46 | 63 | 0.00091126 | 0.00022838 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_296-36_0_5_load_48 | 64 | 0.00085184 | 0.00021349 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_296-36_0_5_load_72 | 65 | 0.00088785 | 0.00022252 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_296-36_0_5_load_81 | 66 | 0.0012424 | 0.00031138 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_296-36_0_5_load_71 | 67 | 0.001263 | 0.00031653 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_296-36_0_5_load_50 | 69 | 0.0012429 | 0.00031149 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_296-36_0_5_load_51 | 70 | 0.0018162 | 0.00045518 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_296-36_0_5_load_52 | 71 | 0.0013627 | 0.00034153 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_296-36_0_5_load_53 | 72 | 0.0048389 | 0.0012128 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_296-36_0_5_load_74 | 73 | 0.00125 | 0.00031327 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_296-36_0_5_load_60 | 74 | 0.0039446 | 0.0009886 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_296-36_0_5_load_61 | 75 | 0.0024896 | 0.00062395 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_296-36_0_5_load_64 | 76 | 0.0039878 | 0.00099944 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_296-36_0_5_load_65 | 77 | 0.0039489 | 0.00098969 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_296-36_0_5_load_79 | 78 | 0.0006104 | 0.00015298 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_296-36_0_5_load_70 | 79 | 0.0029708 | 0.00074456 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_296-36_0_5_load_68 | 80 | 0.0025271 | 0.00063336 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_296-36_0_5_load_77 | 81 | 0.0022958 | 0.00057539 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_296-36_0_5_load_78 | 82 | 0.00059656 | 0.00014951 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_296-36_0_5_load_80 | 83 | 0.00062156 | 0.00015578 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_296-36_0_5_load_93 | 84 | 0.00063315 | 0.00015868 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_296-36_0_5_load_92 | 85 | 0.00065003 | 0.00016291 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_296-36_0_5_load_90 | 86 | 0.0025975 | 0.000651 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_296-36_0_5_load_91 | 87 | 0.0022035 | 0.00055224 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_296-36_0_5_load_86 | 88 | 0.010941 | 0.0027421 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_296-36_0_5_load_87 | 89 | 0.0049245 | 0.0012342 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 29 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_296-36_0_5_line_0 |  | 0 | 1 | 0.016402 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_296-36_0_5_line_1 |  | 0 | 2 | 0.016329 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_296-36_0_5_line_2 |  | 1 | 3 | 0.011327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
3 | LV_296-36_0_5_line_3 |  | 1 | 4 | 0.0372 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
4 | LV_296-36_0_5_line_4 |  | 2 | 5 | 0.06238 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_296-36_0_5_line_5 |  | 2 | 6 | 0.006471 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_296-36_0_5_line_6 |  | 3 | 7 | 0.014301 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
7 | LV_296-36_0_5_line_7 |  | 4 | 8 | 0.01125 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
8 | LV_296-36_0_5_line_8 |  | 7 | 12 | 0.041022 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
9 | LV_296-36_0_5_line_9 |  | 8 | 15 | 0.017186 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
10 | LV_296-36_0_5_line_10 |  | 9 | 10 | 0.014848 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_296-36_0_5_line_11 |  | 9 | 11 | 0.01104 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_296-36_0_5_line_12 |  | 11 | 13 | 0.035002 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_296-36_0_5_line_13 |  | 11 | 14 | 0.050407 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
14 | LV_296-36_0_5_line_14 |  | 12 | 16 | 0.01204 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
15 | LV_296-36_0_5_line_15 |  | 13 | 40 | 0.013485 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_296-36_0_5_line_16 |  | 14 | 35 | 0.017598 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
17 | LV_296-36_0_5_line_17 |  | 15 | 86 | 0.002094 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
18 | LV_296-36_0_5_line_18 |  | 16 | 17 | 0.016063 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
19 | LV_296-36_0_5_line_19 |  | 17 | 18 | 0.015028 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
20 | LV_296-36_0_5_line_20 |  | 18 | 19 | 0.0015713 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
21 | LV_296-36_0_5_line_21 |  | 19 | 38 | 0.03275 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
22 | LV_296-36_0_5_line_22 |  | 20 | 21 | 0.0062812 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
23 | LV_296-36_0_5_line_23 |  | 20 | 22 | 0.024336 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
24 | LV_296-36_0_5_line_24 |  | 21 | 23 | 0.0096738 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
25 | LV_296-36_0_5_line_25 |  | 22 | 24 | 0.023485 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_296-36_0_5_line_26 |  | 22 | 25 | 0.032902 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
27 | LV_296-36_0_5_line_27 |  | 23 | 26 | 0.010436 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
28 | LV_296-36_0_5_line_28 |  | 24 | 27 | 0.043708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_296-36_0_5_line_29 |  | 24 | 28 | 0.017842 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_296-36_0_5_line_30 |  | 25 | 29 | 0.05075 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
31 | LV_296-36_0_5_line_31 |  | 26 | 33 | 0.004691 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
32 | LV_296-36_0_5_line_32 |  | 27 | 30 | 0.038747 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_296-36_0_5_line_33 |  | 28 | 34 | 0.0035804 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_296-36_0_5_line_34 |  | 30 | 31 | 0.005695 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_296-36_0_5_line_35 |  | 31 | 32 | 0.0227 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_296-36_0_5_line_36 |  | 32 | 39 | 0.027511 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_296-36_0_5_line_37 |  | 33 | 43 | 0.049871 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
38 | LV_296-36_0_5_line_38 |  | 34 | 80 | 0.02817 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_296-36_0_5_line_39 |  | 35 | 37 | 0.025904 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
40 | LV_296-36_0_5_line_40 |  | 36 | 37 | 0.02057 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
41 | LV_296-36_0_5_line_41 |  | 36 | 38 | 0.0027515 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
42 | LV_296-36_0_5_line_42 |  | 39 | 89 | 0.025299 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_296-36_0_5_line_43 |  | 41 | 42 | 0.0064339 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_296-36_0_5_line_44 |  | 41 | 43 | 0.02826 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_296-36_0_5_line_45 |  | 42 | 44 | 0.0041563 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_296-36_0_5_line_46 |  | 43 | 45 | 0.035362 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
47 | LV_296-36_0_5_line_47 |  | 44 | 46 | 0.032481 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_296-36_0_5_line_48 |  | 45 | 47 | 0.04869 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
49 | LV_296-36_0_5_line_49 |  | 45 | 48 | 0.017161 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_296-36_0_5_line_50 |  | 46 | 49 | 0.0064416 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_296-36_0_5_line_51 |  | 47 | 50 | 0.011649 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
52 | LV_296-36_0_5_line_52 |  | 47 | 51 | 0.013781 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_296-36_0_5_line_53 |  | 48 | 52 | 0.0088104 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_296-36_0_5_line_54 |  | 49 | 73 | 0.0058321 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_296-36_0_5_line_55 |  | 50 | 66 | 0.050206 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
56 | LV_296-36_0_5_line_56 |  | 51 | 63 | 0.0032751 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_296-36_0_5_line_57 |  | 53 | 54 | 0.011222 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_296-36_0_5_line_58 |  | 53 | 55 | 0.033299 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_296-36_0_5_line_59 |  | 54 | 56 | 0.025314 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_296-36_0_5_line_60 |  | 55 | 57 | 0.015874 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_296-36_0_5_line_61 |  | 56 | 58 | 0.00018846 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_296-36_0_5_line_62 |  | 57 | 59 | 0.016358 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_296-36_0_5_line_63 |  | 58 | 60 | 0.017793 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_296-36_0_5_line_64 |  | 60 | 74 | 0.0066039 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_296-36_0_5_line_65 |  | 61 | 62 | 0.0094805 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_296-36_0_5_line_66 |  | 62 | 71 | 0.0070664 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_296-36_0_5_line_67 |  | 63 | 64 | 0.0064371 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_296-36_0_5_line_68 |  | 64 | 65 | 0.0067036 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_296-36_0_5_line_69 |  | 65 | 67 | 0.012148 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_296-36_0_5_line_70 |  | 66 | 68 | 0.01467 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
71 | LV_296-36_0_5_line_71 |  | 68 | 78 | 0.033242 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
72 | LV_296-36_0_5_line_72 |  | 69 | 70 | 0.0058597 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_296-36_0_5_line_73 |  | 69 | 71 | 0.014828 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_296-36_0_5_line_74 |  | 70 | 72 | 0.0042163 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_296-36_0_5_line_75 |  | 72 | 73 | 0.009982 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_296-36_0_5_line_76 |  | 74 | 75 | 0.011305 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_296-36_0_5_line_77 |  | 75 | 76 | 0.010211 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_296-36_0_5_line_78 |  | 76 | 77 | 0.010025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_296-36_0_5_line_79 |  | 77 | 79 | 0.012528 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_296-36_0_5_line_80 |  | 78 | 81 | 0.0047267 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
81 | LV_296-36_0_5_line_81 |  | 79 | 80 | 0.023958 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_296-36_0_5_line_82 |  | 81 | 82 | 0.001958 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
83 | LV_296-36_0_5_line_83 |  | 82 | 83 | 0.006614 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
84 | LV_296-36_0_5_line_84 |  | 83 | 84 | 0.0067482 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
85 | LV_296-36_0_5_line_85 |  | 84 | 85 | 0.0069106 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
86 | LV_296-36_0_5_line_86 |  | 85 | 87 | 0.0081656 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
87 | LV_296-36_0_5_line_87 |  | 86 | 87 | 0.0023916 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
88 | LV_296-36_0_5_line_88 |  | 88 | 89 | 0.026337 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_296-36_0_5_trafo_95 | 0.63 MVA 20/0.4 kV | 90 | 29 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12
0 | 2694141.5524 | 1254166.7416 | 2694139.3549 | 1254165.4278 | 2694138.1521 | 1254164.6748 | 2694136.7305 | 1254163.9183 | 2694135.8244 | 1254163.4813 | 2694134.8566 | 1254163.1323 | 2694133.6611 | 1254162.8687 | 2694132.6147 | 1254162.7186 | 2694131.2638 | 1254162.7305 | 2694130.0081 | 1254162.9329 | 2694128.8632 | 1254163.2816 | 2694126.4198 | 1254164.373
1 | 2694111.419 | 1254170.8215 | 2694120.4734 | 1254167.029 | 2694126.4198 | 1254164.373
2 | 2694149.6237 | 1254158.8192 | 2694146.6349 | 1254161.2403 | 2694143.8824 | 1254163.9876 | 2694141.5524 | 1254166.7416
3 | 2694141.5524 | 1254166.7416 | 2694126.3015 | 1254189.6171 | 2694121.9558 | 1254194.8077 | 2694119.8909 | 1254196.897
4 | 2694111.419 | 1254170.8215 | 2694108.8109 | 1254170.6577 | 2694106.6535 | 1254170.1452 | 2694105.1444 | 1254168.7202 | 2694103.3544 | 1254166.4566 | 2694078.4756 | 1254120.1256
5 | 2694105.2022 | 1254172.6797 | 2694111.419 | 1254170.8215
6 | 2694149.6237 | 1254158.8192 | 2694142.9218 | 1254146.1862
7 | 2694119.8909 | 1254196.897 | 2694117.5846 | 1254199.2306 | 2694111.4507 | 1254204.3178
8 | 2694123.6971 | 1254109.9484 | 2694142.9218 | 1254146.1862
9 | 2694111.4507 | 1254204.3178 | 2694102.5216 | 1254211.7233 | 2694098.2341 | 1254215.3035
10 | 2694194.5252 | 1254003.3892 | 2694197.4119 | 1254015.4445 | 2694198.112 | 1254017.7941
11 | 2694184.9455 | 1254008.8745 | 2694189.3759 | 1254006.4319 | 2694194.5252 | 1254003.3892
12 | 2694184.9455 | 1254008.8745 | 2694188.353 | 1254019.5036 | 2694187.047 | 1254024.7536 | 2694192.7805 | 1254042.2695
13 | 2694135.7824 | 1254017.6221 | 2694143.9256 | 1254017.5292 | 2694152.178 | 1254017.2157 | 2694157.5615 | 1254016.5229 | 2694160.4659 | 1254016.091 | 2694163.423 | 1254015.6598 | 2694170.2056 | 1254014.2999 | 2694175.072 | 1254012.9095 | 2694179.6863 | 1254011.2372 | 2694184.9455 | 1254008.8745
14 | 2694123.6971 | 1254109.9484 | 2694118.0545 | 1254099.3124
15 | 2694192.7805 | 1254042.2695 | 2694196.9755 | 1254055.0851
16 | 2694135.7824 | 1254017.6221 | 2694132.3929 | 1254034.8905
17 | 2694096.6268 | 1254216.6457 | 2694098.2341 | 1254215.3035
18 | 2694110.5265 | 1254085.1223 | 2694118.0545 | 1254099.3124
19 | 2694110.5265 | 1254085.1223 | 2694103.4835 | 1254071.8464
20 | 2694102.7471 | 1254070.4583 | 2694103.4835 | 1254071.8464
21 | 2694102.7471 | 1254070.4583 | 2694101.4633 | 1254068.0385 | 2694098.9564 | 1254062.928 | 2694097.0988 | 1254058.2726 | 2694095.5598 | 1254053.9781 | 2694094.5524 | 1254049.9479 | 2694093.7826 | 1254045.2097 | 2694093.565 | 1254040.3914 | 2694093.6293 | 1254039.4267
22 | 2693951.7786 | 1254047.5114 | 2693954.4918 | 1254053.1764
23 | 2693941.2664 | 1254025.5626 | 2693951.7786 | 1254047.5114
24 | 2693954.4918 | 1254053.1764 | 2693958.6705 | 1254061.9012
25 | 2693918.0667 | 1254029.1753 | 2693922.7539 | 1254028.6159 | 2693926.8298 | 1254028.0578 | 2693931.4294 | 1254027.3079 | 2693941.2664 | 1254025.5626
26 | 2693941.2664 | 1254025.5626 | 2693947.8169 | 1254024.0764 | 2693953.0361 | 1254022.8026 | 2693957.8863 | 1254021.4785 | 2693973.0043 | 1254016.937
27 | 2693958.6705 | 1254061.9012 | 2693963.1783 | 1254071.3133
28 | 2693918.0667 | 1254029.1753 | 2693910.813 | 1254029.8052 | 2693903.4875 | 1254030.2005 | 2693895.652 | 1254030.3987 | 2693887.889 | 1254030.3089 | 2693881.0952 | 1254030.0121 | 2693875.7376 | 1254029.5491 | 2693874.4373 | 1254029.3772
29 | 2693918.0667 | 1254029.1753 | 2693913.5904 | 1254046.4466
30 | 2693973.0043 | 1254016.937 | 2693998.7337 | 1254060.7239
31 | 2693965.2046 | 1254075.5442 | 2693963.1783 | 1254071.3133
32 | 2693838.7378 | 1254015.5074 | 2693842.0818 | 1254017.8066 | 2693845.871 | 1254020.1018 | 2693850.2789 | 1254022.4068 | 2693854.6095 | 1254024.3436 | 2693859.7314 | 1254026.3485 | 2693865.0724 | 1254027.8565 | 2693870.3839 | 1254028.8415 | 2693874.4373 | 1254029.3772
33 | 2693913.5904 | 1254046.4466 | 2693912.6922 | 1254049.9125
34 | 2693839.025 | 1254021.1942 | 2693838.7378 | 1254015.5074
35 | 2693839.025 | 1254021.1942 | 2693840.3201 | 1254043.857
36 | 2693840.3201 | 1254043.857 | 2693841.8898 | 1254071.3232 | 2693841.8898 | 1254071.3232
37 | 2693976.5773 | 1254123.6216 | 2693976.1221 | 1254119.5 | 2693975.9883 | 1254116.9959 | 2693975.92 | 1254114.1704 | 2693975.7264 | 1254111.632 | 2693975.4078 | 1254109.3585 | 2693973.7427 | 1254099.7023 | 2693973.2705 | 1254097.1262 | 2693972.5028 | 1254093.6779 | 2693971.6924 | 1254090.5404 | 2693970.4665 | 1254086.9626 | 2693969.0489 | 1254083.5708 | 2693965.2046 | 1254075.5442
38 | 2693912.6922 | 1254049.9125 | 2693905.6246 | 1254077.1817
39 | 2694114.0215 | 1254040.5208 | 2694130.6671 | 1254043.6834 | 2694132.3929 | 1254034.8905
40 | 2694093.8126 | 1254036.6813 | 2694114.0215 | 1254040.5208
41 | 2694093.8126 | 1254036.6813 | 2694093.6293 | 1254039.4267
42 | 2693841.8898 | 1254071.3232 | 2693842.0148 | 1254089.6173 | 2693841.9037 | 1254096.621
43 | 2693949.4814 | 1254122.2018 | 2693947.8934 | 1254123.8445 | 2693946.6029 | 1254125.7589 | 2693945.8345 | 1254127.4311
44 | 2693976.5773 | 1254123.6216 | 2693965.9706 | 1254120.6287 | 2693962.9953 | 1254119.8254 | 2693960.1423 | 1254119.402 | 2693957.2684 | 1254119.3453 | 2693954.3174 | 1254119.8655 | 2693951.6916 | 1254120.8135 | 2693949.4814 | 1254122.2018 | 2693949.4814 | 1254122.2018
45 | 2693944.5468 | 1254131.3746 | 2693945.4463 | 1254128.2758 | 2693945.8345 | 1254127.4311
46 | 2693984.1712 | 1254158.1135 | 2693980.2052 | 1254136.5448 | 2693979.414 | 1254133.1518 | 2693978.6134 | 1254130.348 | 2693977.7188 | 1254127.7651 | 2693977.0504 | 1254125.664 | 2693976.5773 | 1254123.6216
47 | 2693944.5468 | 1254131.3746 | 2693935.4928 | 1254162.5685
48 | 2693984.1712 | 1254158.1135 | 2693991.971 | 1254202.4386 | 2693993.0241 | 1254205.9692
49 | 2693984.1712 | 1254158.1135 | 2693967.2607 | 1254161.0364
50 | 2693933.614 | 1254168.729 | 2693934.4073 | 1254166.3083 | 2693935.4928 | 1254162.5685
51 | 2693993.0241 | 1254205.9692 | 2693995.7692 | 1254209.8602 | 2693998.5029 | 1254213.0394 | 2694000.3173 | 1254215.031
52 | 2693993.0241 | 1254205.9692 | 2693981.7615 | 1254213.9107
53 | 2693959.2785 | 1254164.3123 | 2693961.6707 | 1254163.8165 | 2693963.1566 | 1254162.4279 | 2693967.2607 | 1254161.0364
54 | 2693933.614 | 1254168.729 | 2693932.9245 | 1254170.8328 | 2693931.5638 | 1254174.1854
55 | 2694033.7563 | 1254252.4783 | 2694020.2558 | 1254237.2925 | 2694011.444 | 1254227.2448 | 2694000.3173 | 1254215.031
56 | 2693981.7615 | 1254213.9107 | 2693979.085 | 1254215.7981
57 | 2693856.088 | 1254194.1986 | 2693863.559 | 1254185.8251
58 | 2693833.919 | 1254219.0458 | 2693856.088 | 1254194.1986
59 | 2693878.3902 | 1254165.3928 | 2693875.4243 | 1254170.6211 | 2693867.2199 | 1254181.722 | 2693863.559 | 1254185.8251
60 | 2693822.4032 | 1254208.1993 | 2693823.7893 | 1254210.2451 | 2693825.7723 | 1254212.2336 | 2693830.6648 | 1254216.3254 | 2693833.919 | 1254219.0458
61 | 2693878.3902 | 1254165.3928 | 2693878.4832 | 1254165.2289
62 | 2693822.4032 | 1254208.1993 | 2693821.8424 | 1254206.4446 | 2693821.6936 | 1254204.8855 | 2693821.853 | 1254202.9198 | 2693824.2256 | 1254192.2015
63 | 2693886.1654 | 1254149.2082 | 2693885.583 | 1254150.9556 | 2693880.7571 | 1254161.2205 | 2693878.4832 | 1254165.2289
64 | 2693886.1654 | 1254149.2082 | 2693888.2533 | 1254142.9431
65 | 2693902.773 | 1254216.4244 | 2693908.8363 | 1254209.1364
66 | 2693908.8363 | 1254209.1364 | 2693913.3557 | 1254203.7041
67 | 2693979.085 | 1254215.7981 | 2693973.8242 | 1254219.5076
68 | 2693973.8242 | 1254219.5076 | 2693968.3456 | 1254223.3707
69 | 2693958.5796 | 1254230.5809 | 2693960.868 | 1254228.6434 | 2693968.3456 | 1254223.3707
70 | 2694043.533 | 1254263.4158 | 2694037.3424 | 1254256.5121 | 2694033.7563 | 1254252.4783
71 | 2694043.533 | 1254263.4158 | 2694068.4509 | 1254241.4125
72 | 2693922.4698 | 1254192.028 | 2693922.4698 | 1254192.028 | 2693924.4214 | 1254188.8676 | 2693925.4784 | 1254187.0008
73 | 2693922.4698 | 1254192.028 | 2693920.2679 | 1254195.2734 | 2693918.0482 | 1254198.2072 | 2693913.4199 | 1254203.6269 | 2693913.3557 | 1254203.7041
74 | 2693927.4754 | 1254183.2904 | 2693926.9987 | 1254184.316 | 2693925.4784 | 1254187.0008
75 | 2693927.4754 | 1254183.2904 | 2693929.0767 | 1254179.8455 | 2693931.0949 | 1254175.3406 | 2693931.5638 | 1254174.1854
76 | 2693891.3939 | 1254132.0892 | 2693889.7265 | 1254138.5227 | 2693888.2533 | 1254142.9431
77 | 2693891.3939 | 1254132.0892 | 2693893.9558 | 1254122.2045
78 | 2693893.9558 | 1254122.2045 | 2693896.4708 | 1254112.5005
79 | 2693899.614 | 1254100.373 | 2693896.4708 | 1254112.5005
80 | 2694071.994 | 1254238.2839 | 2694068.4509 | 1254241.4125
81 | 2693905.6246 | 1254077.1817 | 2693899.614 | 1254100.373
82 | 2694071.994 | 1254238.2839 | 2694073.4617 | 1254236.9879
83 | 2694078.4194 | 1254232.61 | 2694073.4617 | 1254236.9879
84 | 2694083.4778 | 1254228.1433 | 2694078.4194 | 1254232.61
85 | 2694083.4778 | 1254228.1433 | 2694088.6579 | 1254223.5691
86 | 2694094.7911 | 1254218.1787 | 2694094.2629 | 1254218.6197 | 2694088.6579 | 1254223.5691
87 | 2694094.7911 | 1254218.1787 | 2694096.6268 | 1254216.6457
88 | 2693841.9037 | 1254096.621 | 2693841.8898 | 1254097.4992 | 2693841.611 | 1254103.6663 | 2693841.047 | 1254110.2069 | 2693840.431 | 1254115.2678 | 2693839.4317 | 1254120.7118 | 2693839.0466 | 1254122.7636

## bus_geodata
| x | y | coords
0 | 2694126.4198 | 1254164.373
1 | 2694141.5524 | 1254166.7416
2 | 2694111.419 | 1254170.8215
3 | 2694149.6237 | 1254158.8192
4 | 2694119.8909 | 1254196.897
5 | 2694078.4756 | 1254120.1256
6 | 2694105.2022 | 1254172.6797
7 | 2694142.9218 | 1254146.1862
8 | 2694111.4507 | 1254204.3178
9 | 2694194.5252 | 1254003.3892
10 | 2694198.112 | 1254017.7941
11 | 2694184.9455 | 1254008.8745
12 | 2694123.6971 | 1254109.9484
13 | 2694192.7805 | 1254042.2695
14 | 2694135.7824 | 1254017.6221
15 | 2694098.2341 | 1254215.3035
16 | 2694118.0545 | 1254099.3124
17 | 2694110.5265 | 1254085.1223
18 | 2694103.4835 | 1254071.8464
19 | 2694102.7471 | 1254070.4583
20 | 2693951.7786 | 1254047.5114
21 | 2693954.4918 | 1254053.1764
22 | 2693941.2664 | 1254025.5626
23 | 2693958.6705 | 1254061.9012
24 | 2693918.0667 | 1254029.1753
25 | 2693973.0043 | 1254016.937
26 | 2693963.1783 | 1254071.3133
27 | 2693874.4373 | 1254029.3772
28 | 2693913.5904 | 1254046.4466
29 | 2693998.7337 | 1254060.7239
30 | 2693838.7378 | 1254015.5074
31 | 2693839.025 | 1254021.1942
32 | 2693840.3201 | 1254043.857
33 | 2693965.2046 | 1254075.5442
34 | 2693912.6922 | 1254049.9125
35 | 2694132.3929 | 1254034.8905
36 | 2694093.8126 | 1254036.6813
37 | 2694114.0215 | 1254040.5208
38 | 2694093.6293 | 1254039.4267
39 | 2693841.8898 | 1254071.3232
40 | 2694196.9755 | 1254055.0851
41 | 2693949.4814 | 1254122.2018
42 | 2693945.8345 | 1254127.4311
43 | 2693976.5773 | 1254123.6216
44 | 2693944.5468 | 1254131.3746
45 | 2693984.1712 | 1254158.1135
46 | 2693935.4928 | 1254162.5685
47 | 2693993.0241 | 1254205.9692
48 | 2693967.2607 | 1254161.0364
49 | 2693933.614 | 1254168.729
50 | 2694000.3173 | 1254215.031
51 | 2693981.7615 | 1254213.9107
52 | 2693959.2785 | 1254164.3123
53 | 2693856.088 | 1254194.1986
54 | 2693863.559 | 1254185.8251
55 | 2693833.919 | 1254219.0458
56 | 2693878.3902 | 1254165.3928
57 | 2693822.4032 | 1254208.1993
58 | 2693878.4832 | 1254165.2289
59 | 2693824.2256 | 1254192.2015
60 | 2693886.1654 | 1254149.2082
61 | 2693902.773 | 1254216.4244
62 | 2693908.8363 | 1254209.1364
63 | 2693979.085 | 1254215.7981
64 | 2693973.8242 | 1254219.5076
65 | 2693968.3456 | 1254223.3707
66 | 2694033.7563 | 1254252.4783
67 | 2693958.5796 | 1254230.5809
68 | 2694043.533 | 1254263.4158
69 | 2693922.4698 | 1254192.028
70 | 2693925.4784 | 1254187.0008
71 | 2693913.3557 | 1254203.7041
72 | 2693927.4754 | 1254183.2904
73 | 2693931.5638 | 1254174.1854
74 | 2693888.2533 | 1254142.9431
75 | 2693891.3939 | 1254132.0892
76 | 2693893.9558 | 1254122.2045
77 | 2693896.4708 | 1254112.5005
78 | 2694068.4509 | 1254241.4125
79 | 2693899.614 | 1254100.373
80 | 2693905.6246 | 1254077.1817
81 | 2694071.994 | 1254238.2839
82 | 2694073.4617 | 1254236.9879
83 | 2694078.4194 | 1254232.61
84 | 2694083.4778 | 1254228.1433
85 | 2694088.6579 | 1254223.5691
86 | 2694096.6268 | 1254216.6457
87 | 2694094.7911 | 1254218.1787
88 | 2693839.0466 | 1254122.7636
89 | 2693841.9037 | 1254096.621
90 | 2693973.0043 | 1254016.937

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1