## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_296-39_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_296-39_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_296-39_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_296-39_0_4_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_296-39_0_4_node_7 | 0.4 | n |  | TRUE
5 | bus_LV_296-39_0_4_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_296-39_0_4_node_93 | 0.4 | n |  | TRUE
7 | bus_LV_296-39_0_4_node_83 | 0.4 | n |  | TRUE
8 | bus_LV_296-39_0_4_node_8 | 0.4 | n |  | TRUE
9 | bus_LV_296-39_0_4_node_9 | 0.4 | n |  | TRUE
10 | bus_LV_296-39_0_4_node_92 | 0.4 | n |  | TRUE
11 | bus_LV_296-39_0_4_node_110 | 0.4 | n |  | TRUE
12 | bus_LV_296-39_0_4_node_90 | 0.4 | n |  | TRUE
13 | bus_LV_296-39_0_4_node_111 | 0.4 | n |  | TRUE
14 | bus_LV_296-39_0_4_node_80 | 0.4 | n |  | TRUE
15 | bus_LV_296-39_0_4_node_88 | 0.4 | n |  | TRUE
16 | bus_LV_296-39_0_4_node_12 | 0.4 | n |  | TRUE
17 | bus_LV_296-39_0_4_node_14 | 0.4 | n |  | TRUE
18 | bus_LV_296-39_0_4_node_10 | 0.4 | n |  | TRUE
19 | bus_LV_296-39_0_4_node_11 | 0.4 | n |  | TRUE
20 | bus_LV_296-39_0_4_node_36 | 0.4 | n |  | TRUE
21 | bus_LV_296-39_0_4_node_35 | 0.4 | n |  | TRUE
22 | bus_LV_296-39_0_4_node_51 | 0.4 | n |  | TRUE
23 | bus_LV_296-39_0_4_node_37 | 0.4 | n |  | TRUE
24 | bus_LV_296-39_0_4_node_41 | 0.4 | n |  | TRUE
25 | bus_LV_296-39_0_4_node_28 | 0.4 | n |  | TRUE
26 | bus_LV_296-39_0_4_node_20 | 0.4 | n |  | TRUE
27 | bus_LV_296-39_0_4_node_75 | 0.4 | n |  | TRUE
28 | bus_LV_296-39_0_4_node_73 | 0.4 | n |  | TRUE
29 | bus_LV_296-39_0_4_node_21 | 0.4 | n |  | TRUE
30 | bus_LV_296-39_0_4_node_112 | 0.4 | n |  | TRUE
31 | bus_LV_296-39_0_4_node_17 | 0.4 | n |  | TRUE
32 | bus_LV_296-39_0_4_node_19 | 0.4 | n |  | TRUE
33 | bus_LV_296-39_0_4_node_40 | 0.4 | n |  | TRUE
34 | bus_LV_296-39_0_4_node_38 | 0.4 | n |  | TRUE
35 | bus_LV_296-39_0_4_node_23 | 0.4 | n |  | TRUE
36 | bus_LV_296-39_0_4_node_24 | 0.4 | n |  | TRUE
37 | bus_LV_296-39_0_4_node_100 | 0.4 | n |  | TRUE
38 | bus_LV_296-39_0_4_node_16 | 0.4 | n |  | TRUE
39 | bus_LV_296-39_0_4_node_18 | 0.4 | n |  | TRUE
40 | bus_LV_296-39_0_4_node_15 | 0.4 | n |  | TRUE
41 | bus_LV_296-39_0_4_node_29 | 0.4 | n |  | TRUE
42 | bus_LV_296-39_0_4_node_26 | 0.4 | n |  | TRUE
43 | bus_LV_296-39_0_4_node_27 | 0.4 | n |  | TRUE
44 | bus_LV_296-39_0_4_node_22 | 0.4 | n |  | TRUE
45 | bus_LV_296-39_0_4_node_109 | 0.4 | n |  | TRUE
46 | bus_LV_296-39_0_4_node_25 | 0.4 | n |  | TRUE
47 | bus_LV_296-39_0_4_node_108 | 0.4 | n |  | TRUE
48 | bus_LV_296-39_0_4_node_34 | 0.4 | n |  | TRUE
49 | bus_LV_296-39_0_4_node_74 | 0.4 | n |  | TRUE
50 | bus_LV_296-39_0_4_node_39 | 0.4 | n |  | TRUE
51 | bus_LV_296-39_0_4_node_65 | 0.4 | n |  | TRUE
52 | bus_LV_296-39_0_4_node_101 | 0.4 | n |  | TRUE
53 | bus_LV_296-39_0_4_node_104 | 0.4 | n |  | TRUE
54 | bus_LV_296-39_0_4_node_91 | 0.4 | n |  | TRUE
55 | bus_LV_296-39_0_4_node_89 | 0.4 | n |  | TRUE
56 | bus_LV_296-39_0_4_node_99 | 0.4 | n |  | TRUE
57 | bus_LV_296-39_0_4_node_43 | 0.4 | n |  | TRUE
58 | bus_LV_296-39_0_4_node_33 | 0.4 | n |  | TRUE
59 | bus_LV_296-39_0_4_node_30 | 0.4 | n |  | TRUE
60 | bus_LV_296-39_0_4_node_31 | 0.4 | n |  | TRUE
61 | bus_LV_296-39_0_4_node_32 | 0.4 | n |  | TRUE
62 | bus_LV_296-39_0_4_node_48 | 0.4 | n |  | TRUE
63 | bus_LV_296-39_0_4_node_42 | 0.4 | n |  | TRUE
64 | bus_LV_296-39_0_4_node_53 | 0.4 | n |  | TRUE
65 | bus_LV_296-39_0_4_node_52 | 0.4 | n |  | TRUE
66 | bus_LV_296-39_0_4_node_44 | 0.4 | n |  | TRUE
67 | bus_LV_296-39_0_4_node_45 | 0.4 | n |  | TRUE
68 | bus_LV_296-39_0_4_node_46 | 0.4 | n |  | TRUE
69 | bus_LV_296-39_0_4_node_47 | 0.4 | n |  | TRUE
70 | bus_LV_296-39_0_4_node_49 | 0.4 | n |  | TRUE
71 | bus_LV_296-39_0_4_node_50 | 0.4 | n |  | TRUE
72 | bus_LV_296-39_0_4_node_56 | 0.4 | n |  | TRUE
73 | bus_LV_296-39_0_4_node_59 | 0.4 | n |  | TRUE
74 | bus_LV_296-39_0_4_node_54 | 0.4 | n |  | TRUE
75 | bus_LV_296-39_0_4_node_57 | 0.4 | n |  | TRUE
76 | bus_LV_296-39_0_4_node_58 | 0.4 | n |  | TRUE
77 | bus_LV_296-39_0_4_node_64 | 0.4 | n |  | TRUE
78 | bus_LV_296-39_0_4_node_68 | 0.4 | n |  | TRUE
79 | bus_LV_296-39_0_4_node_62 | 0.4 | n |  | TRUE
80 | bus_LV_296-39_0_4_node_60 | 0.4 | n |  | TRUE
81 | bus_LV_296-39_0_4_node_61 | 0.4 | n |  | TRUE
82 | bus_LV_296-39_0_4_node_63 | 0.4 | n |  | TRUE
83 | bus_LV_296-39_0_4_node_76 | 0.4 | n |  | TRUE
84 | bus_LV_296-39_0_4_node_66 | 0.4 | n |  | TRUE
85 | bus_LV_296-39_0_4_node_98 | 0.4 | n |  | TRUE
86 | bus_LV_296-39_0_4_node_105 | 0.4 | n |  | TRUE
87 | bus_LV_296-39_0_4_node_67 | 0.4 | n |  | TRUE
88 | bus_LV_296-39_0_4_node_72 | 0.4 | n |  | TRUE
89 | bus_LV_296-39_0_4_node_69 | 0.4 | n |  | TRUE
90 | bus_LV_296-39_0_4_node_97 | 0.4 | n |  | TRUE
91 | bus_LV_296-39_0_4_node_95 | 0.4 | n |  | TRUE
92 | bus_LV_296-39_0_4_node_70 | 0.4 | n |  | TRUE
93 | bus_LV_296-39_0_4_node_71 | 0.4 | n |  | TRUE
94 | bus_LV_296-39_0_4_node_103 | 0.4 | n |  | TRUE
95 | bus_LV_296-39_0_4_node_102 | 0.4 | n |  | TRUE
96 | bus_LV_296-39_0_4_node_94 | 0.4 | n |  | TRUE
97 | bus_LV_296-39_0_4_node_77 | 0.4 | n |  | TRUE
98 | bus_LV_296-39_0_4_node_78 | 0.4 | n |  | TRUE
99 | bus_LV_296-39_0_4_node_79 | 0.4 | n |  | TRUE
100 | bus_LV_296-39_0_4_node_81 | 0.4 | n |  | TRUE
101 | bus_LV_296-39_0_4_node_82 | 0.4 | n |  | TRUE
102 | bus_LV_296-39_0_4_node_84 | 0.4 | n |  | TRUE
103 | bus_LV_296-39_0_4_node_85 | 0.4 | n |  | TRUE
104 | bus_LV_296-39_0_4_node_86 | 0.4 | n |  | TRUE
105 | bus_LV_296-39_0_4_node_87 | 0.4 | n |  | TRUE
106 | bus_LV_296-39_0_4_node_96 | 0.4 | n |  | TRUE
107 | bus_MV_363_0_node_107 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_296-39_0_4_load_0 | 0 | 0.0014434 | 0.00036175 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_296-39_0_4_load_1 | 1 | 0.0014083 | 0.00035297 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_296-39_0_4_load_4 | 3 | 0.0013875 | 0.00034774 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_296-39_0_4_load_83 | 7 | 0.0012655 | 0.00031718 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_296-39_0_4_load_8 | 8 | 0.0013778 | 0.0003453 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_296-39_0_4_load_110 | 11 | 0.0090192 | 0.0022604 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_296-39_0_4_load_111 | 13 | 0.0022401 | 0.00056141 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_296-39_0_4_load_80 | 14 | 0.0013217 | 0.00033125 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_296-39_0_4_load_88 | 15 | 0.0011437 | 0.00028665 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_296-39_0_4_load_12 | 16 | 0.0051081 | 0.0012802 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_296-39_0_4_load_14 | 17 | 0.0057543 | 0.0014422 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_296-39_0_4_load_11 | 19 | 0.0033818 | 0.00084755 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_296-39_0_4_load_36 | 20 | 0.0013601 | 0.00034087 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_296-39_0_4_load_35 | 21 | 0.0088262 | 0.002212 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_296-39_0_4_load_51 | 22 | 0.0012424 | 0.00031137 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_296-39_0_4_load_37 | 23 | 0.0011747 | 0.00029441 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_296-39_0_4_load_28 | 25 | 0.0046607 | 0.0011681 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_296-39_0_4_load_75 | 27 | 0.0024589 | 0.00061627 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_296-39_0_4_load_73 | 28 | 0.0021189 | 0.00053105 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_296-39_0_4_load_112 | 30 | 0.015997 | 0.0040092 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_296-39_0_4_load_40 | 33 | 0.0025784 | 0.0006462 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_296-39_0_4_load_100 | 37 | 0.012026 | 0.003014 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_296-39_0_4_load_15 | 40 | 0.013316 | 0.0033372 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_296-39_0_4_load_29 | 41 | 0.0042035 | 0.0010535 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_296-39_0_4_load_26 | 42 | 0.001898 | 0.00047569 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_296-39_0_4_load_27 | 43 | 0.0074036 | 0.0018555 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_296-39_0_4_load_109 | 45 | 0.016661 | 0.0041756 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_296-39_0_4_load_108 | 47 | 0.018486 | 0.004633 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_296-39_0_4_load_74 | 49 | 0.0025776 | 0.00064601 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_296-39_0_4_load_104 | 53 | 0.013968 | 0.0035006 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_296-39_0_4_load_89 | 55 | 0.0094859 | 0.0023774 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_296-39_0_4_load_99 | 56 | 0.010713 | 0.0026849 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_296-39_0_4_load_43 | 57 | 0.0074714 | 0.0018725 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_296-39_0_4_load_33 | 58 | 0.0018483 | 0.00046323 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_296-39_0_4_load_30 | 59 | 0.0067811 | 0.0016995 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_296-39_0_4_load_31 | 60 | 0.0024793 | 0.00062136 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_296-39_0_4_load_32 | 61 | 0.0017404 | 0.0004362 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_296-39_0_4_load_48 | 62 | 0.0026931 | 0.00067495 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_296-39_0_4_load_42 | 63 | 0.0013437 | 0.00033677 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_296-39_0_4_load_52 | 65 | 0.0045471 | 0.0011396 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_296-39_0_4_load_44 | 66 | 0.0017442 | 0.00043714 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_296-39_0_4_load_45 | 67 | 0.0013983 | 0.00035044 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_296-39_0_4_load_49 | 70 | 0.0044566 | 0.0011169 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_296-39_0_4_load_50 | 71 | 0.0034144 | 0.00085572 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_296-39_0_4_load_56 | 72 | 0.0018774 | 0.00047051 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_296-39_0_4_load_59 | 73 | 0.0021984 | 0.00055097 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_296-39_0_4_load_57 | 75 | 0.0023877 | 0.00059841 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_296-39_0_4_load_58 | 76 | 0.0023587 | 0.00059115 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_296-39_0_4_load_68 | 78 | 0.0035714 | 0.00089507 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_296-39_0_4_load_62 | 79 | 0.0021915 | 0.00054925 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_296-39_0_4_load_60 | 80 | 0.0083012 | 0.0020805 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_296-39_0_4_load_61 | 81 | 0.0022575 | 0.00056577 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_296-39_0_4_load_98 | 85 | 0.0025911 | 0.00064939 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_296-39_0_4_load_105 | 86 | 0.0028547 | 0.00071546 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_296-39_0_4_load_72 | 88 | 0.00253 | 0.00063407 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_296-39_0_4_load_97 | 90 | 0.0020147 | 0.00050493 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_296-39_0_4_load_95 | 91 | 0.00265 | 0.00066415 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_296-39_0_4_load_70 | 92 | 0.0012501 | 0.00031331 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_296-39_0_4_load_71 | 93 | 0.0010637 | 0.00026659 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_296-39_0_4_load_103 | 94 | 0.0011314 | 0.00028356 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_296-39_0_4_load_102 | 95 | 0.001177 | 0.00029499 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_296-39_0_4_load_94 | 96 | 0.0025618 | 0.00064204 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_296-39_0_4_load_77 | 97 | 0.0020214 | 0.0005066 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_296-39_0_4_load_78 | 98 | 0.001963 | 0.00049197 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_296-39_0_4_load_81 | 100 | 0.0013726 | 0.00034402 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_296-39_0_4_load_82 | 101 | 0.0012399 | 0.00031076 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_296-39_0_4_load_84 | 102 | 0.0035931 | 0.00090051 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_296-39_0_4_load_85 | 103 | 0.0028401 | 0.00071178 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_296-39_0_4_load_86 | 104 | 0.0012767 | 0.00031998 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_296-39_0_4_load_87 | 105 | 0.001298 | 0.0003253 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_296-39_0_4_load_96 | 106 | 0.0021338 | 0.00053479 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 64 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_296-39_0_4_line_0 |  | 0 | 1 | 0.0017769 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_296-39_0_4_line_1 |  | 0 | 2 | 0.023912 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_296-39_0_4_line_2 |  | 2 | 3 | 0.034248 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_296-39_0_4_line_3 |  | 3 | 4 | 0.026794 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_296-39_0_4_line_4 |  | 4 | 8 | 0.030729 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_296-39_0_4_line_5 |  | 4 | 9 | 0.025758 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_296-39_0_4_line_6 |  | 5 | 6 | 0.055143 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_296-39_0_4_line_7 |  | 5 | 7 | 0.02325 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_296-39_0_4_line_8 |  | 6 | 13 | 0.03663 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_296-39_0_4_line_9 |  | 6 | 10 | 0.058238 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_296-39_0_4_line_10 |  | 7 | 14 | 0.0035788 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_296-39_0_4_line_11 |  | 9 | 18 | 0.006819 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_296-39_0_4_line_12 |  | 9 | 19 | 0.01139 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_296-39_0_4_line_13 |  | 10 | 11 | 0.031984 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_296-39_0_4_line_14 |  | 10 | 12 | 0.021672 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_296-39_0_4_line_15 |  | 12 | 15 | 0.014241 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_296-39_0_4_line_16 |  | 14 | 98 | 0.0029573 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_296-39_0_4_line_17 |  | 15 | 104 | 0.0073233 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_296-39_0_4_line_18 |  | 16 | 17 | 0.018027 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_296-39_0_4_line_19 |  | 17 | 25 | 0.0091814 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_296-39_0_4_line_20 |  | 18 | 20 | 0.018118 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_296-39_0_4_line_21 |  | 19 | 21 | 0.038189 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_296-39_0_4_line_22 |  | 20 | 22 | 0.0077196 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_296-39_0_4_line_23 |  | 22 | 62 | 0.008185 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_296-39_0_4_line_24 |  | 23 | 24 | 0.0144 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_296-39_0_4_line_25 |  | 24 | 50 | 0.010816 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_296-39_0_4_line_26 |  | 25 | 41 | 0.025902 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_296-39_0_4_line_27 |  | 26 | 27 | 0.012952 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
28 | LV_296-39_0_4_line_28 |  | 26 | 28 | 0.023985 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
29 | LV_296-39_0_4_line_29 |  | 27 | 51 | 0.0052201 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
30 | LV_296-39_0_4_line_30 |  | 28 | 49 | 0.0018561 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
31 | LV_296-39_0_4_line_31 |  | 29 | 30 | 0.0158 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_296-39_0_4_line_32 |  | 29 | 31 | 0.027752 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_296-39_0_4_line_33 |  | 31 | 40 | 0.014556 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_296-39_0_4_line_34 |  | 32 | 33 | 0.016278 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
35 | LV_296-39_0_4_line_35 |  | 32 | 34 | 0.008038 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
36 | LV_296-39_0_4_line_36 |  | 33 | 49 | 0.005663 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
37 | LV_296-39_0_4_line_37 |  | 34 | 50 | 0.023137 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
38 | LV_296-39_0_4_line_38 |  | 34 | 43 | 0.03197 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_296-39_0_4_line_39 |  | 35 | 36 | 0.059151 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_296-39_0_4_line_40 |  | 35 | 37 | 0.0076988 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_296-39_0_4_line_41 |  | 36 | 45 | 0.074112 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_296-39_0_4_line_42 |  | 37 | 56 | 0.050234 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_296-39_0_4_line_43 |  | 38 | 39 | 0.033117 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_296-39_0_4_line_44 |  | 38 | 40 | 0.022268 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_296-39_0_4_line_45 |  | 39 | 42 | 0.026014 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_296-39_0_4_line_46 |  | 39 | 43 | 0.025297 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_296-39_0_4_line_47 |  | 41 | 59 | 0.003613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_296-39_0_4_line_48 |  | 42 | 48 | 0.010056 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_296-39_0_4_line_49 |  | 44 | 45 | 0.027693 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_296-39_0_4_line_50 |  | 44 | 46 | 0.026119 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_296-39_0_4_line_51 |  | 46 | 47 | 0.036996 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_296-39_0_4_line_52 |  | 48 | 57 | 0.030123 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_296-39_0_4_line_53 |  | 48 | 58 | 0.013097 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_296-39_0_4_line_54 |  | 50 | 63 | 0.018423 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
55 | LV_296-39_0_4_line_55 |  | 51 | 83 | 0.016933 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_296-39_0_4_line_56 |  | 51 | 82 | 0.011978 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
57 | LV_296-39_0_4_line_57 |  | 52 | 53 | 0.046747 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_296-39_0_4_line_58 |  | 52 | 54 | 0.046886 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_296-39_0_4_line_59 |  | 53 | 86 | 0.011716 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_296-39_0_4_line_60 |  | 54 | 55 | 0.024854 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_296-39_0_4_line_61 |  | 55 | 105 | 0.025001 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_296-39_0_4_line_62 |  | 56 | 83 | 0.012413 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_296-39_0_4_line_63 |  | 58 | 61 | 0.02283 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_296-39_0_4_line_64 |  | 59 | 60 | 0.027498 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_296-39_0_4_line_65 |  | 60 | 61 | 0.0056247 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_296-39_0_4_line_66 |  | 62 | 68 | 0.008317 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_296-39_0_4_line_67 |  | 63 | 64 | 0.018577 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
68 | LV_296-39_0_4_line_68 |  | 64 | 65 | 0.014827 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_296-39_0_4_line_69 |  | 65 | 74 | 0.014221 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_296-39_0_4_line_70 |  | 66 | 67 | 0.010439 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_296-39_0_4_line_71 |  | 66 | 68 | 0.010011 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_296-39_0_4_line_72 |  | 67 | 69 | 0.0011443 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_296-39_0_4_line_73 |  | 69 | 70 | 0.014897 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_296-39_0_4_line_74 |  | 69 | 71 | 0.011773 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_296-39_0_4_line_75 |  | 70 | 72 | 0.00026908 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_296-39_0_4_line_76 |  | 71 | 73 | 0.015629 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_296-39_0_4_line_77 |  | 72 | 74 | 0.011243 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_296-39_0_4_line_78 |  | 74 | 75 | 0.033092 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_296-39_0_4_line_79 |  | 76 | 77 | 0.0018423 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_296-39_0_4_line_80 |  | 77 | 78 | 0.010056 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_296-39_0_4_line_81 |  | 77 | 79 | 0.0081624 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_296-39_0_4_line_82 |  | 78 | 89 | 0.018314 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_296-39_0_4_line_83 |  | 79 | 80 | 0.0063316 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_296-39_0_4_line_84 |  | 80 | 81 | 0.0012224 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_296-39_0_4_line_85 |  | 81 | 82 | 0.012689 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
86 | LV_296-39_0_4_line_86 |  | 84 | 85 | 0.01061 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_296-39_0_4_line_87 |  | 84 | 86 | 0.01765 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_296-39_0_4_line_88 |  | 85 | 90 | 0.0052371 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_296-39_0_4_line_89 |  | 87 | 88 | 0.010727 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_296-39_0_4_line_90 |  | 87 | 89 | 0.007958 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_296-39_0_4_line_91 |  | 88 | 91 | 0.0029316 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_296-39_0_4_line_92 |  | 89 | 92 | 0.0019473 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_296-39_0_4_line_93 |  | 90 | 106 | 0.0038673 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_296-39_0_4_line_94 |  | 91 | 96 | 0.0025949 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_296-39_0_4_line_95 |  | 92 | 93 | 0.01819 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_296-39_0_4_line_96 |  | 93 | 94 | 0.00016272 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_296-39_0_4_line_97 |  | 94 | 95 | 0.00078124 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_296-39_0_4_line_98 |  | 96 | 106 | 0.0030033 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_296-39_0_4_line_99 |  | 97 | 98 | 0.0010242 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_296-39_0_4_line_100 |  | 97 | 99 | 0.011223 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_296-39_0_4_line_101 |  | 99 | 100 | 0.0022068 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_296-39_0_4_line_102 |  | 99 | 101 | 0.010583 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_296-39_0_4_line_103 |  | 100 | 102 | 0.0061539 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_296-39_0_4_line_104 |  | 101 | 103 | 0.0023777 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_296-39_0_4_line_105 |  | 104 | 105 | 0.0095419 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_296-39_0_4_trafo_53 | 0.63 MVA 20/0.4 kV | 107 | 64 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17
0 | 2695145.2285 | 1253451.1884 | 2695146.6145 | 1253450.0765
1 | 2695126.5581 | 1253466.1284 | 2695132.9873 | 1253460.9832 | 2695144.3243 | 1253451.9137 | 2695145.2285 | 1253451.1884
2 | 2695126.5581 | 1253466.1284 | 2695149.6018 | 1253491.4643
3 | 2695160.5583 | 1253515.1795 | 2695160.1255 | 1253510.1798 | 2695159.0221 | 1253506.0588 | 2695157.0771 | 1253501.7131 | 2695155.421 | 1253498.6396 | 2695153.0901 | 1253495.2996 | 2695149.6018 | 1253491.4643
4 | 2695160.5583 | 1253515.1795 | 2695167.5502 | 1253514.458 | 2695172.1775 | 1253513.4315 | 2695176.2129 | 1253511.6727 | 2695188.2551 | 1253503.4927
5 | 2695152.6416 | 1253539.1601 | 2695154.431 | 1253536.7536 | 2695156.1058 | 1253533.9672 | 2695157.4548 | 1253531.2645 | 2695158.3527 | 1253528.9215 | 2695159.1251 | 1253526.4098 | 2695159.9356 | 1253522.9312 | 2695160.404 | 1253519.6139 | 2695160.5583 | 1253515.1795
6 | 2695044.7321 | 1253444.5648 | 2695047.5822 | 1253446.1229 | 2695049.669 | 1253447.7577 | 2695051.4795 | 1253449.6771 | 2695057.0792 | 1253456.7058 | 2695062.1314 | 1253463.0585 | 2695066.5182 | 1253468.5443 | 2695070.7717 | 1253473.8834 | 2695082.9657 | 1253464.0714
7 | 2695082.9657 | 1253464.0714 | 2695086.0783 | 1253468.0801 | 2695087.4681 | 1253469.8816 | 2695092.5547 | 1253476.435 | 2695095.5716 | 1253483.4141
8 | 2695044.7321 | 1253444.5648 | 2695048.0931 | 1253442.506 | 2695052.7515 | 1253438.1329 | 2695057.5752 | 1253433.3399 | 2695061.0542 | 1253429.1035 | 2695069.583 | 1253417.9795
9 | 2695025.404 | 1253482.2843 | 2695026.4432 | 1253481.4781 | 2695057.0792 | 1253456.7058 | 2695051.4795 | 1253449.6771 | 2695049.669 | 1253447.7577 | 2695047.5822 | 1253446.1229 | 2695044.7321 | 1253444.5648
10 | 2695095.5716 | 1253483.4141 | 2695096.9917 | 1253486.6991
11 | 2695148.4424 | 1253544.5413 | 2695151.6321 | 1253540.4671 | 2695152.6416 | 1253539.1601
12 | 2695152.6416 | 1253539.1601 | 2695155.8947 | 1253541.9367 | 2695158.041 | 1253543.6169 | 2695159.3712 | 1253544.4278 | 2695160.8476 | 1253545.0632 | 2695162.0353 | 1253545.3491
13 | 2695025.404 | 1253482.2843 | 2695017.3696 | 1253475.5502 | 2695015.4331 | 1253474.4294 | 2695006.1762 | 1253471.4564 | 2694999.9104 | 1253478.6504
14 | 2695036.8198 | 1253500.7263 | 2695025.404 | 1253482.2843
15 | 2695036.8198 | 1253500.7263 | 2695025.7318 | 1253509.6634
16 | 2695098.1652 | 1253489.4137 | 2695096.9917 | 1253486.6991
17 | 2695020.0301 | 1253514.2591 | 2695025.7318 | 1253509.6634
18 | 2695246.6006 | 1253550.8569 | 2695233.4938 | 1253563.234
19 | 2695226.8184 | 1253569.5377 | 2695233.4938 | 1253563.234
20 | 2695148.4424 | 1253544.5413 | 2695142.8027 | 1253540.0138 | 2695134.0062 | 1253533.6016
21 | 2695188.9411 | 1253535.2846 | 2695182.1852 | 1253528.8377 | 2695181.4827 | 1253528.4149 | 2695180.7318 | 1253528.1805 | 2695179.8349 | 1253528.1105 | 2695178.746 | 1253528.2486 | 2695177.8219 | 1253528.4673 | 2695176.8776 | 1253528.997 | 2695168.5682 | 1253537.0365 | 2695167.9728 | 1253537.9276 | 2695167.5574 | 1253538.8883 | 2695166.7651 | 1253541.7 | 2695166.4081 | 1253542.784 | 2695165.973 | 1253543.5665 | 2695165.4099 | 1253544.3248 | 2695164.547 | 1253544.9558 | 2695163.3717 | 1253545.3039 | 2695162.0353 | 1253545.3491
22 | 2695134.0062 | 1253533.6016 | 2695127.768 | 1253529.0542
23 | 2695121.1802 | 1253524.1987 | 2695121.1802 | 1253524.1987 | 2695121.776 | 1253524.6864 | 2695127.768 | 1253529.0542
24 | 2695105.1509 | 1253603.6369 | 2695111.5758 | 1253594.5218 | 2695113.4434 | 1253591.8647
25 | 2695105.1509 | 1253603.6369 | 2695098.9189 | 1253612.4882
26 | 2695207.9858 | 1253587.3217 | 2695226.8184 | 1253569.5377
27 | 2695045.7097 | 1253643.1138 | 2695034.8619 | 1253636.0365
28 | 2695045.7097 | 1253643.1138 | 2695053.6168 | 1253630.0305 | 2695054.9149 | 1253628.1387 | 2695056.0186 | 1253627.0778 | 2695057.2684 | 1253626.3195 | 2695058.8596 | 1253625.9114 | 2695060.6264 | 1253625.8508
29 | 2695030.4901 | 1253633.1841 | 2695034.8619 | 1253636.0365
30 | 2695060.6264 | 1253625.8508 | 2695062.4467 | 1253626.2136
31 | 2695047.4041 | 1253665.4141 | 2695050.2147 | 1253667.0827 | 2695056.7256 | 1253656.3565
32 | 2695056.7256 | 1253656.3565 | 2695064.6021 | 1253661.6315 | 2695067.4036 | 1253657.2842 | 2695071.5751 | 1253662.5441 | 2695076.8447 | 1253666.1537
33 | 2695076.8447 | 1253666.1537 | 2695081.5615 | 1253669.4098 | 2695081.1057 | 1253670.0696 | 2695085.9422 | 1253673.3943 | 2695086.5681 | 1253672.4814 | 2695087.422 | 1253673.0858
34 | 2695080.9343 | 1253637.9862 | 2695076.9244 | 1253635.3531 | 2695070.8159 | 1253631.3519 | 2695067.3233 | 1253629.0586
35 | 2695085.5378 | 1253631.3882 | 2695080.9343 | 1253637.9862
36 | 2695067.3233 | 1253629.0586 | 2695064.0803 | 1253626.9293 | 2695062.4467 | 1253626.2136 | 2695062.4467 | 1253626.2136
37 | 2695085.5378 | 1253631.3882 | 2695096.4697 | 1253616.0406 | 2695098.9189 | 1253612.4882
38 | 2695085.5378 | 1253631.3882 | 2695092.3309 | 1253635.9898 | 2695096.987 | 1253639.2671 | 2695097.4271 | 1253638.6514 | 2695102.1876 | 1253642.0083 | 2695101.7321 | 1253642.6459 | 2695106.4703 | 1253645.9801 | 2695107.0032 | 1253645.2214 | 2695110.2568 | 1253647.5223
39 | 2694965.1594 | 1253716.6686 | 2694996.826 | 1253715.9869 | 2695000.8387 | 1253716.0957 | 2695005.1519 | 1253716.7654 | 2695003.7673 | 1253697.7172
40 | 2695003.7673 | 1253697.7172 | 2694998.6549 | 1253697.4795 | 2694998.942 | 1253694.9146
41 | 2694965.1594 | 1253716.6686 | 2694954.9444 | 1253716.994 | 2694954.1681 | 1253716.937 | 2694953.3892 | 1253716.5687 | 2694952.9365 | 1253715.6274 | 2694952.9924 | 1253714.494 | 2694960.6911 | 1253682.8704 | 2694950.7863 | 1253680.3208 | 2694950.3218 | 1253681.9924 | 2694935.3267 | 1253677.8293
42 | 2695008.9064 | 1253652.0972 | 2695006.4878 | 1253656.0949 | 2695007.9303 | 1253656.9631 | 2695006.6592 | 1253659.0555 | 2695007.6906 | 1253659.6725 | 2695005.5589 | 1253663.1966 | 2695006.4109 | 1253663.7107 | 2695004.2791 | 1253667.2348 | 2695005.1611 | 1253667.7605 | 2695003.1844 | 1253671.0314 | 2695003.999 | 1253671.5226 | 2695001.9372 | 1253674.9255 | 2695002.8714 | 1253675.4854 | 2695000.7162 | 1253679.0647 | 2694998.942 | 1253694.9146
43 | 2695129.3205 | 1253662.3821 | 2695115.4839 | 1253675.3479 | 2695110.1069 | 1253680.7769 | 2695105.7718 | 1253685.7001
44 | 2695105.7718 | 1253685.7001 | 2695092.4998 | 1253676.6799 | 2695087.422 | 1253673.0858
45 | 2695129.3205 | 1253662.3821 | 2695147.9531 | 1253644.2281
46 | 2695129.3205 | 1253662.3821 | 2695117.6955 | 1253654.1779 | 2695116.2478 | 1253653.165 | 2695116.912 | 1253652.2193 | 2695111.2189 | 1253648.2026 | 2695110.2568 | 1253647.5223
47 | 2695207.9858 | 1253587.3217 | 2695205.359 | 1253589.8023
48 | 2695155.1555 | 1253637.2106 | 2695147.9531 | 1253644.2281
49 | 2694908.8637 | 1253675.8677 | 2694929.716 | 1253679.9495 | 2694933.6588 | 1253677.3662 | 2694935.3267 | 1253677.8293
50 | 2694904.989 | 1253650.2078 | 2694907.9693 | 1253660.5859 | 2694908.8191 | 1253669.7066 | 2694908.8637 | 1253675.8677
51 | 2694904.989 | 1253650.2078 | 2694912.3791 | 1253647.702 | 2694922.5387 | 1253641.8936 | 2694930.1142 | 1253636.7665 | 2694935.3321 | 1253630.2569
52 | 2695155.1555 | 1253637.2106 | 2695146.8056 | 1253631.3497 | 2695143.5147 | 1253629.0506 | 2695138.6719 | 1253625.6479 | 2695138.1701 | 1253626.3515 | 2695131.2828 | 1253621.5149 | 2695131.6845 | 1253620.932
53 | 2695155.1555 | 1253637.2106 | 2695164.6778 | 1253628.2186
54 | 2695098.9189 | 1253612.4882 | 2695095.0025 | 1253609.6676 | 2695093.5627 | 1253608.6325 | 2695083.9714 | 1253601.7191
55 | 2695030.4901 | 1253633.1841 | 2695027.5626 | 1253635.0386 | 2695024.551 | 1253636.9585 | 2695023.0087 | 1253638.0791 | 2695021.3008 | 1253639.6418 | 2695020.0427 | 1253640.9226 | 2695019.0192 | 1253642.1627 | 2695017.8771 | 1253643.7345 | 2695018.1846 | 1253643.8506
56 | 2695022.7541 | 1253625.2649 | 2695022.97 | 1253628.2707 | 2695030.4901 | 1253633.1841
57 | 2694937.184 | 1253580.836 | 2694942.2425 | 1253587.2665 | 2694960.984 | 1253610.5185 | 2694962.0213 | 1253611.7138 | 2694963.3468 | 1253612.8137 | 2694967.9532 | 1253615.6234
58 | 2694937.184 | 1253580.836 | 2694952.6409 | 1253568.4629 | 2694973.7854 | 1253551.533
59 | 2694967.9532 | 1253615.6234 | 2694970.3117 | 1253617.062 | 2694972.2963 | 1253618.0057 | 2694974.0062 | 1253618.6669 | 2694975.308 | 1253618.8991 | 2694976.8078 | 1253619.0121 | 2694978.9036 | 1253618.9583
60 | 2694973.7854 | 1253551.533 | 2694993.1359 | 1253535.9362
61 | 2695012.6009 | 1253520.2471 | 2694993.1359 | 1253535.9362
62 | 2695018.1846 | 1253643.8506 | 2695008.9064 | 1253652.0972 | 2695008.9064 | 1253652.0972
63 | 2695181.2767 | 1253612.5438 | 2695164.6778 | 1253628.2186
64 | 2695205.359 | 1253589.8023 | 2695185.3662 | 1253608.682
65 | 2695181.2767 | 1253612.5438 | 2695185.3662 | 1253608.682
66 | 2695116.2579 | 1253530.9026 | 2695121.1802 | 1253524.1987
67 | 2695068.777 | 1253591.0321 | 2695071.337 | 1253592.7967 | 2695077.1213 | 1253596.7816 | 2695083.9714 | 1253601.7191
68 | 2695068.777 | 1253591.0321 | 2695077.5032 | 1253579.0452
69 | 2695086.477 | 1253568.2205 | 2695084.5958 | 1253569.3022 | 2695077.5032 | 1253579.0452
70 | 2695110.4862 | 1253539.0825 | 2695104.6593 | 1253547.3404 | 2695104.4315 | 1253547.5818
71 | 2695116.2579 | 1253530.9026 | 2695110.4862 | 1253539.0825
72 | 2695103.646 | 1253548.4139 | 2695104.4315 | 1253547.5818
73 | 2695103.646 | 1253548.4139 | 2695093.4461 | 1253559.2711
74 | 2695103.646 | 1253548.4139 | 2695094.0054 | 1253541.6565
75 | 2695093.2619 | 1253559.4672 | 2695093.4461 | 1253559.2711
76 | 2695081.207 | 1253532.6858 | 2695094.0054 | 1253541.6565
77 | 2695086.477 | 1253568.2205 | 2695087.551 | 1253567.6039 | 2695090.6172 | 1253562.2823 | 2695093.2619 | 1253559.4672
78 | 2695059.376 | 1253549.115 | 2695086.477 | 1253568.2205
79 | 2695038.9008 | 1253601.8945 | 2695040.3258 | 1253602.9071 | 2695040.384 | 1253602.833
80 | 2695038.9008 | 1253601.8945 | 2695030.713 | 1253596.0556
81 | 2695038.9008 | 1253601.8945 | 2695034.261 | 1253608.61
82 | 2695015.8022 | 1253585.4222 | 2695030.713 | 1253596.0556
83 | 2695030.662 | 1253613.8193 | 2695034.261 | 1253608.61
84 | 2695030.662 | 1253613.8193 | 2695029.9671 | 1253614.825
85 | 2695022.7541 | 1253625.2649 | 2695029.9671 | 1253614.825
86 | 2694994.0089 | 1253611.7489 | 2694992.7063 | 1253610.1601 | 2694991.8682 | 1253608.7789 | 2694991.2908 | 1253607.135 | 2694990.9384 | 1253605.1167 | 2694990.8746 | 1253603.4477 | 2694990.8832 | 1253601.9689
87 | 2694994.0089 | 1253611.7489 | 2694990.121 | 1253616.0788 | 2694988.4722 | 1253617.2533 | 2694985.7241 | 1253618.2767 | 2694982.4018 | 1253618.8684 | 2694978.9036 | 1253618.9583
88 | 2694991.5546 | 1253596.7764 | 2694991.3812 | 1253597.7402 | 2694990.8832 | 1253601.9689
89 | 2695010.4717 | 1253591.2413 | 2695005.4967 | 1253589.9605 | 2695003.0822 | 1253589.4769 | 2695001.1535 | 1253589.2792 | 2694999.9646 | 1253589.2841
90 | 2695010.4717 | 1253591.2413 | 2695013.1194 | 1253587.5475 | 2695015.8022 | 1253585.4222
91 | 2694997.1008 | 1253589.8128 | 2694997.8138 | 1253589.5481 | 2694999.5008 | 1253589.286 | 2694999.9646 | 1253589.2841
92 | 2695015.8022 | 1253585.4222 | 2695016.8924 | 1253583.8087
93 | 2694991.5546 | 1253596.7764 | 2694991.7541 | 1253595.6668 | 2694992.2211 | 1253594.3066 | 2694992.7683 | 1253593.1255 | 2694992.7683 | 1253593.1255
94 | 2694994.7583 | 1253590.9113 | 2694994.7583 | 1253590.9113 | 2694995.9766 | 1253590.2303 | 2694997.1008 | 1253589.8128
95 | 2695016.8924 | 1253583.8087 | 2695024.8925 | 1253571.9686 | 2695025.5231 | 1253571.2337 | 2695026.2342 | 1253570.6557 | 2695027.0338 | 1253570.2016 | 2695027.9522 | 1253569.8716 | 2695028.0707 | 1253569.8483
96 | 2695028.0707 | 1253569.8483 | 2695028.2304 | 1253569.8168
97 | 2695028.2304 | 1253569.8168 | 2695028.9969 | 1253569.666 | 2695028.9969 | 1253569.666
98 | 2694994.7583 | 1253590.9113 | 2694993.5799 | 1253591.9265 | 2694992.7683 | 1253593.1255
99 | 2695098.5715 | 1253490.3538 | 2695098.1652 | 1253489.4137
100 | 2695103.0248 | 1253500.6554 | 2695098.5715 | 1253490.3538
101 | 2695103.0248 | 1253500.6554 | 2695101.2918 | 1253502.0217
102 | 2695103.0248 | 1253500.6554 | 2695104.5917 | 1253499.4129 | 2695106.7155 | 1253498.2683 | 2695108.5741 | 1253497.6644 | 2695112.6992 | 1253496.7921
103 | 2695096.4593 | 1253505.8318 | 2695101.2918 | 1253502.0217
104 | 2695115.0255 | 1253496.3002 | 2695112.6992 | 1253496.7921
105 | 2695020.0301 | 1253514.2591 | 2695012.6009 | 1253520.2471

## bus_geodata
| x | y | coords
0 | 2695145.2285 | 1253451.1884
1 | 2695146.6145 | 1253450.0765
2 | 2695126.5581 | 1253466.1284
3 | 2695149.6018 | 1253491.4643
4 | 2695160.5583 | 1253515.1795
5 | 2695082.9657 | 1253464.0714
6 | 2695044.7321 | 1253444.5648
7 | 2695095.5716 | 1253483.4141
8 | 2695188.2551 | 1253503.4927
9 | 2695152.6416 | 1253539.1601
10 | 2695025.404 | 1253482.2843
11 | 2694999.9104 | 1253478.6504
12 | 2695036.8198 | 1253500.7263
13 | 2695069.583 | 1253417.9795
14 | 2695096.9917 | 1253486.6991
15 | 2695025.7318 | 1253509.6634
16 | 2695246.6006 | 1253550.8569
17 | 2695233.4938 | 1253563.234
18 | 2695148.4424 | 1253544.5413
19 | 2695162.0353 | 1253545.3491
20 | 2695134.0062 | 1253533.6016
21 | 2695188.9411 | 1253535.2846
22 | 2695127.768 | 1253529.0542
23 | 2695113.4434 | 1253591.8647
24 | 2695105.1509 | 1253603.6369
25 | 2695226.8184 | 1253569.5377
26 | 2695045.7097 | 1253643.1138
27 | 2695034.8619 | 1253636.0365
28 | 2695060.6264 | 1253625.8508
29 | 2695056.7256 | 1253656.3565
30 | 2695047.4041 | 1253665.4141
31 | 2695076.8447 | 1253666.1537
32 | 2695080.9343 | 1253637.9862
33 | 2695067.3233 | 1253629.0586
34 | 2695085.5378 | 1253631.3882
35 | 2695003.7673 | 1253697.7172
36 | 2694965.1594 | 1253716.6686
37 | 2694998.942 | 1253694.9146
38 | 2695105.7718 | 1253685.7001
39 | 2695129.3205 | 1253662.3821
40 | 2695087.422 | 1253673.0858
41 | 2695207.9858 | 1253587.3217
42 | 2695147.9531 | 1253644.2281
43 | 2695110.2568 | 1253647.5223
44 | 2694908.8637 | 1253675.8677
45 | 2694935.3267 | 1253677.8293
46 | 2694904.989 | 1253650.2078
47 | 2694935.3321 | 1253630.2569
48 | 2695155.1555 | 1253637.2106
49 | 2695062.4467 | 1253626.2136
50 | 2695098.9189 | 1253612.4882
51 | 2695030.4901 | 1253633.1841
52 | 2694937.184 | 1253580.836
53 | 2694967.9532 | 1253615.6234
54 | 2694973.7854 | 1253551.533
55 | 2694993.1359 | 1253535.9362
56 | 2695008.9064 | 1253652.0972
57 | 2695131.6845 | 1253620.932
58 | 2695164.6778 | 1253628.2186
59 | 2695205.359 | 1253589.8023
60 | 2695185.3662 | 1253608.682
61 | 2695181.2767 | 1253612.5438
62 | 2695121.1802 | 1253524.1987
63 | 2695083.9714 | 1253601.7191
64 | 2695068.777 | 1253591.0321
65 | 2695077.5032 | 1253579.0452
66 | 2695110.4862 | 1253539.0825
67 | 2695104.4315 | 1253547.5818
68 | 2695116.2579 | 1253530.9026
69 | 2695103.646 | 1253548.4139
70 | 2695093.4461 | 1253559.2711
71 | 2695094.0054 | 1253541.6565
72 | 2695093.2619 | 1253559.4672
73 | 2695081.207 | 1253532.6858
74 | 2695086.477 | 1253568.2205
75 | 2695059.376 | 1253549.115
76 | 2695040.384 | 1253602.833
77 | 2695038.9008 | 1253601.8945
78 | 2695030.713 | 1253596.0556
79 | 2695034.261 | 1253608.61
80 | 2695030.662 | 1253613.8193
81 | 2695029.9671 | 1253614.825
82 | 2695022.7541 | 1253625.2649
83 | 2695018.1846 | 1253643.8506
84 | 2694994.0089 | 1253611.7489
85 | 2694990.8832 | 1253601.9689
86 | 2694978.9036 | 1253618.9583
87 | 2695010.4717 | 1253591.2413
88 | 2694999.9646 | 1253589.2841
89 | 2695015.8022 | 1253585.4222
90 | 2694991.5546 | 1253596.7764
91 | 2694997.1008 | 1253589.8128
92 | 2695016.8924 | 1253583.8087
93 | 2695028.0707 | 1253569.8483
94 | 2695028.2304 | 1253569.8168
95 | 2695028.9969 | 1253569.666
96 | 2694994.7583 | 1253590.9113
97 | 2695098.5715 | 1253490.3538
98 | 2695098.1652 | 1253489.4137
99 | 2695103.0248 | 1253500.6554
100 | 2695101.2918 | 1253502.0217
101 | 2695112.6992 | 1253496.7921
102 | 2695096.4593 | 1253505.8318
103 | 2695115.0255 | 1253496.3002
104 | 2695020.0301 | 1253514.2591
105 | 2695012.6009 | 1253520.2471
106 | 2694992.7683 | 1253593.1255
107 | 2695056.5731 | 1253582.2071

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1