## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_296-3_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_296-3_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_296-3_0_3_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_296-3_0_3_node_2 | 0.4 | n |  | TRUE
4 | bus_LV_296-3_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_296-3_0_3_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_296-3_0_3_node_47 | 0.4 | n |  | TRUE
7 | bus_LV_296-3_0_3_node_46 | 0.4 | n |  | TRUE
8 | bus_LV_296-3_0_3_node_44 | 0.4 | n |  | TRUE
9 | bus_LV_296-3_0_3_node_32 | 0.4 | n |  | TRUE
10 | bus_LV_296-3_0_3_node_31 | 0.4 | n |  | TRUE
11 | bus_LV_296-3_0_3_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_296-3_0_3_node_41 | 0.4 | n |  | TRUE
13 | bus_LV_296-3_0_3_node_45 | 0.4 | n |  | TRUE
14 | bus_LV_296-3_0_3_node_62 | 0.4 | n |  | TRUE
15 | bus_LV_296-3_0_3_node_65 | 0.4 | n |  | TRUE
16 | bus_LV_296-3_0_3_node_21 | 0.4 | n |  | TRUE
17 | bus_LV_296-3_0_3_node_29 | 0.4 | n |  | TRUE
18 | bus_LV_296-3_0_3_node_43 | 0.4 | n |  | TRUE
19 | bus_LV_296-3_0_3_node_39 | 0.4 | n |  | TRUE
20 | bus_LV_296-3_0_3_node_8 | 0.4 | n |  | TRUE
21 | bus_LV_296-3_0_3_node_9 | 0.4 | n |  | TRUE
22 | bus_LV_296-3_0_3_node_10 | 0.4 | n |  | TRUE
23 | bus_LV_296-3_0_3_node_11 | 0.4 | n |  | TRUE
24 | bus_LV_296-3_0_3_node_12 | 0.4 | n |  | TRUE
25 | bus_LV_296-3_0_3_node_13 | 0.4 | n |  | TRUE
26 | bus_LV_296-3_0_3_node_101 | 0.4 | n |  | TRUE
27 | bus_LV_296-3_0_3_node_100 | 0.4 | n |  | TRUE
28 | bus_LV_296-3_0_3_node_16 | 0.4 | n |  | TRUE
29 | bus_LV_296-3_0_3_node_99 | 0.4 | n |  | TRUE
30 | bus_LV_296-3_0_3_node_102 | 0.4 | n |  | TRUE
31 | bus_LV_296-3_0_3_node_14 | 0.4 | n |  | TRUE
32 | bus_LV_296-3_0_3_node_15 | 0.4 | n |  | TRUE
33 | bus_LV_296-3_0_3_node_17 | 0.4 | n |  | TRUE
34 | bus_LV_296-3_0_3_node_23 | 0.4 | n |  | TRUE
35 | bus_LV_296-3_0_3_node_18 | 0.4 | n |  | TRUE
36 | bus_LV_296-3_0_3_node_35 | 0.4 | n |  | TRUE
37 | bus_LV_296-3_0_3_node_33 | 0.4 | n |  | TRUE
38 | bus_LV_296-3_0_3_node_24 | 0.4 | n |  | TRUE
39 | bus_LV_296-3_0_3_node_25 | 0.4 | n |  | TRUE
40 | bus_LV_296-3_0_3_node_34 | 0.4 | n |  | TRUE
41 | bus_LV_296-3_0_3_node_53 | 0.4 | n |  | TRUE
42 | bus_LV_296-3_0_3_node_40 | 0.4 | n |  | TRUE
43 | bus_LV_296-3_0_3_node_37 | 0.4 | n |  | TRUE
44 | bus_LV_296-3_0_3_node_26 | 0.4 | n |  | TRUE
45 | bus_LV_296-3_0_3_node_27 | 0.4 | n |  | TRUE
46 | bus_LV_296-3_0_3_node_28 | 0.4 | n |  | TRUE
47 | bus_LV_296-3_0_3_node_42 | 0.4 | n |  | TRUE
48 | bus_LV_296-3_0_3_node_36 | 0.4 | n |  | TRUE
49 | bus_LV_296-3_0_3_node_38 | 0.4 | n |  | TRUE
50 | bus_LV_296-3_0_3_node_59 | 0.4 | n |  | TRUE
51 | bus_LV_296-3_0_3_node_64 | 0.4 | n |  | TRUE
52 | bus_LV_296-3_0_3_node_48 | 0.4 | n |  | TRUE
53 | bus_LV_296-3_0_3_node_49 | 0.4 | n |  | TRUE
54 | bus_LV_296-3_0_3_node_50 | 0.4 | n |  | TRUE
55 | bus_LV_296-3_0_3_node_51 | 0.4 | n |  | TRUE
56 | bus_LV_296-3_0_3_node_52 | 0.4 | n |  | TRUE
57 | bus_LV_296-3_0_3_node_57 | 0.4 | n |  | TRUE
58 | bus_LV_296-3_0_3_node_87 | 0.4 | n |  | TRUE
59 | bus_LV_296-3_0_3_node_55 | 0.4 | n |  | TRUE
60 | bus_LV_296-3_0_3_node_66 | 0.4 | n |  | TRUE
61 | bus_LV_296-3_0_3_node_88 | 0.4 | n |  | TRUE
62 | bus_LV_296-3_0_3_node_58 | 0.4 | n |  | TRUE
63 | bus_LV_296-3_0_3_node_67 | 0.4 | n |  | TRUE
64 | bus_LV_296-3_0_3_node_89 | 0.4 | n |  | TRUE
65 | bus_LV_296-3_0_3_node_60 | 0.4 | n |  | TRUE
66 | bus_LV_296-3_0_3_node_61 | 0.4 | n |  | TRUE
67 | bus_LV_296-3_0_3_node_63 | 0.4 | n |  | TRUE
68 | bus_LV_296-3_0_3_node_85 | 0.4 | n |  | TRUE
69 | bus_LV_296-3_0_3_node_84 | 0.4 | n |  | TRUE
70 | bus_LV_296-3_0_3_node_68 | 0.4 | n |  | TRUE
71 | bus_LV_296-3_0_3_node_69 | 0.4 | n |  | TRUE
72 | bus_LV_296-3_0_3_node_70 | 0.4 | n |  | TRUE
73 | bus_LV_296-3_0_3_node_71 | 0.4 | n |  | TRUE
74 | bus_LV_296-3_0_3_node_72 | 0.4 | n |  | TRUE
75 | bus_LV_296-3_0_3_node_81 | 0.4 | n |  | TRUE
76 | bus_LV_296-3_0_3_node_82 | 0.4 | n |  | TRUE
77 | bus_LV_296-3_0_3_node_73 | 0.4 | n |  | TRUE
78 | bus_LV_296-3_0_3_node_74 | 0.4 | n |  | TRUE
79 | bus_LV_296-3_0_3_node_75 | 0.4 | n |  | TRUE
80 | bus_LV_296-3_0_3_node_76 | 0.4 | n |  | TRUE
81 | bus_LV_296-3_0_3_node_77 | 0.4 | n |  | TRUE
82 | bus_LV_296-3_0_3_node_78 | 0.4 | n |  | TRUE
83 | bus_LV_296-3_0_3_node_83 | 0.4 | n |  | TRUE
84 | bus_LV_296-3_0_3_node_86 | 0.4 | n |  | TRUE
85 | bus_LV_296-3_0_3_node_79 | 0.4 | n |  | TRUE
86 | bus_LV_296-3_0_3_node_92 | 0.4 | n |  | TRUE
87 | bus_LV_296-3_0_3_node_94 | 0.4 | n |  | TRUE
88 | bus_LV_296-3_0_3_node_90 | 0.4 | n |  | TRUE
89 | bus_LV_296-3_0_3_node_93 | 0.4 | n |  | TRUE
90 | bus_LV_296-3_0_3_node_98 | 0.4 | n |  | TRUE
91 | bus_LV_296-3_0_3_node_91 | 0.4 | n |  | TRUE
92 | bus_LV_296-3_0_3_node_97 | 0.4 | n |  | TRUE
93 | bus_LV_296-3_0_3_node_96 | 0.4 | n |  | TRUE
94 | bus_LV_296-3_0_3_node_95 | 0.4 | n |  | TRUE
95 | bus_MV_362_0_node_210 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_296-3_0_3_load_0 | 0 | 0.0035194 | 0.00088204 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_296-3_0_3_load_1 | 1 | 0.00075233 | 0.00018855 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_296-3_0_3_load_4 | 4 | 0.0083337 | 0.0020886 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_296-3_0_3_load_46 | 7 | 0.0025636 | 0.00064249 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_296-3_0_3_load_32 | 9 | 0.0015641 | 0.000392 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_296-3_0_3_load_31 | 10 | 0.0091722 | 0.0022988 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_296-3_0_3_load_45 | 13 | 0.0023035 | 0.00057732 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_296-3_0_3_load_62 | 14 | 0.00069003 | 0.00017294 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_296-3_0_3_load_65 | 15 | 0.00047751 | 0.00011967 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_296-3_0_3_load_29 | 17 | 0.0086268 | 0.0021621 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_296-3_0_3_load_43 | 18 | 0.0037052 | 0.0009286 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_296-3_0_3_load_39 | 19 | 0.001718 | 0.00043056 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_296-3_0_3_load_8 | 20 | 0.0037678 | 0.00094429 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_296-3_0_3_load_9 | 21 | 0.0012653 | 0.00031711 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_296-3_0_3_load_10 | 22 | 0.00036776 | 9.217e-05 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_296-3_0_3_load_11 | 23 | 0.00024592 | 6.1635e-05 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_296-3_0_3_load_101 | 26 | 0.002569 | 0.00064386 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_296-3_0_3_load_100 | 27 | 0.00012459 | 3.1224e-05 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_296-3_0_3_load_99 | 29 | 0.0002025 | 5.0752e-05 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_296-3_0_3_load_102 | 30 | 0.0011498 | 0.00028817 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_296-3_0_3_load_14 | 31 | 0.00079856 | 0.00020014 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_296-3_0_3_load_15 | 32 | 0.000233 | 5.8396e-05 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_296-3_0_3_load_17 | 33 | 0.00018439 | 4.6212e-05 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_296-3_0_3_load_23 | 34 | 0.00079038 | 0.00019809 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_296-3_0_3_load_35 | 36 | 0.00043405 | 0.00010878 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_296-3_0_3_load_33 | 37 | 0.0006218 | 0.00015584 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_296-3_0_3_load_24 | 38 | 0.00039781 | 9.97e-05 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_296-3_0_3_load_25 | 39 | 0.00032751 | 8.2081e-05 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_296-3_0_3_load_40 | 42 | 0.00036296 | 9.0967e-05 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_296-3_0_3_load_37 | 43 | 0.00069833 | 0.00017502 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_296-3_0_3_load_26 | 44 | 0.01903 | 0.0047693 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_296-3_0_3_load_27 | 45 | 0.0055519 | 0.0013914 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_296-3_0_3_load_28 | 46 | 0.0031909 | 0.00079972 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_296-3_0_3_load_42 | 47 | 0.0015247 | 0.00038212 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_296-3_0_3_load_36 | 48 | 0.0012747 | 0.00031947 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_296-3_0_3_load_38 | 49 | 0.0052767 | 0.0013225 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_296-3_0_3_load_64 | 51 | 0.00085758 | 0.00021493 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_296-3_0_3_load_48 | 52 | 0.0021113 | 0.00052914 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_296-3_0_3_load_49 | 53 | 0.00091155 | 0.00022846 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_296-3_0_3_load_51 | 55 | 0.00062377 | 0.00015633 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_296-3_0_3_load_52 | 56 | 0.0030889 | 0.00077416 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_296-3_0_3_load_57 | 57 | 0.00274 | 0.00068671 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_296-3_0_3_load_87 | 58 | 0.00094154 | 0.00023597 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_296-3_0_3_load_88 | 61 | 0.0058168 | 0.0014578 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_296-3_0_3_load_67 | 63 | 0.0013918 | 0.00034881 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_296-3_0_3_load_89 | 64 | 0.0011447 | 0.00028688 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_296-3_0_3_load_61 | 66 | 0.0013429 | 0.00033656 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_296-3_0_3_load_63 | 67 | 0.0006949 | 0.00017416 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_296-3_0_3_load_85 | 68 | 0.0007443 | 0.00018654 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_296-3_0_3_load_84 | 69 | 0.00080978 | 0.00020295 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_296-3_0_3_load_68 | 70 | 0.0012948 | 0.0003245 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_296-3_0_3_load_69 | 71 | 0.00068417 | 0.00017147 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_296-3_0_3_load_70 | 72 | 0.00014489 | 3.6314e-05 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_296-3_0_3_load_71 | 73 | 0.001425 | 0.00035713 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_296-3_0_3_load_72 | 74 | 0.00075152 | 0.00018835 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_296-3_0_3_load_81 | 75 | 0.0021294 | 0.00053368 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_296-3_0_3_load_82 | 76 | 0.0012396 | 0.00031068 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_296-3_0_3_load_73 | 77 | 0.0063728 | 0.0015972 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_296-3_0_3_load_76 | 80 | 0.00027439 | 6.8769e-05 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_296-3_0_3_load_77 | 81 | 0.00025897 | 6.4905e-05 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_296-3_0_3_load_78 | 82 | 0.00070642 | 0.00017705 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_296-3_0_3_load_83 | 83 | 0.00016018 | 4.0146e-05 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_296-3_0_3_load_86 | 84 | 0.0001084 | 2.7169e-05 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_296-3_0_3_load_90 | 88 | 0.00029379 | 7.3631e-05 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_296-3_0_3_load_98 | 90 | 0.00020578 | 5.1572e-05 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_296-3_0_3_load_91 | 91 | 0.0011069 | 0.00027741 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_296-3_0_3_load_97 | 92 | 0.00027116 | 6.7959e-05 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_296-3_0_3_load_96 | 93 | 0.0005387 | 0.00013501 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_296-3_0_3_load_95 | 94 | 0.001107 | 0.00027745 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 3 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_296-3_0_3_line_0 |  | 0 | 1 | 0.04505 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_296-3_0_3_line_1 |  | 1 | 2 | 0.022294 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_296-3_0_3_line_2 |  | 2 | 6 | 0.019294 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_296-3_0_3_line_3 |  | 2 | 7 | 0.03112 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_296-3_0_3_line_4 |  | 3 | 4 | 0.243 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
5 | LV_296-3_0_3_line_5 |  | 3 | 5 | 0.056654 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_296-3_0_3_line_6 |  | 4 | 8 | 0.16104 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
7 | LV_296-3_0_3_line_7 |  | 5 | 9 | 0.069481 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_296-3_0_3_line_8 |  | 5 | 10 | 0.014661 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_296-3_0_3_line_9 |  | 6 | 14 | 0.017822 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_296-3_0_3_line_10 |  | 6 | 15 | 0.026106 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_296-3_0_3_line_11 |  | 8 | 16 | 0.031269 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
12 | LV_296-3_0_3_line_12 |  | 9 | 13 | 0.023882 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_296-3_0_3_line_13 |  | 10 | 17 | 0.0037578 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_296-3_0_3_line_14 |  | 11 | 12 | 0.016249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_296-3_0_3_line_15 |  | 11 | 13 | 0.024019 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_296-3_0_3_line_16 |  | 12 | 18 | 0.035848 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_296-3_0_3_line_17 |  | 12 | 19 | 0.013507 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_296-3_0_3_line_18 |  | 14 | 50 | 0.008176 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_296-3_0_3_line_19 |  | 15 | 51 | 0.01979 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_296-3_0_3_line_20 |  | 16 | 30 | 0.13478 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
21 | LV_296-3_0_3_line_21 |  | 17 | 45 | 0.017411 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_296-3_0_3_line_22 |  | 18 | 47 | 4.1067e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_296-3_0_3_line_23 |  | 19 | 49 | 0.020543 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_296-3_0_3_line_24 |  | 20 | 21 | 0.0083865 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_296-3_0_3_line_25 |  | 20 | 22 | 0.00534 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_296-3_0_3_line_26 |  | 21 | 23 | 0.011147 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_296-3_0_3_line_27 |  | 22 | 24 | 0.025116 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_296-3_0_3_line_28 |  | 23 | 25 | 0.079262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_296-3_0_3_line_29 |  | 24 | 26 | 0.0091152 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_296-3_0_3_line_30 |  | 24 | 27 | 0.012399 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_296-3_0_3_line_31 |  | 25 | 28 | 0.02311 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_296-3_0_3_line_32 |  | 27 | 29 | 0.012706 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_296-3_0_3_line_33 |  | 28 | 31 | 0.035236 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_296-3_0_3_line_34 |  | 30 | 41 | 0.0086829 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
35 | LV_296-3_0_3_line_35 |  | 31 | 32 | 0.014309 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_296-3_0_3_line_36 |  | 32 | 33 | 0.006025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_296-3_0_3_line_37 |  | 33 | 34 | 0.01017 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_296-3_0_3_line_38 |  | 34 | 38 | 0.015058 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_296-3_0_3_line_39 |  | 35 | 36 | 0.005331 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_296-3_0_3_line_40 |  | 35 | 37 | 0.023576 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_296-3_0_3_line_41 |  | 36 | 39 | 0.019827 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_296-3_0_3_line_42 |  | 37 | 40 | 0.019803 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_296-3_0_3_line_43 |  | 38 | 39 | 0.016657 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_296-3_0_3_line_44 |  | 40 | 48 | 0.034695 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_296-3_0_3_line_45 |  | 40 | 43 | 0.041253 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_296-3_0_3_line_46 |  | 41 | 59 | 0.41562 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_296-3_0_3_line_47 |  | 41 | 60 | 0.045303 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_296-3_0_3_line_48 |  | 42 | 43 | 0.0023144 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_296-3_0_3_line_49 |  | 44 | 45 | 0.00086724 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_296-3_0_3_line_50 |  | 44 | 46 | 0.016427 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_296-3_0_3_line_51 |  | 48 | 49 | 0.0095626 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_296-3_0_3_line_52 |  | 50 | 66 | 0.0020241 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_296-3_0_3_line_53 |  | 51 | 60 | 0.141 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_296-3_0_3_line_54 |  | 52 | 53 | 0.025118 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_296-3_0_3_line_55 |  | 52 | 54 | 0.14905 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_296-3_0_3_line_56 |  | 53 | 55 | 0.019734 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_296-3_0_3_line_57 |  | 54 | 56 | 0.11148 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_296-3_0_3_line_58 |  | 55 | 57 | 0.008439 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_296-3_0_3_line_59 |  | 56 | 58 | 0.0023499 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_296-3_0_3_line_60 |  | 57 | 62 | 0.014972 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_296-3_0_3_line_61 |  | 59 | 61 | 0.076642 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_296-3_0_3_line_62 |  | 60 | 63 | 0.070756 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_296-3_0_3_line_63 |  | 61 | 64 | 0.045935 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_296-3_0_3_line_64 |  | 62 | 65 | 0.021108 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_296-3_0_3_line_65 |  | 65 | 67 | 0.025344 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_296-3_0_3_line_66 |  | 65 | 66 | 0.036143 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_296-3_0_3_line_67 |  | 67 | 68 | 0.0013251 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_296-3_0_3_line_68 |  | 68 | 69 | 0.0057543 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_296-3_0_3_line_69 |  | 69 | 73 | 0.0074583 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_296-3_0_3_line_70 |  | 70 | 71 | 0.019086 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_296-3_0_3_line_71 |  | 70 | 72 | 0.0028412 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_296-3_0_3_line_72 |  | 71 | 73 | 0.018584 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_296-3_0_3_line_73 |  | 72 | 74 | 0.0072868 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_296-3_0_3_line_74 |  | 74 | 75 | 0.012724 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_296-3_0_3_line_75 |  | 75 | 76 | 0.0031705 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_296-3_0_3_line_76 |  | 76 | 83 | 0.0028265 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_296-3_0_3_line_77 |  | 77 | 78 | 0.046788 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_296-3_0_3_line_78 |  | 77 | 79 | 0.0029099 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_296-3_0_3_line_79 |  | 78 | 80 | 0.014583 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_296-3_0_3_line_80 |  | 78 | 81 | 0.0076044 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_296-3_0_3_line_81 |  | 79 | 82 | 0.026681 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_296-3_0_3_line_82 |  | 80 | 83 | 0.011117 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_296-3_0_3_line_83 |  | 81 | 84 | 0.01336 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_296-3_0_3_line_84 |  | 84 | 85 | 0.094289 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_296-3_0_3_line_85 |  | 85 | 86 | 0.21307 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_296-3_0_3_line_86 |  | 86 | 87 | 0.34261 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_296-3_0_3_line_87 |  | 86 | 88 | 0.14057 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_296-3_0_3_line_88 |  | 87 | 92 | 0.1237 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_296-3_0_3_line_89 |  | 88 | 91 | 0.0064448 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_296-3_0_3_line_90 |  | 89 | 90 | 0.055836 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_296-3_0_3_line_91 |  | 89 | 91 | 0.062392 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_296-3_0_3_line_92 |  | 92 | 93 | 0.022126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_296-3_0_3_line_93 |  | 93 | 94 | 0.010694 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_296-3_0_3_trafo_2 | 0.63 MVA 20/0.4 kV | 95 | 3 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21
0 | 2698464.4322 | 1251966.3052 | 2698464.9779 | 1251974.4407 | 2698466.5799 | 1251989.3124 | 2698469.7343 | 1252011.0234
1 | 2698472.9398 | 1252033.0859 | 2698469.7343 | 1252011.0234
2 | 2698471.2481 | 1252052.2062 | 2698472.0668 | 1252049.2731 | 2698472.8668 | 1252042.014 | 2698473.172 | 1252037.282 | 2698472.9398 | 1252033.0859
3 | 2698472.9398 | 1252033.0859 | 2698500.2866 | 1252018.2323
4 | 2698574.1594 | 1251729.0515 | 2698544.8566 | 1251734.8687 | 2698539.0365 | 1251735.7838 | 2698533.798 | 1251736.2192 | 2698516.1313 | 1251736.3812 | 2698511.8974 | 1251736.7778 | 2698508.3524 | 1251737.9642 | 2698505.3968 | 1251740.0278 | 2698444.5566 | 1251794.8266 | 2698441.3438 | 1251796.4634 | 2698437.8993 | 1251797.0622 | 2698434.0719 | 1251796.6205 | 2698430.4432 | 1251795.5816 | 2698405.8172 | 1251785.2756 | 2698402.4044 | 1251784.4183 | 2698399.6584 | 1251784.317 | 2698396.6881 | 1251784.9905 | 2698393.8087 | 1251786.555 | 2698367.1344 | 1251811.9375
5 | 2698588.6728 | 1251674.361 | 2698586.1528 | 1251680.6351 | 2698583.5618 | 1251689.3544 | 2698581.3762 | 1251699.1146 | 2698574.1594 | 1251729.0515
6 | 2698245.6802 | 1251768.0049 | 2698255.4751 | 1251778.2087 | 2698298.2077 | 1251823.2417 | 2698300.8047 | 1251825.4977 | 2698310.871 | 1251832.5258 | 2698313.7403 | 1251834.7529 | 2698316.2434 | 1251837.2075 | 2698318.1754 | 1251838.5962 | 2698320.7769 | 1251839.6735 | 2698323.0805 | 1251840.0454 | 2698334.6315 | 1251839.0362 | 2698337.2076 | 1251838.4563 | 2698339.6923 | 1251837.4746 | 2698341.7458 | 1251836.0964 | 2698367.1344 | 1251811.9375
7 | 2698588.6728 | 1251674.361 | 2698589.9327 | 1251671.235 | 2698593.3795 | 1251663.7087 | 2698596.9692 | 1251657.1188 | 2698601.3799 | 1251650.1867 | 2698624.7519 | 1251615.155
8 | 2698588.6728 | 1251674.361 | 2698575.1471 | 1251668.7035
9 | 2698471.2481 | 1252052.2062 | 2698473.1526 | 1252055.6962 | 2698474.9638 | 1252058.8955 | 2698480.5662 | 1252067.3834
10 | 2698471.2481 | 1252052.2062 | 2698466.2458 | 1252050.7108 | 2698462.3651 | 1252049.4008 | 2698459.6021 | 1252048.0539 | 2698457.149 | 1252046.2339 | 2698449.5995 | 1252038.7072
11 | 2698218.8268 | 1251784.1058 | 2698231.3201 | 1251775.8953 | 2698245.6802 | 1251768.0049
12 | 2698624.7519 | 1251615.155 | 2698635.3369 | 1251599.2895 | 2698637.7277 | 1251595.1168
13 | 2698571.6804 | 1251667.2532 | 2698573.7771 | 1251668.1305 | 2698575.1471 | 1251668.7035
14 | 2698644.3485 | 1251572.207 | 2698644.3665 | 1251567.0477 | 2698643.8133 | 1251562.1902 | 2698643.1233 | 1251556.0295
15 | 2698644.3485 | 1251572.207 | 2698643.7127 | 1251577.2894 | 2698642.672 | 1251582.6652 | 2698640.7422 | 1251588.3931 | 2698638.4546 | 1251593.8482 | 2698637.7277 | 1251595.1168
16 | 2698643.1233 | 1251556.0295 | 2698609.1165 | 1251567.3695
17 | 2698643.1233 | 1251556.0295 | 2698641.0644 | 1251545.4869 | 2698640.277 | 1251542.836
18 | 2698485.6383 | 1252073.7957 | 2698480.5889 | 1252067.4179 | 2698480.5662 | 1252067.3834
19 | 2698435.6598 | 1252024.6603 | 2698439.477 | 1252028.6153 | 2698449.5995 | 1252038.7072
20 | 2698218.8268 | 1251784.1058 | 2698289.3804 | 1251830.2453 | 2698298.3074 | 1251836.7874 | 2698306.6887 | 1251843.465 | 2698313.9324 | 1251850.0014 | 2698320.4499 | 1251857.0929 | 2698325.2038 | 1251864.0106 | 2698325.643 | 1251864.8055
21 | 2698555.6183 | 1251660.5325 | 2698571.6804 | 1251667.2532
22 | 2698609.1165 | 1251567.3695 | 2698609.0776 | 1251567.3825
23 | 2698633.564 | 1251523.4324 | 2698635.0479 | 1251527.3614 | 2698638.2695 | 1251536.0774 | 2698640.277 | 1251542.836
24 | 2698363.8957 | 1251441.1788 | 2698372.0654 | 1251443.073
25 | 2698363.8957 | 1251441.1788 | 2698358.6936 | 1251439.9727
26 | 2698372.0654 | 1251443.073 | 2698382.9245 | 1251445.5907
27 | 2698334.2268 | 1251434.3 | 2698358.6936 | 1251439.9727
28 | 2698460.2089 | 1251463.1812 | 2698429.3083 | 1251456.0511 | 2698395.7564 | 1251448.5658 | 2698382.9245 | 1251445.5907
29 | 2698334.2268 | 1251434.3 | 2698325.1315 | 1251433.6987
30 | 2698334.2268 | 1251434.3 | 2698335.4662 | 1251421.9627
31 | 2698482.3289 | 1251469.9096 | 2698476.6008 | 1251467.5459 | 2698471.21 | 1251465.7771 | 2698460.2089 | 1251463.1812
32 | 2698336.7362 | 1251409.3207 | 2698335.4662 | 1251421.9627
33 | 2698482.3289 | 1251469.9096 | 2698517.0829 | 1251464.1023
34 | 2698329.8426 | 1251872.4053 | 2698325.643 | 1251864.8055
35 | 2698517.0829 | 1251464.1023 | 2698531.1961 | 1251461.7441
36 | 2698537.1387 | 1251460.7511 | 2698531.1961 | 1251461.7441
37 | 2698537.1387 | 1251460.7511 | 2698547.1696 | 1251459.075
38 | 2698547.1696 | 1251459.075 | 2698552.9579 | 1251458.1078 | 2698561.9239 | 1251456.0954
39 | 2698601.0234 | 1251442.2059 | 2698598.2168 | 1251444.372 | 2698596.6699 | 1251445.2641
40 | 2698601.0234 | 1251442.2059 | 2698604.1542 | 1251446.8617 | 2698610.7055 | 1251463.5901
41 | 2698596.6699 | 1251445.2641 | 2698594.8249 | 1251446.3282 | 2698590.9172 | 1251447.9756 | 2698580.8794 | 1251450.9999 | 2698578.0114 | 1251451.783
42 | 2698617.9269 | 1251482.0296 | 2698610.7055 | 1251463.5901
43 | 2698561.9239 | 1251456.0954 | 2698563.5662 | 1251455.7268 | 2698578.0114 | 1251451.783
44 | 2698617.9269 | 1251482.0296 | 2698630.1853 | 1251514.4866
45 | 2698617.9269 | 1251482.0296 | 2698578.686 | 1251494.7565
46 | 2698027.1524 | 1251946.8599 | 2698064.903 | 1251934.4971 | 2698114.6529 | 1251991.9992 | 2698153.7103 | 1252030.1205 | 2698155.841 | 1252032.7245 | 2698157.6217 | 1252036.4124 | 2698329.8426 | 1251872.4053
47 | 2698329.8426 | 1251872.4053 | 2698352.5459 | 1251911.6463
48 | 2698578.686 | 1251494.7565 | 2698576.4846 | 1251495.4705
49 | 2698555.6183 | 1251660.5325 | 2698554.8182 | 1251660.1978
50 | 2698554.8182 | 1251660.1978 | 2698554.8182 | 1251660.1978 | 2698539.8993 | 1251653.3227
51 | 2698630.1853 | 1251514.4866 | 2698633.564 | 1251523.4324
52 | 2698485.6383 | 1252073.7957 | 2698487.0442 | 1252075.2519
53 | 2698352.5459 | 1251911.6463 | 2698377.2799 | 1251955.8584 | 2698397.2854 | 1251982.5226 | 2698425.1554 | 1252013.7768 | 2698435.6598 | 1252024.6603
54 | 2698439.4643 | 1252150.6486 | 2698452.3506 | 1252145.5102 | 2698457.9978 | 1252142.713 | 2698462.0801 | 1252139.9252
55 | 2698327.0143 | 1252244.5182 | 2698337.7079 | 1252227.3711 | 2698345.5929 | 1252216.6268 | 2698355.3444 | 1252206.6697 | 2698370.973 | 1252193.2519 | 2698399.2238 | 1252172.4712 | 2698415.6464 | 1252161.7021 | 2698432.0852 | 1252153.591 | 2698439.4643 | 1252150.6486
56 | 2698477.5579 | 1252127.7028 | 2698471.9041 | 1252132.5805 | 2698463.0369 | 1252139.2717 | 2698462.0801 | 1252139.9252
57 | 2698327.0143 | 1252244.5182 | 2698305.0298 | 1252294.8042 | 2698296.8003 | 1252310.3911 | 2698289.6466 | 1252323.9275 | 2698280.0306 | 1252345.5525
58 | 2698483.8899 | 1252122.1272 | 2698482.8551 | 1252123.1328 | 2698477.5579 | 1252127.7028
59 | 2698279.0759 | 1252347.6997 | 2698280.0306 | 1252345.5525
60 | 2698493.0973 | 1252110.4708 | 2698489.0313 | 1252117.1307 | 2698483.8899 | 1252122.1272
61 | 2698027.1524 | 1251946.8599 | 2698011.1606 | 1251999.1032 | 2698004.7808 | 1252001.4662 | 2697990.1208 | 1251997.4408
62 | 2698352.5459 | 1251911.6463 | 2698362.9978 | 1251905.9041 | 2698368.8208 | 1251904.3551 | 2698373.8031 | 1251903.8819 | 2698379.1798 | 1251904.2048 | 2698384.8342 | 1251905.533 | 2698390.8811 | 1251907.3126 | 2698395.0976 | 1251907.505 | 2698399.0797 | 1251906.8039 | 2698403.0986 | 1251904.8024 | 2698416.8934 | 1251893.6783
63 | 2697990.1208 | 1251997.4408 | 2697973.0634 | 1251992.7571 | 2697967.3933 | 1252004.6949 | 2697952.9479 | 1252000.5444
64 | 2698512.1438 | 1252101.258 | 2698493.0973 | 1252110.4708
65 | 2698512.1438 | 1252101.258 | 2698521.7224 | 1252110.7914 | 2698530.1061 | 1252119.1382
66 | 2698512.1438 | 1252101.258 | 2698504.219 | 1252093.042 | 2698487.0442 | 1252075.2519
67 | 2698531.0452 | 1252120.0731 | 2698530.1061 | 1252119.1382
68 | 2698535.1029 | 1252124.1528 | 2698534.3081 | 1252123.3217 | 2698531.0452 | 1252120.0731
69 | 2698535.1029 | 1252124.1528 | 2698540.2571 | 1252129.5436
70 | 2698565.8129 | 1252157.1879 | 2698561.2319 | 1252151.4806 | 2698553.0998 | 1252142.9755
71 | 2698565.8129 | 1252157.1879 | 2698567.5914 | 1252159.4037 | 2698567.5914 | 1252159.4037
72 | 2698553.0998 | 1252142.9755 | 2698540.2571 | 1252129.5436
73 | 2698571.914 | 1252165.2699 | 2698567.5914 | 1252159.4037
74 | 2698578.8231 | 1252175.9379 | 2698574.7587 | 1252169.1306 | 2698571.914 | 1252165.2699
75 | 2698578.8231 | 1252175.9379 | 2698580.4484 | 1252178.6601
76 | 2698580.4484 | 1252178.6601 | 2698580.8611 | 1252179.3513 | 2698581.8479 | 1252181.1155
77 | 2698594.7884 | 1252203.313 | 2698572.7564 | 1252230.9127 | 2698567.6368 | 1252236.0205 | 2698564.2373 | 1252238.5556
78 | 2698561.9046 | 1252240.2952 | 2698564.2373 | 1252238.5556
79 | 2698594.7884 | 1252203.313 | 2698589.2685 | 1252194.3808 | 2698587.2755 | 1252190.818
80 | 2698594.7884 | 1252203.313 | 2698599.5475 | 1252209.2441
81 | 2698561.9046 | 1252240.2952 | 2698554.4265 | 1252244.2517 | 2698547.8644 | 1252246.6889 | 2698537.0866 | 1252249.8105
82 | 2698587.2755 | 1252190.818 | 2698581.8479 | 1252181.1155
83 | 2698599.5475 | 1252209.2441 | 2698600.0608 | 1252209.8837 | 2698605.1354 | 1252215.1835 | 2698608.8995 | 1252218.7746
84 | 2698673.9428 | 1252286.8077 | 2698661.6447 | 1252270.6457 | 2698619.6314 | 1252229.0134 | 2698608.8995 | 1252218.7746
85 | 2698673.9428 | 1252286.8077 | 2698682.0063 | 1252288.4877 | 2698692.9823 | 1252292.9407 | 2698705.4786 | 1252297.2078 | 2698720.7216 | 1252301.5207 | 2698735.8544 | 1252304.7421 | 2698752.0864 | 1252307.6816 | 2698770.6659 | 1252310.6158 | 2698792.4824 | 1252313.1593 | 2698810.3553 | 1252314.5584 | 2698825.6402 | 1252314.5466 | 2698859.9555 | 1252313.9631 | 2698883.5454 | 1252312.0107
86 | 2698883.5454 | 1252312.0107 | 2698859.9555 | 1252313.9631 | 2698825.6402 | 1252314.5466 | 2698829.4616 | 1252318.0354 | 2698843.7084 | 1252323.6886 | 2698855.4299 | 1252327.3314 | 2698873.5176 | 1252332.593 | 2698887.6952 | 1252336.0545 | 2698898.3867 | 1252339.4579 | 2698906.3391 | 1252343.2603 | 2698913.9823 | 1252347.9471 | 2698922.5265 | 1252354.7285 | 2698941.3435 | 1252370.5329 | 2698951.4855 | 1252380.1654 | 2698967.7134 | 1252397.3278 | 2699008.264 | 1252442.7078 | 2699013.9059 | 1252447.9062 | 2699019.644 | 1252451.8608 | 2699027.3236 | 1252455.7144 | 2699035.4845 | 1252458.3195 | 2699044.9236 | 1252459.8674 | 2699058.9372 | 1252461.3807
87 | 2698883.5454 | 1252312.0107 | 2698883.4295 | 1252296.3519 | 2698886.1146 | 1252280.651 | 2698891.7592 | 1252258.1385 | 2698899.0827 | 1252231.8178 | 2698910.1271 | 1252194.6728 | 2698915.6529 | 1252175.7615
88 | 2699058.9372 | 1252461.3807 | 2699055.3477 | 1252471.5621 | 2699052.7198 | 1252476.5999 | 2699049.4745 | 1252481.0936 | 2699045.8485 | 1252484.8916 | 2699008.0255 | 1252520.6099 | 2698999.3485 | 1252529.9167 | 2698992.5882 | 1252538.7997 | 2698987.0896 | 1252547.1589 | 2698982.0041 | 1252556.3621
89 | 2698915.6529 | 1252175.7615 | 2698917.4605 | 1252169.5754
90 | 2698855.6815 | 1252164.4403 | 2698858.7549 | 1252153.9611 | 2698871.8912 | 1252111.0092
91 | 2698855.6815 | 1252164.4403 | 2698864.9257 | 1252165.0283 | 2698882.1735 | 1252167.7294 | 2698901.8659 | 1252170.4824 | 2698910.6642 | 1252171.1076 | 2698917.4605 | 1252169.5754 | 2698917.4605 | 1252169.5754
92 | 2698982.0041 | 1252556.3621 | 2698980.575 | 1252558.9483 | 2698971.2828 | 1252575.7172
93 | 2698966.0996 | 1252585.071 | 2698971.2828 | 1252575.7172

## bus_geodata
| x | y | coords
0 | 2698464.4322 | 1251966.3052
1 | 2698469.7343 | 1252011.0234
2 | 2698472.9398 | 1252033.0859
3 | 2698574.1594 | 1251729.0515
4 | 2698367.1344 | 1251811.9375
5 | 2698588.6728 | 1251674.361
6 | 2698471.2481 | 1252052.2062
7 | 2698500.2866 | 1252018.2323
8 | 2698245.6802 | 1251768.0049
9 | 2698624.7519 | 1251615.155
10 | 2698575.1471 | 1251668.7035
11 | 2698644.3485 | 1251572.207
12 | 2698643.1233 | 1251556.0295
13 | 2698637.7277 | 1251595.1168
14 | 2698480.5662 | 1252067.3834
15 | 2698449.5995 | 1252038.7072
16 | 2698218.8268 | 1251784.1058
17 | 2698571.6804 | 1251667.2532
18 | 2698609.1165 | 1251567.3695
19 | 2698640.277 | 1251542.836
20 | 2698363.8957 | 1251441.1788
21 | 2698372.0654 | 1251443.073
22 | 2698358.6936 | 1251439.9727
23 | 2698382.9245 | 1251445.5907
24 | 2698334.2268 | 1251434.3
25 | 2698460.2089 | 1251463.1812
26 | 2698325.1315 | 1251433.6987
27 | 2698335.4662 | 1251421.9627
28 | 2698482.3289 | 1251469.9096
29 | 2698336.7362 | 1251409.3207
30 | 2698325.643 | 1251864.8055
31 | 2698517.0829 | 1251464.1023
32 | 2698531.1961 | 1251461.7441
33 | 2698537.1387 | 1251460.7511
34 | 2698547.1696 | 1251459.075
35 | 2698601.0234 | 1251442.2059
36 | 2698596.6699 | 1251445.2641
37 | 2698610.7055 | 1251463.5901
38 | 2698561.9239 | 1251456.0954
39 | 2698578.0114 | 1251451.783
40 | 2698617.9269 | 1251482.0296
41 | 2698329.8426 | 1251872.4053
42 | 2698576.4846 | 1251495.4705
43 | 2698578.686 | 1251494.7565
44 | 2698554.8182 | 1251660.1978
45 | 2698555.6183 | 1251660.5325
46 | 2698539.8993 | 1251653.3227
47 | 2698609.0776 | 1251567.3825
48 | 2698630.1853 | 1251514.4866
49 | 2698633.564 | 1251523.4324
50 | 2698485.6383 | 1252073.7957
51 | 2698435.6598 | 1252024.6603
52 | 2698439.4643 | 1252150.6486
53 | 2698462.0801 | 1252139.9252
54 | 2698327.0143 | 1252244.5182
55 | 2698477.5579 | 1252127.7028
56 | 2698280.0306 | 1252345.5525
57 | 2698483.8899 | 1252122.1272
58 | 2698279.0759 | 1252347.6997
59 | 2698027.1524 | 1251946.8599
60 | 2698352.5459 | 1251911.6463
61 | 2697990.1208 | 1251997.4408
62 | 2698493.0973 | 1252110.4708
63 | 2698416.8934 | 1251893.6783
64 | 2697952.9479 | 1252000.5444
65 | 2698512.1438 | 1252101.258
66 | 2698487.0442 | 1252075.2519
67 | 2698530.1061 | 1252119.1382
68 | 2698531.0452 | 1252120.0731
69 | 2698535.1029 | 1252124.1528
70 | 2698565.8129 | 1252157.1879
71 | 2698553.0998 | 1252142.9755
72 | 2698567.5914 | 1252159.4037
73 | 2698540.2571 | 1252129.5436
74 | 2698571.914 | 1252165.2699
75 | 2698578.8231 | 1252175.9379
76 | 2698580.4484 | 1252178.6601
77 | 2698564.2373 | 1252238.5556
78 | 2698594.7884 | 1252203.313
79 | 2698561.9046 | 1252240.2952
80 | 2698587.2755 | 1252190.818
81 | 2698599.5475 | 1252209.2441
82 | 2698537.0866 | 1252249.8105
83 | 2698581.8479 | 1252181.1155
84 | 2698608.8995 | 1252218.7746
85 | 2698673.9428 | 1252286.8077
86 | 2698883.5454 | 1252312.0107
87 | 2699058.9372 | 1252461.3807
88 | 2698915.6529 | 1252175.7615
89 | 2698855.6815 | 1252164.4403
90 | 2698871.8912 | 1252111.0092
91 | 2698917.4605 | 1252169.5754
92 | 2698982.0041 | 1252556.3621
93 | 2698971.2828 | 1252575.7172
94 | 2698966.0996 | 1252585.071
95 | 2698583.5618 | 1251689.3544

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1