## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_306-16_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_306-16_0_3_node_2 | 0.4 | n |  | TRUE
2 | bus_LV_306-16_0_3_node_62 | 0.4 | n |  | TRUE
3 | bus_LV_306-16_0_3_node_61 | 0.4 | n |  | TRUE
4 | bus_LV_306-16_0_3_node_63 | 0.4 | n |  | TRUE
5 | bus_LV_306-16_0_3_node_3 | 0.4 | n |  | TRUE
6 | bus_LV_306-16_0_3_node_4 | 0.4 | n |  | TRUE
7 | bus_LV_306-16_0_3_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_306-16_0_3_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_306-16_0_3_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_306-16_0_3_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_306-16_0_3_node_9 | 0.4 | n |  | TRUE
12 | bus_LV_306-16_0_3_node_10 | 0.4 | n |  | TRUE
13 | bus_LV_306-16_0_3_node_14 | 0.4 | n |  | TRUE
14 | bus_LV_306-16_0_3_node_24 | 0.4 | n |  | TRUE
15 | bus_LV_306-16_0_3_node_29 | 0.4 | n |  | TRUE
16 | bus_LV_306-16_0_3_node_22 | 0.4 | n |  | TRUE
17 | bus_LV_306-16_0_3_node_13 | 0.4 | n |  | TRUE
18 | bus_LV_306-16_0_3_node_11 | 0.4 | n |  | TRUE
19 | bus_LV_306-16_0_3_node_15 | 0.4 | n |  | TRUE
20 | bus_LV_306-16_0_3_node_49 | 0.4 | n |  | TRUE
21 | bus_LV_306-16_0_3_node_12 | 0.4 | n |  | TRUE
22 | bus_LV_306-16_0_3_node_30 | 0.4 | n |  | TRUE
23 | bus_LV_306-16_0_3_node_25 | 0.4 | n |  | TRUE
24 | bus_LV_306-16_0_3_node_31 | 0.4 | n |  | TRUE
25 | bus_LV_306-16_0_3_node_26 | 0.4 | n |  | TRUE
26 | bus_LV_306-16_0_3_node_23 | 0.4 | n |  | TRUE
27 | bus_LV_306-16_0_3_node_50 | 0.4 | n |  | TRUE
28 | bus_LV_306-16_0_3_node_16 | 0.4 | n |  | TRUE
29 | bus_LV_306-16_0_3_node_17 | 0.4 | n |  | TRUE
30 | bus_LV_306-16_0_3_node_18 | 0.4 | n |  | TRUE
31 | bus_LV_306-16_0_3_node_27 | 0.4 | n |  | TRUE
32 | bus_LV_306-16_0_3_node_37 | 0.4 | n |  | TRUE
33 | bus_LV_306-16_0_3_node_38 | 0.4 | n |  | TRUE
34 | bus_LV_306-16_0_3_node_39 | 0.4 | n |  | TRUE
35 | bus_LV_306-16_0_3_node_36 | 0.4 | n |  | TRUE
36 | bus_LV_306-16_0_3_node_40 | 0.4 | n |  | TRUE
37 | bus_LV_306-16_0_3_node_19 | 0.4 | n |  | TRUE
38 | bus_LV_306-16_0_3_node_20 | 0.4 | n |  | TRUE
39 | bus_LV_306-16_0_3_node_21 | 0.4 | n |  | TRUE
40 | bus_LV_306-16_0_3_node_33 | 0.4 | n |  | TRUE
41 | bus_LV_306-16_0_3_node_34 | 0.4 | n |  | TRUE
42 | bus_LV_306-16_0_3_node_35 | 0.4 | n |  | TRUE
43 | bus_LV_306-16_0_3_node_88 | 0.4 | n |  | TRUE
44 | bus_LV_306-16_0_3_node_89 | 0.4 | n |  | TRUE
45 | bus_LV_306-16_0_3_node_86 | 0.4 | n |  | TRUE
46 | bus_LV_306-16_0_3_node_41 | 0.4 | n |  | TRUE
47 | bus_LV_306-16_0_3_node_42 | 0.4 | n |  | TRUE
48 | bus_LV_306-16_0_3_node_43 | 0.4 | n |  | TRUE
49 | bus_LV_306-16_0_3_node_44 | 0.4 | n |  | TRUE
50 | bus_LV_306-16_0_3_node_45 | 0.4 | n |  | TRUE
51 | bus_LV_306-16_0_3_node_47 | 0.4 | n |  | TRUE
52 | bus_LV_306-16_0_3_node_48 | 0.4 | n |  | TRUE
53 | bus_LV_306-16_0_3_node_52 | 0.4 | n |  | TRUE
54 | bus_LV_306-16_0_3_node_53 | 0.4 | n |  | TRUE
55 | bus_LV_306-16_0_3_node_66 | 0.4 | n |  | TRUE
56 | bus_LV_306-16_0_3_node_100 | 0.4 | n |  | TRUE
57 | bus_LV_306-16_0_3_node_51 | 0.4 | n |  | TRUE
58 | bus_LV_306-16_0_3_node_69 | 0.4 | n |  | TRUE
59 | bus_LV_306-16_0_3_node_70 | 0.4 | n |  | TRUE
60 | bus_LV_306-16_0_3_node_71 | 0.4 | n |  | TRUE
61 | bus_LV_306-16_0_3_node_60 | 0.4 | n |  | TRUE
62 | bus_LV_306-16_0_3_node_68 | 0.4 | n |  | TRUE
63 | bus_LV_306-16_0_3_node_64 | 0.4 | n |  | TRUE
64 | bus_LV_306-16_0_3_node_54 | 0.4 | n |  | TRUE
65 | bus_LV_306-16_0_3_node_55 | 0.4 | n |  | TRUE
66 | bus_LV_306-16_0_3_node_56 | 0.4 | n |  | TRUE
67 | bus_LV_306-16_0_3_node_57 | 0.4 | n |  | TRUE
68 | bus_LV_306-16_0_3_node_58 | 0.4 | n |  | TRUE
69 | bus_LV_306-16_0_3_node_59 | 0.4 | n |  | TRUE
70 | bus_LV_306-16_0_3_node_77 | 0.4 | n |  | TRUE
71 | bus_LV_306-16_0_3_node_91 | 0.4 | n |  | TRUE
72 | bus_LV_306-16_0_3_node_65 | 0.4 | n |  | TRUE
73 | bus_LV_306-16_0_3_node_67 | 0.4 | n |  | TRUE
74 | bus_LV_306-16_0_3_node_81 | 0.4 | n |  | TRUE
75 | bus_LV_306-16_0_3_node_79 | 0.4 | n |  | TRUE
76 | bus_LV_306-16_0_3_node_92 | 0.4 | n |  | TRUE
77 | bus_LV_306-16_0_3_node_99 | 0.4 | n |  | TRUE
78 | bus_LV_306-16_0_3_node_93 | 0.4 | n |  | TRUE
79 | bus_LV_306-16_0_3_node_98 | 0.4 | n |  | TRUE
80 | bus_LV_306-16_0_3_node_72 | 0.4 | n |  | TRUE
81 | bus_LV_306-16_0_3_node_73 | 0.4 | n |  | TRUE
82 | bus_LV_306-16_0_3_node_74 | 0.4 | n |  | TRUE
83 | bus_LV_306-16_0_3_node_75 | 0.4 | n |  | TRUE
84 | bus_LV_306-16_0_3_node_76 | 0.4 | n |  | TRUE
85 | bus_LV_306-16_0_3_node_90 | 0.4 | n |  | TRUE
86 | bus_LV_306-16_0_3_node_87 | 0.4 | n |  | TRUE
87 | bus_LV_306-16_0_3_node_101 | 0.4 | n |  | TRUE
88 | bus_LV_306-16_0_3_node_84 | 0.4 | n |  | TRUE
89 | bus_LV_306-16_0_3_node_102 | 0.4 | n |  | TRUE
90 | bus_LV_306-16_0_3_node_78 | 0.4 | n |  | TRUE
91 | bus_LV_306-16_0_3_node_80 | 0.4 | n |  | TRUE
92 | bus_LV_306-16_0_3_node_82 | 0.4 | n |  | TRUE
93 | bus_LV_306-16_0_3_node_83 | 0.4 | n |  | TRUE
94 | bus_LV_306-16_0_3_node_85 | 0.4 | n |  | TRUE
95 | bus_LV_306-16_0_3_node_95 | 0.4 | n |  | TRUE
96 | bus_LV_306-16_0_3_node_96 | 0.4 | n |  | TRUE
97 | bus_LV_306-16_0_3_node_97 | 0.4 | n |  | TRUE
98 | bus_MV_404_0_node_22 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_306-16_0_3_load_0 | 0 | 0.0092319 | 0.0023137 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_306-16_0_3_load_62 | 2 | 0.002721 | 0.00068195 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_306-16_0_3_load_61 | 3 | 0.0026596 | 0.00066656 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_306-16_0_3_load_63 | 4 | 0.0022752 | 0.00057021 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_306-16_0_3_load_3 | 5 | 0.0059091 | 0.001481 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_306-16_0_3_load_4 | 6 | 0.0042251 | 0.0010589 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_306-16_0_3_load_5 | 7 | 0.0035149 | 0.00088091 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_306-16_0_3_load_6 | 8 | 0.0079064 | 0.0019815 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_306-16_0_3_load_8 | 10 | 0.00060152 | 0.00015075 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_306-16_0_3_load_10 | 12 | 0.0059788 | 0.0014984 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_306-16_0_3_load_14 | 13 | 0.002054 | 0.00051478 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_306-16_0_3_load_24 | 14 | 0.016384 | 0.0041063 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_306-16_0_3_load_29 | 15 | 0.0081965 | 0.0020542 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_306-16_0_3_load_13 | 17 | 0.0029502 | 0.00073938 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_306-16_0_3_load_11 | 18 | 0.013374 | 0.0033519 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_306-16_0_3_load_49 | 20 | 0.0029894 | 0.00074923 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_306-16_0_3_load_25 | 23 | 0.0079004 | 0.00198 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_306-16_0_3_load_31 | 24 | 0.0088074 | 0.0022073 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_306-16_0_3_load_26 | 25 | 0.0087611 | 0.0021957 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_306-16_0_3_load_50 | 27 | 0.0022287 | 0.00055856 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_306-16_0_3_load_16 | 28 | 0.010668 | 0.0026737 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_306-16_0_3_load_27 | 31 | 0.0081555 | 0.002044 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_306-16_0_3_load_38 | 33 | 0.0074155 | 0.0018585 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_306-16_0_3_load_39 | 34 | 0.0010725 | 0.00026878 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_306-16_0_3_load_36 | 35 | 0.0013692 | 0.00034316 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_306-16_0_3_load_40 | 36 | 0.0014752 | 0.00036972 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_306-16_0_3_load_19 | 37 | 0.0064845 | 0.0016252 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_306-16_0_3_load_20 | 38 | 0.0079395 | 0.0019898 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_306-16_0_3_load_21 | 39 | 0.0078566 | 0.0019691 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_306-16_0_3_load_33 | 40 | 0.0097058 | 0.0024325 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_306-16_0_3_load_34 | 41 | 0.00092369 | 0.0002315 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_306-16_0_3_load_35 | 42 | 0.0025371 | 0.00063587 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_306-16_0_3_load_89 | 44 | 0.0036186 | 0.0009069 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_306-16_0_3_load_86 | 45 | 0.0027652 | 0.00069302 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_306-16_0_3_load_41 | 46 | 0.0020166 | 0.0005054 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_306-16_0_3_load_43 | 48 | 0.0021411 | 0.00053661 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_306-16_0_3_load_44 | 49 | 0.0028604 | 0.00071689 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_306-16_0_3_load_45 | 50 | 0.0026976 | 0.00067608 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_306-16_0_3_load_47 | 51 | 0.0013925 | 0.00034899 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_306-16_0_3_load_52 | 53 | 0.003427 | 0.00085888 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_306-16_0_3_load_53 | 54 | 0.0032448 | 0.00081323 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_306-16_0_3_load_66 | 55 | 0.0026616 | 0.00066706 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_306-16_0_3_load_100 | 56 | 0.0074527 | 0.0018678 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_306-16_0_3_load_51 | 57 | 0.0021765 | 0.00054548 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_306-16_0_3_load_70 | 59 | 0.0029545 | 0.00074046 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_306-16_0_3_load_71 | 60 | 0.0027419 | 0.00068718 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_306-16_0_3_load_68 | 62 | 0.0022181 | 0.00055591 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_306-16_0_3_load_64 | 63 | 0.0030556 | 0.00076581 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_306-16_0_3_load_54 | 64 | 0.00088046 | 0.00022066 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_306-16_0_3_load_55 | 65 | 0.0011651 | 0.000292 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_306-16_0_3_load_56 | 66 | 0.0025792 | 0.00064642 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_306-16_0_3_load_57 | 67 | 0.00080057 | 0.00020064 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_306-16_0_3_load_58 | 68 | 0.001341 | 0.00033609 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_306-16_0_3_load_59 | 69 | 0.0022197 | 0.0005563 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_306-16_0_3_load_77 | 70 | 0.0035758 | 0.00089618 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_306-16_0_3_load_91 | 71 | 0.0016959 | 0.00042503 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_306-16_0_3_load_65 | 72 | 0.0020108 | 0.00050396 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_306-16_0_3_load_67 | 73 | 0.0021432 | 0.00053713 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_306-16_0_3_load_81 | 74 | 0.0020609 | 0.00051651 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_306-16_0_3_load_79 | 75 | 0.001388 | 0.00034786 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_306-16_0_3_load_92 | 76 | 0.0023213 | 0.00058177 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_306-16_0_3_load_99 | 77 | 0.0047308 | 0.0011857 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_306-16_0_3_load_93 | 78 | 0.0012159 | 0.00030473 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_306-16_0_3_load_98 | 79 | 0.002463 | 0.00061729 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_306-16_0_3_load_72 | 80 | 0.00071028 | 0.00017801 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_306-16_0_3_load_73 | 81 | 0.0017218 | 0.00043152 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_306-16_0_3_load_76 | 84 | 0.00073459 | 0.00018411 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_306-16_0_3_load_90 | 85 | 0.0022708 | 0.00056912 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_306-16_0_3_load_87 | 86 | 0.0020154 | 0.00050512 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_306-16_0_3_load_101 | 87 | 0.00078212 | 0.00019602 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_306-16_0_3_load_84 | 88 | 0.0029695 | 0.00074422 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_306-16_0_3_load_102 | 89 | 0.0010809 | 0.0002709 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_306-16_0_3_load_78 | 90 | 0.001388 | 0.00034786 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_306-16_0_3_load_82 | 92 | 0.00055469 | 0.00013902 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_306-16_0_3_load_83 | 93 | 0.00064566 | 0.00016182 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_306-16_0_3_load_85 | 94 | 0.00077607 | 0.0001945 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_306-16_0_3_load_95 | 95 | 0.0010088 | 0.00025283 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_306-16_0_3_load_96 | 96 | 0.0032705 | 0.00081966 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_306-16_0_3_load_97 | 97 | 0.00099526 | 0.00024944 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 40 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_306-16_0_3_line_0 |  | 0 | 1 | 0.019916 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_306-16_0_3_line_1 |  | 1 | 2 | 0.060232 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_306-16_0_3_line_2 |  | 2 | 3 | 0.0029886 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_306-16_0_3_line_3 |  | 3 | 4 | 0.022271 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_306-16_0_3_line_4 |  | 4 | 72 | 0.0019854 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_306-16_0_3_line_5 |  | 5 | 6 | 0.016385 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
6 | LV_306-16_0_3_line_6 |  | 5 | 7 | 0.017213 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
7 | LV_306-16_0_3_line_7 |  | 6 | 8 | 0.015773 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
8 | LV_306-16_0_3_line_8 |  | 7 | 9 | 0.027736 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
9 | LV_306-16_0_3_line_9 |  | 8 | 10 | 0.023083 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
10 | LV_306-16_0_3_line_10 |  | 9 | 11 | 0.022461 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
11 | LV_306-16_0_3_line_11 |  | 9 | 12 | 0.020254 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
12 | LV_306-16_0_3_line_12 |  | 10 | 13 | 0.023138 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
13 | LV_306-16_0_3_line_13 |  | 11 | 17 | 0.016662 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
14 | LV_306-16_0_3_line_14 |  | 12 | 18 | 0.038192 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
15 | LV_306-16_0_3_line_15 |  | 13 | 19 | 0.03595 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
16 | LV_306-16_0_3_line_16 |  | 14 | 15 | 0.01342 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_306-16_0_3_line_17 |  | 14 | 16 | 0.034847 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_306-16_0_3_line_18 |  | 16 | 23 | 0.0204 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_306-16_0_3_line_19 |  | 16 | 38 | 0.019771 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_306-16_0_3_line_20 |  | 17 | 20 | 0.037756 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
21 | LV_306-16_0_3_line_21 |  | 18 | 21 | 0.042686 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
22 | LV_306-16_0_3_line_22 |  | 19 | 28 | 0.036849 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
23 | LV_306-16_0_3_line_23 |  | 19 | 29 | 0.038455 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_306-16_0_3_line_24 |  | 20 | 27 | 0.001333 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_306-16_0_3_line_25 |  | 21 | 22 | 0.039784 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
26 | LV_306-16_0_3_line_26 |  | 22 | 24 | 0.017241 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_306-16_0_3_line_27 |  | 23 | 24 | 0.018111 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_306-16_0_3_line_28 |  | 25 | 26 | 0.02331 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_306-16_0_3_line_29 |  | 26 | 39 | 0.0094154 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_306-16_0_3_line_30 |  | 27 | 57 | 0.013188 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_306-16_0_3_line_31 |  | 28 | 30 | 0.019352 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
32 | LV_306-16_0_3_line_32 |  | 29 | 31 | 0.040986 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_306-16_0_3_line_33 |  | 30 | 32 | 0.026549 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
34 | LV_306-16_0_3_line_34 |  | 30 | 33 | 0.083019 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_306-16_0_3_line_35 |  | 32 | 34 | 0.016496 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_306-16_0_3_line_36 |  | 32 | 35 | 0.01291 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
37 | LV_306-16_0_3_line_37 |  | 33 | 36 | 0.019421 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_306-16_0_3_line_38 |  | 34 | 43 | 0.027154 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_306-16_0_3_line_39 |  | 35 | 42 | 0.019742 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
40 | LV_306-16_0_3_line_40 |  | 37 | 38 | 0.0053503 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_306-16_0_3_line_41 |  | 37 | 39 | 0.023125 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_306-16_0_3_line_42 |  | 40 | 41 | 0.035902 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
43 | LV_306-16_0_3_line_43 |  | 41 | 42 | 0.014228 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
44 | LV_306-16_0_3_line_44 |  | 43 | 44 | 0.017272 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_306-16_0_3_line_45 |  | 43 | 45 | 0.023061 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_306-16_0_3_line_46 |  | 44 | 71 | 0.0031391 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_306-16_0_3_line_47 |  | 45 | 86 | 0.0032513 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_306-16_0_3_line_48 |  | 46 | 47 | 0.014858 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_306-16_0_3_line_49 |  | 47 | 48 | 0.024376 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_306-16_0_3_line_50 |  | 47 | 49 | 0.0034824 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_306-16_0_3_line_51 |  | 48 | 50 | 0.017402 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_306-16_0_3_line_52 |  | 50 | 51 | 0.0042029 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_306-16_0_3_line_53 |  | 51 | 52 | 0.0101 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_306-16_0_3_line_54 |  | 52 | 53 | 0.015191 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_306-16_0_3_line_55 |  | 52 | 54 | 0.013192 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_306-16_0_3_line_56 |  | 53 | 55 | 0.014885 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_306-16_0_3_line_57 |  | 54 | 56 | 0.010665 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_306-16_0_3_line_58 |  | 55 | 62 | 0.029098 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_306-16_0_3_line_59 |  | 55 | 63 | 0.024797 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_306-16_0_3_line_60 |  | 57 | 58 | 0.032119 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_306-16_0_3_line_61 |  | 58 | 59 | 0.012524 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_306-16_0_3_line_62 |  | 58 | 60 | 0.0097554 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_306-16_0_3_line_63 |  | 58 | 61 | 0.034457 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_306-16_0_3_line_64 |  | 59 | 76 | 0.0075943 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_306-16_0_3_line_65 |  | 60 | 77 | 0.014343 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_306-16_0_3_line_66 |  | 61 | 62 | 0.018107 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_306-16_0_3_line_67 |  | 64 | 65 | 0.014558 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_306-16_0_3_line_68 |  | 64 | 66 | 0.018799 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_306-16_0_3_line_69 |  | 65 | 67 | 0.0071617 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_306-16_0_3_line_70 |  | 66 | 68 | 0.0026033 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_306-16_0_3_line_71 |  | 67 | 69 | 0.020906 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_306-16_0_3_line_72 |  | 69 | 70 | 0.0028194 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_306-16_0_3_line_73 |  | 70 | 71 | 0.028227 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_306-16_0_3_line_74 |  | 72 | 73 | 0.024693 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_306-16_0_3_line_75 |  | 73 | 74 | 0.0044829 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_306-16_0_3_line_76 |  | 74 | 75 | 0.027816 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_306-16_0_3_line_77 |  | 75 | 90 | 0.00032751 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_306-16_0_3_line_78 |  | 76 | 78 | 0.017601 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_306-16_0_3_line_79 |  | 77 | 79 | 0.013357 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_306-16_0_3_line_80 |  | 79 | 96 | 0.0015603 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_306-16_0_3_line_81 |  | 80 | 81 | 0.0071722 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_306-16_0_3_line_82 |  | 81 | 82 | 0.015325 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_306-16_0_3_line_83 |  | 82 | 83 | 0.048129 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_306-16_0_3_line_84 |  | 82 | 84 | 0.0080218 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_306-16_0_3_line_85 |  | 83 | 85 | 0.016353 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_306-16_0_3_line_86 |  | 83 | 86 | 0.012456 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_306-16_0_3_line_87 |  | 84 | 87 | 0.0093109 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_306-16_0_3_line_88 |  | 85 | 88 | 0.0003314 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_306-16_0_3_line_89 |  | 87 | 89 | 0.013015 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_306-16_0_3_line_90 |  | 88 | 92 | 0.028227 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_306-16_0_3_line_91 |  | 90 | 91 | 0.022359 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_306-16_0_3_line_92 |  | 91 | 92 | 0.0084485 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_306-16_0_3_line_93 |  | 91 | 93 | 0.013881 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_306-16_0_3_line_94 |  | 93 | 94 | 0.0084232 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_306-16_0_3_line_95 |  | 95 | 96 | 0.0021633 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_306-16_0_3_line_96 |  | 95 | 97 | 1.3534e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_306-16_0_3_trafo_33 | 0.63 MVA 20/0.4 kV | 98 | 40 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3
0 | 2590030.5657 | 1212856.1344 | 2590022.0896 | 1212838.928 | 2590021.6022 | 1212838.3777
1 | 2589973.5023 | 1212875.4143 | 2590030.5657 | 1212856.1344
2 | 2589971.5557 | 1212873.1466 | 2589973.5023 | 1212875.4143
3 | 2589971.5557 | 1212873.1466 | 2589957.0496 | 1212856.2477 | 2589957.0496 | 1212856.2477
4 | 2589955.8655 | 1212854.6541 | 2589957.0496 | 1212856.2477
5 | 2589825.7808 | 1213037.2876 | 2589814.4857 | 1213025.4178
6 | 2589825.7808 | 1213037.2876 | 2589837.6463 | 1213049.7569
7 | 2589803.6123 | 1213013.9911 | 2589814.4857 | 1213025.4178
8 | 2589856.7661 | 1213069.8496 | 2589837.6463 | 1213049.7569
9 | 2589803.6123 | 1213013.9911 | 2589798.5287 | 1213008.6488 | 2589788.2521 | 1212996.7684
10 | 2589873.4043 | 1213084.974 | 2589864.8616 | 1213077.6735 | 2589856.7661 | 1213069.8496
11 | 2589856.7661 | 1213069.8496 | 2589847.5117 | 1213081.6832 | 2589844.4243 | 1213085.9068
12 | 2589773.115 | 1212979.269 | 2589788.2521 | 1212996.7684
13 | 2589873.4043 | 1213084.974 | 2589883.9969 | 1213072.1129
14 | 2589844.4243 | 1213085.9068 | 2589841.7751 | 1213089.5308 | 2589821.8127 | 1213116.6855
15 | 2589749.5958 | 1212952.0794 | 2589773.115 | 1212979.269
16 | 2589746.0458 | 1213060.0906 | 2589756.1591 | 1213068.9123
17 | 2589724.8403 | 1213087.7428 | 2589746.0458 | 1213060.0906 | 2589746.0458 | 1213060.0906
18 | 2589724.8403 | 1213087.7428 | 2589740.2889 | 1213101.066
19 | 2589724.8403 | 1213087.7428 | 2589709.5886 | 1213075.1623
20 | 2589883.9969 | 1213072.1129 | 2589901.7922 | 1213050.5062 | 2589907.4065 | 1213042.5167
21 | 2589795.8491 | 1213150.5663 | 2589819.2225 | 1213120.209 | 2589821.8127 | 1213116.6855
22 | 2589749.5958 | 1212952.0794 | 2589772.8951 | 1212923.5308
23 | 2589725.3831 | 1212954.2115 | 2589732.7468 | 1212942.8813 | 2589737.646 | 1212938.3035 | 2589749.5958 | 1212952.0794
24 | 2589907.4065 | 1213042.5167 | 2589908.173 | 1213041.4261
25 | 2589795.8491 | 1213150.5663 | 2589764.1556 | 1213126.5187
26 | 2589764.1556 | 1213126.5187 | 2589760.909 | 1213120.2875 | 2589758.8297 | 1213117.0559 | 2589754.0041 | 1213112.8943
27 | 2589740.2889 | 1213101.066 | 2589754.0041 | 1213112.8943
28 | 2589696.9086 | 1213108.6587 | 2589715.5186 | 1213122.6957
29 | 2589696.9086 | 1213108.6587 | 2589696.8922 | 1213099.2434
30 | 2589915.7552 | 1213030.6362 | 2589908.173 | 1213041.4261
31 | 2589785.1311 | 1212908.538 | 2589772.8951 | 1212923.5308
32 | 2589725.3831 | 1212954.2115 | 2589721.7845 | 1212959.6875 | 2589701.2195 | 1212984.5149 | 2589699.8151 | 1212986.202
33 | 2589801.9286 | 1212887.9419 | 2589785.1311 | 1212908.538
34 | 2589785.1311 | 1212908.538 | 2589748.5207 | 1212866.5111 | 2589749.6667 | 1212861.5397 | 2589766.4309 | 1212847.0157
35 | 2589801.9286 | 1212887.9419 | 2589812.3617 | 1212875.1644
36 | 2589801.9286 | 1212887.9419 | 2589811.4266 | 1212896.686
37 | 2589781.1136 | 1212834.3033 | 2589775.8193 | 1212838.8817 | 2589766.4309 | 1212847.0157
38 | 2589829.5358 | 1212854.131 | 2589812.3617 | 1212875.1644
39 | 2589811.4266 | 1212896.686 | 2589825.951 | 1212910.0575
40 | 2589706.2843 | 1213079.3703 | 2589709.5886 | 1213075.1623 | 2589709.5886 | 1213075.1623
41 | 2589706.2843 | 1213079.3703 | 2589696.8784 | 1213091.349 | 2589696.8922 | 1213099.2434
42 | 2589862.8316 | 1212944.0108 | 2589836.4186 | 1212919.6943
43 | 2589836.4186 | 1212919.6943 | 2589825.951 | 1212910.0575
44 | 2589829.5358 | 1212854.131 | 2589841.6048 | 1212866.4874
45 | 2589829.5358 | 1212854.131 | 2589845.9511 | 1212837.9338
46 | 2589843.7982 | 1212868.733 | 2589841.6048 | 1212866.4874
47 | 2589845.9511 | 1212837.9338 | 2589848.2655 | 1212835.6502
48 | 2590039.1604 | 1212984.4141 | 2590029.9515 | 1212996.0738
49 | 2590039.1604 | 1212984.4141 | 2590019.794 | 1212969.6117
50 | 2590039.1604 | 1212984.4141 | 2590041.9272 | 1212986.5287
51 | 2590019.794 | 1212969.6117 | 2590005.9684 | 1212959.0444
52 | 2590005.9684 | 1212959.0444 | 2590002.6292 | 1212956.4921
53 | 2589994.6051 | 1212950.359 | 2590002.6292 | 1212956.4921
54 | 2589994.6051 | 1212950.359 | 2589982.5384 | 1212941.1312
55 | 2589994.6051 | 1212950.359 | 2589986.5246 | 1212960.7864
56 | 2589970.7147 | 1212932.0893 | 2589982.5384 | 1212941.1312
57 | 2589979.9918 | 1212969.2166 | 2589986.5246 | 1212960.7864
58 | 2589970.7147 | 1212932.0893 | 2589953.6409 | 1212955.651
59 | 2589970.7147 | 1212932.0893 | 2589985.1258 | 1212911.9099
60 | 2589932.0496 | 1213002.9836 | 2589919.0312 | 1213025.9742 | 2589915.7552 | 1213030.6362
61 | 2589932.0496 | 1213002.9836 | 2589942.4427 | 1213009.9709
62 | 2589932.0496 | 1213002.9836 | 2589924.8704 | 1212996.3785
63 | 2589943.0159 | 1212970.3133 | 2589932.0496 | 1213002.9836
64 | 2589948.7451 | 1213014.208 | 2589942.4427 | 1213009.9709
65 | 2589914.3149 | 1212986.6672 | 2589924.8704 | 1212996.3785
66 | 2589943.0159 | 1212970.3133 | 2589953.6409 | 1212955.651
67 | 2589895.2755 | 1212921.4361 | 2589885.1034 | 1212911.0218
68 | 2589895.2755 | 1212921.4361 | 2589908.4109 | 1212934.8843
69 | 2589885.1034 | 1212911.0218 | 2589880.0993 | 1212905.8985
70 | 2589908.4109 | 1212934.8843 | 2589910.2299 | 1212936.7466
71 | 2589880.0993 | 1212905.8985 | 2589865.4915 | 1212890.9428
72 | 2589863.5214 | 1212888.9259 | 2589865.4915 | 1212890.9428
73 | 2589843.7982 | 1212868.733 | 2589863.5214 | 1212888.9259
74 | 2589936.149 | 1212840.8635 | 2589936.149 | 1212840.8635 | 2589950.9359 | 1212848.0202 | 2589955.8655 | 1212854.6541
75 | 2589933.3561 | 1212837.357 | 2589936.149 | 1212840.8635
76 | 2589933.3561 | 1212837.357 | 2589916.0267 | 1212815.5993
77 | 2589916.0267 | 1212815.5993 | 2589915.8227 | 1212815.3431
78 | 2589948.7451 | 1213014.208 | 2589957.0387 | 1213019.7838 | 2589962.9043 | 1213024.6282
79 | 2589914.3149 | 1212986.6672 | 2589904.4849 | 1212977.6235
80 | 2589903.3367 | 1212976.5671 | 2589904.4849 | 1212977.6235
81 | 2589811.0096 | 1212801.4545 | 2589816.722 | 1212797.1175
82 | 2589828.928 | 1212787.8505 | 2589816.722 | 1212797.1175
83 | 2589828.928 | 1212787.8505 | 2589857.1318 | 1212826.9017
84 | 2589828.928 | 1212787.8505 | 2589835.3155 | 1212782.9977
85 | 2589857.1318 | 1212826.9017 | 2589870.8494 | 1212817.9994
86 | 2589857.1318 | 1212826.9017 | 2589848.2655 | 1212835.6502
87 | 2589835.3155 | 1212782.9977 | 2589842.7294 | 1212777.3651
88 | 2589870.8494 | 1212817.9994 | 2589871.1274 | 1212817.819
89 | 2589848.4824 | 1212766.5939 | 2589846.9382 | 1212774.1675 | 2589842.7294 | 1212777.3651
90 | 2589894.8056 | 1212802.4526 | 2589871.1274 | 1212817.819
91 | 2589901.8925 | 1212797.8533 | 2589915.8227 | 1212815.3431
92 | 2589901.8925 | 1212797.8533 | 2589894.8056 | 1212802.4526
93 | 2589901.8925 | 1212797.8533 | 2589913.4487 | 1212790.1631
94 | 2589913.4487 | 1212790.1631 | 2589920.4611 | 1212785.4966
95 | 2589901.7447 | 1212975.1024 | 2589903.3367 | 1212976.5671
96 | 2589901.7347 | 1212975.0932 | 2589901.7447 | 1212975.1024

## bus_geodata
| x | y | coords
0 | 2590021.6022 | 1212838.3777
1 | 2590030.5657 | 1212856.1344
2 | 2589973.5023 | 1212875.4143
3 | 2589971.5557 | 1212873.1466
4 | 2589957.0496 | 1212856.2477
5 | 2589825.7808 | 1213037.2876
6 | 2589814.4857 | 1213025.4178
7 | 2589837.6463 | 1213049.7569
8 | 2589803.6123 | 1213013.9911
9 | 2589856.7661 | 1213069.8496
10 | 2589788.2521 | 1212996.7684
11 | 2589873.4043 | 1213084.974
12 | 2589844.4243 | 1213085.9068
13 | 2589773.115 | 1212979.269
14 | 2589746.0458 | 1213060.0906
15 | 2589756.1591 | 1213068.9123
16 | 2589724.8403 | 1213087.7428
17 | 2589883.9969 | 1213072.1129
18 | 2589821.8127 | 1213116.6855
19 | 2589749.5958 | 1212952.0794
20 | 2589907.4065 | 1213042.5167
21 | 2589795.8491 | 1213150.5663
22 | 2589764.1556 | 1213126.5187
23 | 2589740.2889 | 1213101.066
24 | 2589754.0041 | 1213112.8943
25 | 2589715.5186 | 1213122.6957
26 | 2589696.9086 | 1213108.6587
27 | 2589908.173 | 1213041.4261
28 | 2589772.8951 | 1212923.5308
29 | 2589725.3831 | 1212954.2115
30 | 2589785.1311 | 1212908.538
31 | 2589699.8151 | 1212986.202
32 | 2589801.9286 | 1212887.9419
33 | 2589766.4309 | 1212847.0157
34 | 2589812.3617 | 1212875.1644
35 | 2589811.4266 | 1212896.686
36 | 2589781.1136 | 1212834.3034
37 | 2589706.2843 | 1213079.3703
38 | 2589709.5886 | 1213075.1623
39 | 2589696.8922 | 1213099.2434
40 | 2589862.8316 | 1212944.0108
41 | 2589836.4186 | 1212919.6943
42 | 2589825.951 | 1212910.0575
43 | 2589829.5358 | 1212854.131
44 | 2589841.6048 | 1212866.4874
45 | 2589845.9511 | 1212837.9338
46 | 2590029.9515 | 1212996.0738
47 | 2590039.1604 | 1212984.4141
48 | 2590019.794 | 1212969.6117
49 | 2590041.9272 | 1212986.5287
50 | 2590005.9684 | 1212959.0444
51 | 2590002.6292 | 1212956.4921
52 | 2589994.6051 | 1212950.359
53 | 2589982.5384 | 1212941.1312
54 | 2589986.5246 | 1212960.7864
55 | 2589970.7147 | 1212932.0893
56 | 2589979.9918 | 1212969.2166
57 | 2589915.7552 | 1213030.6362
58 | 2589932.0496 | 1213002.9835
59 | 2589942.4427 | 1213009.9709
60 | 2589924.8704 | 1212996.3785
61 | 2589943.0159 | 1212970.3133
62 | 2589953.6409 | 1212955.651
63 | 2589985.1258 | 1212911.9099
64 | 2589895.2755 | 1212921.4361
65 | 2589885.1034 | 1212911.0218
66 | 2589908.4109 | 1212934.8843
67 | 2589880.0993 | 1212905.8985
68 | 2589910.2299 | 1212936.7466
69 | 2589865.4915 | 1212890.9428
70 | 2589863.5214 | 1212888.9259
71 | 2589843.7982 | 1212868.733
72 | 2589955.8655 | 1212854.6541
73 | 2589936.149 | 1212840.8635
74 | 2589933.3561 | 1212837.357
75 | 2589916.0267 | 1212815.5993
76 | 2589948.7451 | 1213014.208
77 | 2589914.3149 | 1212986.6672
78 | 2589962.9043 | 1213024.6282
79 | 2589904.4849 | 1212977.6235
80 | 2589811.0096 | 1212801.4545
81 | 2589816.722 | 1212797.1175
82 | 2589828.928 | 1212787.8505
83 | 2589857.1318 | 1212826.9017
84 | 2589835.3155 | 1212782.9977
85 | 2589870.8494 | 1212817.9994
86 | 2589848.2655 | 1212835.6502
87 | 2589842.7294 | 1212777.3651
88 | 2589871.1274 | 1212817.819
89 | 2589848.4824 | 1212766.5939
90 | 2589915.8227 | 1212815.3431
91 | 2589901.8925 | 1212797.8533
92 | 2589894.8056 | 1212802.4526
93 | 2589913.4487 | 1212790.1631
94 | 2589920.4611 | 1212785.4966
95 | 2589901.7447 | 1212975.1024
96 | 2589903.3367 | 1212976.5671
97 | 2589901.7347 | 1212975.0932
98 | 2589862.8316 | 1212944.0108

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1