## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_306-1_0_8_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_306-1_0_8_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_306-1_0_8_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_306-1_0_8_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_306-1_0_8_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_306-1_0_8_node_7 | 0.4 | n |  | TRUE
6 | bus_LV_306-1_0_8_node_9 | 0.4 | n |  | TRUE
7 | bus_LV_306-1_0_8_node_46 | 0.4 | n |  | TRUE
8 | bus_LV_306-1_0_8_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_306-1_0_8_node_16 | 0.4 | n |  | TRUE
10 | bus_LV_306-1_0_8_node_109 | 0.4 | n |  | TRUE
11 | bus_LV_306-1_0_8_node_13 | 0.4 | n |  | TRUE
12 | bus_LV_306-1_0_8_node_132 | 0.4 | n |  | TRUE
13 | bus_LV_306-1_0_8_node_18 | 0.4 | n |  | TRUE
14 | bus_LV_306-1_0_8_node_20 | 0.4 | n |  | TRUE
15 | bus_LV_306-1_0_8_node_21 | 0.4 | n |  | TRUE
16 | bus_LV_306-1_0_8_node_17 | 0.4 | n |  | TRUE
17 | bus_LV_306-1_0_8_node_120 | 0.4 | n |  | TRUE
18 | bus_LV_306-1_0_8_node_11 | 0.4 | n |  | TRUE
19 | bus_LV_306-1_0_8_node_6 | 0.4 | n |  | TRUE
20 | bus_LV_306-1_0_8_node_8 | 0.4 | n |  | TRUE
21 | bus_LV_306-1_0_8_node_47 | 0.4 | n |  | TRUE
22 | bus_LV_306-1_0_8_node_10 | 0.4 | n |  | TRUE
23 | bus_LV_306-1_0_8_node_12 | 0.4 | n |  | TRUE
24 | bus_LV_306-1_0_8_node_14 | 0.4 | n |  | TRUE
25 | bus_LV_306-1_0_8_node_15 | 0.4 | n |  | TRUE
26 | bus_LV_306-1_0_8_node_38 | 0.4 | n |  | TRUE
27 | bus_LV_306-1_0_8_node_45 | 0.4 | n |  | TRUE
28 | bus_LV_306-1_0_8_node_39 | 0.4 | n |  | TRUE
29 | bus_LV_306-1_0_8_node_40 | 0.4 | n |  | TRUE
30 | bus_LV_306-1_0_8_node_125 | 0.4 | n |  | TRUE
31 | bus_LV_306-1_0_8_node_122 | 0.4 | n |  | TRUE
32 | bus_LV_306-1_0_8_node_44 | 0.4 | n |  | TRUE
33 | bus_LV_306-1_0_8_node_43 | 0.4 | n |  | TRUE
34 | bus_LV_306-1_0_8_node_121 | 0.4 | n |  | TRUE
35 | bus_LV_306-1_0_8_node_124 | 0.4 | n |  | TRUE
36 | bus_LV_306-1_0_8_node_123 | 0.4 | n |  | TRUE
37 | bus_LV_306-1_0_8_node_140 | 0.4 | n |  | TRUE
38 | bus_LV_306-1_0_8_node_126 | 0.4 | n |  | TRUE
39 | bus_LV_306-1_0_8_node_127 | 0.4 | n |  | TRUE
40 | bus_LV_306-1_0_8_node_128 | 0.4 | n |  | TRUE
41 | bus_LV_306-1_0_8_node_130 | 0.4 | n |  | TRUE
42 | bus_LV_306-1_0_8_node_141 | 0.4 | n |  | TRUE
43 | bus_LV_306-1_0_8_node_136 | 0.4 | n |  | TRUE
44 | bus_LV_306-1_0_8_node_137 | 0.4 | n |  | TRUE
45 | bus_LV_306-1_0_8_node_138 | 0.4 | n |  | TRUE
46 | bus_LV_306-1_0_8_node_139 | 0.4 | n |  | TRUE
47 | bus_LV_306-1_0_8_node_48 | 0.4 | n |  | TRUE
48 | bus_LV_306-1_0_8_node_113 | 0.4 | n |  | TRUE
49 | bus_LV_306-1_0_8_node_93 | 0.4 | n |  | TRUE
50 | bus_LV_306-1_0_8_node_133 | 0.4 | n |  | TRUE
51 | bus_LV_306-1_0_8_node_134 | 0.4 | n |  | TRUE
52 | bus_LV_306-1_0_8_node_28 | 0.4 | n |  | TRUE
53 | bus_LV_306-1_0_8_node_155 | 0.4 | n |  | TRUE
54 | bus_LV_306-1_0_8_node_60 | 0.4 | n |  | TRUE
55 | bus_LV_306-1_0_8_node_54 | 0.4 | n |  | TRUE
56 | bus_LV_306-1_0_8_node_30 | 0.4 | n |  | TRUE
57 | bus_LV_306-1_0_8_node_55 | 0.4 | n |  | TRUE
58 | bus_LV_306-1_0_8_node_56 | 0.4 | n |  | TRUE
59 | bus_LV_306-1_0_8_node_53 | 0.4 | n |  | TRUE
60 | bus_LV_306-1_0_8_node_57 | 0.4 | n |  | TRUE
61 | bus_LV_306-1_0_8_node_143 | 0.4 | n |  | TRUE
62 | bus_LV_306-1_0_8_node_87 | 0.4 | n |  | TRUE
63 | bus_LV_306-1_0_8_node_86 | 0.4 | n |  | TRUE
64 | bus_LV_306-1_0_8_node_59 | 0.4 | n |  | TRUE
65 | bus_LV_306-1_0_8_node_88 | 0.4 | n |  | TRUE
66 | bus_LV_306-1_0_8_node_77 | 0.4 | n |  | TRUE
67 | bus_LV_306-1_0_8_node_76 | 0.4 | n |  | TRUE
68 | bus_LV_306-1_0_8_node_29 | 0.4 | n |  | TRUE
69 | bus_LV_306-1_0_8_node_22 | 0.4 | n |  | TRUE
70 | bus_LV_306-1_0_8_node_24 | 0.4 | n |  | TRUE
71 | bus_LV_306-1_0_8_node_26 | 0.4 | n |  | TRUE
72 | bus_LV_306-1_0_8_node_27 | 0.4 | n |  | TRUE
73 | bus_LV_306-1_0_8_node_91 | 0.4 | n |  | TRUE
74 | bus_LV_306-1_0_8_node_89 | 0.4 | n |  | TRUE
75 | bus_LV_306-1_0_8_node_154 | 0.4 | n |  | TRUE
76 | bus_LV_306-1_0_8_node_94 | 0.4 | n |  | TRUE
77 | bus_LV_306-1_0_8_node_41 | 0.4 | n |  | TRUE
78 | bus_LV_306-1_0_8_node_42 | 0.4 | n |  | TRUE
79 | bus_LV_306-1_0_8_node_97 | 0.4 | n |  | TRUE
80 | bus_LV_306-1_0_8_node_147 | 0.4 | n |  | TRUE
81 | bus_LV_306-1_0_8_node_90 | 0.4 | n |  | TRUE
82 | bus_LV_306-1_0_8_node_50 | 0.4 | n |  | TRUE
83 | bus_LV_306-1_0_8_node_49 | 0.4 | n |  | TRUE
84 | bus_LV_306-1_0_8_node_31 | 0.4 | n |  | TRUE
85 | bus_LV_306-1_0_8_node_32 | 0.4 | n |  | TRUE
86 | bus_LV_306-1_0_8_node_33 | 0.4 | n |  | TRUE
87 | bus_LV_306-1_0_8_node_34 | 0.4 | n |  | TRUE
88 | bus_LV_306-1_0_8_node_35 | 0.4 | n |  | TRUE
89 | bus_LV_306-1_0_8_node_151 | 0.4 | n |  | TRUE
90 | bus_LV_306-1_0_8_node_36 | 0.4 | n |  | TRUE
91 | bus_LV_306-1_0_8_node_84 | 0.4 | n |  | TRUE
92 | bus_LV_306-1_0_8_node_37 | 0.4 | n |  | TRUE
93 | bus_LV_306-1_0_8_node_82 | 0.4 | n |  | TRUE
94 | bus_LV_306-1_0_8_node_146 | 0.4 | n |  | TRUE
95 | bus_LV_306-1_0_8_node_148 | 0.4 | n |  | TRUE
96 | bus_LV_306-1_0_8_node_150 | 0.4 | n |  | TRUE
97 | bus_LV_306-1_0_8_node_85 | 0.4 | n |  | TRUE
98 | bus_LV_306-1_0_8_node_80 | 0.4 | n |  | TRUE
99 | bus_LV_306-1_0_8_node_144 | 0.4 | n |  | TRUE
100 | bus_LV_306-1_0_8_node_116 | 0.4 | n |  | TRUE
101 | bus_LV_306-1_0_8_node_104 | 0.4 | n |  | TRUE
102 | bus_LV_306-1_0_8_node_114 | 0.4 | n |  | TRUE
103 | bus_LV_306-1_0_8_node_51 | 0.4 | n |  | TRUE
104 | bus_LV_306-1_0_8_node_52 | 0.4 | n |  | TRUE
105 | bus_LV_306-1_0_8_node_142 | 0.4 | n |  | TRUE
106 | bus_LV_306-1_0_8_node_71 | 0.4 | n |  | TRUE
107 | bus_LV_306-1_0_8_node_61 | 0.4 | n |  | TRUE
108 | bus_LV_306-1_0_8_node_62 | 0.4 | n |  | TRUE
109 | bus_LV_306-1_0_8_node_63 | 0.4 | n |  | TRUE
110 | bus_LV_306-1_0_8_node_64 | 0.4 | n |  | TRUE
111 | bus_LV_306-1_0_8_node_65 | 0.4 | n |  | TRUE
112 | bus_LV_306-1_0_8_node_72 | 0.4 | n |  | TRUE
113 | bus_LV_306-1_0_8_node_75 | 0.4 | n |  | TRUE
114 | bus_LV_306-1_0_8_node_73 | 0.4 | n |  | TRUE
115 | bus_LV_306-1_0_8_node_74 | 0.4 | n |  | TRUE
116 | bus_LV_306-1_0_8_node_66 | 0.4 | n |  | TRUE
117 | bus_LV_306-1_0_8_node_67 | 0.4 | n |  | TRUE
118 | bus_LV_306-1_0_8_node_68 | 0.4 | n |  | TRUE
119 | bus_LV_306-1_0_8_node_69 | 0.4 | n |  | TRUE
120 | bus_LV_306-1_0_8_node_70 | 0.4 | n |  | TRUE
121 | bus_LV_306-1_0_8_node_107 | 0.4 | n |  | TRUE
122 | bus_LV_306-1_0_8_node_105 | 0.4 | n |  | TRUE
123 | bus_LV_306-1_0_8_node_78 | 0.4 | n |  | TRUE
124 | bus_LV_306-1_0_8_node_79 | 0.4 | n |  | TRUE
125 | bus_LV_306-1_0_8_node_81 | 0.4 | n |  | TRUE
126 | bus_LV_306-1_0_8_node_83 | 0.4 | n |  | TRUE
127 | bus_LV_306-1_0_8_node_153 | 0.4 | n |  | TRUE
128 | bus_LV_306-1_0_8_node_152 | 0.4 | n |  | TRUE
129 | bus_LV_306-1_0_8_node_92 | 0.4 | n |  | TRUE
130 | bus_LV_306-1_0_8_node_110 | 0.4 | n |  | TRUE
131 | bus_LV_306-1_0_8_node_95 | 0.4 | n |  | TRUE
132 | bus_LV_306-1_0_8_node_111 | 0.4 | n |  | TRUE
133 | bus_LV_306-1_0_8_node_100 | 0.4 | n |  | TRUE
134 | bus_LV_306-1_0_8_node_101 | 0.4 | n |  | TRUE
135 | bus_LV_306-1_0_8_node_102 | 0.4 | n |  | TRUE
136 | bus_LV_306-1_0_8_node_103 | 0.4 | n |  | TRUE
137 | bus_LV_306-1_0_8_node_131 | 0.4 | n |  | TRUE
138 | bus_LV_306-1_0_8_node_119 | 0.4 | n |  | TRUE
139 | bus_LV_306-1_0_8_node_106 | 0.4 | n |  | TRUE
140 | bus_LV_306-1_0_8_node_108 | 0.4 | n |  | TRUE
141 | bus_LV_306-1_0_8_node_112 | 0.4 | n |  | TRUE
142 | bus_LV_306-1_0_8_node_118 | 0.4 | n |  | TRUE
143 | bus_LV_306-1_0_8_node_117 | 0.4 | n |  | TRUE
144 | bus_LV_306-1_0_8_node_115 | 0.4 | n |  | TRUE
145 | bus_LV_306-1_0_8_node_149 | 0.4 | n |  | TRUE
146 | bus_MV_404_0_node_29 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_306-1_0_8_load_0 | 0 | 0.011027 | 0.0027636 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_306-1_0_8_load_1 | 1 | 0.023563 | 0.0059055 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_306-1_0_8_load_2 | 2 | 0.0012493 | 0.00031309 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_306-1_0_8_load_3 | 3 | 0.0027962 | 0.0007008 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_306-1_0_8_load_7 | 5 | 0.00061307 | 0.00015365 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_306-1_0_8_load_9 | 6 | 0.0017005 | 0.00042619 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_306-1_0_8_load_5 | 8 | 0.014015 | 0.0035124 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_306-1_0_8_load_16 | 9 | 0.0085056 | 0.0021317 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_306-1_0_8_load_109 | 10 | 0.00095636 | 0.00023969 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_306-1_0_8_load_13 | 11 | 0.0023924 | 0.00059958 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_306-1_0_8_load_20 | 14 | 0.017186 | 0.0043072 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_306-1_0_8_load_17 | 16 | 0.025661 | 0.0064311 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_306-1_0_8_load_120 | 17 | 0.00094072 | 0.00023577 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_306-1_0_8_load_11 | 18 | 0.0034275 | 0.00085902 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_306-1_0_8_load_6 | 19 | 0.0045235 | 0.0011337 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_306-1_0_8_load_8 | 20 | 0.0085013 | 0.0021306 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_306-1_0_8_load_47 | 21 | 0.0010477 | 0.00026257 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_306-1_0_8_load_10 | 22 | 0.017395 | 0.0043596 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_306-1_0_8_load_14 | 24 | 0.002662 | 0.00066716 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_306-1_0_8_load_15 | 25 | 0.017578 | 0.0044055 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_306-1_0_8_load_38 | 26 | 0.004247 | 0.0010644 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_306-1_0_8_load_45 | 27 | 0.015192 | 0.0038076 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_306-1_0_8_load_39 | 28 | 0.0037592 | 0.00094215 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_306-1_0_8_load_122 | 31 | 0.0012645 | 0.00031691 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_306-1_0_8_load_44 | 32 | 0.020879 | 0.0052327 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_306-1_0_8_load_43 | 33 | 0.019285 | 0.0048332 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_306-1_0_8_load_121 | 34 | 0.0028176 | 0.00070617 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_306-1_0_8_load_124 | 35 | 0.0010706 | 0.00026833 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_306-1_0_8_load_123 | 36 | 0.0032373 | 0.00081134 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_306-1_0_8_load_140 | 37 | 0.001033 | 0.0002589 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_306-1_0_8_load_126 | 38 | 0.0035022 | 0.00087775 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_306-1_0_8_load_127 | 39 | 0.0089519 | 0.0022436 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_306-1_0_8_load_128 | 40 | 0.0026876 | 0.00067359 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_306-1_0_8_load_130 | 41 | 0.00094083 | 0.00023579 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_306-1_0_8_load_141 | 42 | 0.00095476 | 0.00023928 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_306-1_0_8_load_137 | 44 | 0.0015096 | 0.00037835 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_306-1_0_8_load_138 | 45 | 0.0014854 | 0.00037226 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_306-1_0_8_load_139 | 46 | 0.00093152 | 0.00023346 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_306-1_0_8_load_48 | 47 | 0.0028562 | 0.00071583 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_306-1_0_8_load_113 | 48 | 0.0016838 | 0.00042201 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_306-1_0_8_load_133 | 50 | 0.003575 | 0.00089598 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_306-1_0_8_load_134 | 51 | 0.013771 | 0.0034515 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_306-1_0_8_load_155 | 53 | 0.0033396 | 0.00083699 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_306-1_0_8_load_30 | 56 | 0.0070499 | 0.0017669 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_306-1_0_8_load_56 | 58 | 0.0034077 | 0.00085404 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_306-1_0_8_load_53 | 59 | 0.0070341 | 0.0017629 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_306-1_0_8_load_143 | 61 | 0.0029745 | 0.00074549 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_306-1_0_8_load_87 | 62 | 0.0017749 | 0.00044482 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_306-1_0_8_load_86 | 63 | 0.0052329 | 0.0013115 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_306-1_0_8_load_77 | 66 | 0.0095821 | 0.0024015 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_306-1_0_8_load_29 | 68 | 0.0065347 | 0.0016378 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_306-1_0_8_load_22 | 69 | 0.023639 | 0.0059244 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_306-1_0_8_load_26 | 71 | 0.00058354 | 0.00014625 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_306-1_0_8_load_89 | 74 | 0.0040568 | 0.0010167 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_306-1_0_8_load_154 | 75 | 0.012982 | 0.0032537 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_306-1_0_8_load_41 | 77 | 0.012924 | 0.003239 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_306-1_0_8_load_42 | 78 | 0.0041548 | 0.0010413 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_306-1_0_8_load_147 | 80 | 0.00083502 | 0.00020928 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_306-1_0_8_load_50 | 82 | 0.01527 | 0.0038269 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_306-1_0_8_load_49 | 83 | 0.01187 | 0.0029749 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_306-1_0_8_load_31 | 84 | 0.0091959 | 0.0023047 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_306-1_0_8_load_32 | 85 | 0.0013966 | 0.00035002 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_306-1_0_8_load_84 | 91 | 0.0026767 | 0.00067085 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_306-1_0_8_load_82 | 93 | 0.00085937 | 0.00021538 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_306-1_0_8_load_148 | 95 | 0.011433 | 0.0028654 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_306-1_0_8_load_150 | 96 | 0.0018929 | 0.0004744 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_306-1_0_8_load_85 | 97 | 0.001779 | 0.00044586 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_306-1_0_8_load_144 | 99 | 0.0013781 | 0.00034538 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_306-1_0_8_load_104 | 101 | 0.00096003 | 0.00024061 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_306-1_0_8_load_114 | 102 | 0.0011242 | 0.00028176 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_306-1_0_8_load_52 | 104 | 0.0039766 | 0.00099663 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_306-1_0_8_load_142 | 105 | 0.0020169 | 0.00050549 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_306-1_0_8_load_71 | 106 | 0.004658 | 0.0011674 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_306-1_0_8_load_61 | 107 | 0.0030097 | 0.0007543 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_306-1_0_8_load_62 | 108 | 0.0044277 | 0.0011097 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_306-1_0_8_load_63 | 109 | 0.0030048 | 0.00075308 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_306-1_0_8_load_64 | 110 | 0.0023189 | 0.00058116 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_306-1_0_8_load_65 | 111 | 0.010788 | 0.0027037 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_306-1_0_8_load_72 | 112 | 0.0037667 | 0.00094402 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_306-1_0_8_load_75 | 113 | 0.0022906 | 0.00057408 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_306-1_0_8_load_73 | 114 | 0.00091381 | 0.00022902 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_306-1_0_8_load_74 | 115 | 0.0023074 | 0.00057829 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_306-1_0_8_load_66 | 116 | 0.0047471 | 0.0011897 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_306-1_0_8_load_67 | 117 | 0.0048049 | 0.0012042 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_306-1_0_8_load_69 | 119 | 0.012843 | 0.0032187 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_306-1_0_8_load_70 | 120 | 0.0049377 | 0.0012375 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_306-1_0_8_load_107 | 121 | 0.01053 | 0.0026391 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_306-1_0_8_load_105 | 122 | 0.0094939 | 0.0023794 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_306-1_0_8_load_78 | 123 | 0.0035658 | 0.00089369 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_306-1_0_8_load_79 | 124 | 0.00073146 | 0.00018332 | 0 | 0 |  | 1 | TRUE | wye
90 | LV_306-1_0_8_load_81 | 125 | 0.0033899 | 0.00084959 | 0 | 0 |  | 1 | TRUE | wye
91 | LV_306-1_0_8_load_153 | 127 | 0.0008124 | 0.00020361 | 0 | 0 |  | 1 | TRUE | wye
92 | LV_306-1_0_8_load_152 | 128 | 0.00073706 | 0.00018472 | 0 | 0 |  | 1 | TRUE | wye
93 | LV_306-1_0_8_load_92 | 129 | 0.0016241 | 0.00040703 | 0 | 0 |  | 1 | TRUE | wye
94 | LV_306-1_0_8_load_110 | 130 | 0.0034173 | 0.00085645 | 0 | 0 |  | 1 | TRUE | wye
95 | LV_306-1_0_8_load_95 | 131 | 0.0083551 | 0.002094 | 0 | 0 |  | 1 | TRUE | wye
96 | LV_306-1_0_8_load_111 | 132 | 0.0028216 | 0.00070715 | 0 | 0 |  | 1 | TRUE | wye
97 | LV_306-1_0_8_load_100 | 133 | 0.0028575 | 0.00071617 | 0 | 0 |  | 1 | TRUE | wye
98 | LV_306-1_0_8_load_101 | 134 | 0.0015219 | 0.00038142 | 0 | 0 |  | 1 | TRUE | wye
99 | LV_306-1_0_8_load_102 | 135 | 0.0029334 | 0.00073518 | 0 | 0 |  | 1 | TRUE | wye
100 | LV_306-1_0_8_load_103 | 136 | 0.0019172 | 0.00048049 | 0 | 0 |  | 1 | TRUE | wye
101 | LV_306-1_0_8_load_131 | 137 | 0.0071561 | 0.0017935 | 0 | 0 |  | 1 | TRUE | wye
102 | LV_306-1_0_8_load_119 | 138 | 0.00072374 | 0.00018139 | 0 | 0 |  | 1 | TRUE | wye
103 | LV_306-1_0_8_load_106 | 139 | 0.0029299 | 0.00073429 | 0 | 0 |  | 1 | TRUE | wye
104 | LV_306-1_0_8_load_108 | 140 | 0.0047894 | 0.0012003 | 0 | 0 |  | 1 | TRUE | wye
105 | LV_306-1_0_8_load_112 | 141 | 0.0047832 | 0.0011988 | 0 | 0 |  | 1 | TRUE | wye
106 | LV_306-1_0_8_load_118 | 142 | 0.00074565 | 0.00018688 | 0 | 0 |  | 1 | TRUE | wye
107 | LV_306-1_0_8_load_117 | 143 | 0.0024526 | 0.00061469 | 0 | 0 |  | 1 | TRUE | wye
108 | LV_306-1_0_8_load_115 | 144 | 0.0021718 | 0.0005443 | 0 | 0 |  | 1 | TRUE | wye
109 | LV_306-1_0_8_load_149 | 145 | 0.0017242 | 0.00043213 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 20 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_306-1_0_8_line_0 |  | 0 | 1 | 0.011792 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_306-1_0_8_line_1 |  | 0 | 2 | 0.0051738 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_306-1_0_8_line_2 |  | 1 | 3 | 0.041285 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_306-1_0_8_line_3 |  | 2 | 4 | 0.012197 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_306-1_0_8_line_4 |  | 3 | 9 | 0.00235 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_306-1_0_8_line_5 |  | 4 | 10 | 0.038447 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_306-1_0_8_line_6 |  | 4 | 11 | 0.013676 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_306-1_0_8_line_7 |  | 5 | 6 | 0.013366 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_306-1_0_8_line_8 |  | 5 | 7 | 0.1028 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
9 | LV_306-1_0_8_line_9 |  | 5 | 8 | 0.022701 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
10 | LV_306-1_0_8_line_10 |  | 7 | 27 | 0.02039 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
11 | LV_306-1_0_8_line_11 |  | 7 | 32 | 0.03819 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_306-1_0_8_line_12 |  | 8 | 19 | 0.0029869 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
13 | LV_306-1_0_8_line_13 |  | 9 | 12 | 0.022002 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_306-1_0_8_line_14 |  | 10 | 17 | 0.0013471 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_306-1_0_8_line_15 |  | 11 | 18 | 0.031514 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_306-1_0_8_line_16 |  | 12 | 50 | 0.0046974 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_306-1_0_8_line_17 |  | 12 | 51 | 0.023689 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_306-1_0_8_line_18 |  | 13 | 14 | 0.045463 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_306-1_0_8_line_19 |  | 13 | 15 | 0.074671 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_306-1_0_8_line_20 |  | 13 | 16 | 0.066139 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_306-1_0_8_line_21 |  | 14 | 52 | 0.081749 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
22 | LV_306-1_0_8_line_22 |  | 15 | 53 | 0.023296 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_306-1_0_8_line_23 |  | 17 | 34 | 0.035462 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_306-1_0_8_line_24 |  | 18 | 22 | 0.01073 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_306-1_0_8_line_25 |  | 19 | 20 | 0.01628 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
26 | LV_306-1_0_8_line_26 |  | 20 | 21 | 0.021941 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
27 | LV_306-1_0_8_line_27 |  | 21 | 47 | 0.013586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
28 | LV_306-1_0_8_line_28 |  | 22 | 23 | 0.021301 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_306-1_0_8_line_29 |  | 23 | 24 | 0.018496 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_306-1_0_8_line_30 |  | 23 | 25 | 0.024173 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_306-1_0_8_line_31 |  | 24 | 26 | 0.0008643 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_306-1_0_8_line_32 |  | 25 | 27 | 0.03412 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
33 | LV_306-1_0_8_line_33 |  | 26 | 28 | 0.0045252 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_306-1_0_8_line_34 |  | 29 | 30 | 0.040886 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_306-1_0_8_line_35 |  | 29 | 31 | 0.015639 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_306-1_0_8_line_36 |  | 30 | 37 | 0.030587 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_306-1_0_8_line_37 |  | 31 | 36 | 0.00086678 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_306-1_0_8_line_38 |  | 32 | 33 | 0.052803 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_306-1_0_8_line_39 |  | 33 | 77 | 0.0052767 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_306-1_0_8_line_40 |  | 34 | 35 | 0.014001 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_306-1_0_8_line_41 |  | 35 | 36 | 0.011367 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_306-1_0_8_line_42 |  | 37 | 43 | 0.024235 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_306-1_0_8_line_43 |  | 38 | 39 | 0.016454 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_306-1_0_8_line_44 |  | 38 | 40 | 0.0089678 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_306-1_0_8_line_45 |  | 40 | 41 | 5.3507e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_306-1_0_8_line_46 |  | 41 | 42 | 0.0013674 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_306-1_0_8_line_47 |  | 42 | 46 | 1.0676e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_306-1_0_8_line_48 |  | 43 | 44 | 0.052613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_306-1_0_8_line_49 |  | 44 | 45 | 0.020877 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_306-1_0_8_line_50 |  | 45 | 46 | 0.005474 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_306-1_0_8_line_51 |  | 47 | 100 | 0.020632 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
52 | LV_306-1_0_8_line_52 |  | 48 | 49 | 0.017809 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_306-1_0_8_line_53 |  | 49 | 130 | 0.022798 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_306-1_0_8_line_54 |  | 49 | 129 | 0.032121 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_306-1_0_8_line_55 |  | 52 | 68 | 0.022475 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
56 | LV_306-1_0_8_line_56 |  | 54 | 55 | 0.041205 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_306-1_0_8_line_57 |  | 54 | 56 | 0.007579 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_306-1_0_8_line_58 |  | 55 | 57 | 0.020319 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
59 | LV_306-1_0_8_line_59 |  | 55 | 58 | 0.021238 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_306-1_0_8_line_60 |  | 55 | 59 | 0.053443 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
61 | LV_306-1_0_8_line_61 |  | 57 | 60 | 0.040395 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
62 | LV_306-1_0_8_line_62 |  | 57 | 61 | 0.016761 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_306-1_0_8_line_63 |  | 59 | 103 | 0.030879 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
64 | LV_306-1_0_8_line_64 |  | 60 | 62 | 0.0098782 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_306-1_0_8_line_65 |  | 60 | 63 | 0.028568 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
66 | LV_306-1_0_8_line_66 |  | 61 | 105 | 0.020531 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_306-1_0_8_line_67 |  | 63 | 64 | 0.005651 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
68 | LV_306-1_0_8_line_68 |  | 64 | 65 | 0.034052 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
69 | LV_306-1_0_8_line_69 |  | 65 | 106 | 0.035798 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
70 | LV_306-1_0_8_line_70 |  | 65 | 95 | 0.0086036 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_306-1_0_8_line_71 |  | 66 | 67 | 0.019976 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_306-1_0_8_line_72 |  | 67 | 119 | 0.0050839 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_306-1_0_8_line_73 |  | 68 | 82 | 0.011141 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
74 | LV_306-1_0_8_line_74 |  | 69 | 70 | 0.038 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_306-1_0_8_line_75 |  | 70 | 71 | 0.009955 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_306-1_0_8_line_76 |  | 70 | 72 | 0.034608 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_306-1_0_8_line_77 |  | 72 | 73 | 0.011972 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_306-1_0_8_line_78 |  | 72 | 74 | 0.074572 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_306-1_0_8_line_79 |  | 73 | 79 | 0.007967 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_306-1_0_8_line_80 |  | 73 | 80 | 0.041004 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_306-1_0_8_line_81 |  | 74 | 81 | 0.040792 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_306-1_0_8_line_82 |  | 75 | 76 | 0.013128 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_306-1_0_8_line_83 |  | 76 | 81 | 0.074928 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_306-1_0_8_line_84 |  | 77 | 78 | 0.0052665 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_306-1_0_8_line_85 |  | 79 | 131 | 0.045095 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_306-1_0_8_line_86 |  | 81 | 129 | 0.10114 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_306-1_0_8_line_87 |  | 82 | 83 | 0.014824 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
88 | LV_306-1_0_8_line_88 |  | 83 | 103 | 0.016284 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
89 | LV_306-1_0_8_line_89 |  | 84 | 85 | 0.046049 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_306-1_0_8_line_90 |  | 84 | 86 | 0.046535 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_306-1_0_8_line_91 |  | 85 | 87 | 0.011427 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_306-1_0_8_line_92 |  | 86 | 88 | 0.011469 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_306-1_0_8_line_93 |  | 87 | 89 | 0.020786 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_306-1_0_8_line_94 |  | 88 | 90 | 0.029197 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_306-1_0_8_line_95 |  | 88 | 91 | 0.014502 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_306-1_0_8_line_96 |  | 89 | 96 | 0.090009 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_306-1_0_8_line_97 |  | 90 | 92 | 0.098777 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_306-1_0_8_line_98 |  | 90 | 93 | 0.0093438 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_306-1_0_8_line_99 |  | 91 | 97 | 0.011826 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_306-1_0_8_line_100 |  | 92 | 94 | 0.14258 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_306-1_0_8_line_101 |  | 92 | 95 | 0.1337 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_306-1_0_8_line_102 |  | 93 | 98 | 0.0066966 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_306-1_0_8_line_103 |  | 94 | 99 | 0.014475 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_306-1_0_8_line_104 |  | 96 | 145 | 0.046253 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_306-1_0_8_line_105 |  | 98 | 126 | 0.007866 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_306-1_0_8_line_106 |  | 98 | 123 | 0.020621 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_306-1_0_8_line_107 |  | 100 | 101 | 0.01877 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
108 | LV_306-1_0_8_line_108 |  | 100 | 102 | 0.0057836 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
109 | LV_306-1_0_8_line_109 |  | 101 | 135 | 0.008312 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
110 | LV_306-1_0_8_line_110 |  | 102 | 144 | 0.0022106 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
111 | LV_306-1_0_8_line_111 |  | 103 | 104 | 0.01597 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
112 | LV_306-1_0_8_line_112 |  | 106 | 118 | 0.0064813 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
113 | LV_306-1_0_8_line_113 |  | 107 | 108 | 0.0045908 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
114 | LV_306-1_0_8_line_114 |  | 107 | 109 | 0.0029476 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
115 | LV_306-1_0_8_line_115 |  | 108 | 110 | 0.026449 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
116 | LV_306-1_0_8_line_116 |  | 109 | 111 | 0.019437 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
117 | LV_306-1_0_8_line_117 |  | 110 | 112 | 0.0024797 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
118 | LV_306-1_0_8_line_118 |  | 111 | 113 | 0.0068216 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
119 | LV_306-1_0_8_line_119 |  | 112 | 114 | 0.017021 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
120 | LV_306-1_0_8_line_120 |  | 113 | 115 | 0.0016649 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
121 | LV_306-1_0_8_line_121 |  | 114 | 121 | 0.014434 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
122 | LV_306-1_0_8_line_122 |  | 115 | 120 | 0.020516 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
123 | LV_306-1_0_8_line_123 |  | 116 | 117 | 0.015024 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
124 | LV_306-1_0_8_line_124 |  | 116 | 118 | 0.0089478 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
125 | LV_306-1_0_8_line_125 |  | 117 | 119 | 0.021219 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
126 | LV_306-1_0_8_line_126 |  | 118 | 120 | 0.032738 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
127 | LV_306-1_0_8_line_127 |  | 121 | 122 | 0.0034075 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
128 | LV_306-1_0_8_line_128 |  | 122 | 139 | 0.00090762 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
129 | LV_306-1_0_8_line_129 |  | 123 | 124 | 0.029039 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
130 | LV_306-1_0_8_line_130 |  | 124 | 125 | 0.031085 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
131 | LV_306-1_0_8_line_131 |  | 126 | 127 | 0.014103 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
132 | LV_306-1_0_8_line_132 |  | 127 | 128 | 0.016401 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
133 | LV_306-1_0_8_line_133 |  | 130 | 132 | 0.00042828 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
134 | LV_306-1_0_8_line_134 |  | 132 | 141 | 0.0041823 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
135 | LV_306-1_0_8_line_135 |  | 133 | 134 | 0.0070547 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
136 | LV_306-1_0_8_line_136 |  | 133 | 135 | 0.00023901 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
137 | LV_306-1_0_8_line_137 |  | 134 | 136 | 0.0087438 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
138 | LV_306-1_0_8_line_138 |  | 136 | 137 | 0.018488 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
139 | LV_306-1_0_8_line_139 |  | 137 | 138 | 0.0042782 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
140 | LV_306-1_0_8_line_140 |  | 138 | 140 | 0.0010423 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
141 | LV_306-1_0_8_line_141 |  | 139 | 140 | 0.024183 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
142 | LV_306-1_0_8_line_142 |  | 141 | 142 | 0.021972 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
143 | LV_306-1_0_8_line_143 |  | 142 | 143 | 0.0071393 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
144 | LV_306-1_0_8_line_144 |  | 143 | 144 | 0.013387 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_306-1_0_8_trafo_8 | 0.63 MVA 20/0.4 kV | 146 | 20 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20
0 | 2589445.4379 | 1214007.4951 | 2589455.6398 | 1214013.4085
1 | 2589445.4379 | 1214007.4951 | 2589440.9617 | 1214004.9006
2 | 2589455.6398 | 1214013.4085 | 2589489.3982 | 1214032.9762 | 2589491.2585 | 1214034.2684
3 | 2589430.4097 | 1213998.7842 | 2589440.9617 | 1214004.9006
4 | 2589493.1885 | 1214035.6091 | 2589491.2585 | 1214034.2684
5 | 2589430.4097 | 1213998.7842 | 2589432.8186 | 1213995.3002 | 2589451.657 | 1213966.7424
6 | 2589430.4097 | 1213998.7842 | 2589418.1452 | 1213992.7337
7 | 2589236.6442 | 1214077.2855 | 2589237.9107 | 1214077.0085 | 2589246.915 | 1214075.3357 | 2589249.6584 | 1214076.309
8 | 2589249.6584 | 1214076.309 | 2589282.2983 | 1213978.8283
9 | 2589256.8845 | 1214097.7004 | 2589251.2956 | 1214078.7185 | 2589249.6584 | 1214076.309 | 2589249.6584 | 1214076.309
10 | 2589282.2983 | 1213978.8283 | 2589301.7436 | 1213972.6945
11 | 2589282.2983 | 1213978.8283 | 2589273.7155 | 1213978.4659 | 2589265.9094 | 1213974.978 | 2589259.5412 | 1213968.7639 | 2589256.7011 | 1213960.5978 | 2589256.2707 | 1213957.1186
12 | 2589256.8845 | 1214097.7004 | 2589257.7281 | 1214100.5657
13 | 2589510.381 | 1214049.3037 | 2589498.8806 | 1214039.563 | 2589493.1885 | 1214035.6091
14 | 2589451.657 | 1213966.7424 | 2589452.2391 | 1213965.8601 | 2589452.3195 | 1213965.5813
15 | 2589418.1452 | 1213992.7337 | 2589391.4976 | 1213979.5875 | 2589389.838 | 1213978.8898
16 | 2589510.381 | 1214049.3037 | 2589514.4096 | 1214051.7196
17 | 2589494.9578 | 1214067.3189 | 2589510.381 | 1214049.3037
18 | 2589501.225 | 1214256.4031 | 2589497.2167 | 1214270.118 | 2589487.303 | 1214281.2863 | 2589480.8092 | 1214289.5025 | 2589477.4568 | 1214294.197
19 | 2589501.225 | 1214256.4031 | 2589507.7384 | 1214250.6661 | 2589512.3193 | 1214255.7275 | 2589518.0415 | 1214262.0432 | 2589549.5525 | 1214301.6875
20 | 2589501.225 | 1214256.4031 | 2589488.44 | 1214258.7049 | 2589483.4825 | 1214259.6031 | 2589459.4258 | 1214273.8095 | 2589441.8396 | 1214283.6908
21 | 2589431.7498 | 1214361.964 | 2589467.908 | 1214307.4911 | 2589474.2034 | 1214298.7528 | 2589477.4568 | 1214294.197
22 | 2589532.7596 | 1214317.8819 | 2589549.5525 | 1214301.6875
23 | 2589444.2802 | 1213940.6268 | 2589458.0813 | 1213945.6049 | 2589452.3195 | 1213965.5813
24 | 2589379.947 | 1213974.7314 | 2589389.838 | 1213978.8898
25 | 2589261.4192 | 1214116.299 | 2589261.5127 | 1214113.4195 | 2589257.7281 | 1214100.5657
26 | 2589261.4192 | 1214116.299 | 2589261.4192 | 1214116.299 | 2589260.0344 | 1214119.0364 | 2589253.0995 | 1214126.8645 | 2589247.4193 | 1214133.0736
27 | 2589237.7745 | 1214142.6192 | 2589242.9733 | 1214137.9336 | 2589247.4193 | 1214133.0736
28 | 2589359.5042 | 1213968.85 | 2589368.0596 | 1213970.8469 | 2589377.8319 | 1213973.8421 | 2589379.947 | 1213974.7314
29 | 2589359.5042 | 1213968.85 | 2589361.3659 | 1213960.9089 | 2589364.0595 | 1213955.2675 | 2589366.618 | 1213952.0784
30 | 2589359.5042 | 1213968.85 | 2589346.5063 | 1213967.0835 | 2589335.4701 | 1213967.7359
31 | 2589366.618 | 1213952.0784 | 2589367.1588 | 1213951.4042 | 2589367.1588 | 1213951.4042
32 | 2589301.7436 | 1213972.6945 | 2589303.5668 | 1213972.1194 | 2589333.7029 | 1213967.8403 | 2589335.4701 | 1213967.7359
33 | 2589367.1588 | 1213951.4042 | 2589371.0136 | 1213949.0341
34 | 2589409.7195 | 1213917.0975 | 2589422.8987 | 1213901.2539 | 2589429.5725 | 1213891.5587 | 2589431.9208 | 1213888.1526 | 2589434.2002 | 1213884.4242
35 | 2589409.7195 | 1213917.0975 | 2589422.1827 | 1213926.5441
36 | 2589434.2002 | 1213884.4242 | 2589461.7294 | 1213897.7546
37 | 2589422.8735 | 1213927.0677 | 2589422.1827 | 1213926.5441
38 | 2589249.8714 | 1213904.7046 | 2589251.6665 | 1213919.1947 | 2589256.1539 | 1213956.1741 | 2589256.2707 | 1213957.1186
39 | 2589249.2226 | 1213899.4679 | 2589249.8714 | 1213904.7046
40 | 2589444.2802 | 1213940.6268 | 2589444.2802 | 1213940.6268 | 2589432.252 | 1213933.4601
41 | 2589422.8735 | 1213927.0677 | 2589427.8351 | 1213930.8284 | 2589432.252 | 1213933.4601
42 | 2589483.5413 | 1213908.3164 | 2589461.7294 | 1213897.7546
43 | 2589511.9067 | 1213953.855 | 2589527.6478 | 1213958.645
44 | 2589511.9067 | 1213953.855 | 2589503.3273 | 1213951.2444
45 | 2589503.2762 | 1213951.2288 | 2589503.3273 | 1213951.2444
46 | 2589503.2762 | 1213951.2288 | 2589501.968 | 1213950.8307
47 | 2589501.9578 | 1213950.8276 | 2589501.968 | 1213950.8307
48 | 2589483.5413 | 1213908.3164 | 2589480.8216 | 1213912.2012 | 2589472.6469 | 1213919.2642 | 2589466.7292 | 1213922.7989 | 2589464.1007 | 1213926.6613 | 2589462.6575 | 1213930.8552 | 2589462.8161 | 1213934.5792 | 2589464.455 | 1213937.9782 | 2589466.95 | 1213940.175 | 2589476.7482 | 1213943.1565
49 | 2589476.7482 | 1213943.1565 | 2589496.7209 | 1213949.2341
50 | 2589496.7209 | 1213949.2341 | 2589501.9578 | 1213950.8276
51 | 2589221.3067 | 1214155.0382 | 2589236.6573 | 1214143.6261 | 2589237.7745 | 1214142.6192
52 | 2589185.4727 | 1214087.0431 | 2589203.0323 | 1214084.0731
53 | 2589185.4727 | 1214087.0431 | 2589188.1812 | 1214097.9554 | 2589191.9237 | 1214108.8874
54 | 2589185.4727 | 1214087.0431 | 2589176.2177 | 1214088.6276 | 2589166.6721 | 1214089.0786 | 2589160.9142 | 1214088.4777 | 2589155.398 | 1214087.0982 | 2589153.8274 | 1214086.4471
55 | 2589431.7498 | 1214361.964 | 2589433.8874 | 1214363.9502 | 2589431.6766 | 1214367.723 | 2589442.0218 | 1214378.8379
56 | 2589391.1267 | 1214454.4333 | 2589386.3383 | 1214452.1517 | 2589385.0258 | 1214448.6521 | 2589384.3385 | 1214446.4965 | 2589383.0562 | 1214442.9079 | 2589387.0417 | 1214433.6177 | 2589390.3197 | 1214427.8864 | 2589395.3708 | 1214419.984
57 | 2589395.3708 | 1214419.984 | 2589399.2865 | 1214413.4949
58 | 2589391.1267 | 1214454.4333 | 2589378.1607 | 1214465.585 | 2589375.6127 | 1214467.6019
59 | 2589391.1267 | 1214454.4333 | 2589393.811 | 1214464.8677 | 2589395.0912 | 1214471.5691 | 2589396.7303 | 1214474.8204
60 | 2589391.1267 | 1214454.4333 | 2589395.9264 | 1214454.4914 | 2589400.4802 | 1214452.9823 | 2589403.9085 | 1214450.6416 | 2589435.516 | 1214426.629
61 | 2589348.4421 | 1214438.8345 | 2589352.3004 | 1214443.2856 | 2589355.9684 | 1214447.5147 | 2589359.4885 | 1214449.7319 | 2589363.3941 | 1214450.9478 | 2589375.6127 | 1214467.6019
62 | 2589375.6127 | 1214467.6019 | 2589363.3958 | 1214477.2292 | 2589362.5787 | 1214478.1176
63 | 2589462.4845 | 1214413.4049 | 2589458.422 | 1214413.6233 | 2589454.7621 | 1214413.93 | 2589451.4386 | 1214415.459 | 2589445.9916 | 1214418.6706 | 2589435.516 | 1214426.629
64 | 2589348.4421 | 1214438.8345 | 2589341.8236 | 1214446.1677
65 | 2589348.4421 | 1214438.8345 | 2589345.5655 | 1214435.5267 | 2589347.338 | 1214432.9999 | 2589348.1677 | 1214429.841 | 2589349.4855 | 1214423.6463 | 2589349.4753 | 1214417.9987 | 2589348.4042 | 1214413.5759 | 2589347.787 | 1214412.4319
66 | 2589360.9933 | 1214497.0163 | 2589359.4068 | 1214492.9675 | 2589358.4126 | 1214489.0782 | 2589358.7532 | 1214484.2638 | 2589360.3641 | 1214480.5254 | 2589362.5787 | 1214478.1176
67 | 2589351.8885 | 1214408.5446 | 2589347.787 | 1214412.4319
68 | 2589328.7492 | 1214383.5055 | 2589351.8885 | 1214408.5446
69 | 2589328.7492 | 1214383.5055 | 2589355.2042 | 1214359.3885
70 | 2589328.7492 | 1214383.5055 | 2589322.0082 | 1214388.8516
71 | 2589397.9824 | 1214322.0909 | 2589410.5314 | 1214337.633
72 | 2589397.9824 | 1214322.0909 | 2589394.141 | 1214325.4209
73 | 2589442.0218 | 1214378.8379 | 2589449.6126 | 1214386.9934
74 | 2589041.9152 | 1213888.4732 | 2589047.5036 | 1213887.6624 | 2589079.6537 | 1213884.0454
75 | 2589040.8108 | 1213878.5808 | 2589041.9152 | 1213888.4732
76 | 2589030.8886 | 1213917.8101 | 2589043.7146 | 1213904.5678 | 2589041.9152 | 1213888.4732
77 | 2589025.3247 | 1213907.2034 | 2589027.7408 | 1213911.8126 | 2589030.8886 | 1213917.8101
78 | 2589030.8886 | 1213917.8101 | 2589033.9068 | 1213923.5522 | 2589065.5347 | 1213983.8448
79 | 2589018.2989 | 1213910.9963 | 2589025.3247 | 1213907.2034
80 | 2589025.3247 | 1213907.2034 | 2589022.5725 | 1213901.572 | 2589006.5077 | 1213870.7746
81 | 2589084.4843 | 1214019.9685 | 2589065.5347 | 1213983.8448
82 | 2589122.4277 | 1213982.8667 | 2589121.1176 | 1213969.804
83 | 2589084.4843 | 1214019.9685 | 2589119.2245 | 1214016.825 | 2589121.8214 | 1214016.5645 | 2589117.7444 | 1213984.2761 | 2589122.4277 | 1213982.8667
84 | 2589249.2226 | 1213899.4679 | 2589248.5751 | 1213894.2413
85 | 2589018.2989 | 1213910.9963 | 2589008.094 | 1213916.5073 | 2589002.2059 | 1213923.5555 | 2589002.6702 | 1213936.3396 | 2589004.28 | 1213940.3055 | 2588998.5308 | 1213944.706
86 | 2589084.4843 | 1214019.9685 | 2589109.188 | 1214064.2368 | 2589113.0621 | 1214068.8212 | 2589118.285 | 1214071.7132 | 2589153.8274 | 1214086.4471
87 | 2589459.712 | 1214397.8442 | 2589449.6126 | 1214386.9934
88 | 2589462.4845 | 1214413.4049 | 2589462.5246 | 1214406.0673 | 2589462.1612 | 1214402.4548 | 2589460.9631 | 1214399.1884 | 2589459.712 | 1214397.8442
89 | 2589007.2211 | 1214393.8288 | 2589011.184 | 1214394.2038 | 2589052.6946 | 1214401.0312
90 | 2589098.6129 | 1214408.5835 | 2589052.6946 | 1214401.0312
91 | 2588996.1564 | 1214395.0099 | 2588998.5537 | 1214393.6825 | 2589003.6947 | 1214393.4951 | 2589007.2211 | 1214393.8288
92 | 2589098.6129 | 1214408.5835 | 2589110.0296 | 1214409.9855
93 | 2588996.1564 | 1214395.0099 | 2588990.932 | 1214387.093 | 2588987.5704 | 1214376.3043
94 | 2589139.1291 | 1214413.245 | 2589110.0296 | 1214409.9855
95 | 2589110.0296 | 1214409.9855 | 2589112.9734 | 1214395.7858
96 | 2588987.5704 | 1214376.3043 | 2588980.3386 | 1214367.0236 | 2588979.5312 | 1214365.7466 | 2588979.1108 | 1214364.2688 | 2588977.9867 | 1214351.9751 | 2588975.0846 | 1214343.2533 | 2588974.6929 | 1214336.806 | 2588975.5159 | 1214334.2586 | 2588977.6751 | 1214331.4641 | 2588978.849 | 1214329.7609 | 2588979.3003 | 1214327.381 | 2588977.9509 | 1214290.9057
97 | 2589139.1291 | 1214413.245 | 2589163.8738 | 1214456.1127 | 2589212.8734 | 1214461.3594
98 | 2589139.1291 | 1214413.245 | 2589147.4469 | 1214408.9879
99 | 2589115.3741 | 1214384.2056 | 2589112.9734 | 1214395.7858
100 | 2589212.8734 | 1214461.3594 | 2589219.6406 | 1214470.1298 | 2589224.619 | 1214476.5799 | 2589232.1916 | 1214485.5935 | 2589240.7687 | 1214495.7947 | 2589242.8248 | 1214498.8816 | 2589246.1448 | 1214503.8562 | 2589246.5933 | 1214512.4268 | 2589247.7251 | 1214516.7606 | 2589246.8256 | 1214519.0524 | 2589246.3819 | 1214521.4768 | 2589246.4861 | 1214524.4894 | 2589247.2812 | 1214527.3896 | 2589248.7365 | 1214530.0329 | 2589250.7681 | 1214532.2638 | 2589253.7105 | 1214534.1817 | 2589257.0615 | 1214535.2429 | 2589249.003 | 1214542.9952 | 2589242.6377 | 1214546.342 | 2589238.4125 | 1214548.929 | 2589216.7491 | 1214566.9341
101 | 2589212.8734 | 1214461.3594 | 2589218.8883 | 1214461.5152 | 2589224.2488 | 1214460.9718 | 2589228.3481 | 1214460.1417 | 2589232.7727 | 1214458.5549 | 2589238.6905 | 1214455.4647 | 2589245.4112 | 1214451.2167 | 2589279.2467 | 1214423.7621 | 2589298.4004 | 1214407.5738 | 2589301.4641 | 1214405.1447 | 2589322.0082 | 1214388.8516
102 | 2589153.4081 | 1214405.9369 | 2589147.4469 | 1214408.9879
103 | 2589216.7491 | 1214566.9341 | 2589205.5139 | 1214576.0602
104 | 2588994.8525 | 1214249.2969 | 2588993.3263 | 1214253.5244 | 2588991.2322 | 1214258.6867 | 2588978.1994 | 1214278.6445 | 2588977.5809 | 1214280.9024 | 2588977.9509 | 1214290.9057
105 | 2589157.453 | 1214412.6889 | 2589153.4081 | 1214405.9369
106 | 2589153.4081 | 1214405.9369 | 2589142.812 | 1214388.2464
107 | 2589221.3067 | 1214155.0382 | 2589234.0175 | 1214168.8495
108 | 2589221.3067 | 1214155.0382 | 2589217.3143 | 1214150.8536
109 | 2589239.4451 | 1214175.1442 | 2589234.5855 | 1214169.4666 | 2589234.0175 | 1214168.8495
110 | 2589217.3143 | 1214150.8536 | 2589215.7883 | 1214149.2542
111 | 2589462.4845 | 1214413.4049 | 2589467.0721 | 1214413.7969 | 2589470.9398 | 1214415.0018 | 2589473.594 | 1214417.1539 | 2589476.549 | 1214419.6949
112 | 2589359.994 | 1214355.0221 | 2589355.2042 | 1214359.3885
113 | 2589309.3294 | 1214288.1607 | 2589307.2849 | 1214284.0503
114 | 2589309.3294 | 1214288.1607 | 2589310.6421 | 1214290.7999
115 | 2589295.506 | 1214260.3689 | 2589307.2849 | 1214284.0503
116 | 2589320.9716 | 1214307.1773 | 2589320.7356 | 1214306.8879 | 2589316.4882 | 1214301.537 | 2589312.9611 | 1214295.4622 | 2589310.6421 | 1214290.7999
117 | 2589295.506 | 1214260.3689 | 2589294.4017 | 1214258.1487
118 | 2589320.9716 | 1214307.1773 | 2589325.2831 | 1214312.4636
119 | 2589286.2762 | 1214243.2087 | 2589290.1937 | 1214249.6887 | 2589294.4017 | 1214258.1487
120 | 2589326.3354 | 1214313.7538 | 2589325.2831 | 1214312.4636
121 | 2589278.7145 | 1214230.915 | 2589281.6471 | 1214235.5517 | 2589286.2762 | 1214243.2087
122 | 2589326.3354 | 1214313.7538 | 2589339.3023 | 1214329.6522
123 | 2589366.755 | 1214349.1611 | 2589378.1073 | 1214339.3201
124 | 2589359.994 | 1214355.0221 | 2589366.755 | 1214349.1611
125 | 2589394.141 | 1214325.4209 | 2589378.1073 | 1214339.3201
126 | 2589359.994 | 1214355.0221 | 2589339.3023 | 1214329.6522
127 | 2589276.8931 | 1214228.0351 | 2589278.7145 | 1214230.915
128 | 2589276.4079 | 1214227.2681 | 2589276.8931 | 1214228.0351
129 | 2589160.7014 | 1214365.6628 | 2589159.9158 | 1214368.3594 | 2589142.812 | 1214388.2464
130 | 2589160.7014 | 1214365.6628 | 2589167.0476 | 1214343.877 | 2589165.1411 | 1214335.7025
131 | 2589157.453 | 1214412.6889 | 2589165.29 | 1214424.4139
132 | 2589174.4042 | 1214438.0499 | 2589165.29 | 1214424.4139
133 | 2589191.9237 | 1214108.8874 | 2589192.0624 | 1214109.2926
134 | 2589193.4558 | 1214113.2328 | 2589193.3274 | 1214112.9878 | 2589192.0624 | 1214109.2926
135 | 2589239.6005 | 1214175.3258 | 2589244.1879 | 1214180.6853
136 | 2589239.4451 | 1214175.1442 | 2589239.6005 | 1214175.3258
137 | 2589244.1879 | 1214180.6853 | 2589249.8737 | 1214187.3281
138 | 2589249.8737 | 1214187.3281 | 2589251.9912 | 1214189.802 | 2589256.7419 | 1214196.2637 | 2589260.6328 | 1214202.3356
139 | 2589262.9238 | 1214205.9486 | 2589261.0754 | 1214203.0263 | 2589260.6328 | 1214202.3356
140 | 2589262.9238 | 1214205.9486 | 2589263.4809 | 1214206.8295
141 | 2589276.4079 | 1214227.2681 | 2589263.4809 | 1214206.8295
142 | 2589193.4558 | 1214113.2328 | 2589201.1467 | 1214127.9041 | 2589204.0177 | 1214132.4862
143 | 2589207.8083 | 1214138.5361 | 2589204.0177 | 1214132.4862
144 | 2589207.8083 | 1214138.5361 | 2589210.2335 | 1214142.4068 | 2589215.3031 | 1214148.7456 | 2589215.7883 | 1214149.2542

## bus_geodata
| x | y | coords
0 | 2589445.4379 | 1214007.4951
1 | 2589455.6398 | 1214013.4085
2 | 2589440.9617 | 1214004.9006
3 | 2589491.2585 | 1214034.2684
4 | 2589430.4097 | 1213998.7842
5 | 2589249.6584 | 1214076.309
6 | 2589236.6442 | 1214077.2855
7 | 2589282.2983 | 1213978.8283
8 | 2589256.8845 | 1214097.7004
9 | 2589493.1885 | 1214035.6091
10 | 2589451.657 | 1213966.7424
11 | 2589418.1452 | 1213992.7337
12 | 2589510.381 | 1214049.3037
13 | 2589501.225 | 1214256.4031
14 | 2589477.4568 | 1214294.197
15 | 2589549.5525 | 1214301.6875
16 | 2589441.8396 | 1214283.6908
17 | 2589452.3195 | 1213965.5813
18 | 2589389.838 | 1213978.8898
19 | 2589257.7281 | 1214100.5657
20 | 2589261.4192 | 1214116.299
21 | 2589247.4193 | 1214133.0736
22 | 2589379.947 | 1213974.7314
23 | 2589359.5042 | 1213968.85
24 | 2589366.618 | 1213952.0784
25 | 2589335.4701 | 1213967.7359
26 | 2589367.1588 | 1213951.4042
27 | 2589301.7436 | 1213972.6945
28 | 2589371.0136 | 1213949.0341
29 | 2589409.7195 | 1213917.0975
30 | 2589434.2002 | 1213884.4242
31 | 2589422.1827 | 1213926.5441
32 | 2589256.2707 | 1213957.1186
33 | 2589249.8714 | 1213904.7046
34 | 2589444.2802 | 1213940.6267
35 | 2589432.252 | 1213933.4601
36 | 2589422.8735 | 1213927.0677
37 | 2589461.7294 | 1213897.7546
38 | 2589511.9067 | 1213953.855
39 | 2589527.6478 | 1213958.645
40 | 2589503.3273 | 1213951.2444
41 | 2589503.2762 | 1213951.2288
42 | 2589501.968 | 1213950.8307
43 | 2589483.5413 | 1213908.3164
44 | 2589476.7482 | 1213943.1565
45 | 2589496.7209 | 1213949.2341
46 | 2589501.9578 | 1213950.8276
47 | 2589237.7745 | 1214142.6192
48 | 2589203.0323 | 1214084.0731
49 | 2589185.4727 | 1214087.0431
50 | 2589514.4096 | 1214051.7196
51 | 2589494.9578 | 1214067.3189
52 | 2589431.7498 | 1214361.964
53 | 2589532.7596 | 1214317.8819
54 | 2589395.3708 | 1214419.984
55 | 2589391.1267 | 1214454.4333
56 | 2589399.2865 | 1214413.4949
57 | 2589375.6127 | 1214467.6019
58 | 2589396.7303 | 1214474.8204
59 | 2589435.516 | 1214426.629
60 | 2589348.4421 | 1214438.8345
61 | 2589362.5787 | 1214478.1176
62 | 2589341.8236 | 1214446.1677
63 | 2589347.787 | 1214412.4319
64 | 2589351.8885 | 1214408.5446
65 | 2589328.7492 | 1214383.5055
66 | 2589410.5314 | 1214337.633
67 | 2589397.9824 | 1214322.0909
68 | 2589442.0218 | 1214378.8379
69 | 2589079.6537 | 1213884.0454
70 | 2589041.9152 | 1213888.4732
71 | 2589040.8108 | 1213878.5808
72 | 2589030.8886 | 1213917.8101
73 | 2589025.3247 | 1213907.2034
74 | 2589065.5347 | 1213983.8448
75 | 2589121.1176 | 1213969.804
76 | 2589122.4277 | 1213982.8667
77 | 2589249.2226 | 1213899.4679
78 | 2589248.5751 | 1213894.2413
79 | 2589018.2989 | 1213910.9963
80 | 2589006.5077 | 1213870.7746
81 | 2589084.4843 | 1214019.9685
82 | 2589449.6126 | 1214386.9934
83 | 2589459.712 | 1214397.8442
84 | 2589052.6946 | 1214401.0312
85 | 2589007.2211 | 1214393.8288
86 | 2589098.6129 | 1214408.5835
87 | 2588996.1564 | 1214395.0099
88 | 2589110.0296 | 1214409.9855
89 | 2588987.5705 | 1214376.3043
90 | 2589139.1291 | 1214413.245
91 | 2589112.9733 | 1214395.7858
92 | 2589212.8734 | 1214461.3594
93 | 2589147.4469 | 1214408.9879
94 | 2589216.7491 | 1214566.9341
95 | 2589322.0082 | 1214388.8516
96 | 2588977.9509 | 1214290.9057
97 | 2589115.3741 | 1214384.2056
98 | 2589153.4081 | 1214405.9369
99 | 2589205.5139 | 1214576.0602
100 | 2589221.3067 | 1214155.0382
101 | 2589234.0176 | 1214168.8495
102 | 2589217.3143 | 1214150.8536
103 | 2589462.4845 | 1214413.4049
104 | 2589476.549 | 1214419.6949
105 | 2589360.9933 | 1214497.0163
106 | 2589355.2042 | 1214359.3885
107 | 2589309.3294 | 1214288.1607
108 | 2589307.2849 | 1214284.0503
109 | 2589310.6421 | 1214290.7999
110 | 2589295.506 | 1214260.3689
111 | 2589320.9716 | 1214307.1773
112 | 2589294.4017 | 1214258.1487
113 | 2589325.2831 | 1214312.4636
114 | 2589286.2762 | 1214243.2087
115 | 2589326.3354 | 1214313.7538
116 | 2589366.755 | 1214349.1611
117 | 2589378.1073 | 1214339.3201
118 | 2589359.994 | 1214355.0221
119 | 2589394.141 | 1214325.4209
120 | 2589339.3023 | 1214329.6522
121 | 2589278.7145 | 1214230.915
122 | 2589276.8931 | 1214228.0351
123 | 2589142.812 | 1214388.2464
124 | 2589160.7014 | 1214365.6628
125 | 2589165.1411 | 1214335.7025
126 | 2589157.453 | 1214412.6889
127 | 2589165.29 | 1214424.4139
128 | 2589174.4042 | 1214438.0499
129 | 2589153.8274 | 1214086.4471
130 | 2589191.9237 | 1214108.8874
131 | 2588998.5308 | 1213944.706
132 | 2589192.0624 | 1214109.2926
133 | 2589239.6005 | 1214175.3258
134 | 2589244.1879 | 1214180.6853
135 | 2589239.4451 | 1214175.1442
136 | 2589249.8737 | 1214187.3281
137 | 2589260.6328 | 1214202.3356
138 | 2589262.9238 | 1214205.9486
139 | 2589276.4079 | 1214227.2681
140 | 2589263.4809 | 1214206.8295
141 | 2589193.4558 | 1214113.2328
142 | 2589204.0177 | 1214132.4862
143 | 2589207.8083 | 1214138.5361
144 | 2589215.7883 | 1214149.2542
145 | 2588994.8525 | 1214249.2969
146 | 2589221.3067 | 1214155.0382

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1