## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_306-22_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_306-22_0_4_node_2 | 0.4 | n |  | TRUE
2 | bus_LV_306-22_0_4_node_5 | 0.4 | n |  | TRUE
3 | bus_LV_306-22_0_4_node_6 | 0.4 | n |  | TRUE
4 | bus_LV_306-22_0_4_node_3 | 0.4 | n |  | TRUE
5 | bus_LV_306-22_0_4_node_4 | 0.4 | n |  | TRUE
6 | bus_LV_306-22_0_4_node_19 | 0.4 | n |  | TRUE
7 | bus_LV_306-22_0_4_node_18 | 0.4 | n |  | TRUE
8 | bus_LV_306-22_0_4_node_23 | 0.4 | n |  | TRUE
9 | bus_LV_306-22_0_4_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_306-22_0_4_node_20 | 0.4 | n |  | TRUE
11 | bus_LV_306-22_0_4_node_57 | 0.4 | n |  | TRUE
12 | bus_LV_306-22_0_4_node_17 | 0.4 | n |  | TRUE
13 | bus_LV_306-22_0_4_node_21 | 0.4 | n |  | TRUE
14 | bus_LV_306-22_0_4_node_56 | 0.4 | n |  | TRUE
15 | bus_LV_306-22_0_4_node_8 | 0.4 | n |  | TRUE
16 | bus_LV_306-22_0_4_node_10 | 0.4 | n |  | TRUE
17 | bus_LV_306-22_0_4_node_12 | 0.4 | n |  | TRUE
18 | bus_LV_306-22_0_4_node_14 | 0.4 | n |  | TRUE
19 | bus_LV_306-22_0_4_node_13 | 0.4 | n |  | TRUE
20 | bus_LV_306-22_0_4_node_65 | 0.4 | n |  | TRUE
21 | bus_LV_306-22_0_4_node_66 | 0.4 | n |  | TRUE
22 | bus_LV_306-22_0_4_node_16 | 0.4 | n |  | TRUE
23 | bus_LV_306-22_0_4_node_22 | 0.4 | n |  | TRUE
24 | bus_LV_306-22_0_4_node_15 | 0.4 | n |  | TRUE
25 | bus_LV_306-22_0_4_node_24 | 0.4 | n |  | TRUE
26 | bus_LV_306-22_0_4_node_82 | 0.4 | n |  | TRUE
27 | bus_LV_306-22_0_4_node_81 | 0.4 | n |  | TRUE
28 | bus_LV_306-22_0_4_node_59 | 0.4 | n |  | TRUE
29 | bus_LV_306-22_0_4_node_25 | 0.4 | n |  | TRUE
30 | bus_LV_306-22_0_4_node_26 | 0.4 | n |  | TRUE
31 | bus_LV_306-22_0_4_node_27 | 0.4 | n |  | TRUE
32 | bus_LV_306-22_0_4_node_92 | 0.4 | n |  | TRUE
33 | bus_LV_306-22_0_4_node_28 | 0.4 | n |  | TRUE
34 | bus_LV_306-22_0_4_node_29 | 0.4 | n |  | TRUE
35 | bus_LV_306-22_0_4_node_31 | 0.4 | n |  | TRUE
36 | bus_LV_306-22_0_4_node_32 | 0.4 | n |  | TRUE
37 | bus_LV_306-22_0_4_node_88 | 0.4 | n |  | TRUE
38 | bus_LV_306-22_0_4_node_89 | 0.4 | n |  | TRUE
39 | bus_LV_306-22_0_4_node_86 | 0.4 | n |  | TRUE
40 | bus_LV_306-22_0_4_node_90 | 0.4 | n |  | TRUE
41 | bus_LV_306-22_0_4_node_96 | 0.4 | n |  | TRUE
42 | bus_LV_306-22_0_4_node_95 | 0.4 | n |  | TRUE
43 | bus_LV_306-22_0_4_node_39 | 0.4 | n |  | TRUE
44 | bus_LV_306-22_0_4_node_36 | 0.4 | n |  | TRUE
45 | bus_LV_306-22_0_4_node_100 | 0.4 | n |  | TRUE
46 | bus_LV_306-22_0_4_node_101 | 0.4 | n |  | TRUE
47 | bus_LV_306-22_0_4_node_30 | 0.4 | n |  | TRUE
48 | bus_LV_306-22_0_4_node_35 | 0.4 | n |  | TRUE
49 | bus_LV_306-22_0_4_node_33 | 0.4 | n |  | TRUE
50 | bus_LV_306-22_0_4_node_91 | 0.4 | n |  | TRUE
51 | bus_LV_306-22_0_4_node_84 | 0.4 | n |  | TRUE
52 | bus_LV_306-22_0_4_node_104 | 0.4 | n |  | TRUE
53 | bus_LV_306-22_0_4_node_85 | 0.4 | n |  | TRUE
54 | bus_LV_306-22_0_4_node_97 | 0.4 | n |  | TRUE
55 | bus_LV_306-22_0_4_node_98 | 0.4 | n |  | TRUE
56 | bus_LV_306-22_0_4_node_99 | 0.4 | n |  | TRUE
57 | bus_LV_306-22_0_4_node_42 | 0.4 | n |  | TRUE
58 | bus_LV_306-22_0_4_node_37 | 0.4 | n |  | TRUE
59 | bus_LV_306-22_0_4_node_103 | 0.4 | n |  | TRUE
60 | bus_LV_306-22_0_4_node_83 | 0.4 | n |  | TRUE
61 | bus_LV_306-22_0_4_node_63 | 0.4 | n |  | TRUE
62 | bus_LV_306-22_0_4_node_67 | 0.4 | n |  | TRUE
63 | bus_LV_306-22_0_4_node_34 | 0.4 | n |  | TRUE
64 | bus_LV_306-22_0_4_node_61 | 0.4 | n |  | TRUE
65 | bus_LV_306-22_0_4_node_74 | 0.4 | n |  | TRUE
66 | bus_LV_306-22_0_4_node_38 | 0.4 | n |  | TRUE
67 | bus_LV_306-22_0_4_node_54 | 0.4 | n |  | TRUE
68 | bus_LV_306-22_0_4_node_55 | 0.4 | n |  | TRUE
69 | bus_LV_306-22_0_4_node_49 | 0.4 | n |  | TRUE
70 | bus_LV_306-22_0_4_node_40 | 0.4 | n |  | TRUE
71 | bus_LV_306-22_0_4_node_93 | 0.4 | n |  | TRUE
72 | bus_LV_306-22_0_4_node_94 | 0.4 | n |  | TRUE
73 | bus_LV_306-22_0_4_node_41 | 0.4 | n |  | TRUE
74 | bus_LV_306-22_0_4_node_43 | 0.4 | n |  | TRUE
75 | bus_LV_306-22_0_4_node_45 | 0.4 | n |  | TRUE
76 | bus_LV_306-22_0_4_node_51 | 0.4 | n |  | TRUE
77 | bus_LV_306-22_0_4_node_52 | 0.4 | n |  | TRUE
78 | bus_LV_306-22_0_4_node_50 | 0.4 | n |  | TRUE
79 | bus_LV_306-22_0_4_node_46 | 0.4 | n |  | TRUE
80 | bus_LV_306-22_0_4_node_47 | 0.4 | n |  | TRUE
81 | bus_LV_306-22_0_4_node_48 | 0.4 | n |  | TRUE
82 | bus_LV_306-22_0_4_node_62 | 0.4 | n |  | TRUE
83 | bus_LV_306-22_0_4_node_64 | 0.4 | n |  | TRUE
84 | bus_LV_306-22_0_4_node_69 | 0.4 | n |  | TRUE
85 | bus_LV_306-22_0_4_node_72 | 0.4 | n |  | TRUE
86 | bus_LV_306-22_0_4_node_68 | 0.4 | n |  | TRUE
87 | bus_LV_306-22_0_4_node_70 | 0.4 | n |  | TRUE
88 | bus_LV_306-22_0_4_node_75 | 0.4 | n |  | TRUE
89 | bus_LV_306-22_0_4_node_71 | 0.4 | n |  | TRUE
90 | bus_LV_306-22_0_4_node_73 | 0.4 | n |  | TRUE
91 | bus_LV_306-22_0_4_node_76 | 0.4 | n |  | TRUE
92 | bus_LV_306-22_0_4_node_77 | 0.4 | n |  | TRUE
93 | bus_LV_306-22_0_4_node_78 | 0.4 | n |  | TRUE
94 | bus_LV_306-22_0_4_node_79 | 0.4 | n |  | TRUE
95 | bus_LV_306-22_0_4_node_80 | 0.4 | n |  | TRUE
96 | bus_LV_306-22_0_4_node_102 | 0.4 | n |  | TRUE
97 | bus_MV_404_0_node_30 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_306-22_0_4_load_0 | 0 | 0.011604 | 0.0029083 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_306-22_0_4_load_6 | 3 | 0.011547 | 0.0028939 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_306-22_0_4_load_19 | 6 | 0.020571 | 0.0051555 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_306-22_0_4_load_18 | 7 | 0.010566 | 0.0026482 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_306-22_0_4_load_23 | 8 | 0.0057101 | 0.0014311 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_306-22_0_4_load_20 | 10 | 0.036093 | 0.0090456 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_306-22_0_4_load_17 | 12 | 0.010405 | 0.0026079 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_306-22_0_4_load_21 | 13 | 0.030375 | 0.0076126 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_306-22_0_4_load_56 | 14 | 0.0011379 | 0.00028519 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_306-22_0_4_load_8 | 15 | 0.01855 | 0.004649 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_306-22_0_4_load_13 | 19 | 0.016188 | 0.0040571 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_306-22_0_4_load_65 | 20 | 0.0029995 | 0.00075175 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_306-22_0_4_load_16 | 22 | 0.030628 | 0.0076761 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_306-22_0_4_load_15 | 24 | 0.049715 | 0.01246 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_306-22_0_4_load_24 | 25 | 0.0029617 | 0.00074227 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_306-22_0_4_load_81 | 27 | 0.0037244 | 0.00093343 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_306-22_0_4_load_59 | 28 | 0.040904 | 0.010252 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_306-22_0_4_load_25 | 29 | 0.016228 | 0.0040671 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_306-22_0_4_load_88 | 37 | 0.005317 | 0.0013326 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_306-22_0_4_load_89 | 38 | 0.0013688 | 0.00034306 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_306-22_0_4_load_86 | 39 | 0.0014992 | 0.00037573 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_306-22_0_4_load_96 | 41 | 0.00064912 | 0.00016268 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_306-22_0_4_load_95 | 42 | 0.0027467 | 0.00068839 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_306-22_0_4_load_36 | 44 | 0.0029529 | 0.00074005 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_306-22_0_4_load_100 | 45 | 0.007863 | 0.0019707 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_306-22_0_4_load_33 | 49 | 0.0037148 | 0.00093101 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_306-22_0_4_load_91 | 50 | 0.00068783 | 0.00017239 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_306-22_0_4_load_84 | 51 | 0.0076084 | 0.0019068 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_306-22_0_4_load_104 | 52 | 0.0089913 | 0.0022534 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_306-22_0_4_load_85 | 53 | 0.002619 | 0.00065637 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_306-22_0_4_load_97 | 54 | 0.0067741 | 0.0016978 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_306-22_0_4_load_98 | 55 | 0.0091967 | 0.0023049 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_306-22_0_4_load_99 | 56 | 0.0034064 | 0.00085373 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_306-22_0_4_load_37 | 58 | 0.0022244 | 0.0005575 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_306-22_0_4_load_103 | 59 | 0.0079676 | 0.0019969 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_306-22_0_4_load_63 | 61 | 0.0036637 | 0.00091822 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_306-22_0_4_load_34 | 63 | 0.0053204 | 0.0013334 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_306-22_0_4_load_61 | 64 | 0.0029785 | 0.00074648 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_306-22_0_4_load_74 | 65 | 0.0028801 | 0.00072181 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_306-22_0_4_load_38 | 66 | 0.0042773 | 0.001072 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_306-22_0_4_load_54 | 67 | 0.0021657 | 0.00054277 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_306-22_0_4_load_55 | 68 | 0.002229 | 0.00055864 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_306-22_0_4_load_49 | 69 | 0.0023339 | 0.00058494 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_306-22_0_4_load_40 | 70 | 0.0019816 | 0.00049664 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_306-22_0_4_load_93 | 71 | 0.0027498 | 0.00068916 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_306-22_0_4_load_94 | 72 | 0.00094302 | 0.00023634 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_306-22_0_4_load_41 | 73 | 0.00076558 | 0.00019187 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_306-22_0_4_load_43 | 74 | 0.0015058 | 0.00037738 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_306-22_0_4_load_45 | 75 | 0.0012336 | 0.00030916 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_306-22_0_4_load_52 | 77 | 0.0018454 | 0.00046249 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_306-22_0_4_load_50 | 78 | 0.001524 | 0.00038194 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_306-22_0_4_load_46 | 79 | 0.0021707 | 0.00054402 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_306-22_0_4_load_47 | 80 | 0.0014504 | 0.0003635 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_306-22_0_4_load_48 | 81 | 0.0026665 | 0.00066828 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_306-22_0_4_load_62 | 82 | 0.0030746 | 0.00077058 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_306-22_0_4_load_64 | 83 | 0.0029841 | 0.00074789 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_306-22_0_4_load_69 | 84 | 0.0030229 | 0.00075761 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_306-22_0_4_load_72 | 85 | 0.0036686 | 0.00091944 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_306-22_0_4_load_68 | 86 | 0.0024177 | 0.00060593 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_306-22_0_4_load_70 | 87 | 0.0023771 | 0.00059576 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_306-22_0_4_load_75 | 88 | 0.0023346 | 0.0005851 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_306-22_0_4_load_71 | 89 | 0.0023766 | 0.00059563 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_306-22_0_4_load_73 | 90 | 0.0023711 | 0.00059426 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_306-22_0_4_load_76 | 91 | 0.0030315 | 0.00075978 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_306-22_0_4_load_77 | 92 | 0.0030917 | 0.00077486 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_306-22_0_4_load_78 | 93 | 0.0030293 | 0.00075923 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_306-22_0_4_load_79 | 94 | 0.0030334 | 0.00076024 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_306-22_0_4_load_80 | 95 | 0.0035959 | 0.00090122 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_306-22_0_4_load_102 | 96 | 0.0077793 | 0.0019497 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 25 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_306-22_0_4_line_0 |  | 0 | 1 | 0.0050786 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_306-22_0_4_line_1 |  | 1 | 2 | 0.028371 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_306-22_0_4_line_2 |  | 1 | 3 | 0.0045942 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_306-22_0_4_line_3 |  | 2 | 8 | 0.01396 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_306-22_0_4_line_4 |  | 3 | 4 | 0.096708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_306-22_0_4_line_5 |  | 4 | 5 | 0.18334 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_306-22_0_4_line_6 |  | 5 | 6 | 0.002774 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_306-22_0_4_line_7 |  | 5 | 7 | 0.012597 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_306-22_0_4_line_8 |  | 7 | 12 | 0.00019701 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_306-22_0_4_line_9 |  | 8 | 9 | 0.025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_306-22_0_4_line_10 |  | 9 | 10 | 0.035128 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_306-22_0_4_line_11 |  | 9 | 11 | 0.071956 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_306-22_0_4_line_12 |  | 10 | 13 | 0.036549 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_306-22_0_4_line_13 |  | 11 | 14 | 0.034811 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_306-22_0_4_line_14 |  | 13 | 23 | 0.031051 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
15 | LV_306-22_0_4_line_15 |  | 15 | 16 | 0.034283 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_306-22_0_4_line_16 |  | 16 | 17 | 0.049874 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_306-22_0_4_line_17 |  | 17 | 18 | 0.055866 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_306-22_0_4_line_18 |  | 17 | 19 | 0.020431 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_306-22_0_4_line_19 |  | 18 | 22 | 0.024918 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_306-22_0_4_line_20 |  | 18 | 23 | 0.026172 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_306-22_0_4_line_21 |  | 20 | 21 | 0.012906 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_306-22_0_4_line_22 |  | 21 | 86 | 0.020435 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_306-22_0_4_line_23 |  | 21 | 62 | 0.016991 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_306-22_0_4_line_24 |  | 22 | 24 | 3.9318e-06 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_306-22_0_4_line_25 |  | 23 | 25 | 0.039722 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
26 | LV_306-22_0_4_line_26 |  | 25 | 26 | 0.017522 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
27 | LV_306-22_0_4_line_27 |  | 26 | 27 | 0.0026227 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
28 | LV_306-22_0_4_line_28 |  | 26 | 28 | 0.081284 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_306-22_0_4_line_29 |  | 27 | 35 | 0.021396 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
30 | LV_306-22_0_4_line_30 |  | 29 | 30 | 0.010231 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_306-22_0_4_line_31 |  | 29 | 31 | 0.022905 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
32 | LV_306-22_0_4_line_32 |  | 29 | 32 | 0.059588 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_306-22_0_4_line_33 |  | 30 | 33 | 0.024025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_306-22_0_4_line_34 |  | 30 | 34 | 0.065681 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_306-22_0_4_line_35 |  | 31 | 35 | 0.038282 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
36 | LV_306-22_0_4_line_36 |  | 31 | 36 | 0.007137 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_306-22_0_4_line_37 |  | 32 | 41 | 0.023729 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_306-22_0_4_line_38 |  | 32 | 40 | 0.061195 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_306-22_0_4_line_39 |  | 33 | 43 | 0.015748 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_306-22_0_4_line_40 |  | 33 | 44 | 0.017321 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_306-22_0_4_line_41 |  | 34 | 45 | 0.007126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_306-22_0_4_line_42 |  | 34 | 46 | 0.016058 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_306-22_0_4_line_43 |  | 34 | 47 | 0.024974 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_306-22_0_4_line_44 |  | 35 | 51 | 0.014939 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_306-22_0_4_line_45 |  | 36 | 52 | 0.001242 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_306-22_0_4_line_46 |  | 37 | 38 | 0.0029461 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_306-22_0_4_line_47 |  | 37 | 39 | 0.022859 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_306-22_0_4_line_48 |  | 38 | 40 | 0.036032 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_306-22_0_4_line_49 |  | 39 | 53 | 0.020234 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_306-22_0_4_line_50 |  | 40 | 50 | 0.026785 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_306-22_0_4_line_51 |  | 41 | 42 | 0.014822 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_306-22_0_4_line_52 |  | 42 | 54 | 0.053797 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_306-22_0_4_line_53 |  | 43 | 56 | 0.023958 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_306-22_0_4_line_54 |  | 43 | 57 | 0.053539 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_306-22_0_4_line_55 |  | 44 | 58 | 0.021363 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_306-22_0_4_line_56 |  | 46 | 59 | 0.005189 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_306-22_0_4_line_57 |  | 46 | 60 | 0.020925 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_306-22_0_4_line_58 |  | 47 | 48 | 0.029071 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_306-22_0_4_line_59 |  | 47 | 49 | 0.027843 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_306-22_0_4_line_60 |  | 48 | 61 | 0.016532 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_306-22_0_4_line_61 |  | 48 | 62 | 0.024685 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_306-22_0_4_line_62 |  | 49 | 63 | 0.018978 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_306-22_0_4_line_63 |  | 50 | 71 | 0.0049545 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_306-22_0_4_line_64 |  | 54 | 55 | 0.026179 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_306-22_0_4_line_65 |  | 57 | 70 | 0.0088146 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_306-22_0_4_line_66 |  | 58 | 66 | 0.019664 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_306-22_0_4_line_67 |  | 60 | 96 | 0.004954 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_306-22_0_4_line_68 |  | 61 | 64 | 0.0063144 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_306-22_0_4_line_69 |  | 62 | 65 | 0.0066601 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_306-22_0_4_line_70 |  | 64 | 82 | 0.0057572 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_306-22_0_4_line_71 |  | 65 | 88 | 0.0046137 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_306-22_0_4_line_72 |  | 66 | 67 | 0.019945 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_306-22_0_4_line_73 |  | 66 | 68 | 0.014151 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_306-22_0_4_line_74 |  | 67 | 69 | 0.0036412 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_306-22_0_4_line_75 |  | 69 | 81 | 0.012177 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_306-22_0_4_line_76 |  | 70 | 73 | 0.019478 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_306-22_0_4_line_77 |  | 71 | 72 | 0.018501 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_306-22_0_4_line_78 |  | 73 | 74 | 0.0029338 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_306-22_0_4_line_79 |  | 74 | 75 | 0.010261 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_306-22_0_4_line_80 |  | 75 | 76 | 0.020992 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_306-22_0_4_line_81 |  | 76 | 78 | 0.011235 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_306-22_0_4_line_82 |  | 77 | 78 | 0.014046 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_306-22_0_4_line_83 |  | 79 | 80 | 0.003011 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_306-22_0_4_line_84 |  | 79 | 81 | 0.0074108 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_306-22_0_4_line_85 |  | 82 | 83 | 0.0057572 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_306-22_0_4_line_86 |  | 83 | 84 | 0.0057012 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_306-22_0_4_line_87 |  | 84 | 85 | 0.0063478 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_306-22_0_4_line_88 |  | 86 | 87 | 0.0057493 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_306-22_0_4_line_89 |  | 87 | 89 | 0.013859 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_306-22_0_4_line_90 |  | 88 | 91 | 0.0057152 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_306-22_0_4_line_91 |  | 89 | 90 | 0.00083312 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_306-22_0_4_line_92 |  | 91 | 92 | 0.005846 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_306-22_0_4_line_93 |  | 92 | 93 | 0.0057794 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_306-22_0_4_line_94 |  | 93 | 94 | 0.0057223 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_306-22_0_4_line_95 |  | 94 | 95 | 0.0061757 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_306-22_0_4_trafo_24 | 0.63 MVA 20/0.4 kV | 97 | 25 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9
0 | 2589828.1152 | 1214121.2338 | 2589831.6588 | 1214117.5957
1 | 2589828.1152 | 1214121.2338 | 2589821.657 | 1214128.4045 | 2589809.3249 | 1214142.5336
2 | 2589828.1152 | 1214121.2338 | 2589831.6821 | 1214124.1293
3 | 2589809.3249 | 1214142.5336 | 2589819.5623 | 1214152.0247
4 | 2589881.9809 | 1214044.1091 | 2589870.3616 | 1214079.9047 | 2589866.1227 | 1214088.1277 | 2589835.7303 | 1214119.8977 | 2589831.6821 | 1214124.1293
5 | 2589792.4146 | 1214139.7501 | 2589805.0902 | 1214126.6876 | 2589794.2276 | 1214116.5562 | 2589787.6324 | 1214110.4085 | 2589781.6839 | 1214104.8712 | 2589844.6728 | 1214038.0252 | 2589850.2536 | 1214032.8349 | 2589852.1991 | 1214033.5319 | 2589860.7788 | 1214036.619 | 2589881.9809 | 1214044.1091
6 | 2589790.527 | 1214141.7879 | 2589792.4146 | 1214139.7501
7 | 2589792.4146 | 1214139.7501 | 2589783.1203 | 1214131.2467
8 | 2589782.975 | 1214131.1137 | 2589783.1203 | 1214131.2467
9 | 2589837.8957 | 1214169.0216 | 2589819.5623 | 1214152.0247
10 | 2589837.8957 | 1214169.0216 | 2589813.8746 | 1214194.6533
11 | 2589837.8957 | 1214169.0216 | 2589909.3221 | 1214177.7376
12 | 2589788.8821 | 1214221.3215 | 2589813.8746 | 1214194.6533
13 | 2589909.3221 | 1214177.7376 | 2589931.6109 | 1214204.4778
14 | 2589775.2116 | 1214248.8079 | 2589778.4012 | 1214240.0307 | 2589780.9861 | 1214232.8222 | 2589783.0529 | 1214229.0832 | 2589785.1121 | 1214225.3442 | 2589788.8821 | 1214221.3215
15 | 2589682.2078 | 1214282.3883 | 2589679.8337 | 1214288.4069 | 2589677.6974 | 1214291.5012 | 2589659.1904 | 1214306.8645
16 | 2589682.2078 | 1214282.3883 | 2589682.5665 | 1214279.0635 | 2589681.6157 | 1214269.4598 | 2589688.8827 | 1214260.3086 | 2589701.145 | 1214271.7826 | 2589707.6778 | 1214277.0631
17 | 2589707.6778 | 1214277.0631 | 2589712.468 | 1214280.3677 | 2589718.3734 | 1214283.0034 | 2589724.8522 | 1214283.4146 | 2589728.7838 | 1214282.0959 | 2589731.7648 | 1214280.0452 | 2589739.3778 | 1214273.2281 | 2589753.0471 | 1214259.7301
18 | 2589707.6778 | 1214277.0631 | 2589693.8677 | 1214292.1206
19 | 2589753.0471 | 1214259.7301 | 2589743.995 | 1214251.2411 | 2589734.8686 | 1214242.6871
20 | 2589775.2116 | 1214248.8079 | 2589771.148 | 1214248.5147 | 2589767.5105 | 1214248.6655 | 2589764.3376 | 1214249.5827 | 2589759.9007 | 1214252.9589 | 2589753.0471 | 1214259.7301
21 | 2589678.6092 | 1214422.2511 | 2589669.6036 | 1214427.2363 | 2589667.076 | 1214427.8986
22 | 2589678.6092 | 1214422.2511 | 2589680.064 | 1214424.7499 | 2589680.4019 | 1214442.2897
23 | 2589678.6092 | 1214422.2511 | 2589678.5871 | 1214405.2638
24 | 2589734.8657 | 1214242.6844 | 2589734.8686 | 1214242.6871
25 | 2589775.2116 | 1214248.8079 | 2589778.2209 | 1214249.9366 | 2589780.7531 | 1214251.8333 | 2589782.5344 | 1214254.2316 | 2589783.946 | 1214258.0758 | 2589784.9326 | 1214262.0986 | 2589785.8367 | 1214271.1132 | 2589786.7028 | 1214280.0612 | 2589787.0193 | 1214284.1185
26 | 2589788.312 | 1214301.5927 | 2589787.4173 | 1214289.2206 | 2589787.0193 | 1214284.1185
27 | 2589788.312 | 1214301.5927 | 2589788.5338 | 1214304.206
28 | 2589788.312 | 1214301.5927 | 2589868.6365 | 1214289.1428
29 | 2589790.3431 | 1214325.5249 | 2589788.5338 | 1214304.206
30 | 2589783.266 | 1214396.3326 | 2589785.1195 | 1214386.271
31 | 2589788.9737 | 1214363.6932 | 2589786.2529 | 1214380.1183 | 2589785.1195 | 1214386.271
32 | 2589785.1195 | 1214386.271 | 2589843.9732 | 1214395.5943
33 | 2589782.2138 | 1214420.259 | 2589781.8089 | 1214414.4786 | 2589781.9338 | 1214407.6524 | 2589783.266 | 1214396.3326
34 | 2589741.7324 | 1214382.8635 | 2589741.731 | 1214395.1927 | 2589757.6798 | 1214382.5246 | 2589761.4219 | 1214381.4397 | 2589764.9926 | 1214382.2229 | 2589767.3735 | 1214384.5201 | 2589771.4891 | 1214393.0066 | 2589774.3411 | 1214395.3919 | 2589783.266 | 1214396.3326
35 | 2589790.3431 | 1214325.5249 | 2589790.8916 | 1214335.3406 | 2589790.7327 | 1214344.4349 | 2589790.1723 | 1214354.1524 | 2589788.9737 | 1214363.6932
36 | 2589781.8417 | 1214363.1719 | 2589784.3707 | 1214363.212 | 2589788.9737 | 1214363.6932
37 | 2589843.9732 | 1214395.5943 | 2589864.3736 | 1214392.4353 | 2589867.2084 | 1214391.2178
38 | 2589843.9732 | 1214395.5943 | 2589843.4463 | 1214402.7214 | 2589842.7147 | 1214418.9318 | 2589854.2024 | 1214417.5446 | 2589879.8767 | 1214412.0754
39 | 2589783.8356 | 1214435.9206 | 2589782.2138 | 1214420.259
40 | 2589782.2138 | 1214420.259 | 2589777.6209 | 1214421.2341 | 2589775.0266 | 1214422.9173 | 2589768.5866 | 1214429.9467
41 | 2589734.586 | 1214382.7759 | 2589741.7324 | 1214382.8635
42 | 2589741.5071 | 1214366.8104 | 2589741.7324 | 1214382.8635
43 | 2589741.7324 | 1214382.8635 | 2589741.731 | 1214395.1927 | 2589739.5019 | 1214397.2755 | 2589732.481 | 1214403.8136
44 | 2589790.3431 | 1214325.5249 | 2589775.6684 | 1214328.5409
45 | 2589780.5963 | 1214363.1852 | 2589781.8417 | 1214363.1719
46 | 2589913.8271 | 1214400.0045 | 2589916.603 | 1214399.0175
47 | 2589938.1414 | 1214391.3596 | 2589916.603 | 1214399.0175
48 | 2589879.8767 | 1214412.0754 | 2589913.8271 | 1214400.0045
49 | 2589957.2066 | 1214384.5811 | 2589938.1414 | 1214391.3596
50 | 2589879.8767 | 1214412.0754 | 2589892.2337 | 1214435.8396
51 | 2589880.8276 | 1214385.3688 | 2589867.2084 | 1214391.2178
52 | 2589880.8276 | 1214385.3688 | 2589899.9797 | 1214377.1436 | 2589921.3654 | 1214363.8996 | 2589928.7938 | 1214361.5262
53 | 2589783.8356 | 1214435.9206 | 2589779.0044 | 1214439.5865 | 2589776.8152 | 1214442.7588 | 2589774.6281 | 1214447.1428 | 2589770.5034 | 1214455.3212
54 | 2589783.8356 | 1214435.9206 | 2589785.6317 | 1214455.7286 | 2589789.2284 | 1214489.1857
55 | 2589768.5866 | 1214429.9467 | 2589754.1554 | 1214445.6983
56 | 2589736.3121 | 1214366.5082 | 2589741.5071 | 1214366.8104
57 | 2589738.8707 | 1214348.627 | 2589738.5244 | 1214354.731 | 2589741.4181 | 1214354.8928 | 2589741.5071 | 1214366.8104
58 | 2589703.3356 | 1214404.598 | 2589732.481 | 1214403.8136
59 | 2589732.481 | 1214403.8136 | 2589729.5861 | 1214416.1033 | 2589718.5839 | 1214426.6158
60 | 2589703.3356 | 1214404.598 | 2589703.2126 | 1214388.0666
61 | 2589703.3356 | 1214404.598 | 2589678.5871 | 1214405.2638
62 | 2589704.8625 | 1214439.7263 | 2589718.5839 | 1214426.6158
63 | 2589892.2337 | 1214435.8396 | 2589894.5194 | 1214440.2354
64 | 2589953.7008 | 1214353.4695 | 2589949.9804 | 1214354.7569 | 2589928.7938 | 1214361.5262
65 | 2589789.2284 | 1214489.1857 | 2589784.058 | 1214489.8839 | 2589781.6166 | 1214492.1672 | 2589781.4494 | 1214492.3592
66 | 2589740.8717 | 1214460.1975 | 2589754.1554 | 1214445.6983
67 | 2589733.9038 | 1214348.4911 | 2589738.8707 | 1214348.627
68 | 2589703.1656 | 1214381.7523 | 2589703.2126 | 1214388.0666
69 | 2589678.5871 | 1214405.2638 | 2589671.927 | 1214405.2754
70 | 2589703.1656 | 1214381.7523 | 2589703.1228 | 1214375.9953
71 | 2589671.927 | 1214405.2754 | 2589671.927 | 1214405.2754 | 2589671.9189 | 1214400.6617
72 | 2589740.8717 | 1214460.1975 | 2589727.0372 | 1214474.565
73 | 2589740.8717 | 1214460.1975 | 2589751.3395 | 1214469.7202
74 | 2589724.5116 | 1214477.1879 | 2589727.0372 | 1214474.565
75 | 2589724.5116 | 1214477.1879 | 2589716.0654 | 1214485.9595
76 | 2589781.4494 | 1214492.3592 | 2589768.6579 | 1214507.0481
77 | 2589903.0545 | 1214456.6497 | 2589894.5194 | 1214440.2354
78 | 2589768.6579 | 1214507.0481 | 2589766.7313 | 1214509.2606
79 | 2589759.993 | 1214516.9985 | 2589766.7313 | 1214509.2606
80 | 2589746.2073 | 1214532.8291 | 2589759.993 | 1214516.9985
81 | 2589746.2073 | 1214532.8291 | 2589754.7111 | 1214540.1709
82 | 2589765.3426 | 1214549.3498 | 2589754.7111 | 1214540.1709
83 | 2589710.9251 | 1214491.2978 | 2589708.8367 | 1214493.4668
84 | 2589710.9251 | 1214491.2978 | 2589716.0654 | 1214485.9595
85 | 2589703.1228 | 1214375.9953 | 2589703.08 | 1214370.2382
86 | 2589703.08 | 1214370.2382 | 2589703.0375 | 1214364.5372
87 | 2589703.0375 | 1214364.5372 | 2589702.9903 | 1214358.1896
88 | 2589680.4019 | 1214442.2897 | 2589680.5126 | 1214448.038
89 | 2589680.5126 | 1214448.038 | 2589680.7238 | 1214459.0014 | 2589677.8304 | 1214459.0065
90 | 2589671.9189 | 1214400.6617 | 2589671.909 | 1214394.9465
91 | 2589677.8304 | 1214459.0065 | 2589677.8304 | 1214459.0065 | 2589677.8165 | 1214459.8395
92 | 2589671.909 | 1214394.9465 | 2589671.8987 | 1214389.1005
93 | 2589671.8987 | 1214389.1005 | 2589671.8886 | 1214383.3211
94 | 2589671.8886 | 1214383.3211 | 2589671.8786 | 1214377.5988
95 | 2589671.8679 | 1214371.4231 | 2589671.8786 | 1214377.5988

## bus_geodata
| x | y | coords
0 | 2589831.6588 | 1214117.5957
1 | 2589828.1152 | 1214121.2338
2 | 2589809.3249 | 1214142.5336
3 | 2589831.6821 | 1214124.1293
4 | 2589881.9809 | 1214044.1091
5 | 2589792.4146 | 1214139.7501
6 | 2589790.527 | 1214141.7879
7 | 2589783.1203 | 1214131.2467
8 | 2589819.5623 | 1214152.0247
9 | 2589837.8957 | 1214169.0216
10 | 2589813.8746 | 1214194.6533
11 | 2589909.3221 | 1214177.7376
12 | 2589782.975 | 1214131.1137
13 | 2589788.8821 | 1214221.3215
14 | 2589931.6109 | 1214204.4778
15 | 2589659.1904 | 1214306.8645
16 | 2589682.2078 | 1214282.3883
17 | 2589707.6778 | 1214277.0631
18 | 2589753.0471 | 1214259.7301
19 | 2589693.8677 | 1214292.1206
20 | 2589667.076 | 1214427.8986
21 | 2589678.6092 | 1214422.2511
22 | 2589734.8686 | 1214242.6871
23 | 2589775.2116 | 1214248.8079
24 | 2589734.8657 | 1214242.6844
25 | 2589787.0193 | 1214284.1185
26 | 2589788.312 | 1214301.5927
27 | 2589788.5338 | 1214304.206
28 | 2589868.6365 | 1214289.1428
29 | 2589785.1195 | 1214386.271
30 | 2589783.266 | 1214396.3326
31 | 2589788.9737 | 1214363.6932
32 | 2589843.9732 | 1214395.5943
33 | 2589782.2138 | 1214420.259
34 | 2589741.7324 | 1214382.8635
35 | 2589790.3431 | 1214325.5249
36 | 2589781.8417 | 1214363.1719
37 | 2589916.603 | 1214399.0175
38 | 2589913.8271 | 1214400.0045
39 | 2589938.1414 | 1214391.3596
40 | 2589879.8767 | 1214412.0754
41 | 2589867.2084 | 1214391.2178
42 | 2589880.8276 | 1214385.3688
43 | 2589783.8356 | 1214435.9206
44 | 2589768.5866 | 1214429.9467
45 | 2589734.586 | 1214382.7759
46 | 2589741.5071 | 1214366.8104
47 | 2589732.481 | 1214403.8136
48 | 2589703.3356 | 1214404.598
49 | 2589718.5839 | 1214426.6158
50 | 2589892.2337 | 1214435.8396
51 | 2589775.6684 | 1214328.5409
52 | 2589780.5963 | 1214363.1852
53 | 2589957.2066 | 1214384.5811
54 | 2589928.7938 | 1214361.5262
55 | 2589953.7008 | 1214353.4695
56 | 2589770.5034 | 1214455.3212
57 | 2589789.2284 | 1214489.1857
58 | 2589754.1554 | 1214445.6983
59 | 2589736.3121 | 1214366.5082
60 | 2589738.8707 | 1214348.627
61 | 2589703.2126 | 1214388.0666
62 | 2589678.5871 | 1214405.2638
63 | 2589704.8625 | 1214439.7263
64 | 2589703.1656 | 1214381.7523
65 | 2589671.927 | 1214405.2754
66 | 2589740.8717 | 1214460.1975
67 | 2589727.0372 | 1214474.565
68 | 2589751.3395 | 1214469.7202
69 | 2589724.5116 | 1214477.1879
70 | 2589781.4494 | 1214492.3592
71 | 2589894.5194 | 1214440.2354
72 | 2589903.0545 | 1214456.6497
73 | 2589768.6579 | 1214507.0481
74 | 2589766.7313 | 1214509.2606
75 | 2589759.993 | 1214516.9985
76 | 2589746.2073 | 1214532.8291
77 | 2589765.3426 | 1214549.3498
78 | 2589754.7111 | 1214540.1709
79 | 2589710.9251 | 1214491.2978
80 | 2589708.8367 | 1214493.4668
81 | 2589716.0654 | 1214485.9595
82 | 2589703.1228 | 1214375.9953
83 | 2589703.08 | 1214370.2382
84 | 2589703.0375 | 1214364.5372
85 | 2589702.9903 | 1214358.1896
86 | 2589680.4019 | 1214442.2897
87 | 2589680.5126 | 1214448.038
88 | 2589671.9189 | 1214400.6617
89 | 2589677.8304 | 1214459.0065
90 | 2589677.8165 | 1214459.8395
91 | 2589671.909 | 1214394.9465
92 | 2589671.8987 | 1214389.1005
93 | 2589671.8886 | 1214383.3211
94 | 2589671.8786 | 1214377.5988
95 | 2589671.8679 | 1214371.4231
96 | 2589733.9038 | 1214348.4911
97 | 2589788.312 | 1214301.5927

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1