## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_306-25_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_306-25_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_306-25_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_306-25_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_306-25_0_6_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_306-25_0_6_node_7 | 0.4 | n |  | TRUE
6 | bus_LV_306-25_0_6_node_52 | 0.4 | n |  | TRUE
7 | bus_LV_306-25_0_6_node_6 | 0.4 | n |  | TRUE
8 | bus_LV_306-25_0_6_node_29 | 0.4 | n |  | TRUE
9 | bus_LV_306-25_0_6_node_14 | 0.4 | n |  | TRUE
10 | bus_LV_306-25_0_6_node_12 | 0.4 | n |  | TRUE
11 | bus_LV_306-25_0_6_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_306-25_0_6_node_53 | 0.4 | n |  | TRUE
13 | bus_LV_306-25_0_6_node_48 | 0.4 | n |  | TRUE
14 | bus_LV_306-25_0_6_node_34 | 0.4 | n |  | TRUE
15 | bus_LV_306-25_0_6_node_33 | 0.4 | n |  | TRUE
16 | bus_LV_306-25_0_6_node_13 | 0.4 | n |  | TRUE
17 | bus_LV_306-25_0_6_node_10 | 0.4 | n |  | TRUE
18 | bus_LV_306-25_0_6_node_9 | 0.4 | n |  | TRUE
19 | bus_LV_306-25_0_6_node_11 | 0.4 | n |  | TRUE
20 | bus_LV_306-25_0_6_node_75 | 0.4 | n |  | TRUE
21 | bus_LV_306-25_0_6_node_73 | 0.4 | n |  | TRUE
22 | bus_LV_306-25_0_6_node_18 | 0.4 | n |  | TRUE
23 | bus_LV_306-25_0_6_node_17 | 0.4 | n |  | TRUE
24 | bus_LV_306-25_0_6_node_19 | 0.4 | n |  | TRUE
25 | bus_LV_306-25_0_6_node_20 | 0.4 | n |  | TRUE
26 | bus_LV_306-25_0_6_node_21 | 0.4 | n |  | TRUE
27 | bus_LV_306-25_0_6_node_27 | 0.4 | n |  | TRUE
28 | bus_LV_306-25_0_6_node_23 | 0.4 | n |  | TRUE
29 | bus_LV_306-25_0_6_node_28 | 0.4 | n |  | TRUE
30 | bus_LV_306-25_0_6_node_22 | 0.4 | n |  | TRUE
31 | bus_LV_306-25_0_6_node_24 | 0.4 | n |  | TRUE
32 | bus_LV_306-25_0_6_node_25 | 0.4 | n |  | TRUE
33 | bus_LV_306-25_0_6_node_26 | 0.4 | n |  | TRUE
34 | bus_LV_306-25_0_6_node_46 | 0.4 | n |  | TRUE
35 | bus_LV_306-25_0_6_node_111 | 0.4 | n |  | TRUE
36 | bus_LV_306-25_0_6_node_43 | 0.4 | n |  | TRUE
37 | bus_LV_306-25_0_6_node_30 | 0.4 | n |  | TRUE
38 | bus_LV_306-25_0_6_node_31 | 0.4 | n |  | TRUE
39 | bus_LV_306-25_0_6_node_32 | 0.4 | n |  | TRUE
40 | bus_LV_306-25_0_6_node_45 | 0.4 | n |  | TRUE
41 | bus_LV_306-25_0_6_node_41 | 0.4 | n |  | TRUE
42 | bus_LV_306-25_0_6_node_50 | 0.4 | n |  | TRUE
43 | bus_LV_306-25_0_6_node_55 | 0.4 | n |  | TRUE
44 | bus_LV_306-25_0_6_node_42 | 0.4 | n |  | TRUE
45 | bus_LV_306-25_0_6_node_51 | 0.4 | n |  | TRUE
46 | bus_LV_306-25_0_6_node_35 | 0.4 | n |  | TRUE
47 | bus_LV_306-25_0_6_node_37 | 0.4 | n |  | TRUE
48 | bus_LV_306-25_0_6_node_39 | 0.4 | n |  | TRUE
49 | bus_LV_306-25_0_6_node_40 | 0.4 | n |  | TRUE
50 | bus_LV_306-25_0_6_node_38 | 0.4 | n |  | TRUE
51 | bus_LV_306-25_0_6_node_67 | 0.4 | n |  | TRUE
52 | bus_LV_306-25_0_6_node_77 | 0.4 | n |  | TRUE
53 | bus_LV_306-25_0_6_node_68 | 0.4 | n |  | TRUE
54 | bus_LV_306-25_0_6_node_64 | 0.4 | n |  | TRUE
55 | bus_LV_306-25_0_6_node_78 | 0.4 | n |  | TRUE
56 | bus_LV_306-25_0_6_node_44 | 0.4 | n |  | TRUE
57 | bus_LV_306-25_0_6_node_47 | 0.4 | n |  | TRUE
58 | bus_LV_306-25_0_6_node_58 | 0.4 | n |  | TRUE
59 | bus_LV_306-25_0_6_node_84 | 0.4 | n |  | TRUE
60 | bus_LV_306-25_0_6_node_82 | 0.4 | n |  | TRUE
61 | bus_LV_306-25_0_6_node_59 | 0.4 | n |  | TRUE
62 | bus_LV_306-25_0_6_node_85 | 0.4 | n |  | TRUE
63 | bus_LV_306-25_0_6_node_81 | 0.4 | n |  | TRUE
64 | bus_LV_306-25_0_6_node_54 | 0.4 | n |  | TRUE
65 | bus_LV_306-25_0_6_node_62 | 0.4 | n |  | TRUE
66 | bus_LV_306-25_0_6_node_63 | 0.4 | n |  | TRUE
67 | bus_LV_306-25_0_6_node_57 | 0.4 | n |  | TRUE
68 | bus_LV_306-25_0_6_node_60 | 0.4 | n |  | TRUE
69 | bus_LV_306-25_0_6_node_61 | 0.4 | n |  | TRUE
70 | bus_LV_306-25_0_6_node_66 | 0.4 | n |  | TRUE
71 | bus_LV_306-25_0_6_node_65 | 0.4 | n |  | TRUE
72 | bus_LV_306-25_0_6_node_92 | 0.4 | n |  | TRUE
73 | bus_LV_306-25_0_6_node_69 | 0.4 | n |  | TRUE
74 | bus_LV_306-25_0_6_node_70 | 0.4 | n |  | TRUE
75 | bus_LV_306-25_0_6_node_71 | 0.4 | n |  | TRUE
76 | bus_LV_306-25_0_6_node_72 | 0.4 | n |  | TRUE
77 | bus_LV_306-25_0_6_node_74 | 0.4 | n |  | TRUE
78 | bus_LV_306-25_0_6_node_100 | 0.4 | n |  | TRUE
79 | bus_LV_306-25_0_6_node_99 | 0.4 | n |  | TRUE
80 | bus_LV_306-25_0_6_node_79 | 0.4 | n |  | TRUE
81 | bus_LV_306-25_0_6_node_80 | 0.4 | n |  | TRUE
82 | bus_LV_306-25_0_6_node_90 | 0.4 | n |  | TRUE
83 | bus_LV_306-25_0_6_node_87 | 0.4 | n |  | TRUE
84 | bus_LV_306-25_0_6_node_120 | 0.4 | n |  | TRUE
85 | bus_LV_306-25_0_6_node_88 | 0.4 | n |  | TRUE
86 | bus_LV_306-25_0_6_node_83 | 0.4 | n |  | TRUE
87 | bus_LV_306-25_0_6_node_86 | 0.4 | n |  | TRUE
88 | bus_LV_306-25_0_6_node_89 | 0.4 | n |  | TRUE
89 | bus_LV_306-25_0_6_node_91 | 0.4 | n |  | TRUE
90 | bus_LV_306-25_0_6_node_102 | 0.4 | n |  | TRUE
91 | bus_LV_306-25_0_6_node_101 | 0.4 | n |  | TRUE
92 | bus_LV_306-25_0_6_node_105 | 0.4 | n |  | TRUE
93 | bus_LV_306-25_0_6_node_93 | 0.4 | n |  | TRUE
94 | bus_LV_306-25_0_6_node_94 | 0.4 | n |  | TRUE
95 | bus_LV_306-25_0_6_node_95 | 0.4 | n |  | TRUE
96 | bus_LV_306-25_0_6_node_96 | 0.4 | n |  | TRUE
97 | bus_LV_306-25_0_6_node_97 | 0.4 | n |  | TRUE
98 | bus_LV_306-25_0_6_node_98 | 0.4 | n |  | TRUE
99 | bus_LV_306-25_0_6_node_115 | 0.4 | n |  | TRUE
100 | bus_LV_306-25_0_6_node_117 | 0.4 | n |  | TRUE
101 | bus_LV_306-25_0_6_node_113 | 0.4 | n |  | TRUE
102 | bus_LV_306-25_0_6_node_107 | 0.4 | n |  | TRUE
103 | bus_LV_306-25_0_6_node_103 | 0.4 | n |  | TRUE
104 | bus_LV_306-25_0_6_node_104 | 0.4 | n |  | TRUE
105 | bus_LV_306-25_0_6_node_108 | 0.4 | n |  | TRUE
106 | bus_LV_306-25_0_6_node_112 | 0.4 | n |  | TRUE
107 | bus_LV_306-25_0_6_node_114 | 0.4 | n |  | TRUE
108 | bus_LV_306-25_0_6_node_116 | 0.4 | n |  | TRUE
109 | bus_LV_306-25_0_6_node_118 | 0.4 | n |  | TRUE
110 | bus_MV_404_0_node_47 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_306-25_0_6_load_0 | 0 | 0.0060915 | 0.0015267 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_306-25_0_6_load_3 | 3 | 0.0075772 | 0.001899 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_306-25_0_6_load_4 | 4 | 0.0064479 | 0.001616 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_306-25_0_6_load_52 | 6 | 0.0098279 | 0.0024631 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_306-25_0_6_load_29 | 8 | 0.0084046 | 0.0021064 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_306-25_0_6_load_14 | 9 | 0.0076775 | 0.0019242 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_306-25_0_6_load_12 | 10 | 0.032099 | 0.0080447 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_306-25_0_6_load_8 | 11 | 0.016407 | 0.0041121 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_306-25_0_6_load_53 | 12 | 0.0070616 | 0.0017698 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_306-25_0_6_load_48 | 13 | 0.007247 | 0.0018163 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_306-25_0_6_load_34 | 14 | 0.0074897 | 0.0018771 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_306-25_0_6_load_13 | 16 | 0.0078768 | 0.0019741 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_306-25_0_6_load_10 | 17 | 0.037282 | 0.0093437 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_306-25_0_6_load_75 | 20 | 0.032802 | 0.008221 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_306-25_0_6_load_18 | 22 | 0.0030715 | 0.00076978 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_306-25_0_6_load_17 | 23 | 0.0032648 | 0.00081823 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_306-25_0_6_load_20 | 25 | 0.0029187 | 0.00073151 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_306-25_0_6_load_21 | 26 | 0.0067736 | 0.0016976 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_306-25_0_6_load_27 | 27 | 0.0063804 | 0.0015991 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_306-25_0_6_load_23 | 28 | 0.002783 | 0.00069749 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_306-25_0_6_load_28 | 29 | 0.0069843 | 0.0017504 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_306-25_0_6_load_22 | 30 | 0.0029823 | 0.00074744 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_306-25_0_6_load_25 | 32 | 0.0077788 | 0.0019495 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_306-25_0_6_load_26 | 33 | 0.0061695 | 0.0015462 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_306-25_0_6_load_46 | 34 | 0.0076624 | 0.0019204 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_306-25_0_6_load_111 | 35 | 0.0013275 | 0.0003327 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_306-25_0_6_load_45 | 40 | 0.0070781 | 0.0017739 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_306-25_0_6_load_41 | 41 | 0.0071224 | 0.001785 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_306-25_0_6_load_50 | 42 | 0.0070413 | 0.0017647 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_306-25_0_6_load_55 | 43 | 0.007457 | 0.0018689 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_306-25_0_6_load_51 | 45 | 0.00696 | 0.0017443 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_306-25_0_6_load_35 | 46 | 0.0046114 | 0.0011557 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_306-25_0_6_load_39 | 48 | 0.0058727 | 0.0014718 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_306-25_0_6_load_40 | 49 | 0.004394 | 0.0011012 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_306-25_0_6_load_64 | 54 | 0.0027481 | 0.00068874 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_306-25_0_6_load_78 | 55 | 0.0031667 | 0.00079366 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_306-25_0_6_load_44 | 56 | 0.0067456 | 0.0016906 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_306-25_0_6_load_58 | 58 | 0.003025 | 0.00075814 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_306-25_0_6_load_84 | 59 | 0.0041782 | 0.0010472 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_306-25_0_6_load_82 | 60 | 0.0021845 | 0.00054749 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_306-25_0_6_load_59 | 61 | 0.0029301 | 0.00073435 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_306-25_0_6_load_85 | 62 | 0.003975 | 0.00099624 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_306-25_0_6_load_81 | 63 | 0.0037592 | 0.00094216 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_306-25_0_6_load_54 | 64 | 0.0085074 | 0.0021322 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_306-25_0_6_load_62 | 65 | 0.0049213 | 0.0012334 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_306-25_0_6_load_57 | 67 | 0.0067403 | 0.0016893 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_306-25_0_6_load_61 | 69 | 0.003268 | 0.00081905 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_306-25_0_6_load_66 | 70 | 0.0034949 | 0.0008759 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_306-25_0_6_load_65 | 71 | 0.0033277 | 0.00083399 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_306-25_0_6_load_92 | 72 | 0.04059 | 0.010173 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_306-25_0_6_load_69 | 73 | 0.0020738 | 0.00051974 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_306-25_0_6_load_70 | 74 | 0.0019249 | 0.00048244 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_306-25_0_6_load_71 | 75 | 0.0019735 | 0.0004946 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_306-25_0_6_load_72 | 76 | 0.07144 | 0.017905 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_306-25_0_6_load_100 | 78 | 0.0047195 | 0.0011828 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_306-25_0_6_load_99 | 79 | 0.010632 | 0.0026646 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_306-25_0_6_load_79 | 80 | 0.0024376 | 0.00061092 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_306-25_0_6_load_87 | 83 | 0.0022245 | 0.0005575 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_306-25_0_6_load_120 | 84 | 0.0011964 | 0.00029986 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_306-25_0_6_load_88 | 85 | 0.0021823 | 0.00054693 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_306-25_0_6_load_83 | 86 | 0.0088611 | 0.0022208 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_306-25_0_6_load_86 | 87 | 0.00451 | 0.0011303 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_306-25_0_6_load_89 | 88 | 0.0019187 | 0.00048088 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_306-25_0_6_load_102 | 90 | 0.0011909 | 0.00029847 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_306-25_0_6_load_101 | 91 | 0.0015695 | 0.00039334 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_306-25_0_6_load_93 | 93 | 0.0046346 | 0.0011615 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_306-25_0_6_load_96 | 96 | 0.0019281 | 0.00048323 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_306-25_0_6_load_97 | 97 | 0.0035212 | 0.0008825 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_306-25_0_6_load_98 | 98 | 0.0042778 | 0.0010721 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_306-25_0_6_load_115 | 99 | 0.0019925 | 0.00049937 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_306-25_0_6_load_117 | 100 | 0.002474 | 0.00062004 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_306-25_0_6_load_113 | 101 | 0.0017564 | 0.0004402 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_306-25_0_6_load_107 | 102 | 0.0014786 | 0.00037058 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_306-25_0_6_load_103 | 103 | 0.0015211 | 0.00038121 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_306-25_0_6_load_104 | 104 | 0.0013061 | 0.00032735 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_306-25_0_6_load_108 | 105 | 0.0020194 | 0.0005061 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_306-25_0_6_load_112 | 106 | 0.0029352 | 0.00073564 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_306-25_0_6_load_118 | 109 | 0.0025751 | 0.00064539 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 65 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_306-25_0_6_line_0 |  | 0 | 1 | 0.020527 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
1 | LV_306-25_0_6_line_1 |  | 0 | 2 | 0.018371 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
2 | LV_306-25_0_6_line_2 |  | 1 | 3 | 0.018154 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_306-25_0_6_line_3 |  | 1 | 4 | 0.020741 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
4 | LV_306-25_0_6_line_4 |  | 2 | 5 | 0.01102 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
5 | LV_306-25_0_6_line_5 |  | 4 | 6 | 0.0037934 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
6 | LV_306-25_0_6_line_6 |  | 5 | 10 | 0.009225 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
7 | LV_306-25_0_6_line_7 |  | 5 | 11 | 0.024143 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_306-25_0_6_line_8 |  | 6 | 12 | 0.020257 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
9 | LV_306-25_0_6_line_9 |  | 7 | 8 | 0.02277 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_306-25_0_6_line_10 |  | 7 | 9 | 0.02752 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_306-25_0_6_line_11 |  | 8 | 15 | 0.0036203 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_306-25_0_6_line_12 |  | 9 | 16 | 0.014787 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_306-25_0_6_line_13 |  | 10 | 17 | 0.020846 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
14 | LV_306-25_0_6_line_14 |  | 12 | 64 | 0.016244 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
15 | LV_306-25_0_6_line_15 |  | 13 | 14 | 0.015419 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_306-25_0_6_line_16 |  | 14 | 15 | 0.017045 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_306-25_0_6_line_17 |  | 15 | 39 | 0.034809 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_306-25_0_6_line_18 |  | 17 | 18 | 0.0047611 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
19 | LV_306-25_0_6_line_19 |  | 18 | 19 | 0.052599 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
20 | LV_306-25_0_6_line_20 |  | 19 | 20 | 0.044614 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
21 | LV_306-25_0_6_line_21 |  | 20 | 21 | 0.013766 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_306-25_0_6_line_22 |  | 21 | 77 | 0.003833 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_306-25_0_6_line_23 |  | 21 | 76 | 0.024327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_306-25_0_6_line_24 |  | 22 | 23 | 0.016523 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_306-25_0_6_line_25 |  | 23 | 24 | 0.021288 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_306-25_0_6_line_26 |  | 24 | 25 | 0.028564 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_306-25_0_6_line_27 |  | 24 | 26 | 0.0071029 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_306-25_0_6_line_28 |  | 25 | 27 | 0.014784 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_306-25_0_6_line_29 |  | 26 | 28 | 0.003625 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_306-25_0_6_line_30 |  | 27 | 29 | 0.013186 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_306-25_0_6_line_31 |  | 28 | 30 | 0.015052 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_306-25_0_6_line_32 |  | 29 | 37 | 0.014928 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_306-25_0_6_line_33 |  | 31 | 32 | 0.031244 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_306-25_0_6_line_34 |  | 31 | 33 | 0.012931 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_306-25_0_6_line_35 |  | 32 | 34 | 0.014865 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_306-25_0_6_line_36 |  | 33 | 35 | 0.041168 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_306-25_0_6_line_37 |  | 34 | 36 | 0.0028013 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_306-25_0_6_line_38 |  | 36 | 57 | 0.03294 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_306-25_0_6_line_39 |  | 36 | 44 | 0.02569 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_306-25_0_6_line_40 |  | 37 | 38 | 0.016502 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_306-25_0_6_line_41 |  | 37 | 39 | 0.018155 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_306-25_0_6_line_42 |  | 38 | 40 | 0.017388 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_306-25_0_6_line_43 |  | 38 | 41 | 0.019829 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_306-25_0_6_line_44 |  | 39 | 42 | 0.017087 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_306-25_0_6_line_45 |  | 40 | 43 | 0.01549 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_306-25_0_6_line_46 |  | 41 | 44 | 0.024142 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_306-25_0_6_line_47 |  | 42 | 45 | 0.015153 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_306-25_0_6_line_48 |  | 44 | 56 | 0.017573 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
49 | LV_306-25_0_6_line_49 |  | 46 | 47 | 0.01143 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_306-25_0_6_line_50 |  | 47 | 48 | 0.011669 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_306-25_0_6_line_51 |  | 47 | 49 | 0.022817 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_306-25_0_6_line_52 |  | 48 | 50 | 0.020333 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_306-25_0_6_line_53 |  | 49 | 52 | 0.012299 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_306-25_0_6_line_54 |  | 50 | 51 | 0.028721 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_306-25_0_6_line_55 |  | 51 | 53 | 0.012267 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_306-25_0_6_line_56 |  | 51 | 54 | 0.025006 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_306-25_0_6_line_57 |  | 52 | 55 | 0.017214 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_306-25_0_6_line_58 |  | 53 | 72 | 0.013476 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_306-25_0_6_line_59 |  | 54 | 66 | 0.015896 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_306-25_0_6_line_60 |  | 55 | 80 | 0.054519 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_306-25_0_6_line_61 |  | 56 | 58 | 0.013239 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
62 | LV_306-25_0_6_line_62 |  | 57 | 59 | 0.014054 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_306-25_0_6_line_63 |  | 57 | 60 | 0.01416 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_306-25_0_6_line_64 |  | 58 | 61 | 0.0093674 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
65 | LV_306-25_0_6_line_65 |  | 59 | 62 | 0.0018632 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_306-25_0_6_line_66 |  | 60 | 63 | 0.0018258 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_306-25_0_6_line_67 |  | 61 | 68 | 0.0013843 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
68 | LV_306-25_0_6_line_68 |  | 62 | 87 | 0.015918 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_306-25_0_6_line_69 |  | 63 | 86 | 0.014308 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_306-25_0_6_line_70 |  | 64 | 65 | 0.023526 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
71 | LV_306-25_0_6_line_71 |  | 65 | 66 | 0.052731 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
72 | LV_306-25_0_6_line_72 |  | 66 | 71 | 0.009543 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
73 | LV_306-25_0_6_line_73 |  | 67 | 68 | 0.015228 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_306-25_0_6_line_74 |  | 68 | 69 | 0.015936 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
75 | LV_306-25_0_6_line_75 |  | 69 | 70 | 0.0014435 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
76 | LV_306-25_0_6_line_76 |  | 70 | 71 | 0.0073601 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
77 | LV_306-25_0_6_line_77 |  | 73 | 74 | 0.019272 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_306-25_0_6_line_78 |  | 74 | 75 | 0.019105 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_306-25_0_6_line_79 |  | 75 | 76 | 0.025718 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_306-25_0_6_line_80 |  | 77 | 78 | 0.021618 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_306-25_0_6_line_81 |  | 78 | 79 | 0.0097893 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_306-25_0_6_line_82 |  | 79 | 97 | 0.011943 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_306-25_0_6_line_83 |  | 80 | 81 | 0.026787 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_306-25_0_6_line_84 |  | 81 | 82 | 0.017938 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_306-25_0_6_line_85 |  | 81 | 83 | 0.0080133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_306-25_0_6_line_86 |  | 82 | 84 | 0.051399 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_306-25_0_6_line_87 |  | 83 | 85 | 0.027294 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_306-25_0_6_line_88 |  | 85 | 88 | 0.028228 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_306-25_0_6_line_89 |  | 88 | 89 | 0.015277 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_306-25_0_6_line_90 |  | 89 | 90 | 0.018028 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_306-25_0_6_line_91 |  | 89 | 91 | 0.033778 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_306-25_0_6_line_92 |  | 90 | 92 | 0.0094754 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_306-25_0_6_line_93 |  | 92 | 102 | 0.018023 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_306-25_0_6_line_94 |  | 92 | 103 | 0.0064968 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_306-25_0_6_line_95 |  | 93 | 94 | 0.02053 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_306-25_0_6_line_96 |  | 93 | 95 | 0.0099945 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_306-25_0_6_line_97 |  | 94 | 96 | 0.0010942 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_306-25_0_6_line_98 |  | 95 | 97 | 0.016392 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_306-25_0_6_line_99 |  | 95 | 98 | 0.014436 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_306-25_0_6_line_100 |  | 96 | 99 | 1.3899e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_306-25_0_6_line_101 |  | 98 | 100 | 0.015253 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_306-25_0_6_line_102 |  | 99 | 101 | 0.021991 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_306-25_0_6_line_103 |  | 101 | 106 | 0.014542 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_306-25_0_6_line_104 |  | 102 | 105 | 0.013422 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_306-25_0_6_line_105 |  | 103 | 104 | 0.0063152 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_306-25_0_6_line_106 |  | 106 | 107 | 0.13318 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_306-25_0_6_line_107 |  | 107 | 108 | 0.030621 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
108 | LV_306-25_0_6_line_108 |  | 108 | 109 | 0.1096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_306-25_0_6_trafo_62 | 0.63 MVA 20/0.4 kV | 110 | 65 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2590043.0703 | 1214097.0544 | 2590060.739 | 1214086.6054
1 | 2590076.5522 | 1214077.2537 | 2590060.739 | 1214086.6054
2 | 2590043.0703 | 1214097.0544 | 2590031.8829 | 1214082.7579
3 | 2590043.0703 | 1214097.0544 | 2590055.6077 | 1214113.5771
4 | 2590086.0589 | 1214071.6346 | 2590076.5522 | 1214077.2537
5 | 2590057.9007 | 1214116.5989 | 2590055.6077 | 1214113.5771
6 | 2590086.0589 | 1214071.6346 | 2590093.9999 | 1214066.9398
7 | 2590086.0589 | 1214071.6346 | 2590073.8807 | 1214050.7881
8 | 2590057.9007 | 1214116.5989 | 2590069.0787 | 1214131.33 | 2590070.146 | 1214132.7364
9 | 2589980.9512 | 1214140.3726 | 2589994.6575 | 1214158.5555
10 | 2589980.9512 | 1214140.3726 | 2589958.7066 | 1214156.5761
11 | 2589996.8367 | 1214161.4464 | 2589994.6575 | 1214158.5555
12 | 2589946.7546 | 1214165.2824 | 2589957.2854 | 1214157.6113 | 2589958.7066 | 1214156.5761
13 | 2590093.9999 | 1214066.9398 | 2590111.9449 | 1214056.3307
14 | 2590079.9651 | 1214145.6763 | 2590070.146 | 1214132.7364
15 | 2590022.2846 | 1214141.2892 | 2590010.1982 | 1214150.8628
16 | 2589996.8367 | 1214161.4464 | 2590010.1982 | 1214150.8628
17 | 2589996.8367 | 1214161.4464 | 2590017.8067 | 1214189.2711
18 | 2590116.0434 | 1214053.9077 | 2590111.9449 | 1214056.3307
19 | 2590116.0434 | 1214053.9077 | 2590162.2528 | 1214028.5387
20 | 2590162.2528 | 1214028.5387 | 2590170.968 | 1214044.6554 | 2590182.6643 | 1214068.2022
21 | 2590187.8429 | 1214080.9478 | 2590183.747 | 1214070.382 | 2590182.6643 | 1214068.2022
22 | 2590189.2766 | 1214084.503 | 2590188.6742 | 1214083.0143 | 2590187.8429 | 1214080.9478
23 | 2590187.8429 | 1214080.9478 | 2590167.9024 | 1214094.8824
24 | 2589957.708 | 1214228.6428 | 2589947.6109 | 1214215.5643
25 | 2589970.7174 | 1214245.4935 | 2589957.708 | 1214228.6428
26 | 2589970.7174 | 1214245.4935 | 2589993.9115 | 1214228.8213
27 | 2589970.7174 | 1214245.4935 | 2589975.0571 | 1214251.1166
28 | 2589993.9115 | 1214228.8213 | 2590005.9163 | 1214220.1922
29 | 2589977.2718 | 1214253.9863 | 2589975.0571 | 1214251.1166
30 | 2590016.623 | 1214212.4961 | 2590005.9163 | 1214220.1922
31 | 2589977.2718 | 1214253.9863 | 2589986.4681 | 1214265.9021
32 | 2590028.7445 | 1214203.783 | 2590016.623 | 1214212.4961
33 | 2590003.6679 | 1214293.8205 | 2590029.0825 | 1214275.6466
34 | 2590003.6679 | 1214293.8205 | 2589998.3007 | 1214299.555 | 2589996.0684 | 1214304.1141
35 | 2590041.1738 | 1214267.0002 | 2590029.0825 | 1214275.6466
36 | 2589979.827 | 1214341.3105 | 2589983.6927 | 1214337.5233 | 2589989.5292 | 1214317.4688 | 2589996.0684 | 1214304.1141
37 | 2590043.4525 | 1214265.3707 | 2590041.1738 | 1214267.0002
38 | 2590043.4525 | 1214265.3707 | 2590063.2727 | 1214291.7189
39 | 2590065.393 | 1214251.904 | 2590043.4525 | 1214265.3707
40 | 2590038.6852 | 1214216.9737 | 2590028.7445 | 1214203.783
41 | 2590017.8067 | 1214189.2711 | 2590028.7445 | 1214203.783
42 | 2590038.6852 | 1214216.9737 | 2590052.3002 | 1214206.1588
43 | 2590038.6852 | 1214216.9737 | 2590050.729 | 1214232.7255
44 | 2590017.8067 | 1214189.2711 | 2590031.582 | 1214179.1618
45 | 2590052.3002 | 1214206.1588 | 2590064.4296 | 1214196.5239
46 | 2590065.393 | 1214251.904 | 2590050.729 | 1214232.7255
47 | 2590031.582 | 1214179.1618 | 2590043.7986 | 1214170.1963
48 | 2590065.393 | 1214251.904 | 2590079.2364 | 1214241.0792
49 | 2590161.1191 | 1214232.5887 | 2590163.9553 | 1214234.6629 | 2590168.8916 | 1214240.8516
50 | 2590161.1191 | 1214232.5887 | 2590165.7345 | 1214221.8718
51 | 2590161.1191 | 1214232.5887 | 2590152.8498 | 1214253.854
52 | 2590175.9801 | 1214204.3703 | 2590172.3226 | 1214210.7466 | 2590167.4437 | 1214217.9032 | 2590165.7345 | 1214221.8718
53 | 2590148.3922 | 1214265.3172 | 2590152.8498 | 1214253.854
54 | 2590175.9801 | 1214204.3703 | 2590158.5203 | 1214181.5309
55 | 2590158.5203 | 1214181.5309 | 2590168.2212 | 1214173.9883
56 | 2590158.5203 | 1214181.5309 | 2590148.9784 | 1214188.7175 | 2590138.6434 | 1214196.7026
57 | 2590148.3922 | 1214265.3172 | 2590141.2271 | 1214280.9696
58 | 2590168.2212 | 1214173.9883 | 2590178.8603 | 1214165.7173
59 | 2590126.0649 | 1214206.4213 | 2590138.6434 | 1214196.7026
60 | 2590141.2271 | 1214280.9696 | 2590140.9615 | 1214281.5498 | 2590135.1431 | 1214294.5446 | 2590126.817 | 1214311.1123 | 2590114.5011 | 1214328.2463
61 | 2590079.2364 | 1214241.0792 | 2590089.6655 | 1214232.9242
62 | 2590063.2727 | 1214291.7189 | 2590051.8912 | 1214299.9635
63 | 2590063.2727 | 1214291.7189 | 2590067.5663 | 1214293.3904 | 2590071.6809 | 1214292.4607 | 2590076.0384 | 1214289.3845
64 | 2590089.6655 | 1214232.9242 | 2590097.0448 | 1214227.154
65 | 2590051.8912 | 1214299.9635 | 2590050.3823 | 1214301.0565
66 | 2590077.53 | 1214288.3315 | 2590076.0384 | 1214289.3845
67 | 2590098.1353 | 1214226.3014 | 2590097.0448 | 1214227.154
68 | 2590037.4908 | 1214310.395 | 2590050.3823 | 1214301.0565
69 | 2590089.2184 | 1214280.0799 | 2590077.53 | 1214288.3315
70 | 2590079.9651 | 1214145.6763 | 2590094.1865 | 1214164.4176
71 | 2590126.0649 | 1214206.4213 | 2590103.505 | 1214176.6978 | 2590094.1865 | 1214164.4176
72 | 2590126.0649 | 1214206.4213 | 2590118.2903 | 1214211.9552
73 | 2590098.1353 | 1214226.3014 | 2590093.2553 | 1214219.1722 | 2590089.809 | 1214213.557
74 | 2590098.1353 | 1214226.3014 | 2590111.1181 | 1214217.0603
75 | 2590111.1181 | 1214217.0603 | 2590112.2941 | 1214216.2232
76 | 2590112.2941 | 1214216.2232 | 2590118.2903 | 1214211.9552
77 | 2590115.3638 | 1214131.5968 | 2590131.1607 | 1214120.5578
78 | 2590131.1607 | 1214120.5578 | 2590146.8212 | 1214109.6141
79 | 2590146.8212 | 1214109.6141 | 2590167.9024 | 1214094.8824
80 | 2590189.2766 | 1214084.503 | 2590207.9569 | 1214073.6225
81 | 2590216.4159 | 1214068.6955 | 2590207.9569 | 1214073.6225
82 | 2590216.4159 | 1214068.6955 | 2590226.7363 | 1214062.6843
83 | 2590094.8416 | 1214345.5184 | 2590107.0872 | 1214338.5607 | 2590114.5011 | 1214328.2463
84 | 2590094.8416 | 1214345.5184 | 2590081.2218 | 1214357.2367
85 | 2590094.8416 | 1214345.5184 | 2590089.8533 | 1214346.2494 | 2590087.081 | 1214347.3197
86 | 2590081.2218 | 1214357.2367 | 2590072.9061 | 1214384.3993 | 2590057.3013 | 1214401.2845
87 | 2590087.081 | 1214347.3197 | 2590061.619 | 1214357.1498
88 | 2590061.619 | 1214357.1498 | 2590057.8944 | 1214358.5878 | 2590034.7933 | 1214365.9163
89 | 2590020.2316 | 1214370.5357 | 2590034.7933 | 1214365.9163
90 | 2590020.2316 | 1214370.5357 | 2590007.6112 | 1214375.8044 | 2590003.4857 | 1214377.19
91 | 2590020.2316 | 1214370.5357 | 2589999.8998 | 1214343.5623
92 | 2589994.5034 | 1214380.2068 | 2590003.4857 | 1214377.19
93 | 2589994.5034 | 1214380.2068 | 2589976.5214 | 1214381.4221
94 | 2589994.5034 | 1214380.2068 | 2590001 | 1214380.2522
95 | 2590267.6176 | 1214039.6706 | 2590249.6488 | 1214049.6001
96 | 2590240.901 | 1214054.434 | 2590249.6488 | 1214049.6001
97 | 2590267.6176 | 1214039.6706 | 2590267.1624 | 1214038.6756
98 | 2590240.901 | 1214054.434 | 2590226.7363 | 1214062.6843
99 | 2590240.901 | 1214054.434 | 2590233.8746 | 1214041.8229
100 | 2590267.1624 | 1214038.6756 | 2590267.1566 | 1214038.6629
101 | 2590226.451 | 1214028.4989 | 2590233.8746 | 1214041.8229
102 | 2590258.0087 | 1214018.6652 | 2590267.1566 | 1214038.6629
103 | 2590251.9592 | 1214005.4408 | 2590258.0087 | 1214018.6652
104 | 2589976.5214 | 1214381.4221 | 2589975.4363 | 1214381.4954 | 2589966.5299 | 1214382.4777 | 2589963.2337 | 1214383.1989
105 | 2590001 | 1214380.2522 | 2590007.3151 | 1214380.2963
106 | 2590221.6198 | 1213881.0239 | 2590216.4039 | 1213895.8742 | 2590214.3107 | 1213906.8728 | 2590215.1652 | 1213918.3667 | 2590217.8953 | 1213929.6908 | 2590222.2117 | 1213940.4119 | 2590251.9592 | 1214005.4408
107 | 2590221.6198 | 1213881.0239 | 2590231.1298 | 1213886.3557 | 2590246.1207 | 1213899.2493
108 | 2590246.1207 | 1213899.2493 | 2590278.3616 | 1213927.312 | 2590309.2533 | 1213957.2003 | 2590326.6281 | 1213969.8234 | 2590328.6097 | 1213971.1723

## bus_geodata
| x | y | coords
0 | 2590060.739 | 1214086.6054
1 | 2590043.0703 | 1214097.0544
2 | 2590076.5522 | 1214077.2537
3 | 2590031.8829 | 1214082.7579
4 | 2590055.6077 | 1214113.5771
5 | 2590086.0589 | 1214071.6346
6 | 2590057.9007 | 1214116.5989
7 | 2589980.9512 | 1214140.3726
8 | 2589994.6575 | 1214158.5555
9 | 2589958.7066 | 1214156.5761
10 | 2590093.9999 | 1214066.9398
11 | 2590073.8807 | 1214050.7881
12 | 2590070.146 | 1214132.7364
13 | 2590022.2846 | 1214141.2892
14 | 2590010.1982 | 1214150.8628
15 | 2589996.8367 | 1214161.4464
16 | 2589946.7546 | 1214165.2824
17 | 2590111.9449 | 1214056.3307
18 | 2590116.0434 | 1214053.9077
19 | 2590162.2528 | 1214028.5387
20 | 2590182.6643 | 1214068.2022
21 | 2590187.8429 | 1214080.9478
22 | 2589947.6109 | 1214215.5643
23 | 2589957.708 | 1214228.6428
24 | 2589970.7174 | 1214245.4935
25 | 2589993.9115 | 1214228.8213
26 | 2589975.0571 | 1214251.1166
27 | 2590005.9163 | 1214220.1922
28 | 2589977.2718 | 1214253.9863
29 | 2590016.623 | 1214212.4961
30 | 2589986.4681 | 1214265.9021
31 | 2590003.6679 | 1214293.8205
32 | 2590029.0825 | 1214275.6466
33 | 2589996.0684 | 1214304.1141
34 | 2590041.1738 | 1214267.0002
35 | 2589979.827 | 1214341.3105
36 | 2590043.4525 | 1214265.3707
37 | 2590028.7445 | 1214203.783
38 | 2590038.6852 | 1214216.9737
39 | 2590017.8067 | 1214189.2711
40 | 2590052.3002 | 1214206.1588
41 | 2590050.729 | 1214232.7255
42 | 2590031.582 | 1214179.1618
43 | 2590064.4296 | 1214196.5239
44 | 2590065.393 | 1214251.904
45 | 2590043.7986 | 1214170.1963
46 | 2590168.8916 | 1214240.8516
47 | 2590161.1191 | 1214232.5887
48 | 2590165.7345 | 1214221.8718
49 | 2590152.8498 | 1214253.854
50 | 2590175.9801 | 1214204.3703
51 | 2590158.5203 | 1214181.5309
52 | 2590148.3922 | 1214265.3172
53 | 2590168.2212 | 1214173.9883
54 | 2590138.6434 | 1214196.7026
55 | 2590141.2271 | 1214280.9696
56 | 2590079.2364 | 1214241.0792
57 | 2590063.2727 | 1214291.7189
58 | 2590089.6655 | 1214232.9242
59 | 2590051.8912 | 1214299.9635
60 | 2590076.0384 | 1214289.3845
61 | 2590097.0448 | 1214227.154
62 | 2590050.3823 | 1214301.0565
63 | 2590077.53 | 1214288.3315
64 | 2590079.9651 | 1214145.6763
65 | 2590094.1865 | 1214164.4176
66 | 2590126.0649 | 1214206.4213
67 | 2590089.809 | 1214213.557
68 | 2590098.1353 | 1214226.3014
69 | 2590111.1181 | 1214217.0603
70 | 2590112.2941 | 1214216.2232
71 | 2590118.2903 | 1214211.9552
72 | 2590178.8603 | 1214165.7173
73 | 2590115.3638 | 1214131.5968
74 | 2590131.1607 | 1214120.5578
75 | 2590146.8212 | 1214109.6141
76 | 2590167.9024 | 1214094.8824
77 | 2590189.2766 | 1214084.503
78 | 2590207.9569 | 1214073.6225
79 | 2590216.4159 | 1214068.6955
80 | 2590114.5011 | 1214328.2463
81 | 2590094.8416 | 1214345.5184
82 | 2590081.2218 | 1214357.2367
83 | 2590087.081 | 1214347.3197
84 | 2590057.3013 | 1214401.2845
85 | 2590061.619 | 1214357.1498
86 | 2590089.2184 | 1214280.0799
87 | 2590037.4908 | 1214310.395
88 | 2590034.7933 | 1214365.9163
89 | 2590020.2316 | 1214370.5357
90 | 2590003.4857 | 1214377.19
91 | 2589999.8998 | 1214343.5623
92 | 2589994.5034 | 1214380.2068
93 | 2590249.6488 | 1214049.6001
94 | 2590267.6176 | 1214039.6706
95 | 2590240.901 | 1214054.434
96 | 2590267.1624 | 1214038.6756
97 | 2590226.7363 | 1214062.6843
98 | 2590233.8746 | 1214041.8229
99 | 2590267.1567 | 1214038.6629
100 | 2590226.451 | 1214028.4989
101 | 2590258.0087 | 1214018.6652
102 | 2589976.5214 | 1214381.4221
103 | 2590001 | 1214380.2522
104 | 2590007.3151 | 1214380.2963
105 | 2589963.2337 | 1214383.1989
106 | 2590251.9592 | 1214005.4408
107 | 2590221.6198 | 1213881.0239
108 | 2590246.1207 | 1213899.2493
109 | 2590328.6097 | 1213971.1723
110 | 2590126.0649 | 1214206.4213

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1