## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_306-26_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_306-26_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_306-26_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_306-26_0_6_node_68 | 0.4 | n |  | TRUE
4 | bus_LV_306-26_0_6_node_67 | 0.4 | n |  | TRUE
5 | bus_LV_306-26_0_6_node_3 | 0.4 | n |  | TRUE
6 | bus_LV_306-26_0_6_node_4 | 0.4 | n |  | TRUE
7 | bus_LV_306-26_0_6_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_306-26_0_6_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_306-26_0_6_node_53 | 0.4 | n |  | TRUE
10 | bus_LV_306-26_0_6_node_51 | 0.4 | n |  | TRUE
11 | bus_LV_306-26_0_6_node_43 | 0.4 | n |  | TRUE
12 | bus_LV_306-26_0_6_node_52 | 0.4 | n |  | TRUE
13 | bus_LV_306-26_0_6_node_7 | 0.4 | n |  | TRUE
14 | bus_LV_306-26_0_6_node_8 | 0.4 | n |  | TRUE
15 | bus_LV_306-26_0_6_node_9 | 0.4 | n |  | TRUE
16 | bus_LV_306-26_0_6_node_11 | 0.4 | n |  | TRUE
17 | bus_LV_306-26_0_6_node_12 | 0.4 | n |  | TRUE
18 | bus_LV_306-26_0_6_node_10 | 0.4 | n |  | TRUE
19 | bus_LV_306-26_0_6_node_17 | 0.4 | n |  | TRUE
20 | bus_LV_306-26_0_6_node_98 | 0.4 | n |  | TRUE
21 | bus_LV_306-26_0_6_node_25 | 0.4 | n |  | TRUE
22 | bus_LV_306-26_0_6_node_31 | 0.4 | n |  | TRUE
23 | bus_LV_306-26_0_6_node_27 | 0.4 | n |  | TRUE
24 | bus_LV_306-26_0_6_node_20 | 0.4 | n |  | TRUE
25 | bus_LV_306-26_0_6_node_15 | 0.4 | n |  | TRUE
26 | bus_LV_306-26_0_6_node_99 | 0.4 | n |  | TRUE
27 | bus_LV_306-26_0_6_node_22 | 0.4 | n |  | TRUE
28 | bus_LV_306-26_0_6_node_92 | 0.4 | n |  | TRUE
29 | bus_LV_306-26_0_6_node_94 | 0.4 | n |  | TRUE
30 | bus_LV_306-26_0_6_node_28 | 0.4 | n |  | TRUE
31 | bus_LV_306-26_0_6_node_13 | 0.4 | n |  | TRUE
32 | bus_LV_306-26_0_6_node_14 | 0.4 | n |  | TRUE
33 | bus_LV_306-26_0_6_node_16 | 0.4 | n |  | TRUE
34 | bus_LV_306-26_0_6_node_18 | 0.4 | n |  | TRUE
35 | bus_LV_306-26_0_6_node_81 | 0.4 | n |  | TRUE
36 | bus_LV_306-26_0_6_node_90 | 0.4 | n |  | TRUE
37 | bus_LV_306-26_0_6_node_29 | 0.4 | n |  | TRUE
38 | bus_LV_306-26_0_6_node_80 | 0.4 | n |  | TRUE
39 | bus_LV_306-26_0_6_node_89 | 0.4 | n |  | TRUE
40 | bus_LV_306-26_0_6_node_26 | 0.4 | n |  | TRUE
41 | bus_LV_306-26_0_6_node_21 | 0.4 | n |  | TRUE
42 | bus_LV_306-26_0_6_node_24 | 0.4 | n |  | TRUE
43 | bus_LV_306-26_0_6_node_95 | 0.4 | n |  | TRUE
44 | bus_LV_306-26_0_6_node_97 | 0.4 | n |  | TRUE
45 | bus_LV_306-26_0_6_node_96 | 0.4 | n |  | TRUE
46 | bus_LV_306-26_0_6_node_50 | 0.4 | n |  | TRUE
47 | bus_LV_306-26_0_6_node_75 | 0.4 | n |  | TRUE
48 | bus_LV_306-26_0_6_node_32 | 0.4 | n |  | TRUE
49 | bus_LV_306-26_0_6_node_33 | 0.4 | n |  | TRUE
50 | bus_LV_306-26_0_6_node_34 | 0.4 | n |  | TRUE
51 | bus_LV_306-26_0_6_node_35 | 0.4 | n |  | TRUE
52 | bus_LV_306-26_0_6_node_36 | 0.4 | n |  | TRUE
53 | bus_LV_306-26_0_6_node_37 | 0.4 | n |  | TRUE
54 | bus_LV_306-26_0_6_node_48 | 0.4 | n |  | TRUE
55 | bus_LV_306-26_0_6_node_38 | 0.4 | n |  | TRUE
56 | bus_LV_306-26_0_6_node_39 | 0.4 | n |  | TRUE
57 | bus_LV_306-26_0_6_node_46 | 0.4 | n |  | TRUE
58 | bus_LV_306-26_0_6_node_44 | 0.4 | n |  | TRUE
59 | bus_LV_306-26_0_6_node_42 | 0.4 | n |  | TRUE
60 | bus_LV_306-26_0_6_node_45 | 0.4 | n |  | TRUE
61 | bus_LV_306-26_0_6_node_40 | 0.4 | n |  | TRUE
62 | bus_LV_306-26_0_6_node_41 | 0.4 | n |  | TRUE
63 | bus_LV_306-26_0_6_node_66 | 0.4 | n |  | TRUE
64 | bus_LV_306-26_0_6_node_74 | 0.4 | n |  | TRUE
65 | bus_LV_306-26_0_6_node_49 | 0.4 | n |  | TRUE
66 | bus_LV_306-26_0_6_node_47 | 0.4 | n |  | TRUE
67 | bus_LV_306-26_0_6_node_65 | 0.4 | n |  | TRUE
68 | bus_LV_306-26_0_6_node_93 | 0.4 | n |  | TRUE
69 | bus_LV_306-26_0_6_node_63 | 0.4 | n |  | TRUE
70 | bus_LV_306-26_0_6_node_54 | 0.4 | n |  | TRUE
71 | bus_LV_306-26_0_6_node_55 | 0.4 | n |  | TRUE
72 | bus_LV_306-26_0_6_node_56 | 0.4 | n |  | TRUE
73 | bus_LV_306-26_0_6_node_57 | 0.4 | n |  | TRUE
74 | bus_LV_306-26_0_6_node_58 | 0.4 | n |  | TRUE
75 | bus_LV_306-26_0_6_node_59 | 0.4 | n |  | TRUE
76 | bus_LV_306-26_0_6_node_85 | 0.4 | n |  | TRUE
77 | bus_LV_306-26_0_6_node_60 | 0.4 | n |  | TRUE
78 | bus_LV_306-26_0_6_node_84 | 0.4 | n |  | TRUE
79 | bus_LV_306-26_0_6_node_88 | 0.4 | n |  | TRUE
80 | bus_LV_306-26_0_6_node_83 | 0.4 | n |  | TRUE
81 | bus_LV_306-26_0_6_node_61 | 0.4 | n |  | TRUE
82 | bus_LV_306-26_0_6_node_62 | 0.4 | n |  | TRUE
83 | bus_LV_306-26_0_6_node_64 | 0.4 | n |  | TRUE
84 | bus_LV_306-26_0_6_node_69 | 0.4 | n |  | TRUE
85 | bus_LV_306-26_0_6_node_79 | 0.4 | n |  | TRUE
86 | bus_LV_306-26_0_6_node_76 | 0.4 | n |  | TRUE
87 | bus_LV_306-26_0_6_node_82 | 0.4 | n |  | TRUE
88 | bus_LV_306-26_0_6_node_77 | 0.4 | n |  | TRUE
89 | bus_LV_306-26_0_6_node_70 | 0.4 | n |  | TRUE
90 | bus_LV_306-26_0_6_node_71 | 0.4 | n |  | TRUE
91 | bus_LV_306-26_0_6_node_72 | 0.4 | n |  | TRUE
92 | bus_LV_306-26_0_6_node_73 | 0.4 | n |  | TRUE
93 | bus_LV_306-26_0_6_node_78 | 0.4 | n |  | TRUE
94 | bus_LV_306-26_0_6_node_86 | 0.4 | n |  | TRUE
95 | bus_LV_306-26_0_6_node_87 | 0.4 | n |  | TRUE
96 | bus_MV_404_0_node_51 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_306-26_0_6_load_0 | 0 | 0.0020467 | 0.00051295 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_306-26_0_6_load_2 | 2 | 0.0027148 | 0.0006804 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_306-26_0_6_load_68 | 3 | 0.0069068 | 0.001731 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_306-26_0_6_load_67 | 4 | 0.0021777 | 0.00054578 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_306-26_0_6_load_3 | 5 | 0.009814 | 0.0024596 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_306-26_0_6_load_4 | 6 | 0.018073 | 0.0045294 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_306-26_0_6_load_5 | 7 | 0.0045962 | 0.0011519 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_306-26_0_6_load_53 | 9 | 0.0042439 | 0.0010636 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_306-26_0_6_load_51 | 10 | 0.0026607 | 0.00066685 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_306-26_0_6_load_52 | 12 | 0.0026151 | 0.0006554 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_306-26_0_6_load_7 | 13 | 0.027818 | 0.0069718 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_306-26_0_6_load_8 | 14 | 0.0031592 | 0.00079176 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_306-26_0_6_load_10 | 18 | 0.005465 | 0.0013697 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_306-26_0_6_load_25 | 21 | 0.014245 | 0.00357 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_306-26_0_6_load_27 | 23 | 0.014209 | 0.0035612 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_306-26_0_6_load_99 | 26 | 0.00402 | 0.0010075 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_306-26_0_6_load_94 | 29 | 0.018242 | 0.004572 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_306-26_0_6_load_28 | 30 | 0.014031 | 0.0035164 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_306-26_0_6_load_13 | 31 | 0.0024783 | 0.00062111 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_306-26_0_6_load_14 | 32 | 0.0023837 | 0.00059741 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_306-26_0_6_load_16 | 33 | 0.0027053 | 0.00067802 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_306-26_0_6_load_81 | 35 | 0.0062941 | 0.0015775 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_306-26_0_6_load_90 | 36 | 0.006298 | 0.0015784 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_306-26_0_6_load_29 | 37 | 0.010024 | 0.0025121 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_306-26_0_6_load_80 | 38 | 0.0042895 | 0.001075 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_306-26_0_6_load_89 | 39 | 0.0026947 | 0.00067535 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_306-26_0_6_load_26 | 40 | 0.0034413 | 0.00086247 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_306-26_0_6_load_21 | 41 | 0.0026902 | 0.00067424 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_306-26_0_6_load_24 | 42 | 0.0060354 | 0.0015126 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_306-26_0_6_load_95 | 43 | 0.015976 | 0.0040039 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_306-26_0_6_load_97 | 44 | 0.012662 | 0.0031733 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_306-26_0_6_load_96 | 45 | 0.014175 | 0.0035526 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_306-26_0_6_load_50 | 46 | 0.015881 | 0.00398 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_306-26_0_6_load_32 | 48 | 0.015663 | 0.0039254 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_306-26_0_6_load_34 | 50 | 0.00948 | 0.0023759 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_306-26_0_6_load_35 | 51 | 0.0087107 | 0.0021831 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_306-26_0_6_load_36 | 52 | 0.010902 | 0.0027324 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_306-26_0_6_load_38 | 55 | 0.0057146 | 0.0014322 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_306-26_0_6_load_39 | 56 | 0.0074042 | 0.0018557 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_306-26_0_6_load_46 | 57 | 0.0045567 | 0.001142 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_306-26_0_6_load_44 | 58 | 0.0060973 | 0.0015281 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_306-26_0_6_load_45 | 60 | 0.017134 | 0.0042943 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_306-26_0_6_load_40 | 61 | 0.0040468 | 0.0010142 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_306-26_0_6_load_41 | 62 | 0.0057025 | 0.0014292 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_306-26_0_6_load_66 | 63 | 0.0077417 | 0.0019402 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_306-26_0_6_load_74 | 64 | 0.017106 | 0.0042871 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_306-26_0_6_load_47 | 66 | 0.012674 | 0.0031764 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_306-26_0_6_load_65 | 67 | 0.01808 | 0.0045313 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_306-26_0_6_load_93 | 68 | 0.015975 | 0.0040036 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_306-26_0_6_load_63 | 69 | 0.01544 | 0.0038696 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_306-26_0_6_load_54 | 70 | 0.0036423 | 0.00091284 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_306-26_0_6_load_55 | 71 | 0.0030851 | 0.0007732 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_306-26_0_6_load_57 | 73 | 0.0042151 | 0.0010564 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_306-26_0_6_load_59 | 75 | 0.001988 | 0.00049825 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_306-26_0_6_load_85 | 76 | 0.0035189 | 0.00088193 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_306-26_0_6_load_60 | 77 | 0.011757 | 0.0029466 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_306-26_0_6_load_84 | 78 | 0.0030799 | 0.00077189 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_306-26_0_6_load_88 | 79 | 0.0043495 | 0.0010901 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_306-26_0_6_load_83 | 80 | 0.0039786 | 0.00099714 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_306-26_0_6_load_61 | 81 | 0.0072475 | 0.0018164 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_306-26_0_6_load_62 | 82 | 0.0070976 | 0.0017788 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_306-26_0_6_load_64 | 83 | 0.0050997 | 0.0012781 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_306-26_0_6_load_79 | 85 | 0.0055627 | 0.0013941 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_306-26_0_6_load_76 | 86 | 0.0050629 | 0.0012689 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_306-26_0_6_load_82 | 87 | 0.0082313 | 0.002063 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_306-26_0_6_load_77 | 88 | 0.0079705 | 0.0019976 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_306-26_0_6_load_70 | 89 | 0.0037043 | 0.00092839 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_306-26_0_6_load_72 | 91 | 0.031851 | 0.0079826 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_306-26_0_6_load_78 | 93 | 0.012755 | 0.0031968 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_306-26_0_6_load_86 | 94 | 0.0022823 | 0.00057201 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_306-26_0_6_load_87 | 95 | 0.0028656 | 0.00071818 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 66 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_306-26_0_6_line_0 |  | 0 | 1 | 0.023846 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_306-26_0_6_line_1 |  | 1 | 2 | 0.072335 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_306-26_0_6_line_2 |  | 2 | 3 | 0.00086926 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_306-26_0_6_line_3 |  | 3 | 4 | 0.029275 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_306-26_0_6_line_4 |  | 4 | 63 | 0.0041546 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_306-26_0_6_line_5 |  | 5 | 6 | 0.00050701 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_306-26_0_6_line_6 |  | 5 | 7 | 0.012727 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_306-26_0_6_line_7 |  | 6 | 8 | 0.019938 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_306-26_0_6_line_8 |  | 8 | 9 | 0.0041009 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_306-26_0_6_line_9 |  | 8 | 10 | 0.046146 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_306-26_0_6_line_10 |  | 9 | 11 | 0.017865 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_306-26_0_6_line_11 |  | 10 | 12 | 0.0017299 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_306-26_0_6_line_12 |  | 11 | 63 | 0.01059 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_306-26_0_6_line_13 |  | 11 | 62 | 0.012765 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_306-26_0_6_line_14 |  | 13 | 14 | 0.0056346 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_306-26_0_6_line_15 |  | 13 | 15 | 0.033837 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_306-26_0_6_line_16 |  | 15 | 16 | 0.023706 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_306-26_0_6_line_17 |  | 15 | 17 | 0.032649 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_306-26_0_6_line_18 |  | 16 | 20 | 0.068981 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_306-26_0_6_line_19 |  | 16 | 21 | 0.042214 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_306-26_0_6_line_20 |  | 17 | 22 | 0.029805 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_306-26_0_6_line_21 |  | 17 | 23 | 0.038276 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_306-26_0_6_line_22 |  | 18 | 19 | 0.050706 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_306-26_0_6_line_23 |  | 19 | 24 | 0.020635 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_306-26_0_6_line_24 |  | 19 | 25 | 0.005387 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_306-26_0_6_line_25 |  | 20 | 26 | 0.011171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_306-26_0_6_line_26 |  | 21 | 27 | 0.02593 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_306-26_0_6_line_27 |  | 22 | 28 | 0.007678 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
28 | LV_306-26_0_6_line_28 |  | 22 | 29 | 0.022742 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_306-26_0_6_line_29 |  | 23 | 30 | 0.048446 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_306-26_0_6_line_30 |  | 24 | 37 | 0.0080761 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_306-26_0_6_line_31 |  | 25 | 34 | 0.047278 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_306-26_0_6_line_32 |  | 25 | 31 | 0.013369 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_306-26_0_6_line_33 |  | 27 | 42 | 0.047341 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_306-26_0_6_line_34 |  | 27 | 41 | 0.029857 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_306-26_0_6_line_35 |  | 28 | 46 | 0.047455 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
36 | LV_306-26_0_6_line_36 |  | 28 | 47 | 0.033169 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_306-26_0_6_line_37 |  | 29 | 43 | 0.041774 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_306-26_0_6_line_38 |  | 30 | 37 | 0.033172 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_306-26_0_6_line_39 |  | 31 | 32 | 0.0067054 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_306-26_0_6_line_40 |  | 32 | 33 | 0.039151 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_306-26_0_6_line_41 |  | 34 | 35 | 0.02422 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_306-26_0_6_line_42 |  | 34 | 36 | 0.022234 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_306-26_0_6_line_43 |  | 35 | 38 | 0.0073326 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_306-26_0_6_line_44 |  | 36 | 39 | 0.028878 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_306-26_0_6_line_45 |  | 38 | 40 | 0.015347 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_306-26_0_6_line_46 |  | 44 | 45 | 0.034769 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_306-26_0_6_line_47 |  | 45 | 92 | 0.016447 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_306-26_0_6_line_48 |  | 46 | 54 | 0.0044585 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
49 | LV_306-26_0_6_line_49 |  | 47 | 68 | 0.0093461 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_306-26_0_6_line_50 |  | 48 | 49 | 0.02613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_306-26_0_6_line_51 |  | 48 | 50 | 0.025447 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_306-26_0_6_line_52 |  | 49 | 51 | 0.017227 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_306-26_0_6_line_53 |  | 49 | 52 | 0.0043138 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
54 | LV_306-26_0_6_line_54 |  | 51 | 53 | 0.040189 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_306-26_0_6_line_55 |  | 52 | 54 | 0.046336 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
56 | LV_306-26_0_6_line_56 |  | 53 | 55 | 0.017056 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_306-26_0_6_line_57 |  | 53 | 56 | 0.017489 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_306-26_0_6_line_58 |  | 54 | 57 | 0.016871 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
59 | LV_306-26_0_6_line_59 |  | 55 | 58 | 0.020366 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_306-26_0_6_line_60 |  | 56 | 59 | 0.012514 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_306-26_0_6_line_61 |  | 57 | 66 | 0.0043474 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
62 | LV_306-26_0_6_line_62 |  | 58 | 60 | 0.024779 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_306-26_0_6_line_63 |  | 59 | 61 | 0.032756 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_306-26_0_6_line_64 |  | 61 | 62 | 0.00065941 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_306-26_0_6_line_65 |  | 64 | 65 | 0.028896 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_306-26_0_6_line_66 |  | 65 | 67 | 0.017066 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
67 | LV_306-26_0_6_line_67 |  | 65 | 66 | 0.017356 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
68 | LV_306-26_0_6_line_68 |  | 67 | 69 | 0.034579 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
69 | LV_306-26_0_6_line_69 |  | 69 | 81 | 0.0026735 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
70 | LV_306-26_0_6_line_70 |  | 70 | 71 | 0.010836 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_306-26_0_6_line_71 |  | 70 | 72 | 0.065963 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_306-26_0_6_line_72 |  | 71 | 73 | 0.0078003 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_306-26_0_6_line_73 |  | 72 | 74 | 0.058938 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_306-26_0_6_line_74 |  | 73 | 75 | 0.010837 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_306-26_0_6_line_75 |  | 74 | 76 | 0.068263 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_306-26_0_6_line_76 |  | 75 | 77 | 0.011439 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_306-26_0_6_line_77 |  | 76 | 78 | 0.020342 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_306-26_0_6_line_78 |  | 77 | 79 | 0.008412 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_306-26_0_6_line_79 |  | 78 | 94 | 0.019429 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_306-26_0_6_line_80 |  | 79 | 80 | 0.0084506 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_306-26_0_6_line_81 |  | 80 | 87 | 0.0046425 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_306-26_0_6_line_82 |  | 81 | 82 | 0.018353 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
83 | LV_306-26_0_6_line_83 |  | 82 | 83 | 0.0079587 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
84 | LV_306-26_0_6_line_84 |  | 83 | 84 | 0.022 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
85 | LV_306-26_0_6_line_85 |  | 84 | 85 | 0.018051 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_306-26_0_6_line_86 |  | 84 | 86 | 0.011893 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_306-26_0_6_line_87 |  | 85 | 87 | 0.017738 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_306-26_0_6_line_88 |  | 86 | 88 | 0.024311 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_306-26_0_6_line_89 |  | 88 | 93 | 0.014111 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_306-26_0_6_line_90 |  | 89 | 90 | 0.010921 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_306-26_0_6_line_91 |  | 90 | 91 | 0.029918 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_306-26_0_6_line_92 |  | 90 | 92 | 0.010405 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_306-26_0_6_line_93 |  | 91 | 93 | 0.005068 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_306-26_0_6_line_94 |  | 94 | 95 | 0.0072112 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_306-26_0_6_trafo_47 | 0.63 MVA 20/0.4 kV | 96 | 66 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9
0 | 2589641.0093 | 1213983.9479 | 2589639.3838 | 1213979.4704 | 2589648.22 | 1213968.4376 | 2589644.435 | 1213965.2514
1 | 2589641.0093 | 1213983.9479 | 2589652.7781 | 1214003.8607 | 2589665.4778 | 1214017.5795 | 2589669.714 | 1214021.0074 | 2589686.9849 | 1214002.8487
2 | 2589687.584 | 1214002.2188 | 2589686.9849 | 1214002.8487
3 | 2589687.584 | 1214002.2188 | 2589707.7593 | 1213981.0063
4 | 2589710.5961 | 1213977.972 | 2589710.12 | 1213978.5242 | 2589707.7593 | 1213981.0063
5 | 2589685.4336 | 1213942.9879 | 2589685.0478 | 1213942.6588 | 2589685.0478 | 1213942.6588
6 | 2589675.9496 | 1213951.5575 | 2589685.0478 | 1213942.6588
7 | 2589700.6024 | 1213955.9281 | 2589685.4336 | 1213942.9879
8 | 2589700.6024 | 1213955.9281 | 2589703.7589 | 1213958.546
9 | 2589700.6024 | 1213955.9281 | 2589694.7497 | 1213957.617 | 2589667.5944 | 1213987.0605
10 | 2589717.5101 | 1213969.951 | 2589703.7589 | 1213958.546
11 | 2589667.5944 | 1213987.0605 | 2589666.4216 | 1213988.3322
12 | 2589717.5101 | 1213969.951 | 2589710.5961 | 1213977.972
13 | 2589717.5101 | 1213969.951 | 2589725.8363 | 1213960.2746
14 | 2589533.4778 | 1213831.1623 | 2589536.9242 | 1213826.7046
15 | 2589557.6202 | 1213799.9354 | 2589554.6422 | 1213803.7873 | 2589536.9242 | 1213826.7046
16 | 2589555.1406 | 1213776.3599 | 2589556.338 | 1213787.7975 | 2589556.5543 | 1213789.8205 | 2589557.6202 | 1213799.9354
17 | 2589579.0111 | 1213788.847 | 2589572.7077 | 1213789.125 | 2589562.1969 | 1213789.5771 | 2589556.5543 | 1213789.8205 | 2589557.6202 | 1213799.9354
18 | 2589548.4754 | 1213718.0278 | 2589559.8062 | 1213734.5837 | 2589563.5145 | 1213739.9913 | 2589565.645 | 1213742.1555 | 2589569.4635 | 1213745.4172 | 2589566.8049 | 1213749.5576 | 2589564.5417 | 1213753.964 | 2589561.4124 | 1213762.4632 | 2589558.8064 | 1213770.6057 | 2589555.1406 | 1213776.3599
19 | 2589555.1406 | 1213776.3599 | 2589551.3856 | 1213778.9235 | 2589546.5362 | 1213781.1 | 2589540.0067 | 1213782.3455 | 2589523.863 | 1213784.253 | 2589517.6584 | 1213784.5641 | 2589514.4392 | 1213784.2311
20 | 2589579.0111 | 1213788.847 | 2589592.4217 | 1213787.6116 | 2589604.32 | 1213798.8081
21 | 2589579.0111 | 1213788.847 | 2589582.1447 | 1213826.9947
22 | 2589569.8408 | 1213916.3238 | 2589569.6038 | 1213911.0879 | 2589567.2328 | 1213888.7906 | 2589564.3136 | 1213865.9347
23 | 2589590.5368 | 1213916.2762 | 2589585.6457 | 1213916.2848 | 2589574.1167 | 1213916.3162 | 2589569.8408 | 1213916.3238
24 | 2589570.0782 | 1213921.7041 | 2589569.8408 | 1213916.3238
25 | 2589548.4754 | 1213718.0278 | 2589542.1624 | 1213708.8117
26 | 2589489.7176 | 1213776.8093 | 2589502.8282 | 1213781.9556 | 2589511.8471 | 1213783.963 | 2589514.4392 | 1213784.2311
27 | 2589604.32 | 1213798.8081 | 2589609.9496 | 1213804.0456
28 | 2589604.32 | 1213798.8081 | 2589620.1121 | 1213782.4437
29 | 2589586.57 | 1213875.2367 | 2589586.1669 | 1213871.5365 | 2589582.9384 | 1213836.6559 | 2589582.1447 | 1213826.9947
30 | 2589590.5368 | 1213916.2762 | 2589590.3587 | 1213910.0174 | 2589590.1622 | 1213908.2132
31 | 2589565.4522 | 1213968.672 | 2589567.9362 | 1213951.6803 | 2589569.7942 | 1213937.2134 | 2589570.0782 | 1213921.7041
32 | 2589570.0782 | 1213921.7041 | 2589556.7091 | 1213921.6062
33 | 2589489.7176 | 1213776.8093 | 2589461.9585 | 1213738.4606
34 | 2589489.7176 | 1213776.8093 | 2589484.6998 | 1213786.7794 | 2589475.8774 | 1213803.2621
35 | 2589609.9496 | 1213804.0456 | 2589644.6713 | 1213836.3932
36 | 2589632.4563 | 1213779.6257 | 2589609.9496 | 1213804.0456
37 | 2589620.1121 | 1213782.4437 | 2589628.9515 | 1213773.2839 | 2589628.9353 | 1213764.0343 | 2589618.5233 | 1213747.1986
38 | 2589586.57 | 1213875.2367 | 2589590.1622 | 1213908.2132
39 | 2589556.7091 | 1213921.6062 | 2589550.0039 | 1213921.557
40 | 2589550.0039 | 1213921.557 | 2589544.4072 | 1213921.516 | 2589528.5159 | 1213919.921 | 2589513.3439 | 1213917.0685 | 2589511.2276 | 1213916.7147
41 | 2589565.4522 | 1213968.672 | 2589557.6128 | 1213967.7631 | 2589541.9921 | 1213963.0098
42 | 2589565.4522 | 1213968.672 | 2589560.9237 | 1213990.4401
43 | 2589534.977 | 1213960.8752 | 2589541.9921 | 1213963.0098
44 | 2589555.042 | 1214018.7128 | 2589560.9237 | 1213990.4401
45 | 2589534.977 | 1213960.8752 | 2589520.2943 | 1213956.4073
46 | 2589676.6818 | 1213676.5868 | 2589648.7103 | 1213697.2387
47 | 2589689.9136 | 1213666.8175 | 2589676.6818 | 1213676.5868
48 | 2589647.9334 | 1213839.4323 | 2589644.6713 | 1213836.3932
49 | 2589632.4563 | 1213779.6257 | 2589635.6857 | 1213776.1181 | 2589640.0122 | 1213774.6208
50 | 2589684.2231 | 1213874.7665 | 2589666.3876 | 1213893.8629
51 | 2589649.0182 | 1213912.4603 | 2589666.3876 | 1213893.8629
52 | 2589684.2231 | 1213874.7665 | 2589696.7177 | 1213886.6264
53 | 2589684.2231 | 1213874.7665 | 2589681.1323 | 1213871.7571
54 | 2589725.8664 | 1213914.2941 | 2589696.7177 | 1213886.6264
55 | 2589647.9334 | 1213839.4323 | 2589681.1323 | 1213871.7571
56 | 2589725.8664 | 1213914.2941 | 2589737.8049 | 1213902.1125
57 | 2589725.8664 | 1213914.2941 | 2589738.5531 | 1213926.3319
58 | 2589647.9334 | 1213839.4323 | 2589659.7212 | 1213827.3628
59 | 2589737.8049 | 1213902.1125 | 2589752.0603 | 1213887.5669
60 | 2589747.6311 | 1213934.9457 | 2589738.5531 | 1213926.3319
61 | 2589659.7212 | 1213827.3628 | 2589662.7588 | 1213824.2526
62 | 2589734.0397 | 1213870.5599 | 2589752.0603 | 1213887.5669 | 2589752.0603 | 1213887.5669
63 | 2589747.6311 | 1213934.9457 | 2589726.2664 | 1213959.7748
64 | 2589725.8363 | 1213960.2746 | 2589726.2664 | 1213959.7748
65 | 2589674.8853 | 1213811.8363 | 2589695.776 | 1213831.8 | 2589695.776 | 1213831.8
66 | 2589674.8853 | 1213811.8363 | 2589686.8103 | 1213799.6277
67 | 2589674.8853 | 1213811.8363 | 2589662.7588 | 1213824.2526
68 | 2589710.9719 | 1213774.8913 | 2589686.8103 | 1213799.6277
69 | 2589712.84 | 1213772.9788 | 2589710.9719 | 1213774.8913
70 | 2589815.4155 | 1213814.1268 | 2589808.0835 | 1213806.1474
71 | 2589860.2675 | 1213862.4886 | 2589853.2146 | 1213855.2633 | 2589815.4155 | 1213814.1268
72 | 2589802.8057 | 1213800.4037 | 2589808.0835 | 1213806.1474
73 | 2589833.3045 | 1213914.8977 | 2589843.3189 | 1213895.3695 | 2589860.2675 | 1213862.4886
74 | 2589802.8057 | 1213800.4037 | 2589795.4733 | 1213792.4238
75 | 2589833.3045 | 1213914.8977 | 2589825.3984 | 1213910.5644 | 2589791.678 | 1213875.8919 | 2589784.0388 | 1213868.1422
76 | 2589795.4733 | 1213792.4238 | 2589787.7338 | 1213784.001
77 | 2589769.7587 | 1213853.6554 | 2589784.0388 | 1213868.1422
78 | 2589782.0422 | 1213777.8069 | 2589787.7338 | 1213784.001
79 | 2589769.7587 | 1213853.6554 | 2589756.1196 | 1213839.8189
80 | 2589782.0422 | 1213777.8069 | 2589776.3245 | 1213771.5843
81 | 2589773.1833 | 1213768.1659 | 2589776.3245 | 1213771.5843
82 | 2589712.84 | 1213772.9788 | 2589717.645 | 1213768.0595 | 2589726.2377 | 1213760.4525
83 | 2589726.2377 | 1213760.4525 | 2589732.1967 | 1213755.177
84 | 2589749.3387 | 1213741.4895 | 2589743.5652 | 1213745.1127 | 2589732.1967 | 1213755.177
85 | 2589749.3387 | 1213741.4895 | 2589755.5874 | 1213749.0163 | 2589761.1819 | 1213755.1048
86 | 2589749.3387 | 1213741.4895 | 2589742.1884 | 1213731.9867
87 | 2589761.1819 | 1213755.1048 | 2589773.1833 | 1213768.1659
88 | 2589742.1884 | 1213731.9867 | 2589727.5711 | 1213712.5604
89 | 2589727.5711 | 1213712.5604 | 2589719.0869 | 1213701.2848
90 | 2589698.0518 | 1213673.3292 | 2589705.7016 | 1213665.5346
91 | 2589698.0518 | 1213673.3292 | 2589716.0397 | 1213697.2352
92 | 2589698.0518 | 1213673.3292 | 2589689.9136 | 1213666.8175
93 | 2589716.0397 | 1213697.2352 | 2589719.0869 | 1213701.2848
94 | 2589751.0573 | 1213834.6834 | 2589756.1196 | 1213839.8189

## bus_geodata
| x | y | coords
0 | 2589644.435 | 1213965.2514
1 | 2589641.0093 | 1213983.9479
2 | 2589686.9849 | 1214002.8487
3 | 2589687.584 | 1214002.2188
4 | 2589707.7593 | 1213981.0063
5 | 2589685.0478 | 1213942.6588
6 | 2589685.4336 | 1213942.9879
7 | 2589675.9496 | 1213951.5575
8 | 2589700.6024 | 1213955.9281
9 | 2589703.7589 | 1213958.546
10 | 2589667.5944 | 1213987.0605
11 | 2589717.5101 | 1213969.951
12 | 2589666.4216 | 1213988.3322
13 | 2589536.9242 | 1213826.7046
14 | 2589533.4778 | 1213831.1623
15 | 2589557.6202 | 1213799.9354
16 | 2589555.1406 | 1213776.3599
17 | 2589579.0111 | 1213788.847
18 | 2589564.3136 | 1213865.9347
19 | 2589569.8408 | 1213916.3238
20 | 2589548.4754 | 1213718.0278
21 | 2589514.4392 | 1213784.2311
22 | 2589604.32 | 1213798.8081
23 | 2589582.1447 | 1213826.9947
24 | 2589590.5368 | 1213916.2762
25 | 2589570.0782 | 1213921.7041
26 | 2589542.1624 | 1213708.8117
27 | 2589489.7176 | 1213776.8093
28 | 2589609.9496 | 1213804.0456
29 | 2589620.1121 | 1213782.4437
30 | 2589586.57 | 1213875.2367
31 | 2589556.7091 | 1213921.6062
32 | 2589550.0039 | 1213921.557
33 | 2589511.2276 | 1213916.7147
34 | 2589565.4522 | 1213968.672
35 | 2589541.9921 | 1213963.0098
36 | 2589560.9237 | 1213990.4401
37 | 2589590.1622 | 1213908.2132
38 | 2589534.977 | 1213960.8752
39 | 2589555.042 | 1214018.7128
40 | 2589520.2943 | 1213956.4073
41 | 2589475.8774 | 1213803.2621
42 | 2589461.9585 | 1213738.4606
43 | 2589618.5233 | 1213747.1986
44 | 2589648.7103 | 1213697.2387
45 | 2589676.6818 | 1213676.5868
46 | 2589644.6713 | 1213836.3932
47 | 2589632.4563 | 1213779.6257
48 | 2589666.3876 | 1213893.8629
49 | 2589684.2231 | 1213874.7665
50 | 2589649.0182 | 1213912.4603
51 | 2589696.7177 | 1213886.6264
52 | 2589681.1323 | 1213871.7571
53 | 2589725.8664 | 1213914.2941
54 | 2589647.9334 | 1213839.4323
55 | 2589737.8049 | 1213902.1125
56 | 2589738.5531 | 1213926.3319
57 | 2589659.7212 | 1213827.3628
58 | 2589752.0603 | 1213887.5669
59 | 2589747.6311 | 1213934.9457
60 | 2589734.0397 | 1213870.5599
61 | 2589726.2664 | 1213959.7748
62 | 2589725.8363 | 1213960.2746
63 | 2589710.5961 | 1213977.972
64 | 2589695.776 | 1213831.8
65 | 2589674.8853 | 1213811.8363
66 | 2589662.7588 | 1213824.2526
67 | 2589686.8103 | 1213799.6277
68 | 2589640.0122 | 1213774.6208
69 | 2589710.9719 | 1213774.8913
70 | 2589815.4155 | 1213814.1268
71 | 2589808.0835 | 1213806.1474
72 | 2589860.2675 | 1213862.4886
73 | 2589802.8057 | 1213800.4037
74 | 2589833.3045 | 1213914.8977
75 | 2589795.4733 | 1213792.4238
76 | 2589784.0388 | 1213868.1422
77 | 2589787.7338 | 1213784.001
78 | 2589769.7587 | 1213853.6554
79 | 2589782.0422 | 1213777.8069
80 | 2589776.3245 | 1213771.5843
81 | 2589712.84 | 1213772.9788
82 | 2589726.2377 | 1213760.4525
83 | 2589732.1967 | 1213755.177
84 | 2589749.3387 | 1213741.4895
85 | 2589761.1819 | 1213755.1048
86 | 2589742.1884 | 1213731.9867
87 | 2589773.1833 | 1213768.1659
88 | 2589727.5711 | 1213712.5604
89 | 2589705.7016 | 1213665.5346
90 | 2589698.0518 | 1213673.3292
91 | 2589716.0397 | 1213697.2352
92 | 2589689.9136 | 1213666.8175
93 | 2589719.0869 | 1213701.2848
94 | 2589756.1196 | 1213839.8189
95 | 2589751.0573 | 1213834.6834
96 | 2589662.7588 | 1213824.2526

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1