## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_306-33_1_3_node_55 | 0.4 | n |  | TRUE
1 | bus_LV_306-33_1_3_node_56 | 0.4 | n |  | TRUE
2 | bus_LV_306-33_1_3_node_54 | 0.4 | n |  | TRUE
3 | bus_LV_306-33_1_3_node_96 | 0.4 | n |  | TRUE
4 | bus_LV_306-33_1_3_node_97 | 0.4 | n |  | TRUE
5 | bus_LV_306-33_1_3_node_10 | 0.4 | n |  | TRUE
6 | bus_LV_306-33_1_3_node_12 | 0.4 | n |  | TRUE
7 | bus_LV_306-33_1_3_node_60 | 0.4 | n |  | TRUE
8 | bus_LV_306-33_1_3_node_13 | 0.4 | n |  | TRUE
9 | bus_LV_306-33_1_3_node_14 | 0.4 | n |  | TRUE
10 | bus_LV_306-33_1_3_node_15 | 0.4 | n |  | TRUE
11 | bus_LV_306-33_1_3_node_16 | 0.4 | n |  | TRUE
12 | bus_LV_306-33_1_3_node_18 | 0.4 | n |  | TRUE
13 | bus_LV_306-33_1_3_node_44 | 0.4 | n |  | TRUE
14 | bus_LV_306-33_1_3_node_61 | 0.4 | n |  | TRUE
15 | bus_LV_306-33_1_3_node_27 | 0.4 | n |  | TRUE
16 | bus_LV_306-33_1_3_node_105 | 0.4 | n |  | TRUE
17 | bus_LV_306-33_1_3_node_19 | 0.4 | n |  | TRUE
18 | bus_LV_306-33_1_3_node_20 | 0.4 | n |  | TRUE
19 | bus_LV_306-33_1_3_node_23 | 0.4 | n |  | TRUE
20 | bus_LV_306-33_1_3_node_30 | 0.4 | n |  | TRUE
21 | bus_LV_306-33_1_3_node_31 | 0.4 | n |  | TRUE
22 | bus_LV_306-33_1_3_node_45 | 0.4 | n |  | TRUE
23 | bus_LV_306-33_1_3_node_62 | 0.4 | n |  | TRUE
24 | bus_LV_306-33_1_3_node_63 | 0.4 | n |  | TRUE
25 | bus_LV_306-33_1_3_node_69 | 0.4 | n |  | TRUE
26 | bus_LV_306-33_1_3_node_103 | 0.4 | n |  | TRUE
27 | bus_LV_306-33_1_3_node_102 | 0.4 | n |  | TRUE
28 | bus_LV_306-33_1_3_node_28 | 0.4 | n |  | TRUE
29 | bus_LV_306-33_1_3_node_26 | 0.4 | n |  | TRUE
30 | bus_LV_306-33_1_3_node_25 | 0.4 | n |  | TRUE
31 | bus_LV_306-33_1_3_node_21 | 0.4 | n |  | TRUE
32 | bus_LV_306-33_1_3_node_29 | 0.4 | n |  | TRUE
33 | bus_LV_306-33_1_3_node_24 | 0.4 | n |  | TRUE
34 | bus_LV_306-33_1_3_node_47 | 0.4 | n |  | TRUE
35 | bus_LV_306-33_1_3_node_37 | 0.4 | n |  | TRUE
36 | bus_LV_306-33_1_3_node_32 | 0.4 | n |  | TRUE
37 | bus_LV_306-33_1_3_node_33 | 0.4 | n |  | TRUE
38 | bus_LV_306-33_1_3_node_34 | 0.4 | n |  | TRUE
39 | bus_LV_306-33_1_3_node_35 | 0.4 | n |  | TRUE
40 | bus_LV_306-33_1_3_node_36 | 0.4 | n |  | TRUE
41 | bus_LV_306-33_1_3_node_106 | 0.4 | n |  | TRUE
42 | bus_LV_306-33_1_3_node_46 | 0.4 | n |  | TRUE
43 | bus_LV_306-33_1_3_node_39 | 0.4 | n |  | TRUE
44 | bus_LV_306-33_1_3_node_40 | 0.4 | n |  | TRUE
45 | bus_LV_306-33_1_3_node_42 | 0.4 | n |  | TRUE
46 | bus_LV_306-33_1_3_node_67 | 0.4 | n |  | TRUE
47 | bus_LV_306-33_1_3_node_101 | 0.4 | n |  | TRUE
48 | bus_LV_306-33_1_3_node_89 | 0.4 | n |  | TRUE
49 | bus_LV_306-33_1_3_node_68 | 0.4 | n |  | TRUE
50 | bus_LV_306-33_1_3_node_66 | 0.4 | n |  | TRUE
51 | bus_LV_306-33_1_3_node_64 | 0.4 | n |  | TRUE
52 | bus_LV_306-33_1_3_node_65 | 0.4 | n |  | TRUE
53 | bus_LV_306-33_1_3_node_88 | 0.4 | n |  | TRUE
54 | bus_LV_306-33_1_3_node_100 | 0.4 | n |  | TRUE
55 | bus_LV_306-33_1_3_node_81 | 0.4 | n |  | TRUE
56 | bus_LV_306-33_1_3_node_86 | 0.4 | n |  | TRUE
57 | bus_LV_306-33_1_3_node_78 | 0.4 | n |  | TRUE
58 | bus_LV_306-33_1_3_node_79 | 0.4 | n |  | TRUE
59 | bus_LV_306-33_1_3_node_80 | 0.4 | n |  | TRUE
60 | bus_LV_306-33_1_3_node_82 | 0.4 | n |  | TRUE
61 | bus_LV_306-33_1_3_node_90 | 0.4 | n |  | TRUE
62 | bus_LV_306-33_1_3_node_95 | 0.4 | n |  | TRUE
63 | bus_LV_306-33_1_3_node_91 | 0.4 | n |  | TRUE
64 | bus_LV_306-33_1_3_node_87 | 0.4 | n |  | TRUE
65 | bus_LV_306-33_1_3_node_93 | 0.4 | n |  | TRUE
66 | bus_LV_306-33_1_3_node_83 | 0.4 | n |  | TRUE
67 | bus_LV_306-33_1_3_node_84 | 0.4 | n |  | TRUE
68 | bus_LV_306-33_1_3_node_85 | 0.4 | n |  | TRUE
69 | bus_LV_306-33_1_3_node_98 | 0.4 | n |  | TRUE
70 | bus_LV_306-33_1_3_node_92 | 0.4 | n |  | TRUE
71 | bus_LV_306-33_1_3_node_94 | 0.4 | n |  | TRUE
72 | bus_MV_404_0_node_75 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_306-33_1_3_load_56 | 1 | 0.0038298 | 0.00095984 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_306-33_1_3_load_54 | 2 | 0.0028977 | 0.00072624 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_306-33_1_3_load_96 | 3 | 0.0017688 | 0.00044331 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_306-33_1_3_load_97 | 4 | 0.0011651 | 0.00029199 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_306-33_1_3_load_10 | 5 | 0.0019828 | 0.00049694 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_306-33_1_3_load_12 | 6 | 0.0019398 | 0.00048616 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_306-33_1_3_load_60 | 7 | 0.0042136 | 0.001056 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_306-33_1_3_load_13 | 8 | 0.0057956 | 0.0014525 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_306-33_1_3_load_61 | 14 | 0.013793 | 0.0034567 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_306-33_1_3_load_105 | 16 | 0.0068983 | 0.0017289 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_306-33_1_3_load_30 | 20 | 0.0022895 | 0.0005738 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_306-33_1_3_load_31 | 21 | 0.020305 | 0.005089 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_306-33_1_3_load_45 | 22 | 0.0074148 | 0.0018583 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_306-33_1_3_load_62 | 23 | 0.013578 | 0.0034029 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_306-33_1_3_load_69 | 25 | 0.0078055 | 0.0019562 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_306-33_1_3_load_103 | 26 | 0.00029595 | 7.4172e-05 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_306-33_1_3_load_28 | 28 | 0.0059631 | 0.0014945 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_306-33_1_3_load_26 | 29 | 0.013213 | 0.0033116 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_306-33_1_3_load_25 | 30 | 0.0099306 | 0.0024888 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_306-33_1_3_load_21 | 31 | 0.014556 | 0.0036481 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_306-33_1_3_load_29 | 32 | 0.011728 | 0.0029394 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_306-33_1_3_load_24 | 33 | 0.0028541 | 0.00071531 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_306-33_1_3_load_32 | 36 | 0.00043462 | 0.00010893 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_306-33_1_3_load_33 | 37 | 0.0012858 | 0.00032224 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_306-33_1_3_load_106 | 41 | 0.0083425 | 0.0020908 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_306-33_1_3_load_46 | 42 | 0.055049 | 0.013796 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_306-33_1_3_load_39 | 43 | 0.0011101 | 0.00027821 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_306-33_1_3_load_101 | 47 | 0.0016244 | 0.00040712 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_306-33_1_3_load_89 | 48 | 0.0020223 | 0.00050683 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_306-33_1_3_load_66 | 50 | 0.0073293 | 0.0018369 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_306-33_1_3_load_64 | 51 | 0.0068813 | 0.0017246 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_306-33_1_3_load_65 | 52 | 0.0075298 | 0.0018872 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_306-33_1_3_load_88 | 53 | 0.00037064 | 9.2891e-05 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_306-33_1_3_load_100 | 54 | 0.0035632 | 0.00089303 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_306-33_1_3_load_81 | 55 | 0.0014206 | 0.00035603 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_306-33_1_3_load_86 | 56 | 0.007501 | 0.0018799 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_306-33_1_3_load_78 | 57 | 0.0020315 | 0.00050915 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_306-33_1_3_load_79 | 58 | 0.0016231 | 0.00040679 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_306-33_1_3_load_80 | 59 | 0.0011405 | 0.00028585 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_306-33_1_3_load_95 | 62 | 0.0014941 | 0.00037446 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_306-33_1_3_load_91 | 63 | 0.0011643 | 0.00029181 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_306-33_1_3_load_87 | 64 | 0.001947 | 0.00048796 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_306-33_1_3_load_93 | 65 | 0.0020437 | 0.00051219 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_306-33_1_3_load_83 | 66 | 0.0011793 | 0.00029555 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_306-33_1_3_load_84 | 67 | 0.00036595 | 9.1716e-05 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_306-33_1_3_load_98 | 69 | 0.0015619 | 0.00039144 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_306-33_1_3_load_92 | 70 | 0.0013749 | 0.00034457 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_306-33_1_3_load_94 | 71 | 0.003561 | 0.00089247 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 8 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_306-33_1_3_line_0 |  | 0 | 1 | 0.014157 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_306-33_1_3_line_1 |  | 0 | 2 | 0.011491 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_306-33_1_3_line_2 |  | 1 | 27 | 0.011342 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_306-33_1_3_line_3 |  | 3 | 4 | 0.028699 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_306-33_1_3_line_4 |  | 4 | 69 | 0.028068 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_306-33_1_3_line_5 |  | 5 | 6 | 0.04366 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_306-33_1_3_line_6 |  | 5 | 7 | 0.1632 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_306-33_1_3_line_7 |  | 7 | 9 | 0.13735 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_306-33_1_3_line_8 |  | 8 | 9 | 0.060629 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_306-33_1_3_line_9 |  | 8 | 10 | 0.029373 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
10 | LV_306-33_1_3_line_10 |  | 9 | 11 | 0.026855 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_306-33_1_3_line_11 |  | 10 | 12 | 0.034465 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
12 | LV_306-33_1_3_line_12 |  | 11 | 13 | 0.018162 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_306-33_1_3_line_13 |  | 11 | 14 | 0.02971 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_306-33_1_3_line_14 |  | 12 | 15 | 0.029845 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_306-33_1_3_line_15 |  | 12 | 16 | 0.02485 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_306-33_1_3_line_16 |  | 13 | 22 | 0.0782 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_306-33_1_3_line_17 |  | 14 | 23 | 0.020597 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_306-33_1_3_line_18 |  | 15 | 28 | 0.016459 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_306-33_1_3_line_19 |  | 15 | 29 | 0.0036016 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_306-33_1_3_line_20 |  | 16 | 30 | 0.0070484 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_306-33_1_3_line_21 |  | 17 | 18 | 0.057596 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_306-33_1_3_line_22 |  | 17 | 19 | 0.004749 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_306-33_1_3_line_23 |  | 17 | 20 | 0.013114 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_306-33_1_3_line_24 |  | 18 | 21 | 0.044463 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_306-33_1_3_line_25 |  | 19 | 29 | 0.01774 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_306-33_1_3_line_26 |  | 19 | 31 | 0.024223 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_306-33_1_3_line_27 |  | 20 | 32 | 0.0048018 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_306-33_1_3_line_28 |  | 22 | 49 | 0.0094103 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_306-33_1_3_line_29 |  | 23 | 24 | 0.026467 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_306-33_1_3_line_30 |  | 24 | 25 | 0.032677 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_306-33_1_3_line_31 |  | 25 | 54 | 0.024246 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_306-33_1_3_line_32 |  | 26 | 27 | 0.022471 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_306-33_1_3_line_33 |  | 27 | 53 | 0.038009 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_306-33_1_3_line_34 |  | 28 | 33 | 0.00016287 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_306-33_1_3_line_35 |  | 30 | 34 | 0.024566 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_306-33_1_3_line_36 |  | 34 | 35 | 0.012264 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_306-33_1_3_line_37 |  | 35 | 42 | 0.044906 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_306-33_1_3_line_38 |  | 35 | 39 | 0.088318 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_306-33_1_3_line_39 |  | 36 | 37 | 0.019312 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_306-33_1_3_line_40 |  | 36 | 38 | 0.016109 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_306-33_1_3_line_41 |  | 37 | 39 | 0.025266 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_306-33_1_3_line_42 |  | 38 | 40 | 0.008213 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_306-33_1_3_line_43 |  | 40 | 41 | 0.03202 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_306-33_1_3_line_44 |  | 43 | 44 | 0.038112 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_306-33_1_3_line_45 |  | 44 | 45 | 0.036044 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_306-33_1_3_line_46 |  | 45 | 46 | 0.050418 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_306-33_1_3_line_47 |  | 45 | 47 | 0.02015 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_306-33_1_3_line_48 |  | 46 | 48 | 0.014167 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_306-33_1_3_line_49 |  | 48 | 55 | 0.025045 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_306-33_1_3_line_50 |  | 49 | 50 | 0.0095227 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_306-33_1_3_line_51 |  | 50 | 52 | 0.037703 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_306-33_1_3_line_52 |  | 51 | 52 | 0.024656 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_306-33_1_3_line_53 |  | 53 | 68 | 0.010915 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_306-33_1_3_line_54 |  | 54 | 56 | 0.0014957 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_306-33_1_3_line_55 |  | 55 | 58 | 0.0061284 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_306-33_1_3_line_56 |  | 56 | 67 | 0.01992 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_306-33_1_3_line_57 |  | 57 | 58 | 0.022083 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_306-33_1_3_line_58 |  | 57 | 59 | 0.0022947 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_306-33_1_3_line_59 |  | 59 | 60 | 0.0086885 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_306-33_1_3_line_60 |  | 60 | 61 | 0.036907 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_306-33_1_3_line_61 |  | 60 | 62 | 0.0040605 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_306-33_1_3_line_62 |  | 61 | 63 | 0.0092164 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_306-33_1_3_line_63 |  | 61 | 64 | 0.013278 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_306-33_1_3_line_64 |  | 62 | 65 | 0.023459 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_306-33_1_3_line_65 |  | 63 | 69 | 0.0017334 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_306-33_1_3_line_66 |  | 64 | 68 | 0.027747 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_306-33_1_3_line_67 |  | 65 | 70 | 0.0049848 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_306-33_1_3_line_68 |  | 66 | 67 | 0.00011432 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_306-33_1_3_line_69 |  | 66 | 68 | 0.014703 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_306-33_1_3_line_70 |  | 70 | 71 | 0.005023 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_306-33_1_3_trafo_13 | 0.63 MVA 20/0.4 kV | 72 | 8 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3
0 | 2589746.1506 | 1214937.9688 | 2589746.9635 | 1214952.1021
1 | 2589746.1506 | 1214937.9688 | 2589740.9038 | 1214938.1669 | 2589735.0656 | 1214938.8552 | 2589734.9534 | 1214938.511
2 | 2589747.6148 | 1214963.4251 | 2589746.9635 | 1214952.1021
3 | 2589645.0475 | 1214885.3713 | 2589660.0202 | 1214909.8547
4 | 2589674.6638 | 1214933.8001 | 2589660.0202 | 1214909.8547
5 | 2590074.1417 | 1215149.8615 | 2590046.7889 | 1215115.8315
6 | 2589908.1338 | 1215029.7531 | 2590046.7889 | 1215115.8315
7 | 2589786.2012 | 1215092.9759 | 2589908.1338 | 1215029.7531
8 | 2589786.2012 | 1215092.9759 | 2589823.19 | 1215141.015
9 | 2589841.1099 | 1215164.2882 | 2589823.19 | 1215141.015
10 | 2589786.2012 | 1215092.9759 | 2589765.6608 | 1215110.3434
11 | 2589841.1099 | 1215164.2882 | 2589862.228 | 1215191.5674
12 | 2589751.5342 | 1215121.8077 | 2589765.6608 | 1215110.3434
13 | 2589765.6608 | 1215110.3434 | 2589747.3066 | 1215086.9811
14 | 2589862.228 | 1215191.5674 | 2589838.3935 | 1215209.6185
15 | 2589862.228 | 1215191.5674 | 2589877.4937 | 1215211.1754
16 | 2589751.5342 | 1215121.8077 | 2589738.7134 | 1215119.9288 | 2589684.3998 | 1215083.7828
17 | 2589747.3066 | 1215086.9811 | 2589734.5825 | 1215070.785
18 | 2589838.3935 | 1215209.6185 | 2589848.3575 | 1215222.7191
19 | 2589838.3935 | 1215209.6185 | 2589835.5204 | 1215211.7904
20 | 2589881.8237 | 1215216.7369 | 2589877.4937 | 1215211.1754
21 | 2589778.2589 | 1215211.8011 | 2589796.6788 | 1215197.8837 | 2589817.5696 | 1215225.3521
22 | 2589821.3689 | 1215222.4884 | 2589817.5696 | 1215225.3521
23 | 2589817.5696 | 1215225.3521 | 2589807.108 | 1215233.2606
24 | 2589778.2589 | 1215211.8011 | 2589750.3096 | 1215177.221
25 | 2589821.3689 | 1215222.4884 | 2589835.5204 | 1215211.7904
26 | 2589821.3689 | 1215222.4884 | 2589836.0326 | 1215241.768
27 | 2589807.108 | 1215233.2606 | 2589803.2776 | 1215236.1563
28 | 2589676.5657 | 1215078.5692 | 2589684.3998 | 1215083.7828
29 | 2589754.4075 | 1215053.4308 | 2589734.5047 | 1215070.6861 | 2589734.5825 | 1215070.785
30 | 2589754.4075 | 1215053.4308 | 2589749.4388 | 1215051.9052 | 2589746.077 | 1215048.7314 | 2589733.9953 | 1215029.3296
31 | 2589721.1789 | 1215008.7479 | 2589733.9953 | 1215029.3296
32 | 2589747.6148 | 1214963.4251 | 2589747.8313 | 1214965.7038 | 2589749.3306 | 1214985.8303
33 | 2589747.6148 | 1214963.4251 | 2589730.2962 | 1214964.7225 | 2589721.5289 | 1214966.5832 | 2589711.4477 | 1214972.4795
34 | 2589848.4561 | 1215222.8487 | 2589848.3575 | 1215222.7191
35 | 2589881.8237 | 1215216.7369 | 2589897.081 | 1215236.0218
36 | 2589897.081 | 1215236.0218 | 2589904.6149 | 1215245.7144
37 | 2589904.6149 | 1215245.7144 | 2589887.6126 | 1215258.3394 | 2589868.6313 | 1215272.58
38 | 2589904.6149 | 1215245.7144 | 2589931.9423 | 1215281.1545 | 2589895.9092 | 1215305.6409
39 | 2589876.2322 | 1215321.4904 | 2589861.1925 | 1215333.6046
40 | 2589848.6468 | 1215343.71 | 2589861.1925 | 1215333.6046
41 | 2589895.9092 | 1215305.6409 | 2589876.2322 | 1215321.4904
42 | 2589848.6468 | 1215343.71 | 2589853.2371 | 1215350.5282
43 | 2589853.2371 | 1215350.5282 | 2589872.8564 | 1215375.8337
44 | 2589548.0991 | 1214880.0605 | 2589536.3167 | 1214868.8194 | 2589524.9325 | 1214859.501 | 2589517.9942 | 1214857.9233
45 | 2589576.5818 | 1214857.9089 | 2589571.1373 | 1214862.321 | 2589551.9277 | 1214876.5629 | 2589548.0991 | 1214880.0605
46 | 2589576.5818 | 1214857.9089 | 2589603.2046 | 1214900.764
47 | 2589576.5818 | 1214857.9089 | 2589585.4175 | 1214839.7989
48 | 2589603.2046 | 1214900.764 | 2589610.7884 | 1214912.7301
49 | 2589610.7884 | 1214912.7301 | 2589623.6501 | 1214933.0241 | 2589624.3082 | 1214933.8009
50 | 2589676.5657 | 1215078.5692 | 2589668.7146 | 1215073.1801
51 | 2589668.7146 | 1215073.1801 | 2589640.8946 | 1215054.0844 | 2589638.5908 | 1215050.8639
52 | 2589627.3027 | 1215029.1395 | 2589628.7553 | 1215033.9054 | 2589633.587 | 1215043.8692 | 2589638.5908 | 1215050.8639
53 | 2589702.0258 | 1214977.9903 | 2589711.4477 | 1214972.4795
54 | 2589721.1789 | 1215008.7479 | 2589720.3882 | 1215007.4783
55 | 2589628.2696 | 1214938.4769 | 2589624.3082 | 1214933.8009
56 | 2589709.8583 | 1214990.5683 | 2589720.3882 | 1215007.4783
57 | 2589642.544 | 1214955.3267 | 2589628.2696 | 1214938.4769
58 | 2589642.544 | 1214955.3267 | 2589644.0273 | 1214957.0775
59 | 2589649.6435 | 1214963.7069 | 2589644.0273 | 1214957.0775
60 | 2589649.6435 | 1214963.7069 | 2589680.3766 | 1214943.1416
61 | 2589649.6435 | 1214963.7069 | 2589652.1304 | 1214966.9168
62 | 2589680.3766 | 1214943.1416 | 2589675.5682 | 1214935.2789
63 | 2589680.3766 | 1214943.1416 | 2589687.3835 | 1214954.4207
64 | 2589666.4984 | 1214985.4613 | 2589652.1304 | 1214966.9168
65 | 2589674.6638 | 1214933.8001 | 2589675.5682 | 1214935.2789
66 | 2589702.0258 | 1214977.9903 | 2589687.3835 | 1214954.4207
67 | 2589669.5514 | 1214989.4017 | 2589666.4984 | 1214985.4613
68 | 2589709.7978 | 1214990.4713 | 2589709.8583 | 1214990.5683
69 | 2589702.0258 | 1214977.9903 | 2589709.7978 | 1214990.4713
70 | 2589672.6278 | 1214993.3724 | 2589669.5514 | 1214989.4017

## bus_geodata
| x | y | coords
0 | 2589746.1506 | 1214937.9688
1 | 2589746.9635 | 1214952.1021
2 | 2589734.9534 | 1214938.511
3 | 2589645.0475 | 1214885.3713
4 | 2589660.0202 | 1214909.8547
5 | 2590046.7889 | 1215115.8315
6 | 2590074.1417 | 1215149.8615
7 | 2589908.1338 | 1215029.7531
8 | 2589823.19 | 1215141.015
9 | 2589786.2012 | 1215092.9759
10 | 2589841.1099 | 1215164.2882
11 | 2589765.6608 | 1215110.3434
12 | 2589862.228 | 1215191.5674
13 | 2589751.5342 | 1215121.8077
14 | 2589747.3066 | 1215086.9811
15 | 2589838.3935 | 1215209.6185
16 | 2589877.4937 | 1215211.1754
17 | 2589817.5696 | 1215225.3521
18 | 2589778.2589 | 1215211.8011
19 | 2589821.3689 | 1215222.4884
20 | 2589807.108 | 1215233.2606
21 | 2589750.3096 | 1215177.221
22 | 2589684.3998 | 1215083.7828
23 | 2589734.5825 | 1215070.785
24 | 2589754.4075 | 1215053.4308
25 | 2589733.9953 | 1215029.3296
26 | 2589749.3306 | 1214985.8303
27 | 2589747.6148 | 1214963.4251
28 | 2589848.3575 | 1215222.7191
29 | 2589835.5204 | 1215211.7904
30 | 2589881.8237 | 1215216.7369
31 | 2589836.0326 | 1215241.768
32 | 2589803.2776 | 1215236.1563
33 | 2589848.4561 | 1215222.8487
34 | 2589897.081 | 1215236.0218
35 | 2589904.6149 | 1215245.7144
36 | 2589861.1925 | 1215333.6046
37 | 2589876.2322 | 1215321.4904
38 | 2589848.6468 | 1215343.71
39 | 2589895.9092 | 1215305.6409
40 | 2589853.2371 | 1215350.5282
41 | 2589872.8564 | 1215375.8337
42 | 2589868.6313 | 1215272.58
43 | 2589517.9942 | 1214857.9233
44 | 2589548.0991 | 1214880.0605
45 | 2589576.5818 | 1214857.9089
46 | 2589603.2046 | 1214900.764
47 | 2589585.4175 | 1214839.7989
48 | 2589610.7884 | 1214912.7301
49 | 2589676.5657 | 1215078.5692
50 | 2589668.7146 | 1215073.1801
51 | 2589627.3027 | 1215029.1395
52 | 2589638.5908 | 1215050.8639
53 | 2589711.4477 | 1214972.4795
54 | 2589721.1789 | 1215008.7479
55 | 2589624.3082 | 1214933.8009
56 | 2589720.3882 | 1215007.4783
57 | 2589642.544 | 1214955.3267
58 | 2589628.2696 | 1214938.4769
59 | 2589644.0273 | 1214957.0775
60 | 2589649.6435 | 1214963.7069
61 | 2589680.3766 | 1214943.1416
62 | 2589652.1304 | 1214966.9168
63 | 2589675.5682 | 1214935.2789
64 | 2589687.3835 | 1214954.4207
65 | 2589666.4984 | 1214985.4613
66 | 2589709.7978 | 1214990.4713
67 | 2589709.8583 | 1214990.5683
68 | 2589702.0258 | 1214977.9903
69 | 2589674.6638 | 1214933.8001
70 | 2589669.5514 | 1214989.4017
71 | 2589672.6278 | 1214993.3724
72 | 2589841.1099 | 1215164.2882

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1