## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_306-36_1_4_node_3 | 0.4 | n |  | TRUE
1 | bus_LV_306-36_1_4_node_4 | 0.4 | n |  | TRUE
2 | bus_LV_306-36_1_4_node_5 | 0.4 | n |  | TRUE
3 | bus_LV_306-36_1_4_node_6 | 0.4 | n |  | TRUE
4 | bus_LV_306-36_1_4_node_7 | 0.4 | n |  | TRUE
5 | bus_LV_306-36_1_4_node_22 | 0.4 | n |  | TRUE
6 | bus_LV_306-36_1_4_node_33 | 0.4 | n |  | TRUE
7 | bus_LV_306-36_1_4_node_34 | 0.4 | n |  | TRUE
8 | bus_LV_306-36_1_4_node_35 | 0.4 | n |  | TRUE
9 | bus_LV_306-36_1_4_node_23 | 0.4 | n |  | TRUE
10 | bus_LV_306-36_1_4_node_38 | 0.4 | n |  | TRUE
11 | bus_LV_306-36_1_4_node_36 | 0.4 | n |  | TRUE
12 | bus_LV_306-36_1_4_node_39 | 0.4 | n |  | TRUE
13 | bus_LV_306-36_1_4_node_59 | 0.4 | n |  | TRUE
14 | bus_LV_306-36_1_4_node_8 | 0.4 | n |  | TRUE
15 | bus_LV_306-36_1_4_node_9 | 0.4 | n |  | TRUE
16 | bus_LV_306-36_1_4_node_10 | 0.4 | n |  | TRUE
17 | bus_LV_306-36_1_4_node_11 | 0.4 | n |  | TRUE
18 | bus_LV_306-36_1_4_node_13 | 0.4 | n |  | TRUE
19 | bus_LV_306-36_1_4_node_14 | 0.4 | n |  | TRUE
20 | bus_LV_306-36_1_4_node_12 | 0.4 | n |  | TRUE
21 | bus_LV_306-36_1_4_node_94 | 0.4 | n |  | TRUE
22 | bus_LV_306-36_1_4_node_131 | 0.4 | n |  | TRUE
23 | bus_LV_306-36_1_4_node_15 | 0.4 | n |  | TRUE
24 | bus_LV_306-36_1_4_node_92 | 0.4 | n |  | TRUE
25 | bus_LV_306-36_1_4_node_85 | 0.4 | n |  | TRUE
26 | bus_LV_306-36_1_4_node_50 | 0.4 | n |  | TRUE
27 | bus_LV_306-36_1_4_node_48 | 0.4 | n |  | TRUE
28 | bus_LV_306-36_1_4_node_16 | 0.4 | n |  | TRUE
29 | bus_LV_306-36_1_4_node_17 | 0.4 | n |  | TRUE
30 | bus_LV_306-36_1_4_node_19 | 0.4 | n |  | TRUE
31 | bus_LV_306-36_1_4_node_18 | 0.4 | n |  | TRUE
32 | bus_LV_306-36_1_4_node_20 | 0.4 | n |  | TRUE
33 | bus_LV_306-36_1_4_node_21 | 0.4 | n |  | TRUE
34 | bus_LV_306-36_1_4_node_40 | 0.4 | n |  | TRUE
35 | bus_LV_306-36_1_4_node_41 | 0.4 | n |  | TRUE
36 | bus_LV_306-36_1_4_node_152 | 0.4 | n |  | TRUE
37 | bus_LV_306-36_1_4_node_42 | 0.4 | n |  | TRUE
38 | bus_LV_306-36_1_4_node_101 | 0.4 | n |  | TRUE
39 | bus_LV_306-36_1_4_node_24 | 0.4 | n |  | TRUE
40 | bus_LV_306-36_1_4_node_25 | 0.4 | n |  | TRUE
41 | bus_LV_306-36_1_4_node_26 | 0.4 | n |  | TRUE
42 | bus_LV_306-36_1_4_node_82 | 0.4 | n |  | TRUE
43 | bus_LV_306-36_1_4_node_57 | 0.4 | n |  | TRUE
44 | bus_LV_306-36_1_4_node_43 | 0.4 | n |  | TRUE
45 | bus_LV_306-36_1_4_node_100 | 0.4 | n |  | TRUE
46 | bus_LV_306-36_1_4_node_123 | 0.4 | n |  | TRUE
47 | bus_LV_306-36_1_4_node_98 | 0.4 | n |  | TRUE
48 | bus_LV_306-36_1_4_node_99 | 0.4 | n |  | TRUE
49 | bus_LV_306-36_1_4_node_78 | 0.4 | n |  | TRUE
50 | bus_LV_306-36_1_4_node_46 | 0.4 | n |  | TRUE
51 | bus_LV_306-36_1_4_node_47 | 0.4 | n |  | TRUE
52 | bus_LV_306-36_1_4_node_49 | 0.4 | n |  | TRUE
53 | bus_LV_306-36_1_4_node_51 | 0.4 | n |  | TRUE
54 | bus_LV_306-36_1_4_node_63 | 0.4 | n |  | TRUE
55 | bus_LV_306-36_1_4_node_58 | 0.4 | n |  | TRUE
56 | bus_LV_306-36_1_4_node_61 | 0.4 | n |  | TRUE
57 | bus_LV_306-36_1_4_node_56 | 0.4 | n |  | TRUE
58 | bus_LV_306-36_1_4_node_52 | 0.4 | n |  | TRUE
59 | bus_LV_306-36_1_4_node_53 | 0.4 | n |  | TRUE
60 | bus_LV_306-36_1_4_node_54 | 0.4 | n |  | TRUE
61 | bus_LV_306-36_1_4_node_55 | 0.4 | n |  | TRUE
62 | bus_LV_306-36_1_4_node_93 | 0.4 | n |  | TRUE
63 | bus_LV_306-36_1_4_node_60 | 0.4 | n |  | TRUE
64 | bus_LV_306-36_1_4_node_62 | 0.4 | n |  | TRUE
65 | bus_LV_306-36_1_4_node_64 | 0.4 | n |  | TRUE
66 | bus_LV_306-36_1_4_node_77 | 0.4 | n |  | TRUE
67 | bus_LV_306-36_1_4_node_113 | 0.4 | n |  | TRUE
68 | bus_LV_306-36_1_4_node_142 | 0.4 | n |  | TRUE
69 | bus_LV_306-36_1_4_node_68 | 0.4 | n |  | TRUE
70 | bus_LV_306-36_1_4_node_69 | 0.4 | n |  | TRUE
71 | bus_LV_306-36_1_4_node_70 | 0.4 | n |  | TRUE
72 | bus_LV_306-36_1_4_node_71 | 0.4 | n |  | TRUE
73 | bus_LV_306-36_1_4_node_73 | 0.4 | n |  | TRUE
74 | bus_LV_306-36_1_4_node_79 | 0.4 | n |  | TRUE
75 | bus_LV_306-36_1_4_node_83 | 0.4 | n |  | TRUE
76 | bus_LV_306-36_1_4_node_74 | 0.4 | n |  | TRUE
77 | bus_LV_306-36_1_4_node_75 | 0.4 | n |  | TRUE
78 | bus_LV_306-36_1_4_node_76 | 0.4 | n |  | TRUE
79 | bus_LV_306-36_1_4_node_80 | 0.4 | n |  | TRUE
80 | bus_LV_306-36_1_4_node_81 | 0.4 | n |  | TRUE
81 | bus_LV_306-36_1_4_node_88 | 0.4 | n |  | TRUE
82 | bus_LV_306-36_1_4_node_86 | 0.4 | n |  | TRUE
83 | bus_LV_306-36_1_4_node_87 | 0.4 | n |  | TRUE
84 | bus_LV_306-36_1_4_node_84 | 0.4 | n |  | TRUE
85 | bus_LV_306-36_1_4_node_121 | 0.4 | n |  | TRUE
86 | bus_LV_306-36_1_4_node_122 | 0.4 | n |  | TRUE
87 | bus_LV_306-36_1_4_node_124 | 0.4 | n |  | TRUE
88 | bus_LV_306-36_1_4_node_125 | 0.4 | n |  | TRUE
89 | bus_LV_306-36_1_4_node_144 | 0.4 | n |  | TRUE
90 | bus_MV_404_0_node_86 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_306-36_1_4_load_3 | 0 | 0.020315 | 0.0050913 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_306-36_1_4_load_4 | 1 | 0.0096968 | 0.0024303 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_306-36_1_4_load_5 | 2 | 0.009878 | 0.0024757 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_306-36_1_4_load_6 | 3 | 0.0079182 | 0.0019845 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_306-36_1_4_load_22 | 5 | 0.0030865 | 0.00077355 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_306-36_1_4_load_34 | 7 | 0.0018671 | 0.00046795 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_306-36_1_4_load_35 | 8 | 0.004372 | 0.0010957 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_306-36_1_4_load_38 | 10 | 0.0010314 | 0.00025848 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_306-36_1_4_load_36 | 11 | 0.0041076 | 0.0010295 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_306-36_1_4_load_39 | 12 | 0.002872 | 0.00071979 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_306-36_1_4_load_59 | 13 | 0.0017813 | 0.00044644 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_306-36_1_4_load_8 | 14 | 0.0045582 | 0.0011424 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_306-36_1_4_load_9 | 15 | 0.0045341 | 0.0011364 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_306-36_1_4_load_11 | 17 | 0.0050367 | 0.0012623 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_306-36_1_4_load_13 | 18 | 0.0018885 | 0.0004733 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_306-36_1_4_load_14 | 19 | 0.0020832 | 0.00052209 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_306-36_1_4_load_94 | 21 | 0.0020933 | 0.00052463 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_306-36_1_4_load_15 | 23 | 0.0020513 | 0.00051412 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_306-36_1_4_load_92 | 24 | 0.0058045 | 0.0014547 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_306-36_1_4_load_85 | 25 | 0.0034226 | 0.00085779 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_306-36_1_4_load_50 | 26 | 0.0021446 | 0.00053749 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_306-36_1_4_load_16 | 28 | 0.013694 | 0.003432 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_306-36_1_4_load_17 | 29 | 0.0024057 | 0.00060293 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_306-36_1_4_load_40 | 34 | 0.0060768 | 0.001523 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_306-36_1_4_load_41 | 35 | 0.0028892 | 0.00072411 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_306-36_1_4_load_152 | 36 | 0.035508 | 0.0088992 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_306-36_1_4_load_42 | 37 | 0.0039395 | 0.00098734 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_306-36_1_4_load_101 | 38 | 0.0069899 | 0.0017518 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_306-36_1_4_load_24 | 39 | 0.00059895 | 0.00015011 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_306-36_1_4_load_25 | 40 | 0.00053888 | 0.00013506 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_306-36_1_4_load_26 | 41 | 0.00079165 | 0.00019841 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_306-36_1_4_load_82 | 42 | 0.05499 | 0.013782 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_306-36_1_4_load_57 | 43 | 0.00448 | 0.0011228 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_306-36_1_4_load_100 | 45 | 0.0033422 | 0.00083764 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_306-36_1_4_load_123 | 46 | 0.0041913 | 0.0010504 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_306-36_1_4_load_98 | 47 | 0.0048842 | 0.0012241 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_306-36_1_4_load_99 | 48 | 0.0077896 | 0.0019523 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_306-36_1_4_load_78 | 49 | 0.0029064 | 0.00072841 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_306-36_1_4_load_46 | 50 | 0.0031791 | 0.00079675 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_306-36_1_4_load_47 | 51 | 0.0066244 | 0.0016602 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_306-36_1_4_load_49 | 52 | 0.0040209 | 0.0010077 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_306-36_1_4_load_51 | 53 | 0.0077655 | 0.0019462 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_306-36_1_4_load_63 | 54 | 0.0015 | 0.00037592 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_306-36_1_4_load_58 | 55 | 0.004785 | 0.0011992 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_306-36_1_4_load_61 | 56 | 0.0077346 | 0.0019385 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_306-36_1_4_load_56 | 57 | 0.005175 | 0.001297 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_306-36_1_4_load_52 | 58 | 0.0021258 | 0.00053277 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_306-36_1_4_load_53 | 59 | 0.0023189 | 0.00058117 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_306-36_1_4_load_54 | 60 | 0.0040763 | 0.0010216 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_306-36_1_4_load_55 | 61 | 0.0023705 | 0.0005941 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_306-36_1_4_load_93 | 62 | 0.0020976 | 0.0005257 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_306-36_1_4_load_60 | 63 | 0.0015392 | 0.00038577 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_306-36_1_4_load_62 | 64 | 0.0050812 | 0.0012735 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_306-36_1_4_load_64 | 65 | 0.0064802 | 0.0016241 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_306-36_1_4_load_77 | 66 | 0.0053318 | 0.0013363 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_306-36_1_4_load_113 | 67 | 0.0067632 | 0.001695 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_306-36_1_4_load_142 | 68 | 0.004247 | 0.0010644 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_306-36_1_4_load_68 | 69 | 0.0043652 | 0.001094 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_306-36_1_4_load_69 | 70 | 0.012865 | 0.0032243 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_306-36_1_4_load_71 | 72 | 0.0081441 | 0.0020411 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_306-36_1_4_load_73 | 73 | 0.0025899 | 0.00064909 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_306-36_1_4_load_79 | 74 | 0.01778 | 0.0044562 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_306-36_1_4_load_83 | 75 | 0.010283 | 0.0025771 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_306-36_1_4_load_74 | 76 | 0.0029022 | 0.00072737 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_306-36_1_4_load_75 | 77 | 0.0032588 | 0.00081673 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_306-36_1_4_load_76 | 78 | 0.0035308 | 0.0008849 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_306-36_1_4_load_80 | 79 | 0.0075139 | 0.0018832 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_306-36_1_4_load_88 | 81 | 0.006074 | 0.0015223 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_306-36_1_4_load_86 | 82 | 0.0029675 | 0.00074374 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_306-36_1_4_load_87 | 83 | 0.0031486 | 0.00078912 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_306-36_1_4_load_84 | 84 | 0.010333 | 0.0025896 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_306-36_1_4_load_121 | 85 | 0.0026002 | 0.00065168 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_306-36_1_4_load_122 | 86 | 0.0023069 | 0.00057817 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_306-36_1_4_load_125 | 88 | 0.003486 | 0.00087368 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_306-36_1_4_load_144 | 89 | 0.0043851 | 0.001099 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 51 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_306-36_1_4_line_0 |  | 0 | 1 | 0.0059915 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_306-36_1_4_line_1 |  | 0 | 2 | 0.031538 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_306-36_1_4_line_2 |  | 1 | 3 | 0.0045767 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_306-36_1_4_line_3 |  | 2 | 4 | 0.031146 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_306-36_1_4_line_4 |  | 3 | 5 | 0.027742 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_306-36_1_4_line_5 |  | 4 | 6 | 0.028533 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_306-36_1_4_line_6 |  | 4 | 7 | 0.021858 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_306-36_1_4_line_7 |  | 4 | 8 | 0.030258 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
8 | LV_306-36_1_4_line_8 |  | 5 | 9 | 0.055386 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_306-36_1_4_line_9 |  | 6 | 10 | 0.0058089 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_306-36_1_4_line_10 |  | 6 | 11 | 0.031877 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_306-36_1_4_line_11 |  | 7 | 12 | 0.01042 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_306-36_1_4_line_12 |  | 8 | 13 | 0.0085516 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
13 | LV_306-36_1_4_line_13 |  | 9 | 38 | 0.064667 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_306-36_1_4_line_14 |  | 10 | 35 | 0.022241 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_306-36_1_4_line_15 |  | 12 | 30 | 0.017265 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_306-36_1_4_line_16 |  | 13 | 43 | 0.010454 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
17 | LV_306-36_1_4_line_17 |  | 14 | 15 | 0.01395 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_306-36_1_4_line_18 |  | 14 | 16 | 0.0080397 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_306-36_1_4_line_19 |  | 15 | 17 | 0.01442 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_306-36_1_4_line_20 |  | 16 | 18 | 0.015309 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_306-36_1_4_line_21 |  | 17 | 19 | 0.009716 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_306-36_1_4_line_22 |  | 19 | 23 | 0.0063035 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_306-36_1_4_line_23 |  | 20 | 21 | 0.018725 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_306-36_1_4_line_24 |  | 20 | 22 | 0.036436 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_306-36_1_4_line_25 |  | 21 | 24 | 0.0043954 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_306-36_1_4_line_26 |  | 22 | 25 | 0.037045 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_306-36_1_4_line_27 |  | 23 | 26 | 0.006399 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_306-36_1_4_line_28 |  | 24 | 62 | 0.011238 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_306-36_1_4_line_29 |  | 25 | 84 | 0.037643 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_306-36_1_4_line_30 |  | 26 | 27 | 0.028902 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_306-36_1_4_line_31 |  | 27 | 53 | 0.026288 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
32 | LV_306-36_1_4_line_32 |  | 27 | 50 | 0.009362 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
33 | LV_306-36_1_4_line_33 |  | 28 | 29 | 0.00045239 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_306-36_1_4_line_34 |  | 29 | 30 | 0.02312 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_306-36_1_4_line_35 |  | 30 | 34 | 0.012712 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_306-36_1_4_line_36 |  | 31 | 32 | 0.066194 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_306-36_1_4_line_37 |  | 31 | 33 | 0.077815 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_306-36_1_4_line_38 |  | 32 | 35 | 0.058016 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_306-36_1_4_line_39 |  | 33 | 36 | 0.024054 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_306-36_1_4_line_40 |  | 34 | 37 | 0.015386 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_306-36_1_4_line_41 |  | 37 | 44 | 0.013214 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_306-36_1_4_line_42 |  | 39 | 40 | 0.0023916 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_306-36_1_4_line_43 |  | 39 | 41 | 0.03698 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_306-36_1_4_line_44 |  | 41 | 42 | 0.13421 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_306-36_1_4_line_45 |  | 42 | 84 | 0.010797 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_306-36_1_4_line_46 |  | 42 | 75 | 0.021185 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_306-36_1_4_line_47 |  | 43 | 57 | 0.015663 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
48 | LV_306-36_1_4_line_48 |  | 44 | 45 | 0.026258 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_306-36_1_4_line_49 |  | 45 | 46 | 0.019901 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_306-36_1_4_line_50 |  | 46 | 85 | 0.013113 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_306-36_1_4_line_51 |  | 47 | 48 | 0.025828 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_306-36_1_4_line_52 |  | 47 | 49 | 0.03158 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_306-36_1_4_line_53 |  | 49 | 78 | 0.010112 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_306-36_1_4_line_54 |  | 50 | 51 | 0.0092348 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
55 | LV_306-36_1_4_line_55 |  | 51 | 52 | 0.018365 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
56 | LV_306-36_1_4_line_56 |  | 52 | 54 | 0.0057034 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
57 | LV_306-36_1_4_line_57 |  | 53 | 55 | 0.011091 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
58 | LV_306-36_1_4_line_58 |  | 54 | 56 | 0.010144 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
59 | LV_306-36_1_4_line_59 |  | 55 | 57 | 0.011773 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
60 | LV_306-36_1_4_line_60 |  | 56 | 63 | 0.0085958 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
61 | LV_306-36_1_4_line_61 |  | 58 | 59 | 0.0078011 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_306-36_1_4_line_62 |  | 58 | 60 | 0.0034925 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_306-36_1_4_line_63 |  | 59 | 61 | 0.003155 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_306-36_1_4_line_64 |  | 61 | 62 | 0.00303 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_306-36_1_4_line_65 |  | 63 | 64 | 0.026783 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
66 | LV_306-36_1_4_line_66 |  | 64 | 65 | 0.033313 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
67 | LV_306-36_1_4_line_67 |  | 64 | 66 | 0.034111 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_306-36_1_4_line_68 |  | 65 | 67 | 0.0090586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
69 | LV_306-36_1_4_line_69 |  | 66 | 79 | 0.020692 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_306-36_1_4_line_70 |  | 66 | 77 | 0.013222 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_306-36_1_4_line_71 |  | 67 | 68 | 0.015548 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
72 | LV_306-36_1_4_line_72 |  | 68 | 73 | 0.0078744 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
73 | LV_306-36_1_4_line_73 |  | 69 | 70 | 0.020443 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
74 | LV_306-36_1_4_line_74 |  | 69 | 71 | 0.014399 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
75 | LV_306-36_1_4_line_75 |  | 70 | 72 | 0.00060553 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_306-36_1_4_line_76 |  | 71 | 73 | 0.0041349 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
77 | LV_306-36_1_4_line_77 |  | 72 | 74 | 0.016015 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_306-36_1_4_line_78 |  | 74 | 75 | 0.0096568 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_306-36_1_4_line_79 |  | 76 | 77 | 0.021703 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_306-36_1_4_line_80 |  | 76 | 78 | 0.017418 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_306-36_1_4_line_81 |  | 79 | 80 | 0.028405 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_306-36_1_4_line_82 |  | 80 | 81 | 0.011837 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_306-36_1_4_line_83 |  | 80 | 82 | 0.026242 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_306-36_1_4_line_84 |  | 82 | 83 | 0.026159 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_306-36_1_4_line_85 |  | 85 | 86 | 0.016715 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_306-36_1_4_line_86 |  | 86 | 87 | 0.010305 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_306-36_1_4_line_87 |  | 87 | 88 | 0.011103 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_306-36_1_4_line_88 |  | 88 | 89 | 0.021496 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_306-36_1_4_trafo_47 | 0.63 MVA 20/0.4 kV | 90 | 51 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11
0 | 2590383.7189 | 1213934.9361 | 2590380.9762 | 1213929.6092
1 | 2590383.7189 | 1213934.9361 | 2590393.1544 | 1213953.2612 | 2590396.2314 | 1213963.7454
2 | 2590380.9762 | 1213929.6092 | 2590378.8811 | 1213925.5402
3 | 2590401.9778 | 1213994.2588 | 2590401.4788 | 1213986.2551 | 2590397.9811 | 1213969.707 | 2590396.2314 | 1213963.7454
4 | 2590378.8811 | 1213925.5402 | 2590366.1815 | 1213900.8758
5 | 2590375.3894 | 1214004.1298 | 2590383.6675 | 1213999.3247 | 2590392.9887 | 1213996.1522 | 2590401.9778 | 1213994.2588
6 | 2590401.9778 | 1213994.2588 | 2590403.2851 | 1214004.1845 | 2590405.504 | 1214009.6395 | 2590409.8712 | 1214013.6913
7 | 2590401.9778 | 1213994.2588 | 2590410.5512 | 1213993.5667 | 2590418.926 | 1213992.1746 | 2590430.9867 | 1213986.8909
8 | 2590340.8271 | 1213851.6337 | 2590366.1815 | 1213900.8758
9 | 2590375.3894 | 1214004.1298 | 2590371.0565 | 1214007.9987
10 | 2590375.3894 | 1214004.1298 | 2590371.1367 | 1213999.6453 | 2590349.7218 | 1213985.4428
11 | 2590409.8712 | 1214013.6913 | 2590417.5098 | 1214020.7783
12 | 2590438.8196 | 1213983.4594 | 2590430.9867 | 1213986.8909
13 | 2590340.8271 | 1213851.6337 | 2590369.3755 | 1213841.6816 | 2590402.1 | 1213830.9668
14 | 2590371.0565 | 1214007.9987 | 2590366.471 | 1214012.0932 | 2590356.961 | 1214020.569 | 2590354.5493 | 1214022.9013
15 | 2590430.6105 | 1214032.0225 | 2590418.1835 | 1214021.4033 | 2590417.5098 | 1214020.7783
16 | 2590438.8196 | 1213983.4594 | 2590448.3947 | 1213979.2647
17 | 2590483.3287 | 1213879.6679 | 2590488.5777 | 1213892.5924
18 | 2590480.3035 | 1213872.2191 | 2590483.3287 | 1213879.6679
19 | 2590488.5777 | 1213892.5924 | 2590494.0037 | 1213905.9529
20 | 2590480.3035 | 1213872.2191 | 2590476.4705 | 1213857.3975
21 | 2590497.4285 | 1213915.0426 | 2590495.5995 | 1213909.8823 | 2590494.0037 | 1213905.9529
22 | 2590497.4285 | 1213915.0426 | 2590499.5343 | 1213920.984
23 | 2590534.7595 | 1213853.4878 | 2590536.3967 | 1213865.6142 | 2590538.5718 | 1213871.7277
24 | 2590569.4502 | 1213842.0371 | 2590534.7595 | 1213853.4878
25 | 2590538.5718 | 1213871.7277 | 2590540.0452 | 1213875.8688
26 | 2590569.4502 | 1213842.0371 | 2590586.5153 | 1213874.9177
27 | 2590501.672 | 1213927.0154 | 2590499.5343 | 1213920.984
28 | 2590548.1826 | 1213882.786 | 2590541.0734 | 1213878.7586 | 2590540.0452 | 1213875.8688
29 | 2590608.3132 | 1213905.297 | 2590601.3396 | 1213898.229 | 2590592.2975 | 1213886.0587 | 2590586.5153 | 1213874.9177
30 | 2590507.7405 | 1213955.1327 | 2590505.2203 | 1213937.0266 | 2590501.672 | 1213927.0154
31 | 2590507.7405 | 1213955.1327 | 2590496.7444 | 1213955.873 | 2590485.3899 | 1213960.4605 | 2590482.7539 | 1213961.9351
32 | 2590507.7405 | 1213955.1327 | 2590516.8212 | 1213957.4103
33 | 2590415.7907 | 1214050.3542 | 2590416.0751 | 1214050.0024
34 | 2590430.6105 | 1214032.0225 | 2590416.0751 | 1214050.0024
35 | 2590430.6105 | 1214032.0225 | 2590439.6972 | 1214040.9127
36 | 2590356.3982 | 1214113.1665 | 2590332.9842 | 1214085.4669 | 2590312.8447 | 1214063.2318
37 | 2590356.3982 | 1214113.1665 | 2590360.7508 | 1214118.3956 | 2590369.8286 | 1214129.0535 | 2590371.8744 | 1214130.7956 | 2590374.1469 | 1214131.8481 | 2590377.1708 | 1214132.6658 | 2590387.8358 | 1214133.9714 | 2590408.9757 | 1214136.5385 | 2590411.7031 | 1214137.1456 | 2590413.9755 | 1214138.1202 | 2590416.5525 | 1214139.628 | 2590423.2439 | 1214144.6978
38 | 2590312.8447 | 1214063.2318 | 2590354.5493 | 1214022.9013
39 | 2590423.2439 | 1214144.6978 | 2590440.5808 | 1214157.8438 | 2590442.5175 | 1214159.0787
40 | 2590439.6972 | 1214040.9127 | 2590450.6949 | 1214051.6725
41 | 2590460.1398 | 1214060.9132 | 2590450.6949 | 1214051.6725
42 | 2590754.1428 | 1213845.398 | 2590752.0085 | 1213844.3188
43 | 2590719.0076 | 1213827.6319 | 2590752.0085 | 1213844.3188
44 | 2590615.6358 | 1213913.2224 | 2590719.0076 | 1213827.6319
45 | 2590615.6358 | 1213913.2224 | 2590612.2255 | 1213909.2623 | 2590608.3132 | 1213905.297
46 | 2590615.6358 | 1213913.2224 | 2590629.4599 | 1213929.2748
47 | 2590462.7411 | 1213972.9797 | 2590448.3947 | 1213979.2647
48 | 2590460.1398 | 1214060.9132 | 2590480.2464 | 1214077.8019
49 | 2590480.2464 | 1214077.8019 | 2590492.2936 | 1214087.9211 | 2590495.4802 | 1214090.6076
50 | 2590505.5055 | 1214099.0594 | 2590495.4802 | 1214090.6076
51 | 2590496.2136 | 1214035.2583 | 2590505.7644 | 1214025.153 | 2590497.2666 | 1214016.7887
52 | 2590496.2136 | 1214035.2583 | 2590524.8722 | 1214048.5244
53 | 2590524.8722 | 1214048.5244 | 2590531.1617 | 1214040.6059
54 | 2590516.8212 | 1213957.4103 | 2590521.1735 | 1213958.5019 | 2590525.4461 | 1213960.5722
55 | 2590541.9736 | 1213968.5805 | 2590525.4461 | 1213960.5722
56 | 2590547.1062 | 1213971.0675 | 2590541.9736 | 1213968.5805
57 | 2590482.7539 | 1213961.9351 | 2590473.0745 | 1213967.3499
58 | 2590556.235 | 1213975.4909 | 2590547.1062 | 1213971.0675
59 | 2590462.7411 | 1213972.9797 | 2590463.9843 | 1213972.4351 | 2590473.0745 | 1213967.3499
60 | 2590563.9705 | 1213979.2391 | 2590556.235 | 1213975.4909
61 | 2590561.7451 | 1213885.0881 | 2590553.9653 | 1213884.5123
62 | 2590565.2282 | 1213885.3459 | 2590561.7451 | 1213885.0881
63 | 2590550.8189 | 1213884.2794 | 2590550.8189 | 1213884.2794 | 2590553.9653 | 1213884.5123
64 | 2590548.1826 | 1213882.786 | 2590550.8189 | 1213884.2794
65 | 2590563.9705 | 1213979.2391 | 2590578.8475 | 1213986.4477 | 2590588.818 | 1213988.8314
66 | 2590588.818 | 1213988.8314 | 2590594.4607 | 1213990.1805 | 2590610.5557 | 1213991.1999 | 2590621.8797 | 1213990.0344
67 | 2590588.818 | 1213988.8314 | 2590570.6221 | 1214017.6835
68 | 2590621.8797 | 1213990.0344 | 2590624.2696 | 1213989.7885 | 2590630.7922 | 1213988.4617
69 | 2590570.6221 | 1214017.6835 | 2590581.1814 | 1214021.2302 | 2590590.4865 | 1214023.3908
70 | 2590570.6221 | 1214017.6835 | 2590558.0886 | 1214013.4738
71 | 2590645.9382 | 1213984.9669 | 2590637.4347 | 1213987.1106 | 2590630.7922 | 1213988.4617
72 | 2590653.5737 | 1213983.0421 | 2590645.9382 | 1213984.9669
73 | 2590654.2411 | 1213968.0271 | 2590650.3116 | 1213955.8726 | 2590646.2615 | 1213949.3606
74 | 2590657.5832 | 1213982.0314 | 2590654.4177 | 1213968.5733 | 2590654.2411 | 1213968.0271
75 | 2590646.2615 | 1213949.3606 | 2590645.9417 | 1213948.8464
76 | 2590657.5832 | 1213982.0314 | 2590653.5737 | 1213983.0421
77 | 2590645.9417 | 1213948.8464 | 2590642.7202 | 1213943.6667 | 2590635.944 | 1213936.4282
78 | 2590635.944 | 1213936.4282 | 2590631.902 | 1213932.1106 | 2590629.4599 | 1213929.2748
79 | 2590541.9949 | 1214026.9665 | 2590550.2558 | 1214016.5658 | 2590558.0886 | 1214013.4738 | 2590558.0886 | 1214013.4738
80 | 2590541.9949 | 1214026.9665 | 2590531.1617 | 1214040.6059
81 | 2590618.5324 | 1214026.0513 | 2590603.7689 | 1214026.475 | 2590590.4865 | 1214023.3908
82 | 2590618.5324 | 1214026.0513 | 2590630.3317 | 1214025.1075
83 | 2590618.5324 | 1214026.0513 | 2590601.5755 | 1214046.0786
84 | 2590581.2248 | 1214057.973 | 2590591.0001 | 1214058.5689 | 2590601.5755 | 1214046.0786
85 | 2590505.5055 | 1214099.0594 | 2590509.3515 | 1214102.3018 | 2590518.1265 | 1214110.0171
86 | 2590526.2948 | 1214116.2936 | 2590522.8195 | 1214113.4531 | 2590518.1737 | 1214110.0586 | 2590518.1265 | 1214110.0171
87 | 2590526.2948 | 1214116.2936 | 2590532.685 | 1214108.768 | 2590533.5464 | 1214107.8899
88 | 2590548.6001 | 1214092.5445 | 2590533.5464 | 1214107.8899

## bus_geodata
| x | y | coords
0 | 2590383.7189 | 1213934.9361
1 | 2590380.9762 | 1213929.6092
2 | 2590396.2314 | 1213963.7454
3 | 2590378.8811 | 1213925.5402
4 | 2590401.9778 | 1213994.2588
5 | 2590366.1815 | 1213900.8758
6 | 2590375.3894 | 1214004.1298
7 | 2590409.8712 | 1214013.6913
8 | 2590430.9867 | 1213986.8909
9 | 2590340.8271 | 1213851.6337
10 | 2590371.0565 | 1214007.9987
11 | 2590349.7218 | 1213985.4428
12 | 2590417.5098 | 1214020.7783
13 | 2590438.8196 | 1213983.4594
14 | 2590483.3287 | 1213879.6679
15 | 2590488.5777 | 1213892.5924
16 | 2590480.3035 | 1213872.2191
17 | 2590494.0037 | 1213905.9528
18 | 2590476.4705 | 1213857.3975
19 | 2590497.4285 | 1213915.0426
20 | 2590534.7595 | 1213853.4878
21 | 2590538.5718 | 1213871.7277
22 | 2590569.4502 | 1213842.0371
23 | 2590499.5343 | 1213920.984
24 | 2590540.0452 | 1213875.8688
25 | 2590586.5153 | 1213874.9177
26 | 2590501.672 | 1213927.0154
27 | 2590507.7405 | 1213955.1327
28 | 2590415.7907 | 1214050.3542
29 | 2590416.0751 | 1214050.0024
30 | 2590430.6105 | 1214032.0225
31 | 2590356.3982 | 1214113.1665
32 | 2590312.8447 | 1214063.2318
33 | 2590423.2439 | 1214144.6978
34 | 2590439.6972 | 1214040.9127
35 | 2590354.5493 | 1214022.9013
36 | 2590442.5175 | 1214159.0787
37 | 2590450.6949 | 1214051.6725
38 | 2590402.1 | 1213830.9668
39 | 2590752.0085 | 1213844.3188
40 | 2590754.1428 | 1213845.398
41 | 2590719.0076 | 1213827.6319
42 | 2590615.6358 | 1213913.2224
43 | 2590448.3947 | 1213979.2647
44 | 2590460.1398 | 1214060.9132
45 | 2590480.2464 | 1214077.8019
46 | 2590495.4802 | 1214090.6076
47 | 2590496.2136 | 1214035.2583
48 | 2590497.2666 | 1214016.7887
49 | 2590524.8722 | 1214048.5244
50 | 2590516.8212 | 1213957.4103
51 | 2590525.4461 | 1213960.5722
52 | 2590541.9736 | 1213968.5805
53 | 2590482.7539 | 1213961.9351
54 | 2590547.1062 | 1213971.0675
55 | 2590473.0745 | 1213967.3499
56 | 2590556.235 | 1213975.4909
57 | 2590462.7411 | 1213972.9797
58 | 2590561.7451 | 1213885.0881
59 | 2590553.9653 | 1213884.5123
60 | 2590565.2282 | 1213885.3459
61 | 2590550.8189 | 1213884.2794
62 | 2590548.1826 | 1213882.786
63 | 2590563.9705 | 1213979.2391
64 | 2590588.818 | 1213988.8314
65 | 2590621.8797 | 1213990.0344
66 | 2590570.6221 | 1214017.6835
67 | 2590630.7922 | 1213988.4617
68 | 2590645.9382 | 1213984.9669
69 | 2590654.2411 | 1213968.0271
70 | 2590646.2615 | 1213949.3606
71 | 2590657.5832 | 1213982.0314
72 | 2590645.9417 | 1213948.8464
73 | 2590653.5737 | 1213983.0421
74 | 2590635.944 | 1213936.4282
75 | 2590629.4599 | 1213929.2748
76 | 2590541.9949 | 1214026.9665
77 | 2590558.0886 | 1214013.4738
78 | 2590531.1617 | 1214040.6059
79 | 2590590.4865 | 1214023.3908
80 | 2590618.5324 | 1214026.0513
81 | 2590630.3317 | 1214025.1075
82 | 2590601.5755 | 1214046.0786
83 | 2590581.2248 | 1214057.973
84 | 2590608.3132 | 1213905.297
85 | 2590505.5055 | 1214099.0594
86 | 2590518.1265 | 1214110.0171
87 | 2590526.2948 | 1214116.2936
88 | 2590533.5464 | 1214107.8899
89 | 2590548.6001 | 1214092.5445
90 | 2590507.7405 | 1213955.1327

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1