## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3203-103_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3203-103_0_5_node_2 | 0.4 | n |  | TRUE
2 | bus_LV_3203-103_0_5_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_3203-103_0_5_node_5 | 0.4 | n |  | TRUE
4 | bus_LV_3203-103_0_5_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_3203-103_0_5_node_104 | 0.4 | n |  | TRUE
6 | bus_LV_3203-103_0_5_node_103 | 0.4 | n |  | TRUE
7 | bus_LV_3203-103_0_5_node_27 | 0.4 | n |  | TRUE
8 | bus_LV_3203-103_0_5_node_63 | 0.4 | n |  | TRUE
9 | bus_LV_3203-103_0_5_node_16 | 0.4 | n |  | TRUE
10 | bus_LV_3203-103_0_5_node_91 | 0.4 | n |  | TRUE
11 | bus_LV_3203-103_0_5_node_102 | 0.4 | n |  | TRUE
12 | bus_LV_3203-103_0_5_node_29 | 0.4 | n |  | TRUE
13 | bus_LV_3203-103_0_5_node_25 | 0.4 | n |  | TRUE
14 | bus_LV_3203-103_0_5_node_6 | 0.4 | n |  | TRUE
15 | bus_LV_3203-103_0_5_node_8 | 0.4 | n |  | TRUE
16 | bus_LV_3203-103_0_5_node_12 | 0.4 | n |  | TRUE
17 | bus_LV_3203-103_0_5_node_10 | 0.4 | n |  | TRUE
18 | bus_LV_3203-103_0_5_node_11 | 0.4 | n |  | TRUE
19 | bus_LV_3203-103_0_5_node_66 | 0.4 | n |  | TRUE
20 | bus_LV_3203-103_0_5_node_15 | 0.4 | n |  | TRUE
21 | bus_LV_3203-103_0_5_node_65 | 0.4 | n |  | TRUE
22 | bus_LV_3203-103_0_5_node_75 | 0.4 | n |  | TRUE
23 | bus_LV_3203-103_0_5_node_64 | 0.4 | n |  | TRUE
24 | bus_LV_3203-103_0_5_node_17 | 0.4 | n |  | TRUE
25 | bus_LV_3203-103_0_5_node_60 | 0.4 | n |  | TRUE
26 | bus_LV_3203-103_0_5_node_14 | 0.4 | n |  | TRUE
27 | bus_LV_3203-103_0_5_node_19 | 0.4 | n |  | TRUE
28 | bus_LV_3203-103_0_5_node_13 | 0.4 | n |  | TRUE
29 | bus_LV_3203-103_0_5_node_55 | 0.4 | n |  | TRUE
30 | bus_LV_3203-103_0_5_node_31 | 0.4 | n |  | TRUE
31 | bus_LV_3203-103_0_5_node_37 | 0.4 | n |  | TRUE
32 | bus_LV_3203-103_0_5_node_92 | 0.4 | n |  | TRUE
33 | bus_LV_3203-103_0_5_node_73 | 0.4 | n |  | TRUE
34 | bus_LV_3203-103_0_5_node_88 | 0.4 | n |  | TRUE
35 | bus_LV_3203-103_0_5_node_47 | 0.4 | n |  | TRUE
36 | bus_LV_3203-103_0_5_node_34 | 0.4 | n |  | TRUE
37 | bus_LV_3203-103_0_5_node_32 | 0.4 | n |  | TRUE
38 | bus_LV_3203-103_0_5_node_30 | 0.4 | n |  | TRUE
39 | bus_LV_3203-103_0_5_node_38 | 0.4 | n |  | TRUE
40 | bus_LV_3203-103_0_5_node_20 | 0.4 | n |  | TRUE
41 | bus_LV_3203-103_0_5_node_21 | 0.4 | n |  | TRUE
42 | bus_LV_3203-103_0_5_node_22 | 0.4 | n |  | TRUE
43 | bus_LV_3203-103_0_5_node_23 | 0.4 | n |  | TRUE
44 | bus_LV_3203-103_0_5_node_24 | 0.4 | n |  | TRUE
45 | bus_LV_3203-103_0_5_node_86 | 0.4 | n |  | TRUE
46 | bus_LV_3203-103_0_5_node_87 | 0.4 | n |  | TRUE
47 | bus_LV_3203-103_0_5_node_85 | 0.4 | n |  | TRUE
48 | bus_LV_3203-103_0_5_node_82 | 0.4 | n |  | TRUE
49 | bus_LV_3203-103_0_5_node_26 | 0.4 | n |  | TRUE
50 | bus_LV_3203-103_0_5_node_28 | 0.4 | n |  | TRUE
51 | bus_LV_3203-103_0_5_node_35 | 0.4 | n |  | TRUE
52 | bus_LV_3203-103_0_5_node_36 | 0.4 | n |  | TRUE
53 | bus_LV_3203-103_0_5_node_33 | 0.4 | n |  | TRUE
54 | bus_LV_3203-103_0_5_node_57 | 0.4 | n |  | TRUE
55 | bus_LV_3203-103_0_5_node_58 | 0.4 | n |  | TRUE
56 | bus_LV_3203-103_0_5_node_39 | 0.4 | n |  | TRUE
57 | bus_LV_3203-103_0_5_node_40 | 0.4 | n |  | TRUE
58 | bus_LV_3203-103_0_5_node_41 | 0.4 | n |  | TRUE
59 | bus_LV_3203-103_0_5_node_42 | 0.4 | n |  | TRUE
60 | bus_LV_3203-103_0_5_node_43 | 0.4 | n |  | TRUE
61 | bus_LV_3203-103_0_5_node_70 | 0.4 | n |  | TRUE
62 | bus_LV_3203-103_0_5_node_84 | 0.4 | n |  | TRUE
63 | bus_LV_3203-103_0_5_node_68 | 0.4 | n |  | TRUE
64 | bus_LV_3203-103_0_5_node_44 | 0.4 | n |  | TRUE
65 | bus_LV_3203-103_0_5_node_45 | 0.4 | n |  | TRUE
66 | bus_LV_3203-103_0_5_node_46 | 0.4 | n |  | TRUE
67 | bus_LV_3203-103_0_5_node_48 | 0.4 | n |  | TRUE
68 | bus_LV_3203-103_0_5_node_49 | 0.4 | n |  | TRUE
69 | bus_LV_3203-103_0_5_node_50 | 0.4 | n |  | TRUE
70 | bus_LV_3203-103_0_5_node_56 | 0.4 | n |  | TRUE
71 | bus_LV_3203-103_0_5_node_61 | 0.4 | n |  | TRUE
72 | bus_LV_3203-103_0_5_node_62 | 0.4 | n |  | TRUE
73 | bus_LV_3203-103_0_5_node_51 | 0.4 | n |  | TRUE
74 | bus_LV_3203-103_0_5_node_52 | 0.4 | n |  | TRUE
75 | bus_LV_3203-103_0_5_node_53 | 0.4 | n |  | TRUE
76 | bus_LV_3203-103_0_5_node_54 | 0.4 | n |  | TRUE
77 | bus_LV_3203-103_0_5_node_74 | 0.4 | n |  | TRUE
78 | bus_LV_3203-103_0_5_node_72 | 0.4 | n |  | TRUE
79 | bus_LV_3203-103_0_5_node_76 | 0.4 | n |  | TRUE
80 | bus_LV_3203-103_0_5_node_77 | 0.4 | n |  | TRUE
81 | bus_LV_3203-103_0_5_node_67 | 0.4 | n |  | TRUE
82 | bus_LV_3203-103_0_5_node_69 | 0.4 | n |  | TRUE
83 | bus_LV_3203-103_0_5_node_71 | 0.4 | n |  | TRUE
84 | bus_LV_3203-103_0_5_node_93 | 0.4 | n |  | TRUE
85 | bus_LV_3203-103_0_5_node_78 | 0.4 | n |  | TRUE
86 | bus_LV_3203-103_0_5_node_79 | 0.4 | n |  | TRUE
87 | bus_LV_3203-103_0_5_node_81 | 0.4 | n |  | TRUE
88 | bus_LV_3203-103_0_5_node_80 | 0.4 | n |  | TRUE
89 | bus_LV_3203-103_0_5_node_83 | 0.4 | n |  | TRUE
90 | bus_LV_3203-103_0_5_node_89 | 0.4 | n |  | TRUE
91 | bus_LV_3203-103_0_5_node_94 | 0.4 | n |  | TRUE
92 | bus_LV_3203-103_0_5_node_90 | 0.4 | n |  | TRUE
93 | bus_LV_3203-103_0_5_node_95 | 0.4 | n |  | TRUE
94 | bus_LV_3203-103_0_5_node_96 | 0.4 | n |  | TRUE
95 | bus_LV_3203-103_0_5_node_97 | 0.4 | n |  | TRUE
96 | bus_LV_3203-103_0_5_node_98 | 0.4 | n |  | TRUE
97 | bus_LV_3203-103_0_5_node_99 | 0.4 | n |  | TRUE
98 | bus_LV_3203-103_0_5_node_100 | 0.4 | n |  | TRUE
99 | bus_LV_3203-103_0_5_node_101 | 0.4 | n |  | TRUE
100 | bus_MV_42_0_node_13 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3203-103_0_5_load_0 | 0 | 0.0089859 | 0.0022521 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3203-103_0_5_load_5 | 3 | 0.0056318 | 0.0014115 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3203-103_0_5_load_104 | 5 | 0.0051388 | 0.0012879 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3203-103_0_5_load_103 | 6 | 0.010299 | 0.0025812 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3203-103_0_5_load_63 | 8 | 0.010369 | 0.0025987 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3203-103_0_5_load_91 | 10 | 0.0048858 | 0.0012245 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3203-103_0_5_load_102 | 11 | 0.0048111 | 0.0012058 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3203-103_0_5_load_29 | 12 | 0.0064902 | 0.0016266 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3203-103_0_5_load_25 | 13 | 0.0059297 | 0.0014861 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3203-103_0_5_load_6 | 14 | 0.0089348 | 0.0022393 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3203-103_0_5_load_12 | 16 | 0.0092669 | 0.0023225 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3203-103_0_5_load_66 | 19 | 0.0038258 | 0.00095884 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3203-103_0_5_load_75 | 22 | 0.0030959 | 0.00077591 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3203-103_0_5_load_60 | 25 | 0.0044945 | 0.0011264 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3203-103_0_5_load_13 | 28 | 0.0044035 | 0.0011036 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3203-103_0_5_load_55 | 29 | 0.0038258 | 0.00095883 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3203-103_0_5_load_31 | 30 | 0.0092663 | 0.0023223 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3203-103_0_5_load_37 | 31 | 0.004327 | 0.0010844 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3203-103_0_5_load_92 | 32 | 0.0056486 | 0.0014157 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3203-103_0_5_load_73 | 33 | 0.0030941 | 0.00077546 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3203-103_0_5_load_88 | 34 | 0.011435 | 0.0028658 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3203-103_0_5_load_47 | 35 | 0.0097065 | 0.0024327 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3203-103_0_5_load_34 | 36 | 0.002318 | 0.00058096 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3203-103_0_5_load_30 | 38 | 0.0043283 | 0.0010848 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3203-103_0_5_load_38 | 39 | 0.002508 | 0.00062856 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3203-103_0_5_load_20 | 40 | 0.007582 | 0.0019002 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3203-103_0_5_load_21 | 41 | 0.0039602 | 0.00099251 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3203-103_0_5_load_22 | 42 | 0.0040592 | 0.0010173 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3203-103_0_5_load_23 | 43 | 0.0079067 | 0.0019816 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3203-103_0_5_load_24 | 44 | 0.0068456 | 0.0017157 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3203-103_0_5_load_86 | 45 | 0.0041201 | 0.0010326 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3203-103_0_5_load_87 | 46 | 0.0068769 | 0.0017235 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3203-103_0_5_load_85 | 47 | 0.0047188 | 0.0011826 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3203-103_0_5_load_26 | 49 | 0.0061166 | 0.001533 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3203-103_0_5_load_28 | 50 | 0.0059277 | 0.0014856 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3203-103_0_5_load_35 | 51 | 0.0056367 | 0.0014127 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3203-103_0_5_load_33 | 53 | 0.0043241 | 0.0010837 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3203-103_0_5_load_57 | 54 | 0.0093083 | 0.0023329 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3203-103_0_5_load_58 | 55 | 0.0043302 | 0.0010852 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3203-103_0_5_load_39 | 56 | 0.0037608 | 0.00094255 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3203-103_0_5_load_40 | 57 | 0.0073237 | 0.0018355 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3203-103_0_5_load_41 | 58 | 0.0033067 | 0.00082874 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3203-103_0_5_load_42 | 59 | 0.0035377 | 0.00088662 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3203-103_0_5_load_43 | 60 | 0.0035633 | 0.00089306 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3203-103_0_5_load_70 | 61 | 0.0037065 | 0.00092893 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3203-103_0_5_load_84 | 62 | 0.0056651 | 0.0014198 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3203-103_0_5_load_68 | 63 | 0.0036284 | 0.00090936 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3203-103_0_5_load_44 | 64 | 0.011945 | 0.0029936 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3203-103_0_5_load_45 | 65 | 0.0064828 | 0.0016247 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3203-103_0_5_load_46 | 66 | 0.0073899 | 0.0018521 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3203-103_0_5_load_48 | 67 | 0.0078105 | 0.0019575 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3203-103_0_5_load_49 | 68 | 0.012911 | 0.0032358 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3203-103_0_5_load_50 | 69 | 0.0056143 | 0.0014071 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_3203-103_0_5_load_61 | 71 | 0.012837 | 0.0032174 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_3203-103_0_5_load_62 | 72 | 0.0082268 | 0.0020618 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_3203-103_0_5_load_51 | 73 | 0.012012 | 0.0030104 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_3203-103_0_5_load_52 | 74 | 0.012381 | 0.0031029 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_3203-103_0_5_load_53 | 75 | 0.0037004 | 0.00092742 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_3203-103_0_5_load_54 | 76 | 0.012381 | 0.0031029 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_3203-103_0_5_load_74 | 77 | 0.0030417 | 0.00076232 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_3203-103_0_5_load_72 | 78 | 0.0030417 | 0.00076232 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_3203-103_0_5_load_76 | 79 | 0.013224 | 0.0033142 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_3203-103_0_5_load_77 | 80 | 0.030394 | 0.0076175 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_3203-103_0_5_load_67 | 81 | 0.004179 | 0.0010473 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_3203-103_0_5_load_69 | 82 | 0.0040855 | 0.0010239 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_3203-103_0_5_load_71 | 83 | 0.0032109 | 0.00080474 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_3203-103_0_5_load_93 | 84 | 0.0047597 | 0.0011929 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_3203-103_0_5_load_78 | 85 | 0.011507 | 0.0028839 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_3203-103_0_5_load_79 | 86 | 0.0079307 | 0.0019876 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_3203-103_0_5_load_81 | 87 | 0.0086544 | 0.002169 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_3203-103_0_5_load_83 | 89 | 0.006774 | 0.0016977 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_3203-103_0_5_load_89 | 90 | 0.0035845 | 0.00089837 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_3203-103_0_5_load_94 | 91 | 0.0049123 | 0.0012311 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_3203-103_0_5_load_90 | 92 | 0.0063467 | 0.0015906 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_3203-103_0_5_load_95 | 93 | 0.0049131 | 0.0012313 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_3203-103_0_5_load_96 | 94 | 0.0046945 | 0.0011765 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_3203-103_0_5_load_97 | 95 | 0.0041641 | 0.0010436 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_3203-103_0_5_load_98 | 96 | 0.0051182 | 0.0012827 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_3203-103_0_5_load_99 | 97 | 0.0052622 | 0.0013188 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_3203-103_0_5_load_100 | 98 | 0.0055101 | 0.001381 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 34 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3203-103_0_5_line_0 |  | 0 | 1 | 0.012912 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_3203-103_0_5_line_1 |  | 1 | 2 | 0.003766 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
2 | LV_3203-103_0_5_line_2 |  | 1 | 3 | 0.023444 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
3 | LV_3203-103_0_5_line_3 |  | 2 | 4 | 0.011867 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
4 | LV_3203-103_0_5_line_4 |  | 3 | 7 | 0.025421 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
5 | LV_3203-103_0_5_line_5 |  | 4 | 5 | 0.019066 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_3203-103_0_5_line_6 |  | 4 | 6 | 0.048246 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
7 | LV_3203-103_0_5_line_7 |  | 5 | 10 | 0.02289 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_3203-103_0_5_line_8 |  | 6 | 11 | 0.063433 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
9 | LV_3203-103_0_5_line_9 |  | 7 | 12 | 0.014751 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_3203-103_0_5_line_10 |  | 7 | 13 | 0.039097 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
11 | LV_3203-103_0_5_line_11 |  | 8 | 9 | 0.076602 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_3203-103_0_5_line_12 |  | 9 | 23 | 0.004661 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
13 | LV_3203-103_0_5_line_13 |  | 9 | 21 | 0.004099 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
14 | LV_3203-103_0_5_line_14 |  | 10 | 92 | 0.028456 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_3203-103_0_5_line_15 |  | 11 | 99 | 0.036683 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
16 | LV_3203-103_0_5_line_16 |  | 12 | 51 | 0.011475 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_3203-103_0_5_line_17 |  | 13 | 49 | 0.012017 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
18 | LV_3203-103_0_5_line_18 |  | 14 | 15 | 0.056017 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_3203-103_0_5_line_19 |  | 15 | 16 | 0.018085 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_3203-103_0_5_line_20 |  | 16 | 18 | 0.022614 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_3203-103_0_5_line_21 |  | 17 | 18 | 0.040459 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_3203-103_0_5_line_22 |  | 17 | 19 | 0.0078139 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_3203-103_0_5_line_23 |  | 19 | 29 | 0.0085473 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_3203-103_0_5_line_24 |  | 20 | 21 | 0.020973 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_3203-103_0_5_line_25 |  | 20 | 22 | 0.023135 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_3203-103_0_5_line_26 |  | 21 | 32 | 0.078935 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
27 | LV_3203-103_0_5_line_27 |  | 22 | 33 | 0.0075107 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_3203-103_0_5_line_28 |  | 23 | 34 | 0.042698 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
29 | LV_3203-103_0_5_line_29 |  | 23 | 24 | 0.006268 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_3203-103_0_5_line_30 |  | 24 | 25 | 0.041119 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_3203-103_0_5_line_31 |  | 25 | 35 | 0.01739 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_3203-103_0_5_line_32 |  | 26 | 27 | 0.022054 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_3203-103_0_5_line_33 |  | 26 | 28 | 0.01246 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_3203-103_0_5_line_34 |  | 27 | 30 | 0.015856 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_3203-103_0_5_line_35 |  | 27 | 31 | 0.018159 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_3203-103_0_5_line_36 |  | 29 | 75 | 0.013708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_3203-103_0_5_line_37 |  | 30 | 38 | 0.01755 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_3203-103_0_5_line_38 |  | 31 | 39 | 0.0046603 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_3203-103_0_5_line_39 |  | 32 | 50 | 0.012111 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
40 | LV_3203-103_0_5_line_40 |  | 33 | 78 | 0.014002 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_3203-103_0_5_line_41 |  | 35 | 65 | 0.0063476 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_3203-103_0_5_line_42 |  | 36 | 37 | 0.035985 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_3203-103_0_5_line_43 |  | 37 | 53 | 0.017331 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_3203-103_0_5_line_44 |  | 37 | 38 | 0.0037825 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_3203-103_0_5_line_45 |  | 39 | 52 | 0.011591 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_3203-103_0_5_line_46 |  | 40 | 41 | 0.0069774 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
47 | LV_3203-103_0_5_line_47 |  | 40 | 42 | 0.014438 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
48 | LV_3203-103_0_5_line_48 |  | 41 | 43 | 0.0073692 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
49 | LV_3203-103_0_5_line_49 |  | 42 | 44 | 0.010026 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
50 | LV_3203-103_0_5_line_50 |  | 43 | 45 | 0.013565 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
51 | LV_3203-103_0_5_line_51 |  | 44 | 46 | 0.013005 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
52 | LV_3203-103_0_5_line_52 |  | 45 | 47 | 0.026547 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
53 | LV_3203-103_0_5_line_53 |  | 46 | 48 | 0.015156 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
54 | LV_3203-103_0_5_line_54 |  | 47 | 62 | 0.013549 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
55 | LV_3203-103_0_5_line_55 |  | 48 | 88 | 0.009607 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
56 | LV_3203-103_0_5_line_56 |  | 49 | 50 | 0.020141 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
57 | LV_3203-103_0_5_line_57 |  | 51 | 52 | 0.037307 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_3203-103_0_5_line_58 |  | 53 | 54 | 0.0043974 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_3203-103_0_5_line_59 |  | 54 | 55 | 0.017102 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_3203-103_0_5_line_60 |  | 56 | 57 | 0.023137 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
61 | LV_3203-103_0_5_line_61 |  | 56 | 58 | 0.00069132 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
62 | LV_3203-103_0_5_line_62 |  | 57 | 59 | 0.0073974 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_3203-103_0_5_line_63 |  | 58 | 60 | 0.022303 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
64 | LV_3203-103_0_5_line_64 |  | 59 | 61 | 0.01967 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_3203-103_0_5_line_65 |  | 60 | 62 | 0.0075752 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
66 | LV_3203-103_0_5_line_66 |  | 61 | 63 | 0.0021688 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_3203-103_0_5_line_67 |  | 63 | 81 | 0.0098532 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_3203-103_0_5_line_68 |  | 64 | 65 | 0.020944 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_3203-103_0_5_line_69 |  | 64 | 66 | 0.0014225 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_3203-103_0_5_line_70 |  | 66 | 67 | 0.022357 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_3203-103_0_5_line_71 |  | 67 | 68 | 0.0041382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_3203-103_0_5_line_72 |  | 68 | 69 | 0.026325 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_3203-103_0_5_line_73 |  | 69 | 70 | 0.0096338 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_3203-103_0_5_line_74 |  | 70 | 71 | 0.012332 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_3203-103_0_5_line_75 |  | 70 | 72 | 0.02212 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_3203-103_0_5_line_76 |  | 72 | 79 | 0.030402 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_3203-103_0_5_line_77 |  | 73 | 74 | 0.013711 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_3203-103_0_5_line_78 |  | 73 | 75 | 0.0085636 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_3203-103_0_5_line_79 |  | 74 | 76 | 0.0084118 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_3203-103_0_5_line_80 |  | 76 | 77 | 0.01384 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_3203-103_0_5_line_81 |  | 77 | 78 | 0.0083942 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_3203-103_0_5_line_82 |  | 79 | 80 | 0.020339 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_3203-103_0_5_line_83 |  | 81 | 82 | 0.016224 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_3203-103_0_5_line_84 |  | 82 | 83 | 0.0020278 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_3203-103_0_5_line_85 |  | 83 | 84 | 0.016063 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_3203-103_0_5_line_86 |  | 85 | 86 | 0.018027 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_3203-103_0_5_line_87 |  | 86 | 87 | 0.046875 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_3203-103_0_5_line_88 |  | 87 | 90 | 0.0068206 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_3203-103_0_5_line_89 |  | 88 | 89 | 0.067023 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
90 | LV_3203-103_0_5_line_90 |  | 89 | 91 | 0.026386 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
91 | LV_3203-103_0_5_line_91 |  | 90 | 92 | 0.033913 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_3203-103_0_5_line_92 |  | 91 | 93 | 0.036683 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
93 | LV_3203-103_0_5_line_93 |  | 93 | 94 | 0.021714 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
94 | LV_3203-103_0_5_line_94 |  | 94 | 95 | 0.03889 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
95 | LV_3203-103_0_5_line_95 |  | 95 | 96 | 0.0088257 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
96 | LV_3203-103_0_5_line_96 |  | 96 | 97 | 0.012294 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
97 | LV_3203-103_0_5_line_97 |  | 97 | 98 | 0.026241 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
98 | LV_3203-103_0_5_line_98 |  | 98 | 99 | 0.013474 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3203-103_0_5_trafo_88 | 0.63 MVA 20/0.4 kV | 100 | 34 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25 | x26 | y26 | x27 | y27 | x28 | y28 | x29 | y29 | x30 | y30 | x31 | y31 | x32 | y32 | x33 | y33
0 | 2746074.2592 | 1253927.1374 | 2746080.5669 | 1253929.6954 | 2746086.4285 | 1253931.4048
1 | 2746075.8904 | 1253923.741 | 2746074.2592 | 1253927.1374
2 | 2746074.2592 | 1253927.1374 | 2746061.9549 | 1253921.3395 | 2746052.864 | 1253917.567
3 | 2746075.8904 | 1253923.741 | 2746077.4671 | 1253918.8863 | 2746080.1775 | 1253920.0877 | 2746083.7851 | 1253921.3334
4 | 2746029.3848 | 1253907.8235 | 2746052.864 | 1253917.567
5 | 2746083.7851 | 1253921.3334 | 2746083.4994 | 1253919.1465 | 2746082.4688 | 1253917.475 | 2746080.295 | 1253915.3304 | 2746071.2889 | 1253909.247 | 2746070.4668 | 1253908.7225
6 | 2746083.7851 | 1253921.3334 | 2746089.0901 | 1253922.621 | 2746097.8022 | 1253925.0159 | 2746097.8378 | 1253922.659 | 2746097.099 | 1253922.0068 | 2746093.767 | 1253919.0774 | 2746092.9986 | 1253918.4022 | 2746089.2546 | 1253915.04 | 2746088.2554 | 1253914.2368 | 2746088.5339 | 1253913.6542 | 2746090.8176 | 1253908.906 | 2746091.0085 | 1253908.5103 | 2746091.429 | 1253908.5986 | 2746096.3122 | 1253909.5421 | 2746097.7999 | 1253909.8235 | 2746099.1746 | 1253910.091 | 2746100.7973 | 1253910.4091 | 2746102.2396 | 1253910.6894 | 2746103.0662 | 1253910.8433
7 | 2746070.4668 | 1253908.7225 | 2746051.1703 | 1253896.4109
8 | 2746103.0662 | 1253910.8433 | 2746103.388 | 1253909.4277 | 2746103.0271 | 1253909.0629 | 2746101.8349 | 1253907.8211 | 2746099.7225 | 1253905.6336 | 2746098.2139 | 1253904.0616 | 2746096.3665 | 1253902.1475 | 2746094.4528 | 1253900.1651 | 2746093.9007 | 1253899.5954 | 2746095.144 | 1253896.9346 | 2746098.5686 | 1253893.9718 | 2746103.4052 | 1253894.3581 | 2746105.2658 | 1253894.5152 | 2746106.2657 | 1253894.3731 | 2746105.6868 | 1253893.6693 | 2746104.9152 | 1253892.8161 | 2746103.9237 | 1253891.7017 | 2746102.8498 | 1253890.563 | 2746102.4625 | 1253890.0418 | 2746102.8094 | 1253889.7501 | 2746105.494 | 1253889.8609 | 2746107.7035 | 1253889.9488 | 2746110.3427 | 1253890.0584 | 2746111.5433 | 1253890.0436 | 2746111.613 | 1253889.0555 | 2746110.619 | 1253887.4294 | 2746109.5596 | 1253885.7016 | 2746108.0724 | 1253883.2626 | 2746107.1075 | 1253881.6817 | 2746105.362 | 1253879.0028 | 2746104.2575 | 1253877.2627 | 2746104.0749 | 1253876.7133 | 2746104.1651 | 1253876.1149 | 2746105.0442 | 1253874.221
9 | 2746029.3848 | 1253907.8235 | 2746028.4675 | 1253908.9019 | 2746023.082 | 1253911.7942 | 2746021.422 | 1253912.6874 | 2746018.2013 | 1253914.4208 | 2746017.8569 | 1253914.6125 | 2746017.3148 | 1253915.7781
10 | 2746029.3848 | 1253907.8235 | 2745993.551 | 1253892.1876
11 | 2745880.3314 | 1253842.9777 | 2745902.3798 | 1253850.3611 | 2745925.0335 | 1253859.2165 | 2745951.7783 | 1253870.4985
12 | 2745880.3314 | 1253842.9777 | 2745881.8367 | 1253838.5661
13 | 2745880.3314 | 1253842.9777 | 2745879.0503 | 1253846.8721
14 | 2746051.1703 | 1253896.4109 | 2746041.4962 | 1253890.2386 | 2746027.9066 | 1253880.058
15 | 2746111.0681 | 1253858.8464 | 2746109.3472 | 1253862.5075 | 2746109.7396 | 1253864.0408 | 2746111.0553 | 1253865.1744 | 2746112.7773 | 1253866.6627 | 2746113.8565 | 1253867.5902 | 2746115.8298 | 1253869.2961 | 2746117.0368 | 1253871.161 | 2746117.3058 | 1253871.5791 | 2746118.3238 | 1253873.1502 | 2746118.5564 | 1253873.5118 | 2746118.5574 | 1253874.3905 | 2746117.6358 | 1253876.5587 | 2746117.328 | 1253877.4075 | 2746105.6004 | 1253873.014 | 2746105.3849 | 1253873.4869 | 2746105.0442 | 1253874.221
16 | 2746017.3148 | 1253915.7781 | 2746017.3148 | 1253915.7781 | 2746017.9493 | 1253916.372 | 2746019.0568 | 1253917.3781 | 2746022.1348 | 1253920.2011 | 2746023.2862 | 1253921.2638 | 2746023.744 | 1253921.6755 | 2746023.5922 | 1253922.0165 | 2746022.9444 | 1253923.4909 | 2746022.6401 | 1253924.1952
17 | 2745993.551 | 1253892.1876 | 2745982.537 | 1253887.3816
18 | 2745682.0673 | 1253751.3886 | 2745650.486 | 1253729.5244 | 2745635.8302 | 1253719.7687
19 | 2745682.0673 | 1253751.3886 | 2745696.8465 | 1253761.8125
20 | 2745716.6863 | 1253772.1933 | 2745712.9309 | 1253771.1221 | 2745709.1208 | 1253769.816 | 2745705.7587 | 1253768.0984 | 2745696.8465 | 1253761.8125
21 | 2745716.6863 | 1253772.1933 | 2745720.5746 | 1253772.7784 | 2745723.6624 | 1253773.0657 | 2745727.7024 | 1253772.6981 | 2745736.6384 | 1253770.616 | 2745741.252 | 1253770.2513 | 2745744.3393 | 1253770.5609 | 2745747.4884 | 1253771.4281 | 2745751.2077 | 1253773.3548 | 2745748.522 | 1253777.5817
22 | 2745748.522 | 1253777.5817 | 2745751.3377 | 1253778.4963 | 2745755.4367 | 1253781.0951
23 | 2745762.6553 | 1253785.6719 | 2745755.4367 | 1253781.0951
24 | 2745859.203 | 1253839.9212 | 2745879.0503 | 1253846.8721
25 | 2745859.203 | 1253839.9212 | 2745839.4193 | 1253833.4501 | 2745837.3231 | 1253832.4557
26 | 2745879.0503 | 1253846.8721 | 2745901.489 | 1253854.343 | 2745928.2832 | 1253864.5684 | 2745946.9452 | 1253872.1354 | 2745952.8967 | 1253874.6695
27 | 2745837.3231 | 1253832.4557 | 2745833.8307 | 1253830.7988 | 2745830.7521 | 1253828.8469
28 | 2745881.8367 | 1253838.5661 | 2745882.5665 | 1253836.8269 | 2745884.2275 | 1253837.4239 | 2745888.8292 | 1253839.0721 | 2745889.9814 | 1253839.4898 | 2745890.2065 | 1253838.6278 | 2745891.2227 | 1253834.7603 | 2745891.6896 | 1253832.9701 | 2745891.1712 | 1253832.2566 | 2745884.8128 | 1253823.4805 | 2745884.3017 | 1253822.7784 | 2745884.4553 | 1253821.4475 | 2745885.0198 | 1253816.6124 | 2745885.1069 | 1253815.836 | 2745885.0095 | 1253814.8882 | 2745884.5172 | 1253810.3607 | 2745884.401 | 1253809.2568
29 | 2745875.8691 | 1253836.595 | 2745881.8367 | 1253838.5661
30 | 2745875.8691 | 1253836.595 | 2745876.3224 | 1253835.0492 | 2745876.7051 | 1253832.6897 | 2745876.4922 | 1253830.3044 | 2745875.6299 | 1253827.9253 | 2745874.0297 | 1253826.0841 | 2745853.2355 | 1253814.3609 | 2745848.2719 | 1253811.2042
31 | 2745848.2719 | 1253811.2042 | 2745833.5983 | 1253801.8721
32 | 2745984.168 | 1253954.3981 | 2745995.3037 | 1253962.8918 | 2745999.0947 | 1253966.1883 | 2746000.2094 | 1253969.0408
33 | 2745984.168 | 1253954.3981 | 2745974.2313 | 1253946.8812
34 | 2746000.2094 | 1253969.0408 | 2746008.4947 | 1253970.9913 | 2746015.1226 | 1253974.154
35 | 2746000.2094 | 1253969.0408 | 2746002.4458 | 1253961.9224 | 2746003.9745 | 1253959.3132 | 2746004.5812 | 1253958.2827 | 2746006.0231 | 1253955.827 | 2746006.4882 | 1253955.0266 | 2746007.8517 | 1253952.6913
36 | 2745762.6553 | 1253785.6719 | 2745774.2322 | 1253793.0119
37 | 2746015.1226 | 1253974.154 | 2746030.9615 | 1253981.7121
38 | 2746006.289 | 1253948.4153 | 2746006.6157 | 1253949.8581 | 2746007.8671 | 1253952.0688 | 2746007.9348 | 1253952.3819 | 2746007.8517 | 1253952.6913
39 | 2745952.8967 | 1253874.6695 | 2745964.0396 | 1253879.4141
40 | 2745818.9265 | 1253821.3492 | 2745830.7521 | 1253828.8469
41 | 2745828.2422 | 1253798.4657 | 2745833.5983 | 1253801.8721
42 | 2746034.3752 | 1253983.3411 | 2746022.571 | 1253997.6638 | 2746018.4 | 1254005.1793 | 2746024.294 | 1254011.7542
43 | 2746034.3752 | 1253983.3411 | 2746050.1353 | 1253990.5509
44 | 2746034.3752 | 1253983.3411 | 2746030.9615 | 1253981.7121
45 | 2746013.6535 | 1253940.8785 | 2746012.7543 | 1253942.4467 | 2746011.8548 | 1253942.8027 | 2746008.9577 | 1253943.9657 | 2746008.485 | 1253944.1542 | 2746008.0387 | 1253944.4991 | 2746006.6552 | 1253945.8107 | 2746006.2618 | 1253946.4572 | 2746006.289 | 1253948.4153 | 2746006.289 | 1253948.4153
46 | 2745829.0733 | 1253722.7542 | 2745823.1364 | 1253719.0887
47 | 2745829.0733 | 1253722.7542 | 2745841.3585 | 1253730.3393
48 | 2745823.1364 | 1253719.0887 | 2745816.866 | 1253715.2173
49 | 2745841.3585 | 1253730.3393 | 2745849.8893 | 1253735.6064
50 | 2745805.3237 | 1253708.0908 | 2745816.866 | 1253715.2173
51 | 2745861.0768 | 1253742.235 | 2745854.837 | 1253738.6612 | 2745849.8893 | 1253735.6064
52 | 2745781.06 | 1253697.3208 | 2745805.3237 | 1253708.0908 | 2745805.3237 | 1253708.0908
53 | 2745874.8942 | 1253748.4422 | 2745862.4667 | 1253743.031 | 2745861.0768 | 1253742.235
54 | 2745768.6766 | 1253691.8242 | 2745781.06 | 1253697.3208
55 | 2745884.02 | 1253751.5255 | 2745874.8942 | 1253748.4422
56 | 2745964.0396 | 1253879.4141 | 2745973.8672 | 1253883.5986 | 2745982.537 | 1253887.3816
57 | 2746013.6535 | 1253940.8785 | 2746013.3958 | 1253939.393 | 2746010.772 | 1253935.291 | 2746010.5025 | 1253934.2834 | 2746011.2378 | 1253933.5453 | 2746012.0506 | 1253933.6432 | 2746017.1006 | 1253934.5574 | 2746017.8821 | 1253934.699 | 2746018.1815 | 1253933.8834 | 2746018.6986 | 1253932.506 | 2746018.82 | 1253932.1753 | 2746018.6684 | 1253931.8935 | 2746016.6126 | 1253928.94 | 2746015.7451 | 1253927.6952 | 2746013.944 | 1253925.1261 | 2746013.5504 | 1253924.5603 | 2746014.6725 | 1253922.8308 | 2746015.2439 | 1253922.9227 | 2746018.709 | 1253923.5198 | 2746019.4005 | 1253923.637 | 2746022.2492 | 1253924.1299 | 2746022.6401 | 1253924.1952
58 | 2746054.1341 | 1253992.3802 | 2746050.1353 | 1253990.5509
59 | 2746054.1341 | 1253992.3802 | 2746069.6856 | 1253999.4946
60 | 2745719.5883 | 1253670.0353 | 2745740.7357 | 1253679.422
61 | 2745741.3676 | 1253679.7025 | 2745740.7357 | 1253679.422
62 | 2745712.827 | 1253667.0341 | 2745719.5883 | 1253670.0353
63 | 2745741.3676 | 1253679.7025 | 2745761.7528 | 1253688.7509
64 | 2745712.827 | 1253667.0341 | 2745694.8481 | 1253659.0538
65 | 2745768.6766 | 1253691.8242 | 2745761.7528 | 1253688.7509
66 | 2745692.8659 | 1253658.1739 | 2745694.8481 | 1253659.0538
67 | 2745683.86 | 1253654.1765 | 2745692.8659 | 1253658.1739
68 | 2745810.569 | 1253787.2261 | 2745828.2422 | 1253798.4657
69 | 2745810.569 | 1253787.2261 | 2745809.3688 | 1253786.4627
70 | 2745790.5036 | 1253774.465 | 2745809.3688 | 1253786.4627
71 | 2745790.5036 | 1253774.465 | 2745787.0118 | 1253772.2442
72 | 2745787.0118 | 1253772.2442 | 2745764.7988 | 1253758.1174
73 | 2745756.6697 | 1253752.9475 | 2745764.7988 | 1253758.1174
74 | 2745756.6697 | 1253752.9475 | 2745761.7774 | 1253741.718
75 | 2745756.6697 | 1253752.9475 | 2745753.3523 | 1253757.6926 | 2745739.5339 | 1253748.9901
76 | 2745739.5339 | 1253748.9901 | 2745713.8085 | 1253732.7888
77 | 2745781.4646 | 1253797.5974 | 2745793.0443 | 1253804.9392
78 | 2745781.4646 | 1253797.5974 | 2745774.2322 | 1253793.0119
79 | 2745800.1485 | 1253809.4435 | 2745793.0443 | 1253804.9392
80 | 2745800.1485 | 1253809.4435 | 2745811.8371 | 1253816.8543
81 | 2745818.9265 | 1253821.3492 | 2745811.8371 | 1253816.8543
82 | 2745696.134 | 1253723.3411 | 2745710.1449 | 1253732.2053 | 2745713.3608 | 1253732.5069 | 2745713.8085 | 1253732.7888
83 | 2745683.86 | 1253654.1765 | 2745669.0315 | 1253647.5945
84 | 2745667.1751 | 1253646.7786 | 2745667.7498 | 1253647.0256 | 2745669.0315 | 1253647.5945
85 | 2745652.4176 | 1253640.4347 | 2745667.1751 | 1253646.7786
86 | 2745946.9986 | 1253812.2486 | 2745960.6559 | 1253824.015
87 | 2745995.7779 | 1253855.0571 | 2745965.0825 | 1253827.8287 | 2745960.6559 | 1253824.015
88 | 2746000.8803 | 1253859.5832 | 2745995.7779 | 1253855.0571
89 | 2745884.02 | 1253751.5255 | 2745890.9514 | 1253754.2098 | 2745898.64 | 1253758.0251 | 2745911.8514 | 1253766.5475 | 2745942.6304 | 1253783.8005
90 | 2745942.6304 | 1253783.8005 | 2745944.7465 | 1253784.9867 | 2745965.965 | 1253796.1163
91 | 2746000.8803 | 1253859.5832 | 2746002.534 | 1253861.0502 | 2746027.9066 | 1253880.058
92 | 2745965.965 | 1253796.1163 | 2745977.3423 | 1253802.084 | 2745999.2835 | 1253811.3973
93 | 2745999.2835 | 1253811.3973 | 2746019.2712 | 1253819.8815
94 | 2746019.2712 | 1253819.8815 | 2746055.0701 | 1253835.077
95 | 2746055.0701 | 1253835.077 | 2746063.1941 | 1253838.5254
96 | 2746074.5106 | 1253843.3289 | 2746063.1941 | 1253838.5254
97 | 2746074.5106 | 1253843.3289 | 2746098.6652 | 1253853.5818
98 | 2746111.0681 | 1253858.8464 | 2746098.6652 | 1253853.5818

## bus_geodata
| x | y | coords
0 | 2746086.4285 | 1253931.4048
1 | 2746074.2592 | 1253927.1374
2 | 2746075.8904 | 1253923.741
3 | 2746052.864 | 1253917.567
4 | 2746083.7851 | 1253921.3334
5 | 2746070.4668 | 1253908.7225
6 | 2746103.0662 | 1253910.8433
7 | 2746029.3848 | 1253907.8235
8 | 2745951.7783 | 1253870.4985
9 | 2745880.3314 | 1253842.9777
10 | 2746051.1703 | 1253896.4109
11 | 2746105.0442 | 1253874.221
12 | 2746017.3148 | 1253915.7781
13 | 2745993.551 | 1253892.1876
14 | 2745635.8302 | 1253719.7687
15 | 2745682.0673 | 1253751.3886
16 | 2745696.8465 | 1253761.8125
17 | 2745748.522 | 1253777.5817
18 | 2745716.6863 | 1253772.1933
19 | 2745755.4367 | 1253781.0951
20 | 2745859.203 | 1253839.9211
21 | 2745879.0503 | 1253846.8721
22 | 2745837.3231 | 1253832.4557
23 | 2745881.8367 | 1253838.5661
24 | 2745875.8691 | 1253836.595
25 | 2745848.2719 | 1253811.2042
26 | 2745984.168 | 1253954.3981
27 | 2746000.2094 | 1253969.0408
28 | 2745974.2313 | 1253946.8812
29 | 2745762.6553 | 1253785.6719
30 | 2746015.1226 | 1253974.154
31 | 2746007.8517 | 1253952.6913
32 | 2745952.8967 | 1253874.6695
33 | 2745830.7521 | 1253828.8469
34 | 2745884.401 | 1253809.2568
35 | 2745833.5983 | 1253801.8721
36 | 2746024.294 | 1254011.7542
37 | 2746034.3752 | 1253983.3411
38 | 2746030.9615 | 1253981.7121
39 | 2746006.289 | 1253948.4153
40 | 2745829.0733 | 1253722.7542
41 | 2745823.1364 | 1253719.0887
42 | 2745841.3585 | 1253730.3393
43 | 2745816.866 | 1253715.2173
44 | 2745849.8893 | 1253735.6064
45 | 2745805.3237 | 1253708.0908
46 | 2745861.0768 | 1253742.235
47 | 2745781.06 | 1253697.3208
48 | 2745874.8942 | 1253748.4422
49 | 2745982.537 | 1253887.3816
50 | 2745964.0396 | 1253879.4141
51 | 2746022.6401 | 1253924.1952
52 | 2746013.6535 | 1253940.8785
53 | 2746050.1353 | 1253990.5509
54 | 2746054.1341 | 1253992.3802
55 | 2746069.6856 | 1253999.4946
56 | 2745740.7357 | 1253679.422
57 | 2745719.5883 | 1253670.0353
58 | 2745741.3676 | 1253679.7025
59 | 2745712.827 | 1253667.0341
60 | 2745761.7528 | 1253688.7509
61 | 2745694.8481 | 1253659.0538
62 | 2745768.6766 | 1253691.8242
63 | 2745692.8659 | 1253658.1739
64 | 2745810.569 | 1253787.2261
65 | 2745828.2422 | 1253798.4657
66 | 2745809.3688 | 1253786.4627
67 | 2745790.5036 | 1253774.465
68 | 2745787.0118 | 1253772.2442
69 | 2745764.7988 | 1253758.1174
70 | 2745756.6697 | 1253752.9475
71 | 2745761.7774 | 1253741.718
72 | 2745739.5339 | 1253748.9901
73 | 2745781.4646 | 1253797.5974
74 | 2745793.0443 | 1253804.9392
75 | 2745774.2322 | 1253793.0119
76 | 2745800.1485 | 1253809.4435
77 | 2745811.8371 | 1253816.8543
78 | 2745818.9265 | 1253821.3492
79 | 2745713.8085 | 1253732.7888
80 | 2745696.134 | 1253723.3411
81 | 2745683.86 | 1253654.1765
82 | 2745669.0315 | 1253647.5945
83 | 2745667.1751 | 1253646.7786
84 | 2745652.4176 | 1253640.4347
85 | 2745946.9986 | 1253812.2486
86 | 2745960.6559 | 1253824.015
87 | 2745995.7779 | 1253855.0571
88 | 2745884.02 | 1253751.5255
89 | 2745942.6304 | 1253783.8005
90 | 2746000.8803 | 1253859.5832
91 | 2745965.965 | 1253796.1163
92 | 2746027.9066 | 1253880.058
93 | 2745999.2835 | 1253811.3973
94 | 2746019.2712 | 1253819.8815
95 | 2746055.0701 | 1253835.077
96 | 2746063.1941 | 1253838.5254
97 | 2746074.5106 | 1253843.3289
98 | 2746098.6652 | 1253853.5818
99 | 2746111.0681 | 1253858.8464
100 | 2745881.8367 | 1253838.5661

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1