## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3203-105_0_7_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3203-105_0_7_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3203-105_0_7_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_3203-105_0_7_node_5 | 0.4 | n |  | TRUE
4 | bus_LV_3203-105_0_7_node_8 | 0.4 | n |  | TRUE
5 | bus_LV_3203-105_0_7_node_76 | 0.4 | n |  | TRUE
6 | bus_LV_3203-105_0_7_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_3203-105_0_7_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_3203-105_0_7_node_60 | 0.4 | n |  | TRUE
9 | bus_LV_3203-105_0_7_node_59 | 0.4 | n |  | TRUE
10 | bus_LV_3203-105_0_7_node_9 | 0.4 | n |  | TRUE
11 | bus_LV_3203-105_0_7_node_66 | 0.4 | n |  | TRUE
12 | bus_LV_3203-105_0_7_node_82 | 0.4 | n |  | TRUE
13 | bus_LV_3203-105_0_7_node_68 | 0.4 | n |  | TRUE
14 | bus_LV_3203-105_0_7_node_17 | 0.4 | n |  | TRUE
15 | bus_LV_3203-105_0_7_node_14 | 0.4 | n |  | TRUE
16 | bus_LV_3203-105_0_7_node_13 | 0.4 | n |  | TRUE
17 | bus_LV_3203-105_0_7_node_61 | 0.4 | n |  | TRUE
18 | bus_LV_3203-105_0_7_node_57 | 0.4 | n |  | TRUE
19 | bus_LV_3203-105_0_7_node_65 | 0.4 | n |  | TRUE
20 | bus_LV_3203-105_0_7_node_10 | 0.4 | n |  | TRUE
21 | bus_LV_3203-105_0_7_node_11 | 0.4 | n |  | TRUE
22 | bus_LV_3203-105_0_7_node_12 | 0.4 | n |  | TRUE
23 | bus_LV_3203-105_0_7_node_15 | 0.4 | n |  | TRUE
24 | bus_LV_3203-105_0_7_node_77 | 0.4 | n |  | TRUE
25 | bus_LV_3203-105_0_7_node_78 | 0.4 | n |  | TRUE
26 | bus_LV_3203-105_0_7_node_63 | 0.4 | n |  | TRUE
27 | bus_LV_3203-105_0_7_node_52 | 0.4 | n |  | TRUE
28 | bus_LV_3203-105_0_7_node_18 | 0.4 | n |  | TRUE
29 | bus_LV_3203-105_0_7_node_19 | 0.4 | n |  | TRUE
30 | bus_LV_3203-105_0_7_node_20 | 0.4 | n |  | TRUE
31 | bus_LV_3203-105_0_7_node_21 | 0.4 | n |  | TRUE
32 | bus_LV_3203-105_0_7_node_22 | 0.4 | n |  | TRUE
33 | bus_LV_3203-105_0_7_node_23 | 0.4 | n |  | TRUE
34 | bus_LV_3203-105_0_7_node_24 | 0.4 | n |  | TRUE
35 | bus_LV_3203-105_0_7_node_25 | 0.4 | n |  | TRUE
36 | bus_LV_3203-105_0_7_node_41 | 0.4 | n |  | TRUE
37 | bus_LV_3203-105_0_7_node_28 | 0.4 | n |  | TRUE
38 | bus_LV_3203-105_0_7_node_74 | 0.4 | n |  | TRUE
39 | bus_LV_3203-105_0_7_node_26 | 0.4 | n |  | TRUE
40 | bus_LV_3203-105_0_7_node_39 | 0.4 | n |  | TRUE
41 | bus_LV_3203-105_0_7_node_29 | 0.4 | n |  | TRUE
42 | bus_LV_3203-105_0_7_node_75 | 0.4 | n |  | TRUE
43 | bus_LV_3203-105_0_7_node_27 | 0.4 | n |  | TRUE
44 | bus_LV_3203-105_0_7_node_30 | 0.4 | n |  | TRUE
45 | bus_LV_3203-105_0_7_node_31 | 0.4 | n |  | TRUE
46 | bus_LV_3203-105_0_7_node_32 | 0.4 | n |  | TRUE
47 | bus_LV_3203-105_0_7_node_33 | 0.4 | n |  | TRUE
48 | bus_LV_3203-105_0_7_node_35 | 0.4 | n |  | TRUE
49 | bus_LV_3203-105_0_7_node_34 | 0.4 | n |  | TRUE
50 | bus_LV_3203-105_0_7_node_36 | 0.4 | n |  | TRUE
51 | bus_LV_3203-105_0_7_node_37 | 0.4 | n |  | TRUE
52 | bus_LV_3203-105_0_7_node_42 | 0.4 | n |  | TRUE
53 | bus_LV_3203-105_0_7_node_43 | 0.4 | n |  | TRUE
54 | bus_LV_3203-105_0_7_node_44 | 0.4 | n |  | TRUE
55 | bus_LV_3203-105_0_7_node_45 | 0.4 | n |  | TRUE
56 | bus_LV_3203-105_0_7_node_72 | 0.4 | n |  | TRUE
57 | bus_LV_3203-105_0_7_node_58 | 0.4 | n |  | TRUE
58 | bus_LV_3203-105_0_7_node_46 | 0.4 | n |  | TRUE
59 | bus_LV_3203-105_0_7_node_47 | 0.4 | n |  | TRUE
60 | bus_LV_3203-105_0_7_node_48 | 0.4 | n |  | TRUE
61 | bus_LV_3203-105_0_7_node_69 | 0.4 | n |  | TRUE
62 | bus_LV_3203-105_0_7_node_67 | 0.4 | n |  | TRUE
63 | bus_LV_3203-105_0_7_node_70 | 0.4 | n |  | TRUE
64 | bus_LV_3203-105_0_7_node_81 | 0.4 | n |  | TRUE
65 | bus_LV_3203-105_0_7_node_71 | 0.4 | n |  | TRUE
66 | bus_LV_3203-105_0_7_node_49 | 0.4 | n |  | TRUE
67 | bus_LV_3203-105_0_7_node_50 | 0.4 | n |  | TRUE
68 | bus_LV_3203-105_0_7_node_62 | 0.4 | n |  | TRUE
69 | bus_LV_3203-105_0_7_node_64 | 0.4 | n |  | TRUE
70 | bus_LV_3203-105_0_7_node_73 | 0.4 | n |  | TRUE
71 | bus_LV_3203-105_0_7_node_79 | 0.4 | n |  | TRUE
72 | bus_LV_3203-105_0_7_node_55 | 0.4 | n |  | TRUE
73 | bus_LV_3203-105_0_7_node_56 | 0.4 | n |  | TRUE
74 | bus_LV_3203-105_0_7_node_80 | 0.4 | n |  | TRUE
75 | bus_MV_43_0_node_140 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3203-105_0_7_load_0 | 0 | 0.037506 | 0.0093998 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3203-105_0_7_load_1 | 1 | 0.0051856 | 0.0012996 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3203-105_0_7_load_5 | 3 | 0.016264 | 0.0040761 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3203-105_0_7_load_76 | 5 | 0.023895 | 0.0059887 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3203-105_0_7_load_60 | 8 | 0.014195 | 0.0035575 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3203-105_0_7_load_59 | 9 | 0.0080219 | 0.0020105 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3203-105_0_7_load_66 | 11 | 0.00802 | 0.00201 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3203-105_0_7_load_82 | 12 | 0.01202 | 0.0030126 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3203-105_0_7_load_68 | 13 | 0.030096 | 0.0075427 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3203-105_0_7_load_17 | 14 | 0.022107 | 0.0055406 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3203-105_0_7_load_13 | 16 | 0.022649 | 0.0056765 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3203-105_0_7_load_57 | 18 | 0.0090747 | 0.0022743 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3203-105_0_7_load_65 | 19 | 0.0109 | 0.0027317 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3203-105_0_7_load_10 | 20 | 0.029702 | 0.007444 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3203-105_0_7_load_11 | 21 | 0.02921 | 0.0073207 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3203-105_0_7_load_77 | 24 | 0.033731 | 0.0084539 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3203-105_0_7_load_78 | 25 | 0.01777 | 0.0044536 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3203-105_0_7_load_18 | 28 | 0.0026491 | 0.00066392 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3203-105_0_7_load_21 | 31 | 0.0018251 | 0.00045742 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3203-105_0_7_load_22 | 32 | 0.0066161 | 0.0016581 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3203-105_0_7_load_23 | 33 | 0.0015452 | 0.00038725 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3203-105_0_7_load_24 | 34 | 0.005442 | 0.0013639 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3203-105_0_7_load_25 | 35 | 0.0053527 | 0.0013415 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3203-105_0_7_load_41 | 36 | 0.0014878 | 0.00037287 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3203-105_0_7_load_28 | 37 | 0.0054698 | 0.0013709 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3203-105_0_7_load_74 | 38 | 0.0052977 | 0.0013277 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3203-105_0_7_load_26 | 39 | 0.0063203 | 0.001584 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3203-105_0_7_load_39 | 40 | 0.00089624 | 0.00022462 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3203-105_0_7_load_29 | 41 | 0.011809 | 0.0029596 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3203-105_0_7_load_27 | 43 | 0.0043697 | 0.0010951 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3203-105_0_7_load_30 | 44 | 0.0049688 | 0.0012453 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3203-105_0_7_load_31 | 45 | 0.0063508 | 0.0015917 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3203-105_0_7_load_32 | 46 | 0.0062757 | 0.0015728 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3203-105_0_7_load_33 | 47 | 0.0043879 | 0.0010997 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3203-105_0_7_load_34 | 49 | 0.0058485 | 0.0014658 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3203-105_0_7_load_36 | 50 | 0.0044718 | 0.0011207 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3203-105_0_7_load_37 | 51 | 0.0047572 | 0.0011923 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3203-105_0_7_load_42 | 52 | 0.01149 | 0.0028796 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3203-105_0_7_load_45 | 55 | 0.0062183 | 0.0015585 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3203-105_0_7_load_72 | 56 | 0.025796 | 0.0064651 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3203-105_0_7_load_48 | 60 | 0.0065727 | 0.0016473 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3203-105_0_7_load_67 | 62 | 0.0068719 | 0.0017223 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3203-105_0_7_load_70 | 63 | 0.008158 | 0.0020446 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3203-105_0_7_load_81 | 64 | 0.021005 | 0.0052644 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3203-105_0_7_load_71 | 65 | 0.01363 | 0.003416 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3203-105_0_7_load_49 | 66 | 0.0091566 | 0.0022949 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3203-105_0_7_load_50 | 67 | 0.013259 | 0.003323 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3203-105_0_7_load_73 | 70 | 0.01491 | 0.0037369 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3203-105_0_7_load_79 | 71 | 0.018586 | 0.0046581 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3203-105_0_7_load_55 | 72 | 0.0063821 | 0.0015995 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3203-105_0_7_load_56 | 73 | 0.016258 | 0.0040747 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3203-105_0_7_load_80 | 74 | 0.0019474 | 0.00048807 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 10 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3203-105_0_7_line_0 |  | 0 | 1 | 0.042287 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_3203-105_0_7_line_1 |  | 1 | 2 | 0.019273 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_3203-105_0_7_line_2 |  | 2 | 3 | 0.021091 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
3 | LV_3203-105_0_7_line_3 |  | 2 | 4 | 0.024789 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
4 | LV_3203-105_0_7_line_4 |  | 3 | 5 | 0.018304 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
5 | LV_3203-105_0_7_line_5 |  | 4 | 12 | 0.009813 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_3203-105_0_7_line_6 |  | 4 | 10 | 0.015351 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
7 | LV_3203-105_0_7_line_7 |  | 5 | 16 | 0.026954 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
8 | LV_3203-105_0_7_line_8 |  | 6 | 7 | 0.012282 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_3203-105_0_7_line_9 |  | 6 | 8 | 0.015518 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_3203-105_0_7_line_10 |  | 6 | 9 | 0.015881 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_3203-105_0_7_line_11 |  | 7 | 10 | 0.024816 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
12 | LV_3203-105_0_7_line_12 |  | 7 | 11 | 0.011678 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
13 | LV_3203-105_0_7_line_13 |  | 8 | 17 | 0.030625 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_3203-105_0_7_line_14 |  | 9 | 18 | 0.029517 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_3203-105_0_7_line_15 |  | 10 | 13 | 0.01104 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_3203-105_0_7_line_16 |  | 11 | 19 | 0.025494 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
17 | LV_3203-105_0_7_line_17 |  | 14 | 15 | 0.018333 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_3203-105_0_7_line_18 |  | 15 | 22 | 0.018807 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_3203-105_0_7_line_19 |  | 16 | 21 | 0.024614 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_3203-105_0_7_line_20 |  | 17 | 26 | 0.011522 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_3203-105_0_7_line_21 |  | 17 | 27 | 0.008202 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_3203-105_0_7_line_22 |  | 18 | 73 | 0.026901 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_3203-105_0_7_line_23 |  | 19 | 62 | 0.02552 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
24 | LV_3203-105_0_7_line_24 |  | 20 | 21 | 0.023832 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_3203-105_0_7_line_25 |  | 20 | 22 | 0.02824 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_3203-105_0_7_line_26 |  | 22 | 23 | 0.013548 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_3203-105_0_7_line_27 |  | 23 | 24 | 0.038986 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_3203-105_0_7_line_28 |  | 24 | 25 | 0.01783 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_3203-105_0_7_line_29 |  | 26 | 70 | 0.0058366 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_3203-105_0_7_line_30 |  | 27 | 67 | 0.010978 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_3203-105_0_7_line_31 |  | 28 | 29 | 0.014006 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_3203-105_0_7_line_32 |  | 28 | 30 | 0.012645 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_3203-105_0_7_line_33 |  | 29 | 31 | 0.023264 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_3203-105_0_7_line_34 |  | 29 | 32 | 0.01363 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_3203-105_0_7_line_35 |  | 30 | 33 | 0.029354 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_3203-105_0_7_line_36 |  | 30 | 34 | 0.052396 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_3203-105_0_7_line_37 |  | 31 | 35 | 0.020602 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_3203-105_0_7_line_38 |  | 32 | 36 | 0.016159 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_3203-105_0_7_line_39 |  | 33 | 37 | 0.01972 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_3203-105_0_7_line_40 |  | 34 | 38 | 0.012565 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_3203-105_0_7_line_41 |  | 35 | 39 | 0.025591 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_3203-105_0_7_line_42 |  | 36 | 40 | 0.013367 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_3203-105_0_7_line_43 |  | 37 | 41 | 0.015238 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_3203-105_0_7_line_44 |  | 38 | 42 | 0.045433 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_3203-105_0_7_line_45 |  | 39 | 43 | 0.024867 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_3203-105_0_7_line_46 |  | 40 | 51 | 0.01109 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_3203-105_0_7_line_47 |  | 41 | 44 | 0.01163 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_3203-105_0_7_line_48 |  | 42 | 74 | 0.016953 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_3203-105_0_7_line_49 |  | 42 | 61 | 0.006368 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_3203-105_0_7_line_50 |  | 44 | 45 | 0.0049315 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_3203-105_0_7_line_51 |  | 45 | 46 | 0.018575 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_3203-105_0_7_line_52 |  | 46 | 47 | 0.010256 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_3203-105_0_7_line_53 |  | 47 | 48 | 0.14617 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_3203-105_0_7_line_54 |  | 48 | 49 | 0.010078 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_3203-105_0_7_line_55 |  | 50 | 51 | 0.025477 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_3203-105_0_7_line_56 |  | 52 | 53 | 0.012293 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_3203-105_0_7_line_57 |  | 53 | 54 | 0.014529 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_3203-105_0_7_line_58 |  | 53 | 55 | 0.033419 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_3203-105_0_7_line_59 |  | 54 | 56 | 0.029246 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_3203-105_0_7_line_60 |  | 56 | 57 | 0.024148 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_3203-105_0_7_line_61 |  | 57 | 65 | 0.048296 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_3203-105_0_7_line_62 |  | 58 | 59 | 0.005964 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_3203-105_0_7_line_63 |  | 58 | 60 | 0.026352 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_3203-105_0_7_line_64 |  | 59 | 61 | 0.005124 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_3203-105_0_7_line_65 |  | 59 | 62 | 0.006464 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
66 | LV_3203-105_0_7_line_66 |  | 60 | 63 | 0.016854 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_3203-105_0_7_line_67 |  | 61 | 64 | 0.005969 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_3203-105_0_7_line_68 |  | 63 | 65 | 0.0023501 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_3203-105_0_7_line_69 |  | 66 | 67 | 0.046027 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_3203-105_0_7_line_70 |  | 68 | 69 | 0.023104 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_3203-105_0_7_line_71 |  | 68 | 70 | 0.042231 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_3203-105_0_7_line_72 |  | 69 | 71 | 0.02595 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_3203-105_0_7_line_73 |  | 72 | 73 | 0.0038558 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3203-105_0_7_trafo_9 | 0.63 MVA 20/0.4 kV | 75 | 10 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2745642.3925 | 1253724.1369 | 2745615.5271 | 1253706.2538 | 2745606.2038 | 1253702.5989
1 | 2745588.5555 | 1253709.3272 | 2745596.2339 | 1253704.667 | 2745601.6398 | 1253702.7869 | 2745606.2038 | 1253702.5989 | 2745606.2038 | 1253702.5989
2 | 2745588.5555 | 1253709.3272 | 2745602.6197 | 1253725.0437
3 | 2745571.8273 | 1253698.2944 | 2745576.444 | 1253694.7378 | 2745588.5555 | 1253709.3272
4 | 2745602.6197 | 1253725.0437 | 2745605.1737 | 1253727.8978 | 2745615.3007 | 1253738.2394
5 | 2745577.9259 | 1253705.9961 | 2745571.8273 | 1253698.2944
6 | 2745570.4665 | 1253687.3283 | 2745572.5935 | 1253690.161 | 2745576.444 | 1253694.7378 | 2745571.8273 | 1253698.2944
7 | 2745634.5116 | 1253757.1436 | 2745620.9761 | 1253744.035 | 2745615.3007 | 1253738.2394
8 | 2745546.0897 | 1253684.0372 | 2745547.5885 | 1253681.1046 | 2745552.5291 | 1253673.5855
9 | 2745546.0897 | 1253684.0372 | 2745544.432 | 1253687.2885 | 2745539.0716 | 1253697.8775
10 | 2745546.0897 | 1253684.0372 | 2745531.6234 | 1253677.4855
11 | 2745552.5291 | 1253673.5855 | 2745563.3269 | 1253687.5753 | 2745570.4665 | 1253687.3283
12 | 2745552.5291 | 1253673.5855 | 2745547.4631 | 1253666.8657 | 2745545.675 | 1253664.1372
13 | 2745525.0235 | 1253725.0811 | 2745527.4976 | 1253719.937 | 2745531.7533 | 1253712.3343 | 2745539.0716 | 1253697.8775
14 | 2745504.9131 | 1253664.9587 | 2745508.62 | 1253667.0672 | 2745531.6234 | 1253677.4855
15 | 2745570.4665 | 1253687.3283 | 2745563.8411 | 1253678.4967
16 | 2745531.701 | 1253642.8142 | 2745545.675 | 1253664.1372
17 | 2745704.5926 | 1253819.7524 | 2745706.1954 | 1253815.6657 | 2745701.2223 | 1253814.0752 | 2745697.9406 | 1253812.771 | 2745695.7232 | 1253811.1594 | 2745697.5377 | 1253809.5135
18 | 2745704.5926 | 1253819.7524 | 2745695.1857 | 1253816.1287 | 2745686.9979 | 1253812.9687
19 | 2745634.5116 | 1253757.1436 | 2745652.1927 | 1253774.2671
20 | 2745525.0235 | 1253725.0811 | 2745521.6739 | 1253732.061 | 2745518.0181 | 1253733.0722
21 | 2745525.0235 | 1253725.0811 | 2745523.5009 | 1253724.3764 | 2745521.4487 | 1253724.0256 | 2745519.231 | 1253724.2714 | 2745517.1716 | 1253725.1327
22 | 2745504.9131 | 1253664.9587 | 2745481.5304 | 1253651.6583
23 | 2745517.7126 | 1253621.4692 | 2745531.701 | 1253642.8142
24 | 2745668.4779 | 1253791.6594 | 2745654.9946 | 1253776.9806 | 2745652.1927 | 1253774.2671
25 | 2745686.9979 | 1253812.9687 | 2745684.5046 | 1253809.9934 | 2745676.1083 | 1253799.9663 | 2745668.4779 | 1253791.6594
26 | 2745675.3305 | 1253819.9106 | 2745686.9979 | 1253812.9687
27 | 2745675.3305 | 1253819.9106 | 2745672.2562 | 1253821.8369 | 2745666.4688 | 1253823.2737 | 2745660.4611 | 1253823.2371 | 2745653.2767 | 1253820.4021 | 2745640.5272 | 1253811.3025
28 | 2745640.5272 | 1253811.3025 | 2745626.0146 | 1253800.9445
29 | 2745518.0181 | 1253733.0722 | 2745514.4438 | 1253735.3755 | 2745513.3452 | 1253736.5171
30 | 2745517.1716 | 1253725.1327 | 2745513.7964 | 1253721.4908 | 2745508.5504 | 1253718.5531
31 | 2745552.1143 | 1253533.6083 | 2745560.8952 | 1253544.5204
32 | 2745568.8226 | 1253554.372 | 2745560.8952 | 1253544.5204
33 | 2745552.1143 | 1253533.6083 | 2745551.4325 | 1253525.417 | 2745544.9353 | 1253511.8473
34 | 2745552.1143 | 1253533.6083 | 2745543.1127 | 1253523.3741
35 | 2745568.8226 | 1253554.372 | 2745577.411 | 1253572.5671 | 2745581.1731 | 1253580.9997
36 | 2745568.8226 | 1253554.372 | 2745565.5563 | 1253572.0753 | 2745556.8281 | 1253567.5454 | 2745558.1848 | 1253580.213 | 2745546.9275 | 1253576.6108 | 2745546.9275 | 1253576.6108
37 | 2745544.9353 | 1253511.8473 | 2745543.1179 | 1253508.0517 | 2745535.1217 | 1253493.7402
38 | 2745543.1127 | 1253523.3741 | 2745536.9865 | 1253516.409 | 2745531.3381 | 1253512.4757
39 | 2745590.2451 | 1253598.4866 | 2745589.9481 | 1253598.0996 | 2745583.5566 | 1253586.3424 | 2745581.1731 | 1253580.9997
40 | 2745546.9275 | 1253576.6108 | 2745552.1495 | 1253588.0389
41 | 2745520.4939 | 1253472.8261 | 2745530.7751 | 1253485.9607 | 2745535.1217 | 1253493.7402
42 | 2745520.3689 | 1253504.8372 | 2745531.3381 | 1253512.4757
43 | 2745599.6789 | 1253610.4263 | 2745598.8715 | 1253609.73 | 2745590.2451 | 1253598.4866
44 | 2745524.3424 | 1253610.0323 | 2745525.4123 | 1253608.5794 | 2745522.8013 | 1253601.7865 | 2745539.3739 | 1253585.4002 | 2745552.1495 | 1253588.0389
45 | 2745520.4939 | 1253472.8261 | 2745516.342 | 1253467.5219 | 2745506.2885 | 1253452.4339
46 | 2745511.2681 | 1253498.4997 | 2745520.3689 | 1253504.8372
47 | 2745599.6789 | 1253610.4263 | 2745606.2117 | 1253616.0609 | 2745608.6862 | 1253617.7618
48 | 2745515.527 | 1253595.5352 | 2745524.3424 | 1253610.0323
49 | 2745524.3424 | 1253610.0323 | 2745527.6583 | 1253615.4745
50 | 2745612.7502 | 1253620.5553 | 2745608.6862 | 1253617.7618
51 | 2745612.7502 | 1253620.5553 | 2745623.7306 | 1253628.103 | 2745628.5546 | 1253630.1767
52 | 2745628.5546 | 1253630.1767 | 2745637.977 | 1253634.2272
53 | 2745637.977 | 1253634.2272 | 2745709.5877 | 1253506.7983
54 | 2745709.5877 | 1253506.7983 | 2745714.8102 | 1253505.6257 | 2745716.3825 | 1253504.6189 | 2745717.5938 | 1253502.9471 | 2745717.6661 | 1253502.1561
55 | 2745490.3613 | 1253483.941 | 2745511.2681 | 1253498.4997
56 | 2745471.115 | 1253535.1312 | 2745463.8397 | 1253525.2224
57 | 2745457.244 | 1253530.6752 | 2745471.115 | 1253535.1312
58 | 2745471.115 | 1253535.1312 | 2745488.9521 | 1253563.3917
59 | 2745457.244 | 1253530.6752 | 2745444.2699 | 1253556.886
60 | 2745433.5572 | 1253578.5282 | 2745444.2699 | 1253556.886
61 | 2745433.5572 | 1253578.5282 | 2745477.3636 | 1253598.8641
62 | 2745523.2602 | 1253618.1245 | 2745520.078 | 1253613.0749
63 | 2745520.078 | 1253613.0749 | 2745504.1111 | 1253611.2809 | 2745494.7825 | 1253606.9504
64 | 2745523.2602 | 1253618.1245 | 2745527.6583 | 1253615.4745
65 | 2745523.2602 | 1253618.1245 | 2745517.7126 | 1253621.4692
66 | 2745494.7825 | 1253606.9504 | 2745479.4952 | 1253599.8537
67 | 2745530.7637 | 1253620.5779 | 2745527.6583 | 1253615.4745
68 | 2745479.4952 | 1253599.8537 | 2745477.3636 | 1253598.8641
69 | 2745466.8638 | 1253699.18 | 2745479.8263 | 1253705.8748 | 2745502.4335 | 1253715.1278 | 2745508.5504 | 1253718.5531
70 | 2745485.3912 | 1253768.1487 | 2745480.0391 | 1253763.5462 | 2745466.0089 | 1253755.7609
71 | 2745485.3912 | 1253768.1487 | 2745490.9414 | 1253761.3119 | 2745506.1318 | 1253744.0129 | 2745513.3452 | 1253736.5171
72 | 2745466.0089 | 1253755.7609 | 2745469.2811 | 1253730.0177
73 | 2745478.1789 | 1253649.7519 | 2745481.5304 | 1253651.6583

## bus_geodata
| x | y | coords
0 | 2745642.3925 | 1253724.1369
1 | 2745606.2038 | 1253702.5989
2 | 2745588.5555 | 1253709.3272
3 | 2745602.6197 | 1253725.0437
4 | 2745571.8273 | 1253698.2944
5 | 2745615.3007 | 1253738.2394
6 | 2745546.0897 | 1253684.0372
7 | 2745552.5291 | 1253673.5855
8 | 2745539.0716 | 1253697.8775
9 | 2745531.6234 | 1253677.4855
10 | 2745570.4665 | 1253687.3283
11 | 2745545.675 | 1253664.1372
12 | 2745577.9259 | 1253705.9961
13 | 2745563.8411 | 1253678.4967
14 | 2745697.5377 | 1253809.5135
15 | 2745704.5926 | 1253819.7524
16 | 2745634.5116 | 1253757.1436
17 | 2745525.0235 | 1253725.0811
18 | 2745504.9131 | 1253664.9587
19 | 2745531.701 | 1253642.8142
20 | 2745668.4779 | 1253791.6594
21 | 2745652.1927 | 1253774.2671
22 | 2745686.9979 | 1253812.9687
23 | 2745675.3305 | 1253819.9106
24 | 2745640.5272 | 1253811.3025
25 | 2745626.0146 | 1253800.9445
26 | 2745518.0181 | 1253733.0722
27 | 2745517.1716 | 1253725.1327
28 | 2745560.8952 | 1253544.5204
29 | 2745552.1143 | 1253533.6083
30 | 2745568.8226 | 1253554.372
31 | 2745544.9353 | 1253511.8473
32 | 2745543.1127 | 1253523.3741
33 | 2745581.1731 | 1253580.9997
34 | 2745546.9275 | 1253576.6108
35 | 2745535.1217 | 1253493.7402
36 | 2745531.3381 | 1253512.4757
37 | 2745590.2451 | 1253598.4866
38 | 2745552.1495 | 1253588.0389
39 | 2745520.4939 | 1253472.8261
40 | 2745520.3689 | 1253504.8372
41 | 2745599.6789 | 1253610.4263
42 | 2745524.3424 | 1253610.0323
43 | 2745506.2885 | 1253452.4339
44 | 2745608.6862 | 1253617.7618
45 | 2745612.7502 | 1253620.5553
46 | 2745628.5546 | 1253630.1767
47 | 2745637.977 | 1253634.2272
48 | 2745709.5877 | 1253506.7983
49 | 2745717.6661 | 1253502.1561
50 | 2745490.3613 | 1253483.941
51 | 2745511.2681 | 1253498.4997
52 | 2745463.8397 | 1253525.2224
53 | 2745471.115 | 1253535.1312
54 | 2745457.244 | 1253530.6752
55 | 2745488.9521 | 1253563.3917
56 | 2745444.2699 | 1253556.886
57 | 2745433.5572 | 1253578.5282
58 | 2745520.078 | 1253613.0749
59 | 2745523.2602 | 1253618.1245
60 | 2745494.7825 | 1253606.9504
61 | 2745527.6583 | 1253615.4745
62 | 2745517.7126 | 1253621.4692
63 | 2745479.4952 | 1253599.8537
64 | 2745530.7637 | 1253620.5779
65 | 2745477.3636 | 1253598.8641
66 | 2745466.8638 | 1253699.18
67 | 2745508.5504 | 1253718.5531
68 | 2745485.3912 | 1253768.1487
69 | 2745466.0089 | 1253755.7609
70 | 2745513.3452 | 1253736.5171
71 | 2745469.2811 | 1253730.0177
72 | 2745478.1789 | 1253649.7519
73 | 2745481.5304 | 1253651.6583
74 | 2745515.527 | 1253595.5352
75 | 2745572.5935 | 1253690.161

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1