## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3203-109_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3203-109_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3203-109_0_4_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_3203-109_0_4_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_3203-109_0_4_node_30 | 0.4 | n |  | TRUE
5 | bus_LV_3203-109_0_4_node_29 | 0.4 | n |  | TRUE
6 | bus_LV_3203-109_0_4_node_32 | 0.4 | n |  | TRUE
7 | bus_LV_3203-109_0_4_node_42 | 0.4 | n |  | TRUE
8 | bus_LV_3203-109_0_4_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_3203-109_0_4_node_10 | 0.4 | n |  | TRUE
10 | bus_LV_3203-109_0_4_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_3203-109_0_4_node_49 | 0.4 | n |  | TRUE
12 | bus_LV_3203-109_0_4_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_3203-109_0_4_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_3203-109_0_4_node_44 | 0.4 | n |  | TRUE
15 | bus_LV_3203-109_0_4_node_45 | 0.4 | n |  | TRUE
16 | bus_LV_3203-109_0_4_node_46 | 0.4 | n |  | TRUE
17 | bus_LV_3203-109_0_4_node_31 | 0.4 | n |  | TRUE
18 | bus_LV_3203-109_0_4_node_13 | 0.4 | n |  | TRUE
19 | bus_LV_3203-109_0_4_node_11 | 0.4 | n |  | TRUE
20 | bus_LV_3203-109_0_4_node_61 | 0.4 | n |  | TRUE
21 | bus_LV_3203-109_0_4_node_47 | 0.4 | n |  | TRUE
22 | bus_LV_3203-109_0_4_node_43 | 0.4 | n |  | TRUE
23 | bus_LV_3203-109_0_4_node_12 | 0.4 | n |  | TRUE
24 | bus_LV_3203-109_0_4_node_14 | 0.4 | n |  | TRUE
25 | bus_LV_3203-109_0_4_node_15 | 0.4 | n |  | TRUE
26 | bus_LV_3203-109_0_4_node_38 | 0.4 | n |  | TRUE
27 | bus_LV_3203-109_0_4_node_37 | 0.4 | n |  | TRUE
28 | bus_LV_3203-109_0_4_node_39 | 0.4 | n |  | TRUE
29 | bus_LV_3203-109_0_4_node_36 | 0.4 | n |  | TRUE
30 | bus_LV_3203-109_0_4_node_16 | 0.4 | n |  | TRUE
31 | bus_LV_3203-109_0_4_node_17 | 0.4 | n |  | TRUE
32 | bus_LV_3203-109_0_4_node_18 | 0.4 | n |  | TRUE
33 | bus_LV_3203-109_0_4_node_21 | 0.4 | n |  | TRUE
34 | bus_LV_3203-109_0_4_node_23 | 0.4 | n |  | TRUE
35 | bus_LV_3203-109_0_4_node_19 | 0.4 | n |  | TRUE
36 | bus_LV_3203-109_0_4_node_20 | 0.4 | n |  | TRUE
37 | bus_LV_3203-109_0_4_node_22 | 0.4 | n |  | TRUE
38 | bus_LV_3203-109_0_4_node_77 | 0.4 | n |  | TRUE
39 | bus_LV_3203-109_0_4_node_50 | 0.4 | n |  | TRUE
40 | bus_LV_3203-109_0_4_node_24 | 0.4 | n |  | TRUE
41 | bus_LV_3203-109_0_4_node_53 | 0.4 | n |  | TRUE
42 | bus_LV_3203-109_0_4_node_51 | 0.4 | n |  | TRUE
43 | bus_LV_3203-109_0_4_node_60 | 0.4 | n |  | TRUE
44 | bus_LV_3203-109_0_4_node_76 | 0.4 | n |  | TRUE
45 | bus_LV_3203-109_0_4_node_63 | 0.4 | n |  | TRUE
46 | bus_LV_3203-109_0_4_node_52 | 0.4 | n |  | TRUE
47 | bus_LV_3203-109_0_4_node_59 | 0.4 | n |  | TRUE
48 | bus_LV_3203-109_0_4_node_25 | 0.4 | n |  | TRUE
49 | bus_LV_3203-109_0_4_node_26 | 0.4 | n |  | TRUE
50 | bus_LV_3203-109_0_4_node_28 | 0.4 | n |  | TRUE
51 | bus_LV_3203-109_0_4_node_73 | 0.4 | n |  | TRUE
52 | bus_LV_3203-109_0_4_node_69 | 0.4 | n |  | TRUE
53 | bus_LV_3203-109_0_4_node_33 | 0.4 | n |  | TRUE
54 | bus_LV_3203-109_0_4_node_34 | 0.4 | n |  | TRUE
55 | bus_LV_3203-109_0_4_node_40 | 0.4 | n |  | TRUE
56 | bus_LV_3203-109_0_4_node_58 | 0.4 | n |  | TRUE
57 | bus_LV_3203-109_0_4_node_79 | 0.4 | n |  | TRUE
58 | bus_LV_3203-109_0_4_node_56 | 0.4 | n |  | TRUE
59 | bus_LV_3203-109_0_4_node_74 | 0.4 | n |  | TRUE
60 | bus_LV_3203-109_0_4_node_55 | 0.4 | n |  | TRUE
61 | bus_LV_3203-109_0_4_node_48 | 0.4 | n |  | TRUE
62 | bus_LV_3203-109_0_4_node_78 | 0.4 | n |  | TRUE
63 | bus_LV_3203-109_0_4_node_57 | 0.4 | n |  | TRUE
64 | bus_LV_3203-109_0_4_node_62 | 0.4 | n |  | TRUE
65 | bus_LV_3203-109_0_4_node_71 | 0.4 | n |  | TRUE
66 | bus_LV_3203-109_0_4_node_67 | 0.4 | n |  | TRUE
67 | bus_LV_3203-109_0_4_node_70 | 0.4 | n |  | TRUE
68 | bus_LV_3203-109_0_4_node_64 | 0.4 | n |  | TRUE
69 | bus_LV_3203-109_0_4_node_75 | 0.4 | n |  | TRUE
70 | bus_LV_3203-109_0_4_node_65 | 0.4 | n |  | TRUE
71 | bus_LV_3203-109_0_4_node_66 | 0.4 | n |  | TRUE
72 | bus_LV_3203-109_0_4_node_68 | 0.4 | n |  | TRUE
73 | bus_LV_3203-109_0_4_node_72 | 0.4 | n |  | TRUE
74 | bus_MV_581_0_node_101 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3203-109_0_4_load_0 | 0 | 0.0038567 | 0.00096658 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3203-109_0_4_load_29 | 5 | 0.013501 | 0.0033838 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3203-109_0_4_load_42 | 7 | 0.0035089 | 0.00087942 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3203-109_0_4_load_6 | 8 | 0.0096143 | 0.0024096 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3203-109_0_4_load_10 | 9 | 0.0061247 | 0.001535 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3203-109_0_4_load_49 | 11 | 0.030028 | 0.0075257 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3203-109_0_4_load_45 | 15 | 0.02412 | 0.006045 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3203-109_0_4_load_46 | 16 | 0.020678 | 0.0051824 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3203-109_0_4_load_31 | 17 | 0.039949 | 0.010012 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3203-109_0_4_load_13 | 18 | 0.010373 | 0.0025998 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3203-109_0_4_load_11 | 19 | 0.013651 | 0.0034213 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3203-109_0_4_load_43 | 22 | 0.012052 | 0.0030204 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3203-109_0_4_load_38 | 26 | 0.030576 | 0.0076632 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3203-109_0_4_load_37 | 27 | 0.012482 | 0.0031282 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3203-109_0_4_load_39 | 28 | 0.029422 | 0.0073739 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3203-109_0_4_load_36 | 29 | 0.0077134 | 0.0019332 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3203-109_0_4_load_16 | 30 | 0.0016688 | 0.00041824 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3203-109_0_4_load_17 | 31 | 0.0026431 | 0.00066244 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3203-109_0_4_load_19 | 35 | 0.002136 | 0.00053534 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3203-109_0_4_load_77 | 38 | 0.0044605 | 0.0011179 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3203-109_0_4_load_50 | 39 | 0.0067051 | 0.0016805 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3203-109_0_4_load_60 | 43 | 0.0066483 | 0.0016662 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3203-109_0_4_load_76 | 44 | 0.010558 | 0.0026461 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3203-109_0_4_load_63 | 45 | 0.0032248 | 0.00080822 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3203-109_0_4_load_25 | 48 | 0.0092272 | 0.0023125 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3203-109_0_4_load_73 | 51 | 0.019304 | 0.004838 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3203-109_0_4_load_69 | 52 | 0.0018944 | 0.00047477 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3203-109_0_4_load_33 | 53 | 0.0076325 | 0.0019129 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3203-109_0_4_load_34 | 54 | 0.0074035 | 0.0018555 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3203-109_0_4_load_40 | 55 | 0.01976 | 0.0049522 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3203-109_0_4_load_79 | 57 | 0.0089869 | 0.0022523 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3203-109_0_4_load_74 | 59 | 0.0037652 | 0.00094364 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3203-109_0_4_load_48 | 61 | 0.010197 | 0.0025557 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3203-109_0_4_load_78 | 62 | 0.029591 | 0.0074161 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3203-109_0_4_load_62 | 64 | 0.014244 | 0.00357 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3203-109_0_4_load_71 | 65 | 0.0084466 | 0.0021169 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3203-109_0_4_load_70 | 67 | 0.019189 | 0.0048092 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3203-109_0_4_load_64 | 68 | 0.010673 | 0.002675 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3203-109_0_4_load_75 | 69 | 0.018066 | 0.0045279 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3203-109_0_4_load_65 | 70 | 0.021885 | 0.0054848 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3203-109_0_4_load_68 | 72 | 0.006795 | 0.001703 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3203-109_0_4_load_72 | 73 | 0.0049322 | 0.0012361 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 10 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3203-109_0_4_line_0 |  | 0 | 1 | 0.024649 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_3203-109_0_4_line_1 |  | 1 | 2 | 0.013992 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
2 | LV_3203-109_0_4_line_2 |  | 1 | 3 | 0.022006 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
3 | LV_3203-109_0_4_line_3 |  | 2 | 4 | 0.02632 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
4 | LV_3203-109_0_4_line_4 |  | 2 | 5 | 0.049206 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_3203-109_0_4_line_5 |  | 3 | 6 | 0.014902 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_3203-109_0_4_line_6 |  | 3 | 7 | 0.014464 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
7 | LV_3203-109_0_4_line_7 |  | 4 | 15 | 0.032256 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
8 | LV_3203-109_0_4_line_8 |  | 6 | 17 | 0.037952 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_3203-109_0_4_line_9 |  | 7 | 18 | 0.0043183 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
10 | LV_3203-109_0_4_line_10 |  | 8 | 9 | 0.0032628 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_3203-109_0_4_line_11 |  | 9 | 19 | 0.013342 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_3203-109_0_4_line_12 |  | 10 | 11 | 0.03112 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
13 | LV_3203-109_0_4_line_13 |  | 11 | 20 | 0.01792 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_3203-109_0_4_line_14 |  | 11 | 21 | 0.010893 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
15 | LV_3203-109_0_4_line_15 |  | 12 | 13 | 0.010317 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
16 | LV_3203-109_0_4_line_16 |  | 12 | 14 | 0.010052 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_3203-109_0_4_line_17 |  | 12 | 15 | 0.024044 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
18 | LV_3203-109_0_4_line_18 |  | 13 | 16 | 0.02448 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
19 | LV_3203-109_0_4_line_19 |  | 14 | 22 | 0.059313 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_3203-109_0_4_line_20 |  | 16 | 21 | 0.027979 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
21 | LV_3203-109_0_4_line_21 |  | 18 | 23 | 0.029993 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
22 | LV_3203-109_0_4_line_22 |  | 19 | 23 | 0.0095403 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_3203-109_0_4_line_23 |  | 20 | 62 | 0.083709 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_3203-109_0_4_line_24 |  | 21 | 61 | 0.019729 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
25 | LV_3203-109_0_4_line_25 |  | 23 | 24 | 0.068338 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
26 | LV_3203-109_0_4_line_26 |  | 24 | 25 | 0.092962 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_3203-109_0_4_line_27 |  | 24 | 26 | 0.033192 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_3203-109_0_4_line_28 |  | 25 | 27 | 0.030172 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_3203-109_0_4_line_29 |  | 26 | 28 | 0.052061 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_3203-109_0_4_line_30 |  | 27 | 29 | 0.024064 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_3203-109_0_4_line_31 |  | 28 | 55 | 0.071753 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_3203-109_0_4_line_32 |  | 29 | 54 | 0.026953 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_3203-109_0_4_line_33 |  | 30 | 31 | 0.025595 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_3203-109_0_4_line_34 |  | 31 | 32 | 0.0098706 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_3203-109_0_4_line_35 |  | 32 | 33 | 0.044603 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_3203-109_0_4_line_36 |  | 33 | 34 | 0.038157 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_3203-109_0_4_line_37 |  | 33 | 35 | 0.010482 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_3203-109_0_4_line_38 |  | 34 | 39 | 0.064996 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_3203-109_0_4_line_39 |  | 35 | 36 | 0.28963 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_3203-109_0_4_line_40 |  | 36 | 37 | 0.18996 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_3203-109_0_4_line_41 |  | 37 | 38 | 0.013984 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_3203-109_0_4_line_42 |  | 38 | 44 | 0.031029 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_3203-109_0_4_line_43 |  | 39 | 42 | 0.10189 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_3203-109_0_4_line_44 |  | 40 | 41 | 0.012868 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_3203-109_0_4_line_45 |  | 40 | 42 | 0.011184 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
46 | LV_3203-109_0_4_line_46 |  | 40 | 43 | 0.013494 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
47 | LV_3203-109_0_4_line_47 |  | 41 | 45 | 0.0078877 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_3203-109_0_4_line_48 |  | 42 | 46 | 0.013644 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_3203-109_0_4_line_49 |  | 43 | 47 | 0.013515 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
50 | LV_3203-109_0_4_line_50 |  | 45 | 68 | 0.021992 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_3203-109_0_4_line_51 |  | 46 | 63 | 0.007652 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_3203-109_0_4_line_52 |  | 46 | 64 | 0.027273 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_3203-109_0_4_line_53 |  | 47 | 61 | 0.020884 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
54 | LV_3203-109_0_4_line_54 |  | 48 | 49 | 0.027341 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_3203-109_0_4_line_55 |  | 49 | 50 | 0.10278 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_3203-109_0_4_line_56 |  | 50 | 51 | 0.059488 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_3203-109_0_4_line_57 |  | 51 | 52 | 0.026455 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_3203-109_0_4_line_58 |  | 52 | 71 | 0.043706 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_3203-109_0_4_line_59 |  | 53 | 54 | 0.027683 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_3203-109_0_4_line_60 |  | 56 | 57 | 0.039376 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_3203-109_0_4_line_61 |  | 56 | 58 | 0.085859 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_3203-109_0_4_line_62 |  | 58 | 59 | 0.029573 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_3203-109_0_4_line_63 |  | 58 | 60 | 0.084716 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_3203-109_0_4_line_64 |  | 59 | 69 | 0.019716 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_3203-109_0_4_line_65 |  | 60 | 65 | 0.011048 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_3203-109_0_4_line_66 |  | 63 | 66 | 0.013138 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_3203-109_0_4_line_67 |  | 63 | 67 | 0.049206 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_3203-109_0_4_line_68 |  | 65 | 67 | 0.026564 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_3203-109_0_4_line_69 |  | 66 | 70 | 0.0083609 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_3203-109_0_4_line_70 |  | 70 | 71 | 0.013129 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_3203-109_0_4_line_71 |  | 71 | 72 | 0.024407 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_3203-109_0_4_line_72 |  | 72 | 73 | 0.019293 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3203-109_0_4_trafo_7 | 0.63 MVA 20/0.4 kV | 74 | 10 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13
0 | 2742360.0765 | 1252208.6489 | 2742357.6623 | 1252228.9767 | 2742357.5426 | 1252233.1529
1 | 2742346.4031 | 1252205.4952 | 2742360.0765 | 1252208.6489
2 | 2742360.0765 | 1252208.6489 | 2742362.7671 | 1252197.2362 | 2742372.9164 | 1252195.6008
3 | 2742340.6062 | 1252231.169 | 2742346.4031 | 1252205.4952
4 | 2742346.4031 | 1252205.4952 | 2742347.713 | 1252199.6879 | 2742354.5003 | 1252181.5006 | 2742341.494 | 1252163.1598 | 2742340.4731 | 1252162.2682
5 | 2742384.058 | 1252185.6703 | 2742372.9164 | 1252195.6008
6 | 2742372.9164 | 1252195.6008 | 2742379.0676 | 1252208.6919
7 | 2742340.6062 | 1252231.169 | 2742355.2909 | 1252259.8881
8 | 2742384.058 | 1252185.6703 | 2742358.711 | 1252157.4236
9 | 2742380.904 | 1252212.6003 | 2742379.0676 | 1252208.6919
10 | 2742389.7064 | 1252256.1995 | 2742387.0137 | 1252258.0421
11 | 2742389.7064 | 1252256.1995 | 2742397.784 | 1252250.6722 | 2742398.6896 | 1252247.2352 | 2742398.6896 | 1252247.2352
12 | 2742402.3786 | 1252334.3056 | 2742400.3556 | 1252320.7887 | 2742393.6004 | 1252304.689
13 | 2742401.4277 | 1252352.1773 | 2742402.3366 | 1252343.2685 | 2742402.3786 | 1252334.3056
14 | 2742391.5733 | 1252335.9141 | 2742402.3786 | 1252334.3056
15 | 2742368.7424 | 1252279.6793 | 2742370.3907 | 1252281.4651 | 2742371.1072 | 1252286.5204 | 2742372.9291 | 1252288.6217
16 | 2742368.7424 | 1252279.6793 | 2742364.9859 | 1252282.6697 | 2742362.1908 | 1252287.1289
17 | 2742368.7424 | 1252279.6793 | 2742363.967 | 1252274.4931 | 2742356.5429 | 1252262.3366 | 2742355.2909 | 1252259.8881
18 | 2742372.9291 | 1252288.6217 | 2742377.2385 | 1252294.9756 | 2742379.9585 | 1252298.9781 | 2742384.4611 | 1252305.1476 | 2742384.342 | 1252309.471
19 | 2742362.1908 | 1252287.1289 | 2742360.5069 | 1252292.1598 | 2742358.4141 | 1252294.1003 | 2742355.5557 | 1252294.9101 | 2742351.9605 | 1252294.3343 | 2742346.1186 | 1252291.4246 | 2742339.7856 | 1252286.6457 | 2742331.1812 | 1252278.9874 | 2742324.4631 | 1252272.0084 | 2742316.9095 | 1252267.3481
20 | 2742391.5733 | 1252335.9141 | 2742391.5017 | 1252325.3914 | 2742387.4093 | 1252316.2956 | 2742386.628 | 1252314.5641 | 2742384.342 | 1252309.471
21 | 2742394.9977 | 1252238.4382 | 2742392.4461 | 1252237.1646 | 2742380.904 | 1252212.6003
22 | 2742394.9977 | 1252238.4382 | 2742398.6896 | 1252247.2352
23 | 2742401.4277 | 1252352.1773 | 2742422.4078 | 1252356.9638 | 2742439.513 | 1252359.6219 | 2742446.4234 | 1252358.5982 | 2742451.3856 | 1252355.7037 | 2742453.5574 | 1252350.7957 | 2742454.4498 | 1252344.1443 | 2742450.7453 | 1252324.2699
24 | 2742391.5733 | 1252335.9141 | 2742394.319 | 1252345.122 | 2742394.1145 | 1252346.4072 | 2742392.8186 | 1252354.4503 | 2742392.7127 | 1252355.1139
25 | 2742394.9977 | 1252238.4382 | 2742403.192 | 1252219.5174 | 2742407.1969 | 1252211.8509 | 2742411.8614 | 1252206.2689 | 2742420.5287 | 1252200.0158 | 2742422.7566 | 1252202.1936 | 2742436.5644 | 1252190.6592
26 | 2742470.8582 | 1252149.5673 | 2742469.5028 | 1252153.1826 | 2742466.631 | 1252157.9958 | 2742458.4511 | 1252165.6396 | 2742429.4193 | 1252191.3881 | 2742420.5287 | 1252200.0158 | 2742422.7566 | 1252202.1936 | 2742436.5644 | 1252190.6592
27 | 2742436.5644 | 1252190.6592 | 2742459.9504 | 1252214.2135
28 | 2742470.8582 | 1252149.5673 | 2742496.2943 | 1252158.0981 | 2742499.3739 | 1252159.4011
29 | 2742459.9504 | 1252214.2135 | 2742496.6307 | 1252251.1579
30 | 2742521.5359 | 1252168.7777 | 2742499.3739 | 1252159.4011
31 | 2742496.6307 | 1252251.1579 | 2742516.5543 | 1252271.2249 | 2742515.0199 | 1252289.1715 | 2742534.6651 | 1252305.3715
32 | 2742545.6893 | 1252180.6941 | 2742529.2112 | 1252172.0251 | 2742521.5359 | 1252168.7777
33 | 2742227.3046 | 1252214.415 | 2742231.1723 | 1252216.3605 | 2742233.0829 | 1252219.487 | 2742239.4157 | 1252235.91
34 | 2742235.0876 | 1252244.7811 | 2742239.4157 | 1252235.91 | 2742239.4157 | 1252235.91
35 | 2742244.5418 | 1252288.0931 | 2742242.4277 | 1252282.4371 | 2742239.6655 | 1252271.7051 | 2742238.7913 | 1252263.4653 | 2742238.6435 | 1252257.99 | 2742236.9425 | 1252249.5968 | 2742235.0876 | 1252244.7811
36 | 2742244.5418 | 1252288.0931 | 2742245.9391 | 1252291.8413 | 2742258.3089 | 1252291.4268 | 2742268.3932 | 1252291.8582 | 2742279.9942 | 1252293.2714
37 | 2742244.5418 | 1252288.0931 | 2742234.1919 | 1252289.7539
38 | 2742279.9942 | 1252293.2714 | 2742293.3279 | 1252296.4168 | 2742320.8374 | 1252305.6751 | 2742338.4707 | 1252315.8971 | 2742339.9371 | 1252317.087
39 | 2741955.5577 | 1252354.4246 | 2741955.7845 | 1252350.0037 | 2741971.7457 | 1252349.0519 | 2741988.2888 | 1252346.824 | 2742022.6336 | 1252340.886 | 2742068.2031 | 1252330.3353 | 2742091.6154 | 1252324.7137 | 2742227.6588 | 1252290.9461 | 2742232.9679 | 1252289.9504 | 2742234.1919 | 1252289.7539
40 | 2741955.5577 | 1252354.4246 | 2741960.4042 | 1252354.4519 | 2741960.497 | 1252358.7693 | 2741960.4213 | 1252365.0734 | 2741961.6337 | 1252369.9292 | 2741966.3627 | 1252374.8582 | 2741987.6151 | 1252388.7583 | 2742011.1836 | 1252402.1023 | 2742040.6072 | 1252416.5433 | 2742054.3623 | 1252421.3109 | 2742066.1416 | 1252422.8392 | 2742076.8202 | 1252426.4987 | 2742092.1069 | 1252431.9371 | 2742110.6059 | 1252446.3498
41 | 2742110.6059 | 1252446.3498 | 2742116.3883 | 1252441.673 | 2742122.1198 | 1252438.5096
42 | 2742140.0933 | 1252415.7244 | 2742139.4045 | 1252420.7722 | 2742134.4858 | 1252431.2974 | 2742125.3482 | 1252436.7277 | 2742122.1198 | 1252438.5096
43 | 2742383.638 | 1252407.4794 | 2742376.5271 | 1252396.754 | 2742370.5666 | 1252384.655 | 2742362.3376 | 1252362.3363 | 2742359.1899 | 1252350.0603 | 2742355.7388 | 1252337.8437 | 2742352.3703 | 1252331.6125 | 2742348.3441 | 1252325.0985 | 2742343.6547 | 1252320.1034 | 2742339.9371 | 1252317.087
44 | 2742394.3614 | 1252410.5289 | 2742393.6722 | 1252407.1647 | 2742394.2519 | 1252403.1527 | 2742390.6564 | 1252399.1403
45 | 2742390.6564 | 1252399.1403 | 2742389.2481 | 1252402.1314 | 2742387.4848 | 1252404.8138 | 2742383.638 | 1252407.4794
46 | 2742390.6564 | 1252399.1403 | 2742393.73 | 1252386.0007
47 | 2742394.3614 | 1252410.5289 | 2742397.3796 | 1252414.6831 | 2742399.3131 | 1252416.6426
48 | 2742381.5503 | 1252416.1151 | 2742387.5112 | 1252413.4448 | 2742383.638 | 1252407.4794
49 | 2742396.8082 | 1252372.8412 | 2742393.73 | 1252386.0007
50 | 2742399.3131 | 1252416.6426 | 2742403.8877 | 1252421.279 | 2742407.9454 | 1252423.968 | 2742417.6384 | 1252428.2859
51 | 2742381.5503 | 1252416.1151 | 2742384.3526 | 1252419.2076 | 2742386.8148 | 1252421.6802
52 | 2742381.5503 | 1252416.1151 | 2742375.111 | 1252405.7173 | 2742368.1917 | 1252392.3607
53 | 2742396.8082 | 1252372.8412 | 2742390.6362 | 1252367.9661 | 2742392.4986 | 1252356.4556 | 2742392.7127 | 1252355.1139
54 | 2742247.1052 | 1252489.6437 | 2742234.9045 | 1252497.4915 | 2742224.2126 | 1252504.5907
55 | 2742230.5257 | 1252439.3541 | 2742224.9328 | 1252445.8815 | 2742210.4487 | 1252467.3762 | 2742213.8266 | 1252472.9069 | 2742256.4961 | 1252478.7034 | 2742258.3011 | 1252479.9368 | 2742259.1095 | 1252482.1138 | 2742257.5164 | 1252484.3109 | 2742247.1052 | 1252489.6437
56 | 2742230.5257 | 1252439.3541 | 2742231.0747 | 1252435.9863 | 2742233.3332 | 1252433.1156 | 2742237.4447 | 1252431.6796 | 2742241.5491 | 1252431.8005 | 2742278.0082 | 1252435.268 | 2742285.3112 | 1252435.9847
57 | 2742311.6398 | 1252438.5651 | 2742310.8793 | 1252438.4938 | 2742285.3112 | 1252435.9847
58 | 2742353.9597 | 1252432.5454 | 2742341.7701 | 1252437.724 | 2742337.0088 | 1252439.1777 | 2742331.199 | 1252439.9611 | 2742325.7346 | 1252439.8853 | 2742311.6398 | 1252438.5651
59 | 2742570.1015 | 1252193.7322 | 2742568.5787 | 1252192.7361 | 2742545.6893 | 1252180.6941
60 | 2742563.9598 | 1252389.2206 | 2742562.863 | 1252383.9781 | 2742534.7968 | 1252364.6292
61 | 2742498.7774 | 1252407.8033 | 2742503.3548 | 1252399.2498 | 2742512.0444 | 1252398.0243 | 2742538.9417 | 1252406.0233 | 2742550.0131 | 1252409.0369 | 2742560.2648 | 1252405.6471 | 2742563.8253 | 1252395.7457 | 2742563.9598 | 1252389.2206
62 | 2742498.7774 | 1252407.8033 | 2742487.1682 | 1252408.9363 | 2742477.4316 | 1252406.2997 | 2742470.3653 | 1252402.9474
63 | 2742464.234 | 1252460.5666 | 2742466.5298 | 1252455.8396 | 2742468.516 | 1252451.7391 | 2742481.1845 | 1252457.0932 | 2742488.6377 | 1252459.8639 | 2742488.6493 | 1252454.0476 | 2742498.4063 | 1252412.243 | 2742498.7774 | 1252407.8033
64 | 2742452.014 | 1252395.7898 | 2742465.5773 | 1252400.676 | 2742470.3653 | 1252402.9474
65 | 2742464.234 | 1252460.5666 | 2742454.2425 | 1252455.8527
66 | 2742374.5386 | 1252426.3785 | 2742383.0022 | 1252423.557 | 2742386.8148 | 1252421.6802
67 | 2742386.8148 | 1252421.6802 | 2742391.7116 | 1252425.5793 | 2742396.8444 | 1252428.7723 | 2742430.218 | 1252444.5179
68 | 2742430.218 | 1252444.5179 | 2742454.2425 | 1252455.8527
69 | 2742374.5386 | 1252426.3785 | 2742366.471 | 1252428.5734
70 | 2742353.9597 | 1252432.5454 | 2742364.1724 | 1252429.1987 | 2742366.471 | 1252428.5734
71 | 2742353.9597 | 1252432.5454 | 2742344.1776 | 1252410.1849
72 | 2742344.1776 | 1252410.1849 | 2742337.8069 | 1252395.6227 | 2742334.5912 | 1252394.5239

## bus_geodata
| x | y | coords
0 | 2742357.5426 | 1252233.1529
1 | 2742360.0765 | 1252208.6489
2 | 2742346.4031 | 1252205.4952
3 | 2742372.9164 | 1252195.6008
4 | 2742340.6062 | 1252231.169
5 | 2742340.4731 | 1252162.2682
6 | 2742384.058 | 1252185.6703
7 | 2742379.0676 | 1252208.6919
8 | 2742387.0137 | 1252258.0421
9 | 2742389.7064 | 1252256.1995
10 | 2742393.6004 | 1252304.689
11 | 2742402.3786 | 1252334.3056
12 | 2742368.7424 | 1252279.6793
13 | 2742372.9291 | 1252288.6217
14 | 2742362.1908 | 1252287.1289
15 | 2742355.2909 | 1252259.8881
16 | 2742384.342 | 1252309.471
17 | 2742358.711 | 1252157.4236
18 | 2742380.904 | 1252212.6003
19 | 2742398.6896 | 1252247.2352
20 | 2742401.4277 | 1252352.1773
21 | 2742391.5733 | 1252335.9141
22 | 2742316.9095 | 1252267.3481
23 | 2742394.9977 | 1252238.4382
24 | 2742436.5644 | 1252190.6592
25 | 2742470.8582 | 1252149.5673
26 | 2742459.9504 | 1252214.2135
27 | 2742499.3739 | 1252159.4011
28 | 2742496.6307 | 1252251.1579
29 | 2742521.5359 | 1252168.7777
30 | 2742227.3046 | 1252214.415
31 | 2742239.4157 | 1252235.91
32 | 2742235.0876 | 1252244.7811
33 | 2742244.5418 | 1252288.0931
34 | 2742279.9942 | 1252293.2714
35 | 2742234.1919 | 1252289.7539
36 | 2741955.5577 | 1252354.4246
37 | 2742110.6059 | 1252446.3498
38 | 2742122.1198 | 1252438.5096
39 | 2742339.9371 | 1252317.087
40 | 2742390.6564 | 1252399.1403
41 | 2742394.3614 | 1252410.5289
42 | 2742383.638 | 1252407.4794
43 | 2742393.73 | 1252386.0007
44 | 2742140.0933 | 1252415.7244
45 | 2742399.3131 | 1252416.6426
46 | 2742381.5503 | 1252416.1151
47 | 2742396.8082 | 1252372.8412
48 | 2742224.2126 | 1252504.5907
49 | 2742247.1052 | 1252489.6437
50 | 2742230.5257 | 1252439.3541
51 | 2742285.3112 | 1252435.9847
52 | 2742311.6398 | 1252438.5651
53 | 2742570.1015 | 1252193.7322
54 | 2742545.6893 | 1252180.6941
55 | 2742534.6651 | 1252305.3715
56 | 2742563.9598 | 1252389.2206
57 | 2742534.7968 | 1252364.6292
58 | 2742498.7774 | 1252407.8033
59 | 2742470.3653 | 1252402.9474
60 | 2742464.234 | 1252460.5666
61 | 2742392.7127 | 1252355.1139
62 | 2742450.7453 | 1252324.2699
63 | 2742386.8148 | 1252421.6802
64 | 2742368.1917 | 1252392.3607
65 | 2742454.2425 | 1252455.8527
66 | 2742374.5386 | 1252426.3785
67 | 2742430.218 | 1252444.5179
68 | 2742417.6384 | 1252428.2859
69 | 2742452.014 | 1252395.7898
70 | 2742366.471 | 1252428.5734
71 | 2742353.9597 | 1252432.5454
72 | 2742344.1776 | 1252410.1849
73 | 2742334.5912 | 1252394.5239
74 | 2742408.1456 | 1252299.2112

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1