## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3203-110_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3203-110_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3203-110_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_3203-110_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_3203-110_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_3203-110_0_4_node_9 | 0.4 | n |  | TRUE
6 | bus_LV_3203-110_0_4_node_10 | 0.4 | n |  | TRUE
7 | bus_LV_3203-110_0_4_node_14 | 0.4 | n |  | TRUE
8 | bus_LV_3203-110_0_4_node_7 | 0.4 | n |  | TRUE
9 | bus_LV_3203-110_0_4_node_8 | 0.4 | n |  | TRUE
10 | bus_LV_3203-110_0_4_node_12 | 0.4 | n |  | TRUE
11 | bus_LV_3203-110_0_4_node_5 | 0.4 | n |  | TRUE
12 | bus_LV_3203-110_0_4_node_6 | 0.4 | n |  | TRUE
13 | bus_LV_3203-110_0_4_node_11 | 0.4 | n |  | TRUE
14 | bus_LV_3203-110_0_4_node_13 | 0.4 | n |  | TRUE
15 | bus_LV_3203-110_0_4_node_15 | 0.4 | n |  | TRUE
16 | bus_LV_3203-110_0_4_node_16 | 0.4 | n |  | TRUE
17 | bus_LV_3203-110_0_4_node_53 | 0.4 | n |  | TRUE
18 | bus_LV_3203-110_0_4_node_67 | 0.4 | n |  | TRUE
19 | bus_LV_3203-110_0_4_node_18 | 0.4 | n |  | TRUE
20 | bus_LV_3203-110_0_4_node_19 | 0.4 | n |  | TRUE
21 | bus_LV_3203-110_0_4_node_21 | 0.4 | n |  | TRUE
22 | bus_LV_3203-110_0_4_node_70 | 0.4 | n |  | TRUE
23 | bus_LV_3203-110_0_4_node_33 | 0.4 | n |  | TRUE
24 | bus_LV_3203-110_0_4_node_31 | 0.4 | n |  | TRUE
25 | bus_LV_3203-110_0_4_node_22 | 0.4 | n |  | TRUE
26 | bus_LV_3203-110_0_4_node_23 | 0.4 | n |  | TRUE
27 | bus_LV_3203-110_0_4_node_24 | 0.4 | n |  | TRUE
28 | bus_LV_3203-110_0_4_node_25 | 0.4 | n |  | TRUE
29 | bus_LV_3203-110_0_4_node_26 | 0.4 | n |  | TRUE
30 | bus_LV_3203-110_0_4_node_27 | 0.4 | n |  | TRUE
31 | bus_LV_3203-110_0_4_node_28 | 0.4 | n |  | TRUE
32 | bus_LV_3203-110_0_4_node_29 | 0.4 | n |  | TRUE
33 | bus_LV_3203-110_0_4_node_30 | 0.4 | n |  | TRUE
34 | bus_LV_3203-110_0_4_node_57 | 0.4 | n |  | TRUE
35 | bus_LV_3203-110_0_4_node_34 | 0.4 | n |  | TRUE
36 | bus_LV_3203-110_0_4_node_54 | 0.4 | n |  | TRUE
37 | bus_LV_3203-110_0_4_node_35 | 0.4 | n |  | TRUE
38 | bus_LV_3203-110_0_4_node_32 | 0.4 | n |  | TRUE
39 | bus_LV_3203-110_0_4_node_55 | 0.4 | n |  | TRUE
40 | bus_LV_3203-110_0_4_node_36 | 0.4 | n |  | TRUE
41 | bus_LV_3203-110_0_4_node_37 | 0.4 | n |  | TRUE
42 | bus_LV_3203-110_0_4_node_39 | 0.4 | n |  | TRUE
43 | bus_LV_3203-110_0_4_node_40 | 0.4 | n |  | TRUE
44 | bus_LV_3203-110_0_4_node_44 | 0.4 | n |  | TRUE
45 | bus_LV_3203-110_0_4_node_46 | 0.4 | n |  | TRUE
46 | bus_LV_3203-110_0_4_node_43 | 0.4 | n |  | TRUE
47 | bus_LV_3203-110_0_4_node_41 | 0.4 | n |  | TRUE
48 | bus_LV_3203-110_0_4_node_42 | 0.4 | n |  | TRUE
49 | bus_LV_3203-110_0_4_node_59 | 0.4 | n |  | TRUE
50 | bus_LV_3203-110_0_4_node_60 | 0.4 | n |  | TRUE
51 | bus_LV_3203-110_0_4_node_47 | 0.4 | n |  | TRUE
52 | bus_LV_3203-110_0_4_node_61 | 0.4 | n |  | TRUE
53 | bus_LV_3203-110_0_4_node_63 | 0.4 | n |  | TRUE
54 | bus_LV_3203-110_0_4_node_58 | 0.4 | n |  | TRUE
55 | bus_LV_3203-110_0_4_node_56 | 0.4 | n |  | TRUE
56 | bus_LV_3203-110_0_4_node_48 | 0.4 | n |  | TRUE
57 | bus_LV_3203-110_0_4_node_52 | 0.4 | n |  | TRUE
58 | bus_LV_3203-110_0_4_node_49 | 0.4 | n |  | TRUE
59 | bus_LV_3203-110_0_4_node_50 | 0.4 | n |  | TRUE
60 | bus_LV_3203-110_0_4_node_64 | 0.4 | n |  | TRUE
61 | bus_LV_3203-110_0_4_node_69 | 0.4 | n |  | TRUE
62 | bus_LV_3203-110_0_4_node_68 | 0.4 | n |  | TRUE
63 | bus_LV_3203-110_0_4_node_62 | 0.4 | n |  | TRUE
64 | bus_LV_3203-110_0_4_node_65 | 0.4 | n |  | TRUE
65 | bus_LV_3203-110_0_4_node_66 | 0.4 | n |  | TRUE
66 | bus_MV_42_0_node_31 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3203-110_0_4_load_0 | 0 | 0.0068928 | 0.0017275 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3203-110_0_4_load_1 | 1 | 0.0065161 | 0.0016331 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3203-110_0_4_load_9 | 5 | 0.0029879 | 0.00074885 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3203-110_0_4_load_10 | 6 | 0.011465 | 0.0028734 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3203-110_0_4_load_14 | 7 | 0.0037369 | 0.00093655 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3203-110_0_4_load_8 | 9 | 0.0070061 | 0.0017559 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3203-110_0_4_load_12 | 10 | 0.0028181 | 0.00070628 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3203-110_0_4_load_5 | 11 | 0.0055804 | 0.0013986 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3203-110_0_4_load_6 | 12 | 0.0075975 | 0.0019041 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3203-110_0_4_load_11 | 13 | 0.0065556 | 0.001643 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3203-110_0_4_load_15 | 15 | 0.014785 | 0.0037055 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3203-110_0_4_load_16 | 16 | 0.011413 | 0.0028605 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3203-110_0_4_load_18 | 19 | 0.0054479 | 0.0013654 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3203-110_0_4_load_70 | 22 | 0.003156 | 0.00079098 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3203-110_0_4_load_33 | 23 | 0.0032496 | 0.00081442 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3203-110_0_4_load_31 | 24 | 0.01396 | 0.0034987 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3203-110_0_4_load_22 | 25 | 0.0027387 | 0.00068639 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3203-110_0_4_load_23 | 26 | 0.0027195 | 0.00068156 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3203-110_0_4_load_24 | 27 | 0.0064943 | 0.0016276 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3203-110_0_4_load_25 | 28 | 0.0046316 | 0.0011608 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3203-110_0_4_load_26 | 29 | 0.0065462 | 0.0016406 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3203-110_0_4_load_27 | 30 | 0.0045607 | 0.001143 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3203-110_0_4_load_28 | 31 | 0.0029485 | 0.00073897 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3203-110_0_4_load_29 | 32 | 0.0055563 | 0.0013925 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3203-110_0_4_load_57 | 34 | 0.010712 | 0.0026847 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3203-110_0_4_load_54 | 36 | 0.010543 | 0.0026423 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3203-110_0_4_load_35 | 37 | 0.014381 | 0.0036042 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3203-110_0_4_load_32 | 38 | 0.0023743 | 0.00059505 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3203-110_0_4_load_55 | 39 | 0.003742 | 0.00093784 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3203-110_0_4_load_36 | 40 | 0.0167 | 0.0041855 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3203-110_0_4_load_39 | 42 | 0.0085299 | 0.0021378 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3203-110_0_4_load_46 | 45 | 0.01347 | 0.0033758 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3203-110_0_4_load_43 | 46 | 0.01304 | 0.0032682 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3203-110_0_4_load_42 | 48 | 0.0093924 | 0.002354 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3203-110_0_4_load_59 | 49 | 0.004849 | 0.0012153 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3203-110_0_4_load_60 | 50 | 0.0044411 | 0.0011131 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3203-110_0_4_load_47 | 51 | 0.0054298 | 0.0013608 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3203-110_0_4_load_63 | 53 | 0.0061345 | 0.0015375 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3203-110_0_4_load_58 | 54 | 0.015224 | 0.0038155 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3203-110_0_4_load_56 | 55 | 0.0094779 | 0.0023754 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3203-110_0_4_load_52 | 57 | 0.013054 | 0.0032716 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3203-110_0_4_load_64 | 60 | 0.012338 | 0.0030921 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3203-110_0_4_load_69 | 61 | 0.013241 | 0.0033184 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3203-110_0_4_load_68 | 62 | 0.0069356 | 0.0017382 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3203-110_0_4_load_62 | 63 | 0.008816 | 0.0022095 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3203-110_0_4_load_65 | 64 | 0.006292 | 0.0015769 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3203-110_0_4_load_66 | 65 | 0.0069662 | 0.0017459 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 54 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3203-110_0_4_line_0 |  | 0 | 1 | 0.02424 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_3203-110_0_4_line_1 |  | 0 | 2 | 0.095872 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_3203-110_0_4_line_2 |  | 1 | 3 | 0.011856 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_3203-110_0_4_line_3 |  | 2 | 4 | 0.00356 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_3203-110_0_4_line_4 |  | 3 | 5 | 0.044735 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_3203-110_0_4_line_5 |  | 3 | 6 | 0.020359 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_3203-110_0_4_line_6 |  | 4 | 7 | 0.048264 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
7 | LV_3203-110_0_4_line_7 |  | 5 | 8 | 0.013973 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_3203-110_0_4_line_8 |  | 6 | 9 | 0.058434 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_3203-110_0_4_line_9 |  | 7 | 10 | 0.022845 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
10 | LV_3203-110_0_4_line_10 |  | 8 | 11 | 0.029228 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_3203-110_0_4_line_11 |  | 9 | 12 | 0.030893 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_3203-110_0_4_line_12 |  | 10 | 13 | 0.028287 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
13 | LV_3203-110_0_4_line_13 |  | 13 | 14 | 0.039156 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
14 | LV_3203-110_0_4_line_14 |  | 14 | 15 | 0.027337 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
15 | LV_3203-110_0_4_line_15 |  | 14 | 16 | 0.054721 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_3203-110_0_4_line_16 |  | 15 | 17 | 0.031422 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
17 | LV_3203-110_0_4_line_17 |  | 17 | 18 | 0.006248 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
18 | LV_3203-110_0_4_line_18 |  | 18 | 63 | 0.0062125 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
19 | LV_3203-110_0_4_line_19 |  | 18 | 64 | 0.011653 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_3203-110_0_4_line_20 |  | 19 | 20 | 0.041018 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_3203-110_0_4_line_21 |  | 20 | 21 | 0.13894 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_3203-110_0_4_line_22 |  | 21 | 22 | 0.063253 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_3203-110_0_4_line_23 |  | 21 | 23 | 0.071902 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_3203-110_0_4_line_24 |  | 23 | 24 | 0.029674 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_3203-110_0_4_line_25 |  | 24 | 38 | 0.034317 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_3203-110_0_4_line_26 |  | 25 | 26 | 0.022017 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_3203-110_0_4_line_27 |  | 26 | 27 | 0.02422 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_3203-110_0_4_line_28 |  | 27 | 28 | 0.028891 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_3203-110_0_4_line_29 |  | 28 | 29 | 0.023772 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_3203-110_0_4_line_30 |  | 29 | 30 | 0.025429 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_3203-110_0_4_line_31 |  | 30 | 31 | 0.001241 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_3203-110_0_4_line_32 |  | 31 | 32 | 0.030616 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_3203-110_0_4_line_33 |  | 32 | 33 | 0.034825 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_3203-110_0_4_line_34 |  | 33 | 34 | 0.017795 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_3203-110_0_4_line_35 |  | 33 | 35 | 0.004263 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
36 | LV_3203-110_0_4_line_36 |  | 33 | 36 | 0.026581 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
37 | LV_3203-110_0_4_line_37 |  | 35 | 37 | 0.027442 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
38 | LV_3203-110_0_4_line_38 |  | 35 | 38 | 0.0065505 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_3203-110_0_4_line_39 |  | 36 | 39 | 0.034517 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
40 | LV_3203-110_0_4_line_40 |  | 37 | 40 | 0.054246 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
41 | LV_3203-110_0_4_line_41 |  | 39 | 55 | 0.0018375 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
42 | LV_3203-110_0_4_line_42 |  | 40 | 41 | 0.026694 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
43 | LV_3203-110_0_4_line_43 |  | 41 | 42 | 0.017458 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
44 | LV_3203-110_0_4_line_44 |  | 42 | 43 | 0.025524 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
45 | LV_3203-110_0_4_line_45 |  | 43 | 47 | 0.003644 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
46 | LV_3203-110_0_4_line_46 |  | 43 | 48 | 0.00031787 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_3203-110_0_4_line_47 |  | 44 | 45 | 0.011514 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_3203-110_0_4_line_48 |  | 44 | 46 | 0.050318 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_3203-110_0_4_line_49 |  | 45 | 56 | 0.041573 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_3203-110_0_4_line_50 |  | 47 | 49 | 0.014364 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
51 | LV_3203-110_0_4_line_51 |  | 47 | 50 | 0.014238 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_3203-110_0_4_line_52 |  | 48 | 51 | 0.027273 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_3203-110_0_4_line_53 |  | 49 | 52 | 0.018903 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
54 | LV_3203-110_0_4_line_54 |  | 50 | 53 | 0.020417 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_3203-110_0_4_line_55 |  | 51 | 56 | 0.016718 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_3203-110_0_4_line_56 |  | 52 | 63 | 0.024817 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
57 | LV_3203-110_0_4_line_57 |  | 53 | 60 | 0.028612 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_3203-110_0_4_line_58 |  | 54 | 55 | 0.031928 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
59 | LV_3203-110_0_4_line_59 |  | 57 | 58 | 0.037539 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_3203-110_0_4_line_60 |  | 58 | 59 | 0.0090893 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_3203-110_0_4_line_61 |  | 59 | 60 | 0.036382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_3203-110_0_4_line_62 |  | 61 | 62 | 0.027298 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_3203-110_0_4_line_63 |  | 62 | 65 | 0.013393 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_3203-110_0_4_line_64 |  | 64 | 65 | 0.023743 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3203-110_0_4_trafo_58 | 0.63 MVA 20/0.4 kV | 66 | 54 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14
0 | 2746339.9741 | 1253709.7377 | 2746347.5335 | 1253705.2921 | 2746356.9811 | 1253699.0195 | 2746360.2905 | 1253696.5483
1 | 2746249.5863 | 1253740.518 | 2746251.4167 | 1253739.7624 | 2746254.5921 | 1253738.9512 | 2746295.8402 | 1253728.4819 | 2746306.6608 | 1253724.9902 | 2746317.2769 | 1253720.9152 | 2746327.6505 | 1253716.267 | 2746337.7515 | 1253711.0448 | 2746339.9741 | 1253709.7377
2 | 2746369.6327 | 1253689.256 | 2746366.0639 | 1253692.2374 | 2746360.2905 | 1253696.5483
3 | 2746247.7597 | 1253737.4588 | 2746249.5863 | 1253740.518
4 | 2746369.6327 | 1253689.256 | 2746370.6937 | 1253690.3055 | 2746376.9053 | 1253697.3658 | 2746379.9435 | 1253700.5772 | 2746385.4905 | 1253706.431 | 2746386.1748 | 1253707.1486 | 2746381.9592 | 1253710.3364 | 2746379.9208 | 1253712.7884 | 2746380.4072 | 1253714.1795 | 2746382.0081 | 1253718.7346 | 2746383.9163 | 1253723.9843
5 | 2746369.6327 | 1253689.256 | 2746374.7662 | 1253684.9677 | 2746384.8737 | 1253675.7637
6 | 2746247.7597 | 1253737.4588 | 2746251.923 | 1253735.7711 | 2746294.2429 | 1253724.5901
7 | 2746388.9618 | 1253736.9906 | 2746388.1868 | 1253735.6701 | 2746386.475 | 1253731.0234 | 2746383.9163 | 1253723.9843
8 | 2746384.8737 | 1253675.7637 | 2746411.7581 | 1253651.2829 | 2746413.2324 | 1253650.2739 | 2746414.9086 | 1253649.6481 | 2746416.6878 | 1253649.4363 | 2746418.494 | 1253649.6589 | 2746420.1912 | 1253650.3237 | 2746421.675 | 1253651.3725 | 2746429.0631 | 1253659.8518
9 | 2746315.8764 | 1253717.2931 | 2746306.6437 | 1253720.7969 | 2746296.1147 | 1253724.0956 | 2746294.2429 | 1253724.5901
10 | 2746388.9618 | 1253736.9906 | 2746392.6816 | 1253734.925 | 2746398.0524 | 1253732.9447 | 2746403.6594 | 1253731.7933 | 2746409.3737 | 1253731.4897 | 2746415.0741 | 1253732.0534 | 2746417.0856 | 1253732.5585
11 | 2746449.3576 | 1253683.1436 | 2746429.0631 | 1253659.8518
12 | 2746341.1449 | 1253704.6485 | 2746336.8036 | 1253707.2511 | 2746327.0225 | 1253712.3588 | 2746316.9614 | 1253716.8813 | 2746315.8764 | 1253717.2931
13 | 2746372.5526 | 1253681.3762 | 2746366.6773 | 1253686.358 | 2746364.4319 | 1253688.3267 | 2746355.6115 | 1253695.182 | 2746346.3891 | 1253701.5046 | 2746341.1449 | 1253704.6485
14 | 2746372.5526 | 1253681.3762 | 2746392.9644 | 1253663.1916
15 | 2746372.5526 | 1253681.3762 | 2746368.8548 | 1253677.6702 | 2746365.2617 | 1253673.6998 | 2746363.7539 | 1253672.0943 | 2746361.7541 | 1253669.9317 | 2746354.9679 | 1253662.6015 | 2746353.5794 | 1253661.0546 | 2746352.9764 | 1253660.4057 | 2746346.699 | 1253663.3312 | 2746343.1908 | 1253664.1676 | 2746340.742 | 1253663.9847 | 2746337.9015 | 1253664.0702 | 2746335.2207 | 1253663.192 | 2746329.7983 | 1253662.6798 | 2746327.9126 | 1253662.2592
16 | 2746417.6691 | 1253645.1676 | 2746415.2827 | 1253645.2086 | 2746412.9596 | 1253645.7406 | 2746410.7984 | 1253646.7437 | 2746405.628 | 1253651.9098 | 2746392.9644 | 1253663.1916
17 | 2746417.6691 | 1253645.1676 | 2746422.0301 | 1253640.6822
18 | 2746422.0301 | 1253640.6822 | 2746423.2229 | 1253639.4549 | 2746424.8323 | 1253637.871 | 2746426.3489 | 1253636.3737 | 2746426.429 | 1253636.2957
19 | 2746422.0301 | 1253640.6822 | 2746423.25 | 1253641.413 | 2746425.719 | 1253643.8319 | 2746430.1548 | 1253648.9522
20 | 2746102.6849 | 1253365.1892 | 2746103.6411 | 1253362.8439 | 2746103.3839 | 1253360.1127 | 2746095.9785 | 1253352.4561 | 2746085.7656 | 1253342.3168 | 2746076.4883 | 1253336.9878
21 | 2746102.6849 | 1253365.1892 | 2746155.8584 | 1253397.087 | 2746212.6791 | 1253431.0661 | 2746222.0782 | 1253436.848
22 | 2746222.0782 | 1253436.848 | 2746249.3709 | 1253390.9111 | 2746254.6685 | 1253382.6421
23 | 2746222.0782 | 1253436.848 | 2746254.6003 | 1253456.3695 | 2746283.6261 | 1253474.0199
24 | 2746308.9807 | 1253489.4378 | 2746283.6261 | 1253474.0199
25 | 2746308.9807 | 1253489.4378 | 2746338.302 | 1253507.2679
26 | 2746177.9797 | 1253415.5436 | 2746196.8713 | 1253426.8515
27 | 2746217.6529 | 1253439.2908 | 2746196.8713 | 1253426.8515
28 | 2746217.6529 | 1253439.2908 | 2746242.4427 | 1253454.1293
29 | 2746242.4427 | 1253454.1293 | 2746262.8403 | 1253466.3387
30 | 2746262.8403 | 1253466.3387 | 2746272.3163 | 1253472.0108 | 2746284.4353 | 1253479.7606
31 | 2746284.4353 | 1253479.7606 | 2746285.4809 | 1253480.4292
32 | 2746285.4809 | 1253480.4292 | 2746287.8929 | 1253481.9717 | 2746311.6781 | 1253496.2719
33 | 2746341.5239 | 1253514.2161 | 2746311.6781 | 1253496.2719
34 | 2746332.9475 | 1253529.8191 | 2746341.5239 | 1253514.2161
35 | 2746343.8989 | 1253510.6713 | 2746341.5239 | 1253514.2161
36 | 2746341.5239 | 1253514.2161 | 2746364.2875 | 1253527.9402
37 | 2746343.8989 | 1253510.6713 | 2746367.6235 | 1253524.4632
38 | 2746343.8989 | 1253510.6713 | 2746338.302 | 1253507.2679
39 | 2746364.2875 | 1253527.9402 | 2746393.8475 | 1253545.762
40 | 2746367.6235 | 1253524.4632 | 2746387.1591 | 1253535.8198 | 2746413.9542 | 1253552.6639
41 | 2746395.4212 | 1253546.7108 | 2746393.8475 | 1253545.762
42 | 2746436.5535 | 1253566.8704 | 2746413.9542 | 1253552.6639
43 | 2746436.5535 | 1253566.8704 | 2746451.205 | 1253576.3639
44 | 2746470.4789 | 1253593.0787 | 2746462.835 | 1253585.9384 | 2746451.205 | 1253576.3639
45 | 2746470.4789 | 1253593.0787 | 2746467.8791 | 1253595.6391
46 | 2746470.4789 | 1253593.0787 | 2746470.6944 | 1253593.3124
47 | 2746531.2331 | 1253582.9826 | 2746530.6345 | 1253583.991 | 2746524.5689 | 1253592.3667
48 | 2746531.2331 | 1253582.9826 | 2746528.879 | 1253581.4118 | 2746529.5884 | 1253579.8945 | 2746529.6828 | 1253578.2175 | 2746529.1197 | 1253576.5686 | 2746527.9296 | 1253574.9376 | 2746497.7663 | 1253548.1034
49 | 2746500.1312 | 1253625.9991 | 2746505.5839 | 1253618.5824 | 2746524.5689 | 1253592.3667
50 | 2746467.8791 | 1253595.6391 | 2746457.541 | 1253605.6119
51 | 2746467.8791 | 1253595.6391 | 2746477.1496 | 1253606.4456
52 | 2746470.6944 | 1253593.3124 | 2746484.5718 | 1253608.364 | 2746489.0706 | 1253613.463
53 | 2746443.9363 | 1253618.736 | 2746457.541 | 1253605.6119
54 | 2746477.1496 | 1253606.4456 | 2746490.4432 | 1253621.9419
55 | 2746500.1312 | 1253625.9991 | 2746489.0706 | 1253613.463
56 | 2746443.9363 | 1253618.736 | 2746443.1228 | 1253619.8836 | 2746434.3954 | 1253628.465 | 2746433.1108 | 1253629.7345 | 2746431.1998 | 1253631.6112 | 2746429.5751 | 1253633.2059 | 2746427.5633 | 1253635.1915 | 2746426.429 | 1253636.2957
57 | 2746490.4432 | 1253621.9419 | 2746509.0726 | 1253643.6582
58 | 2746395.4212 | 1253546.7108 | 2746422.7643 | 1253563.196
59 | 2746539.3034 | 1253664.972 | 2746537.9654 | 1253663.8267 | 2746514.8325 | 1253636.5337
60 | 2746532.7611 | 1253671.2718 | 2746536.1932 | 1253667.7199 | 2746539.3034 | 1253664.972
61 | 2746532.7611 | 1253671.2718 | 2746509.0726 | 1253643.6582
62 | 2746472.345 | 1253697.6525 | 2746454.4706 | 1253677.02
63 | 2746445.7012 | 1253666.8974 | 2746454.4706 | 1253677.02
64 | 2746430.1548 | 1253648.9522 | 2746445.7012 | 1253666.8974

## bus_geodata
| x | y | coords
0 | 2746339.9741 | 1253709.7377
1 | 2746360.2905 | 1253696.5483
2 | 2746249.5863 | 1253740.518
3 | 2746369.6327 | 1253689.256
4 | 2746247.7597 | 1253737.4588
5 | 2746383.9163 | 1253723.9843
6 | 2746384.8737 | 1253675.7637
7 | 2746294.2429 | 1253724.5901
8 | 2746388.9618 | 1253736.9906
9 | 2746429.0631 | 1253659.8518
10 | 2746315.8764 | 1253717.2931
11 | 2746417.0856 | 1253732.5585
12 | 2746449.3576 | 1253683.1436
13 | 2746341.1449 | 1253704.6485
14 | 2746372.5526 | 1253681.3762
15 | 2746392.9644 | 1253663.1916
16 | 2746327.9126 | 1253662.2592
17 | 2746417.6691 | 1253645.1676
18 | 2746422.0301 | 1253640.6822
19 | 2746076.4883 | 1253336.9878
20 | 2746102.6849 | 1253365.1892
21 | 2746222.0782 | 1253436.848
22 | 2746254.6685 | 1253382.6421
23 | 2746283.6261 | 1253474.0199
24 | 2746308.9807 | 1253489.4378
25 | 2746177.9797 | 1253415.5436
26 | 2746196.8713 | 1253426.8515
27 | 2746217.6529 | 1253439.2908
28 | 2746242.4427 | 1253454.1293
29 | 2746262.8403 | 1253466.3387
30 | 2746284.4353 | 1253479.7606
31 | 2746285.4809 | 1253480.4292
32 | 2746311.6781 | 1253496.2719
33 | 2746341.5239 | 1253514.2161
34 | 2746332.9475 | 1253529.8191
35 | 2746343.8989 | 1253510.6713
36 | 2746364.2875 | 1253527.9402
37 | 2746367.6235 | 1253524.4632
38 | 2746338.302 | 1253507.2679
39 | 2746393.8475 | 1253545.762
40 | 2746413.9542 | 1253552.6639
41 | 2746436.5535 | 1253566.8704
42 | 2746451.205 | 1253576.3639
43 | 2746470.4789 | 1253593.0787
44 | 2746531.2331 | 1253582.9826
45 | 2746524.5689 | 1253592.3667
46 | 2746497.7663 | 1253548.1034
47 | 2746467.8791 | 1253595.6391
48 | 2746470.6944 | 1253593.3124
49 | 2746457.541 | 1253605.6119
50 | 2746477.1496 | 1253606.4456
51 | 2746489.0706 | 1253613.463
52 | 2746443.9363 | 1253618.736
53 | 2746490.4432 | 1253621.9419
54 | 2746422.7643 | 1253563.196
55 | 2746395.4212 | 1253546.7108
56 | 2746500.1312 | 1253625.9991
57 | 2746514.8325 | 1253636.5337
58 | 2746539.3034 | 1253664.972
59 | 2746532.7611 | 1253671.2718
60 | 2746509.0726 | 1253643.6582
61 | 2746472.345 | 1253697.6525
62 | 2746454.4706 | 1253677.02
63 | 2746426.429 | 1253636.2957
64 | 2746430.1548 | 1253648.9522
65 | 2746445.7012 | 1253666.8974
66 | 2746467.8791 | 1253595.6391

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1