## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3203-116_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3203-116_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3203-116_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_3203-116_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_3203-116_0_5_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_3203-116_0_5_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_3203-116_0_5_node_23 | 0.4 | n |  | TRUE
7 | bus_LV_3203-116_0_5_node_48 | 0.4 | n |  | TRUE
8 | bus_LV_3203-116_0_5_node_13 | 0.4 | n |  | TRUE
9 | bus_LV_3203-116_0_5_node_20 | 0.4 | n |  | TRUE
10 | bus_LV_3203-116_0_5_node_46 | 0.4 | n |  | TRUE
11 | bus_LV_3203-116_0_5_node_47 | 0.4 | n |  | TRUE
12 | bus_LV_3203-116_0_5_node_14 | 0.4 | n |  | TRUE
13 | bus_LV_3203-116_0_5_node_6 | 0.4 | n |  | TRUE
14 | bus_LV_3203-116_0_5_node_7 | 0.4 | n |  | TRUE
15 | bus_LV_3203-116_0_5_node_8 | 0.4 | n |  | TRUE
16 | bus_LV_3203-116_0_5_node_9 | 0.4 | n |  | TRUE
17 | bus_LV_3203-116_0_5_node_10 | 0.4 | n |  | TRUE
18 | bus_LV_3203-116_0_5_node_11 | 0.4 | n |  | TRUE
19 | bus_LV_3203-116_0_5_node_12 | 0.4 | n |  | TRUE
20 | bus_LV_3203-116_0_5_node_22 | 0.4 | n |  | TRUE
21 | bus_LV_3203-116_0_5_node_15 | 0.4 | n |  | TRUE
22 | bus_LV_3203-116_0_5_node_16 | 0.4 | n |  | TRUE
23 | bus_LV_3203-116_0_5_node_17 | 0.4 | n |  | TRUE
24 | bus_LV_3203-116_0_5_node_18 | 0.4 | n |  | TRUE
25 | bus_LV_3203-116_0_5_node_19 | 0.4 | n |  | TRUE
26 | bus_LV_3203-116_0_5_node_21 | 0.4 | n |  | TRUE
27 | bus_LV_3203-116_0_5_node_29 | 0.4 | n |  | TRUE
28 | bus_LV_3203-116_0_5_node_49 | 0.4 | n |  | TRUE
29 | bus_LV_3203-116_0_5_node_30 | 0.4 | n |  | TRUE
30 | bus_LV_3203-116_0_5_node_41 | 0.4 | n |  | TRUE
31 | bus_LV_3203-116_0_5_node_24 | 0.4 | n |  | TRUE
32 | bus_LV_3203-116_0_5_node_25 | 0.4 | n |  | TRUE
33 | bus_LV_3203-116_0_5_node_27 | 0.4 | n |  | TRUE
34 | bus_LV_3203-116_0_5_node_28 | 0.4 | n |  | TRUE
35 | bus_LV_3203-116_0_5_node_37 | 0.4 | n |  | TRUE
36 | bus_LV_3203-116_0_5_node_36 | 0.4 | n |  | TRUE
37 | bus_LV_3203-116_0_5_node_50 | 0.4 | n |  | TRUE
38 | bus_LV_3203-116_0_5_node_51 | 0.4 | n |  | TRUE
39 | bus_LV_3203-116_0_5_node_52 | 0.4 | n |  | TRUE
40 | bus_LV_3203-116_0_5_node_54 | 0.4 | n |  | TRUE
41 | bus_LV_3203-116_0_5_node_55 | 0.4 | n |  | TRUE
42 | bus_LV_3203-116_0_5_node_64 | 0.4 | n |  | TRUE
43 | bus_LV_3203-116_0_5_node_56 | 0.4 | n |  | TRUE
44 | bus_LV_3203-116_0_5_node_57 | 0.4 | n |  | TRUE
45 | bus_LV_3203-116_0_5_node_31 | 0.4 | n |  | TRUE
46 | bus_LV_3203-116_0_5_node_32 | 0.4 | n |  | TRUE
47 | bus_LV_3203-116_0_5_node_34 | 0.4 | n |  | TRUE
48 | bus_LV_3203-116_0_5_node_33 | 0.4 | n |  | TRUE
49 | bus_LV_3203-116_0_5_node_35 | 0.4 | n |  | TRUE
50 | bus_LV_3203-116_0_5_node_67 | 0.4 | n |  | TRUE
51 | bus_LV_3203-116_0_5_node_63 | 0.4 | n |  | TRUE
52 | bus_LV_3203-116_0_5_node_38 | 0.4 | n |  | TRUE
53 | bus_LV_3203-116_0_5_node_39 | 0.4 | n |  | TRUE
54 | bus_LV_3203-116_0_5_node_40 | 0.4 | n |  | TRUE
55 | bus_LV_3203-116_0_5_node_42 | 0.4 | n |  | TRUE
56 | bus_LV_3203-116_0_5_node_65 | 0.4 | n |  | TRUE
57 | bus_LV_3203-116_0_5_node_61 | 0.4 | n |  | TRUE
58 | bus_LV_3203-116_0_5_node_43 | 0.4 | n |  | TRUE
59 | bus_LV_3203-116_0_5_node_66 | 0.4 | n |  | TRUE
60 | bus_LV_3203-116_0_5_node_60 | 0.4 | n |  | TRUE
61 | bus_LV_3203-116_0_5_node_44 | 0.4 | n |  | TRUE
62 | bus_LV_3203-116_0_5_node_62 | 0.4 | n |  | TRUE
63 | bus_LV_3203-116_0_5_node_58 | 0.4 | n |  | TRUE
64 | bus_LV_3203-116_0_5_node_45 | 0.4 | n |  | TRUE
65 | bus_LV_3203-116_0_5_node_53 | 0.4 | n |  | TRUE
66 | bus_LV_3203-116_0_5_node_59 | 0.4 | n |  | TRUE
67 | bus_MV_234_0_node_1 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3203-116_0_5_load_0 | 0 | 0.0098087 | 0.0024583 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3203-116_0_5_load_1 | 1 | 0.00153 | 0.00038346 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3203-116_0_5_load_3 | 3 | 0.0014871 | 0.00037269 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3203-116_0_5_load_23 | 6 | 0.0015479 | 0.00038793 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3203-116_0_5_load_48 | 7 | 0.0092416 | 0.0023162 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3203-116_0_5_load_13 | 8 | 0.014995 | 0.0037582 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3203-116_0_5_load_46 | 10 | 0.0078443 | 0.001966 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3203-116_0_5_load_14 | 12 | 0.0075419 | 0.0018902 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3203-116_0_5_load_6 | 13 | 0.005795 | 0.0014524 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3203-116_0_5_load_7 | 14 | 0.013308 | 0.0033354 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3203-116_0_5_load_8 | 15 | 0.0053615 | 0.0013437 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3203-116_0_5_load_9 | 16 | 0.0077755 | 0.0019487 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3203-116_0_5_load_10 | 17 | 0.0022202 | 0.00055643 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3203-116_0_5_load_11 | 18 | 0.0024402 | 0.00061156 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3203-116_0_5_load_12 | 19 | 0.0025783 | 0.00064617 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3203-116_0_5_load_22 | 20 | 0.0027224 | 0.0006823 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3203-116_0_5_load_15 | 21 | 0.0026024 | 0.00065222 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3203-116_0_5_load_18 | 24 | 0.0025217 | 0.000632 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3203-116_0_5_load_19 | 25 | 0.0035913 | 0.00090007 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3203-116_0_5_load_21 | 26 | 0.0055476 | 0.0013904 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3203-116_0_5_load_29 | 27 | 0.005805 | 0.0014549 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3203-116_0_5_load_49 | 28 | 0.0038066 | 0.00095402 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3203-116_0_5_load_30 | 29 | 0.0025661 | 0.00064311 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3203-116_0_5_load_41 | 30 | 0.0015477 | 0.00038789 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3203-116_0_5_load_24 | 31 | 0.0014594 | 0.00036575 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3203-116_0_5_load_27 | 33 | 0.0049303 | 0.0012357 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3203-116_0_5_load_28 | 34 | 0.0099054 | 0.0024825 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3203-116_0_5_load_37 | 35 | 0.024788 | 0.0062124 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3203-116_0_5_load_36 | 36 | 0.004339 | 0.0010875 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3203-116_0_5_load_50 | 37 | 0.0062175 | 0.0015583 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3203-116_0_5_load_51 | 38 | 0.028773 | 0.0072113 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3203-116_0_5_load_54 | 40 | 0.0045459 | 0.0011393 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3203-116_0_5_load_56 | 43 | 0.0012306 | 0.00030842 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3203-116_0_5_load_57 | 44 | 0.051275 | 0.012851 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3203-116_0_5_load_31 | 45 | 0.0028793 | 0.00072161 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3203-116_0_5_load_32 | 46 | 0.0047678 | 0.0011949 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3203-116_0_5_load_34 | 47 | 0.0051452 | 0.0012895 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3203-116_0_5_load_33 | 48 | 0.0049943 | 0.0012517 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3203-116_0_5_load_35 | 49 | 0.0054939 | 0.0013769 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3203-116_0_5_load_67 | 50 | 0.034528 | 0.0086535 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3203-116_0_5_load_38 | 52 | 0.001971 | 0.00049398 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3203-116_0_5_load_39 | 53 | 0.0025388 | 0.00063629 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3203-116_0_5_load_40 | 54 | 0.002217 | 0.00055563 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3203-116_0_5_load_42 | 55 | 0.004663 | 0.0011686 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3203-116_0_5_load_65 | 56 | 0.029398 | 0.0073678 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3203-116_0_5_load_61 | 57 | 0.0029158 | 0.00073077 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3203-116_0_5_load_43 | 58 | 0.0037473 | 0.00093917 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3203-116_0_5_load_66 | 59 | 0.0045892 | 0.0011502 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3203-116_0_5_load_44 | 61 | 0.0046649 | 0.0011691 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3203-116_0_5_load_62 | 62 | 0.0042052 | 0.0010539 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3203-116_0_5_load_58 | 63 | 0.0026737 | 0.00067008 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3203-116_0_5_load_53 | 65 | 0.0054322 | 0.0013614 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3203-116_0_5_load_59 | 66 | 0.0056108 | 0.0014062 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 29 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3203-116_0_5_line_0 |  | 0 | 1 | 0.0026045 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_3203-116_0_5_line_1 |  | 0 | 2 | 0.045245 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_3203-116_0_5_line_2 |  | 1 | 3 | 0.020116 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_3203-116_0_5_line_3 |  | 2 | 4 | 0.0334 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_3203-116_0_5_line_4 |  | 2 | 5 | 0.020971 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_3203-116_0_5_line_5 |  | 3 | 6 | 0.015816 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_3203-116_0_5_line_6 |  | 4 | 7 | 0.02881 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_3203-116_0_5_line_7 |  | 5 | 8 | 0.0086352 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_3203-116_0_5_line_8 |  | 6 | 9 | 0.023279 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_3203-116_0_5_line_9 |  | 8 | 12 | 0.049928 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_3203-116_0_5_line_10 |  | 9 | 20 | 0.022162 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_3203-116_0_5_line_11 |  | 9 | 23 | 0.033826 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_3203-116_0_5_line_12 |  | 10 | 11 | 0.026129 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_3203-116_0_5_line_13 |  | 11 | 26 | 0.0075404 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_3203-116_0_5_line_14 |  | 13 | 14 | 0.015174 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_3203-116_0_5_line_15 |  | 13 | 15 | 0.0063012 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_3203-116_0_5_line_16 |  | 14 | 16 | 0.0056601 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_3203-116_0_5_line_17 |  | 16 | 17 | 0.0065234 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_3203-116_0_5_line_18 |  | 17 | 18 | 0.020452 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_3203-116_0_5_line_19 |  | 18 | 19 | 0.0016223 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_3203-116_0_5_line_20 |  | 19 | 20 | 0.0090883 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_3203-116_0_5_line_21 |  | 21 | 22 | 0.0080687 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_3203-116_0_5_line_22 |  | 21 | 23 | 0.028635 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_3203-116_0_5_line_23 |  | 22 | 24 | 0.019377 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
24 | LV_3203-116_0_5_line_24 |  | 22 | 25 | 0.028479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
25 | LV_3203-116_0_5_line_25 |  | 23 | 26 | 0.031272 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_3203-116_0_5_line_26 |  | 24 | 27 | 2.9079e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
27 | LV_3203-116_0_5_line_27 |  | 25 | 28 | 0.013939 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
28 | LV_3203-116_0_5_line_28 |  | 27 | 29 | 0.033232 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
29 | LV_3203-116_0_5_line_29 |  | 28 | 30 | 0.018224 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
30 | LV_3203-116_0_5_line_30 |  | 29 | 45 | 0.0087521 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_3203-116_0_5_line_31 |  | 30 | 53 | 0.025527 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
32 | LV_3203-116_0_5_line_32 |  | 31 | 32 | 0.015739 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_3203-116_0_5_line_33 |  | 32 | 33 | 0.034729 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_3203-116_0_5_line_34 |  | 32 | 34 | 0.021784 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_3203-116_0_5_line_35 |  | 33 | 35 | 0.022041 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_3203-116_0_5_line_36 |  | 35 | 36 | 0.0063546 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_3203-116_0_5_line_37 |  | 36 | 49 | 0.026021 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_3203-116_0_5_line_38 |  | 37 | 38 | 0.036935 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_3203-116_0_5_line_39 |  | 38 | 39 | 0.067053 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_3203-116_0_5_line_40 |  | 39 | 40 | 0.053147 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
41 | LV_3203-116_0_5_line_41 |  | 39 | 41 | 0.041611 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_3203-116_0_5_line_42 |  | 40 | 42 | 0.051071 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
43 | LV_3203-116_0_5_line_43 |  | 41 | 43 | 0.0094358 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_3203-116_0_5_line_44 |  | 42 | 50 | 0.055141 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_3203-116_0_5_line_45 |  | 42 | 51 | 0.050374 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
46 | LV_3203-116_0_5_line_46 |  | 43 | 44 | 0.069888 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_3203-116_0_5_line_47 |  | 45 | 46 | 0.020557 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_3203-116_0_5_line_48 |  | 46 | 47 | 0.0075319 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_3203-116_0_5_line_49 |  | 47 | 48 | 0.021138 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_3203-116_0_5_line_50 |  | 48 | 49 | 0.0074999 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_3203-116_0_5_line_51 |  | 51 | 56 | 0.010662 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_3203-116_0_5_line_52 |  | 51 | 57 | 0.036825 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
53 | LV_3203-116_0_5_line_53 |  | 52 | 53 | 0.0066 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
54 | LV_3203-116_0_5_line_54 |  | 52 | 54 | 0.019391 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
55 | LV_3203-116_0_5_line_55 |  | 54 | 55 | 0.029944 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
56 | LV_3203-116_0_5_line_56 |  | 55 | 58 | 0.0082971 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_3203-116_0_5_line_57 |  | 55 | 59 | 0.098778 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
58 | LV_3203-116_0_5_line_58 |  | 57 | 60 | 0.019475 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
59 | LV_3203-116_0_5_line_59 |  | 58 | 61 | 0.018382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_3203-116_0_5_line_60 |  | 59 | 62 | 0.018398 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
61 | LV_3203-116_0_5_line_61 |  | 60 | 62 | 0.024485 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
62 | LV_3203-116_0_5_line_62 |  | 60 | 63 | 0.067118 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_3203-116_0_5_line_63 |  | 61 | 64 | 0.0030628 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_3203-116_0_5_line_64 |  | 63 | 66 | 0.040665 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_3203-116_0_5_line_65 |  | 64 | 65 | 0.024008 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3203-116_0_5_trafo_30 | 0.63 MVA 20/0.4 kV | 67 | 29 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2740163.8963 | 1251709.7377 | 2740166.1382 | 1251711.0633
1 | 2740131.4549 | 1251678.2746 | 2740149.7705 | 1251697.5368 | 2740163.8963 | 1251709.7377 | 2740163.8963 | 1251709.7377
2 | 2740166.1382 | 1251711.0633 | 2740183.4541 | 1251721.3016
3 | 2740106.9789 | 1251701.0726 | 2740131.4549 | 1251678.2746
4 | 2740147.6438 | 1251664.8895 | 2740131.4549 | 1251678.2746
5 | 2740197.283 | 1251728.9684 | 2740188.8201 | 1251724.4743 | 2740183.4541 | 1251721.3016
6 | 2740106.9789 | 1251701.0726 | 2740085.1896 | 1251719.9202
7 | 2740147.6438 | 1251664.8895 | 2740154.1163 | 1251659.1735
8 | 2740217.8431 | 1251739.8865 | 2740197.283 | 1251728.9684
9 | 2740191.5403 | 1251626.1239 | 2740154.1163 | 1251659.1735
10 | 2740217.8431 | 1251739.8865 | 2740226.7496 | 1251732.7017 | 2740237.4658 | 1251732.9555
11 | 2740217.8431 | 1251739.8865 | 2740215.2352 | 1251747.0203 | 2740208.3702 | 1251755.9995 | 2740201.4048 | 1251769.2247
12 | 2740167.2984 | 1251750.7007 | 2740144.2486 | 1251738.3945
13 | 2740167.2984 | 1251750.7007 | 2740173.9246 | 1251754.2995
14 | 2740257.8653 | 1251678.1067 | 2740252.5759 | 1251692.3285
15 | 2740257.8653 | 1251678.1067 | 2740260.0618 | 1251672.2007
16 | 2740252.5759 | 1251692.3285 | 2740250.6028 | 1251697.6335
17 | 2740248.3288 | 1251703.7478 | 2740250.6028 | 1251697.6335
18 | 2740241.1994 | 1251722.9167 | 2740248.3288 | 1251703.7478
19 | 2740241.1994 | 1251722.9167 | 2740240.6339 | 1251724.4372
20 | 2740237.4658 | 1251732.9555 | 2740237.4658 | 1251732.9555 | 2740240.6339 | 1251724.4372
21 | 2740233.4493 | 1251787.1218 | 2740226.4049 | 1251783.1875
22 | 2740201.4048 | 1251769.2247 | 2740226.4049 | 1251783.1875
23 | 2740233.4493 | 1251787.1218 | 2740251.3135 | 1251794.6287
24 | 2740233.4493 | 1251787.1218 | 2740230.2496 | 1251791.8282 | 2740226.2841 | 1251796.0272 | 2740213.6113 | 1251799.9643 | 2740209.9249 | 1251800.6072
25 | 2740201.4048 | 1251769.2247 | 2740173.9246 | 1251754.2995
26 | 2740251.3403 | 1251794.64 | 2740251.3135 | 1251794.6287
27 | 2740209.9249 | 1251800.6072 | 2740196.1929 | 1251803.0022
28 | 2740281.9772 | 1251807.5143 | 2740251.3403 | 1251794.64
29 | 2740178.24 | 1251806.1334 | 2740196.1929 | 1251803.0022
30 | 2740281.9772 | 1251807.5143 | 2740290.0458 | 1251810.9049
31 | 2740178.24 | 1251806.1334 | 2740164.0927 | 1251808.6008 | 2740153.4923 | 1251812.111
32 | 2740424.3201 | 1251867.9059 | 2740438.7224 | 1251874.2529
33 | 2740424.3201 | 1251867.9059 | 2740392.3573 | 1251854.3239
34 | 2740424.3201 | 1251867.9059 | 2740421.7043 | 1251872.1813 | 2740418.2936 | 1251880.3636 | 2740417.5631 | 1251887.2861 | 2740418.4848 | 1251887.0703
35 | 2740372.0713 | 1251845.7037 | 2740392.3573 | 1251854.3239
36 | 2740372.0713 | 1251845.7037 | 2740366.2229 | 1251843.2185
37 | 2740366.2229 | 1251843.2185 | 2740342.2742 | 1251833.0419
38 | 2740434.8289 | 1251993.9366 | 2740416.4804 | 1251999.4647 | 2740399.5224 | 1252004.7821
39 | 2740338.5498 | 1252028.5121 | 2740341.5963 | 1252022.9457 | 2740399.5224 | 1252004.7821
40 | 2740338.5498 | 1252028.5121 | 2740336.2852 | 1252026.5789 | 2740315.9039 | 1252015.219 | 2740292.4094 | 1252002.2498
41 | 2740338.5498 | 1252028.5121 | 2740340.519 | 1252030.8053 | 2740342.0498 | 1252033.7554 | 2740343.1419 | 1252036.4171 | 2740344.598 | 1252040.9224 | 2740331.3525 | 1252045.146 | 2740318.3857 | 1252049.7209
42 | 2740247.5434 | 1251977.8547 | 2740263.2557 | 1251986.1566 | 2740292.4094 | 1252002.2498
43 | 2740318.3857 | 1252049.7209 | 2740309.4713 | 1252052.8145
44 | 2740247.5434 | 1251977.8547 | 2740292.9573 | 1251946.5798
45 | 2740200.129 | 1251960.828 | 2740210.6711 | 1251963.6356 | 2740221.1634 | 1251966.6311 | 2740236.5454 | 1251972.6229 | 2740247.5434 | 1251977.8547
46 | 2740309.4713 | 1252052.8145 | 2740243.4458 | 1252075.7274
47 | 2740308.9856 | 1251818.8965 | 2740302.0522 | 1251815.9503 | 2740290.0458 | 1251810.9049
48 | 2740308.9856 | 1251818.8965 | 2740315.9176 | 1251821.8422
49 | 2740335.3716 | 1251830.1088 | 2740315.9176 | 1251821.8422
50 | 2740335.3716 | 1251830.1088 | 2740342.2742 | 1251833.0419
51 | 2740202.4293 | 1251950.4172 | 2740200.129 | 1251960.828
52 | 2740200.129 | 1251960.828 | 2740185.7574 | 1251958.3968 | 2740170.6627 | 1251957.1719 | 2740163.5579 | 1251957.1291
53 | 2740147.2269 | 1251814.1858 | 2740153.4923 | 1251812.111
54 | 2740147.2269 | 1251814.1858 | 2740128.8189 | 1251820.2815
55 | 2740128.8189 | 1251820.2815 | 2740100.3929 | 1251829.6946
56 | 2740092.5164 | 1251832.3028 | 2740100.3929 | 1251829.6946
57 | 2740100.3929 | 1251829.6946 | 2740130.7044 | 1251923.7068
58 | 2740144.161 | 1251958.4128 | 2740155.5486 | 1251957.081 | 2740163.5579 | 1251957.1291
59 | 2740092.5164 | 1251832.3028 | 2740075.0668 | 1251838.0812
60 | 2740130.7044 | 1251923.7068 | 2740135.4692 | 1251924.0087 | 2740141.7252 | 1251928.939 | 2740144.3933 | 1251933.9289
61 | 2740144.161 | 1251958.4128 | 2740144.3933 | 1251933.9289
62 | 2740144.161 | 1251958.4128 | 2740132.9531 | 1251960.1271 | 2740116.991 | 1251963.9643 | 2740103.922 | 1251967.7477 | 2740083.6377 | 1251974.9192 | 2740079.6643 | 1251976.4054
63 | 2740072.1592 | 1251839.044 | 2740075.0668 | 1251838.0812
64 | 2740079.6643 | 1251976.4054 | 2740041.5765 | 1251990.6516
65 | 2740072.1592 | 1251839.044 | 2740049.1476 | 1251845.8884

## bus_geodata
| x | y | coords
0 | 2740163.8963 | 1251709.7377
1 | 2740166.1382 | 1251711.0633
2 | 2740131.4549 | 1251678.2746
3 | 2740183.4541 | 1251721.3016
4 | 2740106.9789 | 1251701.0726
5 | 2740147.6438 | 1251664.8895
6 | 2740197.283 | 1251728.9684
7 | 2740085.1896 | 1251719.9202
8 | 2740154.1163 | 1251659.1735
9 | 2740217.8431 | 1251739.8865
10 | 2740144.2486 | 1251738.3945
11 | 2740167.2984 | 1251750.7007
12 | 2740191.5403 | 1251626.1239
13 | 2740257.8653 | 1251678.1067
14 | 2740252.5759 | 1251692.3285
15 | 2740260.0618 | 1251672.2007
16 | 2740250.6028 | 1251697.6335
17 | 2740248.3288 | 1251703.7478
18 | 2740241.1994 | 1251722.9167
19 | 2740240.6339 | 1251724.4372
20 | 2740237.4658 | 1251732.9555
21 | 2740226.4049 | 1251783.1875
22 | 2740233.4493 | 1251787.1218
23 | 2740201.4048 | 1251769.2247
24 | 2740251.3135 | 1251794.6287
25 | 2740209.9249 | 1251800.6072
26 | 2740173.9246 | 1251754.2995
27 | 2740251.3403 | 1251794.64
28 | 2740196.1929 | 1251803.0022
29 | 2740281.9772 | 1251807.5143
30 | 2740178.24 | 1251806.1334
31 | 2740438.7224 | 1251874.2529
32 | 2740424.3201 | 1251867.9059
33 | 2740392.3573 | 1251854.3239
34 | 2740418.4848 | 1251887.0703
35 | 2740372.0713 | 1251845.7037
36 | 2740366.2229 | 1251843.2185
37 | 2740434.8289 | 1251993.9366
38 | 2740399.5224 | 1252004.7821
39 | 2740338.5498 | 1252028.5121
40 | 2740292.4094 | 1252002.2498
41 | 2740318.3857 | 1252049.7209
42 | 2740247.5434 | 1251977.8547
43 | 2740309.4713 | 1252052.8145
44 | 2740243.4458 | 1252075.7274
45 | 2740290.0458 | 1251810.9049
46 | 2740308.9856 | 1251818.8965
47 | 2740315.9176 | 1251821.8422
48 | 2740335.3716 | 1251830.1088
49 | 2740342.2742 | 1251833.0419
50 | 2740292.9573 | 1251946.5798
51 | 2740200.129 | 1251960.828
52 | 2740147.2269 | 1251814.1858
53 | 2740153.4923 | 1251812.111
54 | 2740128.8189 | 1251820.2815
55 | 2740100.3929 | 1251829.6946
56 | 2740202.4293 | 1251950.4172
57 | 2740163.5579 | 1251957.1291
58 | 2740092.5164 | 1251832.3028
59 | 2740130.7044 | 1251923.7068
60 | 2740144.161 | 1251958.4128
61 | 2740075.0668 | 1251838.0812
62 | 2740144.3933 | 1251933.9289
63 | 2740079.6643 | 1251976.4054
64 | 2740072.1592 | 1251839.044
65 | 2740049.1476 | 1251845.8884
66 | 2740041.5765 | 1251990.6516
67 | 2740281.9772 | 1251807.5143

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1