## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3203-122_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3203-122_0_5_node_2 | 0.4 | n |  | TRUE
2 | bus_LV_3203-122_0_5_node_1 | 0.4 | n |  | TRUE
3 | bus_LV_3203-122_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_3203-122_0_5_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_3203-122_0_5_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_3203-122_0_5_node_56 | 0.4 | n |  | TRUE
7 | bus_LV_3203-122_0_5_node_10 | 0.4 | n |  | TRUE
8 | bus_LV_3203-122_0_5_node_74 | 0.4 | n |  | TRUE
9 | bus_LV_3203-122_0_5_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_3203-122_0_5_node_66 | 0.4 | n |  | TRUE
11 | bus_LV_3203-122_0_5_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_3203-122_0_5_node_20 | 0.4 | n |  | TRUE
13 | bus_LV_3203-122_0_5_node_93 | 0.4 | n |  | TRUE
14 | bus_LV_3203-122_0_5_node_9 | 0.4 | n |  | TRUE
15 | bus_LV_3203-122_0_5_node_12 | 0.4 | n |  | TRUE
16 | bus_LV_3203-122_0_5_node_96 | 0.4 | n |  | TRUE
17 | bus_LV_3203-122_0_5_node_29 | 0.4 | n |  | TRUE
18 | bus_LV_3203-122_0_5_node_11 | 0.4 | n |  | TRUE
19 | bus_LV_3203-122_0_5_node_19 | 0.4 | n |  | TRUE
20 | bus_LV_3203-122_0_5_node_35 | 0.4 | n |  | TRUE
21 | bus_LV_3203-122_0_5_node_34 | 0.4 | n |  | TRUE
22 | bus_LV_3203-122_0_5_node_13 | 0.4 | n |  | TRUE
23 | bus_LV_3203-122_0_5_node_31 | 0.4 | n |  | TRUE
24 | bus_LV_3203-122_0_5_node_30 | 0.4 | n |  | TRUE
25 | bus_LV_3203-122_0_5_node_17 | 0.4 | n |  | TRUE
26 | bus_LV_3203-122_0_5_node_18 | 0.4 | n |  | TRUE
27 | bus_LV_3203-122_0_5_node_50 | 0.4 | n |  | TRUE
28 | bus_LV_3203-122_0_5_node_92 | 0.4 | n |  | TRUE
29 | bus_LV_3203-122_0_5_node_90 | 0.4 | n |  | TRUE
30 | bus_LV_3203-122_0_5_node_62 | 0.4 | n |  | TRUE
31 | bus_LV_3203-122_0_5_node_21 | 0.4 | n |  | TRUE
32 | bus_LV_3203-122_0_5_node_75 | 0.4 | n |  | TRUE
33 | bus_LV_3203-122_0_5_node_82 | 0.4 | n |  | TRUE
34 | bus_LV_3203-122_0_5_node_22 | 0.4 | n |  | TRUE
35 | bus_LV_3203-122_0_5_node_65 | 0.4 | n |  | TRUE
36 | bus_LV_3203-122_0_5_node_63 | 0.4 | n |  | TRUE
37 | bus_LV_3203-122_0_5_node_53 | 0.4 | n |  | TRUE
38 | bus_LV_3203-122_0_5_node_73 | 0.4 | n |  | TRUE
39 | bus_LV_3203-122_0_5_node_64 | 0.4 | n |  | TRUE
40 | bus_LV_3203-122_0_5_node_47 | 0.4 | n |  | TRUE
41 | bus_LV_3203-122_0_5_node_48 | 0.4 | n |  | TRUE
42 | bus_LV_3203-122_0_5_node_83 | 0.4 | n |  | TRUE
43 | bus_LV_3203-122_0_5_node_61 | 0.4 | n |  | TRUE
44 | bus_LV_3203-122_0_5_node_95 | 0.4 | n |  | TRUE
45 | bus_LV_3203-122_0_5_node_33 | 0.4 | n |  | TRUE
46 | bus_LV_3203-122_0_5_node_108 | 0.4 | n |  | TRUE
47 | bus_LV_3203-122_0_5_node_89 | 0.4 | n |  | TRUE
48 | bus_LV_3203-122_0_5_node_59 | 0.4 | n |  | TRUE
49 | bus_LV_3203-122_0_5_node_60 | 0.4 | n |  | TRUE
50 | bus_LV_3203-122_0_5_node_23 | 0.4 | n |  | TRUE
51 | bus_LV_3203-122_0_5_node_24 | 0.4 | n |  | TRUE
52 | bus_LV_3203-122_0_5_node_25 | 0.4 | n |  | TRUE
53 | bus_LV_3203-122_0_5_node_26 | 0.4 | n |  | TRUE
54 | bus_LV_3203-122_0_5_node_27 | 0.4 | n |  | TRUE
55 | bus_LV_3203-122_0_5_node_28 | 0.4 | n |  | TRUE
56 | bus_LV_3203-122_0_5_node_98 | 0.4 | n |  | TRUE
57 | bus_LV_3203-122_0_5_node_97 | 0.4 | n |  | TRUE
58 | bus_LV_3203-122_0_5_node_32 | 0.4 | n |  | TRUE
59 | bus_LV_3203-122_0_5_node_42 | 0.4 | n |  | TRUE
60 | bus_LV_3203-122_0_5_node_76 | 0.4 | n |  | TRUE
61 | bus_LV_3203-122_0_5_node_41 | 0.4 | n |  | TRUE
62 | bus_LV_3203-122_0_5_node_37 | 0.4 | n |  | TRUE
63 | bus_LV_3203-122_0_5_node_38 | 0.4 | n |  | TRUE
64 | bus_LV_3203-122_0_5_node_39 | 0.4 | n |  | TRUE
65 | bus_LV_3203-122_0_5_node_40 | 0.4 | n |  | TRUE
66 | bus_LV_3203-122_0_5_node_44 | 0.4 | n |  | TRUE
67 | bus_LV_3203-122_0_5_node_104 | 0.4 | n |  | TRUE
68 | bus_LV_3203-122_0_5_node_105 | 0.4 | n |  | TRUE
69 | bus_LV_3203-122_0_5_node_43 | 0.4 | n |  | TRUE
70 | bus_LV_3203-122_0_5_node_46 | 0.4 | n |  | TRUE
71 | bus_LV_3203-122_0_5_node_45 | 0.4 | n |  | TRUE
72 | bus_LV_3203-122_0_5_node_77 | 0.4 | n |  | TRUE
73 | bus_LV_3203-122_0_5_node_70 | 0.4 | n |  | TRUE
74 | bus_LV_3203-122_0_5_node_68 | 0.4 | n |  | TRUE
75 | bus_LV_3203-122_0_5_node_49 | 0.4 | n |  | TRUE
76 | bus_LV_3203-122_0_5_node_51 | 0.4 | n |  | TRUE
77 | bus_LV_3203-122_0_5_node_52 | 0.4 | n |  | TRUE
78 | bus_LV_3203-122_0_5_node_54 | 0.4 | n |  | TRUE
79 | bus_LV_3203-122_0_5_node_55 | 0.4 | n |  | TRUE
80 | bus_LV_3203-122_0_5_node_57 | 0.4 | n |  | TRUE
81 | bus_LV_3203-122_0_5_node_58 | 0.4 | n |  | TRUE
82 | bus_LV_3203-122_0_5_node_94 | 0.4 | n |  | TRUE
83 | bus_LV_3203-122_0_5_node_67 | 0.4 | n |  | TRUE
84 | bus_LV_3203-122_0_5_node_69 | 0.4 | n |  | TRUE
85 | bus_LV_3203-122_0_5_node_71 | 0.4 | n |  | TRUE
86 | bus_LV_3203-122_0_5_node_72 | 0.4 | n |  | TRUE
87 | bus_LV_3203-122_0_5_node_78 | 0.4 | n |  | TRUE
88 | bus_LV_3203-122_0_5_node_80 | 0.4 | n |  | TRUE
89 | bus_LV_3203-122_0_5_node_79 | 0.4 | n |  | TRUE
90 | bus_LV_3203-122_0_5_node_81 | 0.4 | n |  | TRUE
91 | bus_LV_3203-122_0_5_node_84 | 0.4 | n |  | TRUE
92 | bus_LV_3203-122_0_5_node_85 | 0.4 | n |  | TRUE
93 | bus_LV_3203-122_0_5_node_86 | 0.4 | n |  | TRUE
94 | bus_LV_3203-122_0_5_node_87 | 0.4 | n |  | TRUE
95 | bus_LV_3203-122_0_5_node_88 | 0.4 | n |  | TRUE
96 | bus_LV_3203-122_0_5_node_99 | 0.4 | n |  | TRUE
97 | bus_LV_3203-122_0_5_node_107 | 0.4 | n |  | TRUE
98 | bus_LV_3203-122_0_5_node_106 | 0.4 | n |  | TRUE
99 | bus_LV_3203-122_0_5_node_91 | 0.4 | n |  | TRUE
100 | bus_LV_3203-122_0_5_node_100 | 0.4 | n |  | TRUE
101 | bus_LV_3203-122_0_5_node_101 | 0.4 | n |  | TRUE
102 | bus_LV_3203-122_0_5_node_109 | 0.4 | n |  | TRUE
103 | bus_LV_3203-122_0_5_node_102 | 0.4 | n |  | TRUE
104 | bus_MV_40_1_node_41 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3203-122_0_5_load_0 | 0 | 0.014233 | 0.003567 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3203-122_0_5_load_1 | 2 | 0.0032495 | 0.00081441 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3203-122_0_5_load_3 | 3 | 0.0024226 | 0.00060716 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3203-122_0_5_load_4 | 4 | 0.0056234 | 0.0014094 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3203-122_0_5_load_5 | 5 | 0.0035672 | 0.00089402 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3203-122_0_5_load_56 | 6 | 0.0045027 | 0.0011285 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3203-122_0_5_load_74 | 8 | 0.0030727 | 0.00077009 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3203-122_0_5_load_66 | 10 | 0.010447 | 0.0026182 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3203-122_0_5_load_93 | 13 | 0.0042317 | 0.0010606 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3203-122_0_5_load_96 | 16 | 0.00043465 | 0.00010893 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3203-122_0_5_load_29 | 17 | 0.0064458 | 0.0016155 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3203-122_0_5_load_35 | 20 | 0.0015541 | 0.00038949 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3203-122_0_5_load_34 | 21 | 0.0019537 | 0.00048964 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3203-122_0_5_load_31 | 23 | 0.0015278 | 0.00038291 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3203-122_0_5_load_30 | 24 | 0.0071579 | 0.0017939 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3203-122_0_5_load_50 | 27 | 0.0049962 | 0.0012522 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3203-122_0_5_load_90 | 29 | 0.002621 | 0.00065689 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3203-122_0_5_load_62 | 30 | 0.023294 | 0.005838 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3203-122_0_5_load_75 | 32 | 0.0093942 | 0.0023544 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3203-122_0_5_load_82 | 33 | 0.016775 | 0.0042041 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3203-122_0_5_load_65 | 35 | 0.0080695 | 0.0020224 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3203-122_0_5_load_63 | 36 | 0.0047287 | 0.0011851 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3203-122_0_5_load_73 | 38 | 0.0071554 | 0.0017933 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3203-122_0_5_load_47 | 40 | 0.017259 | 0.0043255 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3203-122_0_5_load_48 | 41 | 0.0063568 | 0.0015932 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3203-122_0_5_load_83 | 42 | 0.00087822 | 0.0002201 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3203-122_0_5_load_61 | 43 | 0.00519 | 0.0013007 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3203-122_0_5_load_33 | 45 | 0.00076798 | 0.00019247 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3203-122_0_5_load_108 | 46 | 0.0035979 | 0.00090172 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3203-122_0_5_load_60 | 49 | 0.0078049 | 0.0019561 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3203-122_0_5_load_23 | 50 | 0.038159 | 0.0095635 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3203-122_0_5_load_24 | 51 | 0.019925 | 0.0049936 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3203-122_0_5_load_27 | 54 | 0.015132 | 0.0037925 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3203-122_0_5_load_28 | 55 | 0.0023968 | 0.00060069 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3203-122_0_5_load_98 | 56 | 0.033563 | 0.0084118 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3203-122_0_5_load_97 | 57 | 0.011065 | 0.0027733 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3203-122_0_5_load_32 | 58 | 0.0010877 | 0.0002726 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3203-122_0_5_load_76 | 60 | 0.0082111 | 0.0020579 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3203-122_0_5_load_37 | 62 | 0.0035841 | 0.00089825 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3203-122_0_5_load_38 | 63 | 0.0037667 | 0.00094403 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3203-122_0_5_load_40 | 65 | 0.0026676 | 0.00066856 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3203-122_0_5_load_44 | 66 | 0.0016633 | 0.00041685 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3203-122_0_5_load_104 | 67 | 0.0036377 | 0.0009117 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3203-122_0_5_load_105 | 68 | 0.0049716 | 0.001246 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3203-122_0_5_load_46 | 70 | 0.0023093 | 0.00057876 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3203-122_0_5_load_45 | 71 | 0.0031262 | 0.00078351 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3203-122_0_5_load_77 | 72 | 0.003868 | 0.00096941 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3203-122_0_5_load_70 | 73 | 0.010115 | 0.002535 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3203-122_0_5_load_49 | 75 | 0.0062659 | 0.0015704 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3203-122_0_5_load_51 | 76 | 0.024561 | 0.0061556 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3203-122_0_5_load_52 | 77 | 0.013275 | 0.003327 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3203-122_0_5_load_54 | 78 | 0.0050538 | 0.0012666 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3203-122_0_5_load_58 | 81 | 0.0048613 | 0.0012183 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_3203-122_0_5_load_94 | 82 | 0.011031 | 0.0027645 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_3203-122_0_5_load_67 | 83 | 0.0071271 | 0.0017862 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_3203-122_0_5_load_71 | 85 | 0.0074566 | 0.0018688 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_3203-122_0_5_load_72 | 86 | 0.0071081 | 0.0017815 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_3203-122_0_5_load_78 | 87 | 0.0092111 | 0.0023085 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_3203-122_0_5_load_80 | 88 | 0.011626 | 0.0029138 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_3203-122_0_5_load_79 | 89 | 0.0059807 | 0.0014989 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_3203-122_0_5_load_81 | 90 | 0.0054407 | 0.0013636 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_3203-122_0_5_load_84 | 91 | 0.010571 | 0.0026493 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_3203-122_0_5_load_85 | 92 | 0.010162 | 0.0025468 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_3203-122_0_5_load_87 | 94 | 0.011051 | 0.0027696 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_3203-122_0_5_load_107 | 97 | 0.0024818 | 0.000622 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_3203-122_0_5_load_106 | 98 | 0.0048971 | 0.0012273 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_3203-122_0_5_load_100 | 100 | 0.0068065 | 0.0017059 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_3203-122_0_5_load_101 | 101 | 0.0014146 | 0.00035454 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_3203-122_0_5_load_109 | 102 | 0.0083186 | 0.0020848 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_3203-122_0_5_load_102 | 103 | 0.0019922 | 0.00049929 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 6 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3203-122_0_5_line_0 |  | 0 | 1 | 0.014735 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_3203-122_0_5_line_1 |  | 1 | 4 | 0.031533 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
2 | LV_3203-122_0_5_line_2 |  | 1 | 5 | 0.016355 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
3 | LV_3203-122_0_5_line_3 |  | 2 | 3 | 0.0025996 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_3203-122_0_5_line_4 |  | 3 | 6 | 0.0044068 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_3203-122_0_5_line_5 |  | 4 | 7 | 0.010096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
6 | LV_3203-122_0_5_line_6 |  | 5 | 8 | 0.011758 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
7 | LV_3203-122_0_5_line_7 |  | 6 | 37 | 0.034951 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
8 | LV_3203-122_0_5_line_8 |  | 7 | 17 | 0.031039 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
9 | LV_3203-122_0_5_line_9 |  | 7 | 9 | 0.03453 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
10 | LV_3203-122_0_5_line_10 |  | 8 | 38 | 0.015678 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
11 | LV_3203-122_0_5_line_11 |  | 9 | 10 | 0.019546 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
12 | LV_3203-122_0_5_line_12 |  | 10 | 39 | 0.01498 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
13 | LV_3203-122_0_5_line_13 |  | 11 | 12 | 0.028846 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_3203-122_0_5_line_14 |  | 11 | 13 | 0.020679 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_3203-122_0_5_line_15 |  | 12 | 30 | 0.023732 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_3203-122_0_5_line_16 |  | 14 | 15 | 0.051947 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_3203-122_0_5_line_17 |  | 14 | 16 | 0.016922 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_3203-122_0_5_line_18 |  | 15 | 21 | 0.048349 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_3203-122_0_5_line_19 |  | 15 | 18 | 0.007509 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_3203-122_0_5_line_20 |  | 16 | 44 | 0.019167 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_3203-122_0_5_line_21 |  | 17 | 44 | 0.019268 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
22 | LV_3203-122_0_5_line_22 |  | 18 | 19 | 0.076136 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_3203-122_0_5_line_23 |  | 18 | 20 | 0.0064494 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_3203-122_0_5_line_24 |  | 19 | 23 | 0.02815 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_3203-122_0_5_line_25 |  | 21 | 45 | 0.027566 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_3203-122_0_5_line_26 |  | 22 | 23 | 0.041788 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_3203-122_0_5_line_27 |  | 22 | 24 | 0.0071521 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_3203-122_0_5_line_28 |  | 25 | 26 | 0.024319 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_3203-122_0_5_line_29 |  | 25 | 27 | 0.002517 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_3203-122_0_5_line_30 |  | 26 | 28 | 0.021418 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_3203-122_0_5_line_31 |  | 26 | 29 | 0.02752 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_3203-122_0_5_line_32 |  | 27 | 35 | 0.033238 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
33 | LV_3203-122_0_5_line_33 |  | 28 | 46 | 0.012065 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_3203-122_0_5_line_34 |  | 29 | 47 | 0.0075178 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_3203-122_0_5_line_35 |  | 30 | 48 | 0.029748 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_3203-122_0_5_line_36 |  | 31 | 32 | 0.021301 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
37 | LV_3203-122_0_5_line_37 |  | 31 | 33 | 0.022929 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
38 | LV_3203-122_0_5_line_38 |  | 32 | 38 | 0.015245 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
39 | LV_3203-122_0_5_line_39 |  | 33 | 49 | 0.022371 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
40 | LV_3203-122_0_5_line_40 |  | 34 | 35 | 0.014264 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
41 | LV_3203-122_0_5_line_41 |  | 34 | 36 | 0.029287 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
42 | LV_3203-122_0_5_line_42 |  | 36 | 39 | 0.010017 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
43 | LV_3203-122_0_5_line_43 |  | 37 | 79 | 0.016901 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
44 | LV_3203-122_0_5_line_44 |  | 37 | 76 | 0.011431 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
45 | LV_3203-122_0_5_line_45 |  | 39 | 75 | 0.028842 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_3203-122_0_5_line_46 |  | 40 | 41 | 0.029246 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_3203-122_0_5_line_47 |  | 41 | 75 | 0.020734 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_3203-122_0_5_line_48 |  | 42 | 43 | 0.014399 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_3203-122_0_5_line_49 |  | 43 | 48 | 0.02839 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_3203-122_0_5_line_50 |  | 44 | 55 | 0.051131 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
51 | LV_3203-122_0_5_line_51 |  | 45 | 58 | 0.0010955 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_3203-122_0_5_line_52 |  | 47 | 99 | 0.032091 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_3203-122_0_5_line_53 |  | 47 | 93 | 0.006784 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_3203-122_0_5_line_54 |  | 48 | 81 | 0.0026876 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_3203-122_0_5_line_55 |  | 49 | 79 | 0.014567 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
56 | LV_3203-122_0_5_line_56 |  | 50 | 51 | 0.0077765 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_3203-122_0_5_line_57 |  | 50 | 52 | 0.024542 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_3203-122_0_5_line_58 |  | 51 | 53 | 0.022244 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_3203-122_0_5_line_59 |  | 52 | 54 | 0.042784 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_3203-122_0_5_line_60 |  | 52 | 55 | 0.02024 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
61 | LV_3203-122_0_5_line_61 |  | 53 | 56 | 0.015129 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_3203-122_0_5_line_62 |  | 56 | 57 | 0.0178 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_3203-122_0_5_line_63 |  | 59 | 60 | 0.066163 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_3203-122_0_5_line_64 |  | 59 | 61 | 0.22286 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_3203-122_0_5_line_65 |  | 60 | 72 | 0.0103 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_3203-122_0_5_line_66 |  | 61 | 67 | 0.044686 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_3203-122_0_5_line_67 |  | 61 | 68 | 0.02353 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_3203-122_0_5_line_68 |  | 61 | 64 | 0.031834 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
69 | LV_3203-122_0_5_line_69 |  | 62 | 63 | 0.024682 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
70 | LV_3203-122_0_5_line_70 |  | 62 | 64 | 0.037907 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
71 | LV_3203-122_0_5_line_71 |  | 63 | 65 | 0.026447 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
72 | LV_3203-122_0_5_line_72 |  | 65 | 66 | 0.029341 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
73 | LV_3203-122_0_5_line_73 |  | 66 | 71 | 0.02386 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
74 | LV_3203-122_0_5_line_74 |  | 69 | 70 | 0.031058 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
75 | LV_3203-122_0_5_line_75 |  | 69 | 71 | 0.028347 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
76 | LV_3203-122_0_5_line_76 |  | 70 | 73 | 0.19533 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
77 | LV_3203-122_0_5_line_77 |  | 72 | 87 | 0.019439 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_3203-122_0_5_line_78 |  | 73 | 74 | 0.0069679 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
79 | LV_3203-122_0_5_line_79 |  | 74 | 83 | 0.034081 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_3203-122_0_5_line_80 |  | 74 | 80 | 0.009043 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
81 | LV_3203-122_0_5_line_81 |  | 76 | 77 | 0.0042872 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
82 | LV_3203-122_0_5_line_82 |  | 77 | 78 | 0.0090329 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
83 | LV_3203-122_0_5_line_83 |  | 78 | 80 | 0.02088 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
84 | LV_3203-122_0_5_line_84 |  | 79 | 81 | 0.030629 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_3203-122_0_5_line_85 |  | 80 | 82 | 0.03463 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_3203-122_0_5_line_86 |  | 83 | 84 | 0.045051 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_3203-122_0_5_line_87 |  | 84 | 85 | 0.023415 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_3203-122_0_5_line_88 |  | 84 | 86 | 0.013106 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_3203-122_0_5_line_89 |  | 87 | 88 | 0.02754 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_3203-122_0_5_line_90 |  | 88 | 89 | 0.029279 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_3203-122_0_5_line_91 |  | 89 | 90 | 0.016625 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_3203-122_0_5_line_92 |  | 91 | 92 | 0.027133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_3203-122_0_5_line_93 |  | 91 | 93 | 0.016132 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_3203-122_0_5_line_94 |  | 92 | 94 | 0.023836 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_3203-122_0_5_line_95 |  | 93 | 95 | 0.017763 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_3203-122_0_5_line_96 |  | 94 | 96 | 0.010301 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_3203-122_0_5_line_97 |  | 95 | 97 | 0.022315 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_3203-122_0_5_line_98 |  | 95 | 98 | 0.033356 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_3203-122_0_5_line_99 |  | 96 | 100 | 0.0096825 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_3203-122_0_5_line_100 |  | 96 | 101 | 0.052473 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_3203-122_0_5_line_101 |  | 99 | 102 | 0.00338 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_3203-122_0_5_line_102 |  | 100 | 103 | 0.019929 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3203-122_0_5_trafo_56 | 0.63 MVA 20/0.4 kV | 104 | 6 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23
0 | 2745496.5069 | 1252933.3364 | 2745491.3543 | 1252931.953 | 2745486.207 | 1252930.6587 | 2745483.0394 | 1252928.0673 | 2745483.0394 | 1252928.0673
1 | 2745496.5069 | 1252933.3364 | 2745493.9716 | 1252941.5709 | 2745485.8783 | 1252963.0113
2 | 2745496.5069 | 1252933.3364 | 2745500.5639 | 1252917.4925
3 | 2745464.9321 | 1252889.4721 | 2745466.0482 | 1252891.8199
4 | 2745463.0401 | 1252885.4921 | 2745464.9321 | 1252889.4721
5 | 2745483.0002 | 1252972.6644 | 2745484.1841 | 1252967.4997 | 2745485.8783 | 1252963.0113
6 | 2745500.5639 | 1252917.4925 | 2745503.4805 | 1252906.1019
7 | 2745448.0341 | 1252853.9261 | 2745463.0401 | 1252885.4921
8 | 2745483.0002 | 1252972.6644 | 2745480.981 | 1252972.1921 | 2745478.9677 | 1252978.849 | 2745472.913 | 1252977.31 | 2745468.2346 | 1252992.3629
9 | 2745483.0002 | 1252972.6644 | 2745479.493 | 1252993.7206 | 2745485.8626 | 1252994.7335 | 2745492.5189 | 1252995.7535
10 | 2745507.3677 | 1252890.9137 | 2745506.2279 | 1252895.3723 | 2745503.4805 | 1252906.1019
11 | 2745492.5189 | 1252995.7535 | 2745496.9711 | 1252976.7216
12 | 2745500.4941 | 1252962.1618 | 2745498.3989 | 1252970.6184 | 2745496.9711 | 1252976.7216
13 | 2745534.7329 | 1252797.5348 | 2745531.4496 | 1252806.0956 | 2745524.9904 | 1252824.688
14 | 2745534.7329 | 1252797.5348 | 2745539.1773 | 1252785.9663 | 2745542.8256 | 1252778.5266
15 | 2745524.9904 | 1252824.688 | 2745512.563 | 1252820.7123 | 2745509.8929 | 1252822.7598 | 2745502.9376 | 1252820.479
16 | 2745447.247 | 1253041.719 | 2745441.6708 | 1253048.0548 | 2745432.0776 | 1253056.8722 | 2745424.9625 | 1253061.6242 | 2745417.4535 | 1253065.1989 | 2745410.9974 | 1253067.7095 | 2745404.5164 | 1253069.6968
17 | 2745447.247 | 1253041.719 | 2745446.9635 | 1253038.509 | 2745455.357 | 1253027.6823
18 | 2745404.5164 | 1253069.6968 | 2745403.329 | 1253063.6396 | 2745415.1429 | 1253060.9159 | 2745420.0138 | 1253059.0114 | 2745423.9631 | 1253056.5171 | 2745427.9698 | 1253052.912 | 2745429.9489 | 1253050.1023 | 2745431.4899 | 1253046.9928 | 2745432.6475 | 1253042.895 | 2745432.9333 | 1253039.3102
19 | 2745404.5164 | 1253069.6968 | 2745397.2023 | 1253071.4856
20 | 2745460.3149 | 1253009.4758 | 2745460.0199 | 1253011.0367 | 2745459.7076 | 1253012.6861 | 2745459.3342 | 1253014.6678 | 2745459.0303 | 1253016.2841 | 2745458.6667 | 1253018.1769 | 2745458.3541 | 1253019.8375 | 2745458.0247 | 1253021.5644 | 2745457.6768 | 1253023.4354 | 2745457.3566 | 1253025.0958 | 2745456.5614 | 1253026.1217 | 2745455.6022 | 1253027.366 | 2745455.357 | 1253027.6823
21 | 2745460.3149 | 1253009.4758 | 2745461.4039 | 1253007.5562 | 2745464.3954 | 1253004.7159 | 2745468.2346 | 1252992.3629
22 | 2745397.2023 | 1253071.4856 | 2745398.8072 | 1253079.9108 | 2745400.011 | 1253086.2241 | 2745392.8125 | 1253087.3041 | 2745393.9756 | 1253089.746 | 2745395.8088 | 1253091.0256 | 2745398.0156 | 1253091.5469 | 2745400.7439 | 1253091.4249 | 2745420.064 | 1253087.6955 | 2745431.434 | 1253086.7515 | 2745442.9643 | 1253081.1292
23 | 2745397.2023 | 1253071.4856 | 2745392.221 | 1253072.3531 | 2745390.8469 | 1253072.5822
24 | 2745442.9643 | 1253081.1292 | 2745449.8446 | 1253083.1667 | 2745467.9887 | 1253093.6883
25 | 2745434.4214 | 1253015.2631 | 2745430.6707 | 1253022.5716 | 2745434.9937 | 1253025.1468 | 2745433.1386 | 1253036.7346 | 2745432.9333 | 1253039.3102
26 | 2745502.6954 | 1253116.1515 | 2745500.7947 | 1253113.3132 | 2745498.1587 | 1253110.6015 | 2745480.4071 | 1253100.8896 | 2745467.9887 | 1253093.6883
27 | 2745502.6954 | 1253116.1515 | 2745509.672 | 1253114.5769
28 | 2745551.1871 | 1252925.7389 | 2745554.2963 | 1252925.7931 | 2745557.8174 | 1252925.9798 | 2745557.8232 | 1252934.6438 | 2745562.0425 | 1252938.0618 | 2745564.2413 | 1252935.2242
29 | 2745548.6803 | 1252925.4437 | 2745551.1871 | 1252925.7389
30 | 2745564.2413 | 1252935.2242 | 2745567.4698 | 1252932.8791 | 2745573.5488 | 1252929.7477 | 2745583.5544 | 1252926.2792
31 | 2745564.2413 | 1252935.2242 | 2745563.1163 | 1252928.7794 | 2745562.267 | 1252926.4785 | 2745561.8032 | 1252923.2307 | 2745562.0828 | 1252919.8454 | 2745562.7255 | 1252916.736 | 2745564.6537 | 1252910.7777 | 2745565.4882 | 1252908.5172
32 | 2745548.6803 | 1252925.4437 | 2745548.3903 | 1252934.1671 | 2745547.8277 | 1252938.0125 | 2745543.6483 | 1252952.6238 | 2745542.2648 | 1252957.8703
33 | 2745576.2686 | 1252917.3917 | 2745580.6402 | 1252919.8347 | 2745583.5544 | 1252926.2792
34 | 2745568.0914 | 1252901.4644 | 2745565.4882 | 1252908.5172
35 | 2745475.0113 | 1252812.0708 | 2745483.517 | 1252817.1067 | 2745487.2565 | 1252817.9326 | 2745492.5534 | 1252818.3631 | 2745496.5467 | 1252818.3834 | 2745502.9376 | 1252820.479
36 | 2745516.4187 | 1252855.5068 | 2745511.1432 | 1252876.1441
37 | 2745516.4187 | 1252855.5068 | 2745503.9293 | 1252852.5195 | 2745501.6923 | 1252852.9205 | 2745494.0783 | 1252851.1613
38 | 2745507.3677 | 1252890.9137 | 2745511.1432 | 1252876.1441
39 | 2745472.2811 | 1252846.1254 | 2745494.0783 | 1252851.1613
40 | 2745538.6277 | 1252971.663 | 2745542.2648 | 1252957.8703
41 | 2745538.6277 | 1252971.663 | 2745512.7448 | 1252965.0209 | 2745510.2583 | 1252964.3915
42 | 2745500.4941 | 1252962.1618 | 2745506.2248 | 1252963.3703 | 2745510.2583 | 1252964.3915
43 | 2745458.6771 | 1252841.1085 | 2745453.0734 | 1252850.0906 | 2745448.0341 | 1252853.9261
44 | 2745448.0341 | 1252853.9261 | 2745443.1476 | 1252843.5924
45 | 2745500.4941 | 1252962.1618 | 2745505.7414 | 1252944.3403 | 2745508.3511 | 1252934.4131
46 | 2745520.9037 | 1252886.036 | 2745517.0099 | 1252901.4762 | 2745513.6227 | 1252914.3606
47 | 2745513.6227 | 1252914.3606 | 2745508.3511 | 1252934.4131
48 | 2745489.4658 | 1252787.6358 | 2745491.5499 | 1252786.0855 | 2745493.9384 | 1252785.0543 | 2745496.5166 | 1252784.5949 | 2745499.1327 | 1252784.7482 | 2745502.8606 | 1252786.0872
49 | 2745475.0113 | 1252812.0708 | 2745489.4658 | 1252787.6358
50 | 2745460.3149 | 1253009.4758 | 2745445.0883 | 1253000.8382 | 2745413.1899 | 1252990.2029
51 | 2745434.4214 | 1253015.2631 | 2745434.9216 | 1253014.2884
52 | 2745568.0914 | 1252901.4644 | 2745578.4812 | 1252901.4086 | 2745578.4898 | 1252904.4339 | 2745585.8237 | 1252904.6143 | 2745588.687 | 1252906.3752 | 2745596.7493 | 1252906.4067
53 | 2745568.6047 | 1252894.7151 | 2745568.5652 | 1252898.1618 | 2745568.0914 | 1252901.4644
54 | 2745475.0113 | 1252812.0708 | 2745473.6937 | 1252814.4132
55 | 2745458.6771 | 1252841.1085 | 2745467.0544 | 1252844.9178 | 2745472.2811 | 1252846.1254
56 | 2745370.6641 | 1252976.1681 | 2745363.2733 | 1252973.7494
57 | 2745393.9886 | 1252983.801 | 2745370.6641 | 1252976.1681
58 | 2745342.0334 | 1252967.1548 | 2745350.595 | 1252969.6005 | 2745363.2733 | 1252973.7494
59 | 2745393.9886 | 1252983.801 | 2745389.7228 | 1252994.2618 | 2745379.0068 | 1252997.1572 | 2745373.2747 | 1253003.0777 | 2745362.1293 | 1253008.0868
60 | 2745393.9886 | 1252983.801 | 2745413.1899 | 1252990.2029
61 | 2745342.0334 | 1252967.1548 | 2745327.4869 | 1252962.9969
62 | 2745309.7374 | 1252963.7259 | 2745309.7374 | 1252963.7259 | 2745326.8371 | 1252962.8112 | 2745327.4869 | 1252962.9969
63 | 2745165.5558 | 1252860.8824 | 2745186.8839 | 1252854.7214 | 2745206.51 | 1252852.7004 | 2745230.3952 | 1252856.7898
64 | 2745165.5558 | 1252860.8824 | 2745158.0912 | 1252864.4918 | 2745137.2288 | 1252874.7571 | 2745139.9208 | 1252820.0822 | 2745141.2071 | 1252798.4153 | 2745143.8706 | 1252779.0844 | 2745146.9793 | 1252765.303 | 2745150.7607 | 1252752.4167 | 2745193.3976 | 1252772.9254 | 2745207.2405 | 1252773.3762 | 2745213.3852 | 1252775.8736
65 | 2745230.3952 | 1252856.7898 | 2745230.3952 | 1252856.7898 | 2745239.6164 | 1252861.3793
66 | 2745213.3852 | 1252775.8736 | 2745233.2453 | 1252784.324 | 2745243.3522 | 1252785.6508 | 2745254.9465 | 1252791.5852
67 | 2745213.3852 | 1252775.8736 | 2745225.4881 | 1252787.2367 | 2745228.7804 | 1252793.3676
68 | 2745228.042 | 1252759.1503 | 2745207.2405 | 1252773.3762 | 2745213.3852 | 1252775.8736
69 | 2745261.4213 | 1252741.1854 | 2745266.9164 | 1252738.2279 | 2745283.6579 | 1252730.493
70 | 2745228.042 | 1252759.1503 | 2745261.4213 | 1252741.1854
71 | 2745283.6579 | 1252730.493 | 2745300.4941 | 1252722.7143 | 2745307.8539 | 1252719.842
72 | 2745335.1868 | 1252709.1747 | 2745307.8539 | 1252719.842
73 | 2745335.1868 | 1252709.1747 | 2745357.4141 | 1252700.5
74 | 2745383.821 | 1252690.1941 | 2745410.912 | 1252675.0064
75 | 2745383.821 | 1252690.1941 | 2745357.4141 | 1252700.5
76 | 2745416.5782 | 1252802.1379 | 2745410.481 | 1252799.8639 | 2745406.1997 | 1252797.7346 | 2745401.7874 | 1252795.7133 | 2745398.4767 | 1252793.1073 | 2745398.043 | 1252789.2485 | 2745399.1795 | 1252786.3181 | 2745403.4483 | 1252782.8084 | 2745408.7713 | 1252778.4905 | 2745414.9221 | 1252770.2892 | 2745417.1654 | 1252765.6398 | 2745423.5491 | 1252753.7964 | 2745427.688 | 1252742.0534 | 2745430.2414 | 1252731.2391 | 2745440.107 | 1252693.2229 | 2745445.4091 | 1252683.3103 | 2745445.9296 | 1252673.8029 | 2745443.2355 | 1252668.2204 | 2745440.012 | 1252665.75 | 2745435.1208 | 1252663.55 | 2745429.0159 | 1252664.3454 | 2745422.1884 | 1252666.5911 | 2745415.0091 | 1252672.7096 | 2745410.912 | 1252675.0064
77 | 2745239.6164 | 1252861.3793 | 2745257.0191 | 1252870.041
78 | 2745421.1835 | 1252807.3671 | 2745416.5782 | 1252802.1379 | 2745416.5782 | 1252802.1379
79 | 2745421.1835 | 1252807.3671 | 2745395.3471 | 1252796.9564 | 2745389.1265 | 1252796.7071
80 | 2745428.5274 | 1252812.6746 | 2745421.1835 | 1252807.3671
81 | 2745443.1476 | 1252843.5924 | 2745441.3149 | 1252839.7167
82 | 2745441.3149 | 1252839.7167 | 2745437.4534 | 1252831.5507
83 | 2745428.5274 | 1252812.6746 | 2745437.4534 | 1252831.5507
84 | 2745458.6771 | 1252841.1085 | 2745473.6937 | 1252814.4132
85 | 2745428.5274 | 1252812.6746 | 2745438.8559 | 1252798.5258 | 2745445.5177 | 1252782.741
86 | 2745352.21 | 1252813.7584 | 2745354.5052 | 1252810.9898 | 2745363.6519 | 1252809.6018 | 2745365.746 | 1252807.0285 | 2745367.6395 | 1252801.2472 | 2745376.7098 | 1252796.2094 | 2745389.1265 | 1252796.7071
87 | 2745352.21 | 1252813.7584 | 2745346.1682 | 1252812.609 | 2745336.8574 | 1252812.3804 | 2745328.9997 | 1252810.775
88 | 2745362.9646 | 1252821.2961 | 2745352.21 | 1252813.7584
89 | 2745281.9704 | 1252881.5853 | 2745277.0041 | 1252879.9879 | 2745257.0191 | 1252870.041
90 | 2745309.8433 | 1252890.5502 | 2745281.9704 | 1252881.5853
91 | 2745325.6703 | 1252895.6408 | 2745309.8433 | 1252890.5502
92 | 2745566.7845 | 1252878.6901 | 2745565.8865 | 1252871.7041 | 2745564.9619 | 1252855.5772 | 2745564.559 | 1252851.6618
93 | 2745568.6047 | 1252894.7151 | 2745568.2313 | 1252889.9458 | 2745566.7845 | 1252878.6901
94 | 2745562.2138 | 1252827.9456 | 2745562.2381 | 1252829.1072 | 2745564.559 | 1252851.6618
95 | 2745568.6047 | 1252894.7151 | 2745571.7358 | 1252893.5687 | 2745574.0146 | 1252891.7785 | 2745575.5677 | 1252889.103 | 2745576.6425 | 1252886.2267 | 2745577.4176 | 1252883.5654 | 2745577.7982 | 1252880.9834
96 | 2745563.0529 | 1252817.772 | 2745562.0783 | 1252821.4849 | 2745562.2138 | 1252827.9456
97 | 2745593.7042 | 1252872.4439 | 2745593.165 | 1252879.3261 | 2745577.7982 | 1252880.9834
98 | 2745578.0368 | 1252847.6464 | 2745578.3937 | 1252861.9911 | 2745578.2526 | 1252871.7191 | 2745577.7982 | 1252880.9834
99 | 2745563.0529 | 1252817.772 | 2745566.893 | 1252808.8836
100 | 2745563.0529 | 1252817.772 | 2745570.0759 | 1252818.0115 | 2745573.422 | 1252810.8869 | 2745578.4105 | 1252800.2215 | 2745594.3006 | 1252805.8396 | 2745602.7268 | 1252808.846
101 | 2745596.8249 | 1252903.0276 | 2745596.7493 | 1252906.4067
102 | 2745566.893 | 1252808.8836 | 2745570.8263 | 1252799.7792 | 2745575.8039 | 1252791.0928

## bus_geodata
| x | y | coords
0 | 2745483.0394 | 1252928.0673
1 | 2745496.5069 | 1252933.3364
2 | 2745466.0482 | 1252891.8199
3 | 2745464.9321 | 1252889.4721
4 | 2745485.8783 | 1252963.0113
5 | 2745500.5639 | 1252917.4925
6 | 2745463.0401 | 1252885.4921
7 | 2745483.0002 | 1252972.6644
8 | 2745503.4805 | 1252906.1019
9 | 2745492.5189 | 1252995.7535
10 | 2745496.9711 | 1252976.7216
11 | 2745534.7329 | 1252797.5348
12 | 2745524.9904 | 1252824.688
13 | 2745542.8256 | 1252778.5266
14 | 2745447.247 | 1253041.719
15 | 2745404.5164 | 1253069.6968
16 | 2745455.357 | 1253027.6823
17 | 2745468.2346 | 1252992.3629
18 | 2745397.2023 | 1253071.4856
19 | 2745442.9643 | 1253081.1292
20 | 2745390.8469 | 1253072.5822
21 | 2745432.9333 | 1253039.3102
22 | 2745502.6954 | 1253116.1515
23 | 2745467.9887 | 1253093.6883
24 | 2745509.672 | 1253114.5769
25 | 2745551.1871 | 1252925.7389
26 | 2745564.2413 | 1252935.2242
27 | 2745548.6803 | 1252925.4437
28 | 2745583.5544 | 1252926.2792
29 | 2745565.4882 | 1252908.5172
30 | 2745502.9376 | 1252820.479
31 | 2745516.4187 | 1252855.5068
32 | 2745511.1432 | 1252876.1441
33 | 2745494.0783 | 1252851.1613
34 | 2745538.6277 | 1252971.663
35 | 2745542.2648 | 1252957.8703
36 | 2745510.2583 | 1252964.3915
37 | 2745448.0341 | 1252853.9261
38 | 2745507.3677 | 1252890.9137
39 | 2745500.4941 | 1252962.1618
40 | 2745520.9037 | 1252886.036
41 | 2745513.6227 | 1252914.3606
42 | 2745502.8606 | 1252786.0872
43 | 2745489.4658 | 1252787.6358
44 | 2745460.3149 | 1253009.4758
45 | 2745434.4214 | 1253015.2631
46 | 2745576.2686 | 1252917.3917
47 | 2745568.0914 | 1252901.4644
48 | 2745475.0113 | 1252812.0708
49 | 2745472.2811 | 1252846.1254
50 | 2745370.6641 | 1252976.1681
51 | 2745363.2733 | 1252973.7494
52 | 2745393.9886 | 1252983.801
53 | 2745342.0334 | 1252967.1548
54 | 2745362.1293 | 1253008.0868
55 | 2745413.1899 | 1252990.2029
56 | 2745327.4869 | 1252962.9969
57 | 2745309.7374 | 1252963.7259
58 | 2745434.9216 | 1253014.2884
59 | 2745165.5558 | 1252860.8824
60 | 2745230.3952 | 1252856.7898
61 | 2745213.3852 | 1252775.8736
62 | 2745261.4213 | 1252741.1854
63 | 2745283.6579 | 1252730.493
64 | 2745228.042 | 1252759.1503
65 | 2745307.8539 | 1252719.842
66 | 2745335.1868 | 1252709.1747
67 | 2745254.9465 | 1252791.5852
68 | 2745228.7804 | 1252793.3676
69 | 2745383.821 | 1252690.1941
70 | 2745410.912 | 1252675.0064
71 | 2745357.4141 | 1252700.5
72 | 2745239.6164 | 1252861.3793
73 | 2745416.5782 | 1252802.1379
74 | 2745421.1835 | 1252807.3671
75 | 2745508.3511 | 1252934.4131
76 | 2745443.1476 | 1252843.5924
77 | 2745441.3149 | 1252839.7167
78 | 2745437.4534 | 1252831.5507
79 | 2745458.6771 | 1252841.1085
80 | 2745428.5274 | 1252812.6746
81 | 2745473.6937 | 1252814.4132
82 | 2745445.5177 | 1252782.741
83 | 2745389.1265 | 1252796.7071
84 | 2745352.21 | 1252813.7584
85 | 2745328.9997 | 1252810.775
86 | 2745362.9646 | 1252821.2961
87 | 2745257.0191 | 1252870.041
88 | 2745281.9704 | 1252881.5853
89 | 2745309.8433 | 1252890.5502
90 | 2745325.6703 | 1252895.6408
91 | 2745566.7845 | 1252878.6901
92 | 2745564.559 | 1252851.6618
93 | 2745568.6047 | 1252894.7151
94 | 2745562.2138 | 1252827.9456
95 | 2745577.7982 | 1252880.9834
96 | 2745563.0529 | 1252817.772
97 | 2745593.7042 | 1252872.4439
98 | 2745578.0368 | 1252847.6464
99 | 2745596.7493 | 1252906.4067
100 | 2745566.893 | 1252808.8836
101 | 2745602.7268 | 1252808.846
102 | 2745596.8249 | 1252903.0276
103 | 2745575.8039 | 1252791.0928
104 | 2745448.0341 | 1252853.9261

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1