## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3203-125_0_8_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3203-125_0_8_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3203-125_0_8_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_3203-125_0_8_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_3203-125_0_8_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_3203-125_0_8_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_3203-125_0_8_node_25 | 0.4 | n |  | TRUE
7 | bus_LV_3203-125_0_8_node_6 | 0.4 | n |  | TRUE
8 | bus_LV_3203-125_0_8_node_13 | 0.4 | n |  | TRUE
9 | bus_LV_3203-125_0_8_node_24 | 0.4 | n |  | TRUE
10 | bus_LV_3203-125_0_8_node_9 | 0.4 | n |  | TRUE
11 | bus_LV_3203-125_0_8_node_16 | 0.4 | n |  | TRUE
12 | bus_LV_3203-125_0_8_node_29 | 0.4 | n |  | TRUE
13 | bus_LV_3203-125_0_8_node_117 | 0.4 | n |  | TRUE
14 | bus_LV_3203-125_0_8_node_7 | 0.4 | n |  | TRUE
15 | bus_LV_3203-125_0_8_node_14 | 0.4 | n |  | TRUE
16 | bus_LV_3203-125_0_8_node_15 | 0.4 | n |  | TRUE
17 | bus_LV_3203-125_0_8_node_8 | 0.4 | n |  | TRUE
18 | bus_LV_3203-125_0_8_node_10 | 0.4 | n |  | TRUE
19 | bus_LV_3203-125_0_8_node_11 | 0.4 | n |  | TRUE
20 | bus_LV_3203-125_0_8_node_12 | 0.4 | n |  | TRUE
21 | bus_LV_3203-125_0_8_node_39 | 0.4 | n |  | TRUE
22 | bus_LV_3203-125_0_8_node_27 | 0.4 | n |  | TRUE
23 | bus_LV_3203-125_0_8_node_116 | 0.4 | n |  | TRUE
24 | bus_LV_3203-125_0_8_node_128 | 0.4 | n |  | TRUE
25 | bus_LV_3203-125_0_8_node_119 | 0.4 | n |  | TRUE
26 | bus_LV_3203-125_0_8_node_22 | 0.4 | n |  | TRUE
27 | bus_LV_3203-125_0_8_node_101 | 0.4 | n |  | TRUE
28 | bus_LV_3203-125_0_8_node_129 | 0.4 | n |  | TRUE
29 | bus_LV_3203-125_0_8_node_102 | 0.4 | n |  | TRUE
30 | bus_LV_3203-125_0_8_node_19 | 0.4 | n |  | TRUE
31 | bus_LV_3203-125_0_8_node_33 | 0.4 | n |  | TRUE
32 | bus_LV_3203-125_0_8_node_31 | 0.4 | n |  | TRUE
33 | bus_LV_3203-125_0_8_node_17 | 0.4 | n |  | TRUE
34 | bus_LV_3203-125_0_8_node_18 | 0.4 | n |  | TRUE
35 | bus_LV_3203-125_0_8_node_20 | 0.4 | n |  | TRUE
36 | bus_LV_3203-125_0_8_node_21 | 0.4 | n |  | TRUE
37 | bus_LV_3203-125_0_8_node_23 | 0.4 | n |  | TRUE
38 | bus_LV_3203-125_0_8_node_103 | 0.4 | n |  | TRUE
39 | bus_LV_3203-125_0_8_node_100 | 0.4 | n |  | TRUE
40 | bus_LV_3203-125_0_8_node_104 | 0.4 | n |  | TRUE
41 | bus_LV_3203-125_0_8_node_99 | 0.4 | n |  | TRUE
42 | bus_LV_3203-125_0_8_node_26 | 0.4 | n |  | TRUE
43 | bus_LV_3203-125_0_8_node_28 | 0.4 | n |  | TRUE
44 | bus_LV_3203-125_0_8_node_121 | 0.4 | n |  | TRUE
45 | bus_LV_3203-125_0_8_node_122 | 0.4 | n |  | TRUE
46 | bus_LV_3203-125_0_8_node_120 | 0.4 | n |  | TRUE
47 | bus_LV_3203-125_0_8_node_32 | 0.4 | n |  | TRUE
48 | bus_LV_3203-125_0_8_node_34 | 0.4 | n |  | TRUE
49 | bus_LV_3203-125_0_8_node_35 | 0.4 | n |  | TRUE
50 | bus_LV_3203-125_0_8_node_36 | 0.4 | n |  | TRUE
51 | bus_LV_3203-125_0_8_node_40 | 0.4 | n |  | TRUE
52 | bus_LV_3203-125_0_8_node_37 | 0.4 | n |  | TRUE
53 | bus_LV_3203-125_0_8_node_41 | 0.4 | n |  | TRUE
54 | bus_LV_3203-125_0_8_node_45 | 0.4 | n |  | TRUE
55 | bus_LV_3203-125_0_8_node_42 | 0.4 | n |  | TRUE
56 | bus_LV_3203-125_0_8_node_75 | 0.4 | n |  | TRUE
57 | bus_LV_3203-125_0_8_node_43 | 0.4 | n |  | TRUE
58 | bus_LV_3203-125_0_8_node_44 | 0.4 | n |  | TRUE
59 | bus_LV_3203-125_0_8_node_46 | 0.4 | n |  | TRUE
60 | bus_LV_3203-125_0_8_node_47 | 0.4 | n |  | TRUE
61 | bus_LV_3203-125_0_8_node_73 | 0.4 | n |  | TRUE
62 | bus_LV_3203-125_0_8_node_48 | 0.4 | n |  | TRUE
63 | bus_LV_3203-125_0_8_node_49 | 0.4 | n |  | TRUE
64 | bus_LV_3203-125_0_8_node_50 | 0.4 | n |  | TRUE
65 | bus_LV_3203-125_0_8_node_105 | 0.4 | n |  | TRUE
66 | bus_LV_3203-125_0_8_node_51 | 0.4 | n |  | TRUE
67 | bus_LV_3203-125_0_8_node_52 | 0.4 | n |  | TRUE
68 | bus_LV_3203-125_0_8_node_53 | 0.4 | n |  | TRUE
69 | bus_LV_3203-125_0_8_node_54 | 0.4 | n |  | TRUE
70 | bus_LV_3203-125_0_8_node_55 | 0.4 | n |  | TRUE
71 | bus_LV_3203-125_0_8_node_66 | 0.4 | n |  | TRUE
72 | bus_LV_3203-125_0_8_node_56 | 0.4 | n |  | TRUE
73 | bus_LV_3203-125_0_8_node_67 | 0.4 | n |  | TRUE
74 | bus_LV_3203-125_0_8_node_57 | 0.4 | n |  | TRUE
75 | bus_LV_3203-125_0_8_node_109 | 0.4 | n |  | TRUE
76 | bus_LV_3203-125_0_8_node_106 | 0.4 | n |  | TRUE
77 | bus_LV_3203-125_0_8_node_124 | 0.4 | n |  | TRUE
78 | bus_LV_3203-125_0_8_node_107 | 0.4 | n |  | TRUE
79 | bus_LV_3203-125_0_8_node_58 | 0.4 | n |  | TRUE
80 | bus_LV_3203-125_0_8_node_59 | 0.4 | n |  | TRUE
81 | bus_LV_3203-125_0_8_node_60 | 0.4 | n |  | TRUE
82 | bus_LV_3203-125_0_8_node_61 | 0.4 | n |  | TRUE
83 | bus_LV_3203-125_0_8_node_62 | 0.4 | n |  | TRUE
84 | bus_LV_3203-125_0_8_node_90 | 0.4 | n |  | TRUE
85 | bus_LV_3203-125_0_8_node_63 | 0.4 | n |  | TRUE
86 | bus_LV_3203-125_0_8_node_86 | 0.4 | n |  | TRUE
87 | bus_LV_3203-125_0_8_node_91 | 0.4 | n |  | TRUE
88 | bus_LV_3203-125_0_8_node_92 | 0.4 | n |  | TRUE
89 | bus_LV_3203-125_0_8_node_64 | 0.4 | n |  | TRUE
90 | bus_LV_3203-125_0_8_node_87 | 0.4 | n |  | TRUE
91 | bus_LV_3203-125_0_8_node_65 | 0.4 | n |  | TRUE
92 | bus_LV_3203-125_0_8_node_115 | 0.4 | n |  | TRUE
93 | bus_LV_3203-125_0_8_node_114 | 0.4 | n |  | TRUE
94 | bus_LV_3203-125_0_8_node_125 | 0.4 | n |  | TRUE
95 | bus_LV_3203-125_0_8_node_126 | 0.4 | n |  | TRUE
96 | bus_LV_3203-125_0_8_node_68 | 0.4 | n |  | TRUE
97 | bus_LV_3203-125_0_8_node_69 | 0.4 | n |  | TRUE
98 | bus_LV_3203-125_0_8_node_71 | 0.4 | n |  | TRUE
99 | bus_LV_3203-125_0_8_node_88 | 0.4 | n |  | TRUE
100 | bus_LV_3203-125_0_8_node_70 | 0.4 | n |  | TRUE
101 | bus_LV_3203-125_0_8_node_78 | 0.4 | n |  | TRUE
102 | bus_LV_3203-125_0_8_node_76 | 0.4 | n |  | TRUE
103 | bus_LV_3203-125_0_8_node_130 | 0.4 | n |  | TRUE
104 | bus_LV_3203-125_0_8_node_82 | 0.4 | n |  | TRUE
105 | bus_LV_3203-125_0_8_node_79 | 0.4 | n |  | TRUE
106 | bus_LV_3203-125_0_8_node_89 | 0.4 | n |  | TRUE
107 | bus_LV_3203-125_0_8_node_72 | 0.4 | n |  | TRUE
108 | bus_LV_3203-125_0_8_node_74 | 0.4 | n |  | TRUE
109 | bus_LV_3203-125_0_8_node_77 | 0.4 | n |  | TRUE
110 | bus_LV_3203-125_0_8_node_84 | 0.4 | n |  | TRUE
111 | bus_LV_3203-125_0_8_node_83 | 0.4 | n |  | TRUE
112 | bus_LV_3203-125_0_8_node_80 | 0.4 | n |  | TRUE
113 | bus_LV_3203-125_0_8_node_81 | 0.4 | n |  | TRUE
114 | bus_LV_3203-125_0_8_node_85 | 0.4 | n |  | TRUE
115 | bus_LV_3203-125_0_8_node_93 | 0.4 | n |  | TRUE
116 | bus_LV_3203-125_0_8_node_94 | 0.4 | n |  | TRUE
117 | bus_LV_3203-125_0_8_node_97 | 0.4 | n |  | TRUE
118 | bus_LV_3203-125_0_8_node_98 | 0.4 | n |  | TRUE
119 | bus_LV_3203-125_0_8_node_108 | 0.4 | n |  | TRUE
120 | bus_LV_3203-125_0_8_node_110 | 0.4 | n |  | TRUE
121 | bus_LV_3203-125_0_8_node_111 | 0.4 | n |  | TRUE
122 | bus_LV_3203-125_0_8_node_112 | 0.4 | n |  | TRUE
123 | bus_LV_3203-125_0_8_node_118 | 0.4 | n |  | TRUE
124 | bus_LV_3203-125_0_8_node_123 | 0.4 | n |  | TRUE
125 | bus_MV_412_0_node_7 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3203-125_0_8_load_0 | 0 | 0.0050416 | 0.0012635 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3203-125_0_8_load_1 | 1 | 0.010353 | 0.0025948 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3203-125_0_8_load_3 | 3 | 0.018222 | 0.0045669 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3203-125_0_8_load_5 | 5 | 0.0066974 | 0.0016785 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3203-125_0_8_load_25 | 6 | 0.0033598 | 0.00084204 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3203-125_0_8_load_6 | 7 | 0.0060996 | 0.0015287 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3203-125_0_8_load_24 | 9 | 0.0068405 | 0.0017144 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3203-125_0_8_load_29 | 12 | 0.011365 | 0.0028482 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3203-125_0_8_load_117 | 13 | 0.0035567 | 0.0008914 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3203-125_0_8_load_7 | 14 | 0.0062881 | 0.0015759 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3203-125_0_8_load_14 | 15 | 0.010715 | 0.0026853 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3203-125_0_8_load_15 | 16 | 0.010766 | 0.0026982 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3203-125_0_8_load_8 | 17 | 0.017412 | 0.0043638 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3203-125_0_8_load_39 | 21 | 0.010303 | 0.0025821 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3203-125_0_8_load_27 | 22 | 0.0037492 | 0.00093964 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3203-125_0_8_load_116 | 23 | 0.0024222 | 0.00060706 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3203-125_0_8_load_128 | 24 | 0.01705 | 0.004273 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3203-125_0_8_load_119 | 25 | 0.024639 | 0.0061752 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3203-125_0_8_load_101 | 27 | 0.014403 | 0.0036098 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3203-125_0_8_load_129 | 28 | 0.0091284 | 0.0022878 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3203-125_0_8_load_102 | 29 | 0.0067894 | 0.0017016 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3203-125_0_8_load_31 | 32 | 0.007237 | 0.0018138 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3203-125_0_8_load_17 | 33 | 0.0026174 | 0.00065599 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3203-125_0_8_load_18 | 34 | 0.0062079 | 0.0015559 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3203-125_0_8_load_20 | 35 | 0.0036607 | 0.00091745 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3203-125_0_8_load_23 | 37 | 0.003908 | 0.00097943 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3203-125_0_8_load_103 | 38 | 0.0049492 | 0.0012404 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3203-125_0_8_load_100 | 39 | 0.0076934 | 0.0019281 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3203-125_0_8_load_99 | 41 | 0.003784 | 0.00094835 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3203-125_0_8_load_26 | 42 | 0.0036379 | 0.00091174 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3203-125_0_8_load_28 | 43 | 0.0058473 | 0.0014655 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3203-125_0_8_load_122 | 45 | 0.0043862 | 0.0010993 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3203-125_0_8_load_120 | 46 | 0.0049771 | 0.0012474 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3203-125_0_8_load_34 | 48 | 0.0061562 | 0.0015429 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3203-125_0_8_load_35 | 49 | 0.0127 | 0.003183 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3203-125_0_8_load_36 | 50 | 0.0031384 | 0.00078655 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3203-125_0_8_load_40 | 51 | 0.0024498 | 0.00061397 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3203-125_0_8_load_37 | 52 | 0.0025422 | 0.00063714 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3203-125_0_8_load_45 | 54 | 0.0022102 | 0.00055393 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3203-125_0_8_load_42 | 55 | 0.002336 | 0.00058545 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3203-125_0_8_load_75 | 56 | 0.0018407 | 0.00046133 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3203-125_0_8_load_43 | 57 | 0.0015694 | 0.00039333 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3203-125_0_8_load_44 | 58 | 0.0014725 | 0.00036904 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3203-125_0_8_load_46 | 59 | 0.0034142 | 0.00085569 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3203-125_0_8_load_47 | 60 | 0.0018532 | 0.00046446 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3203-125_0_8_load_73 | 61 | 0.0038446 | 0.00096355 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3203-125_0_8_load_48 | 62 | 0.0055563 | 0.0013925 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3203-125_0_8_load_49 | 63 | 0.0029623 | 0.00074242 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3203-125_0_8_load_50 | 64 | 0.0049526 | 0.0012412 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3203-125_0_8_load_105 | 65 | 0.0027058 | 0.00067815 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3203-125_0_8_load_51 | 66 | 0.0084543 | 0.0021189 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3203-125_0_8_load_52 | 67 | 0.0042808 | 0.0010729 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3203-125_0_8_load_53 | 68 | 0.0063691 | 0.0015962 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_3203-125_0_8_load_54 | 69 | 0.0046959 | 0.0011769 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_3203-125_0_8_load_55 | 70 | 0.0080687 | 0.0020222 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_3203-125_0_8_load_66 | 71 | 0.0058554 | 0.0014675 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_3203-125_0_8_load_56 | 72 | 0.0092085 | 0.0023079 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_3203-125_0_8_load_67 | 73 | 0.0023655 | 0.00059285 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_3203-125_0_8_load_109 | 75 | 0.0069781 | 0.0017489 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_3203-125_0_8_load_106 | 76 | 0.011038 | 0.0027665 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_3203-125_0_8_load_124 | 77 | 0.0090651 | 0.0022719 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_3203-125_0_8_load_107 | 78 | 0.0051807 | 0.0012984 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_3203-125_0_8_load_58 | 79 | 0.0046187 | 0.0011575 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_3203-125_0_8_load_59 | 80 | 0.0033305 | 0.00083471 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_3203-125_0_8_load_60 | 81 | 0.0026034 | 0.00065246 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_3203-125_0_8_load_61 | 82 | 0.0031503 | 0.00078954 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_3203-125_0_8_load_62 | 83 | 0.0035944 | 0.00090085 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_3203-125_0_8_load_90 | 84 | 0.0013334 | 0.00033418 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_3203-125_0_8_load_63 | 85 | 0.0030032 | 0.00075267 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_3203-125_0_8_load_86 | 86 | 0.0029676 | 0.00074374 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_3203-125_0_8_load_91 | 87 | 0.0018754 | 0.00047001 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_3203-125_0_8_load_92 | 88 | 0.0020198 | 0.0005062 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_3203-125_0_8_load_64 | 89 | 0.0084964 | 0.0021294 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_3203-125_0_8_load_87 | 90 | 0.0032872 | 0.00082386 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_3203-125_0_8_load_115 | 92 | 0.0087408 | 0.0021907 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_3203-125_0_8_load_114 | 93 | 0.0081455 | 0.0020415 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_3203-125_0_8_load_125 | 94 | 0.0049731 | 0.0012464 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_3203-125_0_8_load_126 | 95 | 0.0079834 | 0.0020008 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_3203-125_0_8_load_88 | 99 | 0.0045514 | 0.0011407 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_3203-125_0_8_load_76 | 102 | 0.0027865 | 0.00069836 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_3203-125_0_8_load_130 | 103 | 0.017275 | 0.0043296 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_3203-125_0_8_load_82 | 104 | 0.0024216 | 0.0006069 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_3203-125_0_8_load_79 | 105 | 0.0029884 | 0.00074897 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_3203-125_0_8_load_89 | 106 | 0.0044966 | 0.001127 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_3203-125_0_8_load_72 | 107 | 0.0042185 | 0.0010573 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_3203-125_0_8_load_84 | 110 | 0.0014575 | 0.00036528 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_3203-125_0_8_load_80 | 112 | 0.0046166 | 0.001157 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_3203-125_0_8_load_81 | 113 | 0.0033838 | 0.00084807 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_3203-125_0_8_load_85 | 114 | 0.0046412 | 0.0011632 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_3203-125_0_8_load_93 | 115 | 0.0065643 | 0.0016452 | 0 | 0 |  | 1 | TRUE | wye
90 | LV_3203-125_0_8_load_94 | 116 | 0.0041915 | 0.0010505 | 0 | 0 |  | 1 | TRUE | wye
91 | LV_3203-125_0_8_load_97 | 117 | 0.0047997 | 0.0012029 | 0 | 0 |  | 1 | TRUE | wye
92 | LV_3203-125_0_8_load_98 | 118 | 0.0030507 | 0.00076457 | 0 | 0 |  | 1 | TRUE | wye
93 | LV_3203-125_0_8_load_108 | 119 | 0.012107 | 0.0030344 | 0 | 0 |  | 1 | TRUE | wye
94 | LV_3203-125_0_8_load_110 | 120 | 0.0058754 | 0.0014725 | 0 | 0 |  | 1 | TRUE | wye
95 | LV_3203-125_0_8_load_111 | 121 | 0.007864 | 0.0019709 | 0 | 0 |  | 1 | TRUE | wye
96 | LV_3203-125_0_8_load_112 | 122 | 0.0067894 | 0.0017016 | 0 | 0 |  | 1 | TRUE | wye
97 | LV_3203-125_0_8_load_118 | 123 | 0.0060214 | 0.0015091 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 63 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3203-125_0_8_line_0 |  | 0 | 1 | 0.0047609 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_3203-125_0_8_line_1 |  | 0 | 2 | 0.017227 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_3203-125_0_8_line_2 |  | 1 | 3 | 0.028569 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_3203-125_0_8_line_3 |  | 2 | 4 | 0.01499 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_3203-125_0_8_line_4 |  | 2 | 5 | 0.028678 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_3203-125_0_8_line_5 |  | 3 | 6 | 0.015561 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
6 | LV_3203-125_0_8_line_6 |  | 4 | 7 | 0.020764 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_3203-125_0_8_line_7 |  | 5 | 8 | 0.01341 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_3203-125_0_8_line_8 |  | 6 | 9 | 0.010121 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
9 | LV_3203-125_0_8_line_9 |  | 7 | 14 | 0.020144 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_3203-125_0_8_line_10 |  | 8 | 15 | 0.02623 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_3203-125_0_8_line_11 |  | 8 | 16 | 0.015725 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_3203-125_0_8_line_12 |  | 8 | 11 | 0.028134 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_3203-125_0_8_line_13 |  | 9 | 37 | 0.0077487 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
14 | LV_3203-125_0_8_line_14 |  | 10 | 11 | 0.029905 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_3203-125_0_8_line_15 |  | 10 | 12 | 0.017934 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_3203-125_0_8_line_16 |  | 10 | 13 | 0.014062 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_3203-125_0_8_line_17 |  | 11 | 21 | 0.026178 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_3203-125_0_8_line_18 |  | 12 | 22 | 0.019388 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_3203-125_0_8_line_19 |  | 13 | 23 | 0.027506 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_3203-125_0_8_line_20 |  | 16 | 31 | 0.023785 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_3203-125_0_8_line_21 |  | 17 | 18 | 0.0046492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_3203-125_0_8_line_22 |  | 18 | 19 | 0.004138 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_3203-125_0_8_line_23 |  | 18 | 20 | 0.021248 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_3203-125_0_8_line_24 |  | 19 | 24 | 0.020233 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_3203-125_0_8_line_25 |  | 19 | 25 | 0.013404 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_3203-125_0_8_line_26 |  | 20 | 26 | 0.024622 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_3203-125_0_8_line_27 |  | 20 | 27 | 0.018233 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_3203-125_0_8_line_28 |  | 22 | 42 | 0.038901 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_3203-125_0_8_line_29 |  | 23 | 123 | 0.027169 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_3203-125_0_8_line_30 |  | 24 | 28 | 0.011291 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_3203-125_0_8_line_31 |  | 26 | 29 | 0.020116 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_3203-125_0_8_line_32 |  | 26 | 30 | 0.027103 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_3203-125_0_8_line_33 |  | 28 | 124 | 0.053437 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_3203-125_0_8_line_34 |  | 30 | 36 | 0.029746 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
35 | LV_3203-125_0_8_line_35 |  | 30 | 33 | 0.013099 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
36 | LV_3203-125_0_8_line_36 |  | 31 | 32 | 0.01593 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_3203-125_0_8_line_37 |  | 32 | 47 | 0.03527 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_3203-125_0_8_line_38 |  | 33 | 34 | 0.022249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
39 | LV_3203-125_0_8_line_39 |  | 34 | 35 | 0.00097218 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
40 | LV_3203-125_0_8_line_40 |  | 35 | 37 | 0.02296 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
41 | LV_3203-125_0_8_line_41 |  | 36 | 38 | 0.016778 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
42 | LV_3203-125_0_8_line_42 |  | 36 | 39 | 0.012932 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_3203-125_0_8_line_43 |  | 38 | 40 | 0.016304 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
44 | LV_3203-125_0_8_line_44 |  | 39 | 41 | 0.032585 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_3203-125_0_8_line_45 |  | 40 | 65 | 0.015115 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
46 | LV_3203-125_0_8_line_46 |  | 41 | 118 | 0.02868 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_3203-125_0_8_line_47 |  | 42 | 43 | 0.005774 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_3203-125_0_8_line_48 |  | 44 | 45 | 0.039306 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_3203-125_0_8_line_49 |  | 44 | 46 | 0.033179 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_3203-125_0_8_line_50 |  | 45 | 124 | 0.013372 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_3203-125_0_8_line_51 |  | 47 | 48 | 0.020988 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_3203-125_0_8_line_52 |  | 47 | 49 | 0.0027476 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_3203-125_0_8_line_53 |  | 48 | 50 | 0.0088721 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_3203-125_0_8_line_54 |  | 49 | 51 | 0.011781 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_3203-125_0_8_line_55 |  | 50 | 52 | 0.019075 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_3203-125_0_8_line_56 |  | 53 | 54 | 0.012104 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
57 | LV_3203-125_0_8_line_57 |  | 53 | 55 | 0.015983 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
58 | LV_3203-125_0_8_line_58 |  | 54 | 56 | 0.019318 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
59 | LV_3203-125_0_8_line_59 |  | 55 | 57 | 0.0022585 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
60 | LV_3203-125_0_8_line_60 |  | 56 | 61 | 0.020337 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
61 | LV_3203-125_0_8_line_61 |  | 57 | 58 | 0.018652 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
62 | LV_3203-125_0_8_line_62 |  | 58 | 59 | 0.0094446 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
63 | LV_3203-125_0_8_line_63 |  | 59 | 60 | 0.010525 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
64 | LV_3203-125_0_8_line_64 |  | 60 | 62 | 0.027744 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
65 | LV_3203-125_0_8_line_65 |  | 61 | 107 | 0.0079766 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
66 | LV_3203-125_0_8_line_66 |  | 62 | 63 | 0.024827 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
67 | LV_3203-125_0_8_line_67 |  | 63 | 64 | 0.0030526 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
68 | LV_3203-125_0_8_line_68 |  | 64 | 65 | 0.021318 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
69 | LV_3203-125_0_8_line_69 |  | 66 | 67 | 0.01895 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
70 | LV_3203-125_0_8_line_70 |  | 66 | 68 | 0.0058567 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
71 | LV_3203-125_0_8_line_71 |  | 67 | 69 | 0.012823 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
72 | LV_3203-125_0_8_line_72 |  | 68 | 70 | 0.0029892 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
73 | LV_3203-125_0_8_line_73 |  | 69 | 71 | 0.01828 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
74 | LV_3203-125_0_8_line_74 |  | 70 | 72 | 0.02981 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
75 | LV_3203-125_0_8_line_75 |  | 71 | 73 | 0.011727 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
76 | LV_3203-125_0_8_line_76 |  | 72 | 74 | 0.023773 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
77 | LV_3203-125_0_8_line_77 |  | 73 | 96 | 0.01858 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
78 | LV_3203-125_0_8_line_78 |  | 74 | 75 | 0.021901 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_3203-125_0_8_line_79 |  | 74 | 76 | 0.02682 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_3203-125_0_8_line_80 |  | 75 | 77 | 0.006572 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_3203-125_0_8_line_81 |  | 76 | 78 | 0.030118 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_3203-125_0_8_line_82 |  | 77 | 94 | 0.012855 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_3203-125_0_8_line_83 |  | 78 | 119 | 0.010425 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_3203-125_0_8_line_84 |  | 79 | 80 | 0.03539 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_3203-125_0_8_line_85 |  | 79 | 81 | 0.038336 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_3203-125_0_8_line_86 |  | 80 | 82 | 0.024808 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_3203-125_0_8_line_87 |  | 81 | 83 | 0.019433 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_3203-125_0_8_line_88 |  | 81 | 84 | 0.066595 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_3203-125_0_8_line_89 |  | 82 | 85 | 0.02346 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_3203-125_0_8_line_90 |  | 83 | 86 | 0.0049386 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_3203-125_0_8_line_91 |  | 84 | 87 | 0.02583 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_3203-125_0_8_line_92 |  | 85 | 89 | 0.037992 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_3203-125_0_8_line_93 |  | 86 | 90 | 0.017618 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_3203-125_0_8_line_94 |  | 87 | 88 | 0.022923 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_3203-125_0_8_line_95 |  | 89 | 91 | 0.020948 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_3203-125_0_8_line_96 |  | 90 | 104 | 0.017893 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_3203-125_0_8_line_97 |  | 91 | 92 | 0.050677 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_3203-125_0_8_line_98 |  | 92 | 95 | 0.040016 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_3203-125_0_8_line_99 |  | 93 | 94 | 0.0097631 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_3203-125_0_8_line_100 |  | 96 | 97 | 0.018274 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_3203-125_0_8_line_101 |  | 96 | 98 | 0.027227 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
102 | LV_3203-125_0_8_line_102 |  | 97 | 99 | 0.024268 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_3203-125_0_8_line_103 |  | 98 | 103 | 0.006733 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_3203-125_0_8_line_104 |  | 98 | 100 | 0.020993 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
105 | LV_3203-125_0_8_line_105 |  | 99 | 106 | 0.020501 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_3203-125_0_8_line_106 |  | 100 | 101 | 0.02984 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
107 | LV_3203-125_0_8_line_107 |  | 100 | 102 | 0.024006 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
108 | LV_3203-125_0_8_line_108 |  | 101 | 104 | 0.014572 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
109 | LV_3203-125_0_8_line_109 |  | 101 | 105 | 0.01592 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
110 | LV_3203-125_0_8_line_110 |  | 105 | 112 | 0.027513 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
111 | LV_3203-125_0_8_line_111 |  | 107 | 108 | 0.032509 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
112 | LV_3203-125_0_8_line_112 |  | 108 | 109 | 0.017728 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
113 | LV_3203-125_0_8_line_113 |  | 109 | 110 | 0.0199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
114 | LV_3203-125_0_8_line_114 |  | 110 | 111 | 0.034973 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
115 | LV_3203-125_0_8_line_115 |  | 111 | 114 | 0.022749 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
116 | LV_3203-125_0_8_line_116 |  | 111 | 113 | 0.02371 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
117 | LV_3203-125_0_8_line_117 |  | 112 | 113 | 0.0053115 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
118 | LV_3203-125_0_8_line_118 |  | 115 | 116 | 0.022672 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
119 | LV_3203-125_0_8_line_119 |  | 116 | 117 | 0.039372 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
120 | LV_3203-125_0_8_line_120 |  | 117 | 118 | 0.021433 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
121 | LV_3203-125_0_8_line_121 |  | 119 | 120 | 0.021509 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
122 | LV_3203-125_0_8_line_122 |  | 120 | 121 | 0.021829 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
123 | LV_3203-125_0_8_line_123 |  | 121 | 122 | 0.0041938 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3203-125_0_8_trafo_49 | 0.63 MVA 20/0.4 kV | 125 | 63 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2746365.8479 | 1256055.4962 | 2746361.9098 | 1256058.1714
1 | 2746380.098 | 1256045.8157 | 2746365.8479 | 1256055.4962
2 | 2746338.278 | 1256074.2252 | 2746361.9098 | 1256058.1714
3 | 2746388.3217 | 1256058.3644 | 2746380.098 | 1256045.8157
4 | 2746380.098 | 1256045.8157 | 2746364.2151 | 1256021.9376
5 | 2746342.7107 | 1256086.5432 | 2746335.8993 | 1256075.8411 | 2746338.278 | 1256074.2252
6 | 2746388.3217 | 1256058.3644 | 2746398.8918 | 1256076.2371
7 | 2746356.7884 | 1256010.7723 | 2746364.2151 | 1256021.9376
8 | 2746342.7107 | 1256086.5432 | 2746348.1449 | 1256095.0814
9 | 2746398.8918 | 1256076.2371 | 2746404.3424 | 1256085.4534 | 2746409.5922 | 1256093.2951
10 | 2746356.7884 | 1256010.7723 | 2746365.0658 | 1255985.8821
11 | 2746356.7884 | 1256010.7723 | 2746348.1489 | 1255997.6334
12 | 2746356.7884 | 1256010.7723 | 2746381.0851 | 1255996.4702
13 | 2746348.1449 | 1256095.0814 | 2746352.3054 | 1256101.6184
14 | 2746381.0851 | 1255996.4702 | 2746389.4774 | 1256020.2006 | 2746393.6093 | 1256017.8894
15 | 2746393.6093 | 1256017.8894 | 2746409.2686 | 1256009.1473
16 | 2746393.6093 | 1256017.8894 | 2746397.8485 | 1256031.2967
17 | 2746381.0851 | 1255996.4702 | 2746376.3601 | 1255970.7226
18 | 2746426.6788 | 1256001.8666 | 2746417.9791 | 1256007.037 | 2746413.1053 | 1256007.0053 | 2746409.2686 | 1256009.1473
19 | 2746406.1408 | 1256057.523 | 2746397.8485 | 1256031.2967
20 | 2746335.0808 | 1255977.7595 | 2746348.1489 | 1255997.6334
21 | 2746427.9506 | 1256125.1755 | 2746425.7701 | 1256121.0694
22 | 2746427.9506 | 1256125.1755 | 2746431.512 | 1256123.0504
23 | 2746434.8357 | 1256145.1539 | 2746431.7684 | 1256132.8106 | 2746428.7704 | 1256126.8084 | 2746427.9506 | 1256125.1755
24 | 2746431.512 | 1256123.0504 | 2746448.9024 | 1256112.7093
25 | 2746431.512 | 1256123.0504 | 2746425.2615 | 1256111.1932
26 | 2746434.8357 | 1256145.1539 | 2746423.7469 | 1256149.5951 | 2746411.2635 | 1256152.1556
27 | 2746434.8357 | 1256145.1539 | 2746435.3599 | 1256151.7177 | 2746438.1748 | 1256163.0203
28 | 2746435.4164 | 1255971.4116 | 2746434.2024 | 1255977.4763 | 2746434.8612 | 1255983.4761 | 2746439.5377 | 1255994.2244 | 2746426.6788 | 1256001.8666
29 | 2746406.1408 | 1256057.523 | 2746414.3316 | 1256083.4281
30 | 2746458.6074 | 1256106.9383 | 2746448.9024 | 1256112.7093
31 | 2746411.2635 | 1256152.1556 | 2746409.9164 | 1256156.5821 | 2746404.7372 | 1256161.5811 | 2746407.8687 | 1256169.2576
32 | 2746384.1349 | 1256151.6288 | 2746397.5467 | 1256152.717 | 2746411.2635 | 1256152.1556
33 | 2746458.6074 | 1256106.9383 | 2746494.3023 | 1256067.1717
34 | 2746384.1349 | 1256151.6288 | 2746369.7589 | 1256151.084 | 2746354.3942 | 1256152.6836
35 | 2746384.1349 | 1256151.6288 | 2746377.1017 | 1256140.5782
36 | 2746335.0808 | 1255977.7595 | 2746321.6511 | 1255986.3274
37 | 2746291.9168 | 1256005.2973 | 2746321.6511 | 1255986.3274
38 | 2746377.1017 | 1256140.5782 | 2746365.1554 | 1256121.8082
39 | 2746364.6334 | 1256120.9881 | 2746365.1554 | 1256121.8082
40 | 2746364.6334 | 1256120.9881 | 2746352.3054 | 1256101.6184
41 | 2746354.3942 | 1256152.6836 | 2746340.4928 | 1256155.8319 | 2746338.1354 | 1256156.7354
42 | 2746354.3942 | 1256152.6836 | 2746361.8942 | 1256163.2181
43 | 2746322.9109 | 1256162.5706 | 2746338.1354 | 1256156.7354
44 | 2746380.7925 | 1256189.7625 | 2746361.8942 | 1256163.2181
45 | 2746322.9109 | 1256162.5706 | 2746315.9878 | 1256149.1337
46 | 2746380.7925 | 1256189.7625 | 2746383.9347 | 1256194.1761 | 2746393.4345 | 1256215.4103
47 | 2746435.4164 | 1255971.4116 | 2746435.4164 | 1255971.4116 | 2746438.9545 | 1255966.8485
48 | 2746521.4257 | 1256026.7927 | 2746492.9339 | 1256053.8694
49 | 2746521.4257 | 1256026.7927 | 2746513.0505 | 1256011.8376 | 2746505.9114 | 1255997.4752
50 | 2746494.3023 | 1256067.1717 | 2746492.9339 | 1256053.8694
51 | 2746291.9168 | 1256005.2973 | 2746280.2832 | 1255987.8282
52 | 2746291.9168 | 1256005.2973 | 2746289.6186 | 1256006.8032
53 | 2746280.2832 | 1255987.8282 | 2746275.3655 | 1255980.4437
54 | 2746289.6186 | 1256006.8032 | 2746279.7641 | 1256013.26
55 | 2746275.3655 | 1255980.4437 | 2746264.7924 | 1255964.567
56 | 2746247.5073 | 1256034.3951 | 2746240.0953 | 1256024.8266
57 | 2746247.5073 | 1256034.3951 | 2746256.2964 | 1256047.7448
58 | 2746228.2654 | 1256009.5546 | 2746240.0953 | 1256024.8266
59 | 2746256.2964 | 1256047.7448 | 2746257.5384 | 1256049.6312
60 | 2746215.8115 | 1255993.4772 | 2746228.2654 | 1256009.5546
61 | 2746267.795 | 1256065.2099 | 2746257.5384 | 1256049.6312
62 | 2746272.9886 | 1256073.0983 | 2746267.795 | 1256065.2099
63 | 2746272.9886 | 1256073.0983 | 2746278.7762 | 1256081.889
64 | 2746293.455 | 1256105.3996 | 2746290.5756 | 1256099.811 | 2746278.7762 | 1256081.889
65 | 2746210.9268 | 1255987.1713 | 2746215.8115 | 1255993.4772
66 | 2746293.455 | 1256105.3996 | 2746304.826 | 1256127.4696
67 | 2746304.826 | 1256127.4696 | 2746306.2241 | 1256130.1831
68 | 2746315.9878 | 1256149.1337 | 2746306.2241 | 1256130.1831
69 | 2746248.3635 | 1256130.6012 | 2746236.9421 | 1256115.4796
70 | 2746248.3635 | 1256130.6012 | 2746251.8933 | 1256135.2746
71 | 2746236.9421 | 1256115.4796 | 2746229.2135 | 1256105.2472
72 | 2746253.6949 | 1256137.6599 | 2746251.8933 | 1256135.2746
73 | 2746218.1959 | 1256090.6602 | 2746229.2135 | 1256105.2472
74 | 2746253.6949 | 1256137.6599 | 2746259.669 | 1256145.5695 | 2746270.9042 | 1256161.9924
75 | 2746218.1959 | 1256090.6602 | 2746211.1282 | 1256081.3027
76 | 2746284.3272 | 1256181.6134 | 2746270.9042 | 1256161.9924
77 | 2746199.9923 | 1256066.4305 | 2746203.0434 | 1256070.5987 | 2746211.1282 | 1256081.3027
78 | 2746284.3272 | 1256181.6134 | 2746268.7483 | 1256197.0062
79 | 2746284.3272 | 1256181.6134 | 2746298.9447 | 1256204.0995
80 | 2746268.7483 | 1256197.0062 | 2746264.0733 | 1256201.6253
81 | 2746298.9447 | 1256204.0995 | 2746315.3601 | 1256229.3511
82 | 2746254.9287 | 1256210.6606 | 2746264.0733 | 1256201.6253
83 | 2746315.3601 | 1256229.3511 | 2746321.0419 | 1256238.0914
84 | 2746124.3942 | 1256139.5433 | 2746131.364 | 1256149.2163 | 2746147.1393 | 1256166.5906
85 | 2746124.3942 | 1256139.5433 | 2746118.6114 | 1256131.5179 | 2746115.2279 | 1256118.811 | 2746115.7844 | 1256103.5262
86 | 2746147.1393 | 1256166.5906 | 2746163.8157 | 1256184.9574
87 | 2746123.5902 | 1256086.0561 | 2746115.9084 | 1256100.1209 | 2746115.7844 | 1256103.5262
88 | 2746115.7844 | 1256103.5262 | 2746050.1691 | 1256092.1467
89 | 2746163.8157 | 1256184.9574 | 2746175.5556 | 1256197.8874 | 2746179.5775 | 1256202.3333
90 | 2746123.5902 | 1256086.0561 | 2746125.9574 | 1256081.7219
91 | 2746050.1691 | 1256092.1467 | 2746049.9757 | 1256089.9845 | 2746048.6295 | 1256066.3639
92 | 2746179.5775 | 1256202.3333 | 2746205.0646 | 1256230.5077
93 | 2746138.0942 | 1256068.9841 | 2746126.2773 | 1256081.1362 | 2746125.9574 | 1256081.7219
94 | 2746048.9745 | 1256043.4757 | 2746048.1698 | 1256058.2983 | 2746048.6295 | 1256066.3639
95 | 2746219.1179 | 1256246.0428 | 2746205.0646 | 1256230.5077
96 | 2746138.0942 | 1256068.9841 | 2746140.8097 | 1256066.1915 | 2746151.9939 | 1256057.7743
97 | 2746219.1179 | 1256246.0428 | 2746241.3096 | 1256274.7185 | 2746250.1334 | 1256286.1197
98 | 2746274.6252 | 1256317.7654 | 2746250.1334 | 1256286.1197
99 | 2746254.9287 | 1256210.6606 | 2746247.9838 | 1256217.5226
100 | 2746199.9923 | 1256066.4305 | 2746184.9741 | 1256076.9031
101 | 2746192.8845 | 1256045.6572 | 2746187.8366 | 1256049.3138 | 2746199.9923 | 1256066.4305
102 | 2746184.9741 | 1256076.9031 | 2746182.3743 | 1256085.9254 | 2746170.4725 | 1256094.8537
103 | 2746192.8845 | 1256045.6572 | 2746198.2451 | 1256041.5633
104 | 2746192.8845 | 1256045.6572 | 2746181.0518 | 1256028.2927
105 | 2746170.4725 | 1256094.8537 | 2746154.0728 | 1256107.1561
106 | 2746163.469 | 1256048.8007 | 2746180.2142 | 1256038.3707 | 2746181.0518 | 1256028.2927
107 | 2746181.0518 | 1256028.2927 | 2746183.3594 | 1256011.5558 | 2746184.2111 | 1256004.4959
108 | 2746163.469 | 1256048.8007 | 2746159.6393 | 1256052.0204 | 2746151.9939 | 1256057.7743
109 | 2746163.469 | 1256048.8007 | 2746154.3307 | 1256035.765
110 | 2746154.3307 | 1256035.765 | 2746138.5375 | 1256013.2362
111 | 2746189.1385 | 1255963.6522 | 2746192.8523 | 1255965.4345 | 2746195.7205 | 1255967.5407 | 2746210.9268 | 1255987.1713
112 | 2746189.1385 | 1255963.6522 | 2746185.3982 | 1255963.2484 | 2746180.123 | 1255963.8854 | 2746171.9558 | 1255966.7421
113 | 2746154.0009 | 1255975.4295 | 2746171.9558 | 1255966.7421
114 | 2746154.0009 | 1255975.4295 | 2746121.8786 | 1255989.4726
115 | 2746121.8786 | 1255989.4726 | 2746100.4577 | 1255997.132
116 | 2746121.8786 | 1255989.4726 | 2746135.4885 | 1256008.8869
117 | 2746135.4885 | 1256008.8869 | 2746138.5375 | 1256013.2362
118 | 2746432.9843 | 1256245.952 | 2746416.3193 | 1256253.3562 | 2746413.0827 | 1256256.3902
119 | 2746384.4677 | 1256229.3471 | 2746413.0827 | 1256256.3902
120 | 2746384.4677 | 1256229.3471 | 2746396.483 | 1256222.2245 | 2746393.4345 | 1256215.4103
121 | 2746332.7649 | 1256256.1248 | 2746321.0419 | 1256238.0914
122 | 2746332.7649 | 1256256.1248 | 2746332.8911 | 1256256.3189 | 2746343.6329 | 1256275.0553
123 | 2746345.7187 | 1256278.6935 | 2746343.6329 | 1256275.0553

## bus_geodata
| x | y | coords
0 | 2746365.8479 | 1256055.4962
1 | 2746361.9098 | 1256058.1714
2 | 2746380.098 | 1256045.8157
3 | 2746338.278 | 1256074.2252
4 | 2746388.3217 | 1256058.3644
5 | 2746364.2151 | 1256021.9376
6 | 2746342.7107 | 1256086.5432
7 | 2746398.8918 | 1256076.2371
8 | 2746356.7884 | 1256010.7723
9 | 2746348.1449 | 1256095.0814
10 | 2746393.6093 | 1256017.8894
11 | 2746381.0851 | 1255996.4702
12 | 2746409.2686 | 1256009.1473
13 | 2746397.8485 | 1256031.2967
14 | 2746409.5922 | 1256093.2951
15 | 2746365.0658 | 1255985.8821
16 | 2746348.1489 | 1255997.6334
17 | 2746425.7701 | 1256121.0694
18 | 2746427.9506 | 1256125.1755
19 | 2746431.512 | 1256123.0504
20 | 2746434.8357 | 1256145.1539
21 | 2746376.3601 | 1255970.7226
22 | 2746426.6788 | 1256001.8666
23 | 2746406.1408 | 1256057.523
24 | 2746448.9024 | 1256112.7093
25 | 2746425.2615 | 1256111.1932
26 | 2746411.2635 | 1256152.1556
27 | 2746438.1748 | 1256163.0203
28 | 2746458.6074 | 1256106.9383
29 | 2746407.8687 | 1256169.2576
30 | 2746384.1349 | 1256151.6288
31 | 2746335.0808 | 1255977.7595
32 | 2746321.6511 | 1255986.3274
33 | 2746377.1017 | 1256140.5782
34 | 2746365.1554 | 1256121.8082
35 | 2746364.6334 | 1256120.9881
36 | 2746354.3942 | 1256152.6836
37 | 2746352.3054 | 1256101.6184
38 | 2746338.1354 | 1256156.7354
39 | 2746361.8942 | 1256163.2181
40 | 2746322.9109 | 1256162.5706
41 | 2746380.7925 | 1256189.7625
42 | 2746435.4164 | 1255971.4116
43 | 2746438.9545 | 1255966.8485
44 | 2746521.4257 | 1256026.7927
45 | 2746492.9339 | 1256053.8694
46 | 2746505.9114 | 1255997.4752
47 | 2746291.9168 | 1256005.2973
48 | 2746280.2832 | 1255987.8282
49 | 2746289.6186 | 1256006.8032
50 | 2746275.3655 | 1255980.4437
51 | 2746279.7641 | 1256013.26
52 | 2746264.7924 | 1255964.567
53 | 2746247.5073 | 1256034.3951
54 | 2746240.0953 | 1256024.8266
55 | 2746256.2964 | 1256047.7448
56 | 2746228.2654 | 1256009.5546
57 | 2746257.5384 | 1256049.6312
58 | 2746267.795 | 1256065.2099
59 | 2746272.9886 | 1256073.0983
60 | 2746278.7762 | 1256081.889
61 | 2746215.8115 | 1255993.4772
62 | 2746293.455 | 1256105.3996
63 | 2746304.826 | 1256127.4696
64 | 2746306.2241 | 1256130.1831
65 | 2746315.9878 | 1256149.1337
66 | 2746248.3635 | 1256130.6012
67 | 2746236.9421 | 1256115.4796
68 | 2746251.8933 | 1256135.2746
69 | 2746229.2135 | 1256105.2472
70 | 2746253.6949 | 1256137.6599
71 | 2746218.1959 | 1256090.6602
72 | 2746270.9042 | 1256161.9924
73 | 2746211.1282 | 1256081.3027
74 | 2746284.3272 | 1256181.6134
75 | 2746268.7483 | 1256197.0062
76 | 2746298.9447 | 1256204.0995
77 | 2746264.0733 | 1256201.6253
78 | 2746315.3601 | 1256229.3511
79 | 2746124.3942 | 1256139.5433
80 | 2746147.1393 | 1256166.5906
81 | 2746115.7844 | 1256103.5262
82 | 2746163.8157 | 1256184.9574
83 | 2746123.5902 | 1256086.0561
84 | 2746050.1691 | 1256092.1467
85 | 2746179.5775 | 1256202.3333
86 | 2746125.9574 | 1256081.7219
87 | 2746048.6295 | 1256066.3639
88 | 2746048.9745 | 1256043.4757
89 | 2746205.0646 | 1256230.5077
90 | 2746138.0942 | 1256068.9841
91 | 2746219.1179 | 1256246.0428
92 | 2746250.1334 | 1256286.1197
93 | 2746247.9838 | 1256217.5226
94 | 2746254.9287 | 1256210.6606
95 | 2746274.6252 | 1256317.7654
96 | 2746199.9923 | 1256066.4305
97 | 2746184.9741 | 1256076.9031
98 | 2746192.8845 | 1256045.6572
99 | 2746170.4725 | 1256094.8537
100 | 2746181.0518 | 1256028.2927
101 | 2746163.469 | 1256048.8007
102 | 2746184.2111 | 1256004.4959
103 | 2746198.2451 | 1256041.5633
104 | 2746151.9939 | 1256057.7743
105 | 2746154.3307 | 1256035.765
106 | 2746154.0728 | 1256107.1561
107 | 2746210.9268 | 1255987.1713
108 | 2746189.1385 | 1255963.6522
109 | 2746171.9558 | 1255966.7421
110 | 2746154.0009 | 1255975.4295
111 | 2746121.8786 | 1255989.4726
112 | 2746138.5375 | 1256013.2362
113 | 2746135.4885 | 1256008.8869
114 | 2746100.4577 | 1255997.132
115 | 2746432.9843 | 1256245.952
116 | 2746413.0827 | 1256256.3902
117 | 2746384.4677 | 1256229.3471
118 | 2746393.4345 | 1256215.4103
119 | 2746321.0419 | 1256238.0914
120 | 2746332.7649 | 1256256.1248
121 | 2746343.6329 | 1256275.0553
122 | 2746345.7187 | 1256278.6935
123 | 2746414.3316 | 1256083.4281
124 | 2746494.3023 | 1256067.1717
125 | 2746322.9109 | 1256162.5706

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1