## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3203-13_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3203-13_0_3_node_2 | 0.4 | n |  | TRUE
2 | bus_LV_3203-13_0_3_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_3203-13_0_3_node_65 | 0.4 | n |  | TRUE
4 | bus_LV_3203-13_0_3_node_66 | 0.4 | n |  | TRUE
5 | bus_LV_3203-13_0_3_node_64 | 0.4 | n |  | TRUE
6 | bus_LV_3203-13_0_3_node_79 | 0.4 | n |  | TRUE
7 | bus_LV_3203-13_0_3_node_78 | 0.4 | n |  | TRUE
8 | bus_LV_3203-13_0_3_node_4 | 0.4 | n |  | TRUE
9 | bus_LV_3203-13_0_3_node_5 | 0.4 | n |  | TRUE
10 | bus_LV_3203-13_0_3_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_3203-13_0_3_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_3203-13_0_3_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_3203-13_0_3_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_3203-13_0_3_node_16 | 0.4 | n |  | TRUE
15 | bus_LV_3203-13_0_3_node_15 | 0.4 | n |  | TRUE
16 | bus_LV_3203-13_0_3_node_49 | 0.4 | n |  | TRUE
17 | bus_LV_3203-13_0_3_node_12 | 0.4 | n |  | TRUE
18 | bus_LV_3203-13_0_3_node_47 | 0.4 | n |  | TRUE
19 | bus_LV_3203-13_0_3_node_13 | 0.4 | n |  | TRUE
20 | bus_LV_3203-13_0_3_node_50 | 0.4 | n |  | TRUE
21 | bus_LV_3203-13_0_3_node_14 | 0.4 | n |  | TRUE
22 | bus_LV_3203-13_0_3_node_10 | 0.4 | n |  | TRUE
23 | bus_LV_3203-13_0_3_node_11 | 0.4 | n |  | TRUE
24 | bus_LV_3203-13_0_3_node_17 | 0.4 | n |  | TRUE
25 | bus_LV_3203-13_0_3_node_102 | 0.4 | n |  | TRUE
26 | bus_LV_3203-13_0_3_node_101 | 0.4 | n |  | TRUE
27 | bus_LV_3203-13_0_3_node_103 | 0.4 | n |  | TRUE
28 | bus_LV_3203-13_0_3_node_48 | 0.4 | n |  | TRUE
29 | bus_LV_3203-13_0_3_node_18 | 0.4 | n |  | TRUE
30 | bus_LV_3203-13_0_3_node_19 | 0.4 | n |  | TRUE
31 | bus_LV_3203-13_0_3_node_20 | 0.4 | n |  | TRUE
32 | bus_LV_3203-13_0_3_node_21 | 0.4 | n |  | TRUE
33 | bus_LV_3203-13_0_3_node_22 | 0.4 | n |  | TRUE
34 | bus_LV_3203-13_0_3_node_23 | 0.4 | n |  | TRUE
35 | bus_LV_3203-13_0_3_node_27 | 0.4 | n |  | TRUE
36 | bus_LV_3203-13_0_3_node_24 | 0.4 | n |  | TRUE
37 | bus_LV_3203-13_0_3_node_33 | 0.4 | n |  | TRUE
38 | bus_LV_3203-13_0_3_node_28 | 0.4 | n |  | TRUE
39 | bus_LV_3203-13_0_3_node_25 | 0.4 | n |  | TRUE
40 | bus_LV_3203-13_0_3_node_26 | 0.4 | n |  | TRUE
41 | bus_LV_3203-13_0_3_node_97 | 0.4 | n |  | TRUE
42 | bus_LV_3203-13_0_3_node_39 | 0.4 | n |  | TRUE
43 | bus_LV_3203-13_0_3_node_98 | 0.4 | n |  | TRUE
44 | bus_LV_3203-13_0_3_node_40 | 0.4 | n |  | TRUE
45 | bus_LV_3203-13_0_3_node_37 | 0.4 | n |  | TRUE
46 | bus_LV_3203-13_0_3_node_29 | 0.4 | n |  | TRUE
47 | bus_LV_3203-13_0_3_node_30 | 0.4 | n |  | TRUE
48 | bus_LV_3203-13_0_3_node_31 | 0.4 | n |  | TRUE
49 | bus_LV_3203-13_0_3_node_34 | 0.4 | n |  | TRUE
50 | bus_LV_3203-13_0_3_node_35 | 0.4 | n |  | TRUE
51 | bus_LV_3203-13_0_3_node_36 | 0.4 | n |  | TRUE
52 | bus_LV_3203-13_0_3_node_38 | 0.4 | n |  | TRUE
53 | bus_LV_3203-13_0_3_node_99 | 0.4 | n |  | TRUE
54 | bus_LV_3203-13_0_3_node_41 | 0.4 | n |  | TRUE
55 | bus_LV_3203-13_0_3_node_42 | 0.4 | n |  | TRUE
56 | bus_LV_3203-13_0_3_node_43 | 0.4 | n |  | TRUE
57 | bus_LV_3203-13_0_3_node_44 | 0.4 | n |  | TRUE
58 | bus_LV_3203-13_0_3_node_45 | 0.4 | n |  | TRUE
59 | bus_LV_3203-13_0_3_node_46 | 0.4 | n |  | TRUE
60 | bus_LV_3203-13_0_3_node_55 | 0.4 | n |  | TRUE
61 | bus_LV_3203-13_0_3_node_56 | 0.4 | n |  | TRUE
62 | bus_LV_3203-13_0_3_node_51 | 0.4 | n |  | TRUE
63 | bus_LV_3203-13_0_3_node_52 | 0.4 | n |  | TRUE
64 | bus_LV_3203-13_0_3_node_53 | 0.4 | n |  | TRUE
65 | bus_LV_3203-13_0_3_node_54 | 0.4 | n |  | TRUE
66 | bus_LV_3203-13_0_3_node_57 | 0.4 | n |  | TRUE
67 | bus_LV_3203-13_0_3_node_58 | 0.4 | n |  | TRUE
68 | bus_LV_3203-13_0_3_node_60 | 0.4 | n |  | TRUE
69 | bus_LV_3203-13_0_3_node_61 | 0.4 | n |  | TRUE
70 | bus_LV_3203-13_0_3_node_62 | 0.4 | n |  | TRUE
71 | bus_LV_3203-13_0_3_node_59 | 0.4 | n |  | TRUE
72 | bus_LV_3203-13_0_3_node_63 | 0.4 | n |  | TRUE
73 | bus_LV_3203-13_0_3_node_96 | 0.4 | n |  | TRUE
74 | bus_LV_3203-13_0_3_node_95 | 0.4 | n |  | TRUE
75 | bus_LV_3203-13_0_3_node_69 | 0.4 | n |  | TRUE
76 | bus_LV_3203-13_0_3_node_70 | 0.4 | n |  | TRUE
77 | bus_LV_3203-13_0_3_node_67 | 0.4 | n |  | TRUE
78 | bus_LV_3203-13_0_3_node_68 | 0.4 | n |  | TRUE
79 | bus_LV_3203-13_0_3_node_72 | 0.4 | n |  | TRUE
80 | bus_LV_3203-13_0_3_node_73 | 0.4 | n |  | TRUE
81 | bus_LV_3203-13_0_3_node_71 | 0.4 | n |  | TRUE
82 | bus_LV_3203-13_0_3_node_75 | 0.4 | n |  | TRUE
83 | bus_LV_3203-13_0_3_node_80 | 0.4 | n |  | TRUE
84 | bus_LV_3203-13_0_3_node_74 | 0.4 | n |  | TRUE
85 | bus_LV_3203-13_0_3_node_76 | 0.4 | n |  | TRUE
86 | bus_LV_3203-13_0_3_node_77 | 0.4 | n |  | TRUE
87 | bus_LV_3203-13_0_3_node_81 | 0.4 | n |  | TRUE
88 | bus_LV_3203-13_0_3_node_82 | 0.4 | n |  | TRUE
89 | bus_LV_3203-13_0_3_node_83 | 0.4 | n |  | TRUE
90 | bus_LV_3203-13_0_3_node_85 | 0.4 | n |  | TRUE
91 | bus_LV_3203-13_0_3_node_87 | 0.4 | n |  | TRUE
92 | bus_LV_3203-13_0_3_node_88 | 0.4 | n |  | TRUE
93 | bus_LV_3203-13_0_3_node_90 | 0.4 | n |  | TRUE
94 | bus_LV_3203-13_0_3_node_91 | 0.4 | n |  | TRUE
95 | bus_LV_3203-13_0_3_node_92 | 0.4 | n |  | TRUE
96 | bus_LV_3203-13_0_3_node_93 | 0.4 | n |  | TRUE
97 | bus_LV_3203-13_0_3_node_94 | 0.4 | n |  | TRUE
98 | bus_LV_3203-13_0_3_node_104 | 0.4 | n |  | TRUE
99 | bus_MV_583_0_node_12 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3203-13_0_3_load_0 | 0 | 0.0027828 | 0.00069743 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3203-13_0_3_load_2 | 1 | 0.00081825 | 0.00020507 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3203-13_0_3_load_3 | 2 | 0.0017398 | 0.00043604 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3203-13_0_3_load_65 | 3 | 0.0067493 | 0.0016915 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3203-13_0_3_load_66 | 4 | 0.0048859 | 0.0012245 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3203-13_0_3_load_64 | 5 | 0.0059056 | 0.0014801 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3203-13_0_3_load_78 | 7 | 0.0027419 | 0.00068719 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3203-13_0_3_load_4 | 8 | 0.0036107 | 0.00090492 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3203-13_0_3_load_5 | 9 | 0.0025903 | 0.00064919 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3203-13_0_3_load_8 | 12 | 0.0026252 | 0.00065794 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3203-13_0_3_load_9 | 13 | 0.0031586 | 0.00079162 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3203-13_0_3_load_16 | 14 | 0.005838 | 0.0014631 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3203-13_0_3_load_15 | 15 | 0.0025326 | 0.00063473 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3203-13_0_3_load_49 | 16 | 0.00376 | 0.00094234 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3203-13_0_3_load_47 | 18 | 0.0051517 | 0.0012911 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3203-13_0_3_load_50 | 20 | 0.0028563 | 0.00071586 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3203-13_0_3_load_14 | 21 | 0.0007627 | 0.00019115 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3203-13_0_3_load_10 | 22 | 0.0018341 | 0.00045967 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3203-13_0_3_load_11 | 23 | 0.0023946 | 0.00060014 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3203-13_0_3_load_17 | 24 | 0.0019872 | 0.00049805 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3203-13_0_3_load_102 | 25 | 0.0041446 | 0.0010387 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3203-13_0_3_load_101 | 26 | 0.0045011 | 0.0011281 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3203-13_0_3_load_103 | 27 | 0.00065352 | 0.00016379 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3203-13_0_3_load_48 | 28 | 0.0050613 | 0.0012685 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3203-13_0_3_load_18 | 29 | 0.0030548 | 0.00076561 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3203-13_0_3_load_19 | 30 | 0.0039661 | 0.000994 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3203-13_0_3_load_22 | 33 | 0.0020152 | 0.00050506 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3203-13_0_3_load_23 | 34 | 0.002299 | 0.00057618 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3203-13_0_3_load_33 | 37 | 0.0012168 | 0.00030497 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3203-13_0_3_load_28 | 38 | 0.0020217 | 0.00050669 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3203-13_0_3_load_25 | 39 | 0.0041132 | 0.0010309 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3203-13_0_3_load_26 | 40 | 0.0035703 | 0.00089479 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3203-13_0_3_load_97 | 41 | 0.0038576 | 0.00096681 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3203-13_0_3_load_98 | 43 | 0.0042479 | 0.0010646 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3203-13_0_3_load_40 | 44 | 0.0021609 | 0.00054158 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3203-13_0_3_load_37 | 45 | 0.003016 | 0.00075587 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3203-13_0_3_load_29 | 46 | 0.0022038 | 0.00055233 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3203-13_0_3_load_30 | 47 | 0.0017125 | 0.00042918 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3203-13_0_3_load_31 | 48 | 0.0055956 | 0.0014024 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3203-13_0_3_load_34 | 49 | 0.0028559 | 0.00071576 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3203-13_0_3_load_35 | 50 | 0.002666 | 0.00066815 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3203-13_0_3_load_36 | 51 | 0.0048855 | 0.0012244 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3203-13_0_3_load_38 | 52 | 0.0026567 | 0.00066583 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3203-13_0_3_load_99 | 53 | 0.0049707 | 0.0012458 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3203-13_0_3_load_41 | 54 | 0.0020596 | 0.00051619 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3203-13_0_3_load_42 | 55 | 0.0028308 | 0.00070948 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3203-13_0_3_load_43 | 56 | 0.0065761 | 0.0016481 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3203-13_0_3_load_45 | 58 | 0.0033071 | 0.00082883 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3203-13_0_3_load_46 | 59 | 0.0030856 | 0.00077333 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3203-13_0_3_load_55 | 60 | 0.0025403 | 0.00063666 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3203-13_0_3_load_51 | 62 | 0.0036161 | 0.00090629 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3203-13_0_3_load_52 | 63 | 0.0033192 | 0.00083188 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3203-13_0_3_load_53 | 64 | 0.0024809 | 0.00062176 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_3203-13_0_3_load_54 | 65 | 0.0038878 | 0.00097438 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_3203-13_0_3_load_57 | 66 | 0.0021012 | 0.00052661 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_3203-13_0_3_load_58 | 67 | 0.0061767 | 0.001548 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_3203-13_0_3_load_60 | 68 | 0.0038603 | 0.00096747 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_3203-13_0_3_load_61 | 69 | 0.0032418 | 0.00081248 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_3203-13_0_3_load_62 | 70 | 0.0043129 | 0.0010809 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_3203-13_0_3_load_59 | 71 | 0.0070783 | 0.001774 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_3203-13_0_3_load_63 | 72 | 0.0075441 | 0.0018907 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_3203-13_0_3_load_96 | 73 | 0.0043552 | 0.0010915 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_3203-13_0_3_load_95 | 74 | 0.0020988 | 0.000526 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_3203-13_0_3_load_69 | 75 | 0.005044 | 0.0012642 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_3203-13_0_3_load_70 | 76 | 0.0028313 | 0.00070959 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_3203-13_0_3_load_67 | 77 | 0.0027444 | 0.00068781 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_3203-13_0_3_load_68 | 78 | 0.010124 | 0.0025374 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_3203-13_0_3_load_72 | 79 | 0.0036769 | 0.00092152 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_3203-13_0_3_load_73 | 80 | 0.0022165 | 0.00055552 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_3203-13_0_3_load_71 | 81 | 0.0063328 | 0.0015871 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_3203-13_0_3_load_75 | 82 | 0.0071118 | 0.0017824 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_3203-13_0_3_load_80 | 83 | 0.003237 | 0.00081126 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_3203-13_0_3_load_74 | 84 | 0.0054986 | 0.0013781 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_3203-13_0_3_load_76 | 85 | 0.0020528 | 0.00051448 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_3203-13_0_3_load_77 | 86 | 0.0020655 | 0.00051766 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_3203-13_0_3_load_81 | 87 | 0.0069529 | 0.0017426 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_3203-13_0_3_load_82 | 88 | 0.0051791 | 0.001298 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_3203-13_0_3_load_83 | 89 | 0.0072599 | 0.0018195 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_3203-13_0_3_load_85 | 90 | 0.012141 | 0.0030429 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_3203-13_0_3_load_87 | 91 | 0.0040098 | 0.001005 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_3203-13_0_3_load_88 | 92 | 0.0071054 | 0.0017808 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_3203-13_0_3_load_90 | 93 | 0.0026652 | 0.00066797 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_3203-13_0_3_load_91 | 94 | 0.0026905 | 0.00067429 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_3203-13_0_3_load_93 | 96 | 0.0026149 | 0.00065536 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_3203-13_0_3_load_94 | 97 | 0.0048 | 0.001203 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_3203-13_0_3_load_104 | 98 | 0.0023886 | 0.00059863 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 68 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3203-13_0_3_line_0 |  | 0 | 1 | 0.12705 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_3203-13_0_3_line_1 |  | 1 | 2 | 0.030948 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_3203-13_0_3_line_2 |  | 2 | 6 | 0.06139 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_3203-13_0_3_line_3 |  | 3 | 4 | 0.001636 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
4 | LV_3203-13_0_3_line_4 |  | 3 | 5 | 0.034051 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
5 | LV_3203-13_0_3_line_5 |  | 4 | 77 | 0.02802 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
6 | LV_3203-13_0_3_line_6 |  | 5 | 71 | 7.9373e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
7 | LV_3203-13_0_3_line_7 |  | 6 | 7 | 0.039777 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_3203-13_0_3_line_8 |  | 7 | 86 | 0.027045 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_3203-13_0_3_line_9 |  | 8 | 9 | 0.039391 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
10 | LV_3203-13_0_3_line_10 |  | 8 | 10 | 0.014484 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
11 | LV_3203-13_0_3_line_11 |  | 9 | 11 | 0.017575 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
12 | LV_3203-13_0_3_line_12 |  | 10 | 12 | 0.021938 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
13 | LV_3203-13_0_3_line_13 |  | 10 | 13 | 0.024959 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_3203-13_0_3_line_14 |  | 11 | 14 | 0.012996 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
15 | LV_3203-13_0_3_line_15 |  | 11 | 15 | 0.025716 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_3203-13_0_3_line_16 |  | 12 | 16 | 0.042207 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
17 | LV_3203-13_0_3_line_17 |  | 13 | 17 | 0.011988 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_3203-13_0_3_line_18 |  | 14 | 18 | 0.025476 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
19 | LV_3203-13_0_3_line_19 |  | 15 | 19 | 0.029725 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_3203-13_0_3_line_20 |  | 16 | 20 | 0.0059285 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
21 | LV_3203-13_0_3_line_21 |  | 17 | 21 | 0.018086 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_3203-13_0_3_line_22 |  | 18 | 28 | 0.0065608 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
23 | LV_3203-13_0_3_line_23 |  | 19 | 24 | 0.016925 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_3203-13_0_3_line_24 |  | 19 | 23 | 0.01228 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_3203-13_0_3_line_25 |  | 20 | 62 | 0.029403 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
26 | LV_3203-13_0_3_line_26 |  | 21 | 25 | 0.0080695 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_3203-13_0_3_line_27 |  | 22 | 23 | 0.0087137 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_3203-13_0_3_line_28 |  | 24 | 26 | 0.03372 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_3203-13_0_3_line_29 |  | 25 | 27 | 0.021369 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_3203-13_0_3_line_30 |  | 27 | 98 | 0.011856 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_3203-13_0_3_line_31 |  | 28 | 58 | 0.026745 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
32 | LV_3203-13_0_3_line_32 |  | 29 | 30 | 0.013394 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_3203-13_0_3_line_33 |  | 29 | 31 | 0.033827 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_3203-13_0_3_line_34 |  | 30 | 32 | 0.042281 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_3203-13_0_3_line_35 |  | 31 | 33 | 0.016058 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_3203-13_0_3_line_36 |  | 31 | 34 | 0.032884 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_3203-13_0_3_line_37 |  | 32 | 35 | 0.019295 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_3203-13_0_3_line_38 |  | 33 | 36 | 0.062154 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_3203-13_0_3_line_39 |  | 34 | 37 | 0.042131 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_3203-13_0_3_line_40 |  | 35 | 38 | 0.0028886 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_3203-13_0_3_line_41 |  | 36 | 39 | 0.02567 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_3203-13_0_3_line_42 |  | 36 | 40 | 0.01312 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_3203-13_0_3_line_43 |  | 38 | 46 | 0.026737 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_3203-13_0_3_line_44 |  | 39 | 41 | 0.013974 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_3203-13_0_3_line_45 |  | 40 | 42 | 0.000421 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_3203-13_0_3_line_46 |  | 41 | 43 | 0.025126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_3203-13_0_3_line_47 |  | 42 | 44 | 0.024844 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_3203-13_0_3_line_48 |  | 42 | 45 | 0.042227 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_3203-13_0_3_line_49 |  | 43 | 97 | 0.036712 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_3203-13_0_3_line_50 |  | 44 | 54 | 0.0087141 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_3203-13_0_3_line_51 |  | 45 | 50 | 0.0034079 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_3203-13_0_3_line_52 |  | 46 | 47 | 0.026917 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_3203-13_0_3_line_53 |  | 47 | 48 | 0.040519 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_3203-13_0_3_line_54 |  | 49 | 50 | 0.034192 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_3203-13_0_3_line_55 |  | 49 | 51 | 0.0033767 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_3203-13_0_3_line_56 |  | 51 | 52 | 0.032109 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_3203-13_0_3_line_57 |  | 52 | 53 | 0.0011361 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_3203-13_0_3_line_58 |  | 54 | 55 | 0.03042 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_3203-13_0_3_line_59 |  | 55 | 56 | 0.0076231 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_3203-13_0_3_line_60 |  | 56 | 57 | 0.017697 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_3203-13_0_3_line_61 |  | 57 | 58 | 0.022038 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
62 | LV_3203-13_0_3_line_62 |  | 57 | 59 | 0.011285 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
63 | LV_3203-13_0_3_line_63 |  | 59 | 60 | 0.031002 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
64 | LV_3203-13_0_3_line_64 |  | 60 | 61 | 0.017934 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
65 | LV_3203-13_0_3_line_65 |  | 61 | 68 | 0.018602 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
66 | LV_3203-13_0_3_line_66 |  | 61 | 69 | 0.013837 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_3203-13_0_3_line_67 |  | 62 | 63 | 0.0037383 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
68 | LV_3203-13_0_3_line_68 |  | 63 | 64 | 0.03058 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
69 | LV_3203-13_0_3_line_69 |  | 64 | 65 | 0.0022777 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
70 | LV_3203-13_0_3_line_70 |  | 65 | 66 | 0.031374 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
71 | LV_3203-13_0_3_line_71 |  | 66 | 67 | 0.0020592 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
72 | LV_3203-13_0_3_line_72 |  | 67 | 71 | 0.031571 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
73 | LV_3203-13_0_3_line_73 |  | 68 | 70 | 0.032858 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_3203-13_0_3_line_74 |  | 70 | 72 | 0.014873 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_3203-13_0_3_line_75 |  | 72 | 75 | 0.022354 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_3203-13_0_3_line_76 |  | 73 | 74 | 0.031634 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_3203-13_0_3_line_77 |  | 74 | 96 | 0.0138 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_3203-13_0_3_line_78 |  | 75 | 76 | 0.029413 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_3203-13_0_3_line_79 |  | 76 | 81 | 0.01467 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_3203-13_0_3_line_80 |  | 77 | 78 | 0.0033002 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_3203-13_0_3_line_81 |  | 78 | 79 | 0.021712 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_3203-13_0_3_line_82 |  | 79 | 80 | 0.0078066 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_3203-13_0_3_line_83 |  | 80 | 84 | 0.021893 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_3203-13_0_3_line_84 |  | 81 | 82 | 0.016071 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_3203-13_0_3_line_85 |  | 82 | 83 | 0.012468 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_3203-13_0_3_line_86 |  | 83 | 87 | 0.022654 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_3203-13_0_3_line_87 |  | 84 | 85 | 0.015966 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_3203-13_0_3_line_88 |  | 85 | 86 | 0.018624 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_3203-13_0_3_line_89 |  | 87 | 88 | 0.016295 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_3203-13_0_3_line_90 |  | 88 | 89 | 0.0099772 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_3203-13_0_3_line_91 |  | 89 | 90 | 0.059226 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_3203-13_0_3_line_92 |  | 91 | 92 | 0.045024 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_3203-13_0_3_line_93 |  | 92 | 93 | 0.0082602 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_3203-13_0_3_line_94 |  | 93 | 94 | 0.029283 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_3203-13_0_3_line_95 |  | 94 | 95 | 0.021382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_3203-13_0_3_line_96 |  | 95 | 96 | 0.017471 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_3203-13_0_3_line_97 |  | 95 | 97 | 0.052338 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3203-13_0_3_trafo_60 | 0.63 MVA 20/0.4 kV | 99 | 68 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2746740.2156 | 1256355.2161 | 2746746.0831 | 1256482.1325
1 | 2746744.5244 | 1256326.0181 | 2746737.5583 | 1256345.0304 | 2746737.7016 | 1256349.2936 | 2746739.6826 | 1256353.9917 | 2746740.2156 | 1256355.2161
2 | 2746751.1939 | 1256265.6025 | 2746749.3232 | 1256280.1814 | 2746749.3423 | 1256312.8691 | 2746744.5244 | 1256326.0181
3 | 2746860.8724 | 1256412.4031 | 2746861.9649 | 1256413.6209
4 | 2746884.7034 | 1256438.967 | 2746861.9649 | 1256413.6209
5 | 2746860.8724 | 1256412.4031 | 2746842.161 | 1256391.5459
6 | 2746884.7564 | 1256439.0261 | 2746884.7034 | 1256438.967
7 | 2746751.1939 | 1256265.6025 | 2746761.1733 | 1256288.8502 | 2746769.7093 | 1256300.5448
8 | 2746785.8995 | 1256322.2009 | 2746781.9417 | 1256317.3036 | 2746769.7093 | 1256300.5448
9 | 2747045.5869 | 1256554.6195 | 2747053.9831 | 1256546.2201 | 2747060.0102 | 1256535.0478 | 2747061.547 | 1256520.3069
10 | 2747032.8946 | 1256561.3888 | 2747044.1873 | 1256556.0196 | 2747045.5869 | 1256554.6195
11 | 2747059.1843 | 1256503.0184 | 2747061.9126 | 1256516.7996 | 2747061.547 | 1256520.3069
12 | 2747032.8946 | 1256561.3888 | 2747022.1674 | 1256563.7358 | 2747014.0082 | 1256563.8556 | 2747011.2773 | 1256563.2531
13 | 2747032.8946 | 1256561.3888 | 2747034.467 | 1256573.1059 | 2747037.7384 | 1256582.6408 | 2747039.3554 | 1256585.2341
14 | 2747059.1843 | 1256503.0184 | 2747051.6871 | 1256492.4036
15 | 2747059.1843 | 1256503.0184 | 2747067.0653 | 1256503.1699 | 2747078.4431 | 1256516.903
16 | 2747011.2773 | 1256563.2531 | 2747006.054 | 1256562.1008 | 2746996.7301 | 1256558.0765 | 2746988.3773 | 1256552.0189 | 2746977.2334 | 1256540.0078
17 | 2747045.6981 | 1256595.4065 | 2747039.3554 | 1256585.2341
18 | 2747051.6871 | 1256492.4036 | 2747051.4365 | 1256492.0487 | 2747034.8694 | 1256473.2709
19 | 2747097.4068 | 1256539.7925 | 2747078.4431 | 1256516.903
20 | 2746973.2011 | 1256535.6617 | 2746977.2334 | 1256540.0078
21 | 2747045.6981 | 1256595.4065 | 2747058.7155 | 1256607.9617
22 | 2747034.8694 | 1256473.2709 | 2747030.5289 | 1256468.3512
23 | 2747097.4068 | 1256539.7925 | 2747111.3648 | 1256549.3647
24 | 2747097.4068 | 1256539.7925 | 2747092.2542 | 1256550.9388
25 | 2746973.2011 | 1256535.6617 | 2746953.2024 | 1256514.1068
26 | 2747064.5236 | 1256613.5637 | 2747058.7155 | 1256607.9617
27 | 2747088.4679 | 1256558.783 | 2747089.5284 | 1256556.8355 | 2747092.2542 | 1256550.9388
28 | 2747139.1736 | 1256568.4358 | 2747111.3648 | 1256549.3647
29 | 2747064.5236 | 1256613.5637 | 2747079.9041 | 1256628.3982
30 | 2747079.9041 | 1256628.3982 | 2747080.9705 | 1256629.4267 | 2747079.4461 | 1256635.2055 | 2747076.7691 | 1256638.6952
31 | 2747012.8345 | 1256448.2956 | 2747030.5289 | 1256468.3512
32 | 2747083.6277 | 1256272.3457 | 2747081.1939 | 1256267.8259 | 2747078.3357 | 1256260.0756
33 | 2747099.665 | 1256302.1291 | 2747083.6277 | 1256272.3457
34 | 2747069.8449 | 1256218.9856 | 2747072.3931 | 1256243.962 | 2747078.3357 | 1256260.0756
35 | 2747099.665 | 1256302.1291 | 2747092.0241 | 1256311.4261 | 2747088.8289 | 1256313.8725
36 | 2747099.665 | 1256302.1291 | 2747119.1098 | 1256328.6487
37 | 2747069.8449 | 1256218.9856 | 2747066.5973 | 1256217.8927 | 2747051.9797 | 1256211.5903
38 | 2747045.9398 | 1256356.8255 | 2747053.1495 | 1256341.1894 | 2747088.8289 | 1256313.8725
39 | 2747144.0225 | 1256362.6254 | 2747119.1098 | 1256328.6487
40 | 2747051.9797 | 1256211.5903 | 2747049.3554 | 1256210.3833
41 | 2747045.9398 | 1256356.8255 | 2747028.9803 | 1256337.5563
42 | 2747045.9398 | 1256356.8255 | 2747055.7011 | 1256365.5921
43 | 2747049.3554 | 1256210.3833 | 2747025.0647 | 1256199.2115
44 | 2747020.1311 | 1256326.7428 | 2747027.5357 | 1256335.9149 | 2747028.9803 | 1256337.5563
45 | 2747056.0143 | 1256365.8734 | 2747055.7011 | 1256365.5921
46 | 2747020.1311 | 1256326.7428 | 2747011.2997 | 1256315.8034 | 2747004.5197 | 1256307.0575
47 | 2747056.0143 | 1256365.8734 | 2747047.8209 | 1256371.9091 | 2747043.3493 | 1256379.383 | 2747038.4913 | 1256382.833
48 | 2747056.0143 | 1256365.8734 | 2747082.5787 | 1256398.6982
49 | 2747004.5197 | 1256307.0575 | 2746982.0266 | 1256278.0428
50 | 2747038.4913 | 1256382.833 | 2747031.3864 | 1256387.8786
51 | 2747082.5787 | 1256398.6982 | 2747084.7226 | 1256401.3473
52 | 2747025.0647 | 1256199.2115 | 2747000.6096 | 1256187.9642
53 | 2747000.6096 | 1256187.9642 | 2746993.7967 | 1256184.8308 | 2746965.076 | 1256168.5379
54 | 2747106.2321 | 1256427.926 | 2747084.7226 | 1256401.3473
55 | 2747106.2321 | 1256427.926 | 2747108.3563 | 1256430.5508
56 | 2747108.3563 | 1256430.5508 | 2747128.5554 | 1256455.5102
57 | 2747129.2701 | 1256456.3934 | 2747128.5554 | 1256455.5102
58 | 2747031.3864 | 1256387.8786 | 2747023.6631 | 1256393.3633 | 2747013.4663 | 1256411.661
59 | 2747009.7555 | 1256418.32 | 2747013.4663 | 1256411.661
60 | 2746998.2542 | 1256431.7697 | 2747009.7555 | 1256418.32
61 | 2746998.2542 | 1256431.7697 | 2747012.8345 | 1256448.2956
62 | 2746998.2542 | 1256431.7697 | 2746990.7693 | 1256423.324
63 | 2746990.7693 | 1256423.324 | 2746970.2072 | 1256400.1228
64 | 2746958.3124 | 1256386.7012 | 2746970.2072 | 1256400.1228
65 | 2746958.3124 | 1256386.7012 | 2746945.8583 | 1256372.8829
66 | 2746958.3124 | 1256386.7012 | 2746961.8836 | 1256380.8397 | 2746963.7002 | 1256374.1075
67 | 2746950.6598 | 1256511.3663 | 2746953.2024 | 1256514.1068
68 | 2746950.6598 | 1256511.3663 | 2746929.8608 | 1256488.9487
69 | 2746929.8608 | 1256488.9487 | 2746928.3116 | 1256487.279
70 | 2746907.2139 | 1256464.059 | 2746920.2501 | 1256478.5901 | 2746928.3116 | 1256487.279
71 | 2746907.2139 | 1256464.059 | 2746905.8388 | 1256462.5262
72 | 2746905.8388 | 1256462.5262 | 2746884.7564 | 1256439.0261
73 | 2746945.8583 | 1256372.8829 | 2746929.5206 | 1256354.7557 | 2746924.1426 | 1256348.2313
74 | 2746924.1426 | 1256348.2313 | 2746914.6828 | 1256336.7549
75 | 2746900.4642 | 1256319.5055 | 2746914.6828 | 1256336.7549
76 | 2746946.8961 | 1256292.3228 | 2746951.3332 | 1256304.6818 | 2746956.5556 | 1256319.5258 | 2746957.2569 | 1256322.2017
77 | 2746942.2333 | 1256279.3349 | 2746946.8961 | 1256292.3228
78 | 2746900.4642 | 1256319.5055 | 2746881.7556 | 1256296.8088
79 | 2746881.7556 | 1256296.8088 | 2746872.4248 | 1256285.4889
80 | 2746842.161 | 1256391.5459 | 2746839.9572 | 1256389.0894 | 2746839.9572 | 1256389.0894
81 | 2746826.3095 | 1256372.2024 | 2746839.9572 | 1256389.0894
82 | 2746826.3095 | 1256372.2024 | 2746821.4026 | 1256366.1307
83 | 2746807.6414 | 1256349.1033 | 2746821.4026 | 1256366.1307
84 | 2746862.2026 | 1256273.0876 | 2746872.4248 | 1256285.4889
85 | 2746862.2026 | 1256273.0876 | 2746854.272 | 1256263.4665
86 | 2746836.4429 | 1256249.7457 | 2746851.1747 | 1256259.7089 | 2746854.272 | 1256263.4665
87 | 2746807.6414 | 1256349.1033 | 2746797.6058 | 1256336.6857
88 | 2746785.8995 | 1256322.2009 | 2746797.6058 | 1256336.6857
89 | 2746821.0812 | 1256244.9638 | 2746833.3347 | 1256247.6437 | 2746836.4429 | 1256249.7457
90 | 2746821.0812 | 1256244.9638 | 2746813.372 | 1256243.2778 | 2746811.2868 | 1256243.3256
91 | 2746811.2868 | 1256243.3256 | 2746790.3586 | 1256187.9203
92 | 2746893.7918 | 1256168.044 | 2746912.2164 | 1256209.1256
93 | 2746912.2164 | 1256209.1256 | 2746915.5966 | 1256216.6625
94 | 2746927.5799 | 1256243.3818 | 2746915.5966 | 1256216.6625
95 | 2746936.3297 | 1256262.8912 | 2746927.5799 | 1256243.3818
96 | 2746936.3297 | 1256262.8912 | 2746942.2333 | 1256279.3349
97 | 2746936.3297 | 1256262.8912 | 2746949.7938 | 1256259.7334 | 2746974.2616 | 1256268.0265 | 2746982.0266 | 1256278.0428

## bus_geodata
| x | y | coords
0 | 2746746.0831 | 1256482.1325
1 | 2746740.2156 | 1256355.2161
2 | 2746744.5244 | 1256326.0181
3 | 2746861.9649 | 1256413.6209
4 | 2746860.8724 | 1256412.4031
5 | 2746884.7034 | 1256438.967
6 | 2746751.1939 | 1256265.6025
7 | 2746769.7093 | 1256300.5448
8 | 2747045.5869 | 1256554.6195
9 | 2747061.547 | 1256520.3069
10 | 2747032.8946 | 1256561.3888
11 | 2747059.1843 | 1256503.0184
12 | 2747011.2773 | 1256563.2531
13 | 2747039.3554 | 1256585.2341
14 | 2747051.6871 | 1256492.4036
15 | 2747078.4431 | 1256516.903
16 | 2746977.2334 | 1256540.0078
17 | 2747045.6981 | 1256595.4065
18 | 2747034.8694 | 1256473.2709
19 | 2747097.4068 | 1256539.7925
20 | 2746973.2011 | 1256535.6617
21 | 2747058.7155 | 1256607.9617
22 | 2747088.4679 | 1256558.783
23 | 2747092.2542 | 1256550.9388
24 | 2747111.3648 | 1256549.3647
25 | 2747064.5236 | 1256613.5637
26 | 2747139.1736 | 1256568.4358
27 | 2747079.9041 | 1256628.3982
28 | 2747030.5289 | 1256468.3512
29 | 2747083.6277 | 1256272.3457
30 | 2747078.3357 | 1256260.0756
31 | 2747099.6649 | 1256302.1291
32 | 2747069.8449 | 1256218.9856
33 | 2747088.8289 | 1256313.8725
34 | 2747119.1098 | 1256328.6487
35 | 2747051.9797 | 1256211.5903
36 | 2747045.9398 | 1256356.8255
37 | 2747144.0225 | 1256362.6254
38 | 2747049.3554 | 1256210.3833
39 | 2747028.9803 | 1256337.5563
40 | 2747055.7011 | 1256365.5921
41 | 2747020.1311 | 1256326.7428
42 | 2747056.0143 | 1256365.8734
43 | 2747004.5197 | 1256307.0575
44 | 2747038.4913 | 1256382.833
45 | 2747082.5787 | 1256398.6982
46 | 2747025.0647 | 1256199.2115
47 | 2747000.6096 | 1256187.9642
48 | 2746965.076 | 1256168.5379
49 | 2747106.2321 | 1256427.926
50 | 2747084.7226 | 1256401.3473
51 | 2747108.3563 | 1256430.5508
52 | 2747128.5554 | 1256455.5102
53 | 2747129.2701 | 1256456.3934
54 | 2747031.3864 | 1256387.8786
55 | 2747013.4663 | 1256411.661
56 | 2747009.7555 | 1256418.32
57 | 2746998.2542 | 1256431.7697
58 | 2747012.8345 | 1256448.2956
59 | 2746990.7693 | 1256423.324
60 | 2746970.2072 | 1256400.1228
61 | 2746958.3124 | 1256386.7012
62 | 2746953.2024 | 1256514.1068
63 | 2746950.6598 | 1256511.3663
64 | 2746929.8608 | 1256488.9487
65 | 2746928.3116 | 1256487.279
66 | 2746907.2139 | 1256464.059
67 | 2746905.8388 | 1256462.5262
68 | 2746945.8583 | 1256372.8829
69 | 2746963.7002 | 1256374.1075
70 | 2746924.1426 | 1256348.2313
71 | 2746884.7564 | 1256439.0261
72 | 2746914.6828 | 1256336.7549
73 | 2746957.2569 | 1256322.2017
74 | 2746946.8961 | 1256292.3228
75 | 2746900.4642 | 1256319.5055
76 | 2746881.7556 | 1256296.8088
77 | 2746842.161 | 1256391.5459
78 | 2746839.9572 | 1256389.0894
79 | 2746826.3095 | 1256372.2024
80 | 2746821.4026 | 1256366.1307
81 | 2746872.4248 | 1256285.4889
82 | 2746862.2026 | 1256273.0876
83 | 2746854.272 | 1256263.4665
84 | 2746807.6414 | 1256349.1033
85 | 2746797.6058 | 1256336.6857
86 | 2746785.8995 | 1256322.2009
87 | 2746836.4429 | 1256249.7457
88 | 2746821.0812 | 1256244.9638
89 | 2746811.2868 | 1256243.3256
90 | 2746790.3586 | 1256187.9203
91 | 2746893.7918 | 1256168.044
92 | 2746912.2164 | 1256209.1256
93 | 2746915.5966 | 1256216.6625
94 | 2746927.5799 | 1256243.3818
95 | 2746936.3297 | 1256262.8912
96 | 2746942.2333 | 1256279.3349
97 | 2746982.0266 | 1256278.0428
98 | 2747076.7691 | 1256638.6952
99 | 2746958.3124 | 1256386.7012

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1