## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3203-141_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3203-141_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3203-141_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_3203-141_0_4_node_21 | 0.4 | n |  | TRUE
4 | bus_LV_3203-141_0_4_node_3 | 0.4 | n |  | TRUE
5 | bus_LV_3203-141_0_4_node_94 | 0.4 | n |  | TRUE
6 | bus_LV_3203-141_0_4_node_15 | 0.4 | n |  | TRUE
7 | bus_LV_3203-141_0_4_node_4 | 0.4 | n |  | TRUE
8 | bus_LV_3203-141_0_4_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_3203-141_0_4_node_42 | 0.4 | n |  | TRUE
10 | bus_LV_3203-141_0_4_node_89 | 0.4 | n |  | TRUE
11 | bus_LV_3203-141_0_4_node_6 | 0.4 | n |  | TRUE
12 | bus_LV_3203-141_0_4_node_81 | 0.4 | n |  | TRUE
13 | bus_LV_3203-141_0_4_node_86 | 0.4 | n |  | TRUE
14 | bus_LV_3203-141_0_4_node_8 | 0.4 | n |  | TRUE
15 | bus_LV_3203-141_0_4_node_12 | 0.4 | n |  | TRUE
16 | bus_LV_3203-141_0_4_node_84 | 0.4 | n |  | TRUE
17 | bus_LV_3203-141_0_4_node_9 | 0.4 | n |  | TRUE
18 | bus_LV_3203-141_0_4_node_14 | 0.4 | n |  | TRUE
19 | bus_LV_3203-141_0_4_node_48 | 0.4 | n |  | TRUE
20 | bus_LV_3203-141_0_4_node_10 | 0.4 | n |  | TRUE
21 | bus_LV_3203-141_0_4_node_82 | 0.4 | n |  | TRUE
22 | bus_LV_3203-141_0_4_node_78 | 0.4 | n |  | TRUE
23 | bus_LV_3203-141_0_4_node_11 | 0.4 | n |  | TRUE
24 | bus_LV_3203-141_0_4_node_39 | 0.4 | n |  | TRUE
25 | bus_LV_3203-141_0_4_node_43 | 0.4 | n |  | TRUE
26 | bus_LV_3203-141_0_4_node_41 | 0.4 | n |  | TRUE
27 | bus_LV_3203-141_0_4_node_83 | 0.4 | n |  | TRUE
28 | bus_LV_3203-141_0_4_node_13 | 0.4 | n |  | TRUE
29 | bus_LV_3203-141_0_4_node_16 | 0.4 | n |  | TRUE
30 | bus_LV_3203-141_0_4_node_50 | 0.4 | n |  | TRUE
31 | bus_LV_3203-141_0_4_node_28 | 0.4 | n |  | TRUE
32 | bus_LV_3203-141_0_4_node_49 | 0.4 | n |  | TRUE
33 | bus_LV_3203-141_0_4_node_17 | 0.4 | n |  | TRUE
34 | bus_LV_3203-141_0_4_node_98 | 0.4 | n |  | TRUE
35 | bus_LV_3203-141_0_4_node_99 | 0.4 | n |  | TRUE
36 | bus_LV_3203-141_0_4_node_19 | 0.4 | n |  | TRUE
37 | bus_LV_3203-141_0_4_node_20 | 0.4 | n |  | TRUE
38 | bus_LV_3203-141_0_4_node_56 | 0.4 | n |  | TRUE
39 | bus_LV_3203-141_0_4_node_45 | 0.4 | n |  | TRUE
40 | bus_LV_3203-141_0_4_node_25 | 0.4 | n |  | TRUE
41 | bus_LV_3203-141_0_4_node_44 | 0.4 | n |  | TRUE
42 | bus_LV_3203-141_0_4_node_91 | 0.4 | n |  | TRUE
43 | bus_LV_3203-141_0_4_node_92 | 0.4 | n |  | TRUE
44 | bus_LV_3203-141_0_4_node_93 | 0.4 | n |  | TRUE
45 | bus_LV_3203-141_0_4_node_88 | 0.4 | n |  | TRUE
46 | bus_LV_3203-141_0_4_node_85 | 0.4 | n |  | TRUE
47 | bus_LV_3203-141_0_4_node_79 | 0.4 | n |  | TRUE
48 | bus_LV_3203-141_0_4_node_38 | 0.4 | n |  | TRUE
49 | bus_LV_3203-141_0_4_node_63 | 0.4 | n |  | TRUE
50 | bus_LV_3203-141_0_4_node_62 | 0.4 | n |  | TRUE
51 | bus_LV_3203-141_0_4_node_101 | 0.4 | n |  | TRUE
52 | bus_LV_3203-141_0_4_node_97 | 0.4 | n |  | TRUE
53 | bus_LV_3203-141_0_4_node_54 | 0.4 | n |  | TRUE
54 | bus_LV_3203-141_0_4_node_22 | 0.4 | n |  | TRUE
55 | bus_LV_3203-141_0_4_node_23 | 0.4 | n |  | TRUE
56 | bus_LV_3203-141_0_4_node_24 | 0.4 | n |  | TRUE
57 | bus_LV_3203-141_0_4_node_26 | 0.4 | n |  | TRUE
58 | bus_LV_3203-141_0_4_node_27 | 0.4 | n |  | TRUE
59 | bus_LV_3203-141_0_4_node_29 | 0.4 | n |  | TRUE
60 | bus_LV_3203-141_0_4_node_31 | 0.4 | n |  | TRUE
61 | bus_LV_3203-141_0_4_node_32 | 0.4 | n |  | TRUE
62 | bus_LV_3203-141_0_4_node_34 | 0.4 | n |  | TRUE
63 | bus_LV_3203-141_0_4_node_33 | 0.4 | n |  | TRUE
64 | bus_LV_3203-141_0_4_node_36 | 0.4 | n |  | TRUE
65 | bus_LV_3203-141_0_4_node_35 | 0.4 | n |  | TRUE
66 | bus_LV_3203-141_0_4_node_37 | 0.4 | n |  | TRUE
67 | bus_LV_3203-141_0_4_node_40 | 0.4 | n |  | TRUE
68 | bus_LV_3203-141_0_4_node_90 | 0.4 | n |  | TRUE
69 | bus_LV_3203-141_0_4_node_95 | 0.4 | n |  | TRUE
70 | bus_LV_3203-141_0_4_node_96 | 0.4 | n |  | TRUE
71 | bus_LV_3203-141_0_4_node_87 | 0.4 | n |  | TRUE
72 | bus_LV_3203-141_0_4_node_51 | 0.4 | n |  | TRUE
73 | bus_LV_3203-141_0_4_node_52 | 0.4 | n |  | TRUE
74 | bus_LV_3203-141_0_4_node_53 | 0.4 | n |  | TRUE
75 | bus_LV_3203-141_0_4_node_55 | 0.4 | n |  | TRUE
76 | bus_LV_3203-141_0_4_node_57 | 0.4 | n |  | TRUE
77 | bus_LV_3203-141_0_4_node_59 | 0.4 | n |  | TRUE
78 | bus_LV_3203-141_0_4_node_60 | 0.4 | n |  | TRUE
79 | bus_LV_3203-141_0_4_node_61 | 0.4 | n |  | TRUE
80 | bus_LV_3203-141_0_4_node_77 | 0.4 | n |  | TRUE
81 | bus_LV_3203-141_0_4_node_76 | 0.4 | n |  | TRUE
82 | bus_LV_3203-141_0_4_node_64 | 0.4 | n |  | TRUE
83 | bus_LV_3203-141_0_4_node_65 | 0.4 | n |  | TRUE
84 | bus_LV_3203-141_0_4_node_66 | 0.4 | n |  | TRUE
85 | bus_LV_3203-141_0_4_node_67 | 0.4 | n |  | TRUE
86 | bus_LV_3203-141_0_4_node_68 | 0.4 | n |  | TRUE
87 | bus_LV_3203-141_0_4_node_69 | 0.4 | n |  | TRUE
88 | bus_LV_3203-141_0_4_node_70 | 0.4 | n |  | TRUE
89 | bus_LV_3203-141_0_4_node_71 | 0.4 | n |  | TRUE
90 | bus_LV_3203-141_0_4_node_72 | 0.4 | n |  | TRUE
91 | bus_LV_3203-141_0_4_node_73 | 0.4 | n |  | TRUE
92 | bus_LV_3203-141_0_4_node_74 | 0.4 | n |  | TRUE
93 | bus_LV_3203-141_0_4_node_75 | 0.4 | n |  | TRUE
94 | bus_LV_3203-141_0_4_node_80 | 0.4 | n |  | TRUE
95 | bus_LV_3203-141_0_4_node_100 | 0.4 | n |  | TRUE
96 | bus_MV_581_0_node_107 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3203-141_0_4_load_0 | 0 | 0.0053559 | 0.0013423 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3203-141_0_4_load_2 | 2 | 0.0026563 | 0.00066573 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3203-141_0_4_load_21 | 3 | 0.0019829 | 0.00049696 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3203-141_0_4_load_94 | 5 | 0.0020885 | 0.00052343 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3203-141_0_4_load_42 | 9 | 0.012902 | 0.0032335 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3203-141_0_4_load_89 | 10 | 0.0035374 | 0.00088655 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3203-141_0_4_load_81 | 12 | 0.010557 | 0.0026457 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3203-141_0_4_load_86 | 13 | 0.01059 | 0.002654 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3203-141_0_4_load_84 | 16 | 0.0072185 | 0.0018091 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3203-141_0_4_load_48 | 19 | 0.0023617 | 0.00059189 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3203-141_0_4_load_82 | 21 | 0.010051 | 0.0025191 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3203-141_0_4_load_78 | 22 | 0.010364 | 0.0025975 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3203-141_0_4_load_39 | 24 | 0.0051161 | 0.0012822 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3203-141_0_4_load_43 | 25 | 0.0021956 | 0.00055027 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3203-141_0_4_load_41 | 26 | 0.006281 | 0.0015742 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3203-141_0_4_load_83 | 27 | 0.010033 | 0.0025145 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3203-141_0_4_load_50 | 30 | 0.013729 | 0.0034408 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3203-141_0_4_load_49 | 32 | 0.014292 | 0.003582 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3203-141_0_4_load_98 | 34 | 0.006025 | 0.00151 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3203-141_0_4_load_56 | 38 | 0.0021013 | 0.00052663 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3203-141_0_4_load_25 | 40 | 0.0081464 | 0.0020417 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3203-141_0_4_load_92 | 43 | 0.0061627 | 0.0015445 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3203-141_0_4_load_93 | 44 | 0.0053764 | 0.0013475 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3203-141_0_4_load_88 | 45 | 0.0033626 | 0.00084274 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3203-141_0_4_load_85 | 46 | 0.0029288 | 0.00073404 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3203-141_0_4_load_79 | 47 | 0.010163 | 0.0025471 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3203-141_0_4_load_63 | 49 | 0.0012377 | 0.00031019 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3203-141_0_4_load_62 | 50 | 0.0020613 | 0.00051661 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3203-141_0_4_load_101 | 51 | 0.0024268 | 0.00060821 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3203-141_0_4_load_54 | 53 | 0.010652 | 0.0026697 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3203-141_0_4_load_22 | 54 | 0.014132 | 0.0035418 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3203-141_0_4_load_23 | 55 | 0.010859 | 0.0027216 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3203-141_0_4_load_27 | 58 | 0.0064317 | 0.0016119 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3203-141_0_4_load_29 | 59 | 0.0066365 | 0.0016633 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3203-141_0_4_load_31 | 60 | 0.0028044 | 0.00070285 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3203-141_0_4_load_34 | 62 | 0.00663 | 0.0016616 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3203-141_0_4_load_33 | 63 | 0.0064135 | 0.0016074 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3203-141_0_4_load_36 | 64 | 0.003983 | 0.00099824 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3203-141_0_4_load_35 | 65 | 0.0065336 | 0.0016375 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3203-141_0_4_load_37 | 66 | 0.0025552 | 0.00064039 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3203-141_0_4_load_40 | 67 | 0.0052881 | 0.0013253 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3203-141_0_4_load_90 | 68 | 0.0057031 | 0.0014293 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3203-141_0_4_load_95 | 69 | 0.0065327 | 0.0016373 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3203-141_0_4_load_96 | 70 | 0.0054745 | 0.001372 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3203-141_0_4_load_87 | 71 | 0.0033534 | 0.00084044 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3203-141_0_4_load_51 | 72 | 0.010631 | 0.0026643 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3203-141_0_4_load_52 | 73 | 0.010835 | 0.0027155 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3203-141_0_4_load_53 | 74 | 0.005434 | 0.0013619 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3203-141_0_4_load_55 | 75 | 0.005464 | 0.0013694 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3203-141_0_4_load_57 | 76 | 0.007757 | 0.0019441 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3203-141_0_4_load_60 | 78 | 0.0026321 | 0.00065967 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3203-141_0_4_load_61 | 79 | 0.002597 | 0.00065088 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3203-141_0_4_load_77 | 80 | 0.0025759 | 0.00064558 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_3203-141_0_4_load_76 | 81 | 0.0025862 | 0.00064816 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_3203-141_0_4_load_64 | 82 | 0.0026563 | 0.00066573 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_3203-141_0_4_load_65 | 83 | 0.0025862 | 0.00064816 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_3203-141_0_4_load_66 | 84 | 0.0025759 | 0.00064558 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_3203-141_0_4_load_67 | 85 | 0.002597 | 0.00065088 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_3203-141_0_4_load_68 | 86 | 0.0026321 | 0.00065967 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_3203-141_0_4_load_69 | 87 | 0.0026563 | 0.00066573 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_3203-141_0_4_load_70 | 88 | 0.0025862 | 0.00064816 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_3203-141_0_4_load_71 | 89 | 0.0025759 | 0.00064558 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_3203-141_0_4_load_72 | 90 | 0.002597 | 0.00065088 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_3203-141_0_4_load_73 | 91 | 0.0073523 | 0.0018427 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_3203-141_0_4_load_74 | 92 | 0.0026321 | 0.00065967 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_3203-141_0_4_load_80 | 94 | 0.01036 | 0.0025964 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_3203-141_0_4_load_100 | 95 | 0.005367 | 0.0013451 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 20 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3203-141_0_4_line_0 |  | 0 | 1 | 0.026606 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_3203-141_0_4_line_1 |  | 1 | 2 | 0.097377 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_3203-141_0_4_line_2 |  | 2 | 3 | 0.023457 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_3203-141_0_4_line_3 |  | 3 | 39 | 0.10732 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_3203-141_0_4_line_4 |  | 4 | 5 | 0.070463 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_3203-141_0_4_line_5 |  | 4 | 6 | 0.089301 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_3203-141_0_4_line_6 |  | 6 | 19 | 0.052618 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_3203-141_0_4_line_7 |  | 7 | 8 | 0.051914 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_3203-141_0_4_line_8 |  | 7 | 9 | 0.016774 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_3203-141_0_4_line_9 |  | 8 | 10 | 0.014841 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_3203-141_0_4_line_10 |  | 9 | 26 | 0.035476 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_3203-141_0_4_line_11 |  | 10 | 45 | 0.0072301 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_3203-141_0_4_line_12 |  | 11 | 12 | 0.0076407 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_3203-141_0_4_line_13 |  | 11 | 13 | 0.01244 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_3203-141_0_4_line_14 |  | 13 | 37 | 0.040871 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_3203-141_0_4_line_15 |  | 14 | 15 | 0.03276 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_3203-141_0_4_line_16 |  | 14 | 16 | 0.0096766 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_3203-141_0_4_line_17 |  | 15 | 27 | 0.011839 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
18 | LV_3203-141_0_4_line_18 |  | 15 | 18 | 0.032624 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
19 | LV_3203-141_0_4_line_19 |  | 16 | 46 | 0.02336 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_3203-141_0_4_line_20 |  | 17 | 18 | 0.06908 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_3203-141_0_4_line_21 |  | 17 | 19 | 0.0089005 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_3203-141_0_4_line_22 |  | 18 | 28 | 0.086021 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
23 | LV_3203-141_0_4_line_23 |  | 20 | 21 | 0.0516 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
24 | LV_3203-141_0_4_line_24 |  | 20 | 22 | 0.003776 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
25 | LV_3203-141_0_4_line_25 |  | 21 | 27 | 0.020886 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
26 | LV_3203-141_0_4_line_26 |  | 22 | 47 | 0.027392 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
27 | LV_3203-141_0_4_line_27 |  | 23 | 24 | 0.015566 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
28 | LV_3203-141_0_4_line_28 |  | 23 | 25 | 0.0043449 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
29 | LV_3203-141_0_4_line_29 |  | 23 | 26 | 0.01632 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_3203-141_0_4_line_30 |  | 24 | 48 | 0.0053697 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
31 | LV_3203-141_0_4_line_31 |  | 25 | 28 | 0.011561 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
32 | LV_3203-141_0_4_line_32 |  | 29 | 30 | 0.059181 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_3203-141_0_4_line_33 |  | 29 | 31 | 0.17383 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_3203-141_0_4_line_34 |  | 29 | 32 | 0.028457 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_3203-141_0_4_line_35 |  | 31 | 40 | 0.021271 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_3203-141_0_4_line_36 |  | 33 | 34 | 0.007553 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_3203-141_0_4_line_37 |  | 33 | 35 | 0.053799 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
38 | LV_3203-141_0_4_line_38 |  | 33 | 36 | 0.15989 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
39 | LV_3203-141_0_4_line_39 |  | 35 | 51 | 0.008859 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_3203-141_0_4_line_40 |  | 35 | 52 | 0.018249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
41 | LV_3203-141_0_4_line_41 |  | 36 | 37 | 0.010211 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_3203-141_0_4_line_42 |  | 36 | 38 | 0.013289 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
43 | LV_3203-141_0_4_line_43 |  | 38 | 53 | 0.034702 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
44 | LV_3203-141_0_4_line_44 |  | 39 | 41 | 0.075238 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_3203-141_0_4_line_45 |  | 40 | 55 | 0.042568 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_3203-141_0_4_line_46 |  | 41 | 42 | 0.017903 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_3203-141_0_4_line_47 |  | 41 | 43 | 0.039925 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_3203-141_0_4_line_48 |  | 41 | 44 | 0.017987 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_3203-141_0_4_line_49 |  | 42 | 69 | 0.008869 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_3203-141_0_4_line_50 |  | 42 | 70 | 0.010031 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_3203-141_0_4_line_51 |  | 42 | 52 | 0.02156 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_3203-141_0_4_line_52 |  | 45 | 71 | 0.0070282 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_3203-141_0_4_line_53 |  | 47 | 94 | 0.039083 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
54 | LV_3203-141_0_4_line_54 |  | 48 | 67 | 0.02373 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_3203-141_0_4_line_55 |  | 48 | 66 | 0.0072024 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
56 | LV_3203-141_0_4_line_56 |  | 49 | 50 | 0.0021486 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_3203-141_0_4_line_57 |  | 50 | 82 | 0.01845 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_3203-141_0_4_line_58 |  | 52 | 95 | 0.010089 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_3203-141_0_4_line_59 |  | 53 | 73 | 0.03689 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
60 | LV_3203-141_0_4_line_60 |  | 54 | 55 | 0.068382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
61 | LV_3203-141_0_4_line_61 |  | 54 | 56 | 0.0052622 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
62 | LV_3203-141_0_4_line_62 |  | 56 | 57 | 0.023349 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_3203-141_0_4_line_63 |  | 56 | 58 | 0.030896 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
64 | LV_3203-141_0_4_line_64 |  | 57 | 59 | 0.002352 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_3203-141_0_4_line_65 |  | 58 | 60 | 0.0016175 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
66 | LV_3203-141_0_4_line_66 |  | 60 | 61 | 0.004256 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
67 | LV_3203-141_0_4_line_67 |  | 61 | 63 | 0.0076319 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
68 | LV_3203-141_0_4_line_68 |  | 61 | 62 | 0.023945 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_3203-141_0_4_line_69 |  | 63 | 64 | 0.016206 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
70 | LV_3203-141_0_4_line_70 |  | 64 | 65 | 0.012009 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
71 | LV_3203-141_0_4_line_71 |  | 65 | 66 | 0.00093741 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
72 | LV_3203-141_0_4_line_72 |  | 67 | 68 | 0.022792 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_3203-141_0_4_line_73 |  | 72 | 73 | 0.025466 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
74 | LV_3203-141_0_4_line_74 |  | 72 | 74 | 0.023501 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
75 | LV_3203-141_0_4_line_75 |  | 74 | 75 | 0.020703 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
76 | LV_3203-141_0_4_line_76 |  | 75 | 76 | 0.033623 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
77 | LV_3203-141_0_4_line_77 |  | 76 | 77 | 0.013016 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
78 | LV_3203-141_0_4_line_78 |  | 77 | 78 | 0.011836 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
79 | LV_3203-141_0_4_line_79 |  | 78 | 79 | 0.0011144 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
80 | LV_3203-141_0_4_line_80 |  | 79 | 80 | 0.0010708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
81 | LV_3203-141_0_4_line_81 |  | 80 | 81 | 0.0010965 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
82 | LV_3203-141_0_4_line_82 |  | 81 | 92 | 0.029465 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
83 | LV_3203-141_0_4_line_83 |  | 82 | 83 | 0.0011796 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_3203-141_0_4_line_84 |  | 83 | 84 | 0.0011515 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_3203-141_0_4_line_85 |  | 84 | 85 | 0.0011261 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_3203-141_0_4_line_86 |  | 85 | 86 | 0.0011703 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_3203-141_0_4_line_87 |  | 86 | 87 | 0.027818 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_3203-141_0_4_line_88 |  | 87 | 88 | 0.0011614 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_3203-141_0_4_line_89 |  | 88 | 89 | 0.0010131 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_3203-141_0_4_line_90 |  | 89 | 90 | 0.00085986 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
91 | LV_3203-141_0_4_line_91 |  | 89 | 91 | 0.023334 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
92 | LV_3203-141_0_4_line_92 |  | 90 | 92 | 0.0012665 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
93 | LV_3203-141_0_4_line_93 |  | 91 | 93 | 0.0069286 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
94 | LV_3203-141_0_4_line_94 |  | 93 | 94 | 0.019932 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3203-141_0_4_trafo_10 | 0.63 MVA 20/0.4 kV | 96 | 20 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16
0 | 2741496.0615 | 1251850.3071 | 2741483.2853 | 1251845.264 | 2741470.8459 | 1251841.9591
1 | 2741496.0615 | 1251850.3071 | 2741519.8203 | 1251860.5618 | 2741559.7667 | 1251883.1816 | 2741567.5284 | 1251887.3042 | 2741575.9065 | 1251890.2849 | 2741583.6019 | 1251892.126
2 | 2741607.0199 | 1251892.8654 | 2741591.8509 | 1251892.9239 | 2741583.6019 | 1251892.126
3 | 2741714.317 | 1251894.4752 | 2741700.4659 | 1251894.2882 | 2741644.6959 | 1251892.72 | 2741607.0199 | 1251892.8654
4 | 2741391.7315 | 1251953.4018 | 2741426.861 | 1251953.8739 | 2741448.1891 | 1251925.5343
5 | 2741418.431 | 1252016.2865 | 2741391.466 | 1252015.7314 | 2741391.7315 | 1251953.4018
6 | 2741418.431 | 1252016.2865 | 2741417.9895 | 1252068.9029
7 | 2741367.0477 | 1252171.2829 | 2741382.7097 | 1252149.9923 | 2741383.9653 | 1252147.6867 | 2741384.6465 | 1252145.0895 | 2741384.9877 | 1252141.5499 | 2741384.9057 | 1252137.3996 | 2741397.3445 | 1252138.2083
8 | 2741397.3445 | 1252138.2083 | 2741414.079 | 1252139.3573
9 | 2741367.0477 | 1252171.2829 | 2741370.1589 | 1252175.3721 | 2741373.5524 | 1252179.657 | 2741376.8189 | 1252182.3554
10 | 2741414.079 | 1252139.3573 | 2741417.7123 | 1252139.6068 | 2741429.0505 | 1252140.9787 | 2741439.6421 | 1252142.9444 | 2741449.0143 | 1252145.205
11 | 2741382.3931 | 1252186.96 | 2741376.8189 | 1252182.3554
12 | 2741639.0124 | 1252084.1853 | 2741636.0358 | 1252082.6794 | 2741631.8207 | 1252081.8047
13 | 2741639.0124 | 1252084.1853 | 2741651.1878 | 1252086.7368
14 | 2741690.3999 | 1252096.5366 | 2741674.3101 | 1252094.3164 | 2741667.1704 | 1252090.0862 | 2741651.1878 | 1252086.7368
15 | 2741493.0885 | 1252028.0798 | 2741499.2201 | 1252029.6388 | 2741506.6069 | 1252049.7562 | 2741506.4038 | 1252054.7783
16 | 2741493.0885 | 1252028.0798 | 2741489.4027 | 1252019.1328
17 | 2741506.4038 | 1252054.7783 | 2741518.0625 | 1252056.8379
18 | 2741474.898 | 1252057.8288 | 2741478.4017 | 1252056.5557 | 2741489.1754 | 1252052.487 | 2741506.4038 | 1252054.7783
19 | 2741489.4027 | 1252019.1328 | 2741485.9163 | 1252010.6701 | 2741482.7215 | 1251999.6502 | 2741483.4715 | 1251997.0212
20 | 2741426.8896 | 1252068.9821 | 2741453.2804 | 1252069.2234 | 2741453.1196 | 1252072.4781 | 2741461.0965 | 1252079.5974 | 2741467.5894 | 1252070.455 | 2741472.8728 | 1252065.799 | 2741473.2332 | 1252063.6723 | 2741476.5279 | 1252062.2941 | 2741474.898 | 1252057.8288
21 | 2741426.8896 | 1252068.9821 | 2741417.9895 | 1252068.9029
22 | 2741454.9193 | 1252130.82 | 2741450.61 | 1252130.1054 | 2741454.3247 | 1252113.6787 | 2741457.1946 | 1252101.9585 | 2741459.0353 | 1252095.0738 | 2741461.4365 | 1252088.7474 | 2741464.7265 | 1252082.8316 | 2741468.8496 | 1252077.4361 | 2741473.712 | 1252072.7033 | 2741479.2136 | 1252068.7087 | 2741476.5279 | 1252062.2941 | 2741474.898 | 1252057.8288
23 | 2741590.034 | 1252065.1747 | 2741550.2064 | 1252060.0628 | 2741538.7954 | 1252059.1693
24 | 2741590.034 | 1252065.1747 | 2741589.1932 | 1252061.4936
25 | 2741538.7954 | 1252059.1693 | 2741525.2609 | 1252058.1096 | 2741518.0625 | 1252056.8379
26 | 2741589.1932 | 1252061.4936 | 2741586.6781 | 1252050.4808 | 2741580.9114 | 1252047.8739 | 2741585.3702 | 1252039.1834
27 | 2741461.0896 | 1252143.0788 | 2741476.0426 | 1252147.4053
28 | 2741461.0896 | 1252143.0788 | 2741462.1567 | 1252138.867
29 | 2741461.0896 | 1252143.0788 | 2741460.114 | 1252147.8822 | 2741449.0143 | 1252145.205
30 | 2741481.2007 | 1252148.8977 | 2741476.0426 | 1252147.4053
31 | 2741454.9193 | 1252130.82 | 2741456.1898 | 1252134.843 | 2741458.5397 | 1252137.3014 | 2741462.1567 | 1252138.867
32 | 2741625.5643 | 1252135.6564 | 2741631.3689 | 1252151.1874 | 2741653.7491 | 1252154.6257 | 2741671.7161 | 1252163.5858
33 | 2741682.1274 | 1252233.3333 | 2741705.2621 | 1252242.1392 | 2741723.1099 | 1252251.9642 | 2741725.8907 | 1252253.4432 | 2741737.9765 | 1252233.6694 | 2741737.3571 | 1252228.0048 | 2741734.9748 | 1252213.6677 | 2741717.8288 | 1252198.1765 | 2741709.2083 | 1252187.3713 | 2741702.8895 | 1252179.1347 | 2741671.7161 | 1252163.5858
34 | 2741671.7161 | 1252163.5858 | 2741662.9186 | 1252139.9756 | 2741666.0019 | 1252138.915
35 | 2741682.1274 | 1252233.3333 | 2741665.8567 | 1252227.3276 | 2741662.2133 | 1252225.8618
36 | 2741747.908 | 1252038.3687 | 2741740.6738 | 1252040.6089
37 | 2741747.908 | 1252038.3687 | 2741730.121 | 1252023.1401 | 2741708.1219 | 1252002.1833
38 | 2741700.5445 | 1252097.936 | 2741719.5667 | 1252115.8077 | 2741731.2558 | 1252117.3442 | 2741737.0823 | 1252120.5978 | 2741758.4278 | 1252122.4768 | 2741763.4511 | 1252113.5553 | 2741767.1754 | 1252111.8984 | 2741767.8551 | 1252105.5866 | 2741768.0364 | 1252099.9078 | 2741766.5494 | 1252081.2882 | 2741766.7682 | 1252077.8235 | 2741767.7609 | 1252073.5766 | 2741762.5516 | 1252066.3007 | 2741760.2798 | 1252058.6948 | 2741756.092 | 1252054.1682 | 2741750.0802 | 1252045.405 | 2741747.908 | 1252038.3687
39 | 2741708.1219 | 1252002.1833 | 2741715.489 | 1251997.2326
40 | 2741708.1219 | 1252002.1833 | 2741703.7358 | 1251994.5824 | 2741700.9856 | 1251985.5081
41 | 2741700.5445 | 1252097.936 | 2741690.3999 | 1252096.5366
42 | 2741700.5445 | 1252097.936 | 2741698.0703 | 1252095.6302 | 2741693.8367 | 1252086.6732
43 | 2741693.8367 | 1252086.6732 | 2741690.6322 | 1252079.8932 | 2741682.6481 | 1252078.134 | 2741680.2615 | 1252074.3734 | 2741688.4257 | 1252062.3018
44 | 2741714.317 | 1251894.4752 | 2741713.9749 | 1251899.3049 | 2741710.8174 | 1251930.2694 | 2741710.7557 | 1251933.7934 | 2741711.4089 | 1251936.7896 | 2741712.6522 | 1251939.7332 | 2741684.9489 | 1251949.8246
45 | 2741623.0938 | 1252209.1426 | 2741626.0586 | 1252210.6161 | 2741633.67 | 1252214.3793 | 2741662.2133 | 1252225.8618
46 | 2741684.9489 | 1251949.8246 | 2741693.321 | 1251965.6618
47 | 2741684.9489 | 1251949.8246 | 2741675.7804 | 1251939.4958 | 2741649.6034 | 1251938.1798
48 | 2741684.9489 | 1251949.8246 | 2741667.3721 | 1251953.8748
49 | 2741693.321 | 1251965.6618 | 2741684.8593 | 1251968.3954
50 | 2741693.321 | 1251965.6618 | 2741700.6657 | 1251958.8089
51 | 2741700.9856 | 1251985.5081 | 2741698.444 | 1251974.0255 | 2741693.321 | 1251965.6618
52 | 2741387.8116 | 1252191.436 | 2741382.3931 | 1252186.96
53 | 2741585.3702 | 1252039.1834 | 2741585.3702 | 1252039.1834 | 2741582.6951 | 1252032.6467 | 2741560.6536 | 1252029.5506 | 2741556.4373 | 1252020.7458
54 | 2741481.2007 | 1252148.8977 | 2741478.9678 | 1252157.9751 | 2741480.0511 | 1252158.457 | 2741480.4539 | 1252163.716 | 2741479.7148 | 1252171.6032
55 | 2741481.2007 | 1252148.8977 | 2741488.0358 | 1252151.1686
56 | 2741489.001 | 1251973.8538 | 2741487.015 | 1251974.6737
57 | 2741489.001 | 1251973.8538 | 2741489.001 | 1251973.8538 | 2741503.6696 | 1251973.9486 | 2741507.4435 | 1251974.1822
58 | 2741700.9856 | 1251985.5081 | 2741708.5163 | 1251978.7708
59 | 2741661.7212 | 1252044.5003 | 2741665.9551 | 1252054.7352 | 2741686.1878 | 1252057.377 | 2741688.4257 | 1252062.3018 | 2741688.4257 | 1252062.3018
60 | 2741561.6989 | 1252179.0322 | 2741590.0189 | 1252192.7047 | 2741623.0938 | 1252209.1426
61 | 2741556.9601 | 1252176.7443 | 2741561.6989 | 1252179.0322
62 | 2741556.9601 | 1252176.7443 | 2741553.3563 | 1252185.6777 | 2741547.6669 | 1252188.0551 | 2741546.0931 | 1252195.4577
63 | 2741556.9601 | 1252176.7443 | 2741528.3468 | 1252165.0892
64 | 2741546.0931 | 1252195.4577 | 2741543.8038 | 1252194.8914
65 | 2741528.3468 | 1252165.0892 | 2741526.8488 | 1252164.479
66 | 2741522.9073 | 1252162.8735 | 2741526.8488 | 1252164.479
67 | 2741522.9073 | 1252162.8735 | 2741515.6811 | 1252160.4181
68 | 2741522.9073 | 1252162.8735 | 2741520.0667 | 1252170.8353 | 2741516.9473 | 1252170.2491 | 2741515.6911 | 1252177.9485 | 2741513.6927 | 1252179.4244 | 2741513.4315 | 1252181.4398
69 | 2741515.6811 | 1252160.4181 | 2741507.1343 | 1252157.514 | 2741500.3214 | 1252155.2504
70 | 2741488.9254 | 1252151.4642 | 2741500.3214 | 1252155.2504
71 | 2741488.9254 | 1252151.4642 | 2741488.0358 | 1252151.1686
72 | 2741480.7583 | 1252193.1405 | 2741481.5178 | 1252184.2828 | 2741478.7715 | 1252181.6703 | 2741479.7148 | 1252171.6032
73 | 2741655.2359 | 1252020.2356 | 2741654.838 | 1252024.2409 | 2741657.6469 | 1252034.6511 | 2741661.7212 | 1252044.5003
74 | 2741655.2359 | 1252020.2356 | 2741655.2359 | 1252020.2356 | 2741648.6347 | 1252006.1201 | 2741640.7369 | 1252005.5453
75 | 2741620.1751 | 1252003.2827 | 2741629.5121 | 1252004.7284 | 2741640.7369 | 1252005.5453
76 | 2741601.5986 | 1251980.0604 | 2741601.5986 | 1251980.0604 | 2741606.5501 | 1251989.2874 | 2741610.0583 | 1252001.7162 | 2741620.1751 | 1252003.2827
77 | 2741588.6083 | 1251979.2493 | 2741601.5986 | 1251980.0604
78 | 2741588.6083 | 1251979.2493 | 2741581.8367 | 1251978.5646 | 2741576.8146 | 1251978.2924
79 | 2741575.7018 | 1251978.232 | 2741576.8146 | 1251978.2924
80 | 2741574.6326 | 1251978.1741 | 2741575.7018 | 1251978.232
81 | 2741573.5377 | 1251978.1147 | 2741574.6326 | 1251978.1741
82 | 2741544.1223 | 1251976.4146 | 2741549.1621 | 1251976.7934 | 2741573.5377 | 1251978.1147
83 | 2741507.4435 | 1251974.1822 | 2741508.6208 | 1251974.2551
84 | 2741508.6208 | 1251974.2551 | 2741509.7701 | 1251974.3262
85 | 2741509.7701 | 1251974.3262 | 2741510.8941 | 1251974.3958
86 | 2741510.8941 | 1251974.3958 | 2741512.0622 | 1251974.4681
87 | 2741512.0622 | 1251974.4681 | 2741515.6725 | 1251974.6915 | 2741539.8312 | 1251976.1263
88 | 2741539.8312 | 1251976.1263 | 2741540.9905 | 1251976.1951
89 | 2741542.0019 | 1251976.2552 | 2741540.9905 | 1251976.1951
90 | 2741542.8593 | 1251976.3197 | 2741542.0019 | 1251976.2552
91 | 2741542.0019 | 1251976.2552 | 2741541.8753 | 1251979.6554 | 2741546.6877 | 1251991.8595 | 2741549.4704 | 1251992.6378 | 2741550.8016 | 1251996.3286
92 | 2741542.8593 | 1251976.3197 | 2741544.1223 | 1251976.4146
93 | 2741550.8315 | 1252002.6575 | 2741549.4135 | 1251999.1203 | 2741550.8016 | 1251996.3286
94 | 2741550.8315 | 1252002.6575 | 2741552.6835 | 1252007.306 | 2741551.3118 | 1252010.0425 | 2741556.4373 | 1252020.7458

## bus_geodata
| x | y | coords
0 | 2741470.8459 | 1251841.9591
1 | 2741496.0615 | 1251850.3071
2 | 2741583.6019 | 1251892.126
3 | 2741607.0199 | 1251892.8654
4 | 2741391.7315 | 1251953.4018
5 | 2741448.1891 | 1251925.5343
6 | 2741418.431 | 1252016.2865
7 | 2741397.3445 | 1252138.2083
8 | 2741367.0477 | 1252171.2829
9 | 2741414.079 | 1252139.3573
10 | 2741376.8189 | 1252182.3554
11 | 2741639.0124 | 1252084.1853
12 | 2741631.8207 | 1252081.8047
13 | 2741651.1878 | 1252086.7368
14 | 2741493.0885 | 1252028.0798
15 | 2741506.4038 | 1252054.7783
16 | 2741489.4027 | 1252019.1328
17 | 2741426.8896 | 1252068.9821
18 | 2741474.898 | 1252057.8288
19 | 2741417.9895 | 1252068.9029
20 | 2741590.034 | 1252065.1747
21 | 2741538.7954 | 1252059.1693
22 | 2741589.1932 | 1252061.4936
23 | 2741461.0896 | 1252143.0788
24 | 2741476.0426 | 1252147.4053
25 | 2741462.1567 | 1252138.867
26 | 2741449.0143 | 1252145.205
27 | 2741518.0625 | 1252056.8379
28 | 2741454.9193 | 1252130.82
29 | 2741671.7161 | 1252163.5858
30 | 2741625.5643 | 1252135.6564
31 | 2741682.1274 | 1252233.3333
32 | 2741666.0019 | 1252138.915
33 | 2741747.908 | 1252038.3687
34 | 2741740.6738 | 1252040.6089
35 | 2741708.1219 | 1252002.1833
36 | 2741700.5445 | 1252097.936
37 | 2741690.3999 | 1252096.5366
38 | 2741693.8367 | 1252086.6732
39 | 2741714.317 | 1251894.4752
40 | 2741662.2133 | 1252225.8618
41 | 2741684.9489 | 1251949.8246
42 | 2741693.321 | 1251965.6618
43 | 2741649.6034 | 1251938.1798
44 | 2741667.3721 | 1251953.8748
45 | 2741382.3931 | 1252186.96
46 | 2741483.4715 | 1251997.0212
47 | 2741585.3702 | 1252039.1834
48 | 2741481.2007 | 1252148.8977
49 | 2741487.015 | 1251974.6737
50 | 2741489.001 | 1251973.8538
51 | 2741715.489 | 1251997.2326
52 | 2741700.9856 | 1251985.5081
53 | 2741688.4257 | 1252062.3018
54 | 2741561.6989 | 1252179.0322
55 | 2741623.0938 | 1252209.1426
56 | 2741556.9601 | 1252176.7443
57 | 2741546.0931 | 1252195.4577
58 | 2741528.3468 | 1252165.0892
59 | 2741543.8038 | 1252194.8914
60 | 2741526.8488 | 1252164.479
61 | 2741522.9073 | 1252162.8735
62 | 2741513.4315 | 1252181.4398
63 | 2741515.6811 | 1252160.4181
64 | 2741500.3214 | 1252155.2504
65 | 2741488.9253 | 1252151.4642
66 | 2741488.0358 | 1252151.1686
67 | 2741479.7148 | 1252171.6032
68 | 2741480.7583 | 1252193.1405
69 | 2741684.8593 | 1251968.3954
70 | 2741700.6657 | 1251958.8089
71 | 2741387.8116 | 1252191.436
72 | 2741655.2359 | 1252020.2356
73 | 2741661.7212 | 1252044.5003
74 | 2741640.7369 | 1252005.5453
75 | 2741620.1751 | 1252003.2827
76 | 2741601.5986 | 1251980.0604
77 | 2741588.6083 | 1251979.2493
78 | 2741576.8146 | 1251978.2924
79 | 2741575.7018 | 1251978.232
80 | 2741574.6326 | 1251978.1741
81 | 2741573.5377 | 1251978.1147
82 | 2741507.4435 | 1251974.1822
83 | 2741508.6208 | 1251974.2551
84 | 2741509.7701 | 1251974.3262
85 | 2741510.8941 | 1251974.3958
86 | 2741512.0622 | 1251974.4681
87 | 2741539.8312 | 1251976.1263
88 | 2741540.9905 | 1251976.1951
89 | 2741542.0019 | 1251976.2552
90 | 2741542.8593 | 1251976.3197
91 | 2741550.8016 | 1251996.3286
92 | 2741544.1223 | 1251976.4146
93 | 2741550.8315 | 1252002.6575
94 | 2741556.4373 | 1252020.7458
95 | 2741708.5163 | 1251978.7708
96 | 2741573.9139 | 1252074.3203

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1