## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3203-15_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3203-15_0_6_node_2 | 0.4 | n |  | TRUE
2 | bus_LV_3203-15_0_6_node_64 | 0.4 | n |  | TRUE
3 | bus_LV_3203-15_0_6_node_63 | 0.4 | n |  | TRUE
4 | bus_LV_3203-15_0_6_node_78 | 0.4 | n |  | TRUE
5 | bus_LV_3203-15_0_6_node_58 | 0.4 | n |  | TRUE
6 | bus_LV_3203-15_0_6_node_4 | 0.4 | n |  | TRUE
7 | bus_LV_3203-15_0_6_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_3203-15_0_6_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_3203-15_0_6_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_3203-15_0_6_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_3203-15_0_6_node_9 | 0.4 | n |  | TRUE
12 | bus_LV_3203-15_0_6_node_10 | 0.4 | n |  | TRUE
13 | bus_LV_3203-15_0_6_node_11 | 0.4 | n |  | TRUE
14 | bus_LV_3203-15_0_6_node_12 | 0.4 | n |  | TRUE
15 | bus_LV_3203-15_0_6_node_13 | 0.4 | n |  | TRUE
16 | bus_LV_3203-15_0_6_node_19 | 0.4 | n |  | TRUE
17 | bus_LV_3203-15_0_6_node_47 | 0.4 | n |  | TRUE
18 | bus_LV_3203-15_0_6_node_14 | 0.4 | n |  | TRUE
19 | bus_LV_3203-15_0_6_node_32 | 0.4 | n |  | TRUE
20 | bus_LV_3203-15_0_6_node_46 | 0.4 | n |  | TRUE
21 | bus_LV_3203-15_0_6_node_15 | 0.4 | n |  | TRUE
22 | bus_LV_3203-15_0_6_node_21 | 0.4 | n |  | TRUE
23 | bus_LV_3203-15_0_6_node_43 | 0.4 | n |  | TRUE
24 | bus_LV_3203-15_0_6_node_44 | 0.4 | n |  | TRUE
25 | bus_LV_3203-15_0_6_node_42 | 0.4 | n |  | TRUE
26 | bus_LV_3203-15_0_6_node_31 | 0.4 | n |  | TRUE
27 | bus_LV_3203-15_0_6_node_29 | 0.4 | n |  | TRUE
28 | bus_LV_3203-15_0_6_node_30 | 0.4 | n |  | TRUE
29 | bus_LV_3203-15_0_6_node_16 | 0.4 | n |  | TRUE
30 | bus_LV_3203-15_0_6_node_17 | 0.4 | n |  | TRUE
31 | bus_LV_3203-15_0_6_node_18 | 0.4 | n |  | TRUE
32 | bus_LV_3203-15_0_6_node_20 | 0.4 | n |  | TRUE
33 | bus_LV_3203-15_0_6_node_23 | 0.4 | n |  | TRUE
34 | bus_LV_3203-15_0_6_node_24 | 0.4 | n |  | TRUE
35 | bus_LV_3203-15_0_6_node_22 | 0.4 | n |  | TRUE
36 | bus_LV_3203-15_0_6_node_25 | 0.4 | n |  | TRUE
37 | bus_LV_3203-15_0_6_node_28 | 0.4 | n |  | TRUE
38 | bus_LV_3203-15_0_6_node_26 | 0.4 | n |  | TRUE
39 | bus_LV_3203-15_0_6_node_27 | 0.4 | n |  | TRUE
40 | bus_LV_3203-15_0_6_node_45 | 0.4 | n |  | TRUE
41 | bus_LV_3203-15_0_6_node_41 | 0.4 | n |  | TRUE
42 | bus_LV_3203-15_0_6_node_33 | 0.4 | n |  | TRUE
43 | bus_LV_3203-15_0_6_node_34 | 0.4 | n |  | TRUE
44 | bus_LV_3203-15_0_6_node_35 | 0.4 | n |  | TRUE
45 | bus_LV_3203-15_0_6_node_36 | 0.4 | n |  | TRUE
46 | bus_LV_3203-15_0_6_node_37 | 0.4 | n |  | TRUE
47 | bus_LV_3203-15_0_6_node_39 | 0.4 | n |  | TRUE
48 | bus_LV_3203-15_0_6_node_40 | 0.4 | n |  | TRUE
49 | bus_LV_3203-15_0_6_node_53 | 0.4 | n |  | TRUE
50 | bus_LV_3203-15_0_6_node_38 | 0.4 | n |  | TRUE
51 | bus_LV_3203-15_0_6_node_72 | 0.4 | n |  | TRUE
52 | bus_LV_3203-15_0_6_node_67 | 0.4 | n |  | TRUE
53 | bus_LV_3203-15_0_6_node_69 | 0.4 | n |  | TRUE
54 | bus_LV_3203-15_0_6_node_77 | 0.4 | n |  | TRUE
55 | bus_LV_3203-15_0_6_node_51 | 0.4 | n |  | TRUE
56 | bus_LV_3203-15_0_6_node_52 | 0.4 | n |  | TRUE
57 | bus_LV_3203-15_0_6_node_49 | 0.4 | n |  | TRUE
58 | bus_LV_3203-15_0_6_node_73 | 0.4 | n |  | TRUE
59 | bus_LV_3203-15_0_6_node_68 | 0.4 | n |  | TRUE
60 | bus_LV_3203-15_0_6_node_65 | 0.4 | n |  | TRUE
61 | bus_LV_3203-15_0_6_node_70 | 0.4 | n |  | TRUE
62 | bus_LV_3203-15_0_6_node_61 | 0.4 | n |  | TRUE
63 | bus_LV_3203-15_0_6_node_59 | 0.4 | n |  | TRUE
64 | bus_LV_3203-15_0_6_node_54 | 0.4 | n |  | TRUE
65 | bus_LV_3203-15_0_6_node_55 | 0.4 | n |  | TRUE
66 | bus_LV_3203-15_0_6_node_56 | 0.4 | n |  | TRUE
67 | bus_LV_3203-15_0_6_node_57 | 0.4 | n |  | TRUE
68 | bus_LV_3203-15_0_6_node_60 | 0.4 | n |  | TRUE
69 | bus_LV_3203-15_0_6_node_62 | 0.4 | n |  | TRUE
70 | bus_LV_3203-15_0_6_node_66 | 0.4 | n |  | TRUE
71 | bus_LV_3203-15_0_6_node_71 | 0.4 | n |  | TRUE
72 | bus_LV_3203-15_0_6_node_74 | 0.4 | n |  | TRUE
73 | bus_LV_3203-15_0_6_node_75 | 0.4 | n |  | TRUE
74 | bus_MV_582_1_node_23 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3203-15_0_6_load_0 | 0 | 0.00093117 | 0.00023337 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3203-15_0_6_load_64 | 2 | 0.031014 | 0.0077729 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3203-15_0_6_load_78 | 4 | 0.0024123 | 0.00060458 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3203-15_0_6_load_4 | 6 | 0.0064493 | 0.0016164 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3203-15_0_6_load_5 | 7 | 0.0060071 | 0.0015055 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3203-15_0_6_load_6 | 8 | 0.0057389 | 0.0014383 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3203-15_0_6_load_7 | 9 | 0.0061911 | 0.0015516 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3203-15_0_6_load_8 | 10 | 0.007168 | 0.0017965 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3203-15_0_6_load_9 | 11 | 0.013419 | 0.0033631 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3203-15_0_6_load_10 | 12 | 0.03749 | 0.009396 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3203-15_0_6_load_12 | 14 | 0.017733 | 0.0044442 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3203-15_0_6_load_47 | 17 | 0.012847 | 0.0032197 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3203-15_0_6_load_46 | 20 | 0.0031748 | 0.00079568 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3203-15_0_6_load_43 | 23 | 0.0093982 | 0.0023554 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3203-15_0_6_load_44 | 24 | 0.0096189 | 0.0024107 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3203-15_0_6_load_31 | 26 | 0.0060672 | 0.0015206 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3203-15_0_6_load_29 | 27 | 0.0060873 | 0.0015256 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3203-15_0_6_load_30 | 28 | 0.0076819 | 0.0019253 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3203-15_0_6_load_16 | 29 | 0.0095793 | 0.0024008 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3203-15_0_6_load_17 | 30 | 0.0041971 | 0.0010519 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3203-15_0_6_load_23 | 33 | 0.0071948 | 0.0018032 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3203-15_0_6_load_24 | 34 | 0.019305 | 0.0048384 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3203-15_0_6_load_22 | 35 | 0.019751 | 0.0049501 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3203-15_0_6_load_25 | 36 | 0.0074212 | 0.0018599 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3203-15_0_6_load_26 | 38 | 0.0038077 | 0.00095431 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3203-15_0_6_load_27 | 39 | 0.0076676 | 0.0019217 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3203-15_0_6_load_41 | 41 | 0.015303 | 0.0038352 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3203-15_0_6_load_33 | 42 | 0.0041506 | 0.0010402 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3203-15_0_6_load_34 | 43 | 0.0052947 | 0.001327 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3203-15_0_6_load_35 | 44 | 0.0052986 | 0.001328 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3203-15_0_6_load_53 | 49 | 0.0026311 | 0.0006594 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3203-15_0_6_load_72 | 51 | 0.07205 | 0.018057 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3203-15_0_6_load_69 | 53 | 0.0024438 | 0.00061248 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3203-15_0_6_load_77 | 54 | 0.043526 | 0.010909 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3203-15_0_6_load_49 | 57 | 0.0037703 | 0.00094493 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3203-15_0_6_load_68 | 59 | 0.0011376 | 0.0002851 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3203-15_0_6_load_65 | 60 | 0.004088 | 0.0010245 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3203-15_0_6_load_70 | 61 | 0.0023452 | 0.00058776 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3203-15_0_6_load_61 | 62 | 0.014552 | 0.003647 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3203-15_0_6_load_54 | 64 | 0.0010665 | 0.00026729 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3203-15_0_6_load_55 | 65 | 0.00082575 | 0.00020695 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3203-15_0_6_load_57 | 67 | 0.0017106 | 0.00042872 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3203-15_0_6_load_60 | 68 | 0.00045799 | 0.00011478 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3203-15_0_6_load_62 | 69 | 0.0052347 | 0.001312 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3203-15_0_6_load_66 | 70 | 0.0048907 | 0.0012257 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3203-15_0_6_load_71 | 71 | 0.056845 | 0.014247 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3203-15_0_6_load_75 | 73 | 0.0094985 | 0.0023805 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 43 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3203-15_0_6_line_0 |  | 0 | 1 | 0.040615 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_3203-15_0_6_line_1 |  | 1 | 2 | 0.22553 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_3203-15_0_6_line_2 |  | 2 | 3 | 0.017277 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_3203-15_0_6_line_3 |  | 3 | 40 | 0.015075 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_3203-15_0_6_line_4 |  | 4 | 5 | 0.068048 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_3203-15_0_6_line_5 |  | 5 | 66 | 0.033842 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_3203-15_0_6_line_6 |  | 6 | 7 | 0.0115 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_3203-15_0_6_line_7 |  | 6 | 8 | 0.013713 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_3203-15_0_6_line_8 |  | 7 | 9 | 0.0036455 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_3203-15_0_6_line_9 |  | 8 | 10 | 0.010143 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_3203-15_0_6_line_10 |  | 10 | 11 | 0.015904 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_3203-15_0_6_line_11 |  | 11 | 12 | 0.0079427 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_3203-15_0_6_line_12 |  | 12 | 13 | 0.012535 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_3203-15_0_6_line_13 |  | 13 | 14 | 0.013087 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_3203-15_0_6_line_14 |  | 13 | 15 | 0.059708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_3203-15_0_6_line_15 |  | 14 | 16 | 0.018572 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_3203-15_0_6_line_16 |  | 15 | 17 | 0.055083 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_3203-15_0_6_line_17 |  | 16 | 24 | 0.0086176 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_3203-15_0_6_line_18 |  | 18 | 19 | 0.023495 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_3203-15_0_6_line_19 |  | 18 | 20 | 0.040312 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_3203-15_0_6_line_20 |  | 19 | 25 | 0.066295 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
21 | LV_3203-15_0_6_line_21 |  | 19 | 26 | 0.019946 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_3203-15_0_6_line_22 |  | 19 | 27 | 0.036802 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
23 | LV_3203-15_0_6_line_23 |  | 21 | 22 | 0.029964 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_3203-15_0_6_line_24 |  | 21 | 23 | 0.015389 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_3203-15_0_6_line_25 |  | 22 | 28 | 0.016439 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_3203-15_0_6_line_26 |  | 23 | 24 | 0.023405 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_3203-15_0_6_line_27 |  | 25 | 40 | 0.030352 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
28 | LV_3203-15_0_6_line_28 |  | 25 | 41 | 0.033817 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
29 | LV_3203-15_0_6_line_29 |  | 27 | 37 | 0.0051721 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
30 | LV_3203-15_0_6_line_30 |  | 28 | 37 | 0.011624 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
31 | LV_3203-15_0_6_line_31 |  | 29 | 30 | 0.016847 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_3203-15_0_6_line_32 |  | 29 | 31 | 0.016755 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_3203-15_0_6_line_33 |  | 31 | 32 | 0.036323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_3203-15_0_6_line_34 |  | 32 | 33 | 0.020972 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_3203-15_0_6_line_35 |  | 32 | 34 | 0.018209 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_3203-15_0_6_line_36 |  | 32 | 35 | 0.026296 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_3203-15_0_6_line_37 |  | 33 | 36 | 0.00039045 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_3203-15_0_6_line_38 |  | 34 | 37 | 0.027142 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_3203-15_0_6_line_39 |  | 36 | 38 | 0.019891 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_3203-15_0_6_line_40 |  | 38 | 39 | 0.031371 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_3203-15_0_6_line_41 |  | 40 | 62 | 0.026986 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
42 | LV_3203-15_0_6_line_42 |  | 41 | 44 | 0.030623 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
43 | LV_3203-15_0_6_line_43 |  | 42 | 43 | 0.020903 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_3203-15_0_6_line_44 |  | 43 | 44 | 0.020789 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
45 | LV_3203-15_0_6_line_45 |  | 45 | 46 | 0.004868 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
46 | LV_3203-15_0_6_line_46 |  | 45 | 47 | 0.068417 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
47 | LV_3203-15_0_6_line_47 |  | 46 | 48 | 0.02555 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
48 | LV_3203-15_0_6_line_48 |  | 46 | 49 | 0.16002 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_3203-15_0_6_line_49 |  | 47 | 52 | 0.017361 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
50 | LV_3203-15_0_6_line_50 |  | 47 | 53 | 0.021546 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_3203-15_0_6_line_51 |  | 48 | 54 | 0.02501 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_3203-15_0_6_line_52 |  | 48 | 50 | 0.021756 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
53 | LV_3203-15_0_6_line_53 |  | 49 | 56 | 0.01989 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_3203-15_0_6_line_54 |  | 50 | 51 | 0.063475 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
55 | LV_3203-15_0_6_line_55 |  | 51 | 58 | 0.14268 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
56 | LV_3203-15_0_6_line_56 |  | 52 | 59 | 0.017949 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
57 | LV_3203-15_0_6_line_57 |  | 52 | 60 | 0.062227 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
58 | LV_3203-15_0_6_line_58 |  | 53 | 61 | 0.041063 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_3203-15_0_6_line_59 |  | 55 | 56 | 0.005003 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_3203-15_0_6_line_60 |  | 55 | 57 | 0.0081657 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_3203-15_0_6_line_61 |  | 58 | 72 | 0.08076 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
62 | LV_3203-15_0_6_line_62 |  | 59 | 71 | 0.065167 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
63 | LV_3203-15_0_6_line_63 |  | 60 | 70 | 0.010562 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
64 | LV_3203-15_0_6_line_64 |  | 62 | 63 | 0.050523 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
65 | LV_3203-15_0_6_line_65 |  | 63 | 69 | 0.094296 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
66 | LV_3203-15_0_6_line_66 |  | 63 | 66 | 0.053608 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_3203-15_0_6_line_67 |  | 64 | 65 | 0.08732 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_3203-15_0_6_line_68 |  | 64 | 66 | 0.023565 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_3203-15_0_6_line_69 |  | 65 | 67 | 0.02616 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_3203-15_0_6_line_70 |  | 67 | 68 | 0.014897 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_3203-15_0_6_line_71 |  | 69 | 70 | 0.019088 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
72 | LV_3203-15_0_6_line_72 |  | 72 | 73 | 0.042639 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3203-15_0_6_trafo_34 | 0.63 MVA 20/0.4 kV | 74 | 43 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9
0 | 2748807.2523 | 1257165.6303 | 2748771.1311 | 1257184.1995
1 | 2748990.2561 | 1257033.8153 | 2748807.2523 | 1257165.6303
2 | 2749005.6513 | 1257029.8984 | 2748996.5672 | 1257028.7131 | 2748990.2561 | 1257033.8153
3 | 2749016.6479 | 1257019.5539 | 2749005.6513 | 1257029.8984
4 | 2749048.3304 | 1257168.8534 | 2749048.2271 | 1257193.9087 | 2749041.3975 | 1257217.6378 | 2749033.9373 | 1257234.3553
5 | 2749066.8055 | 1257140.4685 | 2749048.3304 | 1257168.8534
6 | 2748928.3604 | 1256774.3559 | 2748932.2096 | 1256763.5189
7 | 2748928.3604 | 1256774.3559 | 2748923.7708 | 1256787.2779
8 | 2748933.4298 | 1256760.0837 | 2748932.2096 | 1256763.5189
9 | 2748923.7708 | 1256787.2779 | 2748920.376 | 1256796.8354
10 | 2748920.376 | 1256796.8354 | 2748915.053 | 1256811.822
11 | 2748912.3946 | 1256819.3067 | 2748915.053 | 1256811.822
12 | 2748908.1991 | 1256831.1186 | 2748912.3946 | 1256819.3067
13 | 2748908.1991 | 1256831.1186 | 2748920.6988 | 1256834.9965
14 | 2748859.7288 | 1256818.8989 | 2748868.7101 | 1256829.2793 | 2748905.1221 | 1256838.8599 | 2748908.1991 | 1256831.1186
15 | 2748938.4368 | 1256840.4995 | 2748920.6988 | 1256834.9965
16 | 2748859.7288 | 1256818.8989 | 2748887.0708 | 1256771.0812
17 | 2748938.4368 | 1256840.4995 | 2748935.4684 | 1256848.5897
18 | 2748944.0514 | 1256924.0447 | 2748960.7918 | 1256940.5821
19 | 2748944.0514 | 1256924.0447 | 2748929.3131 | 1256935.2627 | 2748911.5448 | 1256947.8768
20 | 2748999.6348 | 1256994.39 | 2748960.7918 | 1256940.5821
21 | 2748960.7918 | 1256940.5821 | 2748978.7107 | 1256949.3427
22 | 2748960.7918 | 1256940.5821 | 2748975.559 | 1256906.8723
23 | 2748950.8252 | 1256893.8411 | 2748922.1056 | 1256885.01
24 | 2748922.1056 | 1256885.01 | 2748927.4064 | 1256870.5627
25 | 2748950.8252 | 1256893.8411 | 2748966.5297 | 1256898.6995
26 | 2748927.4064 | 1256870.5627 | 2748935.4684 | 1256848.5897
27 | 2748999.6348 | 1256994.39 | 2749004.5775 | 1257001.2433 | 2749016.6479 | 1257019.5539
28 | 2748999.6348 | 1256994.39 | 2749007.1826 | 1256989.7754 | 2749011.426 | 1256984.5549 | 2749016.1989 | 1256975.088 | 2749019.1343 | 1256968.0334
29 | 2748977.6344 | 1256902.1349 | 2748975.559 | 1256906.8723
30 | 2748977.6344 | 1256902.1349 | 2748966.5297 | 1256898.6995
31 | 2748981.7397 | 1256810.7376 | 2748975.9282 | 1256826.5505
32 | 2748970.1485 | 1256842.2768 | 2748975.9282 | 1256826.5505
33 | 2748970.1485 | 1256842.2768 | 2748967.0211 | 1256849.9167 | 2748993.3654 | 1256859.6002
34 | 2748993.3654 | 1256859.6002 | 2749013.0182 | 1256866.9196
35 | 2748993.3654 | 1256859.6002 | 2748987.0492 | 1256876.6783
36 | 2748993.3654 | 1256859.6002 | 2749002.7314 | 1256835.0286
37 | 2749013.3841 | 1256867.0559 | 2749013.0182 | 1256866.9196
38 | 2748977.6344 | 1256902.1349 | 2748987.0492 | 1256876.6783
39 | 2749032.0247 | 1256873.9984 | 2749013.3841 | 1256867.0559
40 | 2749032.0247 | 1256873.9984 | 2749020.286 | 1256903.0906
41 | 2749016.6479 | 1257019.5539 | 2749029.1756 | 1257043.4561
42 | 2749030.7094 | 1256939.6825 | 2749024.0854 | 1256956.1346 | 2749019.1343 | 1256968.0334
43 | 2749046.3554 | 1256901.0374 | 2749038.4998 | 1256920.4081
44 | 2749038.4998 | 1256920.4081 | 2749034.3391 | 1256930.6677 | 2749030.7094 | 1256939.6825
45 | 2749255.4774 | 1256976.9949 | 2749251.1358 | 1256979.221
46 | 2749225.9287 | 1257020.793 | 2749263.0319 | 1257004.4123 | 2749251.1358 | 1256979.221
47 | 2749255.4774 | 1256976.9949 | 2749260.0254 | 1256974.6629 | 2749262.4571 | 1256977.8606 | 2749265.4388 | 1256979.8934 | 2749268.8524 | 1256980.3577 | 2749273.5265 | 1256979.0075 | 2749277.4598 | 1256976.8156
48 | 2749255.4774 | 1256976.9949 | 2749240.9108 | 1256945.8083 | 2749230.0418 | 1256923.8572 | 2749218.4837 | 1256900.5097 | 2749205.4788 | 1256874.9902 | 2749185.5842 | 1256834.2601 | 2749185.1917 | 1256833.2487
49 | 2749225.9287 | 1257020.793 | 2749210.3424 | 1257028.53
50 | 2749225.9287 | 1257020.793 | 2749227.4795 | 1257036.1806 | 2749228.2175 | 1257042.2162
51 | 2749277.4598 | 1256976.8156 | 2749266.686 | 1256954.2456
52 | 2749275.4782 | 1256994.0492 | 2749272.237 | 1256987.3498 | 2749279.4951 | 1256981.0711 | 2749277.4598 | 1256976.8156
53 | 2749177.9968 | 1256814.7053 | 2749185.1917 | 1256833.2487
54 | 2749275.4782 | 1256994.0492 | 2749274.8398 | 1256996.9249 | 2749275.7644 | 1257001.8419 | 2749299.2638 | 1257052.1505
55 | 2749356.2127 | 1257182.6371 | 2749301.8434 | 1257064.7278 | 2749299.2638 | 1257052.1505
56 | 2749210.3424 | 1257028.53 | 2749206.5728 | 1257022.7405 | 2749201.2664 | 1257016.5562 | 2749198.9284 | 1257014.8556
57 | 2749210.3424 | 1257028.53 | 2749154.9017 | 1257056.788
58 | 2749249.753 | 1257075.881 | 2749245.4901 | 1257071.7027 | 2749240.0594 | 1257067.1614 | 2749235.8094 | 1257062.1716 | 2749232.4577 | 1257055.6696 | 2749229.9788 | 1257049.5567 | 2749228.2175 | 1257042.2162
59 | 2749182.2656 | 1256812.077 | 2749177.9968 | 1256814.7053
60 | 2749182.2656 | 1256812.077 | 2749189.2169 | 1256807.7924
61 | 2749433.7115 | 1257191.5237 | 2749412.2509 | 1257196.4647 | 2749404.2213 | 1257197.7522 | 2749395.2641 | 1257196.0356 | 2749386.5233 | 1257192.3225 | 2749362.4386 | 1257182.5719 | 2749356.2127 | 1257182.6371
62 | 2749224.1215 | 1256968.9188 | 2749216.133 | 1256972.7546 | 2749208.7655 | 1256979.1863 | 2749201.5128 | 1256985.8545 | 2749196.3236 | 1256991.1734 | 2749192.3714 | 1256995.3112 | 2749189.8062 | 1257000.6963 | 2749191.1907 | 1257006.8261 | 2749195.1838 | 1257012.1319 | 2749198.9284 | 1257014.8556
63 | 2749154.9017 | 1257056.788 | 2749152.7072 | 1257057.9066 | 2749145.979 | 1257062.4144
64 | 2749047.5076 | 1257090.4336 | 2749034.6948 | 1257053.9864 | 2749029.1756 | 1257043.4561
65 | 2749047.5076 | 1257090.4336 | 2749060.2943 | 1257093.1804 | 2749074.614 | 1257101.5603 | 2749077.9833 | 1257102.8797 | 2749083.2386 | 1257103.0122 | 2749088.8576 | 1257100.6847 | 2749130.1213 | 1257073.0387
66 | 2749047.5076 | 1257090.4336 | 2749066.8055 | 1257140.4685
67 | 2749079.2228 | 1257160.4961 | 2749095.2536 | 1257186.352 | 2749124.3298 | 1257219.2722 | 2749134.3817 | 1257227.4779
68 | 2749066.8055 | 1257140.4685 | 2749079.2228 | 1257160.4961
69 | 2749134.3817 | 1257227.4779 | 2749154.6465 | 1257244.0207
70 | 2749154.6465 | 1257244.0207 | 2749166.1867 | 1257253.4414
71 | 2749145.979 | 1257062.4144 | 2749130.1213 | 1257073.0387
72 | 2749433.7115 | 1257191.5237 | 2749430.2148 | 1257171.6604 | 2749426.2009 | 1257149.5511

## bus_geodata
| x | y | coords
0 | 2748771.1311 | 1257184.1995
1 | 2748807.2523 | 1257165.6303
2 | 2748990.2561 | 1257033.8153
3 | 2749005.6513 | 1257029.8984
4 | 2749033.9373 | 1257234.3553
5 | 2749048.3304 | 1257168.8534
6 | 2748928.3604 | 1256774.3559
7 | 2748932.2096 | 1256763.5189
8 | 2748923.7708 | 1256787.2779
9 | 2748933.4298 | 1256760.0837
10 | 2748920.376 | 1256796.8354
11 | 2748915.053 | 1256811.822
12 | 2748912.3946 | 1256819.3067
13 | 2748908.1991 | 1256831.1186
14 | 2748920.6988 | 1256834.9965
15 | 2748859.7288 | 1256818.8989
16 | 2748938.4368 | 1256840.4995
17 | 2748887.0708 | 1256771.0812
18 | 2748944.0514 | 1256924.0447
19 | 2748960.7918 | 1256940.5821
20 | 2748911.5448 | 1256947.8768
21 | 2748922.1056 | 1256885.01
22 | 2748950.8252 | 1256893.8411
23 | 2748927.4064 | 1256870.5627
24 | 2748935.4684 | 1256848.5897
25 | 2748999.6348 | 1256994.39
26 | 2748978.7107 | 1256949.3427
27 | 2748975.559 | 1256906.8723
28 | 2748966.5297 | 1256898.6995
29 | 2748975.9282 | 1256826.5505
30 | 2748981.7397 | 1256810.7376
31 | 2748970.1485 | 1256842.2768
32 | 2748993.3654 | 1256859.6002
33 | 2749013.0182 | 1256866.9196
34 | 2748987.0492 | 1256876.6783
35 | 2749002.7314 | 1256835.0286
36 | 2749013.3841 | 1256867.0559
37 | 2748977.6344 | 1256902.1349
38 | 2749032.0247 | 1256873.9984
39 | 2749020.286 | 1256903.0906
40 | 2749016.6479 | 1257019.5539
41 | 2749019.1343 | 1256968.0334
42 | 2749046.3554 | 1256901.0374
43 | 2749038.4998 | 1256920.4081
44 | 2749030.7094 | 1256939.6825
45 | 2749251.1358 | 1256979.221
46 | 2749255.4774 | 1256976.9949
47 | 2749225.9287 | 1257020.793
48 | 2749277.4598 | 1256976.8156
49 | 2749185.1917 | 1256833.2487
50 | 2749275.4782 | 1256994.0492
51 | 2749299.2638 | 1257052.1505
52 | 2749210.3424 | 1257028.53
53 | 2749228.2175 | 1257042.2162
54 | 2749266.686 | 1256954.2456
55 | 2749182.2656 | 1256812.077
56 | 2749177.9968 | 1256814.7053
57 | 2749189.2169 | 1256807.7924
58 | 2749356.2127 | 1257182.6371
59 | 2749198.9284 | 1257014.8556
60 | 2749154.9017 | 1257056.788
61 | 2749249.753 | 1257075.881
62 | 2749029.1756 | 1257043.4561
63 | 2749047.5076 | 1257090.4336
64 | 2749079.2228 | 1257160.4961
65 | 2749134.3817 | 1257227.4779
66 | 2749066.8055 | 1257140.4685
67 | 2749154.6465 | 1257244.0207
68 | 2749166.1867 | 1257253.4414
69 | 2749130.1213 | 1257073.0387
70 | 2749145.979 | 1257062.4144
71 | 2749224.1215 | 1256968.9188
72 | 2749433.7115 | 1257191.5237
73 | 2749426.2009 | 1257149.5511
74 | 2748999.6348 | 1256994.39

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1