## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3203-160_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3203-160_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3203-160_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_3203-160_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_3203-160_0_6_node_71 | 0.4 | n |  | TRUE
5 | bus_LV_3203-160_0_6_node_69 | 0.4 | n |  | TRUE
6 | bus_LV_3203-160_0_6_node_68 | 0.4 | n |  | TRUE
7 | bus_LV_3203-160_0_6_node_4 | 0.4 | n |  | TRUE
8 | bus_LV_3203-160_0_6_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_3203-160_0_6_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_3203-160_0_6_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_3203-160_0_6_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_3203-160_0_6_node_16 | 0.4 | n |  | TRUE
13 | bus_LV_3203-160_0_6_node_29 | 0.4 | n |  | TRUE
14 | bus_LV_3203-160_0_6_node_23 | 0.4 | n |  | TRUE
15 | bus_LV_3203-160_0_6_node_10 | 0.4 | n |  | TRUE
16 | bus_LV_3203-160_0_6_node_12 | 0.4 | n |  | TRUE
17 | bus_LV_3203-160_0_6_node_20 | 0.4 | n |  | TRUE
18 | bus_LV_3203-160_0_6_node_11 | 0.4 | n |  | TRUE
19 | bus_LV_3203-160_0_6_node_14 | 0.4 | n |  | TRUE
20 | bus_LV_3203-160_0_6_node_49 | 0.4 | n |  | TRUE
21 | bus_LV_3203-160_0_6_node_13 | 0.4 | n |  | TRUE
22 | bus_LV_3203-160_0_6_node_63 | 0.4 | n |  | TRUE
23 | bus_LV_3203-160_0_6_node_15 | 0.4 | n |  | TRUE
24 | bus_LV_3203-160_0_6_node_57 | 0.4 | n |  | TRUE
25 | bus_LV_3203-160_0_6_node_58 | 0.4 | n |  | TRUE
26 | bus_LV_3203-160_0_6_node_18 | 0.4 | n |  | TRUE
27 | bus_LV_3203-160_0_6_node_54 | 0.4 | n |  | TRUE
28 | bus_LV_3203-160_0_6_node_22 | 0.4 | n |  | TRUE
29 | bus_LV_3203-160_0_6_node_66 | 0.4 | n |  | TRUE
30 | bus_LV_3203-160_0_6_node_45 | 0.4 | n |  | TRUE
31 | bus_LV_3203-160_0_6_node_64 | 0.4 | n |  | TRUE
32 | bus_LV_3203-160_0_6_node_28 | 0.4 | n |  | TRUE
33 | bus_LV_3203-160_0_6_node_21 | 0.4 | n |  | TRUE
34 | bus_LV_3203-160_0_6_node_19 | 0.4 | n |  | TRUE
35 | bus_LV_3203-160_0_6_node_56 | 0.4 | n |  | TRUE
36 | bus_LV_3203-160_0_6_node_60 | 0.4 | n |  | TRUE
37 | bus_LV_3203-160_0_6_node_55 | 0.4 | n |  | TRUE
38 | bus_LV_3203-160_0_6_node_61 | 0.4 | n |  | TRUE
39 | bus_LV_3203-160_0_6_node_62 | 0.4 | n |  | TRUE
40 | bus_LV_3203-160_0_6_node_47 | 0.4 | n |  | TRUE
41 | bus_LV_3203-160_0_6_node_59 | 0.4 | n |  | TRUE
42 | bus_LV_3203-160_0_6_node_48 | 0.4 | n |  | TRUE
43 | bus_LV_3203-160_0_6_node_65 | 0.4 | n |  | TRUE
44 | bus_LV_3203-160_0_6_node_24 | 0.4 | n |  | TRUE
45 | bus_LV_3203-160_0_6_node_25 | 0.4 | n |  | TRUE
46 | bus_LV_3203-160_0_6_node_26 | 0.4 | n |  | TRUE
47 | bus_LV_3203-160_0_6_node_27 | 0.4 | n |  | TRUE
48 | bus_LV_3203-160_0_6_node_31 | 0.4 | n |  | TRUE
49 | bus_LV_3203-160_0_6_node_30 | 0.4 | n |  | TRUE
50 | bus_LV_3203-160_0_6_node_39 | 0.4 | n |  | TRUE
51 | bus_LV_3203-160_0_6_node_70 | 0.4 | n |  | TRUE
52 | bus_LV_3203-160_0_6_node_35 | 0.4 | n |  | TRUE
53 | bus_LV_3203-160_0_6_node_33 | 0.4 | n |  | TRUE
54 | bus_LV_3203-160_0_6_node_40 | 0.4 | n |  | TRUE
55 | bus_LV_3203-160_0_6_node_32 | 0.4 | n |  | TRUE
56 | bus_LV_3203-160_0_6_node_34 | 0.4 | n |  | TRUE
57 | bus_LV_3203-160_0_6_node_36 | 0.4 | n |  | TRUE
58 | bus_LV_3203-160_0_6_node_37 | 0.4 | n |  | TRUE
59 | bus_LV_3203-160_0_6_node_38 | 0.4 | n |  | TRUE
60 | bus_LV_3203-160_0_6_node_44 | 0.4 | n |  | TRUE
61 | bus_LV_3203-160_0_6_node_42 | 0.4 | n |  | TRUE
62 | bus_LV_3203-160_0_6_node_43 | 0.4 | n |  | TRUE
63 | bus_LV_3203-160_0_6_node_46 | 0.4 | n |  | TRUE
64 | bus_LV_3203-160_0_6_node_41 | 0.4 | n |  | TRUE
65 | bus_LV_3203-160_0_6_node_74 | 0.4 | n |  | TRUE
66 | bus_LV_3203-160_0_6_node_67 | 0.4 | n |  | TRUE
67 | bus_LV_3203-160_0_6_node_50 | 0.4 | n |  | TRUE
68 | bus_MV_43_0_node_32 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3203-160_0_6_load_0 | 0 | 0.005269 | 0.0013205 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3203-160_0_6_load_2 | 2 | 0.001706 | 0.00042757 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3203-160_0_6_load_3 | 3 | 0.0011623 | 0.0002913 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3203-160_0_6_load_71 | 4 | 0.0026949 | 0.00067541 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3203-160_0_6_load_69 | 5 | 0.011132 | 0.0027899 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3203-160_0_6_load_4 | 7 | 0.013966 | 0.0035003 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3203-160_0_6_load_5 | 8 | 0.014484 | 0.00363 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3203-160_0_6_load_29 | 13 | 0.0051609 | 0.0012934 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3203-160_0_6_load_23 | 14 | 0.0062695 | 0.0015713 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3203-160_0_6_load_20 | 17 | 0.020504 | 0.0051388 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3203-160_0_6_load_49 | 20 | 0.012824 | 0.003214 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3203-160_0_6_load_63 | 22 | 0.019865 | 0.0049786 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3203-160_0_6_load_57 | 24 | 0.018244 | 0.0045725 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3203-160_0_6_load_58 | 25 | 0.004176 | 0.0010466 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3203-160_0_6_load_54 | 27 | 0.028335 | 0.0071014 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3203-160_0_6_load_22 | 28 | 0.011771 | 0.0029501 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3203-160_0_6_load_66 | 29 | 0.012372 | 0.0031007 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3203-160_0_6_load_64 | 31 | 0.0085544 | 0.0021439 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3203-160_0_6_load_21 | 33 | 0.0048289 | 0.0012102 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3203-160_0_6_load_19 | 34 | 0.01254 | 0.0031427 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3203-160_0_6_load_55 | 37 | 0.011383 | 0.0028529 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3203-160_0_6_load_61 | 38 | 0.011281 | 0.0028273 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3203-160_0_6_load_62 | 39 | 0.010831 | 0.0027146 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3203-160_0_6_load_47 | 40 | 0.015192 | 0.0038075 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3203-160_0_6_load_59 | 41 | 0.013742 | 0.003444 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3203-160_0_6_load_48 | 42 | 0.0092008 | 0.0023059 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3203-160_0_6_load_65 | 43 | 0.012181 | 0.003053 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3203-160_0_6_load_24 | 44 | 0.0082334 | 0.0020635 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3203-160_0_6_load_25 | 45 | 0.0093294 | 0.0023382 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3203-160_0_6_load_26 | 46 | 0.0070874 | 0.0017763 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3203-160_0_6_load_27 | 47 | 0.0044475 | 0.0011147 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3203-160_0_6_load_31 | 48 | 0.0049486 | 0.0012402 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3203-160_0_6_load_39 | 50 | 0.0043247 | 0.0010839 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3203-160_0_6_load_70 | 51 | 0.013082 | 0.0032786 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3203-160_0_6_load_35 | 52 | 0.00507 | 0.0012707 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3203-160_0_6_load_33 | 53 | 0.0056309 | 0.0014112 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3203-160_0_6_load_40 | 54 | 0.012905 | 0.0032344 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3203-160_0_6_load_32 | 55 | 0.0068344 | 0.0017129 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3203-160_0_6_load_34 | 56 | 0.010445 | 0.0026178 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3203-160_0_6_load_36 | 57 | 0.0072515 | 0.0018174 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3203-160_0_6_load_37 | 58 | 0.0039095 | 0.00097981 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3203-160_0_6_load_38 | 59 | 0.0026615 | 0.00066704 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3203-160_0_6_load_42 | 61 | 0.0067575 | 0.0016936 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3203-160_0_6_load_41 | 64 | 0.0083617 | 0.0020956 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3203-160_0_6_load_74 | 65 | 0.012448 | 0.0031197 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3203-160_0_6_load_67 | 66 | 0.0092062 | 0.0023073 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3203-160_0_6_load_50 | 67 | 0.020558 | 0.0051522 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 20 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3203-160_0_6_line_0 |  | 0 | 1 | 0.012056 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_3203-160_0_6_line_1 |  | 1 | 2 | 0.048787 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_3203-160_0_6_line_2 |  | 1 | 3 | 0.014345 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_3203-160_0_6_line_3 |  | 2 | 4 | 0.03141 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_3203-160_0_6_line_4 |  | 3 | 5 | 0.064107 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_3203-160_0_6_line_5 |  | 5 | 6 | 0.02181 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_3203-160_0_6_line_6 |  | 6 | 66 | 0.029774 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_3203-160_0_6_line_7 |  | 6 | 60 | 0.025053 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_3203-160_0_6_line_8 |  | 7 | 8 | 0.029647 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
9 | LV_3203-160_0_6_line_9 |  | 7 | 9 | 0.056793 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
10 | LV_3203-160_0_6_line_10 |  | 8 | 10 | 0.025984 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
11 | LV_3203-160_0_6_line_11 |  | 9 | 11 | 0.004052 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
12 | LV_3203-160_0_6_line_12 |  | 10 | 12 | 0.003622 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
13 | LV_3203-160_0_6_line_13 |  | 11 | 13 | 0.047101 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
14 | LV_3203-160_0_6_line_14 |  | 11 | 14 | 0.025446 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_3203-160_0_6_line_15 |  | 12 | 28 | 0.030118 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_3203-160_0_6_line_16 |  | 12 | 16 | 0.019576 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
17 | LV_3203-160_0_6_line_17 |  | 13 | 32 | 0.015021 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
18 | LV_3203-160_0_6_line_18 |  | 15 | 16 | 0.01127 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_3203-160_0_6_line_19 |  | 15 | 17 | 0.0048592 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_3203-160_0_6_line_20 |  | 16 | 20 | 0.017954 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
21 | LV_3203-160_0_6_line_21 |  | 17 | 34 | 0.033916 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_3203-160_0_6_line_22 |  | 18 | 19 | 0.005184 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
23 | LV_3203-160_0_6_line_23 |  | 18 | 20 | 0.0048906 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
24 | LV_3203-160_0_6_line_24 |  | 19 | 21 | 0.012799 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
25 | LV_3203-160_0_6_line_25 |  | 21 | 22 | 0.010897 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
26 | LV_3203-160_0_6_line_26 |  | 22 | 25 | 0.022629 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
27 | LV_3203-160_0_6_line_27 |  | 23 | 24 | 0.031846 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_3203-160_0_6_line_28 |  | 23 | 25 | 0.014735 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
29 | LV_3203-160_0_6_line_29 |  | 23 | 26 | 0.031684 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_3203-160_0_6_line_30 |  | 23 | 27 | 0.051783 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_3203-160_0_6_line_31 |  | 24 | 41 | 0.038484 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_3203-160_0_6_line_32 |  | 26 | 29 | 0.019105 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_3203-160_0_6_line_33 |  | 26 | 30 | 0.003684 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_3203-160_0_6_line_34 |  | 26 | 31 | 0.017046 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_3203-160_0_6_line_35 |  | 27 | 37 | 0.001691 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_3203-160_0_6_line_36 |  | 30 | 42 | 0.021558 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_3203-160_0_6_line_37 |  | 30 | 40 | 0.015193 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_3203-160_0_6_line_38 |  | 31 | 43 | 0.032395 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_3203-160_0_6_line_39 |  | 32 | 49 | 0.040286 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_3203-160_0_6_line_40 |  | 32 | 46 | 0.055989 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
41 | LV_3203-160_0_6_line_41 |  | 33 | 34 | 0.029473 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_3203-160_0_6_line_42 |  | 35 | 36 | 0.003792 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_3203-160_0_6_line_43 |  | 35 | 37 | 0.015693 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_3203-160_0_6_line_44 |  | 36 | 38 | 0.044735 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_3203-160_0_6_line_45 |  | 38 | 39 | 0.024129 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_3203-160_0_6_line_46 |  | 42 | 67 | 0.037844 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_3203-160_0_6_line_47 |  | 44 | 45 | 0.031945 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
48 | LV_3203-160_0_6_line_48 |  | 44 | 46 | 0.016268 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
49 | LV_3203-160_0_6_line_49 |  | 45 | 47 | 0.01403 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_3203-160_0_6_line_50 |  | 47 | 48 | 0.022726 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_3203-160_0_6_line_51 |  | 48 | 50 | 0.0027089 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_3203-160_0_6_line_52 |  | 49 | 51 | 0.020951 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_3203-160_0_6_line_53 |  | 49 | 52 | 0.021192 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_3203-160_0_6_line_54 |  | 50 | 54 | 0.034511 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_3203-160_0_6_line_55 |  | 52 | 53 | 0.048127 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_3203-160_0_6_line_56 |  | 53 | 55 | 0.0092919 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_3203-160_0_6_line_57 |  | 54 | 62 | 0.026308 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_3203-160_0_6_line_58 |  | 55 | 56 | 0.022666 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_3203-160_0_6_line_59 |  | 56 | 57 | 0.013697 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_3203-160_0_6_line_60 |  | 58 | 59 | 0.00089704 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_3203-160_0_6_line_61 |  | 59 | 60 | 0.012052 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_3203-160_0_6_line_62 |  | 60 | 61 | 0.014858 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_3203-160_0_6_line_63 |  | 61 | 64 | 0.031978 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_3203-160_0_6_line_64 |  | 62 | 63 | 0.080082 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_3203-160_0_6_line_65 |  | 62 | 64 | 0.039882 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_3203-160_0_6_line_66 |  | 63 | 65 | 0.025418 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3203-160_0_6_trafo_49 | 0.63 MVA 20/0.4 kV | 68 | 20 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2745594.8834 | 1254832.658 | 2745586.8628 | 1254841.6589
1 | 2745594.8834 | 1254832.658 | 2745565.2332 | 1254793.9152
2 | 2745594.8834 | 1254832.658 | 2745606.1394 | 1254823.7658
3 | 2745565.2332 | 1254793.9152 | 2745552.8967 | 1254777.7956 | 2745544.8588 | 1254770.1241 | 2745544.8588 | 1254770.1241
4 | 2745606.1394 | 1254823.7658 | 2745608.3452 | 1254822.0232 | 2745636.6097 | 1254788.9086 | 2745644.176 | 1254772.8425
5 | 2745653.4685 | 1254753.1111 | 2745644.176 | 1254772.8425
6 | 2745653.4685 | 1254753.1111 | 2745675.5467 | 1254762.2184 | 2745680.4766 | 1254765.4429
7 | 2745653.4685 | 1254753.1111 | 2745632.0863 | 1254739.9504
8 | 2745615.2406 | 1254517.4813 | 2745641.7522 | 1254530.751
9 | 2745564.4541 | 1254492.0614 | 2745615.2406 | 1254517.4813
10 | 2745664.9883 | 1254542.3812 | 2745641.7522 | 1254530.751
11 | 2745561.7014 | 1254495.0411 | 2745564.4541 | 1254492.0614
12 | 2745663.66 | 1254545.7518 | 2745664.9883 | 1254542.3812
13 | 2745561.7014 | 1254495.0411 | 2745560.2147 | 1254496.8729 | 2745532.3883 | 1254531.9088
14 | 2745561.7014 | 1254495.0411 | 2745584.4853 | 1254506.373
15 | 2745663.66 | 1254545.7518 | 2745636.6936 | 1254532.3397
16 | 2745663.66 | 1254545.7518 | 2745681.1792 | 1254554.5912
17 | 2745523.0464 | 1254543.6711 | 2745532.3883 | 1254531.9088
18 | 2745681.1792 | 1254554.5912 | 2745682.3892 | 1254551.429 | 2745685.8214 | 1254549.0556 | 2745689.0153 | 1254547.1657
19 | 2745689.0153 | 1254547.1657 | 2745686.1427 | 1254543.2465
20 | 2745681.1792 | 1254554.5912 | 2745680.2117 | 1254557.1031 | 2745683.8237 | 1254559.383 | 2745687.5566 | 1254563.1896 | 2745690.4506 | 1254568.0527
21 | 2745666.0927 | 1254515.8918 | 2745686.1427 | 1254543.2465
22 | 2745695.2621 | 1254567.5055 | 2745700.4183 | 1254566.8428
23 | 2745695.2621 | 1254567.5055 | 2745690.4919 | 1254568.1221 | 2745690.4506 | 1254568.0527
24 | 2745700.4183 | 1254566.8428 | 2745701.2809 | 1254565.5294 | 2745703.3687 | 1254564.1128 | 2745705.3059 | 1254563.6044 | 2745707.1141 | 1254560.6683 | 2745708.7607 | 1254557.8616
25 | 2745708.7607 | 1254557.8616 | 2745718.1773 | 1254563.3444
26 | 2745737.7329 | 1254574.7303 | 2745718.1773 | 1254563.3444
27 | 2745750.4668 | 1254582.1444 | 2745778.0148 | 1254598.1223
28 | 2745750.4668 | 1254582.1444 | 2745737.7329 | 1254574.7303
29 | 2745731.0048 | 1254607.1451 | 2745746.0822 | 1254587.6418 | 2745747.8405 | 1254585.5052 | 2745750.4668 | 1254582.1444
30 | 2745750.4668 | 1254582.1444 | 2745781.9479 | 1254541.0294
31 | 2745778.0148 | 1254598.1223 | 2745811.305 | 1254617.4306
32 | 2745731.0048 | 1254607.1451 | 2745718.5829 | 1254592.6303
33 | 2745731.0048 | 1254607.1451 | 2745728.7443 | 1254610.0589
34 | 2745731.0048 | 1254607.1451 | 2745742.162 | 1254620.032
35 | 2745781.9479 | 1254541.0294 | 2745782.9759 | 1254539.6868
36 | 2745728.7443 | 1254610.0589 | 2745742.7341 | 1254626.4613
37 | 2745728.7443 | 1254610.0589 | 2745718.9338 | 1254598.4581
38 | 2745742.162 | 1254620.032 | 2745763.3661 | 1254644.5234
39 | 2745498.4405 | 1254575.6194 | 2745523.0464 | 1254543.6711
40 | 2745523.0464 | 1254543.6711 | 2745550.1523 | 1254561.3652 | 2745570.0395 | 1254574.1076
41 | 2745666.0927 | 1254515.8918 | 2745657.6516 | 1254504.3755 | 2745651.3877 | 1254494.8457 | 2745649.1468 | 1254491.7888
42 | 2745792.5164 | 1254527.2267 | 2745794.6319 | 1254524.0757
43 | 2745792.5164 | 1254527.2267 | 2745782.9759 | 1254539.6868
44 | 2745794.6319 | 1254524.0757 | 2745754.0612 | 1254505.227
45 | 2745754.0612 | 1254505.227 | 2745732.1783 | 1254495.0604
46 | 2745742.7341 | 1254626.4613 | 2745767.2927 | 1254655.2549
47 | 2745583.7367 | 1254582.8838 | 2745591.0198 | 1254587.5503 | 2745609.3722 | 1254601.8983
48 | 2745570.0395 | 1254574.1076 | 2745583.7367 | 1254582.8838
49 | 2745620.4254 | 1254610.5397 | 2745620.4254 | 1254610.5397 | 2745609.3722 | 1254601.8983
50 | 2745637.3071 | 1254625.7537 | 2745620.4254 | 1254610.5397
51 | 2745637.3071 | 1254625.7537 | 2745638.1242 | 1254626.4901 | 2745639.276 | 1254627.6136
52 | 2745498.4405 | 1254575.6194 | 2745481.194 | 1254563.7236
53 | 2745498.4405 | 1254575.6194 | 2745513.5005 | 1254590.5287
54 | 2745664.0531 | 1254651.6359 | 2745654.4426 | 1254642.4067 | 2745639.276 | 1254627.6136
55 | 2745513.5005 | 1254590.5287 | 2745518.6588 | 1254595.6353 | 2745529.0665 | 1254635.1563
56 | 2745529.0665 | 1254635.1563 | 2745531.4327 | 1254644.1419
57 | 2745683.0283 | 1254669.8583 | 2745664.0531 | 1254651.6359
58 | 2745540.9528 | 1254664.3763 | 2745534.0176 | 1254653.9574 | 2745531.4327 | 1254644.1419
59 | 2745548.5424 | 1254675.7784 | 2745540.9528 | 1254664.3763
60 | 2745622.3875 | 1254732.7955 | 2745621.6656 | 1254732.263
61 | 2745632.0863 | 1254739.9504 | 2745622.3875 | 1254732.7955
62 | 2745632.0863 | 1254739.9504 | 2745640.6529 | 1254727.8112
63 | 2745659.0911 | 1254701.6837 | 2745640.6529 | 1254727.8112
64 | 2745683.0283 | 1254669.8583 | 2745686.006 | 1254672.4562 | 2745688.0357 | 1254674.319 | 2745732.0774 | 1254715.2863 | 2745723.0984 | 1254724.9969
65 | 2745683.0283 | 1254669.8583 | 2745676.6691 | 1254676.7751 | 2745659.0911 | 1254701.6837
66 | 2745723.0984 | 1254724.9969 | 2745704.5925 | 1254707.5137

## bus_geodata
| x | y | coords
0 | 2745586.8628 | 1254841.6589
1 | 2745594.8834 | 1254832.658
2 | 2745565.2332 | 1254793.9152
3 | 2745606.1394 | 1254823.7658
4 | 2745544.8588 | 1254770.1241
5 | 2745644.176 | 1254772.8425
6 | 2745653.4685 | 1254753.1111
7 | 2745615.2406 | 1254517.4813
8 | 2745641.7522 | 1254530.751
9 | 2745564.4541 | 1254492.0614
10 | 2745664.9883 | 1254542.3812
11 | 2745561.7014 | 1254495.0411
12 | 2745663.66 | 1254545.7518
13 | 2745532.3883 | 1254531.9088
14 | 2745584.4853 | 1254506.373
15 | 2745689.0153 | 1254547.1657
16 | 2745681.1792 | 1254554.5912
17 | 2745686.1427 | 1254543.2465
18 | 2745695.2621 | 1254567.5055
19 | 2745700.4183 | 1254566.8428
20 | 2745690.4506 | 1254568.0527
21 | 2745708.7607 | 1254557.8616
22 | 2745718.1773 | 1254563.3444
23 | 2745750.4668 | 1254582.1444
24 | 2745778.0148 | 1254598.1223
25 | 2745737.7329 | 1254574.7303
26 | 2745731.0048 | 1254607.1451
27 | 2745781.9479 | 1254541.0294
28 | 2745636.6936 | 1254532.3397
29 | 2745718.5829 | 1254592.6303
30 | 2745728.7443 | 1254610.0589
31 | 2745742.1621 | 1254620.032
32 | 2745523.0464 | 1254543.6711
33 | 2745649.1468 | 1254491.7888
34 | 2745666.0927 | 1254515.8918
35 | 2745792.5164 | 1254527.2267
36 | 2745794.6319 | 1254524.0757
37 | 2745782.9759 | 1254539.6868
38 | 2745754.0612 | 1254505.227
39 | 2745732.1783 | 1254495.0604
40 | 2745718.9338 | 1254598.4581
41 | 2745811.305 | 1254617.4306
42 | 2745742.7341 | 1254626.4613
43 | 2745763.3661 | 1254644.5234
44 | 2745583.7367 | 1254582.8838
45 | 2745609.3722 | 1254601.8983
46 | 2745570.0395 | 1254574.1076
47 | 2745620.4254 | 1254610.5397
48 | 2745637.3071 | 1254625.7537
49 | 2745498.4405 | 1254575.6194
50 | 2745639.276 | 1254627.6136
51 | 2745481.194 | 1254563.7236
52 | 2745513.5005 | 1254590.5287
53 | 2745529.0665 | 1254635.1563
54 | 2745664.0531 | 1254651.6359
55 | 2745531.4327 | 1254644.1419
56 | 2745540.9528 | 1254664.3763
57 | 2745548.5424 | 1254675.7784
58 | 2745621.6656 | 1254732.263
59 | 2745622.3875 | 1254732.7955
60 | 2745632.0863 | 1254739.9504
61 | 2745640.6529 | 1254727.8112
62 | 2745683.0283 | 1254669.8583
63 | 2745723.0984 | 1254724.9969
64 | 2745659.0911 | 1254701.6837
65 | 2745704.5925 | 1254707.5137
66 | 2745680.4766 | 1254765.4429
67 | 2745767.2927 | 1254655.2549
68 | 2745695.2621 | 1254567.5055

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1