## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3203-167_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3203-167_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3203-167_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_3203-167_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_3203-167_0_5_node_6 | 0.4 | n |  | TRUE
5 | bus_LV_3203-167_0_5_node_79 | 0.4 | n |  | TRUE
6 | bus_LV_3203-167_0_5_node_81 | 0.4 | n |  | TRUE
7 | bus_LV_3203-167_0_5_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_3203-167_0_5_node_9 | 0.4 | n |  | TRUE
9 | bus_LV_3203-167_0_5_node_4 | 0.4 | n |  | TRUE
10 | bus_LV_3203-167_0_5_node_80 | 0.4 | n |  | TRUE
11 | bus_LV_3203-167_0_5_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_3203-167_0_5_node_63 | 0.4 | n |  | TRUE
13 | bus_LV_3203-167_0_5_node_7 | 0.4 | n |  | TRUE
14 | bus_LV_3203-167_0_5_node_78 | 0.4 | n |  | TRUE
15 | bus_LV_3203-167_0_5_node_49 | 0.4 | n |  | TRUE
16 | bus_LV_3203-167_0_5_node_54 | 0.4 | n |  | TRUE
17 | bus_LV_3203-167_0_5_node_48 | 0.4 | n |  | TRUE
18 | bus_LV_3203-167_0_5_node_84 | 0.4 | n |  | TRUE
19 | bus_LV_3203-167_0_5_node_55 | 0.4 | n |  | TRUE
20 | bus_LV_3203-167_0_5_node_85 | 0.4 | n |  | TRUE
21 | bus_LV_3203-167_0_5_node_53 | 0.4 | n |  | TRUE
22 | bus_LV_3203-167_0_5_node_62 | 0.4 | n |  | TRUE
23 | bus_LV_3203-167_0_5_node_60 | 0.4 | n |  | TRUE
24 | bus_LV_3203-167_0_5_node_64 | 0.4 | n |  | TRUE
25 | bus_LV_3203-167_0_5_node_61 | 0.4 | n |  | TRUE
26 | bus_LV_3203-167_0_5_node_28 | 0.4 | n |  | TRUE
27 | bus_LV_3203-167_0_5_node_87 | 0.4 | n |  | TRUE
28 | bus_LV_3203-167_0_5_node_29 | 0.4 | n |  | TRUE
29 | bus_LV_3203-167_0_5_node_25 | 0.4 | n |  | TRUE
30 | bus_LV_3203-167_0_5_node_89 | 0.4 | n |  | TRUE
31 | bus_LV_3203-167_0_5_node_23 | 0.4 | n |  | TRUE
32 | bus_LV_3203-167_0_5_node_27 | 0.4 | n |  | TRUE
33 | bus_LV_3203-167_0_5_node_86 | 0.4 | n |  | TRUE
34 | bus_LV_3203-167_0_5_node_47 | 0.4 | n |  | TRUE
35 | bus_LV_3203-167_0_5_node_26 | 0.4 | n |  | TRUE
36 | bus_LV_3203-167_0_5_node_82 | 0.4 | n |  | TRUE
37 | bus_LV_3203-167_0_5_node_75 | 0.4 | n |  | TRUE
38 | bus_LV_3203-167_0_5_node_74 | 0.4 | n |  | TRUE
39 | bus_LV_3203-167_0_5_node_22 | 0.4 | n |  | TRUE
40 | bus_LV_3203-167_0_5_node_24 | 0.4 | n |  | TRUE
41 | bus_LV_3203-167_0_5_node_21 | 0.4 | n |  | TRUE
42 | bus_LV_3203-167_0_5_node_30 | 0.4 | n |  | TRUE
43 | bus_LV_3203-167_0_5_node_52 | 0.4 | n |  | TRUE
44 | bus_LV_3203-167_0_5_node_10 | 0.4 | n |  | TRUE
45 | bus_LV_3203-167_0_5_node_11 | 0.4 | n |  | TRUE
46 | bus_LV_3203-167_0_5_node_12 | 0.4 | n |  | TRUE
47 | bus_LV_3203-167_0_5_node_13 | 0.4 | n |  | TRUE
48 | bus_LV_3203-167_0_5_node_14 | 0.4 | n |  | TRUE
49 | bus_LV_3203-167_0_5_node_16 | 0.4 | n |  | TRUE
50 | bus_LV_3203-167_0_5_node_15 | 0.4 | n |  | TRUE
51 | bus_LV_3203-167_0_5_node_59 | 0.4 | n |  | TRUE
52 | bus_LV_3203-167_0_5_node_58 | 0.4 | n |  | TRUE
53 | bus_LV_3203-167_0_5_node_17 | 0.4 | n |  | TRUE
54 | bus_LV_3203-167_0_5_node_18 | 0.4 | n |  | TRUE
55 | bus_LV_3203-167_0_5_node_19 | 0.4 | n |  | TRUE
56 | bus_LV_3203-167_0_5_node_20 | 0.4 | n |  | TRUE
57 | bus_LV_3203-167_0_5_node_39 | 0.4 | n |  | TRUE
58 | bus_LV_3203-167_0_5_node_31 | 0.4 | n |  | TRUE
59 | bus_LV_3203-167_0_5_node_33 | 0.4 | n |  | TRUE
60 | bus_LV_3203-167_0_5_node_41 | 0.4 | n |  | TRUE
61 | bus_LV_3203-167_0_5_node_57 | 0.4 | n |  | TRUE
62 | bus_LV_3203-167_0_5_node_42 | 0.4 | n |  | TRUE
63 | bus_LV_3203-167_0_5_node_46 | 0.4 | n |  | TRUE
64 | bus_LV_3203-167_0_5_node_32 | 0.4 | n |  | TRUE
65 | bus_LV_3203-167_0_5_node_37 | 0.4 | n |  | TRUE
66 | bus_LV_3203-167_0_5_node_90 | 0.4 | n |  | TRUE
67 | bus_LV_3203-167_0_5_node_35 | 0.4 | n |  | TRUE
68 | bus_LV_3203-167_0_5_node_36 | 0.4 | n |  | TRUE
69 | bus_LV_3203-167_0_5_node_38 | 0.4 | n |  | TRUE
70 | bus_LV_3203-167_0_5_node_40 | 0.4 | n |  | TRUE
71 | bus_LV_3203-167_0_5_node_76 | 0.4 | n |  | TRUE
72 | bus_LV_3203-167_0_5_node_43 | 0.4 | n |  | TRUE
73 | bus_LV_3203-167_0_5_node_44 | 0.4 | n |  | TRUE
74 | bus_LV_3203-167_0_5_node_45 | 0.4 | n |  | TRUE
75 | bus_LV_3203-167_0_5_node_50 | 0.4 | n |  | TRUE
76 | bus_LV_3203-167_0_5_node_51 | 0.4 | n |  | TRUE
77 | bus_LV_3203-167_0_5_node_83 | 0.4 | n |  | TRUE
78 | bus_LV_3203-167_0_5_node_72 | 0.4 | n |  | TRUE
79 | bus_LV_3203-167_0_5_node_69 | 0.4 | n |  | TRUE
80 | bus_LV_3203-167_0_5_node_67 | 0.4 | n |  | TRUE
81 | bus_LV_3203-167_0_5_node_65 | 0.4 | n |  | TRUE
82 | bus_LV_3203-167_0_5_node_66 | 0.4 | n |  | TRUE
83 | bus_LV_3203-167_0_5_node_68 | 0.4 | n |  | TRUE
84 | bus_LV_3203-167_0_5_node_70 | 0.4 | n |  | TRUE
85 | bus_LV_3203-167_0_5_node_71 | 0.4 | n |  | TRUE
86 | bus_LV_3203-167_0_5_node_73 | 0.4 | n |  | TRUE
87 | bus_LV_3203-167_0_5_node_77 | 0.4 | n |  | TRUE
88 | bus_MV_40_1_node_134 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3203-167_0_5_load_0 | 0 | 0.042847 | 0.010738 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3203-167_0_5_load_81 | 6 | 0.013529 | 0.0033907 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3203-167_0_5_load_80 | 10 | 0.016503 | 0.004136 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3203-167_0_5_load_78 | 14 | 0.013445 | 0.0033696 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3203-167_0_5_load_54 | 16 | 0.0048065 | 0.0012046 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3203-167_0_5_load_48 | 17 | 0.0055973 | 0.0014028 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3203-167_0_5_load_84 | 18 | 0.017549 | 0.0043983 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3203-167_0_5_load_85 | 20 | 0.031632 | 0.0079278 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3203-167_0_5_load_62 | 22 | 0.00058038 | 0.00014546 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3203-167_0_5_load_60 | 23 | 0.003458 | 0.00086667 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3203-167_0_5_load_61 | 25 | 0.0034201 | 0.00085715 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3203-167_0_5_load_87 | 27 | 0.036805 | 0.0092242 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3203-167_0_5_load_89 | 30 | 0.027866 | 0.006984 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3203-167_0_5_load_86 | 33 | 0.03284 | 0.0082304 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3203-167_0_5_load_82 | 36 | 0.0069198 | 0.0017343 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3203-167_0_5_load_75 | 37 | 0.021345 | 0.0053494 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3203-167_0_5_load_74 | 38 | 0.034036 | 0.0085302 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3203-167_0_5_load_21 | 41 | 0.0080025 | 0.0020056 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3203-167_0_5_load_52 | 43 | 0.0058786 | 0.0014733 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3203-167_0_5_load_10 | 44 | 0.0038367 | 0.00096157 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3203-167_0_5_load_11 | 45 | 0.0042809 | 0.0010729 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3203-167_0_5_load_13 | 47 | 0.0037589 | 0.00094206 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3203-167_0_5_load_14 | 48 | 0.0056959 | 0.0014275 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3203-167_0_5_load_16 | 49 | 0.0047185 | 0.0011826 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3203-167_0_5_load_59 | 51 | 0.0064521 | 0.001617 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3203-167_0_5_load_58 | 52 | 0.0027011 | 0.00067696 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3203-167_0_5_load_17 | 53 | 0.0051729 | 0.0012965 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3203-167_0_5_load_19 | 55 | 0.0055765 | 0.0013976 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3203-167_0_5_load_39 | 57 | 0.0026267 | 0.00065832 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3203-167_0_5_load_31 | 58 | 0.0019046 | 0.00047734 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3203-167_0_5_load_41 | 60 | 0.014081 | 0.0035291 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3203-167_0_5_load_57 | 61 | 0.0049276 | 0.001235 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3203-167_0_5_load_42 | 62 | 0.012601 | 0.0031581 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3203-167_0_5_load_46 | 63 | 0.0046223 | 0.0011585 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3203-167_0_5_load_90 | 66 | 0.036716 | 0.009202 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3203-167_0_5_load_38 | 69 | 0.0024138 | 0.00060497 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3203-167_0_5_load_40 | 70 | 0.051162 | 0.012822 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3203-167_0_5_load_76 | 71 | 0.009436 | 0.0023649 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3203-167_0_5_load_45 | 74 | 0.003096 | 0.00077593 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3203-167_0_5_load_50 | 75 | 0.0045114 | 0.0011307 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3203-167_0_5_load_51 | 76 | 0.0061358 | 0.0015378 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3203-167_0_5_load_83 | 77 | 0.0019822 | 0.00049679 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3203-167_0_5_load_72 | 78 | 0.0059323 | 0.0014868 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3203-167_0_5_load_69 | 79 | 0.0034077 | 0.00085406 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3203-167_0_5_load_67 | 80 | 0.0036331 | 0.00091055 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3203-167_0_5_load_65 | 81 | 0.0033266 | 0.00083373 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3203-167_0_5_load_66 | 82 | 0.0079731 | 0.0019983 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3203-167_0_5_load_68 | 83 | 0.0034814 | 0.00087253 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3203-167_0_5_load_71 | 85 | 0.002027 | 0.00050801 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3203-167_0_5_load_73 | 86 | 0.0025399 | 0.00063657 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3203-167_0_5_load_77 | 87 | 0.033459 | 0.0083857 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 4 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3203-167_0_5_line_0 |  | 0 | 1 | 0.020777 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
1 | LV_3203-167_0_5_line_1 |  | 0 | 2 | 0.015102 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
2 | LV_3203-167_0_5_line_2 |  | 1 | 3 | 0.066462 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
3 | LV_3203-167_0_5_line_3 |  | 2 | 4 | 0.050057 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
4 | LV_3203-167_0_5_line_4 |  | 3 | 5 | 0.019285 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_3203-167_0_5_line_5 |  | 3 | 6 | 0.007178 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_3203-167_0_5_line_6 |  | 3 | 7 | 0.22918 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
7 | LV_3203-167_0_5_line_7 |  | 3 | 8 | 0.055634 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
8 | LV_3203-167_0_5_line_8 |  | 5 | 18 | 0.006442 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_3203-167_0_5_line_9 |  | 5 | 13 | 0.015394 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_3203-167_0_5_line_10 |  | 7 | 12 | 0.099855 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
11 | LV_3203-167_0_5_line_11 |  | 8 | 15 | 0.034164 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
12 | LV_3203-167_0_5_line_12 |  | 8 | 17 | 0.027871 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
13 | LV_3203-167_0_5_line_13 |  | 9 | 10 | 0.001998 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_3203-167_0_5_line_14 |  | 9 | 11 | 0.068751 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_3203-167_0_5_line_15 |  | 11 | 15 | 0.020942 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_3203-167_0_5_line_16 |  | 11 | 16 | 0.012712 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_3203-167_0_5_line_17 |  | 12 | 24 | 0.23454 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
18 | LV_3203-167_0_5_line_18 |  | 12 | 25 | 0.040693 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_3203-167_0_5_line_19 |  | 13 | 14 | 0.00733 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_3203-167_0_5_line_20 |  | 15 | 43 | 0.011499 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_3203-167_0_5_line_21 |  | 16 | 21 | 0.023202 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_3203-167_0_5_line_22 |  | 17 | 34 | 0.0049592 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
23 | LV_3203-167_0_5_line_23 |  | 19 | 20 | 0.006688 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_3203-167_0_5_line_24 |  | 19 | 21 | 0.027028 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_3203-167_0_5_line_25 |  | 21 | 73 | 0.013259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_3203-167_0_5_line_26 |  | 22 | 23 | 0.026116 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_3203-167_0_5_line_27 |  | 23 | 25 | 0.037613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_3203-167_0_5_line_28 |  | 23 | 77 | 0.21307 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_3203-167_0_5_line_29 |  | 24 | 78 | 0.041058 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_3203-167_0_5_line_30 |  | 24 | 79 | 0.0055721 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_3203-167_0_5_line_31 |  | 26 | 27 | 0.005197 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_3203-167_0_5_line_32 |  | 26 | 28 | 0.085352 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
33 | LV_3203-167_0_5_line_33 |  | 28 | 37 | 0.05164 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
34 | LV_3203-167_0_5_line_34 |  | 28 | 38 | 0.0091327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_3203-167_0_5_line_35 |  | 28 | 35 | 0.077159 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
36 | LV_3203-167_0_5_line_36 |  | 29 | 30 | 0.001323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_3203-167_0_5_line_37 |  | 29 | 31 | 0.047535 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_3203-167_0_5_line_38 |  | 31 | 42 | 0.014256 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
39 | LV_3203-167_0_5_line_39 |  | 31 | 41 | 0.0070795 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
40 | LV_3203-167_0_5_line_40 |  | 32 | 33 | 0.013334 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_3203-167_0_5_line_41 |  | 32 | 34 | 0.053534 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
42 | LV_3203-167_0_5_line_42 |  | 32 | 35 | 0.084653 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
43 | LV_3203-167_0_5_line_43 |  | 34 | 63 | 0.024797 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
44 | LV_3203-167_0_5_line_44 |  | 35 | 36 | 0.005454 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_3203-167_0_5_line_45 |  | 37 | 71 | 0.025874 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
46 | LV_3203-167_0_5_line_46 |  | 39 | 40 | 0.011691 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
47 | LV_3203-167_0_5_line_47 |  | 39 | 41 | 0.048007 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
48 | LV_3203-167_0_5_line_48 |  | 40 | 58 | 0.026581 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
49 | LV_3203-167_0_5_line_49 |  | 40 | 59 | 0.048943 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_3203-167_0_5_line_50 |  | 40 | 53 | 0.016804 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_3203-167_0_5_line_51 |  | 42 | 63 | 0.034769 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
52 | LV_3203-167_0_5_line_52 |  | 43 | 76 | 0.017928 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_3203-167_0_5_line_53 |  | 44 | 45 | 0.012911 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_3203-167_0_5_line_54 |  | 44 | 46 | 0.011067 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_3203-167_0_5_line_55 |  | 45 | 47 | 0.022544 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_3203-167_0_5_line_56 |  | 46 | 48 | 0.023842 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_3203-167_0_5_line_57 |  | 47 | 49 | 0.039617 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_3203-167_0_5_line_58 |  | 49 | 53 | 0.0077649 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_3203-167_0_5_line_59 |  | 50 | 51 | 0.047014 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_3203-167_0_5_line_60 |  | 50 | 52 | 0.041243 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_3203-167_0_5_line_61 |  | 52 | 57 | 0.028084 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_3203-167_0_5_line_62 |  | 54 | 55 | 0.022204 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_3203-167_0_5_line_63 |  | 54 | 56 | 0.039682 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_3203-167_0_5_line_64 |  | 55 | 60 | 0.01001 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_3203-167_0_5_line_65 |  | 56 | 61 | 0.04004 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_3203-167_0_5_line_66 |  | 57 | 67 | 0.026628 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_3203-167_0_5_line_67 |  | 58 | 64 | 0.020525 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
68 | LV_3203-167_0_5_line_68 |  | 59 | 66 | 0.001356 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_3203-167_0_5_line_69 |  | 60 | 62 | 0.02143 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_3203-167_0_5_line_70 |  | 62 | 72 | 0.050126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_3203-167_0_5_line_71 |  | 64 | 65 | 0.004077 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
72 | LV_3203-167_0_5_line_72 |  | 65 | 69 | 0.0029362 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
73 | LV_3203-167_0_5_line_73 |  | 67 | 68 | 0.054719 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
74 | LV_3203-167_0_5_line_74 |  | 67 | 69 | 0.003398 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
75 | LV_3203-167_0_5_line_75 |  | 68 | 70 | 0.0068226 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_3203-167_0_5_line_76 |  | 71 | 87 | 0.012012 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
77 | LV_3203-167_0_5_line_77 |  | 72 | 73 | 0.010268 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_3203-167_0_5_line_78 |  | 72 | 74 | 0.012429 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_3203-167_0_5_line_79 |  | 74 | 75 | 0.012119 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_3203-167_0_5_line_80 |  | 79 | 80 | 0.041028 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_3203-167_0_5_line_81 |  | 80 | 81 | 0.0456 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_3203-167_0_5_line_82 |  | 81 | 82 | 0.01724 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_3203-167_0_5_line_83 |  | 82 | 83 | 0.0047701 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_3203-167_0_5_line_84 |  | 83 | 84 | 0.062223 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_3203-167_0_5_line_85 |  | 84 | 85 | 0.10057 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_3203-167_0_5_line_86 |  | 85 | 86 | 0.025941 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3203-167_0_5_trafo_6 | 0.63 MVA 20/0.4 kV | 88 | 4 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19
0 | 2743649.8406 | 1252296.6827 | 2743651.9232 | 1252287.0909 | 2743655.0055 | 1252276.5713
1 | 2743660.6649 | 1252262.5797 | 2743655.463 | 1252275.0097 | 2743655.0055 | 1252276.5713
2 | 2743632.3001 | 1252356.4695 | 2743631.8337 | 1252351.1087 | 2743631.923 | 1252345.2497 | 2743632.5591 | 1252339.8823 | 2743633.203 | 1252334.504 | 2743637.7036 | 1252334.4797 | 2743647.9846 | 1252308.4488 | 2743649.8406 | 1252296.6827
3 | 2743646.9042 | 1252228.2025 | 2743641.5427 | 1252244.7214 | 2743638.4861 | 1252252.4435 | 2743656.8116 | 1252260.8179 | 2743660.6649 | 1252262.5797
4 | 2743632.3001 | 1252356.4695 | 2743631.0439 | 1252360.6318 | 2743627.325 | 1252368.8939 | 2743625.8429 | 1252374.5856
5 | 2743632.3001 | 1252356.4695 | 2743639.4435 | 1252357.3657
6 | 2743632.3001 | 1252356.4695 | 2743631.8337 | 1252351.1087 | 2743631.923 | 1252345.2497 | 2743632.5591 | 1252339.8823 | 2743633.203 | 1252334.504 | 2743637.7036 | 1252334.4797 | 2743638.134 | 1252334.479 | 2743650.4577 | 1252334.4111 | 2743668.3972 | 1252332.8557 | 2743683.2813 | 1252328.4013 | 2743688.6578 | 1252326.5077 | 2743691.7509 | 1252324.1249 | 2743693.9372 | 1252318.973 | 2743694.6657 | 1252315.087 | 2743697.2494 | 1252295.4311 | 2743702.3939 | 1252274.1692 | 2743713.2308 | 1252245.1602 | 2743724.6882 | 1252215.7882 | 2743730.9668 | 1252199.7587 | 2743741.682 | 1252188.2077
7 | 2743601.2856 | 1252334.5971 | 2743610.5177 | 1252334.3651 | 2743614.3855 | 1252333.3467 | 2743617.5163 | 1252330.6534 | 2743624.1124 | 1252332.9488 | 2743633.203 | 1252334.504 | 2743632.5591 | 1252339.8823 | 2743631.923 | 1252345.2497 | 2743631.8337 | 1252351.1087 | 2743632.3001 | 1252356.4695
8 | 2743625.8429 | 1252374.5856 | 2743619.4196 | 1252373.8848
9 | 2743625.8429 | 1252374.5856 | 2743626.4074 | 1252379.9488 | 2743627.7443 | 1252385.8423 | 2743627.9428 | 1252389.7953
10 | 2743830.2166 | 1252163.455 | 2743799.6895 | 1252154.45 | 2743791.826 | 1252154.5927 | 2743775.9292 | 1252164.3495 | 2743741.682 | 1252188.2077
11 | 2743601.2856 | 1252334.5971 | 2743601.4729 | 1252338.0827 | 2743601.0888 | 1252342.7111 | 2743598.3918 | 1252354.29 | 2743593.0457 | 1252367.3839
12 | 2743601.2856 | 1252334.5971 | 2743599.8469 | 1252328.8568 | 2743597.1253 | 1252324.0196 | 2743588.5361 | 1252310.0452
13 | 2743569.425 | 1252413.9109 | 2743567.6189 | 1252413.0441
14 | 2743587.3478 | 1252387.5092 | 2743587.0608 | 1252393.1187 | 2743587.4304 | 1252398.7329 | 2743588.4593 | 1252404.2519 | 2743590.5739 | 1252410.7649 | 2743593.5884 | 1252416.9104 | 2743596.7764 | 1252421.8145 | 2743587.2345 | 1252420.8157 | 2743579.3698 | 1252416.6656 | 2743573.2542 | 1252419.7759 | 2743569.425 | 1252413.9109
15 | 2743587.3478 | 1252387.5092 | 2743589.688 | 1252377.2563 | 2743593.0457 | 1252367.3839
16 | 2743587.3478 | 1252387.5092 | 2743574.7421 | 1252389.1462
17 | 2743830.2166 | 1252163.455 | 2743877.4952 | 1252182.5209 | 2743910.1838 | 1252192.6687 | 2743943.7439 | 1252200.2021 | 2744018.7267 | 1252220.7325 | 2744031.5803 | 1252220.6226 | 2744055.1434 | 1252212.3209
18 | 2743830.2166 | 1252163.455 | 2743832.0796 | 1252153.2795 | 2743835.5251 | 1252128.6288 | 2743835.5381 | 1252123.1706
19 | 2743627.9428 | 1252389.7953 | 2743635.2366 | 1252390.7174
20 | 2743593.0457 | 1252367.3839 | 2743588.0399 | 1252364.8935 | 2743582.2781 | 1252363.6861 | 2743582.2573 | 1252363.6879
21 | 2743552.293 | 1252386.5367 | 2743554.8891 | 1252387.8341 | 2743566.5252 | 1252390.5853 | 2743574.3583 | 1252389.196 | 2743574.7421 | 1252389.1462
22 | 2743585.9393 | 1252305.8202 | 2743588.5361 | 1252310.0452
23 | 2743534.0085 | 1252404.1992 | 2743527.9551 | 1252401.3165
24 | 2743552.293 | 1252386.5367 | 2743543.1066 | 1252391.1184 | 2743541.2886 | 1252394.7889 | 2743540.1079 | 1252394.9049 | 2743538.0827 | 1252398.715 | 2743536.4757 | 1252399.2877 | 2743534.0085 | 1252404.1992
25 | 2743552.293 | 1252386.5367 | 2743540.402 | 1252380.5985
26 | 2743821.1341 | 1252088.9287 | 2743820.2139 | 1252087.2403 | 2743810.1186 | 1252077.6084 | 2743800.4529 | 1252074.2262
27 | 2743821.1341 | 1252088.9287 | 2743833.1021 | 1252110.8866 | 2743835.5455 | 1252120.0212 | 2743835.5381 | 1252123.1706
28 | 2743821.1341 | 1252088.9287 | 2743988.5121 | 1251957.0826
29 | 2744055.1434 | 1252212.3209 | 2744044.7101 | 1252235.8451 | 2744040.0958 | 1252250.4689
30 | 2744055.1434 | 1252212.3209 | 2744060.448 | 1252210.6151
31 | 2743608.1149 | 1252088.2525 | 2743613.3226 | 1252088.0341
32 | 2743608.1149 | 1252088.2525 | 2743610.9342 | 1252111.1647 | 2743611.3942 | 1252114.9238 | 2743612.837 | 1252122.6772 | 2743615.4772 | 1252136.7878 | 2743621.9831 | 1252132.2301 | 2743626.3009 | 1252128.8538 | 2743629.8235 | 1252130.8633 | 2743648.5786 | 1252131.1961
33 | 2743648.5786 | 1252131.1961 | 2743646.3476 | 1252103.3379 | 2743646.0825 | 1252079.6472
34 | 2743648.5786 | 1252131.1961 | 2743648.9426 | 1252135.7981 | 2743649.4415 | 1252140.2868
35 | 2743619.8919 | 1252177.3442 | 2743619.3327 | 1252157.4452 | 2743615.4772 | 1252136.7878 | 2743621.9831 | 1252132.2301 | 2743626.3009 | 1252128.8538 | 2743629.8235 | 1252130.8633 | 2743648.5786 | 1252131.1961
36 | 2743573.8742 | 1252206.5009 | 2743574.9893 | 1252207.2175
37 | 2743549.6858 | 1252241.5479 | 2743556.5743 | 1252225.8778 | 2743558.8963 | 1252224.7774 | 2743564.0011 | 1252226.614 | 2743568.832 | 1252215.7763 | 2743573.8742 | 1252206.5009
38 | 2743556.0742 | 1252254.2813 | 2743554.0522 | 1252250.7957 | 2743551.6749 | 1252245.7667 | 2743549.6858 | 1252241.5479
39 | 2743549.6858 | 1252241.5479 | 2743546.6612 | 1252235.147
40 | 2743590.5018 | 1252256.2396 | 2743603.1574 | 1252260.5504
41 | 2743590.5018 | 1252256.2396 | 2743583.9429 | 1252271.395 | 2743589.6459 | 1252281.2536 | 2743590.2967 | 1252282.4371 | 2743591.2726 | 1252284.2291 | 2743585.9393 | 1252305.8202
42 | 2743590.5018 | 1252256.2396 | 2743599.0463 | 1252234.2482 | 2743605.2913 | 1252221.1427 | 2743616.0172 | 1252198.2478 | 2743618.0416 | 1252187.3199 | 2743619.8919 | 1252177.3442
43 | 2743585.9393 | 1252305.8202 | 2743582.1419 | 1252299.2665 | 2743573.5067 | 1252284.3647
44 | 2743625.3566 | 1252177.1098 | 2743619.8919 | 1252177.3442
45 | 2743645.7929 | 1252053.7753 | 2743646.0825 | 1252079.6472
46 | 2743521.1519 | 1252181.1664 | 2743526.1507 | 1252191.7419
47 | 2743526.1507 | 1252191.7419 | 2743546.6612 | 1252235.147
48 | 2743521.1519 | 1252181.1664 | 2743510.6918 | 1252156.7297
49 | 2743521.1519 | 1252181.1664 | 2743532.1468 | 1252170.2113 | 2743534.5839 | 1252168.1017 | 2743540.4168 | 1252171.3683 | 2743544.22 | 1252164.921 | 2743553.6478 | 1252151.9594
50 | 2743521.1519 | 1252181.1664 | 2743506.7088 | 1252189.7552
51 | 2743556.0742 | 1252254.2813 | 2743573.5067 | 1252284.3647
52 | 2743564.632 | 1252365.9639 | 2743566.2386 | 1252365.0432 | 2743582.2573 | 1252363.6879
53 | 2743443.2939 | 1252241.2693 | 2743446.7421 | 1252235.9939 | 2743450.751 | 1252230.74
54 | 2743437.2387 | 1252250.5331 | 2743443.2939 | 1252241.2693
55 | 2743450.751 | 1252230.74 | 2743450.7581 | 1252230.7307 | 2743454.1543 | 1252227.6767 | 2743467.8465 | 1252216.0464
56 | 2743437.2387 | 1252250.5331 | 2743443.2825 | 1252268.7744 | 2743444.0972 | 1252273.3278
57 | 2743467.8465 | 1252216.0464 | 2743474.0516 | 1252210.7758 | 2743492.1083 | 1252196.9223 | 2743494.8325 | 1252196.6769 | 2743500.0201 | 1252193.699
58 | 2743500.0201 | 1252193.699 | 2743501.6549 | 1252192.7606 | 2743506.7088 | 1252189.7552
59 | 2743442.4489 | 1252053.8962 | 2743445.9602 | 1252046.4075 | 2743465.9433 | 1252013.2156
60 | 2743442.4489 | 1252053.8962 | 2743452.4151 | 1252058.2861 | 2743460.6912 | 1252063.8695 | 2743466.6102 | 1252070.1298 | 2743473.2076 | 1252079.8574
61 | 2743473.2076 | 1252079.8574 | 2743479.1565 | 1252088.6288 | 2743486.6306 | 1252104.4365
62 | 2743444.4166 | 1252333.2071 | 2743457.3938 | 1252329.54 | 2743466.1069 | 1252329.2285
63 | 2743444.4166 | 1252333.2071 | 2743441.0157 | 1252343.9348 | 2743436.0348 | 1252357.2379 | 2743447.8948 | 1252365.088
64 | 2743475.5066 | 1252332.6704 | 2743466.1069 | 1252329.2285
65 | 2743447.8948 | 1252365.088 | 2743475.941 | 1252393.6645
66 | 2743497.8726 | 1252128.5752 | 2743488.7952 | 1252109.0147 | 2743486.6306 | 1252104.4365
67 | 2743502.2494 | 1252138.0235 | 2743507.8893 | 1252150.1826 | 2743510.6918 | 1252156.7297
68 | 2743553.6478 | 1252151.9594 | 2743554.6991 | 1252152.819
69 | 2743475.5066 | 1252332.6704 | 2743475.5066 | 1252332.6704 | 2743483.4999 | 1252339.6261 | 2743490.8753 | 1252347.5619
70 | 2743531.1966 | 1252375.9934 | 2743509.6528 | 1252366.1512 | 2743498.7905 | 1252356.0786 | 2743490.8753 | 1252347.5619
71 | 2743502.2494 | 1252138.0235 | 2743500.5345 | 1252134.3229
72 | 2743500.5345 | 1252134.3229 | 2743499.3006 | 1252131.6586
73 | 2743497.8726 | 1252128.5752 | 2743510.4077 | 1252116.067 | 2743512.3269 | 1252114.145 | 2743520.3185 | 1252104.6741 | 2743530.8383 | 1252095.2534 | 2743536.7874 | 1252100.2689
74 | 2743497.8726 | 1252128.5752 | 2743499.3006 | 1252131.6586
75 | 2743536.7874 | 1252100.2689 | 2743541.997 | 1252095.8635
76 | 2743645.7929 | 1252053.7753 | 2743645.6584 | 1252041.7644
77 | 2743531.1966 | 1252375.9934 | 2743540.402 | 1252380.5985
78 | 2743531.1966 | 1252375.9934 | 2743537.8958 | 1252365.5243
79 | 2743544.4278 | 1252355.3167 | 2743537.8958 | 1252365.5243
80 | 2744060.448 | 1252210.6151 | 2744069.1612 | 1252207.813 | 2744080.9242 | 1252201.0149 | 2744092.6058 | 1252188.8764 | 2744093.3449 | 1252187.6371
81 | 2744115.9173 | 1252151.7084 | 2744114.3685 | 1252152.5046 | 2744102.4614 | 1252159.6328 | 2744099.7455 | 1252176.9053 | 2744093.3449 | 1252187.6371
82 | 2744115.9173 | 1252151.7084 | 2744123.2305 | 1252147.9492 | 2744132.1125 | 1252149.5054
83 | 2744136.8111 | 1252150.3286 | 2744132.1125 | 1252149.5054
84 | 2744195.6637 | 1252170.2436 | 2744171.0181 | 1252160.9685 | 2744143.2823 | 1252151.4625 | 2744136.8111 | 1252150.3286
85 | 2744195.6637 | 1252170.2436 | 2744227.8878 | 1252171.8628 | 2744255.1029 | 1252170.5018 | 2744296.0908 | 1252172.9362
86 | 2744296.0908 | 1252172.9362 | 2744305.5958 | 1252173.5008 | 2744321.9375 | 1252171.9078

## bus_geodata
| x | y | coords
0 | 2743655.0055 | 1252276.5713
1 | 2743649.8406 | 1252296.6827
2 | 2743660.6649 | 1252262.5797
3 | 2743632.3001 | 1252356.4695
4 | 2743646.9042 | 1252228.2025
5 | 2743625.8429 | 1252374.5856
6 | 2743639.4435 | 1252357.3657
7 | 2743741.682 | 1252188.2077
8 | 2743601.2856 | 1252334.5971
9 | 2743569.425 | 1252413.9109
10 | 2743567.6189 | 1252413.0441
11 | 2743587.3478 | 1252387.5092
12 | 2743830.2166 | 1252163.455
13 | 2743627.9428 | 1252389.7953
14 | 2743635.2366 | 1252390.7174
15 | 2743593.0457 | 1252367.3839
16 | 2743574.7421 | 1252389.1462
17 | 2743588.5361 | 1252310.0452
18 | 2743619.4196 | 1252373.8848
19 | 2743534.0085 | 1252404.1992
20 | 2743527.9551 | 1252401.3165
21 | 2743552.293 | 1252386.5367
22 | 2743800.4529 | 1252074.2262
23 | 2743821.1341 | 1252088.9287
24 | 2744055.1435 | 1252212.3209
25 | 2743835.5381 | 1252123.1706
26 | 2743608.1149 | 1252088.2525
27 | 2743613.3226 | 1252088.0341
28 | 2743648.5786 | 1252131.1961
29 | 2743573.8742 | 1252206.5009
30 | 2743574.9893 | 1252207.2175
31 | 2743549.6858 | 1252241.5479
32 | 2743590.5018 | 1252256.2396
33 | 2743603.1574 | 1252260.5504
34 | 2743585.9393 | 1252305.8202
35 | 2743619.8919 | 1252177.3442
36 | 2743625.3566 | 1252177.1098
37 | 2743646.0825 | 1252079.6472
38 | 2743649.4415 | 1252140.2868
39 | 2743526.1507 | 1252191.7419
40 | 2743521.1519 | 1252181.1664
41 | 2743546.6612 | 1252235.147
42 | 2743556.0742 | 1252254.2813
43 | 2743582.2573 | 1252363.6879
44 | 2743443.2939 | 1252241.2693
45 | 2743450.751 | 1252230.74
46 | 2743437.2387 | 1252250.5331
47 | 2743467.8465 | 1252216.0464
48 | 2743444.0972 | 1252273.3278
49 | 2743500.0201 | 1252193.699
50 | 2743442.4489 | 1252053.8962
51 | 2743465.9433 | 1252013.2156
52 | 2743473.2076 | 1252079.8574
53 | 2743506.7088 | 1252189.7552
54 | 2743444.4166 | 1252333.2071
55 | 2743466.1069 | 1252329.2285
56 | 2743447.8948 | 1252365.088
57 | 2743486.6306 | 1252104.4365
58 | 2743510.6918 | 1252156.7297
59 | 2743553.6478 | 1252151.9594
60 | 2743475.5066 | 1252332.6704
61 | 2743475.941 | 1252393.6645
62 | 2743490.8753 | 1252347.5619
63 | 2743573.5067 | 1252284.3647
64 | 2743502.2494 | 1252138.0235
65 | 2743500.5345 | 1252134.3229
66 | 2743554.6991 | 1252152.819
67 | 2743497.8726 | 1252128.5752
68 | 2743536.7874 | 1252100.2689
69 | 2743499.3006 | 1252131.6586
70 | 2743541.997 | 1252095.8635
71 | 2743645.7929 | 1252053.7753
72 | 2743531.1966 | 1252375.9934
73 | 2743540.402 | 1252380.5985
74 | 2743537.8958 | 1252365.5243
75 | 2743544.4278 | 1252355.3167
76 | 2743564.632 | 1252365.9639
77 | 2743988.5121 | 1251957.0826
78 | 2744040.0958 | 1252250.4689
79 | 2744060.448 | 1252210.6151
80 | 2744093.3449 | 1252187.6371
81 | 2744115.9173 | 1252151.7084
82 | 2744132.1125 | 1252149.5054
83 | 2744136.8111 | 1252150.3286
84 | 2744195.6637 | 1252170.2436
85 | 2744296.0908 | 1252172.9362
86 | 2744321.9375 | 1252171.9078
87 | 2743645.6584 | 1252041.7644
88 | 2743638.4861 | 1252252.4435

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1