## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3203-184_0_10_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3203-184_0_10_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3203-184_0_10_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_3203-184_0_10_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_3203-184_0_10_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_3203-184_0_10_node_6 | 0.4 | n |  | TRUE
6 | bus_LV_3203-184_0_10_node_5 | 0.4 | n |  | TRUE
7 | bus_LV_3203-184_0_10_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_3203-184_0_10_node_16 | 0.4 | n |  | TRUE
9 | bus_LV_3203-184_0_10_node_118 | 0.4 | n |  | TRUE
10 | bus_LV_3203-184_0_10_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_3203-184_0_10_node_17 | 0.4 | n |  | TRUE
12 | bus_LV_3203-184_0_10_node_19 | 0.4 | n |  | TRUE
13 | bus_LV_3203-184_0_10_node_21 | 0.4 | n |  | TRUE
14 | bus_LV_3203-184_0_10_node_14 | 0.4 | n |  | TRUE
15 | bus_LV_3203-184_0_10_node_117 | 0.4 | n |  | TRUE
16 | bus_LV_3203-184_0_10_node_109 | 0.4 | n |  | TRUE
17 | bus_LV_3203-184_0_10_node_111 | 0.4 | n |  | TRUE
18 | bus_LV_3203-184_0_10_node_145 | 0.4 | n |  | TRUE
19 | bus_LV_3203-184_0_10_node_112 | 0.4 | n |  | TRUE
20 | bus_LV_3203-184_0_10_node_113 | 0.4 | n |  | TRUE
21 | bus_LV_3203-184_0_10_node_151 | 0.4 | n |  | TRUE
22 | bus_LV_3203-184_0_10_node_150 | 0.4 | n |  | TRUE
23 | bus_LV_3203-184_0_10_node_144 | 0.4 | n |  | TRUE
24 | bus_LV_3203-184_0_10_node_10 | 0.4 | n |  | TRUE
25 | bus_LV_3203-184_0_10_node_11 | 0.4 | n |  | TRUE
26 | bus_LV_3203-184_0_10_node_15 | 0.4 | n |  | TRUE
27 | bus_LV_3203-184_0_10_node_13 | 0.4 | n |  | TRUE
28 | bus_LV_3203-184_0_10_node_143 | 0.4 | n |  | TRUE
29 | bus_LV_3203-184_0_10_node_146 | 0.4 | n |  | TRUE
30 | bus_LV_3203-184_0_10_node_147 | 0.4 | n |  | TRUE
31 | bus_LV_3203-184_0_10_node_148 | 0.4 | n |  | TRUE
32 | bus_LV_3203-184_0_10_node_149 | 0.4 | n |  | TRUE
33 | bus_LV_3203-184_0_10_node_12 | 0.4 | n |  | TRUE
34 | bus_LV_3203-184_0_10_node_50 | 0.4 | n |  | TRUE
35 | bus_LV_3203-184_0_10_node_49 | 0.4 | n |  | TRUE
36 | bus_LV_3203-184_0_10_node_18 | 0.4 | n |  | TRUE
37 | bus_LV_3203-184_0_10_node_22 | 0.4 | n |  | TRUE
38 | bus_LV_3203-184_0_10_node_20 | 0.4 | n |  | TRUE
39 | bus_LV_3203-184_0_10_node_23 | 0.4 | n |  | TRUE
40 | bus_LV_3203-184_0_10_node_29 | 0.4 | n |  | TRUE
41 | bus_LV_3203-184_0_10_node_38 | 0.4 | n |  | TRUE
42 | bus_LV_3203-184_0_10_node_27 | 0.4 | n |  | TRUE
43 | bus_LV_3203-184_0_10_node_24 | 0.4 | n |  | TRUE
44 | bus_LV_3203-184_0_10_node_25 | 0.4 | n |  | TRUE
45 | bus_LV_3203-184_0_10_node_26 | 0.4 | n |  | TRUE
46 | bus_LV_3203-184_0_10_node_28 | 0.4 | n |  | TRUE
47 | bus_LV_3203-184_0_10_node_30 | 0.4 | n |  | TRUE
48 | bus_LV_3203-184_0_10_node_31 | 0.4 | n |  | TRUE
49 | bus_LV_3203-184_0_10_node_43 | 0.4 | n |  | TRUE
50 | bus_LV_3203-184_0_10_node_32 | 0.4 | n |  | TRUE
51 | bus_LV_3203-184_0_10_node_52 | 0.4 | n |  | TRUE
52 | bus_LV_3203-184_0_10_node_53 | 0.4 | n |  | TRUE
53 | bus_LV_3203-184_0_10_node_33 | 0.4 | n |  | TRUE
54 | bus_LV_3203-184_0_10_node_34 | 0.4 | n |  | TRUE
55 | bus_LV_3203-184_0_10_node_35 | 0.4 | n |  | TRUE
56 | bus_LV_3203-184_0_10_node_36 | 0.4 | n |  | TRUE
57 | bus_LV_3203-184_0_10_node_37 | 0.4 | n |  | TRUE
58 | bus_LV_3203-184_0_10_node_41 | 0.4 | n |  | TRUE
59 | bus_LV_3203-184_0_10_node_51 | 0.4 | n |  | TRUE
60 | bus_LV_3203-184_0_10_node_39 | 0.4 | n |  | TRUE
61 | bus_LV_3203-184_0_10_node_65 | 0.4 | n |  | TRUE
62 | bus_LV_3203-184_0_10_node_44 | 0.4 | n |  | TRUE
63 | bus_LV_3203-184_0_10_node_40 | 0.4 | n |  | TRUE
64 | bus_LV_3203-184_0_10_node_42 | 0.4 | n |  | TRUE
65 | bus_LV_3203-184_0_10_node_45 | 0.4 | n |  | TRUE
66 | bus_LV_3203-184_0_10_node_47 | 0.4 | n |  | TRUE
67 | bus_LV_3203-184_0_10_node_48 | 0.4 | n |  | TRUE
68 | bus_LV_3203-184_0_10_node_46 | 0.4 | n |  | TRUE
69 | bus_LV_3203-184_0_10_node_63 | 0.4 | n |  | TRUE
70 | bus_LV_3203-184_0_10_node_54 | 0.4 | n |  | TRUE
71 | bus_LV_3203-184_0_10_node_55 | 0.4 | n |  | TRUE
72 | bus_LV_3203-184_0_10_node_59 | 0.4 | n |  | TRUE
73 | bus_LV_3203-184_0_10_node_61 | 0.4 | n |  | TRUE
74 | bus_LV_3203-184_0_10_node_56 | 0.4 | n |  | TRUE
75 | bus_LV_3203-184_0_10_node_57 | 0.4 | n |  | TRUE
76 | bus_LV_3203-184_0_10_node_58 | 0.4 | n |  | TRUE
77 | bus_LV_3203-184_0_10_node_60 | 0.4 | n |  | TRUE
78 | bus_LV_3203-184_0_10_node_67 | 0.4 | n |  | TRUE
79 | bus_LV_3203-184_0_10_node_68 | 0.4 | n |  | TRUE
80 | bus_LV_3203-184_0_10_node_74 | 0.4 | n |  | TRUE
81 | bus_LV_3203-184_0_10_node_119 | 0.4 | n |  | TRUE
82 | bus_LV_3203-184_0_10_node_71 | 0.4 | n |  | TRUE
83 | bus_LV_3203-184_0_10_node_75 | 0.4 | n |  | TRUE
84 | bus_LV_3203-184_0_10_node_62 | 0.4 | n |  | TRUE
85 | bus_LV_3203-184_0_10_node_64 | 0.4 | n |  | TRUE
86 | bus_LV_3203-184_0_10_node_66 | 0.4 | n |  | TRUE
87 | bus_LV_3203-184_0_10_node_73 | 0.4 | n |  | TRUE
88 | bus_LV_3203-184_0_10_node_69 | 0.4 | n |  | TRUE
89 | bus_LV_3203-184_0_10_node_70 | 0.4 | n |  | TRUE
90 | bus_LV_3203-184_0_10_node_72 | 0.4 | n |  | TRUE
91 | bus_LV_3203-184_0_10_node_81 | 0.4 | n |  | TRUE
92 | bus_LV_3203-184_0_10_node_120 | 0.4 | n |  | TRUE
93 | bus_LV_3203-184_0_10_node_82 | 0.4 | n |  | TRUE
94 | bus_LV_3203-184_0_10_node_79 | 0.4 | n |  | TRUE
95 | bus_LV_3203-184_0_10_node_121 | 0.4 | n |  | TRUE
96 | bus_LV_3203-184_0_10_node_76 | 0.4 | n |  | TRUE
97 | bus_LV_3203-184_0_10_node_77 | 0.4 | n |  | TRUE
98 | bus_LV_3203-184_0_10_node_83 | 0.4 | n |  | TRUE
99 | bus_LV_3203-184_0_10_node_89 | 0.4 | n |  | TRUE
100 | bus_LV_3203-184_0_10_node_78 | 0.4 | n |  | TRUE
101 | bus_LV_3203-184_0_10_node_80 | 0.4 | n |  | TRUE
102 | bus_LV_3203-184_0_10_node_141 | 0.4 | n |  | TRUE
103 | bus_LV_3203-184_0_10_node_88 | 0.4 | n |  | TRUE
104 | bus_LV_3203-184_0_10_node_90 | 0.4 | n |  | TRUE
105 | bus_LV_3203-184_0_10_node_84 | 0.4 | n |  | TRUE
106 | bus_LV_3203-184_0_10_node_85 | 0.4 | n |  | TRUE
107 | bus_LV_3203-184_0_10_node_86 | 0.4 | n |  | TRUE
108 | bus_LV_3203-184_0_10_node_87 | 0.4 | n |  | TRUE
109 | bus_LV_3203-184_0_10_node_93 | 0.4 | n |  | TRUE
110 | bus_LV_3203-184_0_10_node_100 | 0.4 | n |  | TRUE
111 | bus_LV_3203-184_0_10_node_95 | 0.4 | n |  | TRUE
112 | bus_LV_3203-184_0_10_node_91 | 0.4 | n |  | TRUE
113 | bus_LV_3203-184_0_10_node_99 | 0.4 | n |  | TRUE
114 | bus_LV_3203-184_0_10_node_94 | 0.4 | n |  | TRUE
115 | bus_LV_3203-184_0_10_node_92 | 0.4 | n |  | TRUE
116 | bus_LV_3203-184_0_10_node_105 | 0.4 | n |  | TRUE
117 | bus_LV_3203-184_0_10_node_106 | 0.4 | n |  | TRUE
118 | bus_LV_3203-184_0_10_node_96 | 0.4 | n |  | TRUE
119 | bus_LV_3203-184_0_10_node_97 | 0.4 | n |  | TRUE
120 | bus_LV_3203-184_0_10_node_98 | 0.4 | n |  | TRUE
121 | bus_LV_3203-184_0_10_node_103 | 0.4 | n |  | TRUE
122 | bus_LV_3203-184_0_10_node_142 | 0.4 | n |  | TRUE
123 | bus_LV_3203-184_0_10_node_104 | 0.4 | n |  | TRUE
124 | bus_LV_3203-184_0_10_node_101 | 0.4 | n |  | TRUE
125 | bus_LV_3203-184_0_10_node_102 | 0.4 | n |  | TRUE
126 | bus_LV_3203-184_0_10_node_107 | 0.4 | n |  | TRUE
127 | bus_LV_3203-184_0_10_node_108 | 0.4 | n |  | TRUE
128 | bus_LV_3203-184_0_10_node_114 | 0.4 | n |  | TRUE
129 | bus_LV_3203-184_0_10_node_115 | 0.4 | n |  | TRUE
130 | bus_LV_3203-184_0_10_node_116 | 0.4 | n |  | TRUE
131 | bus_LV_3203-184_0_10_node_122 | 0.4 | n |  | TRUE
132 | bus_LV_3203-184_0_10_node_123 | 0.4 | n |  | TRUE
133 | bus_LV_3203-184_0_10_node_124 | 0.4 | n |  | TRUE
134 | bus_LV_3203-184_0_10_node_125 | 0.4 | n |  | TRUE
135 | bus_LV_3203-184_0_10_node_126 | 0.4 | n |  | TRUE
136 | bus_LV_3203-184_0_10_node_138 | 0.4 | n |  | TRUE
137 | bus_LV_3203-184_0_10_node_128 | 0.4 | n |  | TRUE
138 | bus_LV_3203-184_0_10_node_139 | 0.4 | n |  | TRUE
139 | bus_LV_3203-184_0_10_node_127 | 0.4 | n |  | TRUE
140 | bus_LV_3203-184_0_10_node_129 | 0.4 | n |  | TRUE
141 | bus_LV_3203-184_0_10_node_135 | 0.4 | n |  | TRUE
142 | bus_LV_3203-184_0_10_node_130 | 0.4 | n |  | TRUE
143 | bus_LV_3203-184_0_10_node_136 | 0.4 | n |  | TRUE
144 | bus_LV_3203-184_0_10_node_131 | 0.4 | n |  | TRUE
145 | bus_LV_3203-184_0_10_node_132 | 0.4 | n |  | TRUE
146 | bus_LV_3203-184_0_10_node_133 | 0.4 | n |  | TRUE
147 | bus_LV_3203-184_0_10_node_134 | 0.4 | n |  | TRUE
148 | bus_LV_3203-184_0_10_node_137 | 0.4 | n |  | TRUE
149 | bus_LV_3203-184_0_10_node_140 | 0.4 | n |  | TRUE
150 | bus_MV_582_0_node_52 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3203-184_0_10_load_0 | 0 | 0.017523 | 0.0043918 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3203-184_0_10_load_3 | 3 | 0.021183 | 0.0053088 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3203-184_0_10_load_6 | 5 | 0.013867 | 0.0034753 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3203-184_0_10_load_7 | 7 | 0.017377 | 0.0043551 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3203-184_0_10_load_16 | 8 | 0.017148 | 0.0042978 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3203-184_0_10_load_118 | 9 | 0.010923 | 0.0027377 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3203-184_0_10_load_8 | 10 | 0.020841 | 0.0052232 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3203-184_0_10_load_21 | 13 | 0.022267 | 0.0055807 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3203-184_0_10_load_14 | 14 | 0.015677 | 0.0039291 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3203-184_0_10_load_109 | 16 | 0.0037731 | 0.00094563 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3203-184_0_10_load_145 | 18 | 0.0071556 | 0.0017934 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3203-184_0_10_load_151 | 21 | 0.0033807 | 0.00084728 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3203-184_0_10_load_150 | 22 | 0.005566 | 0.001395 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3203-184_0_10_load_144 | 23 | 0.00051353 | 0.0001287 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3203-184_0_10_load_10 | 24 | 0.018704 | 0.0046876 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3203-184_0_10_load_15 | 26 | 0.018171 | 0.0045541 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3203-184_0_10_load_13 | 27 | 0.0057488 | 0.0014408 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3203-184_0_10_load_143 | 28 | 0.0033876 | 0.00084901 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3203-184_0_10_load_146 | 29 | 0.0013223 | 0.0003314 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3203-184_0_10_load_147 | 30 | 0.0037108 | 0.00093 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3203-184_0_10_load_149 | 32 | 0.0040653 | 0.0010189 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3203-184_0_10_load_49 | 35 | 0.0046743 | 0.0011715 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3203-184_0_10_load_18 | 36 | 0.019067 | 0.0047786 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3203-184_0_10_load_20 | 38 | 0.022945 | 0.0057505 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3203-184_0_10_load_38 | 41 | 0.0046249 | 0.0011591 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3203-184_0_10_load_27 | 42 | 0.0041596 | 0.0010425 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3203-184_0_10_load_24 | 43 | 0.0056338 | 0.001412 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3203-184_0_10_load_25 | 44 | 0.0025733 | 0.00064494 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3203-184_0_10_load_26 | 45 | 0.0028305 | 0.00070939 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3203-184_0_10_load_28 | 46 | 0.0030536 | 0.00076531 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3203-184_0_10_load_30 | 47 | 0.002118 | 0.00053082 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3203-184_0_10_load_43 | 49 | 0.0037332 | 0.00093563 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3203-184_0_10_load_32 | 50 | 0.0042384 | 0.0010622 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3203-184_0_10_load_53 | 52 | 0.0019513 | 0.00048904 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3203-184_0_10_load_33 | 53 | 0.002066 | 0.0005178 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3203-184_0_10_load_34 | 54 | 0.0031976 | 0.00080139 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3203-184_0_10_load_35 | 55 | 0.0026156 | 0.00065553 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3203-184_0_10_load_36 | 56 | 0.0038964 | 0.00097653 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3203-184_0_10_load_37 | 57 | 0.0027227 | 0.00068236 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3203-184_0_10_load_41 | 58 | 0.0022349 | 0.00056013 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3203-184_0_10_load_51 | 59 | 0.0022544 | 0.00056502 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3203-184_0_10_load_39 | 60 | 0.0029636 | 0.00074275 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3203-184_0_10_load_65 | 61 | 0.0053401 | 0.0013384 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3203-184_0_10_load_44 | 62 | 0.0021425 | 0.00053697 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3203-184_0_10_load_40 | 63 | 0.003199 | 0.00080176 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3203-184_0_10_load_42 | 64 | 0.0023931 | 0.00059977 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3203-184_0_10_load_46 | 68 | 0.011455 | 0.0028708 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3203-184_0_10_load_63 | 69 | 0.0028342 | 0.00071031 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3203-184_0_10_load_54 | 70 | 0.001881 | 0.00047142 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3203-184_0_10_load_55 | 71 | 0.0039867 | 0.00099915 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3203-184_0_10_load_61 | 73 | 0.0032396 | 0.00081193 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3203-184_0_10_load_56 | 74 | 0.0062828 | 0.0015746 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3203-184_0_10_load_57 | 75 | 0.0054231 | 0.0013592 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_3203-184_0_10_load_58 | 76 | 0.0067309 | 0.0016869 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_3203-184_0_10_load_67 | 78 | 0.0041755 | 0.0010465 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_3203-184_0_10_load_68 | 79 | 0.0032521 | 0.00081505 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_3203-184_0_10_load_74 | 80 | 0.0035025 | 0.0008778 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_3203-184_0_10_load_119 | 81 | 0.0039701 | 0.00099499 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_3203-184_0_10_load_75 | 83 | 0.0022114 | 0.00055423 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_3203-184_0_10_load_62 | 84 | 0.0031994 | 0.00080185 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_3203-184_0_10_load_64 | 85 | 0.0018006 | 0.00045128 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_3203-184_0_10_load_66 | 86 | 0.0034647 | 0.00086833 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_3203-184_0_10_load_69 | 88 | 0.0051216 | 0.0012836 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_3203-184_0_10_load_70 | 89 | 0.0036807 | 0.00092246 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_3203-184_0_10_load_72 | 90 | 0.0025519 | 0.00063957 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_3203-184_0_10_load_120 | 92 | 0.0024776 | 0.00062094 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_3203-184_0_10_load_82 | 93 | 0.0029846 | 0.00074802 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_3203-184_0_10_load_79 | 94 | 0.0017859 | 0.00044759 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_3203-184_0_10_load_121 | 95 | 0.0034677 | 0.00086908 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_3203-184_0_10_load_76 | 96 | 0.002855 | 0.00071554 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_3203-184_0_10_load_77 | 97 | 0.0019212 | 0.00048149 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_3203-184_0_10_load_83 | 98 | 0.0054883 | 0.0013755 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_3203-184_0_10_load_89 | 99 | 0.0030253 | 0.0007582 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_3203-184_0_10_load_78 | 100 | 0.001573 | 0.00039422 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_3203-184_0_10_load_80 | 101 | 0.0039719 | 0.00099545 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_3203-184_0_10_load_141 | 102 | 0.0035153 | 0.00088101 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_3203-184_0_10_load_90 | 104 | 0.0037478 | 0.00093929 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_3203-184_0_10_load_84 | 105 | 0.0018696 | 0.00046858 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_3203-184_0_10_load_85 | 106 | 0.0049932 | 0.0012514 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_3203-184_0_10_load_86 | 107 | 0.0019578 | 0.00049068 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_3203-184_0_10_load_93 | 109 | 0.0069514 | 0.0017422 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_3203-184_0_10_load_100 | 110 | 0.0055599 | 0.0013935 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_3203-184_0_10_load_95 | 111 | 0.0034892 | 0.00087448 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_3203-184_0_10_load_99 | 113 | 0.003076 | 0.00077093 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_3203-184_0_10_load_94 | 114 | 0.0026618 | 0.00066712 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_3203-184_0_10_load_105 | 116 | 0.0056759 | 0.0014225 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_3203-184_0_10_load_106 | 117 | 0.0045369 | 0.001137 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_3203-184_0_10_load_97 | 119 | 0.0037092 | 0.00092962 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_3203-184_0_10_load_98 | 120 | 0.0029053 | 0.00072814 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_3203-184_0_10_load_103 | 121 | 0.0025353 | 0.0006354 | 0 | 0 |  | 1 | TRUE | wye
90 | LV_3203-184_0_10_load_142 | 122 | 0.0024221 | 0.00060703 | 0 | 0 |  | 1 | TRUE | wye
91 | LV_3203-184_0_10_load_104 | 123 | 0.0035309 | 0.00088492 | 0 | 0 |  | 1 | TRUE | wye
92 | LV_3203-184_0_10_load_101 | 124 | 0.00046906 | 0.00011756 | 0 | 0 |  | 1 | TRUE | wye
93 | LV_3203-184_0_10_load_102 | 125 | 0.0073316 | 0.0018375 | 0 | 0 |  | 1 | TRUE | wye
94 | LV_3203-184_0_10_load_107 | 126 | 0.0025691 | 0.00064388 | 0 | 0 |  | 1 | TRUE | wye
95 | LV_3203-184_0_10_load_108 | 127 | 0.0065686 | 0.0016463 | 0 | 0 |  | 1 | TRUE | wye
96 | LV_3203-184_0_10_load_114 | 128 | 0.0095684 | 0.0023981 | 0 | 0 |  | 1 | TRUE | wye
97 | LV_3203-184_0_10_load_115 | 129 | 0.0025244 | 0.00063267 | 0 | 0 |  | 1 | TRUE | wye
98 | LV_3203-184_0_10_load_122 | 131 | 0.0028461 | 0.0007133 | 0 | 0 |  | 1 | TRUE | wye
99 | LV_3203-184_0_10_load_123 | 132 | 0.0044913 | 0.0011256 | 0 | 0 |  | 1 | TRUE | wye
100 | LV_3203-184_0_10_load_124 | 133 | 0.0035979 | 0.00090171 | 0 | 0 |  | 1 | TRUE | wye
101 | LV_3203-184_0_10_load_125 | 134 | 0.0020507 | 0.00051394 | 0 | 0 |  | 1 | TRUE | wye
102 | LV_3203-184_0_10_load_138 | 136 | 0.0028418 | 0.00071223 | 0 | 0 |  | 1 | TRUE | wye
103 | LV_3203-184_0_10_load_128 | 137 | 0.0023946 | 0.00060015 | 0 | 0 |  | 1 | TRUE | wye
104 | LV_3203-184_0_10_load_139 | 138 | 0.0025154 | 0.00063042 | 0 | 0 |  | 1 | TRUE | wye
105 | LV_3203-184_0_10_load_135 | 141 | 0.0022167 | 0.00055557 | 0 | 0 |  | 1 | TRUE | wye
106 | LV_3203-184_0_10_load_130 | 142 | 0.0053216 | 0.0013337 | 0 | 0 |  | 1 | TRUE | wye
107 | LV_3203-184_0_10_load_136 | 143 | 0.0025676 | 0.00064351 | 0 | 0 |  | 1 | TRUE | wye
108 | LV_3203-184_0_10_load_132 | 145 | 0.0039163 | 0.00098152 | 0 | 0 |  | 1 | TRUE | wye
109 | LV_3203-184_0_10_load_133 | 146 | 0.0035859 | 0.0008987 | 0 | 0 |  | 1 | TRUE | wye
110 | LV_3203-184_0_10_load_134 | 147 | 0.002068 | 0.0005183 | 0 | 0 |  | 1 | TRUE | wye
111 | LV_3203-184_0_10_load_137 | 148 | 0.0032095 | 0.00080438 | 0 | 0 |  | 1 | TRUE | wye
112 | LV_3203-184_0_10_load_140 | 149 | 0.0036825 | 0.00092291 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 73 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3203-184_0_10_line_0 |  | 0 | 1 | 0.04076 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
1 | LV_3203-184_0_10_line_1 |  | 0 | 2 | 0.015732 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
2 | LV_3203-184_0_10_line_2 |  | 1 | 3 | 0.040469 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_3203-184_0_10_line_3 |  | 1 | 4 | 0.088097 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
4 | LV_3203-184_0_10_line_4 |  | 2 | 5 | 0.092811 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_3203-184_0_10_line_5 |  | 2 | 6 | 0.042253 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_3203-184_0_10_line_6 |  | 3 | 7 | 0.027127 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_3203-184_0_10_line_7 |  | 4 | 8 | 0.018583 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
8 | LV_3203-184_0_10_line_8 |  | 6 | 9 | 0.02611 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_3203-184_0_10_line_9 |  | 7 | 10 | 0.018879 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_3203-184_0_10_line_10 |  | 8 | 14 | 0.023744 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
11 | LV_3203-184_0_10_line_11 |  | 9 | 15 | 0.054218 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_3203-184_0_10_line_12 |  | 11 | 12 | 0.031057 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
13 | LV_3203-184_0_10_line_13 |  | 11 | 13 | 0.021714 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
14 | LV_3203-184_0_10_line_14 |  | 12 | 36 | 0.0062168 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_3203-184_0_10_line_15 |  | 12 | 26 | 0.033228 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
16 | LV_3203-184_0_10_line_16 |  | 13 | 37 | 0.017612 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
17 | LV_3203-184_0_10_line_17 |  | 14 | 25 | 0.033044 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
18 | LV_3203-184_0_10_line_18 |  | 15 | 130 | 0.026047 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_3203-184_0_10_line_19 |  | 16 | 17 | 0.031524 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_3203-184_0_10_line_20 |  | 16 | 18 | 0.032395 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_3203-184_0_10_line_21 |  | 17 | 19 | 0.074125 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_3203-184_0_10_line_22 |  | 17 | 20 | 0.03656 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_3203-184_0_10_line_23 |  | 18 | 23 | 0.0066401 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_3203-184_0_10_line_24 |  | 19 | 21 | 0.016206 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_3203-184_0_10_line_25 |  | 20 | 22 | 0.037097 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_3203-184_0_10_line_26 |  | 22 | 31 | 0.0012587 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_3203-184_0_10_line_27 |  | 24 | 25 | 0.0197 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_3203-184_0_10_line_28 |  | 25 | 26 | 0.0040341 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
29 | LV_3203-184_0_10_line_29 |  | 27 | 28 | 0.0014088 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_3203-184_0_10_line_30 |  | 28 | 29 | 0.022456 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_3203-184_0_10_line_31 |  | 29 | 30 | 0.00059789 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_3203-184_0_10_line_32 |  | 30 | 31 | 0.017361 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_3203-184_0_10_line_33 |  | 31 | 32 | 0.01971 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_3203-184_0_10_line_34 |  | 32 | 33 | 0.066635 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_3203-184_0_10_line_35 |  | 33 | 34 | 0.090502 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_3203-184_0_10_line_36 |  | 34 | 35 | 0.076545 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_3203-184_0_10_line_37 |  | 35 | 67 | 0.035544 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_3203-184_0_10_line_38 |  | 36 | 38 | 0.024411 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_3203-184_0_10_line_39 |  | 37 | 39 | 0.035456 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
40 | LV_3203-184_0_10_line_40 |  | 39 | 40 | 0.090517 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
41 | LV_3203-184_0_10_line_41 |  | 40 | 41 | 0.0041416 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
42 | LV_3203-184_0_10_line_42 |  | 40 | 42 | 0.028841 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
43 | LV_3203-184_0_10_line_43 |  | 41 | 49 | 0.021068 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
44 | LV_3203-184_0_10_line_44 |  | 42 | 44 | 0.0032425 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
45 | LV_3203-184_0_10_line_45 |  | 43 | 44 | 0.014275 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
46 | LV_3203-184_0_10_line_46 |  | 43 | 45 | 0.01397 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
47 | LV_3203-184_0_10_line_47 |  | 45 | 46 | 0.00032332 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
48 | LV_3203-184_0_10_line_48 |  | 46 | 47 | 0.029754 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
49 | LV_3203-184_0_10_line_49 |  | 47 | 48 | 0.0020141 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
50 | LV_3203-184_0_10_line_50 |  | 48 | 50 | 0.000495 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
51 | LV_3203-184_0_10_line_51 |  | 49 | 62 | 0.018459 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
52 | LV_3203-184_0_10_line_52 |  | 50 | 51 | 0.016344 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
53 | LV_3203-184_0_10_line_53 |  | 51 | 52 | 0.010547 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
54 | LV_3203-184_0_10_line_54 |  | 52 | 70 | 0.0040899 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
55 | LV_3203-184_0_10_line_55 |  | 53 | 54 | 0.0058112 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_3203-184_0_10_line_56 |  | 53 | 55 | 0.0015429 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_3203-184_0_10_line_57 |  | 54 | 56 | 0.021618 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_3203-184_0_10_line_58 |  | 55 | 57 | 0.024468 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_3203-184_0_10_line_59 |  | 56 | 58 | 0.0089418 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_3203-184_0_10_line_60 |  | 57 | 59 | 0.0032605 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_3203-184_0_10_line_61 |  | 58 | 60 | 0.019247 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_3203-184_0_10_line_62 |  | 59 | 61 | 0.00064817 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_3203-184_0_10_line_63 |  | 60 | 63 | 0.004802 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_3203-184_0_10_line_64 |  | 61 | 69 | 0.034227 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_3203-184_0_10_line_65 |  | 62 | 65 | 0.01923 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
66 | LV_3203-184_0_10_line_66 |  | 63 | 64 | 0.023955 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_3203-184_0_10_line_67 |  | 65 | 66 | 0.030732 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_3203-184_0_10_line_68 |  | 66 | 67 | 0.070348 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_3203-184_0_10_line_69 |  | 66 | 68 | 0.029243 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_3203-184_0_10_line_70 |  | 69 | 84 | 0.00081945 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_3203-184_0_10_line_71 |  | 70 | 71 | 0.023242 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
72 | LV_3203-184_0_10_line_72 |  | 71 | 72 | 0.012527 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
73 | LV_3203-184_0_10_line_73 |  | 72 | 73 | 0.030882 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
74 | LV_3203-184_0_10_line_74 |  | 73 | 80 | 0.021169 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
75 | LV_3203-184_0_10_line_75 |  | 74 | 75 | 0.018156 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_3203-184_0_10_line_76 |  | 74 | 76 | 0.0096479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_3203-184_0_10_line_77 |  | 76 | 77 | 0.035148 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_3203-184_0_10_line_78 |  | 77 | 78 | 0.0083309 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_3203-184_0_10_line_79 |  | 77 | 79 | 0.019567 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_3203-184_0_10_line_80 |  | 78 | 81 | 0.0039167 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_3203-184_0_10_line_81 |  | 79 | 82 | 0.015147 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_3203-184_0_10_line_82 |  | 80 | 83 | 0.043864 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
83 | LV_3203-184_0_10_line_83 |  | 81 | 86 | 0.020977 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_3203-184_0_10_line_84 |  | 82 | 87 | 0.023213 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_3203-184_0_10_line_85 |  | 82 | 88 | 0.017468 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_3203-184_0_10_line_86 |  | 83 | 96 | 0.037411 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
87 | LV_3203-184_0_10_line_87 |  | 84 | 85 | 0.0045536 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_3203-184_0_10_line_88 |  | 85 | 86 | 0.0022648 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_3203-184_0_10_line_89 |  | 87 | 91 | 0.015989 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_3203-184_0_10_line_90 |  | 87 | 92 | 0.039812 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_3203-184_0_10_line_91 |  | 88 | 89 | 0.024355 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_3203-184_0_10_line_92 |  | 89 | 90 | 0.019465 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_3203-184_0_10_line_93 |  | 91 | 93 | 0.021619 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
94 | LV_3203-184_0_10_line_94 |  | 91 | 94 | 0.014043 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_3203-184_0_10_line_95 |  | 92 | 95 | 0.021289 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_3203-184_0_10_line_96 |  | 93 | 102 | 0.018057 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
97 | LV_3203-184_0_10_line_97 |  | 94 | 100 | 0.024529 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_3203-184_0_10_line_98 |  | 95 | 131 | 0.0062522 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_3203-184_0_10_line_99 |  | 96 | 97 | 0.036447 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
100 | LV_3203-184_0_10_line_100 |  | 97 | 98 | 0.021135 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
101 | LV_3203-184_0_10_line_101 |  | 98 | 99 | 0.0090799 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
102 | LV_3203-184_0_10_line_102 |  | 99 | 104 | 0.012215 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
103 | LV_3203-184_0_10_line_103 |  | 100 | 101 | 0.01602 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_3203-184_0_10_line_104 |  | 102 | 103 | 0.025439 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
105 | LV_3203-184_0_10_line_105 |  | 103 | 111 | 0.028516 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_3203-184_0_10_line_106 |  | 103 | 107 | 0.011837 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
107 | LV_3203-184_0_10_line_107 |  | 104 | 112 | 0.018352 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
108 | LV_3203-184_0_10_line_108 |  | 105 | 106 | 0.028212 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
109 | LV_3203-184_0_10_line_109 |  | 105 | 107 | 0.013279 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
110 | LV_3203-184_0_10_line_110 |  | 106 | 108 | 0.0069291 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
111 | LV_3203-184_0_10_line_111 |  | 108 | 109 | 0.038681 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
112 | LV_3203-184_0_10_line_112 |  | 108 | 110 | 0.026691 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
113 | LV_3203-184_0_10_line_113 |  | 109 | 112 | 0.035694 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
114 | LV_3203-184_0_10_line_114 |  | 110 | 113 | 0.012729 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
115 | LV_3203-184_0_10_line_115 |  | 111 | 114 | 0.0041495 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
116 | LV_3203-184_0_10_line_116 |  | 112 | 115 | 0.015578 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
117 | LV_3203-184_0_10_line_117 |  | 113 | 124 | 0.043938 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
118 | LV_3203-184_0_10_line_118 |  | 114 | 118 | 0.03473 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
119 | LV_3203-184_0_10_line_119 |  | 115 | 116 | 0.019881 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
120 | LV_3203-184_0_10_line_120 |  | 116 | 117 | 0.032864 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
121 | LV_3203-184_0_10_line_121 |  | 117 | 126 | 0.027218 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
122 | LV_3203-184_0_10_line_122 |  | 118 | 119 | 0.0070633 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
123 | LV_3203-184_0_10_line_123 |  | 118 | 120 | 0.013382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
124 | LV_3203-184_0_10_line_124 |  | 119 | 121 | 0.015414 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
125 | LV_3203-184_0_10_line_125 |  | 120 | 122 | 0.0080914 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
126 | LV_3203-184_0_10_line_126 |  | 121 | 123 | 0.012276 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
127 | LV_3203-184_0_10_line_127 |  | 124 | 125 | 0.0042892 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
128 | LV_3203-184_0_10_line_128 |  | 126 | 127 | 0.028402 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
129 | LV_3203-184_0_10_line_129 |  | 128 | 129 | 0.03705 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
130 | LV_3203-184_0_10_line_130 |  | 129 | 130 | 0.041935 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
131 | LV_3203-184_0_10_line_131 |  | 131 | 132 | 0.023693 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
132 | LV_3203-184_0_10_line_132 |  | 132 | 133 | 0.028102 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
133 | LV_3203-184_0_10_line_133 |  | 132 | 134 | 0.019923 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
134 | LV_3203-184_0_10_line_134 |  | 133 | 135 | 0.015361 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
135 | LV_3203-184_0_10_line_135 |  | 134 | 136 | 0.016357 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
136 | LV_3203-184_0_10_line_136 |  | 135 | 137 | 0.013963 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
137 | LV_3203-184_0_10_line_137 |  | 136 | 138 | 0.014373 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
138 | LV_3203-184_0_10_line_138 |  | 137 | 140 | 0.0046499 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
139 | LV_3203-184_0_10_line_139 |  | 138 | 149 | 0.015292 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
140 | LV_3203-184_0_10_line_140 |  | 139 | 140 | 0.010991 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
141 | LV_3203-184_0_10_line_141 |  | 139 | 141 | 0.007293 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
142 | LV_3203-184_0_10_line_142 |  | 140 | 142 | 0.029248 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
143 | LV_3203-184_0_10_line_143 |  | 141 | 143 | 0.0073789 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
144 | LV_3203-184_0_10_line_144 |  | 142 | 144 | 0.0039843 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
145 | LV_3203-184_0_10_line_145 |  | 143 | 148 | 0.025587 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
146 | LV_3203-184_0_10_line_146 |  | 144 | 145 | 0.024142 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
147 | LV_3203-184_0_10_line_147 |  | 144 | 146 | 0.016944 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
148 | LV_3203-184_0_10_line_148 |  | 146 | 147 | 0.015079 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3203-184_0_10_trafo_61 | 0.63 MVA 20/0.4 kV | 150 | 73 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2748344.2892 | 1256485.6368 | 2748370.0987 | 1256508.0164 | 2748374.7561 | 1256504.6298 | 2748375.5903 | 1256504.7337
1 | 2748389.7368 | 1256509.9104 | 2748385.2716 | 1256505.939 | 2748375.5903 | 1256504.7337
2 | 2748344.2892 | 1256485.6368 | 2748360.4357 | 1256472.7176 | 2748368.3109 | 1256454.5624
3 | 2748292.367 | 1256414.4223 | 2748316.0093 | 1256449.5264 | 2748344.2892 | 1256485.6368
4 | 2748389.7368 | 1256509.9104 | 2748440.6762 | 1256456.6464 | 2748457.6794 | 1256447.9249
5 | 2748389.7368 | 1256509.9104 | 2748380.7135 | 1256519.5047 | 2748377.4 | 1256522.8583 | 2748369.9288 | 1256530.434 | 2748359.9179 | 1256521.0407
6 | 2748373.1136 | 1256428.0496 | 2748370.5103 | 1256449.4918 | 2748368.3109 | 1256454.5624
7 | 2748292.367 | 1256414.4223 | 2748301.1628 | 1256410.5944 | 2748308.3311 | 1256405.1686
8 | 2748359.9179 | 1256521.0407 | 2748339.3596 | 1256537.1364
9 | 2748375.389 | 1256409.3082 | 2748373.1136 | 1256428.0496
10 | 2748308.3311 | 1256405.1686 | 2748308.3311 | 1256405.1686 | 2748312.4337 | 1256381.7819
11 | 2748296.6694 | 1256570.5601 | 2748339.3596 | 1256537.1364
12 | 2748285.1021 | 1256350.2555 | 2748278.5823 | 1256357.7996 | 2748257.4773 | 1256359.3171
13 | 2748257.4773 | 1256359.3171 | 2748244.9742 | 1256341.5645
14 | 2748285.1021 | 1256350.2555 | 2748286.765 | 1256344.2652
15 | 2748285.1021 | 1256350.2555 | 2748318.2981 | 1256351.7126
16 | 2748228.0138 | 1256346.3112 | 2748244.9742 | 1256341.5645
17 | 2748322.3283 | 1256351.8895 | 2748317.1394 | 1256362.6256 | 2748316.0089 | 1256379.4247 | 2748312.4337 | 1256381.7819
18 | 2748273.3631 | 1256581.665 | 2748293.1933 | 1256570.7732 | 2748296.6694 | 1256570.5601
19 | 2748523.6168 | 1256275.3494 | 2748518.3814 | 1256280.7122 | 2748501.7565 | 1256298.0618
20 | 2748501.7565 | 1256298.0618 | 2748470.2835 | 1256305.7349
21 | 2748523.6168 | 1256275.3494 | 2748521.6079 | 1256273.9198 | 2748514.6696 | 1256266.8611 | 2748520.2036 | 1256261.3278 | 2748522.3167 | 1256259.2121 | 2748546.1203 | 1256234.0847 | 2748549.2176 | 1256230.9371 | 2748557.5727 | 1256222.4384
22 | 2748499.7251 | 1256267.9318 | 2748502.6578 | 1256262.6224 | 2748506.4041 | 1256257.9673 | 2748508.1877 | 1256260.2588 | 2748514.6696 | 1256266.8611 | 2748521.6079 | 1256273.9198 | 2748523.6168 | 1256275.3494
23 | 2748470.2835 | 1256305.7349 | 2748465.3405 | 1256301.3011
24 | 2748565.0842 | 1256235.5174 | 2748564.1004 | 1256227.8186 | 2748557.5727 | 1256222.4384
25 | 2748499.7251 | 1256267.9318 | 2748472.0884 | 1256243.1855
26 | 2748471.1507 | 1256242.3458 | 2748472.0884 | 1256243.1855
27 | 2748322.3283 | 1256351.8895 | 2748341.992 | 1256353.0833
28 | 2748322.3283 | 1256351.8895 | 2748318.2981 | 1256351.7126
29 | 2748442.8196 | 1256271.1651 | 2748441.7708 | 1256270.2245
30 | 2748458.4252 | 1256255.0184 | 2748442.8196 | 1256271.1651
31 | 2748458.4252 | 1256255.0184 | 2748458.8488 | 1256254.5965
32 | 2748471.1507 | 1256242.3458 | 2748458.8488 | 1256254.5965
33 | 2748471.1507 | 1256242.3458 | 2748456.8767 | 1256228.7541
34 | 2748456.8767 | 1256228.7541 | 2748390.4011 | 1256224.1483
35 | 2748309.8283 | 1256182.934 | 2748390.4011 | 1256224.1483
36 | 2748309.8283 | 1256182.934 | 2748233.7242 | 1256174.7303
37 | 2748198.3851 | 1256170.9209 | 2748233.7242 | 1256174.7303
38 | 2748285.087 | 1256322.5615 | 2748290.9 | 1256329.3693 | 2748286.765 | 1256344.2652
39 | 2748228.0138 | 1256346.3112 | 2748219.9674 | 1256336.1888 | 2748205.9302 | 1256318.5202
40 | 2748133.2018 | 1256270.1977 | 2748146.4213 | 1256271.1182 | 2748170.3016 | 1256281.4146 | 2748195.9446 | 1256308.0935 | 2748205.9302 | 1256318.5202
41 | 2748133.2018 | 1256270.1977 | 2748132.4823 | 1256266.119
42 | 2748133.2018 | 1256270.1977 | 2748138.0044 | 1256298.6363
43 | 2748132.4823 | 1256266.119 | 2748130.7107 | 1256256.0771 | 2748129.3737 | 1256245.2887 | 2748129.3737 | 1256245.2887
44 | 2748138.5443 | 1256301.8336 | 2748138.0044 | 1256298.6363
45 | 2748140.9213 | 1256315.9089 | 2748138.5443 | 1256301.8336
46 | 2748140.9213 | 1256315.9089 | 2748143.2476 | 1256329.6841
47 | 2748143.3014 | 1256330.0029 | 2748143.2476 | 1256329.6841
48 | 2748143.3014 | 1256330.0029 | 2748148.2559 | 1256359.341
49 | 2748148.5913 | 1256361.327 | 2748148.2559 | 1256359.341
50 | 2748148.6708 | 1256361.8156 | 2748148.5913 | 1256361.327
51 | 2748128.6196 | 1256226.845 | 2748129.3737 | 1256245.2887
52 | 2748151.314 | 1256377.9446 | 2748149.0621 | 1256364.2194 | 2748148.6708 | 1256361.8156
53 | 2748151.314 | 1256377.9446 | 2748152.4717 | 1256385.9481 | 2748152.8883 | 1256388.3733
54 | 2748152.8883 | 1256388.3733 | 2748153.5806 | 1256392.4042
55 | 2748026.3158 | 1256349.6536 | 2748025.4234 | 1256343.9113
56 | 2748026.3158 | 1256349.6536 | 2748026.5527 | 1256351.1782
57 | 2748021.2914 | 1256322.6923 | 2748025.2493 | 1256342.7909 | 2748025.4234 | 1256343.9113
58 | 2748026.5527 | 1256351.1782 | 2748030.3099 | 1256375.3557
59 | 2748021.2914 | 1256322.6923 | 2748019.5637 | 1256313.9191
60 | 2748030.3099 | 1256375.3557 | 2748030.8106 | 1256378.5775
61 | 2748015.8449 | 1256295.035 | 2748019.5637 | 1256313.9191
62 | 2748030.9102 | 1256379.218 | 2748030.8106 | 1256378.5775
63 | 2748015.8449 | 1256295.035 | 2748014.9171 | 1256290.3235
64 | 2748030.9102 | 1256379.218 | 2748032.5021 | 1256389.4621 | 2748037.2688 | 1256412.8413
65 | 2748128.4231 | 1256207.6172 | 2748128.5547 | 1256225.2599 | 2748128.6196 | 1256226.845
66 | 2748010.2887 | 1256266.8202 | 2748014.9171 | 1256290.3235
67 | 2748159.1205 | 1256204.838 | 2748128.4231 | 1256207.6172
68 | 2748159.1205 | 1256204.838 | 2748161.1533 | 1256172.4796 | 2748174.0857 | 1256168.2991 | 2748198.3851 | 1256170.9209
69 | 2748159.1205 | 1256204.838 | 2748158.7214 | 1256215.6497 | 2748173.3803 | 1256226.8107
70 | 2748037.4325 | 1256413.6442 | 2748037.2688 | 1256412.8413
71 | 2748157.5151 | 1256415.3104 | 2748153.5806 | 1256392.4042
72 | 2748159.4546 | 1256427.6857 | 2748158.3523 | 1256420.1841 | 2748157.5151 | 1256415.3104
73 | 2748159.4546 | 1256427.6857 | 2748164.6956 | 1256458.12
74 | 2748168.2881 | 1256478.9824 | 2748164.6956 | 1256458.12
75 | 2748089.2832 | 1256443.9726 | 2748092.9385 | 1256443.2035 | 2748099.8234 | 1256443.665 | 2748107.3081 | 1256444.399
76 | 2748089.2832 | 1256443.9726 | 2748085.0498 | 1256444.8633 | 2748079.9101 | 1256446.2435
77 | 2748045.4323 | 1256452.8804 | 2748070.1608 | 1256448.8615 | 2748079.9101 | 1256446.2435
78 | 2748045.4323 | 1256452.8804 | 2748043.7679 | 1256444.7174
79 | 2748045.4323 | 1256452.8804 | 2748049.5467 | 1256472.0098
80 | 2748042.9855 | 1256440.8797 | 2748043.7679 | 1256444.7174
81 | 2748052.7318 | 1256486.8182 | 2748049.5467 | 1256472.0098
82 | 2748168.2881 | 1256478.9824 | 2748175.7322 | 1256522.2101
83 | 2748038.7947 | 1256420.3252 | 2748042.9855 | 1256440.8797
84 | 2748052.7318 | 1256486.8182 | 2748061.8705 | 1256508.1676
85 | 2748052.7318 | 1256486.8182 | 2748070.1415 | 1256485.3933
86 | 2748175.7322 | 1256522.2101 | 2748182.0811 | 1256559.0787
87 | 2748037.4325 | 1256413.6442 | 2748038.3422 | 1256418.106
88 | 2748038.7947 | 1256420.3252 | 2748038.3422 | 1256418.106
89 | 2748068.4547 | 1256522.7464 | 2748061.8705 | 1256508.1676
90 | 2748061.8705 | 1256508.1676 | 2748028.5466 | 1256521.2916 | 2748024.9075 | 1256522.9447
91 | 2748070.1415 | 1256485.3933 | 2748094.4151 | 1256483.4067
92 | 2748113.8154 | 1256481.8188 | 2748094.4151 | 1256483.4067
93 | 2748068.4547 | 1256522.7464 | 2748077.0331 | 1256541.7572 | 2748077.4303 | 1256542.4075
94 | 2748068.4547 | 1256522.7464 | 2748082.4006 | 1256521.0986
95 | 2748024.9075 | 1256522.9447 | 2748007.2915 | 1256530.9474 | 2748005.5987 | 1256531.8959
96 | 2748086.8429 | 1256557.8169 | 2748077.4303 | 1256542.4075
97 | 2748106.7601 | 1256518.2204 | 2748082.4006 | 1256521.0986
98 | 2748000.1444 | 1256534.9521 | 2748005.5987 | 1256531.8959
99 | 2748182.0811 | 1256559.0787 | 2748188.2665 | 1256594.9975
100 | 2748188.2665 | 1256594.9975 | 2748191.8532 | 1256615.8259
101 | 2748193.3941 | 1256624.7741 | 2748191.8532 | 1256615.8259
102 | 2748193.3941 | 1256624.7741 | 2748195.467 | 1256636.8116
103 | 2748122.6693 | 1256516.3406 | 2748106.7601 | 1256518.2204
104 | 2748100.1039 | 1256579.5266 | 2748086.8429 | 1256557.8169
105 | 2748100.1039 | 1256579.5266 | 2748093.2011 | 1256589.4303 | 2748079.5665 | 1256598.623
106 | 2748100.1039 | 1256579.5266 | 2748107.5484 | 1256588.73
107 | 2748198.5815 | 1256654.8975 | 2748195.467 | 1256636.8116
108 | 2748133.6418 | 1256620.9885 | 2748115.8995 | 1256599.0542
109 | 2748107.5484 | 1256588.73 | 2748115.8995 | 1256599.0542
110 | 2748137.9995 | 1256626.3759 | 2748133.6418 | 1256620.9885
111 | 2748137.9995 | 1256626.3759 | 2748164.0535 | 1256654.9668
112 | 2748137.9995 | 1256626.3759 | 2748117.2793 | 1256643.2006
113 | 2748198.5815 | 1256654.8975 | 2748180.609 | 1256658.5179 | 2748175.6399 | 1256658.994 | 2748169.1789 | 1256657.5865 | 2748164.0535 | 1256654.9668
114 | 2748107.3973 | 1256651.2247 | 2748117.2793 | 1256643.2006
115 | 2748076.126 | 1256600.9427 | 2748079.5665 | 1256598.623
116 | 2748202.1704 | 1256670.0577 | 2748198.5815 | 1256654.8975
117 | 2748083.2374 | 1256684.8296 | 2748083.3282 | 1256681.2061 | 2748085.0831 | 1256675.6001 | 2748087.2932 | 1256668.3928 | 2748089.415 | 1256664.4087 | 2748093.1377 | 1256661.2765 | 2748098.8815 | 1256658.1838 | 2748104.5819 | 1256653.5108 | 2748107.3973 | 1256651.2247
118 | 2748047.3296 | 1256620.3577 | 2748076.126 | 1256600.9427
119 | 2748202.1704 | 1256670.0577 | 2748206.7353 | 1256689.407
120 | 2748206.7353 | 1256689.407 | 2748207.4837 | 1256692.5793 | 2748212.9225 | 1256713.7027 | 2748214.8382 | 1256721.2557
121 | 2748214.8382 | 1256721.2557 | 2748217.53 | 1256731.8691 | 2748222.7019 | 1256747.2941
122 | 2748047.3296 | 1256620.3577 | 2748050.8537 | 1256626.4791
123 | 2748047.3296 | 1256620.3577 | 2748039.1977 | 1256609.7298
124 | 2748058.5443 | 1256639.8377 | 2748050.8537 | 1256626.4791
125 | 2748034.2808 | 1256603.3037 | 2748039.1977 | 1256609.7298
126 | 2748064.6689 | 1256650.4762 | 2748058.5443 | 1256639.8377
127 | 2748085.9844 | 1256688.1238 | 2748083.2374 | 1256684.8296 | 2748083.2374 | 1256684.8296
128 | 2748222.7019 | 1256747.2941 | 2748231.7308 | 1256774.2227
129 | 2748253.0948 | 1256506.1893 | 2748257.4597 | 1256513.2556 | 2748263.5591 | 1256526.0875 | 2748265.2186 | 1256535.4382 | 2748265.8342 | 1256540.4406
130 | 2748273.3631 | 1256581.665 | 2748267.3122 | 1256552.4516 | 2748265.8342 | 1256540.4406
131 | 2747979.4747 | 1256546.534 | 2748000.1444 | 1256534.9521
132 | 2747979.4747 | 1256546.534 | 2747956.4217 | 1256562.6048
133 | 2747979.4747 | 1256546.534 | 2747982.5199 | 1256566.2232
134 | 2747943.8206 | 1256571.3894 | 2747956.4217 | 1256562.6048
135 | 2747985.02 | 1256582.388 | 2747982.5199 | 1256566.2232
136 | 2747943.8206 | 1256571.3894 | 2747942.8244 | 1256569.2847 | 2747941.2218 | 1256567.5986 | 2747939.1743 | 1256566.5019 | 2747936.8758 | 1256566.0885 | 2747934.574 | 1256566.4091 | 2747932.4813 | 1256567.4245
137 | 2747985.02 | 1256582.388 | 2747987.2169 | 1256596.5925
138 | 2747929.7333 | 1256571.1038 | 2747930.8108 | 1256569.051 | 2747932.4813 | 1256567.4245
139 | 2747989.5543 | 1256611.7049 | 2747987.2169 | 1256596.5925
140 | 2747933.8811 | 1256580.2386 | 2747932.0006 | 1256579.1016 | 2747930.5404 | 1256577.4524 | 2747929.6247 | 1256575.4498 | 2747929.3471 | 1256573.2741 | 2747929.7333 | 1256571.1038
141 | 2747933.8811 | 1256580.2386 | 2747935.1077 | 1256587.4277
142 | 2747929.7333 | 1256571.1038 | 2747919.1596 | 1256570.617 | 2747900.851 | 1256574.2377
143 | 2747935.1077 | 1256587.4277 | 2747936.3488 | 1256594.7015
144 | 2747896.9424 | 1256575.0107 | 2747900.851 | 1256574.2377
145 | 2747940.6525 | 1256619.9242 | 2747936.3488 | 1256594.7015
146 | 2747896.9424 | 1256575.0107 | 2747873.0942 | 1256578.7686
147 | 2747896.9424 | 1256575.0107 | 2747900.7615 | 1256591.5192
148 | 2747904.1602 | 1256606.2103 | 2747900.7615 | 1256591.5192

## bus_geodata
| x | y | coords
0 | 2748375.5903 | 1256504.7337
1 | 2748344.2892 | 1256485.6368
2 | 2748389.7368 | 1256509.9104
3 | 2748368.3109 | 1256454.5624
4 | 2748292.367 | 1256414.4223
5 | 2748457.6794 | 1256447.9249
6 | 2748359.9179 | 1256521.0407
7 | 2748373.1136 | 1256428.0496
8 | 2748308.3311 | 1256405.1686
9 | 2748339.3596 | 1256537.1364
10 | 2748375.389 | 1256409.3082
11 | 2748257.4773 | 1256359.3171
12 | 2748285.1021 | 1256350.2555
13 | 2748244.9742 | 1256341.5645
14 | 2748312.4337 | 1256381.7819
15 | 2748296.6694 | 1256570.5601
16 | 2748501.7565 | 1256298.0618
17 | 2748523.6168 | 1256275.3494
18 | 2748470.2835 | 1256305.7349
19 | 2748557.5727 | 1256222.4384
20 | 2748499.7251 | 1256267.9318
21 | 2748565.0842 | 1256235.5174
22 | 2748472.0884 | 1256243.1855
23 | 2748465.3405 | 1256301.3011
24 | 2748341.992 | 1256353.0833
25 | 2748322.3283 | 1256351.8895
26 | 2748318.2981 | 1256351.7126
27 | 2748441.7708 | 1256270.2245
28 | 2748442.8196 | 1256271.1651
29 | 2748458.4252 | 1256255.0184
30 | 2748458.8488 | 1256254.5965
31 | 2748471.1507 | 1256242.3458
32 | 2748456.8767 | 1256228.7541
33 | 2748390.4011 | 1256224.1483
34 | 2748309.8283 | 1256182.934
35 | 2748233.7242 | 1256174.7303
36 | 2748286.765 | 1256344.2652
37 | 2748228.0138 | 1256346.3112
38 | 2748285.087 | 1256322.5615
39 | 2748205.9302 | 1256318.5202
40 | 2748133.2018 | 1256270.1977
41 | 2748132.4823 | 1256266.119
42 | 2748138.0044 | 1256298.6363
43 | 2748140.9213 | 1256315.9089
44 | 2748138.5443 | 1256301.8336
45 | 2748143.2476 | 1256329.6841
46 | 2748143.3014 | 1256330.0029
47 | 2748148.2559 | 1256359.341
48 | 2748148.5913 | 1256361.327
49 | 2748129.3737 | 1256245.2887
50 | 2748148.6708 | 1256361.8156
51 | 2748151.314 | 1256377.9446
52 | 2748152.8883 | 1256388.3733
53 | 2748026.3158 | 1256349.6536
54 | 2748025.4234 | 1256343.9113
55 | 2748026.5527 | 1256351.1782
56 | 2748021.2914 | 1256322.6923
57 | 2748030.3099 | 1256375.3557
58 | 2748019.5637 | 1256313.9191
59 | 2748030.8106 | 1256378.5775
60 | 2748015.8449 | 1256295.035
61 | 2748030.9102 | 1256379.218
62 | 2748128.6196 | 1256226.845
63 | 2748014.9171 | 1256290.3235
64 | 2748010.2887 | 1256266.8202
65 | 2748128.4231 | 1256207.6172
66 | 2748159.1205 | 1256204.838
67 | 2748198.3851 | 1256170.9209
68 | 2748173.3803 | 1256226.8107
69 | 2748037.2688 | 1256412.8413
70 | 2748153.5806 | 1256392.4042
71 | 2748157.5151 | 1256415.3104
72 | 2748159.4546 | 1256427.6857
73 | 2748164.6956 | 1256458.12
74 | 2748089.2832 | 1256443.9726
75 | 2748107.3081 | 1256444.399
76 | 2748079.9101 | 1256446.2435
77 | 2748045.4323 | 1256452.8804
78 | 2748043.7679 | 1256444.7174
79 | 2748049.5467 | 1256472.0098
80 | 2748168.2881 | 1256478.9824
81 | 2748042.9855 | 1256440.8797
82 | 2748052.7318 | 1256486.8182
83 | 2748175.7322 | 1256522.2101
84 | 2748037.4325 | 1256413.6442
85 | 2748038.3422 | 1256418.106
86 | 2748038.7947 | 1256420.3252
87 | 2748061.8705 | 1256508.1676
88 | 2748070.1415 | 1256485.3933
89 | 2748094.4151 | 1256483.4067
90 | 2748113.8154 | 1256481.8188
91 | 2748068.4547 | 1256522.7464
92 | 2748024.9075 | 1256522.9447
93 | 2748077.4303 | 1256542.4075
94 | 2748082.4006 | 1256521.0986
95 | 2748005.5987 | 1256531.8959
96 | 2748182.0811 | 1256559.0787
97 | 2748188.2665 | 1256594.9975
98 | 2748191.8532 | 1256615.8259
99 | 2748193.3941 | 1256624.7741
100 | 2748106.7601 | 1256518.2204
101 | 2748122.6693 | 1256516.3406
102 | 2748086.8429 | 1256557.8169
103 | 2748100.1039 | 1256579.5266
104 | 2748195.467 | 1256636.8116
105 | 2748115.8995 | 1256599.0542
106 | 2748133.6418 | 1256620.9885
107 | 2748107.5484 | 1256588.73
108 | 2748137.9995 | 1256626.3759
109 | 2748164.0535 | 1256654.9668
110 | 2748117.2793 | 1256643.2006
111 | 2748079.5665 | 1256598.623
112 | 2748198.5815 | 1256654.8975
113 | 2748107.3973 | 1256651.2247
114 | 2748076.126 | 1256600.9427
115 | 2748202.1704 | 1256670.0577
116 | 2748206.7353 | 1256689.407
117 | 2748214.8382 | 1256721.2557
118 | 2748047.3296 | 1256620.3577
119 | 2748050.8537 | 1256626.4791
120 | 2748039.1977 | 1256609.7298
121 | 2748058.5443 | 1256639.8377
122 | 2748034.2808 | 1256603.3037
123 | 2748064.6689 | 1256650.4762
124 | 2748083.2374 | 1256684.8296
125 | 2748085.9844 | 1256688.1238
126 | 2748222.7019 | 1256747.2941
127 | 2748231.7308 | 1256774.2227
128 | 2748253.0948 | 1256506.1893
129 | 2748265.8342 | 1256540.4406
130 | 2748273.3631 | 1256581.665
131 | 2748000.1444 | 1256534.9521
132 | 2747979.4746 | 1256546.534
133 | 2747956.4217 | 1256562.6048
134 | 2747982.5199 | 1256566.2232
135 | 2747943.8206 | 1256571.3894
136 | 2747985.02 | 1256582.388
137 | 2747932.4813 | 1256567.4245
138 | 2747987.2169 | 1256596.5925
139 | 2747933.8811 | 1256580.2386
140 | 2747929.7333 | 1256571.1038
141 | 2747935.1077 | 1256587.4277
142 | 2747900.851 | 1256574.2377
143 | 2747936.3488 | 1256594.7015
144 | 2747896.9424 | 1256575.0107
145 | 2747873.0942 | 1256578.7686
146 | 2747900.7615 | 1256591.5192
147 | 2747904.1602 | 1256606.2103
148 | 2747940.6525 | 1256619.9242
149 | 2747989.5543 | 1256611.7049
150 | 2748159.4546 | 1256427.6857

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1