## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3203-219_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3203-219_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3203-219_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_3203-219_0_5_node_8 | 0.4 | n |  | TRUE
4 | bus_LV_3203-219_0_5_node_9 | 0.4 | n |  | TRUE
5 | bus_LV_3203-219_0_5_node_10 | 0.4 | n |  | TRUE
6 | bus_LV_3203-219_0_5_node_3 | 0.4 | n |  | TRUE
7 | bus_LV_3203-219_0_5_node_4 | 0.4 | n |  | TRUE
8 | bus_LV_3203-219_0_5_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_3203-219_0_5_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_3203-219_0_5_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_3203-219_0_5_node_26 | 0.4 | n |  | TRUE
12 | bus_LV_3203-219_0_5_node_87 | 0.4 | n |  | TRUE
13 | bus_LV_3203-219_0_5_node_112 | 0.4 | n |  | TRUE
14 | bus_LV_3203-219_0_5_node_24 | 0.4 | n |  | TRUE
15 | bus_LV_3203-219_0_5_node_88 | 0.4 | n |  | TRUE
16 | bus_LV_3203-219_0_5_node_113 | 0.4 | n |  | TRUE
17 | bus_LV_3203-219_0_5_node_11 | 0.4 | n |  | TRUE
18 | bus_LV_3203-219_0_5_node_12 | 0.4 | n |  | TRUE
19 | bus_LV_3203-219_0_5_node_13 | 0.4 | n |  | TRUE
20 | bus_LV_3203-219_0_5_node_14 | 0.4 | n |  | TRUE
21 | bus_LV_3203-219_0_5_node_58 | 0.4 | n |  | TRUE
22 | bus_LV_3203-219_0_5_node_57 | 0.4 | n |  | TRUE
23 | bus_LV_3203-219_0_5_node_15 | 0.4 | n |  | TRUE
24 | bus_LV_3203-219_0_5_node_16 | 0.4 | n |  | TRUE
25 | bus_LV_3203-219_0_5_node_17 | 0.4 | n |  | TRUE
26 | bus_LV_3203-219_0_5_node_18 | 0.4 | n |  | TRUE
27 | bus_LV_3203-219_0_5_node_19 | 0.4 | n |  | TRUE
28 | bus_LV_3203-219_0_5_node_20 | 0.4 | n |  | TRUE
29 | bus_LV_3203-219_0_5_node_21 | 0.4 | n |  | TRUE
30 | bus_LV_3203-219_0_5_node_27 | 0.4 | n |  | TRUE
31 | bus_LV_3203-219_0_5_node_111 | 0.4 | n |  | TRUE
32 | bus_LV_3203-219_0_5_node_23 | 0.4 | n |  | TRUE
33 | bus_LV_3203-219_0_5_node_28 | 0.4 | n |  | TRUE
34 | bus_LV_3203-219_0_5_node_22 | 0.4 | n |  | TRUE
35 | bus_LV_3203-219_0_5_node_25 | 0.4 | n |  | TRUE
36 | bus_LV_3203-219_0_5_node_85 | 0.4 | n |  | TRUE
37 | bus_LV_3203-219_0_5_node_83 | 0.4 | n |  | TRUE
38 | bus_LV_3203-219_0_5_node_29 | 0.4 | n |  | TRUE
39 | bus_LV_3203-219_0_5_node_30 | 0.4 | n |  | TRUE
40 | bus_LV_3203-219_0_5_node_31 | 0.4 | n |  | TRUE
41 | bus_LV_3203-219_0_5_node_33 | 0.4 | n |  | TRUE
42 | bus_LV_3203-219_0_5_node_32 | 0.4 | n |  | TRUE
43 | bus_LV_3203-219_0_5_node_34 | 0.4 | n |  | TRUE
44 | bus_LV_3203-219_0_5_node_37 | 0.4 | n |  | TRUE
45 | bus_LV_3203-219_0_5_node_38 | 0.4 | n |  | TRUE
46 | bus_LV_3203-219_0_5_node_39 | 0.4 | n |  | TRUE
47 | bus_LV_3203-219_0_5_node_35 | 0.4 | n |  | TRUE
48 | bus_LV_3203-219_0_5_node_49 | 0.4 | n |  | TRUE
49 | bus_LV_3203-219_0_5_node_46 | 0.4 | n |  | TRUE
50 | bus_LV_3203-219_0_5_node_36 | 0.4 | n |  | TRUE
51 | bus_LV_3203-219_0_5_node_80 | 0.4 | n |  | TRUE
52 | bus_LV_3203-219_0_5_node_76 | 0.4 | n |  | TRUE
53 | bus_LV_3203-219_0_5_node_45 | 0.4 | n |  | TRUE
54 | bus_LV_3203-219_0_5_node_81 | 0.4 | n |  | TRUE
55 | bus_LV_3203-219_0_5_node_53 | 0.4 | n |  | TRUE
56 | bus_LV_3203-219_0_5_node_56 | 0.4 | n |  | TRUE
57 | bus_LV_3203-219_0_5_node_54 | 0.4 | n |  | TRUE
58 | bus_LV_3203-219_0_5_node_40 | 0.4 | n |  | TRUE
59 | bus_LV_3203-219_0_5_node_41 | 0.4 | n |  | TRUE
60 | bus_LV_3203-219_0_5_node_42 | 0.4 | n |  | TRUE
61 | bus_LV_3203-219_0_5_node_43 | 0.4 | n |  | TRUE
62 | bus_LV_3203-219_0_5_node_44 | 0.4 | n |  | TRUE
63 | bus_LV_3203-219_0_5_node_50 | 0.4 | n |  | TRUE
64 | bus_LV_3203-219_0_5_node_51 | 0.4 | n |  | TRUE
65 | bus_LV_3203-219_0_5_node_52 | 0.4 | n |  | TRUE
66 | bus_LV_3203-219_0_5_node_47 | 0.4 | n |  | TRUE
67 | bus_LV_3203-219_0_5_node_48 | 0.4 | n |  | TRUE
68 | bus_LV_3203-219_0_5_node_68 | 0.4 | n |  | TRUE
69 | bus_LV_3203-219_0_5_node_72 | 0.4 | n |  | TRUE
70 | bus_LV_3203-219_0_5_node_67 | 0.4 | n |  | TRUE
71 | bus_LV_3203-219_0_5_node_73 | 0.4 | n |  | TRUE
72 | bus_LV_3203-219_0_5_node_77 | 0.4 | n |  | TRUE
73 | bus_LV_3203-219_0_5_node_55 | 0.4 | n |  | TRUE
74 | bus_LV_3203-219_0_5_node_59 | 0.4 | n |  | TRUE
75 | bus_LV_3203-219_0_5_node_60 | 0.4 | n |  | TRUE
76 | bus_LV_3203-219_0_5_node_61 | 0.4 | n |  | TRUE
77 | bus_LV_3203-219_0_5_node_62 | 0.4 | n |  | TRUE
78 | bus_LV_3203-219_0_5_node_63 | 0.4 | n |  | TRUE
79 | bus_LV_3203-219_0_5_node_64 | 0.4 | n |  | TRUE
80 | bus_LV_3203-219_0_5_node_65 | 0.4 | n |  | TRUE
81 | bus_LV_3203-219_0_5_node_66 | 0.4 | n |  | TRUE
82 | bus_LV_3203-219_0_5_node_70 | 0.4 | n |  | TRUE
83 | bus_LV_3203-219_0_5_node_71 | 0.4 | n |  | TRUE
84 | bus_LV_3203-219_0_5_node_109 | 0.4 | n |  | TRUE
85 | bus_LV_3203-219_0_5_node_74 | 0.4 | n |  | TRUE
86 | bus_LV_3203-219_0_5_node_108 | 0.4 | n |  | TRUE
87 | bus_LV_3203-219_0_5_node_75 | 0.4 | n |  | TRUE
88 | bus_LV_3203-219_0_5_node_102 | 0.4 | n |  | TRUE
89 | bus_LV_3203-219_0_5_node_107 | 0.4 | n |  | TRUE
90 | bus_LV_3203-219_0_5_node_101 | 0.4 | n |  | TRUE
91 | bus_LV_3203-219_0_5_node_106 | 0.4 | n |  | TRUE
92 | bus_LV_3203-219_0_5_node_79 | 0.4 | n |  | TRUE
93 | bus_LV_3203-219_0_5_node_93 | 0.4 | n |  | TRUE
94 | bus_LV_3203-219_0_5_node_94 | 0.4 | n |  | TRUE
95 | bus_LV_3203-219_0_5_node_95 | 0.4 | n |  | TRUE
96 | bus_LV_3203-219_0_5_node_92 | 0.4 | n |  | TRUE
97 | bus_LV_3203-219_0_5_node_82 | 0.4 | n |  | TRUE
98 | bus_LV_3203-219_0_5_node_84 | 0.4 | n |  | TRUE
99 | bus_LV_3203-219_0_5_node_86 | 0.4 | n |  | TRUE
100 | bus_LV_3203-219_0_5_node_89 | 0.4 | n |  | TRUE
101 | bus_LV_3203-219_0_5_node_90 | 0.4 | n |  | TRUE
102 | bus_LV_3203-219_0_5_node_91 | 0.4 | n |  | TRUE
103 | bus_LV_3203-219_0_5_node_96 | 0.4 | n |  | TRUE
104 | bus_LV_3203-219_0_5_node_97 | 0.4 | n |  | TRUE
105 | bus_LV_3203-219_0_5_node_98 | 0.4 | n |  | TRUE
106 | bus_LV_3203-219_0_5_node_99 | 0.4 | n |  | TRUE
107 | bus_LV_3203-219_0_5_node_100 | 0.4 | n |  | TRUE
108 | bus_LV_3203-219_0_5_node_103 | 0.4 | n |  | TRUE
109 | bus_LV_3203-219_0_5_node_104 | 0.4 | n |  | TRUE
110 | bus_MV_581_0_node_42 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3203-219_0_5_load_0 | 0 | 0.0026614 | 0.00066701 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3203-219_0_5_load_8 | 3 | 0.016659 | 0.0041752 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3203-219_0_5_load_10 | 5 | 0.016823 | 0.0042162 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3203-219_0_5_load_3 | 6 | 0.0047126 | 0.0011811 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3203-219_0_5_load_7 | 10 | 0.0023534 | 0.00058982 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3203-219_0_5_load_26 | 11 | 0.0039366 | 0.0009866 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3203-219_0_5_load_87 | 12 | 0.0010909 | 0.00027341 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3203-219_0_5_load_88 | 15 | 0.0012883 | 0.00032287 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3203-219_0_5_load_113 | 16 | 0.0024301 | 0.00060904 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3203-219_0_5_load_11 | 17 | 0.003575 | 0.00089599 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3203-219_0_5_load_12 | 18 | 0.011011 | 0.0027597 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3203-219_0_5_load_13 | 19 | 0.0026716 | 0.00066957 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3203-219_0_5_load_14 | 20 | 0.0096091 | 0.0024083 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3203-219_0_5_load_58 | 21 | 0.0055437 | 0.0013894 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3203-219_0_5_load_57 | 22 | 0.0028007 | 0.00070192 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3203-219_0_5_load_15 | 23 | 0.0019799 | 0.00049622 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3203-219_0_5_load_16 | 24 | 0.0024016 | 0.00060189 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3203-219_0_5_load_17 | 25 | 0.0020308 | 0.00050898 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3203-219_0_5_load_19 | 27 | 0.0022261 | 0.00055791 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3203-219_0_5_load_21 | 29 | 0.014917 | 0.0037386 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3203-219_0_5_load_27 | 30 | 0.0016372 | 0.00041033 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3203-219_0_5_load_111 | 31 | 0.0037339 | 0.00093581 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3203-219_0_5_load_23 | 32 | 0.0061438 | 0.0015398 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3203-219_0_5_load_22 | 34 | 0.02217 | 0.0055563 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3203-219_0_5_load_85 | 36 | 0.0089393 | 0.0022404 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3203-219_0_5_load_29 | 38 | 0.0042434 | 0.0010635 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3203-219_0_5_load_30 | 39 | 0.0057114 | 0.0014314 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3203-219_0_5_load_31 | 40 | 0.0031484 | 0.00078906 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3203-219_0_5_load_33 | 41 | 0.0021548 | 0.00054005 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3203-219_0_5_load_32 | 42 | 0.0038193 | 0.00095721 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3203-219_0_5_load_38 | 45 | 0.0043839 | 0.0010987 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3203-219_0_5_load_39 | 46 | 0.0097138 | 0.0024345 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3203-219_0_5_load_49 | 48 | 0.0073025 | 0.0018302 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3203-219_0_5_load_46 | 49 | 0.0048719 | 0.001221 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3203-219_0_5_load_36 | 50 | 0.0037035 | 0.00092819 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3203-219_0_5_load_80 | 51 | 0.0048894 | 0.0012254 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3203-219_0_5_load_76 | 52 | 0.0024864 | 0.00062314 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3203-219_0_5_load_81 | 54 | 0.0057158 | 0.0014325 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3203-219_0_5_load_53 | 55 | 0.0033284 | 0.00083418 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3203-219_0_5_load_56 | 56 | 0.0047109 | 0.0011807 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3203-219_0_5_load_54 | 57 | 0.0038746 | 0.00097106 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3203-219_0_5_load_40 | 58 | 0.0031009 | 0.00077716 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3203-219_0_5_load_41 | 59 | 0.0040048 | 0.0010037 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3203-219_0_5_load_42 | 60 | 0.0105 | 0.0026316 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3203-219_0_5_load_43 | 61 | 0.0029865 | 0.00074848 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3203-219_0_5_load_44 | 62 | 0.0030955 | 0.00077581 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3203-219_0_5_load_51 | 64 | 0.0052786 | 0.001323 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3203-219_0_5_load_52 | 65 | 0.0077741 | 0.0019484 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3203-219_0_5_load_47 | 66 | 0.010565 | 0.0026478 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3203-219_0_5_load_48 | 67 | 0.012817 | 0.0032123 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3203-219_0_5_load_68 | 68 | 0.0015831 | 0.00039677 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3203-219_0_5_load_72 | 69 | 0.005494 | 0.0013769 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3203-219_0_5_load_73 | 71 | 0.0013473 | 0.00033766 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_3203-219_0_5_load_77 | 72 | 0.0036717 | 0.00092023 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_3203-219_0_5_load_55 | 73 | 0.0042299 | 0.0010601 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_3203-219_0_5_load_59 | 74 | 0.0026876 | 0.00067357 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_3203-219_0_5_load_60 | 75 | 0.0027082 | 0.00067874 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_3203-219_0_5_load_61 | 76 | 0.0026253 | 0.00065797 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_3203-219_0_5_load_62 | 77 | 0.0045417 | 0.0011382 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_3203-219_0_5_load_64 | 79 | 0.0040951 | 0.0010263 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_3203-219_0_5_load_65 | 80 | 0.002597 | 0.00065087 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_3203-219_0_5_load_66 | 81 | 0.0037355 | 0.0009362 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_3203-219_0_5_load_70 | 82 | 0.0036221 | 0.00090779 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_3203-219_0_5_load_71 | 83 | 0.0041386 | 0.0010372 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_3203-219_0_5_load_109 | 84 | 0.0020111 | 0.00050403 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_3203-219_0_5_load_74 | 85 | 0.0098148 | 0.0024598 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_3203-219_0_5_load_108 | 86 | 0.0017948 | 0.00044983 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_3203-219_0_5_load_75 | 87 | 0.009501 | 0.0023812 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_3203-219_0_5_load_102 | 88 | 0.0034091 | 0.00085439 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_3203-219_0_5_load_107 | 89 | 0.0028951 | 0.00072559 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_3203-219_0_5_load_101 | 90 | 0.0098224 | 0.0024617 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_3203-219_0_5_load_106 | 91 | 0.0016238 | 0.00040696 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_3203-219_0_5_load_79 | 92 | 0.0056773 | 0.0014229 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_3203-219_0_5_load_93 | 93 | 0.0018733 | 0.00046949 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_3203-219_0_5_load_94 | 94 | 0.0092371 | 0.002315 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_3203-219_0_5_load_92 | 96 | 0.0020171 | 0.00050552 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_3203-219_0_5_load_82 | 97 | 0.0042273 | 0.0010595 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_3203-219_0_5_load_84 | 98 | 0.003966 | 0.00099399 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_3203-219_0_5_load_86 | 99 | 0.0042697 | 0.0010701 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_3203-219_0_5_load_89 | 100 | 0.00098435 | 0.0002467 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_3203-219_0_5_load_91 | 102 | 0.0012092 | 0.00030305 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_3203-219_0_5_load_96 | 103 | 0.0092029 | 0.0023065 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_3203-219_0_5_load_97 | 104 | 0.0086108 | 0.0021581 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_3203-219_0_5_load_98 | 105 | 0.0067345 | 0.0016878 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_3203-219_0_5_load_99 | 106 | 0.0061931 | 0.0015521 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_3203-219_0_5_load_100 | 107 | 0.0045486 | 0.00114 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_3203-219_0_5_load_103 | 108 | 0.0018211 | 0.00045641 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_3203-219_0_5_load_104 | 109 | 0.0017718 | 0.00044406 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 50 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3203-219_0_5_line_0 |  | 0 | 1 | 0.04137 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_3203-219_0_5_line_1 |  | 1 | 2 | 0.018119 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_3203-219_0_5_line_2 |  | 2 | 3 | 0.0090911 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_3203-219_0_5_line_3 |  | 3 | 4 | 0.01877 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_3203-219_0_5_line_4 |  | 4 | 5 | 0.020069 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_3203-219_0_5_line_5 |  | 5 | 17 | 0.026447 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_3203-219_0_5_line_6 |  | 6 | 7 | 0.02091 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_3203-219_0_5_line_7 |  | 6 | 8 | 0.00936 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_3203-219_0_5_line_8 |  | 7 | 9 | 0.034013 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_3203-219_0_5_line_9 |  | 8 | 10 | 0.006419 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_3203-219_0_5_line_10 |  | 9 | 11 | 0.023548 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_3203-219_0_5_line_11 |  | 9 | 12 | 0.00047919 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_3203-219_0_5_line_12 |  | 10 | 13 | 0.037691 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_3203-219_0_5_line_13 |  | 11 | 14 | 0.01522 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_3203-219_0_5_line_14 |  | 12 | 15 | 0.022495 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_3203-219_0_5_line_15 |  | 13 | 16 | 0.004637 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_3203-219_0_5_line_16 |  | 14 | 35 | 0.012794 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
17 | LV_3203-219_0_5_line_17 |  | 14 | 34 | 0.035507 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
18 | LV_3203-219_0_5_line_18 |  | 15 | 100 | 0.0066933 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_3203-219_0_5_line_19 |  | 17 | 18 | 0.010223 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_3203-219_0_5_line_20 |  | 18 | 19 | 0.014894 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_3203-219_0_5_line_21 |  | 19 | 20 | 0.031325 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_3203-219_0_5_line_22 |  | 20 | 21 | 0.04762 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
23 | LV_3203-219_0_5_line_23 |  | 21 | 22 | 0.01674 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
24 | LV_3203-219_0_5_line_24 |  | 22 | 56 | 0.020405 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
25 | LV_3203-219_0_5_line_25 |  | 23 | 24 | 0.0030246 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
26 | LV_3203-219_0_5_line_26 |  | 23 | 25 | 0.021336 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
27 | LV_3203-219_0_5_line_27 |  | 24 | 26 | 0.021842 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
28 | LV_3203-219_0_5_line_28 |  | 25 | 27 | 0.0067709 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
29 | LV_3203-219_0_5_line_29 |  | 26 | 28 | 0.017952 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_3203-219_0_5_line_30 |  | 26 | 29 | 0.0021421 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
31 | LV_3203-219_0_5_line_31 |  | 27 | 30 | 0.027316 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
32 | LV_3203-219_0_5_line_32 |  | 28 | 31 | 0.011894 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_3203-219_0_5_line_33 |  | 29 | 32 | 0.022861 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
34 | LV_3203-219_0_5_line_34 |  | 30 | 33 | 0.0049874 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
35 | LV_3203-219_0_5_line_35 |  | 32 | 34 | 0.0094022 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
36 | LV_3203-219_0_5_line_36 |  | 33 | 38 | 0.011042 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
37 | LV_3203-219_0_5_line_37 |  | 33 | 39 | 0.020053 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
38 | LV_3203-219_0_5_line_38 |  | 35 | 36 | 0.012088 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
39 | LV_3203-219_0_5_line_39 |  | 36 | 37 | 0.023031 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
40 | LV_3203-219_0_5_line_40 |  | 37 | 98 | 0.0090853 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_3203-219_0_5_line_41 |  | 37 | 97 | 0.022545 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
42 | LV_3203-219_0_5_line_42 |  | 38 | 40 | 0.019816 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
43 | LV_3203-219_0_5_line_43 |  | 39 | 41 | 0.00028447 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
44 | LV_3203-219_0_5_line_44 |  | 40 | 42 | 0.021158 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
45 | LV_3203-219_0_5_line_45 |  | 41 | 43 | 0.022537 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
46 | LV_3203-219_0_5_line_46 |  | 42 | 44 | 0.011632 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
47 | LV_3203-219_0_5_line_47 |  | 43 | 47 | 0.006049 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
48 | LV_3203-219_0_5_line_48 |  | 44 | 45 | 0.046739 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_3203-219_0_5_line_49 |  | 44 | 46 | 0.037735 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
50 | LV_3203-219_0_5_line_50 |  | 45 | 55 | 0.01771 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_3203-219_0_5_line_51 |  | 46 | 56 | 0.0040003 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
52 | LV_3203-219_0_5_line_52 |  | 47 | 48 | 0.035418 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_3203-219_0_5_line_53 |  | 47 | 49 | 0.033567 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
54 | LV_3203-219_0_5_line_54 |  | 48 | 52 | 0.0097068 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_3203-219_0_5_line_55 |  | 49 | 53 | 0.01927 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
56 | LV_3203-219_0_5_line_56 |  | 50 | 51 | 0.030705 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
57 | LV_3203-219_0_5_line_57 |  | 51 | 54 | 0.011153 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
58 | LV_3203-219_0_5_line_58 |  | 52 | 72 | 0.032327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_3203-219_0_5_line_59 |  | 53 | 66 | 0.025202 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
60 | LV_3203-219_0_5_line_60 |  | 53 | 67 | 0.047977 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
61 | LV_3203-219_0_5_line_61 |  | 53 | 62 | 0.033806 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_3203-219_0_5_line_62 |  | 54 | 97 | 0.019598 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
63 | LV_3203-219_0_5_line_63 |  | 55 | 57 | 0.031835 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_3203-219_0_5_line_64 |  | 57 | 73 | 0.012523 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_3203-219_0_5_line_65 |  | 58 | 59 | 0.023933 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_3203-219_0_5_line_66 |  | 58 | 60 | 0.0077163 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_3203-219_0_5_line_67 |  | 59 | 61 | 0.025667 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_3203-219_0_5_line_68 |  | 60 | 62 | 0.022639 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_3203-219_0_5_line_69 |  | 61 | 63 | 0.0094224 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_3203-219_0_5_line_70 |  | 63 | 64 | 0.018341 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_3203-219_0_5_line_71 |  | 63 | 65 | 0.040243 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_3203-219_0_5_line_72 |  | 66 | 68 | 0.040546 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
73 | LV_3203-219_0_5_line_73 |  | 67 | 69 | 0.015264 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
74 | LV_3203-219_0_5_line_74 |  | 68 | 70 | 0.028157 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
75 | LV_3203-219_0_5_line_75 |  | 69 | 71 | 0.018636 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
76 | LV_3203-219_0_5_line_76 |  | 70 | 77 | 0.064627 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
77 | LV_3203-219_0_5_line_77 |  | 71 | 85 | 0.048114 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
78 | LV_3203-219_0_5_line_78 |  | 73 | 74 | 0.0038968 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_3203-219_0_5_line_79 |  | 74 | 75 | 0.020333 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_3203-219_0_5_line_80 |  | 75 | 76 | 0.0021316 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_3203-219_0_5_line_81 |  | 77 | 78 | 0.015292 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
82 | LV_3203-219_0_5_line_82 |  | 78 | 79 | 0.020274 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_3203-219_0_5_line_83 |  | 78 | 80 | 0.021555 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
84 | LV_3203-219_0_5_line_84 |  | 78 | 81 | 0.027658 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_3203-219_0_5_line_85 |  | 80 | 82 | 0.041286 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_3203-219_0_5_line_86 |  | 82 | 83 | 0.043725 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_3203-219_0_5_line_87 |  | 83 | 84 | 0.033733 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_3203-219_0_5_line_88 |  | 84 | 86 | 0.022551 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_3203-219_0_5_line_89 |  | 85 | 87 | 0.033642 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
90 | LV_3203-219_0_5_line_90 |  | 86 | 89 | 0.020054 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_3203-219_0_5_line_91 |  | 87 | 88 | 0.0077049 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
92 | LV_3203-219_0_5_line_92 |  | 88 | 90 | 0.029648 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
93 | LV_3203-219_0_5_line_93 |  | 89 | 91 | 0.019954 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_3203-219_0_5_line_94 |  | 90 | 107 | 0.0018722 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
95 | LV_3203-219_0_5_line_95 |  | 91 | 109 | 0.020257 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_3203-219_0_5_line_96 |  | 92 | 93 | 0.030926 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
97 | LV_3203-219_0_5_line_97 |  | 92 | 94 | 0.062402 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
98 | LV_3203-219_0_5_line_98 |  | 93 | 96 | 0.023573 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
99 | LV_3203-219_0_5_line_99 |  | 94 | 95 | 0.022403 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
100 | LV_3203-219_0_5_line_100 |  | 95 | 103 | 0.021582 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
101 | LV_3203-219_0_5_line_101 |  | 98 | 99 | 0.010168 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_3203-219_0_5_line_102 |  | 100 | 101 | 0.035017 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_3203-219_0_5_line_103 |  | 101 | 102 | 0.024475 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_3203-219_0_5_line_104 |  | 103 | 104 | 0.00091347 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
105 | LV_3203-219_0_5_line_105 |  | 104 | 105 | 0.033279 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
106 | LV_3203-219_0_5_line_106 |  | 105 | 106 | 0.0007814 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
107 | LV_3203-219_0_5_line_107 |  | 106 | 107 | 0.031804 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
108 | LV_3203-219_0_5_line_108 |  | 108 | 109 | 0.019967 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3203-219_0_5_trafo_36 | 0.63 MVA 20/0.4 kV | 110 | 50 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2742984.2367 | 1251874.2192 | 2742986.8145 | 1251881.5995 | 2742990.4419 | 1251886.4805 | 2742996.0527 | 1251889.8969 | 2743011.5345 | 1251894.1634 | 2743015.8239 | 1251896.4119
1 | 2742966.9255 | 1251879.7289 | 2742979.3293 | 1251875.7578 | 2742984.2367 | 1251874.2192
2 | 2742966.9255 | 1251879.7289 | 2742958.2785 | 1251882.5358
3 | 2742940.4258 | 1251888.331 | 2742958.2785 | 1251882.5358
4 | 2742940.4258 | 1251888.331 | 2742920.8299 | 1251892.6643
5 | 2742920.8299 | 1251892.6643 | 2742920.2479 | 1251892.793 | 2742903.3899 | 1251896.1117 | 2742894.8082 | 1251897.3406
6 | 2743038.3338 | 1252025.3558 | 2743046.0602 | 1252011.5182 | 2743050.5572 | 1252013.8401
7 | 2743054.9401 | 1252005.5714 | 2743052.049 | 1252010.851 | 2743050.5572 | 1252013.8401
8 | 2743016.4521 | 1252046.9146 | 2743023.6458 | 1252034.4987 | 2743028.3581 | 1252034.1566 | 2743030.277 | 1252030.0546 | 2743036.4149 | 1252029.1464 | 2743038.3338 | 1252025.3558
9 | 2743049.299 | 1252002.4768 | 2743054.9401 | 1252005.5714
10 | 2743016.4521 | 1252046.9146 | 2743011.2475 | 1252045.1317 | 2742994.7478 | 1252037.8227
11 | 2743016.4521 | 1252046.9146 | 2743016.9052 | 1252047.0705
12 | 2743049.299 | 1252002.4768 | 2743052.9464 | 1251964.9629
13 | 2742981.1276 | 1252031.0805 | 2742986.1534 | 1252034.0156 | 2742994.7478 | 1252037.8227
14 | 2743016.9052 | 1252047.0705 | 2743024.0304 | 1252049.5221 | 2743038.6045 | 1252052.8993 | 2743038.6045 | 1252052.8993
15 | 2743052.9464 | 1251964.9629 | 2743048.9017 | 1251962.6742
16 | 2742981.1276 | 1252031.0805 | 2742974.6915 | 1252042.1467
17 | 2742981.1276 | 1252031.0805 | 2742969.3767 | 1252024.2906 | 2742950.2536 | 1252013.5441
18 | 2743045.2102 | 1252053.9791 | 2743038.6045 | 1252052.8993
19 | 2742884.6885 | 1251898.7897 | 2742894.8082 | 1251897.3406
20 | 2742884.6885 | 1251898.7897 | 2742882.7198 | 1251899.0716 | 2742869.8514 | 1251900.0445
21 | 2742838.5381 | 1251900.8191 | 2742868.5589 | 1251900.1423 | 2742869.8514 | 1251900.0445
22 | 2742792.9373 | 1251910.7295 | 2742797.3052 | 1251907.8319 | 2742802.6391 | 1251905.2024 | 2742808.2444 | 1251903.2134 | 2742814.0377 | 1251901.8852 | 2742819.9505 | 1251901.2382 | 2742838.5381 | 1251900.8191
23 | 2742781.073 | 1251922.4166 | 2742781.3019 | 1251922.0485 | 2742785.9495 | 1251916.5665 | 2742791.3198 | 1251911.8025 | 2742792.9373 | 1251910.7295
24 | 2742772.9977 | 1251941.0198 | 2742774.0095 | 1251937.0091 | 2742775.9175 | 1251931.7835 | 2742778.3641 | 1251926.7711 | 2742781.073 | 1251922.4166
25 | 2742895.7797 | 1251991.8271 | 2742898.2747 | 1251991.9673 | 2742898.7956 | 1251992.0379
26 | 2742874.565 | 1251993.3035 | 2742881.0687 | 1251992.197 | 2742886.5394 | 1251991.7174 | 2742892.0312 | 1251991.6164 | 2742895.7797 | 1251991.8271
27 | 2742919.929 | 1251997.3279 | 2742913.1654 | 1251995.0627 | 2742904.4611 | 1251992.8062 | 2742898.7956 | 1251992.0379
28 | 2742867.9266 | 1251994.6279 | 2742872.0236 | 1251993.7359 | 2742874.565 | 1251993.3035
29 | 2742919.929 | 1251997.3279 | 2742916.3896 | 1252002.8811 | 2742913.8257 | 1252007.7461 | 2742910.946 | 1252012.8703
30 | 2742919.929 | 1251997.3279 | 2742921.8638 | 1251998.2471
31 | 2742867.9266 | 1251994.6279 | 2742852.3868 | 1251998.0109 | 2742849.6756 | 1251998.6573 | 2742841.2793 | 1252000.6322
32 | 2742904.2091 | 1252020.4483 | 2742906.1653 | 1252021.363 | 2742910.946 | 1252012.8703
33 | 2742921.8638 | 1251998.2471 | 2742929.4246 | 1252001.839 | 2742942.057 | 1252008.9379
34 | 2742836.4244 | 1252001.7741 | 2742841.2793 | 1252000.6322
35 | 2742942.057 | 1252008.9379 | 2742950.2536 | 1252013.5441
36 | 2742836.4244 | 1252001.7741 | 2742828.8187 | 1252002.8029 | 2742825.4518 | 1252002.8191
37 | 2742836.4244 | 1252001.7741 | 2742837.9076 | 1252021.7719
38 | 2742974.6915 | 1252042.1467 | 2742969.0099 | 1252052.816
39 | 2742958.1847 | 1252073.1442 | 2742969.0099 | 1252052.816
40 | 2742958.1847 | 1252073.1442 | 2742967.2279 | 1252074.0186
41 | 2742958.1847 | 1252073.1442 | 2742935.7441 | 1252070.9728
42 | 2742825.4518 | 1252002.8191 | 2742821.1388 | 1252002.84 | 2742813.5202 | 1252001.8999 | 2742808.1449 | 1252000.6136 | 2742805.9687 | 1251999.8722
43 | 2742837.9076 | 1252021.7719 | 2742837.9286 | 1252022.0556
44 | 2742805.9687 | 1251999.8722 | 2742802.91 | 1251998.8302 | 2742797.8605 | 1251996.562 | 2742787.4129 | 1251989.8988
45 | 2742834.3879 | 1252044.2427 | 2742838.0994 | 1252024.3579 | 2742837.9286 | 1252022.0556
46 | 2742779.6246 | 1251981.2637 | 2742787.3307 | 1251989.8463 | 2742787.4129 | 1251989.8988
47 | 2742830.1459 | 1252048.5667 | 2742834.3879 | 1252044.2427
48 | 2742779.6246 | 1251981.2637 | 2742771.2933 | 1251986.0786 | 2742761.3822 | 1251987.5189 | 2742749.7582 | 1251982.6565 | 2742741.9891 | 1251975.4293 | 2742740.1239 | 1251972.0153
49 | 2742779.6246 | 1251981.2637 | 2742775.0906 | 1251971.0782 | 2742772.1252 | 1251960.3523 | 2742771.6352 | 1251954.3682 | 2742771.8029 | 1251948.3554 | 2742772.2866 | 1251944.9511
50 | 2742732.6337 | 1251956.0194 | 2742735.1914 | 1251962.9872 | 2742740.1239 | 1251972.0153
51 | 2742772.9977 | 1251941.0198 | 2742772.6486 | 1251942.4036 | 2742772.2866 | 1251944.9511
52 | 2742830.1459 | 1252048.5667 | 2742834.0794 | 1252053.5885 | 2742825.8182 | 1252063.0093 | 2742825.2252 | 1252071.0025 | 2742827.5348 | 1252079.177 | 2742827.5348 | 1252079.177
53 | 2742830.1459 | 1252048.5667 | 2742826.1361 | 1252052.6517 | 2742813.3542 | 1252061.6743 | 2742801.5178 | 1252064.6176
54 | 2742827.5348 | 1252079.177 | 2742836.4544 | 1252082.206 | 2742836.6838 | 1252082.3782
55 | 2742782.8176 | 1252069.2677 | 2742801.5178 | 1252064.6176
56 | 2742905.1357 | 1252068.011 | 2742881.1523 | 1252065.6903 | 2742875.1445 | 1252062.9349
57 | 2742905.1357 | 1252068.011 | 2742916.2372 | 1252069.0853
58 | 2742836.6838 | 1252082.3782 | 2742854.6018 | 1252095.834 | 2742863.8045 | 1252099.536
59 | 2742782.8176 | 1252069.2677 | 2742775.6573 | 1252072.8096 | 2742766.9586 | 1252087.6636
60 | 2742782.8176 | 1252069.2677 | 2742778.5071 | 1252089.8943 | 2742773.7551 | 1252116.3762
61 | 2742782.8176 | 1252069.2677 | 2742767.1167 | 1252050.6163 | 2742760.9129 | 1252043.5196
62 | 2742935.7441 | 1252070.9728 | 2742916.2372 | 1252069.0853
63 | 2742732.6337 | 1251956.0194 | 2742727.9502 | 1251943.2609 | 2742723.818 | 1251935.1982 | 2742716.9903 | 1251929.0553
64 | 2742716.9903 | 1251929.0553 | 2742715.5111 | 1251927.7245 | 2742706.6487 | 1251923.8741 | 2742705.7962 | 1251923.6984
65 | 2742739.2319 | 1252022.512 | 2742727.0128 | 1252013.4598 | 2742718.9521 | 1252010.1181
66 | 2742739.2319 | 1252022.512 | 2742745.4321 | 1252027.1053
67 | 2742718.9521 | 1252010.1181 | 2742695.2421 | 1252000.2887
68 | 2742760.9129 | 1252043.5196 | 2742748.6441 | 1252029.4848 | 2742745.4321 | 1252027.1053
69 | 2742686.538 | 1251996.6803 | 2742695.2421 | 1252000.2887
70 | 2742686.538 | 1251996.6803 | 2742668.8722 | 1251991.7504
71 | 2742686.538 | 1251996.6803 | 2742681.4466 | 1252009.3029 | 2742670.8076 | 1252013.6953 | 2742677.6579 | 1252020.5111 | 2742676.817 | 1252025.905
72 | 2742735.2679 | 1252104.23 | 2742742.6965 | 1252107.6705 | 2742753.0021 | 1252103.3258 | 2742763.5064 | 1252093.5586 | 2742766.9586 | 1252087.6636
73 | 2742771.0591 | 1252131.4 | 2742773.7551 | 1252116.3762
74 | 2742711.2052 | 1252090.0509 | 2742720.1589 | 1252093.859 | 2742730.5624 | 1252102.0507 | 2742735.2679 | 1252104.23
75 | 2742771.0591 | 1252131.4 | 2742770.4733 | 1252134.665 | 2742772.6631 | 1252149.8262
76 | 2742711.2052 | 1252090.0509 | 2742680.4162 | 1252146.8728
77 | 2742772.6631 | 1252149.8262 | 2742772.8219 | 1252150.9258 | 2742781.3952 | 1252167.3701 | 2742798.5385 | 1252182.2416 | 2742804.0188 | 1252184.0234
78 | 2742705.7962 | 1251923.6984 | 2742701.9796 | 1251922.9119
79 | 2742682.0652 | 1251918.8084 | 2742701.9796 | 1251922.9119
80 | 2742682.0652 | 1251918.8084 | 2742679.9775 | 1251918.3782
81 | 2742668.1115 | 1252155.9528 | 2742680.4162 | 1252146.8728
82 | 2742668.1115 | 1252155.9528 | 2742652.043 | 1252168.3164
83 | 2742668.1115 | 1252155.9528 | 2742681.5685 | 1252172.7907
84 | 2742668.1115 | 1252155.9528 | 2742649.7255 | 1252135.2903
85 | 2742681.5685 | 1252172.7907 | 2742696.5422 | 1252191.5264 | 2742708.7244 | 1252203.8128
86 | 2742740.8505 | 1252233.3213 | 2742729.7789 | 1252225.0473 | 2742708.7244 | 1252203.8128
87 | 2742767.8714 | 1252253.5143 | 2742740.8505 | 1252233.3213
88 | 2742786.9522 | 1252265.5284 | 2742768.5015 | 1252253.9852 | 2742767.8714 | 1252253.5143
89 | 2742836.0125 | 1252194.4256 | 2742804.0188 | 1252184.0234
90 | 2742803.953 | 1252276.1644 | 2742786.9522 | 1252265.5284
91 | 2742843.3399 | 1252196.808 | 2742836.0125 | 1252194.4256
92 | 2742843.3399 | 1252196.808 | 2742871.5352 | 1252205.9752
93 | 2742821.3919 | 1252285.8525 | 2742806.2945 | 1252277.6293 | 2742803.953 | 1252276.1644
94 | 2742873.3156 | 1252206.5541 | 2742871.5352 | 1252205.9752
95 | 2742839.1808 | 1252295.5418 | 2742821.3919 | 1252285.8525
96 | 2743031.6513 | 1252202.9571 | 2743059.3565 | 1252189.2141
97 | 2742979.3367 | 1252236.9747 | 2743031.6513 | 1252202.9571
98 | 2743076.4663 | 1252173.1906 | 2743068.0223 | 1252179.4063 | 2743059.3565 | 1252189.2141
99 | 2742957.346 | 1252233.8751 | 2742972.0912 | 1252237.3453 | 2742979.3367 | 1252236.9747
100 | 2742957.346 | 1252233.8751 | 2742936.8212 | 1252227.2018
101 | 2742977.3487 | 1252074.9973 | 2742967.2279 | 1252074.0186
102 | 2743080.1233 | 1252054.5478 | 2743059.066 | 1252055.429 | 2743049.2241 | 1252054.6351 | 2743045.2102 | 1252053.9791
103 | 2743080.1233 | 1252054.5478 | 2743081.8554 | 1252060.3617 | 2743084.2046 | 1252077.1898 | 2743084.8676 | 1252078.4429
104 | 2742936.8212 | 1252227.2018 | 2742935.9525 | 1252226.9194
105 | 2742935.9525 | 1252226.9194 | 2742904.3039 | 1252216.6294
106 | 2742904.3039 | 1252216.6294 | 2742903.5608 | 1252216.3878
107 | 2742873.3156 | 1252206.5541 | 2742903.5608 | 1252216.3878
108 | 2742856.9386 | 1252304.6547 | 2742848.9817 | 1252300.8801 | 2742839.1808 | 1252295.5418

## bus_geodata
| x | y | coords
0 | 2743015.8239 | 1251896.4119
1 | 2742984.2367 | 1251874.2192
2 | 2742966.9255 | 1251879.7289
3 | 2742958.2785 | 1251882.5358
4 | 2742940.4258 | 1251888.331
5 | 2742920.8299 | 1251892.6643
6 | 2743050.5572 | 1252013.8401
7 | 2743038.3338 | 1252025.3558
8 | 2743054.9401 | 1252005.5714
9 | 2743016.4521 | 1252046.9146
10 | 2743049.299 | 1252002.4768
11 | 2742994.7478 | 1252037.8227
12 | 2743016.9052 | 1252047.0705
13 | 2743052.9464 | 1251964.9629
14 | 2742981.1276 | 1252031.0805
15 | 2743038.6045 | 1252052.8993
16 | 2743048.9017 | 1251962.6742
17 | 2742894.8082 | 1251897.3406
18 | 2742884.6885 | 1251898.7897
19 | 2742869.8514 | 1251900.0445
20 | 2742838.5381 | 1251900.8191
21 | 2742792.9373 | 1251910.7295
22 | 2742781.073 | 1251922.4166
23 | 2742895.7797 | 1251991.8271
24 | 2742898.7956 | 1251992.0379
25 | 2742874.565 | 1251993.3035
26 | 2742919.929 | 1251997.3279
27 | 2742867.9266 | 1251994.6279
28 | 2742910.946 | 1252012.8703
29 | 2742921.8638 | 1251998.2471
30 | 2742841.2793 | 1252000.6322
31 | 2742904.2091 | 1252020.4483
32 | 2742942.057 | 1252008.9379
33 | 2742836.4244 | 1252001.7741
34 | 2742950.2536 | 1252013.5441
35 | 2742974.6915 | 1252042.1467
36 | 2742969.0099 | 1252052.816
37 | 2742958.1847 | 1252073.1442
38 | 2742825.4518 | 1252002.8191
39 | 2742837.9076 | 1252021.7719
40 | 2742805.9687 | 1251999.8722
41 | 2742837.9286 | 1252022.0556
42 | 2742787.4129 | 1251989.8988
43 | 2742834.3879 | 1252044.2427
44 | 2742779.6246 | 1251981.2637
45 | 2742740.1239 | 1251972.0153
46 | 2742772.2866 | 1251944.9511
47 | 2742830.1459 | 1252048.5667
48 | 2742827.5348 | 1252079.177
49 | 2742801.5178 | 1252064.6176
50 | 2742875.1445 | 1252062.9349
51 | 2742905.1357 | 1252068.011
52 | 2742836.6838 | 1252082.3782
53 | 2742782.8176 | 1252069.2677
54 | 2742916.2372 | 1252069.0853
55 | 2742732.6337 | 1251956.0194
56 | 2742772.9977 | 1251941.0198
57 | 2742716.9903 | 1251929.0553
58 | 2742739.2319 | 1252022.512
59 | 2742718.9521 | 1252010.1181
60 | 2742745.4321 | 1252027.1053
61 | 2742695.2421 | 1252000.2887
62 | 2742760.9129 | 1252043.5196
63 | 2742686.538 | 1251996.6803
64 | 2742668.8722 | 1251991.7504
65 | 2742676.817 | 1252025.905
66 | 2742766.9586 | 1252087.6636
67 | 2742773.7551 | 1252116.3762
68 | 2742735.2679 | 1252104.23
69 | 2742771.0591 | 1252131.4
70 | 2742711.2052 | 1252090.0509
71 | 2742772.6631 | 1252149.8262
72 | 2742863.8045 | 1252099.536
73 | 2742705.7962 | 1251923.6984
74 | 2742701.9796 | 1251922.9119
75 | 2742682.0652 | 1251918.8084
76 | 2742679.9775 | 1251918.3782
77 | 2742680.4162 | 1252146.8728
78 | 2742668.1115 | 1252155.9528
79 | 2742652.043 | 1252168.3164
80 | 2742681.5685 | 1252172.7907
81 | 2742649.7255 | 1252135.2903
82 | 2742708.7244 | 1252203.8128
83 | 2742740.8505 | 1252233.3213
84 | 2742767.8714 | 1252253.5143
85 | 2742804.0188 | 1252184.0234
86 | 2742786.9522 | 1252265.5284
87 | 2742836.0125 | 1252194.4256
88 | 2742843.3399 | 1252196.808
89 | 2742803.953 | 1252276.1644
90 | 2742871.5352 | 1252205.9752
91 | 2742821.3919 | 1252285.8525
92 | 2743031.6513 | 1252202.9571
93 | 2743059.3565 | 1252189.2141
94 | 2742979.3367 | 1252236.9747
95 | 2742957.346 | 1252233.8751
96 | 2743076.4663 | 1252173.1906
97 | 2742935.7441 | 1252070.9728
98 | 2742967.2279 | 1252074.0186
99 | 2742977.3487 | 1252074.9973
100 | 2743045.2102 | 1252053.9791
101 | 2743080.1233 | 1252054.5478
102 | 2743084.8676 | 1252078.4429
103 | 2742936.8212 | 1252227.2018
104 | 2742935.9525 | 1252226.9194
105 | 2742904.3039 | 1252216.6294
106 | 2742903.5608 | 1252216.3878
107 | 2742873.3156 | 1252206.5541
108 | 2742856.9386 | 1252304.6547
109 | 2742839.1808 | 1252295.5418
110 | 2742875.1445 | 1252062.9349

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1