## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3203-34_0_8_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3203-34_0_8_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3203-34_0_8_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_3203-34_0_8_node_72 | 0.4 | n |  | TRUE
4 | bus_LV_3203-34_0_8_node_55 | 0.4 | n |  | TRUE
5 | bus_LV_3203-34_0_8_node_4 | 0.4 | n |  | TRUE
6 | bus_LV_3203-34_0_8_node_53 | 0.4 | n |  | TRUE
7 | bus_LV_3203-34_0_8_node_51 | 0.4 | n |  | TRUE
8 | bus_LV_3203-34_0_8_node_73 | 0.4 | n |  | TRUE
9 | bus_LV_3203-34_0_8_node_56 | 0.4 | n |  | TRUE
10 | bus_LV_3203-34_0_8_node_5 | 0.4 | n |  | TRUE
11 | bus_LV_3203-34_0_8_node_6 | 0.4 | n |  | TRUE
12 | bus_LV_3203-34_0_8_node_7 | 0.4 | n |  | TRUE
13 | bus_LV_3203-34_0_8_node_8 | 0.4 | n |  | TRUE
14 | bus_LV_3203-34_0_8_node_9 | 0.4 | n |  | TRUE
15 | bus_LV_3203-34_0_8_node_39 | 0.4 | n |  | TRUE
16 | bus_LV_3203-34_0_8_node_45 | 0.4 | n |  | TRUE
17 | bus_LV_3203-34_0_8_node_11 | 0.4 | n |  | TRUE
18 | bus_LV_3203-34_0_8_node_71 | 0.4 | n |  | TRUE
19 | bus_LV_3203-34_0_8_node_43 | 0.4 | n |  | TRUE
20 | bus_LV_3203-34_0_8_node_66 | 0.4 | n |  | TRUE
21 | bus_LV_3203-34_0_8_node_12 | 0.4 | n |  | TRUE
22 | bus_LV_3203-34_0_8_node_10 | 0.4 | n |  | TRUE
23 | bus_LV_3203-34_0_8_node_70 | 0.4 | n |  | TRUE
24 | bus_LV_3203-34_0_8_node_64 | 0.4 | n |  | TRUE
25 | bus_LV_3203-34_0_8_node_62 | 0.4 | n |  | TRUE
26 | bus_LV_3203-34_0_8_node_63 | 0.4 | n |  | TRUE
27 | bus_LV_3203-34_0_8_node_19 | 0.4 | n |  | TRUE
28 | bus_LV_3203-34_0_8_node_15 | 0.4 | n |  | TRUE
29 | bus_LV_3203-34_0_8_node_13 | 0.4 | n |  | TRUE
30 | bus_LV_3203-34_0_8_node_14 | 0.4 | n |  | TRUE
31 | bus_LV_3203-34_0_8_node_16 | 0.4 | n |  | TRUE
32 | bus_LV_3203-34_0_8_node_17 | 0.4 | n |  | TRUE
33 | bus_LV_3203-34_0_8_node_18 | 0.4 | n |  | TRUE
34 | bus_LV_3203-34_0_8_node_59 | 0.4 | n |  | TRUE
35 | bus_LV_3203-34_0_8_node_42 | 0.4 | n |  | TRUE
36 | bus_LV_3203-34_0_8_node_58 | 0.4 | n |  | TRUE
37 | bus_LV_3203-34_0_8_node_25 | 0.4 | n |  | TRUE
38 | bus_LV_3203-34_0_8_node_20 | 0.4 | n |  | TRUE
39 | bus_LV_3203-34_0_8_node_21 | 0.4 | n |  | TRUE
40 | bus_LV_3203-34_0_8_node_22 | 0.4 | n |  | TRUE
41 | bus_LV_3203-34_0_8_node_23 | 0.4 | n |  | TRUE
42 | bus_LV_3203-34_0_8_node_24 | 0.4 | n |  | TRUE
43 | bus_LV_3203-34_0_8_node_28 | 0.4 | n |  | TRUE
44 | bus_LV_3203-34_0_8_node_30 | 0.4 | n |  | TRUE
45 | bus_LV_3203-34_0_8_node_26 | 0.4 | n |  | TRUE
46 | bus_LV_3203-34_0_8_node_27 | 0.4 | n |  | TRUE
47 | bus_LV_3203-34_0_8_node_29 | 0.4 | n |  | TRUE
48 | bus_LV_3203-34_0_8_node_31 | 0.4 | n |  | TRUE
49 | bus_LV_3203-34_0_8_node_36 | 0.4 | n |  | TRUE
50 | bus_LV_3203-34_0_8_node_32 | 0.4 | n |  | TRUE
51 | bus_LV_3203-34_0_8_node_37 | 0.4 | n |  | TRUE
52 | bus_LV_3203-34_0_8_node_33 | 0.4 | n |  | TRUE
53 | bus_LV_3203-34_0_8_node_34 | 0.4 | n |  | TRUE
54 | bus_LV_3203-34_0_8_node_35 | 0.4 | n |  | TRUE
55 | bus_LV_3203-34_0_8_node_60 | 0.4 | n |  | TRUE
56 | bus_LV_3203-34_0_8_node_61 | 0.4 | n |  | TRUE
57 | bus_LV_3203-34_0_8_node_49 | 0.4 | n |  | TRUE
58 | bus_LV_3203-34_0_8_node_38 | 0.4 | n |  | TRUE
59 | bus_LV_3203-34_0_8_node_41 | 0.4 | n |  | TRUE
60 | bus_LV_3203-34_0_8_node_40 | 0.4 | n |  | TRUE
61 | bus_LV_3203-34_0_8_node_57 | 0.4 | n |  | TRUE
62 | bus_LV_3203-34_0_8_node_50 | 0.4 | n |  | TRUE
63 | bus_LV_3203-34_0_8_node_74 | 0.4 | n |  | TRUE
64 | bus_LV_3203-34_0_8_node_67 | 0.4 | n |  | TRUE
65 | bus_LV_3203-34_0_8_node_47 | 0.4 | n |  | TRUE
66 | bus_LV_3203-34_0_8_node_48 | 0.4 | n |  | TRUE
67 | bus_LV_3203-34_0_8_node_52 | 0.4 | n |  | TRUE
68 | bus_LV_3203-34_0_8_node_54 | 0.4 | n |  | TRUE
69 | bus_LV_3203-34_0_8_node_69 | 0.4 | n |  | TRUE
70 | bus_LV_3203-34_0_8_node_75 | 0.4 | n |  | TRUE
71 | bus_MV_40_1_node_108 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3203-34_0_8_load_0 | 0 | 0.0021538 | 0.00053978 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3203-34_0_8_load_1 | 1 | 0.0034976 | 0.00087659 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3203-34_0_8_load_3 | 2 | 0.0030228 | 0.00075759 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3203-34_0_8_load_72 | 3 | 0.081985 | 0.020547 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3203-34_0_8_load_55 | 4 | 0.016614 | 0.004164 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3203-34_0_8_load_53 | 6 | 0.014168 | 0.0035509 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3203-34_0_8_load_73 | 8 | 0.0056981 | 0.0014281 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3203-34_0_8_load_5 | 10 | 0.0019278 | 0.00048316 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3203-34_0_8_load_6 | 11 | 0.00014477 | 3.6283e-05 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3203-34_0_8_load_7 | 12 | 0.0029569 | 0.00074107 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3203-34_0_8_load_8 | 13 | 0.00039372 | 9.8677e-05 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3203-34_0_8_load_45 | 16 | 0.0021039 | 0.00052728 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3203-34_0_8_load_71 | 18 | 0.0012941 | 0.00032433 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3203-34_0_8_load_66 | 20 | 0.0049567 | 0.0012423 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3203-34_0_8_load_10 | 22 | 0.013886 | 0.0034801 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3203-34_0_8_load_70 | 23 | 0.0064059 | 0.0016055 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3203-34_0_8_load_62 | 25 | 0.018271 | 0.0045792 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3203-34_0_8_load_19 | 27 | 0.005245 | 0.0013145 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3203-34_0_8_load_13 | 29 | 0.016363 | 0.0041009 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3203-34_0_8_load_16 | 31 | 0.0064642 | 0.0016201 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3203-34_0_8_load_17 | 32 | 0.0073695 | 0.001847 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3203-34_0_8_load_18 | 33 | 0.00033382 | 8.3662e-05 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3203-34_0_8_load_59 | 34 | 0.0076623 | 0.0019203 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3203-34_0_8_load_42 | 35 | 0.00056552 | 0.00014173 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3203-34_0_8_load_58 | 36 | 0.0071852 | 0.0018008 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3203-34_0_8_load_25 | 37 | 0.020439 | 0.0051225 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3203-34_0_8_load_20 | 38 | 0.024137 | 0.0060493 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3203-34_0_8_load_21 | 39 | 0.0041765 | 0.0010467 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3203-34_0_8_load_23 | 41 | 0.0040594 | 0.0010174 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3203-34_0_8_load_24 | 42 | 0.00047166 | 0.00011821 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3203-34_0_8_load_30 | 44 | 0.0041402 | 0.0010376 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3203-34_0_8_load_26 | 45 | 0.0038089 | 0.0009546 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3203-34_0_8_load_27 | 46 | 0.0060931 | 0.0015271 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3203-34_0_8_load_29 | 47 | 0.0062963 | 0.001578 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3203-34_0_8_load_31 | 48 | 0.003897 | 0.00097669 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3203-34_0_8_load_36 | 49 | 0.0078096 | 0.0019573 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3203-34_0_8_load_32 | 50 | 0.0067603 | 0.0016943 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3203-34_0_8_load_37 | 51 | 0.0080245 | 0.0020111 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3203-34_0_8_load_35 | 54 | 0.0068717 | 0.0017222 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3203-34_0_8_load_60 | 55 | 0.021075 | 0.0052818 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3203-34_0_8_load_49 | 57 | 0.013999 | 0.0035086 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3203-34_0_8_load_57 | 61 | 0.0057416 | 0.001439 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3203-34_0_8_load_50 | 62 | 0.065213 | 0.016344 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3203-34_0_8_load_74 | 63 | 0.0075779 | 0.0018992 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3203-34_0_8_load_67 | 64 | 0.015729 | 0.0039421 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3203-34_0_8_load_47 | 65 | 0.012569 | 0.0031502 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3203-34_0_8_load_52 | 67 | 0.065704 | 0.016467 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3203-34_0_8_load_75 | 70 | 0.019599 | 0.0049119 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 58 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3203-34_0_8_line_0 |  | 0 | 1 | 0.020023 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_3203-34_0_8_line_1 |  | 1 | 2 | 0.018235 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_3203-34_0_8_line_2 |  | 2 | 5 | 0.1579 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_3203-34_0_8_line_3 |  | 3 | 4 | 0.028048 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_3203-34_0_8_line_4 |  | 4 | 68 | 0.033862 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_3203-34_0_8_line_5 |  | 5 | 8 | 0.2199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_3203-34_0_8_line_6 |  | 6 | 7 | 0.10764 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_3203-34_0_8_line_7 |  | 7 | 67 | 0.041817 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
8 | LV_3203-34_0_8_line_8 |  | 7 | 62 | 0.022991 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
9 | LV_3203-34_0_8_line_9 |  | 8 | 9 | 0.029037 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_3203-34_0_8_line_10 |  | 9 | 68 | 0.021558 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_3203-34_0_8_line_11 |  | 10 | 11 | 0.023054 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_3203-34_0_8_line_12 |  | 10 | 12 | 0.018669 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_3203-34_0_8_line_13 |  | 11 | 13 | 0.054901 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_3203-34_0_8_line_14 |  | 12 | 14 | 0.021928 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_3203-34_0_8_line_15 |  | 13 | 15 | 0.052749 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_3203-34_0_8_line_16 |  | 14 | 16 | 0.028474 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
17 | LV_3203-34_0_8_line_17 |  | 14 | 17 | 0.030593 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
18 | LV_3203-34_0_8_line_18 |  | 14 | 18 | 0.022088 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_3203-34_0_8_line_19 |  | 15 | 19 | 0.040036 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_3203-34_0_8_line_20 |  | 16 | 20 | 0.01458 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
21 | LV_3203-34_0_8_line_21 |  | 17 | 21 | 0.020252 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
22 | LV_3203-34_0_8_line_22 |  | 17 | 22 | 0.039319 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_3203-34_0_8_line_23 |  | 18 | 23 | 0.011485 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_3203-34_0_8_line_24 |  | 19 | 63 | 0.08774 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_3203-34_0_8_line_25 |  | 20 | 64 | 0.032406 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_3203-34_0_8_line_26 |  | 20 | 25 | 0.062513 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
27 | LV_3203-34_0_8_line_27 |  | 21 | 27 | 0.017464 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
28 | LV_3203-34_0_8_line_28 |  | 24 | 25 | 0.069102 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
29 | LV_3203-34_0_8_line_29 |  | 24 | 26 | 0.084922 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
30 | LV_3203-34_0_8_line_30 |  | 26 | 69 | 0.11994 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
31 | LV_3203-34_0_8_line_31 |  | 27 | 28 | 0.033077 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
32 | LV_3203-34_0_8_line_32 |  | 28 | 33 | 0.00278 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_3203-34_0_8_line_33 |  | 28 | 29 | 0.032673 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
34 | LV_3203-34_0_8_line_34 |  | 29 | 30 | 0.027815 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
35 | LV_3203-34_0_8_line_35 |  | 30 | 31 | 0.017833 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_3203-34_0_8_line_36 |  | 30 | 32 | 0.003044 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
37 | LV_3203-34_0_8_line_37 |  | 32 | 34 | 0.031531 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
38 | LV_3203-34_0_8_line_38 |  | 33 | 35 | 0.032961 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_3203-34_0_8_line_39 |  | 34 | 36 | 0.03093 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
40 | LV_3203-34_0_8_line_40 |  | 35 | 37 | 0.012404 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_3203-34_0_8_line_41 |  | 36 | 53 | 0.01404 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
42 | LV_3203-34_0_8_line_42 |  | 37 | 40 | 0.036662 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_3203-34_0_8_line_43 |  | 38 | 39 | 0.038032 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_3203-34_0_8_line_44 |  | 38 | 40 | 0.0043098 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_3203-34_0_8_line_45 |  | 39 | 41 | 0.029305 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_3203-34_0_8_line_46 |  | 40 | 42 | 0.03799 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_3203-34_0_8_line_47 |  | 43 | 44 | 0.063512 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
48 | LV_3203-34_0_8_line_48 |  | 43 | 45 | 0.060873 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
49 | LV_3203-34_0_8_line_49 |  | 44 | 49 | 0.035585 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
50 | LV_3203-34_0_8_line_50 |  | 45 | 46 | 0.006047 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
51 | LV_3203-34_0_8_line_51 |  | 46 | 47 | 0.02271 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
52 | LV_3203-34_0_8_line_52 |  | 47 | 48 | 0.0039056 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
53 | LV_3203-34_0_8_line_53 |  | 48 | 50 | 0.029687 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
54 | LV_3203-34_0_8_line_54 |  | 49 | 51 | 0.0022085 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
55 | LV_3203-34_0_8_line_55 |  | 50 | 52 | 0.039946 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
56 | LV_3203-34_0_8_line_56 |  | 51 | 58 | 0.030616 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
57 | LV_3203-34_0_8_line_57 |  | 52 | 53 | 0.007122 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
58 | LV_3203-34_0_8_line_58 |  | 52 | 54 | 0.011661 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_3203-34_0_8_line_59 |  | 53 | 55 | 0.008203 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_3203-34_0_8_line_60 |  | 54 | 56 | 0.017886 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_3203-34_0_8_line_61 |  | 56 | 57 | 0.01539 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_3203-34_0_8_line_62 |  | 57 | 66 | 0.048349 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_3203-34_0_8_line_63 |  | 58 | 59 | 0.071609 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
64 | LV_3203-34_0_8_line_64 |  | 59 | 62 | 0.040274 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
65 | LV_3203-34_0_8_line_65 |  | 59 | 60 | 0.032868 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_3203-34_0_8_line_66 |  | 60 | 61 | 0.13312 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_3203-34_0_8_line_67 |  | 65 | 66 | 0.038491 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_3203-34_0_8_line_68 |  | 67 | 68 | 0.0054126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_3203-34_0_8_line_69 |  | 69 | 70 | 0.007575 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3203-34_0_8_trafo_38 | 0.63 MVA 20/0.4 kV | 71 | 58 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9
0 | 2743964.5721 | 1254459.7368 | 2743957.9109 | 1254457.0519 | 2743953.3215 | 1254453.348 | 2743949.4681 | 1254449.7954 | 2743948.3112 | 1254448.5461
1 | 2743931.4839 | 1254442.418 | 2743946.5704 | 1254446.6664 | 2743948.3112 | 1254448.5461
2 | 2743828.5407 | 1254332.0791 | 2743842.7005 | 1254352.5646 | 2743852.7257 | 1254368.0117 | 2743866.7195 | 1254387.8704 | 2743882.0171 | 1254409.9742 | 2743887.2001 | 1254423.1014 | 2743895.0727 | 1254430.8445 | 2743905.9642 | 1254435.1799 | 2743923.0546 | 1254440.0442 | 2743931.4839 | 1254442.418
3 | 2744020.018 | 1254209.0481 | 2744004.7744 | 1254207.3648 | 2744006.1881 | 1254194.732
4 | 2744009.954 | 1254161.0801 | 2744006.1881 | 1254194.732
5 | 2743959.7223 | 1254155.5944 | 2743828.5407 | 1254332.0791
6 | 2744056.9335 | 1254157.0186 | 2744055.1215 | 1254204.7866 | 2744062.1061 | 1254211.1848 | 2744086.0352 | 1254223.1893 | 2744109.4666 | 1254225.9654
7 | 2744056.9335 | 1254157.0186 | 2744033.778 | 1254160.3586 | 2744015.3642 | 1254160.9162
8 | 2744056.9335 | 1254157.0186 | 2744074.9013 | 1254153.1519 | 2744077.6001 | 1254152.6727 | 2744079.4428 | 1254152.3485
9 | 2743988.4225 | 1254159.0992 | 2743962.6871 | 1254156.7937 | 2743959.7223 | 1254155.5944
10 | 2743988.4225 | 1254159.0992 | 2744009.954 | 1254161.0801
11 | 2744387.0732 | 1254175.1665 | 2744375.9688 | 1254173.9023 | 2744364.3286 | 1254171.5365
12 | 2744405.6681 | 1254176.7614 | 2744395.3661 | 1254176.1106 | 2744387.0732 | 1254175.1665
13 | 2744311.2139 | 1254157.7381 | 2744352.1521 | 1254169.0617 | 2744364.3286 | 1254171.5365
14 | 2744427.543 | 1254178.286 | 2744416.5961 | 1254177.4517 | 2744405.6681 | 1254176.7614
15 | 2744259.5898 | 1254147.7419 | 2744272.6094 | 1254148.7044 | 2744288.5213 | 1254151.4613 | 2744311.2139 | 1254157.7381
16 | 2744427.543 | 1254178.286 | 2744423.4402 | 1254185.8821 | 2744416.0357 | 1254204.2898
17 | 2744427.543 | 1254178.286 | 2744431.6779 | 1254170.6129 | 2744433.8924 | 1254148.8462
18 | 2744427.543 | 1254178.286 | 2744440.2276 | 1254196.3681
19 | 2744274.2757 | 1254183.1444 | 2744270.4313 | 1254169.004 | 2744261.2471 | 1254160.5723 | 2744259.5898 | 1254147.7419
20 | 2744410.5945 | 1254217.8165 | 2744416.0357 | 1254204.2898
21 | 2744435.939 | 1254128.6991 | 2744433.8924 | 1254148.8462
22 | 2744433.8924 | 1254148.8462 | 2744472.0812 | 1254158.2035
23 | 2744440.2276 | 1254196.3681 | 2744451.0764 | 1254200.1389
24 | 2744274.2757 | 1254183.1444 | 2744316.2322 | 1254190.6848 | 2744319.9493 | 1254195.491 | 2744328.1718 | 1254206.2127 | 2744353.637 | 1254209.9924
25 | 2744410.5945 | 1254217.8165 | 2744398.5009 | 1254247.8814
26 | 2744410.5945 | 1254217.8165 | 2744461.7266 | 1254253.7804
27 | 2744435.939 | 1254128.6991 | 2744418.7175 | 1254125.7962
28 | 2744516.2562 | 1254254.2555 | 2744477.4227 | 1254241.2513 | 2744472.5781 | 1254257.2818 | 2744461.7266 | 1254253.7804
29 | 2744516.2562 | 1254254.2555 | 2744557.3352 | 1254268.0266 | 2744543.3806 | 1254307.2123
30 | 2744426.5291 | 1254334.2543 | 2744543.3806 | 1254307.2123
31 | 2744386.1003 | 1254120.2983 | 2744418.7175 | 1254125.7962
32 | 2744386.1003 | 1254120.2983 | 2744383.4185 | 1254119.566
33 | 2744386.1003 | 1254120.2983 | 2744394.6977 | 1254088.7763
34 | 2744402.0166 | 1254061.9418 | 2744394.6977 | 1254088.7763
35 | 2744402.0166 | 1254061.9418 | 2744419.3131 | 1254066.2844
36 | 2744402.0166 | 1254061.9418 | 2744402.1386 | 1254058.9003
37 | 2744402.1386 | 1254058.9003 | 2744403.1154 | 1254034.5425 | 2744396.1722 | 1254032.8208
38 | 2744351.621 | 1254110.8844 | 2744383.4185 | 1254119.566
39 | 2744366.1513 | 1254025.3766 | 2744396.1722 | 1254032.8208
40 | 2744339.6551 | 1254107.6174 | 2744351.621 | 1254110.8844
41 | 2744352.524 | 1254021.9975 | 2744366.1513 | 1254025.3766
42 | 2744304.288 | 1254097.9611 | 2744339.6551 | 1254107.6174
43 | 2744263.2045 | 1254087.7992 | 2744278.6516 | 1254090.9633 | 2744300.1303 | 1254096.8262
44 | 2744304.288 | 1254097.9611 | 2744300.1303 | 1254096.8262
45 | 2744263.2045 | 1254087.7992 | 2744234.4957 | 1254081.9186
46 | 2744304.288 | 1254097.9611 | 2744299.1765 | 1254117.5219 | 2744315.9364 | 1254123.5804
47 | 2744187.9378 | 1254032.7546 | 2744180.2024 | 1254037.9602 | 2744171.9184 | 1254048.0236 | 2744167.5346 | 1254060.0395 | 2744163.1779 | 1254079.6187 | 2744164.1376 | 1254087.8676
48 | 2744187.9378 | 1254032.7546 | 2744201.013 | 1254023.6976 | 2744216.2423 | 1254020.7211 | 2744245.6918 | 1254020.8894
49 | 2744164.1376 | 1254087.8676 | 2744164.9816 | 1254095.1218 | 2744169.455 | 1254107.6204 | 2744176.1255 | 1254121.0636
50 | 2744251.7387 | 1254020.924 | 2744245.6918 | 1254020.8894
51 | 2744251.7387 | 1254020.924 | 2744265.1176 | 1254021.0004 | 2744274.1917 | 1254018.8258
52 | 2744277.9898 | 1254017.9156 | 2744274.1917 | 1254018.8258
53 | 2744277.9898 | 1254017.9156 | 2744306.8589 | 1254010.997
54 | 2744177.1071 | 1254123.0419 | 2744176.1255 | 1254121.0636
55 | 2744345.6164 | 1254020.183 | 2744307.8713 | 1254010.7543 | 2744306.8589 | 1254010.997
56 | 2744190.7156 | 1254150.4675 | 2744177.1071 | 1254123.0419
57 | 2744345.6164 | 1254020.183 | 2744352.524 | 1254021.9975
58 | 2744345.6164 | 1254020.183 | 2744348.6092 | 1254008.9129
59 | 2744350.4884 | 1254029.9443 | 2744352.524 | 1254021.9975
60 | 2744354.8583 | 1253992.2149 | 2744350.4289 | 1254002.0608 | 2744348.6092 | 1254008.9129
61 | 2744354.8583 | 1253992.2149 | 2744363.2469 | 1253979.3123
62 | 2744389.6008 | 1253938.7775 | 2744363.2469 | 1253979.3123
63 | 2744119.2443 | 1254146.402 | 2744137.9757 | 1254146.8249 | 2744143.7242 | 1254146.9538 | 2744147.0702 | 1254147.1687 | 2744190.7156 | 1254150.4675
64 | 2744119.2443 | 1254146.402 | 2744107.0882 | 1254147.4851 | 2744079.4428 | 1254152.3485
65 | 2744119.2443 | 1254146.402 | 2744115.7842 | 1254134.7512 | 2744111.9132 | 1254125.4037 | 2744105.0454 | 1254117.3067
66 | 2744105.0454 | 1254117.3067 | 2744088.1289 | 1254104.9612 | 2744059.3078 | 1254103.5144 | 2744015.576 | 1254101.271 | 2743996.161 | 1254097.2952 | 2743978.2058 | 1254089.1621
67 | 2744389.6008 | 1253938.7775 | 2744419.7983 | 1253962.6458
68 | 2744009.954 | 1254161.0801 | 2744015.3642 | 1254160.9162
69 | 2744426.5291 | 1254334.2543 | 2744419.5126 | 1254331.3471

## bus_geodata
| x | y | coords
0 | 2743964.5721 | 1254459.7368
1 | 2743948.3112 | 1254448.5461
2 | 2743931.4839 | 1254442.418
3 | 2744020.018 | 1254209.0481
4 | 2744006.1881 | 1254194.732
5 | 2743828.5407 | 1254332.0791
6 | 2744109.4666 | 1254225.9654
7 | 2744056.9335 | 1254157.0186
8 | 2743959.7223 | 1254155.5944
9 | 2743988.4225 | 1254159.0992
10 | 2744387.0732 | 1254175.1665
11 | 2744364.3286 | 1254171.5365
12 | 2744405.6681 | 1254176.7614
13 | 2744311.2139 | 1254157.7381
14 | 2744427.543 | 1254178.286
15 | 2744259.5898 | 1254147.7419
16 | 2744416.0357 | 1254204.2898
17 | 2744433.8924 | 1254148.8462
18 | 2744440.2276 | 1254196.3681
19 | 2744274.2757 | 1254183.1444
20 | 2744410.5945 | 1254217.8165
21 | 2744435.939 | 1254128.6991
22 | 2744472.0812 | 1254158.2035
23 | 2744451.0764 | 1254200.1389
24 | 2744516.2562 | 1254254.2555
25 | 2744461.7266 | 1254253.7804
26 | 2744543.3806 | 1254307.2123
27 | 2744418.7175 | 1254125.7962
28 | 2744386.1003 | 1254120.2983
29 | 2744394.6977 | 1254088.7763
30 | 2744402.0166 | 1254061.9418
31 | 2744419.3131 | 1254066.2844
32 | 2744402.1386 | 1254058.9003
33 | 2744383.4185 | 1254119.566
34 | 2744396.1722 | 1254032.8208
35 | 2744351.621 | 1254110.8844
36 | 2744366.1513 | 1254025.3766
37 | 2744339.6551 | 1254107.6174
38 | 2744300.1303 | 1254096.8262
39 | 2744263.2045 | 1254087.7992
40 | 2744304.288 | 1254097.9611
41 | 2744234.4957 | 1254081.9186
42 | 2744315.9364 | 1254123.5804
43 | 2744187.9378 | 1254032.7546
44 | 2744164.1376 | 1254087.8676
45 | 2744245.6918 | 1254020.8894
46 | 2744251.7387 | 1254020.924
47 | 2744274.1917 | 1254018.8258
48 | 2744277.9898 | 1254017.9156
49 | 2744176.1255 | 1254121.0636
50 | 2744306.8589 | 1254010.997
51 | 2744177.1071 | 1254123.0419
52 | 2744345.6164 | 1254020.183
53 | 2744352.524 | 1254021.9975
54 | 2744348.6092 | 1254008.9129
55 | 2744350.4884 | 1254029.9443
56 | 2744354.8583 | 1253992.2149
57 | 2744363.2469 | 1253979.3123
58 | 2744190.7156 | 1254150.4675
59 | 2744119.2443 | 1254146.402
60 | 2744105.0454 | 1254117.3067
61 | 2743978.2058 | 1254089.1621
62 | 2744079.4428 | 1254152.3485
63 | 2744353.637 | 1254209.9924
64 | 2744398.5009 | 1254247.8814
65 | 2744419.7983 | 1253962.6458
66 | 2744389.6008 | 1253938.7775
67 | 2744015.3642 | 1254160.9162
68 | 2744009.954 | 1254161.0801
69 | 2744426.5291 | 1254334.2543
70 | 2744419.5126 | 1254331.3471
71 | 2744137.9757 | 1254146.8249

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1