## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3203-5_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3203-5_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3203-5_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_3203-5_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_3203-5_0_5_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_3203-5_0_5_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_3203-5_0_5_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_3203-5_0_5_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_3203-5_0_5_node_10 | 0.4 | n |  | TRUE
9 | bus_LV_3203-5_0_5_node_11 | 0.4 | n |  | TRUE
10 | bus_LV_3203-5_0_5_node_29 | 0.4 | n |  | TRUE
11 | bus_LV_3203-5_0_5_node_13 | 0.4 | n |  | TRUE
12 | bus_LV_3203-5_0_5_node_60 | 0.4 | n |  | TRUE
13 | bus_LV_3203-5_0_5_node_20 | 0.4 | n |  | TRUE
14 | bus_LV_3203-5_0_5_node_30 | 0.4 | n |  | TRUE
15 | bus_LV_3203-5_0_5_node_28 | 0.4 | n |  | TRUE
16 | bus_LV_3203-5_0_5_node_31 | 0.4 | n |  | TRUE
17 | bus_LV_3203-5_0_5_node_14 | 0.4 | n |  | TRUE
18 | bus_LV_3203-5_0_5_node_39 | 0.4 | n |  | TRUE
19 | bus_LV_3203-5_0_5_node_23 | 0.4 | n |  | TRUE
20 | bus_LV_3203-5_0_5_node_79 | 0.4 | n |  | TRUE
21 | bus_LV_3203-5_0_5_node_25 | 0.4 | n |  | TRUE
22 | bus_LV_3203-5_0_5_node_63 | 0.4 | n |  | TRUE
23 | bus_LV_3203-5_0_5_node_37 | 0.4 | n |  | TRUE
24 | bus_LV_3203-5_0_5_node_35 | 0.4 | n |  | TRUE
25 | bus_LV_3203-5_0_5_node_27 | 0.4 | n |  | TRUE
26 | bus_LV_3203-5_0_5_node_49 | 0.4 | n |  | TRUE
27 | bus_LV_3203-5_0_5_node_55 | 0.4 | n |  | TRUE
28 | bus_LV_3203-5_0_5_node_15 | 0.4 | n |  | TRUE
29 | bus_LV_3203-5_0_5_node_17 | 0.4 | n |  | TRUE
30 | bus_LV_3203-5_0_5_node_75 | 0.4 | n |  | TRUE
31 | bus_LV_3203-5_0_5_node_61 | 0.4 | n |  | TRUE
32 | bus_LV_3203-5_0_5_node_19 | 0.4 | n |  | TRUE
33 | bus_LV_3203-5_0_5_node_33 | 0.4 | n |  | TRUE
34 | bus_LV_3203-5_0_5_node_76 | 0.4 | n |  | TRUE
35 | bus_LV_3203-5_0_5_node_74 | 0.4 | n |  | TRUE
36 | bus_LV_3203-5_0_5_node_16 | 0.4 | n |  | TRUE
37 | bus_LV_3203-5_0_5_node_57 | 0.4 | n |  | TRUE
38 | bus_LV_3203-5_0_5_node_56 | 0.4 | n |  | TRUE
39 | bus_LV_3203-5_0_5_node_62 | 0.4 | n |  | TRUE
40 | bus_LV_3203-5_0_5_node_36 | 0.4 | n |  | TRUE
41 | bus_LV_3203-5_0_5_node_32 | 0.4 | n |  | TRUE
42 | bus_LV_3203-5_0_5_node_59 | 0.4 | n |  | TRUE
43 | bus_LV_3203-5_0_5_node_52 | 0.4 | n |  | TRUE
44 | bus_LV_3203-5_0_5_node_77 | 0.4 | n |  | TRUE
45 | bus_LV_3203-5_0_5_node_69 | 0.4 | n |  | TRUE
46 | bus_LV_3203-5_0_5_node_68 | 0.4 | n |  | TRUE
47 | bus_LV_3203-5_0_5_node_78 | 0.4 | n |  | TRUE
48 | bus_LV_3203-5_0_5_node_72 | 0.4 | n |  | TRUE
49 | bus_LV_3203-5_0_5_node_34 | 0.4 | n |  | TRUE
50 | bus_LV_3203-5_0_5_node_50 | 0.4 | n |  | TRUE
51 | bus_LV_3203-5_0_5_node_51 | 0.4 | n |  | TRUE
52 | bus_LV_3203-5_0_5_node_58 | 0.4 | n |  | TRUE
53 | bus_LV_3203-5_0_5_node_41 | 0.4 | n |  | TRUE
54 | bus_LV_3203-5_0_5_node_54 | 0.4 | n |  | TRUE
55 | bus_LV_3203-5_0_5_node_64 | 0.4 | n |  | TRUE
56 | bus_LV_3203-5_0_5_node_38 | 0.4 | n |  | TRUE
57 | bus_LV_3203-5_0_5_node_40 | 0.4 | n |  | TRUE
58 | bus_LV_3203-5_0_5_node_43 | 0.4 | n |  | TRUE
59 | bus_LV_3203-5_0_5_node_44 | 0.4 | n |  | TRUE
60 | bus_LV_3203-5_0_5_node_42 | 0.4 | n |  | TRUE
61 | bus_LV_3203-5_0_5_node_45 | 0.4 | n |  | TRUE
62 | bus_LV_3203-5_0_5_node_67 | 0.4 | n |  | TRUE
63 | bus_LV_3203-5_0_5_node_46 | 0.4 | n |  | TRUE
64 | bus_LV_3203-5_0_5_node_66 | 0.4 | n |  | TRUE
65 | bus_LV_3203-5_0_5_node_47 | 0.4 | n |  | TRUE
66 | bus_LV_3203-5_0_5_node_48 | 0.4 | n |  | TRUE
67 | bus_LV_3203-5_0_5_node_53 | 0.4 | n |  | TRUE
68 | bus_LV_3203-5_0_5_node_65 | 0.4 | n |  | TRUE
69 | bus_LV_3203-5_0_5_node_70 | 0.4 | n |  | TRUE
70 | bus_LV_3203-5_0_5_node_71 | 0.4 | n |  | TRUE
71 | bus_LV_3203-5_0_5_node_73 | 0.4 | n |  | TRUE
72 | bus_MV_43_0_node_146 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3203-5_0_5_load_0 | 0 | 0.018845 | 0.0047231 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3203-5_0_5_load_1 | 1 | 0.019359 | 0.0048518 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3203-5_0_5_load_3 | 3 | 0.0138 | 0.0034587 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3203-5_0_5_load_4 | 4 | 0.010082 | 0.0025268 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3203-5_0_5_load_6 | 6 | 0.0056609 | 0.0014188 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3203-5_0_5_load_7 | 7 | 0.0059648 | 0.0014949 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3203-5_0_5_load_10 | 8 | 0.010696 | 0.0026808 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3203-5_0_5_load_29 | 10 | 0.0044401 | 0.0011128 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3203-5_0_5_load_13 | 11 | 0.0072294 | 0.0018118 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3203-5_0_5_load_30 | 14 | 0.013798 | 0.0034582 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3203-5_0_5_load_28 | 15 | 0.022274 | 0.0055824 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3203-5_0_5_load_31 | 16 | 0.010014 | 0.0025097 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3203-5_0_5_load_39 | 18 | 0.012784 | 0.0032041 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3203-5_0_5_load_79 | 20 | 0.07257 | 0.018188 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3203-5_0_5_load_63 | 22 | 0.0096993 | 0.0024309 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3203-5_0_5_load_37 | 23 | 0.0062899 | 0.0015764 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3203-5_0_5_load_35 | 24 | 0.0083494 | 0.0020926 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3203-5_0_5_load_55 | 27 | 0.0086437 | 0.0021663 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3203-5_0_5_load_75 | 30 | 0.013545 | 0.0033946 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3203-5_0_5_load_33 | 33 | 0.009696 | 0.0024301 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3203-5_0_5_load_76 | 34 | 0.0095392 | 0.0023907 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3203-5_0_5_load_56 | 38 | 0.013556 | 0.0033974 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3203-5_0_5_load_62 | 39 | 0.0095249 | 0.0023872 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3203-5_0_5_load_59 | 42 | 0.011313 | 0.0028353 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3203-5_0_5_load_77 | 44 | 0.0090029 | 0.0022563 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3203-5_0_5_load_69 | 45 | 0.0088275 | 0.0022124 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3203-5_0_5_load_68 | 46 | 0.01566 | 0.0039249 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3203-5_0_5_load_78 | 47 | 0.0093419 | 0.0023413 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3203-5_0_5_load_34 | 49 | 0.012218 | 0.0030621 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3203-5_0_5_load_50 | 50 | 0.0070612 | 0.0017697 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3203-5_0_5_load_58 | 52 | 0.02497 | 0.0062581 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3203-5_0_5_load_41 | 53 | 0.0085415 | 0.0021407 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3203-5_0_5_load_54 | 54 | 0.014169 | 0.003551 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3203-5_0_5_load_64 | 55 | 0.005913 | 0.0014819 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3203-5_0_5_load_38 | 56 | 0.011569 | 0.0028994 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3203-5_0_5_load_40 | 57 | 0.0048702 | 0.0012206 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3203-5_0_5_load_43 | 58 | 0.012068 | 0.0030246 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3203-5_0_5_load_44 | 59 | 0.0076201 | 0.0019098 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3203-5_0_5_load_42 | 60 | 0.011962 | 0.002998 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3203-5_0_5_load_45 | 61 | 0.0047726 | 0.0011961 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3203-5_0_5_load_67 | 62 | 0.008162 | 0.0020456 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3203-5_0_5_load_46 | 63 | 0.012445 | 0.003119 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3203-5_0_5_load_66 | 64 | 0.0081816 | 0.0020505 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3203-5_0_5_load_47 | 65 | 0.016584 | 0.0041563 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3203-5_0_5_load_48 | 66 | 0.011379 | 0.0028519 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3203-5_0_5_load_53 | 67 | 0.011336 | 0.002841 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3203-5_0_5_load_65 | 68 | 0.0076031 | 0.0019055 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3203-5_0_5_load_71 | 70 | 0.0076206 | 0.0019099 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3203-5_0_5_load_73 | 71 | 0.0066595 | 0.001669 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 17 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3203-5_0_5_line_0 |  | 0 | 1 | 0.016914 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_3203-5_0_5_line_1 |  | 0 | 2 | 0.037712 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_3203-5_0_5_line_2 |  | 1 | 3 | 0.02568 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_3203-5_0_5_line_3 |  | 2 | 4 | 0.0098637 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_3203-5_0_5_line_4 |  | 2 | 5 | 0.011357 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_3203-5_0_5_line_5 |  | 2 | 6 | 0.042808 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_3203-5_0_5_line_6 |  | 3 | 7 | 0.0054353 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_3203-5_0_5_line_7 |  | 5 | 8 | 0.029644 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_3203-5_0_5_line_8 |  | 6 | 9 | 0.0017699 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_3203-5_0_5_line_9 |  | 7 | 10 | 0.017105 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_3203-5_0_5_line_10 |  | 8 | 11 | 0.032427 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_3203-5_0_5_line_11 |  | 9 | 12 | 0.004719 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_3203-5_0_5_line_12 |  | 9 | 13 | 0.017073 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
13 | LV_3203-5_0_5_line_13 |  | 10 | 14 | 0.015125 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_3203-5_0_5_line_14 |  | 12 | 31 | 0.038273 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_3203-5_0_5_line_15 |  | 12 | 39 | 0.001333 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_3203-5_0_5_line_16 |  | 13 | 22 | 0.022118 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
17 | LV_3203-5_0_5_line_17 |  | 14 | 55 | 0.0019381 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_3203-5_0_5_line_18 |  | 15 | 16 | 0.003381 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_3203-5_0_5_line_19 |  | 16 | 41 | 0.01511 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_3203-5_0_5_line_20 |  | 17 | 18 | 0.0090522 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
21 | LV_3203-5_0_5_line_21 |  | 18 | 40 | 0.012115 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
22 | LV_3203-5_0_5_line_22 |  | 19 | 20 | 0.040334 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_3203-5_0_5_line_23 |  | 19 | 21 | 0.033924 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_3203-5_0_5_line_24 |  | 21 | 23 | 0.026159 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_3203-5_0_5_line_25 |  | 21 | 24 | 0.020168 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_3203-5_0_5_line_26 |  | 22 | 49 | 0.011172 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
27 | LV_3203-5_0_5_line_27 |  | 24 | 40 | 0.014643 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_3203-5_0_5_line_28 |  | 25 | 26 | 0.010644 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_3203-5_0_5_line_29 |  | 25 | 27 | 0.015328 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
30 | LV_3203-5_0_5_line_30 |  | 25 | 28 | 0.042985 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
31 | LV_3203-5_0_5_line_31 |  | 26 | 53 | 0.0071345 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_3203-5_0_5_line_32 |  | 27 | 54 | 0.00021636 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
33 | LV_3203-5_0_5_line_33 |  | 28 | 33 | 0.0066385 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
34 | LV_3203-5_0_5_line_34 |  | 29 | 30 | 0.001842 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_3203-5_0_5_line_35 |  | 29 | 31 | 0.023282 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_3203-5_0_5_line_36 |  | 29 | 32 | 0.032718 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_3203-5_0_5_line_37 |  | 31 | 44 | 0.004429 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_3203-5_0_5_line_38 |  | 32 | 34 | 0.0047 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_3203-5_0_5_line_39 |  | 32 | 35 | 0.016258 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_3203-5_0_5_line_40 |  | 33 | 41 | 0.020658 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
41 | LV_3203-5_0_5_line_41 |  | 35 | 47 | 0.004656 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_3203-5_0_5_line_42 |  | 35 | 48 | 0.018086 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_3203-5_0_5_line_43 |  | 36 | 37 | 0.02367 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_3203-5_0_5_line_44 |  | 36 | 38 | 0.020459 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_3203-5_0_5_line_45 |  | 37 | 42 | 0.017669 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_3203-5_0_5_line_46 |  | 37 | 43 | 0.019801 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_3203-5_0_5_line_47 |  | 40 | 56 | 0.019807 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
48 | LV_3203-5_0_5_line_48 |  | 40 | 57 | 0.013017 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_3203-5_0_5_line_49 |  | 41 | 49 | 0.030484 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
50 | LV_3203-5_0_5_line_50 |  | 42 | 68 | 0.013623 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_3203-5_0_5_line_51 |  | 43 | 51 | 0.084287 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_3203-5_0_5_line_52 |  | 43 | 52 | 0.026258 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_3203-5_0_5_line_53 |  | 43 | 60 | 0.028331 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_3203-5_0_5_line_54 |  | 45 | 46 | 0.0030706 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_3203-5_0_5_line_55 |  | 46 | 69 | 0.016167 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_3203-5_0_5_line_56 |  | 48 | 71 | 0.00457 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_3203-5_0_5_line_57 |  | 48 | 69 | 0.017579 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_3203-5_0_5_line_58 |  | 50 | 51 | 0.013538 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_3203-5_0_5_line_59 |  | 54 | 67 | 0.011035 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
60 | LV_3203-5_0_5_line_60 |  | 56 | 58 | 0.0060903 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
61 | LV_3203-5_0_5_line_61 |  | 57 | 59 | 0.011556 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_3203-5_0_5_line_62 |  | 58 | 61 | 0.0049493 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
63 | LV_3203-5_0_5_line_63 |  | 59 | 62 | 0.011595 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_3203-5_0_5_line_64 |  | 61 | 63 | 0.0099788 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
65 | LV_3203-5_0_5_line_65 |  | 62 | 64 | 0.012008 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_3203-5_0_5_line_66 |  | 63 | 65 | 0.0017961 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
67 | LV_3203-5_0_5_line_67 |  | 64 | 68 | 0.011598 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_3203-5_0_5_line_68 |  | 65 | 66 | 0.0084704 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
69 | LV_3203-5_0_5_line_69 |  | 66 | 67 | 0.010278 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
70 | LV_3203-5_0_5_line_70 |  | 69 | 70 | 0.00458 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3203-5_0_5_trafo_14 | 0.63 MVA 20/0.4 kV | 72 | 17 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2745325.5385 | 1254266.4294 | 2745316.7201 | 1254260.5012 | 2745313.6808 | 1254254.996
1 | 2745361.3943 | 1254268.8832 | 2745355.9052 | 1254267.7251 | 2745350.9051 | 1254269.0926 | 2745341.4415 | 1254271.7963 | 2745330.1823 | 1254269.5512 | 2745325.5385 | 1254266.4294
2 | 2745292.2793 | 1254241.9347 | 2745307.3302 | 1254248.2146 | 2745312.6805 | 1254253.184 | 2745313.6808 | 1254254.996
3 | 2745361.3943 | 1254268.8832 | 2745353.8033 | 1254275.1815
4 | 2745372.505 | 1254271.336 | 2745366.1099 | 1254270.189 | 2745361.3943 | 1254268.8832
5 | 2745361.3943 | 1254268.8832 | 2745375.6087 | 1254255.6082 | 2745382.3635 | 1254247.0325 | 2745390.1288 | 1254237.3113
6 | 2745287.2631 | 1254239.8417 | 2745292.2793 | 1254241.9347
7 | 2745372.505 | 1254271.336 | 2745374.0548 | 1254276.7681 | 2745393.8496 | 1254290.3299
8 | 2745391.2334 | 1254235.9284 | 2745390.1288 | 1254237.3113
9 | 2745287.2631 | 1254239.8417 | 2745271.4774 | 1254233.2552
10 | 2745393.8496 | 1254290.3299 | 2745420.6003 | 1254308.6574
11 | 2745387.4615 | 1254233.0776 | 2745391.2334 | 1254235.9284
12 | 2745401.9022 | 1254222.5776 | 2745391.2334 | 1254235.9284
13 | 2745271.4774 | 1254233.2552 | 2745257.5183 | 1254227.4309
14 | 2745387.4615 | 1254233.0776 | 2745392.7787 | 1254226.4907 | 2745393.4786 | 1254224.7284 | 2745393.1771 | 1254221.6403 | 2745392.3713 | 1254220.0301 | 2745385.7519 | 1254215.1073 | 2745380.6795 | 1254215.7279 | 2745372.842 | 1254209.9967
15 | 2745387.4615 | 1254233.0776 | 2745386.371 | 1254232.3056
16 | 2745401.9022 | 1254222.5776 | 2745409.0807 | 1254229.0155 | 2745418.4673 | 1254237.2327
17 | 2745255.7296 | 1254226.6846 | 2745257.5183 | 1254227.4309
18 | 2745445.1532 | 1254274.4971 | 2745443.5201 | 1254277.4576
19 | 2745452.4513 | 1254261.2668 | 2745445.1532 | 1254274.4971
20 | 2745407.7568 | 1254205.4827 | 2745412.0469 | 1254200.7613 | 2745413.6975 | 1254198.659
21 | 2745421.1791 | 1254189.1299 | 2745413.6975 | 1254198.659
22 | 2745461.6876 | 1254133.6271 | 2745459.1616 | 1254131.9857 | 2745451.4701 | 1254113.557 | 2745440.6792 | 1254099.9234
23 | 2745441.1649 | 1254160.6267 | 2745444.2413 | 1254156.7652 | 2745452.7075 | 1254146.1296 | 2745457.4983 | 1254139.4631 | 2745461.6876 | 1254133.6271
24 | 2745441.1649 | 1254160.6267 | 2745419.5359 | 1254145.9133
25 | 2745441.1649 | 1254160.6267 | 2745429.586 | 1254177.1401
26 | 2745418.4673 | 1254237.2327 | 2745419.2111 | 1254237.8838 | 2745427.264 | 1254244.1165
27 | 2745421.1791 | 1254189.1299 | 2745429.586 | 1254177.1401
28 | 2745493.2846 | 1254238.9038 | 2745496.0508 | 1254233.8447 | 2745498.3903 | 1254229.5647
29 | 2745493.2846 | 1254238.9038 | 2745480.9478 | 1254229.8066
30 | 2745475.6708 | 1254275.6174 | 2745479.6684 | 1254268.9759 | 2745477.6843 | 1254268.0151 | 2745482.3088 | 1254259.2092 | 2745493.2846 | 1254238.9038
31 | 2745498.3903 | 1254229.5647 | 2745501.9521 | 1254223.3829
32 | 2745480.7737 | 1254229.6782 | 2745480.9478 | 1254229.8066
33 | 2745475.6708 | 1254275.6174 | 2745470.0238 | 1254272.1273
34 | 2745354.0159 | 1254196.2215 | 2745352.8783 | 1254197.6727
35 | 2745354.0159 | 1254196.2215 | 2745372.842 | 1254209.9967
36 | 2745327.1599 | 1254179.0127 | 2745333.5067 | 1254181.8267 | 2745335.5134 | 1254185.5573 | 2745338.6155 | 1254187.7132 | 2745344.2407 | 1254191.6328 | 2745350.961 | 1254193.9888 | 2745354.0159 | 1254196.2215
37 | 2745372.842 | 1254209.9967 | 2745370.2329 | 1254213.5805
38 | 2745327.1599 | 1254179.0127 | 2745325.2355 | 1254183.303
39 | 2745312.264 | 1254172.3965 | 2745327.1599 | 1254179.0127
40 | 2745452.4513 | 1254261.2668 | 2745470.0238 | 1254272.1273
41 | 2745312.264 | 1254172.3965 | 2745310.3482 | 1254176.6425
42 | 2745312.264 | 1254172.3965 | 2745295.6877 | 1254165.0495
43 | 2745355.4918 | 1254126.302 | 2745343.2861 | 1254146.5997
44 | 2745343.2861 | 1254146.5997 | 2745326.7221 | 1254134.591
45 | 2745355.4918 | 1254126.302 | 2745363.7017 | 1254132.2425 | 2745368.9398 | 1254137.6595
46 | 2745355.4918 | 1254126.302 | 2745366.1599 | 1254109.6034
47 | 2745421.1791 | 1254189.1299 | 2745437.3685 | 1254200.5418
48 | 2745421.1791 | 1254189.1299 | 2745411.2979 | 1254180.6559
49 | 2745452.4513 | 1254261.2668 | 2745431.4698 | 1254247.3716 | 2745427.264 | 1254244.1165
50 | 2745368.9398 | 1254137.6595 | 2745378.4094 | 1254147.4525
51 | 2745366.1599 | 1254109.6034 | 2745377.4524 | 1254091.7635 | 2745413.472 | 1254039.8647
52 | 2745366.1599 | 1254109.6034 | 2745344.8266 | 1254094.2946
53 | 2745366.1599 | 1254109.6034 | 2745389.5844 | 1254125.5383
54 | 2745264.8455 | 1254151.2465 | 2745264.8455 | 1254151.2465 | 2745266.1069 | 1254148.447
55 | 2745279.5981 | 1254157.8591 | 2745269.8699 | 1254153.5053 | 2745264.8455 | 1254151.2465
56 | 2745295.6877 | 1254165.0495 | 2745293.8116 | 1254169.2186
57 | 2745295.6877 | 1254165.0495 | 2745279.5981 | 1254157.8591
58 | 2745413.472 | 1254039.8647 | 2745420.9088 | 1254028.5525
59 | 2745480.7737 | 1254229.6782 | 2745471.8925 | 1254223.1292
60 | 2745442.6324 | 1254203.4729 | 2745440.633 | 1254202.8429 | 2745437.3685 | 1254200.5418
61 | 2745402.8791 | 1254172.758 | 2745406.7198 | 1254176.7298 | 2745411.2979 | 1254180.6559
62 | 2745442.6324 | 1254203.4729 | 2745447.1793 | 1254204.9056 | 2745447.3258 | 1254205.0136
63 | 2745394.8193 | 1254164.4228 | 2745402.8791 | 1254172.758
64 | 2745455.3571 | 1254210.936 | 2745447.3258 | 1254205.0136
65 | 2745386.4718 | 1254155.7902 | 2745394.8193 | 1254164.4228
66 | 2745456.8027 | 1254212.0019 | 2745455.3571 | 1254210.936
67 | 2745378.4094 | 1254147.4525 | 2745386.4718 | 1254155.7902
68 | 2745456.8027 | 1254212.0019 | 2745463.6201 | 1254217.0291
69 | 2745471.8925 | 1254223.1292 | 2745463.6201 | 1254217.0291
70 | 2745279.5981 | 1254157.8591 | 2745277.7217 | 1254162.0393

## bus_geodata
| x | y | coords
0 | 2745325.5385 | 1254266.4294
1 | 2745313.6808 | 1254254.996
2 | 2745361.3943 | 1254268.8832
3 | 2745292.2793 | 1254241.9347
4 | 2745353.8033 | 1254275.1815
5 | 2745372.505 | 1254271.336
6 | 2745390.1288 | 1254237.3113
7 | 2745287.2631 | 1254239.8417
8 | 2745393.8496 | 1254290.3299
9 | 2745391.2334 | 1254235.9284
10 | 2745271.4774 | 1254233.2552
11 | 2745420.6003 | 1254308.6574
12 | 2745387.4615 | 1254233.0776
13 | 2745401.9022 | 1254222.5776
14 | 2745257.5183 | 1254227.4309
15 | 2745443.5201 | 1254277.4576
16 | 2745445.1532 | 1254274.4971
17 | 2745407.7568 | 1254205.4827
18 | 2745413.6975 | 1254198.659
19 | 2745461.6876 | 1254133.6271
20 | 2745440.6792 | 1254099.9234
21 | 2745441.1649 | 1254160.6267
22 | 2745418.4673 | 1254237.2327
23 | 2745419.5359 | 1254145.9133
24 | 2745429.586 | 1254177.1401
25 | 2745493.2846 | 1254238.9038
26 | 2745498.3903 | 1254229.5647
27 | 2745480.9478 | 1254229.8066
28 | 2745475.6708 | 1254275.6174
29 | 2745354.0159 | 1254196.2215
30 | 2745352.8783 | 1254197.6727
31 | 2745372.842 | 1254209.9967
32 | 2745327.1599 | 1254179.0127
33 | 2745470.0238 | 1254272.1273
34 | 2745325.2355 | 1254183.303
35 | 2745312.264 | 1254172.3965
36 | 2745343.2861 | 1254146.5997
37 | 2745355.4918 | 1254126.302
38 | 2745326.7221 | 1254134.591
39 | 2745386.371 | 1254232.3056
40 | 2745421.1791 | 1254189.1299
41 | 2745452.4513 | 1254261.2668
42 | 2745368.9398 | 1254137.6595
43 | 2745366.1599 | 1254109.6034
44 | 2745370.2329 | 1254213.5805
45 | 2745266.1069 | 1254148.447
46 | 2745264.8455 | 1254151.2465
47 | 2745310.3482 | 1254176.6425
48 | 2745295.6877 | 1254165.0495
49 | 2745427.264 | 1254244.1165
50 | 2745420.9088 | 1254028.5525
51 | 2745413.472 | 1254039.8647
52 | 2745344.8266 | 1254094.2946
53 | 2745501.9521 | 1254223.3829
54 | 2745480.7737 | 1254229.6782
55 | 2745255.7296 | 1254226.6846
56 | 2745437.3685 | 1254200.5418
57 | 2745411.2979 | 1254180.6559
58 | 2745442.6324 | 1254203.4729
59 | 2745402.8791 | 1254172.758
60 | 2745389.5844 | 1254125.5383
61 | 2745447.3258 | 1254205.0136
62 | 2745394.8193 | 1254164.4228
63 | 2745455.3571 | 1254210.936
64 | 2745386.4718 | 1254155.7902
65 | 2745456.8027 | 1254212.0019
66 | 2745463.6201 | 1254217.0291
67 | 2745471.8926 | 1254223.1292
68 | 2745378.4094 | 1254147.4525
69 | 2745279.5981 | 1254157.8591
70 | 2745277.7217 | 1254162.0393
71 | 2745293.8116 | 1254169.2186
72 | 2745412.1462 | 1254209.3164

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1