## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3203-82_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3203-82_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3203-82_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_3203-82_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_3203-82_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_3203-82_0_4_node_87 | 0.4 | n |  | TRUE
6 | bus_LV_3203-82_0_4_node_7 | 0.4 | n |  | TRUE
7 | bus_LV_3203-82_0_4_node_89 | 0.4 | n |  | TRUE
8 | bus_LV_3203-82_0_4_node_51 | 0.4 | n |  | TRUE
9 | bus_LV_3203-82_0_4_node_88 | 0.4 | n |  | TRUE
10 | bus_LV_3203-82_0_4_node_19 | 0.4 | n |  | TRUE
11 | bus_LV_3203-82_0_4_node_9 | 0.4 | n |  | TRUE
12 | bus_LV_3203-82_0_4_node_5 | 0.4 | n |  | TRUE
13 | bus_LV_3203-82_0_4_node_6 | 0.4 | n |  | TRUE
14 | bus_LV_3203-82_0_4_node_8 | 0.4 | n |  | TRUE
15 | bus_LV_3203-82_0_4_node_58 | 0.4 | n |  | TRUE
16 | bus_LV_3203-82_0_4_node_56 | 0.4 | n |  | TRUE
17 | bus_LV_3203-82_0_4_node_59 | 0.4 | n |  | TRUE
18 | bus_LV_3203-82_0_4_node_55 | 0.4 | n |  | TRUE
19 | bus_LV_3203-82_0_4_node_10 | 0.4 | n |  | TRUE
20 | bus_LV_3203-82_0_4_node_11 | 0.4 | n |  | TRUE
21 | bus_LV_3203-82_0_4_node_12 | 0.4 | n |  | TRUE
22 | bus_LV_3203-82_0_4_node_13 | 0.4 | n |  | TRUE
23 | bus_LV_3203-82_0_4_node_14 | 0.4 | n |  | TRUE
24 | bus_LV_3203-82_0_4_node_48 | 0.4 | n |  | TRUE
25 | bus_LV_3203-82_0_4_node_22 | 0.4 | n |  | TRUE
26 | bus_LV_3203-82_0_4_node_53 | 0.4 | n |  | TRUE
27 | bus_LV_3203-82_0_4_node_15 | 0.4 | n |  | TRUE
28 | bus_LV_3203-82_0_4_node_16 | 0.4 | n |  | TRUE
29 | bus_LV_3203-82_0_4_node_17 | 0.4 | n |  | TRUE
30 | bus_LV_3203-82_0_4_node_18 | 0.4 | n |  | TRUE
31 | bus_LV_3203-82_0_4_node_23 | 0.4 | n |  | TRUE
32 | bus_LV_3203-82_0_4_node_50 | 0.4 | n |  | TRUE
33 | bus_LV_3203-82_0_4_node_21 | 0.4 | n |  | TRUE
34 | bus_LV_3203-82_0_4_node_49 | 0.4 | n |  | TRUE
35 | bus_LV_3203-82_0_4_node_20 | 0.4 | n |  | TRUE
36 | bus_LV_3203-82_0_4_node_24 | 0.4 | n |  | TRUE
37 | bus_LV_3203-82_0_4_node_25 | 0.4 | n |  | TRUE
38 | bus_LV_3203-82_0_4_node_26 | 0.4 | n |  | TRUE
39 | bus_LV_3203-82_0_4_node_27 | 0.4 | n |  | TRUE
40 | bus_LV_3203-82_0_4_node_28 | 0.4 | n |  | TRUE
41 | bus_LV_3203-82_0_4_node_31 | 0.4 | n |  | TRUE
42 | bus_LV_3203-82_0_4_node_29 | 0.4 | n |  | TRUE
43 | bus_LV_3203-82_0_4_node_32 | 0.4 | n |  | TRUE
44 | bus_LV_3203-82_0_4_node_30 | 0.4 | n |  | TRUE
45 | bus_LV_3203-82_0_4_node_33 | 0.4 | n |  | TRUE
46 | bus_LV_3203-82_0_4_node_34 | 0.4 | n |  | TRUE
47 | bus_LV_3203-82_0_4_node_38 | 0.4 | n |  | TRUE
48 | bus_LV_3203-82_0_4_node_36 | 0.4 | n |  | TRUE
49 | bus_LV_3203-82_0_4_node_35 | 0.4 | n |  | TRUE
50 | bus_LV_3203-82_0_4_node_37 | 0.4 | n |  | TRUE
51 | bus_LV_3203-82_0_4_node_39 | 0.4 | n |  | TRUE
52 | bus_LV_3203-82_0_4_node_41 | 0.4 | n |  | TRUE
53 | bus_LV_3203-82_0_4_node_40 | 0.4 | n |  | TRUE
54 | bus_LV_3203-82_0_4_node_42 | 0.4 | n |  | TRUE
55 | bus_LV_3203-82_0_4_node_43 | 0.4 | n |  | TRUE
56 | bus_LV_3203-82_0_4_node_45 | 0.4 | n |  | TRUE
57 | bus_LV_3203-82_0_4_node_44 | 0.4 | n |  | TRUE
58 | bus_LV_3203-82_0_4_node_46 | 0.4 | n |  | TRUE
59 | bus_LV_3203-82_0_4_node_47 | 0.4 | n |  | TRUE
60 | bus_LV_3203-82_0_4_node_52 | 0.4 | n |  | TRUE
61 | bus_LV_3203-82_0_4_node_54 | 0.4 | n |  | TRUE
62 | bus_LV_3203-82_0_4_node_57 | 0.4 | n |  | TRUE
63 | bus_LV_3203-82_0_4_node_62 | 0.4 | n |  | TRUE
64 | bus_LV_3203-82_0_4_node_60 | 0.4 | n |  | TRUE
65 | bus_LV_3203-82_0_4_node_64 | 0.4 | n |  | TRUE
66 | bus_LV_3203-82_0_4_node_61 | 0.4 | n |  | TRUE
67 | bus_LV_3203-82_0_4_node_74 | 0.4 | n |  | TRUE
68 | bus_LV_3203-82_0_4_node_76 | 0.4 | n |  | TRUE
69 | bus_LV_3203-82_0_4_node_68 | 0.4 | n |  | TRUE
70 | bus_LV_3203-82_0_4_node_79 | 0.4 | n |  | TRUE
71 | bus_LV_3203-82_0_4_node_67 | 0.4 | n |  | TRUE
72 | bus_LV_3203-82_0_4_node_63 | 0.4 | n |  | TRUE
73 | bus_LV_3203-82_0_4_node_65 | 0.4 | n |  | TRUE
74 | bus_LV_3203-82_0_4_node_66 | 0.4 | n |  | TRUE
75 | bus_LV_3203-82_0_4_node_77 | 0.4 | n |  | TRUE
76 | bus_LV_3203-82_0_4_node_73 | 0.4 | n |  | TRUE
77 | bus_LV_3203-82_0_4_node_69 | 0.4 | n |  | TRUE
78 | bus_LV_3203-82_0_4_node_75 | 0.4 | n |  | TRUE
79 | bus_LV_3203-82_0_4_node_72 | 0.4 | n |  | TRUE
80 | bus_LV_3203-82_0_4_node_78 | 0.4 | n |  | TRUE
81 | bus_LV_3203-82_0_4_node_80 | 0.4 | n |  | TRUE
82 | bus_LV_3203-82_0_4_node_86 | 0.4 | n |  | TRUE
83 | bus_LV_3203-82_0_4_node_83 | 0.4 | n |  | TRUE
84 | bus_LV_3203-82_0_4_node_82 | 0.4 | n |  | TRUE
85 | bus_LV_3203-82_0_4_node_85 | 0.4 | n |  | TRUE
86 | bus_LV_3203-82_0_4_node_84 | 0.4 | n |  | TRUE
87 | bus_LV_3203-82_0_4_node_81 | 0.4 | n |  | TRUE
88 | bus_MV_581_0_node_68 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3203-82_0_4_load_0 | 0 | 0.013322 | 0.0033388 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3203-82_0_4_load_1 | 1 | 0.01188 | 0.0029775 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3203-82_0_4_load_4 | 4 | 0.0076017 | 0.0019052 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3203-82_0_4_load_89 | 7 | 0.0060773 | 0.0015231 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3203-82_0_4_load_88 | 9 | 0.0080568 | 0.0020192 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3203-82_0_4_load_5 | 12 | 0.0042421 | 0.0010632 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3203-82_0_4_load_6 | 13 | 0.0012038 | 0.0003017 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3203-82_0_4_load_8 | 14 | 0.0014573 | 0.00036524 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3203-82_0_4_load_58 | 15 | 0.0054487 | 0.0013656 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3203-82_0_4_load_56 | 16 | 0.021315 | 0.0053421 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3203-82_0_4_load_10 | 19 | 0.0038522 | 0.00096546 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3203-82_0_4_load_11 | 20 | 0.0011633 | 0.00029156 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3203-82_0_4_load_12 | 21 | 0.0015232 | 0.00038175 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3203-82_0_4_load_48 | 24 | 0.0031674 | 0.00079383 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3203-82_0_4_load_22 | 25 | 0.0043728 | 0.0010959 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3203-82_0_4_load_53 | 26 | 0.0039935 | 0.0010009 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3203-82_0_4_load_15 | 27 | 0.0021022 | 0.00052686 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3203-82_0_4_load_16 | 28 | 0.0016429 | 0.00041175 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3203-82_0_4_load_18 | 30 | 0.0028953 | 0.00072563 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3203-82_0_4_load_23 | 31 | 0.0027815 | 0.00069711 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3203-82_0_4_load_50 | 32 | 0.0017549 | 0.00043981 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3203-82_0_4_load_21 | 33 | 0.002931 | 0.00073458 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3203-82_0_4_load_49 | 34 | 0.0046743 | 0.0011715 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3203-82_0_4_load_20 | 35 | 0.0022994 | 0.00057629 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3203-82_0_4_load_24 | 36 | 0.0018873 | 0.00047299 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3203-82_0_4_load_25 | 37 | 0.0024432 | 0.00061232 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3203-82_0_4_load_26 | 38 | 0.0035829 | 0.00089796 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3203-82_0_4_load_27 | 39 | 0.0023023 | 0.000577 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3203-82_0_4_load_28 | 40 | 0.0038678 | 0.00096937 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3203-82_0_4_load_31 | 41 | 0.0048383 | 0.0012126 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3203-82_0_4_load_29 | 42 | 0.0041157 | 0.0010315 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3203-82_0_4_load_32 | 43 | 0.0027495 | 0.0006891 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3203-82_0_4_load_30 | 44 | 0.0026903 | 0.00067426 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3203-82_0_4_load_33 | 45 | 0.0010485 | 0.00026277 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3203-82_0_4_load_34 | 46 | 0.0030055 | 0.00075326 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3203-82_0_4_load_38 | 47 | 0.0054443 | 0.0013645 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3203-82_0_4_load_36 | 48 | 0.0062018 | 0.0015543 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3203-82_0_4_load_35 | 49 | 0.012203 | 0.0030584 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3203-82_0_4_load_37 | 50 | 0.0014649 | 0.00036714 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3203-82_0_4_load_39 | 51 | 0.0014313 | 0.00035872 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3203-82_0_4_load_41 | 52 | 0.001582 | 0.00039648 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3203-82_0_4_load_40 | 53 | 0.0051586 | 0.0012929 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3203-82_0_4_load_42 | 54 | 0.0015555 | 0.00038985 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3203-82_0_4_load_43 | 55 | 0.0017119 | 0.00042903 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3203-82_0_4_load_45 | 56 | 0.0014367 | 0.00036006 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3203-82_0_4_load_44 | 57 | 0.0029762 | 0.00074591 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3203-82_0_4_load_46 | 58 | 0.003762 | 0.00094285 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3203-82_0_4_load_47 | 59 | 0.0039524 | 0.00099056 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3203-82_0_4_load_52 | 60 | 0.0025815 | 0.00064697 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3203-82_0_4_load_54 | 61 | 0.043234 | 0.010836 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3203-82_0_4_load_60 | 64 | 0.022285 | 0.0055853 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3203-82_0_4_load_64 | 65 | 0.013184 | 0.0033043 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3203-82_0_4_load_61 | 66 | 0.0060701 | 0.0015213 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_3203-82_0_4_load_76 | 68 | 0.0077604 | 0.0019449 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_3203-82_0_4_load_79 | 70 | 0.010043 | 0.0025171 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_3203-82_0_4_load_63 | 72 | 0.0027908 | 0.00069944 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_3203-82_0_4_load_66 | 74 | 0.0025214 | 0.00063191 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_3203-82_0_4_load_77 | 75 | 0.0017704 | 0.0004437 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_3203-82_0_4_load_73 | 76 | 0.0037061 | 0.00092885 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_3203-82_0_4_load_75 | 78 | 0.0043829 | 0.0010984 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_3203-82_0_4_load_72 | 79 | 0.012397 | 0.003107 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_3203-82_0_4_load_78 | 80 | 0.0038709 | 0.00097015 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_3203-82_0_4_load_80 | 81 | 0.0041713 | 0.0010454 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_3203-82_0_4_load_86 | 82 | 0.0055357 | 0.0013874 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_3203-82_0_4_load_83 | 83 | 0.014886 | 0.0037307 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_3203-82_0_4_load_82 | 84 | 0.014417 | 0.0036133 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_3203-82_0_4_load_85 | 85 | 0.0034054 | 0.00085346 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_3203-82_0_4_load_84 | 86 | 0.0038043 | 0.00095346 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_3203-82_0_4_load_81 | 87 | 0.027995 | 0.0070162 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 12 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3203-82_0_4_line_0 |  | 0 | 1 | 0.0035998 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
1 | LV_3203-82_0_4_line_1 |  | 0 | 2 | 0.017206 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
2 | LV_3203-82_0_4_line_2 |  | 1 | 3 | 0.011991 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
3 | LV_3203-82_0_4_line_3 |  | 2 | 4 | 0.0073789 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
4 | LV_3203-82_0_4_line_4 |  | 3 | 5 | 0.043432 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
5 | LV_3203-82_0_4_line_5 |  | 4 | 6 | 0.026819 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
6 | LV_3203-82_0_4_line_6 |  | 5 | 7 | 0.010618 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
7 | LV_3203-82_0_4_line_7 |  | 6 | 11 | 0.072497 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
8 | LV_3203-82_0_4_line_8 |  | 6 | 12 | 0.038395 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
9 | LV_3203-82_0_4_line_9 |  | 7 | 9 | 0.028662 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
10 | LV_3203-82_0_4_line_10 |  | 8 | 9 | 0.043402 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
11 | LV_3203-82_0_4_line_11 |  | 8 | 10 | 0.11143 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
12 | LV_3203-82_0_4_line_12 |  | 10 | 32 | 0.042655 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
13 | LV_3203-82_0_4_line_13 |  | 10 | 29 | 0.056761 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_3203-82_0_4_line_14 |  | 11 | 15 | 0.010152 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_3203-82_0_4_line_15 |  | 11 | 16 | 0.024216 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
16 | LV_3203-82_0_4_line_16 |  | 12 | 13 | 0.07134 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_3203-82_0_4_line_17 |  | 13 | 14 | 0.02227 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_3203-82_0_4_line_18 |  | 15 | 17 | 0.028987 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_3203-82_0_4_line_19 |  | 16 | 18 | 0.015352 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
20 | LV_3203-82_0_4_line_20 |  | 17 | 66 | 0.0037641 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_3203-82_0_4_line_21 |  | 18 | 62 | 0.027816 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
22 | LV_3203-82_0_4_line_22 |  | 18 | 61 | 0.025168 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_3203-82_0_4_line_23 |  | 19 | 20 | 0.0060409 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_3203-82_0_4_line_24 |  | 19 | 21 | 0.0078149 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_3203-82_0_4_line_25 |  | 20 | 22 | 0.029544 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_3203-82_0_4_line_26 |  | 21 | 23 | 0.042419 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_3203-82_0_4_line_27 |  | 22 | 24 | 0.010621 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_3203-82_0_4_line_28 |  | 23 | 25 | 0.019594 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_3203-82_0_4_line_29 |  | 24 | 26 | 0.0031793 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_3203-82_0_4_line_30 |  | 26 | 60 | 0.016511 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_3203-82_0_4_line_31 |  | 27 | 28 | 0.025728 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_3203-82_0_4_line_32 |  | 27 | 29 | 0.031365 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_3203-82_0_4_line_33 |  | 28 | 30 | 0.022414 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_3203-82_0_4_line_34 |  | 30 | 31 | 0.020779 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_3203-82_0_4_line_35 |  | 31 | 33 | 0.019292 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_3203-82_0_4_line_36 |  | 32 | 34 | 0.0091942 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
37 | LV_3203-82_0_4_line_37 |  | 33 | 35 | 0.023684 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_3203-82_0_4_line_38 |  | 34 | 44 | 0.016091 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
39 | LV_3203-82_0_4_line_39 |  | 36 | 37 | 0.012989 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
40 | LV_3203-82_0_4_line_40 |  | 36 | 38 | 0.0081336 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
41 | LV_3203-82_0_4_line_41 |  | 37 | 39 | 0.011728 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
42 | LV_3203-82_0_4_line_42 |  | 38 | 40 | 0.011711 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
43 | LV_3203-82_0_4_line_43 |  | 39 | 41 | 0.011106 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
44 | LV_3203-82_0_4_line_44 |  | 40 | 42 | 0.01533 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
45 | LV_3203-82_0_4_line_45 |  | 41 | 43 | 0.014156 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_3203-82_0_4_line_46 |  | 42 | 44 | 0.010385 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
47 | LV_3203-82_0_4_line_47 |  | 43 | 45 | 0.0013139 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_3203-82_0_4_line_48 |  | 45 | 46 | 0.011468 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_3203-82_0_4_line_49 |  | 46 | 47 | 0.026266 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_3203-82_0_4_line_50 |  | 47 | 48 | 0.00042488 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_3203-82_0_4_line_51 |  | 48 | 49 | 0.0022672 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_3203-82_0_4_line_52 |  | 49 | 50 | 0.024361 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_3203-82_0_4_line_53 |  | 50 | 51 | 0.00027786 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_3203-82_0_4_line_54 |  | 51 | 52 | 9.8714e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_3203-82_0_4_line_55 |  | 52 | 53 | 0.0044661 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_3203-82_0_4_line_56 |  | 53 | 54 | 0.021587 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_3203-82_0_4_line_57 |  | 54 | 55 | 0.00020162 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_3203-82_0_4_line_58 |  | 55 | 56 | 0.00031229 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_3203-82_0_4_line_59 |  | 56 | 57 | 0.0052432 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_3203-82_0_4_line_60 |  | 57 | 58 | 0.018554 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_3203-82_0_4_line_61 |  | 58 | 59 | 0.00116 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_3203-82_0_4_line_62 |  | 59 | 60 | 0.006943 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_3203-82_0_4_line_63 |  | 62 | 63 | 0.011442 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
64 | LV_3203-82_0_4_line_64 |  | 62 | 64 | 0.026866 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_3203-82_0_4_line_65 |  | 63 | 65 | 0.029682 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
66 | LV_3203-82_0_4_line_66 |  | 65 | 72 | 0.0087654 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
67 | LV_3203-82_0_4_line_67 |  | 66 | 67 | 0.021645 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_3203-82_0_4_line_68 |  | 67 | 68 | 0.01047 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_3203-82_0_4_line_69 |  | 69 | 70 | 0.0085387 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_3203-82_0_4_line_70 |  | 69 | 71 | 0.0155 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_3203-82_0_4_line_71 |  | 70 | 81 | 0.0077452 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_3203-82_0_4_line_72 |  | 71 | 75 | 0.0091941 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_3203-82_0_4_line_73 |  | 71 | 76 | 0.020283 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_3203-82_0_4_line_74 |  | 72 | 73 | 0.033609 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_3203-82_0_4_line_75 |  | 73 | 74 | 0.015616 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_3203-82_0_4_line_76 |  | 74 | 80 | 0.019971 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_3203-82_0_4_line_77 |  | 75 | 80 | 0.0058015 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_3203-82_0_4_line_78 |  | 76 | 79 | 0.034585 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_3203-82_0_4_line_79 |  | 77 | 78 | 0.014064 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_3203-82_0_4_line_80 |  | 77 | 79 | 0.016998 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_3203-82_0_4_line_81 |  | 78 | 82 | 0.016032 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_3203-82_0_4_line_82 |  | 81 | 87 | 0.023325 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_3203-82_0_4_line_83 |  | 82 | 86 | 0.01696 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_3203-82_0_4_line_84 |  | 83 | 84 | 0.032984 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_3203-82_0_4_line_85 |  | 84 | 87 | 0.031814 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_3203-82_0_4_line_86 |  | 85 | 86 | 0.002196 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3203-82_0_4_trafo_5 | 0.63 MVA 20/0.4 kV | 88 | 12 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15
0 | 2742713.2102 | 1252440.7056 | 2742716.442 | 1252442.2911
1 | 2742697.7626 | 1252433.1273 | 2742713.2102 | 1252440.7056
2 | 2742727.2071 | 1252447.5723 | 2742716.442 | 1252442.2911
3 | 2742697.7626 | 1252433.1273 | 2742691.1628 | 1252429.827
4 | 2742727.2071 | 1252447.5723 | 2742729.3097 | 1252443.9751 | 2742733.3712 | 1252436.1656 | 2742740.0067 | 1252421.178 | 2742729.5366 | 1252416.0877 | 2742730.8617 | 1252414.051
5 | 2742667.1757 | 1252417.8319 | 2742691.1628 | 1252429.827
6 | 2742730.8617 | 1252414.051 | 2742740.277 | 1252418.9603
7 | 2742600.9638 | 1252401.7339 | 2742609.3895 | 1252398.6115 | 2742662.6806 | 1252421.3936 | 2742667.1757 | 1252417.8319
8 | 2742667.1757 | 1252417.8319 | 2742659.857 | 1252413.2402 | 2742635.5833 | 1252396.0307
9 | 2742765.744 | 1252432.1051 | 2742763.4908 | 1252431.0643 | 2742740.277 | 1252418.9603
10 | 2742804.9424 | 1252450.7261 | 2742793.1345 | 1252444.7581 | 2742765.744 | 1252432.1051
11 | 2742804.9424 | 1252450.7261 | 2742811.5788 | 1252432.5801 | 2742814.3739 | 1252425.6298 | 2742816.4195 | 1252424.7116 | 2742817.8124 | 1252419.5515 | 2742818.3832 | 1252417.4855 | 2742821.9862 | 1252407.7187 | 2742824.2153 | 1252401.7001 | 2742827.3033 | 1252400.7626 | 2742828.89 | 1252397.8981 | 2742830.7998 | 1252394.4743 | 2742844.692 | 1252374.7684 | 2742850.024 | 1252368.4466 | 2742858.042 | 1252371.5873 | 2742859.4343 | 1252367.7061 | 2742857.0371 | 1252366.9253
12 | 2742857.0371 | 1252366.9253 | 2742846.6733 | 1252363.3721 | 2742828.3811 | 1252355.4682 | 2742817.8717 | 1252350.1643
13 | 2742857.0371 | 1252366.9253 | 2742863.7309 | 1252343.9095 | 2742874.0784 | 1252312.7853
14 | 2742600.9638 | 1252401.7339 | 2742602.9985 | 1252411.6798
15 | 2742600.9638 | 1252401.7339 | 2742589.068 | 1252400.6577 | 2742578.1813 | 1252394.9935
16 | 2742635.5833 | 1252396.0307 | 2742615.8663 | 1252382.0519 | 2742609.3906 | 1252365.6584 | 2742587.0121 | 1252346.3689
17 | 2742587.0121 | 1252346.3689 | 2742586.069 | 1252345.556 | 2742569.3178 | 1252332.8495
18 | 2742610.0221 | 1252439.7321 | 2742607.1511 | 1252431.9779 | 2742602.9985 | 1252411.6798
19 | 2742563.9598 | 1252389.2206 | 2742577.525 | 1252394.6521 | 2742578.1813 | 1252394.9935
20 | 2742610.0221 | 1252439.7321 | 2742611.3307 | 1252443.2614
21 | 2742550.0131 | 1252409.0369 | 2742560.2648 | 1252405.6471 | 2742563.8253 | 1252395.7457 | 2742563.9598 | 1252389.2206
22 | 2742563.9598 | 1252389.2206 | 2742562.863 | 1252383.9781 | 2742546.5514 | 1252372.7328
23 | 2742623.5108 | 1252190.2701 | 2742628.2985 | 1252186.5862
24 | 2742634.4922 | 1252181.8206 | 2742628.2985 | 1252186.5862
25 | 2742597.6419 | 1252199.2527 | 2742605.3347 | 1252200.8616 | 2742610.1442 | 1252200.5548 | 2742623.5108 | 1252190.2701
26 | 2742668.1115 | 1252155.9528 | 2742634.4922 | 1252181.8206
27 | 2742593.4133 | 1252208.9823 | 2742595.074 | 1252205.8638 | 2742597.6419 | 1252199.2527
28 | 2742668.1115 | 1252155.9528 | 2742680.3445 | 1252171.2592
29 | 2742593.4133 | 1252208.9823 | 2742596.0137 | 1252210.8115
30 | 2742609.5635 | 1252220.2459 | 2742606.6887 | 1252218.3105 | 2742596.7692 | 1252211.343 | 2742596.0137 | 1252210.8115
31 | 2742823.2379 | 1252286.858 | 2742845.8313 | 1252299.1642
32 | 2742874.0784 | 1252312.7853 | 2742848.9817 | 1252300.8801 | 2742845.8313 | 1252299.1642
33 | 2742823.2379 | 1252286.858 | 2742806.2945 | 1252277.6293 | 2742803.6495 | 1252275.9745
34 | 2742786.0343 | 1252264.954 | 2742803.6495 | 1252275.9745
35 | 2742769.6794 | 1252254.7221 | 2742786.0343 | 1252264.954
36 | 2742809.6636 | 1252346.0219 | 2742817.8717 | 1252350.1643
37 | 2742750.6425 | 1252240.639 | 2742768.5015 | 1252253.9852 | 2742769.6794 | 1252254.7221
38 | 2742809.6636 | 1252346.0219 | 2742795.2988 | 1252338.7723
39 | 2742744.312 | 1252310.0064 | 2742755.5943 | 1252316.4419
40 | 2742762.6593 | 1252320.4718 | 2742755.5943 | 1252316.4419
41 | 2742734.1649 | 1252304.1309 | 2742735.0159 | 1252304.7039 | 2742744.312 | 1252310.0064
42 | 2742762.6593 | 1252320.4718 | 2742772.832 | 1252326.2744
43 | 2742734.1649 | 1252304.1309 | 2742724.9517 | 1252297.9284
44 | 2742786.1479 | 1252333.8698 | 2742772.832 | 1252326.2744
45 | 2742713.2085 | 1252290.0225 | 2742724.9517 | 1252297.9284
46 | 2742786.1479 | 1252333.8698 | 2742790.4723 | 1252336.3365 | 2742795.2988 | 1252338.7723
47 | 2742713.2085 | 1252290.0225 | 2742712.1186 | 1252289.2888
48 | 2742702.6057 | 1252282.8844 | 2742712.1186 | 1252289.2888
49 | 2742702.6057 | 1252282.8844 | 2742680.8173 | 1252268.2159
50 | 2742680.4649 | 1252267.9786 | 2742680.8173 | 1252268.2159
51 | 2742678.5842 | 1252266.7125 | 2742680.4649 | 1252267.9786
52 | 2742678.5842 | 1252266.7125 | 2742658.3762 | 1252253.1079
53 | 2742658.1457 | 1252252.9527 | 2742658.3762 | 1252253.1079
54 | 2742658.0638 | 1252252.8976 | 2742658.1457 | 1252252.9527
55 | 2742654.3591 | 1252250.4035 | 2742658.0638 | 1252252.8976
56 | 2742654.3591 | 1252250.4035 | 2742636.4521 | 1252238.3481
57 | 2742636.2849 | 1252238.2355 | 2742636.4521 | 1252238.3481
58 | 2742636.0258 | 1252238.0611 | 2742636.2849 | 1252238.2355
59 | 2742631.6764 | 1252235.1329 | 2742636.0258 | 1252238.0611
60 | 2742631.6764 | 1252235.1329 | 2742616.2852 | 1252224.7711
61 | 2742616.2852 | 1252224.7711 | 2742615.3229 | 1252224.1233
62 | 2742615.3229 | 1252224.1233 | 2742609.5635 | 1252220.2459
63 | 2742550.0131 | 1252409.0369 | 2742538.9417 | 1252406.0233
64 | 2742550.0131 | 1252409.0369 | 2742566.1598 | 1252419.8245 | 2742572.9415 | 1252422.9024
65 | 2742538.9417 | 1252406.0233 | 2742529.2965 | 1252424.6755 | 2742526.6197 | 1252424.8446 | 2742524.2151 | 1252430.3431
66 | 2742520.7031 | 1252438.3742 | 2742524.2151 | 1252430.3431
67 | 2742618.8555 | 1252463.556 | 2742611.3307 | 1252443.2614
68 | 2742608.5269 | 1252465.4425 | 2742618.8555 | 1252463.556
69 | 2742552.0038 | 1252501.316 | 2742557.2907 | 1252502.1773 | 2742560.4313 | 1252502.6891
70 | 2742552.0038 | 1252501.316 | 2742552.734 | 1252497.3298 | 2742553.9429 | 1252490.7082 | 2742554.7946 | 1252486.0688
71 | 2742560.4313 | 1252502.6891 | 2742568.0757 | 1252503.9349
72 | 2742554.7946 | 1252486.0688 | 2742546.0304 | 1252483.29
73 | 2742554.7946 | 1252486.0688 | 2742568.1492 | 1252488.9484 | 2742574.6776 | 1252490.0544
74 | 2742507.1763 | 1252469.1407 | 2742513.572 | 1252454.681 | 2742520.7031 | 1252438.3742
75 | 2742507.1763 | 1252469.1407 | 2742521.6064 | 1252475.1091
76 | 2742540.5002 | 1252481.5366 | 2742526.1344 | 1252476.9819 | 2742521.6064 | 1252475.1091
77 | 2742540.5002 | 1252481.5366 | 2742546.0304 | 1252483.29
78 | 2742608.7775 | 1252495.8262 | 2742589.7297 | 1252492.6045 | 2742574.6776 | 1252490.0544
79 | 2742625.5371 | 1252498.6609 | 2742639.2398 | 1252501.828
80 | 2742625.5371 | 1252498.6609 | 2742608.7775 | 1252495.8262
81 | 2742654.681 | 1252506.1194 | 2742643.5868 | 1252502.8327 | 2742639.2398 | 1252501.828
82 | 2742568.0757 | 1252503.9349 | 2742591.0971 | 1252507.6865
83 | 2742670.5768 | 1252511.958 | 2742661.6084 | 1252508.1716 | 2742654.681 | 1252506.1194
84 | 2742622.3513 | 1252513.5913 | 2742624.2391 | 1252513.9885 | 2742642.7177 | 1252518.849 | 2742654.0886 | 1252522.5165
85 | 2742591.0971 | 1252507.6865 | 2742591.2458 | 1252507.7107 | 2742606.4509 | 1252510.2457 | 2742622.3513 | 1252513.5913
86 | 2742670.5768 | 1252511.958 | 2742672.5999 | 1252512.8121

## bus_geodata
| x | y | coords
0 | 2742713.2102 | 1252440.7056
1 | 2742716.442 | 1252442.2911
2 | 2742697.7626 | 1252433.1273
3 | 2742727.2071 | 1252447.5723
4 | 2742691.1628 | 1252429.827
5 | 2742730.8617 | 1252414.051
6 | 2742667.1757 | 1252417.8319
7 | 2742740.277 | 1252418.9603
8 | 2742804.9424 | 1252450.7261
9 | 2742765.744 | 1252432.1051
10 | 2742857.0371 | 1252366.9253
11 | 2742600.9638 | 1252401.7339
12 | 2742635.5833 | 1252396.0307
13 | 2742587.0121 | 1252346.3689
14 | 2742569.3178 | 1252332.8495
15 | 2742602.9985 | 1252411.6798
16 | 2742578.1813 | 1252394.9935
17 | 2742610.0221 | 1252439.7321
18 | 2742563.9598 | 1252389.2206
19 | 2742628.2985 | 1252186.5862
20 | 2742623.5108 | 1252190.2701
21 | 2742634.4922 | 1252181.8206
22 | 2742597.6419 | 1252199.2527
23 | 2742668.1115 | 1252155.9528
24 | 2742593.4133 | 1252208.9823
25 | 2742680.3445 | 1252171.2592
26 | 2742596.0137 | 1252210.8115
27 | 2742845.8313 | 1252299.1642
28 | 2742823.2379 | 1252286.858
29 | 2742874.0784 | 1252312.7853
30 | 2742803.6495 | 1252275.9745
31 | 2742786.0343 | 1252264.954
32 | 2742817.8717 | 1252350.1643
33 | 2742769.6794 | 1252254.7221
34 | 2742809.6636 | 1252346.0219
35 | 2742750.6425 | 1252240.639
36 | 2742755.5943 | 1252316.4419
37 | 2742744.312 | 1252310.0064
38 | 2742762.6593 | 1252320.4718
39 | 2742734.1649 | 1252304.1309
40 | 2742772.832 | 1252326.2744
41 | 2742724.9517 | 1252297.9284
42 | 2742786.1479 | 1252333.8698
43 | 2742713.2085 | 1252290.0225
44 | 2742795.2988 | 1252338.7723
45 | 2742712.1186 | 1252289.2888
46 | 2742702.6057 | 1252282.8844
47 | 2742680.8173 | 1252268.2159
48 | 2742680.4649 | 1252267.9786
49 | 2742678.5842 | 1252266.7125
50 | 2742658.3762 | 1252253.1079
51 | 2742658.1457 | 1252252.9527
52 | 2742658.0638 | 1252252.8976
53 | 2742654.3591 | 1252250.4035
54 | 2742636.4521 | 1252238.3481
55 | 2742636.2849 | 1252238.2355
56 | 2742636.0258 | 1252238.0611
57 | 2742631.6764 | 1252235.1329
58 | 2742616.2852 | 1252224.7711
59 | 2742615.3229 | 1252224.1233
60 | 2742609.5635 | 1252220.2459
61 | 2742546.5514 | 1252372.7328
62 | 2742550.0131 | 1252409.0369
63 | 2742538.9417 | 1252406.0233
64 | 2742572.9415 | 1252422.9024
65 | 2742524.2151 | 1252430.3431
66 | 2742611.3307 | 1252443.2614
67 | 2742618.8555 | 1252463.556
68 | 2742608.5269 | 1252465.4425
69 | 2742552.0038 | 1252501.316
70 | 2742560.4313 | 1252502.6891
71 | 2742554.7946 | 1252486.0688
72 | 2742520.7031 | 1252438.3742
73 | 2742507.1763 | 1252469.1407
74 | 2742521.6064 | 1252475.1091
75 | 2742546.0304 | 1252483.29
76 | 2742574.6776 | 1252490.0544
77 | 2742625.5371 | 1252498.6609
78 | 2742639.2398 | 1252501.828
79 | 2742608.7775 | 1252495.8262
80 | 2742540.5002 | 1252481.5366
81 | 2742568.0757 | 1252503.9349
82 | 2742654.681 | 1252506.1194
83 | 2742654.0886 | 1252522.5165
84 | 2742622.3513 | 1252513.5913
85 | 2742672.5999 | 1252512.8121
86 | 2742670.5768 | 1252511.958
87 | 2742591.0971 | 1252507.6865
88 | 2742667.1757 | 1252417.8319

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1