## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3203-97_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3203-97_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3203-97_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_3203-97_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_3203-97_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_3203-97_0_3_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_3203-97_0_3_node_7 | 0.4 | n |  | TRUE
7 | bus_LV_3203-97_0_3_node_29 | 0.4 | n |  | TRUE
8 | bus_LV_3203-97_0_3_node_46 | 0.4 | n |  | TRUE
9 | bus_LV_3203-97_0_3_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_3203-97_0_3_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_3203-97_0_3_node_18 | 0.4 | n |  | TRUE
12 | bus_LV_3203-97_0_3_node_16 | 0.4 | n |  | TRUE
13 | bus_LV_3203-97_0_3_node_45 | 0.4 | n |  | TRUE
14 | bus_LV_3203-97_0_3_node_9 | 0.4 | n |  | TRUE
15 | bus_LV_3203-97_0_3_node_52 | 0.4 | n |  | TRUE
16 | bus_LV_3203-97_0_3_node_50 | 0.4 | n |  | TRUE
17 | bus_LV_3203-97_0_3_node_10 | 0.4 | n |  | TRUE
18 | bus_LV_3203-97_0_3_node_11 | 0.4 | n |  | TRUE
19 | bus_LV_3203-97_0_3_node_28 | 0.4 | n |  | TRUE
20 | bus_LV_3203-97_0_3_node_12 | 0.4 | n |  | TRUE
21 | bus_LV_3203-97_0_3_node_53 | 0.4 | n |  | TRUE
22 | bus_LV_3203-97_0_3_node_37 | 0.4 | n |  | TRUE
23 | bus_LV_3203-97_0_3_node_36 | 0.4 | n |  | TRUE
24 | bus_LV_3203-97_0_3_node_17 | 0.4 | n |  | TRUE
25 | bus_LV_3203-97_0_3_node_33 | 0.4 | n |  | TRUE
26 | bus_LV_3203-97_0_3_node_40 | 0.4 | n |  | TRUE
27 | bus_LV_3203-97_0_3_node_44 | 0.4 | n |  | TRUE
28 | bus_LV_3203-97_0_3_node_51 | 0.4 | n |  | TRUE
29 | bus_LV_3203-97_0_3_node_23 | 0.4 | n |  | TRUE
30 | bus_LV_3203-97_0_3_node_19 | 0.4 | n |  | TRUE
31 | bus_LV_3203-97_0_3_node_20 | 0.4 | n |  | TRUE
32 | bus_LV_3203-97_0_3_node_42 | 0.4 | n |  | TRUE
33 | bus_LV_3203-97_0_3_node_21 | 0.4 | n |  | TRUE
34 | bus_LV_3203-97_0_3_node_22 | 0.4 | n |  | TRUE
35 | bus_LV_3203-97_0_3_node_35 | 0.4 | n |  | TRUE
36 | bus_LV_3203-97_0_3_node_30 | 0.4 | n |  | TRUE
37 | bus_LV_3203-97_0_3_node_31 | 0.4 | n |  | TRUE
38 | bus_LV_3203-97_0_3_node_32 | 0.4 | n |  | TRUE
39 | bus_LV_3203-97_0_3_node_34 | 0.4 | n |  | TRUE
40 | bus_LV_3203-97_0_3_node_48 | 0.4 | n |  | TRUE
41 | bus_LV_3203-97_0_3_node_47 | 0.4 | n |  | TRUE
42 | bus_LV_3203-97_0_3_node_24 | 0.4 | n |  | TRUE
43 | bus_LV_3203-97_0_3_node_25 | 0.4 | n |  | TRUE
44 | bus_LV_3203-97_0_3_node_26 | 0.4 | n |  | TRUE
45 | bus_LV_3203-97_0_3_node_27 | 0.4 | n |  | TRUE
46 | bus_LV_3203-97_0_3_node_41 | 0.4 | n |  | TRUE
47 | bus_LV_3203-97_0_3_node_54 | 0.4 | n |  | TRUE
48 | bus_LV_3203-97_0_3_node_39 | 0.4 | n |  | TRUE
49 | bus_LV_3203-97_0_3_node_38 | 0.4 | n |  | TRUE
50 | bus_LV_3203-97_0_3_node_55 | 0.4 | n |  | TRUE
51 | bus_LV_3203-97_0_3_node_56 | 0.4 | n |  | TRUE
52 | bus_MV_42_0_node_133 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3203-97_0_3_load_0 | 0 | 0.0062304 | 0.0015615 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3203-97_0_3_load_1 | 1 | 0.0019323 | 0.00048427 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3203-97_0_3_load_3 | 3 | 0.010779 | 0.0027016 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3203-97_0_3_load_29 | 7 | 0.011836 | 0.0029663 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3203-97_0_3_load_46 | 8 | 0.004711 | 0.0011807 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3203-97_0_3_load_18 | 11 | 0.0064654 | 0.0016204 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3203-97_0_3_load_45 | 13 | 0.016876 | 0.0042296 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3203-97_0_3_load_52 | 15 | 0.01307 | 0.0032756 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3203-97_0_3_load_50 | 16 | 0.0085414 | 0.0021407 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3203-97_0_3_load_28 | 19 | 0.0059133 | 0.001482 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3203-97_0_3_load_53 | 21 | 0.012511 | 0.0031356 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3203-97_0_3_load_36 | 23 | 0.0057944 | 0.0014522 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3203-97_0_3_load_17 | 24 | 0.0034985 | 0.00087679 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3203-97_0_3_load_44 | 27 | 0.022641 | 0.0056745 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3203-97_0_3_load_51 | 28 | 0.008323 | 0.0020859 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3203-97_0_3_load_19 | 30 | 0.0033675 | 0.00084397 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3203-97_0_3_load_20 | 31 | 0.0062774 | 0.0015733 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3203-97_0_3_load_42 | 32 | 0.0085175 | 0.0021347 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3203-97_0_3_load_35 | 35 | 0.0062295 | 0.0015613 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3203-97_0_3_load_30 | 36 | 0.0030831 | 0.00077271 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3203-97_0_3_load_48 | 40 | 0.0010634 | 0.00026652 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3203-97_0_3_load_47 | 41 | 0.001707 | 0.0004278 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3203-97_0_3_load_24 | 42 | 0.0086863 | 0.002177 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3203-97_0_3_load_25 | 43 | 0.0091922 | 0.0023038 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3203-97_0_3_load_26 | 44 | 0.011953 | 0.0029957 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3203-97_0_3_load_27 | 45 | 0.0064353 | 0.0016129 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3203-97_0_3_load_54 | 47 | 0.0038802 | 0.00097246 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3203-97_0_3_load_39 | 48 | 0.0037057 | 0.00092874 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3203-97_0_3_load_38 | 49 | 0.0061389 | 0.0015385 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3203-97_0_3_load_55 | 50 | 0.0037372 | 0.00093663 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3203-97_0_3_load_56 | 51 | 0.0044454 | 0.0011141 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 43 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3203-97_0_3_line_0 |  | 0 | 1 | 0.013761 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_3203-97_0_3_line_1 |  | 0 | 2 | 0.012481 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_3203-97_0_3_line_2 |  | 1 | 3 | 0.020613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_3203-97_0_3_line_3 |  | 2 | 4 | 0.013358 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_3203-97_0_3_line_4 |  | 2 | 5 | 0.0088837 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_3203-97_0_3_line_5 |  | 3 | 6 | 0.01397 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_3203-97_0_3_line_6 |  | 4 | 7 | 0.024008 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_3203-97_0_3_line_7 |  | 5 | 8 | 0.010891 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_3203-97_0_3_line_8 |  | 6 | 11 | 0.019614 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_3203-97_0_3_line_9 |  | 7 | 18 | 0.019509 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_3203-97_0_3_line_10 |  | 9 | 10 | 0.0084659 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_3203-97_0_3_line_11 |  | 9 | 11 | 0.030781 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_3203-97_0_3_line_12 |  | 10 | 12 | 0.0604 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_3203-97_0_3_line_13 |  | 10 | 13 | 0.039468 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_3203-97_0_3_line_14 |  | 12 | 22 | 0.004953 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_3203-97_0_3_line_15 |  | 12 | 23 | 0.013042 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_3203-97_0_3_line_16 |  | 14 | 15 | 0.040743 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_3203-97_0_3_line_17 |  | 14 | 16 | 0.0081463 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_3203-97_0_3_line_18 |  | 15 | 20 | 0.060165 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_3203-97_0_3_line_19 |  | 16 | 28 | 0.017877 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_3203-97_0_3_line_20 |  | 17 | 18 | 0.009944 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_3203-97_0_3_line_21 |  | 17 | 19 | 0.01852 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_3203-97_0_3_line_22 |  | 19 | 24 | 0.017133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_3203-97_0_3_line_23 |  | 20 | 21 | 0.032895 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_3203-97_0_3_line_24 |  | 21 | 29 | 0.17396 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_3203-97_0_3_line_25 |  | 22 | 26 | 0.039245 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_3203-97_0_3_line_26 |  | 22 | 32 | 0.022988 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_3203-97_0_3_line_27 |  | 25 | 26 | 0.003472 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
28 | LV_3203-97_0_3_line_28 |  | 25 | 27 | 0.04242 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
29 | LV_3203-97_0_3_line_29 |  | 26 | 49 | 0.0039357 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
30 | LV_3203-97_0_3_line_30 |  | 27 | 45 | 0.0015574 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
31 | LV_3203-97_0_3_line_31 |  | 29 | 33 | 0.053712 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_3203-97_0_3_line_32 |  | 30 | 31 | 0.035241 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_3203-97_0_3_line_33 |  | 31 | 33 | 0.044039 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_3203-97_0_3_line_34 |  | 33 | 34 | 0.092053 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_3203-97_0_3_line_35 |  | 34 | 35 | 0.020327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_3203-97_0_3_line_36 |  | 34 | 36 | 0.014626 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_3203-97_0_3_line_37 |  | 36 | 37 | 0.036669 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
38 | LV_3203-97_0_3_line_38 |  | 37 | 38 | 0.003041 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
39 | LV_3203-97_0_3_line_39 |  | 38 | 46 | 0.002929 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
40 | LV_3203-97_0_3_line_40 |  | 38 | 41 | 0.057652 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_3203-97_0_3_line_41 |  | 39 | 40 | 0.032788 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_3203-97_0_3_line_42 |  | 39 | 41 | 0.053194 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_3203-97_0_3_line_43 |  | 42 | 43 | 0.021819 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_3203-97_0_3_line_44 |  | 43 | 44 | 0.030294 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
45 | LV_3203-97_0_3_line_45 |  | 44 | 45 | 0.027894 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
46 | LV_3203-97_0_3_line_46 |  | 46 | 47 | 0.021115 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_3203-97_0_3_line_47 |  | 46 | 48 | 0.025933 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
48 | LV_3203-97_0_3_line_48 |  | 47 | 50 | 0.00064042 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_3203-97_0_3_line_49 |  | 48 | 49 | 0.0082356 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
50 | LV_3203-97_0_3_line_50 |  | 50 | 51 | 0.00062082 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3203-97_0_3_trafo_25 | 0.63 MVA 20/0.4 kV | 52 | 43 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12
0 | 2746455.0985 | 1253877.4208 | 2746468.426 | 1253877.9345 | 2746468.8488 | 1253877.9167
1 | 2746442.6272 | 1253876.9402 | 2746455.0985 | 1253877.4208
2 | 2746489.042 | 1253874.3297 | 2746488.117 | 1253874.7072 | 2746480.9368 | 1253876.5982 | 2746475.2344 | 1253877.647 | 2746468.8488 | 1253877.9167
3 | 2746442.6272 | 1253876.9402 | 2746434.2617 | 1253877.0112 | 2746434.4078 | 1253872.0211
4 | 2746442.4376 | 1253885.8218 | 2746442.5148 | 1253881.1748 | 2746442.6272 | 1253876.9402
5 | 2746501.6577 | 1253868.3582 | 2746499.9746 | 1253869.2619 | 2746493.8209 | 1253872.3794 | 2746489.042 | 1253874.3297
6 | 2746434.4078 | 1253872.0211 | 2746436.6702 | 1253860.2102 | 2746439.5837 | 1253848.5871
7 | 2746442.4376 | 1253885.8218 | 2746453.2575 | 1253887.0615
8 | 2746501.6577 | 1253868.3582 | 2746504.1824 | 1253866.9971 | 2746508.0334 | 1253864.2008 | 2746512.5753 | 1253860.3317 | 2746516.8311 | 1253856.0738
9 | 2746444.5804 | 1253829.732 | 2746444.3594 | 1253830.4272 | 2746442.5413 | 1253836.7884 | 2746439.5837 | 1253848.5871
10 | 2746536.2622 | 1253832.3018 | 2746539.7324 | 1253834.5231 | 2746543.396 | 1253836.8604
11 | 2746536.2622 | 1253832.3018 | 2746534.3779 | 1253835.2358 | 2746527.8642 | 1253844.0498 | 2746522.6531 | 1253850.249 | 2746516.8311 | 1253856.0738
12 | 2746543.396 | 1253836.8604 | 2746544.7346 | 1253835.5367 | 2746546.3515 | 1253834.5647 | 2746548.1545 | 1253833.9976 | 2746550.0745 | 1253833.8894 | 2746551.9604 | 1253834.2476 | 2746553.7067 | 1253835.0582 | 2746558.3097 | 1253836.9517 | 2746565.9318 | 1253840.0766 | 2746595.5387 | 1253852.2098 | 2746597.1029 | 1253848.7896
13 | 2746543.396 | 1253836.8604 | 2746540.9425 | 1253840.5255 | 2746537.9135 | 1253844.8769 | 2746533.07 | 1253850.8629 | 2746527.3194 | 1253857.5159 | 2746522.2326 | 1253862.6617 | 2746517.9311 | 1253866.8815
14 | 2746601.7551 | 1253850.5287 | 2746597.1029 | 1253848.7896
15 | 2746597.1029 | 1253848.7896 | 2746598.9707 | 1253844.6986 | 2746600.1825 | 1253844.2281 | 2746601.1624 | 1253843.3738 | 2746604.2272 | 1253838.2801
16 | 2746474.5382 | 1254008.2441 | 2746478.4151 | 1254008.974 | 2746482.4119 | 1254010.6522 | 2746486.4324 | 1254012.8982 | 2746506.0842 | 1254027.6985 | 2746508.735 | 1254029.5897
17 | 2746474.5382 | 1254008.2441 | 2746474.0893 | 1254005.0299 | 2746471.2827 | 1254001.0122
18 | 2746559.6316 | 1254061.5445 | 2746548.0517 | 1254055.4855 | 2746536.8226 | 1254048.6678 | 2746518.1151 | 1254036.2821 | 2746508.735 | 1254029.5897
19 | 2746457.2268 | 1253990.0652 | 2746467.3048 | 1253997.0433 | 2746471.2827 | 1254001.0122
20 | 2746446.5115 | 1253820.026 | 2746446.3147 | 1253823.4022 | 2746444.7383 | 1253829.1465 | 2746444.5804 | 1253829.732
21 | 2746446.5115 | 1253820.026 | 2746461.8657 | 1253830.3822
22 | 2746477.8157 | 1253836.6196 | 2746476.0216 | 1253836.0822 | 2746461.8657 | 1253830.3822
23 | 2746559.6316 | 1254061.5445 | 2746568.0014 | 1254029.7326
24 | 2746724.4461 | 1254020.2406 | 2746722.219 | 1254021.7758 | 2746717.9506 | 1254022.226 | 2746710.1507 | 1254022.0215 | 2746680.7191 | 1254019.9129 | 2746663.1732 | 1254018.5326 | 2746647.0875 | 1254018.2341 | 2746639.0479 | 1254017.3453 | 2746616.0413 | 1254016.0968 | 2746590.3595 | 1254010.4002 | 2746576.9188 | 1254006.9309 | 2746571.1558 | 1254017.7431 | 2746568.0014 | 1254029.7326
25 | 2746639.3123 | 1253862.2807 | 2746601.7551 | 1253850.5287
26 | 2746601.7551 | 1253850.5287 | 2746613.8166 | 1253830.9593
27 | 2746639.3123 | 1253862.2807 | 2746638.4815 | 1253865.6522
28 | 2746638.4815 | 1253865.6522 | 2746637.2729 | 1253870.5604 | 2746629.8724 | 1253886.2144 | 2746628.5264 | 1253887.2265 | 2746626.615 | 1253887.9021 | 2746624.7525 | 1253888.1229 | 2746622.9917 | 1253887.9013 | 2746610.8252 | 1253884.3007
29 | 2746639.3123 | 1253862.2807 | 2746643.0804 | 1253863.4171
30 | 2746609.3319 | 1253883.8588 | 2746610.8252 | 1253884.3007
31 | 2746724.4461 | 1254020.2406 | 2746676.2564 | 1253996.224
32 | 2746610.8583 | 1253952.111 | 2746614.04 | 1253954.2879 | 2746620.762 | 1253959.615 | 2746627.6676 | 1253966.0588 | 2746638.5292 | 1253973.844
33 | 2746676.2564 | 1253996.224 | 2746665.1881 | 1253991.4454 | 2746655.5412 | 1253985.9679 | 2746642.679 | 1253976.8185 | 2746638.5292 | 1253973.844
34 | 2746662.432 | 1253926.0031 | 2746681.4695 | 1253934.516 | 2746683.483 | 1253937.3353 | 2746673.3066 | 1253963.8755 | 2746664.535 | 1253983.6884 | 2746665.5804 | 1253987.4957 | 2746676.2564 | 1253996.224
35 | 2746662.432 | 1253926.0031 | 2746643.3534 | 1253918.835
36 | 2746662.432 | 1253926.0031 | 2746668.862 | 1253912.8662
37 | 2746677.9916 | 1253877.4863 | 2746675.8319 | 1253890.9235 | 2746670.1286 | 1253910.2786 | 2746668.862 | 1253912.8662
38 | 2746678.4737 | 1253874.4842 | 2746677.9916 | 1253877.4863
39 | 2746678.4737 | 1253874.4842 | 2746675.7935 | 1253873.2833
40 | 2746678.4737 | 1253874.4842 | 2746682.7408 | 1253877.1369 | 2746702.4866 | 1253886.0121 | 2746730.4477 | 1253899.3495
41 | 2746779.014 | 1253918.8617 | 2746780.3617 | 1253917.4827 | 2746780.9268 | 1253915.6949 | 2746780.8683 | 1253913.4914 | 2746780.3676 | 1253911.1545 | 2746779.1841 | 1253908.6561 | 2746766.3603 | 1253891.2423
42 | 2746779.014 | 1253918.8617 | 2746776.8741 | 1253919.6205 | 2746774.7445 | 1253919.6567 | 2746772.6044 | 1253919.2032 | 2746769.7782 | 1253918.1099 | 2746730.4477 | 1253899.3495
43 | 2746581.0368 | 1253905.5955 | 2746570.7167 | 1253901.3761 | 2746564.189 | 1253897.6443 | 2746561.7162 | 1253895.6924
44 | 2746582.3432 | 1253885.2328 | 2746579.6274 | 1253885.0809 | 2746569.6899 | 1253884.9238 | 2746565.314 | 1253885.7496 | 2746562.2133 | 1253887.5079 | 2746560.4394 | 1253889.0322 | 2746559.7208 | 1253891.5279 | 2746560.2455 | 1253893.5094 | 2746561.7162 | 1253895.6924 | 2746561.7162 | 1253895.6924
45 | 2746582.3432 | 1253885.2328 | 2746592.8417 | 1253885.8197 | 2746596.9473 | 1253885.5433 | 2746599.816 | 1253884.9248 | 2746601.6036 | 1253883.4565 | 2746603.1303 | 1253882.7714 | 2746606.0937 | 1253882.9005 | 2746609.3319 | 1253883.8588
46 | 2746675.7935 | 1253873.2833 | 2746685.1178 | 1253854.339
47 | 2746675.7935 | 1253873.2833 | 2746650.9652 | 1253865.7952
48 | 2746685.1178 | 1253854.339 | 2746685.4007 | 1253853.7644
49 | 2746643.0804 | 1253863.4171 | 2746650.9652 | 1253865.7952
50 | 2746685.4007 | 1253853.7644 | 2746685.6748 | 1253853.2074

## bus_geodata
| x | y | coords
0 | 2746455.0985 | 1253877.4208
1 | 2746468.8488 | 1253877.9167
2 | 2746442.6272 | 1253876.9402
3 | 2746489.042 | 1253874.3297
4 | 2746434.4078 | 1253872.0211
5 | 2746442.4376 | 1253885.8218
6 | 2746501.6577 | 1253868.3582
7 | 2746439.5837 | 1253848.5871
8 | 2746453.2575 | 1253887.0615
9 | 2746536.2622 | 1253832.3018
10 | 2746543.396 | 1253836.8604
11 | 2746516.8311 | 1253856.0738
12 | 2746597.1029 | 1253848.7896
13 | 2746517.9311 | 1253866.8815
14 | 2746474.5382 | 1254008.2441
15 | 2746508.735 | 1254029.5897
16 | 2746471.2827 | 1254001.0122
17 | 2746446.5115 | 1253820.026
18 | 2746444.5804 | 1253829.732
19 | 2746461.8657 | 1253830.3822
20 | 2746559.6316 | 1254061.5445
21 | 2746568.0014 | 1254029.7326
22 | 2746601.7551 | 1253850.5287
23 | 2746604.2272 | 1253838.2801
24 | 2746477.8157 | 1253836.6196
25 | 2746638.4815 | 1253865.6522
26 | 2746639.3123 | 1253862.2807
27 | 2746610.8252 | 1253884.3007
28 | 2746457.2268 | 1253990.0652
29 | 2746724.4461 | 1254020.2406
30 | 2746610.8583 | 1253952.111
31 | 2746638.5292 | 1253973.844
32 | 2746613.8166 | 1253830.9593
33 | 2746676.2564 | 1253996.224
34 | 2746662.4319 | 1253926.0031
35 | 2746643.3534 | 1253918.835
36 | 2746668.862 | 1253912.8662
37 | 2746677.9916 | 1253877.4863
38 | 2746678.4737 | 1253874.4842
39 | 2746779.014 | 1253918.8617
40 | 2746766.3603 | 1253891.2423
41 | 2746730.4477 | 1253899.3495
42 | 2746581.0368 | 1253905.5955
43 | 2746561.7162 | 1253895.6924
44 | 2746582.3432 | 1253885.2328
45 | 2746609.3319 | 1253883.8588
46 | 2746675.7935 | 1253873.2833
47 | 2746685.1178 | 1253854.339
48 | 2746650.9652 | 1253865.7952
49 | 2746643.0804 | 1253863.4171
50 | 2746685.4007 | 1253853.7644
51 | 2746685.6748 | 1253853.2074
52 | 2746598.5155 | 1253912.7416

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1