## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3203-99_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3203-99_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3203-99_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_3203-99_0_4_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_3203-99_0_4_node_6 | 0.4 | n |  | TRUE
5 | bus_LV_3203-99_0_4_node_47 | 0.4 | n |  | TRUE
6 | bus_LV_3203-99_0_4_node_5 | 0.4 | n |  | TRUE
7 | bus_LV_3203-99_0_4_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_3203-99_0_4_node_15 | 0.4 | n |  | TRUE
9 | bus_LV_3203-99_0_4_node_51 | 0.4 | n |  | TRUE
10 | bus_LV_3203-99_0_4_node_50 | 0.4 | n |  | TRUE
11 | bus_LV_3203-99_0_4_node_9 | 0.4 | n |  | TRUE
12 | bus_LV_3203-99_0_4_node_13 | 0.4 | n |  | TRUE
13 | bus_LV_3203-99_0_4_node_40 | 0.4 | n |  | TRUE
14 | bus_LV_3203-99_0_4_node_43 | 0.4 | n |  | TRUE
15 | bus_LV_3203-99_0_4_node_10 | 0.4 | n |  | TRUE
16 | bus_LV_3203-99_0_4_node_53 | 0.4 | n |  | TRUE
17 | bus_LV_3203-99_0_4_node_14 | 0.4 | n |  | TRUE
18 | bus_LV_3203-99_0_4_node_23 | 0.4 | n |  | TRUE
19 | bus_LV_3203-99_0_4_node_12 | 0.4 | n |  | TRUE
20 | bus_LV_3203-99_0_4_node_41 | 0.4 | n |  | TRUE
21 | bus_LV_3203-99_0_4_node_39 | 0.4 | n |  | TRUE
22 | bus_LV_3203-99_0_4_node_42 | 0.4 | n |  | TRUE
23 | bus_LV_3203-99_0_4_node_19 | 0.4 | n |  | TRUE
24 | bus_LV_3203-99_0_4_node_34 | 0.4 | n |  | TRUE
25 | bus_LV_3203-99_0_4_node_16 | 0.4 | n |  | TRUE
26 | bus_LV_3203-99_0_4_node_20 | 0.4 | n |  | TRUE
27 | bus_LV_3203-99_0_4_node_17 | 0.4 | n |  | TRUE
28 | bus_LV_3203-99_0_4_node_27 | 0.4 | n |  | TRUE
29 | bus_LV_3203-99_0_4_node_24 | 0.4 | n |  | TRUE
30 | bus_LV_3203-99_0_4_node_46 | 0.4 | n |  | TRUE
31 | bus_LV_3203-99_0_4_node_52 | 0.4 | n |  | TRUE
32 | bus_LV_3203-99_0_4_node_49 | 0.4 | n |  | TRUE
33 | bus_LV_3203-99_0_4_node_48 | 0.4 | n |  | TRUE
34 | bus_LV_3203-99_0_4_node_21 | 0.4 | n |  | TRUE
35 | bus_LV_3203-99_0_4_node_30 | 0.4 | n |  | TRUE
36 | bus_LV_3203-99_0_4_node_29 | 0.4 | n |  | TRUE
37 | bus_LV_3203-99_0_4_node_45 | 0.4 | n |  | TRUE
38 | bus_LV_3203-99_0_4_node_28 | 0.4 | n |  | TRUE
39 | bus_LV_3203-99_0_4_node_38 | 0.4 | n |  | TRUE
40 | bus_LV_3203-99_0_4_node_25 | 0.4 | n |  | TRUE
41 | bus_LV_3203-99_0_4_node_22 | 0.4 | n |  | TRUE
42 | bus_LV_3203-99_0_4_node_26 | 0.4 | n |  | TRUE
43 | bus_LV_3203-99_0_4_node_44 | 0.4 | n |  | TRUE
44 | bus_LV_3203-99_0_4_node_31 | 0.4 | n |  | TRUE
45 | bus_LV_3203-99_0_4_node_32 | 0.4 | n |  | TRUE
46 | bus_LV_3203-99_0_4_node_33 | 0.4 | n |  | TRUE
47 | bus_LV_3203-99_0_4_node_37 | 0.4 | n |  | TRUE
48 | bus_MV_42_0_node_178 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3203-99_0_4_load_0 | 0 | 0.0059311 | 0.0014865 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3203-99_0_4_load_1 | 1 | 0.063046 | 0.015801 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3203-99_0_4_load_47 | 5 | 0.0068605 | 0.0017194 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3203-99_0_4_load_51 | 9 | 0.002221 | 0.00055664 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3203-99_0_4_load_50 | 10 | 0.0031113 | 0.00077977 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3203-99_0_4_load_43 | 14 | 0.019163 | 0.0048028 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3203-99_0_4_load_53 | 16 | 0.020849 | 0.0052252 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3203-99_0_4_load_23 | 18 | 0.007009 | 0.0017566 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3203-99_0_4_load_39 | 21 | 0.013982 | 0.0035043 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3203-99_0_4_load_42 | 22 | 0.01555 | 0.0038973 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3203-99_0_4_load_19 | 23 | 0.0055818 | 0.0013989 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3203-99_0_4_load_34 | 24 | 0.005488 | 0.0013754 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3203-99_0_4_load_20 | 26 | 0.017264 | 0.0043267 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3203-99_0_4_load_24 | 29 | 0.048204 | 0.012081 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3203-99_0_4_load_46 | 30 | 0.0068176 | 0.0017086 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3203-99_0_4_load_52 | 31 | 0.0039391 | 0.00098722 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3203-99_0_4_load_49 | 32 | 0.0067945 | 0.0017029 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3203-99_0_4_load_48 | 33 | 0.0037102 | 0.00092987 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3203-99_0_4_load_21 | 34 | 0.032725 | 0.0082017 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3203-99_0_4_load_30 | 35 | 0.035382 | 0.0088675 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3203-99_0_4_load_29 | 36 | 0.011788 | 0.0029543 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3203-99_0_4_load_45 | 37 | 0.0039881 | 0.00099952 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3203-99_0_4_load_38 | 39 | 0.0025429 | 0.00063731 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3203-99_0_4_load_22 | 41 | 0.032243 | 0.008081 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3203-99_0_4_load_44 | 43 | 0.029931 | 0.0075014 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3203-99_0_4_load_32 | 45 | 0.010868 | 0.0027237 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3203-99_0_4_load_33 | 46 | 0.0073267 | 0.0018362 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3203-99_0_4_load_37 | 47 | 0.0028613 | 0.00071712 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 19 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3203-99_0_4_line_0 |  | 0 | 1 | 0.037452 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_3203-99_0_4_line_1 |  | 0 | 2 | 0.12186 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_3203-99_0_4_line_2 |  | 2 | 3 | 0.10996 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_3203-99_0_4_line_3 |  | 2 | 4 | 0.10295 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_3203-99_0_4_line_4 |  | 3 | 5 | 0.012086 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_3203-99_0_4_line_5 |  | 4 | 10 | 0.044929 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
6 | LV_3203-99_0_4_line_6 |  | 5 | 30 | 0.0063517 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_3203-99_0_4_line_7 |  | 6 | 7 | 0.013244 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
8 | LV_3203-99_0_4_line_8 |  | 6 | 8 | 0.073984 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_3203-99_0_4_line_9 |  | 6 | 9 | 0.033143 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
10 | LV_3203-99_0_4_line_10 |  | 7 | 10 | 0.013501 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
11 | LV_3203-99_0_4_line_11 |  | 8 | 24 | 0.028345 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_3203-99_0_4_line_12 |  | 9 | 31 | 0.010072 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
13 | LV_3203-99_0_4_line_13 |  | 11 | 12 | 0.006876 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_3203-99_0_4_line_14 |  | 11 | 13 | 0.003345 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_3203-99_0_4_line_15 |  | 11 | 14 | 0.012474 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_3203-99_0_4_line_16 |  | 12 | 22 | 0.0056047 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_3203-99_0_4_line_17 |  | 13 | 21 | 0.0080625 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_3203-99_0_4_line_18 |  | 15 | 16 | 0.005956 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_3203-99_0_4_line_19 |  | 15 | 17 | 0.044252 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_3203-99_0_4_line_20 |  | 15 | 18 | 0.0097276 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_3203-99_0_4_line_21 |  | 17 | 23 | 0.0093144 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_3203-99_0_4_line_22 |  | 18 | 34 | 0.037969 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_3203-99_0_4_line_23 |  | 19 | 20 | 0.0206 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
24 | LV_3203-99_0_4_line_24 |  | 19 | 21 | 0.01554 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_3203-99_0_4_line_25 |  | 20 | 37 | 0.010574 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_3203-99_0_4_line_26 |  | 20 | 38 | 0.009591 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_3203-99_0_4_line_27 |  | 20 | 39 | 0.012458 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
28 | LV_3203-99_0_4_line_28 |  | 22 | 28 | 0.041239 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_3203-99_0_4_line_29 |  | 23 | 25 | 0.029153 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_3203-99_0_4_line_30 |  | 25 | 26 | 0.00090789 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_3203-99_0_4_line_31 |  | 26 | 40 | 0.039471 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_3203-99_0_4_line_32 |  | 27 | 28 | 0.004798 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_3203-99_0_4_line_33 |  | 27 | 29 | 0.016948 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_3203-99_0_4_line_34 |  | 30 | 33 | 0.032677 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_3203-99_0_4_line_35 |  | 31 | 46 | 0.027452 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
36 | LV_3203-99_0_4_line_36 |  | 32 | 33 | 0.002554 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_3203-99_0_4_line_37 |  | 34 | 41 | 0.027414 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_3203-99_0_4_line_38 |  | 35 | 36 | 0.051679 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_3203-99_0_4_line_39 |  | 36 | 44 | 0.020092 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_3203-99_0_4_line_40 |  | 37 | 42 | 0.0018286 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_3203-99_0_4_line_41 |  | 38 | 43 | 0.0020711 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_3203-99_0_4_line_42 |  | 39 | 47 | 0.011491 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
43 | LV_3203-99_0_4_line_43 |  | 40 | 42 | 0.013749 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_3203-99_0_4_line_44 |  | 44 | 45 | 0.031945 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
45 | LV_3203-99_0_4_line_45 |  | 44 | 46 | 0.028134 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
46 | LV_3203-99_0_4_line_46 |  | 45 | 47 | 0.00083802 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3203-99_0_4_trafo_12 | 0.63 MVA 20/0.4 kV | 48 | 19 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15
0 | 2746392.431 | 1254116.793 | 2746393.5832 | 1254118.0482 | 2746418.8806 | 1254143.3067
1 | 2746398.5058 | 1254000.2234 | 2746397.9883 | 1254005.5824 | 2746399.0375 | 1254033.9578 | 2746399.0136 | 1254040.419 | 2746398.6965 | 1254044.0813 | 2746397.8481 | 1254048.4757 | 2746395.5383 | 1254056.7154 | 2746392.1065 | 1254067.8969 | 2746384.3115 | 1254092.5168 | 2746383.5385 | 1254095.3893 | 2746383.2603 | 1254097.7847 | 2746383.1267 | 1254099.8278 | 2746383.6341 | 1254104.0333 | 2746384.6501 | 1254107.2059 | 2746387.0122 | 1254110.89 | 2746392.431 | 1254116.793
2 | 2746398.5058 | 1254000.2234 | 2746399.3911 | 1253994.9513 | 2746400.8787 | 1253968.3848 | 2746406.281 | 1253968.1737 | 2746408.6157 | 1253975.405 | 2746409.2336 | 1253984.9072 | 2746410.1368 | 1253991.1132 | 2746411.2837 | 1253996.6247 | 2746412.9314 | 1254001.1141 | 2746415.7624 | 1254006.5894 | 2746424.9028 | 1254019.4276 | 2746435.9319 | 1254032.2014
3 | 2746398.5058 | 1254000.2234 | 2746397.259 | 1253999.0581 | 2746396.2776 | 1253995.0967 | 2746396.8944 | 1253978.0957 | 2746396.3197 | 1253975.39 | 2746394.9181 | 1253972.8529 | 2746392.868 | 1253970.9004 | 2746388.3177 | 1253968.0963 | 2746385.7146 | 1253975.072 | 2746384.084 | 1253997.3531 | 2746385.0099 | 1254031.6311 | 2746383.7788 | 1254033.4914
4 | 2746435.9319 | 1254032.2014 | 2746444.389 | 1254040.8358
5 | 2746383.7788 | 1254033.4914 | 2746387.151 | 1254052.7932 | 2746387.1505 | 1254054.9509 | 2746386.5556 | 1254057.027 | 2746385.5868 | 1254058.6602 | 2746384.2552 | 1254060.0064 | 2746382.7801 | 1254061.0487 | 2746381.0672 | 1254061.6403 | 2746379.2604 | 1254061.7513 | 2746377.4517 | 1254061.3284 | 2746375.844 | 1254060.41 | 2746374.556 | 1254059.0769 | 2746371.246 | 1254053.7941
6 | 2746448.8336 | 1254045.3734 | 2746444.389 | 1254040.8358
7 | 2746352.113 | 1254046.0321 | 2746354.4121 | 1254042.4966 | 2746359.7772 | 1254042.2622 | 2746363.3596 | 1254042.9959
8 | 2746310.9206 | 1254105.3158 | 2746314.811 | 1254103.6658 | 2746317.295 | 1254100.8912 | 2746320.6984 | 1254089.6311 | 2746322.7365 | 1254084.1318 | 2746340.4055 | 1254057.3314 | 2746344.1546 | 1254053.1534 | 2746349.3954 | 1254048.7898 | 2746352.113 | 1254046.0321
9 | 2746352.113 | 1254046.0321 | 2746356.2213 | 1254053.8855 | 2746357.9392 | 1254059.1998 | 2746358.6582 | 1254064.3113 | 2746359.2789 | 1254075.8377 | 2746359.6594 | 1254077.7908
10 | 2746363.3596 | 1254042.9959 | 2746365.5879 | 1254044.7638 | 2746371.246 | 1254053.7941
11 | 2746310.9206 | 1254105.3158 | 2746304.7835 | 1254097.7013 | 2746291.5514 | 1254084.6786
12 | 2746359.6594 | 1254077.7908 | 2746360.1563 | 1254080.3415 | 2746362.8004 | 1254084.2217 | 2746363.4782 | 1254086.9154
13 | 2746343.5438 | 1254211.2345 | 2746341.8507 | 1254213.7729 | 2746344.9343 | 1254216.0512
14 | 2746343.5438 | 1254211.2345 | 2746345.0965 | 1254208.27
15 | 2746343.5438 | 1254211.2345 | 2746335.1035 | 1254205.4982 | 2746333.1452 | 1254204.3519
16 | 2746344.9343 | 1254216.0512 | 2746344.479 | 1254217.0632 | 2746345.0902 | 1254217.9903 | 2746347.415 | 1254220.4502
17 | 2746345.0965 | 1254208.27 | 2746344.2059 | 1254204.9114 | 2746342.7343 | 1254200.6265 | 2746342.7156 | 1254200.5724
18 | 2746249.3978 | 1254234.3981 | 2746251.528 | 1254228.8342
19 | 2746228.8645 | 1254206.0973 | 2746222.6956 | 1254208.0135 | 2746227.0499 | 1254215.9953 | 2746229.9426 | 1254219.281 | 2746231.5341 | 1254222.0786 | 2746251.528 | 1254228.8342
20 | 2746251.528 | 1254228.8342 | 2746260.5142 | 1254232.5591
21 | 2746228.8645 | 1254206.0973 | 2746231.2127 | 1254205.4547 | 2746237.1462 | 1254201.9725
22 | 2746260.5142 | 1254232.5591 | 2746279.8898 | 1254240.5903 | 2746290.9133 | 1254245.0335 | 2746291.8696 | 1254247.5707 | 2746292.7123 | 1254249.8159 | 2746292.7123 | 1254249.8159
23 | 2746337.3128 | 1254186.0564 | 2746335.9053 | 1254185.5878 | 2746332.9661 | 1254185.4039 | 2746331.6924 | 1254185.3279 | 2746328.3687 | 1254185.1234 | 2746327.0349 | 1254185.0348 | 2746324.3292 | 1254184.8678 | 2746323.4324 | 1254184.8123 | 2746320.644 | 1254184.6321 | 2746316.76 | 1254184.5027
24 | 2746337.3128 | 1254186.0564 | 2746338.5675 | 1254188.1227 | 2746339.8297 | 1254192.0243 | 2746341.0373 | 1254195.691 | 2746342.2764 | 1254199.3028 | 2746342.7156 | 1254200.5724
25 | 2746316.76 | 1254184.5027 | 2746312.6622 | 1254184.4681 | 2746310.6545 | 1254185.0746 | 2746309.7117 | 1254185.3516 | 2746307.7115 | 1254185.9584 | 2746306.5045 | 1254186.4566
26 | 2746312.927 | 1254193.2942 | 2746313.9212 | 1254190.9387 | 2746316.76 | 1254184.5027
27 | 2746316.76 | 1254184.5027 | 2746321.2142 | 1254172.8682
28 | 2746352.6018 | 1254254.8668 | 2746355.4866 | 1254248.3986 | 2746360.5477 | 1254235.4223 | 2746360.625 | 1254234.4344 | 2746358.6833 | 1254232.3733 | 2746347.415 | 1254220.4502
29 | 2746258.4277 | 1254182.3822 | 2746249.1787 | 1254193.1753 | 2746241.1237 | 1254199.6382 | 2746237.1462 | 1254201.9725
30 | 2746259.109 | 1254181.7822 | 2746258.4277 | 1254182.3822
31 | 2746292.4698 | 1254189.096 | 2746271.7752 | 1254175.8723 | 2746268.4603 | 1254175.3121 | 2746265.1098 | 1254176.4971 | 2746259.109 | 1254181.7822
32 | 2746352.6018 | 1254254.8668 | 2746350.5322 | 1254259.1976
33 | 2746350.5322 | 1254259.1976 | 2746337.3001 | 1254248.6085
34 | 2746448.8336 | 1254045.3734 | 2746460.7722 | 1254057.5621 | 2746473.1319 | 1254067.1059
35 | 2746363.4782 | 1254086.9154 | 2746363.955 | 1254088.8102 | 2746364.4021 | 1254093.9261 | 2746363.5749 | 1254096.8529 | 2746360.5966 | 1254099.4707 | 2746352.3968 | 1254104.4507 | 2746350.0356 | 1254107.3794
36 | 2746475.1533 | 1254068.6668 | 2746473.1319 | 1254067.1059
37 | 2746292.7123 | 1254249.8159 | 2746307.5091 | 1254254.8973 | 2746313.0269 | 1254265.293
38 | 2746270.2704 | 1254141.131 | 2746281.2616 | 1254138.6819 | 2746286.4729 | 1254138.2547 | 2746289.4103 | 1254139.4283 | 2746292.6198 | 1254142.4216 | 2746297.232 | 1254143.3253 | 2746317.3099 | 1254138.4498 | 2746317.5545 | 1254136.1871
39 | 2746336.9072 | 1254131.95 | 2746334.1206 | 1254131.3917 | 2746322.6681 | 1254134.5229 | 2746317.5545 | 1254136.1871
40 | 2746305.6471 | 1254187.9426 | 2746306.1101 | 1254186.6194 | 2746306.5045 | 1254186.4566
41 | 2746312.927 | 1254193.2942 | 2746314.7688 | 1254194.2415
42 | 2746321.2142 | 1254172.8682 | 2746326.7462 | 1254162.7966
43 | 2746305.6471 | 1254187.9426 | 2746302.1301 | 1254187.0104 | 2746299.0537 | 1254186.8787 | 2746295.9577 | 1254187.2359 | 2746292.4698 | 1254189.096
44 | 2746336.9072 | 1254131.95 | 2746333.739 | 1254143.1602 | 2746333.1701 | 1254148.4624 | 2746332.6004 | 1254151.0508 | 2746331.3155 | 1254154.4779 | 2746327.1497 | 1254162.0621
45 | 2746336.9072 | 1254131.95 | 2746337.0969 | 1254131.2985 | 2746340.2522 | 1254122.1343 | 2746345.1704 | 1254113.4141 | 2746350.0356 | 1254107.3794
46 | 2746326.7462 | 1254162.7966 | 2746327.1497 | 1254162.0621

## bus_geodata
| x | y | coords
0 | 2746392.431 | 1254116.793
1 | 2746418.8806 | 1254143.3067
2 | 2746398.5058 | 1254000.2234
3 | 2746435.9319 | 1254032.2014
4 | 2746383.7788 | 1254033.4914
5 | 2746444.389 | 1254040.8358
6 | 2746352.113 | 1254046.0321
7 | 2746363.3596 | 1254042.9959
8 | 2746310.9206 | 1254105.3158
9 | 2746359.6594 | 1254077.7908
10 | 2746371.246 | 1254053.7941
11 | 2746343.5438 | 1254211.2345
12 | 2746344.9343 | 1254216.0512
13 | 2746345.0965 | 1254208.27
14 | 2746333.1452 | 1254204.3519
15 | 2746251.528 | 1254228.8342
16 | 2746249.3978 | 1254234.3981
17 | 2746228.8645 | 1254206.0973
18 | 2746260.5142 | 1254232.5591
19 | 2746337.3128 | 1254186.0564
20 | 2746316.76 | 1254184.5027
21 | 2746342.7156 | 1254200.5724
22 | 2746347.415 | 1254220.4502
23 | 2746237.1462 | 1254201.9725
24 | 2746291.5514 | 1254084.6786
25 | 2746258.4277 | 1254182.3822
26 | 2746259.109 | 1254181.7822
27 | 2746350.5322 | 1254259.1976
28 | 2746352.6018 | 1254254.8668
29 | 2746337.3001 | 1254248.6085
30 | 2746448.8336 | 1254045.3734
31 | 2746363.4782 | 1254086.9154
32 | 2746475.1533 | 1254068.6668
33 | 2746473.1319 | 1254067.1059
34 | 2746292.7123 | 1254249.8159
35 | 2746270.2704 | 1254141.131
36 | 2746317.5545 | 1254136.187
37 | 2746306.5045 | 1254186.4566
38 | 2746312.927 | 1254193.2942
39 | 2746321.2142 | 1254172.8682
40 | 2746292.4698 | 1254189.096
41 | 2746313.0269 | 1254265.293
42 | 2746305.6471 | 1254187.9426
43 | 2746314.7688 | 1254194.2415
44 | 2746336.9072 | 1254131.95
45 | 2746327.1497 | 1254162.0621
46 | 2746350.0356 | 1254107.3794
47 | 2746326.7462 | 1254162.7966
48 | 2746316.76 | 1254184.5027

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1