## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3204-1_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3204-1_0_4_node_2 | 0.4 | n |  | TRUE
2 | bus_LV_3204-1_0_4_node_1 | 0.4 | n |  | TRUE
3 | bus_LV_3204-1_0_4_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_3204-1_0_4_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_3204-1_0_4_node_19 | 0.4 | n |  | TRUE
6 | bus_LV_3204-1_0_4_node_8 | 0.4 | n |  | TRUE
7 | bus_LV_3204-1_0_4_node_17 | 0.4 | n |  | TRUE
8 | bus_LV_3204-1_0_4_node_3 | 0.4 | n |  | TRUE
9 | bus_LV_3204-1_0_4_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_3204-1_0_4_node_43 | 0.4 | n |  | TRUE
11 | bus_LV_3204-1_0_4_node_87 | 0.4 | n |  | TRUE
12 | bus_LV_3204-1_0_4_node_57 | 0.4 | n |  | TRUE
13 | bus_LV_3204-1_0_4_node_63 | 0.4 | n |  | TRUE
14 | bus_LV_3204-1_0_4_node_6 | 0.4 | n |  | TRUE
15 | bus_LV_3204-1_0_4_node_10 | 0.4 | n |  | TRUE
16 | bus_LV_3204-1_0_4_node_48 | 0.4 | n |  | TRUE
17 | bus_LV_3204-1_0_4_node_44 | 0.4 | n |  | TRUE
18 | bus_LV_3204-1_0_4_node_40 | 0.4 | n |  | TRUE
19 | bus_LV_3204-1_0_4_node_80 | 0.4 | n |  | TRUE
20 | bus_LV_3204-1_0_4_node_79 | 0.4 | n |  | TRUE
21 | bus_LV_3204-1_0_4_node_9 | 0.4 | n |  | TRUE
22 | bus_LV_3204-1_0_4_node_39 | 0.4 | n |  | TRUE
23 | bus_LV_3204-1_0_4_node_14 | 0.4 | n |  | TRUE
24 | bus_LV_3204-1_0_4_node_38 | 0.4 | n |  | TRUE
25 | bus_LV_3204-1_0_4_node_13 | 0.4 | n |  | TRUE
26 | bus_LV_3204-1_0_4_node_53 | 0.4 | n |  | TRUE
27 | bus_LV_3204-1_0_4_node_11 | 0.4 | n |  | TRUE
28 | bus_LV_3204-1_0_4_node_58 | 0.4 | n |  | TRUE
29 | bus_LV_3204-1_0_4_node_59 | 0.4 | n |  | TRUE
30 | bus_LV_3204-1_0_4_node_56 | 0.4 | n |  | TRUE
31 | bus_LV_3204-1_0_4_node_54 | 0.4 | n |  | TRUE
32 | bus_LV_3204-1_0_4_node_51 | 0.4 | n |  | TRUE
33 | bus_LV_3204-1_0_4_node_15 | 0.4 | n |  | TRUE
34 | bus_LV_3204-1_0_4_node_75 | 0.4 | n |  | TRUE
35 | bus_LV_3204-1_0_4_node_74 | 0.4 | n |  | TRUE
36 | bus_LV_3204-1_0_4_node_16 | 0.4 | n |  | TRUE
37 | bus_LV_3204-1_0_4_node_18 | 0.4 | n |  | TRUE
38 | bus_LV_3204-1_0_4_node_73 | 0.4 | n |  | TRUE
39 | bus_LV_3204-1_0_4_node_90 | 0.4 | n |  | TRUE
40 | bus_LV_3204-1_0_4_node_89 | 0.4 | n |  | TRUE
41 | bus_LV_3204-1_0_4_node_50 | 0.4 | n |  | TRUE
42 | bus_LV_3204-1_0_4_node_85 | 0.4 | n |  | TRUE
43 | bus_LV_3204-1_0_4_node_41 | 0.4 | n |  | TRUE
44 | bus_LV_3204-1_0_4_node_86 | 0.4 | n |  | TRUE
45 | bus_LV_3204-1_0_4_node_62 | 0.4 | n |  | TRUE
46 | bus_LV_3204-1_0_4_node_32 | 0.4 | n |  | TRUE
47 | bus_LV_3204-1_0_4_node_52 | 0.4 | n |  | TRUE
48 | bus_LV_3204-1_0_4_node_88 | 0.4 | n |  | TRUE
49 | bus_LV_3204-1_0_4_node_67 | 0.4 | n |  | TRUE
50 | bus_LV_3204-1_0_4_node_71 | 0.4 | n |  | TRUE
51 | bus_LV_3204-1_0_4_node_49 | 0.4 | n |  | TRUE
52 | bus_LV_3204-1_0_4_node_20 | 0.4 | n |  | TRUE
53 | bus_LV_3204-1_0_4_node_21 | 0.4 | n |  | TRUE
54 | bus_LV_3204-1_0_4_node_22 | 0.4 | n |  | TRUE
55 | bus_LV_3204-1_0_4_node_23 | 0.4 | n |  | TRUE
56 | bus_LV_3204-1_0_4_node_27 | 0.4 | n |  | TRUE
57 | bus_LV_3204-1_0_4_node_28 | 0.4 | n |  | TRUE
58 | bus_LV_3204-1_0_4_node_24 | 0.4 | n |  | TRUE
59 | bus_LV_3204-1_0_4_node_25 | 0.4 | n |  | TRUE
60 | bus_LV_3204-1_0_4_node_26 | 0.4 | n |  | TRUE
61 | bus_LV_3204-1_0_4_node_29 | 0.4 | n |  | TRUE
62 | bus_LV_3204-1_0_4_node_33 | 0.4 | n |  | TRUE
63 | bus_LV_3204-1_0_4_node_47 | 0.4 | n |  | TRUE
64 | bus_LV_3204-1_0_4_node_45 | 0.4 | n |  | TRUE
65 | bus_LV_3204-1_0_4_node_42 | 0.4 | n |  | TRUE
66 | bus_LV_3204-1_0_4_node_37 | 0.4 | n |  | TRUE
67 | bus_LV_3204-1_0_4_node_35 | 0.4 | n |  | TRUE
68 | bus_LV_3204-1_0_4_node_30 | 0.4 | n |  | TRUE
69 | bus_LV_3204-1_0_4_node_31 | 0.4 | n |  | TRUE
70 | bus_LV_3204-1_0_4_node_36 | 0.4 | n |  | TRUE
71 | bus_LV_3204-1_0_4_node_34 | 0.4 | n |  | TRUE
72 | bus_LV_3204-1_0_4_node_46 | 0.4 | n |  | TRUE
73 | bus_LV_3204-1_0_4_node_60 | 0.4 | n |  | TRUE
74 | bus_LV_3204-1_0_4_node_61 | 0.4 | n |  | TRUE
75 | bus_LV_3204-1_0_4_node_64 | 0.4 | n |  | TRUE
76 | bus_LV_3204-1_0_4_node_65 | 0.4 | n |  | TRUE
77 | bus_LV_3204-1_0_4_node_66 | 0.4 | n |  | TRUE
78 | bus_LV_3204-1_0_4_node_68 | 0.4 | n |  | TRUE
79 | bus_LV_3204-1_0_4_node_78 | 0.4 | n |  | TRUE
80 | bus_LV_3204-1_0_4_node_69 | 0.4 | n |  | TRUE
81 | bus_LV_3204-1_0_4_node_77 | 0.4 | n |  | TRUE
82 | bus_LV_3204-1_0_4_node_70 | 0.4 | n |  | TRUE
83 | bus_LV_3204-1_0_4_node_72 | 0.4 | n |  | TRUE
84 | bus_LV_3204-1_0_4_node_76 | 0.4 | n |  | TRUE
85 | bus_LV_3204-1_0_4_node_84 | 0.4 | n |  | TRUE
86 | bus_LV_3204-1_0_4_node_81 | 0.4 | n |  | TRUE
87 | bus_LV_3204-1_0_4_node_82 | 0.4 | n |  | TRUE
88 | bus_LV_3204-1_0_4_node_83 | 0.4 | n |  | TRUE
89 | bus_MV_412_0_node_140 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3204-1_0_4_load_0 | 0 | 0.014278 | 0.0035785 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3204-1_0_4_load_3 | 8 | 0.0034441 | 0.00086317 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3204-1_0_4_load_43 | 10 | 0.0017761 | 0.00044513 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3204-1_0_4_load_87 | 11 | 0.009438 | 0.0023654 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3204-1_0_4_load_57 | 12 | 0.0063541 | 0.0015925 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3204-1_0_4_load_48 | 16 | 0.024274 | 0.0060836 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3204-1_0_4_load_44 | 17 | 0.0097385 | 0.0024407 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3204-1_0_4_load_40 | 18 | 0.0045762 | 0.0011469 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3204-1_0_4_load_80 | 19 | 0.0055149 | 0.0013822 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3204-1_0_4_load_79 | 20 | 0.0039571 | 0.00099174 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3204-1_0_4_load_39 | 22 | 0.0017604 | 0.00044119 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3204-1_0_4_load_38 | 24 | 0.0030894 | 0.00077428 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3204-1_0_4_load_53 | 26 | 0.0076485 | 0.0019169 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3204-1_0_4_load_58 | 28 | 0.0048134 | 0.0012063 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3204-1_0_4_load_59 | 29 | 0.0069663 | 0.0017459 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3204-1_0_4_load_56 | 30 | 0.003298 | 0.00082655 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3204-1_0_4_load_54 | 31 | 0.0011922 | 0.0002988 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3204-1_0_4_load_51 | 32 | 0.0010755 | 0.00026953 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3204-1_0_4_load_75 | 34 | 0.0037754 | 0.0009462 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3204-1_0_4_load_74 | 35 | 0.0026002 | 0.00065168 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3204-1_0_4_load_73 | 38 | 0.0028551 | 0.00071557 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3204-1_0_4_load_90 | 39 | 0.0012898 | 0.00032326 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3204-1_0_4_load_89 | 40 | 0.0015191 | 0.00038071 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3204-1_0_4_load_85 | 42 | 0.0052263 | 0.0013098 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3204-1_0_4_load_62 | 45 | 0.010265 | 0.0025728 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3204-1_0_4_load_52 | 47 | 0.0058203 | 0.0014587 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3204-1_0_4_load_88 | 48 | 0.005086 | 0.0012747 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3204-1_0_4_load_49 | 51 | 0.0061919 | 0.0015518 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3204-1_0_4_load_20 | 52 | 0.005094 | 0.0012767 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3204-1_0_4_load_21 | 53 | 0.0022571 | 0.00056569 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3204-1_0_4_load_22 | 54 | 0.0010393 | 0.00026048 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3204-1_0_4_load_23 | 55 | 0.0052901 | 0.0013258 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3204-1_0_4_load_24 | 58 | 0.0032203 | 0.00080709 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3204-1_0_4_load_25 | 59 | 0.0018891 | 0.00047345 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3204-1_0_4_load_47 | 63 | 0.0054325 | 0.0013615 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3204-1_0_4_load_45 | 64 | 0.010052 | 0.0025193 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3204-1_0_4_load_37 | 66 | 0.00094635 | 0.00023718 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3204-1_0_4_load_35 | 67 | 0.0031429 | 0.00078767 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3204-1_0_4_load_30 | 68 | 0.0017254 | 0.00043243 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3204-1_0_4_load_31 | 69 | 0.0016006 | 0.00040114 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3204-1_0_4_load_36 | 70 | 0.0018995 | 0.00047605 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3204-1_0_4_load_34 | 71 | 0.0011978 | 0.0003002 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3204-1_0_4_load_46 | 72 | 0.0030957 | 0.00077586 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3204-1_0_4_load_60 | 73 | 0.010176 | 0.0025503 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3204-1_0_4_load_61 | 74 | 0.0032382 | 0.00081156 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3204-1_0_4_load_64 | 75 | 0.0018813 | 0.0004715 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3204-1_0_4_load_65 | 76 | 0.0027543 | 0.00069029 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3204-1_0_4_load_66 | 77 | 0.0029101 | 0.00072935 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3204-1_0_4_load_68 | 78 | 0.0019576 | 0.00049063 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3204-1_0_4_load_78 | 79 | 0.0020279 | 0.00050824 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3204-1_0_4_load_69 | 80 | 0.0023362 | 0.00058551 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3204-1_0_4_load_77 | 81 | 0.0025465 | 0.0006382 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3204-1_0_4_load_70 | 82 | 0.0025676 | 0.0006435 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_3204-1_0_4_load_72 | 83 | 0.0025811 | 0.00064687 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_3204-1_0_4_load_84 | 85 | 0.0036261 | 0.0009088 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_3204-1_0_4_load_81 | 86 | 0.0034441 | 0.00086316 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_3204-1_0_4_load_82 | 87 | 0.0024818 | 0.00062199 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_3204-1_0_4_load_83 | 88 | 0.0047688 | 0.0011952 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 4 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3204-1_0_4_line_0 |  | 0 | 1 | 0.019429 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_3204-1_0_4_line_1 |  | 1 | 5 | 0.051057 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_3204-1_0_4_line_2 |  | 1 | 6 | 0.04002 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_3204-1_0_4_line_3 |  | 1 | 7 | 0.043091 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_3204-1_0_4_line_4 |  | 2 | 3 | 0.023811 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_3204-1_0_4_line_5 |  | 2 | 4 | 0.093526 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
6 | LV_3204-1_0_4_line_6 |  | 3 | 10 | 0.058091 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_3204-1_0_4_line_7 |  | 3 | 11 | 0.024858 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_3204-1_0_4_line_8 |  | 4 | 12 | 0.025791 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_3204-1_0_4_line_9 |  | 4 | 13 | 0.028017 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_3204-1_0_4_line_10 |  | 5 | 41 | 0.033479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_3204-1_0_4_line_11 |  | 5 | 42 | 0.0238 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_3204-1_0_4_line_12 |  | 6 | 19 | 0.027995 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_3204-1_0_4_line_13 |  | 6 | 20 | 0.012581 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_3204-1_0_4_line_14 |  | 7 | 37 | 0.016221 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_3204-1_0_4_line_15 |  | 7 | 39 | 0.022327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_3204-1_0_4_line_16 |  | 8 | 9 | 0.040672 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_3204-1_0_4_line_17 |  | 9 | 17 | 0.015642 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_3204-1_0_4_line_18 |  | 9 | 18 | 0.025557 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_3204-1_0_4_line_19 |  | 10 | 43 | 0.0083026 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_3204-1_0_4_line_20 |  | 11 | 44 | 0.011749 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_3204-1_0_4_line_21 |  | 12 | 30 | 0.026266 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_3204-1_0_4_line_22 |  | 13 | 45 | 0.060971 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_3204-1_0_4_line_23 |  | 14 | 15 | 0.0095691 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_3204-1_0_4_line_24 |  | 14 | 16 | 0.0090519 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_3204-1_0_4_line_25 |  | 15 | 25 | 0.010856 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_3204-1_0_4_line_26 |  | 15 | 26 | 0.022047 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_3204-1_0_4_line_27 |  | 16 | 17 | 0.0029428 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_3204-1_0_4_line_28 |  | 21 | 22 | 0.013392 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_3204-1_0_4_line_29 |  | 21 | 23 | 0.034137 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_3204-1_0_4_line_30 |  | 21 | 24 | 0.019765 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_3204-1_0_4_line_31 |  | 22 | 46 | 0.0043916 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_3204-1_0_4_line_32 |  | 23 | 31 | 0.012855 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_3204-1_0_4_line_33 |  | 23 | 32 | 0.013961 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_3204-1_0_4_line_34 |  | 25 | 28 | 0.0089479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_3204-1_0_4_line_35 |  | 26 | 47 | 0.028344 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_3204-1_0_4_line_36 |  | 27 | 28 | 0.021625 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_3204-1_0_4_line_37 |  | 27 | 29 | 0.0095263 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_3204-1_0_4_line_38 |  | 27 | 30 | 0.01712 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_3204-1_0_4_line_39 |  | 29 | 48 | 0.036447 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_3204-1_0_4_line_40 |  | 32 | 47 | 0.01578 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_3204-1_0_4_line_41 |  | 33 | 34 | 0.047698 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_3204-1_0_4_line_42 |  | 33 | 35 | 0.016898 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_3204-1_0_4_line_43 |  | 35 | 49 | 0.039979 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_3204-1_0_4_line_44 |  | 36 | 37 | 0.029802 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_3204-1_0_4_line_45 |  | 36 | 38 | 0.029269 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_3204-1_0_4_line_46 |  | 37 | 40 | 0.02587 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_3204-1_0_4_line_47 |  | 38 | 50 | 0.011009 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_3204-1_0_4_line_48 |  | 41 | 51 | 0.027306 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_3204-1_0_4_line_49 |  | 42 | 44 | 0.028746 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_3204-1_0_4_line_50 |  | 43 | 65 | 0.024147 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_3204-1_0_4_line_51 |  | 45 | 74 | 0.022303 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_3204-1_0_4_line_52 |  | 46 | 70 | 0.023167 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_3204-1_0_4_line_53 |  | 46 | 69 | 0.010169 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_3204-1_0_4_line_54 |  | 49 | 50 | 0.012416 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_3204-1_0_4_line_55 |  | 49 | 76 | 0.016596 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_3204-1_0_4_line_56 |  | 50 | 80 | 0.01981 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_3204-1_0_4_line_57 |  | 52 | 53 | 0.003117 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_3204-1_0_4_line_58 |  | 52 | 54 | 0.029663 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_3204-1_0_4_line_59 |  | 53 | 55 | 0.014805 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_3204-1_0_4_line_60 |  | 55 | 56 | 0.031931 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_3204-1_0_4_line_61 |  | 56 | 57 | 0.07711 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_3204-1_0_4_line_62 |  | 57 | 63 | 0.024888 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_3204-1_0_4_line_63 |  | 57 | 64 | 0.027687 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_3204-1_0_4_line_64 |  | 58 | 59 | 0.014263 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_3204-1_0_4_line_65 |  | 59 | 60 | 0.12111 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_3204-1_0_4_line_66 |  | 60 | 61 | 0.051239 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_3204-1_0_4_line_67 |  | 61 | 62 | 0.020226 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_3204-1_0_4_line_68 |  | 62 | 66 | 0.017365 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_3204-1_0_4_line_69 |  | 62 | 67 | 0.0071047 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_3204-1_0_4_line_70 |  | 64 | 65 | 0.030788 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_3204-1_0_4_line_71 |  | 65 | 72 | 0.011158 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_3204-1_0_4_line_72 |  | 67 | 71 | 0.0095588 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_3204-1_0_4_line_73 |  | 68 | 69 | 0.0057442 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_3204-1_0_4_line_74 |  | 70 | 71 | 0.018985 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_3204-1_0_4_line_75 |  | 73 | 74 | 0.015982 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_3204-1_0_4_line_76 |  | 75 | 76 | 0.0095545 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_3204-1_0_4_line_77 |  | 75 | 77 | 0.012219 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_3204-1_0_4_line_78 |  | 77 | 78 | 0.0070256 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_3204-1_0_4_line_79 |  | 78 | 79 | 0.014091 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_3204-1_0_4_line_80 |  | 79 | 81 | 0.017298 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_3204-1_0_4_line_81 |  | 80 | 82 | 0.0027965 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_3204-1_0_4_line_82 |  | 82 | 83 | 0.017523 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_3204-1_0_4_line_83 |  | 83 | 84 | 0.0076983 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_3204-1_0_4_line_84 |  | 84 | 85 | 0.009265 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_3204-1_0_4_line_85 |  | 84 | 86 | 0.012316 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_3204-1_0_4_line_86 |  | 86 | 87 | 4.489e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_3204-1_0_4_line_87 |  | 87 | 88 | 0.015182 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3204-1_0_4_trafo_5 | 0.63 MVA 20/0.4 kV | 89 | 4 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9
0 | 2746402.5818 | 1258535.6083 | 2746399.3797 | 1258538.2094 | 2746386.0017 | 1258545.64
1 | 2746391.5282 | 1258493.1046 | 2746410.2369 | 1258526.1885 | 2746404.9693 | 1258529.0499 | 2746404.4443 | 1258531.9731 | 2746402.5818 | 1258535.6083
2 | 2746384.3584 | 1258560.6153 | 2746382.8458 | 1258554.3829 | 2746392.2698 | 1258549.6781 | 2746406.0663 | 1258542.0118 | 2746402.5818 | 1258535.6083
3 | 2746402.5818 | 1258535.6083 | 2746406.0663 | 1258542.0118 | 2746409.3343 | 1258548.0207 | 2746413.384 | 1258548.3546 | 2746417.8293 | 1258550.6779 | 2746420.6534 | 1258554.2068 | 2746428.8318 | 1258567.2106
4 | 2746325.1624 | 1258548.2061 | 2746329.0531 | 1258554.3528 | 2746332.7905 | 1258561.2074 | 2746335.101 | 1258569.6394
5 | 2746258.1091 | 1258605.8383 | 2746256.9558 | 1258601.2386 | 2746302.8328 | 1258585.8464 | 2746336.4015 | 1258574.3873 | 2746335.101 | 1258569.6394
6 | 2746325.1624 | 1258548.2061 | 2746320.14 | 1258544.812 | 2746315.0677 | 1258543.4408 | 2746308.9626 | 1258542.0441 | 2746300.7167 | 1258541.2062 | 2746292.3602 | 1258539.6537 | 2746284.1251 | 1258537.1588 | 2746279.0054 | 1258534.0404 | 2746274.0397 | 1258529.8803 | 2746272.1641 | 1258528.0122
7 | 2746325.1624 | 1258548.2061 | 2746345.5062 | 1258533.9221
8 | 2746258.1091 | 1258605.8383 | 2746233.6557 | 1258614.0366
9 | 2746258.1091 | 1258605.8383 | 2746264.9493 | 1258633.0115
10 | 2746374.149 | 1258464.5026 | 2746385.0102 | 1258481.5767 | 2746391.5282 | 1258493.1046
11 | 2746391.5282 | 1258493.1046 | 2746379.1412 | 1258500.1941 | 2746370.2936 | 1258503.7298
12 | 2746384.3584 | 1258560.6153 | 2746390.9763 | 1258587.8171
13 | 2746384.3584 | 1258560.6153 | 2746372.9633 | 1258565.948
14 | 2746428.8318 | 1258567.2106 | 2746439.1332 | 1258579.7666
15 | 2746428.8318 | 1258567.2106 | 2746425.771 | 1258568.3694 | 2746419.6003 | 1258563.5342 | 2746418.4627 | 1258563.7841 | 2746408.6373 | 1258565.8971
16 | 2746176.4575 | 1258623.405 | 2746214.9978 | 1258610.4113
17 | 2746176.4575 | 1258623.405 | 2746161.5803 | 1258628.2368
18 | 2746176.4575 | 1258623.405 | 2746186.2481 | 1258599.7973
19 | 2746267.7634 | 1258521.0721 | 2746270.4327 | 1258526.2876 | 2746272.1641 | 1258528.0122
20 | 2746355.1216 | 1258527.1708 | 2746345.5062 | 1258533.9221
21 | 2746208.7516 | 1258622.386 | 2746233.6557 | 1258614.0366
22 | 2746264.9493 | 1258633.0115 | 2746269.887 | 1258652.6304 | 2746262.8833 | 1258679.0275 | 2746249.4538 | 1258679.0607
23 | 2746150.1723 | 1258631.9419 | 2746151.8929 | 1258637.0894 | 2746153.2139 | 1258641.0148
24 | 2746150.1723 | 1258631.9419 | 2746158.7815 | 1258629.1458
25 | 2746153.2139 | 1258641.0148 | 2746163.5345 | 1258637.5551
26 | 2746153.2139 | 1258641.0148 | 2746132.3122 | 1258648.0268
27 | 2746161.5803 | 1258628.2368 | 2746158.7815 | 1258629.1458
28 | 2746067.8107 | 1258638.2817 | 2746064.8618 | 1258625.2186
29 | 2746067.8107 | 1258638.2817 | 2746071.6923 | 1258642.9709 | 2746073.9998 | 1258647.8771 | 2746076.6707 | 1258656.696 | 2746078.086 | 1258661.3799 | 2746074.6558 | 1258662.5408 | 2746077.2993 | 1258666.6657
30 | 2746067.8107 | 1258638.2817 | 2746060.0272 | 1258633.3848 | 2746053.4674 | 1258631.4655 | 2746049.9013 | 1258630.3571
31 | 2746063.8947 | 1258620.9348 | 2746064.8618 | 1258625.2186
32 | 2746077.2993 | 1258666.6657 | 2746065.1342 | 1258670.8191
33 | 2746077.2993 | 1258666.6657 | 2746090.5117 | 1258662.1541
34 | 2746163.5345 | 1258637.5551 | 2746172.0174 | 1258634.7083
35 | 2746105.445 | 1258657.0548 | 2746107.8853 | 1258656.2216 | 2746132.3122 | 1258648.0268
36 | 2746192.5192 | 1258627.8282 | 2746172.0174 | 1258634.7083
37 | 2746192.5192 | 1258627.8282 | 2746195.4741 | 1258636.8846
38 | 2746192.5192 | 1258627.8282 | 2746208.7516 | 1258622.386
39 | 2746192.097 | 1258672.3611 | 2746197.4039 | 1258649.9036 | 2746197.8078 | 1258646.0766 | 2746197.3849 | 1258642.7407 | 2746195.4741 | 1258636.8846
40 | 2746090.5117 | 1258662.1541 | 2746105.445 | 1258657.0548
41 | 2746490.08 | 1258659.3493 | 2746470.664 | 1258702.9169
42 | 2746490.08 | 1258659.3493 | 2746474.3391 | 1258653.2047
43 | 2746436.0322 | 1258641.9393 | 2746464.8905 | 1258649.5163 | 2746474.3391 | 1258653.2047
44 | 2746463.4624 | 1258596.9409 | 2746447.8705 | 1258587.2568 | 2746439.1332 | 1258579.7666
45 | 2746463.4624 | 1258596.9409 | 2746448.0908 | 1258621.849
46 | 2746439.1332 | 1258579.7666 | 2746428.8934 | 1258588.7887 | 2746416.8388 | 1258590.8054
47 | 2746442.3091 | 1258631.2175 | 2746448.0908 | 1258621.849
48 | 2746374.149 | 1258464.5026 | 2746360.4039 | 1258471.9143 | 2746349.5354 | 1258476.2195
49 | 2746355.1216 | 1258527.1708 | 2746366.96 | 1258514.8182 | 2746370.152 | 1258503.7864 | 2746370.2936 | 1258503.7298
50 | 2746267.7634 | 1258521.0721 | 2746269.7876 | 1258508.154 | 2746272.077 | 1258497.3223
51 | 2746249.4538 | 1258679.0607 | 2746227.1507 | 1258679.1159
52 | 2746063.8947 | 1258620.9348 | 2746054.2044 | 1258611.3975 | 2746047.8268 | 1258609.1268 | 2746045.0313 | 1258608.947
53 | 2746063.8947 | 1258620.9348 | 2746061.5631 | 1258611.0365
54 | 2746436.0322 | 1258641.9393 | 2746442.3091 | 1258631.2175
55 | 2746436.0322 | 1258641.9393 | 2746431.6942 | 1258657.9585
56 | 2746442.3091 | 1258631.2175 | 2746422.5858 | 1258629.3609
57 | 2746207.473 | 1258358.2484 | 2746209.6034 | 1258360.5237
58 | 2746197.9334 | 1258337.4461 | 2746192.1428 | 1258342.5414 | 2746204.3798 | 1258354.9446 | 2746207.473 | 1258358.2484
59 | 2746219.9785 | 1258371.0787 | 2746214.6239 | 1258365.8861 | 2746209.6034 | 1258360.5237
60 | 2746250.5046 | 1258365.5944 | 2746229.7792 | 1258371.9108 | 2746225.7187 | 1258372.6222 | 2746223.1797 | 1258372.5038 | 2746220.7673 | 1258371.8436 | 2746219.9785 | 1258371.0787
61 | 2746250.5046 | 1258365.5944 | 2746250.1383 | 1258370.6459 | 2746251.6096 | 1258386.4865 | 2746256.1038 | 1258406.3613 | 2746266.2617 | 1258431.1475 | 2746269.0144 | 1258439.7017
62 | 2746269.0144 | 1258439.7017 | 2746264.0006 | 1258439.3107 | 2746259.8361 | 1258440.2643 | 2746253.4018 | 1258444.8542 | 2746247.8778 | 1258450.1935
63 | 2746269.0144 | 1258439.7017 | 2746272.0122 | 1258446.8827 | 2746274.5106 | 1258466.6304
64 | 2745986.1734 | 1258406.9206 | 2745991.4513 | 1258420.171
65 | 2746040.4516 | 1258530.891 | 2746032.2451 | 1258511.047 | 2746011.7541 | 1258465.1413 | 2745996.8842 | 1258433.8108 | 2745991.4513 | 1258420.171
66 | 2746040.4516 | 1258530.891 | 2746043.3502 | 1258537.8248 | 2746053.3788 | 1258580.3914
67 | 2746053.3788 | 1258580.3914 | 2746043.1329 | 1258580.8279 | 2746033.104 | 1258581.0251
68 | 2746018.3119 | 1258574.6651 | 2746027.3486 | 1258575.2442 | 2746031.397 | 1258578.069 | 2746033.104 | 1258581.0251
69 | 2746033.104 | 1258581.0251 | 2746033.9994 | 1258585.6962 | 2746033.9414 | 1258588.0441
70 | 2746272.077 | 1258497.3223 | 2746273.2544 | 1258482.3479 | 2746274.5106 | 1258466.6304
71 | 2746272.077 | 1258497.3223 | 2746275.761 | 1258500.8501 | 2746281.7061 | 1258502.0093
72 | 2746033.7377 | 1258597.6007 | 2746033.8602 | 1258591.3316 | 2746033.9414 | 1258588.0441
73 | 2746061.5631 | 1258611.0365 | 2746060.246 | 1258605.4454
74 | 2746045.0313 | 1258608.947 | 2746042.7739 | 1258608.8018 | 2746037.2963 | 1258607.9548 | 2746035.3558 | 1258604.6815 | 2746033.6888 | 1258600.1026 | 2746033.7377 | 1258597.6007
75 | 2746211.1687 | 1258679.1554 | 2746227.1507 | 1258679.1159
76 | 2746429.1968 | 1258667.1808 | 2746431.6942 | 1258657.9585
77 | 2746429.1968 | 1258667.1808 | 2746427.6643 | 1258672.8402 | 2746426.1503 | 1258676.1059 | 2746424.0105 | 1258677.8436 | 2746424.0105 | 1258677.8436
78 | 2746424.0105 | 1258677.8436 | 2746421.7495 | 1258678.6885 | 2746417.1724 | 1258679.2536
79 | 2746417.1724 | 1258679.2536 | 2746417.1724 | 1258679.2536 | 2746403.1652 | 1258677.7225
80 | 2746385.9699 | 1258675.843 | 2746403.1652 | 1258677.7225
81 | 2746422.5858 | 1258629.3609 | 2746419.8017 | 1258629.0989
82 | 2746419.8017 | 1258629.0989 | 2746402.3559 | 1258627.4567
83 | 2746394.6914 | 1258626.7352 | 2746402.3559 | 1258627.4567
84 | 2746385.4734 | 1258625.5616 | 2746394.6914 | 1258626.7352
85 | 2746394.6914 | 1258626.7352 | 2746393.3832 | 1258638.9819
86 | 2746393.3832 | 1258638.9819 | 2746393.3784 | 1258639.0265
87 | 2746391.7657 | 1258654.1229 | 2746393.3784 | 1258639.0265

## bus_geodata
| x | y | coords
0 | 2746386.0017 | 1258545.64
1 | 2746402.5818 | 1258535.6083
2 | 2746335.101 | 1258569.6394
3 | 2746325.1624 | 1258548.2061
4 | 2746258.1091 | 1258605.8383
5 | 2746391.5282 | 1258493.1046
6 | 2746384.3584 | 1258560.6153
7 | 2746428.8318 | 1258567.2106
8 | 2746214.9978 | 1258610.4113
9 | 2746176.4575 | 1258623.405
10 | 2746272.1641 | 1258528.0122
11 | 2746345.5062 | 1258533.9221
12 | 2746233.6557 | 1258614.0366
13 | 2746264.9493 | 1258633.0115
14 | 2746150.1723 | 1258631.9419
15 | 2746153.2139 | 1258641.0148
16 | 2746158.7815 | 1258629.1458
17 | 2746161.5803 | 1258628.2368
18 | 2746186.2481 | 1258599.7973
19 | 2746390.9763 | 1258587.8171
20 | 2746372.9633 | 1258565.948
21 | 2746067.8107 | 1258638.2817
22 | 2746064.8618 | 1258625.2186
23 | 2746077.2993 | 1258666.6657
24 | 2746049.9013 | 1258630.3571
25 | 2746163.5345 | 1258637.5551
26 | 2746132.3122 | 1258648.0268
27 | 2746192.5192 | 1258627.8282
28 | 2746172.0174 | 1258634.7083
29 | 2746195.4741 | 1258636.8846
30 | 2746208.7516 | 1258622.386
31 | 2746065.1342 | 1258670.8191
32 | 2746090.5117 | 1258662.154
33 | 2746490.08 | 1258659.3493
34 | 2746470.664 | 1258702.9169
35 | 2746474.3391 | 1258653.2047
36 | 2746463.4624 | 1258596.9409
37 | 2746439.1332 | 1258579.7666
38 | 2746448.0908 | 1258621.849
39 | 2746408.6373 | 1258565.8971
40 | 2746416.8388 | 1258590.8054
41 | 2746374.149 | 1258464.5026
42 | 2746370.2936 | 1258503.7298
43 | 2746267.7634 | 1258521.0721
44 | 2746355.1216 | 1258527.1708
45 | 2746249.4538 | 1258679.0607
46 | 2746063.8947 | 1258620.9348
47 | 2746105.445 | 1258657.0548
48 | 2746192.097 | 1258672.3611
49 | 2746436.0322 | 1258641.9393
50 | 2746442.3091 | 1258631.2175
51 | 2746349.5354 | 1258476.2195
52 | 2746207.473 | 1258358.2484
53 | 2746209.6034 | 1258360.5237
54 | 2746197.9334 | 1258337.4461
55 | 2746219.9785 | 1258371.0787
56 | 2746250.5046 | 1258365.5944
57 | 2746269.0144 | 1258439.7017
58 | 2745986.1734 | 1258406.9206
59 | 2745991.4513 | 1258420.171
60 | 2746040.4516 | 1258530.891
61 | 2746053.3788 | 1258580.3914
62 | 2746033.104 | 1258581.0251
63 | 2746247.8778 | 1258450.1935
64 | 2746274.5106 | 1258466.6304
65 | 2746272.077 | 1258497.3223
66 | 2746018.3119 | 1258574.6651
67 | 2746033.9414 | 1258588.0441
68 | 2746060.246 | 1258605.4454
69 | 2746061.5631 | 1258611.0365
70 | 2746045.0313 | 1258608.947
71 | 2746033.7377 | 1258597.6007
72 | 2746281.7061 | 1258502.0093
73 | 2746211.1687 | 1258679.1554
74 | 2746227.1507 | 1258679.1159
75 | 2746429.1968 | 1258667.1808
76 | 2746431.6942 | 1258657.9585
77 | 2746424.0105 | 1258677.8436
78 | 2746417.1724 | 1258679.2536
79 | 2746403.1652 | 1258677.7225
80 | 2746422.5858 | 1258629.3609
81 | 2746385.9699 | 1258675.843
82 | 2746419.8017 | 1258629.0989
83 | 2746402.3559 | 1258627.4567
84 | 2746394.6914 | 1258626.7352
85 | 2746385.4734 | 1258625.5616
86 | 2746393.3832 | 1258638.9819
87 | 2746393.3784 | 1258639.0265
88 | 2746391.7657 | 1258654.1229
89 | 2746256.9558 | 1258601.2386

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1