## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3204-25_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3204-25_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3204-25_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_3204-25_0_6_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_3204-25_0_6_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_3204-25_0_6_node_21 | 0.4 | n |  | TRUE
6 | bus_LV_3204-25_0_6_node_66 | 0.4 | n |  | TRUE
7 | bus_LV_3204-25_0_6_node_65 | 0.4 | n |  | TRUE
8 | bus_LV_3204-25_0_6_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_3204-25_0_6_node_22 | 0.4 | n |  | TRUE
10 | bus_LV_3204-25_0_6_node_57 | 0.4 | n |  | TRUE
11 | bus_LV_3204-25_0_6_node_72 | 0.4 | n |  | TRUE
12 | bus_LV_3204-25_0_6_node_7 | 0.4 | n |  | TRUE
13 | bus_LV_3204-25_0_6_node_73 | 0.4 | n |  | TRUE
14 | bus_LV_3204-25_0_6_node_58 | 0.4 | n |  | TRUE
15 | bus_LV_3204-25_0_6_node_67 | 0.4 | n |  | TRUE
16 | bus_LV_3204-25_0_6_node_50 | 0.4 | n |  | TRUE
17 | bus_LV_3204-25_0_6_node_9 | 0.4 | n |  | TRUE
18 | bus_LV_3204-25_0_6_node_11 | 0.4 | n |  | TRUE
19 | bus_LV_3204-25_0_6_node_8 | 0.4 | n |  | TRUE
20 | bus_LV_3204-25_0_6_node_10 | 0.4 | n |  | TRUE
21 | bus_LV_3204-25_0_6_node_12 | 0.4 | n |  | TRUE
22 | bus_LV_3204-25_0_6_node_13 | 0.4 | n |  | TRUE
23 | bus_LV_3204-25_0_6_node_18 | 0.4 | n |  | TRUE
24 | bus_LV_3204-25_0_6_node_14 | 0.4 | n |  | TRUE
25 | bus_LV_3204-25_0_6_node_16 | 0.4 | n |  | TRUE
26 | bus_LV_3204-25_0_6_node_35 | 0.4 | n |  | TRUE
27 | bus_LV_3204-25_0_6_node_48 | 0.4 | n |  | TRUE
28 | bus_LV_3204-25_0_6_node_19 | 0.4 | n |  | TRUE
29 | bus_LV_3204-25_0_6_node_15 | 0.4 | n |  | TRUE
30 | bus_LV_3204-25_0_6_node_37 | 0.4 | n |  | TRUE
31 | bus_LV_3204-25_0_6_node_33 | 0.4 | n |  | TRUE
32 | bus_LV_3204-25_0_6_node_47 | 0.4 | n |  | TRUE
33 | bus_LV_3204-25_0_6_node_71 | 0.4 | n |  | TRUE
34 | bus_LV_3204-25_0_6_node_54 | 0.4 | n |  | TRUE
35 | bus_LV_3204-25_0_6_node_55 | 0.4 | n |  | TRUE
36 | bus_LV_3204-25_0_6_node_23 | 0.4 | n |  | TRUE
37 | bus_LV_3204-25_0_6_node_25 | 0.4 | n |  | TRUE
38 | bus_LV_3204-25_0_6_node_27 | 0.4 | n |  | TRUE
39 | bus_LV_3204-25_0_6_node_28 | 0.4 | n |  | TRUE
40 | bus_LV_3204-25_0_6_node_46 | 0.4 | n |  | TRUE
41 | bus_LV_3204-25_0_6_node_45 | 0.4 | n |  | TRUE
42 | bus_LV_3204-25_0_6_node_44 | 0.4 | n |  | TRUE
43 | bus_LV_3204-25_0_6_node_52 | 0.4 | n |  | TRUE
44 | bus_LV_3204-25_0_6_node_43 | 0.4 | n |  | TRUE
45 | bus_LV_3204-25_0_6_node_29 | 0.4 | n |  | TRUE
46 | bus_LV_3204-25_0_6_node_31 | 0.4 | n |  | TRUE
47 | bus_LV_3204-25_0_6_node_32 | 0.4 | n |  | TRUE
48 | bus_LV_3204-25_0_6_node_30 | 0.4 | n |  | TRUE
49 | bus_LV_3204-25_0_6_node_69 | 0.4 | n |  | TRUE
50 | bus_LV_3204-25_0_6_node_68 | 0.4 | n |  | TRUE
51 | bus_LV_3204-25_0_6_node_53 | 0.4 | n |  | TRUE
52 | bus_LV_3204-25_0_6_node_42 | 0.4 | n |  | TRUE
53 | bus_LV_3204-25_0_6_node_56 | 0.4 | n |  | TRUE
54 | bus_LV_3204-25_0_6_node_51 | 0.4 | n |  | TRUE
55 | bus_LV_3204-25_0_6_node_34 | 0.4 | n |  | TRUE
56 | bus_LV_3204-25_0_6_node_38 | 0.4 | n |  | TRUE
57 | bus_LV_3204-25_0_6_node_39 | 0.4 | n |  | TRUE
58 | bus_LV_3204-25_0_6_node_40 | 0.4 | n |  | TRUE
59 | bus_LV_3204-25_0_6_node_41 | 0.4 | n |  | TRUE
60 | bus_LV_3204-25_0_6_node_70 | 0.4 | n |  | TRUE
61 | bus_LV_3204-25_0_6_node_49 | 0.4 | n |  | TRUE
62 | bus_LV_3204-25_0_6_node_60 | 0.4 | n |  | TRUE
63 | bus_LV_3204-25_0_6_node_59 | 0.4 | n |  | TRUE
64 | bus_MV_412_0_node_78 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3204-25_0_6_load_0 | 0 | 0.011467 | 0.0028738 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3204-25_0_6_load_1 | 1 | 0.013699 | 0.0034334 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3204-25_0_6_load_2 | 2 | 0.01267 | 0.0031755 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3204-25_0_6_load_4 | 3 | 0.011577 | 0.0029015 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3204-25_0_6_load_66 | 6 | 0.014957 | 0.0037485 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3204-25_0_6_load_65 | 7 | 0.0043879 | 0.0010997 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3204-25_0_6_load_57 | 10 | 0.0069685 | 0.0017465 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3204-25_0_6_load_72 | 11 | 0.0015574 | 0.00039033 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3204-25_0_6_load_73 | 13 | 0.042572 | 0.010669 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3204-25_0_6_load_67 | 15 | 0.021701 | 0.0054389 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3204-25_0_6_load_50 | 16 | 0.005002 | 0.0012536 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3204-25_0_6_load_11 | 18 | 0.026123 | 0.0065471 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3204-25_0_6_load_8 | 19 | 0.044913 | 0.011256 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3204-25_0_6_load_18 | 23 | 0.035009 | 0.0087741 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3204-25_0_6_load_16 | 25 | 0.0058753 | 0.0014725 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3204-25_0_6_load_48 | 27 | 0.0047448 | 0.0011892 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3204-25_0_6_load_19 | 28 | 0.034038 | 0.0085306 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3204-25_0_6_load_15 | 29 | 0.016642 | 0.004171 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3204-25_0_6_load_33 | 31 | 0.0042215 | 0.001058 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3204-25_0_6_load_47 | 32 | 0.0090898 | 0.0022781 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3204-25_0_6_load_71 | 33 | 0.01743 | 0.0043683 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3204-25_0_6_load_54 | 34 | 0.0067531 | 0.0016925 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3204-25_0_6_load_23 | 36 | 0.0094767 | 0.0023751 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3204-25_0_6_load_28 | 39 | 0.0086033 | 0.0021562 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3204-25_0_6_load_46 | 40 | 0.008821 | 0.0022107 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3204-25_0_6_load_45 | 41 | 0.0053844 | 0.0013494 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3204-25_0_6_load_52 | 43 | 0.0039593 | 0.00099229 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3204-25_0_6_load_43 | 44 | 0.0050213 | 0.0012585 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3204-25_0_6_load_31 | 46 | 0.0054785 | 0.001373 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3204-25_0_6_load_69 | 49 | 0.0091875 | 0.0023026 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3204-25_0_6_load_68 | 50 | 0.0054332 | 0.0013617 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3204-25_0_6_load_53 | 51 | 0.0034142 | 0.00085567 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3204-25_0_6_load_42 | 52 | 0.006228 | 0.0015609 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3204-25_0_6_load_56 | 53 | 0.0015709 | 0.0003937 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3204-25_0_6_load_51 | 54 | 0.0040597 | 0.0010175 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3204-25_0_6_load_34 | 55 | 0.0070458 | 0.0017658 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3204-25_0_6_load_38 | 56 | 0.0018435 | 0.00046201 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3204-25_0_6_load_40 | 58 | 0.010474 | 0.002625 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3204-25_0_6_load_41 | 59 | 0.0066797 | 0.0016741 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3204-25_0_6_load_70 | 60 | 0.0036439 | 0.00091325 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3204-25_0_6_load_49 | 61 | 0.0020216 | 0.00050665 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3204-25_0_6_load_60 | 62 | 0.0023431 | 0.00058723 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3204-25_0_6_load_59 | 63 | 0.0021469 | 0.00053806 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 61 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3204-25_0_6_line_0 |  | 0 | 1 | 0.0098641 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_3204-25_0_6_line_1 |  | 0 | 2 | 0.0099649 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_3204-25_0_6_line_2 |  | 2 | 3 | 0.0071089 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_3204-25_0_6_line_3 |  | 3 | 4 | 0.061327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_3204-25_0_6_line_4 |  | 4 | 12 | 0.025214 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_3204-25_0_6_line_5 |  | 4 | 8 | 0.016762 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_3204-25_0_6_line_6 |  | 5 | 6 | 0.016271 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_3204-25_0_6_line_7 |  | 5 | 7 | 0.022872 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_3204-25_0_6_line_8 |  | 5 | 8 | 0.026388 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_3204-25_0_6_line_9 |  | 6 | 33 | 0.051743 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_3204-25_0_6_line_10 |  | 7 | 14 | 0.027729 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_3204-25_0_6_line_11 |  | 8 | 11 | 0.010183 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
12 | LV_3204-25_0_6_line_12 |  | 8 | 9 | 0.042165 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_3204-25_0_6_line_13 |  | 9 | 10 | 0.003927 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_3204-25_0_6_line_14 |  | 11 | 16 | 0.036101 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
15 | LV_3204-25_0_6_line_15 |  | 12 | 13 | 0.023302 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_3204-25_0_6_line_16 |  | 14 | 15 | 0.044525 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_3204-25_0_6_line_17 |  | 16 | 61 | 0.020746 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
18 | LV_3204-25_0_6_line_18 |  | 17 | 18 | 0.021444 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_3204-25_0_6_line_19 |  | 17 | 19 | 0.019522 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_3204-25_0_6_line_20 |  | 18 | 20 | 0.023867 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_3204-25_0_6_line_21 |  | 20 | 21 | 0.044893 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_3204-25_0_6_line_22 |  | 21 | 22 | 0.029115 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_3204-25_0_6_line_23 |  | 21 | 23 | 0.016299 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_3204-25_0_6_line_24 |  | 22 | 24 | 0.060525 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
25 | LV_3204-25_0_6_line_25 |  | 22 | 25 | 0.055035 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_3204-25_0_6_line_26 |  | 23 | 28 | 0.030923 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_3204-25_0_6_line_27 |  | 24 | 26 | 0.012714 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_3204-25_0_6_line_28 |  | 24 | 27 | 0.023586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
29 | LV_3204-25_0_6_line_29 |  | 25 | 29 | 0.027959 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_3204-25_0_6_line_30 |  | 26 | 30 | 0.033964 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_3204-25_0_6_line_31 |  | 26 | 31 | 0.015363 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_3204-25_0_6_line_32 |  | 27 | 32 | 0.038033 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
33 | LV_3204-25_0_6_line_33 |  | 30 | 42 | 0.004389 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_3204-25_0_6_line_34 |  | 30 | 43 | 0.0040165 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_3204-25_0_6_line_35 |  | 31 | 55 | 0.017355 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_3204-25_0_6_line_36 |  | 32 | 61 | 0.028902 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
37 | LV_3204-25_0_6_line_37 |  | 34 | 35 | 0.025264 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_3204-25_0_6_line_38 |  | 35 | 53 | 0.010077 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_3204-25_0_6_line_39 |  | 35 | 47 | 0.005349 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_3204-25_0_6_line_40 |  | 35 | 48 | 0.003992 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_3204-25_0_6_line_41 |  | 36 | 37 | 0.021531 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_3204-25_0_6_line_42 |  | 37 | 38 | 0.004517 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_3204-25_0_6_line_43 |  | 37 | 39 | 0.038236 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_3204-25_0_6_line_44 |  | 38 | 40 | 0.008309 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_3204-25_0_6_line_45 |  | 38 | 41 | 0.035241 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_3204-25_0_6_line_46 |  | 41 | 42 | 0.013467 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_3204-25_0_6_line_47 |  | 42 | 44 | 0.01358 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_3204-25_0_6_line_48 |  | 43 | 54 | 0.011947 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_3204-25_0_6_line_49 |  | 45 | 46 | 0.019301 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_3204-25_0_6_line_50 |  | 45 | 47 | 0.003944 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_3204-25_0_6_line_51 |  | 47 | 51 | 0.02001 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_3204-25_0_6_line_52 |  | 48 | 49 | 0.024192 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_3204-25_0_6_line_53 |  | 48 | 50 | 0.052162 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_3204-25_0_6_line_54 |  | 49 | 52 | 0.014335 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_3204-25_0_6_line_55 |  | 51 | 54 | 0.027678 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_3204-25_0_6_line_56 |  | 52 | 57 | 0.036658 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_3204-25_0_6_line_57 |  | 53 | 62 | 0.041038 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_3204-25_0_6_line_58 |  | 56 | 57 | 0.0093859 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_3204-25_0_6_line_59 |  | 56 | 58 | 0.016318 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_3204-25_0_6_line_60 |  | 57 | 59 | 0.028196 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_3204-25_0_6_line_61 |  | 59 | 60 | 0.05063 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_3204-25_0_6_line_62 |  | 62 | 63 | 0.011317 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3204-25_0_6_trafo_49 | 0.63 MVA 20/0.4 kV | 64 | 61 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2747911.5896 | 1257633.2241 | 2747911.4637 | 1257627.7225 | 2747910.8891 | 1257623.3994
1 | 2747911.5896 | 1257633.2241 | 2747911.7701 | 1257641.11 | 2747911.6804 | 1257643.1849
2 | 2747911.3735 | 1257650.2872 | 2747911.6804 | 1257643.1849
3 | 2747897.0795 | 1257709.6988 | 2747900.0477 | 1257700.5084 | 2747905.2949 | 1257684.346 | 2747908.2872 | 1257672.3868 | 2747910.196 | 1257663.0254 | 2747911.3044 | 1257651.8866 | 2747911.3735 | 1257650.2872
4 | 2747918.6763 | 1257721.4944 | 2747907.2934 | 1257712.1231 | 2747904.1978 | 1257711.0224 | 2747897.0795 | 1257709.6988
5 | 2747891.6138 | 1257725.5444 | 2747894.4881 | 1257717.6975 | 2747897.0795 | 1257709.6988
6 | 2747885.4625 | 1257707.8735 | 2747885.572 | 1257698.3669 | 2747887.2396 | 1257691.8124
7 | 2747885.4625 | 1257707.8735 | 2747863.2124 | 1257702.5764
8 | 2747885.4625 | 1257707.8735 | 2747880.7055 | 1257720.7228 | 2747880.4308 | 1257721.4499 | 2747885.9027 | 1257723.4553 | 2747891.6138 | 1257725.5444
9 | 2747855.2002 | 1257664.8804 | 2747855.2751 | 1257664.9219 | 2747858.0797 | 1257668.0061 | 2747869.5065 | 1257671.4059 | 2747872.1126 | 1257674.5853 | 2747890.3322 | 1257679.6565 | 2747887.2396 | 1257691.8124
10 | 2747840.0329 | 1257708.228 | 2747848.2445 | 1257699.013 | 2747863.2124 | 1257702.5764
11 | 2747891.6138 | 1257725.5444 | 2747887.9756 | 1257735.0557
12 | 2747859.6414 | 1257738.0024 | 2747865.6711 | 1257732.1806 | 2747872.4272 | 1257730.4922 | 2747876.5461 | 1257731.6963 | 2747882.208 | 1257733.3393 | 2747885.9027 | 1257723.4553 | 2747891.6138 | 1257725.5444
13 | 2747856.8121 | 1257740.7344 | 2747859.6414 | 1257738.0024
14 | 2747887.9756 | 1257735.0557 | 2747875.0779 | 1257768.7738
15 | 2747918.6763 | 1257721.4944 | 2747921.0671 | 1257719.4077 | 2747923.2973 | 1257717.4059 | 2747927.1692 | 1257714.9113 | 2747939.5047 | 1257712.4394
16 | 2747840.0329 | 1257708.228 | 2747827.0193 | 1257700.1062 | 2747815.7093 | 1257690.5255 | 2747804.8624 | 1257681.112
17 | 2747867.6631 | 1257788.1492 | 2747871.4033 | 1257778.3801 | 2747875.0779 | 1257768.7738
18 | 2747903.6153 | 1257800.373 | 2747897.897 | 1257821.0407
19 | 2747903.6153 | 1257800.373 | 2747922.5015 | 1257805.3164
20 | 2747891.5471 | 1257844.0475 | 2747893.622 | 1257836.4919 | 2747897.897 | 1257821.0407
21 | 2747891.5471 | 1257844.0475 | 2747886.036 | 1257864.1294 | 2747880.5277 | 1257869.3191 | 2747896.5095 | 1257865.2144
22 | 2747887.9558 | 1257892.6386 | 2747892.2569 | 1257871.7701 | 2747896.5095 | 1257865.2144
23 | 2747896.5095 | 1257865.2144 | 2747904.1854 | 1257863.2376 | 2747912.5338 | 1257863.8777
24 | 2747831.4979 | 1257871.0073 | 2747849.4555 | 1257879.2972 | 2747887.9558 | 1257892.6386
25 | 2747887.9558 | 1257892.6386 | 2747900.2282 | 1257896.8938 | 2747904.0102 | 1257899.502 | 2747905.4842 | 1257902.3972 | 2747906.139 | 1257905.7724 | 2747905.6581 | 1257909.92 | 2747905.0244 | 1257913.2408 | 2747897.363 | 1257935.1485
26 | 2747943.3668 | 1257866.2418 | 2747912.5338 | 1257863.8777
27 | 2747823.0139 | 1257874.5322 | 2747826.6538 | 1257868.3392 | 2747831.4979 | 1257871.0073
28 | 2747831.4979 | 1257871.0073 | 2747837.256 | 1257860.6521 | 2747842.3854 | 1257850.0944
29 | 2747871.1288 | 1257937.5811 | 2747872.5353 | 1257937.653 | 2747888.3389 | 1257939.7609 | 2747891.521 | 1257939.2066 | 2747895.0297 | 1257937.9597 | 2747897.363 | 1257935.1485 | 2747897.363 | 1257935.1485
30 | 2747812.1946 | 1257850.1604 | 2747810.9699 | 1257856.3025 | 2747813.956 | 1257857.2558 | 2747818.6861 | 1257858.7531 | 2747819.763 | 1257859.1248 | 2747817.9927 | 1257871.704 | 2747823.0139 | 1257874.5322
31 | 2747823.0139 | 1257874.5322 | 2747816.6475 | 1257885.0835 | 2747815.0084 | 1257887.643
32 | 2747857.3289 | 1257815.141 | 2747853.777 | 1257824.4181 | 2747846.855 | 1257840.8947 | 2747842.3854 | 1257850.0944
33 | 2747812.1946 | 1257850.1604 | 2747807.8787 | 1257849.2962
34 | 2747812.1946 | 1257850.1604 | 2747812.773 | 1257846.1858
35 | 2747815.0084 | 1257887.643 | 2747805.6491 | 1257902.258
36 | 2747857.3289 | 1257815.141 | 2747867.6631 | 1257788.1492
37 | 2747810.2333 | 1257781.3442 | 2747819.2763 | 1257783.2274 | 2747821.0185 | 1257786.2627 | 2747829.0586 | 1257786.6194 | 2747833.0545 | 1257784.595
38 | 2747810.2333 | 1257781.3442 | 2747809.1433 | 1257771.3264
39 | 2747810.7944 | 1257786.6634 | 2747810.2333 | 1257781.3442
40 | 2747810.2333 | 1257781.3442 | 2747806.2991 | 1257780.6008
41 | 2747761.4032 | 1257854.1185 | 2747740.8789 | 1257860.625
42 | 2747761.4032 | 1257854.1185 | 2747762.7057 | 1257858.4441
43 | 2747761.4032 | 1257854.1185 | 2747768.3057 | 1257850.7875 | 2747772.8454 | 1257846.0184 | 2747775.1145 | 1257841.2482 | 2747776.4452 | 1257836.2988 | 2747779.0908 | 1257822.9789
44 | 2747755.6986 | 1257862.9403 | 2747762.7057 | 1257858.4441
45 | 2747762.7057 | 1257858.4441 | 2747774.7337 | 1257854.0734 | 2747780.6025 | 1257849.5488 | 2747784.4159 | 1257846.9749 | 2747790.7953 | 1257845.8664 | 2747794.6754 | 1257846.6454
46 | 2747807.8787 | 1257849.2962 | 2747794.6754 | 1257846.6454
47 | 2747807.8787 | 1257849.2962 | 2747806.9812 | 1257855.3242 | 2747804.9411 | 1257862.5267
48 | 2747813.3971 | 1257834.2716 | 2747813.4204 | 1257834.9206 | 2747813.1783 | 1257843.4006 | 2747812.773 | 1257846.1858
49 | 2747806.8393 | 1257786.7536 | 2747808.3037 | 1257805.9994
50 | 2747810.7944 | 1257786.6634 | 2747806.8393 | 1257786.7536
51 | 2747810.7944 | 1257786.6634 | 2747812.2668 | 1257806.6189
52 | 2747806.2991 | 1257780.6008 | 2747782.4805 | 1257776.3677
53 | 2747806.2991 | 1257780.6008 | 2747802.7546 | 1257749.4708 | 2747799.7653 | 1257732.9466 | 2747798.823 | 1257729.0194
54 | 2747768.3667 | 1257773.8593 | 2747782.4805 | 1257776.3677
55 | 2747813.3971 | 1257834.2716 | 2747812.5299 | 1257810.1853 | 2747812.2668 | 1257806.6189
56 | 2747732.5697 | 1257766.0239 | 2747740.0475 | 1257768.0569 | 2747755.0777 | 1257771.2463 | 2747768.2145 | 1257773.8323 | 2747768.3667 | 1257773.8593
57 | 2747809.1433 | 1257771.3264 | 2747806.5648 | 1257747.6308 | 2747803.5487 | 1257730.6947
58 | 2747732.5697 | 1257766.0239 | 2747726.3074 | 1257773.0153
59 | 2747715.4201 | 1257785.1702 | 2747726.3074 | 1257773.0153
60 | 2747732.5697 | 1257766.0239 | 2747737.6035 | 1257760.4997 | 2747744.6635 | 1257755.7045 | 2747755.2662 | 1257749.6947
61 | 2747755.2662 | 1257749.6947 | 2747758.7585 | 1257747.7152 | 2747765.4592 | 1257741.2984 | 2747769.6814 | 1257734.1412 | 2747771.8096 | 1257727.4656 | 2747771.2246 | 1257718.5757 | 2747767.6491 | 1257707.9983 | 2747766.9806 | 1257706.1696
62 | 2747800.8385 | 1257719.7136 | 2747803.1249 | 1257728.3149 | 2747803.5487 | 1257730.6947

## bus_geodata
| x | y | coords
0 | 2747911.5896 | 1257633.2241
1 | 2747910.8891 | 1257623.3994
2 | 2747911.6804 | 1257643.1849
3 | 2747911.3735 | 1257650.2872
4 | 2747897.0795 | 1257709.6988
5 | 2747885.4625 | 1257707.8735
6 | 2747887.2396 | 1257691.8124
7 | 2747863.2124 | 1257702.5764
8 | 2747891.6138 | 1257725.5444
9 | 2747859.6414 | 1257738.0024
10 | 2747856.8121 | 1257740.7344
11 | 2747887.9756 | 1257735.0557
12 | 2747918.6763 | 1257721.4944
13 | 2747939.5047 | 1257712.4394
14 | 2747840.0329 | 1257708.228
15 | 2747804.8624 | 1257681.112
16 | 2747875.0779 | 1257768.7738
17 | 2747903.6153 | 1257800.373
18 | 2747897.897 | 1257821.0407
19 | 2747922.5015 | 1257805.3164
20 | 2747891.5471 | 1257844.0475
21 | 2747896.5095 | 1257865.2144
22 | 2747887.9558 | 1257892.6386
23 | 2747912.5338 | 1257863.8777
24 | 2747831.4979 | 1257871.0073
25 | 2747897.363 | 1257935.1485
26 | 2747823.0139 | 1257874.5322
27 | 2747842.3854 | 1257850.0944
28 | 2747943.3668 | 1257866.2418
29 | 2747871.1288 | 1257937.5812
30 | 2747812.1946 | 1257850.1604
31 | 2747815.0084 | 1257887.643
32 | 2747857.3289 | 1257815.141
33 | 2747855.2002 | 1257664.8804
34 | 2747833.0545 | 1257784.595
35 | 2747810.2333 | 1257781.3442
36 | 2747740.8789 | 1257860.625
37 | 2747761.4032 | 1257854.1185
38 | 2747762.7057 | 1257858.4441
39 | 2747779.0908 | 1257822.9789
40 | 2747755.6986 | 1257862.9403
41 | 2747794.6754 | 1257846.6454
42 | 2747807.8787 | 1257849.2962
43 | 2747812.773 | 1257846.1858
44 | 2747804.9411 | 1257862.5267
45 | 2747806.8393 | 1257786.7536
46 | 2747808.3037 | 1257805.9994
47 | 2747810.7944 | 1257786.6634
48 | 2747806.2991 | 1257780.6008
49 | 2747782.4805 | 1257776.3677
50 | 2747798.823 | 1257729.0194
51 | 2747812.2668 | 1257806.6189
52 | 2747768.3667 | 1257773.8593
53 | 2747809.1433 | 1257771.3264
54 | 2747813.3971 | 1257834.2716
55 | 2747805.6491 | 1257902.258
56 | 2747726.3074 | 1257773.0153
57 | 2747732.5697 | 1257766.0239
58 | 2747715.4201 | 1257785.1702
59 | 2747755.2662 | 1257749.6947
60 | 2747766.9806 | 1257706.1696
61 | 2747867.6631 | 1257788.1492
62 | 2747803.5487 | 1257730.6947
63 | 2747800.8385 | 1257719.7136
64 | 2747891.6138 | 1257725.5444

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1