## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3204-7_0_1_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3204-7_0_1_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3204-7_0_1_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_3204-7_0_1_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_3204-7_0_1_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_3204-7_0_1_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_3204-7_0_1_node_16 | 0.4 | n |  | TRUE
7 | bus_LV_3204-7_0_1_node_14 | 0.4 | n |  | TRUE
8 | bus_LV_3204-7_0_1_node_36 | 0.4 | n |  | TRUE
9 | bus_LV_3204-7_0_1_node_8 | 0.4 | n |  | TRUE
10 | bus_LV_3204-7_0_1_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_3204-7_0_1_node_35 | 0.4 | n |  | TRUE
12 | bus_LV_3204-7_0_1_node_53 | 0.4 | n |  | TRUE
13 | bus_LV_3204-7_0_1_node_7 | 0.4 | n |  | TRUE
14 | bus_LV_3204-7_0_1_node_13 | 0.4 | n |  | TRUE
15 | bus_LV_3204-7_0_1_node_56 | 0.4 | n |  | TRUE
16 | bus_LV_3204-7_0_1_node_71 | 0.4 | n |  | TRUE
17 | bus_LV_3204-7_0_1_node_9 | 0.4 | n |  | TRUE
18 | bus_LV_3204-7_0_1_node_12 | 0.4 | n |  | TRUE
19 | bus_LV_3204-7_0_1_node_65 | 0.4 | n |  | TRUE
20 | bus_LV_3204-7_0_1_node_10 | 0.4 | n |  | TRUE
21 | bus_LV_3204-7_0_1_node_68 | 0.4 | n |  | TRUE
22 | bus_LV_3204-7_0_1_node_69 | 0.4 | n |  | TRUE
23 | bus_LV_3204-7_0_1_node_67 | 0.4 | n |  | TRUE
24 | bus_LV_3204-7_0_1_node_72 | 0.4 | n |  | TRUE
25 | bus_LV_3204-7_0_1_node_73 | 0.4 | n |  | TRUE
26 | bus_LV_3204-7_0_1_node_70 | 0.4 | n |  | TRUE
27 | bus_LV_3204-7_0_1_node_30 | 0.4 | n |  | TRUE
28 | bus_LV_3204-7_0_1_node_18 | 0.4 | n |  | TRUE
29 | bus_LV_3204-7_0_1_node_38 | 0.4 | n |  | TRUE
30 | bus_LV_3204-7_0_1_node_27 | 0.4 | n |  | TRUE
31 | bus_LV_3204-7_0_1_node_25 | 0.4 | n |  | TRUE
32 | bus_LV_3204-7_0_1_node_48 | 0.4 | n |  | TRUE
33 | bus_LV_3204-7_0_1_node_49 | 0.4 | n |  | TRUE
34 | bus_LV_3204-7_0_1_node_50 | 0.4 | n |  | TRUE
35 | bus_LV_3204-7_0_1_node_51 | 0.4 | n |  | TRUE
36 | bus_LV_3204-7_0_1_node_52 | 0.4 | n |  | TRUE
37 | bus_LV_3204-7_0_1_node_54 | 0.4 | n |  | TRUE
38 | bus_LV_3204-7_0_1_node_57 | 0.4 | n |  | TRUE
39 | bus_LV_3204-7_0_1_node_47 | 0.4 | n |  | TRUE
40 | bus_LV_3204-7_0_1_node_88 | 0.4 | n |  | TRUE
41 | bus_LV_3204-7_0_1_node_15 | 0.4 | n |  | TRUE
42 | bus_LV_3204-7_0_1_node_17 | 0.4 | n |  | TRUE
43 | bus_LV_3204-7_0_1_node_43 | 0.4 | n |  | TRUE
44 | bus_LV_3204-7_0_1_node_22 | 0.4 | n |  | TRUE
45 | bus_LV_3204-7_0_1_node_29 | 0.4 | n |  | TRUE
46 | bus_LV_3204-7_0_1_node_41 | 0.4 | n |  | TRUE
47 | bus_LV_3204-7_0_1_node_20 | 0.4 | n |  | TRUE
48 | bus_LV_3204-7_0_1_node_40 | 0.4 | n |  | TRUE
49 | bus_LV_3204-7_0_1_node_21 | 0.4 | n |  | TRUE
50 | bus_LV_3204-7_0_1_node_23 | 0.4 | n |  | TRUE
51 | bus_LV_3204-7_0_1_node_24 | 0.4 | n |  | TRUE
52 | bus_LV_3204-7_0_1_node_26 | 0.4 | n |  | TRUE
53 | bus_LV_3204-7_0_1_node_28 | 0.4 | n |  | TRUE
54 | bus_LV_3204-7_0_1_node_33 | 0.4 | n |  | TRUE
55 | bus_LV_3204-7_0_1_node_34 | 0.4 | n |  | TRUE
56 | bus_LV_3204-7_0_1_node_39 | 0.4 | n |  | TRUE
57 | bus_LV_3204-7_0_1_node_31 | 0.4 | n |  | TRUE
58 | bus_LV_3204-7_0_1_node_32 | 0.4 | n |  | TRUE
59 | bus_LV_3204-7_0_1_node_44 | 0.4 | n |  | TRUE
60 | bus_LV_3204-7_0_1_node_42 | 0.4 | n |  | TRUE
61 | bus_LV_3204-7_0_1_node_45 | 0.4 | n |  | TRUE
62 | bus_LV_3204-7_0_1_node_46 | 0.4 | n |  | TRUE
63 | bus_LV_3204-7_0_1_node_91 | 0.4 | n |  | TRUE
64 | bus_LV_3204-7_0_1_node_80 | 0.4 | n |  | TRUE
65 | bus_LV_3204-7_0_1_node_86 | 0.4 | n |  | TRUE
66 | bus_LV_3204-7_0_1_node_58 | 0.4 | n |  | TRUE
67 | bus_LV_3204-7_0_1_node_59 | 0.4 | n |  | TRUE
68 | bus_LV_3204-7_0_1_node_60 | 0.4 | n |  | TRUE
69 | bus_LV_3204-7_0_1_node_61 | 0.4 | n |  | TRUE
70 | bus_LV_3204-7_0_1_node_96 | 0.4 | n |  | TRUE
71 | bus_LV_3204-7_0_1_node_95 | 0.4 | n |  | TRUE
72 | bus_LV_3204-7_0_1_node_89 | 0.4 | n |  | TRUE
73 | bus_LV_3204-7_0_1_node_87 | 0.4 | n |  | TRUE
74 | bus_LV_3204-7_0_1_node_74 | 0.4 | n |  | TRUE
75 | bus_LV_3204-7_0_1_node_75 | 0.4 | n |  | TRUE
76 | bus_LV_3204-7_0_1_node_76 | 0.4 | n |  | TRUE
77 | bus_LV_3204-7_0_1_node_77 | 0.4 | n |  | TRUE
78 | bus_LV_3204-7_0_1_node_78 | 0.4 | n |  | TRUE
79 | bus_LV_3204-7_0_1_node_79 | 0.4 | n |  | TRUE
80 | bus_LV_3204-7_0_1_node_97 | 0.4 | n |  | TRUE
81 | bus_LV_3204-7_0_1_node_94 | 0.4 | n |  | TRUE
82 | bus_LV_3204-7_0_1_node_83 | 0.4 | n |  | TRUE
83 | bus_LV_3204-7_0_1_node_93 | 0.4 | n |  | TRUE
84 | bus_LV_3204-7_0_1_node_98 | 0.4 | n |  | TRUE
85 | bus_LV_3204-7_0_1_node_81 | 0.4 | n |  | TRUE
86 | bus_LV_3204-7_0_1_node_92 | 0.4 | n |  | TRUE
87 | bus_LV_3204-7_0_1_node_82 | 0.4 | n |  | TRUE
88 | bus_LV_3204-7_0_1_node_84 | 0.4 | n |  | TRUE
89 | bus_LV_3204-7_0_1_node_85 | 0.4 | n |  | TRUE
90 | bus_LV_3204-7_0_1_node_90 | 0.4 | n |  | TRUE
91 | bus_LV_3204-7_0_1_node_99 | 0.4 | n |  | TRUE
92 | bus_LV_3204-7_0_1_node_100 | 0.4 | n |  | TRUE
93 | bus_LV_3204-7_0_1_node_102 | 0.4 | n |  | TRUE
94 | bus_LV_3204-7_0_1_node_109 | 0.4 | n |  | TRUE
95 | bus_LV_3204-7_0_1_node_115 | 0.4 | n |  | TRUE
96 | bus_LV_3204-7_0_1_node_113 | 0.4 | n |  | TRUE
97 | bus_LV_3204-7_0_1_node_114 | 0.4 | n |  | TRUE
98 | bus_LV_3204-7_0_1_node_112 | 0.4 | n |  | TRUE
99 | bus_LV_3204-7_0_1_node_101 | 0.4 | n |  | TRUE
100 | bus_LV_3204-7_0_1_node_110 | 0.4 | n |  | TRUE
101 | bus_LV_3204-7_0_1_node_106 | 0.4 | n |  | TRUE
102 | bus_LV_3204-7_0_1_node_116 | 0.4 | n |  | TRUE
103 | bus_LV_3204-7_0_1_node_103 | 0.4 | n |  | TRUE
104 | bus_LV_3204-7_0_1_node_104 | 0.4 | n |  | TRUE
105 | bus_LV_3204-7_0_1_node_105 | 0.4 | n |  | TRUE
106 | bus_LV_3204-7_0_1_node_108 | 0.4 | n |  | TRUE
107 | bus_LV_3204-7_0_1_node_111 | 0.4 | n |  | TRUE
108 | bus_MV_412_0_node_87 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3204-7_0_1_load_0 | 0 | 0.00047895 | 0.00012003 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3204-7_0_1_load_4 | 4 | 0.0011405 | 0.00028583 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3204-7_0_1_load_16 | 6 | 0.00035423 | 8.878e-05 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3204-7_0_1_load_14 | 7 | 0.00058579 | 0.00014681 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3204-7_0_1_load_36 | 8 | 0.00043949 | 0.00011015 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3204-7_0_1_load_35 | 11 | 0.00081414 | 0.00020404 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3204-7_0_1_load_56 | 15 | 0.0038516 | 0.00096529 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3204-7_0_1_load_71 | 16 | 0.0040738 | 0.001021 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3204-7_0_1_load_65 | 19 | 0.0023258 | 0.00058289 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3204-7_0_1_load_68 | 21 | 0.0040109 | 0.0010052 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3204-7_0_1_load_69 | 22 | 0.00033719 | 8.4508e-05 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3204-7_0_1_load_67 | 23 | 0.0017682 | 0.00044316 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3204-7_0_1_load_72 | 24 | 0.0011124 | 0.00027878 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3204-7_0_1_load_73 | 25 | 0.0017838 | 0.00044705 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3204-7_0_1_load_70 | 26 | 0.0014236 | 0.0003568 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3204-7_0_1_load_30 | 27 | 0.00033071 | 8.2883e-05 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3204-7_0_1_load_27 | 30 | 0.00024875 | 6.2343e-05 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3204-7_0_1_load_48 | 32 | 9.168e-05 | 2.2977e-05 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3204-7_0_1_load_49 | 33 | 0.00081645 | 0.00020462 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3204-7_0_1_load_50 | 34 | 0.0005999 | 0.00015035 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3204-7_0_1_load_51 | 35 | 7.1827e-05 | 1.8002e-05 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3204-7_0_1_load_54 | 37 | 0.00099619 | 0.00024967 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3204-7_0_1_load_57 | 38 | 0.0021655 | 0.00054271 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3204-7_0_1_load_43 | 43 | 0.0007208 | 0.00018065 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3204-7_0_1_load_29 | 45 | 0.0010356 | 0.00025954 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3204-7_0_1_load_20 | 47 | 0.00048944 | 0.00012267 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3204-7_0_1_load_40 | 48 | 0.00035962 | 9.0129e-05 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3204-7_0_1_load_21 | 49 | 0.0024043 | 0.00060258 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3204-7_0_1_load_23 | 50 | 0.00065698 | 0.00016465 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3204-7_0_1_load_24 | 51 | 0.00019165 | 4.8031e-05 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3204-7_0_1_load_28 | 53 | 0.00023005 | 5.7657e-05 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3204-7_0_1_load_33 | 54 | 0.00020019 | 5.0173e-05 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3204-7_0_1_load_34 | 55 | 0.0015858 | 0.00039744 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3204-7_0_1_load_39 | 56 | 0.00031077 | 7.7886e-05 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3204-7_0_1_load_32 | 58 | 0.0022606 | 0.00056656 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3204-7_0_1_load_44 | 59 | 0.00050399 | 0.00012631 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3204-7_0_1_load_46 | 62 | 0.0022811 | 0.00057169 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3204-7_0_1_load_58 | 66 | 0.0011573 | 0.00029004 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3204-7_0_1_load_59 | 67 | 0.00044549 | 0.00011165 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3204-7_0_1_load_60 | 68 | 0.00087506 | 0.00021931 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3204-7_0_1_load_61 | 69 | 0.00081466 | 0.00020417 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3204-7_0_1_load_96 | 70 | 0.0031463 | 0.00078854 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3204-7_0_1_load_95 | 71 | 0.0033599 | 0.00084206 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3204-7_0_1_load_87 | 73 | 0.0032748 | 0.00082074 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3204-7_0_1_load_74 | 74 | 0.00079559 | 0.00019939 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3204-7_0_1_load_75 | 75 | 0.00042943 | 0.00010763 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3204-7_0_1_load_77 | 77 | 0.00052589 | 0.0001318 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3204-7_0_1_load_79 | 79 | 0.00057677 | 0.00014455 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3204-7_0_1_load_97 | 80 | 0.0012125 | 0.00030389 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3204-7_0_1_load_94 | 81 | 0.0016101 | 0.00040353 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3204-7_0_1_load_93 | 83 | 0.00063991 | 0.00016038 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3204-7_0_1_load_81 | 85 | 0.00082962 | 0.00020792 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3204-7_0_1_load_92 | 86 | 0.00055961 | 0.00014025 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_3204-7_0_1_load_85 | 89 | 0.00388 | 0.00097242 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_3204-7_0_1_load_90 | 90 | 0.0020708 | 0.00051899 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_3204-7_0_1_load_102 | 93 | 0.00046187 | 0.00011576 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_3204-7_0_1_load_115 | 95 | 0.00058953 | 0.00014775 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_3204-7_0_1_load_114 | 97 | 0.0009818 | 0.00024606 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_3204-7_0_1_load_112 | 98 | 0.00033214 | 8.3243e-05 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_3204-7_0_1_load_101 | 99 | 0.00016327 | 4.0919e-05 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_3204-7_0_1_load_110 | 100 | 0.00045433 | 0.00011387 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_3204-7_0_1_load_116 | 102 | 0.00019749 | 4.9496e-05 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_3204-7_0_1_load_103 | 103 | 0.00015607 | 3.9116e-05 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_3204-7_0_1_load_104 | 104 | 0.00013691 | 3.4313e-05 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_3204-7_0_1_load_105 | 105 | 0.00038012 | 9.5266e-05 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_3204-7_0_1_load_108 | 106 | 0.0086123 | 0.0021584 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_3204-7_0_1_load_111 | 107 | 7.6251e-05 | 1.911e-05 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 62 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3204-7_0_1_line_0 |  | 0 | 1 | 0.042897 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_3204-7_0_1_line_1 |  | 0 | 2 | 0.080566 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_3204-7_0_1_line_2 |  | 1 | 3 | 0.004131 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_3204-7_0_1_line_3 |  | 1 | 4 | 0.004559 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_3204-7_0_1_line_4 |  | 2 | 5 | 0.28509 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_3204-7_0_1_line_5 |  | 3 | 6 | 0.1549 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_3204-7_0_1_line_6 |  | 3 | 7 | 0.011115 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_3204-7_0_1_line_7 |  | 4 | 8 | 0.027752 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_3204-7_0_1_line_8 |  | 5 | 9 | 0.18172 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_3204-7_0_1_line_9 |  | 6 | 27 | 0.033477 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_3204-7_0_1_line_10 |  | 8 | 28 | 0.053249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_3204-7_0_1_line_11 |  | 9 | 16 | 0.013511 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_3204-7_0_1_line_12 |  | 10 | 11 | 0.036373 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_3204-7_0_1_line_13 |  | 10 | 12 | 0.74954 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_3204-7_0_1_line_14 |  | 11 | 29 | 0.03473 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_3204-7_0_1_line_15 |  | 12 | 35 | 0.015111 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_3204-7_0_1_line_16 |  | 13 | 14 | 0.1579 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_3204-7_0_1_line_17 |  | 13 | 15 | 0.15694 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_3204-7_0_1_line_18 |  | 14 | 26 | 0.020836 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_3204-7_0_1_line_19 |  | 14 | 20 | 0.041177 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_3204-7_0_1_line_20 |  | 15 | 38 | 0.054845 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_3204-7_0_1_line_21 |  | 16 | 26 | 0.001042 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_3204-7_0_1_line_22 |  | 17 | 18 | 0.010112 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_3204-7_0_1_line_23 |  | 17 | 19 | 0.039105 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_3204-7_0_1_line_24 |  | 18 | 24 | 0.050561 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_3204-7_0_1_line_25 |  | 18 | 25 | 0.042708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_3204-7_0_1_line_26 |  | 18 | 22 | 0.02587 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_3204-7_0_1_line_27 |  | 20 | 21 | 0.015637 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_3204-7_0_1_line_28 |  | 20 | 22 | 0.079863 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_3204-7_0_1_line_29 |  | 20 | 23 | 0.016952 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_3204-7_0_1_line_30 |  | 23 | 39 | 0.071089 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_3204-7_0_1_line_31 |  | 25 | 40 | 0.0026672 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_3204-7_0_1_line_32 |  | 27 | 45 | 0.0061314 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_3204-7_0_1_line_33 |  | 28 | 44 | 0.032791 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_3204-7_0_1_line_34 |  | 28 | 41 | 0.006025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_3204-7_0_1_line_35 |  | 29 | 56 | 0.012761 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_3204-7_0_1_line_36 |  | 29 | 53 | 0.0019197 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_3204-7_0_1_line_37 |  | 30 | 31 | 0.023871 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_3204-7_0_1_line_38 |  | 31 | 53 | 0.015511 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_3204-7_0_1_line_39 |  | 31 | 50 | 0.014747 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_3204-7_0_1_line_40 |  | 32 | 33 | 0.013845 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_3204-7_0_1_line_41 |  | 32 | 34 | 0.023164 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_3204-7_0_1_line_42 |  | 33 | 35 | 0.0001773 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_3204-7_0_1_line_43 |  | 34 | 36 | 0.055025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_3204-7_0_1_line_44 |  | 36 | 37 | 0.034777 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_3204-7_0_1_line_45 |  | 38 | 66 | 0.037472 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_3204-7_0_1_line_46 |  | 39 | 61 | 0.30192 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_3204-7_0_1_line_47 |  | 40 | 72 | 0.027902 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_3204-7_0_1_line_48 |  | 40 | 73 | 0.027205 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_3204-7_0_1_line_49 |  | 41 | 42 | 0.10252 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_3204-7_0_1_line_50 |  | 42 | 43 | 0.013236 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_3204-7_0_1_line_51 |  | 43 | 46 | 0.011559 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_3204-7_0_1_line_52 |  | 44 | 47 | 0.030126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_3204-7_0_1_line_53 |  | 45 | 57 | 0.0067977 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_3204-7_0_1_line_54 |  | 46 | 60 | 0.003746 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_3204-7_0_1_line_55 |  | 46 | 48 | 0.006964 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_3204-7_0_1_line_56 |  | 47 | 49 | 0.017377 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_3204-7_0_1_line_57 |  | 50 | 51 | 0.019292 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_3204-7_0_1_line_58 |  | 51 | 52 | 0.012729 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_3204-7_0_1_line_59 |  | 52 | 54 | 0.03033 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_3204-7_0_1_line_60 |  | 52 | 55 | 0.034649 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_3204-7_0_1_line_61 |  | 56 | 61 | 0.31435 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_3204-7_0_1_line_62 |  | 57 | 58 | 0.013965 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_3204-7_0_1_line_63 |  | 59 | 60 | 0.010099 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_3204-7_0_1_line_64 |  | 62 | 63 | 0.014904 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_3204-7_0_1_line_65 |  | 63 | 64 | 0.019473 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_3204-7_0_1_line_66 |  | 63 | 65 | 0.027068 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_3204-7_0_1_line_67 |  | 64 | 83 | 0.0081058 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_3204-7_0_1_line_68 |  | 65 | 90 | 0.014939 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_3204-7_0_1_line_69 |  | 65 | 82 | 0.015925 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_3204-7_0_1_line_70 |  | 66 | 67 | 0.010945 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_3204-7_0_1_line_71 |  | 67 | 68 | 0.0075584 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_3204-7_0_1_line_72 |  | 68 | 69 | 0.015105 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_3204-7_0_1_line_73 |  | 70 | 71 | 0.066671 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_3204-7_0_1_line_74 |  | 71 | 81 | 0.15911 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_3204-7_0_1_line_75 |  | 72 | 86 | 0.0046104 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_3204-7_0_1_line_76 |  | 74 | 75 | 0.0022026 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_3204-7_0_1_line_77 |  | 74 | 76 | 0.014485 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_3204-7_0_1_line_78 |  | 75 | 77 | 0.030685 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_3204-7_0_1_line_79 |  | 76 | 78 | 0.29343 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_3204-7_0_1_line_80 |  | 76 | 79 | 0.01484 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_3204-7_0_1_line_81 |  | 78 | 80 | 0.023386 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_3204-7_0_1_line_82 |  | 78 | 81 | 0.019668 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_3204-7_0_1_line_83 |  | 79 | 82 | 0.014534 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_3204-7_0_1_line_84 |  | 80 | 84 | 0.076215 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_3204-7_0_1_line_85 |  | 82 | 85 | 0.03218 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_3204-7_0_1_line_86 |  | 83 | 86 | 0.035651 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_3204-7_0_1_line_87 |  | 84 | 91 | 0.03153 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_3204-7_0_1_line_88 |  | 87 | 88 | 0.019849 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_3204-7_0_1_line_89 |  | 87 | 89 | 0.021802 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_3204-7_0_1_line_90 |  | 88 | 90 | 0.0058878 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_3204-7_0_1_line_91 |  | 91 | 92 | 0.034473 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_3204-7_0_1_line_92 |  | 91 | 93 | 0.014674 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_3204-7_0_1_line_93 |  | 91 | 94 | 0.058136 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_3204-7_0_1_line_94 |  | 92 | 95 | 0.0037867 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_3204-7_0_1_line_95 |  | 93 | 99 | 0.0097555 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_3204-7_0_1_line_96 |  | 94 | 100 | 0.019653 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_3204-7_0_1_line_97 |  | 94 | 101 | 0.033051 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_3204-7_0_1_line_98 |  | 95 | 102 | 0.010994 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_3204-7_0_1_line_99 |  | 96 | 97 | 0.0055589 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_3204-7_0_1_line_100 |  | 96 | 98 | 0.010585 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_3204-7_0_1_line_101 |  | 98 | 107 | 0.010299 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_3204-7_0_1_line_102 |  | 99 | 103 | 0.0086725 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_3204-7_0_1_line_103 |  | 100 | 107 | 0.0030049 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_3204-7_0_1_line_104 |  | 101 | 106 | 0.35967 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_3204-7_0_1_line_105 |  | 101 | 104 | 0.029634 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_3204-7_0_1_line_106 |  | 104 | 105 | 0.034262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3204-7_0_1_trafo_46 | 0.63 MVA 20/0.4 kV | 108 | 62 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17
0 | 2745325.4873 | 1259980.6353 | 2745318.9656 | 1259990.1066 | 2745301.0765 | 1260015.9093
1 | 2745255.173 | 1260082.1188 | 2745301.0765 | 1260015.9093
2 | 2745328.3858 | 1259983.5871 | 2745325.4873 | 1259980.6353
3 | 2745325.4873 | 1259980.6353 | 2745328.075 | 1259976.8818
4 | 2745097.1772 | 1260314.3353 | 2745128.5375 | 1260271.3181 | 2745125.0358 | 1260268.674 | 2745155.1146 | 1260226.5819 | 2745185.2613 | 1260182.968 | 2745255.173 | 1260082.1188
5 | 2745328.3858 | 1259983.5871 | 2745376.8517 | 1260032.8701 | 2745435.1955 | 1260095.7561
6 | 2745328.3858 | 1259983.5871 | 2745334.7283 | 1259974.4591
7 | 2745343.8269 | 1259954.0339 | 2745328.075 | 1259976.8818
8 | 2744985.2616 | 1260420.2396 | 2744987.7799 | 1260422.7037 | 2744995.2756 | 1260430.3504 | 2745002.9653 | 1260435.9331 | 2745044.2892 | 1260380.1361 | 2745093.6866 | 1260311.8584 | 2745097.1772 | 1260314.3353
9 | 2745435.1955 | 1260095.7561 | 2745450.0085 | 1260111.7224 | 2745458.3673 | 1260119.9051
10 | 2745373.349 | 1259909.753 | 2745367.9926 | 1259919.0527 | 2745360.0654 | 1259930.4802 | 2745343.8269 | 1259954.0339
11 | 2744985.2616 | 1260420.2396 | 2744977.0152 | 1260430.9421
12 | 2745488.4782 | 1260888.4039 | 2745474.5856 | 1260896.8706 | 2745466.0072 | 1260900.4855 | 2745458.0017 | 1260905.3267 | 2745456.6247 | 1260905.7467
13 | 2745488.4782 | 1260888.4039 | 2746178.049 | 1260594.6238
14 | 2745438.907 | 1260929.7256 | 2745441.5093 | 1260918.0337 | 2745442.6084 | 1260914.4238 | 2745443.7171 | 1260910.425 | 2745444.9948 | 1260907.8316 | 2745447.8525 | 1260906.901 | 2745453.1096 | 1260906.819 | 2745456.6247 | 1260905.7467
15 | 2746178.049 | 1260594.6238 | 2746190.4375 | 1260603.276
16 | 2744964.8516 | 1260449.101 | 2744954.1977 | 1260443.5568 | 2744944.2792 | 1260438.4644 | 2744932.9695 | 1260434.7615 | 2744922.1396 | 1260433.3171 | 2744912.8339 | 1260433.6784 | 2744889.4816 | 1260437.3991 | 2744865.3011 | 1260438.9196 | 2744855.5331 | 1260440.6043 | 2744844.6154 | 1260444.2851 | 2744822.0459 | 1260454.5315 | 2744813.506 | 1260457.1806
17 | 2744813.506 | 1260457.1806 | 2744803.74 | 1260458.7876 | 2744796.0766 | 1260458.5888 | 2744783.2952 | 1260456.7854 | 2744771.8909 | 1260456.0167 | 2744749.6058 | 1260457.117 | 2744736.7237 | 1260456.657 | 2744724.7782 | 1260453.6619 | 2744698.7625 | 1260442.3702 | 2744687.2582 | 1260438.9078 | 2744672.8634 | 1260437.0985 | 2744660.2336 | 1260436.7121
18 | 2744964.8516 | 1260449.101 | 2744972.8476 | 1260436.3511 | 2744976.3792 | 1260431.7675
19 | 2744964.8516 | 1260449.101 | 2744982.3145 | 1260458.3156 | 2744985.382 | 1260460.2148 | 2744977.582 | 1260471.7349 | 2744980.753 | 1260474.0259
20 | 2744660.2336 | 1260436.7121 | 2744632.8783 | 1260435.8753 | 2744612.172 | 1260434.0786 | 2744605.4961 | 1260434.5602
21 | 2744976.3792 | 1260431.7675 | 2744977.0152 | 1260430.9421
22 | 2744913.8006 | 1260552.6402 | 2744912.864 | 1260547.7903 | 2744910.9415 | 1260546.2417 | 2744908.4409 | 1260545.2128
23 | 2744908.4409 | 1260545.2128 | 2744906.5962 | 1260545.7236 | 2744879.3789 | 1260558.5697 | 2744872.9637 | 1260561.5988
24 | 2744913.8006 | 1260552.6402 | 2744904.2573 | 1260558.0895 | 2744868.4421 | 1260574.918
25 | 2744913.8006 | 1260552.6402 | 2744914.6601 | 1260559.1008 | 2744914.4116 | 1260562.1644 | 2744913.8379 | 1260564.6528 | 2744903.4249 | 1260593.3872
26 | 2744913.8006 | 1260552.6402 | 2744936.1493 | 1260539.6106
27 | 2744980.753 | 1260474.0259 | 2744990.0271 | 1260461.4357
28 | 2744980.753 | 1260474.0259 | 2744956.3549 | 1260507.483 | 2744946.3016 | 1260528.8019 | 2744937.215 | 1260538.9892 | 2744936.1493 | 1260539.6106
29 | 2744980.753 | 1260474.0259 | 2744994.2838 | 1260484.2379
30 | 2745056.2659 | 1260515.8285 | 2745044.9619 | 1260514.6614 | 2745037.5705 | 1260512.9118 | 2745029.4621 | 1260509.3429 | 2745021.0102 | 1260504.4087 | 2744994.2838 | 1260484.2379
31 | 2744902.5162 | 1260595.8948 | 2744903.4249 | 1260593.3872
32 | 2745458.3673 | 1260119.9051 | 2745462.7488 | 1260124.1943
33 | 2745342.2007 | 1259899.2221 | 2745373.349 | 1259909.753
34 | 2745373.349 | 1259909.753 | 2745379.2816 | 1259908.6087
35 | 2745438.907 | 1260929.7256 | 2745426.3269 | 1260927.5874
36 | 2745438.907 | 1260929.7256 | 2745440.5759 | 1260930.6743
37 | 2745454.0605 | 1260938.3399 | 2745458.3616 | 1260937.5782 | 2745463.7712 | 1260936.1987 | 2745468.1965 | 1260935.9072 | 2745472.5046 | 1260935.168 | 2745477.3968 | 1260933.6757
38 | 2745454.0605 | 1260938.3399 | 2745440.5759 | 1260930.6743
39 | 2745454.0605 | 1260938.3399 | 2745450.395 | 1260942.3759 | 2745449.2911 | 1260947.0978 | 2745450.1357 | 1260950.7666 | 2745450.5924 | 1260951.272
40 | 2746201.8879 | 1260611.3693 | 2746199.462 | 1260609.5787 | 2746190.5829 | 1260603.3775
41 | 2746201.8879 | 1260611.3693 | 2746212.9164 | 1260619.5097 | 2746219.2711 | 1260626.5124
42 | 2746190.4375 | 1260603.276 | 2746190.5829 | 1260603.3775
43 | 2746256.3646 | 1260663.2597 | 2746255.058 | 1260657.2549 | 2746253.9595 | 1260652.5898 | 2746249.4598 | 1260646.4281 | 2746243.5246 | 1260641.9103 | 2746237.1181 | 1260638.4597 | 2746232.4171 | 1260636.4749 | 2746228.1229 | 1260634.1999 | 2746221.5994 | 1260629.0781 | 2746219.2711 | 1260626.5124
44 | 2746256.3646 | 1260663.2597 | 2746252.8694 | 1260664.0408 | 2746235.4655 | 1260664.4221 | 2746221.7097 | 1260665.3541
45 | 2744568.4426 | 1260439.6723 | 2744570.0923 | 1260439.5779 | 2744590.4108 | 1260435.6483 | 2744605.4961 | 1260434.5602
46 | 2745056.2659 | 1260515.8285 | 2745060.4374 | 1260517.8995 | 2745063.7811 | 1260520.8287 | 2745076.6169 | 1260542.5312 | 2745104.7308 | 1260596.3842 | 2745119.1255 | 1260602.7879 | 2745168.9975 | 1260613.3994 | 2745194.2578 | 1260617.6234 | 2745211.8461 | 1260622.3151 | 2745228.3245 | 1260628.6035 | 2745239.4679 | 1260634.4494 | 2745245.3862 | 1260640.9121 | 2745250.565 | 1260649.5476 | 2745252.7791 | 1260657.0204 | 2745253.5727 | 1260664.3025 | 2745253.2566 | 1260685.7601 | 2745252.6436 | 1260690.7611 | 2745248.6189 | 1260694.6883
47 | 2744902.5162 | 1260595.8948 | 2744892.4906 | 1260621.9413
48 | 2744902.5162 | 1260595.8948 | 2744906.5145 | 1260597.65 | 2744914.9206 | 1260601.0703 | 2744920.8671 | 1260606.0875 | 2744925.7972 | 1260609.4773
49 | 2745387.783 | 1259807.6082 | 2745389.6578 | 1259869.0474 | 2745386.7655 | 1259887.0049 | 2745379.2816 | 1259908.6087
50 | 2745387.783 | 1259807.6082 | 2745387.2145 | 1259794.3839
51 | 2745386.7181 | 1259782.8357 | 2745387.2145 | 1259794.3839
52 | 2745342.2007 | 1259899.2221 | 2745337.0852 | 1259899.9527 | 2745333.7562 | 1259902.2398 | 2745329.7503 | 1259907.8358 | 2745322.2446 | 1259919.6979
53 | 2745467.6064 | 1260128.9496 | 2745462.7488 | 1260124.1943
54 | 2745382.9954 | 1259783.3447 | 2745386.7181 | 1259782.8357
55 | 2745386.7181 | 1259782.8357 | 2745393.6781 | 1259783.0729
56 | 2745312.953 | 1259934.3825 | 2745322.2446 | 1259919.6979
57 | 2745450.5924 | 1260951.272 | 2745454.5248 | 1260955.6237 | 2745456.3148 | 1260959.7829 | 2745456.1659 | 1260966.141 | 2745454.9316 | 1260968.3595
58 | 2745448.743 | 1260979.4827 | 2745454.9316 | 1260968.3595
59 | 2745448.743 | 1260979.4827 | 2745421.7492 | 1260993.3109
60 | 2745448.743 | 1260979.4827 | 2745444.4143 | 1260990.8652 | 2745435.9042 | 1261011.6626
61 | 2745248.6189 | 1260694.6883 | 2745256.4823 | 1260747.7887 | 2745281.2689 | 1260805.6204 | 2745317.0588 | 1260866.9815 | 2745350.4972 | 1260896.0868 | 2745394.6216 | 1260917.7143 | 2745422.4568 | 1260926.9296 | 2745426.3269 | 1260927.5874
62 | 2745467.6064 | 1260128.9496 | 2745478.1411 | 1260138.1175
63 | 2745382.9954 | 1259783.3447 | 2745383.1602 | 1259793.4423
64 | 2744895.7604 | 1260675.5625 | 2744906.73 | 1260671.9054 | 2744909.8133 | 1260670.6199
65 | 2744895.7604 | 1260675.5625 | 2744877.8398 | 1260667.8162
66 | 2744894.8584 | 1260702.2108 | 2744893.5855 | 1260689.8565 | 2744893.7837 | 1260682.9991 | 2744895.5073 | 1260678.815 | 2744895.7604 | 1260675.5625
67 | 2744877.8398 | 1260667.8162 | 2744881.2212 | 1260660.4493
68 | 2744894.8584 | 1260702.2108 | 2744901.7117 | 1260697.9189 | 2744908.5648 | 1260697.8897
69 | 2744894.8584 | 1260702.2108 | 2744892.1993 | 1260706.7279 | 2744889.4997 | 1260710.4321 | 2744883.6169 | 1260712.0451
70 | 2744557.5151 | 1260440.2973 | 2744568.4426 | 1260439.6723
71 | 2744557.5151 | 1260440.2973 | 2744556.1992 | 1260440.3726 | 2744549.9815 | 1260439.8415
72 | 2744549.9815 | 1260439.8415 | 2744542.8812 | 1260439.235 | 2744535.1968 | 1260437.0887
73 | 2744665.1749 | 1260873.1217 | 2744639.8739 | 1260858.0794 | 2744615.7384 | 1260845.5105 | 2744606.6823 | 1260841.2142
74 | 2744797.4963 | 1260961.3767 | 2744795.9825 | 1260960.4419 | 2744716.4331 | 1260907.533 | 2744696.6686 | 1260893.5137 | 2744685.547 | 1260885.2336 | 2744665.1749 | 1260873.1217
75 | 2744892.4906 | 1260621.9413 | 2744891.5347 | 1260626.4515
76 | 2744847.4471 | 1260689.6548 | 2744845.8197 | 1260688.1705
77 | 2744857.5453 | 1260700.0173 | 2744851.6509 | 1260693.4888 | 2744847.4471 | 1260689.6548
78 | 2744818.8847 | 1260673.6295 | 2744830.4277 | 1260679.2888 | 2744844.1949 | 1260686.6886 | 2744845.8197 | 1260688.1705
79 | 2744857.5453 | 1260700.0173 | 2744834.2564 | 1260722.736 | 2744828.8551 | 1260729.0099 | 2744823.3439 | 1260736.3821 | 2744813.2398 | 1260752.1168 | 2744806.0971 | 1260768.5358 | 2744801.0381 | 1260780.5348 | 2744797.6516 | 1260791.9741 | 2744794.9109 | 1260805.3646 | 2744793.0612 | 1260819.9335 | 2744793.2625 | 1260837.8781 | 2744794.8234 | 1260852.6418 | 2744802.2352 | 1260917.2528 | 2744805.8795 | 1260934.6812 | 2744810.9818 | 1260955.9935 | 2744814.2307 | 1260971.7106
80 | 2744857.5453 | 1260700.0173 | 2744862.2985 | 1260704.5047 | 2744868.9519 | 1260708.0599 | 2744869.656 | 1260708.3438
81 | 2744814.2307 | 1260971.7106 | 2744817.9398 | 1260994.8005
82 | 2744814.2307 | 1260971.7106 | 2744797.4963 | 1260961.3767
83 | 2744883.6169 | 1260712.0451 | 2744875.7085 | 1260710.7836 | 2744869.656 | 1260708.3438
84 | 2744836.1315 | 1261068.6746 | 2744829.3653 | 1261044.5076 | 2744822.7686 | 1261023.2698 | 2744821.4788 | 1261016.832 | 2744817.9398 | 1260994.8005
85 | 2744883.6169 | 1260712.0451 | 2744878.3688 | 1260717.9112 | 2744876.6718 | 1260723.1637 | 2744876.6805 | 1260728.9584 | 2744877.8612 | 1260732.4685 | 2744882.0441 | 1260734.9956 | 2744886.1133 | 1260736.6787
86 | 2744891.5347 | 1260626.4515 | 2744888.2789 | 1260641.8131 | 2744883.726 | 1260654.9922 | 2744881.2212 | 1260660.4493
87 | 2744834.4004 | 1261099.629 | 2744838.1165 | 1261084.5831 | 2744836.1315 | 1261068.6746
88 | 2744913.8019 | 1260719.2803 | 2744914.9265 | 1260711.5447 | 2744914.1729 | 1260699.5368
89 | 2744913.8019 | 1260719.2803 | 2744915.9857 | 1260719.7009 | 2744926.3867 | 1260722.3137 | 2744934.8001 | 1260725.0714
90 | 2744914.1729 | 1260699.5368 | 2744909.4407 | 1260697.886 | 2744908.5648 | 1260697.8897
91 | 2744834.4004 | 1261099.629 | 2744838.1165 | 1261084.5831 | 2744843.0088 | 1261087.9951 | 2744846.9582 | 1261091.1171 | 2744854.1728 | 1261094.5192
92 | 2744834.4004 | 1261099.629 | 2744830.864 | 1261096.5728 | 2744825.7357 | 1261091.4089 | 2744824.3311 | 1261089.0773
93 | 2744813.3258 | 1261152.9652 | 2744822.1106 | 1261141.5135 | 2744823.8226 | 1261136.8731 | 2744826.5601 | 1261129.4551 | 2744829.5633 | 1261116.427 | 2744831.9033 | 1261108.3097 | 2744834.4004 | 1261099.629
94 | 2744854.1728 | 1261094.5192 | 2744857.9587 | 1261094.4455
95 | 2744820.1553 | 1261080.3149 | 2744821.7439 | 1261084.7825 | 2744824.3311 | 1261089.0773
96 | 2744813.3258 | 1261152.9652 | 2744818.8353 | 1261158.5722 | 2744824.9878 | 1261163.1606 | 2744828.6281 | 1261165.0845
97 | 2744807.2579 | 1261183.0794 | 2744805.0475 | 1261163.7509 | 2744813.3258 | 1261152.9652
98 | 2744868.9257 | 1261094.8808 | 2744863.277 | 1261094.342 | 2744857.9587 | 1261094.4455
99 | 2744850.4303 | 1261164.785 | 2744855.0197 | 1261167.3221 | 2744855.3138 | 1261167.4345
100 | 2744850.4303 | 1261164.785 | 2744847.6368 | 1261163.1039 | 2744841.6332 | 1261160.7435 | 2744840.8209 | 1261161.0665
101 | 2744840.8209 | 1261161.0665 | 2744837.3392 | 1261162.4511 | 2744833.2364 | 1261164.9754 | 2744831.5162 | 1261165.2011
102 | 2744817.5172 | 1261072.0555 | 2744819.2824 | 1261077.86 | 2744820.1553 | 1261080.3149
103 | 2744828.6281 | 1261165.0845 | 2744829.3791 | 1261165.4815 | 2744831.5162 | 1261165.2011
104 | 2744807.2579 | 1261183.0794 | 2744808.2955 | 1261192.1136 | 2744831.1599 | 1261288.7898 | 2744839.39 | 1261392.8706 | 2744851.1546 | 1261423.4663 | 2744854.5135 | 1261471.2841 | 2744836.5459 | 1261501.8519 | 2744823.2403 | 1261529.5309
105 | 2744807.2579 | 1261183.0794 | 2744826.13 | 1261191.0046 | 2744830.3126 | 1261193.5317 | 2744834.5738 | 1261193.9178
106 | 2744834.5738 | 1261193.9178 | 2744836.3682 | 1261194.0804 | 2744844.8521 | 1261194.2884 | 2744852.679 | 1261196.6934 | 2744860.8929 | 1261199.9199 | 2744867.3336 | 1261202.5608

## bus_geodata
| x | y | coords
0 | 2745301.0765 | 1260015.9093
1 | 2745325.4873 | 1259980.6353
2 | 2745255.173 | 1260082.1188
3 | 2745328.3858 | 1259983.5871
4 | 2745328.075 | 1259976.8818
5 | 2745097.1772 | 1260314.3353
6 | 2745435.1955 | 1260095.7561
7 | 2745334.7283 | 1259974.4591
8 | 2745343.8269 | 1259954.0339
9 | 2744985.2616 | 1260420.2396
10 | 2745488.4782 | 1260888.4039
11 | 2745456.6247 | 1260905.7467
12 | 2746178.049 | 1260594.6238
13 | 2744813.506 | 1260457.1806
14 | 2744964.8516 | 1260449.101
15 | 2744660.2336 | 1260436.7121
16 | 2744977.0152 | 1260430.9421
17 | 2744908.4409 | 1260545.2128
18 | 2744913.8006 | 1260552.6402
19 | 2744872.9637 | 1260561.5988
20 | 2744980.753 | 1260474.0259
21 | 2744990.0271 | 1260461.4357
22 | 2744936.1493 | 1260539.6106
23 | 2744994.2838 | 1260484.2379
24 | 2744868.4421 | 1260574.918
25 | 2744903.4249 | 1260593.3872
26 | 2744976.3792 | 1260431.7675
27 | 2745458.3673 | 1260119.9051
28 | 2745373.349 | 1259909.753
29 | 2745438.907 | 1260929.7256
30 | 2745477.3968 | 1260933.6757
31 | 2745454.0605 | 1260938.3399
32 | 2746201.8879 | 1260611.3693
33 | 2746190.5829 | 1260603.3775
34 | 2746219.2711 | 1260626.5124
35 | 2746190.4375 | 1260603.276
36 | 2746256.3646 | 1260663.2597
37 | 2746221.7097 | 1260665.3541
38 | 2744605.4961 | 1260434.5602
39 | 2745056.2659 | 1260515.8285
40 | 2744902.5162 | 1260595.8948
41 | 2745379.2816 | 1259908.6087
42 | 2745387.783 | 1259807.6082
43 | 2745387.2145 | 1259794.3839
44 | 2745342.2007 | 1259899.2221
45 | 2745462.7488 | 1260124.1943
46 | 2745386.7181 | 1259782.8357
47 | 2745322.2446 | 1259919.6979
48 | 2745393.6781 | 1259783.0729
49 | 2745312.953 | 1259934.3825
50 | 2745450.5924 | 1260951.272
51 | 2745454.9316 | 1260968.3595
52 | 2745448.743 | 1260979.4827
53 | 2745440.5759 | 1260930.6743
54 | 2745421.7492 | 1260993.3109
55 | 2745435.9042 | 1261011.6626
56 | 2745426.3269 | 1260927.5874
57 | 2745467.6064 | 1260128.9496
58 | 2745478.1411 | 1260138.1175
59 | 2745383.1602 | 1259793.4423
60 | 2745382.9954 | 1259783.3447
61 | 2745248.6189 | 1260694.6883
62 | 2744909.8133 | 1260670.6199
63 | 2744895.7605 | 1260675.5625
64 | 2744877.8398 | 1260667.8161
65 | 2744894.8584 | 1260702.2108
66 | 2744568.4426 | 1260439.6723
67 | 2744557.5151 | 1260440.2973
68 | 2744549.9815 | 1260439.8415
69 | 2744535.1968 | 1260437.0887
70 | 2744606.6822 | 1260841.2142
71 | 2744665.1749 | 1260873.1217
72 | 2744892.4906 | 1260621.9413
73 | 2744925.7972 | 1260609.4773
74 | 2744847.4471 | 1260689.6548
75 | 2744845.8197 | 1260688.1705
76 | 2744857.5453 | 1260700.0173
77 | 2744818.8847 | 1260673.6295
78 | 2744814.2307 | 1260971.7106
79 | 2744869.656 | 1260708.3438
80 | 2744817.9398 | 1260994.8005
81 | 2744797.4963 | 1260961.3767
82 | 2744883.6169 | 1260712.0451
83 | 2744881.2212 | 1260660.4493
84 | 2744836.1315 | 1261068.6746
85 | 2744886.1133 | 1260736.6787
86 | 2744891.5347 | 1260626.4515
87 | 2744913.8019 | 1260719.2803
88 | 2744914.1729 | 1260699.5368
89 | 2744934.8001 | 1260725.0714
90 | 2744908.5648 | 1260697.8897
91 | 2744834.4004 | 1261099.629
92 | 2744854.1728 | 1261094.5192
93 | 2744824.3311 | 1261089.0773
94 | 2744813.3258 | 1261152.9652
95 | 2744857.9587 | 1261094.4455
96 | 2744850.4303 | 1261164.785
97 | 2744855.3138 | 1261167.4345
98 | 2744840.8209 | 1261161.0665
99 | 2744820.1553 | 1261080.3149
100 | 2744828.6281 | 1261165.0845
101 | 2744807.2579 | 1261183.0794
102 | 2744868.9257 | 1261094.8808
103 | 2744817.5172 | 1261072.0555
104 | 2744834.5738 | 1261193.9178
105 | 2744867.3336 | 1261202.5608
106 | 2744823.2403 | 1261529.5309
107 | 2744831.5162 | 1261165.2011
108 | 2744895.7605 | 1260675.5625

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1